# HEMP PROFICIENCY TESTING GENERAL INSTRUCTIONS

Oil Scheme with sample HM21SEP-1 Results Due October 15th, 2021

- The samples provided are ready for analysis. Do not perform any preliminary processing step such as drying or grinding prior to analysis. The sample number syntax is: OL21SEP-1 (material, year, sample month, sample number).

- Provide triplicate analyte results for each sample replicating the entire methodological procedure on separate test portions of the sample. Perform the methodological procedure for each replicate on separate days. Analytes with a single result will not be considered in the statistical analysis.

- Report analyte concentrations on an “as-received” basis ONLY. Concentrations are reported on a weight of analyte to weight of sample basis (w/w). DO NOT report concentrations on a weight of analyte to volume of sample basis (w/v).

- Instructions for submitting data can be found at http://www.rs.uky.edu/regulatory/hpt/submit.php. There is an expanded list of methods and analytes for data submission including terpenes added this year.

- Record your analyte result to 4 decimal places with the appropriate method code. Record the result with the “Other” method if your result is from a method not shown. Pay special attention because data cannot be changed after reports are issued.

- Very low concentrations are normally reported as less than a limit of detection (LOD) or limit of quantification (LOQ). Record very low concentrations as you would report results to your client. Place a "<" in front of the value considered a limit in your lab. For example, record "<0.0100" for a limit of 0.01.

- Contact:	Hemp Proficiency Testing Program

Frank Sikora or Marilyn Smith hpt@uky.edu

859-218-2468