Hemp Proficiency Testing

Summary All Labs Trueness

Samples:  HM19NOV

All Labs Trueness

Issue Date:	12/20/2019

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 |  | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ∆9-THC (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| HM19NOV-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  |  | 1 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 150 | <0.03 | <0.03 | <0.03 | <0.03 |  |  |  |  |  | 1 |
| 1 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 160 | 0.11 | 0.1 | 0.11 | 0.107 |  | -2.59 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 140 | 0.1198 | 0.1218 | 0.1260 | 0.123 |  | -1.83 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 164 | 0.1335 | 0.1300 | 0.1271 | 0.13 |  | -1.46 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 176 | 0.1256 | 0.1339 | 0.1426 | 0.134 |  | -1.28 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 144 | 0.1206 | 0.1398 | 0.1463 | 0.136 |  | -1.21 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 149 | 0.146 | 0.14 | 0.142 | 0.143 |  | -0.87 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.99 | Other | 120 | 0.1410 | 0.1460 | 0.1446 | 0.144 |  | -0.81 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 127 | 0.1416 | 0.1509 | 0.1464 | 0.146 |  | -0.7 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 118 | 0.139 | 0.147 | 0.153 | 0.146 |  | -0.69 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 145 | 0.14 | 0.15 | 0.15 | 0.147 |  | -0.68 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 149 | 0.14 | 0.158 | 0.142 | 0.147 |  | -0.68 | 0.1609 | 47 | 0.021 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 125 | 0.1474 | 0.1437 | 0.1533 | 0.148 | -0.61 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.99 | Other | 137 | 0.1496 | 0.1543 | 0.1472 | 0.15 | -0.5 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 172 | 0.15 | 0.15 | 0.15 | 0.15 | -0.52 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 148 | 0.16 | 0.14 | 0.15 | 0.15 | -0.52 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 122 | 0.1506 | 0.1503 | 0.1516 | 0.151 | -0.48 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 103 | 0.1480 | 0.1505 | 0.1570 | 0.152 | -0.43 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 135 | 0.1563 | 0.1491 | 0.1492 | 0.152 | -0.45 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 101 | 0.1540 | 0.1506 | 0.1521 | 0.152 | -0.41 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 168 | 0.16 | 0.15 | 0.15 | 0.153 | -0.36 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 154 | 0.152 | 0.151 | 0.157 | 0.153 | -0.36 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.152 | 0.155 | 0.151 | 0.153 | -0.39 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 109 | 0.16 | 0.145 | 0.158 | 0.154 | -0.31 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 156 | 0.1371 | 0.1421 | 0.1814 | 0.154 | -0.35 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 174 | 0.1580 | 0.1540 | 0.1510 | 0.154 | -0.31 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 142 | 0.1667 | 0.1604 | 0.1535 | 0.16 | -0.03 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 165 | 0.1550 | 0.1660 | 0.1584 | 0.16 | -0.05 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 159 | 0.1665 | 0.1531 | 0.1633 | 0.161 | 0 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 162 | 0.1588 | 0.1626 | 0.1641 | 0.162 | 0.05 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 161 | 0.1653 | 0.1638 | 0.1592 | 0.163 | 0.09 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 124 | 0.1685 | 0.1707 | 0.1736 | 0.171 | 0.48 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 163 | 0.166 | 0.175 | 0.171 | 0.171 | 0.47 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 155 | 0.173 | 0.171 | 0.179 | 0.174 | 0.64 | 0.1609 | 47 | 0.021 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 141 | 0.1733 | 0.1820 | 0.1693 | 0.175 | 0.67 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 123 | 0.1820 | 0.1660 | 0.1790 | 0.176 | 0.71 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 152 | 0.1735 | 0.1784 | 0.1758 | 0.176 | 0.72 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 119 | 0.1742 | 0.1829 | 0.1750 | 0.177 | 0.79 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 106 | 0.176 | 0.181 | 0.182 | 0.18 | 0.9 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 139 | 0.1816 | 0.1783 | 0.1839 | 0.181 | 0.97 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 179 | 0.19 | 0.18 | 0.18 | 0.183 | 1.07 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.99 | Other | 172 | 0.19 | 0.17 | 0.19 | 0.183 | 1.07 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 113 | 0.1911 | 0.1823 | 0.1939 | 0.189 | 1.35 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 116 | 0.2066 | 0.1701 | 0.2077 | 0.195 | 1.62 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 144 | 0.2065 | 0.1956 | 0.1971 | 0.2 | 1.85 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 136 | 0.21 | 0.2 | 0.2 | 0.203 | 2.03 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 177 | 0.22 | 0.208 |  | 0.214 | 2.53 | 0.1609 | 47 | 0.021 | 0 |
| 1 | ∆9-THC (%AR) | 001.99 | Other | 132 | 0.253 | 0.237 | 0.276 | 0.255 | 4.51 | 0.1609 | 47 | 0.021 | 0 |
| HM19NOV-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 150 | <0.03 | <0.03 | <0.03 | <0.03 |  |  |  |  | 1 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 127 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| 2 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 123 | <0.0700 | <0.0740 | <0.0770 | <0.0700 |  |  |  |  | 1 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 176 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 140 | 0.0110 | 0.0111 | 0.0111 | 0.0111 | -4.3 | 0.0351 | 42 | 0.0056 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 141 | 0.0241 | 0.0247 | 0.0257 | 0.0248 | -1.83 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 154 | 0.026 | 0.025 | 0.03 | 0.027 | -1.44 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 164 | 0.0297 | 0.0303 | 0.0286 | 0.0295 | -0.99 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.99 | Other | 120 | 0.0278 | 0.0296 | 0.031 | 0.0295 | -1 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 156 | 0.0288 | 0.0283 | 0.0318 | 0.0296 | -0.97 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 179 | 0.03 | 0.03 | 0.03 | 0.03 | -0.91 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 149 | 0.03 | 0.031 | 0.028 | 0.0297 | -0.97 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 172 | 0.03 | 0.03 | 0.03 | 0.03 | -0.91 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 124 | 0.0296 | 0.03 | 0.031 | 0.0302 | -0.87 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 162 | 0.0324 | 0.0317 | 0.0304 | 0.0315 | -0.64 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 125 | 0.0311 | 0.0317 | 0.0315 | 0.0314 | -0.65 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 174 | 0.0310 | 0.0330 | 0.0300 | 0.0313 | -0.67 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 159 | 0.0308 | 0.0310 | 0.0340 | 0.0319 | -0.56 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 122 | 0.0334 | 0.0324 | 0.0337 | 0.0332 | -0.34 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 142 | 0.0340 | 0.0330 | 0.0321 | 0.033 | -0.36 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 144 | 0.0325 | 0.0330 | 0.0351 | 0.0335 | -0.27 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.99 | Other | 137 | 0.0339 | 0.0333 | 0.0342 | 0.0338 | -0.23 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 118 | 0.031 | 0.029 | 0.041 | 0.0337 | -0.25 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 149 | 0.037 | 0.031 | 0.036 | 0.0347 | -0.07 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.035 | 0.035 | 0.035 | 0.035 | -0.01 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 101 | 0.0358 | 0.0342 | 0.0354 | 0.0351 | 0.01 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 135 | 0.0329 | 0.0369 | 0.0368 | 0.0355 | 0.08 | 0.0351 | 42 | 0.0056 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 165 | 0.0457 | 0.0272 | 0.0339 | 0.0356 | 0.1 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 113 | 0.0340 | 0.0370 | 0.0380 | 0.0363 | 0.23 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 144 | 0.0361 | 0.0343 | 0.0366 | 0.0357 | 0.11 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.99 | Other | 172 | 0.03 | 0.03 | 0.05 | 0.0367 | 0.29 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 160 | 0.04 | 0.03 | 0.04 | 0.0367 | 0.29 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 152 | 0.0371 | 0.0380 | 0.0370 | 0.0374 | 0.41 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 163 | 0.038 | 0.038 | 0.038 | 0.038 | 0.53 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 119 | 0.0377 | 0.0379 | 0.0377 | 0.0378 | 0.48 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 177 | 0.0402 | 0.0382 |  | 0.0392 | 0.74 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 139 | 0.0315 | 0.0427 | 0.0423 | 0.0388 | 0.67 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 109 | 0.036 | 0.036 | 0.044 | 0.0387 | 0.64 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 103 | 0.0379 | 0.0390 | 0.0394 | 0.0388 | 0.66 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 168 | 0.04 | 0.04 | 0.04 | 0.04 | 0.88 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 136 | 0.05 | 0.04 | 0.04 | 0.0433 | 1.48 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 148 | 0.05 | 0.04 | 0.05 | 0.0467 | 2.08 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 116 | 0.0613 | 0.0453 | 0.0579 | 0.0548 | 3.54 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 155 | 0.069 | 0.069 | 0.058 | 0.0653 | 5.42 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 106 | 0.065 | 0.072 | 0.068 | 0.0683 | 5.96 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.99 | Other | 132 | 0.071 | 0.066 | 0.07 | 0.069 | 6.08 | 0.0351 | 42 | 0.0056 | 0 |
| 2 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 145 | ow LOQ | ow LOQ | low LOQ | low LOQ |  |  |  |  | 1 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | ∆9-THCA (%AR) |  |  |  |  |  |  |  |  |
| HM19NOV-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.0727 | 0.0720 | 0.0716 | 0.0721 | -3.12 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 162 | 0.1105 | 0.1136 | 0.1134 | 0.112 | -1.67 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 179 | 0.11 | 0.11 | 0.12 | 0.113 | -1.64 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 142 | 0.1207 | 0.1188 | 0.1115 | 0.117 | -1.51 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 124 | 0.1324 | 0.1134 | 0.1158 | 0.121 | -1.38 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 140 | 0.1247 | 0.1246 | 0.1279 | 0.126 | -1.2 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.99 | Other | 132 | 0.108 | 0.126 | 0.146 | 0.127 | -1.16 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 176 | 0.1319 | 0.1328 | 0.1350 | 0.133 | -0.93 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 144 | 0.1299 | 0.1468 | 0.1273 | 0.135 | -0.88 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 141 | 0.1341 | 0.1415 | 0.1328 | 0.136 | -0.83 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 154 | 0.135 | 0.131 | 0.143 | 0.136 | -0.82 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.137 | 0.137 | 0.134 | 0.136 | -0.83 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 113 | 0.1446 | 0.1380 | 0.1481 | 0.144 | -0.56 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 164 | 0.1383 | 0.1434 | 0.1531 | 0.145 | -0.51 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 161 | 0.1442 | 0.1529 | 0.1399 | 0.146 | -0.48 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 172 | 0.14 | 0.15 | 0.15 | 0.147 | -0.45 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 118 | 0.148 | 0.116 | 0.18 | 0.148 | -0.4 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 152 | 0.1546 | 0.1433 | 0.1499 | 0.149 | -0.36 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 144 | 0.1519 | 0.1474 | 0.1492 | 0.149 | -0.35 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 127 | 0.1615 | 0.1543 | 0.1443 | 0.153 | -0.21 | 0.1592 | 48 | 0.0279 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 135 | 0.1586 | 0.1557 | 0.1537 | 0.156 | -0.11 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 136 | 0.16 | 0.16 | 0.15 | 0.157 | -0.09 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 125 | 0.1527 | 0.1569 | 0.1617 | 0.157 | -0.08 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 103 | 0.1467 | 0.1606 | 0.1687 | 0.159 | -0.02 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 159 | 0.1563 | 0.1676 | 0.1562 | 0.16 | 0.03 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 139 | 0.1686 | 0.1594 | 0.1604 | 0.163 | 0.13 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 174 | 0.1610 | 0.1650 | 0.1650 | 0.164 | 0.16 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 156 | 0.1642 | 0.1452 | 0.1814 | 0.164 | 0.16 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 149 | 0.166 | 0.162 | 0.165 | 0.164 | 0.18 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.99 | Other | 137 | 0.1619 | 0.1695 | 0.1599 | 0.164 | 0.16 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 101 | 0.1920 | 0.1559 | 0.1517 | 0.167 | 0.26 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 165 | 0.1710 | 0.1837 | 0.1674 | 0.174 | 0.53 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 177 | 0.179 | 0.175 |  | 0.177 | 0.64 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.99 | Other | 120 | 0.1779 | 0.1737 | 0.1839 | 0.178 | 0.69 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 149 | 0.176 | 0.172 | 0.186 | 0.178 | 0.67 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 123 | 0.1350 | 0.2530 | 0.1490 | 0.179 | 0.71 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 116 | 0.1866 | 0.1703 | 0.1889 | 0.182 | 0.81 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 155 | 0.185 | 0.188 | 0.173 | 0.182 | 0.82 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 163 | 0.188 | 0.183 | 0.186 | 0.186 | 0.95 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 160 | 0.18 | 0.19 | 0.19 | 0.187 | 0.98 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 109 | 0.184 | 0.187 | 0.197 | 0.189 | 1.08 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 122 | 0.1886 | 0.1900 | 0.1884 | 0.189 | 1.07 | 0.1592 | 48 | 0.0279 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 119 | 0.1899 | 0.1935 | 0.1843 | 0.189 | 1.07 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.99 | Other | 172 | 0.18 | 0.18 | 0.21 | 0.19 | 1.1 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 168 | 0.19 | 0.19 | 0.19 | 0.19 | 1.1 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 145 | 0.21 | 0.2 | 0.18 | 0.197 | 1.34 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 106 | 0.203 | 0.207 | 0.21 | 0.207 | 1.7 | 0.1592 | 48 | 0.0279 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 150 | 0.29 | 0.28 | 0.28 | 0.283 | 4.44 | 0.1592 | 48 | 0.0279 | 0 |
| HM19NOV-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 127 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| 2 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 123 | <0.0700 | <0.0740 | <0.0770 | <0.0700 |  |  |  |  | 1 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 176 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 179 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 142 | 0.0192 | 0.0190 | 0.0182 | 0.0188 | -1.84 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 141 | 0.0188 | 0.0207 | 0.0197 | 0.0197 | -1.75 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 124 | 0.0198 | 0.0197 | 0.0242 | 0.0212 | -1.61 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 162 | 0.0240 | 0.0225 | 0.0230 | 0.0232 | -1.42 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.0241 | 0.0232 | 0.0228 | 0.0234 | -1.4 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 140 | 0.0250 | 0.0240 | 0.0253 | 0.0248 | -1.27 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.99 | Other | 132 | 0.027 | 0.027 | 0.026 | 0.0267 | -1.09 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 160 | 0.03 | 0.03 | 0.03 | 0.03 | -0.77 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 172 | 0.03 | 0.03 | 0.03 | 0.03 | -0.77 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.032 | 0.031 | 0.029 | 0.0307 | -0.7 | 0.038 | 43 | 0.0104 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 113 | 0.0307 | 0.0306 | 0.0309 | 0.0307 | -0.7 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 144 | 0.0305 | 0.0344 | 0.0347 | 0.0332 | -0.46 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 135 | 0.0324 | 0.0365 | 0.0340 | 0.0343 | -0.35 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 144 | 0.0357 | 0.0332 | 0.0358 | 0.0349 | -0.3 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 152 | 0.0378 | 0.0361 | 0.0349 | 0.0363 | -0.17 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 159 | 0.0379 | 0.0344 | 0.0348 | 0.0357 | -0.22 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 177 | 0.0377 | 0.0359 |  | 0.0368 | -0.12 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 118 | 0.032 | 0.022 | 0.057 | 0.037 | -0.1 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 125 | 0.0352 | 0.0395 | 0.0367 | 0.0371 | -0.08 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.99 | Other | 120 | 0.0384 | 0.0375 | 0.0391 | 0.0383 | 0.03 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 164 | 0.0383 | 0.0370 | 0.0376 | 0.0376 | -0.04 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 149 | 0.038 | 0.037 | 0.038 | 0.0377 | -0.03 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.99 | Other | 137 | 0.0405 | 0.0373 | 0.0391 | 0.039 | 0.09 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 156 | 0.0394 | 0.0330 | 0.0445 | 0.039 | 0.09 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 149 | 0.038 | 0.038 | 0.04 | 0.0387 | 0.06 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 101 | 0.0462 | 0.0362 | 0.0358 | 0.0394 | 0.13 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 136 | 0.04 | 0.04 | 0.04 | 0.04 | 0.19 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.99 | Other | 172 | 0.03 | 0.05 | 0.04 | 0.04 | 0.19 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 154 | 0.036 | 0.04 | 0.048 | 0.0413 | 0.32 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 103 | 0.0400 | 0.0400 | 0.0426 | 0.0409 | 0.27 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 139 | 0.0448 | 0.0357 | 0.0418 | 0.0408 | 0.27 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 109 | 0.042 | 0.044 | 0.044 | 0.0433 | 0.51 | 0.038 | 43 | 0.0104 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 119 | 0.0438 | 0.0425 | 0.0424 | 0.0429 | 0.47 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 174 | 0.0400 | 0.0510 | 0.0390 | 0.0433 | 0.51 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 122 | 0.0429 | 0.0426 | 0.0430 | 0.0428 | 0.46 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 163 | 0.047 | 0.047 | 0.047 | 0.047 | 0.86 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 168 | 0.05 | 0.05 | 0.05 | 0.05 | 1.15 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 165 | 0.0523 | 0.0591 | 0.0457 | 0.0524 | 1.38 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 145 | 0.05 | 0.06 | 0.05 | 0.0533 | 1.47 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 150 | 0.07 | 0.07 | 0.07 | 0.07 | 3.07 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 106 | 0.079 | 0.077 | 0.078 | 0.078 | 3.83 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 155 | 0.106 | 0.088 | 0.099 | 0.0977 | 5.72 | 0.038 | 43 | 0.0104 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 116 | 0.0574 | 0.0495 | 0.515 | 0.207 | 16.23 | 0.038 | 43 | 0.0104 | 0 |
|  |  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| HM19NOV-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | CBD (%AR) | 003.01 | AOAC 2018.10 | 175 | 0.0099 | 0.0119 | 0.0106 | 0.0108 | -10.77 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.01 | AOAC 2018.10 | 160 | 1.36 | 1.24 | 1.32 | 1.31 | -1.94 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 140 | 1.2945 | 1.3057 | 1.3550 | 1.32 | -1.86 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 176 | 1.2955 | 1.3856 | 1.3439 | 1.34 | -1.7 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.30 | LC-MS, other | 144 | 1.2068 | 1.4494 | 1.3790 | 1.35 | -1.68 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.02 | AOAC 2018.11, | 155 | 1.364 | 1.397 | 1.315 | 1.36 | -1.58 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.30 | LC-MS, other | 164 | 1.4623 | 1.4432 | 1.3910 | 1.43 | -1.08 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 154 | 1.387 | 1.451 | 1.44 | 1.43 | -1.12 | 1.5907 | 42 | 0.1467 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 149 | 1.455 | 1.478 | 1.511 | 1.48 | -0.75 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.02 | AOAC 2018.11, | 118 | 1.423 | 1.638 | 1.424 | 1.5 | -0.65 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 135 | 1.4832 | 1.5672 | 1.5697 | 1.54 | -0.35 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.02 | AOAC 2018.11, | 174 | 1.5460 | 1.5470 | 1.5530 | 1.55 | -0.29 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.30 | LC-MS, other | 139 | 1.4907 | 1.6137 | 1.5571 | 1.55 | -0.25 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.99 | Other | 172 | 1.59 | 1.56 | 1.52 | 1.56 | -0.23 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.99 | Other | 137 | 1.56 | 1.589 | 1.517 | 1.56 | -0.24 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.30 | LC-MS, other | 156 | 1.4925 | 1.4304 | 1.7822 | 1.57 | -0.15 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 172 | 1.57 | 1.59 | 1.57 | 1.58 | -0.1 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 161 | 1.5687 | 1.5805 | 1.6306 | 1.59 | 0.02 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 142 | 1.6229 | 1.5718 | 1.5619 | 1.59 | -0.04 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.30 | LC-MS, other | 149 | 1.785 | 1.475 | 1.516 | 1.59 | 0.01 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 125 | 1.5098 | 1.6432 | 1.6790 | 1.61 | 0.14 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 141 | 1.7274 | 1.5445 | 1.5571 | 1.61 | 0.13 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 106 | 1.598 | 1.6 | 1.625 | 1.61 | 0.12 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 127 | 1.7067 | 1.5982 | 1.5625 | 1.62 | 0.22 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.02 | AOAC 2018.11, | 123 | 1.684 | 1.503 | 1.681 | 1.62 | 0.22 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 109 | 1.631 | 1.639 | 1.605 | 1.62 | 0.23 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.30 | LC-MS, other | 159 | 1.6431 | 1.5668 | 1.6759 | 1.63 | 0.26 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.99 | Other | 132 | 1.605 | 1.507 | 1.781 | 1.63 | 0.27 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.01 | AOAC 2018.10 | 168 | 1.6 | 1.69 | 1.65 | 1.65 | 0.38 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.01 | AOAC 2018.10 | 162 | 1.6513 | 1.6212 | 1.6631 | 1.65 | 0.37 | 1.5907 | 42 | 0.1467 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 150 | 1.58 | 1.78 | 1.58 | 1.65 | 0.38 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 101 | 1.7633 | 1.5884 | 1.6149 | 1.66 | 0.44 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.02 | AOAC 2018.11, | 145 | 1.61 | 1.61 | 1.75 | 1.66 | 0.45 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.30 | LC-MS, other | 119 | 1.6992 | 1.6265 | 1.6730 | 1.67 | 0.51 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 144 | 1.8177 | 1.6757 | 1.6612 | 1.72 | 0.87 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.30 | LC-MS, other | 122 | 1.7424 | 1.7515 | 1.7290 | 1.74 | 1.02 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 152 | 1.7016 | 1.7869 | 1.8042 | 1.76 | 1.18 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 163 | 1.756 | 1.793 | 1.775 | 1.77 | 1.25 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 116 | 1.8276 | 1.6663 | 1.8356 | 1.78 | 1.27 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 136 | 1.9 | 1.83 | 1.81 | 1.85 | 1.75 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.02 | AOAC 2018.11, | 113 | 1.9046 | 1.8309 | 1.9063 | 1.88 | 1.98 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 179 | 1.92 | 1.93 | 1.92 | 1.92 | 2.27 | 1.5907 | 42 | 0.1467 | 0 |
| 1 | CBD (%AR) | 003.02 | AOAC 2018.11, | 177 | NT | NT |  | NT |  |  |  |  | 1 |
| HM19NOV-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | CBD (%AR) | 003.01 | AOAC 2018.10 | 175 | 0.0068 | 0.0060 | 0.0075 | 0.0068 | -10.58 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.02 | AOAC 2018.11, | 174 | 0.0440 | 0.0430 | 0.0430 | 0.0433 | -9.69 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 140 | 0.3273 | 0.3127 | 0.3275 | 0.322 | -2.89 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 176 | 0.3539 | 0.3855 | 0.3616 | 0.367 | -1.81 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.30 | LC-MS, other | 144 | 0.3460 | 0.4041 | 0.3789 | 0.376 | -1.58 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.30 | LC-MS, other | 164 | 0.3779 | 0.3950 | 0.3906 | 0.388 | -1.3 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.01 | AOAC 2018.10 | 162 | 0.4077 | 0.3952 | 0.3930 | 0.399 | -1.04 | 0.4412 | 42 | 0.0411 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | CBD (%AR) | 003.02 | AOAC 2018.11, | 118 | 0.397 | 0.416 | 0.399 | 0.404 | -0.9 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 149 | 0.41 | 0.398 | 0.411 | 0.406 | -0.85 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.30 | LC-MS, other | 149 | 0.404 | 0.439 | 0.399 | 0.414 | -0.66 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 154 | 0.4 | 0.442 | 0.417 | 0.42 | -0.52 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 135 | 0.4115 | 0.4238 | 0.4396 | 0.425 | -0.39 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.99 | Other | 172 | 0.44 | 0.43 | 0.41 | 0.427 | -0.35 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 142 | 0.4325 | 0.4235 | 0.4315 | 0.429 | -0.29 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 172 | 0.44 | 0.43 | 0.42 | 0.43 | -0.27 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.99 | Other | 132 | 0.447 | 0.408 | 0.443 | 0.433 | -0.21 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.30 | LC-MS, other | 139 | 0.4157 | 0.4567 | 0.4325 | 0.435 | -0.15 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 141 | 0.4485 | 0.4145 | 0.4405 | 0.435 | -0.16 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.99 | Other | 137 | 0.4399 | 0.4299 | 0.437 | 0.436 | -0.14 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 150 | 0.46 | 0.42 | 0.43 | 0.437 | -0.11 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 161 | 0.4538 | 0.4238 | 0.4387 | 0.439 | -0.06 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.01 | AOAC 2018.10 | 160 | 0.45 | 0.45 | 0.42 | 0.44 | -0.03 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.02 | AOAC 2018.11, | 155 | 0.442 | 0.453 | 0.44 | 0.445 | 0.09 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.30 | LC-MS, other | 159 | 0.4659 | 0.4796 | 0.3939 | 0.446 | 0.13 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 125 | 0.4316 | 0.4731 | 0.4574 | 0.454 | 0.31 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.30 | LC-MS, other | 156 | 0.4621 | 0.4572 | 0.4454 | 0.455 | 0.33 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.01 | AOAC 2018.10 | 168 | 0.436 | 0.469 | 0.462 | 0.456 | 0.35 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 127 | 0.4783 | 0.4576 | 0.4325 | 0.456 | 0.36 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 106 | 0.459 | 0.454 | 0.462 | 0.458 | 0.42 | 0.4412 | 42 | 0.0411 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | CBD (%AR) | 003.30 | LC-MS, other | 119 | 0.4672 | 0.4568 | 0.4533 | 0.459 | 0.44 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.30 | LC-MS, other | 122 | 0.4588 | 0.4668 | 0.4626 | 0.463 | 0.53 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 179 | 0.46 | 0.46 | 0.47 | 0.463 | 0.54 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 109 | 0.458 | 0.47 | 0.492 | 0.473 | 0.78 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 101 | 0.5020 | 0.4548 | 0.4745 | 0.477 | 0.87 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 152 | 0.4905 | 0.4703 | 0.4826 | 0.481 | 0.97 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.02 | AOAC 2018.11, | 123 | 0.4840 | 0.4870 | 0.4800 | 0.484 | 1.03 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.02 | AOAC 2018.11, | 113 | 0.4821 | 0.4817 | 0.4903 | 0.485 | 1.06 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.02 | AOAC 2018.11, | 145 | 0.45 | 0.48 | 0.53 | 0.487 | 1.11 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 144 | 0.5037 | 0.4913 | 0.4758 | 0.49 | 1.2 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 163 | 0.501 | 0.496 | 0.499 | 0.499 | 1.4 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 136 | 0.52 | 0.0.49 | 0.5 | 0.51 | 1.68 | 0.4412 | 42 | 0.0411 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 116 | 0.5680 | 0.5017 | 0.5431 | 0.538 | 2.35 | 0.4412 | 42 | 0.0411 | 0 |
|  |  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| HM19NOV-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 101 | 2.6338 | 2.2279 | 2.4172 | 2.43 | -5.14 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.01 | AOAC 2018.10 | 175 | 3.3160 | 3.3152 | 3.2807 | 3.3 | -3.51 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 155 | 4.47 | 4.535 | 4.2166 | 4.41 | -1.46 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 142 | 4.4934 | 4.5072 | 4.3112 | 4.44 | -1.41 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.30 | LC-MS, other | 144 | 4.2828 | 5.1630 | 4.0319 | 4.49 | -1.3 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 140 | 4.4773 | 4.4692 | 4.6172 | 4.52 | -1.25 | 5.1949 | 41 | 0.5387 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | CBDA (%AR) | 004.30 | LC-MS, other | 139 | 4.5121 | 4.7185 | 4.4375 | 4.56 | -1.19 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 154 | 4.541 | 4.698 | 4.698 | 4.65 | -1.02 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 179 | 4.92 | 4.93 | 4.94 | 4.93 | -0.49 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 144 | 5.2089 | 4.5932 | 5.0069 | 4.94 | -0.48 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 135 | 4.9204 | 4.9481 | 4.9708 | 4.95 | -0.46 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.99 | Other | 132 | 4.945 | 4.628 | 5.41 | 4.99 | -0.37 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 152 | 5.2746 | 4.9097 | 4.8569 | 5.01 | -0.34 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 172 | 4.98 | 5.08 | 5.01 | 5.02 | -0.32 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 123 | 5.231 | 4.696 | 5.24 | 5.06 | -0.26 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.01 | AOAC 2018.10 | 168 | 5.16 | 5.04 | 5.01 | 5.07 | -0.23 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 118 | 5.213 | 4.937 | 5.115 | 5.09 | -0.2 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 161 | 4.8687 | 5.1205 | 5.2908 | 5.09 | -0.19 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 176 | 5.0711 | 5.2061 | 5.0131 | 5.1 | -0.18 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.99 | Other | 172 | 5.17 | 5.21 | 5.13 | 5.17 | -0.05 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 127 | 5.1368 | 5.3506 | 5.0619 | 5.18 | -0.02 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 149 | 5.108 | 5.176 | 5.292 | 5.19 | -0.01 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 174 | 5.1560 | 5.2270 | 5.2090 | 5.2 | 0 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.30 | LC-MS, other | 159 | 5.3236 | 5.1963 | 5.2164 | 5.25 | 0.09 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 106 | 5.25 | 5.304 | 5.339 | 5.3 | 0.19 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.30 | LC-MS, other | 164 | 5.3298 | 5.3009 | 5.3841 | 5.34 | 0.27 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.99 | Other | 137 | 5.329 | 5.475 | 5.221 | 5.34 | 0.27 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.01 | AOAC 2018.10 | 162 | 5.3201 | 5.3067 | 5.4362 | 5.35 | 0.3 | 5.1949 | 41 | 0.5387 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | CBDA (%AR) | 004.30 | LC-MS, other | 119 | 5.5118 | 5.2660 | 5.4900 | 5.42 | 0.42 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.30 | LC-MS, other | 122 | 5.4244 | 5.4264 | 5.4041 | 5.42 | 0.41 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.30 | LC-MS, other | 156 | 5.1201 | 5.7284 | 5.5357 | 5.46 | 0.49 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 116 | 5.2581 | 5.6337 | 5.7695 | 5.55 | 0.67 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 150 | 5.78 | 5.63 | 5.7 | 5.7 | 0.94 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 145 | 5.8 | 5.87 | 5.48 | 5.72 | 0.97 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 125 | 5.8663 | 5.8076 | 5.5280 | 5.73 | 1 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 136 | 5.95 | 5.75 | 5.57 | 5.76 | 1.04 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.30 | LC-MS, other | 149 | 6.664 | 5.209 | 5.642 | 5.84 | 1.19 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 141 | 6.2646 | 5.7434 | 5.9206 | 5.98 | 1.45 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 109 | 6.062 | 6.088 | 5.894 | 6.01 | 1.52 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 163 | 6.17 | 6.291 | 6.231 | 6.23 | 1.92 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.01 | AOAC 2018.10 | 160 | 6.68 | 7.19 | 7.05 | 6.97 | 3.3 | 5.1949 | 41 | 0.5387 | 0 |
| 1 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 177 | NT | NT |  | NT |  |  |  |  | 1 |
| HM19NOV-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | CBDA (%AR) | 004.01 | AOAC 2018.10 | 175 | 1.0318 | 1.0437 | 1.0291 | 1.03 | -2.54 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 142 | 1.0618 | 1.0391 | 1.0315 | 1.04 | -2.47 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.99 | Other | 132 | 1.2 | 1.052 | 1.147 | 1.13 | -1.87 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 140 | 1.1701 | 1.1159 | 1.1694 | 1.15 | -1.74 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 154 | 1.139 | 1.27 | 1.181 | 1.2 | -1.43 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 155 | 1.219 | 1.195 | 1.216 | 1.21 | -1.34 | 1.407 | 41 | 0.1467 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | CBDA (%AR) | 004.30 | LC-MS, other | 144 | 1.1423 | 1.4430 | 1.1462 | 1.24 | -1.11 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 179 | 1.28 | 1.28 | 1.28 | 1.28 | -0.87 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 152 | 1.3854 | 1.2863 | 1.2749 | 1.32 | -0.62 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 161 | 1.3025 | 1.3503 | 1.3434 | 1.33 | -0.51 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 144 | 1.3174 | 1.3524 | 1.3186 | 1.33 | -0.53 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 172 | 1.34 | 1.33 | 1.32 | 1.33 | -0.52 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 101 | 1.3948 | 1.2969 | 1.3449 | 1.35 | -0.42 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 118 | 1.385 | 1.237 | 1.415 | 1.35 | -0.42 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.30 | LC-MS, other | 156 | 1.4112 | 1.4184 | 1.2884 | 1.37 | -0.23 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 135 | 1.3630 | 1.3481 | 1.3947 | 1.37 | -0.26 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.01 | AOAC 2018.10 | 168 | 1.42 | 1.39 | 1.38 | 1.4 | -0.07 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.99 | Other | 172 | 1.43 | 1.44 | 1.35 | 1.41 | 0 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.01 | AOAC 2018.10 | 162 | 1.4313 | 1.3818 | 1.4053 | 1.41 | -0.01 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 106 | 1.41 | 1.417 | 1.415 | 1.41 | 0.05 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 127 | 1.4366 | 1.4944 | 1.3401 | 1.42 | 0.11 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 149 | 1.411 | 1.429 | 1.439 | 1.43 | 0.13 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 174 | 1.4380 | 1.4130 | 1.4420 | 1.43 | 0.16 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.30 | LC-MS, other | 139 | 1.3758 | 1.4171 | 1.4901 | 1.43 | 0.14 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.30 | LC-MS, other | 159 | 1.4746 | 1.4321 | 1.3802 | 1.43 | 0.15 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 176 | 1.4283 | 1.4995 | 1.3601 | 1.43 | 0.15 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.30 | LC-MS, other | 164 | 1.4848 | 1.4342 | 1.4653 | 1.46 | 0.37 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 123 | 1.483 | 1.492 | 1.463 | 1.48 | 0.49 | 1.407 | 41 | 0.1467 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 136 | 1.52 | 1.47 | 1.45 | 1.48 | 0.5 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.30 | LC-MS, other | 119 | 1.5072 | 1.4429 | 1.4798 | 1.48 | 0.47 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.01 | AOAC 2018.10 | 160 | 1.57 | 1.44 | 1.46 | 1.49 | 0.57 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.99 | Other | 137 | 1.499 | 1.474 | 1.502 | 1.49 | 0.58 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 150 | 1.53 | 1.48 | 1.5 | 1.5 | 0.66 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.30 | LC-MS, other | 149 | 1.566 | 1.536 | 1.502 | 1.53 | 0.87 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 141 | 1.5513 | 1.5048 | 1.5896 | 1.55 | 0.96 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 116 | 1.5029 | 1.6747 | 1.4966 | 1.56 | 1.03 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.30 | LC-MS, other | 122 | 1.5823 | 1.5687 | 1.5733 | 1.57 | 1.14 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 125 | 1.6555 | 1.6230 | 1.5313 | 1.6 | 1.34 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 145 | 1.62 | 1.68 | 1.57 | 1.62 | 1.47 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 163 | 1.72 | 1.699 | 1.71 | 1.71 | 2.06 | 1.407 | 41 | 0.1467 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 109 | 1.693 | 1.755 | 1.796 | 1.75 | 2.32 | 1.407 | 41 | 0.1467 | 0 |

Population of Lab Values

CBN (%AR)

# HM19NOV-1

| 1 | CBN (%AR) | 005.10 | LC-UV, other | 141 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 140 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1 |
| 1 | CBN (%AR) | 005.01 | AOAC 2018.10 | 175 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | 1 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 154 | <0.005 | <0.005 | <0.005 | <0.005 | 1 |
| 1 | CBN (%AR) | 005.20 | LC-MS, other | 119 | <0.008 | <0.008 | <0.008 | <0.008 | 1 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 142 | <0.01 | <0.01 | <0.01 | <0.01 | 1 |

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | CBN (%AR) | 005.20 | LC-MS, other | 156 | <0.01 | <0.01 | <0.01 | <0.01 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 125 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.02 | AOAC 2018.11, | 118 | <0.02 | <0.02 | <0.02 | <0.02 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.01 | AOAC 2018.10 | 168 | <0.025 | <0.025 | <0.025 | <0.025 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.99 | Other | 137 | <0.0298 | <0.0290 | <0.0298 | <0.0298 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 144 | <0.03 | <0.03 | <0.03 | <0.03 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.30 | GC-FID | 116 | <0.03 | <0.03 | <0.03 | <0.03 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.20 | LC-MS, other | 144 | <0.03 | <0.03 | <0.03 | <0.03 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.01 | AOAC 2018.10 | 162 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 127 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.02 | AOAC 2018.11, | 123 | <0.0730 | <0.0760 | <0.0750 | <0.0730 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 176 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.40 | GC-MS | 127 | <0.1500 | <0.1500 | <0.1500 | <0.1500 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 150 | <1 | <1 | <1 | <1 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 135 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| 1 | CBN (%AR) | 005.30 | GC-FID | 163 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| 1 | CBN (%AR) | 005.99 | Other | 172 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 179 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 172 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| 1 | CBN (%AR) | 005.20 | LC-MS, other | 149 | 0.003 | 0.003 | 0.003 | 0.003 | -0.88 | 0.0229 | 13 | 0.0225 | 0 |
| 1 | CBN (%AR) | 005.20 | LC-MS, other | 122 | 0.0033 | 0.0033 | 0.0032 | 0.0033 | -0.87 | 0.0229 | 13 | 0.0225 | 0 |
| 1 | CBN (%AR) | 005.20 | LC-MS, other | 159 | 0.0036 | 0.0035 | 0.0035 | 0.0035 | -0.86 | 0.0229 | 13 | 0.0225 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | CBN (%AR) | 005.20 | LC-MS, other | 139 | 0.0042 | 0.0049 | 0.0041 | 0.0044 | -0.82 | 0.0229 | 13 | 0.0225 | 0 |
| 1 | CBN (%AR) | 005.01 | AOAC 2018.10 | 160 | <.0100 | 0.01 | 0.01 | 0.01 | -0.57 | 0.0229 | 13 | 0.0225 | 0 |
| 1 | CBN (%AR) | 005.30 | GC-FID | 138 | 0.016 | 0.023 | 0.0126 | 0.0172 | -0.25 | 0.0229 | 13 | 0.0225 | 0 |
| 1 | CBN (%AR) | 005.02 | AOAC 2018.11, | 174 | 0.0230 | 0.0210 | <0.0100 | 0.018 | -0.22 | 0.0229 | 13 | 0.0225 | 0 |
| 1 | CBN (%AR) | 005.99 | Other | 132 | 0.019 | 0.018 | 0.02 | 0.019 | -0.17 | 0.0229 | 13 | 0.0225 | 0 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 109 | 0.021 | 0.022 | 0.024 | 0.0223 | -0.02 | 0.0229 | 13 | 0.0225 | 0 |
| 1 | CBN (%AR) | 005.02 | AOAC 2018.11, | 155 | 0.024 | 0.056 | 0 | 0.04 | 0.76 | 0.0229 | 13 | 0.0225 | 0 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 116 | <0.04 | <0.04 | 0.0404 | 0.0401 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.30 | GC-FID | 143 | 0.0436 | 0.042 | 0.0448 | 0.0435 | 0.91 | 0.0229 | 13 | 0.0225 | 0 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 136 | 0.06 | 0.06 | 0.06 | 0.06 | 1.65 | 0.0229 | 13 | 0.0225 | 0 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 101 | 0.1629 | 0.1428 | 0.1478 | 0.151 | 5.7 | 0.0229 | 13 | 0.0225 | 0 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 149 | ND | ND | ND | ND |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.02 | AOAC 2018.11, | 177 | NT | NT |  | NT |  |  |  |  | 1 |
| HM19NOV-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 141 | < 0.012 | < 0.012 | < 0.012 | < 0.012 | 1 |  |  |  |  |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 140 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1 |  |  |  |  |
| 2 | CBN (%AR) | 005.20 | LC-MS, other | 159 | <0.002 | <0.002 | <0.002 | <0.002 | 1 |  |  |  |  |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 154 | <0.005 | <0.005 | <0.005 | <0.005 | 1 |  |  |  |  |
| 2 | CBN (%AR) | 005.20 | LC-MS, other | 119 | <0.008 | <0.008 | <0.008 | <0.008 | 1 |  |  |  |  |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 142 | <0.01 | <0.01 | <0.01 | <0.01 | 1 |  |  |  |  |
| 2 | CBN (%AR) | 005.20 | LC-MS, other | 156 | <0.01 | <0.01 | <0.01 | <0.01 | 1 |  |  |  |  |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | CBN (%AR) | 005.02 | AOAC 2018.11, | 174 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 125 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.02 | AOAC 2018.11, | 118 | <0.02 | <0.02 | <0.02 | <0.02 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.01 | AOAC 2018.10 | 168 | <0.025 | <0.025 | <0.025 | <0.025 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.99 | Other | 137 | <0.0292 | <0.0295 | <0.0289 | <0.0292 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 144 | <0.03 | <0.03 | <0.03 | <0.03 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.20 | LC-MS, other | 144 | <0.03 | <0.03 | <0.03 | <0.03 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 127 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.01 | AOAC 2018.10 | 162 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.02 | AOAC 2018.11, | 123 | <0.0700 | <0.0740 | <0.0770 | <0.0700 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 176 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.40 | GC-MS | 127 | <0.1500 | <0.1500 | <0.1500 | <0.1500 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 150 | <1 | <1 | <1 | <1 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 109 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 172 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| 2 | CBN (%AR) | 005.99 | Other | 172 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| 2 | CBN (%AR) | 005.30 | GC-FID | 143 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 179 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 135 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| 2 | CBN (%AR) | 005.30 | GC-FID | 163 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| 2 | CBN (%AR) | 005.20 | LC-MS, other | 122 | 0.0014 | 0.0013 | 0.0013 | 0.0013 | -0.97 | 0.0148 | 6 | 0.0139 | 0 |
| 2 | CBN (%AR) | 005.01 | AOAC 2018.10 | 175 | 0.0027 | 0.0027 | 0.0038 | 0.0031 | -0.84 | 0.0148 | 6 | 0.0139 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | CBN (%AR) | 005.30 | GC-FID | 138 | 0.0107 | 0.0174 | 0.0074 | 0.0118 | -0.21 | 0.0148 | 6 | 0.0139 | 0 |
| 2 | CBN (%AR) | 005.01 | AOAC 2018.10 | 160 | <.0100 | 0.02 | <.0100 | 0.0133 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.99 | Other | 132 | 0.018 | 0.018 | 0.018 | 0.018 | 0.23 | 0.0148 | 6 | 0.0139 | 0 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 136 | 0.02 | 0.02 | 0.02 | 0.02 | 0.38 | 0.0148 | 6 | 0.0139 | 0 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 101 | 0.0365 | 0.0324 | 0.0342 | 0.0344 | 1.41 | 0.0148 | 6 | 0.0139 | 0 |
| 2 | CBN (%AR) | 005.20 | LC-MS, other | 149 | BMDL | BMDL | BMDL | BMDL |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 149 | ND | ND | ND | ND |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 116 | ND | ND | ND | ND |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.20 | LC-MS, other | 139 | ND | ND | ND | ND |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.30 | GC-FID | 116 | ND | ND | ND | ND |  |  |  |  | 1 |

Population of Lab Values

Total ∆9-THC (%AR)

# HM19NOV-1

| 1 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.0638 | 0.0631 | 0.0628 | 0.0632 | -6.26 | 0.2999 | 60 | 0.0378 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 140 | 0.2291 | 0.2310 | 0.2382 | 0.233 | -1.78 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 143 | 0.2475 | 0.2316 | 0.2592 | 0.246 | -1.42 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 150 | 0.25 | 0.25 | 0.25 | 0.25 | -1.32 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 176 | 0.2412 | 0.2504 | 0.2610 | 0.251 | -1.3 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 144 | 0.2346 | 0.2685 | 0.2579 | 0.254 | -1.22 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 164 | 0.2548 | 0.2558 | 0.2614 | 0.257 | -1.13 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 114 | 0.2703 | 0.2377 | 0.2662 | 0.258 | -1.11 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 162 | 0.2557 | 0.2623 | 0.2636 | 0.261 | -1.04 | 0.2999 | 60 | 0.0378 | 0 |

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 142 | 0.2726 | 0.2646 | 0.2513 | 0.263 | -0.98 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 169 | 0.2636 | 0.2730 | 0.2599 | 0.266 | -0.91 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 160 | .2679 | .2666 | .2766 | 0.27 | -0.78 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.271 | 0.276 | 0.269 | 0.272 | -0.74 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 172 | 0.27 | 0.28 | 0.27 | 0.273 | -0.7 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 154 | 0.2704 | 0.2659 | 0.2824 | 0.273 | -0.72 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 121 | 0.2636 | 0.2495 | 0.3105 | 0.275 | -0.67 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 118 | 0.268 | 0.248 | 0.311 | 0.276 | -0.64 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 112 | 0.2802 | 0.2682 | 0.2802 | 0.276 | -0.63 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 124 | 0.2846 | 0.2701 | 0.2751 | 0.277 | -0.62 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 127 | 0.2856 | 0.2862 | 0.2729 | 0.282 | -0.49 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 125 | 0.2813 | 0.2813 | 0.2951 | 0.286 | -0.37 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 179 | 0.29 | 0.28 | 0.29 | 0.287 | -0.35 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 149 | 0.292 | 0.283 | 0.287 | 0.287 | -0.33 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 135 | 0.2954 | 0.2856 | 0.2840 | 0.288 | -0.31 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 103 | 0.2767 | 0.2913 | 0.3049 | 0.291 | -0.24 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 161 | 0.2918 | 0.2979 | 0.2819 | 0.291 | -0.25 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 141 | 0.2910 | 0.3061 | 0.2857 | 0.294 | -0.15 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.99 | Other | 137 | 0.2916 | 0.3030 | 0.2874 | 0.294 | -0.16 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 153 | 0.2635 | 0.3031 | 0.3175 | 0.295 | -0.14 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 156 | 0.2811 | 0.2694 | 0.3404 | 0.297 | -0.08 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 101 | 0.3223 | 0.2872 | 0.2851 | 0.298 | -0.05 | 0.2999 | 60 | 0.0378 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 174 | 0.2990 | 0.2987 | 0.2957 | 0.298 | -0.06 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.99 | Other | 120 | .2970 | .2983 | .3059 | 0.3 | 0.01 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 170 | 0.3006 | 0.2962 | 0.3031 | 0.3 | 0 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 159 | 0.3036 | 0.3001 | 0.3003 | 0.301 | 0.04 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 149 | 0.294 | 0.309 | 0.305 | 0.303 | 0.07 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 152 | 0.3092 | 0.3041 | 0.3073 | 0.307 | 0.18 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 138 | 0.3075 | 0.3214 | 0.3020 | 0.31 | 0.27 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 165 | 0.3050 | 0.3271 | 0.3052 | 0.312 | 0.33 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 128 | 0.3197 | 0.3194 | 0.3077 | 0.316 | 0.41 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 122 | 0.3160 | 0.3169 | 0.3168 | 0.317 | 0.44 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 145 | 0.33 | 0.32 | 0.31 | 0.32 | 0.53 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 109 | 0.321 | 0.309 | 0.331 | 0.32 | 0.54 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 168 | 0.33 | 0.32 | 0.32 | 0.323 | 0.62 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 139 | 0.3295 | 0.3181 | 0.3246 | 0.324 | 0.64 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 116 | 0.3125 | 0.3499 | 0.3212 | 0.328 | 0.74 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.50 | GC-MS | 127 | 0.3006 | 0.3384 | 0.3516 | 0.33 | 0.8 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 144 | 0.3397 | 0.3249 | 0.3279 | 0.331 | 0.82 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 123 | 0.3010 | 0.3880 | 0.3100 | 0.333 | 0.87 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.99 | Other | 107 | 0.347 | 0.332 | 0.337 | 0.339 | 1.02 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 136 | 0.35 | 0.34 | 0.33 | 0.34 | 1.06 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 155 | 0.333 | 0.359 | 0.331 | 0.341 | 1.09 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 119 | 0.3407 | 0.3526 | 0.3366 | 0.343 | 1.15 | 0.2999 | 60 | 0.0378 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Total ∆9-THC (%AR) | 006.99 | Other | 172 | 0.35 | 0.33 | 0.37 | 0.35 | 1.32 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 116 | 0.3703 | 0.3194 | 0.3734 | 0.354 | 1.44 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 106 | 0.354 | 0.362 | 0.366 | 0.361 | 1.61 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.99 | Other | 132 | 0.348 | 0.347 | 0.404 | 0.366 | 1.76 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 177 | 0.377 | 0.361 |  | 0.369 | 1.83 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 163 | 0.386 | 0.373 | 0.379 | 0.379 | 2.1 | 0.2999 | 60 | 0.0378 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.50 | GC-MS | 151 | 0.42 | 0.4 | 0.42 | 0.413 | 3 | 0.2999 | 60 | 0.0378 | 0 |
| HM19NOV-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 123 | <0.0700 | <0.0740 | <0.0770 | <0.0700 |  |  |  |  | 1 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 176 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| 2 | Total ∆9-THC (%AR) | 006.50 | GC-MS | 127 | <0.1500 | <0.1500 | <0.1500 | <0.1500 |  |  |  |  | 1 |
| 2 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.0211 | 0.0203 | 0.0200 | 0.0205 | -3.5 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 179 | 0.03 | 0.03 | 0.03 | 0.03 | -2.81 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 140 | 0.0330 | 0.0321 | 0.0333 | 0.0328 | -2.6 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 141 | 0.0406 | 0.0428 | 0.0430 | 0.0421 | -1.92 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 142 | 0.0508 | 0.0497 | 0.0481 | 0.0495 | -1.39 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 124 | 0.047 | 0.047 | 0.0518 | 0.0486 | -1.45 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 162 | 0.0534 | 0.0514 | 0.0505 | 0.0518 | -1.22 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.99 | Other | 107 | 0.057 | 0.057 | 0.05 | 0.0547 | -1.01 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 114 | 0.0633 | 0.0662 | 0.0410 | 0.0568 | -0.85 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 127 | 0.0579 | 0.0602 | 0.0546 | 0.0576 | -0.8 | 0.0686 | 56 | 0.0138 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 172 | 0.06 | 0.06 | 0.06 | 0.06 | -0.62 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 153 | 0.0534 | 0.0647 | 0.0649 | 0.061 | -0.55 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.064 | 0.062 | 0.06 | 0.062 | -0.48 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 160 | .0663 | .0563 | .0663 | 0.063 | -0.41 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.99 | Other | 120 | 0.0615 | 0.0625 | 0.0653 | 0.0631 | -0.4 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 149 | 0.063 | 0.064 | 0.062 | 0.063 | -0.41 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 154 | 0.0576 | 0.0601 | 0.0721 | 0.0633 | -0.39 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 144 | 0.0593 | 0.0632 | 0.0655 | 0.0627 | -0.43 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 164 | 0.0633 | 0.0627 | 0.0616 | 0.0625 | -0.44 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 159 | 0.0640 | 0.0612 | 0.0645 | 0.0632 | -0.39 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 156 | 0.0633 | 0.0573 | 0.0709 | 0.0638 | -0.35 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 125 | 0.0620 | 0.0663 | 0.0637 | 0.064 | -0.33 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 170 | 0.0594 | 0.0672 | 0.0694 | 0.0653 | -0.24 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 143 | 0.0703 | 0.0663 | 0.0568 | 0.0645 | -0.3 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 169 | 0.0613 | 0.0702 | 0.0624 | 0.0646 | -0.29 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 135 | 0.0613 | 0.0689 | 0.0666 | 0.0656 | -0.22 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 144 | 0.0674 | 0.0634 | 0.0680 | 0.0663 | -0.17 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 118 | 0.059 | 0.048 | 0.091 | 0.066 | -0.19 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 112 | 0.0664 | 0.0686 | 0.0662 | 0.0671 | -0.11 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 150 | 0.06 | 0.07 | 0.07 | 0.0667 | -0.14 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 149 | 0.07 | 0.064 | 0.071 | 0.0683 | -0.02 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.99 | Other | 137 | 0.0694 | 0.0659 | 0.0685 | 0.0679 | -0.05 | 0.0686 | 56 | 0.0138 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 174 | 0.0660 | 0.0777 | 0.0642 | 0.0693 | 0.05 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 152 | 0.0702 | 0.0696 | 0.0676 | 0.0691 | 0.04 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 101 | 0.0763 | 0.0659 | 0.0668 | 0.0697 | 0.08 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 122 | 0.0710 | 0.0699 | 0.0715 | 0.0708 | 0.16 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 177 | 0.0732 | 0.0697 |  | 0.0715 | 0.21 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 136 | 0.08 | 0.07 | 0.07 | 0.0733 | 0.35 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 139 | 0.0707 | 0.0739 | 0.0790 | 0.0745 | 0.43 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 119 | 0.0761 | 0.0752 | 0.0749 | 0.0754 | 0.5 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 103 | 0.0729 | 0.0740 | 0.0768 | 0.0746 | 0.44 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 138 | 0.0716 | 0.0827 | 0.0744 | 0.0762 | 0.56 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.99 | Other | 172 | 0.06 | 0.08 | 0.09 | 0.0767 | 0.59 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 109 | 0.073 | 0.075 | 0.083 | 0.077 | 0.61 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 128 | 0.0791 | 0.0801 | 0.0801 | 0.0798 | 0.81 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 168 | 0.08 | 0.08 | 0.08 | 0.08 | 0.83 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 165 | 0.0916 | 0.0790 | 0.0740 | 0.0815 | 0.94 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 121 | 0.0850 | 0.0752 | 0.0882 | 0.0828 | 1.03 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 116 | 0.0961 | 0.0917 | 0.0896 | 0.0925 | 1.74 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 145 | 0.07 | 0.09 | 0.12 | 0.0933 | 1.8 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.99 | Other | 132 | 0.095 | 0.09 | 0.093 | 0.0927 | 1.75 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 163 | 0.105 | 0.101 | 0.103 | 0.103 | 2.5 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 116 | 0.116 | 0.0887 | 0.1030 | 0.103 | 2.47 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 106 | 0.134 | 0.139 | 0.136 | 0.136 | 4.93 | 0.0686 | 56 | 0.0138 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 155 | 0.162 | 0.146 | 0.145 | 0.151 | 5.99 | 0.0686 | 56 | 0.0138 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.50 | GC-MS | 151 | 0.16 | 0.16 | 0.14 | 0.153 | 6.16 | 0.0686 | 56 | 0.0138 | 0 |
|  |  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| HM19NOV-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Total CBD (%AR) | 007.01 | AOAC 2018.10 | 175 | 2.9180 | 2.9193 | 2.8878 | 2.91 | -6.52 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 101 | 4.0732 | 3.5423 | 3.7348 | 3.78 | -4.78 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 140 | 5.2211 | 5.2252 | 5.4043 | 5.28 | -1.79 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.30 | LC-MS, other | 144 | 4.9628 | 5.9774 | 4.9150 | 5.29 | -1.79 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 142 | 5.5636 | 5.5246 | 5.3428 | 5.48 | -1.4 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 154 | 5.3695 | 5.5711 | 5.5601 | 5.5 | -1.36 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.30 | LC-MS, other | 139 | 5.4478 | 5.7518 | 5.4487 | 5.55 | -1.26 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.50 | GC-MS | 127 | 5.0701 | 5.8788 | 6.1706 | 5.71 | -0.95 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 176 | 5.7429 | 5.9513 | 5.7404 | 5.81 | -0.74 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 155 | 5.93 | 6.02 | 5.67 | 5.87 | -0.61 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 135 | 5.7984 | 5.9067 | 5.9291 | 5.88 | -0.6 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 118 | 5.995 | 5.968 | 5.91 | 5.96 | -0.45 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 172 | 5.94 | 6.05 | 5.96 | 5.98 | -0.39 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.99 | Other | 132 | 5.941 | 5.566 | 6.526 | 6.01 | -0.34 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 149 | 5.935 | 6.018 | 6.151 | 6.03 | -0.29 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.40 | GC-FID | 169 | 5.9823 | 6.2015 | 5.9089 | 6.03 | -0.3 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 144 | 6.3869 | 5.7039 | 6.0523 | 6.05 | -0.27 | 6.1813 | 46 | 0.502 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 123 | 6.272 | 5.621 | 6.277 | 6.06 | -0.25 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 161 | 5.8385 | 6.071 | 6.2706 | 6.06 | -0.24 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.01 | AOAC 2018.10 | 168 | 6.13 | 6.11 | 6.04 | 6.09 | -0.18 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.99 | Other | 172 | 6.13 | 6.13 | 6.02 | 6.09 | -0.18 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 174 | 6.0678 | 6.1311 | 6.1213 | 6.11 | -0.15 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.30 | LC-MS, other | 164 | 6.1365 | 6.0921 | 6.1129 | 6.11 | -0.13 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 152 | 6.3274 | 6.0927 | 6.0637 | 6.16 | -0.04 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 127 | 6.2117 | 6.2906 | 6.0018 | 6.17 | -0.03 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.30 | LC-MS, other | 156 | 5.9827 | 5.9643 | 6.6637 | 6.2 | 0.04 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.30 | LC-MS, other | 159 | 6.3119 | 6.1240 | 6.2507 | 6.23 | 0.09 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.99 | Other | 137 | 6.2335 | 6.3906 | 6.0958 | 6.24 | 0.12 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 106 | 6.203 | 6.252 | 6.308 | 6.25 | 0.15 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 179 | 6.24 | 6.26 | 6.27 | 6.26 | 0.15 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.01 | AOAC 2018.10 | 162 | 6.3170 | 6.2752 | 6.4306 | 6.34 | 0.32 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.40 | GC-FID | 163 | 6.256 | 6.468 | 6.362 | 6.36 | 0.36 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.30 | LC-MS, other | 119 | 6.5330 | 6.2448 | 6.4877 | 6.42 | 0.48 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.30 | LC-MS, other | 122 | 6.5000 | 6.5104 | 6.4685 | 6.49 | 0.62 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.40 | GC-FID | 143 | 6.5878 | 6.4869 | 6.8061 | 6.63 | 0.89 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 125 | 6.6545 | 6.7364 | 6.5270 | 6.64 | 0.91 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 150 | 6.64 | 6.71 | 6.57 | 6.64 | 0.91 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 116 | 6.4389 | 6.6070 | 6.8954 | 6.65 | 0.93 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 145 | 6.7 | 6.76 | 6.55 | 6.67 | 0.97 | 6.1813 | 46 | 0.502 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Total CBD (%AR) | 007.40 | GC-FID | 116 | 6.3116 | 6.7230 | 7.0789 | 6.7 | 1.04 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.30 | LC-MS, other | 149 | 7.63 | 6.044 | 6.464 | 6.71 | 1.06 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 141 | 7.2214 | 6.5814 | 6.7495 | 6.85 | 1.33 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.40 | GC-FID | 138 | 6.764 | 7.0628 | 6.8502 | 6.89 | 1.42 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 136 | 7.12 | 6.87 | 6.69 | 6.89 | 1.42 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 109 | 6.948 | 6.978 | 6.774 | 6.9 | 1.43 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.01 | AOAC 2018.10 | 160 | 7.2184 | 7.5456 | 7.5029 | 7.42 | 2.47 | 6.1813 | 46 | 0.502 | 0 |
| 1 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 177 | NT | NT |  | NT |  |  |  |  | 1 |
| HM19NOV-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Total CBD (%AR) | 007.01 | AOAC 2018.10 | 175 | 0.9117 | 0.9213 | 0.9100 | 0.914 | -4.64 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 174 | 1.3051 | 1.2822 | 1.3076 | 1.3 | -2.34 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 140 | 1.3535 | 1.2913 | 1.3530 | 1.33 | -2.13 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 142 | 1.3637 | 1.3348 | 1.3361 | 1.34 | -2.06 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.99 | Other | 132 | 1.499 | 1.33 | 1.449 | 1.43 | -1.57 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 154 | 1.3989 | 1.5558 | 1.4527 | 1.47 | -1.31 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.30 | LC-MS, other | 144 | 1.3477 | 1.6696 | 1.3841 | 1.47 | -1.32 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.40 | GC-FID | 169 | 1.5374 | 1.5197 | 1.4796 | 1.51 | -1.05 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 118 | 1.612 | 1.501 | 1.639 | 1.58 | -0.62 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 179 | 1.58 | 1.58 | 1.58 | 1.58 | -0.65 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 172 | 1.61 | 1.59 | 1.58 | 1.59 | -0.57 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 161 | 1.5961 | 1.6080 | 1.6169 | 1.61 | -0.49 | 1.6881 | 46 | 0.1669 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | Total CBD (%AR) | 007.30 | LC-MS, other | 156 | 1.6661 | 1.6669 | 1.5419 | 1.62 | -0.38 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 176 | 1.6065 | 1.7006 | 1.5545 | 1.62 | -0.41 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 152 | 1.7054 | 1.5984 | 1.6007 | 1.63 | -0.32 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 135 | 1.6069 | 1.6061 | 1.6628 | 1.63 | -0.38 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.01 | AOAC 2018.10 | 162 | 1.6630 | 1.6070 | 1.6254 | 1.63 | -0.34 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 144 | 1.6591 | 1.6774 | 1.6322 | 1.66 | -0.19 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 149 | 1.647 | 1.651 | 1.673 | 1.66 | -0.19 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 101 | 1.7252 | 1.5921 | 1.6540 | 1.66 | -0.19 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.30 | LC-MS, other | 164 | 1.6801 | 1.6528 | 1.6757 | 1.67 | -0.11 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.99 | Other | 172 | 1.7 | 1.7 | 1.6 | 1.67 | -0.13 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.01 | AOAC 2018.10 | 168 | 1.68 | 1.69 | 1.67 | 1.68 | -0.05 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.30 | LC-MS, other | 139 | 1.6223 | 1.6995 | 1.7393 | 1.69 | -0.01 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 127 | 1.7382 | 1.7682 | 1.6078 | 1.7 | 0.1 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.30 | LC-MS, other | 159 | 1.7591 | 1.7356 | 1.6043 | 1.7 | 0.07 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 106 | 1.695 | 1.696 | 1.703 | 1.7 | 0.06 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.99 | Other | 137 | 1.7545 | 1.7226 | 1.7543 | 1.74 | 0.33 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 155 | 1.76 | 1.72 | 1.74 | 1.74 | 0.31 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.30 | LC-MS, other | 119 | 1.7891 | 1.7223 | 1.7510 | 1.75 | 0.4 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.01 | AOAC 2018.10 | 160 | 1.8269 | 1.7129 | 1.7004 | 1.75 | 0.35 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 150 | 1.8 | 1.71 | 1.75 | 1.75 | 0.39 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.30 | LC-MS, other | 149 | 1.778 | 1.785 | 1.716 | 1.76 | 0.43 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 123 | 1.785 | 1.796 | 1.763 | 1.78 | 0.56 | 1.6881 | 46 | 0.1669 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 141 | 1.8091 | 1.7342 | 1.8345 | 1.79 | 0.63 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 136 | 1.86 | 1.78 | 1.77 | 1.8 | 0.69 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.40 | GC-FID | 163 | 1.804 | 1.797 | 1.8 | 1.8 | 0.67 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.40 | GC-FID | 116 | 1.7031 | 1.7863 | 1.9685 | 1.82 | 0.79 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.30 | LC-MS, other | 122 | 1.8464 | 1.8426 | 1.8424 | 1.84 | 0.93 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 125 | 1.8835 | 1.8964 | 1.8003 | 1.86 | 1.03 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 116 | 1.8860 | 1.9704 | 1.8556 | 1.9 | 1.29 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 145 | 1.87 | 1.96 | 1.91 | 1.91 | 1.35 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.40 | GC-FID | 138 | 1.8586 | 1.9245 | 1.9658 | 1.92 | 1.37 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.40 | GC-FID | 143 | 2.0461 | 1.9845 | 1.7611 | 1.93 | 1.45 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.50 | GC-MS | 127 | 1.8029 | 2.0501 | 2.0220 | 1.96 | 1.62 | 1.6881 | 46 | 0.1669 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 109 | 1.943 | 2.009 | 2.067 | 2.01 | 1.91 | 1.6881 | 46 | 0.1669 | 0 |
|  |  |  |  |  | Moisture (%AR) |  |  |  |  |  |  |  |  |
| HM19NOV-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Moisture (%AR) | 500.99 | Other | 132 | 3.65 | 4.5 | 3.51 | 3.89 | -1.7 | 7.2112 | 16 | 1.9531 | 0 |
| 1 | Moisture (%AR) | 500.99 | Other | 108 | 4.72 | 4.7 | 4.69 | 4.7 | -1.28 | 7.2112 | 16 | 1.9531 | 0 |
| 1 | Moisture (%AR) | 500.99 | Other | 131 | 5.79 | 5.3 | 5.56 | 5.55 | -0.85 | 7.2112 | 16 | 1.9531 | 0 |
| 1 | Moisture (%AR) | 500.99 | Other | 116 | 5.8 | 5.61 |  | 5.7 | -0.77 | 7.2112 | 16 | 1.9531 | 0 |
| 1 | Moisture (%AR) | 500.40 | AOAC 934.01 | 138 | 6.4 | 6.2 | 6.09 | 6.23 | -0.5 | 7.2112 | 16 | 1.9531 | 0 |
| 1 | Moisture (%AR) | 500.99 | Other | 120 | 6.569 | 6.484 | 6.729 | 6.59 | -0.32 | 7.2112 | 16 | 1.9531 | 0 |
| 1 | Moisture (%AR) | 500.40 | AOAC 934.01 | 109 | 7.06 | 6.59 | 6.51 | 6.72 | -0.25 | 7.2112 | 16 | 1.9531 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Moisture (%AR) | 500.99 | Other | 119 | 6.85 | 6.85 | 6.69 | 6.8 | -0.21 | 7.2112 | 16 | 1.9531 | 0 |
| 1 | Moisture (%AR) | 500.99 | Other | 179 | 7.2 | 7.3 | 7.2 | 7.23 | 0.01 | 7.2112 | 16 | 1.9531 | 0 |
| 1 | Moisture (%AR) | 500.99 | Other | 174 | 7.42 | 7.61 | 7.49 | 7.51 | 0.15 | 7.2112 | 16 | 1.9531 | 0 |
| 1 | Moisture (%AR) | 500.50 | AOAC 930.15 | 175 | 8.42 | 8.79 | 7.2 | 8.14 | 0.47 | 7.2112 | 16 | 1.9531 | 0 |
| 1 | Moisture (%AR) | 500.99 | Other | 159 | 8.3600 | 8.2 | 8.2500 | 8.27 | 0.54 | 7.2112 | 16 | 1.9531 | 0 |
| 1 | Moisture (%AR) | 500.50 | AOAC 930.15 | 105 | 8.7200 | 8.5500 | 8.7000 | 8.66 | 0.74 | 7.2112 | 16 | 1.9531 | 0 |
| 1 | Moisture (%AR) | 500.99 | Other | 176 | 8.97 | 9.16 | 9.02 | 9.05 | 0.94 | 7.2112 | 16 | 1.9531 | 0 |
| 1 | Moisture (%AR) | 500.50 | AOAC 930.15 | 156 | 9.6511 | 9.7519 | 10.0088 | 9.8 | 1.33 | 7.2112 | 16 | 1.9531 | 0 |
| 1 | Moisture (%AR) | 500.99 | Other | 172 | 10.24 | 10.71 | 9.85 | 10.3 | 1.56 | 7.2112 | 16 | 1.9531 | 0 |
| 1 | Moisture (%AR) | 500.50 | AOAC 930.15 | 177 | NT | NT |  | NT |  |  |  |  | 1 |
| HM19NOV-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Moisture (%AR) | 500.99 | Other | 132 | 2.74 | 2.99 | 1.58 | 2.44 | -2.16 | 5.7585 | 16 | 1.5411 | 0 |
| 2 | Moisture (%AR) | 500.99 | Other | 131 | 4.06 | 3.46 | 3.74 | 3.75 | -1.3 | 5.7585 | 16 | 1.5411 | 0 |
| 2 | Moisture (%AR) | 500.99 | Other | 108 | 4.35 | 4.26 | 4.31 | 4.31 | -0.94 | 5.7585 | 16 | 1.5411 | 0 |
| 2 | Moisture (%AR) | 500.99 | Other | 175 | 4.84 | 5.55 | 4.46 | 4.95 | -0.52 | 5.7585 | 16 | 1.5411 | 0 |
| 2 | Moisture (%AR) | 500.99 | Other | 120 | 5.071 | 4.786 | 5.278 | 5.05 | -0.46 | 5.7585 | 16 | 1.5411 | 0 |
| 2 | Moisture (%AR) | 500.40 | AOAC 934.01 | 138 | 5.25 | 5.01 | 4.94 | 5.07 | -0.45 | 5.7585 | 16 | 1.5411 | 0 |
| 2 | Moisture (%AR) | 500.99 | Other | 116 | 5.48 | 5.11 |  | 5.3 | -0.3 | 5.7585 | 16 | 1.5411 | 0 |
| 2 | Moisture (%AR) | 500.40 | AOAC 934.01 | 109 | 5.75 | 5.25 | 5.29 | 5.43 | -0.21 | 5.7585 | 16 | 1.5411 | 0 |
| 2 | Moisture (%AR) | 500.99 | Other | 119 | 5.5 | 5.41 | 5.52 | 5.48 | -0.18 | 5.7585 | 16 | 1.5411 | 0 |
| 2 | Moisture (%AR) | 500.99 | Other | 174 | 6.04 | 6 | 5.82 | 5.95 | 0.13 | 5.7585 | 16 | 1.5411 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | Moisture (%AR) | 500.50 | AOAC 930.15 | 105 | 6.7300 | 7.0200 | 6.2800 | 6.68 | 0.6 | 5.7585 | 16 | 1.5411 | 0 |
| 2 | Moisture (%AR) | 500.99 | Other | 176 | 6.82 | 6.99 | 7.14 | 6.98 | 0.79 | 5.7585 | 16 | 1.5411 | 0 |
| 2 | Moisture (%AR) | 500.99 | Other | 159 | 7.0400 | 7.0000 | 7.1 | 7.05 | 0.84 | 5.7585 | 16 | 1.5411 | 0 |
| 2 | Moisture (%AR) | 500.99 | Other | 179 | 7.3 | 7.2 | 7.3 | 7.27 | 0.98 | 5.7585 | 16 | 1.5411 | 0 |
| 2 | Moisture (%AR) | 500.50 | AOAC 930.15 | 156 | 7.2671 | 7.4863 | 7.5012 | 7.42 | 1.08 | 5.7585 | 16 | 1.5411 | 0 |
| 2 | Moisture (%AR) | 500.99 | Other | 172 | 8 | 7.995 | 8.067 | 8.02 | 1.47 | 5.7585 | 16 | 1.5411 | 0 |

Population of Lab Values

∆9-THC (%DW)

# HM19NOV-1

| 1 | ∆9-THC (%DW) | 501.01 | AOAC 2018.10 | 175 | <0.0022 | <0.0022 | <0.0022 | <0.0022 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | ∆9-THC (%DW) | 501.10 | LC-UV, other | 127 | 0.0611 | 0.1511 | 0.1620 | 0.125 | -1.77 | 0.1626 | 12 | 0.0214 | 0 |
| 1 | ∆9-THC (%DW) | 501.30 | LC-MS, other | 105 | 0.1290 | 0.1320 | 0.1650 | 0.142 | -0.96 | 0.1626 | 12 | 0.0214 | 0 |
| 1 | ∆9-THC (%DW) | 501.10 | LC-UV, other | 176 | 0.1380 | 0.1474 | 0.1568 | 0.147 | -0.71 | 0.1626 | 12 | 0.0214 | 0 |
| 1 | ∆9-THC (%DW) | 501.99 | Other | 120 | 0.1510 | 0.1563 | 0.1548 | 0.154 | -0.4 | 0.1626 | 12 | 0.0214 | 0 |
| 1 | ∆9-THC (%DW) | 501.99 | Other | 131 | 0.16 | 0.15 | 0.16 | 0.157 | -0.28 | 0.1626 | 12 | 0.0214 | 0 |
| 1 | ∆9-THC (%DW) | 501.01 | AOAC 2018.10 | 108 | 0.1614 | 0.1587 | 0.1605 | 0.16 | -0.11 | 0.1626 | 12 | 0.0214 | 0 |
| 1 | ∆9-THC (%DW) | 501.10 | LC-UV, other | 109 | 0.172 | 0.155 | 0.169 | 0.165 | 0.13 | 0.1626 | 12 | 0.0214 | 0 |
| 1 | ∆9-THC (%DW) | 501.02 | AOAC 2018.11, | 174 | 0.1710 | 0.1670 | 0.1630 | 0.167 | 0.2 | 0.1626 | 12 | 0.0214 | 0 |
| 1 | ∆9-THC (%DW) | 501.30 | LC-MS, other | 156 | 0.1518 | 0.1575 | 0.2017 | 0.17 | 0.36 | 0.1626 | 12 | 0.0214 | 0 |
| 1 | ∆9-THC (%DW) | 501.10 | LC-UV, other | 172 | 0.17 | 0.17 | 0.17 | 0.17 | 0.34 | 0.1626 | 12 | 0.0214 | 0 |
| 1 | ∆9-THC (%DW) | 501.10 | LC-UV, other | 179 | 0.19 | 0.19 | 0.2 | 0.193 | 1.44 | 0.1626 | 12 | 0.0214 | 0 |
| 1 | ∆9-THC (%DW) | 501.99 | Other | 172 | 0.21 | 0.19 | 0.21 | 0.203 | 1.9 | 0.1626 | 12 | 0.0214 | 0 |

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| HM19NOV-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | ∆9-THC (%DW) | 501.01 | AOAC 2018.10 | 175 | <0.0021 | <0.0021 | <0.0021 | <0.0021 |  |  |  |  | 1 |
| 2 | ∆9-THC (%DW) | 501.99 | Other | 131 | <0.04 | <0.04 | <0.04 | <0.04 |  |  |  |  | 1 |
| 2 | ∆9-THC (%DW) | 501.10 | LC-UV, other | 127 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| 2 | ∆9-THC (%DW) | 501.10 | LC-UV, other | 176 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| 2 | ∆9-THC (%DW) | 501.10 | LC-UV, other | 172 | 0.03 | 0.03 | 0.03 | 0.03 | -1.11 | 0.0343 | 9 | 0.0039 | 0 |
| 2 | ∆9-THC (%DW) | 501.99 | Other | 120 | 0.0292 | 0.0312 | 0.0326 | 0.031 | -0.85 | 0.0343 | 9 | 0.0039 | 0 |
| 2 | ∆9-THC (%DW) | 501.30 | LC-MS, other | 105 | 0.0293 | 0.0329 | 0.0335 | 0.0319 | -0.62 | 0.0343 | 9 | 0.0039 | 0 |
| 2 | ∆9-THC (%DW) | 501.30 | LC-MS, other | 156 | 0.0310 | 0.0306 | 0.0344 | 0.032 | -0.59 | 0.0343 | 9 | 0.0039 | 0 |
| 2 | ∆9-THC (%DW) | 501.02 | AOAC 2018.11, | 174 | 0.0330 | 0.0350 | 0.0320 | 0.0333 | -0.25 | 0.0343 | 9 | 0.0039 | 0 |
| 2 | ∆9-THC (%DW) | 501.10 | LC-UV, other | 179 | 0.04 | 0.04 | 0.03 | 0.0367 | 0.6 | 0.0343 | 9 | 0.0039 | 0 |
| 2 | ∆9-THC (%DW) | 501.01 | AOAC 2018.10 | 108 | 0.0418 | 0.0346 | 0.0348 | 0.0371 | 0.71 | 0.0343 | 9 | 0.0039 | 0 |
| 2 | ∆9-THC (%DW) | 501.99 | Other | 172 | 0.03 | 0.03 | 0.05 | 0.0367 | 0.6 | 0.0343 | 9 | 0.0039 | 0 |
| 2 | ∆9-THC (%DW) | 501.10 | LC-UV, other | 109 | 0.038 | 0.038 | 0.046 | 0.0407 | 1.63 | 0.0343 | 9 | 0.0039 | 0 |
|  |  |  |  |  | ∆9-THCA (%DW) |  |  |  |  |  |  |  |  |
| HM19NOV-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | ∆9-THCA (%DW) | 502.01 | AOAC 2018.10 | 175 | 0.0794 | 0.0789 | 0.0772 | 0.0785 | -1.85 | 0.1588 | 13 | 0.0434 | 0 |
| 1 | ∆9-THCA (%DW) | 502.10 | LC-UV, other | 127 | 0.1444 | 0.0724 | 0.0683 | 0.095 | -1.47 | 0.1588 | 13 | 0.0434 | 0 |
| 1 | ∆9-THCA (%DW) | 502.10 | LC-UV, other | 179 | 0.12 | 0.12 | 0.12 | 0.12 | -0.89 | 0.1588 | 13 | 0.0434 | 0 |
| 1 | ∆9-THCA (%DW) | 502.30 | LC-MS, other | 105 | 0.1340 | 0.1290 | 0.1410 | 0.135 | -0.56 | 0.1588 | 13 | 0.0434 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | ∆9-THCA (%DW) | 502.10 | LC-UV, other | 176 | 0.1448 | 0.1462 | 0.1483 | 0.146 | -0.28 | 0.1588 | 13 | 0.0434 | 0 |
| 1 | ∆9-THCA (%DW) | 502.01 | AOAC 2018.10 | 108 | 0.1758 | 0.1647 | 0.1543 | 0.165 | 0.14 | 0.1588 | 13 | 0.0434 | 0 |
| 1 | ∆9-THCA (%DW) | 502.10 | LC-UV, other | 172 | 0.16 | 0.17 | 0.17 | 0.167 | 0.18 | 0.1588 | 13 | 0.0434 | 0 |
| 1 | ∆9-THCA (%DW) | 502.02 | AOAC 2018.11, | 174 | 0.1740 | 0.1790 | 0.1780 | 0.177 | 0.42 | 0.1588 | 13 | 0.0434 | 0 |
| 1 | ∆9-THCA (%DW) | 502.99 | Other | 131 | 0.17 | 0.2 | 0.17 | 0.18 | 0.49 | 0.1588 | 13 | 0.0434 | 0 |
| 1 | ∆9-THCA (%DW) | 502.30 | LC-MS, other | 156 | 0.1818 | 0.1609 | 0.2017 | 0.181 | 0.52 | 0.1588 | 13 | 0.0434 | 0 |
| 1 | ∆9-THCA (%DW) | 502.99 | Other | 120 | 0.1904 | 0.1860 | 0.1969 | 0.191 | 0.74 | 0.1588 | 13 | 0.0434 | 0 |
| 1 | ∆9-THCA (%DW) | 502.10 | LC-UV, other | 109 | 0.198 | 0.201 | 0.211 | 0.203 | 1.03 | 0.1588 | 13 | 0.0434 | 0 |
| 1 | ∆9-THCA (%DW) | 502.99 | Other | 172 | 0.2 | 0.2 | 0.23 | 0.21 | 1.18 | 0.1588 | 13 | 0.0434 | 0 |
| HM19NOV-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | ∆9-THCA (%DW) | 502.10 | LC-UV, other | 127 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| 2 | ∆9-THCA (%DW) | 502.99 | Other | 131 | <0.06 | <0.06 | <0.06 | <0.06 |  |  |  |  | 1 |
| 2 | ∆9-THCA (%DW) | 502.10 | LC-UV, other | 176 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| 2 | ∆9-THCA (%DW) | 502.10 | LC-UV, other | 179 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| 2 | ∆9-THCA (%DW) | 502.01 | AOAC 2018.10 | 175 | 0.0253 | 0.0246 | 0.0239 | 0.0246 | -1.35 | 0.039 | 9 | 0.0107 | 0 |
| 2 | ∆9-THCA (%DW) | 502.30 | LC-MS, other | 105 | 0.0251 | 0.0281 | 0.0320 | 0.0284 | -0.99 | 0.039 | 9 | 0.0107 | 0 |
| 2 | ∆9-THCA (%DW) | 502.10 | LC-UV, other | 172 | 0.03 | 0.03 | 0.03 | 0.03 | -0.84 | 0.039 | 9 | 0.0107 | 0 |
| 2 | ∆9-THCA (%DW) | 502.99 | Other | 172 | 0.03 | 0.05 | 0.04 | 0.04 | 0.1 | 0.039 | 9 | 0.0107 | 0 |
| 2 | ∆9-THCA (%DW) | 502.99 | Other | 120 | 0.0405 | 0.0395 | 0.0412 | 0.0404 | 0.13 | 0.039 | 9 | 0.0107 | 0 |
| 2 | ∆9-THCA (%DW) | 502.30 | LC-MS, other | 156 | 0.0425 | 0.0357 | 0.0482 | 0.0421 | 0.3 | 0.039 | 9 | 0.0107 | 0 |
| 2 | ∆9-THCA (%DW) | 502.02 | AOAC 2018.11, | 174 | 0.0430 | 0.0540 | 0.0410 | 0.046 | 0.66 | 0.039 | 9 | 0.0107 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | ∆9-THCA (%DW) | 502.10 | LC-UV, other | 109 | 0.045 | 0.047 | 0.047 | 0.0463 | 0.69 | 0.039 | 9 | 0.0107 | 0 |
| 2 | ∆9-THCA (%DW) | 502.01 | AOAC 2018.10 | 108 | 0.0480 | 0.0488 | 0.0619 | 0.0529 | 1.3 | 0.039 | 9 | 0.0107 | 0 |
|  |  |  |  |  | CBD (%DW) |  |  |  |  |  |  |  |  |
| HM19NOV-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | CBD (%DW) | 503.01 | AOAC 2018.10 | 175 | 0.0108 | 0.013 | 0.0114 | 0.0117 | -6.59 | 1.6896 | 12 | 0.2545 | 0 |
| 1 | CBD (%DW) | 503.10 | LC-UV, other | 176 | 1.4232 | 1.5253 | 1.4771 | 1.48 | -0.84 | 1.6896 | 12 | 0.2545 | 0 |
| 1 | CBD (%DW) | 503.30 | LC-MS, other | 105 | 1.4800 | 1.5000 | 1.5100 | 1.5 | -0.76 | 1.6896 | 12 | 0.2545 | 0 |
| 1 | CBD (%DW) | 503.01 | AOAC 2018.10 | 108 | 1.526 | 1.512 | 1.578 | 1.54 | -0.59 | 1.6896 | 12 | 0.2545 | 0 |
| 1 | CBD (%DW) | 503.02 | AOAC 2018.11, | 174 | 1.6700 | 1.6740 | 1.6790 | 1.67 | -0.06 | 1.6896 | 12 | 0.2545 | 0 |
| 1 | CBD (%DW) | 503.99 | Other | 131 | 1.63 | 1.64 | 1.74 | 1.67 | -0.08 | 1.6896 | 12 | 0.2545 | 0 |
| 1 | CBD (%DW) | 503.99 | Other | 172 | 1.77 | 1.74 | 1.69 | 1.73 | 0.17 | 1.6896 | 12 | 0.2545 | 0 |
| 1 | CBD (%DW) | 503.30 | LC-MS, other | 156 | 1.6519 | 1.5849 | 1.9821 | 1.74 | 0.2 | 1.6896 | 12 | 0.2545 | 0 |
| 1 | CBD (%DW) | 503.10 | LC-UV, other | 109 | 1.755 | 1.754 | 1.717 | 1.74 | 0.21 | 1.6896 | 12 | 0.2545 | 0 |
| 1 | CBD (%DW) | 503.10 | LC-UV, other | 172 | 1.75 | 1.77 | 1.75 | 1.76 | 0.26 | 1.6896 | 12 | 0.2545 | 0 |
| 1 | CBD (%DW) | 503.10 | LC-UV, other | 179 | 2.06 | 2.07 | 2.08 | 2.07 | 1.49 | 1.6896 | 12 | 0.2545 | 0 |
| 1 | CBD (%DW) | 503.10 | LC-UV, other | 127 | 2.2593 | 2.3010 | 2.2402 | 2.27 | 2.27 | 1.6896 | 12 | 0.2545 | 0 |
| HM19NOV-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | CBD (%DW) | 503.01 | AOAC 2018.10 | 175 | 0.0071 | 0.0064 | 0.0079 | 0.0071 | -11.52 | 0.4552 | 12 | 0.0389 | 0 |
| 2 | CBD (%DW) | 503.10 | LC-UV, other | 176 | 0.3798 | 0.4145 | 0.3894 | 0.395 | -1.56 | 0.4552 | 12 | 0.0389 | 0 |
| 2 | CBD (%DW) | 503.30 | LC-MS, other | 105 | 0.4230 | 0.4240 | 0.4130 | 0.42 | -0.91 | 0.4552 | 12 | 0.0389 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | CBD (%DW) | 503.10 | LC-UV, other | 127 | 0.4183 | 0.5093 | 0.4387 | 0.455 | 0.01 | 0.4552 | 12 | 0.0389 | 0 |
| 2 | CBD (%DW) | 503.30 | LC-MS, other | 156 | 0.4621 | 0.4572 | 0.4454 | 0.455 | -0.01 | 0.4552 | 12 | 0.0389 | 0 |
| 2 | CBD (%DW) | 503.02 | AOAC 2018.11, | 174 | 0.4680 | 0.4570 | 0.4570 | 0.461 | 0.14 | 0.4552 | 12 | 0.0389 | 0 |
| 2 | CBD (%DW) | 503.99 | Other | 172 | 0.48 | 0.47 | 0.45 | 0.467 | 0.29 | 0.4552 | 12 | 0.0389 | 0 |
| 2 | CBD (%DW) | 503.99 | Other | 131 | 0.46 | 0.46 | 0.49 | 0.47 | 0.38 | 0.4552 | 12 | 0.0389 | 0 |
| 2 | CBD (%DW) | 503.10 | LC-UV, other | 172 | 0.48 | 0.47 | 0.46 | 0.47 | 0.38 | 0.4552 | 12 | 0.0389 | 0 |
| 2 | CBD (%DW) | 503.01 | AOAC 2018.10 | 108 | 0.5110 | 0.4507 | 0.4502 | 0.471 | 0.4 | 0.4552 | 12 | 0.0389 | 0 |
| 2 | CBD (%DW) | 503.10 | LC-UV, other | 179 | 0.5 | 0.5 | 0.5 | 0.5 | 1.15 | 0.4552 | 12 | 0.0389 | 0 |
| 2 | CBD (%DW) | 503.10 | LC-UV, other | 109 | 0.486 | 0.496 | 0.52 | 0.501 | 1.17 | 0.4552 | 12 | 0.0389 | 0 |
|  |  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| HM19NOV-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | CBDA (%DW) | 504.01 | AOAC 2018.10 | 175 | 3.6209 | 3.6347 | 3.5352 | 3.6 | -3.17 | 5.403 | 12 | 0.5704 | 0 |
| 1 | CBDA (%DW) | 504.10 | LC-UV, other | 127 | 3.5773 | 3.9276 | 3.6100 | 3.7 | -2.98 | 5.403 | 12 | 0.5704 | 0 |
| 1 | CBDA (%DW) | 504.30 | LC-MS, other | 105 | 5.3200 | 4.5700 | 5.3400 | 5.08 | -0.57 | 5.403 | 12 | 0.5704 | 0 |
| 1 | CBDA (%DW) | 504.10 | LC-UV, other | 179 | 5.26 | 5.27 | 5.29 | 5.27 | -0.23 | 5.403 | 12 | 0.5704 | 0 |
| 1 | CBDA (%DW) | 504.01 | AOAC 2018.10 | 108 | 5.313 | 5.202 | 5.324 | 5.28 | -0.22 | 5.403 | 12 | 0.5704 | 0 |
| 1 | CBDA (%DW) | 504.99 | Other | 131 | 5.34 | 5.34 | 5.57 | 5.42 | 0.02 | 5.403 | 12 | 0.5704 | 0 |
| 1 | CBDA (%DW) | 504.10 | LC-UV, other | 172 | 5.55 | 5.66 | 5.58 | 5.6 | 0.34 | 5.403 | 12 | 0.5704 | 0 |
| 1 | CBDA (%DW) | 504.10 | LC-UV, other | 176 | 5.5708 | 5.7311 | 5.5101 | 5.6 | 0.35 | 5.403 | 12 | 0.5704 | 0 |
| 1 | CBDA (%DW) | 504.02 | AOAC 2018.11, | 174 | 5.5690 | 5.6580 | 5.6310 | 5.62 | 0.38 | 5.403 | 12 | 0.5704 | 0 |
| 1 | CBDA (%DW) | 504.99 | Other | 172 | 5.76 | 5.81 | 5.72 | 5.76 | 0.63 | 5.403 | 12 | 0.5704 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | CBDA (%DW) | 504.30 | LC-MS, other | 156 | 5.6670 | 5.7289 | 6.1569 | 5.85 | 0.79 | 5.403 | 12 | 0.5704 | 0 |
| 1 | CBDA (%DW) | 504.10 | LC-UV, other | 109 | 6.523 | 6.517 | 6.304 | 6.45 | 1.83 | 5.403 | 12 | 0.5704 | 0 |
| HM19NOV-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | CBDA (%DW) | 504.10 | LC-UV, other | 127 | 0.9729 | 1.1449 | 1.0062 | 1.04 | -1.8 | 1.4152 | 12 | 0.2074 | 0 |
| 2 | CBDA (%DW) | 504.01 | AOAC 2018.10 | 175 | 1.0843 | 1.105 | 1.0771 | 1.09 | -1.57 | 1.4152 | 12 | 0.2074 | 0 |
| 2 | CBDA (%DW) | 504.30 | LC-MS, other | 105 | 1.2400 | 1.3400 | 1.1800 | 1.25 | -0.78 | 1.4152 | 12 | 0.2074 | 0 |
| 2 | CBDA (%DW) | 504.10 | LC-UV, other | 179 | 1.37 | 1.38 | 1.38 | 1.38 | -0.19 | 1.4152 | 12 | 0.2074 | 0 |
| 2 | CBDA (%DW) | 504.01 | AOAC 2018.10 | 108 | 1.415 | 1.392 | 1.401 | 1.4 | -0.06 | 1.4152 | 12 | 0.2074 | 0 |
| 2 | CBDA (%DW) | 504.10 | LC-UV, other | 172 | 1.46 | 1.45 | 1.44 | 1.45 | 0.17 | 1.4152 | 12 | 0.2074 | 0 |
| 2 | CBDA (%DW) | 504.30 | LC-MS, other | 156 | 1.5218 | 1.5332 | 1.3929 | 1.48 | 0.33 | 1.4152 | 12 | 0.2074 | 0 |
| 2 | CBDA (%DW) | 504.99 | Other | 131 | 1.47 | 1.47 | 1.54 | 1.49 | 0.38 | 1.4152 | 12 | 0.2074 | 0 |
| 2 | CBDA (%DW) | 504.02 | AOAC 2018.11, | 174 | 1.5300 | 1.5030 | 1.5310 | 1.52 | 0.51 | 1.4152 | 12 | 0.2074 | 0 |
| 2 | CBDA (%DW) | 504.99 | Other | 172 | 1.55 | 1.57 | 1.47 | 1.53 | 0.55 | 1.4152 | 12 | 0.2074 | 0 |
| 2 | CBDA (%DW) | 504.10 | LC-UV, other | 176 | 1.5329 | 1.6122 | 1.4647 | 1.54 | 0.59 | 1.4152 | 12 | 0.2074 | 0 |
| 2 | CBDA (%DW) | 504.10 | LC-UV, other | 109 | 1.796 | 1.852 | 1.896 | 1.85 | 2.09 | 1.4152 | 12 | 0.2074 | 0 |
|  |  |  |  |  | CBN (%DW) |  |  |  |  |  |  |  |  |
| HM19NOV-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | CBN (%DW) | 505.01 | AOAC 2018.10 | 175 | <0.0022 | <0.0022 | <0.0022 | <0.0022 |  |  |  |  | 1 |
| 1 | CBN (%DW) | 505.20 | LC-MS, other | 156 | <0.01 | <0.01 | <0.01 | <0.01 |  |  |  |  | 1 |
| 1 | CBN (%DW) | 505.20 | LC-MS, other | 105 | <0.0144 | <0.0144 | <0.0144 | <0.0144 |  |  |  |  | 1 |

Population of Lab Values

| Sam |  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Num | Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score | Rob Mean | n | Rob StDev | Flag |
| 1 | CBN (%DW) | 505.99 | Other | 131 | <0.03 | <0.03 | <0.03 | <0.03 | 1 |  |  |  |  |
| 1 | CBN (%DW) | 505.10 | LC-UV, other | 127 | <0.0500 | <0.0500 | <0.0500 | <0.0500 | 1 |  |  |  |  |
| 1 | CBN (%DW) | 505.10 | LC-UV, other | 176 | <0.1000 | <0.1000 | <0.1000 | <0.1000 | 1 |  |  |  |  |
| 1 | CBN (%DW) | 505.40 | GC-MS | 127 | <0.1500 | <0.1500 | <0.1500 | <0.1500 | 1 |  |  |  |  |
| 1 | CBN (%DW) | 505.10 | LC-UV, other | 179 | 0 | 0 | 0 | 0 | 2 |  |  |  |  |
| 1 | CBN (%DW) | 505.10 | LC-UV, other | 172 | 0 | 0 | 0 | 0 | 2 |  |  |  |  |
| 1 | CBN (%DW) | 505.99 | Other | 172 | 0 | 0 | 0 | 0 | 2 |  |  |  |  |
| 1 | CBN (%DW) | 505.30 | GC-FID | 138 | 0.0171 | 0.0245 | 0.0135 | 0.0184 | 0 |  |  |  |  |
| 1 | CBN (%DW) | 505.02 | AOAC 2018.11, | 174 | 0.0250 | 0.0230 | <0.0100 | 0.0193 | 0 |  |  |  |  |
| 1 | CBN (%DW) | 505.10 | LC-UV, other | 109 | 0.023 | 0.023 | 0.026 | 0.024 | 0 |  |  |  |  |
| HM19NOV-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | CBN (%DW) | 505.20 | LC-MS, other | 156 | <0.01 | <0.01 | <0.01 | <0.01 | 1 |  |  |  |  |
| 2 | CBN (%DW) | 505.02 | AOAC 2018.11, | 174 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |
| 2 | CBN (%DW) | 505.20 | LC-MS, other | 105 | <0.0144 | <0.0144 | <0.0144 | <0.0144 | 1 |  |  |  |  |
| 2 | CBN (%DW) | 505.99 | Other | 131 | <0.03 | <0.03 | <0.03 | <0.03 | 1 |  |  |  |  |
| 2 | CBN (%DW) | 505.10 | LC-UV, other | 127 | <0.0500 | <0.0500 | <0.0500 | <0.0500 | 1 |  |  |  |  |
| 2 | CBN (%DW) | 505.10 | LC-UV, other | 176 | <0.1000 | <0.1000 | <0.1000 | <0.1000 | 1 |  |  |  |  |
| 2 | CBN (%DW) | 505.40 | GC-MS | 127 | <0.1500 | <0.1500 | <0.1500 | <0.1500 | 1 |  |  |  |  |
| 2 | CBN (%DW) | 505.10 | LC-UV, other | 179 | 0 | 0 | 0 | 0 | 2 |  |  |  |  |
| 2 | CBN (%DW) | 505.10 | LC-UV, other | 172 | 0 | 0 | 0 | 0 | 2 |  |  |  |  |
| 2 | CBN (%DW) | 505.99 | Other | 172 | 0 | 0 | 0 | 0 | 2 |  |  |  |  |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | CBN (%DW) | 505.10 | LC-UV, other | 109 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| 2 | CBN (%DW) | 505.01 | AOAC 2018.10 | 175 | 0.0028 | 0.0029 | 0.004 | 0.0032 |  |  |  |  | 0 |
| 2 | CBN (%DW) | 505.30 | GC-FID | 138 | 0.0113 | 0.0183 | 0.0078 | 0.0125 |  |  |  |  | 0 |
|  |  |  |  |  | Total ∆9-THC (%DW) |  |  |  |  |  |  |  |  |
| HM19NOV-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Total ∆9-THC (%DW) | 506.01 | AOAC 2018.10 | 175 | 0.0697 | 0.0692 | 0.0677 | 0.0689 | -4.91 | 0.2996 | 15 | 0.047 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.10 | LC-UV, other | 127 | 0.1980 | 0.2146 | 0.2219 | 0.212 | -1.87 | 0.2996 | 15 | 0.047 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.50 | GC-MS | 127 | 0.2460 | 0.2621 | 0.2605 | 0.256 | -0.92 | 0.2996 | 15 | 0.047 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.30 | LC-MS, other | 105 | 0.2470 | 0.2450 | 0.2890 | 0.26 | -0.83 | 0.2996 | 15 | 0.047 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.10 | LC-UV, other | 176 | 0.2650 | 0.2756 | 0.2869 | 0.276 | -0.5 | 0.2996 | 15 | 0.047 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.10 | LC-UV, other | 179 | 0.3 | 0.3 | 0.3 | 0.3 | 0.01 | 0.2996 | 15 | 0.047 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.10 | LC-UV, other | 172 | 0.3 | 0.31 | 0.3 | 0.303 | 0.08 | 0.2996 | 15 | 0.047 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.01 | AOAC 2018.10 | 108 | 0.3156 | 0.3031 | 0.2958 | 0.305 | 0.11 | 0.2996 | 15 | 0.047 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.99 | Other | 131 | 0.31 | 0.33 | 0.31 | 0.317 | 0.36 | 0.2996 | 15 | 0.047 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.02 | AOAC 2018.11, | 174 | 0.3236 | 0.3240 | 0.3191 | 0.322 | 0.48 | 0.2996 | 15 | 0.047 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.99 | Other | 120 | 0.3180 | 0.3194 | 0.3275 | 0.322 | 0.47 | 0.2996 | 15 | 0.047 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.30 | LC-MS, other | 156 | 0.3112 | 0.2986 | 0.3786 | 0.329 | 0.64 | 0.2996 | 15 | 0.047 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.40 | GC-FID | 138 | 0.328 | 0.3428 | 0.3221 | 0.331 | 0.67 | 0.2996 | 15 | 0.047 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.10 | LC-UV, other | 109 | 0.346 | 0.331 | 0.354 | 0.344 | 0.94 | 0.2996 | 15 | 0.047 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.99 | Other | 172 | 0.39 | 0.37 | 0.41 | 0.39 | 1.92 | 0.2996 | 15 | 0.047 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| HM19NOV-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Total ∆9-THC (%DW) | 506.99 | Other | 131 | <0.03 | <0.03 | <0.03 | <0.03 |  |  |  |  | 1 |
| 2 | Total ∆9-THC (%DW) | 506.10 | LC-UV, other | 127 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| 2 | Total ∆9-THC (%DW) | 506.10 | LC-UV, other | 176 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| 2 | Total ∆9-THC (%DW) | 506.50 | GC-MS | 127 | <0.1500 | <0.1500 | <0.1500 | <0.1500 |  |  |  |  | 1 |
| 2 | Total ∆9-THC (%DW) | 506.01 | AOAC 2018.10 | 175 | 0.0222 | 0.0215 | 0.0209 | 0.0215 | -2.6 | 0.0682 | 11 | 0.0179 | 0 |
| 2 | Total ∆9-THC (%DW) | 506.10 | LC-UV, other | 179 | 0.04 | 0.04 | 0.03 | 0.0367 | -1.75 | 0.0682 | 11 | 0.0179 | 0 |
| 2 | Total ∆9-THC (%DW) | 506.30 | LC-MS, other | 105 | 0.0513 | 0.0575 | 0.0616 | 0.0568 | -0.63 | 0.0682 | 11 | 0.0179 | 0 |
| 2 | Total ∆9-THC (%DW) | 506.99 | Other | 120 | 0.0647 | 0.0658 | 0.0687 | 0.0664 | -0.1 | 0.0682 | 11 | 0.0179 | 0 |
| 2 | Total ∆9-THC (%DW) | 506.30 | LC-MS, other | 156 | 0.0683 | 0.0619 | 0.0766 | 0.0689 | 0.04 | 0.0682 | 11 | 0.0179 | 0 |
| 2 | Total ∆9-THC (%DW) | 506.10 | LC-UV, other | 172 | 0.07 | 0.07 | 0.07 | 0.07 | 0.1 | 0.0682 | 11 | 0.0179 | 0 |
| 2 | Total ∆9-THC (%DW) | 506.02 | AOAC 2018.11, | 174 | 0.0707 | 0.0824 | 0.0679 | 0.0737 | 0.31 | 0.0682 | 11 | 0.0179 | 0 |
| 2 | Total ∆9-THC (%DW) | 506.40 | GC-FID | 138 | 0.0754 | 0.0871 | 0.0783 | 0.0803 | 0.68 | 0.0682 | 11 | 0.0179 | 0 |
| 2 | Total ∆9-THC (%DW) | 506.10 | LC-UV, other | 109 | 0.077 | 0.079 | 0.087 | 0.081 | 0.72 | 0.0682 | 11 | 0.0179 | 0 |
| 2 | Total ∆9-THC (%DW) | 506.01 | AOAC 2018.10 | 108 | 0.0839 | 0.0774 | 0.0891 | 0.0835 | 0.85 | 0.0682 | 11 | 0.0179 | 0 |
| 2 | Total ∆9-THC (%DW) | 506.99 | Other | 172 | 0.07 | 0.09 | 0.1 | 0.0867 | 1.03 | 0.0682 | 11 | 0.0179 | 0 |
|  |  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| HM19NOV-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Total CBD (%DW) | 507.01 | AOAC 2018.10 | 175 | 3.1863 | 3.2006 | 3.1119 | 3.17 | -3.96 | 6.3661 | 14 | 0.8074 | 0 |
| 1 | Total CBD (%DW) | 507.50 | GC-MS | 127 | 4.5227 | 5.2297 | 5.1828 | 4.98 | -1.72 | 6.3661 | 14 | 0.8074 | 0 |
| 1 | Total CBD (%DW) | 507.10 | LC-UV, other | 127 | 5.3965 | 5.7456 | 5.4061 | 5.52 | -1.05 | 6.3661 | 14 | 0.8074 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Total CBD (%DW) | 507.30 | LC-MS, other | 105 | 6.1500 | 5.5100 | 6.1900 | 5.95 | -0.52 | 6.3661 | 14 | 0.8074 | 0 |
| 1 | Total CBD (%DW) | 507.01 | AOAC 2018.10 | 108 | 6.185 | 6.074 | 6.247 | 6.17 | -0.24 | 6.3661 | 14 | 0.8074 | 0 |
| 1 | Total CBD (%DW) | 507.10 | LC-UV, other | 176 | 6.3088 | 6.5515 | 6.3095 | 6.39 | 0.03 | 6.3661 | 14 | 0.8074 | 0 |
| 1 | Total CBD (%DW) | 507.99 | Other | 131 | 6.32 | 6.32 | 6.62 | 6.42 | 0.07 | 6.3661 | 14 | 0.8074 | 0 |
| 1 | Total CBD (%DW) | 507.02 | AOAC 2018.11, | 174 | 6.5540 | 6.6361 | 6.6174 | 6.6 | 0.29 | 6.3661 | 14 | 0.8074 | 0 |
| 1 | Total CBD (%DW) | 507.10 | LC-UV, other | 172 | 6.62 | 6.74 | 6.64 | 6.67 | 0.37 | 6.3661 | 14 | 0.8074 | 0 |
| 1 | Total CBD (%DW) | 507.10 | LC-UV, other | 179 | 6.67 | 6.7 | 6.71 | 6.69 | 0.41 | 6.3661 | 14 | 0.8074 | 0 |
| 1 | Total CBD (%DW) | 507.99 | Other | 172 | 6.83 | 6.83 | 6.71 | 6.79 | 0.53 | 6.3661 | 14 | 0.8074 | 0 |
| 1 | Total CBD (%DW) | 507.30 | LC-MS, other | 156 | 6.6218 | 6.6087 | 7.3817 | 6.87 | 0.63 | 6.3661 | 14 | 0.8074 | 0 |
| 1 | Total CBD (%DW) | 507.40 | GC-FID | 138 | 7.2134 | 7.532 | 7.3053 | 7.35 | 1.22 | 6.3661 | 14 | 0.8074 | 0 |
| 1 | Total CBD (%DW) | 507.10 | LC-UV, other | 109 | 7.475 | 7.47 | 7.246 | 7.4 | 1.28 | 6.3661 | 14 | 0.8074 | 0 |
| HM19NOV-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Total CBD (%DW) | 507.01 | AOAC 2018.10 | 175 | 0.9581 | 0.9754 | 0.9525 | 0.962 | -3.36 | 1.7103 | 14 | 0.2225 | 0 |
| 2 | Total CBD (%DW) | 507.10 | LC-UV, other | 127 | 1.2715 | 1.5133 | 1.3211 | 1.37 | -1.54 | 1.7103 | 14 | 0.2225 | 0 |
| 2 | Total CBD (%DW) | 507.30 | LC-MS, other | 105 | 1.5100 | 1.6000 | 1.4500 | 1.52 | -0.86 | 1.7103 | 14 | 0.2225 | 0 |
| 2 | Total CBD (%DW) | 507.01 | AOAC 2018.10 | 108 | 1.646 | 1.626 | 1.645 | 1.64 | -0.32 | 1.7103 | 14 | 0.2225 | 0 |
| 2 | Total CBD (%DW) | 507.50 | GC-MS | 127 | 1.6210 | 1.6684 | 1.6519 | 1.65 | -0.28 | 1.7103 | 14 | 0.2225 | 0 |
| 2 | Total CBD (%DW) | 507.10 | LC-UV, other | 179 | 1.69 | 1.71 | 1.71 | 1.7 | -0.03 | 1.7103 | 14 | 0.2225 | 0 |
| 2 | Total CBD (%DW) | 507.10 | LC-UV, other | 172 | 1.75 | 1.73 | 1.72 | 1.73 | 0.1 | 1.7103 | 14 | 0.2225 | 0 |
| 2 | Total CBD (%DW) | 507.10 | LC-UV, other | 176 | 1.7241 | 1.8284 | 1.6740 | 1.74 | 0.14 | 1.7103 | 14 | 0.2225 | 0 |
| 2 | Total CBD (%DW) | 507.30 | LC-MS, other | 156 | 1.7967 | 1.8018 | 1.6669 | 1.76 | 0.2 | 1.7103 | 14 | 0.2225 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | Total CBD (%DW) | 507.99 | Other | 131 | 1.75 | 1.75 | 1.84 | 1.78 | 0.31 | 1.7103 | 14 | 0.2225 | 0 |
| 2 | Total CBD (%DW) | 507.02 | AOAC 2018.11, | 174 | 1.8098 | 1.7751 | 1.7997 | 1.79 | 0.38 | 1.7103 | 14 | 0.2225 | 0 |
| 2 | Total CBD (%DW) | 507.99 | Other | 172 | 1.85 | 1.85 | 1.74 | 1.81 | 0.46 | 1.7103 | 14 | 0.2225 | 0 |
| 2 | Total CBD (%DW) | 507.40 | GC-FID | 138 | 1.9578 | 2.0272 | 2.0707 | 2.02 | 1.39 | 1.7103 | 14 | 0.2225 | 0 |
| 2 | Total CBD (%DW) | 507.10 | LC-UV, other | 109 | 2.061 | 2.12 | 2.183 | 2.12 | 1.85 | 1.7103 | 14 | 0.2225 | 0 |

Population of Lab Values

- Flag definitions: 1 (Lab Value not used because there were less than 2 numeric lab results), 2 (Lab Value not used because there were less than 2 numeric lab results greater than 0).

- Robust statistics performed to determine robust mean and Z scores only if there were 6 or more numeric lab values.