Hemp Proficiency Testing

Summary All Labs Trueness

Samples:  HM19SEP

All Labs Trueness

Issue Date:	10/19/2019

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ∆9-THC (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| HM19SEP-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | ∆9-THC (%AR) | 001.99 | Other | 148 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 150 | .1317 | .1550 | .1625 | 0.15 | -3.43 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 103 | 0.1627 | 0.1663 | 0.1672 | 0.165 | -2.88 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 163 | 0.2733 | 0.1261 |  | 0.2 | -1.69 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 127 | 0.2075 | 0.2186 | 0.2110 | 0.212 | -1.25 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 155 | 0.218 | 0.239 | 0.195 | 0.217 | -1.07 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 168 | 0.2180 | 0.2239 | 0.2262 | 0.223 | -0.88 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 141 | 0.2462 | 0.2187 | 0.2092 | 0.225 | -0.81 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 161 | 0.2260 | 0.2259 | 0.2286 | 0.227 | -0.74 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 164 | 0.2408 | 0.2159 | 0.2268 | 0.228 | -0.71 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 122 | 0.2117 | 0.237 | 0.2442 | 0.231 | -0.6 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 125 | 0.2321 | 0.2278 | 0.2348 | 0.232 | -0.57 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 124 | 0.2367 | 0.2254 | 0.2342 | 0.232 | -0.56 | 0.248 | 41 | 0.0286 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 129 | 0.2297 | 0.2430 | 0.2250 | 0.233 | -0.54 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 149 | 0.2241 | 0.2354 | 0.2475 | 0.236 | -0.43 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 102 | 0.2459 | 0.2283 |  | 0.237 | -0.38 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 145 | 0.2426 | 0.2330 | 0.2392 | 0.238 | -0.34 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 137 | 0.2450 | 0.2360 | 0.2398 | 0.24 | -0.27 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 146 | 0.2454 | 0.2405 | 0.2367 | 0.241 | -0.25 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 118 | 0.231 | 0.231 | 0.262 | 0.241 | -0.23 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 149 | 0.2425 | 0.2422 | 0.2433 | 0.243 | -0.19 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 154 | 0.258 | 0.238 | 0.236 | 0.244 | -0.14 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 159 | 0.238 | 0.2458 | 0.2586 | 0.247 | -0.02 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 142 | 0.2453 | 0.2486 | 0.2511 | 0.248 | 0.01 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 152 | 0.2497 | 0.2492 | 0.2479 | 0.249 | 0.03 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 101 | 0.2385 | 0.2523 | 0.2548 | 0.249 | 0.02 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 113 | 0.2486 | 0.2495 | 0.2512 | 0.25 | 0.06 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.2489 | 0.2528 | 0.2573 | 0.253 | 0.17 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 139 | 0.256 | 0.2493 | 0.257 | 0.254 | 0.21 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 135 | 0.2521 | 0.2626 | 0.2507 | 0.255 | 0.25 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 162 | 0.2606 | 0.2540 | 0.2607 | 0.258 | 0.36 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 119 | 0.2646 | 0.2611 | 0.2867 | 0.271 | 0.79 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 160 | 0.26 | 0.29 | 0.28 | 0.277 | 1 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 106 | 0.2635 | 0.2751 | 0.2917 | 0.277 | 1 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.99 | Other | 173 | 0.3107 | 0.2588 | 0.2622 | 0.277 | 1.02 | 0.248 | 41 | 0.0286 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 109 | 0.3134 | 0.2643 | 0.2572 | 0.278 | 1.06 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.99 | Other | 132 | 0.267 | 0.261 | 0.322 | 0.283 | 1.23 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 123 | 0.2810 | 0.2840 | 0.2880 | 0.284 | 1.27 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 116 | 0.2974 | 0.3107 | 0.2896 | 0.299 | 1.79 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 144 | 0.3172 | 0.3142 | 0.2656 | 0.299 | 1.78 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 136 | 0.3067 | 0.3133 | 0.2866 | 0.302 | 1.89 | 0.248 | 41 | 0.0286 | 0 |
| 1 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 156 | 0.3333 | 0.3375 | 0.2837 | 0.318 | 2.45 | 0.248 | 41 | 0.0286 | 0 |
| HM19SEP-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 129 | <0.0985 | <0.0985 | <0.0980 | <0.0985 |  |  |  |  | 1 |
| 2 | ∆9-THC (%AR) | 001.99 | Other | 148 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| 2 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 103 | 0.0589 | 0.0582 | 0.0547 | 0.0573 | -3.29 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 150 | .0617 | .0500 | .0850 | 0.0656 | -2.77 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 127 | .0888 | .0850 | 0.0871 | 0.087 | -1.43 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 160 | 0.08 | 0.1 | 0.08 | 0.0867 | -1.45 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 124 | .0893 | 0.0923 | 0.1042 | 0.0953 | -0.91 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 155 | 0.105 | 0.09 | 0.097 | 0.0973 | -0.78 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 162 | 0.0987 | 0.0987 | 0.0963 | 0.0979 | -0.74 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 161 | 0.1030 | 0.0974 | 0.0965 | 0.099 | -0.67 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 164 | 0.099 | 0.0984 | 0.0997 | 0.099 | -0.67 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 122 | 0.0931 | 0.1138 | 0.0925 | 0.0998 | -0.62 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 137 | 0.1014 | 0.1018 | 0.0995 | 0.101 | -0.55 | 0.1097 | 40 | 0.016 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 159 | 0.0968 | 0.1003 | 0.1086 | 0.102 | -0.49 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 149 | 0.1073 | 0.0982 | 0.0997 | 0.102 | -0.5 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 118 | 0.1 | 0.105 | 0.104 | 0.103 | -0.42 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 125 | 0.1054 | 0.0991 | 0.1061 | 0.104 | -0.39 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 149 | 0.1039 | 0.1033 | 0.1040 | 0.104 | -0.38 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 168 | 0.1043 | 0.1039 | 0.1057 | 0.105 | -0.32 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 141 | 0.1104 | 0.1086 | 0.0956 | 0.105 | -0.3 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 142 | 0.1050 | 0.1034 | 0.1107 | 0.106 | -0.21 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 135 | 0.1058 | 0.1086 | 0.1062 | 0.107 | -0.18 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 102 | 0.1058 | 0.1095 |  | 0.108 | -0.13 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 101 | 0.1081 | 0.1070 | 0.1075 | 0.108 | -0.14 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 154 | 0.106 | 0.108 | 0.112 | 0.109 | -0.07 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.1106 | 0.1134 | 0.1127 | 0.112 | 0.16 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 146 | 0.1111 | 0.1120 | 0.1141 | 0.112 | 0.17 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 113 | 0.1103 | 0.1196 | 0.1099 | 0.113 | 0.22 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 152 | 0.1117 | 0.1162 | 0.1126 | 0.113 | 0.24 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.99 | Other | 132 | 0.115 | 0.112 | 0.113 | 0.113 | 0.23 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 163 | 0.1261 | 0.1070 |  | 0.117 | 0.43 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 139 | 0.1149 | 0.1199 | 0.118 | 0.118 | 0.49 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 145 | 0.1206 | 0.1439 | 0.1009 | 0.122 | 0.76 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.99 | Other | 173 | 0.1411 | 0.1169 | 0.1109 | 0.123 | 0.83 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.02 | AOAC 2018.11, | 123 | 0.1290 | 0.1220 | 0.1220 | 0.124 | 0.92 | 0.1097 | 40 | 0.016 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 109 | 0.1653 | 0.0994 | 0.1177 | 0.127 | 1.11 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 156 | 0.1376 | 0.1362 | 0.1234 | 0.132 | 1.42 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 119 | 0.1379 | 0.1302 | 0.1281 | 0.132 | 1.4 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 116 | 0.1338 | 0.1278 | 0.1380 | 0.133 | 1.47 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 106 | 0.1396 | 0.1327 | 0.1324 | 0.135 | 1.58 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.30 | LC-MS, other | 144 | 0.1552 | 0.1381 | 0.1192 | 0.138 | 1.74 | 0.1097 | 40 | 0.016 | 0 |
| 2 | ∆9-THC (%AR) | 001.10 | LC-UV, other | 136 | 0.1867 | 0.1967 | 0.1800 | 0.188 | 4.89 | 0.1097 | 40 | 0.016 | 0 |

Population of Lab Values

∆9-THCA (%AR)

# HM19SEP-1

| 1 | ∆9-THCA (%AR) | 002.99 | Other | 132 | <0.01 | <0.01 | <0.01 | <0.01 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 123 | <0.0710 | <0.0720 | <0.0750 | <0.0710 |  |  |  |  | 1 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 129 | <0.0990 | <0.0992 | <0.0992 | <0.0990 |  |  |  |  | 1 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 163 | 0 | 0 |  | 0 |  |  |  |  | 2 |
| 1 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 103 | 0.0160 | 0.0164 | 0.0156 | 0.016 | -1.37 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 155 | 0.004 | 0.018 | 0.038 | 0.02 | -1.13 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 124 | 0.0223 | 0.0194 | 0.0197 | 0.0205 | -1.1 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 101 | 0.0167 | 0.0222 | 0.0234 | 0.0208 | -1.08 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 154 | 0.027 | 0.021 | 0.017 | 0.0217 | -1.03 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 142 | 0.0236 | 0.029 | 0.0207 | 0.0244 | -0.86 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 162 | 0.0274 | 0.0258 | 0.0262 | 0.0265 | -0.73 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 146 | 0.0276 | 0.0267 | 0.0233 | 0.0259 | -0.77 | 0.0385 | 35 | 0.0164 | 0 |

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.023 | 0.0275 | 0.026 | 0.0255 | -0.79 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 149 | 0.0285 | 0.0271 | 0.0284 | 0.028 | -0.64 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 149 | 0.033 | 0.0298 | 0.0318 | 0.0315 | -0.42 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 141 | 0.0370 | 0.0340 | 0.0255 | 0.0322 | -0.39 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 164 | 0.0337 | 0.0313 | 0.0324 | 0.0325 | -0.37 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 119 | 0.0326 | 0.0316 | 0.0355 | 0.0332 | -0.32 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 137 | 0.032 | 0.033 | 0.033 | 0.0327 | -0.36 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 152 | 0.0397 | 0.0287 | 0.0322 | 0.0335 | -0.3 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 139 | 0.0346 | 0.037 | 0.0339 | 0.0352 | -0.2 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 118 | 0.03 | 0.033 | 0.042 | 0.035 | -0.21 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 144 | 0.0296 | 0.0384 | 0.0374 | 0.0351 | -0.21 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 122 | 0.0294 | 0.042 | 0.0331 | 0.0348 | -0.22 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 159 | 0.0435 | 0.038 | 0.03 | 0.0372 | -0.08 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 109 | 0.0345 | 0.0353 | 0.0407 | 0.0368 | -0.1 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 135 | 0.0374 | 0.0394 | 0.0396 | 0.0388 | 0.02 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 160 | 0.05 | 0.04 | 0.04 | 0.0433 | 0.3 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 113 | 0.0444 | 0.0459 | 0.0451 | 0.0451 | 0.41 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 127 | 0.0479 | 0.0519 | 0.0492 | 0.0497 | 0.68 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 116 | 0.0463 | 0.0499 | 0.0562 | 0.0508 | 0.75 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 125 | 0.0574 | 0.0357 | 0.0589 | 0.0507 | 0.74 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 156 | 0.0482 | 0.0624 | 0.0440 | 0.0515 | 0.8 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.99 | Other | 173 | 0.0726 | <0.0570 | 0.0723 | 0.0673 | 1.76 | 0.0385 | 35 | 0.0164 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 150 | 0.08 | 0.0725 | 0.07 | 0.0742 | 2.18 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 106 | 0.075 | 0.0748 | 0.0733 | 0.0744 | 2.19 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 168 | 0.0781 | 0.0848 | 0.0842 | 0.0824 | 2.68 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 136 | 0.1233 | 0.1 | 0.11 | 0.111 | 4.43 | 0.0385 | 35 | 0.0164 | 0 |
| 1 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 145 | 0.3273 | 0.3378 | 0.3753 | 0.347 | 18.81 | 0.0385 | 35 | 0.0164 | 0 |
| HM19SEP-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | ∆9-THCA (%AR) | 002.99 | Other | 132 | <0.01 | <0.01 | <0.01 | <0.01 |  |  |  |  | 1 |
| 2 | ∆9-THCA (%AR) | 002.99 | Other | 173 | <0.0590 | <0.0570 | <0.0610 | <0.0590 |  |  |  |  | 1 |
| 2 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 123 | <0.0750 | <0.0710 | <0.0730 | <0.0750 |  |  |  |  | 1 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 129 | <0.0985 | <0.0985 | <0.098 | <0.0985 |  |  |  |  | 1 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 163 | 0 | 0 |  | 0 |  |  |  |  | 2 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 124 | 0.0184 | 0.0171 | 0.0184 | 0.018 | -1.39 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 142 | 0.0192 | 0.02 | 0.0175 | 0.0189 | -1.33 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 155 | 0.017 | 0.015 | 0.028 | 0.02 | -1.25 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 102 | 0.0248 | 0.024 |  | 0.0244 | -0.96 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 154 | 0.023 | 0.027 | 0.026 | 0.0253 | -0.9 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 103 | 0.0242 | 0.0281 | 0.0254 | 0.0259 | -0.86 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 141 | 0.0241 | 0.0292 | 0.0244 | 0.0259 | -0.86 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 146 | 0.0256 | 0.0265 | 0.0257 | 0.0259 | -0.86 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 162 | 0.0293 | 0.0265 | 0.0262 | 0.0273 | -0.77 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.0289 | 0.0271 | 0.027 | 0.0277 | -0.75 | 0.039 | 35 | 0.0152 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 125 | 0.036 | 0.0209 | 0.0307 | 0.0292 | -0.65 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 160 | 0.03 | 0.04 | 0.03 | 0.0333 | -0.37 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 149 | 0.0347 | 0.0319 | 0.0335 | 0.0334 | -0.37 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 152 | 0.0392 | 0.0261 | 0.0357 | 0.0337 | -0.35 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 164 | 0.0364 | 0.0339 | 0.0376 | 0.036 | -0.2 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 113 | 0.0341 | 0.0375 | 0.0359 | 0.0358 | -0.21 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 149 | 0.0366 | 0.0365 | 0.0388 | 0.0373 | -0.11 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 137 | 0.037 | 0.0393 | 0.0385 | 0.0383 | -0.05 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 144 | 0.0354 | 0.041 | 0.0402 | 0.0389 | -0.01 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 118 | 0.035 | 0.039 | 0.042 | 0.0387 | -0.02 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 101 | 0.0398 | 0.0422 | 0.0395 | 0.0405 | 0.1 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 159 | 0.0461 | 0.0432 | 0.0337 | 0.041 | 0.13 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 139 | 0.0429 | 0.0398 | 0.0417 | 0.0415 | 0.16 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 109 | 0.0452 | 0.0399 | 0.0485 | 0.0445 | 0.37 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 135 | 0.0421 | 0.0449 | 0.0442 | 0.0437 | 0.31 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 122 | 0.0564 | 0.0418 | 0.0325 | 0.0436 | 0.3 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 119 | 0.0467 | 0.0435 | 0.0425 | 0.0442 | 0.35 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.30 | LC-MS, other | 156 | 0.0482 | 0.0596 | 0.0411 | 0.0496 | 0.7 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 127 | 0.0568 | 0.0507 | 0.0545 | 0.054 | 0.99 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 116 | 0.0554 | 0.0588 | 0.066 | 0.0601 | 1.39 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.01 | AOAC 2018.10 | 168 | 0.0608 | 0.0618 | 0.0622 | 0.0616 | 1.49 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 150 | 0.0625 | 0.065 | 0.0675 | 0.065 | 1.72 | 0.039 | 35 | 0.0152 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 106 | 0.0807 | 0.0801 | 0.07 | 0.0769 | 2.5 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.10 | LC-UV, other | 136 | 0.1233 | 0.0967 | 0.1133 | 0.111 | 4.76 | 0.039 | 35 | 0.0152 | 0 |
| 2 | ∆9-THCA (%AR) | 002.02 | AOAC 2018.11, | 145 | 0.1394 | 0.1337 | 0.1533 | 0.142 | 6.81 | 0.039 | 35 | 0.0152 | 0 |
|  |  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| HM19SEP-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 124 | 3.2362 | 3.1751 | 3.4070 | 3.27 | -4.51 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 136 | 4.5766 | 4.3533 | 4.0366 | 4.32 | -2.06 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.02 | AOAC 2018.11, | 155 | 4.94 | 4.675 | 4.129 | 4.58 | -1.46 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 154 | 4.871 | 4.504 | 4.444 | 4.61 | -1.4 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 150 | 4.525 | 4.85 | 4.8 | 4.72 | -1.12 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.30 | LC-MS, other | 139 | 4.9479 | 4.7156 | 4.7861 | 4.82 | -0.91 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 161 | 4.8687 | 4.7694 | 4.8783 | 4.84 | -0.86 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.01 | AOAC 2018.10 | 168 | 4.8038 | 4.8662 | 4.885 | 4.85 | -0.83 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.30 | LC-MS, other | 149 | 4.8142 | 5.0261 | 4.799 | 4.88 | -0.76 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.02 | AOAC 2018.11, | 118 | 4.975 | 4.974 | 4.747 | 4.9 | -0.72 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 101 | 4.9542 | 4.6468 | 5.2427 | 4.95 | -0.6 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.30 | LC-MS, other | 144 | 4.3372 | 5.522 | 5.2279 | 5.03 | -0.41 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.99 | Other | 132 | 4.708 | 4.625 | 5.767 | 5.03 | -0.4 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 149 | 5.0446 | 4.9989 | 5.0956 | 5.05 | -0.37 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.02 | AOAC 2018.11, | 146 | 5.0572 | 5.0751 | 5.064 | 5.07 | -0.33 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 141 | 5.2118 | 5.0047 | 5.0415 | 5.09 | -0.28 | 5.2061 | 38 | 0.4285 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 135 | 5.1918 | 5.1566 | 5.081 | 5.14 | -0.15 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.02 | AOAC 2018.11, | 137 | 5.2894 | 5.0955 | 5.1649 | 5.18 | -0.05 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.01 | AOAC 2018.10 | 115 | 4.9052 | 5.4523 | n/a | 5.18 | -0.06 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.02 | AOAC 2018.11, | 145 | 5.2575 | 5.105 | 5.3759 | 5.25 | 0.09 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.99 | Other | 173 | 5.2413 | 5.0856 | 5.4659 | 5.26 | 0.14 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.30 | LC-MS, other | 159 | 5.116 | 5.22 | 5.502 | 5.28 | 0.17 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 142 | 5.3707 | 5.1952 | 5.3662 | 5.31 | 0.24 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 109 | 5.3995 | 5.3232 | 5.2252 | 5.32 | 0.26 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 106 | 5.161 | 5.3658 | 5.4763 | 5.33 | 0.3 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.01 | AOAC 2018.10 | 162 | 5.2842 | 5.3033 | 5.4394 | 5.34 | 0.32 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.02 | AOAC 2018.11, | 123 | 5.2920 | 5.4010 | 5.3510 | 5.35 | 0.33 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 125 | 5.2534 | 5.4379 | 5.629 | 5.44 | 0.55 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.30 | LC-MS, other | 119 | 5.2497 | 5.8666 | 5.384 | 5.5 | 0.69 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 152 | 5.4939 | 5.4715 | 5.6143 | 5.53 | 0.75 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.02 | AOAC 2018.11, | 113 | 5.5849 | 5.6477 | 5.5819 | 5.6 | 0.93 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.30 | LC-MS, other | 122 | 5.1715 | 5.5798 | 6.0645 | 5.61 | 0.93 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 163 | 5.6277 | 5.6349 |  | 5.63 | 0.99 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 116 | 5.4785 | 6.0522 | 5.525 | 5.69 | 1.12 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.01 | AOAC 2018.10 | 160 | 6.08 | 5.9 | 5.46 | 5.81 | 1.42 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 127 | 5.7276 | 6.0535 | 5.8618 | 5.88 | 1.57 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.30 | LC-MS, other | 156 | 6.0142 | 6.6241 | 5.9333 | 6.19 | 2.3 | 5.2061 | 38 | 0.4285 | 0 |
| 1 | CBD (%AR) | 003.10 | LC-UV, other | 129 | 7.0457 | 7.3299 | 7.0359 | 7.14 | 4.51 | 5.2061 | 38 | 0.4285 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| HM19SEP-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 136 | 1.3433 | 1.3467 | 1.19 | 1.29 | -1.43 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.99 | Other | 132 | 1.309 | 1.277 | 1.292 | 1.29 | -1.43 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 154 | 1.23 | 1.306 | 1.354 | 1.3 | -1.4 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.02 | AOAC 2018.11, | 155 | 1.418 | 1.292 | 1.23 | 1.31 | -1.28 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.01 | AOAC 2018.10 | 160 | 1.18 | 1.42 | 1.37 | 1.32 | -1.2 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 124 | 1.2711 | 1.3209 | 1.4830 | 1.36 | -0.94 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 101 | 1.3266 | 1.3339 | 1.4273 | 1.36 | -0.91 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 150 | 1.3 | 1.425 | 1.4167 | 1.38 | -0.78 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 141 | 1.4462 | 1.4115 | 1.3246 | 1.39 | -0.67 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.02 | AOAC 2018.11, | 118 | 1.406 | 1.421 | 1.339 | 1.39 | -0.72 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 161 | 1.3818 | 1.3873 | 1.4588 | 1.41 | -0.56 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.01 | AOAC 2018.10 | 168 | 1.4239 | 1.409 | 1.4249 | 1.42 | -0.49 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.30 | LC-MS, other | 139 | 1.4203 | 1.4237 | 1.4294 | 1.42 | -0.45 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.01 | AOAC 2018.10 | 162 | 1.433 | 1.4899 | 1.3607 | 1.43 | -0.42 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.30 | LC-MS, other | 159 | 1.362 | 1.4076 | 1.5457 | 1.44 | -0.34 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 149 | 1.4516 | 1.4341 | 1.437 | 1.44 | -0.33 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.02 | AOAC 2018.11, | 137 | 1.4515 | 1.4444 | 1.4162 | 1.44 | -0.35 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.30 | LC-MS, other | 149 | 1.4627 | 1.3895 | 1.4897 | 1.45 | -0.28 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 135 | 1.4856 | 1.4819 | 1.4609 | 1.48 | -0.06 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.02 | AOAC 2018.11, | 146 | 1.4864 | 1.5024 | 1.4897 | 1.49 | 0.06 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.30 | LC-MS, other | 144 | 1.4786 | 1.5736 | 1.4618 | 1.5 | 0.15 | 1.4844 | 38 | 0.1338 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 142 | 1.5469 | 1.4858 | 1.5418 | 1.52 | 0.3 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 106 | 1.5 | 1.531 | 1.5264 | 1.52 | 0.26 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.99 | Other | 173 | 1.5899 | 1.5147 | 1.4447 | 1.52 | 0.24 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 109 | 1.4659 | 1.4279 | 1.6865 | 1.53 | 0.32 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.30 | LC-MS, other | 122 | 1.3605 | 1.7941 | 1.4792 | 1.54 | 0.45 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.02 | AOAC 2018.11, | 145 | 1.54 | 1.5212 | 1.5612 | 1.54 | 0.42 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 152 | 1.5511 | 1.5277 | 1.5585 | 1.55 | 0.46 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 116 | 1.5559 | 1.5916 | 1.5819 | 1.58 | 0.69 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.30 | LC-MS, other | 119 | 1.6395 | 1.5907 | 1.5463 | 1.59 | 0.81 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 125 | 1.5357 | 1.5685 | 1.6755 | 1.59 | 0.81 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.02 | AOAC 2018.11, | 113 | 1.5872 | 1.6001 | 1.6267 | 1.6 | 0.9 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 163 | 1.6211 | 1.5834 |  | 1.6 | 0.88 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.02 | AOAC 2018.11, | 123 | 1.737 | 1.632 | 1.605 | 1.66 | 1.3 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.01 | AOAC 2018.10 | 115 | 1.7515 | 1.5993 | 1.7555 | 1.7 | 1.63 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 127 | 1.7348 | 1.6572 | 1.7068 | 1.7 | 1.61 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.30 | LC-MS, other | 156 | 1.8042 | 1.9858 | 1.7546 | 1.85 | 2.72 | 1.4844 | 38 | 0.1338 | 0 |
| 2 | CBD (%AR) | 003.10 | LC-UV, other | 129 | 1.9748 | 1.945 | 1.9461 | 1.96 | 3.52 | 1.4844 | 38 | 0.1338 | 0 |
|  |  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| HM19SEP-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 154 | 2.612 | 2.454 | 2.372 | 2.48 | -2.44 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 155 | 2.638 | 2.484 | 2.787 | 2.64 | -2.09 | 3.5865 | 35 | 0.4536 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | CBDA (%AR) | 004.99 | Other | 132 | 2.684 | 2.626 | 3.225 | 2.85 | -1.63 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 136 | 3.1366 | 2.97 | 2.7833 | 2.96 | -1.37 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 142 | 3.015 | 2.908 | 3.1129 | 3.01 | -1.27 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 161 | 3.3538 | 3.1633 | 3.2046 | 3.24 | -0.76 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.01 | AOAC 2018.10 | 168 | 3.2769 | 3.2736 | 3.2901 | 3.28 | -0.68 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.99 | Other | 173 | 3.2965 | 3.1904 | 3.4242 | 3.3 | -0.62 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 101 | 3.4292 | 3.265 | 3.5483 | 3.41 | -0.38 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 149 | 3.4179 | 3.3858 | 3.4729 | 3.43 | -0.35 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 146 | 3.4715 | 3.4407 | 3.4051 | 3.44 | -0.32 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 150 | 3.35 | 3.4333 | 3.5667 | 3.45 | -0.3 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 125 | 3.3597 | 3.4638 | 3.5875 | 3.47 | -0.26 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 152 | 3.5637 | 3.4483 | 3.3977 | 3.47 | -0.26 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.30 | LC-MS, other | 119 | 3.313 | 3.7676 | 3.3575 | 3.48 | -0.24 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.30 | LC-MS, other | 149 | 3.4219 | 3.4906 | 3.556 | 3.49 | -0.21 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 135 | 3.5291 | 3.5282 | 3.4815 | 3.51 | -0.16 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.30 | LC-MS, other | 139 | 3.5804 | 3.4979 | 3.5247 | 3.53 | -0.11 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.30 | LC-MS, other | 122 | 3.2565 | 3.6891 | 3.7223 | 3.56 | -0.07 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 137 | 3.6213 | 3.506 | 3.5449 | 3.56 | -0.06 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 123 | 3.5330 | 3.6130 | 3.5780 | 3.57 | -0.03 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 106 | 3.5136 | 3.627 | 3.7187 | 3.62 | 0.07 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 163 | 3.6299 | 3.6288 |  | 3.63 | 0.09 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.01 | AOAC 2018.10 | 162 | 3.6954 | 3.6513 | 3.7431 | 3.7 | 0.24 | 3.5865 | 35 | 0.4536 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 116 | 3.6296 | 4.0219 | 3.6588 | 3.77 | 0.4 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.30 | LC-MS, other | 144 | 3.5833 | 4.0756 | 3.8873 | 3.85 | 0.58 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 118 | 3.907 | 3.878 | 3.83 | 3.87 | 0.63 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 141 | 3.9124 | 3.8201 | 4.0725 | 3.93 | 0.77 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 145 | 3.9740 | 3.9076 | 4.0326 | 3.97 | 0.85 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.01 | AOAC 2018.10 | 160 | 4.27 | 3.95 | 3.88 | 4.03 | 0.99 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 109 | 4.1855 | 4.2288 | 4.1612 | 4.19 | 1.33 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.30 | LC-MS, other | 156 | 4.0397 | 4.7348 | 4.1447 | 4.31 | 1.59 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 129 | 4.3535 | 4.4912 | 4.3043 | 4.38 | 1.76 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.10 | LC-UV, other | 127 | 4.674 | 4.931 | 4.7192 | 4.77 | 2.62 | 3.5865 | 35 | 0.4536 | 0 |
| 1 | CBDA (%AR) | 004.30 | LC-MS, other | 159 | 5.223 | 4.637 | 4.633 | 4.83 | 2.74 | 3.5865 | 35 | 0.4536 | 0 |
| HM19SEP-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | CBDA (%AR) | 004.99 | Other | 132 | 1.24 | 1.194 | 1.169 | 1.2 | -2.06 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 154 | 1.144 | 1.268 | 1.263 | 1.23 | -1.96 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 155 | 1.33 | 1.199 | 1.414 | 1.31 | -1.61 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 142 | 1.372 | 1.311 | 1.4084 | 1.36 | -1.41 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 136 | 1.4667 | 1.4967 | 1.32 | 1.43 | -1.15 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.99 | Other | 173 | 1.5814 | 1.5242 | 1.4249 | 1.51 | -0.83 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 161 | 1.4971 | 1.5036 | 1.5835 | 1.53 | -0.76 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.01 | AOAC 2018.10 | 168 | 1.5628 | 1.5532 | 1.5675 | 1.56 | -0.62 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 146 | 1.5908 | 1.5862 | 1.5671 | 1.58 | -0.54 | 1.7176 | 35 | 0.2511 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | CBDA (%AR) | 004.01 | AOAC 2018.10 | 162 | 1.6118 | 1.6603 | 1.5321 | 1.6 | -0.46 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 125 | 1.6213 | 1.5528 | 1.6794 | 1.62 | -0.4 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.01 | AOAC 2018.10 | 160 | 1.59 | 1.71 | 1.58 | 1.63 | -0.36 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.30 | LC-MS, other | 122 | 1.573 | 1.8122 | 1.5956 | 1.66 | -0.23 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 101 | 1.6284 | 1.6113 | 1.7564 | 1.67 | -0.21 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 150 | 1.6333 | 1.6833 | 1.7333 | 1.68 | -0.14 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 152 | 1.7696 | 1.7155 | 1.5694 | 1.68 | -0.13 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 135 | 1.7036 | 1.7069 | 1.698 | 1.7 | -0.06 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 149 | 1.716 | 1.6864 | 1.7143 | 1.71 | -0.05 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 137 | 1.7558 | 1.7545 | 1.7144 | 1.74 | 0.1 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 163 | 1.7707 | 1.7371 |  | 1.75 | 0.14 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 123 | 1.829 | 1.735 | 1.716 | 1.76 | 0.17 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 106 | 1.7423 | 1.7745 | 1.7839 | 1.77 | 0.2 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.30 | LC-MS, other | 139 | 1.7607 | 1.7771 | 1.8005 | 1.78 | 0.25 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.30 | LC-MS, other | 119 | 1.8331 | 1.7988 | 1.744 | 1.79 | 0.3 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.30 | LC-MS, other | 144 | 1.7823 | 1.8946 | 1.707 | 1.79 | 0.31 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 141 | 1.8119 | 1.7885 | 1.7984 | 1.8 | 0.33 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 116 | 1.7746 | 1.8063 | 1.8083 | 1.8 | 0.31 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.30 | LC-MS, other | 149 | 1.8228 | 1.7581 | 1.8382 | 1.81 | 0.35 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 118 | 1.925 | 1.918 | 1.876 | 1.91 | 0.75 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.02 | AOAC 2018.11, | 145 | 2.0566 | 1.9972 | 1.9637 | 2.01 | 1.15 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 129 | 2.1143 | 2.0782 | 2.0908 | 2.09 | 1.5 | 1.7176 | 35 | 0.2511 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 109 | 2.0632 | 1.9964 | 2.3704 | 2.14 | 1.7 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.30 | LC-MS, other | 156 | 2.0709 | 2.3872 | 2.0383 | 2.17 | 1.78 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.10 | LC-UV, other | 127 | 2.5165 | 2.3764 | 2.4356 | 2.44 | 2.89 | 1.7176 | 35 | 0.2511 | 0 |
| 2 | CBDA (%AR) | 004.30 | LC-MS, other | 159 | 2.755 | 2.449 | 2.33 | 2.51 | 3.16 | 1.7176 | 35 | 0.2511 | 0 |

Population of Lab Values

CBN (%AR)

# HM19SEP-1

| 1 | CBN (%AR) | 005.30 | GC-FID | 114 | < 0.05 | < 0.05 | < 0.05 | < 0.05 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | CBN (%AR) | 005.99 | Other | 132 | <0.01 | <0.01 | <0.01 | <0.01 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.02 | AOAC 2018.11, | 137 | <0.0294 | <0.0294 | <0.0292 | <0.0294 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.01 | AOAC 2018.10 | 162 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.99 | Other | 173 | <0.0570 | <0.0570 | <0.0590 | <0.0570 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.02 | AOAC 2018.11, | 123 | <0.0710 | <0.0720 | <0.0750 | <0.0710 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 129 | <0.0990 | <0.0992 | <0.0992 | <0.0990 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.40 | GC-MS | 127 | <0.1500 | <0.1500 | <0.1500 | <0.1500 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 150 | <1 | <1 | <1 | <1 |  |  |  |  | 1 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 127 | 0.0218 | 0.0235 | 0.0231 | 0.0228 | -1.3 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 149 | 0.0266 | 0.0266 | 0.0258 | 0.0263 | -0.98 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 141 | 0.0267 | 0.0254 | 0.0312 | 0.0278 | -0.85 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.20 | LC-MS, other | 149 | 0.0287 | 0.0271 | 0.0292 | 0.0283 | -0.8 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 124 | .0294 | 0.0283 | .0304 | 0.0294 | -0.7 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.20 | LC-MS, other | 122 | 0.0288 | 0.0321 | 0.0278 | 0.0296 | -0.68 | 0.0371 | 29 | 0.011 | 0 |

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | CBN (%AR) | 005.01 | AOAC 2018.10 | 160 | 0.03 | 0.03 | 0.03 | 0.03 | -0.65 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 125 | 0.0358 | 0.0178 | 0.0369 | 0.0302 | -0.63 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 135 | 0.0303 | 0.0309 | 0.0308 | 0.0307 | -0.58 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.20 | LC-MS, other | 159 | 0.0308 | 0.0271 | 0.0335 | 0.0305 | -0.6 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.20 | LC-MS, other | 139 | 0.0322 | 0.0310 | 0.0296 | 0.0309 | -0.56 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 142 | 0.0308 | 0.0303 | 0.0316 | 0.0309 | -0.56 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.02 | AOAC 2018.11, | 155 | 0.034 | 0.032 | 0.028 | 0.0313 | -0.52 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.02 | AOAC 2018.11, | 118 | 0.03 | 0.032 | 0.03 | 0.0307 | -0.58 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.20 | LC-MS, other | 119 | 0.0313 | 0.0307 | 0.0337 | 0.0319 | -0.47 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.02 | AOAC 2018.11, | 146 | 0.0340 | 0.0334 | 0.0342 | 0.0339 | -0.29 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.01 | AOAC 2018.10 | 168 | 0.0336 | 0.0344 | 0.0347 | 0.0342 | -0.26 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 109 | 0.0362 | 0.0389 | 0.0333 | 0.0361 | -0.09 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.20 | LC-MS, other | 156 | 0.0426 | 0.0440 | 0.0383 | 0.0416 | 0.41 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.01 | AOAC 2018.10 | 115 | 0.0412 | 0.0416 | 0.0431 | 0.042 | 0.44 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 154 | 0.045 | 0.043 | 0.042 | 0.0433 | 0.57 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.20 | LC-MS, other | 144 | 0.0358 | 0.0498 | 0.0429 | 0.0428 | 0.52 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.30 | GC-FID | 138 | 0.0394 | 0.0396 | 0.0562 | 0.0451 | 0.72 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 116 | 0.0419 | 0.0506 | 0.0507 | 0.0477 | 0.97 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 106 | 0.0540 | 0.0550 | 0.0551 | 0.0547 | 1.6 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.30 | GC-FID | 116 | 0.0657 | 0.0527 | 0.0754 | 0.0646 | 2.5 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.30 | GC-FID | 143 | 0.0894 | 0.0992 |  | 0.0943 | 5.19 | 0.0371 | 29 | 0.011 | 0 |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 101 | 0.1724 | 0.1583 | 0.1866 | 0.172 | 12.29 | 0.0371 | 29 | 0.011 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | CBN (%AR) | 005.10 | LC-UV, other | 136 | 0.2866 | 0.2833 | .2700 | 0.28 | 22.06 | 0.0371 | 29 | 0.011 | 0 |
| HM19SEP-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | CBN (%AR) | 005.30 | GC-FID | 114 | < 0.05 | < 0.05 | < 0.05 | < 0.05 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.20 | LC-MS, other | 149 | <0.0025 | <0.0025 | <0.0025 | <0.0025 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.99 | Other | 132 | <0.01 | <0.01 | <0.01 | <0.01 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.20 | LC-MS, other | 159 | <0.0160 | <0.0160 | <0.0160 | <0.0160 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.01 | AOAC 2018.10 | 168 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 149 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.02 | AOAC 2018.11, | 137 | <0.0296 | <0.0292 | <0.0291 | <0.0296 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 127 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.01 | AOAC 2018.10 | 162 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.99 | Other | 173 | <0.0590 | <0.0570 | <0.0610 | <0.0590 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.02 | AOAC 2018.11, | 123 | <0.0750 | <0.0710 | <0.0730 | <0.0750 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 129 | <0.0985 | <0.0985 | <0.0980 | <0.0985 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.40 | GC-MS | 127 | <0.1500 | <0.1500 | <0.1500 | <0.1500 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 150 | <1 | <1 | <1 | <1 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.20 | LC-MS, other | 122 | 0.0075 | 0.0066 | 0.0023 | 0.0055 | -0.88 | 0.0138 | 18 | 0.0096 | 0 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 135 | 0.0062 | 0.0068 | 0.0074 | 0.0068 | -0.74 | 0.0138 | 18 | 0.0096 | 0 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 124 | 0.0063 | 0.0063 | 0.0073 | 0.0066 | -0.75 | 0.0138 | 18 | 0.0096 | 0 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 142 | 0.0056 | 0.0069 | 0.0082 | 0.0069 | -0.73 | 0.0138 | 18 | 0.0096 | 0 |
| 2 | CBN (%AR) | 005.20 | LC-MS, other | 139 | 0.0082 | 0.0074 | 0.0075 | 0.0077 | -0.64 | 0.0138 | 18 | 0.0096 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | CBN (%AR) | 005.20 | LC-MS, other | 119 | 0.0088 | 0.0085 | 0.0083 | 0.0085 | -0.56 | 0.0138 | 18 | 0.0096 | 0 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 109 | 0.0105 | 0.0067 | 0.0087 | 0.0086 | -0.54 | 0.0138 | 18 | 0.0096 | 0 |
| 2 | CBN (%AR) | 005.20 | LC-MS, other | 156 | 0.0099 | 0.0099 | 0.0085 | 0.0094 | -0.46 | 0.0138 | 18 | 0.0096 | 0 |
| 2 | CBN (%AR) | 005.02 | AOAC 2018.11, | 146 | 0.0101 | 0.0096 | 0.0097 | 0.0098 | -0.42 | 0.0138 | 18 | 0.0096 | 0 |
| 2 | CBN (%AR) | 005.01 | AOAC 2018.10 | 160 | <.01 | 0.01 | <.01 | 0.01 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.02 | AOAC 2018.11, | 155 | 0.011 | 0.013 | 0.007 | 0.0103 | -0.37 | 0.0138 | 18 | 0.0096 | 0 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 125 | 0.0098 | 0.0093 | 0.0109 | 0.01 | -0.4 | 0.0138 | 18 | 0.0096 | 0 |
| 2 | CBN (%AR) | 005.20 | LC-MS, other | 144 | 0.0097 | 0.0125 | 0.0114 | 0.0112 | -0.28 | 0.0138 | 18 | 0.0096 | 0 |
| 2 | CBN (%AR) | 005.02 | AOAC 2018.11, | 118 | <0.01 | <0.01 | 0.013 | 0.011 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 141 | <0.0120 | <0.0120 | 0.0127 | 0.0122 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.30 | GC-FID | 138 | 0.0131 | 0.0138 | 0.0186 | 0.0152 | 0.14 | 0.0138 | 18 | 0.0096 | 0 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 154 | 0.025 | 0.024 | 0.024 | 0.0243 | 1.1 | 0.0138 | 18 | 0.0096 | 0 |
| 2 | CBN (%AR) | 005.01 | AOAC 2018.10 | 115 | 0.0236 | 0.0243 | 0.0232 | 0.0237 | 1.03 | 0.0138 | 18 | 0.0096 | 0 |
| 2 | CBN (%AR) | 005.30 | GC-FID | 143 | 0.0319 | 0.0284 |  | 0.0302 | 1.71 | 0.0138 | 18 | 0.0096 | 0 |
| 2 | CBN (%AR) | 005.30 | GC-FID | 116 | <0.0300 | <0.0300 | 0.0419 | 0.034 |  |  |  |  | 1 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 101 | 0.0594 | 0.0593 | 0.0675 | 0.0621 | 5.04 | 0.0138 | 18 | 0.0096 | 0 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 136 | 0.2700 | 0.2600 | 0.2533 | 0.261 | 25.86 | 0.0138 | 18 | 0.0096 | 0 |
| 2 | CBN (%AR) | 005.10 | LC-UV, other | 116 | ND | ND | ND | ND |  |  |  |  | 1 |

Population of Lab Values

Total ∆9-THC (%AR)

# HM19SEP-1

| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 143 | 0.1553 | 0.1658 | 0.161 | -2.87 | 0.2869 | 52 | 0.044 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 103 | 0.1767 | 0.1807 | 0.1807 | 0.179 | -2.44 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 150 | .2018 | .2186 | .2239 | 0.215 | -1.64 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 161 | 0.2260 | 0.2259 | 0.2286 | 0.227 | -1.37 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 129 | 0.2297 | 0.2430 | 0.2250 | 0.233 | -1.24 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 155 | 0.2213 | 0.2553 | 0.2287 | 0.235 | -1.18 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 124 | 0.2563 | 0.2424 | 0.2515 | 0.25 | -0.84 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 141 | 0.2787 | 0.2486 | 0.2315 | 0.253 | -0.77 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 138 | 0.2546 | 0.2489 | 0.2555 | 0.253 | -0.77 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 127 | 0.2495 | 0.2641 | 0.2541 | 0.256 | -0.71 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 164 | 0.2704 | 0.2434 | 0.2552 | 0.256 | -0.7 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 101 | 0.2524 | 0.2580 | 0.2728 | 0.261 | -0.59 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 122 | 0.2375 | 0.2739 | 0.2732 | 0.262 | -0.58 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 149 | 0.2530 | 0.2615 | 0.2753 | 0.263 | -0.54 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 154 | 0.2817 | 0.2564 | 0.2509 | 0.263 | -0.54 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 146 | 0.2696 | 0.2639 | 0.2571 | 0.264 | -0.53 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 149 | 0.2674 | 0.2659 | 0.2682 | 0.267 | -0.45 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 137 | 0.273 | 0.265 | 0.269 | 0.269 | -0.41 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 142 | 0.2660 | 0.2740 | 0.2692 | 0.27 | -0.39 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.99 | Other | 107 | 0.2720 | 0.2630 | 0.2770 | 0.271 | -0.37 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 118 | 0.257 | 0.259 | 0.299 | 0.272 | -0.35 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 112 | 0.2789 | 0.2753 | 0.2719 | 0.275 | -0.26 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.2691 | 0.2769 | 0.2800 | 0.275 | -0.26 | 0.2869 | 52 | 0.044 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 125 | 0.2825 | 0.2592 | 0.2864 | 0.276 | -0.25 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 114 | 0.2733 | 0.2688 | .2892 | 0.277 | -0.22 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 152 | 0.2840 | 0.2744 | 0.2762 | 0.278 | -0.2 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 159 | 0.2761 | 0.2791 | 0.2849 | 0.28 | -0.16 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 162 | 0.2846 | 0.2766 | 0.2836 | 0.282 | -0.12 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.99 | Other | 132 | 0.267 | 0.261 | 0.322 | 0.283 | -0.08 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 170 | 0.2909 | 0.2777 | 0.2847 | 0.284 | -0.06 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 123 | 0.2810 | 0.2840 | 0.2880 | 0.284 | -0.06 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 139 | 0.2863 | 0.2817 | 0.2867 | 0.285 | -0.05 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 135 | 0.2849 | 0.2971 | 0.2854 | 0.289 | 0.05 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 153 | 0.2895 | 0.2939 |  | 0.292 | 0.11 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 169 | 0.3104 | 0.2951 | 0.2795 | 0.295 | 0.18 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 168 | 0.2865 | 0.2983 | 0.3000 | 0.295 | 0.18 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 119 | 0.2932 | 0.2889 | 0.3179 | 0.3 | 0.3 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 109 | 0.344 | 0.295 | 0.293 | 0.311 | 0.54 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 160 | .3039 | .3251 | .3151 | 0.315 | 0.63 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 121 | 0.3107 | 0.3226 | 0.3274 | 0.32 | 0.76 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 144 | 0.3432 | 0.3479 | 0.2984 | 0.33 | 0.97 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.99 | Other | 173 | 0.3744 | 0.2990 | 0.3256 | 0.333 | 1.05 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 116 | 0.3274 | 0.3525 | 0.3271 | 0.336 | 1.11 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.50 | GC-MS | 151 | 0.3572 | 0.3053 | 0.3611 | 0.341 | 1.23 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 106 | 0.329 | 0.341 | 0.3560 | 0.342 | 1.25 | 0.2869 | 52 | 0.044 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 116 | 0.3380 | 0.3544 | 0.3389 | 0.344 | 1.29 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.50 | GC-MS | 127 | 0.3361 | 0.3548 | 0.3551 | 0.349 | 1.4 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 163 | 0.3856 | 0.3175 |  | 0.352 | 1.47 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 156 | 0.3756 | 0.3923 | 0.3223 | 0.363 | 1.74 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 136 | 0.4148 | 0.4010 | 0.3830 | 0.4 | 2.56 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 128 | .3960 | .4003 | .4080 | 0.401 | 2.6 | 0.2869 | 52 | 0.044 | 0 |
| 1 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 145 | 0.5297 | 0.5293 | 0.5684 | 0.542 | 5.81 | 0.2869 | 52 | 0.044 | 0 |
| HM19SEP-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 129 | <0.0985 | <0.0985 | <0.0980 | <0.0985 |  |  |  |  | 1 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 143 | 0.0707 | 0.0645 |  | 0.0676 | -2.79 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 103 | 0.0801 | 0.0828 | 0.0770 | 0.08 | -2.33 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 161 | 0.1030 | 0.0974 | 0.0965 | 0.099 | -1.64 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 124 | 0.1054 | 0.1073 | 0.1203 | 0.111 | -1.2 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.99 | Other | 132 | 0.115 | 0.112 | 0.113 | 0.113 | -1.11 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.03 | AOAC 2018.11, | 155 | 0.1192 | 0.1027 | 0.1215 | 0.114 | -1.07 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 160 | .1063 | .1351 | .1063 | 0.116 | -1.02 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 162 | 0.1243 | 0.1220 | 0.1193 | 0.122 | -0.8 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 150 | .1165 | .1070 | .1442 | 0.123 | -0.77 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 142 | 0.1218 | 0.1209 | 0.1260 | 0.123 | -0.76 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 123 | 0.1290 | 0.1220 | 0.1220 | 0.124 | -0.71 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 141 | 0.1315 | 0.1342 | 0.1170 | 0.128 | -0.59 | 0.1437 | 52 | 0.0273 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 125 | 0.1370 | 0.1174 | 0.1329 | 0.129 | -0.53 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 102 | 0.1275 | 0.1305 |  | 0.129 | -0.54 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.99 | Other | 107 | 0.1240 | 0.1250 | 0.1380 | 0.129 | -0.54 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 164 | 0.1309 | 0.1281 | 0.1327 | 0.131 | -0.48 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 154 | 0.1262 | 0.1317 | 0.1348 | 0.131 | -0.47 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 138 | 0.1292 | 0.1276 | 0.1352 | 0.131 | -0.48 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 149 | 0.1343 | 0.1313 | 0.1334 | 0.133 | -0.39 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 169 | 0.1389 | 0.1412 | 0.1189 | 0.133 | -0.39 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 137 | 0.133 | 0.136 | 0.133 | 0.134 | -0.36 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 149 | 0.1394 | 0.1302 | 0.1337 | 0.134 | -0.34 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 127 | 0.1386 | 0.1295 | 0.1349 | 0.134 | -0.34 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 146 | 0.1336 | 0.1352 | 0.1366 | 0.135 | -0.31 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 170 | 0.1347 | 0.1295 | 0.1448 | 0.136 | -0.27 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 118 | 0.131 | 0.139 | 0.141 | 0.137 | -0.25 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.1360 | 0.1372 | 0.1364 | 0.137 | -0.26 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 159 | 0.1372 | 0.1381 | 0.1381 | 0.138 | -0.22 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 122 | 0.1425 | 0.1505 | 0.1210 | 0.138 | -0.21 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 153 | 0.1405 | 0.1411 |  | 0.141 | -0.11 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 112 | 0.1401 | 0.1380 | 0.1515 | 0.143 | -0.02 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 152 | 0.1465 | 0.1391 | 0.1439 | 0.143 | -0.02 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 135 | 0.1428 | 0.1480 | 0.1449 | 0.145 | 0.06 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 101 | 0.1430 | 0.1482 | 0.1489 | 0.147 | 0.11 | 0.1437 | 52 | 0.0273 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 139 | 0.1524 | 0.1548 | 0.1545 | 0.154 | 0.37 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 114 | 0.1668 | 0.1590 | 0.1479 | 0.158 | 0.52 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.01 | AOAC 2018.10 | 168 | 0.1576 | 0.1581 | 0.1602 | 0.159 | 0.55 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 116 | 0.1671 | 0.1534 | 0.1649 | 0.162 | 0.66 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 121 | 0.1589 | 0.1608 | 0.1662 | 0.162 | 0.67 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.99 | Other | 173 | 0.1738 | 0.1586 | 0.1552 | 0.163 | 0.69 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 109 | 0.205 | 0.134 | 0.16 | 0.166 | 0.83 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 163 | 0.1657 | 0.1717 |  | 0.169 | 0.91 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 119 | 0.1789 | 0.1684 | 0.1654 | 0.171 | 1 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 144 | 0.1862 | 0.1741 | 0.1545 | 0.172 | 1.02 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.30 | LC-MS, other | 156 | 0.1799 | 0.1884 | 0.1595 | 0.176 | 1.18 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 116 | 0.1824 | 0.1794 | 0.1959 | 0.186 | 1.54 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 106 | 0.21 | 0.203 | 0.1938 | 0.202 | 2.14 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.40 | GC-FID | 128 | .2177 | .2258 | .2167 | 0.22 | 2.79 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.50 | GC-MS | 151 | 0.2720 | 0.2139 | 0.1826 | 0.223 | 2.9 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.50 | GC-MS | 127 | 0.2188 | 0.2208 | 0.2300 | 0.223 | 2.91 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.02 | AOAC 2018.11, | 145 | 0.2429 | 0.2612 | 0.2354 | 0.247 | 3.76 | 0.1437 | 52 | 0.0273 | 0 |
| 2 | Total ∆9-THC (%AR) | 006.10 | LC-UV, other | 136 | 0.2948 | 0.2814 | 0.2794 | 0.285 | 5.18 | 0.1437 | 52 | 0.0273 | 0 |
|  |  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| HM19SEP-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Total CBD (%AR) | 007.40 | GC-FID | 114 | > 2.0 | > 2.0 | > 2.0 | > 2.0 |  |  |  |  | 1 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 154 | 7.1617 | 6.6562 | 6.5242 | 6.78 | -2.03 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 136 | 7.3273 | 6.9579 | 6.4775 | 6.92 | -1.85 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.40 | GC-FID | 143 | 6.8021 | 7.2464 |  | 7.02 | -1.73 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.03 | AOAC 2018.11, | 155 | 7.62 | 7.21 | 6.97 | 7.27 | -1.42 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.99 | Other | 132 | 7.062 | 6.927 | 8.596 | 7.53 | -1.1 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 161 | 7.81 | 7.5436 | 7.6887 | 7.68 | -0.91 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.01 | AOAC 2018.10 | 168 | 7.6776 | 7.7371 | 7.7704 | 7.73 | -0.85 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 150 | 7.4630 | 7.8610 | 7.9280 | 7.75 | -0.83 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.30 | LC-MS, other | 139 | 8.0880 | 7.7832 | 7.8772 | 7.92 | -0.62 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 101 | 7.9616 | 7.5102 | 8.3546 | 7.94 | -0.59 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.30 | LC-MS, other | 149 | 7.8152 | 8.0874 | 7.9176 | 7.94 | -0.59 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 142 | 8.0148 | 7.7455 | 8.0962 | 7.95 | -0.58 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 149 | 8.0421 | 7.9682 | 8.1413 | 8.05 | -0.45 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 146 | 8.1017 | 8.0926 | 8.0503 | 8.08 | -0.42 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.99 | Other | 173 | 8.1323 | 7.8836 | 8.4689 | 8.16 | -0.32 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.40 | GC-FID | 169 | 8.8131 | 7.6892 | 8.0544 | 8.19 | -0.29 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 135 | 8.2868 | 8.2514 | 8.1342 | 8.22 | -0.24 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 118 | 8.402 | 8.375 | 8.105 | 8.29 | -0.15 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 137 | 8.47 | 8.18 | 8.27 | 8.31 | -0.14 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 125 | 8.1998 | 8.4757 | 8.7752 | 8.48 | 0.08 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 123 | 8.3900 | 8.5700 | 8.4890 | 8.48 | 0.08 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 106 | 8.243 | 8.547 | 8.7376 | 8.51 | 0.11 | 8.4177 | 39 | 0.8078 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 141 | 8.6430 | 8.3549 | 8.6131 | 8.54 | 0.15 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.30 | LC-MS, other | 119 | 8.1552 | 9.1708 | 8.3286 | 8.55 | 0.17 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.01 | AOAC 2018.10 | 162 | 8.5287 | 8.5091 | 8.7258 | 8.59 | 0.21 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 152 | 8.7695 | 8.4957 | 8.594 | 8.62 | 0.25 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.30 | LC-MS, other | 122 | 8.0275 | 8.8151 | 9.3290 | 8.72 | 0.38 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 145 | 8.7427 | 8.5321 | 8.9126 | 8.73 | 0.39 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.50 | GC-MS | 127 | 8.4169 | 8.5854 | 9.5199 | 8.84 | 0.52 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 109 | 9.07 | 9.032 | 8.875 | 8.99 | 0.71 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 116 | 8.6616 | 9.5794 | 8.7337 | 8.99 | 0.71 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.40 | GC-FID | 116 | 9.2736 | 9.9509 | 8.0896 | 9.1 | 0.85 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.01 | AOAC 2018.10 | 160 | 9.8248 | 9.3642 | 8.8628 | 9.35 | 1.15 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.40 | GC-FID | 138 | 9.0761 | 9.0422 | 9.923 | 9.35 | 1.15 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.40 | GC-FID | 163 | 9.5218 | 9.2635 |  | 9.39 | 1.21 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.30 | LC-MS, other | 159 | 9.7346 | 9.2866 | 9.5651 | 9.53 | 1.38 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.30 | LC-MS, other | 156 | 9.5570 | 10.7765 | 9.5682 | 9.97 | 1.92 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 127 | 9.8267 | 10.3780 | 10.0005 | 10.1 | 2.04 | 8.4177 | 39 | 0.8078 | 0 |
| 1 | Total CBD (%AR) | 007.10 | LC-UV, other | 129 | 10.864 | 11.269 | 10.811 | 11 | 3.17 | 8.4177 | 39 | 0.8078 | 0 |
| HM19SEP-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Total CBD (%AR) | 007.40 | GC-FID | 114 | > 2.0 | > 2.0 | > 2.0 | > 2.0 |  |  |  |  | 1 |
| 2 | Total CBD (%AR) | 007.40 | GC-FID | 143 | 2.2091 | 2.0587 |  | 2.13 | -2.59 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.99 | Other | 132 | 2.396 | 2.324 | 2.318 | 2.35 | -1.97 | 3.0202 | 40 | 0.3422 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 154 | 2.2333 | 2.418 | 2.4617 | 2.37 | -1.9 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 136 | 2.6294 | 2.6593 | 2.3476 | 2.55 | -1.39 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 155 | 2.78 | 2.52 | 2.68 | 2.66 | -1.05 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 101 | 2.6293 | 2.7547 | 2.7470 | 2.71 | -0.91 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 142 | 2.7501 | 2.6355 | 2.7770 | 2.72 | -0.87 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 161 | 2.6948 | 2.7060 | 2.8475 | 2.75 | -0.79 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.01 | AOAC 2018.10 | 160 | 2.5744 | 2.9197 | 2.7557 | 2.75 | -0.79 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.01 | AOAC 2018.10 | 168 | 2.7945 | 2.7712 | 2.7996 | 2.79 | -0.68 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.01 | AOAC 2018.10 | 162 | 2.8481 | 2.9476 | 2.7058 | 2.83 | -0.54 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.99 | Other | 173 | 2.9768 | 2.8514 | 2.6943 | 2.84 | -0.52 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 150 | 2.7324 | 2.9013 | 2.9368 | 2.86 | -0.48 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 146 | 2.8816 | 2.8935 | 2.8641 | 2.88 | -0.41 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 149 | 2.9566 | 2.9131 | 2.9405 | 2.94 | -0.24 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 137 | 2.99 | 2.98 | 2.92 | 2.96 | -0.17 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 141 | 3.0352 | 2.9800 | 2.9018 | 2.97 | -0.14 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 135 | 2.9797 | 2.9789 | 2.9500 | 2.97 | -0.15 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.30 | LC-MS, other | 139 | 2.9644 | 2.9822 | 3.0084 | 2.98 | -0.1 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.30 | LC-MS, other | 122 | 2.7400 | 3.3833 | 2.8785 | 3 | -0.06 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 125 | 2.9576 | 2.9303 | 3.1484 | 3.01 | -0.02 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 152 | 3.1030 | 3.0322 | 2.9349 | 3.02 | 0.01 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.30 | LC-MS, other | 149 | 3.0614 | 2.9313 | 3.1018 | 3.03 | 0.03 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 118 | 3.094 | 3.103 | 2.984 | 3.06 | 0.12 | 3.0202 | 40 | 0.3422 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | Total CBD (%AR) | 007.40 | GC-FID | 169 | 3.2878 | 2.9969 | 2.9245 | 3.07 | 0.14 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 106 | 3.028 | 3.087 | 3.0909 | 3.07 | 0.14 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.30 | LC-MS, other | 144 | 3.0417 | 3.2352 | 2.9588 | 3.08 | 0.17 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 116 | 3.1121 | 3.1757 | 3.1677 | 3.15 | 0.38 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.30 | LC-MS, other | 119 | 3.2471 | 3.1682 | 3.0758 | 3.16 | 0.42 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.40 | GC-FID | 116 | 3.3710 | 3.0087 | 3.1352 | 3.17 | 0.44 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 123 | 3.3410 | 3.1530 | 3.1100 | 3.2 | 0.53 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.40 | GC-FID | 163 | 3.2466 | 3.3193 |  | 3.28 | 0.77 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.02 | AOAC 2018.11, | 145 | 3.3437 | 3.2728 | 3.2834 | 3.3 | 0.82 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 109 | 3.275 | 3.179 | 3.765 | 3.41 | 1.13 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.40 | GC-FID | 138 | 3.3991 | 3.3243 | 3.5852 | 3.44 | 1.22 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.50 | GC-MS | 127 | 3.3895 | 3.5895 | 3.7826 | 3.59 | 1.66 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.30 | LC-MS, other | 159 | 3.7781 | 3.5558 | 3.5891 | 3.64 | 1.81 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.30 | LC-MS, other | 156 | 3.6205 | 4.0794 | 3.5422 | 3.75 | 2.12 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 129 | 3.8290 | 3.7676 | 3.7797 | 3.79 | 2.26 | 3.0202 | 40 | 0.3422 | 0 |
| 2 | Total CBD (%AR) | 007.10 | LC-UV, other | 127 | 3.9418 | 3.7413 | 3.8428 | 3.84 | 2.4 | 3.0202 | 40 | 0.3422 | 0 |
|  |  |  |  |  | Moisture (%) |  |  |  |  |  |  |  |  |
| HM19SEP-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Moisture (%) | 500.99 | Other | 132 | 6.79 | 5.54 | 3.1 | 5.14 | -1.13 | 7.1483 | 12 | 1.7671 | 0 |
| 1 | Moisture (%) | 500.99 | Other | 108 | 5.16 | 5.28 | 5.31 | 5.25 | -1.07 | 7.1483 | 12 | 1.7671 | 0 |
| 1 | Moisture (%) | 500.99 | Other | 120 | 5.7800 | 5.5800 |  | 5.68 | -0.83 | 7.1483 | 12 | 1.7671 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Moisture (%) | 500.99 | Other | 131 | 5.59 | 6.06 | 5.79 | 5.81 | -0.76 | 7.1483 | 12 | 1.7671 | 0 |
| 1 | Moisture (%) | 500.99 | Other | 116 | 7.27 | 6.59 |  | 6.93 | -0.12 | 7.1483 | 12 | 1.7671 | 0 |
| 1 | Moisture (%) | 500.40 | AOAC 934.01 | 109 | 7.11 | 6.88 | 6.87 | 6.95 | -0.11 | 7.1483 | 12 | 1.7671 | 0 |
| 1 | Moisture (%) | 500.99 | Other | 119 | 6.82 | 7.38 | 7.49 | 7.23 | 0.05 | 7.1483 | 12 | 1.7671 | 0 |
| 1 | Moisture (%) | 500.40 | AOAC 934.01 | 138 | 7.49 | 7.62 | 6.8 | 7.3 | 0.09 | 7.1483 | 12 | 1.7671 | 0 |
| 1 | Moisture (%) | 500.99 | Other | 137 | 7.33 |  |  | 7.33 |  |  |  |  | 1 |
| 1 | Moisture (%) | 500.99 | Other | 173 | 7.59 | 7.38 | 7.22 | 7.4 | 0.14 | 7.1483 | 12 | 1.7671 | 0 |
| 1 | Moisture (%) | 500.99 | Other | 159 | 9.2800 | 8.9700 | 8.9500 | 9.07 | 1.09 | 7.1483 | 12 | 1.7671 | 0 |
| 1 | Moisture (%) | 500.50 | AOAC 930.15 | 105 | 8.14 | 9.4 | 10.1 | 9.21 | 1.17 | 7.1483 | 12 | 1.7671 | 0 |
| 1 | Moisture (%) | 500.99 | Other | 156 | 11.4 | 11.4 | 9.8 | 10.9 | 2.1 | 7.1483 | 12 | 1.7671 | 0 |
| HM19SEP-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Moisture (%) | 500.99 | Other | 132 | 3.04 | 3.48 | 2.78 | 3.1 | -1.78 | 7.159 | 12 | 2.2817 | 0 |
| 2 | Moisture (%) | 500.99 | Other | 120 | 5.2400 | 5.4000 |  | 5.32 | -0.81 | 7.159 | 12 | 2.2817 | 0 |
| 2 | Moisture (%) | 500.99 | Other | 108 | 5.19 | 5.56 | 5.35 | 5.37 | -0.79 | 7.159 | 12 | 2.2817 | 0 |
| 2 | Moisture (%) | 500.99 | Other | 131 | 5.59 | 5.59 | 5.74 | 5.64 | -0.67 | 7.159 | 12 | 2.2817 | 0 |
| 2 | Moisture (%) | 500.40 | AOAC 934.01 | 109 | 3.65 | 6.67 | 7.35 | 5.89 | -0.56 | 7.159 | 12 | 2.2817 | 0 |
| 2 | Moisture (%) | 500.99 | Other | 137 | 6.93 |  |  | 6.93 |  |  |  |  | 1 |
| 2 | Moisture (%) | 500.99 | Other | 116 | 7.5 | 7.07 |  | 7.28 | 0.06 | 7.159 | 12 | 2.2817 | 0 |
| 2 | Moisture (%) | 500.99 | Other | 173 | 7.61 | 7.65 | 7.73 | 7.66 | 0.22 | 7.159 | 12 | 2.2817 | 0 |
| 2 | Moisture (%) | 500.99 | Other | 119 | 7.81 | 7.8 | 7.77 | 7.79 | 0.28 | 7.159 | 12 | 2.2817 | 0 |
| 2 | Moisture (%) | 500.40 | AOAC 934.01 | 138 | 7.85 | 8.06 | 7.46 | 7.79 | 0.28 | 7.159 | 12 | 2.2817 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | Moisture (%) | 500.50 | AOAC 930.15 | 105 | 8.49 | 9.8 | 10.3 | 9.53 | 1.04 | 7.159 | 12 | 2.2817 | 0 |
| 2 | Moisture (%) | 500.99 | Other | 159 | 9.8800 | 9.6500 | 9.7500 | 9.76 | 1.14 | 7.159 | 12 | 2.2817 | 0 |
| 2 | Moisture (%) | 500.99 | Other | 156 | 10.6 | 10.6 | 9.2 | 10.1 | 1.3 | 7.159 | 12 | 2.2817 | 0 |
|  |  |  |  |  | ∆9-THC (%DW) |  |  |  |  |  |  |  |  |
| HM19SEP-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | ∆9-THC (%DW) | 501.30 | LC-MS, other | 120 | 0.2587 | 0.2348 | 0.2489 | 0.247 | -0.88 | 0.2793 | 7 | 0.0361 | 0 |
| 1 | ∆9-THC (%DW) | 501.01 | AOAC 2018.10 | 108 | 0.2524 | 0.2551 | 0.2582 | 0.255 | -0.67 | 0.2793 | 7 | 0.0361 | 0 |
| 1 | ∆9-THC (%DW) | 501.99 | Other | 131 | 0.28 | 0.24 | 0.25 | 0.257 | -0.63 | 0.2793 | 7 | 0.0361 | 0 |
| 1 | ∆9-THC (%DW) | 501.30 | LC-MS, other | 105 | 0.2900 | 0.2590 | 0.2430 | 0.264 | -0.43 | 0.2793 | 7 | 0.0361 | 0 |
| 1 | ∆9-THC (%DW) | 501.99 | Other | 173 | 0.2832 | 0.3355 | 0.2795 | 0.299 | 0.56 | 0.2793 | 7 | 0.0361 | 0 |
| 1 | ∆9-THC (%DW) | 501.10 | LC-UV, other | 109 | 0.3374 | 0.2839 | 0.2762 | 0.299 | 0.55 | 0.2793 | 7 | 0.0361 | 0 |
| 1 | ∆9-THC (%DW) | 501.30 | LC-MS, other | 156 | 0.3761 | 0.3809 | 0.3143 | 0.357 | 2.16 | 0.2793 | 7 | 0.0361 | 0 |
| HM19SEP-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | ∆9-THC (%DW) | 501.30 | LC-MS, other | 120 | 0.1063 | 0.1037 | 0.1041 | 0.105 | -0.87 | 0.1213 | 7 | 0.0191 | 0 |
| 2 | ∆9-THC (%DW) | 501.99 | Other | 131 | 0.11 | 0.11 | 0.1 | 0.107 | -0.76 | 0.1213 | 7 | 0.0191 | 0 |
| 2 | ∆9-THC (%DW) | 501.01 | AOAC 2018.10 | 108 | 0.101 | 0.1118 | 0.1158 | 0.11 | -0.61 | 0.1213 | 7 | 0.0191 | 0 |
| 2 | ∆9-THC (%DW) | 501.30 | LC-MS, other | 105 | 0.113 | 0.107 | 0.118 | 0.113 | -0.45 | 0.1213 | 7 | 0.0191 | 0 |
| 2 | ∆9-THC (%DW) | 501.99 | Other | 173 | 0.1528 | 0.1266 | 0.1201 | 0.133 | 0.62 | 0.1213 | 7 | 0.0191 | 0 |
| 2 | ∆9-THC (%DW) | 501.10 | LC-UV, other | 109 | 0.1716 | 0.1065 | 0.1269 | 0.135 | 0.72 | 0.1213 | 7 | 0.0191 | 0 |
| 2 | ∆9-THC (%DW) | 501.30 | LC-MS, other | 156 | 0.1538 | 0.1522 | 0.1358 | 0.147 | 1.36 | 0.1213 | 7 | 0.0191 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Population of Lab Values

∆9-THCA (%DW)

# HM19SEP-1

| 1 | ∆9-THCA (%DW) | 502.99 | Other | 131 | <0.07 | <0.07 | <0.06 | <0.07 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | ∆9-THCA (%DW) | 502.01 | AOAC 2018.10 | 108 | 0.0209 | 0.0200 | 0.0228 | 0.0212 | -0.96 | 0.0421 | 6 | 0.0217 | 0 |
| 1 | ∆9-THCA (%DW) | 502.30 | LC-MS, other | 105 | 0.0249 | 0.031 | 0.0223 | 0.0261 | -0.74 | 0.0421 | 6 | 0.0217 | 0 |
| 1 | ∆9-THCA (%DW) | 502.30 | LC-MS, other | 120 | 0.0433 | 0.0333 | 0.0331 | 0.0366 | -0.26 | 0.0421 | 6 | 0.0217 | 0 |
| 1 | ∆9-THCA (%DW) | 502.10 | LC-UV, other | 109 | 0.0372 | 0.0379 | 0.0437 | 0.0396 | -0.12 | 0.0421 | 6 | 0.0217 | 0 |
| 1 | ∆9-THCA (%DW) | 502.30 | LC-MS, other | 156 | 0.0554 | 0.0704 | 0.0487 | 0.0582 | 0.74 | 0.0421 | 6 | 0.0217 | 0 |
| 1 | ∆9-THCA (%DW) | 502.99 | Other | 173 | 0.078 | 0.0784 | <0.0570 | 0.0711 | 1.34 | 0.0421 | 6 | 0.0217 | 0 |
| HM19SEP-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | ∆9-THCA (%DW) | 502.99 | Other | 131 | <0.06 | <0.06 | <0.06 | <0.06 | 1 |  |  |  |  |
| 2 | ∆9-THCA (%DW) | 502.99 | Other | 173 | <0.0610 | <0.0590 | <0.0570 | <0.0610 | 1 |  |  |  |  |
| 2 | ∆9-THCA (%DW) | 502.30 | LC-MS, other | 105 | 0.0232 | 0.0275 | 0.0215 | 0.0241 | 0 |  |  |  |  |
| 2 | ∆9-THCA (%DW) | 502.01 | AOAC 2018.10 | 108 | 0.0275 | 0.0287 | 0.0305 | 0.0289 | 0 |  |  |  |  |
| 2 | ∆9-THCA (%DW) | 502.30 | LC-MS, other | 120 | 0.0328 | 0.0345 | 0.035 | 0.0341 | 0 |  |  |  |  |
| 2 | ∆9-THCA (%DW) | 502.10 | LC-UV, other | 109 | 0.0469 | 0.0428 | 0.0524 | 0.0474 | 0 |  |  |  |  |
| 2 | ∆9-THCA (%DW) | 502.30 | LC-MS, other | 156 | 0.0539 | 0.0666 | 0.0453 | 0.0553 | 0 |  |  |  |  |

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | CBD (%DW) |  |  |  |  |  |  |  |  |
| HM19SEP-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | CBD (%DW) | 503.30 | LC-MS, other | 105 | 5.71 | 5.21 | 4.36 | 5.09 | -1.05 | 5.6617 | 6 | 0.5412 | 0 |
| 1 | CBD (%DW) | 503.01 | AOAC 2018.10 | 108 | 5.345 | 5.227 | 5.254 | 5.28 | -0.71 | 5.6617 | 6 | 0.5412 | 0 |
| 1 | CBD (%DW) | 503.99 | Other | 173 | 5.9027 | 5.6602 | 5.492 | 5.68 | 0.04 | 5.6617 | 6 | 0.5412 | 0 |
| 1 | CBD (%DW) | 503.10 | LC-UV, other | 109 | 5.8128 | 5.7165 | 5.6107 | 5.71 | 0.1 | 5.6617 | 6 | 0.5412 | 0 |
| 1 | CBD (%DW) | 503.99 | Other | 131 | 5.7 | 5.77 | 5.72 | 5.73 | 0.13 | 5.6617 | 6 | 0.5412 | 0 |
| 1 | CBD (%DW) | 503.30 | LC-MS, other | 156 | 6.7854 | 7.4735 | 6.5750 | 6.94 | 2.37 | 5.6617 | 6 | 0.5412 | 0 |
| HM19SEP-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | CBD (%DW) | 503.30 | LC-MS, other | 105 | 1.4900 | 1.3900 | 1.5300 | 1.47 | -1.24 | 1.6288 | 6 | 0.1278 | 0 |
| 2 | CBD (%DW) | 503.01 | AOAC 2018.10 | 108 | 1.566 | 1.594 | 1.61 | 1.59 | -0.3 | 1.6288 | 6 | 0.1278 | 0 |
| 2 | CBD (%DW) | 503.10 | LC-UV, other | 109 | 1.5215 | 1.5299 | 1.8203 | 1.62 | -0.04 | 1.6288 | 6 | 0.1278 | 0 |
| 2 | CBD (%DW) | 503.99 | Other | 131 | 1.64 | 1.64 | 1.6 | 1.63 | -0.02 | 1.6288 | 6 | 0.1278 | 0 |
| 2 | CBD (%DW) | 503.99 | Other | 173 | 1.7218 | 1.6403 | 1.5646 | 1.64 | 0.1 | 1.6288 | 6 | 0.1278 | 0 |
| 2 | CBD (%DW) | 503.30 | LC-MS, other | 156 | 2.0167 | 2.2197 | 1.9313 | 2.06 | 3.34 | 1.6288 | 6 | 0.1278 | 0 |
|  |  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| HM19SEP-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | CBDA (%DW) | 504.30 | LC-MS, other | 105 | 3.73 | 3.32 | 2.6 | 3.22 | -0.93 | 3.8859 | 6 | 0.7217 | 0 |
| 1 | CBDA (%DW) | 504.01 | AOAC 2018.10 | 108 | 3.603 | 3.391 | 3.397 | 3.46 | -0.59 | 3.8859 | 6 | 0.7217 | 0 |
| 1 | CBDA (%DW) | 504.99 | Other | 173 | 3.6978 | 3.5599 | 3.4453 | 3.57 | -0.44 | 3.8859 | 6 | 0.7217 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | CBDA (%DW) | 504.99 | Other | 131 | 3.71 | 3.76 | 3.73 | 3.73 | -0.21 | 3.8859 | 6 | 0.7217 | 0 |
| 1 | CBDA (%DW) | 504.10 | LC-UV, other | 109 | 4.5006 | 4.5412 | 4.4682 | 4.5 | 0.86 | 3.8859 | 6 | 0.7217 | 0 |
| 1 | CBDA (%DW) | 504.30 | LC-MS, other | 156 | 4.5578 | 5.3419 | 4.5929 | 4.83 | 1.31 | 3.8859 | 6 | 0.7217 | 0 |
| HM19SEP-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | CBDA (%DW) | 504.30 | LC-MS, other | 105 | 1.5000 | 1.6000 | 1.5700 | 1.56 | -0.89 | 1.9104 | 6 | 0.399 | 0 |
| 2 | CBDA (%DW) | 504.99 | Other | 173 | 1.7126 | 1.6506 | 1.5432 | 1.64 | -0.69 | 1.9104 | 6 | 0.399 | 0 |
| 2 | CBDA (%DW) | 504.01 | AOAC 2018.10 | 108 | 1.824 | 1.756 | 1.645 | 1.74 | -0.42 | 1.9104 | 6 | 0.399 | 0 |
| 2 | CBDA (%DW) | 504.99 | Other | 131 | 1.84 | 1.86 | 1.82 | 1.84 | -0.18 | 1.9104 | 6 | 0.399 | 0 |
| 2 | CBDA (%DW) | 504.10 | LC-UV, other | 109 | 2.1413 | 2.1391 | 2.5584 | 2.28 | 0.93 | 1.9104 | 6 | 0.399 | 0 |
| 2 | CBDA (%DW) | 504.30 | LC-MS, other | 156 | 2.3148 | 2.6684 | 2.2436 | 2.41 | 1.25 | 1.9104 | 6 | 0.399 | 0 |

Population of Lab Values

CBN (%DW)

# HM19SEP-1

| 1 | CBN (%DW) | 505.99 | Other | 173 | <0.0590 | <0.0570 | <0.0570 | <0.0590 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | CBN (%DW) | 505.01 | AOAC 2018.10 | 108 | 0.0277 | 0.0306 | 0.0287 | 0.029 | -0.89 | 0.0376 | 6 | 0.0096 | 0 |
| 1 | CBN (%DW) | 505.99 | Other | 131 | 0.03 | 0.03 | 0.03 | 0.03 | -0.79 | 0.0376 | 6 | 0.0096 | 0 |
| 1 | CBN (%DW) | 505.20 | LC-MS, other | 105 | 0.0339 | 0.0313 | 0.0327 | 0.0326 | -0.52 | 0.0376 | 6 | 0.0096 | 0 |
| 1 | CBN (%DW) | 505.10 | LC-UV, other | 109 | 0.0389 | 0.0418 | 0.0357 | 0.0388 | 0.12 | 0.0376 | 6 | 0.0096 | 0 |
| 1 | CBN (%DW) | 505.20 | LC-MS, other | 156 | 0.0480 | 0.0496 | 0.0424 | 0.0467 | 0.94 | 0.0376 | 6 | 0.0096 | 0 |
| 1 | CBN (%DW) | 505.30 | GC-FID | 138 | 0.0425 | 0.0427 | 0.0606 | 0.0486 | 1.14 | 0.0376 | 6 | 0.0096 | 0 |

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| HM19SEP-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | CBN (%DW) | 505.20 | LC-MS, other | 105 | <0.0144 | <0.0144 | <0.0144 | <0.0144 | 1 |  |  |  |  |
| 2 | CBN (%DW) | 505.99 | Other | 131 | <0.04 | <0.04 | <0.04 | <0.04 | 1 |  |  |  |  |
| 2 | CBN (%DW) | 505.99 | Other | 173 | <0.0610 | <0.0590 | <0.0570 | <0.0610 | 1 |  |  |  |  |
| 2 | CBN (%DW) | 505.10 | LC-UV, other | 109 | 0.0109 | 0.0072 | 0.0094 | 0.0092 | 0 |  |  |  |  |
| 2 | CBN (%DW) | 505.20 | LC-MS, other | 156 | 0.0111 | 0.0111 | 0.0094 | 0.0105 | 0 |  |  |  |  |
| 2 | CBN (%DW) | 505.30 | GC-FID | 138 | 0.0142 | 0.015 | 0.0202 | 0.0165 | 0 |  |  |  |  |

Population of Lab Values

Total ∆9-THC (%DW)

# HM19SEP-1

| 1 | Total ∆9-THC (%DW) | 506.99 | Other | 131 | 0.28 | 0.24 | 0.25 | 0.257 | -0.92 | 0.3064 | 8 | 0.0541 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Total ∆9-THC (%DW) | 506.40 | GC-FID | 138 | 0.2747 | 0.2685 | 0.2756 | 0.273 | -0.62 | 0.3064 | 8 | 0.0541 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.01 | AOAC 2018.10 | 108 | 0.2707 | 0.2727 | 0.2782 | 0.274 | -0.6 | 0.3064 | 8 | 0.0541 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.30 | LC-MS, other | 120 | 0.2967 | 0.2640 | 0.2779 | 0.28 | -0.5 | 0.3064 | 8 | 0.0541 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.30 | LC-MS, other | 105 | 0.312 | 0.286 | 0.263 | 0.287 | -0.36 | 0.3064 | 8 | 0.0541 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.10 | LC-UV, other | 109 | 0.37 | 0.317 | 0.315 | 0.334 | 0.51 | 0.3064 | 8 | 0.0541 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.99 | Other | 173 | 0.3516 | 0.4043 | 0.3229 | 0.36 | 0.98 | 0.3064 | 8 | 0.0541 | 0 |
| 1 | Total ∆9-THC (%DW) | 506.30 | LC-MS, other | 156 | 0.4238 | 0.4426 | 0.3571 | 0.408 | 1.88 | 0.3064 | 8 | 0.0541 | 0 |
| HM19SEP-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Total ∆9-THC (%DW) | 506.99 | Other | 131 | 0.11 | 0.11 | 0.1 | 0.107 | -1.31 | 0.1504 | 8 | 0.0334 | 0 |
| 2 | Total ∆9-THC (%DW) | 506.30 | LC-MS, other | 105 | 0.1330 | 0.1310 | 0.1370 | 0.134 | -0.5 | 0.1504 | 8 | 0.0334 | 0 |

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | Total ∆9-THC (%DW) | 506.30 | LC-MS, other | 120 | 0.1351 | 0.1339 | 0.1348 | 0.135 | -0.47 | 0.1504 | 8 | 0.0334 | 0 |
| 2 | Total ∆9-THC (%DW) | 506.01 | AOAC 2018.10 | 108 | 0.1342 | 0.1370 | 0.1426 | 0.138 | -0.37 | 0.1504 | 8 | 0.0334 | 0 |
| 2 | Total ∆9-THC (%DW) | 506.40 | GC-FID | 138 | 0.1401 | 0.1383 | 0.1466 | 0.142 | -0.26 | 0.1504 | 8 | 0.0334 | 0 |
| 2 | Total ∆9-THC (%DW) | 506.99 | Other | 173 | 0.1882 | 0.1718 | 0.1681 | 0.176 | 0.77 | 0.1504 | 8 | 0.0334 | 0 |
| 2 | Total ∆9-THC (%DW) | 506.10 | LC-UV, other | 109 | 0.213 | 0.144 | 0.173 | 0.177 | 0.79 | 0.1504 | 8 | 0.0334 | 0 |
| 2 | Total ∆9-THC (%DW) | 506.30 | LC-MS, other | 156 | 0.2011 | 0.2106 | 0.1755 | 0.196 | 1.36 | 0.1504 | 8 | 0.0334 | 0 |
|  |  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| HM19SEP-1 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 1 | Total CBD (%DW) | 507.30 | LC-MS, other | 105 | 8.98 | 8.12 | 6.64 | 7.91 | -1.09 | 9.1249 | 8 | 1.112 | 0 |
| 1 | Total CBD (%DW) | 507.01 | AOAC 2018.10 | 108 | 8.538 | 8.201 | 8.234 | 8.32 | -0.72 | 9.1249 | 8 | 1.112 | 0 |
| 1 | Total CBD (%DW) | 507.30 | LC-MS, other | 144 | 7.4798 | 9.0963 | 8.6371 | 8.4 | -0.65 | 9.1249 | 8 | 1.112 | 0 |
| 1 | Total CBD (%DW) | 507.99 | Other | 173 | 9.1457 | 8.7822 | 8.5135 | 8.81 | -0.28 | 9.1249 | 8 | 1.112 | 0 |
| 1 | Total CBD (%DW) | 507.99 | Other | 131 | 8.95 | 9.07 | 8.99 | 9 | -0.11 | 9.1249 | 8 | 1.112 | 0 |
| 1 | Total CBD (%DW) | 507.10 | LC-UV, other | 109 | 9.764 | 9.699 | 9.529 | 9.66 | 0.48 | 9.1249 | 8 | 1.112 | 0 |
| 1 | Total CBD (%DW) | 507.40 | GC-FID | 138 | 9.7912 | 9.7546 | 10.7048 | 10.1 | 0.86 | 9.1249 | 8 | 1.112 | 0 |
| 1 | Total CBD (%DW) | 507.30 | LC-MS, other | 156 | 10.7826 | 12.1585 | 10.6030 | 11.2 | 1.85 | 9.1249 | 8 | 1.112 | 0 |
| HM19SEP-2 |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2 | Total CBD (%DW) | 507.30 | LC-MS, other | 105 | 2.8100 | 2.7900 | 2.9100 | 2.84 | -1.08 | 3.3989 | 7 | 0.5224 | 0 |
| 2 | Total CBD (%DW) | 507.99 | Other | 173 | 3.2238 | 3.0879 | 2.9180 | 3.08 | -0.62 | 3.3989 | 7 | 0.5224 | 0 |
| 2 | Total CBD (%DW) | 507.01 | AOAC 2018.10 | 108 | 3.166 | 3.134 | 3.053 | 3.12 | -0.54 | 3.3989 | 7 | 0.5224 | 0 |

Population of Lab Values

| Sam Num | Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2 | Total CBD (%DW) | 507.99 | Other | 131 | 3.25 | 3.28 | 3.2 | 3.24 | -0.3 | 3.3989 | 7 | 0.5224 | 0 |
| 2 | Total CBD (%DW) | 507.10 | LC-UV, other | 109 | 3.399 | 3.406 | 4.064 | 3.62 | 0.43 | 3.3989 | 7 | 0.5224 | 0 |
| 2 | Total CBD (%DW) | 507.40 | GC-FID | 138 | 3.6862 | 3.6051 | 3.8881 | 3.73 | 0.63 | 3.3989 | 7 | 0.5224 | 0 |
| 2 | Total CBD (%DW) | 507.30 | LC-MS, other | 156 | 4.0468 | 4.5598 | 3.8989 | 4.17 | 1.47 | 3.3989 | 7 | 0.5224 | 0 |

Population of Lab Values

- Flag definitions: 1 (Lab Value not used because there were less than 2 numeric lab results), 2 (Lab Value not used because there were less than 2 numeric lab results greater than 0).

- Robust statistics performed to determine robust mean and Z scores only if there were 6 or more numeric lab values.