Hemp Proficiency Testing

Survey Questions

Samples:

HM19SEP

Issue Date:	10/18/2019

Q1. What extraction solvent do you use?

|  | Lab Num | THC method | Answer |
| --- | --- | --- | --- |
| Q1. | 101 | LC-UV, other | MeOH |
| Q1. | 102 | LC-MS, other | Methanol |
| Q1. | 103 | AOAC 2018.11, diode array | Methanol |
| Q1. | 105 | LC-MS, other | Acetonitrile |
| Q1. | 106 | LC-UV, other | Methanol |
| Q1. | 107 | AOAC 2018.10 | REAGENT ALCOHOL |
| Q1. | 107 | Other | REAGENT ALCOHOL |
| Q1. | 108 | AOAC 2018.10 | Ethyl Acetate |
| Q1. | 109 | LC-UV, other | MeOH(9):CHCl3(1) |
| Q1. | 112 | GC-FID | Methanol |
| Q1. | 113 | AOAC 2018.11, diode array | MeOH |
| Q1. | 114 | GC-FID | Methanol |
| Q1. | 115 | AOAC 2018.10 | 80/20 Methanol/water |
| Q1. | 116 | GC-FID | methanol |
| Q1. | 116 | LC-UV, other | methanol |
| Q1. | 118 | AOAC 2018.11, diode array | Methanol |
| Q1. | 119 | LC-MS, other | Acetonitrile:MeOH 80:20 |
| Q1. | 120 | LC-MS, other | 95/5 Methanol/Chloroform (v/v) |
| Q1. | 121 | GC-FID | Methanol |

| Q1. | 122 | LC-MS, other | 95% MeOH + 0.005% Formic Acid |
| --- | --- | --- | --- |
| Q1. | 123 | AOAC 2018.11, diode array | Methanol |
| Q1. | 124 | LC-UV, other | Acetonitrile |
| Q1. | 125 | LC-UV, other | Reagent alcohol |
| Q1. | 127 | LC-UV, other | Ethanol (GC) or methanol (LC) |
| Q1. | 127 | GC-MS | Ethanol (GC) or methanol (LC) |
| Q1. | 128 | GC-FID | Methanol |
| Q1. | 129 | LC-UV, other | Methanol |
| Q1. | 131 | Other | Methanol |
| Q1. | 132 | Other | ACN |
| Q1. | 135 | LC-UV, other | Methanol |
| Q1. | 136 | LC-UV, other | Methanol |
| Q1. | 137 | AOAC 2018.11, diode array | Methanol |
| Q1. | 138 | GC-FID | methanol |
| Q1. | 139 | LC-MS, other | Ethanol |
| Q1. | 141 | LC-UV, other | Methanol/chloroform (90:10) |
| Q1. | 142 | LC-UV, other | Acetonitrile |
| Q1. | 143 | GC-FID | ethanol |
| Q1. | 144 | LC-MS, other | Methanol |
| Q1. | 145 | AOAC 2018.11, diode array | methanol |
| Q1. | 146 | AOAC 2018.11, diode array | Methanol |
| Q1. | 148 | Other | LightLab Solvent |
| Q1. | 149 | LC-MS, other | Methanol |
| Q1. | 149 | LC-UV, other | Methanol |
| Q1. | 150 | LC-UV, other | LightLab Mobile Phase (~80% Methanol/20% water) |
| Q1. | 151 | GC-MS | Methanol |
| Q1. | 152 | LC-UV, other | Ethanol |
| Q1. | 153 | GC-FID | Methanol |
| Q1. | 154 | LC-UV, other | Acetonitrile |

| Q1. | 155 | AOAC 2018.11, mass spec | 80 % MeOH |
| --- | --- | --- | --- |
| Q1. | 155 | AOAC 2018.11, diode array | 80 % MeOH |
| Q1. | 156 | LC-MS, other | Methanol |
| Q1. | 159 | LC-MS, other | 85% MeOH/15% H2O |
| Q1. | 160 | AOAC 2018.10 | Methanol |
| Q1. | 161 | LC-UV, other | Methanol |
| Q1. | 162 | AOAC 2018.10 | Methanol |
| Q1. | 163 | LC-UV, other | Methanol |
| Q1. | 163 | GC-FID | Methanol |
| Q1. | 164 | LC-MS, other | Methanol |
| Q1. | 168 | AOAC 2018.10 | 80% Methanol 20% Water |
| Q1. | 169 | GC-FID | Methanol |
| Q1. | 170 | GC-FID | methanol |
| Q1. | 173 | Other | methanol fortified with other solvents |

Q2. What extraction method do you use (eg., sonication, shaking, other)?

|  | Lab Num | THC method | Answer |
| --- | --- | --- | --- |
| Q2. | 101 | LC-UV, other | Vortex and sonication |
| Q2. | 102 | LC-MS, other | Shaking |
| Q2. | 103 | AOAC 2018.11, diode array | Votex |
| Q2. | 105 | LC-MS, other | shaking |
| Q2. | 106 | LC-UV, other | Sonicate,shaking,and centerfuging |
| Q2. | 107 | AOAC 2018.10 | SONICATION |
| Q2. | 107 | Other | SONICATION |
| Q2. | 108 | AOAC 2018.10 | shaking |
| Q2. | 109 | LC-UV, other | Sonication |
| Q2. | 112 | GC-FID | Shaking |
| Q2. | 113 | AOAC 2018.11, diode array | Shaking |

| Q2. | 114 | GC-FID | Shaking via Geno/Grinder |
| --- | --- | --- | --- |
| Q2. | 115 | AOAC 2018.10 | sonication, shaking |
| Q2. | 116 | GC-FID | shaking |
| Q2. | 116 | LC-UV, other | shaking |
| Q2. | 118 | AOAC 2018.11, diode array | Shaking |
| Q2. | 119 | LC-MS, other | sonication |
| Q2. | 120 | LC-MS, other | sonication |
| Q2. | 121 | GC-FID | Shaking |
| Q2. | 122 | LC-MS, other | Sonication |
| Q2. | 123 | AOAC 2018.11, diode array | Vortex |
| Q2. | 124 | LC-UV, other | Sonication |
| Q2. | 125 | LC-UV, other | Shaking |
| Q2. | 127 | GC-MS | Sonication |
| Q2. | 127 | LC-UV, other | Sonication |
| Q2. | 128 | GC-FID | Genogrinder |
| Q2. | 129 | LC-UV, other | Shaking |
| Q2. | 131 | Other | Shaking |
| Q2. | 132 | Other | Shaking or Sonicating |
| Q2. | 135 | LC-UV, other | Sonication |
| Q2. | 136 | LC-UV, other | Shaking |
| Q2. | 137 | AOAC 2018.11, diode array | Sonication and Shaking |
| Q2. | 138 | GC-FID | shaking |
| Q2. | 139 | LC-MS, other | sonication |
| Q2. | 141 | LC-UV, other | Shaking |
| Q2. | 142 | LC-UV, other | Sonication |
| Q2. | 143 | GC-FID | bead beet |
| Q2. | 144 | LC-MS, other | Sonication, shaking, centrifuging |
| Q2. | 145 | AOAC 2018.11, diode array | sonication |
| Q2. | 146 | AOAC 2018.11, diode array | Vortexing |

| Q2. | 148 | Other | vortexing |
| --- | --- | --- | --- |
| Q2. | 149 | LC-UV, other | Vortex for 3minutes |
| Q2. | 149 | LC-MS, other | Vortex for 3minutes |
| Q2. | 150 | LC-UV, other | Shaking for 4 minutes |
| Q2. | 151 | GC-MS | Vortex |
| Q2. | 152 | LC-UV, other | Sonication |
| Q2. | 153 | GC-FID | Shaking |
| Q2. | 154 | LC-UV, other | Sonicate 20 min, Centrifuge 10 min |
| Q2. | 155 | AOAC 2018.11, mass spec | Shaking with Geno Grinder |
| Q2. | 155 | AOAC 2018.11, diode array | Shaking with Geno Grinder |
| Q2. | 156 | LC-MS, other | Shaking |
| Q2. | 159 | LC-MS, other | Shaking for 1 hr at 100 RPM |
| Q2. | 160 | AOAC 2018.10 | Sonication |
| Q2. | 161 | LC-UV, other | Shaking |
| Q2. | 162 | AOAC 2018.10 | Spex grinder, Vortex Mixer, Centrifuge |
| Q2. | 163 | LC-UV, other | Shaking |
| Q2. | 163 | GC-FID | Shaking |
| Q2. | 164 | LC-MS, other | Shaking on Genogrinder |
| Q2. | 168 | AOAC 2018.10 | Sonication |
| Q2. | 169 | GC-FID | Shaking |
| Q2. | 170 | GC-FID | genogrinding, 5 min/1000 |
| Q2. | 173 | Other | sonication and vortexing |

Q3. and Q4. What is your sample mass and extractant volume?

Lab

Num	THC method	Answer

Q3.

101	LC-UV, other

sample mass (g): 0.1500 | extractant volume (mL): 15

Q3.  102	LC-MS, other	sample mass (g): 0.2 | extractant volume (mL): 40

Q3.

103	AOAC 2018.11, diode array

sample mass (g): 1 grams | extractant volume (mL): 2 ml

| Q3. | 105 | LC-MS, other | sample mass (g): 1 ¦ extractant volume (mL): 40 |
| --- | --- | --- | --- |
| Q3. | 106 | LC-UV, other | sample mass (g): 0.1 ¦ extractant volume (mL): 10mls |
| Q3. | 107 | Other | sample mass (g): 0.2 ¦ extractant volume (mL): 20 |
| Q3. | 107 | AOAC 2018.10 | sample mass (g): 0.2 ¦ extractant volume (mL): 20 |
| Q3. | 108 | AOAC 2018.10 | sample mass (g): 0.5g ¦ extractant volume (mL): 15 |
| Q3. | 109 | LC-UV, other | sample mass (g): 0.1-.175g ¦ extractant volume (mL): 10 |
| Q3. | 112 | GC-FID | sample mass (g): 0.20 ¦ extractant volume (mL): 40.0 |
| Q3. | 113 | AOAC 2018.11, diode array | sample mass (g): 0.5 ¦ extractant volume (mL): 10 |
| Q3. | 114 | GC-FID | sample mass (g): 0.2 ¦ extractant volume (mL): 40 |
| Q3. | 115 | AOAC 2018.10 | sample mass (g): 0.2 g ¦ extractant volume (mL): 25 mls |
| Q3. | 116 | GC-FID | sample mass (g): 0.2 ¦ extractant volume (mL): 40 |
| Q3. | 116 | LC-UV, other | sample mass (g): 0.2 ¦ extractant volume (mL): 40 |
| Q3. | 118 | AOAC 2018.11, diode array | sample mass (g): 0.5g ¦ extractant volume (mL): 10mL |
| Q3. | 119 | LC-MS, other | sample mass (g): 0.2 ¦ extractant volume (mL): 40 |
| Q3. | 120 | LC-MS, other | sample mass (g): 0.1 g ¦ extractant volume (mL): 5 mL |
| Q3. | 121 | GC-FID | sample mass (g): 0.2 ¦ extractant volume (mL): 40 |
| Q3. | 122 | LC-MS, other | sample mass (g): 0.1 ¦ extractant volume (mL): 250 |
| Q3. | 123 | AOAC 2018.11, diode array | sample mass (g): 2g ¦ extractant volume (mL): 10mL |
| Q3. | 124 | LC-UV, other | sample mass (g): 1 g ¦ extractant volume (mL): 10 mL |
| Q3. | 125 | LC-UV, other | sample mass (g): 0.5 grams ¦ extractant volume (mL): 10 mL |
| Q3. | 127 | LC-UV, other | sample mass (g): 0.015 ¦ extractant volume (mL): 1.5 |
| Q3. | 127 | GC-MS | sample mass (g): 0.015 ¦ extractant volume (mL): 1.5 |
| Q3. | 128 | GC-FID | sample mass (g): 0.2g ¦ extractant volume (mL): 40mls |
| Q3. | 129 | LC-UV, other | sample mass (g): 4 ¦ extractant volume (mL): 20 |
| Q3. | 131 | Other | sample mass (g): 0.5 ¦ extractant volume (mL): 20 |
| Q3. | 132 | Other | sample mass (g): 0.5 ¦ extractant volume (mL): 5 |
| Q3. | 135 | LC-UV, other | sample mass (g): 0.200g ¦ extractant volume (mL): 10mL |
| Q3. | 136 | LC-UV, other | sample mass (g): 0.2000 g ¦ extractant volume (mL): 1.0000 ml |
| Q3. | 137 | AOAC 2018.11, diode array | sample mass (g): 0.5 g ¦ extractant volume (mL): 15 mL |

| Q3. | 138 | GC-FID | sample mass (g): 0.5 ¦ extractant volume (mL): 20 |
| --- | --- | --- | --- |
| Q3. | 139 | LC-MS, other | sample mass (g): 0.1 g ¦ extractant volume (mL): 10 ml |
| Q3. | 141 | LC-UV, other | sample mass (g): 0.2 grams ¦ extractant volume (mL): 40 mL |
| Q3. | 142 | LC-UV, other | sample mass (g): 0.3 ¦ extractant volume (mL): 4.0 |
| Q3. | 143 | GC-FID | sample mass (g): 15mg ¦ extractant volume (mL): 1.5 |
| Q3. | 144 | LC-MS, other | sample mass (g): 1.1 g ¦ extractant volume (mL): 40 mL |
| Q3. | 145 | AOAC 2018.11, diode array | sample mass (g): 25 ¦ extractant volume (mL): 25 |
| Q3. | 146 | AOAC 2018.11, diode array | sample mass (g): 0.25g, 0.5g ¦ extractant volume (mL): 40mL |
| Q3. | 148 | Other | sample mass (g): 1 ¦ extractant volume (mL): 10 |
| Q3. | 149 | LC-MS, other | sample mass (g): 0.2g ¦ extractant volume (mL): 25 |
| Q3. | 149 | LC-UV, other | sample mass (g): 0.2g ¦ extractant volume (mL): 25 |
| Q3. | 150 | LC-UV, other | sample mass (g): Depended on analyte, 500mg for CBD/CBDA/CBN, 1000mg for D |
| Q3. | 151 | GC-MS | sample mass (g): 0.1 ¦ extractant volume (mL): 2 |
| Q3. | 152 | LC-UV, other | sample mass (g): 0.1 ¦ extractant volume (mL): 10 |
| Q3. | 153 | GC-FID | sample mass (g): 0.20 ¦ extractant volume (mL): 40 |
| Q3. | 154 | LC-UV, other | sample mass (g): 1 g ¦ extractant volume (mL): 10 ml |
| Q3. | 155 | AOAC 2018.11, mass spec | sample mass (g): 2.0 ¦ extractant volume (mL): 30.0 |
| Q3. | 155 | AOAC 2018.11, diode array | sample mass (g): 2.0 ¦ extractant volume (mL): 30.0 |
| Q3. | 156 | LC-MS, other | sample mass (g): 1 ¦ extractant volume (mL): 40 |
| Q3. | 159 | LC-MS, other | sample mass (g): 0.2 grams ¦ extractant volume (mL): 25 mL |
| Q3. | 160 | AOAC 2018.10 | sample mass (g): 175mg ¦ extractant volume (mL): 4ml |
| Q3. | 161 | LC-UV, other | sample mass (g): 0.050 g ¦ extractant volume (mL): 5 mL |
| Q3. | 162 | AOAC 2018.10 | sample mass (g): 0.2 g ¦ extractant volume (mL): 20 mL |
| Q3. | 163 | GC-FID | sample mass (g): .5g ¦ extractant volume (mL): 25 |
| Q3. | 163 | LC-UV, other | sample mass (g): .5g ¦ extractant volume (mL): 25 |
| Q3. | 164 | LC-MS, other | sample mass (g): 0.2 ¦ extractant volume (mL): 20 |
| Q3. | 168 | AOAC 2018.10 | sample mass (g): 1 gram ¦ extractant volume (mL): 25 mL |
| Q3. | 169 | GC-FID | sample mass (g): 0.20 ¦ extractant volume (mL): 40 |
| Q3. | 170 | GC-FID | sample mass (g): 0.2 ¦ extractant volume (mL): 32 |

Q3.  173	Other	sample mass (g): 0.45 | extractant volume (mL): 5.0

Q5. Do you perform predecarboxylation step of the extract prior to instrumental analysis?

|  | Lab Num | THC method | Answer |
| --- | --- | --- | --- |
| Q5. | 101 | LC-UV, other | no |
| Q5. | 102 | LC-MS, other | no |
| Q5. | 103 | AOAC 2018.11, diode array | no |
| Q5. | 105 | LC-MS, other | no |
| Q5. | 106 | LC-UV, other | no |
| Q5. | 107 | Other | yes |
| Q5. | 107 | AOAC 2018.10 | yes |
| Q5. | 108 | AOAC 2018.10 | no |
| Q5. | 109 | LC-UV, other | no |
| Q5. | 112 | GC-FID | no |
| Q5. | 113 | AOAC 2018.11, diode array | no |
| Q5. | 114 | GC-FID | No |
| Q5. | 115 | AOAC 2018.10 | no |
| Q5. | 116 | GC-FID | no |
| Q5. | 116 | LC-UV, other | no |
| Q5. | 118 | AOAC 2018.11, diode array | no |
| Q5. | 119 | LC-MS, other | no |
| Q5. | 120 | LC-MS, other | no |
| Q5. | 121 | GC-FID | no |
| Q5. | 122 | LC-MS, other | No |
| Q5. | 123 | AOAC 2018.11, diode array | no |
| Q5. | 124 | LC-UV, other | No |
| Q5. | 125 | LC-UV, other | no |
| Q5. | 127 | LC-UV, other | no |

| Q5. | 127 | GC-MS | no |  |
| --- | --- | --- | --- | --- |
| Q5. | 128 | GC-FID | No |  |
| Q5. | 129 | LC-UV, other | NO |  |
| Q5. | 131 | Other | no |  |
| Q5. | 132 | Other | No |  |
| Q5. | 135 | LC-UV, other | No |  |
| Q5. | 136 | LC-UV, other | No |  |
| Q5. | 137 | AOAC 2018.11, diode array | No |  |
| Q5. | 138 | GC-FID | no |  |
| Q5. | 139 | LC-MS, other | no |  |
| Q5. | 141 | LC-UV, other | No |  |
| Q5. | 142 | LC-UV, other | no |  |
| Q5. | 143 | GC-FID |  | yes |
| Q5. | 144 | LC-MS, other | no |  |
| Q5. | 145 | AOAC 2018.11, diode array | no |  |
| Q5. | 146 | AOAC 2018.11, diode array | no |  |
| Q5. | 148 | Other | no |  |
| Q5. | 149 | LC-MS, other | no |  |
| Q5. | 149 | LC-UV, other | no |  |
| Q5. | 150 | LC-UV, other | No |  |
| Q5. | 151 | GC-MS | No |  |
| Q5. | 152 | LC-UV, other | no |  |
| Q5. | 153 | GC-FID | no |  |
| Q5. | 154 | LC-UV, other | no |  |
| Q5. | 155 | AOAC 2018.11, diode array | no |  |
| Q5. | 155 | AOAC 2018.11, mass spec | no |  |
| Q5. | 156 | LC-MS, other | no |  |
| Q5. | 159 | LC-MS, other | no |  |
| Q5. | 160 | AOAC 2018.10 | No |  |

| Q5. | 161 | LC-UV, other | no |
| --- | --- | --- | --- |
| Q5. | 162 | AOAC 2018.10 | no |
| Q5. | 163 | LC-UV, other | no |
| Q5. | 163 | GC-FID | no |
| Q5. | 164 | LC-MS, other | no |
| Q5. | 168 | AOAC 2018.10 | No |
| Q5. | 169 | GC-FID | no |
| Q5. | 170 | GC-FID | no |
| Q5. | 173 | Other | no |

Q6. Do you determine measurment uncertainty for total THC considering both precision and trueness (see sheet entitled uncertainty)?

|  | Lab Num | THC method | Answer |
| --- | --- | --- | --- |
| Q6. | 101 | LC-UV, other | no |
| Q6. | 102 | LC-MS, other | no |
| Q6. | 103 | AOAC 2018.11, diode array | no |
| Q6. | 105 | LC-MS, other | no |
| Q6. | 106 | LC-UV, other | yes |
| Q6. | 107 | Other | no |
| Q6. | 107 | AOAC 2018.10 | no |
| Q6. | 108 | AOAC 2018.10 | no |
| Q6. | 109 | LC-UV, other | no |
| Q6. | 112 | GC-FID | no |
| Q6. | 113 | AOAC 2018.11, diode array | no |
| Q6. | 114 | GC-FID | no |
| Q6. | 115 | AOAC 2018.10 | no |
| Q6. | 116 | GC-FID | no |
| Q6. | 116 | LC-UV, other | no |
| Q6. | 118 | AOAC 2018.11, diode array | no |

| Q6. | 119 | LC-MS, other | no |  |
| --- | --- | --- | --- | --- |
| Q6. | 120 | LC-MS, other |  | yes |
| Q6. | 121 | GC-FID | no |  |
| Q6. | 122 | LC-MS, other | No |  |
| Q6. | 123 | AOAC 2018.11, diode array |  | yes |
| Q6. | 124 | LC-UV, other |  | yes |
| Q6. | 125 | LC-UV, other | no |  |
| Q6. | 127 | GC-MS | no |  |
| Q6. | 127 | LC-UV, other | no |  |
| Q6. | 128 | GC-FID | No |  |
| Q6. | 129 | LC-UV, other | NO |  |
| Q6. | 131 | Other | no |  |
| Q6. | 132 | Other |  | yes |
| Q6. | 135 | LC-UV, other | No |  |
| Q6. | 136 | LC-UV, other | No |  |
| Q6. | 137 | AOAC 2018.11, diode array | no |  |
| Q6. | 138 | GC-FID | no |  |
| Q6. | 141 | LC-UV, other | No |  |
| Q6. | 142 | LC-UV, other | no |  |
| Q6. | 143 | GC-FID | no |  |
| Q6. | 146 | AOAC 2018.11, diode array | no |  |
| Q6. | 148 | Other | no |  |
| Q6. | 149 | LC-MS, other | no |  |
| Q6. | 149 | LC-UV, other | no |  |
| Q6. | 150 | LC-UV, other | No |  |
| Q6. | 151 | GC-MS | No |  |
| Q6. | 152 | LC-UV, other | no |  |
| Q6. | 153 | GC-FID | no |  |
| Q6. | 154 | LC-UV, other | no |  |

| Q6. | 156 | LC-MS, other | no |  |
| --- | --- | --- | --- | --- |
| Q6. | 159 | LC-MS, other | no |  |
| Q6. | 160 | AOAC 2018.10 | No |  |
| Q6. | 161 | LC-UV, other | no |  |
| Q6. | 162 | AOAC 2018.10 | no |  |
| Q6. | 163 | LC-UV, other | no |  |
| Q6. | 163 | GC-FID | no |  |
| Q6. | 164 | LC-MS, other |  | yes |
| Q6. | 168 | AOAC 2018.10 | No |  |
| Q6. | 169 | GC-FID |  | yes |
| Q6. | 170 | GC-FID | no |  |
| Q6. | 173 | Other |  | yes |

Q7. If yes to previous question, what is your expanded measurement uncertainty, U, for % total THC in hemp?

|  | Lab Num | THC method | Answer |
| --- | --- | --- | --- |
| Q7. | 106 | LC-UV, other | 0.01 |
| Q7. | 114 | GC-FID | NA |
| Q7. | 120 | LC-MS, other | 0.060% |
| Q7. | 123 | AOAC 2018.11, diode array | 0.0036% |
| Q7. | 124 | LC-UV, other | 0.013 |
| Q7. | 129 | LC-UV, other | N/A |
| Q7. | 132 | Other | 0.04% |
| Q7. | 135 | LC-UV, other | NA |
| Q7. | 143 | GC-FID | no |
| Q7. | 146 | AOAC 2018.11, diode array | N/A |
| Q7. | 148 | Other | N/A |
| Q7. | 164 | LC-MS, other | 0.0340 |
| Q7. | 169 | GC-FID | 0.13 |

Q7.  173	Other	2.5% RSD