Hemp Proficiency Testing

All Labs Precision HM20NOV-1

Sample: HM20NOV-1

All Labs Precision

Issue Date: December 17, 2020

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Δ9-THC (%AR)

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

| Δ9-THC (%AR) | 001.10 | Other LC-UV | 178 | 0.161 |  |  |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 203 | 0.137 | 0.14 |  |  |  |  |  |  | 1 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 193 | 0.13 | 0.13 | 0.13 | 0 | 0 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.16 | 0.16 | 0.16 | 0 | 0 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 192 | 0.1089 | 0.1094 | 0.1089 | 0.26 | 0.05 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 164 | 0.1569 | 0.1569 | 0.156 | 0.33 | 0.06 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.167 | 0.166 | 0.167 | 0.35 | 0.07 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 124 | 0.1394 | 0.1387 | 0.1373 | 0.77 | 0.14 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.1375 | 0.1402 | 0.139 | 0.97 | 0.18 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 182 | 0.1386 | 0.1355 | 0.1367 | 1.14 | 0.21 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.1243 | 0.1216 | 0.1246 | 1.34 | 0.24 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 172 | 0.156 | 0.16 | 0.159 | 1.31 | 0.25 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 172 | 0.1727 | 0.1771 | 0.176 | 1.31 | 0.25 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 198 | 0.15 | 0.1516 | 0.1542 | 1.4 | 0.26 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.173 | 0.1687 | 0.1725 | 1.37 | 0.26 | 2.82 | 0 | 13.3 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 123 | 0.16 | 0.156 | 0.156 | 1.47 | 0.28 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 168 | 0.1471 | 0.1468 | 0.1428 | 1.65 | 0.31 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 113 | 0.1529 | 0.1475 | 0.1494 | 1.83 | 0.34 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 196 | 0.1687 | 0.1634 | 0.1635 | 1.84 | 0.35 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 202 | 0.139 | 0.1393 | 0.1439 | 1.95 | 0.36 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 152 | 0.2268 | 0.2328 | 0.2348 | 1.8 | 0.36 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 204 | 0.1634 | 0.1578 | 0.1585 | 1.91 | 0.36 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 162 | 0.1574 | 0.1596 | 0.1635 | 1.93 | 0.37 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.195 | 0.187 | 0.19 | 2.12 | 0.41 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 188 | 0.119 | 0.1241 | 0.1241 | 2.41 | 0.44 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 200 | 0.1499 | 0.1431 | 0.1457 | 2.35 | 0.44 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 119 | 0.1701 | 0.1683 | 0.1759 | 2.32 | 0.45 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 125 | 0.1455 | 0.1472 | 0.1404 | 2.45 | 0.46 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.1501 | 0.1427 | 0.1467 | 2.53 | 0.47 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 103 | 0.1283 | 0.1285 | 0.1228 | 2.56 | 0.47 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 142 | 0.1505 | 0.1432 | 0.1454 | 2.56 | 0.48 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 150 | 0.118 | 0.117 | 0.123 | 2.69 | 0.49 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 137 | 0.146 | 0.15 | 0.142 | 2.74 | 0.51 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 148 | 0.121 | 0.116 | 0.123 | 3 | 0.55 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.148 | 0.148 | 0.156 | 3.07 | 0.58 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 165 | 0.1497 | 0.1409 | 0.1433 | 3.15 | 0.59 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 149 | 0.141 | 0.149 | 0.149 | 3.16 | 0.59 | 2.82 | 0 | 13.3 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.143 | 0.152 | 0.144 | 3.37 | 0.63 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 207 | 0.123 | 0.124 | 0.131 | 3.46 | 0.64 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.139 | 0.149 | 0.1445 | 3.47 | 0.65 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.1729 | 0.1647 | 0.1616 | 3.51 | 0.67 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 161 | 0.1342 | 0.125 | 0.1322 | 3.71 | 0.68 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 191 | 0.1362 | 0.1269 | 0.1289 | 3.75 | 0.69 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.60 | NIR | 187 | 0.1213 | 0.1287 | 0.1306 | 3.87 | 0.71 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 145 | 1.24 | 1.3 | 1.31 | 2.95 | 0.77 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | 0.127 | 0.139 | 0.131 | 4.62 | 0.85 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 186 | 0.1394 | 0.1488 | 0.1527 | 4.65 | 0.87 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 141 | 0.1172 | 0.1117 | 0.1243 | 5.37 | 0.98 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 132 | 0.199 | 0.19 | 0.21 | 5.02 | 0.99 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 108 | 0.1589 | 0.1451 | 0.1442 | 5.52 | 1.04 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.1573 | 0.1649 | 0.1467 | 5.85 | 1.11 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 120 | 0.1526 | 0.1552 | 0.1745 | 7.44 | 1.42 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.1291 | 0.1423 | 0.1518 | 8.08 | 1.51 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 109 | 0.159 | 0.135 | 0.147 | 8.16 | 1.53 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 132 | 0.186 | 0.156 | 0.162 | 9.45 | 1.81 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 155 | 0.125 | 0.14 | 0.16 | 12.4 | 2.32 | 2.82 | 0 | 13.3 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.162 | 0.13 | 0.168 | 13.3 | 2.52 | 2.82 | 0 | 13.3 | 0 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Δ9-THCA (%AR)

| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 194 | <0.0800 | <0.0800 | <0.0800 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 178 | 0.034 |  |  |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 193 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0750 | <0.0765 | <0.0757 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 123 | <0.0970 | <0.0910 | <0.0930 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 188 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 182 | 0.0479 | 0.0478 | 0.0486 | 0.91 | 0.14 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.044 | 0.045 | 0.045 | 1.29 | 0.2 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 186 | 0.0365 | 0.0373 | 0.0364 | 1.34 | 0.21 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 137 | 0.0456 | 0.0442 | 0.0442 | 1.81 | 0.28 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 204 | 0.0484 | 0.048 | 0.0467 | 1.86 | 0.3 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 124 | 0.0411 | 0.0425 | 0.0411 | 1.94 | 0.3 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | 0.047 | 0.046 | 0.045 | 2.17 | 0.34 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.0358 | 0.0345 | 0.036 | 2.3 | 0.35 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.60 | NIR | 187 | 0.0364 | 0.0352 | 0.0344 | 2.85 | 0.43 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 113 | 0.0492 | 0.047 | 0.0495 | 2.81 | 0.45 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 161 | 0.0467 | 0.0463 | 0.0441 | 3.06 | 0.48 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 125 | 0.0635 | 0.0629 | 0.06 | 3.01 | 0.5 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.048 | 0.046 | 0.049 | 3.2 | 0.51 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 198 | 0.043 | 0.0431 | 0.0456 | 3.36 | 0.53 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 119 | 0.0538 | 0.0563 | 0.0574 | 3.3 | 0.54 | 5.46 | 0.91 | 126 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 200 | 0.0425 | 0.0397 | 0.04 | 3.77 | 0.59 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 164 | 0.0587 | 0.0629 | 0.062 | 3.61 | 0.6 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 202 | 0.0439 | 0.0424 | 0.0406 | 3.91 | 0.61 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 108 | 0.0659 | 0.0648 | 0.0612 | 3.84 | 0.64 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 172 | 0.052 | 0.055 | 0.051 | 3.95 | 0.64 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 172 | 0.0576 | 0.0609 | 0.0565 | 3.93 | 0.64 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 207 | 0.032 | 0.034 | 0.035 | 4.54 | 0.68 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 145 | 0.47 | 0.5 | 0.48 | 3.16 | 0.71 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 152 | 0.0521 | 0.054 | 0.057 | 4.54 | 0.74 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.0417 | 0.0381 | 0.0386 | 4.94 | 0.76 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | 0.076 | 0.083 | 0.078 | 4.56 | 0.78 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | 0.0432 | 0.0477 | 0.0456 | 4.95 | 0.78 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0.041 | 0.0368 | 0.0403 | 5.72 | 0.88 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 120 | 0.0431 | 0.0441 | 0.048 | 5.74 | 0.9 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 141 | 0.0248 | 0.0228 | 0.026 | 6.59 | 0.95 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 162 | 0.0426 | 0.0385 | 0.0433 | 6.25 | 0.97 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 191 | 0.0587 | 0.0531 | 0.0592 | 5.94 | 0.97 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | 0.0469 | 0.0532 | 0.0487 | 6.54 | 1.04 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.045 | 0.05 | 0.044 | 6.94 | 1.1 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 165 | 0.0627 | 0.0575 | 0.0658 | 6.76 | 1.12 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | 0.037 | 0.043 | 0.04 | 7.5 | 1.16 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0577 | 0.0498 | 0.056 | 7.63 | 1.24 | 5.46 | 0.91 | 126 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.0419 | 0.044 | 0.0491 | 8.23 | 1.29 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | 0.0481 | 0.0566 | 0.0515 | 8.22 | 1.32 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 155 | 0.043 | 0.049 | 0.051 | 8.73 | 1.39 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | 0.0361 | 0.0362 | 0.0425 | 9.58 | 1.47 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 103 | 0.0378 | 0.0326 | 0.0393 | 9.62 | 1.47 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | 0.048 | 0.042 | 0.04 | 9.61 | 1.5 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.042 | 0.037 | 0.048 | 13 | 2.03 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 150 | 0.043 | 0.033 | 0.04 | 13.3 | 2.04 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 132 | 0.03 | 0.04 | 0.04 | 15.7 | 2.4 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 168 | 0.0847 | 0.103 | 0.0791 | 14.1 | 2.45 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 109 | 0.06 | 0.044 | 0.061 | 17.3 | 2.81 | 5.46 | 0.91 | 126 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 132 | 0.34 | 0.036 | 0.04 | 126 | 23.43 | 5.46 | 0.91 | 126 | 0 |

Lab

Population of Lab RSDr

CBD (%AR)

| CBD (%AR) | 003.10 | Other LC-UV | 203 | 2.65 | 2.724 |  |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 178 | 2.528 |  |  |  |  |  |  |  | 1 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 2.65 | 2.644 | 2.653 | 0.17 | 0.05 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 204 | 2.6675 | 2.6559 | 2.6597 | 0.22 | 0.06 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 2.8684 | 2.8958 | 2.8831 | 0.48 | 0.14 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 2.5852 | 2.6042 | 2.6111 | 0.52 | 0.15 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 2.9004 | 2.9031 | 2.8757 | 0.52 | 0.15 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 150 | 2.375 | 2.4 | 2.4 | 0.6 | 0.17 | 2.48 | 0.17 | 9.21 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 2.895 | 2.89 | 2.922 | 0.59 | 0.17 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 172 | 2.781 | 2.816 | 2.813 | 0.69 | 0.2 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.99 | Other | 172 | 3.0784 | 3.1171 | 3.1138 | 0.69 | 0.21 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 186 | 2.5255 | 2.5508 | 2.5636 | 0.76 | 0.22 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 2.722 | 2.748 | 2.707 | 0.76 | 0.22 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.60 | NIR | 187 | 2.11 | 2.1384 | 2.1444 | 0.86 | 0.24 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 123 | 2.735 | 2.685 | 2.713 | 0.92 | 0.27 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 2.6461 | 2.5974 | 2.6015 | 1.03 | 0.3 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 108 | 2.6 | 2.586 | 2.544 | 1.13 | 0.33 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 2.7852 | 2.7745 | 2.8521 | 1.5 | 0.44 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 191 | 2.6563 | 2.6028 | 2.5784 | 1.53 | 0.44 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.99 | Other | 137 | 2.61 | 2.62 | 2.54 | 1.68 | 0.49 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 113 | 2.7289 | 2.6434 | 2.6593 | 1.7 | 0.49 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 155 | 2.11 | 2.13 | 2.19 | 1.94 | 0.55 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 2.603 | 2.602 | 2.511 | 2.05 | 0.59 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 125 | 2.8478 | 2.7706 | 2.7325 | 2.11 | 0.62 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 200 | 2.5708 | 2.464 | 2.5021 | 2.15 | 0.62 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 188 | 3.0109 | 3.0563 | 2.9127 | 2.45 | 0.72 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 2.83 | 2.794 | 2.929 | 2.45 | 0.72 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 152 | 2.9872 | 3.0078 | 2.8605 | 2.7 | 0.8 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 198 | 2.8648 | 2.9787 | 3.0274 | 2.82 | 0.83 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 2.9046 | 2.7734 | 2.7539 | 2.92 | 0.85 | 2.48 | 0.17 | 9.21 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.30 | Other LC-MS | 119 | 3.0467 | 2.9664 | 3.1472 | 2.97 | 0.88 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 207 | 2.532 | 2.653 | 2.695 | 3.22 | 0.93 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 2.774 | 2.663 | 2.855 | 3.49 | 1.02 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 162 | 2.6347 | 2.595 | 2.7783 | 3.61 | 1.05 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 145 | 26.59 | 28.08 | 27.18 | 2.75 | 1.13 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 1.868 | 2.0296 | 1.9815 | 4.23 | 1.17 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 164 | 2.6463 | 2.6855 | 2.854 | 4.04 | 1.18 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 193 | 1.81 | 1.71 | 1.66 | 4.42 | 1.2 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 2.373 | 2.5825 | 2.529 | 4.36 | 1.25 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 168 | 2.7657 | 2.6182 | 2.8551 | 4.36 | 1.27 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.99 | Other | 132 | 2.69 | 2.64 | 2.87 | 4.43 | 1.29 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 2.7073 | 2.4603 | 2.6615 | 5.03 | 1.46 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 161 | 2.5055 | 2.3237 | 2.6297 | 6.19 | 1.78 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 109 | 2.864 | 2.529 | 2.794 | 6.48 | 1.89 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 141 | 2.0691 | 2.1037 | 2.3457 | 6.94 | 1.95 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 202 | 2.3203 | 2.4511 | 2.6818 | 7.37 | 2.12 | 2.48 | 0.17 | 9.21 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 132 | 2.825 | 2.348 | 2.617 | 9.21 | 2.66 | 2.48 | 0.17 | 9.21 | 0 |

Lab

Population of Lab RSDr

CBDA (%AR)

| CBDA (%AR) | 004.10 | Other LC-UV | 203 | 3.705 | 3.867 |  |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 178 | 3.535 |  |  |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 3.475 | 3.48 | 3.474 | 0.09 | 0.03 | 2.66 | 0.09 | 10.8 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.01 | AOAC 2018.10 | 155 | 3.33 | 3.32 | 3.32 | 0.17 | 0.05 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 3.6778 | 3.6964 | 3.7044 | 0.37 | 0.11 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 3.4834 | 3.5061 | 3.4722 | 0.5 | 0.15 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 186 | 3.6356 | 3.6944 | 3.6681 | 0.8 | 0.24 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 123 | 3.321 | 3.254 | 3.279 | 1.03 | 0.31 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 4.101 | 4.056 | 4.143 | 1.06 | 0.33 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 164 | 4.1157 | 4.1273 | 4.0351 | 1.23 | 0.38 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 162 | 3.7896 | 3.7938 | 3.7072 | 1.3 | 0.4 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 204 | 3.8389 | 3.7418 | 3.7491 | 1.43 | 0.44 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 150 | 3.25 | 3.325 | 3.233 | 1.5 | 0.45 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.60 | NIR | 187 | 3.2 | 3.2013 | 3.115 | 1.56 | 0.46 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 3.8108 | 3.7842 | 3.7024 | 1.5 | 0.46 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 3.6968 | 3.5959 | 3.589 | 1.66 | 0.51 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 191 | 4.0622 | 3.9339 | 3.9586 | 1.71 | 0.53 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 172 | 3.909 | 4.025 | 3.906 | 1.72 | 0.53 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.99 | Other | 172 | 4.327 | 4.4554 | 4.3237 | 1.72 | 0.54 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.01 | AOAC 2018.10 | 168 | 3.7321 | 3.5946 | 3.6681 | 1.88 | 0.57 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 119 | 3.8568 | 3.7715 | 3.9221 | 1.96 | 0.6 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 198 | 3.394 | 3.4376 | 3.5415 | 2.19 | 0.66 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.99 | Other | 137 | 3.9 | 3.91 | 3.76 | 2.17 | 0.67 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 125 | 3.7863 | 3.6907 | 3.6257 | 2.18 | 0.67 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 108 | 3.854 | 3.781 | 3.686 | 2.23 | 0.68 | 2.66 | 0.09 | 10.8 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 152 | 3.656 | 3.721 | 3.8273 | 2.32 | 0.71 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 3.3961 | 3.3183 | 3.4782 | 2.35 | 0.71 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 2.6353 | 2.7799 | 2.7547 | 2.84 | 0.83 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 3.672 | 3.59 | 3.792 | 2.76 | 0.84 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 3.686 | 3.666 | 3.501 | 2.81 | 0.85 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 141 | 3.4247 | 3.5321 | 3.3306 | 2.94 | 0.89 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 207 | 3.092 | 3.271 | 3.261 | 3.14 | 0.94 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | 3.259 | 3.428 | 3.459 | 3.18 | 0.96 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 3.729 | 3.955 | 3.971 | 3.48 | 1.07 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 145 | 39.62 | 41.37 | 39.54 | 2.57 | 1.12 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 194 | 3.918 | 4.218 | 4.145 | 3.82 | 1.18 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 3.278 | 3.548 | 3.4365 | 3.97 | 1.2 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 200 | 3.7696 | 3.4767 | 3.5099 | 4.47 | 1.36 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.01 | AOAC 2018.10 | 193 | 3.7 | 3.44 | 3.41 | 4.53 | 1.37 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 3.9357 | 3.6058 | 3.9422 | 5.03 | 1.54 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 161 | 3.1666 | 3.0947 | 3.4151 | 5.21 | 1.56 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 188 | 3.9295 | 3.5944 | 3.5938 | 5.23 | 1.59 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.99 | Other | 132 | 3.58 | 3.19 | 3.37 | 5.77 | 1.74 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 109 | 4.581 | 4.068 | 4.49 | 6.25 | 1.95 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 202 | 2.9906 | 3.14 | 3.4217 | 6.88 | 2.05 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 132 | 3.309 | 2.716 | 3.059 | 9.83 | 2.91 | 2.66 | 0.09 | 10.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 3.2746 | 3.4824 | 4.0295 | 10.8 | 3.29 | 2.66 | 0.09 | 10.8 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBN (%AR) |  |  |  |  |  |  |  |  |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | <0.0400 | <0.0400 | <0.0400 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 194 | <0.0800 | <0.0800 | <0.0800 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 207 | 0.015 | <0.0130 | 0.024 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 178 | 0.015 |  |  |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 109 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.20 | Other LC-MS | 188 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.30 | GC-FID | 116 | 0.0432 | <0.0400 | <0.0400 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.99 | Other | 137 | <0.0295 | <0.0290 | <0.0292 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | <0.0240 | <0.0240 | <0.0230 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 145 | <0.2500 | <0.2500 | <0.2500 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 203 | 0.016 | 0.016 |  |  |  |  |  |  | 1 |
| CBN (%AR) | 005.01 | AOAC 2018.10 | 193 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.01 | AOAC 2018.10 | 168 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | <0.0750 | <0.0765 | <0.0757 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 132 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 107 | 0.023 | 0.0246 | 0 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 108 | <0.0030 | <0.0030 | <0.0030 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 123 | <0.0970 | <0.0910 | <0.0930 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.99 | Other | 132 | 0.01 | 0.01 | 0.01 | 0 | 0 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.01 | AOAC 2018.10 | 155 | 0.02 | 0.02 | 0.02 | 0 | 0 | 6.47 | 0 | 115 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 200 | 0.0197 | 0.0199 | 0.0199 | 0.58 | 0.08 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 198 | 0.0812 | 0.0809 | 0.0831 | 1.46 | 0.25 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 119 | 0.0216 | 0.0212 | 0.0224 | 2.81 | 0.4 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 125 | 0.0242 | 0.0256 | 0.0251 | 2.84 | 0.41 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | 0.0155 | 0.016 | 0.0165 | 3.12 | 0.42 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.017 | 0.018 | 0.018 | 3.27 | 0.45 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0181 | 0.0196 | 0.0195 | 4.4 | 0.61 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.0152 | 0.0156 | 0.0168 | 5.25 | 0.71 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 122 | 0.0178 | 0.0199 | 0.0187 | 5.6 | 0.77 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 141 | 0.0123 | 0.0119 | 0.0135 | 6.63 | 0.86 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.014 | 0.015 | 0.013 | 7.14 | 0.94 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 149 | 0.017 | 0.017 | 0.015 | 7.07 | 0.96 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 202 | 0.0155 | 0.0173 | 0.0182 | 8.09 | 1.1 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | 0.0181 | 0.0194 | 0.016 | 9.62 | 1.32 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 186 | 0.021 | 0.0177 | 0.018 | 9.66 | 1.33 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0313 | 0.0291 | 0.0259 | 9.44 | 1.39 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 162 | 0.0152 | 0.0152 | 0.0181 | 10.4 | 1.4 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.035 | 0.029 | 0.031 | 9.65 | 1.44 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0178 | 0.0147 | 0.02 | 15.2 | 2.08 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 204 | 0.0262 | 0.0196 | 0.019 | 18.5 | 2.61 | 6.47 | 0 | 115 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 185 | 0.3056 | 0.0491 | 0.0402 | 115 | 21.17 | 6.47 | 0 | 115 | 0 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Total Δ9-THC (%AR)

| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 203 | 0.18 | 0.18 |  |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 178 | 0.184 |  |  |  |  |  |  |  | 1 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.2 | 0.2 | 0.2 | 0 | 0 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1403 | 0.1396 | 0.1405 | 0.34 | 0.06 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.174 | 0.1736 | 0.1729 | 0.32 | 0.06 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.1621 | 0.1635 | 0.1646 | 0.77 | 0.15 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 124 | 0.1754 | 0.176 | 0.1733 | 0.81 | 0.16 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.183 | 0.186 | 0.184 | 0.83 | 0.16 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 202 | 0.1775 | 0.1765 | 0.1795 | 0.86 | 0.17 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 182 | 0.1806 | 0.1774 | 0.1793 | 0.9 | 0.17 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 164 | 0.2083 | 0.212 | 0.2104 | 0.88 | 0.18 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.2098 | 0.2101 | 0.2062 | 1.04 | 0.21 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.206 | 0.21 | 0.206 | 1.11 | 0.22 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.1706 | 0.1706 | 0.1746 | 1.34 | 0.26 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 123 | 0.16 | 0.156 | 0.156 | 1.47 | 0.28 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.1615 | 0.1571 | 0.1573 | 1.57 | 0.3 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 172 | 0.2016 | 0.2082 | 0.2037 | 1.65 | 0.33 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 172 | 0.2232 | 0.2305 | 0.2256 | 1.64 | 0.33 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 204 | 0.2058 | 0.1999 | 0.1995 | 1.75 | 0.34 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 198 | 0.1878 | 0.1893 | 0.1942 | 1.76 | 0.34 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 128 | 0.2384 | 0.2294 | 0.2366 | 2.03 | 0.41 | 3.3 | 0 | 29.6 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 162 | 0.1948 | 0.1934 | 0.2014 | 2.17 | 0.43 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.2151 | 0.2143 | 0.2068 | 2.16 | 0.43 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.1824 | 0.1751 | 0.1757 | 2.28 | 0.44 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 188 | 0.119 | 0.1241 | 0.1241 | 2.41 | 0.44 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 119 | 0.2173 | 0.2176 | 0.2262 | 2.29 | 0.46 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.1822 | 0.1749 | 0.1827 | 2.43 | 0.47 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 132 | 0.23 | 0.23 | 0.24 | 2.47 | 0.5 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 200 | 0.1872 | 0.1779 | 0.1808 | 2.62 | 0.51 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 125 | 0.2012 | 0.2024 | 0.193 | 2.57 | 0.51 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 187 | 0.1531 | 0.1603 | 0.1606 | 2.69 | 0.51 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.184 | 0.192 | 0.183 | 2.65 | 0.52 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.1985 | 0.2045 | 0.1941 | 2.62 | 0.52 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 161 | 0.1752 | 0.1656 | 0.1709 | 2.82 | 0.54 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 152 | 0.2725 | 0.2721 | 0.2848 | 2.61 | 0.54 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.2236 | 0.2124 | 0.2216 | 2.73 | 0.54 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 112 | 0.21 | 0.2 | 0.21 | 2.79 | 0.55 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 207 | 0.151 | 0.154 | 0.161 | 3.3 | 0.63 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 165 | 0.2047 | 0.1913 | 0.201 | 3.48 | 0.68 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 186 | 0.1714 | 0.1815 | 0.1846 | 3.85 | 0.75 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 191 | 0.1877 | 0.1734 | 0.1808 | 3.96 | 0.77 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 145 | 1.65 | 1.74 | 1.73 | 2.89 | 0.78 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 150 | 0.156 | 0.146 | 0.158 | 4.19 | 0.79 | 3.3 | 0 | 29.6 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 121 | 0.176 | 0.189 | 0.189 | 4.06 | 0.79 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.1714 | 0.1867 | 0.1796 | 4.27 | 0.83 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.2244 | 0.2064 | 0.2154 | 4.18 | 0.83 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.285 | 0.268 | 0.264 | 4.09 | 0.84 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.127 | 0.139 | 0.131 | 4.62 | 0.85 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.2098 | 0.2186 | 0.1991 | 4.67 | 0.93 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 108 | 0.2167 | 0.202 | 0.1979 | 4.81 | 0.95 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 141 | 0.1389 | 0.1317 | 0.1471 | 5.53 | 1.03 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 168 | 0.2214 | 0.2371 | 0.2122 | 5.63 | 1.13 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 194 | 0.1756 | 0.1996 | 0.1981 | 7.04 | 1.38 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 120 | 0.1904 | 0.1939 | 0.2166 | 7.1 | 1.4 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 132 | 0.216 | 0.185 | 0.197 | 7.84 | 1.54 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.1659 | 0.1809 | 0.1949 | 8.03 | 1.56 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 109 | 0.211 | 0.173 | 0.2 | 10 | 1.97 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 155 | 0.16 | 0.18 | 0.2 | 11.1 | 2.15 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.2352 | 0.1996 | 0.185 | 12.5 | 2.47 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.199 | 0.162 | 0.209 | 13 | 2.55 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 138 | 0.545 | 0.44 | 0.43 | 13.5 | 3.02 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.1618 | 0.188 | 0.2405 | 20.4 | 4 | 3.3 | 0 | 29.6 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 185 | 0.195 | 0.2822 | 0.1601 | 29.6 | 5.88 | 3.3 | 0 | 29.6 | 0 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Total CBD (%AR)

| Total CBD (%AR) | 007.10 | Other LC-UV | 203 | 5.9 | 6.12 |  |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.10 | Other LC-UV | 178 | 5.608 |  |  |  |  |  |  |  | 1 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 5.698 | 5.696 | 5.7 | 0.04 | 0.01 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 5.9234 | 5.9706 | 5.9282 | 0.44 | 0.14 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 5.8106 | 5.8459 | 5.8599 | 0.44 | 0.14 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 152 | 6.1935 | 6.2711 | 6.2171 | 0.64 | 0.21 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 187 | 4.9169 | 4.9458 | 4.8761 | 0.71 | 0.23 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 186 | 5.714 | 5.7908 | 5.7805 | 0.72 | 0.24 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 107 | 6.9591 | 6.8658 | 6.8746 | 0.75 | 0.25 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.01 | AOAC 2018.10 | 155 | 5.03 | 5.04 | 5.11 | 0.86 | 0.28 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 204 | 6.0342 | 5.9375 | 5.9477 | 0.89 | 0.29 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 150 | 5.225 | 5.316 | 5.236 | 0.94 | 0.3 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 162 | 5.9582 | 5.9222 | 6.0294 | 0.91 | 0.3 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 123 | 5.648 | 5.539 | 5.588 | 0.98 | 0.32 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 6.2424 | 6.2218 | 6.1226 | 1.03 | 0.34 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 6 | 5.972 | 6.092 | 1.04 | 0.34 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 164 | 6.2558 | 6.3051 | 6.3928 | 1.1 | 0.36 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.99 | Other | 172 | 6.8732 | 7.0245 | 6.9057 | 1.15 | 0.38 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 172 | 6.209 | 6.346 | 6.239 | 1.15 | 0.38 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 5.8882 | 5.751 | 5.7491 | 1.38 | 0.45 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 191 | 6.2188 | 6.0529 | 6.0501 | 1.58 | 0.52 | 2.42 | 0.04 | 11.2 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 5.58 | 5.754 | 5.74 | 1.7 | 0.55 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 5.883 | 5.6835 | 5.8043 | 1.74 | 0.57 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 108 | 5.98 | 5.902 | 5.777 | 1.74 | 0.57 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 138 | 7.54 | 7.805 | 7.655 | 1.73 | 0.59 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 141 | 5.0725 | 5.2013 | 5.2667 | 1.91 | 0.61 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 194 | 6.3483 | 6.6025 | 6.4475 | 1.98 | 0.66 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 125 | 6.1683 | 6.0073 | 5.9123 | 2.15 | 0.7 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 5.835 | 5.817 | 5.581 | 2.47 | 0.8 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 6.045 | 6.132 | 6.337 | 2.43 | 0.8 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 198 | 5.8413 | 5.9935 | 6.1333 | 2.44 | 0.8 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 119 | 6.4291 | 6.274 | 6.5869 | 2.43 | 0.81 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.01 | AOAC 2018.10 | 168 | 6.0388 | 5.7707 | 6.072 | 2.77 | 0.91 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 207 | 5.244 | 5.521 | 5.555 | 3.14 | 1.01 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 188 | 6.4571 | 6.2086 | 6.0645 | 3.18 | 1.05 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 4.1791 | 4.4676 | 4.3974 | 3.46 | 1.08 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 200 | 5.8768 | 5.5131 | 5.5803 | 3.42 | 1.11 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 145 | 61.34 | 64.35 | 61.85 | 2.58 | 1.2 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.99 | Other | 132 | 5.83 | 5.44 | 5.82 | 3.9 | 1.27 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 5.2478 | 5.6941 | 5.5428 | 4.13 | 1.34 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 6.5532 | 6.0418 | 6.2327 | 4.12 | 1.36 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 185 | 10.2871 | 11.2068 | 10.624 | 4.35 | 1.55 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 161 | 5.2826 | 5.0378 | 5.6247 | 5.55 | 1.79 | 2.42 | 0.04 | 11.2 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 5.6577 | 5.8293 | 6.3868 | 6.4 | 2.1 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 109 | 6.881 | 6.097 | 6.731 | 6.33 | 2.11 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 202 | 4.9431 | 5.2049 | 5.6826 | 7.11 | 2.29 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 6.1055 | 5.9136 | 6.8944 | 8.24 | 2.72 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 6.5621 | 6.0364 | 5.4779 | 9 | 2.95 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 132 | 5.73 | 4.733 | 5.302 | 9.52 | 3.06 | 2.42 | 0.04 | 11.2 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 7.0114 | 8.3669 | 6.8567 | 11.2 | 3.79 | 2.42 | 0.04 | 11.2 | 0 |

Lab

Population of Lab RSDr

CBDV (%AR)

| CBDV (%AR) | 008.99 | Other | 193 | <0.0500 | <0.0500 | <0.0500 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 197 | <0.0750 | <0.0765 | <0.0757 | 1 |
| CBDV (%AR) | 008.99 | Other | 207 | <0.0130 | <0.0130 | <0.0130 | 1 |
| CBDV (%AR) | 008.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 132 | <0.0500 | 0.018 | 0.024 | 1 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 108 | <0.0050 | <0.0050 | <0.0050 | 1 |
| CBDV (%AR) | 008.99 | Other | 203 | 0.015 | 0.016 |  | 1 |
| CBDV (%AR) | 008.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBDV (%AR) | 008.99 | Other | 188 | <0.0500 | <0.0500 | <0.0500 | 1 |
| CBDV (%AR) | 008.99 | Other | 132 | <0.0500 | <0.0500 | <0.0500 | 1 |
| CBDV (%AR) | 008.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | 1 |
| CBDV (%AR) | 008.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | 1 |
| CBDV (%AR) | 008.99 | Other | 106 | <0.0000 | <0.0000 | <0.0000 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 186 | 0.0211 | 0.0209 | 0.0213 | 0.95 | 0.13 | 6.08 | 0.95 | 21.1 | 0 |
| CBDV (%AR) | 008.99 | Other | 200 | 0.015 | 0.0156 | 0.0156 | 2.25 | 0.3 | 6.08 | 0.95 | 21.1 | 0 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.022 | 0.021 | 0.021 | 2.71 | 0.38 | 6.08 | 0.95 | 21.1 | 0 |
| CBDV (%AR) | 008.99 | Other | 155 | 0.026 | 0.029 | 0.028 | 5.52 | 0.81 | 6.08 | 0.95 | 21.1 | 0 |
| CBDV (%AR) | 008.99 | Other | 149 | 0.019 | 0.018 | 0.016 | 8.65 | 1.18 | 6.08 | 0.95 | 21.1 | 0 |
| CBDV (%AR) | 008.99 | Other | 142 | 0.029 | 0.032 | 0.027 | 8.58 | 1.27 | 6.08 | 0.95 | 21.1 | 0 |
| CBDV (%AR) | 008.99 | Other | 202 | 0.0074 | 0.0112 | 0.0107 | 21.1 | 2.65 | 6.08 | 0.95 | 21.1 | 0 |
|  |  |  |  | CBDVA (%AR) |  |  |  |  |  |  |  |  |
| CBDVA (%AR) | 009.99 | Other | 203 | 0.048 | 0.052 |  |  |  |  |  |  | 1 |
| CBDVA (%AR) | 009.99 | Other | 196 | 0.0317 | 0.0328 | 0.0328 | 1.96 | 0.29 | 7.59 | 1.96 | 47.3 | 0 |
| CBDVA (%AR) | 009.01 | AOAC 2018.10 | 155 | 0.029 | 0.031 | 0.03 | 3.33 | 0.49 | 7.59 | 1.96 | 47.3 | 0 |
| CBDVA (%AR) | 009.01 | AOAC 2018.10 | 168 | 0.0444 | 0.0413 | 0.0426 | 3.64 | 0.57 | 7.59 | 1.96 | 47.3 | 0 |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, U | 108 | 0.04 | 0.039 | 0.0427 | 4.72 | 0.73 | 7.59 | 1.96 | 47.3 | 0 |
| CBDVA (%AR) | 009.99 | Other | 149 | 0.053 | 0.044 | 0.042 | 12.6 | 2 | 7.59 | 1.96 | 47.3 | 0 |
| CBDVA (%AR) | 009.99 | Other | 186 | 0.0449 | 0.0209 | 0.0213 | 47.3 | 6.98 | 7.59 | 1.96 | 47.3 | 0 |
|  |  |  |  | CBG (%AR) |  |  |  |  |  |  |  |  |
| CBG (%AR) | 010.99 | Other | 109 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 123 | <0.0970 | <0.0910 | <0.0930 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 106 | <0.0000 | <0.0000 | <0.0000 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 178 | 0.051 |  |  |  |  |  |  |  | 1 |

Population of Lab RSDr

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 197 | <0.0750 | <0.0765 | <0.0757 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 207 | <0.0130 | <0.0130 | <0.0130 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 194 | <0.0800 | <0.0800 | <0.0800 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.01 | AOAC 2018.10 | 193 | <0.0500 | <0.0500 | 0.05 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 203 | 0.067 | 0.066 |  |  |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 119 | 0.0752 | 0.0747 | 0.0759 | 0.8 | 0.14 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.0614 | 0.0614 | 0.0605 | 0.85 | 0.14 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.048 | 0.047 | 0.048 | 1.21 | 0.19 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 108 | 0.0837 | 0.081 | 0.0826 | 1.65 | 0.28 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.99 | Other | 200 | 0.1048 | 0.1035 | 0.107 | 1.68 | 0.3 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.99 | Other | 122 | 0.0624 | 0.065 | 0.0642 | 2.09 | 0.35 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.01 | AOAC 2018.10 | 155 | 0.067 | 0.07 | 0.07 | 2.51 | 0.42 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.99 | Other | 204 | 0.081 | 0.0784 | 0.077 | 2.58 | 0.44 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.99 | Other | 202 | 0.0664 | 0.0617 | 0.0652 | 3.79 | 0.63 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 152 | 0.1031 | 0.1079 | 0.1126 | 4.4 | 0.79 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.99 | Other | 188 | 0.0693 | 0.0831 | 0.0745 | 9.21 | 1.57 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.99 | Other | 162 | 0.0617 | 0.0629 | 0.0742 | 10.4 | 1.74 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 132 | 0.26 | 0.244 | 0.289 | 8.63 | 1.77 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.99 | Other | 125 | 0.1015 | 0.1181 | 0.094 | 11.8 | 2.11 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.99 | Other | 141 | 0.0398 | 0.0478 | 0.052 | 13.3 | 2.11 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.01 | AOAC 2018.10 | 168 | 0.0972 | 0.0743 | 0.0968 | 14.7 | 2.56 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.99 | Other | 132 | 0.06 | 0.08 | 0.08 | 15.7 | 2.67 | 8.12 | 0.8 | 20.5 | 0 |

Lab

Lab

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 186 | 0.0206 | 0.0308 | 0.0242 | 20.5 | 2.96 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.068 | 0.052 | 0.076 | 18.7 | 3.11 | 8.12 | 0.8 | 20.5 | 0 |
| CBG (%AR) | 010.99 | Other | 142 | 0.0733 | 0.0547 | 0.0797 | 18.8 | 3.15 | 8.12 | 0.8 | 20.5 | 0 |

Lab

Population of Lab RSDr

CBGA (%AR)

| CBGA (%AR) | 011.99 | Other | 109 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 108 | <0.0008 | <0.0008 | <0.0008 |  |  |  |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 203 | 0.107 | 0.11 |  |  |  |  |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 178 | 0.089 |  |  |  |  |  |  |  | 1 |
| CBGA (%AR) | 011.01 | AOAC 2018.10 | 193 | 0.07 | 0.07 | 0.07 | 0 | 0 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.112 | 0.112 | 0.111 | 0.52 | 0.09 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.99 | Other | 196 | 0.1016 | 0.102 | 0.1026 | 0.49 | 0.09 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.99 | Other | 186 | 0.1154 | 0.1175 | 0.1161 | 0.92 | 0.17 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.99 | Other | 125 | 0.1086 | 0.1104 | 0.1083 | 1.04 | 0.19 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.99 | Other | 202 | 0.0972 | 0.096 | 0.0982 | 1.13 | 0.2 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.99 | Other | 122 | 0.0818 | 0.0818 | 0.0801 | 1.21 | 0.21 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.99 | Other | 149 | 0.073 | 0.074 | 0.072 | 1.37 | 0.23 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.99 | Other | 194 | 0.117 | 0.121 | 0.123 | 2.54 | 0.46 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.99 | Other | 123 | 0.123 | 0.119 | 0.117 | 2.55 | 0.47 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.99 | Other | 106 | 0.091 | 0.088 | 0.093 | 2.78 | 0.49 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 152 | 0.097 | 0.1011 | 0.1035 | 3.27 | 0.58 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.99 | Other | 197 | 0.085 | 0.091 | 0.086 | 3.68 | 0.64 | 4.01 | 0 | 49.2 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 207 | 0.081 | 0.083 | 0.088 | 4.29 | 0.74 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.99 | Other | 204 | 0.1199 | 0.1196 | 0.11 | 4.83 | 0.88 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.01 | AOAC 2018.10 | 168 | 0.1059 | 0.1103 | 0.0982 | 5.84 | 1.04 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.99 | Other | 141 | 0.0585 | 0.0665 | 0.0626 | 6.4 | 1.06 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.99 | Other | 162 | 0.1055 | 0.1059 | 0.0938 | 6.76 | 1.2 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.99 | Other | 142 | 0.1158 | 0.1093 | 0.1252 | 6.85 | 1.24 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.99 | Other | 188 | 0.1067 | 0.112 | 0.0959 | 7.82 | 1.4 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.01 | AOAC 2018.10 | 155 | 0.027 | 0.034 | 0.031 | 11.5 | 1.7 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.99 | Other | 132 | 0.07 | 0.05 | 0.09 | 28.6 | 4.8 | 4.01 | 0 | 49.2 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 132 | 0.096 | 0.084 | 0.031 | 49.2 | 8.28 | 4.01 | 0 | 49.2 | 0 |

Lab

Population of Lab RSDr

THCV (%AR)

| THCV (%AR) | 012.99 | Other | 197 | <0.0750 | <0.0765 | <0.0757 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 202 | <0.0003 | 0.0074 | 0.0096 | 1 |
| THCV (%AR) | 012.99 | Other | 188 | <0.0500 | <0.0500 | <0.0500 | 1 |
| THCV (%AR) | 012.99 | Other | 119 | <0.0080 | <0.0080 | <0.0080 | 1 |
| THCV (%AR) | 012.99 | Other | 203 | <0.0020 | <0.0020 |  | 1 |
| THCV (%AR) | 012.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | 1 |
| THCV (%AR) | 012.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | 1 |
| THCV (%AR) | 012.99 | Other | 186 | <0.0200 | <0.0200 | <0.0200 | 1 |
| THCV (%AR) | 012.02 | AOAC 2018.11, U | 108 | <0.0051 | <0.0051 | <0.0051 | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0000 | <0.0000 | <0.0000 | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 132 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 168 | <0.0250 | <0.0250 | <0.0250 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 123 | <0.0970 | <0.0910 | <0.0930 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 149 | <0.0240 | <0.0240 | <0.0230 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 189 | 0.023 | 0.023 | 0.023 | 0 | 0 | 0 |
| THCV (%AR) | 012.99 | Other | 200 | 0.0127 | 0.0124 | 0.0116 | 4.65 | 0.6 | 0 |
| THCV (%AR) | 012.02 | AOAC 2018.11, U | 132 | 0.03 | 0.028 | 0.031 | 5.15 | 0.76 | 0 |

Lab

Population of Lab RSDr

Δ8-THC (%AR)

| Δ8-THC (%AR) | 013.99 | Other | 149 | <0.0240 | <0.0240 | <0.0230 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.01 | AOAC 2018.10 | 193 | <0.0500 | <0.0500 | <0.0500 | 1 |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, U | 108 | <0.0045 | <0.0045 | <0.0045 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0750 | <0.0765 | <0.0757 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0000 | <0.0000 | <0.0000 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 188 | <0.0500 | <0.0500 | <0.0500 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 203 | <0.0020 | <0.0020 |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 123 | <0.0970 | <0.0910 | <0.0930 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 202 | <0.0001 | <0.0001 | <0.0001 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 207 | <0.0130 | <0.0130 | <0.0130 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 141 | <0.0120 | <0.0120 | <0.0120 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 200 | <0.0025 | <0.0025 | <0.0025 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 186 | <0.0200 | <0.0200 | <0.0200 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.012 | 0.012 | 0.012 | 0 | 0 | 0 |

Lab

Population of Lab RSDr

CBC (%AR)

| CBC (%AR) | 014.99 | Other | 203 | 0.219 | 0.225 |  |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 189 | 0.234 | 0.234 | 0.234 | 0 | 0 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.99 | Other | 204 | 0.2324 | 0.23 | 0.2299 | 0.61 | 0.12 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 108 | 0.2312 | 0.2283 | 0.2289 | 0.67 | 0.13 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.01 | AOAC 2018.10 | 168 | 0.2176 | 0.2177 | 0.2208 | 0.83 | 0.17 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.99 | Other | 186 | 0.202 | 0.204 | 0.2065 | 1.1 | 0.22 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.2298 | 0.2327 | 0.2351 | 1.14 | 0.23 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.206 | 0.211 | 0.21 | 1.27 | 0.25 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.205 | 0.21 | 0.205 | 1.4 | 0.28 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.99 | Other | 123 | 0.215 | 0.221 | 0.215 | 1.6 | 0.32 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.99 | Other | 119 | 0.2784 | 0.2743 | 0.2839 | 1.73 | 0.36 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.99 | Other | 202 | 0.2147 | 0.2153 | 0.2235 | 2.26 | 0.45 | 2.66 | 0 | 8.67 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 162 | 0.2377 | 0.2267 | 0.2283 | 2.57 | 0.52 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.99 | Other | 200 | 0.2249 | 0.2127 | 0.2197 | 2.79 | 0.56 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.22 | 0.217 | 0.229 | 2.81 | 0.56 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.99 | Other | 207 | 0.204 | 0.215 | 0.218 | 3.47 | 0.69 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.99 | Other | 142 | 0.2292 | 0.2128 | 0.2179 | 3.82 | 0.76 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.99 | Other | 125 | 0.2108 | 0.2221 | 0.2061 | 3.86 | 0.77 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.99 | Other | 188 | 0.2647 | 0.2499 | 0.2721 | 4.31 | 0.88 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.99 | Other | 132 | 0.22 | 0.22 | 0.24 | 5.09 | 1.02 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.01 | AOAC 2018.10 | 155 | 0.184 | 0.192 | 0.206 | 5.74 | 1.12 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.99 | Other | 109 | 0.257 | 0.222 | 0.248 | 7.5 | 1.52 | 2.66 | 0 | 8.67 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 132 | 0.24 | 0.202 | 0.218 | 8.67 | 1.73 | 2.66 | 0 | 8.67 | 0 |
|  |  |  |  | Cd (ug/g AR) |  |  |  |  |  |  |  |  |
| Cd (ug/g AR) | 101.04 | ICP-MS | 122 | 0.2372 | 0.2369 | 0.2371 | 0.06 | 0.01 | 6.41 | 0.06 | 34.6 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 137 | 0.186 | 0.194 | 0.194 | 2.41 | 0.47 | 6.41 | 0.06 | 34.6 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | 0.18 | 0.184 | 0.19 | 2.73 | 0.53 | 6.41 | 0.06 | 34.6 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | 0.2062 | 0.2023 | 0.2152 | 3.18 | 0.63 | 6.41 | 0.06 | 34.6 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 141 | 0.197 | 0.209 | 0.212 | 3.85 | 0.76 | 6.41 | 0.06 | 34.6 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | 0.1634 | 0.1797 | 0.1847 | 6.33 | 1.22 | 6.41 | 0.06 | 34.6 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.165 | 0.187 | 0.184 | 6.68 | 1.29 | 6.41 | 0.06 | 34.6 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 145 | 0.184 | 0.192 | 0.167 | 7.05 | 1.37 | 6.41 | 0.06 | 34.6 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 168 | 0.239 | 0.249 | 0.217 | 6.97 | 1.4 | 6.41 | 0.06 | 34.6 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 194 | 0.1935 | 0.1765 | 0.1671 | 7.47 | 1.45 | 6.41 | 0.06 | 34.6 | 0 |
| Cd (ug/g AR) | 101.03 | ICP-OES | 132 | 0.152 | 0.14 | 0.172 | 10.5 | 1.98 | 6.41 | 0.06 | 34.6 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 183 | 0.126 | 0.1245 | 0.1555 | 12.9 | 2.4 | 6.41 | 0.06 | 34.6 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 201 | 0.002 | 0.002 | 0.001 | 34.6 | 3.33 | 6.41 | 0.06 | 34.6 | 0 |
|  |  |  |  | As (ug/g AR) |  |  |  |  |  |  |  |  |
| As (ug/g AR) | 102.03 | ICP-OES | 132 | 0.8 |  |  |  |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 122 | 0.7785 | 0.7791 | 0.7786 | 0.04 | 0.01 | 5.38 | 0.04 | 19.2 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | 0.6875 | 0.6924 | 0.6913 | 0.37 | 0.09 | 5.38 | 0.04 | 19.2 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 168 | 0.67 | 0.672 | 0.648 | 2.01 | 0.47 | 5.38 | 0.04 | 19.2 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 137 | 0.631 | 0.601 | 0.632 | 2.84 | 0.66 | 5.38 | 0.04 | 19.2 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | 1.18 | 1.13 | 1.22 | 3.83 | 0.98 | 5.38 | 0.04 | 19.2 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | 0.6966 | 0.6402 | 0.6499 | 4.55 | 1.07 | 5.38 | 0.04 | 19.2 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 194 | 0.6868 | 0.6874 | 0.6261 | 5.28 | 1.25 | 5.38 | 0.04 | 19.2 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | 0.568 | 0.638 | 0.601 | 5.81 | 1.35 | 5.38 | 0.04 | 19.2 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 141 | 0.781 | 0.686 | 0.675 | 8.16 | 1.94 | 5.38 | 0.04 | 19.2 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 183 | 0.503 | 0.556 | 0.612 | 9.79 | 2.25 | 5.38 | 0.04 | 19.2 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 145 | 0.672 | 0.655 | 0.557 | 9.88 | 2.31 | 5.38 | 0.04 | 19.2 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 201 | 0.011 | 0.008 | 0.008 | 19.2 | 2.38 | 5.38 | 0.04 | 19.2 | 0 |
|  |  |  |  | Hg (ug/g AR) |  |  |  |  |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 141 | <0.0139 <0.0139 |  | <0.0139 |  |  |  |  |  | 1 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | <0.0005 | <0.0005 | <0.0005 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 168 | <0.0140 | <0.0140 | <0.0140 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 194 | <0.0200 | <0.0200 | <0.0200 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.1000 | <0.1000 | <0.1000 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0971 | <0.0994 | <0.0996 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 122 | 0.0077 | 0.0079 | 0.0078 | 1.28 | 0.16 | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 137 | 0.0094 | 0.009 | 0.0096 | 3.27 | 0.41 | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | 0.0137 | 0.0113 | 0.0117 | 10.5 | 1.36 | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 145 | 0.017 | 0.012 | 0.01 | 27.7 | 3.62 | 0 |

Lab

Population of Lab RSDr

Pb (ug/g AR)

| Pb (ug/g AR) | 104.03 | ICP-OES | 132 | 1.2 | 1.2 | 1.2 | 0 | 0 | 5.21 | 0 | 21.3 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 122 | 2.1995 | 2.1998 | 2.2005 | 0.02 | 0.01 | 5.21 | 0 | 21.3 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | 1.557 | 1.556 | 1.533 | 0.88 | 0.23 | 5.21 | 0 | 21.3 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 168 | 1.87 | 1.89 | 1.84 | 1.35 | 0.37 | 5.21 | 0 | 21.3 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 183 | 1.845 | 1.765 | 1.795 | 2.24 | 0.61 | 5.21 | 0 | 21.3 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 1.8019 | 1.7303 | 1.8108 | 2.48 | 0.68 | 5.21 | 0 | 21.3 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 201 | 0.015 | 0.015 | 0.017 | 7.37 | 0.99 | 5.21 | 0 | 21.3 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | 1.6479 | 1.5112 | 1.6252 | 4.59 | 1.23 | 5.21 | 0 | 21.3 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | 1.66 | 1.68 | 1.81 | 4.74 | 1.29 | 5.21 | 0 | 21.3 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 194 | 1.5512 | 1.3094 | 1.3541 | 9.16 | 2.41 | 5.21 | 0 | 21.3 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 141 | 2.26 | 1.98 | 1.87 | 9.87 | 2.75 | 5.21 | 0 | 21.3 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 145 | 1.692 | 1.918 | 1.511 | 11.9 | 3.24 | 5.21 | 0 | 21.3 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 137 | 1.82 | 2.72 | 2.05 | 21.3 | 6 | 5.21 | 0 | 21.3 | 0 |
|  |  |  |  | Cu (ug/g AR) |  |  |  |  |  |  |  |  |
| Cu (ug/g AR) | 105.03 | ICP-OES | 132 | 10.4 | 11.2 |  |  |  |  |  |  | 1 |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | 11.8 | 12.4 | 11.9 | 2.67 | 0.97 |  |  |  | 0 |
| Cu (ug/g AR) | 105.04 | ICP-MS | 142 | 8.479 | 14.15 | 14.337 | 27 | 9.87 |  |  |  | 0 |
|  |  |  |  | Ni (ug/g AR) |  |  |  |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | 6.39 | 5.82 | 6.38 | 5.26 | 1.73 |  |  |  | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 141 | 7.16 | 6.73 | 7.48 | 5.28 | 1.78 |  |  |  | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 142 | 5.441 | 6.311 | 5.608 | 7.98 | 2.6 |  |  |  | 0 |
| Ni (ug/g AR) | 106.03 | ICP-OES | 132 | 2 | 2 | 2.4 | 10.8 | 3.04 |  |  |  | 0 |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | 14.5526 | 14.1104 | 14.7716 | 2.33 | 0.87 |  |  |  | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | 13.2 | 12.5 | 13.2 | 3.12 | 1.15 |  |  |  | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 141 | 15.7 | 14.3 | 13.8 | 6.75 | 2.53 |  |  |  | 0 |
| Cr (ug/g AR) | 107.03 | ICP-OES | 132 | 2 | 2 | 2.4 | 10.8 | 3.04 |  |  |  | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | 5.865 | 3.57 | 6.021 | 26.6 | 8.54 |  |  |  | 0 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Se (ug/g AR)

| Se (ug/g AR) | 108.03 | ICP-OES | 132 | 0.8 |  | 0.8 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | 24.2 | 24.5 | 24.9 | 1.43 | 0.58 | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 141 | 0.304 | 0.341 | 0.322 | 5.74 | 1.21 | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | 0.2188 | 0.1818 | 0.2 | 9.24 | 1.82 | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | 0.172 | 0.237 | 0.254 | 19.6 | 3.91 | 0 |

Ag (ug/g AR)

Ag (ug/g AR)

109.04

ICP-MS

142

<0.0005	<0.0005	<0.0005	1

Ba (ug/g AR)

| Ba (ug/g AR) | 110.03 | ICP-OES | 132 | 44 | 44 | 52 | 9.9 | 4.41 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Zn (ug/g AR)

| Zn (ug/g AR) | 111.04 | ICP-MS | 142 | 57.355 | 55.496 | 55.995 | 1.71 | 0.78 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 84 | 83.7 | 86.6 | 1.88 | 0.92 | 0 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 141 | 71.4 | 70.1 | 68.5 | 2.08 | 0.98 | 0 |
| Zn (ug/g AR) | 111.03 | ICP-OES | 132 | 54.4 | 53.2 | 51.6 | 2.65 | 1.2 | 0 |

Sb (ug/g AR)

| Sb (ug/g AR) | 112.04 | ICP-MS | 196 | 0.03 | 0.0343 | 0.0333 | 6.92 | 1.04 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Moisture (%AR) |  |  |  |  |  |  |  |  |
| Moisture (%AR) | 500.99 | Other | 142 | 5.96 | 5.96 | 5.96 | 0 | 0 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 204 | 5.57 | 5.57 | 5.57 | 0 | 0 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 172 | 9.665 | 9.665 | 9.665 | 0 | 0 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 9.401 | 9.5116 | 9.4138 | 0.64 | 0.22 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 186 | 5.79 | 5.89 | 5.86 | 0.88 | 0.29 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 105 | 9.01 | 8.94 | 9.13 | 1.06 | 0.37 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.99 | Other | 165 | 8.0904 | 7.8811 | 7.9528 | 1.33 | 0.46 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 198 | 5.15 | 5.22 | 5.07 | 1.46 | 0.47 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.99 | Other | 207 | 4.97 | 4.92 | 5.12 | 2.08 | 0.66 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 182 | 7.21 | 7.43 | 7.145 | 2.06 | 0.69 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.72 | NIR | 187 | 6.025 | 5.8452 | 5.7667 | 2.25 | 0.74 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 6.27 | 6.14 | 6.42 | 2.23 | 0.74 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.99 | Other | 120 | 6.676 | 6.9231 | 6.6418 | 2.27 | 0.76 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 8.7574 | 8.4992 | 8.3935 | 2.19 | 0.76 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 183 | 8.24 | 8.05 | 8.5 | 2.73 | 0.94 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 119 | 6.42 | 6.77 | 6.78 | 3.08 | 1.03 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.72 | NIR | 138 | 8.45 | 8.45 | 8 | 3.13 | 1.08 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.99 | Other | 102 | 7.8 | 8.1 | 7.6 | 3.21 | 1.1 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 196 | 6.55 | 7.14 | 7.16 | 4.99 | 1.67 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 109 | 6.98 | 6.21 | 6.7 | 5.88 | 1.96 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.99 | Other | 103 | 5.8306 | 6.587 | 6.2772 | 6.1 | 2.01 | 2.57 | 0 | 15.7 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.99 | Other | 201 | 4 | 3 | 4 | 15.7 | 4.79 | 2.57 | 0 | 15.7 | 0 |
| Moisture (%AR) | 500.99 | Other | 132 | 6.77 | 8.56 | 6.58 | 15 | 5.05 | 2.57 | 0 | 15.7 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 118 | 0.135 | 0.134 | 0.132 | 1.14 | 0.21 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 105 | 0.169 | 0.169 | 0.173 | 1.36 | 0.26 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 198 | 0.1582 | 0.1598 | 0.1626 | 1.39 | 0.26 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 196 | 0.1806 | 0.1765 | 0.1761 | 1.4 | 0.27 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.1846 | 0.18 | 0.1841 | 1.38 | 0.27 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.99 | Other | 154 | 0.1497 | 0.1459 | 0.1444 | 1.86 | 0.35 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 204 | 0.173 | 0.1671 | 0.1678 | 1.9 | 0.37 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.99 | Other | 183 | 0.1699 | 0.1691 | 0.1763 | 2.3 | 0.44 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 142 | 0.16 | 0.1523 | 0.1546 | 2.54 | 0.48 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 165 | 0.1629 | 0.153 | 0.1558 | 3.25 | 0.62 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 199 | 0.1523 | 0.1628 | 0.1577 | 3.33 | 0.63 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 207 | 0.129 | 0.131 | 0.138 | 3.56 | 0.66 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.60 | NIR | 187 | 0.1313 | 0.1387 | 0.1406 | 3.59 | 0.67 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 194 | 0.138 | 0.149 | 0.147 | 4.05 | 0.76 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 186 | 0.1481 | 0.1581 | 0.1622 | 4.65 | 0.88 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 206 | 0.1512 | 0.1616 | 0.1429 | 6.17 | 1.17 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.1707 | 0.1798 | 0.1586 | 6.27 | 1.2 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 172 | 0.154 | 0.1697 | 0.1502 | 6.54 | 1.24 | 4.05 | 1.14 | 13.3 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 120 | 0.1635 | 0.1667 | 0.1868 | 7.33 | 1.41 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 109 | 0.171 | 0.144 | 0.158 | 8.56 | 1.63 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 201 | 0.3 | 0.33 | 0.36 | 9.09 | 1.93 | 4.05 | 1.14 | 13.3 | 0 |
| Δ9-THC (%DW) | 501.99 | Other | 172 | 0.1704 | 0.21 | 0.1662 | 13.3 | 2.57 | 4.05 | 1.14 | 13.3 | 0 |
|  |  |  |  | Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 201 | 0.64 | <0.1000 | <0.1000 |  |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 186 | 0.0387 | 0.0396 | 0.0387 | 1.33 | 0.21 | 8.56 | 1.33 | 37.6 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 118 | 0.041 | 0.041 | 0.04 | 1.42 | 0.22 | 8.56 | 1.33 | 37.6 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 204 | 0.0513 | 0.0508 | 0.0495 | 1.84 | 0.29 | 8.56 | 1.33 | 37.6 | 0 |
| Δ9-THCA (%DW) | 502.60 | NIR | 187 | 0.0364 | 0.0352 | 0.0344 | 2.85 | 0.43 | 8.56 | 1.33 | 37.6 | 0 |
| Δ9-THCA (%DW) | 502.99 | Other | 183 | 0.0639 | 0.0625 | 0.0605 | 2.74 | 0.45 | 8.56 | 1.33 | 37.6 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 207 | 0.034 | 0.036 | 0.036 | 3.27 | 0.5 | 8.56 | 1.33 | 37.6 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 198 | 0.0454 | 0.0454 | 0.0481 | 3.37 | 0.53 | 8.56 | 1.33 | 37.6 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 120 | 0.0462 | 0.0473 | 0.0514 | 5.67 | 0.9 | 8.56 | 1.33 | 37.6 | 0 |
| Δ9-THCA (%DW) | 502.99 | Other | 154 | 0.0727 | 0.0692 | 0.0648 | 5.75 | 0.96 | 8.56 | 1.33 | 37.6 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 196 | 0.0502 | 0.0573 | 0.0524 | 6.82 | 1.1 | 8.56 | 1.33 | 37.6 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 165 | 0.0682 | 0.0624 | 0.0715 | 6.84 | 1.14 | 8.56 | 1.33 | 37.6 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 199 | 0.0406 | 0.047 | 0.0437 | 7.31 | 1.15 | 8.56 | 1.33 | 37.6 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0616 | 0.0532 | 0.0598 | 7.6 | 1.24 | 8.56 | 1.33 | 37.6 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 142 | 0.0384 | 0.0385 | 0.0452 | 9.58 | 1.48 | 8.56 | 1.33 | 37.6 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 105 | 0.0436 | 0.0342 | 0.0313 | 17.7 | 2.7 | 8.56 | 1.33 | 37.6 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 109 | 0.064 | 0.047 | 0.065 | 17.2 | 2.82 | 8.56 | 1.33 | 37.6 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 206 | 0.0389 | 0.0573 | 0.0409 | 22.1 | 3.48 | 8.56 | 1.33 | 37.6 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 172 | 0.0847 | 0.0416 | 0.0925 | 37.6 | 6.36 | 8.56 | 1.33 | 37.6 | 0 |
| Δ9-THCA (%DW) | 502.99 | Other | 172 | 0.0938 | 0.046 | 0.1024 | 37.6 | 6.47 | 8.56 | 1.33 | 37.6 | 0 |
|  |  |  |  | CBD (%DW) |  |  |  |  |  |  |  |  |
| CBD (%DW) | 503.10 | Other LC-UV | 204 | 2.8248 | 2.8126 | 2.8166 | 0.22 | 0.06 | 2.26 | 0.22 | 14.8 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 206 | 2.6475 | 2.6616 | 2.6582 | 0.28 | 0.08 | 2.26 | 0.22 | 14.8 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 3.0947 | 3.0976 | 3.0683 | 0.52 | 0.16 | 2.26 | 0.22 | 14.8 | 0 |
| CBD (%DW) | 503.60 | NIR | 187 | 2.2444 | 2.2703 | 2.2761 | 0.75 | 0.21 | 2.26 | 0.22 | 14.8 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 186 | 2.6824 | 2.7092 | 2.7228 | 0.76 | 0.22 | 2.26 | 0.22 | 14.8 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 118 | 2.265 | 2.226 | 2.253 | 0.89 | 0.25 | 2.26 | 0.22 | 14.8 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 196 | 2.766 | 2.804 | 2.812 | 0.88 | 0.26 | 2.26 | 0.22 | 14.8 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 172 | 2.978 | 3.0021 | 2.9174 | 1.47 | 0.43 | 2.26 | 0.22 | 14.8 | 0 |
| CBD (%DW) | 503.99 | Other | 172 | 3.2966 | 3.3233 | 3.2296 | 1.47 | 0.44 | 2.26 | 0.22 | 14.8 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 194 | 2.912 | 2.904 | 2.812 | 1.93 | 0.57 | 2.26 | 0.22 | 14.8 | 0 |
| CBD (%DW) | 503.99 | Other | 154 | 2.6305 | 2.5717 | 2.524 | 2.07 | 0.6 | 2.26 | 0.22 | 14.8 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 198 | 3.0203 | 3.1404 | 3.1918 | 2.82 | 0.84 | 2.26 | 0.22 | 14.8 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 142 | 3.0887 | 2.9492 | 2.9284 | 2.92 | 0.86 | 2.26 | 0.22 | 14.8 | 0 |
| CBD (%DW) | 503.99 | Other | 183 | 3.0063 | 3.0915 | 3.1936 | 3.03 | 0.9 | 2.26 | 0.22 | 14.8 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 207 | 2.665 | 2.79 | 2.841 | 3.27 | 0.96 | 2.26 | 0.22 | 14.8 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 199 | 2.6008 | 2.8244 | 2.7607 | 4.22 | 1.23 | 2.26 | 0.22 | 14.8 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%DW) | 503.10 | Other LC-UV | 109 | 3.079 | 2.696 | 2.994 | 6.88 | 2.03 | 2.26 | 0.22 | 14.8 | 0 |
| CBD (%DW) | 503.30 | Other LC-MS | 105 | 2.82 | 2.65 | 2.43 | 7.43 | 2.15 | 2.26 | 0.22 | 14.8 | 0 |
| CBD (%DW) | 503.30 | Other LC-MS | 201 | 2.98 | 3.57 | 4.02 | 14.8 | 4.48 | 2.26 | 0.22 | 14.8 | 0 |
|  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| CBDA (%DW) | 504.99 | Other | 172 | 4.4211 | 4.4282 | 4.4189 | 0.11 | 0.03 | 1.92 | 0.11 | 16.9 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 172 | 3.9938 | 4.0002 | 3.9918 | 0.11 | 0.03 | 1.92 | 0.11 | 16.9 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 206 | 3.7878 | 3.7651 | 3.786 | 0.33 | 0.1 | 1.92 | 0.11 | 16.9 | 0 |
| CBDA (%DW) | 504.99 | Other | 154 | 3.3019 | 3.2694 | 3.269 | 0.58 | 0.17 | 1.92 | 0.11 | 16.9 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 196 | 3.936 | 3.981 | 3.99 | 0.73 | 0.22 | 1.92 | 0.11 | 16.9 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 186 | 3.8614 | 3.9238 | 3.8959 | 0.8 | 0.25 | 1.92 | 0.11 | 16.9 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 118 | 3.514 | 3.463 | 3.416 | 1.41 | 0.43 | 1.92 | 0.11 | 16.9 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 204 | 4.0653 | 3.9625 | 3.9702 | 1.43 | 0.44 | 1.92 | 0.11 | 16.9 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 4.0662 | 4.0377 | 3.9505 | 1.5 | 0.46 | 1.92 | 0.11 | 16.9 | 0 |
| CBDA (%DW) | 504.60 | NIR | 187 | 3.405 | 3.4 | 3.3067 | 1.64 | 0.49 | 1.92 | 0.11 | 16.9 | 0 |
| CBDA (%DW) | 504.99 | Other | 183 | 4.7647 | 4.727 | 4.906 | 1.97 | 0.62 | 1.92 | 0.11 | 16.9 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 198 | 3.5783 | 3.6243 | 3.7338 | 2.19 | 0.67 | 1.92 | 0.11 | 16.9 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 142 | 3.6113 | 3.5286 | 3.6986 | 2.35 | 0.71 | 1.92 | 0.11 | 16.9 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 207 | 3.254 | 3.44 | 3.437 | 3.15 | 0.95 | 1.92 | 0.11 | 16.9 | 0 |
| CBDA (%DW) | 504.30 | Other LC-MS | 105 | 3.54 | 3.58 | 3.34 | 3.69 | 1.11 | 1.92 | 0.11 | 16.9 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 199 | 3.5926 | 3.8776 | 3.7514 | 3.82 | 1.17 | 1.92 | 0.11 | 16.9 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 109 | 4.925 | 4.338 | 4.812 | 6.64 | 2.1 | 1.92 | 0.11 | 16.9 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%DW) | 504.30 | Other LC-MS | 201 | 3.56 | 4.6 | 4.99 | 16.9 | 5.27 | 1.92 | 0.11 | 16.9 | 0 |

Lab

Population of Lab RSDr

CBN (%DW)

| CBN (%DW) | 505.30 | GC-FID | 116 | 0.0461 | <0.0400 | <0.0400 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%DW) | 505.10 | Other LC-UV | 207 | 0.016 | <0.0130 | 0.025 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.10 | Other LC-UV | 196 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.20 | Other LC-MS | 201 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | <0.0400 | <0.0400 | <0.0400 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.10 | Other LC-UV | 109 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.10 | Other LC-UV | 198 | 0.0856 | 0.0853 | 0.0877 | 1.52 | 0.26 | 8.16 | 1.52 | 18.4 | 0 |
| CBN (%DW) | 505.99 | Other | 154 | 0.0153 | 0.0157 | 0.0149 | 2.61 | 0.35 | 8.16 | 1.52 | 18.4 | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 199 | 0.017 | 0.0175 | 0.018 | 2.86 | 0.39 | 8.16 | 1.52 | 18.4 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.02 | 0.0216 | 0.0215 | 4.26 | 0.6 | 8.16 | 1.52 | 18.4 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 142 | 0.0192 | 0.0206 | 0.017 | 9.58 | 1.32 | 8.16 | 1.52 | 18.4 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 186 | 0.0223 | 0.0188 | 0.0191 | 9.67 | 1.35 | 8.16 | 1.52 | 18.4 | 0 |
| CBN (%DW) | 505.20 | Other LC-MS | 105 | 0.0192 | 0.0164 | 0.02 | 10.2 | 1.41 | 8.16 | 1.52 | 18.4 | 0 |
| CBN (%DW) | 505.99 | Other | 183 | 0.0196 | 0.018 | 0.022 | 10.1 | 1.41 | 8.16 | 1.52 | 18.4 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 206 | 0.0181 | 0.0221 | 0.0171 | 13.9 | 1.92 | 8.16 | 1.52 | 18.4 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 204 | 0.0277 | 0.0201 | 0.0208 | 18.4 | 2.61 | 8.16 | 1.52 | 18.4 | 0 |

|  |  |  |  | Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.1548 | 0.1543 | 0.1551 | 0.26 | 0.05 | 3.17 | 0.26 | 58.4 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 118 | 0.17 | 0.17 | 0.167 | 1.02 | 0.2 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 196 | 0.2246 | 0.2268 | 0.2221 | 1.05 | 0.21 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 103 | 0.1714 | 0.1682 | 0.1678 | 1.17 | 0.22 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.99 | Other | 172 | 0.2527 | 0.2503 | 0.256 | 1.13 | 0.23 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.99 | Other | 183 | 0.226 | 0.2239 | 0.2293 | 1.2 | 0.24 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 198 | 0.198 | 0.1996 | 0.2047 | 1.74 | 0.34 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 204 | 0.218 | 0.2117 | 0.2112 | 1.77 | 0.35 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.99 | Other | 181 | 0.296 | 0.286 | 0.288 | 1.82 | 0.38 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 105 | 0.207 | 0.199 | 0.2 | 2.16 | 0.43 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 142 | 0.1937 | 0.186 | 0.1942 | 2.4 | 0.47 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.2118 | 0.2182 | 0.2071 | 2.62 | 0.52 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.2386 | 0.2266 | 0.2365 | 2.74 | 0.55 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.60 | NIR | 187 | 0.1594 | 0.1687 | 0.1672 | 3.02 | 0.58 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.99 | Other | 154 | 0.2135 | 0.2066 | 0.2012 | 2.98 | 0.59 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 207 | 0.159 | 0.162 | 0.17 | 3.47 | 0.66 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 165 | 0.2227 | 0.2077 | 0.2185 | 3.58 | 0.71 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 186 | 0.1821 | 0.1928 | 0.1961 | 3.85 | 0.75 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 199 | 0.1879 | 0.204 | 0.196 | 4.11 | 0.81 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 138 | 0.2291 | 0.2388 | 0.2175 | 4.67 | 0.94 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 172 | 0.2283 | 0.2062 | 0.2313 | 6.18 | 1.23 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 120 | 0.2041 | 0.2083 | 0.2319 | 6.98 | 1.39 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 206 | 0.1854 | 0.2119 | 0.1788 | 9.12 | 1.78 | 3.17 | 0.26 | 58.4 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 109 | 0.227 | 0.185 | 0.215 | 10.4 | 2.05 | 3.17 | 0.26 | 58.4 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 201 | 0.87 | 0.33 | 0.36 | 58.4 | 13.26 | 3.17 | 0.26 | 58.4 | 0 |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| Total CBD (%DW) | 507.10 | Other LC-UV | 206 | 5.9695 | 5.9637 | 5.9784 | 0.12 | 0.04 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 6.538 | 6.5982 | 6.5443 | 0.5 | 0.17 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 186 | 6.0688 | 6.1504 | 6.1395 | 0.72 | 0.24 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 172 | 6.4806 | 6.5103 | 6.4182 | 0.73 | 0.24 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.99 | Other | 172 | 7.1739 | 7.2068 | 7.105 | 0.72 | 0.24 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.60 | NIR | 187 | 5.2319 | 5.2532 | 5.175 | 0.77 | 0.25 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 196 | 6.218 | 6.295 | 6.312 | 0.8 | 0.26 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 204 | 6.3901 | 6.2877 | 6.2985 | 0.89 | 0.29 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 118 | 5.346 | 5.263 | 5.248 | 1 | 0.32 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 6.6607 | 6.6387 | 6.5329 | 1.03 | 0.34 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.99 | Other | 154 | 5.5263 | 5.4389 | 5.3909 | 1.26 | 0.41 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 142 | 6.2558 | 6.0438 | 6.1721 | 1.73 | 0.57 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.99 | Other | 183 | 7.185 | 7.2371 | 7.4962 | 2.28 | 0.77 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 198 | 6.1585 | 6.3189 | 6.4663 | 2.44 | 0.81 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 207 | 5.518 | 5.807 | 5.855 | 3.18 | 1.04 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 199 | 5.7515 | 6.2251 | 6.0507 | 3.99 | 1.31 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.30 | Other LC-MS | 105 | 5.92 | 5.79 | 5.36 | 5.15 | 1.68 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 109 | 7.397 | 6.5 | 7.215 | 6.74 | 2.26 | 2.53 | 0.12 | 15.8 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 6.4185 | 6.3099 | 7.3564 | 8.59 | 2.86 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 138 | 7.6572 | 9.1375 | 7.4882 | 11.2 | 3.84 | 2.53 | 0.12 | 15.8 | 0 |
| Total CBD (%DW) | 507.30 | Other LC-MS | 201 | 6.11 | 7.6 | 8.4 | 15.8 | 5.33 | 2.53 | 0.12 | 15.8 | 0 |

Lab

Population of Lab RSDr

CBDV (%DW)

| CBDV (%DW) | 508.99 | Other | 207 | <0.0130 | <0.0130 | <0.0130 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%DW) | 508.99 | Other | 201 | <0.1000 | 0.1 | 0.11 |  |  | 1 |
| CBDV (%DW) | 508.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  | 1 |
| CBDV (%DW) | 508.99 | Other | 206 | 0 | 0 | 0 |  |  | 1 |
| CBDV (%DW) | 508.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| CBDV (%DW) | 508.99 | Other | 183 | 0 | 0 | 0 |  |  | 1 |
| CBDV (%DW) | 508.99 | Other | 186 | 0.0224 | 0.0222 | 0.0226 | 0.89 | 0.13 | 0 |
| CBDV (%DW) | 508.99 | Other | 142 | 0.0308 | 0.034 | 0.0287 | 8.56 | 1.28 | 0 |

CBDVA (%DW)

| CBDVA (%DW) | 509.99 | Other | 201 | <0.1000 | 0.46 | 0.46 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%DW) | 509.99 | Other | 206 | 0.026 | 0.0259 | 0.0256 | 0.81 | 0.12 | 0 |
| CBDVA (%DW) | 509.99 | Other | 183 | 0.0487 | 0.0491 | 0.0503 | 1.69 | 0.27 | 0 |
| CBDVA (%DW) | 509.99 | Other | 196 | 0.0334 | 0.0354 | 0.0353 | 3.25 | 0.49 | 0 |
| CBDVA (%DW) | 509.99 | Other | 154 | 0.0555 | 0.0509 | 0.0542 | 4.43 | 0.72 | 0 |
| CBDVA (%DW) | 509.99 | Other | 186 | 0.0477 | 0.0536 | 0.0537 | 6.65 | 1.07 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

CBG (%DW)

| CBG (%DW) | 510.99 | Other | 207 | <0.0130 | <0.0130 | <0.0130 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%DW) | 510.99 | Other | 109 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBG (%DW) | 510.99 | Other | 196 | 0.0657 | 0.0661 | 0.0652 | 0.69 | 0.11 | 12.79 | 0.69 | 31.3 | 0 |
| CBG (%DW) | 510.99 | Other | 204 | 0.0858 | 0.083 | 0.0815 | 2.62 | 0.45 | 12.79 | 0.69 | 31.3 | 0 |
| CBG (%DW) | 510.99 | Other | 183 | 0.0792 | 0.0759 | 0.0852 | 5.89 | 1.01 | 12.79 | 0.69 | 31.3 | 0 |
| CBG (%DW) | 510.99 | Other | 201 | 0.2 | 0.24 | 0.24 | 10.2 | 2.04 | 12.79 | 0.69 | 31.3 | 0 |
| CBG (%DW) | 510.99 | Other | 206 | 0.0756 | 0.0592 | 0.0602 | 14.1 | 2.35 | 12.79 | 0.69 | 31.3 | 0 |
| CBG (%DW) | 510.99 | Other | 186 | 0.0219 | 0.0327 | 0.0257 | 20.5 | 2.98 | 12.79 | 0.69 | 31.3 | 0 |
| CBG (%DW) | 510.99 | Other | 142 | 0.0779 | 0.0582 | 0.0848 | 18.7 | 3.18 | 12.79 | 0.69 | 31.3 | 0 |
| CBG (%DW) | 510.99 | Other | 105 | 0.0581 | 0.108 | 0.107 | 31.3 | 5.48 | 12.79 | 0.69 | 31.3 | 0 |

CBGA (%DW)

| CBGA (%DW) | 511.99 | Other | 109 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%DW) | 511.99 | Other | 201 | <0.1000 | 0.5 | 0.53 |  |  |  |  |  | 1 |
| CBGA (%DW) | 511.99 | Other | 196 | 0.1087 | 0.1099 | 0.1105 | 0.84 | 0.15 | 4.04 | 0.84 | 6.85 | 0 |
| CBGA (%DW) | 511.99 | Other | 186 | 0.1226 | 0.1248 | 0.1233 | 0.91 | 0.17 | 4.04 | 0.84 | 6.85 | 0 |
| CBGA (%DW) | 511.99 | Other | 154 | 0.1465 | 0.1377 | 0.1447 | 3.25 | 0.61 | 4.04 | 0.84 | 6.85 | 0 |
| CBGA (%DW) | 511.99 | Other | 207 | 0.085 | 0.087 | 0.093 | 4.71 | 0.82 | 4.04 | 0.84 | 6.85 | 0 |
| CBGA (%DW) | 511.99 | Other | 204 | 0.127 | 0.1267 | 0.1165 | 4.84 | 0.89 | 4.04 | 0.84 | 6.85 | 0 |
| CBGA (%DW) | 511.99 | Other | 206 | 0.1152 | 0.1034 | 0.1083 | 5.44 | 0.98 | 4.04 | 0.84 | 6.85 | 0 |
| CBGA (%DW) | 511.99 | Other | 183 | 0.1362 | 0.1263 | 0.1407 | 5.48 | 1.02 | 4.04 | 0.84 | 6.85 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%DW) | 511.99 | Other | 142 | 0.1231 | 0.1162 | 0.1331 | 6.85 | 1.25 | 4.04 | 0.84 | 6.85 | 0 |
|  |  |  |  | THCV (%DW) |  |  |  |  |  |  |  |  |
| THCV (%DW) | 512.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| THCV (%DW) | 512.99 | Other | 201 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  |  | 1 |
| THCV (%DW) | 512.99 | Other | 186 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  |  | 1 |
| THCV (%DW) | 512.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| THCV (%DW) | 512.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  |  | 1 |
| THCV (%DW) | 512.99 | Other | 183 | 0 | 0 | 0 |  |  |  |  |  | 1 |
| THCV (%DW) | 512.99 | Other | 206 | 0.0009 | 0.0007 | 0.0009 | 13.9 | 1.2 |  |  |  | 0 |
|  |  |  |  | Δ8-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ8-THC (%DW) | 513.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 206 | 0 | 0 | 0 |  |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 186 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 183 | 0 | 0 | 0 |  |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 207 | <0.0130 | <0.0130 | <0.0130 |  |  |  |  |  | 1 |
|  |  |  |  | CBC (%DW) |  |  |  |  |  |  |  |  |
| CBC (%DW) | 514.99 | Other | 204 | 0.2461 | 0.2436 | 0.2435 | 0.6 | 0.12 | 3.69 | 0.6 | 33.8 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.99 | Other | 186 | 0.2146 | 0.2167 | 0.2193 | 1.09 | 0.22 | 3.69 | 0.6 | 33.8 | 0 |
| CBC (%DW) | 514.99 | Other | 154 | 0.2352 | 0.2338 | 0.2302 | 1.11 | 0.22 | 3.69 | 0.6 | 33.8 | 0 |
| CBC (%DW) | 514.99 | Other | 196 | 0.2459 | 0.2506 | 0.2532 | 1.48 | 0.3 | 3.69 | 0.6 | 33.8 | 0 |
| CBC (%DW) | 514.99 | Other | 194 | 0.229 | 0.239 | 0.236 | 2.19 | 0.44 | 3.69 | 0.6 | 33.8 | 0 |
| CBC (%DW) | 514.99 | Other | 207 | 0.214 | 0.226 | 0.23 | 3.73 | 0.75 | 3.69 | 0.6 | 33.8 | 0 |
| CBC (%DW) | 514.99 | Other | 142 | 0.2437 | 0.2263 | 0.2317 | 3.81 | 0.77 | 3.69 | 0.6 | 33.8 | 0 |
| CBC (%DW) | 514.99 | Other | 206 | 0.2126 | 0.2271 | 0.2108 | 4.12 | 0.82 | 3.69 | 0.6 | 33.8 | 0 |
| CBC (%DW) | 514.99 | Other | 183 | 0.2557 | 0.2503 | 0.274 | 4.78 | 0.98 | 3.69 | 0.6 | 33.8 | 0 |
| CBC (%DW) | 514.99 | Other | 105 | 0.255 | 0.234 | 0.23 | 5.6 | 1.13 | 3.69 | 0.6 | 33.8 | 0 |
| CBC (%DW) | 514.99 | Other | 109 | 0.276 | 0.237 | 0.266 | 7.8 | 1.6 | 3.69 | 0.6 | 33.8 | 0 |
| CBC (%DW) | 514.99 | Other | 201 | 0.38 | 0.58 | 0.77 | 33.8 | 7.8 | 3.69 | 0.6 | 33.8 | 0 |

Lab

Population of Lab RSDr

Cd (ug/g DW)

| Cd (ug/g DW) | 601.04 | ICP-MS | 105 | 0.209 | 0.207 | 0.22 | 3.3 | 0.66 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

As (ug/g DW)

| As (ug/g DW) | 602.04 | ICP-MS | 105 | 0.67 | 0.638 | 0.731 | 6.95 | 1.64 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Hg (ug/g DW)

| Hg (ug/g DW) | 603.04 | ICP-MS | 105 | 0.0115 | 0.0115 | 0.0111 | 2.03 | 0.26 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Pb (ug/g DW)

Pb (ug/g DW)

604.04

ICP-MS

105

2.05	2.01	2.03	0.98	0.27	0

Cu (ug/g DW)

Cu (ug/g DW)

605.04

ICP-MS

105

16.5	15.3	14.7	5.91	2.24	0

Ni (ug/g DW)

Ni (ug/g DW)

606.04

ICP-MS

105

7.09	7.65	9.25	14	4.8	0

Cr (ug/g DW)

Cr (ug/g DW)

607.04

ICP-MS

105

14.8	16	15.6	3.95	1.49	0

Se (ug/g DW)

Se (ug/g DW)

608.04

ICP-MS

105

0.0685	0.0588	0.0863	19.6	3.3	0

Zn (ug/g DW)

Zn (ug/g DW)

611.04

ICP-MS

105

66.5	65.9	72.7	5.51	2.6	0

- Flag definitions: 1 (Lab RSDr not calculated because there were less than 3 numeric lab results)

- Statistical parameters of robust mean, minimum, and maximum for RSDr only shown only if there were 6 or more lab RSDr values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.c