# Homogeneity and Stability

Sample ID . . . . . . . . . . . . . . . . . . . . . . . .

Samples shipped . . . . . . . . . . . . . . . . . . .

Results due date . . . . . . . . . . . . . . . . . . . .

HM20NOV-1

4-Nov-20

15-Dec-20

## Homogeneity

10 sample packets randomly chosen for analysis.

| Packet # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 0.1944 | 0.1912 |
| 2 | 0.1928 | 0.1960 |
| 3 | 0.1967 | 0.1942 |
| 4 | 0.1968 | 0.1995 |
| 5 | 0.1972 | 0.2129 |
| 6 | 0.2000 | 0.1998 |
| 7 | 0.2001 | 0.2122 |
| 8 | 0.1981 | 0.1964 |
| 9 | 0.1979 | 0.2002 |
| 10 | 0.1988 | 0.2016 |

Duplicate test portions analyzed for analyte and method shown in table caption.

| Total THC (%AR) via GC-FID (method 006.40) Analysis Date: 8/25/20 | Overall average: | 0.1988 | %RSD |
| --- | --- | --- | --- |
|  | SD of sample avgs: | 0.004276 | 2.15 |
|  | repeatability SD: | 0.004688 | 2.36 |
|  | between-sample SD: | 0.0027 | 1.36 |
|  | reproducibilty SD: | 0.005411 | 2.72 |
|  | SD used for Analyte z scores: | 0.0269 |  |
|  | Check value: | 0.00807 |  |

Is between-sample SD less than check value? YES Homogeneity test passed

Total THC (%AR) via GC-FID (method 006.40)

## Stability

Sample in one packet tested on different days from date sample shipped to results due date. Sample stored at room temperature during period of testing.

| Date of Analysis | Days | Conc. |
| --- | --- | --- |
| 11/4/20 | 0 | 0.2095 |
| 11/8/20 | 4 | 0.2160 |
| 11/11/20 | 7 | 0.2037 |
| 11/15/20 | 11 | 0.1974 |
| 11/18/20 | 14 | 0.2007 |
| 11/22/20 | 18 | 0.1978 |
| 11/29/20 | 25 | 0.2055 |
| 12/1/20 | 27 | 0.2028 |
| 12/5/20 | 31 | 0.1876 |
| 12/9/20 | 35 | 0.1905 |
| 12/15/20 | 41 | 0.1930 |

Total THC (%AR) via GC-FID (method 006.40)	SUMMARY OUTPUT

Days = x variable, Conc = y variable

Regression Statistics

Multiple R  0.7519901 R Square	0.5654891 Adjusted R Squ 0.5172101 Standard Error  0.0058088

Observations	11

ANOVA

df	SS	MS	F	Significance F

Regression	1 0.00039522 0.000395217 11.71294	0.00759881

Residual	9 0.00030368 3.37419E-05

Total	10 0.00069889

Coefficients	Std Err	t Stat	P-value	Lower 95%	Upper 95%

0.25

0.24

0.23

0.22

0.21

0.20

0.19

0.18

0.17

0.16

0.15

0

10

20

30

40

50

Intercept	0.2094738 0.00317587 65.95794539  2.14E-13  0.202289473  0.216658102

y = -0.0005x + 0.2095 R² = 0.5655

X Variable 1	-0.0004682 0.00013682 -3.42241798 0.007599 -0.000777749 -0.000158744

Coefficient for x variable is statistically significantly different from 0. Similar trend was observed in frozen QRMs (-20oC) analyzed in the same sets. Thus, trend is believed to be due to analytical process rather than degradation of THC in the sample.

Total THC (%AR) via GC-FID (method 006.40)