# Hemp PT Certificate of Analysis

## Hemp PT Sample HM20NOV-2 Material: hemp

± Standard

| Analyte | Value | Uncertainty | # Labs |
| --- | --- | --- | --- |
|  | % as received |  |  |
| Δ9-THC | 0.08160 | 0.00212 | 55 |
| Δ9-THCA | 0.05123 | 0.00209 | 51 |
| CBD | 1.460 | 0.028 | 46 |
| CBDA | 3.223 | 0.075 | 46 |
| CBN | 0.02408 | 0.00106 | 28 |
| Total Δ9-THC | 0.1304 | 0.0038 | 61 |
| Total CBD | 4.365 | 0.099 | 49 |
| CBDV | 0.03686 | 0.01544 | 7 |
| CBDVA | 0.04441 | 0.01232 | 6 |
| CBG | 0.03415 | 0.00399 | 19 |
| CBGA | 0.04341 | 0.00314 | 19 |
| CBC | 0.1175 | 0.0028 | 23 |
| Moisture | 7.377 | 0.434 | 23 |

## Hemp PT Sample HM20NOV-2 Material: hemp

Analyte	Value

± Standard

Uncertainty	# Labs

% dry weight

| Δ9-THC | 0.09160 | 0.00395 | 22 |
| --- | --- | --- | --- |
| Δ9-THCA | 0.05287 | 0.00497 | 19 |
| CBD | 1.577 | 0.054 | 19 |
| CBDA | 3.381 | 0.198 | 18 |
| CBN | 0.02599 | 0.00185 | 14 |
| Total Δ9-THC | 0.1426 | 0.0084 | 25 |
| Total CBD | 4.646 | 0.194 | 21 |
| CBDVA | 0.04667 | 0.01099 | 6 |
| CBG | 0.03425 | 0.00459 | 8 |
| CBGA | 0.06255 | 0.01171 | 8 |
| CBC | 0.1263 | 0.0050 | 12 |
| Cd | ug/g 0.1737 | as-received 0.0097 | 13 |
| As | 0.6422 | 0.0345 | 12 |
| Pb | 1.768 | 0.111 | 13 |

- Data obtained from participant results in the University of Kentucky Hemp PT Program.

- Sample was prepared on 9/6/20. Stored at room temperature until 10/15/20. Stored at -20 C after 10/15/20.

- Values are robust means. Standard uncertainty determined as 1.25 x robust standard deviation / sqrt(#Labs). Results only shown for analytes tested by 6 or more labs.