Hemp Proficiency Testing

All Labs Precision HM20SEP-1

Sample: HM20SEP-1

All Labs Precision

Issue Date:

November 2, 2020

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

Δ9-THC (%AR)

| Δ9-THC (%AR) | 001.10 | Other LC-UV | 178 | 0.0500 |  |  |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 123 | <0.0940 | <0.0920 | <0.0890 |  |  |  |  |  | 1 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | <0.0750 | <0.0750 | <0.0750 |  |  |  |  |  | 1 |
| Δ9-THC (%AR) | 001.99 | Other | 137 | 0.0713 | 0.0712 | 0.0703 | 0.78 | 0.13 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.0770 | 0.0760 | 0.0770 | 0.75 | 0.13 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 154 | 0.0854 | 0.0844 | 0.0857 | 0.8 | 0.14 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.60 | NIR | 187 | 0.0907 | 0.0896 | 0.0915 | 1.05 | 0.18 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 200 | 0.0779 | 0.0795 | 0.0785 | 1.03 | 0.18 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 186 | 0.0778 | 0.0761 | 0.0767 | 1.12 | 0.19 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.0755 | 0.0738 | 0.0739 | 1.28 | 0.22 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 148 | 0.0710 | 0.0700 | 0.0720 | 1.41 | 0.24 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.0955 | 0.0973 | 0.0945 | 1.48 | 0.26 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 168 | 0.0793 | 0.0813 | 0.0788 | 1.66 | 0.28 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 142 | 0.0804 | 0.0777 | 0.0793 | 1.72 | 0.29 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 204 | 0.0865 | 0.0842 | 0.0872 | 1.83 | 0.32 | 5.29 | 0.75 | 74 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 159 | 0.0729 | 0.0705 | 0.0739 | 2.41 | 0.41 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 164 | 0.0748 | 0.0746 | 0.0779 | 2.44 | 0.42 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.0790 | 0.0760 | 0.0755 | 2.46 | 0.42 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 103 | 0.0687 | 0.0701 | 0.0722 | 2.5 | 0.42 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 195 | 0.0781 | 0.0743 | 0.0760 | 2.5 | 0.43 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 124 | 0.0614 | 0.0643 | 0.0615 | 2.64 | 0.44 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.0906 | 0.0906 | 0.0866 | 2.59 | 0.45 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 172 | 0.0810 | 0.0850 | 0.0850 | 2.76 | 0.48 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 119 | 0.0857 | 0.0824 | 0.0875 | 3.04 | 0.53 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.0830 | 0.0848 | 0.0795 | 3.27 | 0.56 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 203 | 0.0750 | 0.0720 | 0.0700 | 3.48 | 0.59 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, | 139 | 0.0854 | 0.0881 | 0.0819 | 3.65 | 0.63 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 198 | 0.0805 | 0.0857 | 0.0790 | 4.3 | 0.74 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.0703 | 0.0759 | 0.0760 | 4.4 | 0.75 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.0810 | 0.0750 | 0.0740 | 4.94 | 0.84 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 150 | 0.1050 | 0.0967 | 0.0967 | 4.82 | 0.85 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 152 | 0.0968 | 0.0879 | 0.0915 | 4.86 | 0.85 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 188 | 0.0645 | 0.0615 | 0.0683 | 5.26 | 0.87 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 202 | 0.0594 | 0.0609 | 0.0659 | 5.48 | 0.91 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.0838 | 0.0762 | 0.0835 | 5.3 | 0.91 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 141 | 0.0562 | 0.0621 | 0.0620 | 5.62 | 0.92 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.1100 | 0.1100 | 0.1200 | 5.09 | 0.92 | 5.29 | 0.75 | 74 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 165 | 0.0798 | 0.0890 | 0.0844 | 5.45 | 0.94 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 132 | 0.0953 | 0.0866 | 0.0866 | 5.61 | 0.98 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 192 | 0.0616 | 0.0683 | 0.0684 | 5.9 | 0.98 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.0820 | 0.0840 | 0.0750 | 5.88 | 1.01 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 113 | 0.0968 | 0.0864 | 0.0941 | 5.84 | 1.02 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 182 | 0.0801 | 0.0751 | 0.0710 | 6.04 | 1.03 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 120 | 0.0691 | 0.0721 | 0.0781 | 6.27 | 1.06 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 162 | 0.0801 | 0.0889 | 0.0908 | 6.59 | 1.14 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 125 | 0.0808 | 0.0830 | 0.0917 | 6.77 | 1.17 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 196 | 0.0619 | 0.0701 | 0.0624 | 7.09 | 1.18 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 156 | 0.0988 | 0.1129 | 0.1058 | 6.66 | 1.19 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 161 | 0.0575 | 0.0680 | 0.0600 | 8.87 | 1.46 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 145 | 0.0600 | 0.0700 | 0.0600 | 9.12 | 1.51 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 108 | 0.0736 | 0.0652 | 0.0792 | 9.7 | 1.64 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 191 | 0.0696 | 0.0639 | 0.0568 | 10.1 | 1.68 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 132 | 0.1400 | 0.1200 | 0.1200 | 9.12 | 1.68 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 205 | 0.0920 | 0.0910 | 0.0760 | 10.4 | 1.8 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.0678 | 0.0739 | 0.0839 | 10.8 | 1.84 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 201 | 0.2900 | 0.3400 | 0.3600 | 10.9 | 2.32 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 109 | 0.0690 | 0.0900 | 0.0750 | 13.9 | 2.37 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.0900 | 0.0900 | 0.0700 | 13.9 | 2.39 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 131 | 0.0800 | 0.0500 | 0.0700 | 22.9 | 3.83 | 5.29 | 0.75 | 74 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 155 | 0.0720 | 0.0900 | 0.1120 | 21.9 | 3.84 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 172 | 0.0951 | 0.1550 | 0.0864 | 33.3 | 6.01 | 5.29 | 0.75 | 74 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 149 | 0.0810 | 0.0770 | 0.0081 | 74 | 12.02 | 5.29 | 0.75 | 74 | 0 |

Lab

Population of Lab RSDr

Δ9-THCA (%AR)

| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 178 | 0.1200 |  |  |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0750 | <0.0750 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 123 | <0.0940 | 0.1070 | <0.0890 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0923 | 0.0925 | 0.0925 | 0.12 | 0.02 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 137 | 0.0788 | 0.0787 | 0.0783 | 0.34 | 0.06 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.1023 | 0.1013 | 0.1033 | 0.98 | 0.17 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 159 | 0.0983 | 0.0984 | 0.0966 | 1.03 | 0.18 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | 0.0957 | 0.0945 | 0.0931 | 1.38 | 0.24 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 204 | 0.0903 | 0.0921 | 0.0935 | 1.74 | 0.31 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 172 | 0.0870 | 0.0840 | 0.0860 | 1.78 | 0.31 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 186 | 0.0843 | 0.0821 | 0.0853 | 1.95 | 0.34 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 154 | 0.1012 | 0.0997 | 0.1038 | 2.04 | 0.36 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 155 | 0.0850 | 0.0820 | 0.0820 | 2.09 | 0.36 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 168 | 0.0791 | 0.0757 | 0.0784 | 2.31 | 0.39 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.0800 | 0.0820 | 0.0780 | 2.5 | 0.43 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 195 | 0.0818 | 0.0816 | 0.0782 | 2.51 | 0.43 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 200 | 0.0738 | 0.0708 | 0.0704 | 2.59 | 0.44 | 5.1 | 0.12 | 108 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | 0.0770 | 0.0755 | 0.0730 | 2.69 | 0.46 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 164 | 0.0874 | 0.0922 | 0.0906 | 2.71 | 0.47 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 162 | 0.0811 | 0.0794 | 0.0766 | 2.88 | 0.49 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 113 | 0.0731 | 0.0726 | 0.0691 | 3.04 | 0.51 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 109 | 0.0890 | 0.0940 | 0.0940 | 3.13 | 0.55 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 202 | 0.0700 | 0.0716 | 0.0746 | 3.24 | 0.55 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.60 | NIR | 187 | 0.0742 | 0.0732 | 0.0697 | 3.27 | 0.55 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 194 | 0.0821 | 0.0874 | 0.0837 | 3.22 | 0.56 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 119 | 0.0927 | 0.0868 | 0.0896 | 3.29 | 0.57 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0.0707 | 0.0760 | 0.0747 | 3.74 | 0.63 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | 0.0700 | 0.0749 | 0.0704 | 3.79 | 0.64 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | 0.0580 | 0.0543 | 0.0530 | 4.71 | 0.76 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 150 | 0.0700 | 0.0733 | 0.0767 | 4.57 | 0.77 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 141 | 0.0701 | 0.0710 | 0.0651 | 4.62 | 0.78 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 156 | 0.0894 | 0.0973 | 0.0975 | 4.88 | 0.86 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | 0.1560 | 0.1420 | 0.1490 | 4.7 | 0.88 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | 0.1068 | 0.0972 | 0.0991 | 5.03 | 0.89 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 172 | 0.1076 | 0.1098 | 0.0997 | 5.02 | 0.9 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 191 | 0.0854 | 0.0949 | 0.0895 | 5.3 | 0.93 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 165 | 0.0915 | 0.0884 | 0.0821 | 5.48 | 0.95 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | 0.0860 | 0.0800 | 0.0770 | 5.66 | 0.97 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 161 | 0.0655 | 0.0700 | 0.0737 | 5.89 | 0.99 | 5.1 | 0.12 | 108 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 108 | 0.0867 | 0.0848 | 0.0946 | 5.86 | 1.02 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 103 | 0.0795 | 0.0839 | 0.0744 | 6 | 1.03 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 145 | 0.1000 | 0.1000 | 0.0900 | 5.97 | 1.05 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.0764 | 0.0673 | 0.0728 | 6.35 | 1.07 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, | 139 | 0.0914 | 0.0993 | 0.1032 | 6.14 | 1.09 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 120 | 0.0791 | 0.0888 | 0.0885 | 6.45 | 1.12 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 198 | 0.0674 | 0.0730 | 0.0631 | 7.32 | 1.22 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 205 | 0.0660 | 0.0760 | 0.0750 | 7.61 | 1.29 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.1010 | 0.0880 | 0.0870 | 8.49 | 1.49 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.0748 | 0.0889 | 0.0843 | 8.7 | 1.5 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 124 | 0.0456 | 0.0544 | 0.0542 | 9.77 | 1.57 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 182 | 0.0936 | 0.0788 | 0.0795 | 9.94 | 1.72 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 131 | 0.0800 | 0.0900 | 0.1000 | 11.1 | 1.94 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 132 | 0.0500 | 0.0400 | 0.0500 | 12.4 | 1.96 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | 0.1080 | 0.0870 | 0.0850 | 13.7 | 2.4 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 152 | 0.0683 | 0.0849 | 0.0975 | 17.5 | 3.03 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 188 | 0.1029 | 0.0849 | 0.0709 | 18.6 | 3.23 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.1500 | 0.1500 | 0.1000 | 21.7 | 4.01 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.1089 | 0.1137 | 0.0600 | 31.5 | 5.55 | 5.1 | 0.12 | 108 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 201 | 0.0000 | 0.0400 | 0.1000 | 108 | 17.07 | 5.1 | 0.12 | 108 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.10 | Other LC-UV | 178 | 1.3600 |  |  |  |  |  |  |  | 1 |
| CBD (%AR) | 003.10 | Other LC-UV | 123 | 1.9560 | 1.9540 | 1.9560 | 0.06 | 0.02 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 2.0160 | 2.0130 | 2.0150 | 0.08 | 0.02 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 1.7344 | 1.7475 | 1.7401 | 0.38 | 0.1 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 1.9856 | 1.9673 | 1.9752 | 0.46 | 0.13 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.99 | Other | 154 | 1.5403 | 1.5277 | 1.5418 | 0.5 | 0.13 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 164 | 1.7672 | 1.7584 | 1.7790 | 0.58 | 0.16 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 119 | 1.9479 | 1.9664 | 1.9686 | 0.58 | 0.16 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.99 | Other | 137 | 1.8300 | 1.8300 | 1.8100 | 0.63 | 0.17 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 108 | 1.6320 | 1.6120 | 1.6300 | 0.68 | 0.18 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 113 | 1.9000 | 1.8864 | 1.8723 | 0.73 | 0.2 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 204 | 1.7619 | 1.7922 | 1.7783 | 0.85 | 0.23 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 1.7115 | 1.6875 | 1.6860 | 0.84 | 0.23 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.60 | NIR | 187 | 1.4587 | 1.4391 | 1.4335 | 0.92 | 0.24 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 155 | 1.4860 | 1.4970 | 1.5160 | 1.01 | 0.27 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 1.9340 | 1.9607 | 1.9165 | 1.15 | 0.32 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 203 | 1.7410 | 1.7750 | 1.7800 | 1.2 | 0.33 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 156 | 2.2118 | 2.1616 | 2.2048 | 1.24 | 0.35 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 159 | 1.5400 | 1.5400 | 1.5000 | 1.51 | 0.4 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 150 | 1.7000 | 1.7333 | 1.7500 | 1.47 | 0.4 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.99 | Other | 205 | 1.7650 | 1.7850 | 1.7310 | 1.55 | 0.42 | 2.94 | 0.06 | 16.5 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 2.0387 | 2.0258 | 2.0880 | 1.6 | 0.45 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 1.5572 | 1.5728 | 1.5074 | 2.21 | 0.59 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 1.7943 | 1.7179 | 1.7506 | 2.19 | 0.6 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 1.9394 | 1.8562 | 1.8939 | 2.2 | 0.61 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 186 | 1.8233 | 1.7497 | 1.7560 | 2.3 | 0.63 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 131 | 1.9200 | 2.0100 | 1.9500 | 2.34 | 0.65 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 162 | 1.8951 | 1.9285 | 1.9929 | 2.56 | 0.71 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.99 | Other | 172 | 1.9557 | 1.9920 | 2.0614 | 2.68 | 0.75 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 195 | 1.7228 | 1.6668 | 1.7676 | 2.94 | 0.8 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 200 | 1.5189 | 1.6008 | 1.6039 | 3.06 | 0.82 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, | 139 | 1.6194 | 1.6023 | 1.5255 | 3.16 | 0.85 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 1.8415 | 1.9409 | 1.9827 | 3.77 | 1.04 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 145 | 1.7600 | 1.7600 | 1.8800 | 3.85 | 1.05 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 191 | 1.6863 | 1.8034 | 1.6878 | 3.89 | 1.06 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 1.9380 | 1.9140 | 1.7940 | 4.1 | 1.13 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 1.9280 | 1.8250 | 1.7780 | 4.16 | 1.14 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 172 | 1.7850 | 1.9400 | 1.8570 | 4.17 | 1.15 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 2.1300 | 2.2300 | 2.0400 | 4.46 | 1.25 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 1.5680 | 1.7180 | 1.6180 | 4.67 | 1.26 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 141 | 1.4407 | 1.5694 | 1.4358 | 5.11 | 1.36 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 188 | 1.7918 | 1.9758 | 1.8589 | 4.96 | 1.37 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 152 | 2.1817 | 1.9721 | 2.0552 | 5.1 | 1.43 | 2.94 | 0.06 | 16.5 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 168 | 1.7091 | 1.9020 | 1.7911 | 5.38 | 1.47 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 161 | 1.4121 | 1.5351 | 1.5884 | 5.98 | 1.59 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 1.8000 | 1.6000 | 1.7000 | 5.88 | 1.6 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 132 | 1.9308 | 1.7589 | 1.7357 | 5.89 | 1.61 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.99 | Other | 132 | 1.9800 | 1.7900 | 1.7900 | 5.92 | 1.63 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 198 | 3.3810 | 3.6181 | 3.2089 | 6.04 | 1.82 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 202 | 1.3556 | 1.3965 | 1.5451 | 6.96 | 1.84 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 109 | 1.6810 | 1.8980 | 1.8950 | 6.82 | 1.87 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 201 | 5.2500 | 4.4900 | 5.0400 | 7.97 | 2.54 | 2.94 | 0.06 | 16.5 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 107 | 4.0220 | 3.7478 | 5.0882 | 16.5 | 5.15 | 2.94 | 0.06 | 16.5 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.10 | Other LC-UV | 178 | 3.8700 |  |  |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.30 | Other LC-MS | 156 | 3.6502 | 3.6612 | 3.6679 | 0.24 | 0.07 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 108 | 3.1990 | 3.1950 | 3.1790 | 0.33 | 0.1 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 3.5900 | 3.5965 | 3.5680 | 0.42 | 0.13 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 200 | 3.3892 | 3.3604 | 3.3560 | 0.54 | 0.16 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.99 | Other | 137 | 3.7800 | 3.7600 | 3.7400 | 0.53 | 0.16 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.99 | Other | 205 | 3.7690 | 3.7470 | 3.7220 | 0.63 | 0.19 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.60 | NIR | 187 | 4.0501 | 4.1000 | 4.0536 | 0.68 | 0.21 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.99 | Other | 154 | 2.6576 | 2.6168 | 2.6265 | 0.81 | 0.23 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 4.1786 | 4.2528 | 4.2237 | 0.89 | 0.28 | 2.86 | 0.24 | 10.1 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 3.2760 | 3.3390 | 3.3080 | 0.95 | 0.29 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 204 | 3.8332 | 3.8332 | 3.9012 | 1.02 | 0.31 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.01 | AOAC 2018.10 | 168 | 3.7621 | 3.8229 | 3.7400 | 1.14 | 0.35 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 150 | 3.4000 | 3.4333 | 3.3500 | 1.24 | 0.37 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 3.8307 | 3.7596 | 3.8520 | 1.27 | 0.39 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 164 | 4.1969 | 4.1876 | 4.2896 | 1.33 | 0.42 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 3.9736 | 3.9832 | 3.8844 | 1.38 | 0.43 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 3.6481 | 3.6635 | 3.7516 | 1.51 | 0.46 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, | 139 | 3.1652 | 3.1502 | 3.0725 | 1.59 | 0.47 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 123 | 3.9310 | 3.8370 | 3.9470 | 1.52 | 0.47 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 186 | 3.9666 | 3.9044 | 4.0314 | 1.6 | 0.49 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 159 | 4.1200 | 4.1100 | 4.0000 | 1.63 | 0.51 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.01 | AOAC 2018.10 | 155 | 3.4650 | 3.5130 | 3.3970 | 1.69 | 0.51 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 145 | 4.4500 | 4.3100 | 4.3600 | 1.62 | 0.51 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 195 | 3.8455 | 3.7708 | 3.9158 | 1.89 | 0.58 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 162 | 4.0702 | 4.1804 | 4.2367 | 2.03 | 0.63 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 152 | 3.6539 | 3.8120 | 3.8009 | 2.35 | 0.72 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.01 | AOAC 2018.10 | 131 | 4.1600 | 4.3600 | 4.2400 | 2.37 | 0.74 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | 4.0505 | 3.9752 | 3.8576 | 2.45 | 0.76 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 3.1068 | 2.9670 | 2.9776 | 2.58 | 0.76 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.99 | Other | 172 | 4.0302 | 4.0132 | 4.2167 | 2.76 | 0.86 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 3.8699 | 4.0666 | 4.0808 | 2.94 | 0.91 | 2.86 | 0.24 | 10.1 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 2.4277 | 2.2811 | 2.4062 | 3.34 | 0.95 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 203 | 4.2650 | 4.2370 | 4.0080 | 3.38 | 1.05 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 172 | 3.8070 | 3.9630 | 4.0820 | 3.49 | 1.08 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 119 | 3.8267 | 3.5906 | 3.6010 | 3.63 | 1.11 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 191 | 3.8888 | 4.1552 | 3.8880 | 3.87 | 1.19 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 4.3490 | 4.2480 | 4.0070 | 4.18 | 1.3 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 141 | 3.3895 | 3.6476 | 3.3429 | 4.74 | 1.43 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 194 | 4.0884 | 4.3683 | 3.9761 | 4.87 | 1.51 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 3.1960 | 3.5330 | 3.2450 | 5.48 | 1.64 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 198 | 1.8615 | 1.9668 | 1.7385 | 6.16 | 1.69 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 202 | 3.2419 | 3.2852 | 3.6112 | 5.97 | 1.8 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 161 | 2.7172 | 2.9622 | 3.0863 | 6.43 | 1.89 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 3.8000 | 3.4000 | 3.8000 | 6.3 | 1.92 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 201 | 13.3100 | 12.1900 | 13.4200 | 5.25 | 1.93 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 109 | 4.1220 | 4.6950 | 4.4820 | 6.53 | 2.05 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | 4.2280 | 3.7840 | 3.6990 | 7.28 | 2.24 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 188 | 4.2755 | 4.3314 | 3.7074 | 8.41 | 2.61 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.99 | Other | 132 | 3.3100 | 2.8900 | 2.8000 | 9.07 | 2.68 | 2.86 | 0.24 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 4.6100 | 4.7600 | 3.9200 | 10.1 | 3.17 | 2.86 | 0.24 | 10.1 | 0 |
|  |  |  |  | CBN (%AR) |  |  |  |  |  |  |  |  |
| CBN (%AR) | 005.10 | Other LC-UV | 178 | 0.0100 |  |  |  |  |  |  |  | 1 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 107 | 0.0000 | 0.0000 | 0.0000 | 0 |  | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 116 | <0.0400 | <0.0400 | 0.0427 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.20 | Other LC-MS | 188 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | <0.0400 | <0.0400 | <0.0400 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.01 | AOAC 2018.10 | 168 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 109 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 123 | <0.0940 | <0.0920 | <0.0890 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.99 | Other | 137 | <0.0292 | <0.0291 | <0.0298 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 108 | <0.0030 | <0.0030 | <0.0030 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | <0.0240 | <0.0250 | <0.0250 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.30 | GC-FID | 185 | <0.1000 | <0.0100 | <0.0300 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 145 | <0.2500 | <0.2500 | <0.2500 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.01 | AOAC 2018.10 | 131 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 194 | <0.0239 | <0.0239 | <0.0239 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 141 | <0.0120 | <0.0120 | <0.0120 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 125 | 0.0164 | <0.0020 | 0.0121 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.99 | Other | 132 | 0.0100 | 0.0100 | 0.0100 | 0 | 0 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.0260 | 0.0260 | 0.0260 | 0 | 0 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 186 | 0.0115 | 0.0113 | 0.0113 | 1.02 | 0.13 | 6.37 | 0 | 34.6 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.20 | Other LC-MS | 119 | 0.0139 | 0.0138 | 0.0141 | 1.1 | 0.14 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 122 | 0.0100 | 0.0101 | 0.0098 | 1.53 | 0.19 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.99 | Other | 154 | 0.0187 | 0.0192 | 0.0188 | 1.4 | 0.19 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 204 | 0.0119 | 0.0116 | 0.0119 | 1.47 | 0.19 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 200 | 0.0142 | 0.0137 | 0.0141 | 1.89 | 0.25 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 162 | 0.0101 | 0.0106 | 0.0102 | 2.57 | 0.32 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 202 | 0.0094 | 0.0098 | 0.0100 | 3.14 | 0.39 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 156 | 0.0173 | 0.0170 | 0.0180 | 2.94 | 0.4 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 159 | 0.0150 | 0.0156 | 0.0146 | 3.34 | 0.45 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0169 | 0.0181 | 0.0175 | 3.43 | 0.47 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 195 | 0.0118 | 0.0129 | 0.0128 | 4.87 | 0.63 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.0092 | 0.0100 | 0.0106 | 7.07 | 0.89 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | 0.0100 | 0.0097 | 0.0115 | 9.27 | 1.17 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.01 | AOAC 2018.10 | 155 | 0.0180 | 0.0210 | 0.0210 | 8.66 | 1.21 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0107 | 0.0107 | 0.0126 | 9.68 | 1.24 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 149 | 0.0130 | 0.0110 | 0.0110 | 9.9 | 1.27 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 132 | 0.0108 | 0.0103 | 0.0127 | 11.2 | 1.44 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, | 139 | 0.0117 | 0.0096 | 0.0093 | 12.8 | 1.61 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 198 | 0.0310 | 0.0351 | 0.0282 | 11 | 1.65 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 203 | 0.0060 | 0.0070 | 0.0050 | 16.7 | 1.94 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.99 | Other | 205 | 0.0080 | 0.0100 | 0.0120 | 20 | 2.51 | 6.37 | 0 | 34.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.0200 | 0.0200 | 0.0100 | 34.6 | 4.7 | 6.37 | 0 | 34.6 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0124 | 0.0257 | 0.0202 | 34.4 | 4.77 | 6.37 | 0 | 34.6 | 0 |

Lab

Population of Lab RSDr

|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 178 | 0.1700 |  |  |  |  |  |  |  | 1 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 123 | <0.0940 | 0.0930 | <0.0890 |  |  |  |  |  | 1 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 185 | <0.0350 | <0.1000 | <0.0400 |  |  |  |  |  | 1 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | <0.0750 | <0.0750 | <0.0750 |  |  |  |  |  | 1 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 190 | 0.1698 | 0.1706 | 0.1707 | 0.29 | 0.06 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 168 | 0.1487 | 0.1477 | 0.1476 | 0.41 | 0.08 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.1765 | 0.1785 | 0.1757 | 0.82 | 0.16 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 200 | 0.1426 | 0.1416 | 0.1402 | 0.85 | 0.16 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.1804 | 0.1795 | 0.1774 | 0.86 | 0.17 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 194 | 0.1608 | 0.1628 | 0.1638 | 0.94 | 0.18 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 172 | 0.1573 | 0.1587 | 0.1604 | 0.98 | 0.19 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 187 | 0.1558 | 0.1538 | 0.1526 | 1.05 | 0.2 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.1521 | 0.1554 | 0.1533 | 1.09 | 0.21 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.1594 | 0.1567 | 0.1555 | 1.27 | 0.24 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 186 | 0.1518 | 0.1481 | 0.1515 | 1.37 | 0.26 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 204 | 0.1657 | 0.1650 | 0.1692 | 1.35 | 0.26 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 154 | 0.1741 | 0.1718 | 0.1767 | 1.41 | 0.27 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 150 | 0.1664 | 0.1610 | 0.1639 | 1.65 | 0.32 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1286 | 0.1274 | 0.1322 | 1.93 | 0.36 | 4.43 | 0.29 | 20 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 159 | 0.1590 | 0.1570 | 0.1530 | 1.95 | 0.37 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 164 | 0.1514 | 0.1554 | 0.1574 | 1.97 | 0.37 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.1384 | 0.1437 | 0.1374 | 2.42 | 0.45 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 128 | 0.2128 | 0.2047 | 0.2044 | 2.3 | 0.45 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.1465 | 0.1422 | 0.1395 | 2.47 | 0.46 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.1313 | 0.1253 | 0.1258 | 2.61 | 0.48 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 162 | 0.1512 | 0.1585 | 0.1579 | 2.6 | 0.49 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 141 | 0.1177 | 0.1243 | 0.1191 | 2.89 | 0.53 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.2060 | 0.1950 | 0.2010 | 2.74 | 0.54 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 119 | 0.1670 | 0.1585 | 0.1661 | 2.85 | 0.54 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, | 139 | 0.1656 | 0.1752 | 0.1724 | 2.89 | 0.55 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.1745 | 0.1682 | 0.1787 | 3.04 | 0.59 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 165 | 0.1600 | 0.1665 | 0.1564 | 3.18 | 0.61 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.1800 | 0.1800 | 0.1900 | 3.15 | 0.61 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.2103 | 0.1986 | 0.2116 | 3.46 | 0.68 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 112 | 0.1600 | 0.1500 | 0.1500 | 3.77 | 0.71 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.1715 | 0.1668 | 0.1586 | 3.94 | 0.75 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 202 | 0.1208 | 0.1237 | 0.1313 | 4.33 | 0.79 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 191 | 0.1445 | 0.1471 | 0.1353 | 4.36 | 0.81 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 124 | 0.1014 | 0.1120 | 0.1090 | 5.08 | 0.91 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 205 | 0.1500 | 0.1570 | 0.1420 | 5.01 | 0.95 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.1233 | 0.1357 | 0.1241 | 5.43 | 1 | 4.43 | 0.29 | 20 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 156 | 0.1761 | 0.1951 | 0.1909 | 5.33 | 1.04 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 198 | 0.1396 | 0.1497 | 0.1343 | 5.54 | 1.04 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.1570 | 0.1500 | 0.1400 | 5.73 | 1.08 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 161 | 0.1149 | 0.1293 | 0.1246 | 5.97 | 1.09 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 120 | 0.1385 | 0.1500 | 0.1557 | 5.92 | 1.11 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.1359 | 0.1539 | 0.1499 | 6.45 | 1.21 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 152 | 0.1567 | 0.1624 | 0.1769 | 6.3 | 1.21 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 145 | 0.1500 | 0.1400 | 0.1600 | 6.67 | 1.26 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.1690 | 0.1510 | 0.1500 | 6.83 | 1.3 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 203 | 0.1500 | 0.1400 | 0.1300 | 7.14 | 1.33 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 132 | 0.1800 | 0.1600 | 0.1600 | 6.93 | 1.33 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 131 | 0.1600 | 0.1400 | 0.1600 | 7.53 | 1.42 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 108 | 0.1497 | 0.1395 | 0.1622 | 7.56 | 1.43 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 182 | 0.1621 | 0.1435 | 0.1413 | 7.67 | 1.44 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.1760 | 0.1540 | 0.1550 | 7.68 | 1.47 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 109 | 0.1470 | 0.1720 | 0.1580 | 7.88 | 1.5 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.1461 | 0.1662 | 0.1700 | 7.99 | 1.52 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.1143 | 0.1002 | 0.1186 | 8.67 | 1.56 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 138 | 0.2550 | 0.2800 | 0.2400 | 7.82 | 1.6 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 121 | 0.1640 | 0.1630 | 0.1890 | 8.56 | 1.65 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 188 | 0.1548 | 0.1360 | 0.1305 | 9.07 | 1.69 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.1224 | 0.1058 | 0.1270 | 9.42 | 1.71 | 4.43 | 0.29 | 20 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 155 | 0.1440 | 0.1640 | 0.1730 | 9.26 | 1.76 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.1785 | 0.1845 | 0.1322 | 17.3 | 3.32 | 4.43 | 0.29 | 20 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 172 | 0.1895 | 0.2514 | 0.1739 | 20 | 3.95 | 4.43 | 0.29 | 20 | 0 |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.10 | Other LC-UV | 178 | 5.2300 |  |  |  |  |  |  |  | 1 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 5.6040 | 5.5859 | 5.5981 | 0.16 | 0.05 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 108 | 4.4380 | 4.4140 | 4.4180 | 0.29 | 0.09 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 4.8599 | 4.8416 | 4.8151 | 0.46 | 0.15 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 187 | 5.0106 | 5.0348 | 4.9885 | 0.46 | 0.15 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 156 | 5.4111 | 5.3698 | 5.4208 | 0.5 | 0.16 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.99 | Other | 154 | 3.8710 | 3.8226 | 3.8452 | 0.63 | 0.19 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 200 | 4.4912 | 4.5479 | 4.5471 | 0.72 | 0.23 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 150 | 4.6818 | 4.7444 | 4.6880 | 0.73 | 0.23 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 204 | 5.1236 | 5.1539 | 5.1997 | 0.74 | 0.24 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 205 | 5.0710 | 5.0700 | 4.9960 | 0.85 | 0.27 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 5.3452 | 5.2645 | 5.3534 | 0.92 | 0.3 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 123 | 5.4030 | 5.3190 | 5.4180 | 0.99 | 0.32 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 138 | 7.9000 | 7.7550 | 7.8600 | 0.96 | 0.33 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 4.9337 | 4.9604 | 5.0367 | 1.07 | 0.34 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 164 | 5.4478 | 5.4309 | 5.5410 | 1.08 | 0.35 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 4.9610 | 5.0710 | 5.0160 | 1.1 | 0.35 | 2.76 | 0.16 | 7.78 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 5.5910 | 5.5120 | 5.4711 | 1.1 | 0.36 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 5.4196 | 5.4548 | 5.3239 | 1.25 | 0.4 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 159 | 5.1500 | 5.1400 | 5.0300 | 1.3 | 0.42 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 186 | 5.3021 | 5.1738 | 5.2915 | 1.35 | 0.44 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 152 | 5.4657 | 5.3151 | 5.3885 | 1.4 | 0.45 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 145 | 5.6600 | 5.5400 | 5.7000 | 1.48 | 0.48 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 3.6863 | 3.5733 | 3.6176 | 1.57 | 0.48 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 203 | 5.4800 | 5.4900 | 5.3000 | 1.97 | 0.64 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 119 | 5.3039 | 5.1154 | 5.1267 | 2.04 | 0.65 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, | 139 | 4.3953 | 4.3650 | 4.2201 | 2.16 | 0.68 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 162 | 5.4687 | 5.5989 | 5.7127 | 2.18 | 0.71 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 4.5190 | 4.3200 | 4.3620 | 2.38 | 0.75 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.01 | AOAC 2018.10 | 131 | 5.5700 | 5.8300 | 5.6700 | 2.3 | 0.75 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.01 | AOAC 2018.10 | 168 | 4.9821 | 5.2279 | 5.0449 | 2.51 | 0.8 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.99 | Other | 172 | 5.4911 | 5.5125 | 5.7604 | 2.68 | 0.87 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 6.1606 | 5.8331 | 6.1010 | 2.89 | 0.95 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.01 | AOAC 2018.10 | 155 | 4.4900 | 4.5200 | 4.2600 | 3.22 | 1.01 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 172 | 5.1237 | 5.4156 | 5.4369 | 3.29 | 1.06 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 191 | 3.4105 | 3.6441 | 3.4098 | 3.87 | 1.17 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 4.8032 | 5.1256 | 4.7921 | 3.86 | 1.23 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 5.7520 | 5.6390 | 5.3080 | 4.15 | 1.34 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 141 | 4.4132 | 4.7683 | 4.3675 | 4.86 | 1.53 | 2.76 | 0.16 | 7.78 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.10 | Other LC-UV | 194 | 5.5407 | 5.8592 | 5.3388 | 4.7 | 1.53 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 4.3710 | 4.8160 | 4.4630 | 5.16 | 1.62 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 5.1330 | 4.5820 | 5.0330 | 5.97 | 1.9 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 198 | 5.0136 | 5.3430 | 4.7335 | 6.07 | 1.94 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 161 | 3.7951 | 4.1329 | 4.2950 | 6.26 | 1.94 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 202 | 4.1987 | 4.2776 | 4.7121 | 6.29 | 1.97 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 5.6360 | 5.1440 | 5.0220 | 6.17 | 1.98 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 188 | 5.5410 | 5.7740 | 5.1100 | 6.15 | 1.99 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 109 | 5.2970 | 6.0160 | 5.8250 | 6.52 | 2.12 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 185 | 5.9760 | 6.6400 | 6.7500 | 6.49 | 2.15 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 5.7020 | 6.2754 | 6.5097 | 6.74 | 2.22 | 2.76 | 0.16 | 7.78 | 0 |
| Total CBD (%AR) | 007.99 | Other | 132 | 4.8800 | 4.3200 | 4.2400 | 7.78 | 2.44 | 2.76 | 0.16 | 7.78 | 0 |

Lab

Population of Lab RSDr

CBDV (%AR)

| CBDV (%AR) | 008.99 | Other | 202 | <0.0003 | <0.0003 | <0.0003 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 200 | <0.0025 | <0.0025 | <0.0025 | 1 |
| CBDV (%AR) | 008.99 | Other | 132 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBDV (%AR) | 008.99 | Other | 195 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBDV (%AR) | 008.99 | Other | 109 | <0.0500 | <0.0500 | <0.0500 | 1 |
| CBDV (%AR) | 008.99 | Other | 189 | <0.0050 | <0.0050 | <0.0050 | 1 |
| CBDV (%AR) | 008.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBDV (%AR) | 008.99 | Other | 106 | <0.0100 | <0.0100 | 0.0200 | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 197 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 188 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 203 | 0.0000 | 0.0000 | 0.0000 | 0 |  | 0 |
| CBDV (%AR) | 008.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 186 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 108 | <0.0050 | <0.0050 | <0.0050 |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 194 | <0.0239 | <0.0239 | <0.0239 |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 149 | 0.0040 | 0.0040 | 0.0040 | 0 | 0 | 0 |
| CBDV (%AR) | 008.99 | Other | 159 | 0.0115 | 0.0113 | 0.0112 | 1.35 | 0.17 | 0 |
| CBDV (%AR) | 008.99 | Other | 205 | 0.0190 | 0.0240 | 0.0190 | 14 | 1.96 | 0 |

Lab

Population of Lab RSDr

CBDVA (%AR)

| CBDVA (%AR) | 009.01 | AOAC 2018.10 | 131 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  |  | 1 |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, U | 108 | <0.0016 | <0.0016 | <0.0016 |  |  |  |  |  | 1 |
| CBDVA (%AR) | 009.99 | Other | 154 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBDVA (%AR) | 009.01 | AOAC 2018.10 | 168 | 0.0354 | 0.0379 | 0.0355 | 3.9 | 0.59 | 7.22 | 3.9 | 134 | 0 |
| CBDVA (%AR) | 009.99 | Other | 159 | 0.0145 | 0.0132 | 0.0138 | 4.7 | 0.62 | 7.22 | 3.9 | 134 | 0 |
| CBDVA (%AR) | 009.99 | Other | 149 | 0.0110 | 0.0100 | 0.0100 | 5.59 | 0.71 | 7.22 | 3.9 | 134 | 0 |
| CBDVA (%AR) | 009.99 | Other | 186 | 0.0425 | 0.0407 | 0.0466 | 6.99 | 1.09 | 7.22 | 3.9 | 134 | 0 |
| CBDVA (%AR) | 009.01 | AOAC 2018.10 | 155 | 0.0210 | 0.0220 | 0.0250 | 9.18 | 1.3 | 7.22 | 3.9 | 134 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 203 | 0.0000 | 0.0210 | 0.1100 | 134 | 20.95 | 7.22 | 3.9 | 134 | 0 |

Lab

Population of Lab RSDr

|  |  |  |  | CBG (%AR) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 109 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 186 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 188 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 154 | <0.0700 | <0.0700 | <0.0700 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 197 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 123 | <0.0940 | <0.0920 | <0.0890 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 194 | <0.0724 | <0.0724 | <0.0724 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 141 | <0.0120 | <0.0120 | <0.0120 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.01 | AOAC 2018.10 | 131 | <0.0200 | <0.0300 | <0.0200 |  |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 132 | 0.0200 | 0.0200 | 0.0200 | 0 | 0 | 7.53 | 0 | 38.3 | 0 |
| CBG (%AR) | 010.99 | Other | 159 | 0.0272 | 0.0278 | 0.0269 | 1.68 | 0.25 | 7.53 | 0 | 38.3 | 0 |
| CBG (%AR) | 010.99 | Other | 195 | 0.0306 | 0.0296 | 0.0295 | 2.03 | 0.3 | 7.53 | 0 | 38.3 | 0 |
| CBG (%AR) | 010.99 | Other | 119 | 0.0334 | 0.0329 | 0.0343 | 2.12 | 0.32 | 7.53 | 0 | 38.3 | 0 |
| CBG (%AR) | 010.99 | Other | 203 | 0.0220 | 0.0210 | 0.0210 | 2.71 | 0.38 | 7.53 | 0 | 38.3 | 0 |
| CBG (%AR) | 010.99 | Other | 202 | 0.0414 | 0.0447 | 0.0426 | 3.89 | 0.61 | 7.53 | 0 | 38.3 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 152 | 0.0651 | 0.0647 | 0.0607 | 3.83 | 0.63 | 7.53 | 0 | 38.3 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 108 | 0.0452 | 0.0492 | 0.0486 | 4.53 | 0.72 | 7.53 | 0 | 38.3 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 200 | 0.0906 | 0.0821 | 0.0851 | 5.02 | 0.87 | 7.53 | 0 | 38.3 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.0300 | 0.0300 | 0.0270 | 5.97 | 0.88 | 7.53 | 0 | 38.3 | 0 |
| CBG (%AR) | 010.99 | Other | 142 | 0.0220 | 0.0205 | 0.0191 | 7.06 | 0.99 | 7.53 | 0 | 38.3 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.0794 | 0.0689 | 0.0720 | 7.35 | 1.24 | 7.53 | 0 | 38.3 | 0 |
| CBG (%AR) | 010.99 | Other | 162 | 0.0418 | 0.0359 | 0.0362 | 8.75 | 1.34 | 7.53 | 0 | 38.3 | 0 |
| CBG (%AR) | 010.99 | Other | 204 | 0.0370 | 0.0463 | 0.0368 | 13.6 | 2.1 | 7.53 | 0 | 38.3 | 0 |
| CBG (%AR) | 010.01 | AOAC 2018.10 | 155 | 0.0400 | 0.0350 | 0.0290 | 15.9 | 2.4 | 7.53 | 0 | 38.3 | 0 |
| CBG (%AR) | 010.01 | AOAC 2018.10 | 168 | 0.0460 | 0.0576 | 0.0429 | 15.9 | 2.53 | 7.53 | 0 | 38.3 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.0416 | 0.0425 | 0.0240 | 28.9 | 4.41 | 7.53 | 0 | 38.3 | 0 |
| CBG (%AR) | 010.99 | Other | 205 | 0.0250 | 0.0190 | 0.0110 | 38.3 | 5.27 | 7.53 | 0 | 38.3 | 0 |

Lab

Population of Lab RSDr

CBGA (%AR)

| CBGA (%AR) | 011.99 | Other | 132 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 188 | 0.0539 | 0.0601 | <0.0500 |  |  |  |  |  | 1 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 108 | <0.0008 | <0.0008 | <0.0008 |  |  |  |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 197 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 109 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 123 | <0.0940 | <0.0920 | <0.0890 |  |  |  |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 194 | <0.0724 | <0.0724 | <0.0724 |  |  |  |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 204 | 0.0638 | 0.0642 | 0.0635 | 0.55 | 0.09 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | 0.0587 | 0.0583 | 0.0592 | 0.77 | 0.13 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 154 | 0.0894 | 0.0890 | 0.0869 | 1.52 | 0.26 | 8.01 | 0.55 | 26.6 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 196 | 0.0454 | 0.0474 | 0.0458 | 2.29 | 0.36 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 186 | 0.0564 | 0.0546 | 0.0570 | 2.23 | 0.36 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 195 | 0.0554 | 0.0578 | 0.0559 | 2.25 | 0.37 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 159 | 0.0324 | 0.0330 | 0.0311 | 3.02 | 0.45 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 202 | 0.0453 | 0.0447 | 0.0488 | 4.79 | 0.76 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.0605 | 0.0650 | 0.0591 | 5.01 | 0.83 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.01 | AOAC 2018.10 | 155 | 0.0410 | 0.0450 | 0.0400 | 6.3 | 0.98 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 203 | 0.0650 | 0.0610 | 0.0570 | 6.56 | 1.08 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 205 | 0.0520 | 0.0530 | 0.0590 | 6.93 | 1.12 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 149 | 0.0440 | 0.0410 | 0.0350 | 11.5 | 1.77 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 141 | 0.0340 | 0.0298 | 0.0266 | 12.3 | 1.83 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 152 | 0.0532 | 0.0483 | 0.0607 | 11.6 | 1.87 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 162 | 0.0642 | 0.0676 | 0.0524 | 13 | 2.14 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.01 | AOAC 2018.10 | 168 | 0.0580 | 0.0734 | 0.0586 | 13.8 | 2.28 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 142 | 0.0812 | 0.0745 | 0.1109 | 21.8 | 3.8 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.01 | AOAC 2018.10 | 131 | 0.0600 | 0.0500 | 0.0800 | 24.1 | 4 | 8.01 | 0.55 | 26.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 106 | 0.0500 | 0.0500 | 0.0300 | 26.6 | 4.17 | 8.01 | 0.55 | 26.6 | 0 |
|  |  |  |  | THCV (%AR) |  |  |  |  |  |  |  |  |
| THCV (%AR) | 012.99 | Other | 132 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 188 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.02 | AOAC 2018.11, U | 108 | <0.0051 | <0.0051 | <0.0051 |  |  |  |  |  | 1 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 154 | <0.0150 | <0.0150 | <0.0150 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| THCV (%AR) | 012.03 | AOAC 2018.11, | 159 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 149 | <0.0240 | <0.0250 | <0.0250 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 186 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 195 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 123 | <0.0940 | <0.0920 | <0.0890 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 203 | 0.0000 | 0.0000 | 0.0000 | 0 |  | 0 |
| THCV (%AR) | 012.99 | Other | 194 | <0.0239 | <0.0239 | <0.0239 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 202 | <0.0003 | <0.0003 | <0.0003 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 168 | <0.0250 | <0.0250 | <0.0250 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 109 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 197 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 119 | <0.0040 | <0.0040 | <0.0040 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 189 | 0.0125 | 0.0125 | 0.0129 | 1.83 | 0.24 | 0 |
| THCV (%AR) | 012.99 | Other | 200 | 0.0089 | 0.0085 | 0.0083 | 3.57 | 0.44 | 0 |

Lab

Population of Lab RSDr

Δ8-THC (%AR)

| Δ8-THC (%AR) | 013.99 | Other | 188 | <0.0500 <0.0500 | <0.0500 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.01 | AOAC 2018.10 | 131 | 0.0100 <0.0100 | <0.0100 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, U | 108 | <0.0045 | <0.0045 | <0.0045 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 154 | <0.0490 | <0.0490 | <0.0490 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 141 | <0.0120 | <0.0120 | <0.0120 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 186 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 205 | <0.0070 | <0.0070 | <0.0070 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 203 | 0.0000 | 0.0000 | 0.0000 | 0 |  |  |  |  | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | <0.0240 | <0.0250 | <0.0250 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 195 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 202 | <0.0001 | <0.0001 | <0.0001 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 194 | <0.0239 | <0.0239 | <0.0239 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 200 | <0.0025 | <0.0025 | <0.0025 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 123 | <0.0940 | <0.0920 | <0.0890 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 159 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 109 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0061 | 0.0067 | 0.0062 | 5.08 | 0.6 |  |  |  | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBC (%AR) |  |  |  |  |  |  |  |  |
| CBC (%AR) | 014.99 | Other | 189 | 0.1237 | 0.1239 | 0.1232 | 0.29 | 0.05 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 162 | 0.1266 | 0.1266 | 0.1257 | 0.41 | 0.08 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 200 | 0.1179 | 0.1169 | 0.1181 | 0.55 | 0.1 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 204 | 0.1210 | 0.1228 | 0.1220 | 0.74 | 0.14 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 195 | 0.1219 | 0.1247 | 0.1223 | 1.23 | 0.23 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 188 | 0.1169 | 0.1158 | 0.1194 | 1.57 | 0.29 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 119 | 0.1447 | 0.1408 | 0.1454 | 1.73 | 0.32 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.01 | AOAC 2018.10 | 168 | 0.1130 | 0.1120 | 0.1162 | 1.93 | 0.35 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 142 | 0.1075 | 0.1028 | 0.1049 | 2.24 | 0.4 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 203 | 0.1140 | 0.1110 | 0.1090 | 2.26 | 0.41 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 109 | 0.1230 | 0.1280 | 0.1280 | 2.29 | 0.42 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 186 | 0.1169 | 0.1112 | 0.1149 | 2.53 | 0.46 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 202 | 0.1136 | 0.1172 | 0.1202 | 2.82 | 0.51 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.1337 | 0.1348 | 0.1425 | 3.5 | 0.65 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.0951 | 0.1033 | 0.0999 | 4.14 | 0.73 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 154 | 0.1032 | 0.1022 | 0.1110 | 4.57 | 0.82 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 132 | 0.1300 | 0.1200 | 0.1200 | 4.68 | 0.86 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.01 | AOAC 2018.10 | 131 | 0.1200 | 0.1100 | 0.1100 | 5.09 | 0.92 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 159 | 0.0873 | 0.0928 | 0.0833 | 5.43 | 0.95 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 205 | 0.1060 | 0.1030 | 0.1150 | 5.78 | 1.04 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.01 | AOAC 2018.10 | 155 | 0.1320 | 0.1270 | 0.1160 | 6.55 | 1.2 | 4.04 | 0.29 | 15.2 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 106 | 0.1200 | 0.1300 | 0.1100 | 8.33 | 1.52 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.1220 | 0.1160 | 0.1000 | 10.1 | 1.82 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.1200 | 0.1200 | 0.1000 | 10.2 | 1.84 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.99 | Other | 123 | 0.1060 | 0.1020 | 0.1280 | 12.5 | 2.26 | 4.04 | 0.29 | 15.2 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 108 | 0.1531 | 0.1128 | 0.1314 | 15.2 | 2.82 | 4.04 | 0.29 | 15.2 | 0 |

Lab

Population of Lab RSDr

|  |  |  |  | Cd (ug/g AR) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.99 | Other | 195 | 15.8700 | 19.8200 | <22.2100 |  |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | <0.1000 | <0.1010 | <0.0980 |  |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.0750 | 0.0720 | 0.0740 | 2.07 | 0.35 | 5.99 | 2.07 | 15.2 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 122 | 0.0646 | 0.0672 | 0.0686 | 3.04 | 0.51 | 5.99 | 2.07 | 15.2 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | 0.0680 | 0.0738 | 0.0714 | 4.1 | 0.69 | 5.99 | 2.07 | 15.2 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 141 | 0.0780 | 0.0730 | 0.0700 | 5.49 | 0.93 | 5.99 | 2.07 | 15.2 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | 0.0710 | 0.0731 | 0.0804 | 6.59 | 1.12 | 5.99 | 2.07 | 15.2 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 168 | 0.0700 | 0.0780 | 0.0690 | 6.82 | 1.15 | 5.99 | 2.07 | 15.2 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 137 | 0.0752 | 0.0700 | 0.0832 | 8.73 | 1.49 | 5.99 | 2.07 | 15.2 | 0 |
| Cd (ug/g AR) | 101.03 | ICP-OES | 132 | 0.0640 | 0.0870 | 0.0780 | 15.2 | 2.59 | 5.99 | 2.07 | 15.2 | 0 |

|  |  |  |  | As (ug/g AR) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.1000 | <0.1010 | <0.0980 | 1 |
| As (ug/g AR) | 102.99 | Other | 195 | <2.6050 | <2.2920 | <1.1280 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | <0.0005 | <0.0005 | <0.0005 | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.0500 | 0.0565 | 0.0627 |  |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 141 | 0.0770 | 0.0870 | 0.0810 | 6.16 | 1.06 | 13.86 | 6.16 | 52.3 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 168 | 0.0460 | 0.0530 | 0.0460 | 8.36 | 1.33 | 13.86 | 6.16 | 52.3 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 122 | 0.0621 | 0.0666 | 0.0544 | 10.1 | 1.67 | 13.86 | 6.16 | 52.3 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 137 | 0.0729 | 0.0592 | 0.0569 | 13.7 | 2.27 | 13.86 | 6.16 | 52.3 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | 0.0659 | 0.0656 | 0.0887 | 18.1 | 3.06 | 13.86 | 6.16 | 52.3 | 0 |
| As (ug/g AR) | 102.03 | ICP-OES | 132 | 0.1370 | 0.4420 | 0.4560 | 52.3 | 11.16 | 13.86 | 6.16 | 52.3 | 0 |

Lab

Population of Lab RSDr

Hg (ug/g AR)

| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | <0.0072 | <0.0072 | <0.0072 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 168 | <0.0140 | <0.0130 | <0.0130 |  |  | 1 |
| Hg (ug/g AR) | 103.99 | Other | 195 | <1.5620 | <2.5250 | <1.6830 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | <0.0005 | <0.0005 | <0.0005 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.1000 | <0.1010 | <0.0980 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 141 | <0.0139 | 0.0450 | 0.0300 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 137 | <0.0094 | <0.0101 | <0.0100 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.1000 | <0.1000 | <0.1000 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 122 | 0.0167 | 0.0162 | 0.0164 | 1.53 | 0.21 | 0 |

Pb (ug/g AR)

| Pb (ug/g AR) | 104.99 | Other | 195 | <5.3680 <4.9610 |  | <5.8520 | 1 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 122 | 1.2364 | 1.3166 | 1.2765 | 3.14 | 0.82 | 9.29 | 3.14 | 22.3 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | 1.4730 | 1.4680 | 1.6340 | 6.19 | 1.65 | 9.29 | 3.14 | 22.3 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 141 | 1.6700 | 1.5900 | 1.4300 | 7.82 | 2.09 | 9.29 | 3.14 | 22.3 | 0 |
| Pb (ug/g AR) | 104.02 | furnace AA | 132 | 0.2740 | 0.2280 | 0.2740 | 10.3 | 2.1 | 9.29 | 3.14 | 22.3 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | 1.3080 | 1.1000 | 1.2430 | 8.74 | 2.26 | 9.29 | 3.14 | 22.3 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | 1.5600 | 1.4100 | 1.6700 | 8.44 | 2.26 | 9.29 | 3.14 | 22.3 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 168 | 1.3400 | 1.6400 | 1.5300 | 10.1 | 2.69 | 9.29 | 3.14 | 22.3 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 1.4891 | 1.7895 | 1.3896 | 13.4 | 3.58 | 9.29 | 3.14 | 22.3 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 137 | 2.2200 | 1.6700 | 1.4500 | 22.3 | 6.09 | 9.29 | 3.14 | 22.3 | 0 |

Lab

Population of Lab RSDr

Cu (ug/g AR)

| Cu (ug/g AR) | 105.04 | ICP-MS | 122 | 11.0873 | 11.0230 | 11.2195 | 0.9 | 0.32 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | 9.6200 | 9.8500 | 9.9600 | 1.77 | 0.62 | 0 |
| Cu (ug/g AR) | 105.04 | ICP-MS | 142 | 11.4190 | 11.2890 | 10.8920 | 2.45 | 0.88 | 0 |
| Cu (ug/g AR) | 105.03 | ICP-OES | 132 | 8.4000 | 9.1200 | 9.1200 | 4.68 | 1.63 | 0 |
| Cu (ug/g AR) | 105.99 | Other | 195 | 12.1950 | 13.0530 | 11.1330 | 7.93 | 2.89 | 0 |

Ni (ug/g AR)

| Ni (ug/g AR) | 106.99 | Other | 195 | <1.0090 | <1.1700 | <1.3900 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ni (ug/g AR) | 106.04 | ICP-MS | 122 | 0.4168 | 0.4242 | 0.4205 | 0.88 | 0.19 | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 141 | 0.4840 | 0.4900 | 0.5080 | 2.53 | 0.57 | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 142 | 0.3760 | 0.3570 | 0.3550 | 3.2 | 0.69 | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | 0.5380 | 0.4670 | 0.4520 | 9.46 | 2.13 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean min max Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ni (ug/g AR) | 106.03 | ICP-OES | 132 | 0.8660 | 0.9120 | 0.3690 | 42.1 | 10.03 | 0 |

Lab

Population of Lab RSDr

|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cr (ug/g AR) | 107.99 | Other | 195 | <4.2220 | <5.3740 | <5.0420 |  |  |  |  |  | 1 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | 0.9130 | 0.9110 | 0.9080 | 0.28 | 0.07 | 8.85 | 0.28 | 18.6 | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 122 | 0.8836 | 0.8337 | 0.8587 | 2.91 | 0.71 | 8.85 | 0.28 | 18.6 | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | 0.7700 | 0.8180 | 0.7760 | 3.32 | 0.8 | 8.85 | 0.28 | 18.6 | 0 |
| Cr (ug/g AR) | 107.03 | ICP-OES | 132 | 0.2740 | 0.3650 | 0.3190 | 14.2 | 3.01 | 8.85 | 0.28 | 18.6 | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | 0.6770 | 0.6250 | 0.5140 | 13.8 | 3.2 | 8.85 | 0.28 | 18.6 | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 141 | 0.8330 | 1.1400 | 1.2000 | 18.6 | 4.7 | 8.85 | 0.28 | 18.6 | 0 |

Se (ug/g AR)

| Se (ug/g AR) | 108.99 | Other | 195 | <0.9200 | <2.8000 | <2.4220 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | 0.0000 | 0.0000 | 0.0000 | 0 |  | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | <0.1000 | <0.1010 | <0.0980 |  |  | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 141 | 0.2000 | 0.2160 | 0.2040 | 4.03 | 0.8 | 0 |
| Se (ug/g AR) | 108.03 | ICP-OES | 132 | 3.1010 | 2.2280 | 2.5080 | 17.1 | 4.94 | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | 0.5440 | 0.3660 | 0.3610 | 24.6 | 5.42 | 0 |

|  |  |  |  | Ag (ug/g AR) |  |
| --- | --- | --- | --- | --- | --- |
| Ag (ug/g AR) | 109.04 | ICP-MS | 142 | <0.0005 <0.0005 <0.0005 | 1 |
| Ag (ug/g AR) | 109.99 | Other | 195 | 44.0600 38.8900 <41.8100 | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ag (ug/g AR) | 109.04 | ICP-MS | 122 | 0.0141 | 0.0093 | 0.0117 | 20.5 | 2.64 | 0 |
| Ag (ug/g AR) | 109.03 | ICP-OES | 132 | 0.1140 | 0.0330 | 0.0640 | 58.1 | 9.78 | 0 |

Lab

Population of Lab RSDr

|  |  |  |  | Ba (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ba (ug/g AR) | 110.99 | Other | 195 | 34.3300 | 35.5800 | <26.9900 |  |  | 1 |
| Ba (ug/g AR) | 110.04 | ICP-MS | 122 | 9.6938 | 9.7281 | 9.8764 | 0.99 | 0.35 | 0 |
| Ba (ug/g AR) | 110.03 | ICP-OES | 132 | 8.2080 | 8.2080 | 7.7520 | 3.27 | 1.12 | 0 |

Zn (ug/g AR)

| Zn (ug/g AR) | 111.03 | ICP-OES | 132 | 97.5840 | 93.9360 | 92.5680 | 2.74 | 1.36 | 4.39 | 2.74 | 10.9 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Zn (ug/g AR) | 111.04 | ICP-MS | 122 | 03.2183 | 01.4472 | 107.0565 | 2.76 | 1.39 | 4.39 | 2.74 | 10.9 | 0 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 141 | 00.0000 | 04.0000 | 98.5000 | 2.82 | 1.41 | 4.39 | 2.74 | 10.9 | 0 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 98.0000 | 08.0000 | 103.0000 | 4.85 | 2.44 | 4.39 | 2.74 | 10.9 | 0 |
| Zn (ug/g AR) | 111.99 | Other | 195 | 83.0940 | 92.3510 | 87.6030 | 5.28 | 2.59 | 4.39 | 2.74 | 10.9 | 0 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 142 | 99.0830 | 08.8960 | 122.9860 | 10.9 | 5.53 | 4.39 | 2.74 | 10.9 | 0 |

Sb (ug/g AR)

| Sb (ug/g AR) | 112.99 | Other | 195 | 38.7300 52.7700 <52.5100 |  |  | 1 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sb (ug/g AR) | 112.04 | ICP-MS | 196 | 0.0502 | 0.0425 | 0.0567 | 14.3 | 2.28 | 0 |

Moisture (%AR)

Moisture (%AR)

500.99

Other

178

7.9100	1

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 204 | 10.8000 | 10.8000 | 10.8000 | 0 | 0 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.99 | Other | 142 | 8.8600 | 8.8600 | 8.8600 | 0 | 0 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.99 | Other | 103 | 10.8900 | 10.8900 | 10.8900 | 0 | 0 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.72 | NIR | 138 | 12.1500 | 11.9500 | 11.9000 | 1.1 | 0.4 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 11.0400 | 10.8400 | 10.7500 | 1.36 | 0.49 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 119 | 11.2500 | 11.5400 | 11.5000 | 1.37 | 0.5 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.99 | Other | 132 | 12.1400 | 11.7600 | 11.9400 | 1.59 | 0.58 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 13.3393 | 13.7380 | 13.3187 | 1.76 | 0.65 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 196 | 11.2600 | 10.8900 | 11.2900 | 2 | 0.72 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.99 | Other | 165 | 12.6823 | 13.0240 | 13.1967 | 2.02 | 0.74 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 105 | 14.3000 | 14.9000 | 14.8000 | 2.19 | 0.82 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.72 | NIR | 187 | 9.7795 | 10.1769 | 10.2344 | 2.46 | 0.87 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 198 | 9.0600 | 9.5400 | 8.9300 | 3.5 | 1.22 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 182 | 11.3000 | 12.2650 | 11.7150 | 4.12 | 1.49 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 14.2527 | 14.8506 | 15.4693 | 4.09 | 1.54 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.99 | Other | 120 | 11.7740 | 10.9824 | 10.7878 | 4.67 | 1.68 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 109 | 11.9100 | 11.0900 | 10.8300 | 5 | 1.8 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 186 | 10.5180 | 11.5500 | 10.2600 | 6.33 | 2.27 | 2.57 | 0 | 6.47 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 183 | 10.7100 | 10.0400 | 9.4100 | 6.47 | 2.29 | 2.57 | 0 | 6.47 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 178 | 0.0500 |  |  |  |  |  |  |  | 1 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 186 | 0.0872 | 0.0853 | 0.0860 | 1.12 | 0.19 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.60 | NIR | 187 | 0.1005 | 0.0997 | 0.1019 | 1.11 | 0.2 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.1072 | 0.1092 | 0.1060 | 1.5 | 0.27 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 142 | 0.0882 | 0.0853 | 0.0870 | 1.68 | 0.29 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 204 | 0.0970 | 0.0944 | 0.0978 | 1.84 | 0.33 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 118 | 0.0880 | 0.0860 | 0.0840 | 2.33 | 0.4 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 199 | 0.0912 | 0.0881 | 0.0871 | 2.41 | 0.42 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 194 | 0.0888 | 0.0862 | 0.0904 | 2.4 | 0.42 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 103 | 0.0771 | 0.0787 | 0.0810 | 2.48 | 0.43 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.99 | Other | 183 | 0.0963 | 0.1001 | 0.0952 | 2.65 | 0.47 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 172 | 0.0955 | 0.1002 | 0.1002 | 2.75 | 0.49 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 188 | 0.0690 | 0.0657 | 0.0704 | 3.53 | 0.59 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 198 | 0.0886 | 0.0943 | 0.0870 | 4.27 | 0.74 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 165 | 0.0914 | 0.1023 | 0.0972 | 5.62 | 0.99 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 120 | 0.0784 | 0.0810 | 0.0876 | 5.76 | 0.99 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 196 | 0.0698 | 0.0787 | 0.0704 | 6.82 | 1.15 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 156 | 0.1136 | 0.1298 | 0.1197 | 6.76 | 1.23 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 105 | 0.0940 | 0.0796 | 0.0900 | 8.46 | 1.47 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 109 | 0.0780 | 0.1010 | 0.0840 | 13.6 | 2.37 | 4.01 | 1.11 | 30.2 | 0 |
| Δ9-THC (%DW) | 501.99 | Other | 172 | 0.1269 | 0.1828 | 0.1019 | 30.2 | 5.62 | 4.01 | 1.11 | 30.2 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 178 | 0.1300 |  |  |  |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.1036 | 0.1038 | 0.1038 | 0.11 | 0.02 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 204 | 0.1012 | 0.1033 | 0.1048 | 1.75 | 0.31 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 172 | 0.1026 | 0.0991 | 0.1014 | 1.76 | 0.31 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 186 | 0.0945 | 0.0920 | 0.0956 | 1.96 | 0.34 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 118 | 0.0830 | 0.0830 | 0.0800 | 2.11 | 0.36 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 109 | 0.1010 | 0.1060 | 0.1050 | 2.54 | 0.45 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 199 | 0.0889 | 0.0875 | 0.0842 | 2.78 | 0.48 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.60 | NIR | 187 | 0.0823 | 0.0816 | 0.0775 | 3.22 | 0.55 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 196 | 0.0789 | 0.0840 | 0.0793 | 3.51 | 0.6 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 156 | 0.1028 | 0.1118 | 0.1077 | 4.19 | 0.75 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 142 | 0.0636 | 0.0596 | 0.0582 | 4.63 | 0.76 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 165 | 0.1048 | 0.1016 | 0.0946 | 5.2 | 0.92 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 120 | 0.0896 | 0.0998 | 0.0992 | 5.95 | 1.05 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 103 | 0.0892 | 0.0942 | 0.0835 | 6.02 | 1.05 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.99 | Other | 183 | 0.1105 | 0.1031 | 0.0978 | 6.15 | 1.1 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 105 | 0.0560 | 0.0642 | 0.0593 | 6.9 | 1.13 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 198 | 0.0742 | 0.0804 | 0.0694 | 7.39 | 1.25 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.99 | Other | 172 | 0.1122 | 0.1295 | 0.1176 | 7.39 | 1.35 | 4.32 | 0.11 | 20.2 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 188 | 0.1100 | 0.0908 | 0.0732 | 20.2 | 3.53 | 4.32 | 0.11 | 20.2 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBD (%DW) |  |  |  |  |  |  |  |  |
| CBD (%DW) | 503.10 | Other LC-UV | 178 | 1.4800 |  |  |  |  |  |  |  | 1 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 2.2280 | 2.2074 | 2.2164 | 0.47 | 0.13 | 3.15 | 0.47 | 7.84 | 0 |
| CBD (%DW) | 503.60 | NIR | 187 | 1.6168 | 1.6021 | 1.5975 | 0.63 | 0.17 | 3.15 | 0.47 | 7.84 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 118 | 1.7000 | 1.7110 | 1.6900 | 0.62 | 0.17 | 3.15 | 0.47 | 7.84 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 199 | 1.9749 | 1.9563 | 1.9451 | 0.77 | 0.21 | 3.15 | 0.47 | 7.84 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 204 | 1.9752 | 2.0092 | 1.9936 | 0.85 | 0.24 | 3.15 | 0.47 | 7.84 | 0 |
| CBD (%DW) | 503.30 | Other LC-MS | 156 | 2.5429 | 2.4852 | 2.5041 | 1.17 | 0.34 | 3.15 | 0.47 | 7.84 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 142 | 1.9687 | 1.8849 | 1.9208 | 2.18 | 0.6 | 3.15 | 0.47 | 7.84 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 186 | 2.0436 | 1.9610 | 1.9681 | 2.3 | 0.64 | 3.15 | 0.47 | 7.84 | 0 |
| CBD (%DW) | 503.99 | Other | 172 | 2.3066 | 2.3494 | 2.4312 | 2.68 | 0.76 | 3.15 | 0.47 | 7.84 | 0 |
| CBD (%DW) | 503.30 | Other LC-MS | 105 | 1.7900 | 1.8000 | 1.6800 | 3.79 | 1.03 | 3.15 | 0.47 | 7.84 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 172 | 2.1050 | 2.2877 | 2.1899 | 4.17 | 1.17 | 3.15 | 0.47 | 7.84 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 196 | 1.7670 | 1.9280 | 1.8240 | 4.44 | 1.22 | 3.15 | 0.47 | 7.84 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 194 | 1.9552 | 2.0265 | 1.8517 | 4.52 | 1.25 | 3.15 | 0.47 | 7.84 | 0 |
| CBD (%DW) | 503.30 | Other LC-MS | 188 | 1.9155 | 2.1123 | 1.9176 | 5.7 | 1.58 | 3.15 | 0.47 | 7.84 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 109 | 1.9090 | 2.1350 | 2.1250 | 6.21 | 1.73 | 3.15 | 0.47 | 7.84 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 198 | 3.7226 | 3.9837 | 3.5331 | 6.04 | 1.84 | 3.15 | 0.47 | 7.84 | 0 |
| CBD (%DW) | 503.99 | Other | 183 | 2.0708 | 2.0426 | 1.7905 | 7.84 | 2.18 | 3.15 | 0.47 | 7.84 | 0 |
|  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| CBDA (%DW) | 504.10 | Other LC-UV | 178 | 4.2000 |  |  |  |  |  |  |  | 1 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%DW) | 504.30 | Other LC-MS | 156 | 4.1967 | 4.2092 | 4.2065 | 0.16 | 0.05 | 3.03 | 0.16 | 10.3 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 199 | 4.1426 | 4.1693 | 4.1162 | 0.64 | 0.2 | 3.03 | 0.16 | 10.3 | 0 |
| CBDA (%DW) | 504.60 | NIR | 187 | 4.4900 | 4.5654 | 4.5158 | 0.85 | 0.27 | 3.03 | 0.16 | 10.3 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 204 | 4.2943 | 4.2973 | 4.3735 | 1.04 | 0.32 | 3.03 | 0.16 | 10.3 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 118 | 3.8430 | 3.8660 | 3.7700 | 1.31 | 0.4 | 3.03 | 0.16 | 10.3 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 4.2984 | 4.2186 | 4.3222 | 1.27 | 0.4 | 3.03 | 0.16 | 10.3 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 186 | 4.4457 | 4.3759 | 4.5183 | 1.6 | 0.5 | 3.03 | 0.16 | 10.3 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 142 | 3.4088 | 3.2554 | 3.2671 | 2.58 | 0.77 | 3.03 | 0.16 | 10.3 | 0 |
| CBDA (%DW) | 504.99 | Other | 183 | 5.0987 | 5.1125 | 4.8687 | 2.72 | 0.87 | 3.03 | 0.16 | 10.3 | 0 |
| CBDA (%DW) | 504.99 | Other | 172 | 4.7531 | 4.7331 | 4.9731 | 2.76 | 0.88 | 3.03 | 0.16 | 10.3 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 172 | 4.4894 | 4.6733 | 4.8137 | 3.49 | 1.1 | 3.03 | 0.16 | 10.3 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 196 | 3.6010 | 3.9640 | 3.6580 | 5.22 | 1.59 | 3.03 | 0.16 | 10.3 | 0 |
| CBDA (%DW) | 504.30 | Other LC-MS | 105 | 3.2400 | 2.9400 | 2.9400 | 5.7 | 1.69 | 3.03 | 0.16 | 10.3 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 198 | 2.0496 | 2.1656 | 1.9141 | 6.16 | 1.72 | 3.03 | 0.16 | 10.3 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 109 | 4.6790 | 5.2800 | 5.0260 | 6.04 | 1.93 | 3.03 | 0.16 | 10.3 | 0 |
| CBDA (%DW) | 504.30 | Other LC-MS | 188 | 4.5708 | 4.6306 | 3.8244 | 10.3 | 3.23 | 3.03 | 0.16 | 10.3 | 0 |
|  |  |  |  | CBN (%DW) |  |  |  |  |  |  |  |  |
| CBN (%DW) | 505.30 | GC-FID | 116 | <0.0400 | 0.0416 | 0.0480 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 199 | <0.0550 | <0.0550 | <0.0550 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.10 | Other LC-UV | 109 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.10 | Other LC-UV | 196 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  |  | 1 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%DW) | 505.20 | Other LC-MS | 188 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.20 | Other LC-MS | 105 | <0.0144 | <0.0144 | <0.0144 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | <0.0400 | <0.0400 | <0.0400 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.10 | Other LC-UV | 186 | 0.0128 | 0.0126 | 0.0126 | 0.91 | 0.12 | 6.73 | 0.91 | 40.5 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 204 | 0.0133 | 0.0130 | 0.0133 | 1.31 | 0.17 | 6.73 | 0.91 | 40.5 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.0197 | 0.0213 | 0.0207 | 3.93 | 0.55 | 6.73 | 0.91 | 40.5 | 0 |
| CBN (%DW) | 505.20 | Other LC-MS | 156 | 0.0198 | 0.0187 | 0.0183 | 4.1 | 0.57 | 6.73 | 0.91 | 40.5 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 142 | 0.0110 | 0.0106 | 0.0126 | 9.28 | 1.19 | 6.73 | 0.91 | 40.5 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 198 | 0.0341 | 0.0386 | 0.0310 | 11.1 | 1.67 | 6.73 | 0.91 | 40.5 | 0 |
| CBN (%DW) | 505.99 | Other | 183 | 0.0071 | 0.0166 | 0.0163 | 40.5 | 5.31 | 6.73 | 0.91 | 40.5 | 0 |

Lab

Population of Lab RSDr

Total Δ9-THC (%DW)

| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 178 | 0.1900 |  |  |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.60 | NIR | 187 | 0.1726 | 0.1712 | 0.1700 | 0.76 | 0.15 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.1980 | 0.2003 | 0.1971 | 0.83 | 0.16 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 172 | 0.1855 | 0.1871 | 0.1891 | 0.96 | 0.19 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.1707 | 0.1744 | 0.1720 | 1.09 | 0.21 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 204 | 0.1858 | 0.1849 | 0.1897 | 1.37 | 0.27 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 186 | 0.1710 | 0.1660 | 0.1698 | 1.55 | 0.3 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 118 | 0.1600 | 0.1590 | 0.1540 | 2.04 | 0.39 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 103 | 0.1553 | 0.1612 | 0.1542 | 2.4 | 0.46 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.1500 | 0.1496 | 0.1564 | 2.51 | 0.47 | 3.92 | 0.76 | 19.8 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 199 | 0.1691 | 0.1649 | 0.1610 | 2.46 | 0.47 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 142 | 0.1440 | 0.1375 | 0.1380 | 2.59 | 0.48 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 105 | 0.1430 | 0.1360 | 0.1420 | 2.7 | 0.5 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 165 | 0.1833 | 0.1914 | 0.1802 | 3.13 | 0.61 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.99 | Other | 183 | 0.1932 | 0.1906 | 0.1809 | 3.44 | 0.67 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 196 | 0.1390 | 0.1523 | 0.1399 | 5.17 | 0.97 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 120 | 0.1570 | 0.1685 | 0.1746 | 5.36 | 1.03 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 198 | 0.1537 | 0.1648 | 0.1479 | 5.52 | 1.05 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 156 | 0.1995 | 0.2255 | 0.2128 | 6.12 | 1.21 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 182 | 0.1828 | 0.1645 | 0.1595 | 7.26 | 1.39 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 109 | 0.1660 | 0.1940 | 0.1770 | 7.88 | 1.53 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 138 | 0.1660 | 0.1889 | 0.1932 | 8 | 1.55 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 188 | 0.1655 | 0.1454 | 0.1346 | 10.6 | 1.99 | 3.92 | 0.76 | 19.8 | 0 |
| Total Δ9-THC (%DW) | 506.99 | Other | 172 | 0.2253 | 0.2964 | 0.2050 | 19.8 | 4.01 | 3.92 | 0.76 | 19.8 | 0 |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| Total CBD (%DW) | 507.10 | Other LC-UV | 178 | 5.6700 |  |  |  |  |  |  |  | 1 |
| Total CBD (%DW) | 507.30 | Other LC-MS | 156 | 6.2199 | 6.1763 | 6.1887 | 0.36 | 0.12 | 3.02 | 0.36 | 8.04 | 0 |
| Total CBD (%DW) | 507.60 | NIR | 187 | 5.5545 | 5.6060 | 5.5578 | 0.52 | 0.17 | 3.02 | 0.36 | 8.04 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 199 | 5.6080 | 5.6127 | 5.5550 | 0.57 | 0.19 | 3.02 | 0.36 | 8.04 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 204 | 5.7440 | 5.7779 | 5.8292 | 0.74 | 0.24 | 3.02 | 0.36 | 8.04 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 5.9977 | 5.9072 | 6.0069 | 0.92 | 0.3 | 3.02 | 0.36 | 8.04 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%DW) | 507.10 | Other LC-UV | 118 | 5.0710 | 5.1190 | 4.9960 | 1.22 | 0.39 | 3.02 | 0.36 | 8.04 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 4.2990 | 4.1965 | 4.2796 | 1.28 | 0.4 | 3.02 | 0.36 | 8.04 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 186 | 5.9425 | 5.7987 | 5.9306 | 1.35 | 0.44 | 3.02 | 0.36 | 8.04 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 142 | 4.9583 | 4.7399 | 4.7860 | 2.38 | 0.76 | 3.02 | 0.36 | 8.04 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 172 | 6.1422 | 6.3862 | 6.4115 | 2.36 | 0.78 | 3.02 | 0.36 | 8.04 | 0 |
| Total CBD (%DW) | 507.99 | Other | 172 | 6.4751 | 6.5002 | 6.7926 | 2.68 | 0.89 | 3.02 | 0.36 | 8.04 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 5.3896 | 5.7513 | 5.3772 | 3.86 | 1.25 | 3.02 | 0.36 | 8.04 | 0 |
| Total CBD (%DW) | 507.30 | Other LC-MS | 105 | 4.6300 | 4.3800 | 4.2600 | 4.27 | 1.34 | 3.02 | 0.36 | 8.04 | 0 |
| Total CBD (%DW) | 507.99 | Other | 183 | 6.5424 | 6.5263 | 6.0603 | 4.29 | 1.42 | 3.02 | 0.36 | 8.04 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 196 | 4.9250 | 5.4050 | 5.0310 | 4.92 | 1.58 | 3.02 | 0.36 | 8.04 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 198 | 5.5201 | 5.8829 | 5.2118 | 6.07 | 1.96 | 3.02 | 0.36 | 8.04 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 109 | 6.0130 | 6.7660 | 6.5330 | 5.99 | 1.98 | 3.02 | 0.36 | 8.04 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 138 | 6.4796 | 7.1312 | 7.3974 | 6.74 | 2.26 | 3.02 | 0.36 | 8.04 | 0 |
| Total CBD (%DW) | 507.30 | Other LC-MS | 188 | 5.9240 | 6.1730 | 5.2720 | 8.04 | 2.62 | 3.02 | 0.36 | 8.04 | 0 |

Lab

Population of Lab RSDr

|  |  |  |  | CBDV (%DW) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%DW) | 508.99 | Other | 109 | <0.0500 | <0.0500 | <0.0500 |  | 1 |
| CBDV (%DW) | 508.99 | Other | 188 | <0.0500 | <0.0500 | <0.0500 |  | 1 |
| CBDV (%DW) | 508.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 |  | 1 |
| CBDV (%DW) | 508.99 | Other | 186 | <0.0100 | <0.0100 | <0.0100 |  | 1 |
| CBDV (%DW) | 508.99 | Other | 183 | 0.0000 | 0.0000 | 0.0000 | 0 | 0 |
| CBDV (%DW) | 508.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  | 1 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

CBDVA (%DW)

| CBDVA (%DW) | 509.99 | Other | 183 | 0.0000 | 0.0000 | 0.0000 | 0 |  | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%DW) | 509.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  | 1 |
| CBDVA (%DW) | 509.99 | Other | 186 | 0.0476 | 0.0457 | 0.0522 | 6.89 | 1.1 | 0 |

|  |  |  |  | CBG (%DW) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%DW) | 510.99 | Other | 186 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| CBG (%DW) | 510.99 | Other | 188 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| CBG (%DW) | 510.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  | 1 |
| CBG (%DW) | 510.99 | Other | 109 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| CBG (%DW) | 510.99 | Other | 142 | 0.0241 | 0.0225 | 0.0210 | 6.88 | 0.98 | 0 |
| CBG (%DW) | 510.99 | Other | 183 | 0.0416 | 0.0436 | 0.0348 | 11.5 | 1.78 | 0 |
| CBG (%DW) | 510.99 | Other | 204 | 0.0415 | 0.0519 | 0.0413 | 13.5 | 2.12 | 0 |
| CBG (%DW) | 510.99 | Other | 105 | 0.0225 | 0.0260 | 0.0735 | 70.1 | 10.86 | 0 |

CBGA (%DW)

| CBGA (%DW) | 511.99 | Other | 188 | 0.0576 | 0.0643 | <0.0500 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%DW) | 511.99 | Other | 109 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| CBGA (%DW) | 511.99 | Other | 204 | 0.0715 | 0.0712 | 0.0720 | 0.56 | 0.1 | 0 |
| CBGA (%DW) | 511.99 | Other | 196 | 0.0511 | 0.0532 | 0.0516 | 2.11 | 0.34 | 0 |
| CBGA (%DW) | 511.99 | Other | 186 | 0.0633 | 0.0612 | 0.0639 | 2.26 | 0.37 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%DW) | 511.99 | Other | 183 | 0.0749 | 0.0715 | 0.0728 | 2.35 | 0.4 |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 142 | 0.0891 | 0.0817 | 0.1217 | 21.8 | 3.86 |  |  |  | 0 |
|  |  |  |  | THCV (%DW) |  |  |  |  |  |  |  |  |
| THCV (%DW) | 512.99 | Other | 188 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| THCV (%DW) | 512.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| THCV (%DW) | 512.99 | Other | 109 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| THCV (%DW) | 512.99 | Other | 186 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| THCV (%DW) | 512.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  |  | 1 |
| THCV (%DW) | 512.99 | Other | 183 | 0.0000 | 0.0000 | 0.0000 | 0 |  |  |  |  | 0 |
|  |  |  |  | Δ8-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ8-THC (%DW | ) 513.99 | Other | 188 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ8-THC (%DW | ) 513.99 | Other | 109 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ8-THC (%DW | ) 513.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  |  | 1 |
| Δ8-THC (%DW | ) 513.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%DW | ) 513.99 | Other | 183 | 0.0000 | 0.0000 | 0.0000 | 0 |  |  |  |  | 0 |
| Δ8-THC (%DW | ) 513.99 | Other | 186 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
|  |  |  |  | CBC (%DW) |  |  |  |  |  |  |  |  |
| CBC (%DW) | 514.99 | Other | 188 | 0.1250 | 0.1238 | 0.1232 | 0.74 | 0.14 | 2.34 | 0.73 | 3.97 | 0 |
| CBC (%DW) | 514.99 | Other | 204 | 0.1357 | 0.1377 | 0.1368 | 0.73 | 0.14 | 2.34 | 0.73 | 3.97 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.99 | Other | 105 | 0.1140 | 0.1170 | 0.1180 | 1.79 | 0.32 | 2.34 | 0.73 | 3.97 | 0 |
| CBC (%DW) | 514.99 | Other | 109 | 0.1390 | 0.1440 | 0.1440 | 2.03 | 0.38 | 2.34 | 0.73 | 3.97 | 0 |
| CBC (%DW) | 514.99 | Other | 142 | 0.1180 | 0.1128 | 0.1151 | 2.26 | 0.41 | 2.34 | 0.73 | 3.97 | 0 |
| CBC (%DW) | 514.99 | Other | 186 | 0.1311 | 0.1247 | 0.1287 | 2.52 | 0.46 | 2.34 | 0.73 | 3.97 | 0 |
| CBC (%DW) | 514.99 | Other | 183 | 0.1419 | 0.1484 | 0.1389 | 3.39 | 0.64 | 2.34 | 0.73 | 3.97 | 0 |
| CBC (%DW) | 514.99 | Other | 194 | 0.1288 | 0.1364 | 0.1276 | 3.64 | 0.67 | 2.34 | 0.73 | 3.97 | 0 |
| CBC (%DW) | 514.99 | Other | 196 | 0.1071 | 0.1159 | 0.1126 | 3.97 | 0.72 | 2.34 | 0.73 | 3.97 | 0 |

Lab

Population of Lab RSDr

Cd (ug/g DW)

| Cd (ug/g DW) | 601.04 | ICP-MS | 105 | 0.0865 | 0.0838 | 0.0844 | 1.67 | 0.29 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

As (ug/g DW)

| As (ug/g DW) | 602.04 | ICP-MS | 105 | 0.0552 | 0.0616 | 0.0616 | 6.21 | 1.02 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Hg (ug/g DW)

Hg (ug/g DW)

603.04

ICP-MS

105

<0.0100	<0.0100	<0.1000	1

|  |  |  |  | Pb (ug/g DW) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g DW) | 604.04 | ICP-MS | 105 | 1.5600 | 1.6400 | 2.0000 | 13.5 | 3.68 | 0 |

Cu (ug/g DW)

Cu (ug/g DW)

605.04

ICP-MS

105

12.7000	12.6000	12.5000	0.79	0.29	0

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

Ni (ug/g DW)

Ni (ug/g DW)

606.04

ICP-MS

105

0.5740	0.5360	0.6420	9.2	2.13	0

Cr (ug/g DW)

Cr (ug/g DW)

607.04

ICP-MS

105

1.0700	1.0500	1.1400	4.35	1.1	0

Se (ug/g DW)

Se (ug/g DW)

608.04

ICP-MS

105

<0.0414	<0.0414	<0.0414	1

Zn (ug/g DW)

Zn (ug/g DW)

611.04

ICP-MS

105

21.0000	15.0000 126.0000	4.56	2.35	0

- Flag definitions: 1 (Lab RSDr not calculated because there were less than 3 numeric lab results)

- Statistical parameters of robust mean, minimum, and maximum for RSDr only shown only if there were 6 or more lab RSDr values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.c