| Homogeneity and Stability |  |  |  |
| --- | --- | --- | --- |
| Sample ID . . . . . . . . . . . . . . . . . . . . . . . . . | HM20SEP-1 |  |  |
| Samples shipped . . . . . . . . . . . . . . . . . . . | 8-Sep-20 |  |  |
| Results due date . . . . . . . . . . . . . . . . . . . . | 15-Oct-20 |  |  |
| Homogeneity 10 sample packets randomly chosen for analysis. Duplicate test portions analyzed for analyte and method shown | in table caption. |  |  |
| Total THC (%AR) via GC-FID (method 006.40) Analysis Date: 8/25/20 | Overall average: | 0.1722 | %RSD |
|  | SD of sample avgs: | 0.001223 | 0.71 |
|  | repeatability SD: | 0.001357 | 0.79 |
|  | between-sample SD: | 0.00076 | 0.44 |
|  | reproducibilty SD: | 0.001557 | 0.90 |
|  | SD used for Analyte z scores: | 0.02 |  |
|  | Check value: | 0.006 |  |

| Packet # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 0.1734 | 0.1743 |
| 2 | 0.1729 | 0.1709 |
| 3 | 0.1712 | 0.1697 |
| 4 | 0.1712 | 0.1705 |
| 5 | 0.1725 | 0.1705 |
| 6 | 0.1761 | 0.1725 |
| 7 | 0.1723 | 0.1727 |
| 8 | 0.1731 | 0.1708 |
| 9 | 0.1705 | 0.1730 |
| 10 | 0.1727 | 0.1728 |

Total THC (%AR) via GC-FID (method 006.40)

Is between-sample SD less than check value? YES Homogeneity test passed

# Stability

Sample in one packet tested on different days from date sample shipped to results due date. Sample stored at room temperature during period of testing.

| Date of Analysis | Days | Conc. |
| --- | --- | --- |
| 9/9/20 | 0 | 0.1585 |
| 9/12/20 | 3 | 0.1570 |
| 9/16/20 | 7 | 0.1681 |
| 9/20/20 | 11 | 0.1550 |
| 9/20/20 | 11 | 0.1477 |
| 9/23/20 | 14 | 0.1534 |
| 9/26/20 | 17 | 0.1480 |
| 9/30/20 | 21 | 0.1491 |
| 10/6/20 | 27 | 0.1758 |
| 10/6/20 | 27 | 0.1289 |
| 10/7/20 | 28 | 0.1412 |
| 10/8/20 | 29 | 0.1396 |
| 10/13/20 | 34 | 0.1548 |
| 10/13/20 | 34 | 0.1690 |

Total THC (%AR) via GC-FID (method 006.40)	SUMMARY OUTPUT

Days = x variable, Conc = y variable

Regression Statistics

Multiple R	 0.1652167 R Square	0.0272966 Adjusted R Squ -0.0537621 Standard Error  0.0128002

Observations	14

ANOVA

df	SS	MS	F	Significance F

Regression	1  5.5175E-05  5.51746E-05 0.336751	0.572446721

Residual	12 0.00196613 0.000163844

Total	13	0.0020213

Coefficients tandard Error	t Stat	P-value	Lower 95%	Upper 95%

y = -0.0002x + 0.1567 R² = 0.0273

0.20

0.19

0.18

0.17

0.16

0.15

0.14

0.13

0.12

0.11

0.10

0

10

20

30

40

Intercept	0.1567027 0.00679066 23.07620943  2.61E-11	0.141907139	0.171498298

X Variable 1	-0.0001812 0.00031226 -0.58030243 0.572447 -0.000861557	0.000499148

## Total THC (%AR) via GC-FID (method 006.40)

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period.

Stability test passed.