Hemp Proficiency Testing

Methodology Survey

HM20SEP-1 and HM20SEP-2

# Issue Date: November 3, 2020

## Lab

## Q#  Num  THC method	Answer

Q1. Storage conditions were not specificed in the testing instructions. Specify your storage conditions for the Hemp PT samples from the time of receiving to completing analysis (eg. Glass amber bottle at room temperature, PT sample packets at -20 C)?

| Q1. | 101 | AOAC 2018.10 | PT sample packets at -20 C |
| --- | --- | --- | --- |
| Q1. | 102 | Other LC-MS | At room temperature (about 21 degree C) |
| Q1. | 105 | Other LC-MS | PT sample packets, freezer |
| Q1. | 106 | Other LC-UV | Original container, refrigerated at 3 C |
| Q1. | 107 | AOAC 2018.11, UV | PT sample packets at room temperature in a dessicator |
| Q1. | 108 | AOAC 2018.11, UV | refrigerated and room temperature |
| Q1. | 109 | Other LC-UV | Received and stored at 4oC in PT Sample container. Allow to come to room temp prior to anal |
| Q1. | 112 | GC-FID | PT sample packets sealed, at room temp |
| Q1. | 113 | Other LC-UV | PT Sample packets at -8 C |
| Q1. | 114 | GC-FID | PT sample packets at room temp |
| Q1. | 115 | AOAC 2018.10 | Pt samples packets stored at freezer |
| Q1. | 116 | GC-FID | Dark container - kept in -20C |
| Q1. | 116 | Other LC-UV | Dark container - kept in -20C |
| Q1. | 118 | Other LC-UV | Opaque Mylar sample storage bags |
| Q1. | 119 | Other LC-MS | 4C refridgerator |
| Q1. | 120 | Other LC-MS | Stored at 0-4.5░C |
| Q1. | 121 | GC-FID | PT sample packets at -6 C |
| Q1. | 122 | Other LC-MS | PT sample packets at -20 C |

| Q# | Lab Num | THC method | Answer |
| --- | --- | --- | --- |
| Q1. | 123 | Other LC-UV | PT sample packets at room temp (20 C) |
| Q1. | 124 | Other LC-UV | PT sample packets at -20 C |
| Q1. | 125 | AOAC 2018.11, UV | PT sample packet at room temperature |
| Q1. | 128 | GC-FID | PT sample packets at room temperature |
| Q1. | 131 | AOAC 2018.10 | Refrigerated 0-6 degree C |
| Q1. | 132 | Other LC-UV | PT sample pack at room temp |
| Q1. | 132 | Other | PT sample pack at room temp |
| Q1. | 137 | Other | PT sample packets at room temperature |
| Q1. | 138 | GC-FID | PT sample packets at room temperature |
| Q1. | 141 | Other LC-UV | Glass amber bottle at room temperature |
| Q1. | 142 | Other LC-UV | PT sample packet at 4C |
| Q1. | 144 | Other LC-UV | PT sample packets at 0 C |
| Q1. | 145 | Other LC-UV | PT Sample Packets at 4C |
| Q1. | 148 | AOAC 2018.10 | In sample packets at -19 C |
| Q1. | 149 | Other LC-MS | Samples were stored at room temperature |
| Q1. | 149 | Other LC-UV | Samples were stored at room temperature |
| Q1. | 150 | Other LC-UV | TP Sample Packets at Room Temperature |
| Q1. | 152 | AOAC 2018.10 | Sample packets at RT |
| Q1. | 152 | AOAC 2018.11, UV | Sample packets at RT |
| Q1. | 153 | GC-FID | PT Sample Packets at less than -20C |
| Q1. | 154 | Other | PT sample packets at -20C |
| Q1. | 155 | AOAC 2018.10 | PT sample packets at Room Temp |
| Q1. | 159 | Other LC-MS | PT packets at -20C |
| Q1. | 161 | AOAC 2018.11, UV | room temperature |
| Q1. | 162 | Other LC-UV | 16oz containers in paper bag at room temperature |
| Q1. | 164 | Other LC-MS | PT sample packets at 3-5 C |
| Q1. | 165 | Other LC-UV | PT Sample Packets at -20 C |

| Q# | Lab Num | THC method | Answer |
| --- | --- | --- | --- |
| Q1. | 168 | AOAC 2018.10 | Ambient |
| Q1. | 170 | GC-FID | freezer |
| Q1. | 172 | Other | PT Sample Packets at -30C |
| Q1. | 172 | Other LC-UV | PT Sample Packets at -30C |
| Q1. | 175 | AOAC 2018.10 | PT sample packets at room temperature |
| Q1. | 178 | Other LC-UV | PT sample packets at -20 C |
| Q1. | 182 | Other LC-UV | PT Sample Packets at refrigeration temperature, about 4 degrees Celsius |
| Q1. | 183 | Other | Samples were stored in sealed bags kept in a brown paper bag in room temperature cabinet. |
| Q1. | 184 | Other LC-UV | negative 80 C freezer |
| Q1. | 185 | GC-FID | 4C +/- .05C |
| Q1. | 186 | Other LC-UV | PT sample packets at 5C |
| Q1. | 188 | Other LC-MS | PT sample packets at RT |
| Q1. | 190 | GC-FID | PT sample packets at RT |
| Q1. | 191 | Other LC-UV | plastic specimen jars wrapped in black duct tape, stored in freezer below 0 C |
| Q1. | 192 | Other LC-UV | PT Sample was kept in Amber Glass bottles at 4C |
| Q1. | 194 | Other LC-UV | PT Sample packets at Room Temp |
| Q1. | 195 | Other LC-UV | Locked cabinet at room temperature |
| Q1. | 196 | Other LC-UV | PT sample packets at -20 C |
| Q1. | 197 | Other LC-UV | Pt sample packets at <-10C |
| Q1. | 198 | Other LC-UV | sample packets at RT |
| Q1. | 199 | AOAC 2018.11, UV | room temperature; transferred to glass jar; reps done within 9 days |
| Q1. | 200 | Other LC-UV | Original container; room temperature |
| Q1. | 201 | Other LC-MS | PT sample packages at room temperature |
| Q1. | 202 | Other LC-UV | PT Packets at room temperature |
| Q1. | 203 | Other LC-UV | PT sample packets at room temperature |
| Q1. | 204 | Other LC-UV | -20C |
| Q1. | 205 | Other LC-UV | Clear Ziploc at ambient temperatures out of direct sunlight |

## Lab

## Q#  Num  THC method	Answer

### Q1.

205 Other

Clear Ziploc at ambient temperatures out of direct sunlight

Q2. What extraction solvent did you use for cannabinoid extraction?

| Q2. | 101 | AOAC 2018.10 | Methanol |
| --- | --- | --- | --- |
| Q2. | 102 | Other LC-MS | Methanol |
| Q2. | 105 | Other LC-MS | acetonitrile |
| Q2. | 106 | Other LC-UV | 100% Methanol |
| Q2. | 107 | AOAC 2018.11, UV | Reagent alcohol |
| Q2. | 108 | AOAC 2018.11, UV | proprietary |
| Q2. | 109 | Other LC-UV | (9) Methanol : (1) Chloroform |
| Q2. | 112 | GC-FID | methanol |
| Q2. | 113 | Other LC-UV | Methanol |
| Q2. | 114 | GC-FID | methanol |
| Q2. | 115 | AOAC 2018.10 | 80/20 methanol/water |
| Q2. | 116 | Other LC-UV | methanol |
| Q2. | 116 | GC-FID | methanol |
| Q2. | 118 | Other LC-UV | Methanol (w/3000ppm ISTD) |
| Q2. | 119 | Other LC-MS | ACN:MeOH 80:20 |
| Q2. | 120 | Other LC-MS | 90:10 Methanol:Chloroform |
| Q2. | 121 | GC-FID | Methanol |
| Q2. | 122 | Other LC-MS | Methanol |
| Q2. | 123 | Other LC-UV | Methanol |
| Q2. | 124 | Other LC-UV | Acetonitrile |
| Q2. | 125 | AOAC 2018.11, UV | Reagent alcohol |
| Q2. | 128 | GC-FID | methanol |
| Q2. | 131 | AOAC 2018.10 | Methanol |

| Q# | Lab Num | THC method | Answer |
| --- | --- | --- | --- |
| Q2. | 132 | Other | Acetonitrile |
| Q2. | 132 | Other LC-UV | Acetonitrile |
| Q2. | 137 | Other | methanol |
| Q2. | 138 | GC-FID | methanol |
| Q2. | 141 | Other LC-UV | 90% methanol, 10% chloroform |
| Q2. | 142 | Other LC-UV | acetonitrile |
| Q2. | 144 | Other LC-UV | Methanol |
| Q2. | 145 | Other LC-UV | 100% Methanol |
| Q2. | 148 | AOAC 2018.10 | 80-20 MeOH-water (%v/v) |
| Q2. | 149 | Other LC-UV | Methanol |
| Q2. | 149 | Other LC-MS | Methanol |
| Q2. | 150 | Other LC-UV | 80% methanol, 20% water |
| Q2. | 152 | AOAC 2018.11, UV | Ethanol |
| Q2. | 152 | AOAC 2018.10 | Ethanol |
| Q2. | 153 | GC-FID | Methanol |
| Q2. | 154 | Other | acetonitrile |
| Q2. | 155 | AOAC 2018.10 | Methanol 80% |
| Q2. | 159 | Other LC-MS | 85% MeOH, 15% water |
| Q2. | 161 | AOAC 2018.11, UV | ethanol |
| Q2. | 162 | Other LC-UV | HPLC-UV grade methanol |
| Q2. | 164 | Other LC-MS | methanol |
| Q2. | 165 | Other LC-UV | Methanol |
| Q2. | 168 | AOAC 2018.10 | 80% Methanol |
| Q2. | 170 | GC-FID | methanol |
| Q2. | 172 | Other LC-UV | Other LC-UV - Methanol : Other (1H qNMR) - Chloroform-D |
| Q2. | 172 | Other | Other LC-UV - Methanol : Other (1H qNMR) - Chloroform-D |
| Q2. | 175 | AOAC 2018.10 | 80% Methanol |

## Lab

Q#  Num  THC method	Answer

| Q2. | 178 | Other LC-UV | 100% methanol |
| --- | --- | --- | --- |
| Q2. | 182 | Other LC-UV | 10 + 10 mL Ethanol extraction; subsequent dilution with Methanol |
| Q2. | 183 | Other | Methanol |
| Q2. | 184 | Other LC-UV | 100% Methanol |
| Q2. | 185 | GC-FID | Acetone |
| Q2. | 186 | Other LC-UV | 100% Methanol |
| Q2. | 188 | Other LC-MS | Methanol |
| Q2. | 190 | GC-FID | Hexane |
| Q2. | 191 | Other LC-UV | MeOH |
| Q2. | 192 | Other LC-UV | Methanol |
| Q2. | 194 | Other LC-UV | 9:1 Methanol:Chloroform v/v |
| Q2. | 195 | Other LC-UV | 100% methanol |
| Q2. | 196 | Other LC-UV | Methanol |
| Q2. | 197 | Other LC-UV | Methanol |
| Q2. | 198 | Other LC-UV | methanol |
| Q2. | 199 | AOAC 2018.11, UV | ethanol |
| Q2. | 200 | Other LC-UV | Methanol |
| Q2. | 201 | Other LC-MS | Acetonitrile |
| Q2. | 202 | Other LC-UV | Methanol, 100% |
| Q2. | 203 | Other LC-UV | 100% Methanol |
| Q2. | 204 | Other LC-UV | Methanol/Chloroform |
| Q2. | 205 | Other LC-UV | Methanol |
| Q2. | 205 | Other | Methanol |

Q3. What extraction method did you use for cannabinoid extraction (eg., sonication, shaking, other)?

### Q3.

101 AOAC 2018.10

sonication and centrifuge

| Q# | Lab Num | THC method | Answer |
| --- | --- | --- | --- |
| Q3. | 102 | Other LC-MS | Shaking |
| Q3. | 105 | Other LC-MS | shaking |
| Q3. | 106 | Other LC-UV | Sonicated, Shaken, Centrifuged |
| Q3. | 107 | AOAC 2018.11, UV | Sonication |
| Q3. | 108 | AOAC 2018.11, UV | proprietary |
| Q3. | 109 | Other LC-UV | Sonication |
| Q3. | 112 | GC-FID | shaking on genogrinder |
| Q3. | 113 | Other LC-UV | Shaking |
| Q3. | 114 | GC-FID | shaking via Geno/Grinder |
| Q3. | 115 | AOAC 2018.10 | sonication, shaking, |
| Q3. | 116 | GC-FID | shaking - Geno Grinder |
| Q3. | 116 | Other LC-UV | shaking - Geno Grinder |
| Q3. | 118 | Other LC-UV | Vortexing |
| Q3. | 119 | Other LC-MS | Vortex, Sonication |
| Q3. | 120 | Other LC-MS | Sonication |
| Q3. | 121 | GC-FID | Shaking |
| Q3. | 122 | Other LC-MS | sonication |
| Q3. | 123 | Other LC-UV | Vortex |
| Q3. | 124 | Other LC-UV | Sonication |
| Q3. | 125 | AOAC 2018.11, UV | Shaking |
| Q3. | 128 | GC-FID | vortex mixer for 60 seconds |
| Q3. | 131 | AOAC 2018.10 | Shaking |
| Q3. | 132 | Other | sonication |
| Q3. | 132 | Other LC-UV | sonication |
| Q3. | 137 | Other | sonication and shaking |
| Q3. | 138 | GC-FID | shaking |
| Q3. | 141 | Other LC-UV | shaking |

| Q# | Lab Num | THC method | Answer |
| --- | --- | --- | --- |
| Q3. | 142 | Other LC-UV | sonication |
| Q3. | 144 | Other LC-UV | Sonication, shaking |
| Q3. | 145 | Other LC-UV | Vortexing and sonication |
| Q3. | 148 | AOAC 2018.10 | Vortex for 30 sec. Sonicate for 15 min and vortex every 5 min. Centrifuge at 3000 g for 5 min. |
| Q3. | 149 | Other LC-UV | Shaking, Centrifuging |
| Q3. | 149 | Other LC-MS | Shaking, Centrifuging |
| Q3. | 150 | Other LC-UV | Shaking, 5 minutes |
| Q3. | 152 | AOAC 2018.11, UV | Sonication |
| Q3. | 152 | AOAC 2018.10 | Sonication |
| Q3. | 153 | GC-FID | Shaking |
| Q3. | 154 | Other | sonication, centrifugation |
| Q3. | 155 | AOAC 2018.10 | Geno Grinder |
| Q3. | 159 | Other LC-MS | Shaking, 1 hr |
| Q3. | 161 | AOAC 2018.11, UV | shaking |
| Q3. | 162 | Other LC-UV | Shaking via spex grinder |
| Q3. | 164 | Other LC-MS | homogenization on Genogrinder |
| Q3. | 165 | Other LC-UV | Shaking |
| Q3. | 168 | AOAC 2018.10 | Sonication, vortex |
| Q3. | 170 | GC-FID | shaking with a genogrinder |
| Q3. | 172 | Other | Vortex for 2 minutes and Rocker for 30 Minutes |
| Q3. | 172 | Other LC-UV | Vortex for 2 minutes and Rocker for 30 Minutes |
| Q3. | 175 | AOAC 2018.10 | sonication & vortex |
| Q3. | 178 | Other LC-UV | Shaking |
| Q3. | 182 | Other LC-UV | 30 sec vortex; 5 minute ultrasonic bath; centrifuge and decant, all repeated twice |
| Q3. | 183 | Other | SPEX MiniG Ginder |
| Q3. | 184 | Other LC-UV | sonication and vortexing |
| Q3. | 185 | GC-FID | Sonication, Stir, Other |

## Lab

Q#  Num  THC method	Answer

| Q3. | 186 | Other LC-UV | shaking |
| --- | --- | --- | --- |
| Q3. | 188 | Other LC-MS | Vortexing, sonication, centrifugation |
| Q3. | 190 | GC-FID | centrifuged |
| Q3. | 191 | Other LC-UV | vortex, sonication |
| Q3. | 192 | Other LC-UV | shaking, sonication, centrifuge, filter |
| Q3. | 194 | Other LC-UV | Sonication/vortexing |
| Q3. | 195 | Other LC-UV | sonication |
| Q3. | 196 | Other LC-UV | Vortex mix |
| Q3. | 197 | Other LC-UV | Shaking |
| Q3. | 198 | Other LC-UV | sonication |
| Q3. | 199 | AOAC 2018.11, UV | shaking |
| Q3. | 200 | Other LC-UV | Shaking |
| Q3. | 201 | Other LC-MS | Sonication |
| Q3. | 202 | Other LC-UV | Rocking |
| Q3. | 203 | Other LC-UV | Sonication for 15 minutes at 50░C |
| Q3. | 204 | Other LC-UV | Shaking |
| Q3. | 205 | Other | Vortexing followed by sonication |
| Q3. | 205 | Other LC-UV | Vortexing followed by sonication |

Q4 and Q5. What was your sample mass and extractant volume for cannabinoid analysis?

| Q4. | 101 | AOAC 2018.10 | mass (g): 0.1550 ¦ volume (mL): 15mL |
| --- | --- | --- | --- |
| Q4. | 102 | Other LC-MS | mass (g): 0.2 ¦ volume (mL): 40 |
| Q4. | 105 | Other LC-MS | mass (g): 1 ¦ volume (mL): 40 |
| Q4. | 106 | Other LC-UV | mass (g): 0.1 ¦ volume (mL): 10 |
| Q4. | 107 | AOAC 2018.11, UV | mass (g): 0.2000 ¦ volume (mL): 20 |
| Q4. | 108 | AOAC 2018.11, UV | mass (g): proprietary ¦ volume (mL): proprietary |

| Q# | Lab Num | THC method | Answer |
| --- | --- | --- | --- |
| Q4. | 109 | Other LC-UV | mass (g): ~ 0.125 ¦ volume (mL): 10 |
| Q4. | 112 | GC-FID | mass (g): 0.20 ¦ volume (mL): 40 |
| Q4. | 113 | Other LC-UV | mass (g): 0.5 ¦ volume (mL): 10 |
| Q4. | 114 | GC-FID | mass (g): 0.20 ¦ volume (mL): 40 |
| Q4. | 115 | AOAC 2018.10 | mass (g): 0.2 g ¦ volume (mL): 25 mls |
| Q4. | 116 | GC-FID | mass (g): 0.2 g ¦ volume (mL): 40 mL |
| Q4. | 116 | Other LC-UV | mass (g): 0.2 g ¦ volume (mL): 40 mL |
| Q4. | 118 | Other LC-UV | mass (g): 1g ¦ volume (mL): 20mL |
| Q4. | 119 | Other LC-MS | mass (g): 0.2000 g ¦ volume (mL): 40 ml |
| Q4. | 120 | Other LC-MS | mass (g): 0.10 grams ¦ volume (mL): 5 ml |
| Q4. | 121 | GC-FID | mass (g): 0.2 ¦ volume (mL): 40 |
| Q4. | 122 | Other LC-MS | mass (g): 0.1 ¦ volume (mL): 100 |
| Q4. | 123 | Other LC-UV | mass (g): 2 ¦ volume (mL): 20 |
| Q4. | 124 | Other LC-UV | mass (g): 1 g ¦ volume (mL): 10 mL |
| Q4. | 125 | AOAC 2018.11, UV | mass (g): 0.5 grams ¦ volume (mL): 10 mL |
| Q4. | 128 | GC-FID | mass (g): 0.2 ¦ volume (mL): 40 |
| Q4. | 131 | AOAC 2018.10 | mass (g): 0.5g ¦ volume (mL): 20mL |
| Q4. | 132 | Other | mass (g): 0.500 g ¦ volume (mL): 10 mL |
| Q4. | 132 | Other LC-UV | mass (g): 0.500 g ¦ volume (mL): 10 mL |
| Q4. | 137 | Other | mass (g): 0.5g ¦ volume (mL): 15ml |
| Q4. | 138 | GC-FID | mass (g): 0.5 g ¦ volume (mL): 20 mL |
| Q4. | 141 | Other LC-UV | mass (g): 0.2 ¦ volume (mL): 40 |
| Q4. | 142 | Other LC-UV | mass (g): 0.3g ¦ volume (mL): 4mL |
| Q4. | 144 | Other LC-UV | mass (g): 1.1 ¦ volume (mL): 40 |
| Q4. | 145 | Other LC-UV | mass (g): .06g ¦ volume (mL): 25mL |
| Q4. | 148 | AOAC 2018.10 | mass (g): 0.20 ¦ volume (mL): 10 |
| Q4. | 149 | Other LC-MS | mass (g): 0.20 ¦ volume (mL): 25 |

| Q# | Lab Num | THC method | Answer |
| --- | --- | --- | --- |
| Q4. | 149 | Other LC-UV | mass (g): 0.20 ¦ volume (mL): 25 |
| Q4. | 150 | Other LC-UV | mass (g): 0.5 ¦ volume (mL): 20 |
| Q4. | 152 | AOAC 2018.11, UV | mass (g): 0.100 ¦ volume (mL): 10 |
| Q4. | 152 | AOAC 2018.10 | mass (g): 0.100 ¦ volume (mL): 10 |
| Q4. | 153 | GC-FID | mass (g): 0.20 g ¦ volume (mL): 40 mL |
| Q4. | 154 | Other | mass (g): 1.0g ¦ volume (mL): 10mL |
| Q4. | 155 | AOAC 2018.10 | mass (g): 0.2 ¦ volume (mL): 30 |
| Q4. | 159 | Other LC-MS | mass (g): 200 mg ¦ volume (mL): 25 mL |
| Q4. | 161 | AOAC 2018.11, UV | mass (g): 0.5 ¦ volume (mL): 25 |
| Q4. | 162 | Other LC-UV | mass (g): 0.200 ¦ volume (mL): 20 |
| Q4. | 164 | Other LC-MS | mass (g): 0.2 ¦ volume (mL): 20 |
| Q4. | 165 | Other LC-UV | mass (g): 0.25g ¦ volume (mL): 20 |
| Q4. | 168 | AOAC 2018.10 | mass (g): 1 gram ¦ volume (mL): 25 mL |
| Q4. | 170 | GC-FID | mass (g): 0.2 ¦ volume (mL): 32 |
| Q4. | 172 | Other LC-UV | mass (g): LC-UV 0.050g : (1H qNMR) 0.075g ¦ volume (mL): LC-UV 10 ml : (1H qNMR) 1 ml |
| Q4. | 172 | Other | mass (g): LC-UV 0.050g : (1H qNMR) 0.075g ¦ volume (mL): LC-UV 10 ml : (1H qNMR) 1 ml |
| Q4. | 175 | AOAC 2018.10 | mass (g): 0.200 ¦ volume (mL): 25 |
| Q4. | 178 | Other LC-UV | mass (g): 0.5g ¦ volume (mL): 50 |
| Q4. | 182 | Other LC-UV | mass (g): 0.5 ¦ volume (mL): 50 mL in EtOH; 1/25 dilution in MeOH |
| Q4. | 183 | Other | mass (g): 0.25 g ¦ volume (mL): 25 mL |
| Q4. | 184 | Other LC-UV | mass (g): 0.200 ¦ volume (mL): 25 |
| Q4. | 185 | GC-FID | mass (g): .350 ¦ volume (mL): 40 |
| Q4. | 186 | Other LC-UV | mass (g): 0.18 ¦ volume (mL): 20 |
| Q4. | 188 | Other LC-MS | mass (g): 0.050g ¦ volume (mL): 5 mL |
| Q4. | 190 | GC-FID | mass (g): 0.1g ¦ volume (mL): 5ml |
| Q4. | 191 | Other LC-UV | mass (g): 0.150g ¦ volume (mL): 10mL |
| Q4. | 192 | Other LC-UV | mass (g): 0.2 ¦ volume (mL): 20 ml |

## Lab

Q#  Num  THC method	Answer

| Q4. | 194 | Other LC-UV | mass (g): 0.5 ¦ volume (mL): 40 |
| --- | --- | --- | --- |
| Q4. | 195 | Other LC-UV | mass (g): 0.25 g ¦ volume (mL): 20 mL |
| Q4. | 196 | Other LC-UV | mass (g): 0.2 ¦ volume (mL): 10 |
| Q4. | 197 | Other LC-UV | mass (g): 0.200 ¦ volume (mL): 20 |
| Q4. | 198 | Other LC-UV | mass (g): 0.200 ¦ volume (mL): 20ml |
| Q4. | 199 | AOAC 2018.11, UV | mass (g): 0.50 ¦ volume (mL): 2-20.0 mL combined and diluted to 50.0mL |
| Q4. | 200 | Other LC-UV | mass (g): 0.2 ¦ volume (mL): 20 |
| Q4. | 201 | Other LC-MS | mass (g): 0.5 grams ¦ volume (mL): 5 mL |
| Q4. | 202 | Other LC-UV | mass (g): 0.400 g ¦ volume (mL): 10 mL |
| Q4. | 203 | Other LC-UV | mass (g): approximately 0.110 g ¦ volume (mL): 10.0 mL |
| Q4. | 204 | Other LC-UV | mass (g): 2.000g ¦ volume (mL): 50ml |
| Q4. | 205 | Other LC-UV | mass (g): 0.250 ¦ volume (mL): 40 |
| Q4. | 205 | Other | mass (g): 0.250 ¦ volume (mL): 40 |

Q6. Do you report total THC to your client on a dry weight basis?

| Q6. | 101 | AOAC 2018.10 | yes |
| --- | --- | --- | --- |
| Q6. | 102 | Other LC-MS | We report on dry weight basis |
| Q6. | 105 | Other LC-MS | yes |
| Q6. | 106 | Other LC-UV | yes |
| Q6. | 107 | AOAC 2018.11, UV | yes |
| Q6. | 108 | AOAC 2018.11, UV | yes |
| Q6. | 109 | Other LC-UV | yes |
| Q6. | 112 | GC-FID | yes |
| Q6. | 113 | Other LC-UV | No |
| Q6. | 114 | GC-FID | yes |
| Q6. | 115 | AOAC 2018.10 | yes |

## Lab

| Q# | Num | THC method | Answer |
| --- | --- | --- | --- |
| Q6. | 116 | GC-FID | yes |
| Q6. | 116 | Other LC-UV | yes |
| Q6. | 118 | Other LC-UV | yes |
| Q6. | 119 | Other LC-MS | depends |
| Q6. | 120 | Other LC-MS | yes |
| Q6. | 121 | GC-FID | yes |
| Q6. | 122 | Other LC-MS | No |
| Q6. | 123 | Other LC-UV | yes |
| Q6. | 124 | Other LC-UV | No |
| Q6. | 125 | AOAC 2018.11, UV | yes |
| Q6. | 128 | GC-FID | yes |
| Q6. | 131 | AOAC 2018.10 | yes |
| Q6. | 132 | Other LC-UV | No |
| Q6. | 132 | Other | No |
| Q6. | 137 | Other | yes |
| Q6. | 138 | GC-FID | yes |
| Q6. | 141 | Other LC-UV | no |
| Q6. | 142 | Other LC-UV | No |
| Q6. | 144 | Other LC-UV | yes |
| Q6. | 145 | Other LC-UV | yes |
| Q6. | 148 | AOAC 2018.10 | No. Not currently reporting total THC. |
| Q6. | 149 | Other LC-UV | yes |
| Q6. | 149 | Other LC-MS | yes |
| Q6. | 150 | Other LC-UV | No |
| Q6. | 152 | AOAC 2018.11, UV | As Is |
| Q6. | 152 | AOAC 2018.10 | As Is |
| Q6. | 153 | GC-FID | yes |

| Q# | Lab Num | THC method | Answer |
| --- | --- | --- | --- |
| Q6. | 154 | Other | yes |
| Q6. | 155 | AOAC 2018.10 | no |
| Q6. | 159 | Other LC-MS | no |
| Q6. | 161 | AOAC 2018.11, UV | both dry and wet |
| Q6. | 162 | Other LC-UV | No |
| Q6. | 164 | Other LC-MS | Yes, however PT's are reported as received |
| Q6. | 165 | Other LC-UV | yes |
| Q6. | 168 | AOAC 2018.10 | yes |
| Q6. | 170 | GC-FID | yes |
| Q6. | 172 | Other | yes |
| Q6. | 172 | Other LC-UV | yes |
| Q6. | 175 | AOAC 2018.10 | yes |
| Q6. | 178 | Other LC-UV | yes |
| Q6. | 182 | Other LC-UV | yes |
| Q6. | 183 | Other | yes |
| Q6. | 184 | Other LC-UV | yes |
| Q6. | 185 | GC-FID | yes |
| Q6. | 186 | Other LC-UV | yes |
| Q6. | 188 | Other LC-MS | yes |
| Q6. | 190 | GC-FID | yes |
| Q6. | 191 | Other LC-UV | yes |
| Q6. | 192 | Other LC-UV | yes |
| Q6. | 194 | Other LC-UV | yes |
| Q6. | 195 | Other LC-UV | Assume 10% moisture in calculation |
| Q6. | 196 | Other LC-UV | yes |
| Q6. | 197 | Other LC-UV | yes |
| Q6. | 198 | Other LC-UV | yes |

| Q# | Lab Num | THC method |  | Answer |
| --- | --- | --- | --- | --- |
| Q6. | 199 | AOAC 2018.11, UV |  | yes |
| Q6. | 200 | Other LC-UV |  | yes |
| Q6. | 201 | Other LC-MS |  | yes |
| Q6. | 203 | Other LC-UV |  | yes |
| Q6. | 204 | Other LC-UV | No |  |

### Q6.

205 Other

Any wet samples will be dried then tested/reported.

Q7. If you determine measurement uncertainty, what is your expanded measurement uncertainty, U, for % total THC in hemp?

Any wet samples will be dried then tested/reported.

Q6.  205 Other LC-UV

| Q7. | 101 | AOAC 2018.10 | 14% |
| --- | --- | --- | --- |
| Q7. | 102 | Other LC-MS | Close to 10% of the result |
| Q7. | 107 | AOAC 2018.11, UV | 0.060 |
| Q7. | 108 | AOAC 2018.11, UV | 0.33 |
| Q7. | 109 | Other LC-UV | TBD |
| Q7. | 112 | GC-FID | result*0.1124 |
| Q7. | 116 | GC-FID | 0.09% |
| Q7. | 116 | Other LC-UV | 0.09% |
| Q7. | 120 | Other LC-MS | .1047 |
| Q7. | 121 | GC-FID | 19.55 |
| Q7. | 122 | Other LC-MS | 0.007 |
| Q7. | 124 | Other LC-UV | 0.0129 |
| Q7. | 125 | AOAC 2018.11, UV | No |
| Q7. | 128 | GC-FID | 30% |
| Q7. | 132 | Other LC-UV | 0.00968 |
| Q7. | 132 | Other | 0.00968 |
| Q7. | 138 | GC-FID | 0.08% |

## Lab

| Q# | Num | THC method | Answer |
| --- | --- | --- | --- |
| Q7. | 142 | Other LC-UV | 15% |
| Q7. | 144 | Other LC-UV | 0.0453 |
| Q7. | 145 | Other LC-UV | +/- 0.05% |
| Q7. | 149 | Other LC-UV | 8.49% |
| Q7. | 149 | Other LC-MS | 8.49% |
| Q7. | 153 | GC-FID | 0.0782% |
| Q7. | 154 | Other | 0.028% |
| Q7. | 162 | Other LC-UV | 2.57% |
| Q7. | 164 | Other LC-MS | 0.034% |
| Q7. | 165 | Other LC-UV | 0.05% |
| Q7. | 168 | AOAC 2018.10 | +/-0.02% |
| Q7. | 170 | GC-FID | 50% |
| Q7. | 182 | Other LC-UV | Dry Weight: U =13.8%; k = 1.96 |
| Q7. | 183 | Other | 12 |
| Q7. | 184 | Other LC-UV | 0.104 |
| Q7. | 185 | GC-FID | +/- 0.01 |
| Q7. | 188 | Other LC-MS | 0.115 |
| Q7. | 192 | Other LC-UV | 0.04 |
| Q7. | 196 | Other LC-UV | Depends on D9THC:THCA ratio. D9THC U = 15.46%, THCA U = 13.76% |
| Q7. | 197 | Other LC-UV | 0.040 |
| Q7. | 199 | AOAC 2018.11, UV | not yet available |
| Q7. | 200 | Other LC-UV | 7.0 |
| Q7. | 201 | Other LC-MS | Estimated at 10% until MU study is completed |
| Q7. | 205 | Other LC-UV | +/- 3% on both THC and THCA |
| Q7. | 205 | Other | +/- 3% on both THC and THCA |

## Lab

## Q#  Num  THC method	Answer

Q8. What digestion method did you use for metals (eg., microwave, hot-block, dry ash)?

| Q8. | 105 | microwave |
| --- | --- | --- |
| Q8. | 122 | microwave |
| Q8. | 132 | hot-block |
| Q8. | 137 | microwave |
| Q8. | 141 | microwave |
| Q8. | 142 | microwave |
| Q8. | 162 | Microwave |
| Q8. | 168 | microwave |
| Q8. | 195 | No digestion method, PIXE used |
| Q8. | 196 | Microwave |
| Q8. | 197 | Microwave |
| Q8. | 201 | Microwave |
| Q8. | 202 | Not applicable |

Q9. What was your approximate mass of test portion for metals in grams (g)?

| Q9. | 105 | 0.5 |
| --- | --- | --- |
| Q9. | 122 | 0.1 |
| Q9. | 132 | 0.500 |
| Q9. | 137 | 0.5-0.6g |
| Q9. | 141 | 0.5 |
| Q9. | 142 | 0.1g |
| Q9. | 162 | 0.200 |

## Lab

Q#  Num  THC method	Answer

| Q9. | 168 | ~0.8 grams |
| --- | --- | --- |
| Q9. | 195 | 1.0 g |
| Q9. | 196 | 0.5 |
| Q9. | 197 | 0.500 |
| Q9. | 201 | 0.5g |
| Q9. | 202 | Not applicable |

Q10. Specify the composition of the solution to digest hemp for metal analysis (eg. 4 mL of 70% HNO3 and 2 mL of ultrapure water).

Q10. 105	1 mL of water followed by 8 mL of HNO3 (70%) and 1 mL of H2O2 (hydrogen peroxide, 30%).

Q10. 132	1.5mL of 70% HNO3 and 20 mL nanopure water

Q10. 137	5ml DI water, 5ml HNO3 (70% HNO3)

Q10. 141	7 mL of 70% nitric acid and 3 mL of 30% hydrogen peroxide

Q10. 142	2mL of 45% HNO3, 5% HCl, 50% Ultrapur water

Q10. 162	3mL of Type 1 water and 1 mL 36.5-38% HCl trace metals analysis, 6mL of 69-70% HNO3 trace

Q10. 168	2 mL H2O, 10 mL HNO3, 0.5 mL H2O2

Q10. 196	8 mL 70% HNO3, 1 mL 35% HCl

Q10. 197	75%HNO3 25%HCl

Q10. 201	10 mL 70% Nitric Acid + 2 mL HCl

Q10. 202	Not applicable

Q11. What volume (in milliliters, mL) was the digestate diluted to for metals determination?

### Q11. 105	100

Q11. 122	10

Q11. 132	20 mL

## Lab

## Q#  Num  THC method	Answer

Q11. 137	20ml

Q11. 142	20mL

Q11. 141	50 mL

Q11. 168	50 mL

Q11. 162	50

Q11. 197	50

Q11. 196	50

Q11. 201	5 mL

Q12. Does your lab have ISO 17025 accreditation?

Not applicable

Q11. 202

| Q12. 101 | AOAC 2018.10 | no |
| --- | --- | --- |
| Q12. 105 | Other LC-MS | yes |
| Q12. 106 | Other LC-UV | No |
| Q12. 107 | AOAC 2018.11, UV | No |
| Q12. 108 | AOAC 2018.11, UV | yes |
| Q12. 112 | GC-FID | in process |
| Q12. 113 | Other LC-UV | yes |
| Q12. 114 | GC-FID | yes |
| Q12. 115 | AOAC 2018.10 | no |
| Q12. 116 | Other LC-UV | No |
| Q12. 116 | GC-FID | No |
| Q12. 118 | Other LC-UV | yes |
| Q12. 120 | Other LC-MS | No |
| Q12. 121 | GC-FID | yes |
| Q12. 122 | Other LC-MS | yes |

## Lab

Q#  Num  THC method	Answer

| Q12. 123 | Other LC-UV | yes |
| --- | --- | --- |
| Q12. 124 | Other LC-UV | yes |
| Q12. 125 | AOAC 2018.11, UV | yes |
| Q12. 128 | GC-FID | yes |
| Q12. 131 | AOAC 2018.10 | TNI 2016 |
| Q12. 132 | Other LC-UV | yes |
| Q12. 132 | Other | yes |
| Q12. 137 | Other | yes |
| Q12. 138 | GC-FID | yes |
| Q12. 141 | Other LC-UV | no |
| Q12. 142 | Other LC-UV | yes |
| Q12. 144 | Other LC-UV | yes |
| Q12. 145 | Other LC-UV | yes |
| Q12. 148 | AOAC 2018.10 | No |
| Q12. 149 | Other LC-UV | yes |
| Q12. 149 | Other LC-MS | yes |
| Q12. 150 | Other LC-UV | No |
| Q12. 152 | AOAC 2018.11, UV | No |
| Q12. 152 | AOAC 2018.10 | No |
| Q12. 153 | GC-FID | yes |
| Q12. 154 | Other | No |
| Q12. 155 | AOAC 2018.10 | no |
| Q12. 159 | Other LC-MS | No |
| Q12. 161 | AOAC 2018.11, UV | yes |
| Q12. 162 | Other LC-UV | yes |
| Q12. 164 | Other LC-MS | yes |
| Q12. 165 | Other LC-UV | yes |

## Lab

Q#  Num  THC method	Answer

| Q12. 168 | AOAC 2018.10 | yes |
| --- | --- | --- |
| Q12. 170 | GC-FID | yes |
| Q12. 172 | Other | No |
| Q12. 172 | Other LC-UV | No |
| Q12. 175 | AOAC 2018.10 | yes |
| Q12. 182 | Other LC-UV | yes |
| Q12. 183 | Other | yes |
| Q12. 184 | Other LC-UV | not for hemp |
| Q12. 185 | GC-FID | A2LA - PENDING |
| Q12. 186 | Other LC-UV | No |
| Q12. 188 | Other LC-MS | no - but reveiwing |
| Q12. 190 | GC-FID | yes |
| Q12. 191 | Other LC-UV | yes |
| Q12. 192 | Other LC-UV | NO |
| Q12. 194 | Other LC-UV | yes |
| Q12. 195 | Other LC-UV | No |
| Q12. 196 | Other LC-UV | yes |
| Q12. 197 | Other LC-UV | yes |
| Q12. 198 | Other LC-UV | no |
| Q12. 199 | AOAC 2018.11, UV | in-progress |
| Q12. 200 | Other LC-UV | yes |
| Q12. 201 | Other LC-MS | yes |
| Q12. 202 | Other LC-UV | Not yet, expect to be evaluated soon. |
| Q12. 203 | Other LC-UV | No |
| Q12. 204 | Other LC-UV | NO |
| Q12. 205 | Other LC-UV | No |
| Q12. 205 | Other | No |

## Lab

## Q#  Num  THC method	Answer

Q13. If yes to Q12, is total THC in hemp within your scope of accreditation?

| Q13. 105 | Other LC-MS |  | yes |
| --- | --- | --- | --- |
| Q13. 108 | AOAC 2018.11, UV |  | yes |
| Q13. 112 | GC-FID | no |  |
| Q13. 113 | Other LC-UV | No |  |
| Q13. 114 | GC-FID | no |  |
| Q13. 118 | Other LC-UV |  | yes |
| Q13. 121 | GC-FID | no |  |
| Q13. 122 | Other LC-MS |  | yes |
| Q13. 123 | Other LC-UV |  | yes |
| Q13. 124 | Other LC-UV |  | yes |
| Q13. 125 | AOAC 2018.11, UV |  | yes |
| Q13. 128 | GC-FID |  | yes |
| Q13. 131 | AOAC 2018.10 |  | yes |
| Q13. 132 | Other |  | yes |
| Q13. 132 | Other LC-UV |  | yes |
| Q13. 137 | Other |  | yes |
| Q13. 138 | GC-FID | no |  |
| Q13. 142 | Other LC-UV |  | yes |
| Q13. 144 | Other LC-UV |  | yes |
| Q13. 145 | Other LC-UV |  | yes |
| Q13. 149 | Other LC-UV |  | yes |
| Q13. 149 | Other LC-MS |  | yes |
| Q13. 153 | GC-FID |  | yes |
| Q13. 154 | Other | No |  |

## Lab

## Q#  Num  THC method	Answer

Q13. 161 AOAC 2018.11, UV	not for AOAC method

Q13. 162 Other LC-UV	yes

Q13. 164 Other LC-MS	yes

Q13. 165 Other LC-UV	yes

Q13. 168 AOAC 2018.10	No

Q13. 170 GC-FID	no

Q13. 175 AOAC 2018.10	yes

Q13. 182 Other LC-UV	Not yet, methods will be added in 2021 Site Visit

Q13. 183 Other	yes

Q13. 185 GC-FID	CANNABIS + HEMP

Q13. 190 GC-FID	no

Q13. 191 Other LC-UV	the method used in this PT is currently undergoing method validation

Q13. 194 Other LC-UV	yes

Q13. 196 Other LC-UV	yes

Q13. 197 Other LC-UV	yes

Q13. 199 AOAC 2018.11, UV	planned

Q13. 200 Other LC-UV	yes

Q14. If yes to Q12, is metals in hemp within your scope of accreditation?

yes

Q13. 201 Other LC-MS

Q14. 105	no

Q14. 112	no

Q14. 113	No

Q14. 118	yes

Q14. 121	no

Q14. 122	No

Lab

Q#  Num  THC method	Answer

| Q14. 123 | No |
| --- | --- |
| Q14. 128 | not yet |
| Q14. 132 | No |
| Q14. 137 | yes |
| Q14. 138 | no |
| Q14. 142 | yes |
| Q14. 149 | No |
| Q14. 154 | No |
| Q14. 161 | not for AOAC method |
| Q14. 162 | yes |
| Q14. 164 | No |
| Q14. 168 | No |
| Q14. 170 | no |
| Q14. 175 | yes |
| Q14. 182 | No |
| Q14. 185 | NO |
| Q14. 190 | no |
| Q14. 196 | yes |
| Q14. 197 | Not yet; inspection set for Jan 2021 to add |
| Q14. 199 | no |
| Q14. 200 | No |
| Q14. 201 | yes |