Hemp Proficiency Testing All Labs Precision HM21NOV-1 (hemp)

Sample: HM21NOV-1 (hemp)

All Labs Precision

Issue Date: December 20, 2021

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Δ9-THC (%AR)

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

| Δ9-THC (%AR) | 001.10 | Other LC-UV | 204 | 0.1927 | 0.1937 | 0.1924 | 0.35 | 0.07 | 3.28 | 0.35 | 22.5 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.2498 | 0.2524 | 0.2514 | 0.52 | 0.11 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 113 | 0.1829 | 0.1812 | 0.1835 | 0.65 | 0.13 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 141 | 0.1693 | 0.1668 | 0.167 | 0.83 | 0.16 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.208 | 0.2108 | 0.207 | 0.94 | 0.19 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 216 | 0.1888 | 0.1854 | 0.1884 | 0.99 | 0.19 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.2215 | 0.2175 | 0.2178 | 1.02 | 0.2 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 215 | 0.2028 | 0.2023 | 0.1988 | 1.08 | 0.21 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 142 | 0.1802 | 0.1836 | 0.1801 | 1.1 | 0.21 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 148 | 0.232 | 0.236 | 0.231 | 1.14 | 0.23 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 182 | 0.1622 | 0.1608 | 0.158 | 1.33 | 0.25 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.207 | 0.204 | 0.201 | 1.47 | 0.29 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 191 | 0.1939 | 0.1909 | 0.1971 | 1.6 | 0.31 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 199 | 0.192 | 0.1875 | 0.1935 | 1.63 | 0.32 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 120 | 0.2029 | 0.2062 | 0.1997 | 1.6 | 0.32 | 3.28 | 0.35 | 22.5 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 219 | 0.2246 | 0.2318 | 0.2284 | 1.58 | 0.32 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 217 | 0.2017 | 0.1985 | 0.1948 | 1.74 | 0.34 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 211 | 0.2 | 0.206 | 0.208 | 2.03 | 0.4 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 125 | 0.185 | 0.19 | 0.193 | 2.13 | 0.42 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.2069 | 0.1975 | 0.2043 | 2.39 | 0.47 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.2273 | 0.2334 | 0.222 | 2.51 | 0.5 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 208 | 0.185 | 0.1758 | 0.1818 | 2.58 | 0.5 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 132 | 0.213 | 0.205 | 0.203 | 2.56 | 0.51 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 164 | 0.1849 | 0.1749 | 0.1818 | 2.84 | 0.55 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 192 | 0.1874 | 0.1847 | 0.1955 | 2.97 | 0.58 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.60 | NIR | 187 | 0.18 | 0.19 | 0.19 | 3.09 | 0.6 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.217 | 0.214 | 0.227 | 3.1 | 0.62 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.1902 | 0.1824 | 0.1786 | 3.22 | 0.63 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | 0.1642 | 0.1751 | 0.1673 | 3.33 | 0.64 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, | 139 | 0.2016 | 0.2132 | 0.201 | 3.35 | 0.66 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 155 | 0.187 | 0.175 | 0.184 | 3.43 | 0.67 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 162 | 0.1865 | 0.1927 | 0.1796 | 3.52 | 0.69 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 172 | 0.226 | 0.233 | 0.243 | 3.65 | 0.74 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.1895 | 0.1868 | 0.1749 | 4.23 | 0.82 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 209 | 0.2182 | 0.2076 | 0.2257 | 4.19 | 0.83 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.2002 | 0.1954 | 0.2133 | 4.56 | 0.9 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 209 | 0.2458 | 0.2239 | 0.231 | 4.78 | 0.96 | 3.28 | 0.35 | 22.5 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 194 | 0.1907 | 0.21 | 0.1971 | 4.93 | 0.97 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 196 | 0.1918 | 0.1974 | 0.1791 | 4.95 | 0.97 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 161 | 0.1513 | 0.1377 | 0.1507 | 5.24 | 0.99 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 200 | 0.206 | 0.186 | 0.195 | 5.12 | 1 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 152 | 0.2233 | 0.2102 | 0.2325 | 5.05 | 1.01 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 212 | 0.1424 | 0.1584 | 0.1524 | 5.35 | 1.01 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.18 | 0.19 | 0.17 | 5.56 | 1.08 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 183 | 0.227 | 0.205 | 0.209 | 5.48 | 1.09 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 103 | 0.186 | 0.166 | 0.172 | 5.88 | 1.13 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.18 | 0.2 | 0.2 | 5.97 | 1.17 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 213 | 0.1431 | 0.1643 | 0.1707 | 9.06 | 1.72 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 209 | 0.2641 | 0.2372 | 0.2224 | 8.76 | 1.77 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 109 | 0.198 | 0.159 | 0.179 | 10.9 | 2.11 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 108 | 0.1825 | 0.1841 | 0.2237 | 11.9 | 2.33 | 3.28 | 0.35 | 22.5 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 124 | 0.1339 | 0.2021 | 0.2061 | 22.5 | 4.35 | 3.28 | 0.35 | 22.5 | 0 |

Lab

Population of Lab RSDr

Δ9-THCA (%AR)

| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 108 | <0.0700 | <0.0700 | <0.0700 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 216 | <0.0701 | <0.0732 | <0.0725 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0698 | <0.0688 | <0.0721 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.08 | 0.08 | 0.08 | 0 | 0 | 5.43 | 0 | 37.3 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 191 | 0.0876 | 0.088 | 0.088 | 0.26 | 0.05 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0804 | 0.0806 | 0.0801 | 0.31 | 0.05 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | 0.091 | 0.0916 | 0.091 | 0.38 | 0.07 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 199 | 0.0745 | 0.0745 | 0.0735 | 0.78 | 0.13 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 164 | 0.0924 | 0.0924 | 0.094 | 0.99 | 0.17 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 204 | 0.0832 | 0.0848 | 0.0848 | 1.1 | 0.19 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.0711 | 0.0705 | 0.0694 | 1.23 | 0.21 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 215 | 0.0548 | 0.0548 | 0.0535 | 1.38 | 0.22 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | 0.067 | 0.066 | 0.068 | 1.49 | 0.25 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | 0.0635 | 0.0637 | 0.0616 | 1.84 | 0.3 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 120 | 0.0736 | 0.0738 | 0.0761 | 1.86 | 0.32 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 213 | 0.0338 | 0.035 | 0.0353 | 2.29 | 0.35 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.063 | 0.062 | 0.065 | 2.41 | 0.4 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 155 | 0.045 | 0.043 | 0.045 | 2.6 | 0.41 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 113 | 0.0681 | 0.0654 | 0.0649 | 2.6 | 0.43 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 217 | 0.0821 | 0.0779 | 0.0792 | 2.7 | 0.46 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 219 | 0.0644 | 0.068 | 0.0672 | 2.84 | 0.47 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | 0.0796 | 0.0775 | 0.0751 | 2.91 | 0.5 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 161 | 0.0639 | 0.0611 | 0.0652 | 3.3 | 0.55 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0.0751 | 0.0724 | 0.0786 | 4.12 | 0.7 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0754 | 0.082 | 0.0784 | 4.2 | 0.72 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 152 | 0.0885 | 0.0929 | 0.0851 | 4.4 | 0.77 | 5.43 | 0 | 37.3 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 209 | 0.1071 | 0.0996 | 0.0987 | 4.53 | 0.81 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 209 | 0.0959 | 0.0896 | 0.098 | 4.63 | 0.81 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 162 | 0.0666 | 0.061 | 0.0611 | 5.09 | 0.84 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 172 | 0.085 | 0.089 | 0.094 | 5.05 | 0.88 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 141 | 0.0526 | 0.0486 | 0.0542 | 5.57 | 0.9 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | 0.0599 | 0.0649 | 0.0585 | 5.51 | 0.91 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 200 | 0.073 | 0.065 | 0.068 | 5.89 | 0.99 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 183 | 0.083 | 0.091 | 0.096 | 7.29 | 1.27 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.0763 | 0.0695 | 0.0811 | 7.71 | 1.31 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 208 | 0.0614 | 0.0613 | 0.0701 | 7.86 | 1.31 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, | 139 | 0.075 | 0.0812 | 0.0695 | 7.78 | 1.32 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 182 | 0.0632 | 0.057 | 0.0535 | 8.48 | 1.39 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 211 | 0.058 | 0.062 | 0.07 | 9.65 | 1.6 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 125 | 0.111 | 0.107 | 0.093 | 9.12 | 1.63 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.60 | NIR | 187 | 0.14 | 0.12 | 0.12 | 9.12 | 1.68 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.0708 | 0.0658 | 0.0577 | 10.2 | 1.7 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 209 | 0.1151 | 0.1055 | 0.095 | 9.56 | 1.71 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 194 | 0.0515 | 0.0582 | 0.0658 | 12.2 | 2 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 109 | 0.078 | 0.061 | 0.069 | 12.3 | 2.06 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | 0.075 | 0.06 | 0.062 | 12.4 | 2.07 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 103 | 0.07 | 0.08 | 0.09 | 12.5 | 2.14 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 132 | 0.091 | 0.073 | 0.069 | 15.1 | 2.58 | 5.43 | 0 | 37.3 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 212 | 0.0666 | 0.048 | 0.048 | 19.8 | 3.21 | 5.43 | 0 | 37.3 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 124 | 0.0395 | 0.0765 | 0.0448 | 37.3 | 6.03 | 5.43 | 0 | 37.3 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.10 | Other LC-UV | 113 | 3.461 | 3.4454 | 3.4513 | 0.23 | 0.07 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 3.1803 | 3.1728 | 3.1561 | 0.39 | 0.12 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 204 | 3.42 | 3.4494 | 3.4422 | 0.45 | 0.13 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 3.5447 | 3.5781 | 3.551 | 0.5 | 0.15 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 3.888 | 3.865 | 3.91 | 0.58 | 0.18 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 211 | 3.574 | 3.614 | 3.556 | 0.83 | 0.25 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.99 | Other | 132 | 3.355 | 3.298 | 3.338 | 0.88 | 0.26 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 103 | 3.565 | 3.536 | 3.487 | 1.12 | 0.34 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 199 | 3.546 | 3.479 | 3.555 | 1.18 | 0.36 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 3.7805 | 3.7972 | 3.7106 | 1.22 | 0.37 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 219 | 3.489 | 3.568 | 3.559 | 1.22 | 0.37 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 212 | 3.4942 | 3.4942 | 3.5879 | 1.53 | 0.46 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 108 | 3.876 | 3.762 | 3.867 | 1.65 | 0.51 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 216 | 3.7485 | 3.8546 | 3.8837 | 1.86 | 0.57 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 194 | 3.5475 | 3.6789 | 3.6623 | 1.97 | 0.6 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 3.7383 | 3.782 | 3.6229 | 2.21 | 0.68 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 208 | 3.5697 | 3.4136 | 3.4838 | 2.24 | 0.68 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 141 | 3.0866 | 3.2322 | 3.1319 | 2.37 | 0.7 | 3.12 | 0.23 | 10.1 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 209 | 2.7299 | 2.7536 | 2.8659 | 2.61 | 0.76 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 3.3056 | 3.4858 | 3.3872 | 2.66 | 0.8 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 162 | 3.4378 | 3.2839 | 3.2786 | 2.71 | 0.81 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 155 | 3.215 | 3.11 | 3.3 | 2.97 | 0.89 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 3.391 | 3.5942 | 3.424 | 3.14 | 0.95 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 152 | 3.593 | 3.369 | 3.506 | 3.24 | 0.98 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 172 | 4.009 | 4.157 | 4.285 | 3.33 | 1.03 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, | 139 | 3.3519 | 3.5161 | 3.2773 | 3.61 | 1.09 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 191 | 3.0976 | 3.1041 | 3.3074 | 3.76 | 1.12 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 3.4159 | 3.1697 | 3.3304 | 3.78 | 1.13 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 164 | 3.2571 | 3.0222 | 3.0719 | 3.97 | 1.18 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 3.427 | 3.394 | 3.644 | 3.89 | 1.18 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.60 | NIR | 187 | 2.81 | 3.03 | 3 | 4.05 | 1.19 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 3.2 | 3.32 | 3.06 | 4.07 | 1.22 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 125 | 3.28 | 3.14 | 3.41 | 4.12 | 1.23 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 200 | 3.316 | 3.373 | 3.598 | 4.35 | 1.31 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 161 | 3.0085 | 2.7495 | 2.8772 | 4.5 | 1.32 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 209 | 2.8866 | 2.6157 | 2.6377 | 5.55 | 1.61 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 120 | 3.0847 | 3.0442 | 2.732 | 6.53 | 1.93 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 4.1507 | 3.8284 | 3.6661 | 6.35 | 1.95 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 4.8424 | 4.2807 | 4.3649 | 6.74 | 2.12 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.99 | Other | 215 | 3.148 | 3.676 | 3.3463 | 7.87 | 2.37 | 3.12 | 0.23 | 10.1 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.99 | Other | 183 | 3.428 | 3.732 | 4.049 | 8.31 | 2.54 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 209 | 3.3194 | 2.8296 | 2.8851 | 8.91 | 2.63 | 3.12 | 0.23 | 10.1 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 109 | 3.702 | 3.02 | 3.379 | 10.1 | 3.05 | 3.12 | 0.23 | 10.1 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 5.3495 | 5.3183 | 5.3521 | 0.35 | 0.11 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 4.4224 | 4.4089 | 4.388 | 0.39 | 0.12 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 211 | 4.987 | 4.937 | 4.913 | 0.76 | 0.24 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 204 | 5.0711 | 5.1741 | 5.0943 | 1.06 | 0.34 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 199 | 5.3245 | 5.3595 | 5.4605 | 1.31 | 0.42 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.99 | Other | 215 | 5.4365 | 5.438 | 5.303 | 1.44 | 0.46 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 216 | 5.3235 | 5.2956 | 5.4415 | 1.45 | 0.47 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 194 | 4.8611 | 4.9899 | 5.0197 | 1.7 | 0.54 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.99 | Other | 132 | 4.8 | 4.677 | 4.648 | 1.71 | 0.54 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 5.357 | 5.328 | 5.511 | 1.82 | 0.59 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 219 | 5.025 | 5.198 | 5.183 | 1.87 | 0.6 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 162 | 4.7881 | 4.6009 | 4.6895 | 2 | 0.63 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 125 | 4.92 | 4.73 | 4.78 | 2.05 | 0.65 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 4.7106 | 4.805 | 4.6052 | 2.12 | 0.67 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 212 | 4.704 | 4.6194 | 4.4948 | 2.28 | 0.72 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 4.5 | 4.65 | 4.45 | 2.3 | 0.72 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 141 | 4.6529 | 4.8331 | 4.6231 | 2.42 | 0.76 | 2.89 | 0.35 | 9.96 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 5.6679 | 5.4077 | 5.5019 | 2.38 | 0.77 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 4.7936 | 4.7111 | 4.5687 | 2.43 | 0.77 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 5.0679 | 5.3018 | 5.1144 | 2.4 | 0.77 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 5.548 | 5.287 | 5.421 | 2.41 | 0.78 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 108 | 5.334 | 5.091 | 5.3 | 2.51 | 0.81 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 155 | 4.16 | 4.11 | 4.33 | 2.75 | 0.85 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 200 | 4.833 | 4.901 | 5.097 | 2.77 | 0.88 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 103 | 5.366 | 5.072 | 5.083 | 3.22 | 1.03 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 208 | 5.3241 | 4.9775 | 5.1426 | 3.37 | 1.08 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.60 | NIR | 187 | 4.66 | 4.4 | 4.37 | 3.56 | 1.12 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 164 | 4.9898 | 5.3372 | 5.0749 | 3.53 | 1.13 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, | 139 | 4.8975 | 4.9611 | 4.6319 | 3.62 | 1.15 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 152 | 4.988 | 4.636 | 4.918 | 3.84 | 1.22 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.01 | AOAC 2018.10 | 209 | 5.5732 | 5.5884 | 5.9577 | 3.82 | 1.24 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 191 | 5.0109 | 4.9959 | 5.346 | 3.87 | 1.24 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 161 | 4.5873 | 4.2378 | 4.4554 | 3.99 | 1.25 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 172 | 5.601 | 5.778 | 6.116 | 4.49 | 1.46 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.99 | Other | 183 | 5.581 | 5.314 | 5.851 | 4.81 | 1.56 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 5.0996 | 4.6144 | 4.8648 | 4.99 | 1.59 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 4.9704 | 5.2969 | 4.7741 | 5.27 | 1.68 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 209 | 6.2413 | 5.6841 | 5.6256 | 5.81 | 1.9 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 5.4495 | 4.6242 | 4.8197 | 8.69 | 2.77 | 2.89 | 0.35 | 9.96 | 0 |

Population of Lab RSDr

Lab

CBN (%AR)

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 209 | 7.2888 | 6.2739 | 6.2087 | 9.19 | 3.06 | 2.89 | 0.35 | 9.96 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 109 | 5.769 | 4.722 | 5.302 | 9.96 | 3.2 | 2.89 | 0.35 | 9.96 | 0 |

Lab

Population of Lab RSDr

| CBN (%AR) | 005.30 | GC-FID | 116 | <0.0400 | <0.0400 | <0.0400 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 208 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 194 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | <0.0240 | <0.0240 | <0.0240 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 216 | <0.0467 | <0.0488 | <0.0483 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | <0.0465 | <0.0459 | <0.0481 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, | 199 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, | 108 | <0.0700 | <0.0700 | <0.0700 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0216 | 0.0277 |  |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 219 | 0.0135 | 0.0135 | 0.0134 | 0.43 | 0.06 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 204 | 0.0172 | 0.0171 | 0.0173 | 0.58 | 0.08 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0178 | 0.018 | 0.0178 | 0.65 | 0.09 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.0152 | 0.015 | 0.0153 | 1.01 | 0.13 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 162 | 0.014 | 0.0135 | 0.0132 | 2.98 | 0.39 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 141 | 0.0233 | 0.0232 | 0.0221 | 2.91 | 0.41 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.99 | Other | 183 | 0.018 | 0.018 | 0.019 | 3.15 | 0.43 | 6.6 | 0.43 | 16 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.03 | AOAC 2018.11, | 139 | 0.0153 | 0.0164 | 0.0164 | 3.96 | 0.53 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.99 | Other | 132 | 0.014 | 0.013 | 0.014 | 4.22 | 0.56 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 200 | 0.019 | 0.017 | 0.017 | 6.54 | 0.89 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 211 | 0.017 | 0.017 | 0.019 | 6.54 | 0.89 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | 0.0413 | 0.0459 | 0.0417 | 5.93 | 0.93 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 109 | 0.015 | 0.013 | 0.015 | 8.06 | 1.07 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 209 | 0.013 | 0.0111 | 0.0115 | 8.44 | 1.09 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.01 | AOAC 2018.10 | 209 | 0.01 | 0.01 | 0.0116 | 8.77 | 1.11 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.027 | 0.032 | 0.028 | 9.12 | 1.34 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0176 | 0.0141 | 0.0158 | 11.1 | 1.49 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, | 209 | 0.014 | 0.0118 | 0.0111 | 12.3 | 1.59 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 125 | 0.0071 | 0.0087 | 0.0067 | 14.1 | 1.7 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | 0.0118 | 0.0153 | 0.0145 | 13.2 | 1.74 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 185 | 2.533 | 2.438 | 2.7842 | 6.92 | 2 | 6.6 | 0.43 | 16 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, | 107 | 0.021 | 0.026 | 0.029 | 16 | 2.3 | 6.6 | 0.43 | 16 | 0 |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.60 | NIR | 187 | 0.29 | 0.29 | 0.29 | 0 | 0 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 121 | 0.283 | 0.284 | 0.282 | 0.35 | 0.07 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.3296 | 0.3328 | 0.3312 | 0.48 | 0.1 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.292 | 0.2882 | 0.2881 | 0.77 | 0.16 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 204 | 0.2657 | 0.2681 | 0.2641 | 0.76 | 0.16 | 3.34 | 0 | 23.1 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 120 | 0.2675 | 0.2709 | 0.2664 | 0.87 | 0.18 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.2704 | 0.2726 | 0.2679 | 0.87 | 0.18 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 216 | 0.1888 | 0.1854 | 0.1884 | 0.99 | 0.19 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 215 | 0.2508 | 0.2503 | 0.2547 | 0.96 | 0.19 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.2404 | 0.2449 | 0.2413 | 0.98 | 0.2 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.2359 | 0.2395 | 0.2341 | 1.16 | 0.23 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 199 | 0.2573 | 0.2528 | 0.258 | 1.1 | 0.23 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 191 | 0.2707 | 0.268 | 0.2742 | 1.15 | 0.24 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.2614 | 0.2575 | 0.2645 | 1.34 | 0.28 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.294 | 0.299 | 0.302 | 1.35 | 0.28 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 141 | 0.2154 | 0.2094 | 0.2145 | 1.52 | 0.3 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 125 | 0.282 | 0.284 | 0.275 | 1.69 | 0.35 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 217 | 0.2737 | 0.2668 | 0.2642 | 1.83 | 0.38 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 219 | 0.281 | 0.2914 | 0.2873 | 1.83 | 0.38 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 164 | 0.266 | 0.2559 | 0.2642 | 2.06 | 0.42 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.2476 | 0.2553 | 0.2602 | 2.5 | 0.51 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.3125 | 0.2997 | 0.3127 | 2.42 | 0.51 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 190 | 0.368 | 0.351 | 0.358 | 2.38 | 0.51 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 183 | 0.3 | 0.285 | 0.293 | 2.56 | 0.53 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.2934 | 0.3053 | 0.2907 | 2.62 | 0.55 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.276 | 0.272 | 0.287 | 2.79 | 0.58 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1874 | 0.1847 | 0.1955 | 2.97 | 0.58 | 3.34 | 0 | 23.1 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 182 | 0.2176 | 0.2108 | 0.205 | 2.99 | 0.59 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 162 | 0.245 | 0.2462 | 0.2332 | 2.98 | 0.6 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 208 | 0.2389 | 0.2295 | 0.2432 | 2.95 | 0.6 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 155 | 0.203 | 0.191 | 0.2 | 3.15 | 0.62 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.26 | 0.2503 | 0.2445 | 3.11 | 0.63 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 103 | 0.247 | 0.236 | 0.251 | 3.17 | 0.64 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.1642 | 0.1751 | 0.1673 | 3.33 | 0.64 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 211 | 0.251 | 0.26 | 0.269 | 3.46 | 0.71 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 181 | 0.34 | 0.32 | 0.32 | 3.53 | 0.75 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 152 | 0.3009 | 0.2926 | 0.3149 | 3.72 | 0.78 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.24 | 0.26 | 0.25 | 4 | 0.81 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 172 | 0.3005 | 0.3111 | 0.3254 | 4 | 0.84 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.2426 | 0.2264 | 0.2255 | 4.16 | 0.84 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, | 139 | 0.2674 | 0.2844 | 0.262 | 4.31 | 0.89 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 209 | 0.3024 | 0.2862 | 0.3116 | 4.29 | 0.9 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 161 | 0.2073 | 0.1913 | 0.2079 | 4.66 | 0.92 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 128 | 0.3113 | 0.288 | 0.2887 | 4.48 | 0.93 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 209 | 0.3398 | 0.3112 | 0.3175 | 4.65 | 0.98 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.2443 | 0.2544 | 0.2304 | 4.96 | 1 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 194 | 0.2359 | 0.261 | 0.2547 | 5.21 | 1.06 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.2671 | 0.2564 | 0.2844 | 5.25 | 1.08 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.2516 | 0.2445 | 0.2255 | 5.61 | 1.14 | 3.34 | 0 | 23.1 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 212 | 0.2008 | 0.2005 | 0.2215 | 5.8 | 1.15 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 132 | 0.293 | 0.269 | 0.264 | 5.63 | 1.16 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 200 | 0.27 | 0.24 | 0.25 | 6.03 | 1.23 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 138 | 0.375 | 0.415 | 0.365 | 6.87 | 1.49 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 107 | 0.286 | 0.332 | 0.332 | 8.39 | 1.77 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.2793 | 0.2419 | 0.2362 | 9.27 | 1.89 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 209 | 0.365 | 0.3298 | 0.3058 | 8.93 | 1.9 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 109 | 0.266 | 0.212 | 0.24 | 11.3 | 2.28 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 108 | 0.2384 | 0.2231 | 0.2777 | 11.4 | 2.32 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 185 | 0.4071 | 0.5114 | 0.5994 | 19 | 4.3 | 3.34 | 0 | 23.1 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 124 | 0.1685 | 0.2692 | 0.2454 | 23.1 | 4.64 | 3.34 | 0 | 23.1 | 0 |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 8.2362 | 8.2422 | 8.2447 | 0.05 | 0.02 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 7.0587 | 7.0393 | 7.0044 | 0.39 | 0.13 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 187 | 6.89 | 6.89 | 6.83 | 0.5 | 0.17 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 211 | 7.948 | 7.944 | 7.865 | 0.59 | 0.2 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 204 | 7.8674 | 7.9871 | 7.9099 | 0.77 | 0.26 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 8.0786 | 8.1882 | 8.0403 | 0.95 | 0.32 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 212 | 7.6196 | 7.6873 | 7.5298 | 1.04 | 0.35 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 199 | 8.2156 | 8.1793 | 8.3439 | 1.05 | 0.36 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 8.049 | 7.967 | 8.151 | 1.14 | 0.39 | 2.68 | 0.05 | 10.9 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.30 | Other LC-MS | 164 | 7.6332 | 7.7029 | 7.5226 | 1.19 | 0.41 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.99 | Other | 132 | 7.568 | 7.404 | 7.418 | 1.22 | 0.41 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 216 | 8.4172 | 8.4988 | 8.6559 | 1.42 | 0.49 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 219 | 7.896 | 8.127 | 8.104 | 1.58 | 0.54 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 8.225 | 8.4469 | 8.1959 | 1.66 | 0.57 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 194 | 7.8107 | 8.0551 | 8.0645 | 1.8 | 0.62 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 9.0779 | 9.0648 | 8.7777 | 1.89 | 0.66 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 185 | 12.1579 | 12.5202 | 12.5896 | 1.87 | 0.68 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 7.4368 | 7.6998 | 7.426 | 2.06 | 0.7 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 8.0018 | 8.2198 | 8.3313 | 2.05 | 0.7 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 152 | 7.967 | 7.677 | 7.949 | 2.07 | 0.71 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 108 | 8.554 | 8.227 | 8.515 | 2.12 | 0.73 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 7.9423 | 7.9137 | 7.6296 | 2.21 | 0.75 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 103 | 8.271 | 7.984 | 7.945 | 2.21 | 0.76 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 162 | 7.6369 | 7.3188 | 7.3913 | 2.24 | 0.76 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 141 | 7.1672 | 7.4709 | 7.1863 | 2.34 | 0.79 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 125 | 7.6 | 7.29 | 7.61 | 2.43 | 0.82 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 138 | 8.355 | 8.49 | 8.085 | 2.48 | 0.85 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 155 | 6.47 | 6.33 | 6.69 | 2.79 | 0.93 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 208 | 8.2389 | 7.7788 | 7.9939 | 2.88 | 0.98 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.01 | AOAC 2018.10 | 209 | 7.6177 | 7.6546 | 8.0907 | 3.38 | 1.15 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 200 | 7.55 | 7.67 | 8.06 | 3.44 | 1.17 | 2.68 | 0.05 | 10.9 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, | 139 | 7.647 | 7.867 | 7.3395 | 3.48 | 1.18 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.99 | Other | 215 | 7.9158 | 8.4451 | 7.997 | 3.51 | 1.2 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 191 | 7.4921 | 7.4855 | 7.9958 | 3.82 | 1.3 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 172 | 8.9211 | 9.2243 | 9.6487 | 3.94 | 1.38 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 161 | 7.0316 | 6.4661 | 6.7846 | 4.19 | 1.4 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 7.7501 | 8.2396 | 7.6109 | 4.2 | 1.43 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 7.8883 | 7.2165 | 7.5969 | 4.45 | 1.51 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 9.8131 | 9.0232 | 9.19 | 4.46 | 1.56 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 107 | 7.689 | 8.299 | 8.473 | 5.05 | 1.73 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.99 | Other | 183 | 8.322 | 8.392 | 9.18 | 5.52 | 1.91 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 209 | 8.3603 | 7.6006 | 7.5713 | 5.7 | 1.95 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 8.931 | 7.8847 | 7.8939 | 7.3 | 2.51 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 209 | 9.7117 | 8.3318 | 8.3301 | 9.07 | 3.15 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 109 | 8.762 | 7.161 | 8.029 | 10 | 3.44 | 2.68 | 0.05 | 10.9 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 6.1166 | 7.5183 | 6.4532 | 10.9 | 3.64 | 2.68 | 0.05 | 10.9 | 0 |

Lab

Population of Lab RSDr

CBDV (%AR)

| CBDV (%AR) | 008.99 | Other | 216 | <0.0467 | <0.0488 | <0.0483 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | 1 |
| CBDV (%AR) | 008.99 | Other | 197 | <0.0465 | <0.0459 | <0.0481 | 1 |
| CBDV (%AR) | 008.99 | Other | 208 | 0.0523 | <0.0500 | <0.0500 | 1 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, | 108 | <0.0700 | <0.0700 | <0.0700 | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0218 | 0.0214 | 0.0208 | 2.36 | 0.33 | 8.16 | 2.36 | 34.6 | 0 |
| CBDV (%AR) | 008.99 | Other | 183 | 0.039 | 0.039 | 0.041 | 2.91 | 0.45 | 8.16 | 2.36 | 34.6 | 0 |
| CBDV (%AR) | 008.99 | Other | 162 | 0.0238 | 0.0225 | 0.0218 | 4.47 | 0.63 | 8.16 | 2.36 | 34.6 | 0 |
| CBDV (%AR) | 008.99 | Other | 142 | 0.0347 | 0.0375 | 0.0348 | 4.45 | 0.68 | 8.16 | 2.36 | 34.6 | 0 |
| CBDV (%AR) | 008.99 | Other | 219 | 0.0275 | 0.0285 | 0.0302 | 4.75 | 0.7 | 8.16 | 2.36 | 34.6 | 0 |
| CBDV (%AR) | 008.99 | Other | 200 | 0.039 | 0.035 | 0.037 | 5.41 | 0.83 | 8.16 | 2.36 | 34.6 | 0 |
| CBDV (%AR) | 008.99 | Other | 196 | 0.0226 | 0.0261 | 0.0235 | 7.55 | 1.08 | 8.16 | 2.36 | 34.6 | 0 |
| CBDV (%AR) | 008.99 | Other | 192 | 0.0817 | 0.0883 | 0.0949 | 7.47 | 1.3 | 8.16 | 2.36 | 34.6 | 0 |
| CBDV (%AR) | 008.99 | Other | 109 | 0.11 | 0.088 | 0.101 | 11.1 | 1.97 | 8.16 | 2.36 | 34.6 | 0 |
| CBDV (%AR) | 008.99 | Other | 211 | 0.03 | 0.028 | 0.036 | 13.3 | 1.98 | 8.16 | 2.36 | 34.6 | 0 |
| CBDV (%AR) | 008.99 | Other | 132 | 0.026 | 0.026 | 0.035 | 17.9 | 2.64 | 8.16 | 2.36 | 34.6 | 0 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.07 | 0.04 | 0.04 | 34.6 | 5.54 | 8.16 | 2.36 | 34.6 | 0 |

Lab

Population of Lab RSDr

CBDVA (%AR)

| CBDVA (%AR) | 009.99 | Other | 208 | <0.0500 | 0.0573 | 0.0516 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 216 | <0.0701 | <0.0732 | <0.0725 |  |  | 1 |
| CBDVA (%AR) | 009.99 | Other | 197 | <0.0698 | <0.0688 | <0.0721 |  |  | 1 |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, | 108 | <0.0700 | <0.0700 | <0.0700 |  |  | 1 |
| CBDVA (%AR) | 009.99 | Other | 219 | 0.0581 | 0.0588 | 0.0591 | 0.88 | 0.14 | 0 |
| CBDVA (%AR) | 009.99 | Other | 149 | 0.0623 | 0.061 | 0.0618 | 1.06 | 0.18 | 0 |
| CBDVA (%AR) | 009.99 | Other | 196 | 0.0462 | 0.0495 | 0.0459 | 4.23 | 0.67 | 0 |
| CBDVA (%AR) | 009.99 | Other | 183 | 0.077 | 0.065 | 0.067 | 9.23 | 1.55 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 212 | 0.0369 | 0.0369 | 0.0494 | 17.6 | 2.73 |  |  |  | 0 |
|  |  |  |  | CBG (%AR) |  |  |  |  |  |  |  |  |
| CBG (%AR) | 010.99 | Other | 189 | 0.1451 | 0.1456 | 0.1469 | 0.64 | 0.12 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 219 | 0.1355 | 0.1378 | 0.1368 | 0.84 | 0.16 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 197 | 0.0874 | 0.0844 | 0.0865 | 1.79 | 0.31 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 155 | 0.119 | 0.116 | 0.121 | 2.12 | 0.39 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, | 108 | 0.1065 | 0.106 | 0.1108 | 2.45 | 0.44 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 162 | 0.1003 | 0.1051 | 0.105 | 2.65 | 0.47 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 204 | 0.1411 | 0.1493 | 0.1474 | 2.94 | 0.55 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 192 | 0.2078 | 0.1975 | 0.1978 | 2.92 | 0.57 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.1031 | 0.1106 | 0.1043 | 3.8 | 0.68 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 194 | 0.1515 | 0.1627 | 0.1615 | 3.88 | 0.74 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 132 | 0.179 | 0.166 | 0.167 | 4.24 | 0.81 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, | 103 | 0.117 | 0.108 | 0.117 | 4.56 | 0.82 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 109 | 0.125 | 0.114 | 0.118 | 4.68 | 0.85 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 208 | 0.1235 | 0.1199 | 0.1313 | 4.67 | 0.86 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 125 | 0.157 | 0.149 | 0.164 | 4.79 | 0.91 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 200 | 0.142 | 0.128 | 0.136 | 5.19 | 0.96 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 216 | 0.0831 | 0.0797 | 0.0741 | 5.76 | 0.99 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 142 | 0.1146 | 0.1283 | 0.1234 | 5.69 | 1.04 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 183 | 0.138 | 0.155 | 0.144 | 5.92 | 1.11 | 4.52 | 0.64 | 10.1 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 141 | 0.2177 | 0.1925 | 0.2155 | 6.69 | 1.33 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.14 | 0.15 | 0.13 | 7.14 | 1.33 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 212 | 0.0464 | 0.0547 | 0.0471 | 9.32 | 1.49 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 211 | 0.121 | 0.13 | 0.143 | 8.42 | 1.56 | 4.52 | 0.64 | 10.1 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.1289 | 0.1245 | 0.106 | 10.1 | 1.85 | 4.52 | 0.64 | 10.1 | 0 |
|  |  |  |  | CBGA (%AR) |  |  |  |  |  |  |  |  |
| CBGA (%AR) | 011.99 | Other | 189 | 0.2468 | 0.2465 | 0.2451 | 0.37 | 0.07 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 216 | 0.215 | 0.2146 | 0.2164 | 0.44 | 0.09 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 219 | 0.2358 | 0.2435 | 0.2417 | 1.68 | 0.34 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 155 | 0.16 | 0.156 | 0.153 | 2.25 | 0.43 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 211 | 0.244 | 0.252 | 0.257 | 2.61 | 0.53 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 208 | 0.2416 | 0.2304 | 0.2426 | 2.84 | 0.57 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 125 | 0.233 | 0.234 | 0.245 | 2.81 | 0.57 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 141 | 0.2135 | 0.2098 | 0.2016 | 2.92 | 0.58 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 204 | 0.2458 | 0.2604 | 0.2498 | 2.99 | 0.61 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 196 | 0.2382 | 0.2476 | 0.2322 | 3.24 | 0.66 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 197 | 0.2307 | 0.2392 | 0.2221 | 3.71 | 0.75 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 132 | 0.224 | 0.214 | 0.204 | 4.67 | 0.93 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 142 | 0.2494 | 0.2702 | 0.2701 | 4.55 | 0.93 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 106 | 0.21 | 0.22 | 0.2 | 4.76 | 0.94 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, | 108 | 0.2132 | 0.2144 | 0.2342 | 5.35 | 1.07 | 4.78 | 0.37 | 17.6 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 194 | 0.2544 | 0.2558 | 0.2807 | 5.61 | 1.15 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 192 | 0.2517 | 0.2266 | 0.2279 | 6 | 1.21 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 212 | 0.2107 | 0.1842 | 0.1839 | 7.98 | 1.56 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 183 | 0.311 | 0.265 | 0.287 | 8 | 1.66 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 109 | 0.303 | 0.26 | 0.267 | 8.34 | 1.72 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 162 | 0.2915 | 0.2407 | 0.2682 | 9.53 | 1.96 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, | 103 | 0.255 | 0.204 | 0.191 | 15.6 | 3.11 | 4.78 | 0.37 | 17.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 149 | 0.2842 | 0.2605 | 0.1994 | 17.6 | 3.59 | 4.78 | 0.37 | 17.6 | 0 |

Lab

Population of Lab RSDr

THCV (%AR)

| THCV (%AR) | 012.99 | Other | 106 | <0.0100 | 0.02 | 0.02 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | 1 |
| THCV (%AR) | 012.99 | Other | 211 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%AR) | 012.99 | Other | 149 | <0.0240 | <0.0240 | <0.0240 | 1 |
| THCV (%AR) | 012.99 | Other | 200 | <0.0050 | <0.0050 | <0.0050 | 1 |
| THCV (%AR) | 012.99 | Other | 197 | <0.0465 | <0.0459 | <0.0481 | 1 |
| THCV (%AR) | 012.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%AR) | 012.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | 1 |
| THCV (%AR) | 012.99 | Other | 183 | <0.0020 | <0.0020 | <0.0020 | 1 |
| THCV (%AR) | 012.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%AR) | 012.99 | Other | 219 | <0.0060 | <0.0060 | <0.0060 | 1 |
| THCV (%AR) | 012.99 | Other | 208 | <0.0500 | <0.0500 | <0.0500 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 216 | <0.0467 | <0.0488 | <0.0483 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 189 | <0.0050 | <0.0050 | <0.0050 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.02 | AOAC 2018.11, | 108 | 0 | 0 | 0 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 132 | 0.023 | 0.005 | 0.015 | 62.9 | 8.34 |  |  |  | 0 |
|  |  |  |  | Δ8-THC (%AR) |  |  |  |  |  |  |  |  |
| Δ8-THC (%AR) | 013.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 208 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 219 | <0.0060 | <0.0060 | <0.0060 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.0359 | 0.035 |  |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | <0.0240 | <0.0240 | <0.0240 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 200 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 183 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 141 | <0.0120 | <0.0120 | <0.0120 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0465 | <0.0459 | <0.0481 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 216 | <0.0467 | <0.0488 | <0.0483 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 102 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  |  | 1 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean min max Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, | 108 | 0 | 0 | 0 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 192 | <0.0300 | <0.0300 | <0.0300 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 211 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0084 | 0.0085 | 0.0085 | 0.68 | 0.08 | 0 |

Lab

Population of Lab RSDr

| CBC (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 204 | 0.2538 | 0.2555 | 0.2551 | 0.35 | 0.07 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.2389 | 0.2382 | 0.237 | 0.4 | 0.08 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 219 | 0.246 | 0.2495 | 0.2485 | 0.73 | 0.15 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 216 | 0.2439 | 0.242 | 0.2396 | 0.89 | 0.18 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 211 | 0.254 | 0.255 | 0.259 | 1.03 | 0.21 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 162 | 0.2378 | 0.2405 | 0.2335 | 1.49 | 0.3 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.2381 | 0.2308 | 0.2299 | 1.93 | 0.39 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 132 | 0.236 | 0.226 | 0.228 | 2.3 | 0.46 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 212 | 0.2043 | 0.1986 | 0.208 | 2.33 | 0.46 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 142 | 0.22 | 0.2311 | 0.223 | 2.56 | 0.51 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 194 | 0.239 | 0.2474 | 0.2523 | 2.73 | 0.55 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 155 | 0.198 | 0.193 | 0.204 | 2.78 | 0.55 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 208 | 0.2291 | 0.2227 | 0.2378 | 3.3 | 0.66 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.2326 | 0.2422 | 0.2269 | 3.31 | 0.67 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, | 103 | 0.228 | 0.214 | 0.232 | 4.21 | 0.84 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 183 | 0.247 | 0.251 | 0.267 | 4.15 | 0.85 | 3.25 | 0.35 | 11.7 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 106 | 0.22 | 0.24 | 0.22 | 5.09 | 1.02 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.2408 | 0.2599 | 0.2352 | 5.28 | 1.07 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 125 | 0.227 | 0.227 | 0.249 | 5.42 | 1.09 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 200 | 0.302 | 0.27 | 0.285 | 5.6 | 1.16 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 192 | 0.3679 | 0.3336 | 0.3363 | 5.51 | 1.18 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, | 108 | 0.313 | 0.2531 | 0.2718 | 11 | 2.27 | 3.25 | 0.35 | 11.7 | 0 |
| CBC (%AR) | 014.99 | Other | 109 | 0.268 | 0.212 | 0.239 | 11.7 | 2.36 | 3.25 | 0.35 | 11.7 | 0 |

Lab

Population of Lab RSDr

Cd (ug/g AR)

| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.03 | ICP-OES | 132 | 0.168 |  |  |  |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 183 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 141 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 122 | 0.1695 | 0.1677 | 0.1686 | 0.53 | 0.1 | 3.66 | 0.53 | 8.59 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 194 | 0.1476 | 0.1479 | 0.1501 | 0.92 | 0.17 | 3.66 | 0.53 | 8.59 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | 0.1399 | 0.1434 | 0.1384 | 1.83 | 0.34 | 3.66 | 0.53 | 8.59 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.147 | 0.139 | 0.143 | 2.8 | 0.52 | 3.66 | 0.53 | 8.59 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 211 | 0.176 | 0.164 | 0.16 | 5 | 0.96 | 3.66 | 0.53 | 8.59 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.1724 | 0.156 | 0.1554 | 5.98 | 1.14 | 3.66 | 0.53 | 8.59 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | 0.0893 | 0.105 | 0.0929 | 8.59 | 1.51 | 3.66 | 0.53 | 8.59 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

As (ug/g AR)

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

Hg (ug/g AR)

| As (ug/g AR) | 102.03 | ICP-OES | 132 | 0.4 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0800 | 0.09 | 0.09 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 183 | <0.0200 | <0.0200 | <0.0200 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 211 | <0.1000 | <0.1000 | <0.1000 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 141 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 122 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0998 | <0.1018 | <0.1002 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | 0.0712 | 0.0756 | 0.0747 | 3.15 | 0.53 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 194 | 0.0779 | 0.0725 | 0.0804 | 5.25 | 0.9 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | 0.1025 | 0.0858 | 0.0742 | 16.3 | 2.83 | 0 |

| Hg (ug/g AR) | 103.04 | ICP-MS | 122 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 194 | <0.0020 | <0.0020 | <0.0020 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 211 | <0.1000 | <0.1000 | <0.1000 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 183 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0998 | <0.1018 | <0.1002 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 141 | <0.1000 | <0.1000 | <0.1000 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | 0.008 | 0.0081 | 0.0084 | 2.55 | 0.31 | 0 |

Lab

Pb (ug/g AR)

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | 0.0104 | 0.0092 | 0.0093 | 6.91 | 0.86 | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | 0.007 | 0.007 | 0.008 | 7.87 | 0.94 | 0 |

Lab

Population of Lab RSDr

Cu (ug/g AR)

| Pb (ug/g AR) | 104.04 | ICP-MS | 141 | <0.5000 | <0.5000 | <0.5000 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.02 | furnace AA | 132 | 0.4 |  |  |  |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 122 | 0.2349 | 0.2351 | 0.235 | 0.04 | 0.01 | 4.51 | 0.04 | 14.2 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | 0.2219 | 0.2159 | 0.2175 | 1.42 | 0.28 | 4.51 | 0.04 | 14.2 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 183 | 0.1835 | 0.1945 | 0.192 | 3.03 | 0.59 | 4.51 | 0.04 | 14.2 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 194 | 0.1866 | 0.2009 | 0.1931 | 3.7 | 0.72 | 4.51 | 0.04 | 14.2 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 0.1886 | 0.2075 | 0.1986 | 4.77 | 0.94 | 4.51 | 0.04 | 14.2 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 211 | 0.171 | 0.186 | 0.19 | 5.49 | 1.07 | 4.51 | 0.04 | 14.2 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | 0.211 | 0.1883 | 0.1962 | 5.81 | 1.14 | 4.51 | 0.04 | 14.2 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.245 | 0.213 | 0.232 | 7 | 1.41 | 4.51 | 0.04 | 14.2 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | 0.208 | 0.255 | 0.196 | 14.2 | 2.83 | 4.51 | 0.04 | 14.2 | 0 |

| Cu (ug/g AR) | 105.03 | ICP-OES | 132 | 14.4 |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cu (ug/g AR) | 105.04 | ICP-MS | 142 | 16.2952 | 14.9811 15.3548 | 4.36 | 1.65 | 0 |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | 12.4 | 9.72 11 | 12.1 | 4.36 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Ni (ug/g AR)

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

Se (ug/g AR)

| Ni (ug/g AR) | 106.03 | ICP-OES | 132 | 1.2 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ni (ug/g AR) | 106.04 | ICP-MS | 141 | 1.43 | 1.41 | 1.27 | 6.36 | 1.67 | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | 1.15 | 0.971 | 1.12 | 8.87 | 2.25 | 0 |

|  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cr (ug/g AR) | 107.03 | ICP-OES | 132 | 0.24 |  |  |  |  | 1 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 141 | <4.0000 | <4.0000 | <4.0000 |  |  | 1 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | 0.3696 | 0.3134 | 0.3374 | 8.29 | 1.77 | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | 0.4076 | 0.3543 | 0.4253 | 9.34 | 2.04 | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | 0.496 | 0.438 | 0.525 | 9.11 | 2.05 | 0 |

| Se (ug/g AR) | 108.04 | ICP-MS | 141 | <1.0000 | <1.0000 | <1.0000 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | <0.0998 | <0.1018 | <0.1002 |  |  | 1 |
| Se (ug/g AR) | 108.03 | ICP-OES | 132 | 1.2 |  |  |  |  | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | 0.219 | 0.159 | 0.184 | 16.1 | 3.14 | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | 0.0709 | 0.1085 | 0.0875 | 21.2 | 3.69 | 0 |

|  |  |  | Ag (ug/g AR) |  |  |
| --- | --- | --- | --- | --- | --- |
| Ag (ug/g AR) | 109.03 | ICP-OES | 132 | 0.104 | 1 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Ba (ug/g AR)

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

Ba (ug/g AR)

110.03

ICP-OES

132

29.2	1

|  |  |  | Zn (ug/g AR) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Zn (ug/g AR) | 111.03 | ICP-OES | 132 | 59.2 |  |  |  |  | 1 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 142 | 64.0727 | 63.5184 | 63.2279 | 0.68 | 0.32 | 0 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 141 | 54.2 | 48.1 | 51.4 | 5.96 | 2.7 | 0 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 72 | 59 | 62.3 | 10.5 | 4.91 | 0 |

(-)-alpha-Bisabolol (%AR)

Sb (ug/g AR)

Sb (ug/g AR)

112.04

ICP-MS

196

<0.0241	<0.0241	<0.0241	1

| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 142 | 0.0226 | 0.0178 | 0 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 212 | 0.0919 | 0.0895 | 0.0885 | 1.94 | 0.34 | 6.91 | 1.94 | 16.1 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 194 | 0.0475 | 0.0502 | 0.0489 | 2.76 | 0.44 | 6.91 | 1.94 | 16.1 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 108 | 0.0862 | 0.0844 | 0.0787 | 4.71 | 0.81 | 6.91 | 1.94 | 16.1 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 200 | 0.085 | 0.0907 | 0.0824 | 4.93 | 0.86 | 6.91 | 1.94 | 16.1 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0293 | 0.0248 | 0.024 | 11 | 1.59 | 6.91 | 1.94 | 16.1 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | 0.0264 | 0.0311 | 0.0365 | 16.1 | 2.4 | 6.91 | 1.94 | 16.1 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

beta-Caryophyllene (%AR)

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

Geraniol (%AR)

(-)-Caryophyllene oxide (%AR)

| beta-Caryophyllene (% | 202.02 | GC,MS | 108 | 0.0694 | 0.0693 | 0.066 | 2.84 | 0.48 | 7.07 | 2.84 | 26.8 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Caryophyllene (% | 202.02 | GC,MS | 200 | 0.0685 | 0.0724 | 0.068 | 3.46 | 0.58 | 7.07 | 2.84 | 26.8 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0687 | 0.0605 | 0.063 | 6.56 | 1.09 | 7.07 | 2.84 | 26.8 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 194 | 0.0709 | 0.0661 | 0.0616 | 7.03 | 1.17 | 7.07 | 2.84 | 26.8 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 212 | 0.0812 | 0.0802 | 0.0911 | 7.16 | 1.24 | 7.07 | 2.84 | 26.8 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | 0.0666 | 0.0706 | 0.08 | 9.5 | 1.61 | 7.07 | 2.84 | 26.8 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 142 | 0.0908 | 0.0813 | 0.1324 | 26.8 | 4.76 | 7.07 | 2.84 | 26.8 | 0 |

| (-)-Caryophyllene oxide | 203.02 | GC,MS | 194 | 0.0152 | 0.0156 | 0.0151 | 1.73 | 0.23 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 200 | 0.0148 | 0.0134 | 0.0123 | 9.28 | 1.22 | 0 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 142 | 0.0062 | 0.0071 | 0.008 | 12.7 | 1.51 | 0 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | 0.0083 | 0.0102 | 0.0083 | 12.3 | 1.52 | 0 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 212 | 0.0163 | 0.0186 | 0.0212 | 13.1 | 1.81 | 0 |

| Geraniol (%AR) | 204.02 | GC,MS | 142 | <0.0001 | <0.0001 | <0.0001 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Geraniol (%AR) | 204.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 200 | <0.0400 | <0.0400 | <0.0400 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | 1 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

alpha-Humulene (%AR)

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

Linalool (%AR)

d-Limonene (%AR)

| alpha-Humulene (%AR) | 205.02 | GC,MS | 200 | 0.0309 | 0.0291 | 0.0274 | 6.01 | 0.89 | 9.43 | 6.01 | 26.8 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 194 | 0.0272 | 0.0252 | 0.0236 | 7.12 | 1.03 | 9.43 | 6.01 | 26.8 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.0225 | 0.019 | 0.0201 | 8.72 | 1.22 | 9.43 | 6.01 | 26.8 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 212 | 0.0295 | 0.0298 | 0.0343 | 8.62 | 1.28 | 9.43 | 6.01 | 26.8 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | 0.0223 | 0.0239 | 0.0277 | 11.3 | 1.62 | 9.43 | 6.01 | 26.8 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 142 | 0.025 | 0.0219 | 0.036 | 26.8 | 3.92 | 9.43 | 6.01 | 26.8 | 0 |

| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | 0.0015 | 0.0015 | 0.0015 | 0 | 0 | 0 |
| d-Limonene (%AR) | 206.02 | GC,MS | 194 | 0.0023 | 0.0022 | 0.0022 | 2.59 | 0.26 | 0 |
| d-Limonene (%AR) | 206.02 | GC,MS | 200 | 0.0278 | 0.0205 | 0.0249 | 15.1 | 2.16 | 0 |
| d-Limonene (%AR) | 206.02 | GC,MS | 142 | 0.0007 | 0.001 | 0.0006 | 27.2 | 2.32 | 0 |

| Linalool (%AR) | 207.02 | GC,MS | 196 | 0.0017 | 0.0019 | <0.0013 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 194 | 0.004 | 0.004 | 0.004 | 0 | 0 | 0 |
| Linalool (%AR) | 207.02 | GC,MS | 200 | 0.0056 | 0.0045 | 0.0052 | 10.9 | 1.24 | 0 |
| Linalool (%AR) | 207.02 | GC,MS | 212 | 0.0034 | 0.0043 | 0.0032 | 16.1 | 1.74 | 0 |

Lab

beta-Myrcene (%AR)

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Linalool (%AR) | 207.02 | GC,MS | 142 | 0.001 | 0.001 | 0.0014 | 20.4 | 1.85 | 0 |

Lab

Population of Lab RSDr

Ocimene (%AR)

| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | 0.0042 | 0.0043 | 0.0043 | 1.35 | 0.15 | 0 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 194 | 0.0056 | 0.0052 | 0.0051 | 4.99 | 0.57 | 0 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 200 | 0.0025 | 0.0028 | 0.0026 | 5.8 | 0.6 | 0 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 142 | 0.0019 | 0.0024 | 0.0016 | 20.5 | 2.02 | 0 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 212 | 0.0032 | 0.0037 | 0.006 | 34.7 | 3.84 | 0 |

| Ocimene (%AR) | 210.04 | Other | 142 | <0.0001 | <0.0001 | <0.0001 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ocimene (%AR) | 210.02 | GC,MS | 200 | <0.0009 | <0.0009 | <0.0009 |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 194 | 0.0016 | 0.0016 | 0.0016 | 0 | 0 | 0 |

|  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 194 | 0.0011 | 0.0011 | 0.001 | 5.41 | 0.49 | 0 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 200 | 0.0009 | 0.0011 | 0.001 | 10 | 0.89 | 0 |

Lab

(-)-beta-Pinene (%AR)

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 212 | 0.0009 | 0.0015 | 0.001 | 28.4 | 2.57 | 0 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 142 | 0.0006 | 0.0008 | 0.0004 | 33.3 | 2.75 | 0 |

Lab

Population of Lab RSDr

alpha-Terpinene (%AR)

| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 200 | <0.0013 | <0.0013 | <0.0013 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 194 | 0.0011 | 0.0011 | 0.0011 | 0 | 0 | 0 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 142 | 0.0002 | 0.0003 | 0.0002 | 24.7 | 1.77 | 0 |

| alpha-Terpinene (%AR) | 213.02 | GC,MS | 142 | 0.0001 | <0.0001 | 0.0001 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 200 | <0.0010 | <0.0010 | <0.0010 |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 194 | 0.0009 | 0.0009 | 0.0009 | 0 | 0 | 0 |

|  |  |  | gamma-Terpinene (%AR) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| gamma-Terpinene (%A | 214.02 | GC,MS | 200 | <0.0004 | <0.0004 | <0.0004 | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | 1 |

Lab

alpha-Terpinolene (%AR)

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| gamma-Terpinene (%A | 214.02 | GC,MS | 142 | 0.0001 | 0.0001 | 0.0001 | 0 | 0 | 0 |

Lab

Population of Lab RSDr

Moisture (%AR)

| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 200 | <0.0008 | <0.0008 | <0.0008 |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 142 | 0.0001 | 0.0001 | 0.0001 | 0 | 0 | 0 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 194 | 0.0009 | 0.0009 | 0.0009 | 0 | 0 | 0 |

| Moisture (%AR) | 500.99 | Other | 189 | 4.351 | 4.351 | 4.351 | 0 | 0 | 3.92 | 0 | 21.7 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 204 | 5.65 | 5.65 | 5.65 | 0 | 0 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.99 | Other | 105 | 8.69 | 8.62 | 8.63 | 0.44 | 0.15 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 8.9921 | 8.9609 | 8.881 | 0.64 | 0.22 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.72 | NIR | 187 | 5.22 | 5.18 | 5.13 | 0.87 | 0.28 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.99 | Other | 120 | 7.2233 | 7.1596 | 7.0398 | 1.3 | 0.44 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 212 | 5.29 | 5.17 | 5.33 | 1.58 | 0.51 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 5.22 | 5.35 | 5.19 | 1.62 | 0.52 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.99 | Other | 142 | 0.0444 | 0.0409 | 0.042 | 4.22 | 0.66 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.72 | NIR | 138 | 6.35 | 6.7 | 6.5 | 2.69 | 0.89 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 211 | 6.84 | 7.23 | 7.01 | 2.78 | 0.93 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.99 | Other | 103 | 5.22 | 5.37 | 5.54 | 2.98 | 0.96 | 3.92 | 0 | 21.7 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 172 | 9.778 | 9.272 | 9.63 | 2.72 | 0.96 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 208 | 9.25 | 8.65 | 8.85 | 3.43 | 1.19 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 5.88 | 5.46 | 5.69 | 3.7 | 1.2 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 209 | 9.9081 | 10.6212 | 10.7182 | 4.25 | 1.51 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 7.91 | 7.27 | 7.09 | 5.81 | 1.97 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 182 | 6.485 | 7.075 | 7.28 | 5.94 | 1.99 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 7.9819 | 7.7946 | 8.7431 | 6.15 | 2.11 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 196 | 6.11 | 6.47 | 5.66 | 6.67 | 2.19 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 3.04 | 2.63 | 2.98 | 7.68 | 2.26 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.99 | Other | 102 | 6.3 | 6.8 | 7.3 | 7.35 | 2.46 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.99 | Other | 215 | 7.0185 | 6.6819 | 6.0198 | 7.73 | 2.57 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 109 | 4.99 | 4.5 | 5.61 | 11.1 | 3.53 | 3.92 | 0 | 21.7 | 0 |
| Moisture (%AR) | 500.99 | Other | 132 | 6.89 | 6.67 | 4.52 | 21.7 | 7.13 | 3.92 | 0 | 21.7 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 204 | 0.2042 | 0.2053 | 0.2039 | 0.36 | 0.07 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 142 | 0.1886 | 0.1914 | 0.188 | 0.96 | 0.19 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.2316 | 0.2274 | 0.2278 | 1.01 | 0.2 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, | 210 | 0.222 | 0.225 | 0.22 | 1.13 | 0.23 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.99 | Other | 215 | 0.2181 | 0.2167 | 0.2127 | 1.3 | 0.26 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 120 | 0.2187 | 0.2221 | 0.2149 | 1.65 | 0.33 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, | 199 | 0.2087 | 0.2034 | 0.212 | 2.09 | 0.41 | 3.23 | 0.36 | 11.2 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, | 218 | 0.184 | 0.184 | 0.191 | 2.17 | 0.42 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 211 | 0.215 | 0.222 | 0.224 | 2.14 | 0.43 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.2401 | 0.2463 | 0.2343 | 2.5 | 0.51 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 208 | 0.2039 | 0.1924 | 0.1994 | 2.92 | 0.57 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 118 | 0.192 | 0.185 | 0.181 | 2.99 | 0.58 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.60 | NIR | 187 | 0.19 | 0.2 | 0.2 | 2.94 | 0.58 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 172 | 0.2499 | 0.2576 | 0.243 | 2.92 | 0.59 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.232 | 0.23 | 0.245 | 3.46 | 0.7 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 105 | 0.203 | 0.187 | 0.197 | 4.13 | 0.81 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 209 | 0.2436 | 0.2317 | 0.2519 | 4.19 | 0.85 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 209 | 0.2744 | 0.2499 | 0.2579 | 4.79 | 0.98 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 196 | 0.2043 | 0.2111 | 0.1899 | 5.36 | 1.06 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, | 103 | 0.196 | 0.175 | 0.182 | 5.8 | 1.13 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 154 | 0.1603 | 0.1561 | 0.1342 | 9.33 | 1.76 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, | 209 | 0.2948 | 0.2648 | 0.2483 | 8.75 | 1.8 | 3.23 | 0.36 | 11.2 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 109 | 0.208 | 0.166 | 0.19 | 11.2 | 2.19 | 3.23 | 0.36 | 11.2 | 0 |
|  |  |  |  | Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, | 199 | 0.081 | 0.0808 | 0.0805 | 0.31 | 0.05 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.084 | 0.0843 | 0.0837 | 0.36 | 0.06 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | 0.072 | 0.071 | 0.073 | 1.39 | 0.23 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.99 | Other | 215 | 0.0589 | 0.0587 | 0.0573 | 1.5 | 0.24 | 4.95 | 0.31 | 13.1 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 120 | 0.0793 | 0.0795 | 0.0818 | 1.73 | 0.3 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 142 | 0.0665 | 0.0664 | 0.0643 | 1.89 | 0.31 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 204 | 0.0882 | 0.0899 | 0.0867 | 1.81 | 0.32 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.03 | AOAC 2018.11, | 210 | 0.077 | 0.073 | 0.075 | 2.67 | 0.45 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 118 | 0.063 | 0.06 | 0.06 | 2.84 | 0.47 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 172 | 0.094 | 0.0984 | 0.094 | 2.66 | 0.47 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0797 | 0.0865 | 0.0827 | 4.11 | 0.71 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 209 | 0.1071 | 0.1001 | 0.1094 | 4.59 | 0.82 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 209 | 0.1196 | 0.1112 | 0.1101 | 4.57 | 0.83 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, | 218 | 0.076 | 0.069 | 0.069 | 5.67 | 0.96 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 196 | 0.0638 | 0.0694 | 0.062 | 5.93 | 0.99 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 105 | 0.064 | 0.0576 | 0.0655 | 6.73 | 1.11 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 208 | 0.0676 | 0.0671 | 0.0769 | 7.83 | 1.32 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 154 | 0.0712 | 0.069 | 0.061 | 8 | 1.34 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.60 | NIR | 187 | 0.15 | 0.13 | 0.13 | 8.45 | 1.57 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 211 | 0.062 | 0.067 | 0.075 | 9.64 | 1.61 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, | 209 | 0.1285 | 0.1178 | 0.1061 | 9.54 | 1.73 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, | 103 | 0.074 | 0.085 | 0.095 | 12.4 | 2.15 | 4.95 | 0.31 | 13.1 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 109 | 0.082 | 0.063 | 0.073 | 13.1 | 2.21 | 4.95 | 0.31 | 13.1 | 0 |
|  |  |  |  | CBD (%DW) |  |  |  |  |  |  |  |  |
| CBD (%DW) | 503.10 | Other LC-UV | 189 | 3.325 | 3.3171 | 3.2997 | 0.39 | 0.12 | 3.93 | 0.39 | 10.4 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%DW) | 503.10 | Other LC-UV | 204 | 3.6248 | 3.656 | 3.6483 | 0.45 | 0.14 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 211 | 3.844 | 3.887 | 3.825 | 0.82 | 0.25 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, | 103 | 3.761 | 3.737 | 3.692 | 0.94 | 0.29 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, | 218 | 3.617 | 3.553 | 3.553 | 1.03 | 0.31 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, | 199 | 3.8536 | 3.7731 | 3.8956 | 1.62 | 0.5 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, | 210 | 3.807 | 3.851 | 3.718 | 1.79 | 0.55 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 3.9496 | 3.9903 | 3.8232 | 2.22 | 0.68 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 142 | 3.4592 | 3.6344 | 3.5357 | 2.48 | 0.75 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.01 | AOAC 2018.10 | 209 | 3.0473 | 3.0738 | 3.1991 | 2.61 | 0.78 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 208 | 3.9335 | 3.7368 | 3.822 | 2.58 | 0.79 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 118 | 3.246 | 3.123 | 3.048 | 3.18 | 0.95 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 196 | 3.6117 | 3.8429 | 3.6294 | 3.48 | 1.06 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 172 | 4.4328 | 4.5964 | 4.285 | 3.51 | 1.1 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.60 | NIR | 187 | 2.96 | 3.2 | 3.16 | 4.14 | 1.23 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 209 | 3.2223 | 2.9198 | 2.9443 | 5.55 | 1.64 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.30 | Other LC-MS | 120 | 3.3248 | 3.279 | 2.9389 | 6.63 | 1.98 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.99 | Other | 215 | 3.3856 | 3.9392 | 3.5606 | 7.8 | 2.37 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.30 | Other LC-MS | 105 | 3.81 | 3.41 | 3.26 | 8.14 | 2.46 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 154 | 3.062 | 2.8749 | 2.5553 | 9.05 | 2.65 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, | 209 | 3.7053 | 3.1586 | 3.2206 | 8.91 | 2.68 | 3.93 | 0.39 | 10.4 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 109 | 3.897 | 3.162 | 3.58 | 10.4 | 3.15 | 3.93 | 0.39 | 10.4 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 4.6235 | 4.6094 | 4.5876 | 0.39 | 0.12 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 211 | 5.364 | 5.31 | 5.285 | 0.76 | 0.24 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 204 | 5.3748 | 5.4839 | 5.394 | 1.08 | 0.35 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, | 199 | 5.7864 | 5.8126 | 5.9837 | 1.83 | 0.6 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 118 | 4.574 | 4.436 | 4.412 | 1.95 | 0.61 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.99 | Other | 215 | 5.8469 | 5.8274 | 5.6427 | 1.95 | 0.64 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, | 218 | 5.071 | 4.911 | 4.885 | 2.03 | 0.65 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 142 | 4.9295 | 5.0099 | 4.8071 | 2.08 | 0.66 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, | 210 | 5.826 | 5.883 | 5.649 | 2.11 | 0.69 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 172 | 6.1931 | 6.3888 | 6.116 | 2.26 | 0.74 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 5.0646 | 4.9706 | 4.8213 | 2.48 | 0.79 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, | 103 | 5.662 | 5.36 | 5.381 | 3.08 | 1 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.60 | NIR | 187 | 4.92 | 4.64 | 4.61 | 3.62 | 1.14 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 208 | 5.8668 | 5.4488 | 5.642 | 3.7 | 1.2 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 209 | 6.2212 | 6.2382 | 6.6503 | 3.81 | 1.26 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.30 | Other LC-MS | 105 | 4.9 | 4.5 | 4.93 | 5.03 | 1.59 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 196 | 5.2938 | 5.6633 | 5.0605 | 5.69 | 1.83 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 209 | 6.967 | 6.345 | 6.2796 | 5.81 | 1.93 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 154 | 4.5735 | 4.299 | 3.7693 | 9.7 | 3.02 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, | 209 | 8.1363 | 7.0034 | 6.9305 | 9.19 | 3.11 | 3.35 | 0.39 | 10.2 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 109 | 6.072 | 4.944 | 5.617 | 10.2 | 3.32 | 3.35 | 0.39 | 10.2 | 0 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

CBN (%DW)

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

| CBN (%DW) | 505.30 | GC-FID | 116 | <0.0400 | <0.0400 | <0.0400 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%DW) | 505.02 | AOAC 2018.11, | 210 | <0.0140 | <0.0140 | <0.0140 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.02 | AOAC 2018.11, | 199 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.10 | Other LC-UV | 154 | <0.0128 | <0.0128 | <0.0128 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.10 | Other LC-UV | 208 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.10 | Other LC-UV | 196 | 0.0136 | 0.0136 | 0.0137 | 0.42 | 0.06 | 6.49 | 0.42 | 13.3 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0186 | 0.0188 | 0.0187 | 0.54 | 0.07 | 6.49 | 0.42 | 13.3 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 204 | 0.0182 | 0.0181 | 0.0183 | 0.55 | 0.08 | 6.49 | 0.42 | 13.3 | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, | 218 | 0.019 | 0.018 | 0.018 | 3.15 | 0.43 | 6.49 | 0.42 | 13.3 | 0 |
| CBN (%DW) | 505.20 | Other LC-MS | 105 | 0.0171 | 0.0183 | 0.0163 | 5.84 | 0.8 | 6.49 | 0.42 | 13.3 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 211 | 0.018 | 0.018 | 0.02 | 6.19 | 0.85 | 6.49 | 0.42 | 13.3 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | 0.0436 | 0.0484 | 0.044 | 5.87 | 0.93 | 6.49 | 0.42 | 13.3 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 109 | 0.016 | 0.014 | 0.016 | 7.53 | 1.01 | 6.49 | 0.42 | 13.3 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 209 | 0.0145 | 0.0124 | 0.0128 | 8.43 | 1.1 | 6.49 | 0.42 | 13.3 | 0 |
| CBN (%DW) | 505.01 | AOAC 2018.10 | 209 | 0.0112 | 0.0111 | 0.0129 | 8.62 | 1.11 | 6.49 | 0.42 | 13.3 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.0194 | 0.0154 | 0.0174 | 11.5 | 1.57 | 6.49 | 0.42 | 13.3 | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, | 209 | 0.0156 | 0.0132 | 0.0123 | 12.5 | 1.64 | 6.49 | 0.42 | 13.3 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 142 | 0.0123 | 0.016 | 0.0151 | 13.3 | 1.77 | 6.49 | 0.42 | 13.3 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%DW) | 506.60 | NIR | 187 | 0.31 | 0.31 | 0.31 | 0 | 0 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 204 | 0.2816 | 0.2841 | 0.28 | 0.73 | 0.15 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.3053 | 0.3013 | 0.3012 | 0.77 | 0.16 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 120 | 0.2883 | 0.2918 | 0.2866 | 0.92 | 0.19 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 138 | 0.2572 | 0.262 | 0.2581 | 0.98 | 0.2 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 142 | 0.2468 | 0.2497 | 0.2444 | 1.07 | 0.22 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.2758 | 0.2721 | 0.2789 | 1.24 | 0.26 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, | 218 | 0.25 | 0.244 | 0.251 | 1.52 | 0.31 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, | 199 | 0.2797 | 0.2742 | 0.2826 | 1.53 | 0.32 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 182 | 0.2328 | 0.226 | 0.2214 | 2.53 | 0.51 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.31 | 0.3222 | 0.3068 | 2.6 | 0.55 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 118 | 0.247 | 0.238 | 0.234 | 2.78 | 0.56 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.2059 | 0.2029 | 0.2146 | 2.92 | 0.58 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.295 | 0.292 | 0.309 | 3.04 | 0.64 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 208 | 0.2632 | 0.2513 | 0.2669 | 3.13 | 0.64 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, | 103 | 0.261 | 0.25 | 0.266 | 3.16 | 0.65 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 211 | 0.27 | 0.28 | 0.29 | 3.57 | 0.74 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 172 | 0.3323 | 0.3439 | 0.3598 | 4 | 0.85 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 105 | 0.259 | 0.238 | 0.254 | 4.38 | 0.89 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 209 | 0.3375 | 0.3195 | 0.3479 | 4.29 | 0.91 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 209 | 0.3793 | 0.3474 | 0.3545 | 4.65 | 1 | 3.14 | 0 | 11.5 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 196 | 0.2602 | 0.272 | 0.2442 | 5.39 | 1.1 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 154 | 0.2227 | 0.2166 | 0.1877 | 8.95 | 1.77 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.2881 | 0.2484 | 0.2474 | 8.88 | 1.82 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, | 209 | 0.4075 | 0.3681 | 0.3413 | 8.94 | 1.93 | 3.14 | 0 | 11.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 109 | 0.28 | 0.222 | 0.254 | 11.5 | 2.35 | 3.14 | 0 | 11.5 | 0 |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| Total CBD (%DW) | 507.10 | Other LC-UV | 189 | 7.3798 | 7.3596 | 7.323 | 0.39 | 0.13 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.60 | NIR | 187 | 7.28 | 7.27 | 7.2 | 0.6 | 0.2 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 211 | 8.549 | 8.544 | 8.459 | 0.59 | 0.21 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 204 | 8.3385 | 8.4654 | 8.3836 | 0.77 | 0.26 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, | 218 | 8.064 | 7.86 | 7.837 | 1.58 | 0.54 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, | 199 | 8.9283 | 8.8708 | 9.1433 | 1.6 | 0.56 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 142 | 7.7823 | 8.0281 | 7.7515 | 1.93 | 0.66 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 138 | 9.7107 | 9.6967 | 9.3896 | 1.89 | 0.67 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, | 103 | 8.727 | 8.437 | 8.411 | 2.06 | 0.71 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 8.3913 | 8.3495 | 8.0515 | 2.24 | 0.77 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 118 | 7.258 | 7.014 | 6.918 | 2.48 | 0.83 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 208 | 9.0787 | 8.5154 | 8.77 | 3.21 | 1.11 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.01 | AOAC 2018.10 | 209 | 8.5034 | 8.5446 | 9.0314 | 3.38 | 1.17 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 172 | 9.8641 | 10.1994 | 10.6687 | 3.95 | 1.4 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 196 | 8.2544 | 8.8096 | 8.0675 | 4.61 | 1.59 | 3.56 | 0.39 | 11 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 10.787 | 9.9114 | 10.0857 | 4.52 | 1.61 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.30 | Other LC-MS | 105 | 8.11 | 7.36 | 7.58 | 5.02 | 1.71 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 209 | 9.3323 | 8.4843 | 8.4516 | 5.7 | 1.98 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 154 | 7.0729 | 6.6451 | 5.861 | 9.42 | 3.13 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, | 209 | 10.8408 | 9.3005 | 9.2986 | 9.07 | 3.2 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 109 | 9.222 | 7.498 | 8.506 | 10.3 | 3.55 | 3.56 | 0.39 | 11 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 6.4534 | 7.9432 | 6.8065 | 11 | 3.7 | 3.56 | 0.39 | 11 | 0 |

Lab

Population of Lab RSDr

CBDV (%DW)

| CBDV (%DW) | 508.99 | Other | 208 | 0.0576 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%DW) | 508.99 | Other | 154 | <0.0118 | <0.0118 | <0.0118 |  |  |  |  |  | 1 |
| CBDV (%DW) | 508.99 | Other | 189 | 0.0228 | 0.0224 | 0.0218 | 2.25 | 0.32 | 7.2 | 2.25 | 14 | 0 |
| CBDV (%DW) | 508.02 | AOAC 2018.11, | 210 | 0.03 | 0.031 | 0.032 | 3.23 | 0.48 | 7.2 | 2.25 | 14 | 0 |
| CBDV (%DW) | 508.99 | Other | 142 | 0.0363 | 0.0391 | 0.0363 | 4.34 | 0.66 | 7.2 | 2.25 | 14 | 0 |
| CBDV (%DW) | 508.99 | Other | 196 | 0.024 | 0.0279 | 0.0249 | 7.98 | 1.15 | 7.2 | 2.25 | 14 | 0 |
| CBDV (%DW) | 508.99 | Other | 192 | 0.0898 | 0.097 | 0.1042 | 7.42 | 1.31 | 7.2 | 2.25 | 14 | 0 |
| CBDV (%DW) | 508.99 | Other | 109 | 0.115 | 0.092 | 0.107 | 11.2 | 1.99 | 7.2 | 2.25 | 14 | 0 |
| CBDV (%DW) | 508.99 | Other | 211 | 0.032 | 0.03 | 0.039 | 14 | 2.12 | 7.2 | 2.25 | 14 | 0 |

| CBDVA (%DW) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%DW) | 509.02 | AOAC 2018.11, | 210 | 0.057 | 0.058 | 0.056 | 1.75 | 0.29 | 0 |
| CBDVA (%DW) | 509.99 | Other | 196 | 0.0492 | 0.0529 | 0.0486 | 4.64 | 0.74 | 0 |

Lab

CBG (%DW)

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%DW) | 509.99 | Other | 208 | 0.0539 | 0.0627 | 0.0566 | 7.81 | 1.28 | 0 |
| CBDVA (%DW) | 509.99 | Other | 154 | 0.0259 | 0.0264 | 0.022 | 9.73 | 1.4 | 0 |

Lab

Population of Lab RSDr

CBGA (%DW)

| CBG (%DW) | 510.99 | Other | 189 | 0.1517 | 0.1522 | 0.1536 | 0.65 | 0.12 | 4.62 | 0.65 | 8.54 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%DW) | 510.02 | AOAC 2018.11, | 210 | 0.134 | 0.134 | 0.137 | 1.28 | 0.24 | 4.62 | 0.65 | 8.54 | 0 |
| CBG (%DW) | 510.99 | Other | 204 | 0.1495 | 0.1582 | 0.1562 | 2.95 | 0.56 | 4.62 | 0.65 | 8.54 | 0 |
| CBG (%DW) | 510.99 | Other | 192 | 0.2284 | 0.217 | 0.2171 | 2.97 | 0.59 | 4.62 | 0.65 | 8.54 | 0 |
| CBG (%DW) | 510.99 | Other | 118 | 0.127 | 0.125 | 0.119 | 3.37 | 0.62 | 4.62 | 0.65 | 8.54 | 0 |
| CBG (%DW) | 510.99 | Other | 196 | 0.1098 | 0.1183 | 0.1105 | 4.18 | 0.76 | 4.62 | 0.65 | 8.54 | 0 |
| CBG (%DW) | 510.99 | Other | 109 | 0.131 | 0.12 | 0.125 | 4.39 | 0.81 | 4.62 | 0.65 | 8.54 | 0 |
| CBG (%DW) | 510.02 | AOAC 2018.11, | 103 | 0.123 | 0.114 | 0.124 | 4.58 | 0.83 | 4.62 | 0.65 | 8.54 | 0 |
| CBG (%DW) | 510.99 | Other | 208 | 0.136 | 0.1312 | 0.144 | 4.72 | 0.88 | 4.62 | 0.65 | 8.54 | 0 |
| CBG (%DW) | 510.99 | Other | 142 | 0.1199 | 0.1338 | 0.1288 | 5.52 | 1.02 | 4.62 | 0.65 | 8.54 | 0 |
| CBG (%DW) | 510.99 | Other | 154 | 0.079 | 0.0668 | 0.0712 | 8.54 | 1.44 | 4.62 | 0.65 | 8.54 | 0 |
| CBG (%DW) | 510.99 | Other | 105 | 0.134 | 0.115 | 0.118 | 8.35 | 1.53 | 4.62 | 0.65 | 8.54 | 0 |
| CBG (%DW) | 510.99 | Other | 211 | 0.13 | 0.14 | 0.154 | 8.53 | 1.59 | 4.62 | 0.65 | 8.54 | 0 |

| CBGA (%DW) | 511.99 | Other | 189 | 0.258 | 0.2577 | 0.2563 | 0.35 | 0.07 | 5.21 | 0.35 | 28.7 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%DW) | 511.02 | AOAC 2018.11, | 210 | 0.251 | 0.252 | 0.248 | 0.83 | 0.17 | 5.21 | 0.35 | 28.7 | 0 |
| CBGA (%DW) | 511.99 | Other | 211 | 0.262 | 0.271 | 0.276 | 2.63 | 0.54 | 5.21 | 0.35 | 28.7 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%DW) | 511.99 | Other | 204 | 0.2605 | 0.276 | 0.2648 | 3 | 0.62 | 5.21 | 0.35 | 28.7 | 0 |
| CBGA (%DW) | 511.99 | Other | 208 | 0.2663 | 0.2522 | 0.2661 | 3.09 | 0.63 | 5.21 | 0.35 | 28.7 | 0 |
| CBGA (%DW) | 511.99 | Other | 196 | 0.2537 | 0.2647 | 0.2461 | 3.67 | 0.75 | 5.21 | 0.35 | 28.7 | 0 |
| CBGA (%DW) | 511.99 | Other | 142 | 0.261 | 0.2817 | 0.2819 | 4.37 | 0.9 | 5.21 | 0.35 | 28.7 | 0 |
| CBGA (%DW) | 511.99 | Other | 192 | 0.2766 | 0.2489 | 0.2501 | 6.06 | 1.24 | 5.21 | 0.35 | 28.7 | 0 |
| CBGA (%DW) | 511.99 | Other | 154 | 0.2235 | 0.2132 | 0.1955 | 6.72 | 1.33 | 5.21 | 0.35 | 28.7 | 0 |
| CBGA (%DW) | 511.99 | Other | 109 | 0.319 | 0.272 | 0.283 | 8.44 | 1.76 | 5.21 | 0.35 | 28.7 | 0 |
| CBGA (%DW) | 511.02 | AOAC 2018.11, | 103 | 0.269 | 0.216 | 0.202 | 15.4 | 3.1 | 5.21 | 0.35 | 28.7 | 0 |
| CBGA (%DW) | 511.99 | Other | 118 | 0.334 | 0.213 | 0.206 | 28.7 | 5.84 | 5.21 | 0.35 | 28.7 | 0 |

Lab

Population of Lab RSDr

THCV (%DW)

| THCV (%DW) | 512.99 | Other | 208 | <0.0500 | <0.0500 | <0.0500 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%DW) | 512.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%DW) | 512.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%DW) | 512.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | 1 |
| THCV (%DW) | 512.99 | Other | 211 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%DW) | 512.02 | AOAC 2018.11, | 210 | <0.0140 | <0.0140 | <0.0140 | 1 |
| THCV (%DW) | 512.99 | Other | 189 | <0.0050 | <0.0050 | <0.0050 | 1 |

|  |  |  |  | Δ8-THC (%DW) |  |
| --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.99 | Other | 118 | <0.0050 <0.0050 <0.0050 | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 196 | <0.0205 <0.0205 <0.0205 | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.99 | Other | 192 | <0.0300 | <0.0300 | <0.0300 |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 208 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 211 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Δ8-THC (%DW) | 513.02 | AOAC 2018.11, | 210 | <0.0140 | <0.0140 | <0.0140 |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 102 | <0.0200 | <0.0200 | <0.0200 |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 189 | 0.0088 | 0.0089 | 0.0089 | 0.65 | 0.08 | 0 |

Lab

Population of Lab RSDr

CBC (%DW)

| CBC (%DW) | 514.99 | Other | 204 | 0.269 | 0.2708 | 0.2704 | 0.35 | 0.07 | 4.23 | 0.35 | 11.9 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.99 | Other | 189 | 0.2498 | 0.2491 | 0.2478 | 0.41 | 0.08 | 4.23 | 0.35 | 11.9 | 0 |
| CBC (%DW) | 514.99 | Other | 211 | 0.273 | 0.274 | 0.279 | 1.17 | 0.24 | 4.23 | 0.35 | 11.9 | 0 |
| CBC (%DW) | 514.99 | Other | 142 | 0.2302 | 0.241 | 0.2328 | 2.4 | 0.48 | 4.23 | 0.35 | 11.9 | 0 |
| CBC (%DW) | 514.99 | Other | 105 | 0.259 | 0.245 | 0.245 | 3.24 | 0.66 | 4.23 | 0.35 | 11.9 | 0 |
| CBC (%DW) | 514.99 | Other | 208 | 0.2525 | 0.2437 | 0.2609 | 3.41 | 0.69 | 4.23 | 0.35 | 11.9 | 0 |
| CBC (%DW) | 514.02 | AOAC 2018.11, | 103 | 0.241 | 0.226 | 0.246 | 4.38 | 0.88 | 4.23 | 0.35 | 11.9 | 0 |
| CBC (%DW) | 514.99 | Other | 196 | 0.2565 | 0.2778 | 0.2493 | 5.67 | 1.16 | 4.23 | 0.35 | 11.9 | 0 |
| CBC (%DW) | 514.99 | Other | 192 | 0.4043 | 0.3664 | 0.3691 | 5.57 | 1.21 | 4.23 | 0.35 | 11.9 | 0 |
| CBC (%DW) | 514.99 | Other | 154 | 0.1984 | 0.1879 | 0.1626 | 10.1 | 1.95 | 4.23 | 0.35 | 11.9 | 0 |
| CBC (%DW) | 514.99 | Other | 109 | 0.282 | 0.222 | 0.254 | 11.9 | 2.42 | 4.23 | 0.35 | 11.9 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

- Flag definitions: 1 (Lab RSDr not calculated because there were less than 3 numeric lab results)

- Statistical parameters of robust mean, minimum, and maximum for RSDr only shown only if there were 6 or more lab RSDr values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.c