# Homogeneity and Stability

Sample ID . . . . . . . . . . . . . . . . . . . . . . . .

Samples shipped . . . . . . . . . . . . . . . . . . .

Results due date . . . . . . . . . . . . . . . . . . . .

HM21NOV-1

8-Nov-21

15-Dec-21

## Homogeneity

10 sample packets randomly chosen for analysis.

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 0.2461 | 0.2428 |
| 2 | 0.2395 | 0.2453 |
| 3 | 0.2413 | 0.2453 |
| 4 | 0.2412 | 0.2461 |
| 5 | 0.2467 | 0.2453 |
| 6 | 0.2503 | 0.2453 |
| 7 | 0.2448 | 0.2458 |
| 8 | 0.2481 | 0.2416 |
| 9 | 0.2446 | 0.2484 |
| 10 | 0.2449 | 0.2443 |

Duplicate test portions analyzed for analyte and method shown in table caption.

| Total THC (%AR) via GC-FID (method 006.40) Analysis Date: 12/5/21 | Overall average: | 0.2449 | %RSD HorRat-r |  |
| --- | --- | --- | --- | --- |
|  | SD of sample avgs: | 0.0016 | 0.65 |  |
|  | repeatability SD: | 0.002916 | 1.19 0.2 |  |
|  | between-sample SD: | 0 | 0.00 |  |
|  | reproducibilty SD: | 0.002916 | 1.19 |  |
|  | SD used for Analyte z scores: | 0.0418 |  |  |
|  | Check value: | 0.01254 |  |  |
| Total THC (%AR) via GC-FID (method 006.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |  |
| Total CBD (%AR) via GC-FID (method 007.40) Analysis Date: 12/5/21 | Overall average: | 8.7722 | %RSD |  |
|  | SD of sample avgs: | 0.0665 | 0.76 |  |
|  | repeatability SD: | 0.1284 | 1.46 | 0.5 |
|  | between-sample SD: | 0 | 0.00 |  |
|  | reproducibilty SD: | 0.1284 | 1.46 |  |
|  | SD used for Analyte z scores: | 0.5444 |  |  |
|  | Check value: | 0.16332 |  |  |
| Total CBD (%AR) via GC-FID (method 007.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |  |

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 8.7465 | 8.5925 |
| 2 | 8.5771 | 8.8995 |
| 3 | 8.6275 | 8.7530 |
| 4 | 8.7473 | 8.9320 |
| 5 | 8.9393 | 8.7187 |
| 6 | 8.9098 | 8.7635 |
| 7 | 8.9100 | 8.7741 |
| 8 | 8.8665 | 8.6221 |
| 9 | 8.7863 | 8.8323 |
| 10 | 8.7002 | 8.7459 |

Stability

Sample tested on different days from date sample shipped to results due date. Sample stored at room temperature during period of testing.

| Date of Analysis | Days | Conc. |
| --- | --- | --- |
| 11/7/21 | 0 | 0.2607 |
| 11/10/21 | 3 | 0.2575 |
| 11/10/21 | 3 | 0.2524 |
| 11/17/21 | 10 | 0.2493 |
| 11/23/21 | 16 | 0.2376 |
| 12/5/21 | 28 | 0.2354 |
| 12/6/21 | 29 | 0.2398 |
| 12/12/21 | 35 | 0.2622 |
| 12/14/21 | 37 | 0.2702 |
| 12/19/21 | 42 | 0.2568 |

Total THC (%AR) via GC-FID (method 006.40)		Days = x variable, Conc = y variable

### SUMMARY OUTPUT

Regression Statistics

Multiple R		0.082386 R Square	0.0067875 Adjusted R Squ -0.1173641 Standard Error  0.0122216

Observations	10

### ANOVA

df	SS	MS	F	Significance F

0.28

0.27

0.26

0.25

0.24

0.23

0.22

0.21

0.20

0

10

20

30

40

Regression	1  8.1661E-06 8.16606E-06 0.054671  0.820998776

y = 6E-05x + 0.251 R² = 0.0068

Residual	8 0.00119494 0.000149368

Total	9 0.00120311

Coefficients tandard Error	t Stat	P-value	Lower 95%	Upper 95%

Intercept	0.2509632 0.00651642 38.51244058  2.27E-10  0.235936356  0.265990141

X Variable 1	6.043E-05 0.00025845 0.233817803 0.820999 -0.000535565  0.000656427

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period

Stability test passed.

%RSD = 4.6

| Total CBD (%AR) via GC-FID (method 006.40) |  |  |
| --- | --- | --- |
| Date of Analysis | Days | Conc. |
| 11/7/21 | 0 | 9.0779 |
| 11/10/21 | 3 | 9.0648 |
| 11/10/21 | 3 | 8.7777 |
| 11/17/21 | 10 | 8.9396 |
| 11/23/21 | 16 | 8.4649 |
| 12/5/21 | 28 | 8.7711 |
| 12/6/21 | 29 | 8.3760 |
| 12/12/21 | 35 | 8.8016 |
| 12/14/21 | 37 | 9.0067 |
| 12/19/21 | 42 | 8.5674 |

Days = x variable, Conc = y variable SUMMARY OUTPUT

Regression Statistics

Multiple R  0.4348887 R Square	0.1891282 Adjusted R Squ 0.0877692 Standard Error  0.2371256

Observations	10

### ANOVA

df	SS	MS	F	Significance F

Regression	1 0.10491826 0.104918265 1.865925  0.209104658

Residual	8 0.44982854 0.056228567

Total	9	0.5547468

y = -0.0068x + 8.9238 R² = 0.1891

10.0

9.5

9.0

8.5

8.0

7.5

7.0

0

10

20

30

40

Coefficients tandard Error	t Stat	P-value	Lower 95%	Upper 95%

Intercept	8.9238216 0.12643258 70.58166135  1.81E-12  8.632267542	9.21537565

X Variable 1	-0.0068498 0.00501456  -1.3659885 0.209105	-0.01841343  0.004713766

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period

Stability test passed.

%RSD = 2.8