Hemp Proficiency Testing All Labs Trueness HM21NOV-2 (hemp)

Sample: HM21NOV-2 (hemp)

All Labs Trueness

Issue Date: December 20, 2021

| Analyte | Code | Method | Lab Num | Result1 Result2 Result3 Δ9-THC (%AR) |  |  | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 192 | 0.1859 | 0.1885 | 0.1918 | 0.189 | -3.03 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 213 | 0.2105 | 0.2248 | 0.2076 | 0.214 | -2.21 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 161 | 0.2232 | 0.223 | 0.2166 | 0.221 | -2 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 155 | 0.231 | 0.243 | 0.234 | 0.236 | -1.52 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.60 | NIR | 187 | 0.24 | 0.23 | 0.24 | 0.237 | -1.5 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 212 | 0.2559 | 0.1969 | 0.269 | 0.241 | -1.37 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 182 | 0.2466 | 0.2384 | 0.2428 | 0.243 | -1.31 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 141 | 0.2466 | 0.2623 | 0.2357 | 0.248 | -1.13 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 113 | 0.2525 | 0.2587 | 0.2548 | 0.255 | -0.9 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | 0.2522 | 0.2659 | 0.2493 | 0.256 | -0.89 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 103 | 0.272 | 0.251 | 0.263 | 0.262 | -0.69 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 164 | 0.2694 | 0.2604 | 0.2675 | 0.266 | -0.57 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 208 | 0.2633 | 0.2647 | 0.272 | 0.267 | -0.54 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.2815 | 0.265 | 0.2566 | 0.268 | -0.51 | 0.2836 | 52 | 0.0313 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 124 | 0.2011 | 0.3315 | 0.2706 | 0.268 | -0.51 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 125 | 0.273 | 0.266 | 0.264 | 0.268 | -0.51 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.27 | 0.26 | 0.28 | 0.27 | -0.43 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 120 | 0.2774 | 0.2632 | 0.2754 | 0.272 | -0.37 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 216 | 0.279 | 0.275 | 0.2663 | 0.273 | -0.32 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 142 | 0.2743 | 0.2753 | 0.2735 | 0.274 | -0.3 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 162 | 0.2749 | 0.288 | 0.2695 | 0.277 | -0.2 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 109 | 0.28 | 0.278 | 0.276 | 0.278 | -0.18 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.2831 | 0.2764 | 0.2743 | 0.278 | -0.18 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 191 | 0.2794 | 0.2837 | 0.2757 | 0.28 | -0.13 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 204 | 0.2823 | 0.2812 | 0.2859 | 0.283 | -0.02 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.27 | 0.3 | 0.28 | 0.283 | -0.01 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 199 | 0.2895 | 0.2845 | 0.2775 | 0.284 | 0.01 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 215 | 0.293 | 0.281 | 0.2853 | 0.286 | 0.09 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 217 | 0.2882 | 0.2929 | 0.2785 | 0.287 | 0.09 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 196 | 0.2883 | 0.2948 | 0.2787 | 0.287 | 0.12 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 200 | 0.29 | 0.295 | 0.281 | 0.289 | 0.16 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 108 | 0.2795 | 0.2782 | 0.3133 | 0.29 | 0.21 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.311 | 0.2808 | 0.2854 | 0.292 | 0.28 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.3063 | 0.3038 | 0.281 | 0.297 | 0.43 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 194 | 0.2871 | 0.3121 | 0.2949 | 0.298 | 0.46 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 183 | 0.3256 | 0.281 | 0.2917 | 0.299 | 0.5 | 0.2836 | 52 | 0.0313 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, | 139 | 0.2995 | 0.2936 | 0.3026 | 0.299 | 0.48 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.3001 | 0.2898 | 0.3098 | 0.3 | 0.52 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 209 | 0.3058 | 0.2762 | 0.3308 | 0.304 | 0.66 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.3076 | 0.3045 | 0.3057 | 0.306 | 0.71 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 132 | 0.31 | 0.303 | 0.309 | 0.307 | 0.76 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 211 | 0.311 | 0.303 | 0.306 | 0.307 | 0.74 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 152 | 0.3136 | 0.2876 | 0.3216 | 0.308 | 0.77 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 209 | 0.2994 | 0.2828 | 0.3545 | 0.312 | 0.91 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 148 | 0.313 | 0.324 | 0.299 | 0.312 | 0.91 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.316 | 0.342 | 0.297 | 0.318 | 1.11 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.306 | 0.318 | 0.335 | 0.32 | 1.15 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 219 | 0.329 | 0.341 | 0.3341 | 0.335 | 1.63 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.3247 | 0.3502 | 0.3339 | 0.336 | 1.68 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 209 | 0.304 | 0.3923 | 0.3329 | 0.343 | 1.9 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.3342 | 0.3592 | 0.3467 | 0.347 | 2.01 | 0.2836 | 52 | 0.0313 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 172 | 0.356 | 0.347 | 0.348 | 0.35 | 2.13 | 0.2836 | 52 | 0.0313 | 0 |
|  |  |  |  | Δ9-THCA (%AR) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | <0.0300 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 108 | <0.0700 | <0.0700 | <0.0700 | <0.0700 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0725 | <0.0746 | <0.0685 | <0.0725 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 216 | <0.0750 | <0.0721 | <0.0721 | <0.0750 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 213 | 0.0395 | 0.0357 | 0.0351 | 0.0368 | -3.32 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 155 | 0.049 | 0.048 | 0.051 | 0.0493 | -2.43 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 141 | 0.0505 | 0.0553 | 0.0495 | 0.0518 | -2.26 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 215 | 0.0625 | 0.06 | 0.0615 | 0.0613 | -1.58 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 124 | 0.045 | 0.0899 | 0.071 | 0.0686 | -1.06 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 161 | 0.0699 | 0.0698 | 0.0706 | 0.0701 | -0.96 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 182 | 0.0772 | 0.0701 | 0.0623 | 0.0699 | -0.98 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 194 | 0.0686 | 0.073 | 0.0712 | 0.0709 | -0.9 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | 0.081 | 0.068 | 0.067 | 0.072 | -0.82 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | 0.0744 | 0.0743 | 0.0708 | 0.0732 | -0.74 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | 0.075 | 0.076 | 0.0715 | 0.0742 | -0.67 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.0794 | 0.0769 | 0.0732 | 0.0765 | -0.51 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 219 | 0.0758 | 0.077 | 0.0761 | 0.0763 | -0.52 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 113 | 0.0752 | 0.0781 | 0.0745 | 0.0759 | -0.55 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | 0.074 | 0.075 | 0.081 | 0.0767 | -0.49 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 212 | 0.086 | 0.0894 | 0.0547 | 0.0767 | -0.49 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 211 | 0.079 | 0.075 | 0.078 | 0.0773 | -0.45 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 162 | 0.0748 | 0.0759 | 0.0795 | 0.0767 | -0.49 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.075 | 0.079 | 0.081 | 0.0783 | -0.38 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 200 | 0.078 | 0.08 | 0.077 | 0.0783 | -0.38 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 208 | 0.0732 | 0.0838 | 0.0789 | 0.0786 | -0.35 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.0855 | 0.0813 | 0.0722 | 0.0797 | -0.28 | 0.0836 | 47 | 0.0141 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.99 | Other | 132 | 0.082 | 0.082 | 0.079 | 0.081 | -0.19 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 109 | 0.084 | 0.08 | 0.081 | 0.0817 | -0.14 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 199 | 0.08 | 0.0855 | 0.084 | 0.0832 | -0.03 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 120 | 0.0875 | 0.0829 | 0.0817 | 0.084 | 0.03 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0.0895 | 0.0811 | 0.0853 | 0.0853 | 0.12 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, | 139 | 0.0909 | 0.0806 | 0.0852 | 0.0856 | 0.14 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0885 | 0.0893 | 0.0895 | 0.0891 | 0.39 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 204 | 0.0906 | 0.0896 | 0.0908 | 0.0903 | 0.48 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | 0.0925 | 0.0899 | 0.0887 | 0.0904 | 0.48 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.0949 | 0.0831 | 0.0932 | 0.0904 | 0.48 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.09 | 0.09 | 0.09 | 0.09 | 0.45 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0844 | 0.094 | 0.0934 | 0.0906 | 0.49 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 217 | 0.0932 | 0.0919 | 0.0879 | 0.091 | 0.52 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 103 | 0.086 | 0.094 | 0.093 | 0.091 | 0.52 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 152 | 0.0921 | 0.0962 | 0.0915 | 0.0933 | 0.68 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 191 | 0.0942 | 0.0953 | 0.093 | 0.0942 | 0.75 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 209 | 0.0992 | 0.0935 | 0.0927 | 0.0951 | 0.82 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 209 | 0.0986 | 0.0907 | 0.1082 | 0.0992 | 1.1 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 183 | 0.0936 | 0.1016 | 0.1045 | 0.0999 | 1.15 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 172 | 0.105 | 0.101 | 0.099 | 0.102 | 1.28 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 164 | 0.1107 | 0.1066 | 0.1037 | 0.107 | 1.66 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | 0.1095 | 0.1096 | 0.1095 | 0.11 | 1.84 | 0.0836 | 47 | 0.0141 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 209 | 0.0989 | 0.1301 | 0.1096 | 0.113 | 2.07 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 125 | 0.13 | 0.134 | 0.109 | 0.124 | 2.89 | 0.0836 | 47 | 0.0141 | 0 |
| Δ9-THCA (%AR) | 002.60 | NIR | 187 | 0.14 | 0.14 | 0.13 | 0.137 | 3.76 | 0.0836 | 47 | 0.0141 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 209 | 3.5628 | 3.3956 | 3.4844 | 3.48 | -2.72 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 120 | 3.7581 | 3.366 | 3.4503 | 3.52 | -2.63 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 209 | 3.3911 | 4.3741 | 3.5984 | 3.79 | -2.11 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 209 | 3.7772 | 3.4747 | 4.1763 | 3.81 | -2.06 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.60 | NIR | 187 | 4.06 | 4.02 | 4.07 | 4.05 | -1.58 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 161 | 4.2371 | 4.1332 | 4.0664 | 4.15 | -1.39 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 103 | 4.175 | 4.312 | 4.824 | 4.44 | -0.81 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 141 | 4.2068 | 4.6937 | 4.4321 | 4.44 | -0.8 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 155 | 4.47 | 4.41 | 4.48 | 4.45 | -0.78 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 4.4525 | 4.4524 | 4.4636 | 4.46 | -0.78 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 191 | 4.3499 | 4.543 | 4.6134 | 4.5 | -0.68 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 125 | 4.64 | 4.46 | 4.55 | 4.55 | -0.59 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 164 | 4.7136 | 4.6573 | 4.414 | 4.59 | -0.5 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.99 | Other | 183 | 4.823 | 4.6721 | 4.3056 | 4.6 | -0.49 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.99 | Other | 215 | 4.4528 | 4.9437 | 4.6733 | 4.69 | -0.31 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, | 139 | 4.7124 | 4.6675 | 4.8386 | 4.74 | -0.21 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 4.86 | 4.65 | 4.78 | 4.76 | -0.16 | 4.846 | 43 | 0.5026 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.99 | Other | 132 | 4.705 | 4.8 | 4.818 | 4.77 | -0.14 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 113 | 4.7836 | 4.8559 | 4.8016 | 4.81 | -0.06 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 162 | 4.6881 | 4.8426 | 4.8868 | 4.81 | -0.08 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 4.8439 | 4.8574 | 4.8506 | 4.85 | 0.01 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 204 | 4.9204 | 4.9001 | 4.9483 | 4.92 | 0.15 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 208 | 4.9325 | 4.8589 | 4.9689 | 4.92 | 0.15 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 200 | 4.743 | 5.192 | 4.867 | 4.93 | 0.18 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 5.1919 | 4.6982 | 4.8964 | 4.93 | 0.16 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 5.176 | 4.805 | 4.975 | 4.99 | 0.28 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 152 | 5.2388 | 4.876 | 4.9287 | 5.01 | 0.34 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 4.9368 | 5.0845 | 5.0444 | 5.02 | 0.35 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 219 | 4.949 | 5.116 | 5.037 | 5.03 | 0.37 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 4.9582 | 5.117 | 5.0322 | 5.04 | 0.38 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 199 | 5.089 | 5.1515 | 4.9355 | 5.06 | 0.42 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 212 | 5.1873 | 5.0194 | 5.0268 | 5.08 | 0.46 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 109 | 5.204 | 4.99 | 5.222 | 5.14 | 0.58 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 194 | 5.1532 | 5.27 | 5.0911 | 5.17 | 0.65 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 211 | 5.329 | 5.231 | 5.049 | 5.2 | 0.71 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 108 | 5.17 | 5.152 | 5.77 | 5.36 | 1.03 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 5.2592 | 5.552 | 5.267 | 5.36 | 1.02 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 216 | 5.3882 | 5.4313 | 5.3691 | 5.4 | 1.09 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 5.4502 | 5.5195 | 5.3142 | 5.43 | 1.16 | 4.846 | 43 | 0.5026 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 5.8607 | 5.361 | 5.2889 | 5.5 | 1.31 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 6.345 | 5.382 | 5.526 | 5.75 | 1.8 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 5.7986 | 5.6176 | 6.062 | 5.83 | 1.95 | 4.846 | 43 | 0.5026 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 172 | 6.039 | 6.013 | 5.901 | 5.98 | 2.26 | 4.846 | 43 | 0.5026 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.10 | Other LC-UV | 155 | 4.7 | 4.59 | 4.5 | 4.6 | -2.18 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 4.9046 | 4.8996 | 4.9095 | 4.9 | -1.54 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 161 | 5.0284 | 5.0786 | 4.9307 | 5.01 | -1.32 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 103 | 5.108 | 4.902 | 5.114 | 5.04 | -1.26 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.60 | NIR | 187 | 5.02 | 5.09 | 5.1 | 5.07 | -1.2 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 212 | 5.3209 | 5.0742 | 4.9728 | 5.12 | -1.09 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.99 | Other | 132 | 5.193 | 5.195 | 5.043 | 5.14 | -1.05 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 152 | 5.1992 | 4.9764 | 5.2905 | 5.16 | -1.03 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 125 | 5.34 | 5.35 | 4.99 | 5.23 | -0.88 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 5.4 | 5.22 | 5.29 | 5.3 | -0.72 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 162 | 5.3106 | 5.3051 | 5.4221 | 5.35 | -0.63 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 141 | 5.1283 | 5.6511 | 5.3468 | 5.38 | -0.57 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 5.3278 | 5.6527 | 5.4254 | 5.47 | -0.38 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, | 139 | 5.3913 | 5.4501 | 5.6668 | 5.5 | -0.31 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 6.0161 | 5.0885 | 5.4293 | 5.51 | -0.29 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 5.5172 | 5.6505 | 5.3753 | 5.51 | -0.29 | 5.6537 | 41 | 0.486 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.30 | Other LC-MS | 164 | 5.5636 | 5.3944 | 5.675 | 5.54 | -0.23 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 5.5986 | 5.7071 | 5.4032 | 5.57 | -0.17 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 211 | 5.817 | 5.543 | 5.501 | 5.62 | -0.07 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 200 | 5.387 | 5.966 | 5.548 | 5.63 | -0.04 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 191 | 5.4551 | 5.7184 | 5.8169 | 5.66 | 0.02 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 194 | 5.742 | 5.7282 | 5.6037 | 5.69 | 0.08 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 6.0499 | 5.3777 | 5.6623 | 5.7 | 0.09 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 5.7234 | 5.7334 | 5.7284 | 5.73 | 0.15 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 5.7217 | 5.9065 | 5.6347 | 5.75 | 0.21 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 208 | 5.8077 | 5.5888 | 5.8508 | 5.75 | 0.2 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 204 | 5.739 | 5.7217 | 5.7795 | 5.75 | 0.19 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 108 | 5.593 | 5.522 | 6.173 | 5.76 | 0.22 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 219 | 5.697 | 5.816 | 5.82 | 5.78 | 0.26 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 216 | 6.045 | 6.0125 | 5.7635 | 5.94 | 0.59 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 199 | 5.8845 | 6.0745 | 5.918 | 5.96 | 0.63 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.01 | AOAC 2018.10 | 209 | 6.1064 | 5.6998 | 6.061 | 5.96 | 0.62 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.99 | Other | 215 | 6.3007 | 6.1138 | 5.8573 | 6.09 | 0.9 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 6.442 | 5.988 | 6.038 | 6.16 | 1.03 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 6.174 | 6.345 | 5.985 | 6.17 | 1.06 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.99 | Other | 183 | 6.2218 | 6.0708 | 6.3723 | 6.22 | 1.17 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 109 | 6.357 | 6.023 | 6.36 | 6.25 | 1.22 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 6.4139 | 6.2842 | 6.3091 | 6.34 | 1.4 | 5.6537 | 41 | 0.486 | 0 |

Population of Lab Values

| Analyte Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 209 | 5.7523 | 7.9201 | 6.4512 | 6.71 | 2.17 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 172 | 6.985 | 6.643 | 6.634 | 6.75 | 2.26 | 5.6537 | 41 | 0.486 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 209 | 6.7829 | 6.1328 | 7.6571 | 6.86 | 2.48 | 5.6537 | 41 | 0.486 | 0 |

Population of Lab Values

CBN (%AR)

| CBN (%AR) | 005.10 | Other LC-UV | 106 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.02 | AOAC 2018.11, | 199 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | <0.0483 | <0.0498 | <0.0457 | <0.0483 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 216 | <0.0500 | <0.0481 | <0.0481 | <0.0500 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 208 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, | 108 | <0.0700 | <0.0700 | <0.0700 | <0.0700 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 125 | 0.0124 | 0.014 | 0.0135 | 0.0133 | -1.8 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, | 209 | 0.0166 | 0.0158 | 0.0184 | 0.0169 | -1.28 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.01 | AOAC 2018.10 | 209 | 0.0178 | 0.0165 | 0.0162 | 0.0168 | -1.29 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 209 | 0.0183 | 0.0241 | 0.0199 | 0.0208 | -0.73 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 219 | 0.0216 | 0.0215 | 0.0212 | 0.0214 | -0.63 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0243 | 0.0206 | 0.0194 | 0.0214 | -0.63 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.99 | Other | 132 | 0.022 | 0.022 | 0.023 | 0.0223 | -0.5 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 162 | 0.0224 | 0.0227 | 0.0214 | 0.0222 | -0.53 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | 0.0193 | 0.0242 | 0.0243 | 0.0226 | -0.46 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.0233 | 0.0233 | 0.0238 | 0.0235 | -0.34 | 0.0258 | 25 | 0.007 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.03 | AOAC 2018.11, | 139 | 0.0245 | 0.0222 | 0.0234 | 0.0234 | -0.35 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | 0.0243 | 0.0246 | 0.023 | 0.024 | -0.27 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | 0.0258 | 0.0255 | <0.0240 | 0.0251 | -0.11 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 109 | 0.026 | 0.024 | 0.028 | 0.026 | 0.02 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 200 | 0.027 | 0.027 | 0.026 | 0.0267 | 0.12 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 204 | 0.0271 | 0.0274 | 0.0273 | 0.0273 | 0.21 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 141 | 0.0282 | 0.0274 | 0.0263 | 0.0273 | 0.21 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.99 | Other | 183 | 0.0262 | 0.0277 | 0.0276 | 0.0272 | 0.19 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0284 | 0.028 | 0.0284 | 0.0283 | 0.35 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 211 | 0.028 | 0.028 | 0.029 | 0.0283 | 0.36 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0328 | 0.035 |  | 0.0339 | 1.16 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.038 | 0.041 | 0.035 | 0.038 | 1.75 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 116 | 0.0444 | <0.0400 | <0.0400 | 0.0415 |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, | 107 | 0.042 | 0.048 | 0.047 | 0.0457 | 2.84 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | 0.049 | 0.0567 | 0.0524 | 0.0527 | 3.85 | 0.0258 | 25 | 0.007 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 185 | 2.5504 | 2.6304 | 2.5411 | 2.57 | 365.51 | 0.0258 | 25 | 0.007 | 0 |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1859 | 0.1885 | 0.1918 | 0.189 | -4.07 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.2522 | 0.2659 | 0.2493 | 0.256 | -2.5 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 155 | 0.246 | 0.285 | 0.25 | 0.26 | -2.4 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 216 | 0.279 | 0.275 | 0.2663 | 0.273 | -2.09 | 0.3629 | 60 | 0.0428 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 161 | 0.2845 | 0.2842 | 0.2785 | 0.282 | -1.88 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 141 | 0.2909 | 0.3108 | 0.2792 | 0.294 | -1.62 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 182 | 0.3143 | 0.2999 | 0.2974 | 0.304 | -1.38 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 212 | 0.3313 | 0.2753 | 0.317 | 0.308 | -1.29 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.3307 | 0.2958 | 0.32 | 0.315 | -1.11 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.3117 | 0.3308 | 0.3399 | 0.327 | -0.83 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 124 | 0.2406 | 0.4103 | 0.3329 | 0.328 | -0.82 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.3511 | 0.3325 | 0.3208 | 0.335 | -0.66 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 208 | 0.3275 | 0.3381 | 0.3421 | 0.336 | -0.63 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.3455 | 0.3418 | 0.3278 | 0.338 | -0.57 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.3401 | 0.342 | 0.3362 | 0.339 | -0.55 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 215 | 0.3478 | 0.3336 | 0.3392 | 0.34 | -0.53 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 108 | 0.331 | 0.3248 | 0.3673 | 0.341 | -0.51 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 103 | 0.347 | 0.333 | 0.345 | 0.342 | -0.5 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 162 | 0.3406 | 0.3546 | 0.3392 | 0.345 | -0.42 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 120 | 0.3541 | 0.3359 | 0.347 | 0.346 | -0.4 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 109 | 0.354 | 0.348 | 0.348 | 0.35 | -0.3 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.3535 | 0.3599 | 0.3408 | 0.351 | -0.27 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.3489 | 0.3448 | 0.3624 | 0.352 | -0.25 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.34 | 0.37 | 0.35 | 0.353 | -0.22 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 187 | 0.36 | 0.35 | 0.35 | 0.353 | -0.22 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 121 | 0.36 | 0.374 | 0.332 | 0.355 | -0.18 | 0.3629 | 60 | 0.0428 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 199 | 0.3597 | 0.3595 | 0.3512 | 0.357 | -0.14 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.3642 | 0.3553 | 0.3521 | 0.357 | -0.13 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 194 | 0.3403 | 0.3762 | 0.3573 | 0.358 | -0.12 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 200 | 0.36 | 0.37 | 0.35 | 0.36 | -0.07 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 164 | 0.3665 | 0.3539 | 0.3585 | 0.36 | -0.08 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 204 | 0.3618 | 0.3598 | 0.3655 | 0.362 | -0.01 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 191 | 0.362 | 0.3672 | 0.3572 | 0.362 | -0.02 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 217 | 0.3699 | 0.3735 | 0.3555 | 0.366 | 0.08 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.3812 | 0.3751 | 0.3442 | 0.367 | 0.09 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, | 139 | 0.3792 | 0.3643 | 0.3773 | 0.374 | 0.25 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 211 | 0.38 | 0.369 | 0.374 | 0.374 | 0.27 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.3654 | 0.3799 | 0.3798 | 0.375 | 0.28 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 125 | 0.387 | 0.384 | 0.359 | 0.377 | 0.32 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 132 | 0.382 | 0.375 | 0.378 | 0.378 | 0.36 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.401 | 0.3853 | 0.3506 | 0.379 | 0.38 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.3834 | 0.3627 | 0.3916 | 0.379 | 0.38 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.3852 | 0.3828 | 0.3842 | 0.384 | 0.5 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.386 | 0.399 | 0.374 | 0.386 | 0.55 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 183 | 0.4077 | 0.3701 | 0.3833 | 0.387 | 0.57 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.371 | 0.384 | 0.406 | 0.387 | 0.56 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 209 | 0.3923 | 0.3557 | 0.4257 | 0.391 | 0.66 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 181 | 0.43 | 0.39 | 0.36 | 0.393 | 0.71 | 0.3629 | 60 | 0.0428 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 152 | 0.3943 | 0.3759 | 0.4099 | 0.393 | 0.71 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 209 | 0.3864 | 0.3648 | 0.4359 | 0.396 | 0.77 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 219 | 0.3955 | 0.4085 | 0.4008 | 0.402 | 0.91 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 138 | 0.405 | 0.445 | 0.385 | 0.412 | 1.14 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.3987 | 0.4326 | 0.4159 | 0.416 | 1.24 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 107 | 0.415 | 0.428 | 0.432 | 0.425 | 1.45 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 128 | 0.4437 | 0.4265 | 0.4352 | 0.435 | 1.69 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 172 | 0.4481 | 0.4356 | 0.4348 | 0.44 | 1.79 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 209 | 0.3907 | 0.5064 | 0.4291 | 0.442 | 1.85 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.4302 | 0.4553 | 0.4427 | 0.443 | 1.87 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 190 | 0.493 | 0.48 | 0.472 | 0.482 | 2.78 | 0.3629 | 60 | 0.0428 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 185 | 0.5154 | 0.5056 | 0.5046 | 0.509 | 3.41 | 0.3629 | 60 | 0.0428 | 0 |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.10 | Other LC-UV | 155 | 8.04 | 7.89 | 7.88 | 7.94 | -2.8 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 187 | 8.46 | 8.48 | 8.54 | 8.49 | -1.98 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 161 | 8.647 | 8.5871 | 8.3906 | 8.54 | -1.91 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.01 | AOAC 2018.10 | 209 | 8.9182 | 8.3943 | 8.7999 | 8.7 | -1.67 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 8.7538 | 8.7493 | 8.7692 | 8.76 | -1.59 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 103 | 8.655 | 8.611 | 9.309 | 8.86 | -1.44 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 125 | 9.33 | 9.16 | 8.93 | 9.14 | -1.03 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 141 | 8.7043 | 9.6497 | 9.1213 | 9.16 | -1 | 9.8392 | 46 | 0.6799 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 8.8443 | 9.7914 | 9.2175 | 9.28 | -0.82 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.99 | Other | 132 | 9.263 | 9.36 | 9.245 | 9.29 | -0.81 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 164 | 9.5929 | 9.3882 | 9.391 | 9.46 | -0.56 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 191 | 9.134 | 9.558 | 9.7148 | 9.47 | -0.54 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 9.8022 | 9.6864 | 8.9411 | 9.48 | -0.53 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 162 | 9.3455 | 9.4951 | 9.642 | 9.49 | -0.51 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 107 | 9.2 | 9.915 | 9.421 | 9.51 | -0.48 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 212 | 9.8537 | 9.4695 | 9.3879 | 9.57 | -0.4 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, | 139 | 9.4406 | 9.4472 | 9.8101 | 9.57 | -0.4 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 209 | 8.4358 | 11.32 | 9.2561 | 9.67 | -0.25 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 152 | 9.7986 | 9.6694 | 9.6461 | 9.7 | -0.2 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 209 | 9.7258 | 8.8531 | 10.8915 | 9.82 | -0.02 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 9.8633 | 9.8856 | 9.8744 | 9.87 | 0.05 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 200 | 9.47 | 10.42 | 9.73 | 9.87 | 0.05 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 9.7968 | 10.0725 | 9.7463 | 9.87 | 0.05 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 9.8468 | 10.0897 | 9.7829 | 9.91 | 0.1 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 10.4977 | 9.4144 | 9.8623 | 9.92 | 0.13 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 208 | 10.0259 | 9.7603 | 10.1001 | 9.96 | 0.18 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 204 | 9.9535 | 9.918 | 10.0169 | 9.96 | 0.18 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.99 | Other | 215 | 9.9555 | 10.3263 | 9.8101 | 10 | 0.28 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 219 | 9.945 | 10.217 | 10.141 | 10.1 | 0.38 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.99 | Other | 183 | 10.2795 | 9.9962 | 9.8941 | 10.1 | 0.32 | 9.8392 | 46 | 0.6799 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.10 | Other LC-UV | 211 | 10.431 | 10.092 | 9.873 | 10.1 | 0.43 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 9.9316 | 10.5094 | 10.0252 | 10.2 | 0.46 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 10.094 | 10.435 | 10.198 | 10.2 | 0.59 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 194 | 10.189 | 10.2936 | 10.0056 | 10.2 | 0.48 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 10.2665 | 10.0558 | 10.474 | 10.3 | 0.63 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 11.138 | 9.8246 | 10.0515 | 10.3 | 0.73 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 138 | 10.595 | 10.28 | 10.145 | 10.3 | 0.74 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 199 | 10.2497 | 10.4788 | 10.1256 | 10.3 | 0.66 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 108 | 10.07 | 9.995 | 11.18 | 10.4 | 0.85 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 10.4681 | 10.6995 | 10.2558 | 10.5 | 0.93 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 216 | 10.6897 | 10.7043 | 10.4237 | 10.6 | 1.13 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 109 | 10.78 | 10.272 | 10.799 | 10.6 | 1.14 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 10.9786 | 11.1663 | 10.725 | 11 | 1.64 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 11.4236 | 11.1288 | 11.5951 | 11.4 | 2.27 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 172 | 12.1648 | 11.8389 | 11.719 | 11.9 | 3.04 | 9.8392 | 46 | 0.6799 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 185 | 14.1478 | 13.8771 | 14.1384 | 14.1 | 6.2 | 9.8392 | 46 | 0.6799 | 0 |
|  |  |  |  | CBDV (%AR) |  |  |  |  |  |  |  |  |
| CBDV (%AR) | 008.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 197 | <0.0483 | <0.0498 | <0.0457 | <0.0483 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 216 | <0.0500 | <0.0481 | <0.0481 | <0.0500 |  |  |  |  | 1 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, | 108 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 162 | 0.0142 | 0.0142 | 0.0133 | 0.0139 | -1.46 | 0.0395 | 12 | 0.0175 | 0 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0243 | 0.0237 | 0.0239 | 0.024 | -0.89 | 0.0395 | 12 | 0.0175 | 0 |
| CBDV (%AR) | 008.99 | Other | 196 | 0.0284 | 0.0307 | 0.0281 | 0.0291 | -0.6 | 0.0395 | 12 | 0.0175 | 0 |
| CBDV (%AR) | 008.99 | Other | 211 | 0.032 | 0.033 | 0.032 | 0.0323 | -0.41 | 0.0395 | 12 | 0.0175 | 0 |
| CBDV (%AR) | 008.99 | Other | 132 | 0.031 | 0.032 | 0.032 | 0.0317 | -0.45 | 0.0395 | 12 | 0.0175 | 0 |
| CBDV (%AR) | 008.99 | Other | 219 | 0.0387 | 0.0344 | 0.0319 | 0.035 | -0.26 | 0.0395 | 12 | 0.0175 | 0 |
| CBDV (%AR) | 008.99 | Other | 142 | 0.0359 | 0.0457 | 0.044 | 0.0419 | 0.14 | 0.0395 | 12 | 0.0175 | 0 |
| CBDV (%AR) | 008.99 | Other | 200 | 0.043 | 0.043 | 0.04 | 0.042 | 0.14 | 0.0395 | 12 | 0.0175 | 0 |
| CBDV (%AR) | 008.99 | Other | 183 | 0.045 | 0.0487 | 0.0441 | 0.0459 | 0.37 | 0.0395 | 12 | 0.0175 | 0 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.05 | 0.05 | 0.04 | 0.0467 | 0.41 | 0.0395 | 12 | 0.0175 | 0 |
| CBDV (%AR) | 008.99 | Other | 208 | 0.062 | <0.0500 | <0.0500 | 0.054 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 192 | 0.0811 | 0.085 | 0.088 | 0.0847 | 2.58 | 0.0395 | 12 | 0.0175 | 0 |
| CBDV (%AR) | 008.99 | Other | 109 | 0.146 | 0.134 | 0.144 | 0.141 | 5.82 | 0.0395 | 12 | 0.0175 | 0 |

Population of Lab Values

CBDVA (%AR)

| CBDVA (%AR) | 009.99 | Other | 197 | <0.0483 | <0.0498 | <0.0457 | <0.0483 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 216 | <0.0500 | <0.0481 | <0.0481 | <0.0500 |  |  |  |  | 1 |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, | 108 | <0.0700 | <0.0700 | <0.0700 | <0.0700 |  |  |  |  | 1 |
| CBDVA (%AR) | 009.99 | Other | 212 | 0.0367 | 0.0308 | 0.0378 | 0.0351 | -1.42 | 0.0546 | 6 | 0.0137 | 0 |
| CBDVA (%AR) | 009.99 | Other | 196 | 0.0461 | 0.0475 | 0.0447 | 0.0461 | -0.62 | 0.0546 | 6 | 0.0137 | 0 |
| CBDVA (%AR) | 009.99 | Other | 208 | <0.0500 | 0.0654 | 0.0515 | 0.0556 | 0.08 | 0.0546 | 6 | 0.0137 | 0 |
| CBDVA (%AR) | 009.99 | Other | 219 | 0.0587 | 0.0585 | 0.058 | 0.0584 | 0.28 | 0.0546 | 6 | 0.0137 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 149 | 0.0641 | 0.0646 | 0.0671 | 0.0653 | 0.78 | 0.0546 | 6 | 0.0137 | 0 |
| CBDVA (%AR) | 009.99 | Other | 183 | 0.0694 | 0.0664 | 0.0649 | 0.0669 | 0.9 | 0.0546 | 6 | 0.0137 | 0 |
|  |  |  |  | CBG (%AR) |  |  |  |  |  |  |  |  |
| CBG (%AR) | 010.99 | Other | 212 | 0.1394 | 0.1051 | 0.1399 | 0.128 | -3.07 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 216 | 0.1596 | 0.1539 | 0.1428 | 0.152 | -2.3 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 197 | 0.1585 | 0.157 | 0.1516 | 0.156 | -2.19 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 155 | 0.195 | 0.193 | 0.195 | 0.194 | -0.96 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, | 103 | 0.196 | 0.205 | 0.192 | 0.198 | -0.85 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.1993 | 0.1971 | 0.2035 | 0.2 | -0.78 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 162 | 0.2257 | 0.1917 | 0.1866 | 0.201 | -0.73 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, | 108 | 0.2005 | 0.2067 | 0.2208 | 0.209 | -0.48 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 142 | 0.1995 | 0.218 | 0.2212 | 0.213 | -0.37 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.2102 | 0.2187 | 0.2386 | 0.222 | -0.06 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 208 | 0.2203 | 0.2162 | 0.2351 | 0.224 | -0.02 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 109 | 0.231 | 0.223 | 0.222 | 0.225 | 0.03 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 183 | 0.2284 | 0.2146 | 0.2401 | 0.228 | 0.11 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 200 | 0.233 | 0.236 | 0.227 | 0.232 | 0.24 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 211 | 0.233 | 0.228 | 0.252 | 0.238 | 0.42 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 219 | 0.2434 | 0.2381 | 0.235 | 0.239 | 0.46 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 141 | 0.2558 | 0.2344 | 0.2467 | 0.246 | 0.68 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.25 | 0.23 | 0.26 | 0.247 | 0.71 | 0.2244 | 24 | 0.0314 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 125 | 0.257 | 0.224 | 0.259 | 0.247 | 0.71 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 204 | 0.2548 | 0.2492 | 0.2541 | 0.253 | 0.9 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.2538 | 0.2536 | 0.2541 | 0.254 | 0.94 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 194 | 0.2601 | 0.2428 | 0.2579 | 0.254 | 0.93 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 192 | 0.2987 | 0.2809 | 0.1978 | 0.259 | 1.11 | 0.2244 | 24 | 0.0314 | 0 |
| CBG (%AR) | 010.99 | Other | 132 | 0.275 | 0.273 | 0.286 | 0.278 | 1.71 | 0.2244 | 24 | 0.0314 | 0 |
|  |  |  |  | CBGA (%AR) |  |  |  |  |  |  |  |  |
| CBGA (%AR) | 011.99 | Other | 155 | 0.261 | 0.255 | 0.253 | 0.256 | -2.28 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 212 | 0.3109 | 0.284 | 0.2926 | 0.296 | -1.39 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 141 | 0.2869 | 0.3129 | 0.3148 | 0.305 | -1.19 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 106 | 0.31 | 0.31 | 0.33 | 0.317 | -0.92 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 132 | 0.318 | 0.319 | 0.324 | 0.32 | -0.84 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 192 | 0.3308 | 0.3247 | 0.3339 | 0.33 | -0.63 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 216 | 0.349 | 0.326 | 0.3181 | 0.331 | -0.6 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, | 103 | 0.39 | 0.314 | 0.314 | 0.339 | -0.41 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 125 | 0.349 | 0.348 | 0.329 | 0.342 | -0.35 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, | 108 | 0.3394 | 0.3307 | 0.3615 | 0.344 | -0.31 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 197 | 0.3235 | 0.3527 | 0.3553 | 0.344 | -0.31 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.3636 | 0.3631 | 0.3649 | 0.364 | 0.14 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 219 | 0.3727 | 0.3619 | 0.3608 | 0.365 | 0.17 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 196 | 0.3626 | 0.3747 | 0.368 | 0.368 | 0.24 | 0.3577 | 23 | 0.0445 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 208 | 0.3698 | 0.3558 | 0.3805 | 0.369 | 0.25 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 149 | 0.3485 | 0.3947 | 0.39 | 0.378 | 0.45 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 204 | 0.3876 | 0.3844 | 0.3879 | 0.387 | 0.65 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 162 | 0.3571 | 0.375 | 0.4333 | 0.388 | 0.69 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 211 | 0.393 | 0.377 | 0.394 | 0.388 | 0.68 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 142 | 0.3818 | 0.4142 | 0.395 | 0.397 | 0.88 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 194 | 0.423 | 0.4033 | 0.4251 | 0.417 | 1.34 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 183 | 0.4623 | 0.3757 | 0.4312 | 0.423 | 1.47 | 0.3577 | 23 | 0.0445 | 0 |
| CBGA (%AR) | 011.99 | Other | 109 | 0.453 | 0.417 | 0.45 | 0.44 | 1.85 | 0.3577 | 23 | 0.0445 | 0 |

Population of Lab Values

THCV (%AR)

| THCV (%AR) | 012.99 | Other | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 189 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |
| THCV (%AR) | 012.99 | Other | 200 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |
| THCV (%AR) | 012.99 | Other | 219 | <0.0060 | <0.0060 | <0.0060 | <0.0060 | 1 |
| THCV (%AR) | 012.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%AR) | 012.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%AR) | 012.99 | Other | 211 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%AR) | 012.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 | 1 |
| THCV (%AR) | 012.99 | Other | 149 | <0.0240 | <0.0240 | <0.0240 | <0.0240 | 1 |
| THCV (%AR) | 012.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 197 | <0.0483 | <0.0498 | <0.0457 | <0.0483 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 216 | <0.0500 | <0.0481 | <0.0481 | <0.0500 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 208 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| THCV (%AR) | 012.02 | AOAC 2018.11, | 108 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| THCV (%AR) | 012.99 | Other | 132 | 0 | 0.011 | 0.026 | 0.0185 |  |  |  |  | 0 |
|  |  |  |  | Δ8-THC (%AR) |  |  |  |  |  |  |  |  |
| Δ8-THC (%AR) | 013.99 | Other | 183 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 219 | <0.0060 | <0.0060 | <0.0060 | <0.0060 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 200 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 211 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 141 | <0.0120 | <0.0120 | <0.0120 | <0.0120 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 102 | <0.0200 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | <0.0240 | <0.0240 | <0.0240 | <0.0240 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 192 | <0.0300 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0483 | <0.0498 | <0.0457 | <0.0483 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 208 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 216 | <0.0500 | <0.0481 | <0.0481 | <0.0500 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, | 108 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0093 | 0.0086 | 0.009 | 0.009 |  |  |  |  | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.057 | 0.0552 | 0.0536 | 0.0553 |  |  |  |  | 0 |

Population of Lab Values

CBC (%AR)

| CBC (%AR) | 014.99 | Other | 155 | 0.238 | 0.235 | 0.227 | 0.233 | -3.07 | 0.2902 | 23 | 0.0185 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 212 | 0.2603 | 0.2054 | 0.2449 | 0.237 | -2.88 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, | 103 | 0.273 | 0.269 | 0.268 | 0.27 | -1.09 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 125 | 0.277 | 0.278 | 0.271 | 0.275 | -0.8 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 208 | 0.261 | 0.2741 | 0.2904 | 0.275 | -0.81 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 142 | 0.2756 | 0.2779 | 0.276 | 0.276 | -0.74 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.2797 | 0.2802 | 0.2809 | 0.28 | -0.54 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 132 | 0.281 | 0.278 | 0.284 | 0.281 | -0.5 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.2831 | 0.2925 | 0.2721 | 0.283 | -0.41 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 162 | 0.2753 | 0.2926 | 0.2892 | 0.286 | -0.24 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.2904 | 0.2886 | 0.2849 | 0.288 | -0.12 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 216 | 0.299 | 0.2894 | 0.2827 | 0.29 | 0.01 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.2893 | 0.2967 | 0.2871 | 0.291 | 0.05 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 183 | 0.2894 | 0.2802 | 0.3087 | 0.293 | 0.14 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 194 | 0.2897 | 0.2972 | 0.2948 | 0.294 | 0.2 | 0.2902 | 23 | 0.0185 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 219 | 0.2936 | 0.3022 | 0.2961 | 0.297 | 0.38 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.31 | 0.29 | 0.31 | 0.303 | 0.71 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 204 | 0.3049 | 0.3032 | 0.3079 | 0.305 | 0.82 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 109 | 0.314 | 0.297 | 0.314 | 0.308 | 0.98 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 211 | 0.311 | 0.304 | 0.308 | 0.308 | 0.94 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, | 108 | 0.2874 | 0.3259 | 0.3144 | 0.309 | 1.03 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 200 | 0.35 | 0.352 | 0.339 | 0.347 | 3.07 | 0.2902 | 23 | 0.0185 | 0 |
| CBC (%AR) | 014.99 | Other | 192 | 0.4018 | 0.3925 | 0.4051 | 0.4 | 5.92 | 0.2902 | 23 | 0.0185 | 0 |

Population of Lab Values

Cd (ug/g AR)

| Cd (ug/g AR) | 101.04 | ICP-MS | 183 | <0.0200 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 141 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | 0.107 | 0.13 | 0.109 | 0.115 | -3.32 | 0.1578 | 7 | 0.0128 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | 0.148 | 0.1614 | 0.1498 | 0.153 | -0.37 | 0.1578 | 7 | 0.0128 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 122 | 0.1544 | 0.1548 | 0.1546 | 0.155 | -0.25 | 0.1578 | 7 | 0.0128 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.159 | 0.157 | 0.158 | 0.158 | 0.02 | 0.1578 | 7 | 0.0128 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 194 | 0.1582 | 0.1577 | 0.1574 | 0.158 | 0 | 0.1578 | 7 | 0.0128 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.1759 | 0.1638 | 0.1718 | 0.17 | 0.99 | 0.1578 | 7 | 0.0128 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 211 | 0.17 | 0.173 | 0.173 | 0.172 | 1.11 | 0.1578 | 7 | 0.0128 | 0 |

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
|  |  |  |  | As (ug/g AR) |  |  |  |  |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 183 | <0.0200 | <0.0200 | <0.0200 | <0.0200 | 1 |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 122 | <0.0500 | <0.0500 | <0.0500 | <0.0500 | 1 |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 | <0.0800 | 1 |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0978 | <0.1006 | <0.1014 | <0.0978 | 1 |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 211 | <0.1000 | <0.1000 | <0.1000 | <0.1000 | 1 |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 | 1 |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 141 | <0.2000 | <0.2000 | <0.2000 | <0.2000 | 1 |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | 0.0586 | 0.0604 | 0.0509 | 0.0566 | 0 |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | 0.0566 | 0.0574 | 0.0729 | 0.0623 | 0 |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 194 | 0.07 | 0.0686 | 0.0729 | 0.0705 | 0 |  |  |  |  |  |
|  |  |  |  | Hg (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 194 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | 1 |  |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 183 | <0.0500 | <0.0500 | <0.0500 | <0.0500 | 1 |  |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 122 | <0.0500 | <0.0500 | <0.0500 | <0.0500 | 1 |  |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0978 | <0.1006 | <0.1014 | <0.0978 | 1 |  |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 141 | <0.1000 | <0.1000 | <0.1000 | <0.1000 | 1 |  |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 211 | <0.1000 | <0.1000 | <0.1000 | <0.1000 | 1 |  |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 | 1 |  |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | 0.007 | 0.008 | 0.007 | 0.0073 | 0 |  |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | 0.0083 | 0.0081 | 0.0078 | 0.0081 | 0 |  |  |  |  |  |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 Result2 Result3 |  |  | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | 0.0078 | 0.0093 | 0.0086 | 0.0086 | 0 |  |  |  |  |

Population of Lab Values

Pb (ug/g AR)

| Pb (ug/g AR) | 104.04 | ICP-MS | 141 | <0.5000 | <0.5000 | <0.5000 | <0.5000 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | 0.2471 | 0.261 | 0.2554 | 0.255 | -1.43 | 0.28 | 9 | 0.0178 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 194 | 0.2587 | 0.2662 | 0.266 | 0.264 | -0.92 | 0.28 | 9 | 0.0178 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.24 | 0.296 | 0.28 | 0.272 | -0.45 | 0.28 | 9 | 0.0178 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 122 | 0.2749 | 0.2751 | 0.2746 | 0.275 | -0.29 | 0.28 | 9 | 0.0178 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 211 | 0.286 | 0.283 | 0.263 | 0.277 | -0.15 | 0.28 | 9 | 0.0178 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 0.2658 | 0.2806 | 0.3171 | 0.288 | 0.44 | 0.28 | 9 | 0.0178 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | 0.298 | 0.2554 | 0.3156 | 0.29 | 0.54 | 0.28 | 9 | 0.0178 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | 0.356 | 0.327 | 0.217 | 0.3 | 1.12 | 0.28 | 9 | 0.0178 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 183 | 0.314 | 0.301 | 0.2855 | 0.3 | 1.13 | 0.28 | 9 | 0.0178 | 0 |
| Pb (ug/g AR) | 104.02 | furnace AA | 132 | 0.6 |  |  | 0.6 |  |  |  |  | 1 |

Cu (ug/g AR)

| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | 13.1 | 10.6 | 11.8 | 11.8 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cu (ug/g AR) | 105.03 | ICP-OES | 132 | 14 |  |  | 14 | 1 |
| Cu (ug/g AR) | 105.04 | ICP-MS | 142 | 16.9879 | 15.6365 | 15.2381 | 16 | 0 |

Ni (ug/g AR)

Ni (ug/g AR)

106.04	ICP-MS

196

1.14	0.95	1.17	1.09	0

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ni (ug/g AR) | 106.03 | ICP-OES | 132 | 1.2 |  |  | 1.2 |  |  |  |  | 1 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 141 | 1.29 | 1.24 | 1.34 | 1.29 |  |  |  |  | 0 |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 141 | <4.0000 | <4.0000 | <4.0000 | <4.0000 |  |  |  |  | 1 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | 0.5051 | 0.3606 | 0.3507 | 0.405 |  |  |  |  | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | 0.4494 | 0.4512 | 0.4385 | 0.446 |  |  |  |  | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | 0.501 | 0.419 | 0.541 | 0.487 |  |  |  |  | 0 |
|  |  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | <0.0978 | <0.1006 | <0.1014 | <0.0978 |  |  |  |  | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 141 | <1.0000 | <1.0000 | <1.0000 | <1.0000 |  |  |  |  | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | 0.0773 | 0.0648 | 0.0814 | 0.0745 |  |  |  |  | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | 0.178 | 0.147 | 0.188 | 0.171 |  |  |  |  | 0 |
| Se (ug/g AR) | 108.03 | ICP-OES | 132 | 0.4 |  |  | 0.4 |  |  |  |  | 1 |
|  |  |  |  | Ag (ug/g AR) |  |  |  |  |  |  |  |  |
| Ag (ug/g AR) | 109.03 | ICP-OES | 132 | 0.104 |  |  | 0.104 |  |  |  |  | 1 |
|  |  |  |  | Ba (ug/g AR) |  |  |  |  |  |  |  |  |
| Ba (ug/g AR) | 110.03 | ICP-OES | 132 | 22.8 |  |  | 22.8 |  |  |  |  | 1 |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev |  | Flag |
|  |  |  |  | Zn (ug/g AR) |  |  |  |  |  |  |  |  |  |  |
| Zn (ug/g AR) | 111.04 | ICP-MS | 141 | 54.7 | 43.8 | 53.4 | 50.6 |  |  |  |  |  |  | 0 |
| Zn (ug/g AR) | 111.03 | ICP-OES | 132 | 54 |  |  | 54 |  |  |  |  |  |  | 1 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 142 | 61.9305 | 59.6061 | 62.9025 | 61.5 |  |  |  |  |  |  | 0 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 66.4 | 57.1 | 66.2 | 63.2 |  |  |  |  |  |  | 0 |
|  |  |  |  | Sb (ug/g AR) |  |  |  |  |  |  |  |  |  |  |
| Sb (ug/g AR) | 112.04 | ICP-MS | 196 | <0.0241 <0.0241 <0.0241 |  |  | <0.0241 |  |  |  |  |  |  | 1 |
|  |  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |  |  |  |  |  |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 142 | 0.0234 | 0.0213 | 0.0328 | 0.0258 | -0.88 | 0.0653 |  | 7 | 0.0446 |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0272 | 0.0315 | 0.0238 | 0.0275 | -0.85 | 0.0653 |  | 7 | 0.0446 |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | 0.0309 | 0.0278 | 0.0282 | 0.029 | -0.81 | 0.0653 |  | 7 | 0.0446 |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 194 | 0.0583 | 0.059 | 0.0561 | 0.0578 | -0.17 | 0.0653 |  | 7 | 0.0446 |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 200 | 0.0943 | 0.1157 | 0.0975 | 0.102 | 0.84 | 0.0653 |  | 7 | 0.0446 |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 108 | 0.1081 | 0.1072 | 0.0968 | 0.104 | 0.87 | 0.0653 |  | 7 | 0.0446 |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 212 | 0.1164 | 0.1185 | 0.0959 | 0.11 | 1.01 | 0.0653 |  | 7 | 0.0446 |  | 0 |
|  |  |  |  | beta-Caryophyllene (%AR) |  |  |  |  |  |  |  |  |  |  |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0743 | 0.0743 | 0.0655 | 0.0714 | -0.75 | 0.0821 |  | 7 | 0.0144 |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 108 | 0.075 | 0.076 | 0.072 | 0.0743 | -0.54 | 0.0821 |  | 7 | 0.0144 |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | 0.0686 | 0.0759 | 0.0836 | 0.076 | -0.43 | 0.0821 |  | 7 | 0.0144 |  | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Caryophyllene (% | 202.02 | GC,MS | 200 | 0.0721 | 0.0821 | 0.074 | 0.0761 | -0.42 | 0.0821 | 7 | 0.0144 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 194 | 0.0804 | 0.0757 | 0.0737 | 0.0766 | -0.39 | 0.0821 | 7 | 0.0144 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 212 | 0.0895 | 0.0932 | 0.1081 | 0.0969 | 1.03 | 0.0821 | 7 | 0.0144 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 142 | 0.1104 | 0.0927 | 0.1455 | 0.116 | 2.37 | 0.0821 | 7 | 0.0144 | 0 |

Population of Lab Values

(-)-Caryophyllene oxide (%AR)

| (-)-Caryophyllene oxide | 203.02 | GC,MS | 142 | 0.0055 | 0.0073 | 0.0085 | 0.0071 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | 0.0093 | 0.0085 | 0.0068 | 0.0082 | 0 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 200 | 0.0107 | 0.0178 | 0.0169 | 0.0151 | 0 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 194 | 0.0158 | 0.0166 | 0.016 | 0.0161 | 0 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 212 | 0.0189 | 0.0234 | 0.0253 | 0.0225 | 0 |

Geraniol (%AR)

| Geraniol (%AR) | 204.02 | GC,MS | 142 | <0.0001 | <0.0001 | <0.0001 | <0.0001 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Geraniol (%AR) | 204.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 200 | <0.0400 | <0.0400 | <0.0400 | <0.0400 | 1 |

alpha-Humulene (%AR)

| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.0238 | 0.023 | 0.0204 | 0.0224 | -1.15 | 0.0289 | 6 | 0.0056 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | 0.0224 | 0.0244 | 0.0274 | 0.0247 | -0.74 | 0.0289 | 6 | 0.0056 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 194 | 0.0294 | 0.0276 | 0.0267 | 0.0279 | -0.17 | 0.0289 | 6 | 0.0056 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 200 | 0.0315 | 0.0322 | 0.029 | 0.0309 | 0.36 | 0.0289 | 6 | 0.0056 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 142 | 0.0295 | 0.0245 | 0.0392 | 0.0311 | 0.39 | 0.0289 | 6 | 0.0056 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 212 | 0.0341 | 0.0341 | 0.0406 | 0.0363 | 1.31 | 0.0289 | 6 | 0.0056 | 0 |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 142 | 0.0012 | 0.0014 | 0.0007 | 0.0011 |  |  |  |  | 0 |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | 0.0022 | 0.002 | 0.002 | 0.0021 |  |  |  |  | 0 |
| d-Limonene (%AR) | 206.02 | GC,MS | 194 | 0.003 | 0.0026 | 0.0027 | 0.0028 |  |  |  |  | 0 |
| d-Limonene (%AR) | 206.02 | GC,MS | 200 | 0.0342 | 0.0237 | 0.021 | 0.0263 |  |  |  |  | 0 |
|  |  |  |  | Linalool (%AR) |  |  |  |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 142 | 0.0013 | 0.0013 | 0.0017 | 0.0014 |  |  |  |  | 0 |
| Linalool (%AR) | 207.02 | GC,MS | 196 | 0.0022 | 0.0022 | 0.0023 | 0.0022 |  |  |  |  | 0 |
| Linalool (%AR) | 207.02 | GC,MS | 212 | 0.0036 | 0.005 | 0.0054 | 0.0047 |  |  |  |  | 0 |
| Linalool (%AR) | 207.02 | GC,MS | 194 | 0.0045 | 0.0045 | 0.0044 | 0.0045 |  |  |  |  | 0 |
| Linalool (%AR) | 207.02 | GC,MS | 200 | 0.0068 | 0.0054 | 0.0055 | 0.0059 |  |  |  |  | 0 |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 |  |  | <0.0100 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 142 | 0.0025 | 0.003 | 0.0017 | 0.0024 |  |  |  |  | 0 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 200 | 0.0032 | 0.0038 | 0.0032 | 0.0034 |  |  |  |  | 0 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | 0.0049 | 0.0053 | 0.0051 | 0.0051 |  |  |  |  | 0 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 212 | 0.0037 | 0.0048 | 0.0069 | 0.0051 |  |  |  |  | 0 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 194 | 0.0067 | 0.0061 | 0.0063 | 0.0064 |  |  |  |  | 0 |
|  |  |  |  | Ocimene (%AR) |  |  |  |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Ocimene (%AR) | 210.04 | Other | 142 | <0.0001 | <0.0001 | 0.0002 | 0.0001 |  |  |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 200 | <0.0009 | 0.0011 | 0.0009 | 0.001 |  |  |  |  | 0 |
| Ocimene (%AR) | 210.02 | GC,MS | 194 | 0.0017 | 0.0017 | 0.0016 | 0.0017 |  |  |  |  | 0 |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 142 | 0.0008 | 0.001 | 0.0004 | 0.0007 |  |  |  |  | 0 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0013 | 0.0013 | <0.0013 | 0.0013 |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 200 | 0.0012 | 0.0014 | 0.0012 | 0.0013 |  |  |  |  | 0 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 212 | 0.0009 | 0.0015 | 0.0025 | 0.0016 |  |  |  |  | 0 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 194 | 0.0015 | 0.0015 | 0.0014 | 0.0015 |  |  |  |  | 0 |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 200 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 142 | <0.0001 | 0.0003 | 0.0002 | 0.0002 | 0 |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 194 | 0.0013 | 0.0013 | 0.0012 | 0.0013 | 0 |  |  |  |  |  |
|  |  |  |  | alpha-Terpinene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 200 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 142 | 0.0001 | <0.0001 | <0.0001 | 0.0001 | 1 |  |  |  |  |  |
|  |  |  |  | gamma-Terpinene (%AR) |  |  |  |  |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 200 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 142 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0 |  |  |  |  |  |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev |  | Flag |
|  |  |  |  | alpha-Terpinolene (%AR) |  |  |  |  |  |  |  |  |  |  |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 200 | <0.0008 | <0.0008 | <0.0008 | <0.0008 |  |  |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 142 | 0.0001 | 0.0001 | <0.0001 | 0.0001 |  |  |  |  |  |  | 0 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 194 | 0.0008 | 0.0008 | 0.0008 | 0.0008 |  |  |  |  |  |  | 0 |
|  |  |  |  | Moisture (%AR) |  |  |  |  |  |  |  |  |  |  |
| Moisture (%AR) | 500.99 | Other | 142 | 0.0455 | 0.0384 | 0.0393 | 0.0411 | -3.16 | 6.5006 |  | 25 | 2.0458 |  | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 3.33 | 3.05 | 3.28 | 3.22 | -1.6 | 6.5006 |  | 25 | 2.0458 |  | 0 |
| Moisture (%AR) | 500.99 | Other | 132 | 3.97 | 4.18 | 4.83 | 4.33 | -1.06 | 6.5006 |  | 25 | 2.0458 |  | 0 |
| Moisture (%AR) | 500.99 | Other | 189 | 4.683 | 4.683 | 4.683 | 4.68 | -0.89 | 6.5006 |  | 25 | 2.0458 |  | 0 |
| Moisture (%AR) | 500.72 | NIR | 187 | 4.88 | 4.92 | 4.67 | 4.82 | -0.82 | 6.5006 |  | 25 | 2.0458 |  | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 109 | 5.23 | 4.59 | 5.17 | 5 | -0.74 | 6.5006 |  | 25 | 2.0458 |  | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 5.27 | 5.35 | 5.24 | 5.29 | -0.59 | 6.5006 |  | 25 | 2.0458 |  | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 212 | 5.47 | 5.26 | 5.38 | 5.37 | -0.55 | 6.5006 |  | 25 | 2.0458 |  | 0 |
| Moisture (%AR) | 500.99 | Other | 103 | 5.29 | 5.37 | 5.62 | 5.43 | -0.52 | 6.5006 |  | 25 | 2.0458 |  | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 204 | 5.71 | 5.71 | 5.71 | 5.71 | -0.39 | 6.5006 |  | 25 | 2.0458 |  | 0 |
| Moisture (%AR) | 500.72 | NIR | 138 | 6.05 | 6 | 5.9 | 5.98 | -0.25 | 6.5006 |  | 25 | 2.0458 |  | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 6.36 | 6.09 | 6.22 | 6.22 | -0.14 | 6.5006 |  | 25 | 2.0458 |  | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 196 | 7.07 | 6.6 | 5.31 | 6.33 | -0.09 | 6.5006 |  | 25 | 2.0458 |  | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 182 | 6.455 | 6.75 | 6.54 | 6.58 | 0.04 | 6.5006 |  | 25 | 2.0458 |  | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.99 | Other | 215 | 6.9884 | 6.8522 | 6.5724 | 6.8 | 0.15 | 6.5006 | 25 | 2.0458 | 0 |
| Moisture (%AR) | 500.99 | Other | 102 | 6.5 | 6.9 | 7.5 | 6.97 | 0.23 | 6.5006 | 25 | 2.0458 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 211 | 7.06 | 7.07 | 6.99 | 7.04 | 0.26 | 6.5006 | 25 | 2.0458 | 0 |
| Moisture (%AR) | 500.99 | Other | 120 | 7.3188 | 7.3953 | 7.1091 | 7.27 | 0.38 | 6.5006 | 25 | 2.0458 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 9.49 | 8.32 | 6.66 | 8.16 | 0.81 | 6.5006 | 25 | 2.0458 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 7.8861 | 7.8998 | 8.8754 | 8.22 | 0.84 | 6.5006 | 25 | 2.0458 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 208 | 8.39 | 8.73 | 8.78 | 8.63 | 1.04 | 6.5006 | 25 | 2.0458 | 0 |
| Moisture (%AR) | 500.99 | Other | 105 | 8.72 | 8.64 | 8.71 | 8.69 | 1.07 | 6.5006 | 25 | 2.0458 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 8.8243 | 8.9682 | 9.1719 | 8.99 | 1.22 | 6.5006 | 25 | 2.0458 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 172 | 9.629 | 10.158 | 10 | 9.93 | 1.68 | 6.5006 | 25 | 2.0458 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 209 | 11.5447 | 11.4411 | 11.206 | 11.4 | 2.39 | 6.5006 | 25 | 2.0458 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 154 | 0.2494 | 0.2579 | 0.2308 | 0.246 | -1.72 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.60 | NIR | 187 | 0.25 | 0.24 | 0.25 | 0.247 | -1.7 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, | 103 | 0.287 | 0.265 | 0.279 | 0.277 | -0.89 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 118 | 0.286 | 0.278 | 0.27 | 0.278 | -0.86 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 142 | 0.2874 | 0.2863 | 0.2847 | 0.286 | -0.65 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 105 | 0.307 | 0.277 | 0.285 | 0.29 | -0.55 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, | 218 | 0.291 | 0.29 | 0.29 | 0.29 | -0.53 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 208 | 0.2874 | 0.29 | 0.2982 | 0.292 | -0.49 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 109 | 0.296 | 0.292 | 0.292 | 0.293 | -0.45 | 0.3103 | 23 | 0.0374 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 120 | 0.2993 | 0.2842 | 0.2964 | 0.293 | -0.45 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 204 | 0.2994 | 0.2982 | 0.3032 | 0.3 | -0.27 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.99 | Other | 215 | 0.315 | 0.3017 | 0.305 | 0.307 | -0.08 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 196 | 0.3103 | 0.3156 | 0.2944 | 0.307 | -0.09 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, | 199 | 0.3143 | 0.3089 | 0.3045 | 0.309 | -0.03 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.3228 | 0.3194 | 0.3208 | 0.321 | 0.29 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, | 210 | 0.329 | 0.327 | 0.325 | 0.327 | 0.45 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 211 | 0.335 | 0.326 | 0.329 | 0.33 | 0.53 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, | 209 | 0.3452 | 0.3117 | 0.3733 | 0.343 | 0.89 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.327 | 0.341 | 0.362 | 0.343 | 0.89 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 209 | 0.338 | 0.3192 | 0.4002 | 0.352 | 1.13 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.3427 | 0.3697 | 0.3516 | 0.355 | 1.19 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 209 | 0.3431 | 0.4427 | 0.3757 | 0.387 | 2.06 | 0.3103 | 23 | 0.0374 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 172 | 0.3952 | 0.3853 | 0.389 | 0.39 | 2.13 | 0.3103 | 23 | 0.0374 | 0 |
|  |  |  |  | Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%DW) | 502.99 | Other | 215 | 0.0672 | 0.0644 | 0.0658 | 0.0658 | -1.55 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 118 | 0.074 | 0.07 | 0.068 | 0.0707 | -1.25 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 105 | 0.0735 | 0.0775 | 0.068 | 0.073 | -1.1 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 142 | 0.0786 | 0.079 | 0.0744 | 0.0773 | -0.83 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 196 | 0.08 | 0.0796 | 0.0748 | 0.0781 | -0.78 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 154 | 0.0807 | 0.0835 | 0.0747 | 0.0796 | -0.69 | 0.0906 | 23 | 0.016 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | 0.079 | 0.081 | 0.087 | 0.0823 | -0.52 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 211 | 0.085 | 0.081 | 0.084 | 0.0833 | -0.46 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 109 | 0.089 | 0.084 | 0.086 | 0.0863 | -0.27 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 208 | 0.0799 | 0.0918 | 0.0864 | 0.086 | -0.29 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, | 210 | 0.09 | 0.084 | 0.087 | 0.087 | -0.23 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 120 | 0.0944 | 0.0895 | 0.0879 | 0.0906 | 0 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, | 218 | 0.091 | 0.09 | 0.091 | 0.0907 | 0 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, | 199 | 0.0868 | 0.0928 | 0.0922 | 0.0906 | 0 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.0928 | 0.0937 | 0.0939 | 0.0935 | 0.18 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 204 | 0.0961 | 0.095 | 0.0963 | 0.0958 | 0.32 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0891 | 0.0992 | 0.0984 | 0.0956 | 0.31 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, | 103 | 0.091 | 0.099 | 0.099 | 0.0963 | 0.36 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 209 | 0.1119 | 0.1055 | 0.1046 | 0.107 | 1.04 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, | 209 | 0.1112 | 0.1023 | 0.1221 | 0.112 | 1.33 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 172 | 0.1166 | 0.1121 | 0.1099 | 0.113 | 1.39 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 209 | 0.1116 | 0.1469 | 0.1237 | 0.127 | 2.3 | 0.0906 | 23 | 0.016 | 0 |
| Δ9-THCA (%DW) | 502.60 | NIR | 187 | 0.15 | 0.15 | 0.14 | 0.147 | 3.5 | 0.0906 | 23 | 0.016 | 0 |
|  |  |  |  | CBD (%DW) |  |  |  |  |  |  |  |  |
| CBD (%DW) | 503.30 | Other LC-MS | 120 | 4.0548 | 3.6348 | 3.7143 | 3.8 | -1.73 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.01 | AOAC 2018.10 | 209 | 4.0211 | 3.8324 | 3.9326 | 3.93 | -1.54 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.60 | NIR | 187 | 4.27 | 4.23 | 4.27 | 4.26 | -1.05 | 4.9562 | 22 | 0.668 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%DW) | 503.10 | Other LC-UV | 209 | 3.8273 | 4.9367 | 4.0613 | 4.28 | -1.02 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, | 209 | 4.2631 | 3.9217 | 4.7135 | 4.3 | -0.98 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 118 | 4.487 | 4.372 | 4.242 | 4.37 | -0.88 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 154 | 4.6567 | 4.6617 | 4.3463 | 4.55 | -0.6 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 189 | 4.6713 | 4.6711 | 4.6829 | 4.68 | -0.42 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, | 103 | 4.408 | 4.557 | 5.111 | 4.69 | -0.4 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, | 218 | 4.955 | 4.59 | 5.257 | 4.93 | -0.03 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.99 | Other | 215 | 4.7873 | 5.3073 | 5.002 | 5.03 | 0.11 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 204 | 5.2184 | 5.1968 | 5.248 | 5.22 | 0.4 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 142 | 5.1946 | 5.3213 | 5.2381 | 5.25 | 0.44 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.30 | Other LC-MS | 105 | 5.6 | 5.17 | 5.1 | 5.29 | 0.5 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 196 | 5.3124 | 5.4438 | 5.3272 | 5.36 | 0.61 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 208 | 5.3843 | 5.3237 | 5.4472 | 5.39 | 0.64 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, | 210 | 5.488 | 5.413 | 5.314 | 5.41 | 0.67 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 109 | 5.492 | 5.23 | 5.506 | 5.41 | 0.68 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, | 199 | 5.5247 | 5.5934 | 5.4162 | 5.51 | 0.83 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 211 | 5.733 | 5.627 | 5.431 | 5.6 | 0.96 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 5.5518 | 5.8608 | 5.5448 | 5.65 | 1.04 | 4.9562 | 22 | 0.668 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 172 | 6.7047 | 6.6758 | 6.5515 | 6.64 | 2.53 | 4.9562 | 22 | 0.668 | 0 |
|  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| CBDA (%DW) | 504.02 | AOAC 2018.11, | 210 | 0.246 | 0.241 | 0.235 | 0.241 | -6.54 | 6.0275 | 21 | 0.8847 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%DW) | 504.10 | Other LC-UV | 118 | 4.976 | 4.909 | 4.832 | 4.91 | -1.27 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 5.1456 | 5.1403 | 5.1507 | 5.15 | -1 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 154 | 5.4437 | 5.5045 | 5.0178 | 5.32 | -0.8 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, | 103 | 5.393 | 5.18 | 5.419 | 5.33 | -0.79 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.60 | NIR | 187 | 5.28 | 5.35 | 5.35 | 5.33 | -0.79 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, | 218 | 5.63 | 5.661 | 5.813 | 5.7 | -0.37 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 142 | 5.7802 | 5.8761 | 5.5952 | 5.75 | -0.31 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 5.6241 | 5.9672 | 5.7116 | 5.77 | -0.29 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.30 | Other LC-MS | 105 | 7.14 | 5.33 | 5.1 | 5.86 | -0.19 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 196 | 6.0246 | 6.1104 | 5.7061 | 5.95 | -0.09 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 211 | 6.258 | 5.963 | 5.918 | 6.05 | 0.02 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 204 | 6.0865 | 6.0682 | 6.1295 | 6.09 | 0.08 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 208 | 6.3396 | 6.1234 | 6.414 | 6.29 | 0.3 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, | 199 | 6.3883 | 6.5955 | 6.4944 | 6.49 | 0.53 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.99 | Other | 215 | 6.7741 | 6.5635 | 6.2693 | 6.54 | 0.57 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 109 | 6.708 | 6.313 | 6.707 | 6.58 | 0.62 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 209 | 6.8919 | 6.433 | 6.8407 | 6.72 | 0.78 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 172 | 7.755 | 7.3753 | 7.3653 | 7.5 | 1.66 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 209 | 6.4922 | 8.9389 | 7.281 | 7.57 | 1.74 | 6.0275 | 21 | 0.8847 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, | 209 | 7.6554 | 6.9216 | 8.642 | 7.74 | 1.94 | 6.0275 | 21 | 0.8847 | 0 |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev |  | Flag |
|  |  |  |  | CBN (%DW) |  |  |  |  |  |  |  |  |  |  |
| CBN (%DW) | 505.02 | AOAC 2018.11, | 210 | <0.0140 | <0.0140 | <0.0140 | <0.0140 |  |  |  |  |  |  | 1 |
| CBN (%DW) | 505.02 | AOAC 2018.11, | 199 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  |  |  | 1 |
| CBN (%DW) | 505.10 | Other LC-UV | 208 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  |  | 1 |
| CBN (%DW) | 505.10 | Other LC-UV | 154 | 0.0132 | 0.0128 | 0.0123 | 0.0128 | -2.39 | 0.0254 |  | 14 | 0.0053 |  | 0 |
| CBN (%DW) | 505.01 | AOAC 2018.10 | 209 | 0.0201 | 0.0186 | 0.0183 | 0.019 | -1.21 | 0.0254 |  | 14 | 0.0053 |  | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, | 209 | 0.0188 | 0.0179 | 0.0208 | 0.0192 | -1.18 | 0.0254 |  | 14 | 0.0053 |  | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 209 | 0.0207 | 0.0272 | 0.0225 | 0.0235 | -0.37 | 0.0254 |  | 14 | 0.0053 |  | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 142 | 0.0202 | 0.0252 | 0.0253 | 0.0236 | -0.35 | 0.0254 |  | 14 | 0.0053 |  | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.0267 | 0.0226 | 0.0214 | 0.0236 | -0.35 | 0.0254 |  | 14 | 0.0053 |  | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 196 | 0.0261 | 0.0263 | 0.0242 | 0.0255 | 0.02 | 0.0254 |  | 14 | 0.0053 |  | 0 |
| CBN (%DW) | 505.20 | Other LC-MS | 105 | 0.0265 | 0.0287 | 0.0242 | 0.0265 | 0.19 | 0.0254 |  | 14 | 0.0053 |  | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 109 | 0.028 | 0.025 | 0.029 | 0.0273 | 0.36 | 0.0254 |  | 14 | 0.0053 |  | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, | 218 | 0.028 | 0.029 | 0.028 | 0.0283 | 0.54 | 0.0254 |  | 14 | 0.0053 |  | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 204 | 0.0287 | 0.0291 | 0.0291 | 0.029 | 0.66 | 0.0254 |  | 14 | 0.0053 |  | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0297 | 0.0294 | 0.0297 | 0.0296 | 0.78 | 0.0254 |  | 14 | 0.0053 |  | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 211 | 0.03 | 0.03 | 0.031 | 0.0303 | 0.92 | 0.0254 |  | 14 | 0.0053 |  | 0 |
| CBN (%DW) | 505.30 | GC-FID | 116 | 0.0469 | <0.0400 | <0.0400 | 0.0423 |  |  |  |  |  |  | 1 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | 0.0517 | 0.0599 | 0.0551 | 0.0556 | 5.67 | 0.0254 |  | 14 | 0.0053 |  | 0 |
|  |  |  |  | Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.2039 | 0.2071 | 0.2111 | 0.207 | -3.73 | 0.381 |  | 26 | 0.0466 |  | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 154 | 0.3202 | 0.3311 | 0.2963 | 0.316 | -1.4 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 182 | 0.3363 | 0.3209 | 0.3182 | 0.325 | -1.2 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.3224 | 0.3412 | 0.3515 | 0.338 | -0.92 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 118 | 0.35 | 0.34 | 0.33 | 0.34 | -0.88 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 142 | 0.3563 | 0.3556 | 0.35 | 0.354 | -0.58 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 105 | 0.371 | 0.345 | 0.345 | 0.354 | -0.59 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 138 | 0.3675 | 0.3636 | 0.3487 | 0.36 | -0.45 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, | 103 | 0.367 | 0.352 | 0.365 | 0.361 | -0.42 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 208 | 0.3575 | 0.3705 | 0.374 | 0.367 | -0.29 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 109 | 0.374 | 0.365 | 0.367 | 0.369 | -0.26 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, | 218 | 0.371 | 0.369 | 0.37 | 0.37 | -0.24 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.60 | NIR | 187 | 0.38 | 0.37 | 0.37 | 0.373 | -0.16 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 120 | 0.3821 | 0.3627 | 0.3735 | 0.373 | -0.18 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 196 | 0.3804 | 0.3854 | 0.36 | 0.375 | -0.12 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 204 | 0.3837 | 0.3816 | 0.3877 | 0.384 | 0.07 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, | 199 | 0.3905 | 0.3903 | 0.3854 | 0.389 | 0.17 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.3857 | 0.4014 | 0.4017 | 0.396 | 0.33 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 211 | 0.409 | 0.397 | 0.403 | 0.403 | 0.47 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.4042 | 0.4016 | 0.4031 | 0.403 | 0.47 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.396 | 0.412 | 0.438 | 0.415 | 0.74 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.4209 | 0.4567 | 0.4378 | 0.438 | 1.23 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, | 209 | 0.4427 | 0.4015 | 0.4804 | 0.442 | 1.3 | 0.381 | 26 | 0.0466 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 209 | 0.4361 | 0.4117 | 0.4919 | 0.447 | 1.41 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 172 | 0.4975 | 0.4836 | 0.4828 | 0.488 | 2.3 | 0.381 | 26 | 0.0466 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 209 | 0.441 | 0.5715 | 0.4843 | 0.499 | 2.53 | 0.381 | 26 | 0.0466 | 0 |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| Total CBD (%DW) | 507.10 | Other LC-UV | 118 | 8.851 | 8.677 | 8.479 | 8.67 | -1.62 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.60 | NIR | 187 | 8.9 | 8.92 | 8.96 | 8.93 | -1.39 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 189 | 9.1839 | 9.1792 | 9.2 | 9.19 | -1.15 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 154 | 9.4308 | 9.4888 | 8.7469 | 9.22 | -1.11 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, | 103 | 9.138 | 9.1 | 9.863 | 9.37 | -0.98 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 9.3363 | 10.2148 | 9.7488 | 9.77 | -0.61 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.01 | AOAC 2018.10 | 209 | 10.0653 | 9.4741 | 9.9319 | 9.82 | -0.56 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, | 218 | 9.892 | 9.554 | 10.355 | 9.93 | -0.46 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 142 | 10.2638 | 10.4747 | 10.145 | 10.3 | -0.13 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.30 | Other LC-MS | 105 | 11.9 | 9.84 | 9.57 | 10.4 | 0 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 196 | 10.5959 | 10.8026 | 10.3315 | 10.6 | 0.13 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 204 | 10.5563 | 10.5186 | 10.6235 | 10.6 | 0.12 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 10.4842 | 11.0941 | 10.5539 | 10.7 | 0.25 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 211 | 11.22 | 10.857 | 10.621 | 10.9 | 0.43 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 208 | 10.9441 | 10.6939 | 11.0723 | 10.9 | 0.43 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 209 | 9.521 | 12.7761 | 10.4467 | 10.9 | 0.44 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, | 209 | 10.9769 | 9.9919 | 12.2925 | 11.1 | 0.6 | 10.4361 | 22 | 1.0893 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, | 199 | 11.1272 | 11.3777 | 11.1118 | 11.2 | 0.71 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 109 | 11.374 | 10.766 | 11.388 | 11.2 | 0.68 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 138 | 11.6773 | 11.8769 | 11.4076 | 11.7 | 1.12 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 12.5293 | 12.2252 | 12.766 | 12.5 | 1.9 | 10.4361 | 22 | 1.0893 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 172 | 13.5058 | 13.144 | 13.0109 | 13.2 | 2.56 | 10.4361 | 22 | 1.0893 | 0 |
|  |  |  |  | CBDV (%DW) |  |  |  |  |  |  |  |  |
| CBDV (%DW) | 508.99 | Other | 189 | 0.0255 | 0.0249 | 0.025 | 0.0251 | -0.77 | 0.0504 | 8 | 0.0328 | 0 |
| CBDV (%DW) | 508.99 | Other | 196 | 0.0306 | 0.0328 | 0.0296 | 0.031 | -0.59 | 0.0504 | 8 | 0.0328 | 0 |
| CBDV (%DW) | 508.99 | Other | 211 | 0.034 | 0.035 | 0.034 | 0.0343 | -0.49 | 0.0504 | 8 | 0.0328 | 0 |
| CBDV (%DW) | 508.02 | AOAC 2018.11, | 210 | 0.035 | 0.038 | 0.038 | 0.037 | -0.41 | 0.0504 | 8 | 0.0328 | 0 |
| CBDV (%DW) | 508.99 | Other | 154 | 0.0399 | 0.0405 | 0.0385 | 0.0396 | -0.33 | 0.0504 | 8 | 0.0328 | 0 |
| CBDV (%DW) | 508.99 | Other | 142 | 0.0376 | 0.0475 | 0.0458 | 0.0436 | -0.21 | 0.0504 | 8 | 0.0328 | 0 |
| CBDV (%DW) | 508.99 | Other | 208 | 0.0676 | <0.0500 | <0.0500 | 0.0559 |  |  |  |  | 1 |
| CBDV (%DW) | 508.99 | Other | 192 | 0.089 | 0.0934 | 0.0969 | 0.0931 | 1.3 | 0.0504 | 8 | 0.0328 | 0 |
| CBDV (%DW) | 508.99 | Other | 109 | 0.154 | 0.141 | 0.152 | 0.149 | 3.01 | 0.0504 | 8 | 0.0328 | 0 |
|  |  |  |  | CBDVA (%DW) |  |  |  |  |  |  |  |  |
| CBDVA (%DW) | 509.99 | Other | 154 | 0.0267 | 0.029 | 0.0268 | 0.0275 |  |  |  |  | 0 |
| CBDVA (%DW) | 509.99 | Other | 196 | 0.0496 | 0.0509 | 0.0472 | 0.0492 |  |  |  |  | 0 |
| CBDVA (%DW) | 509.02 | AOAC 2018.11, | 210 | 0.056 | 0.054 | 0.055 | 0.055 |  |  |  |  | 0 |
| CBDVA (%DW) | 509.99 | Other | 208 | 0.0508 | 0.0717 | 0.0565 | 0.0597 |  |  |  |  | 0 |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
|  |  |  |  | CBG (%DW) |  |  |  |  |  |  |  |  |  |
| CBG (%DW) | 510.99 | Other | 154 | 0.1336 | 0.1206 | 0.1235 | 0.126 | -3.5 | 0.2353 |  | 13 | 0.0313 | 0 |
| CBG (%DW) | 510.02 | AOAC 2018.11, | 103 | 0.207 | 0.217 | 0.203 | 0.209 | -0.84 | 0.2353 |  | 13 | 0.0313 | 0 |
| CBG (%DW) | 510.99 | Other | 196 | 0.2144 | 0.211 | 0.2149 | 0.213 | -0.7 | 0.2353 |  | 13 | 0.0313 | 0 |
| CBG (%DW) | 510.99 | Other | 118 | 0.225 | 0.214 | 0.206 | 0.215 | -0.65 | 0.2353 |  | 13 | 0.0313 | 0 |
| CBG (%DW) | 510.99 | Other | 105 | 0.23 | 0.22 | 0.197 | 0.216 | -0.63 | 0.2353 |  | 13 | 0.0313 | 0 |
| CBG (%DW) | 510.99 | Other | 142 | 0.209 | 0.2267 | 0.2302 | 0.222 | -0.43 | 0.2353 |  | 13 | 0.0313 | 0 |
| CBG (%DW) | 510.99 | Other | 109 | 0.244 | 0.234 | 0.234 | 0.237 | 0.07 | 0.2353 |  | 13 | 0.0313 | 0 |
| CBG (%DW) | 510.02 | AOAC 2018.11, | 210 | 0.246 | 0.241 | 0.235 | 0.241 | 0.17 | 0.2353 |  | 13 | 0.0313 | 0 |
| CBG (%DW) | 510.99 | Other | 208 | 0.2404 | 0.2369 | 0.2578 | 0.245 | 0.31 | 0.2353 |  | 13 | 0.0313 | 0 |
| CBG (%DW) | 510.99 | Other | 211 | 0.251 | 0.245 | 0.271 | 0.256 | 0.65 | 0.2353 |  | 13 | 0.0313 | 0 |
| CBG (%DW) | 510.99 | Other | 189 | 0.2663 | 0.266 | 0.2666 | 0.266 | 0.99 | 0.2353 |  | 13 | 0.0313 | 0 |
| CBG (%DW) | 510.99 | Other | 204 | 0.2702 | 0.2643 | 0.2695 | 0.268 | 1.05 | 0.2353 |  | 13 | 0.0313 | 0 |
| CBG (%DW) | 510.99 | Other | 192 | 0.3276 | 0.3086 | 0.2177 | 0.285 | 1.58 | 0.2353 |  | 13 | 0.0313 | 0 |
|  |  |  |  | CBGA (%DW) |  |  |  |  |  |  |  |  |  |
| CBGA (%DW) | 511.99 | Other | 154 | 0.3225 | 0.3294 | 0.3032 | 0.318 | -1.6 | 0.3859 |  | 12 | 0.0423 | 0 |
| CBGA (%DW) | 511.99 | Other | 118 | 0.334 | 0.33 | 0.324 | 0.329 | -1.34 | 0.3859 |  | 12 | 0.0423 | 0 |
| CBGA (%DW) | 511.02 | AOAC 2018.11, | 103 | 0.412 | 0.332 | 0.333 | 0.359 | -0.64 | 0.3859 |  | 12 | 0.0423 | 0 |
| CBGA (%DW) | 511.99 | Other | 192 | 0.3628 | 0.3567 | 0.3676 | 0.362 | -0.56 | 0.3859 |  | 12 | 0.0423 | 0 |
| CBGA (%DW) | 511.99 | Other | 189 | 0.3815 | 0.381 | 0.3828 | 0.382 | -0.1 | 0.3859 |  | 12 | 0.0423 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%DW) | 511.02 | AOAC 2018.11, | 210 | 0.389 | 0.389 | 0.387 | 0.388 | 0.06 | 0.3859 | 12 | 0.0423 | 0 |
| CBGA (%DW) | 511.99 | Other | 196 | 0.3902 | 0.4012 | 0.3886 | 0.393 | 0.18 | 0.3859 | 12 | 0.0423 | 0 |
| CBGA (%DW) | 511.99 | Other | 208 | 0.4036 | 0.3898 | 0.4171 | 0.403 | 0.42 | 0.3859 | 12 | 0.0423 | 0 |
| CBGA (%DW) | 511.99 | Other | 204 | 0.4111 | 0.4077 | 0.4114 | 0.41 | 0.57 | 0.3859 | 12 | 0.0423 | 0 |
| CBGA (%DW) | 511.99 | Other | 142 | 0.4 | 0.4307 | 0.4112 | 0.414 | 0.66 | 0.3859 | 12 | 0.0423 | 0 |
| CBGA (%DW) | 511.99 | Other | 211 | 0.423 | 0.406 | 0.424 | 0.418 | 0.75 | 0.3859 | 12 | 0.0423 | 0 |
| CBGA (%DW) | 511.99 | Other | 109 | 0.478 | 0.437 | 0.474 | 0.463 | 1.82 | 0.3859 | 12 | 0.0423 | 0 |

Population of Lab Values

THCV (%DW)

| THCV (%DW) | 512.99 | Other | 189 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%DW) | 512.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%DW) | 512.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%DW) | 512.99 | Other | 211 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%DW) | 512.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 | 1 |
| THCV (%DW) | 512.99 | Other | 208 | <0.0500 | <0.0500 | <0.0500 | <0.0500 | 1 |
| THCV (%DW) | 512.02 | AOAC 2018.11, | 210 | 0.016 | 0.014 | 0.014 | 0.0147 | 0 |

Δ8-THC (%DW)

| Δ8-THC (%DW) | 513.99 | Other | 118 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 211 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.02 | AOAC 2018.11, | 210 | <0.0140 | <0.0140 | <0.0140 | <0.0140 |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 102 | <0.0200 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 192 | <0.0300 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 208 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 189 | 0.0097 | 0.0091 | 0.0095 | 0.0094 |  |  |  |  | 0 |

Population of Lab Values

CBC (%DW)

| CBC (%DW) | 514.99 | Other | 154 | 0.2587 | 0.2633 | 0.2403 | 0.254 | -2.02 | 0.3066 | 11 | 0.0261 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.02 | AOAC 2018.11, | 103 | 0.288 | 0.284 | 0.284 | 0.285 | -0.82 | 0.3066 | 11 | 0.0261 | 0 |
| CBC (%DW) | 514.99 | Other | 142 | 0.2887 | 0.289 | 0.2873 | 0.288 | -0.7 | 0.3066 | 11 | 0.0261 | 0 |
| CBC (%DW) | 514.99 | Other | 189 | 0.2935 | 0.2939 | 0.2947 | 0.294 | -0.48 | 0.3066 | 11 | 0.0261 | 0 |
| CBC (%DW) | 514.99 | Other | 105 | 0.297 | 0.309 | 0.296 | 0.301 | -0.23 | 0.3066 | 11 | 0.0261 | 0 |
| CBC (%DW) | 514.99 | Other | 208 | 0.2861 | 0.3003 | 0.3183 | 0.302 | -0.19 | 0.3066 | 11 | 0.0261 | 0 |
| CBC (%DW) | 514.99 | Other | 196 | 0.3113 | 0.3177 | 0.3032 | 0.311 | 0.16 | 0.3066 | 11 | 0.0261 | 0 |
| CBC (%DW) | 514.99 | Other | 109 | 0.331 | 0.311 | 0.331 | 0.324 | 0.68 | 0.3066 | 11 | 0.0261 | 0 |
| CBC (%DW) | 514.99 | Other | 204 | 0.3234 | 0.3216 | 0.3265 | 0.324 | 0.66 | 0.3066 | 11 | 0.0261 | 0 |
| CBC (%DW) | 514.99 | Other | 211 | 0.335 | 0.327 | 0.331 | 0.331 | 0.93 | 0.3066 | 11 | 0.0261 | 0 |
| CBC (%DW) | 514.99 | Other | 192 | 0.4407 | 0.4312 | 0.446 | 0.439 | 5.09 | 0.3066 | 11 | 0.0261 | 0 |

|  |  |  | Lab |  | Lab |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 | Value | Z score | Rob Mean | n | Rob StDev Flag |

Population of Lab Values

- Flag definitions: 1 (Lab Value not used because there were less than 2 numeric lab results), 2 (Lab Value not used because there were less than 2 numeric lab results greater than 0).

- Robust statistics performed to determine robust mean and Z scores only if there were 6 or more numeric lab values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.