# Homogeneity and Stability

Sample ID . . . . . . . . . . . . . . . . . . . . . . . .

Samples shipped . . . . . . . . . . . . . . . . . . .

Results due date . . . . . . . . . . . . . . . . . . . .

HM21NOV-2

8-Nov-21

15-Dec-21

## Homogeneity

10 sample packets randomly chosen for analysis.

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 0.3579 | 0.3313 |
| 2 | 0.3416 | 0.3367 |
| 3 | 0.3397 | 0.3425 |
| 4 | 0.3430 | 0.3420 |
| 5 | 0.3344 | 0.3467 |
| 6 | 0.3379 | 0.3441 |
| 7 | 0.3431 | 0.3389 |
| 8 | 0.3314 | 0.3325 |
| 9 | 0.3346 | 0.3424 |
| 10 | 0.3377 | 0.3358 |

Duplicate test portions analyzed for analyte and method shown in table caption.

| Total THC (%AR) via GC-FID (method 006.40) Analysis Date: 12/5/21 | Overall average: | 0.3397 | %RSD HorRat-r |  |
| --- | --- | --- | --- | --- |
|  | SD of sample avgs: | 0.003472 | 1.02 |  |
|  | repeatability SD: | 0.007134 | 2.10 0.4 |  |
|  | between-sample SD: | 0 | 0.00 |  |
|  | reproducibilty SD: | 0.007134 | 2.10 |  |
|  | SD used for Analyte z scores: | 0.0428 |  |  |
|  | Check value: | 0.01284 |  |  |
| Total THC (%AR) via GC-FID (method 006.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |  |
| Total CBD (%AR) via GC-FID (method 007.40) Analysis Date: 12/5/21 | Overall average: | 11.4009 | %RSD |  |
|  | SD of sample avgs: | 0.1218 | 1.07 |  |
|  | repeatability SD: | 0.2424 | 2.13 | 0.8 |
|  | between-sample SD: | 0 | 0.00 |  |
|  | reproducibilty SD: | 0.2424 | 2.13 |  |
|  | SD used for Analyte z scores: | 0.6799 |  |  |
|  | Check value: | 0.20397 |  |  |
| Total CBD (%AR) via GC-FID (method 007.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |  |

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 11.9483 | 11.3102 |
| 2 | 11.4762 | 11.3630 |
| 3 | 11.3419 | 11.4288 |
| 4 | 11.3976 | 11.3338 |
| 5 | 11.1827 | 11.4934 |
| 6 | 11.3686 | 11.5406 |
| 7 | 11.5154 | 10.7645 |
| 8 | 11.2955 | 11.4764 |
| 9 | 11.3805 | 11.4802 |
| 10 | 11.4085 | 11.5123 |

Stability

Sample tested on different days from date sample shipped to results due date. Sample stored at room temperature during period of testing.

| Date of Analysis | Days | Conc. |
| --- | --- | --- |
| 11/7/21 | 0 | 0.3466 |
| 11/10/21 | 3 | 0.3494 |
| 11/10/21 | 3 | 0.3396 |
| 11/17/21 | 10 | 0.3460 |
| 11/23/21 | 16 | 0.3283 |
| 12/5/21 | 28 | 0.3378 |
| 12/6/21 | 29 | 0.3480 |
| 12/12/21 | 35 | 0.3472 |
| 12/14/21 | 37 | 0.3827 |
| 12/19/21 | 42 | 0.3702 |

Total THC (%AR) via GC-FID (method 006.40)		Days = x variable, Conc = y variable

### SUMMARY OUTPUT

Regression Statistics

Multiple R  0.5472985 R Square	0.2995357 Adjusted R Squ 0.2119776 Standard Error  0.0140147

Observations	10

### ANOVA

df	SS	MS	F	Significance F

Regression	1 0.00067192 0.000671923 3.420996	0.10153998

y = 0.0005x + 0.3385 R² = 0.2995

0.40

0.38

0.36

0.34

0.32

0.30

0.28

0

10

20

30

40

Residual	8 0.00157129 0.000196412

Total	9 0.00224322

Coefficients tandard Error	t Stat	P-value	Lower 95%	Upper 95%

Intercept	0.3384522 0.00747247 45.29322611  6.24E-11  0.321220634  0.355683717

X Variable 1	0.0005482 0.00029637 1.849593431  0.10154 -0.000135268  0.001231605

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period

Stability test passed.

%RSD = 4.5

| Total CBD (%AR) via GC-FID (method 006.40) |  |  |
| --- | --- | --- |
| Date of Analysis | Days | Conc. |
| 11/7/21 | 0 | 10.9786 |
| 11/10/21 | 3 | 11.1663 |
| 11/10/21 | 3 | 10.7250 |
| 11/17/21 | 10 | 11.0445 |
| 11/23/21 | 16 | 10.5618 |
| 12/5/21 | 28 | 11.2120 |
| 12/6/21 | 29 | 10.8712 |
| 12/12/21 | 35 | 10.6502 |
| 12/14/21 | 37 | 11.3184 |
| 12/19/21 | 42 | 11.1410 |

Days = x variable, Conc = y variable SUMMARY OUTPUT

Regression Statistics

Multiple R	0.2058069

| R Square | 0.0423565 |
| --- | --- |
| Adjusted R Squ -0.0773489 |  |
| Standard Error | 0.2661914 |
| Observations | 10 |

### ANOVA

df	SS	MS	F	Significance F

12.0

11.8

11.6

11.4

11.2

11.0

10.8

10.6

10.4

10.2

10.0

0

10

20

30

40

Regression	1 0.02507229 0.025072293 0.353839  0.568386624

y = 0.0033x + 10.899 R² = 0.0424

Residual	8 0.56686279 0.070857848

Total	9 0.59193508

Coefficients tandard Error	t Stat	P-value	Lower 95%	Upper 95%

| Intercept | 10.898925 0.14193009 76.79080135 | 9.22E-13 | 10.5716339 | 11.22621665 |
| --- | --- | --- | --- | --- |
| X Variable 1 | 0.0033485 0.00562922 0.594843944 | 0.568387 | -0.0096325 | 0.016329518 |

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period

Stability test passed.

%RSD = 2.3