# Homogeneity and Stability

Sample ID . . . . . . . . . . . . . . . . . . . . . . . . .

Samples shipped . . . . . . . . . . . . . . . . . . .

Results due date . . . . . . . . . . . . . . . . . . . .

HM21SEP-1

7-Sep-21

15-Oct-21

## Homogeneity

10 sample packets randomly chosen for analysis.

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 0.2967 | 0.2945 |
| 2 | 0.2839 | 0.2949 |
| 3 | 0.2870 | 0.2917 |
| 4 | 0.2899 | 0.2973 |
| 5 | 0.2961 | 0.2989 |
| 6 | 0.3047 | 0.2983 |
| 7 | 0.2999 | 0.2988 |
| 8 | 0.2969 | 0.3125 |
| 9 | 0.2960 | 0.3027 |
| 10 | 0.2825 | 0.2984 |

Duplicate test portions analyzed for analyte and method shown in table caption.

| Total THC (%AR) via GC-FID (method 006.40) Analysis Date: 10/4/21 |  | Overall average: | 0.2961 | %RSD | HorRat-r |
| --- | --- | --- | --- | --- | --- |
|  |  | SD of sample avgs: | 0.005325 | 1.80 |  |
|  |  | repeatability SD: | 0.006296 | 2.13 | 0.4 |
|  |  | between-sample SD: | 0.00292 | 0.99 |  |
|  |  | reproducibilty SD: | 0.006941 | 2.34 |  |
|  |  | SD used for Analyte z scores: | 0.0333 |  |  |
|  |  | Check value: | 0.00999 |  |  |
|  | Total THC (%AR) via GC-FID (method 006.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |  |
| Total CBD (%AR) via GC-FID (method 007.40) Analysis Date: 10/4/21 |  | Overall average: | 9.4498 | %RSD |  |
|  |  | SD of sample avgs: | 0.208 | 2.20 |  |
|  |  | repeatability SD: | 0.1679 | 1.78 | 0.6 |
|  |  | between-sample SD: | 0.1708 | 1.81 |  |
|  |  | reproducibilty SD: | 0.2395 | 2.53 |  |
|  |  | SD used for Analyte z scores: | 0.7346 |  |  |
|  |  | Check value: | 0.22038 |  |  |
|  | Total CBD (%AR) via GC-FID (method 007.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |  |

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 8.8963 | 9.2920 |
| 2 | 9.1838 | 9.3511 |
| 3 | 9.5476 | 9.2876 |
| 4 | 9.2994 | 9.4025 |
| 5 | 9.3744 | 9.3107 |
| 6 | 9.7065 | 9.1820 |
| 7 | 9.6077 | 9.6766 |
| 8 | 9.8101 | 9.8628 |
| 9 | 9.4934 | 9.5866 |
| 10 | 9.5245 | 9.6000 |

Stability

Sample tested on different days from date sample shipped to results due date. Sample stored at room temperature during period of testing.

| Total THC (%AR) via GC-FID (method 006.40) |  |  |
| --- | --- | --- |
| Date of Analysis | Days | Conc. |
| 9/13/21 | 0 | 0.3243 |
| 9/15/21 | 2 | 0.2703 |
| 9/18/21 | 5 | 0.3311 |
| 9/22/21 | 9 | 0.2901 |
| 9/26/21 | 13 | 0.2817 |
| 9/26/21 | 13 | 0.3246 |
| 9/29/21 | 16 | 0.3299 |
| 10/2/21 | 19 | 0.2952 |
| 10/5/21 | 22 | 0.3347 |
| 10/9/21 | 26 | 0.3017 |
| 10/13/21 | 30 | 0.2970 |

Days = x variable, Conc = y variable SUMMARY OUTPUT

Regression Statistics

Multiple R   0.0266738 R Square	0.0007115 Adjusted R Squ -0.1103206 Standard Error  0.0236096

Observations	11

ANOVA

df	SS	MS	F	Significance F

Regression	1  3.5719E-06  3.5719E-06	0.006407986  0.937949315

Residual	9  0.00501673 0.000557414

y = 6E-05x + 0.3065 R² = 0.0007

0.36

0.34

0.32

0.30

0.28

0.26

0.24

0.22

0.20

0

5	10	15	20	25	30

Total	10	0.0050203

| Coefficients | tandard Erro | t Stat | P-value | Lower 95% | Upper 95% |
| --- | --- | --- | --- | --- | --- |
| Intercept 0.3064591 0.01297311 23.62264672 2.08202E-09 |  |  |  | 0.277111879 | 0.335806285 |
| X Variable 1 6.161E-05 0.00076969 0.0800499 0.937949315 |  |  |  | -0.001679544 | 0.001802771 |

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period.

Stability test passed.

%RSD = 7.3

| Total CBD (%AR) via GC-FID (method 006.40) |  |  |
| --- | --- | --- |
| Date of Analysis | Days | Conc. |
| 9/13/21 | 0 | 8.3248 |
| 9/15/21 | 2 | 9.6343 |
| 9/18/21 | 5 | 9.2657 |
| 9/22/21 | 9 | 9.7041 |
| 9/26/21 | 13 | 9.6990 |
| 9/26/21 | 13 | 10.5786 |
| 9/29/21 | 16 | 10.5181 |
| 10/2/21 | 19 | 9.7569 |
| 10/5/21 | 22 | 9.8080 |
| 10/9/21 | 26 | 10.2546 |
| 10/13/21 | 30 | 9.1050 |

Days = x variable, Conc = y variable SUMMARY OUTPUT

Regression Statistics

Multiple R		0.365425 R Square	0.1335354 Adjusted R Squ 0.0372616 Standard Error  0.6360082

Observations	11

ANOVA

df	SS	MS	F	Significance F

Regression	1  0.56106548 0.561065484	1.387037136  0.269109374

Residual	9  3.64055816 0.404506462

y = 0.0244x + 9.3513 R² = 0.1335

11.0

10.5

10.0

9.5

9.0

8.5

8.0

7.5

7.0

0

5	10	15	20	25	30

Total	10 4.20162364

Coefficients tandard Erro	t Stat	P-value	Lower 95%	Upper 95%

| Intercept | 9.3512828 0.34947617 26.75799839 6.88007E-10 8.56071278 10.14185282 |
| --- | --- |
| X Variable 1 | 0.0244193 0.02073428 1.177725408 0.269109374 -0.022484909 0.071323479 |

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period.

Stability test passed.

%RSD = 6.7