Hemp Proficiency Testing All Labs Trueness HM21SEP-2 (hemp)

Sample: HM21SEP-2 (hemp)

All Labs Trueness

Issue Date:

October 24, 2021

| Analyte | Code | Method | Lab Num | Result1 Result2 Result3 Δ9-THC (%AR) |  |  | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 148 | 0.216 | 0.234 | 0.234 | 0.228 | -2.67 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 164 | 0.2486 | 0.2263 | 0.2627 | 0.246 | -1.99 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 155 | 0.247 | 0.261 | 0.245 | 0.251 | -1.8 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.60 | NIR | 187 | 0.26 | 0.26 | 0.26 | 0.26 | -1.46 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | 0.2627 | 0.2726 | 0.2545 | 0.263 | -1.34 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 161 | 0.2553 | 0.2684 | 0.2752 | 0.266 | -1.22 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 182 | 0.2653 | 0.2729 | 0.2632 | 0.267 | -1.19 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 216 | 0.2769 | 0.2654 | 0.2737 | 0.272 | -1.01 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.2831 | 0.2597 | 0.2826 | 0.275 | -0.89 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 124 | 0.268 | 0.273 | 0.2881 | 0.276 | -0.84 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 214 | 0.27 | 0.28 | 0.28 | 0.277 | -0.83 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 212 | 0.3282 | 0.2611 | 0.2466 | 0.279 | -0.76 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 208 | 0.279 | 0.2872 | 0.2748 | 0.28 | -0.69 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 192 | 0.2816 | 0.2858 | 0.276 | 0.281 | -0.66 | 0.2987 | 51 | 0.0265 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 125 | 0.276 | 0.284 | 0.296 | 0.285 | -0.51 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 191 | 0.2777 | 0.2877 | 0.2963 | 0.287 | -0.43 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 108 | 0.2874 | 0.2746 | 0.2986 | 0.287 | -0.45 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 103 | 0.286 | 0.292 | 0.291 | 0.29 | -0.34 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.2982 | 0.2811 | 0.2925 | 0.291 | -0.31 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.29 | 0.29 | 0.3 | 0.293 | -0.2 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.294 | 0.297 | 0.288 | 0.293 | -0.22 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 207 | 0.325 | 0.275 | 0.28 | 0.293 | -0.2 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 162 | 0.2973 | 0.2808 | 0.3082 | 0.295 | -0.13 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 204 | 0.2937 | 0.2954 | 0.2964 | 0.295 | -0.14 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 215 | 0.2909 | 0.3006 | 0.2922 | 0.295 | -0.16 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.29 | 0.3 | 0.3 | 0.297 | -0.08 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 142 | 0.3045 | 0.3045 | 0.2937 | 0.301 | 0.08 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 211 | 0.302 | 0.306 | 0.297 | 0.302 | 0.11 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 200 | 0.31 | 0.299 | 0.296 | 0.302 | 0.11 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 149 | 0.302 | 0.323 | 0.286 | 0.304 | 0.19 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 199 | 0.305 | 0.3115 | 0.2965 | 0.304 | 0.21 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 209 | 0.2906 | 0.3107 | 0.3144 | 0.305 | 0.24 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 194 | 0.3036 | 0.3088 | 0.3048 | 0.306 | 0.26 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 113 | 0.3097 | 0.3011 | 0.3122 | 0.308 | 0.34 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.2775 | 0.3265 | 0.3252 | 0.31 | 0.41 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 165 | 0.3173 | 0.3078 | 0.3154 | 0.313 | 0.56 | 0.2987 | 51 | 0.0265 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.3138 | 0.3158 | 0.3169 | 0.315 | 0.63 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 132 | 0.314 | 0.3 | 0.335 | 0.316 | 0.66 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 183 | 0.3186 | 0.3149 | 0.3215 | 0.318 | 0.74 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 217 | 0.3225 | 0.322 | 0.3148 | 0.32 | 0.79 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 109 | 0.326 | 0.304 | 0.33 | 0.32 | 0.8 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.317 | 0.322 | 0.325 | 0.321 | 0.85 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.303 | 0.3259 | 0.3428 | 0.324 | 0.95 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.3141 | 0.3371 | 0.3277 | 0.326 | 1.04 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, | 139 | 0.3455 | 0.3274 | 0.3115 | 0.328 | 1.11 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 120 | 0.3466 | 0.3102 | 0.3348 | 0.331 | 1.2 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 196 | 0.3309 | 0.3401 | 0.3273 | 0.333 | 1.28 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.3323 | 0.3545 | 0.3453 | 0.344 | 1.71 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 172 | 0.365 | 0.347 | 0.34 | 0.351 | 1.96 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 152 | 0.3713 | 0.3503 | 0.3757 | 0.366 | 2.53 | 0.2987 | 51 | 0.0265 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 141 | 0.4296 | 0.3467 | 0.4449 | 0.407 | 4.09 | 0.2987 | 51 | 0.0265 | 0 |
|  |  |  |  | Δ9-THCA (%AR) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 141 | 0.0625 | 0.0463 | 0.0516 | 0.0535 | -3.67 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 155 | 0.06 | 0.06 | 0.06 | 0.06 | -3.23 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 213 | 0.0797 | 0.0923 | 0.0656 | 0.0792 | -1.93 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 124 | 0.0751 | 0.0753 | 0.092 | 0.0808 | -1.82 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 164 | 0.0874 | 0.0872 | 0.0905 | 0.0884 | -1.31 | 0.1078 | 52 | 0.0148 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 161 | 0.0829 | 0.0906 | 0.0903 | 0.0879 | -1.34 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 108 | 0.0899 | 0.0886 | 0.0908 | 0.0898 | -1.22 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 211 | 0.095 | 0.089 | 0.089 | 0.091 | -1.13 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 207 | 0.103 | 0.088 | 0.089 | 0.0933 | -0.97 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.093 | 0.093 | 0.097 | 0.0943 | -0.91 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 216 | 0.0937 | 0.0929 | 0.094 | 0.0935 | -0.96 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 132 | 0.099 | 0.092 | 0.097 | 0.096 | -0.79 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | 0.1005 | 0.0967 | 0.0901 | 0.0958 | -0.81 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | 0.0996 | 0.099 | 0.0924 | 0.097 | -0.73 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 208 | 0.0911 | 0.1031 | 0.0994 | 0.0979 | -0.67 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 162 | 0.1033 | 0.0968 | 0.1012 | 0.1 | -0.49 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 199 | 0.1045 | 0.101 | 0.0985 | 0.101 | -0.43 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | 0.1024 | 0.1073 | 0.0992 | 0.103 | -0.32 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 148 | 0.097 | 0.109 | 0.104 | 0.103 | -0.3 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.1091 | 0.1029 | 0.104 | 0.105 | -0.16 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0.1041 | 0.1068 | 0.1081 | 0.106 | -0.1 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 217 | 0.1113 | 0.1006 | 0.106 | 0.106 | -0.12 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | 0.103 | 0.107 | 0.108 | 0.106 | -0.12 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 212 | 0.111 | 0.0896 | 0.1167 | 0.106 | -0.13 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 182 | 0.1154 | 0.0994 | 0.1071 | 0.107 | -0.03 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 209 | 0.1113 | 0.1074 | 0.106 | 0.108 | 0.03 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 152 | 0.1107 | 0.107 | 0.1111 | 0.11 | 0.12 | 0.1078 | 52 | 0.0148 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 120 | 0.114 | 0.1077 | 0.1096 | 0.11 | 0.18 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 214 | 0.11 | 0.11 | 0.11 | 0.11 | 0.15 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | 0.11 | 0.113 | 0.107 | 0.11 | 0.15 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 200 | 0.116 | 0.112 | 0.108 | 0.112 | 0.29 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 215 | 0.1002 | 0.1256 | 0.1114 | 0.112 | 0.31 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | 0.103 | 0.111 | 0.122 | 0.112 | 0.29 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.1137 | 0.1136 | 0.1091 | 0.112 | 0.3 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 109 | 0.124 | 0.109 | 0.112 | 0.115 | 0.49 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, | 139 | 0.1256 | 0.1179 | 0.1082 | 0.117 | 0.64 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.1131 | 0.1197 | 0.1181 | 0.117 | 0.62 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.1175 | 0.115 | 0.1212 | 0.118 | 0.69 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 103 | 0.117 | 0.123 | 0.113 | 0.118 | 0.67 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 194 | 0.1177 | 0.1207 | 0.1198 | 0.119 | 0.79 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 204 | 0.1179 | 0.1186 | 0.1191 | 0.119 | 0.73 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 191 | 0.1134 | 0.118 | 0.1264 | 0.119 | 0.78 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 113 | 0.1191 | 0.1203 | 0.1211 | 0.12 | 0.84 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | 0.121 | 0.1218 | 0.1213 | 0.121 | 0.92 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 125 | 0.105 | 0.124 | 0.137 | 0.122 | 0.96 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.12 | 0.12 | 0.13 | 0.123 | 1.05 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 165 | 0.1231 | 0.1221 | 0.1274 | 0.124 | 1.11 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 210 | 0.12 | 0.124 | 0.127 | 0.124 | 1.08 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 183 | 0.1243 | 0.1302 | 0.1291 | 0.128 | 1.36 | 0.1078 | 52 | 0.0148 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 172 | 0.141 | 0.131 | 0.124 | 0.132 | 1.64 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.60 | NIR | 187 | 0.15 | 0.14 | 0.12 | 0.137 | 1.95 | 0.1078 | 52 | 0.0148 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.2649 | 0.2688 | 0.2448 | 0.259 | 10.25 | 0.1078 | 52 | 0.0148 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.10 | Other LC-UV | 209 | 4.0288 | 4.032 | 3.8572 | 3.97 | -2.81 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 155 | 4.49 | 4.39 | 4.3 | 4.39 | -1.87 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.60 | NIR | 187 | 4.42 | 4.42 | 4.46 | 4.43 | -1.78 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 4.5157 | 4.5279 | 4.3454 | 4.46 | -1.71 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 152 | 4.4546 | 4.6951 | 4.8153 | 4.66 | -1.28 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 4.6679 | 4.6685 | 4.6701 | 4.67 | -1.25 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 161 | 4.5252 | 4.8292 | 4.9885 | 4.78 | -1 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 191 | 4.8012 | 4.911 | 4.8416 | 4.85 | -0.85 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 214 | 4.81 | 5.04 | 4.93 | 4.93 | -0.68 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 215 | 4.8397 | 4.7459 | 5.2693 | 4.95 | -0.62 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.99 | Other | 132 | 4.988 | 4.681 | 5.236 | 4.97 | -0.58 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, | 139 | 5.118 | 5.1641 | 4.8771 | 5.05 | -0.39 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 125 | 5.16 | 5.24 | 4.79 | 5.06 | -0.37 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 141 | 5.07 | 5.0014 | 5.174 | 5.08 | -0.33 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 5.072 | 5.188 | 5.001 | 5.09 | -0.32 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 204 | 5.1255 | 5.1635 | 5.1628 | 5.15 | -0.18 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 207 | 5.688 | 4.878 | 4.885 | 5.15 | -0.18 | 5.2296 | 41 | 0.4472 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 103 | 5.132 | 5.203 | 5.148 | 5.16 | -0.15 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 113 | 5.262 | 4.953 | 5.332 | 5.18 | -0.11 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 164 | 5.125 | 5.1808 | 5.2339 | 5.18 | -0.11 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 208 | 5.274 | 5.2725 | 5.064 | 5.2 | -0.06 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 200 | 5.347 | 5.166 | 5.148 | 5.22 | -0.02 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 194 | 5.1794 | 5.3066 | 5.2162 | 5.23 | 0.01 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 5.08 | 5.33 | 5.37 | 5.26 | 0.07 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 211 | 5.419 | 5.379 | 5.035 | 5.28 | 0.11 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 199 | 5.277 | 5.5975 | 5.301 | 5.39 | 0.36 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 5.4261 | 5.49 | 5.2943 | 5.4 | 0.39 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 5.469 | 5.344 | 5.437 | 5.42 | 0.42 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 108 | 5.444 | 5.396 | 5.528 | 5.46 | 0.51 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 212 | 5.6956 | 5.5469 | 5.2213 | 5.49 | 0.58 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 162 | 5.4601 | 5.4968 | 5.5484 | 5.5 | 0.61 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 5.5827 | 5.5437 | 5.4215 | 5.52 | 0.64 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 5.5793 | 5.5415 | 5.5808 | 5.57 | 0.75 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 5.5981 | 5.7994 | 5.573 | 5.66 | 0.96 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.99 | Other | 183 | 5.7253 | 5.8114 | 5.5988 | 5.71 | 1.08 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 216 | 5.876 | 5.6692 | 5.6157 | 5.72 | 1.1 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 5.5329 | 5.9768 | 5.7926 | 5.77 | 1.2 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 5.9404 | 5.3527 | 6.0361 | 5.78 | 1.22 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 109 | 6.038 | 5.734 | 5.918 | 5.9 | 1.49 | 5.2296 | 41 | 0.4472 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 5.894 | 6.123 | 5.947 | 5.99 | 1.7 | 5.2296 | 41 | 0.4472 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 172 | 6.175 | 5.955 | 5.858 | 6 | 1.71 | 5.2296 | 41 | 0.4472 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.10 | Other LC-UV | 155 | 5.71 | 5.47 | 5.4 | 5.53 | -1.86 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 5.662 | 5.6014 | 5.5092 | 5.59 | -1.76 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 5.8596 | 5.975 | 5.7147 | 5.85 | -1.36 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.99 | Other | 132 | 6.02 | 5.617 | 6.002 | 5.88 | -1.31 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 209 | 5.928 | 6.1171 | 5.7138 | 5.92 | -1.25 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.60 | NIR | 187 | 5.84 | 6.17 | 5.81 | 5.94 | -1.22 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 164 | 5.8908 | 5.8985 | 6.1725 | 5.99 | -1.14 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 152 | 6.3636 | 6.0146 | 6.1613 | 6.18 | -0.84 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 161 | 5.8571 | 6.3044 | 6.4743 | 6.21 | -0.79 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 212 | 6.5233 | 6.3002 | 6.084 | 6.3 | -0.65 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, | 139 | 6.4636 | 6.3133 | 6.1809 | 6.32 | -0.62 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 207 | 7.002 | 6.107 | 6.088 | 6.4 | -0.5 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 214 | 6.32 | 6.62 | 6.43 | 6.46 | -0.41 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 125 | 6.43 | 6.93 | 6.06 | 6.47 | -0.38 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 211 | 6.702 | 6.611 | 6.128 | 6.48 | -0.37 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 200 | 6.72 | 6.468 | 6.46 | 6.55 | -0.26 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 194 | 6.6469 | 6.8414 | 6.7845 | 6.76 | 0.06 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 6.8794 | 6.8231 | 6.5999 | 6.77 | 0.08 | 6.7162 | 39 | 0.6383 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 141 | 6.833 | 6.6534 | 6.8436 | 6.78 | 0.09 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 6.7817 | 6.7803 | 6.783 | 6.78 | 0.1 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 6.641 | 7.078 | 6.661 | 6.79 | 0.12 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 162 | 6.8498 | 6.7554 | 6.7999 | 6.8 | 0.13 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 6.6988 | 7.0312 | 6.737 | 6.82 | 0.17 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 6.74 | 6.92 | 6.94 | 6.87 | 0.24 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 199 | 6.917 | 7.203 | 6.804 | 6.97 | 0.41 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 204 | 6.9543 | 6.9902 | 6.9787 | 6.97 | 0.4 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 7.2695 | 6.5395 | 7.1913 | 7 | 0.44 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | 7.317 | 6.563 | 7.21 | 7.03 | 0.49 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 191 | 6.9556 | 7.0202 | 7.1055 | 7.03 | 0.49 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 208 | 7.1697 | 7.2636 | 6.9574 | 7.13 | 0.65 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 108 | 7.214 | 7.017 | 7.157 | 7.13 | 0.65 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 7.0915 | 7.1795 | 7.1746 | 7.15 | 0.68 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 7.1685 | 7.294 | 7.1006 | 7.19 | 0.74 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 215 | 6.6775 | 7.3849 | 7.9678 | 7.34 | 0.98 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 216 | 7.648 | 7.6117 | 7.3915 | 7.55 | 1.31 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 7.287 | 7.593 | 7.861 | 7.58 | 1.35 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 172 | 8.181 | 7.583 | 7.361 | 7.71 | 1.55 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 109 | 8.183 | 7.448 | 7.955 | 7.86 | 1.8 | 6.7162 | 39 | 0.6383 | 0 |
| CBDA (%AR) | 004.99 | Other | 183 | 7.9098 | 8.0299 | 7.7849 | 7.91 | 1.87 | 6.7162 | 39 | 0.6383 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num |  | Result1 Result2 Result3 |  |  | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | CBN (%AR) |  |  |  |  |  |  |  |  |  |  |
| CBN (%AR) | 005.10 | Other LC-UV |  | 211 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 149 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, |  | 199 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 216 | <0.0481 | <0.0474 | <0.0461 | <0.0481 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 197 | <0.0498 | <0.0465 | <0.0472 | <0.0498 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 208 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, |  | 108 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| CBN (%AR) | 005.02 | AOAC 2018.11, |  | 214 | 0.02 | 0.02 | 0.02 | 0.02 | -0.86 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, |  | 125 | 0.0121 | 0.0135 | 0.0369 | 0.0208 | -0.75 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, |  | 139 | 0.0208 | 0.0239 | 0.0194 | 0.0214 | -0.68 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.99 | Other |  | 132 | 0.02 | 0.019 | 0.023 | 0.0207 | -0.77 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 144 | 0.0215 | 0.0217 | 0.0219 | 0.0217 | -0.64 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS |  | 149 | 0.024 | 0.022 | 0.021 | 0.0223 | -0.56 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 142 | 0.0217 | 0.0223 | 0.0213 | 0.0218 | -0.63 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS |  | 122 | 0.022 | 0.0224 | 0.0228 | 0.0224 | -0.55 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 209 | 0.0262 | 0.0193 | 0.0193 | 0.0216 | -0.65 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 207 | 0.027 | 0.02 | 0.023 | 0.0233 | -0.43 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.99 | Other |  | 183 | 0.0236 | 0.0242 | 0.0238 | 0.0239 | -0.36 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 196 | 0.0239 | 0.0243 | 0.0227 | 0.0236 | -0.39 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 162 | 0.0224 | 0.0252 | 0.0238 | 0.0238 | -0.37 | 0.0267 | 23 | 0.0077 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 109 | 0.024 | 0.022 | 0.026 | 0.024 | -0.34 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 200 | 0.025 | 0.024 | 0.024 | 0.0243 | -0.3 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 204 | 0.0254 | 0.0254 | 0.0255 | 0.0254 | -0.16 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.02 | 0.03 | 0.03 | 0.0267 | 0 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.034 | 0.036 | 0.035 | 0.035 | 1.08 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0585 | 0.0415 | 0.0126 | 0.0375 | 1.4 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 116 | 0.0442 | <0.0400 | <0.0400 | 0.0414 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | 0.0415 | 0.0456 | 0.0437 | 0.0436 | 2.19 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 185 | 0.033 | 0.0604 | 0.0431 | 0.0455 | 2.43 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 141 | 0.0551 | 0.0403 | 0.0652 | 0.0535 | 3.47 | 0.0267 | 23 | 0.0077 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0604 | 0.061 | 0.0609 | 0.0608 | 4.4 | 0.0267 | 23 | 0.0077 | 0 |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 185 | 0.2166 | 0.2432 | 0.2205 | 0.227 | -4.04 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 155 | 0.3 | 0.269 | 0.286 | 0.285 | -2.67 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.2913 | 0.2999 | 0.3331 | 0.308 | -2.13 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 148 | 0.301 | 0.33 | 0.325 | 0.319 | -1.88 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 164 | 0.336 | 0.3135 | 0.3532 | 0.334 | -1.51 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 161 | 0.328 | 0.3479 | 0.3544 | 0.343 | -1.3 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.3508 | 0.3574 | 0.3335 | 0.347 | -1.21 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 124 | 0.3338 | 0.339 | 0.3688 | 0.347 | -1.21 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 216 | 0.3591 | 0.3469 | 0.3561 | 0.354 | -1.05 | 0.3986 | 59 | 0.0425 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 182 | 0.3665 | 0.3601 | 0.3572 | 0.361 | -0.88 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 108 | 0.3663 | 0.3503 | 0.3783 | 0.365 | -0.79 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 208 | 0.3659 | 0.3777 | 0.362 | 0.369 | -0.71 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 214 | 0.36 | 0.38 | 0.37 | 0.37 | -0.67 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 212 | 0.4256 | 0.3397 | 0.3489 | 0.371 | -0.64 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.37 | 0.37 | 0.38 | 0.373 | -0.59 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 207 | 0.415 | 0.353 | 0.358 | 0.375 | -0.55 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.3959 | 0.3588 | 0.3844 | 0.38 | -0.45 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 187 | 0.39 | 0.38 | 0.37 | 0.38 | -0.44 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.3854 | 0.3676 | 0.3911 | 0.381 | -0.41 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 211 | 0.385 | 0.384 | 0.375 | 0.381 | -0.41 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 162 | 0.3879 | 0.3657 | 0.3969 | 0.384 | -0.36 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.3918 | 0.3913 | 0.3747 | 0.386 | -0.3 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.3979 | 0.3807 | 0.3882 | 0.389 | -0.23 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.3996 | 0.3518 | 0.4172 | 0.39 | -0.21 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.39 | 0.396 | 0.383 | 0.39 | -0.21 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.3947 | 0.3805 | 0.3977 | 0.391 | -0.18 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 191 | 0.3771 | 0.3911 | 0.4072 | 0.392 | -0.16 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 125 | 0.367 | 0.393 | 0.416 | 0.392 | -0.16 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 215 | 0.3788 | 0.4107 | 0.3899 | 0.393 | -0.13 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 199 | 0.3966 | 0.4001 | 0.3829 | 0.393 | -0.13 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 103 | 0.3886 | 0.3999 | 0.3901 | 0.393 | -0.14 | 0.3986 | 59 | 0.0425 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 204 | 0.3971 | 0.3994 | 0.4009 | 0.399 | 0.01 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 209 | 0.3882 | 0.4048 | 0.4074 | 0.4 | 0.04 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 200 | 0.41 | 0.4 | 0.39 | 0.4 | 0.03 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 132 | 0.401 | 0.381 | 0.42 | 0.401 | 0.05 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.3732 | 0.4167 | 0.4164 | 0.402 | 0.08 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.392 | 0.42 | 0.393 | 0.402 | 0.07 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 194 | 0.4068 | 0.4146 | 0.4098 | 0.41 | 0.28 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 217 | 0.4201 | 0.4102 | 0.4077 | 0.413 | 0.33 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 109 | 0.434 | 0.4 | 0.428 | 0.421 | 0.52 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 121 | 0.425 | 0.418 | 0.419 | 0.421 | 0.52 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 165 | 0.4253 | 0.4149 | 0.4271 | 0.422 | 0.56 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.4199 | 0.4226 | 0.4233 | 0.422 | 0.55 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.4207 | 0.4342 | 0.4143 | 0.423 | 0.57 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 120 | 0.4466 | 0.4046 | 0.4309 | 0.427 | 0.68 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.4134 | 0.4421 | 0.4313 | 0.429 | 0.71 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 183 | 0.4276 | 0.4291 | 0.4347 | 0.43 | 0.75 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 181 | 0.41 | 0.44 | 0.44 | 0.43 | 0.74 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, | 139 | 0.4557 | 0.4308 | 0.4064 | 0.431 | 0.76 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 138 | 0.43 | 0.41 | 0.49 | 0.443 | 1.05 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.4353 | 0.4554 | 0.4515 | 0.447 | 1.15 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.444 | 0.448 | 0.464 | 0.452 | 1.25 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 141 | 0.4844 | 0.3874 | 0.4902 | 0.454 | 1.3 | 0.3986 | 59 | 0.0425 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 172 | 0.4887 | 0.4619 | 0.4487 | 0.466 | 1.59 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 152 | 0.4683 | 0.4573 | 0.4732 | 0.466 | 1.59 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.4777 | 0.4706 | 0.4734 | 0.474 | 1.77 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 128 | 0.4827 | 0.4795 | 0.4949 | 0.486 | 2.05 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.514 | 0.5215 | 0.4907 | 0.509 | 2.59 | 0.3986 | 59 | 0.0425 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 190 | 0.6 | 0.59 | 0.6 | 0.597 | 4.66 | 0.3986 | 59 | 0.0425 | 0 |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 214 | 5.02 | 5.24 | 5.13 | 5.13 | -5.91 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 185 | 7.3863 | 7.7063 | 7.7416 | 7.61 | -3.46 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 155 | 9.5 | 9.2 | 9.04 | 9.25 | -1.85 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 9.194 | 9.2739 | 9.9796 | 9.48 | -1.62 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 187 | 9.54 | 9.83 | 9.56 | 9.64 | -1.46 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 10.9333 | 9.8089 | 8.6034 | 9.78 | -1.33 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.99 | Other | 132 | 10.273 | 9.611 | 10.505 | 10.1 | -0.98 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 152 | 10.0355 | 9.9699 | 10.2188 | 10.1 | -1.04 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 161 | 9.6619 | 10.3582 | 10.6665 | 10.2 | -0.89 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 10.3917 | 10.4025 | 10.1259 | 10.3 | -0.81 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 10.6155 | 10.6148 | 10.6188 | 10.6 | -0.5 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, | 139 | 10.7866 | 10.7009 | 10.2977 | 10.6 | -0.52 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 125 | 10.8 | 11.3 | 10.1 | 10.7 | -0.39 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 207 | 11.829 | 10.234 | 10.224 | 10.8 | -0.36 | 11.1278 | 42 | 1.0154 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 10.9 | 11.4 | 10.84 | 11 | -0.08 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 200 | 11.24 | 10.84 | 10.81 | 11 | -0.16 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 212 | 11.4166 | 11.0722 | 10.557 | 11 | -0.11 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 141 | 11.0626 | 10.8364 | 11.1758 | 11 | -0.1 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 191 | 10.9012 | 11.0677 | 11.0731 | 11 | -0.11 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 211 | 11.297 | 11.177 | 10.409 | 11 | -0.16 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 164 | 11.0158 | 11.0793 | 11.4064 | 11.2 | 0.04 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 194 | 11.0087 | 11.3065 | 11.1662 | 11.2 | 0.03 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 204 | 11.2244 | 11.2939 | 11.2831 | 11.3 | 0.14 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 215 | 10.6959 | 11.2224 | 12.257 | 11.4 | 0.26 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 11.6159 | 11.5276 | 11.2096 | 11.5 | 0.32 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 162 | 11.4674 | 11.4212 | 11.5119 | 11.5 | 0.33 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 199 | 11.3432 | 11.9145 | 11.2681 | 11.5 | 0.38 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 208 | 11.5618 | 11.6427 | 11.1656 | 11.5 | 0.32 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 11.89 | 11.1 | 11.76 | 11.6 | 0.45 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 108 | 11.77 | 11.55 | 11.8 | 11.7 | 0.57 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 11.7985 | 11.8379 | 11.8729 | 11.8 | 0.7 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 11.4077 | 12.1432 | 11.7009 | 11.8 | 0.61 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 12.3172 | 11.0891 | 12.3443 | 11.9 | 0.78 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 138 | 11.45 | 12.13 | 12.06 | 11.9 | 0.74 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 12.5077 | 11.5109 | 12.0415 | 12 | 0.88 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 11.8849 | 12.1962 | 11.8001 | 12 | 0.82 | 11.1278 | 42 | 1.0154 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 12.01 | 12.248 | 11.941 | 12.1 | 0.92 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 12.125 | 11.997 | 12.382 | 12.2 | 1.02 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 216 | 12.5833 | 12.3447 | 12.098 | 12.3 | 1.2 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.99 | Other | 183 | 12.6622 | 12.8536 | 12.4262 | 12.6 | 1.5 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 109 | 13.215 | 12.265 | 12.894 | 12.8 | 1.64 | 11.1278 | 42 | 1.0154 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 172 | 13.3497 | 12.6053 | 12.3136 | 12.8 | 1.6 | 11.1278 | 42 | 1.0154 | 0 |

Population of Lab Values

CBDV (%AR)

| CBDV (%AR) | 008.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 211 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 216 | <0.0481 | <0.0474 | <0.0461 | <0.0481 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 197 | <0.0498 | <0.0465 | <0.0472 | <0.0498 |  |  |  |  | 1 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, | 108 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| CBDV (%AR) | 008.99 | Other | 162 | <0.0100 | 0.0177 | 0.012 | 0.0132 | -1.48 | 0.0388 | 9 | 0.0173 | 0 |
| CBDV (%AR) | 008.99 | Other | 207 | 0.033 | 0.025 | 0.024 | 0.0273 | -0.66 | 0.0388 | 9 | 0.0173 | 0 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, | 214 | 0.03 | 0.03 | 0.03 | 0.03 | -0.51 | 0.0388 | 9 | 0.0173 | 0 |
| CBDV (%AR) | 008.99 | Other | 196 | 0.035 | 0.0339 | 0.0349 | 0.0346 | -0.24 | 0.0388 | 9 | 0.0173 | 0 |
| CBDV (%AR) | 008.99 | Other | 149 | 0.039 | 0.036 | 0.038 | 0.0377 | -0.07 | 0.0388 | 9 | 0.0173 | 0 |
| CBDV (%AR) | 008.99 | Other | 200 | 0.042 | 0.041 | 0.039 | 0.0407 | 0.11 | 0.0388 | 9 | 0.0173 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 183 | 0.0485 | 0.046 | 0.0471 | 0.0472 | 0.48 | 0.0388 | 9 | 0.0173 | 0 |
| CBDV (%AR) | 008.99 | Other | 132 | 0.049 | 0.05 | 0.063 | 0.054 | 0.88 | 0.0388 | 9 | 0.0173 | 0 |
| CBDV (%AR) | 008.99 | Other | 208 | 0.1159 | 0.1269 | 0.1214 | 0.121 | 4.77 | 0.0388 | 9 | 0.0173 | 0 |

Population of Lab Values

CBDVA (%AR)

| CBDVA (%AR) | 009.99 | Other | 216 | <0.0721 | <0.0711 | <0.0691 | <0.0721 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 197 | <0.0746 | <0.0698 | <0.0704 | <0.0746 |  |  |  |  | 1 |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, | 108 | 0.051 | 0.0431 | 0.0422 | 0.0454 | -1.1 | 0.0707 | 7 | 0.023 | 0 |
| CBDVA (%AR) | 009.99 | Other | 212 | 0.0524 | 0.0501 | 0.0526 | 0.0517 | -0.82 | 0.0707 | 7 | 0.023 | 0 |
| CBDVA (%AR) | 009.99 | Other | 196 | 0.0629 | 0.0637 | 0.0615 | 0.0627 | -0.35 | 0.0707 | 7 | 0.023 | 0 |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, | 214 | 0.07 | 0.07 | 0.07 | 0.07 | -0.03 | 0.0707 | 7 | 0.023 | 0 |
| CBDVA (%AR) | 009.99 | Other | 149 | 0.074 | 0.076 | 0.075 | 0.075 | 0.19 | 0.0707 | 7 | 0.023 | 0 |
| CBDVA (%AR) | 009.99 | Other | 183 | 0.0838 | 0.087 | 0.0837 | 0.0848 | 0.61 | 0.0707 | 7 | 0.023 | 0 |
| CBDVA (%AR) | 009.99 | Other | 208 | 0.1273 | 0.1944 | 0.11 | 0.144 | 3.18 | 0.0707 | 7 | 0.023 | 0 |

CBG (%AR)

| CBG (%AR) | 010.99 | Other | 212 | 0.0491 | 0.0499 | 0.0462 | 0.0484 | -2.36 | 0.1425 | 22 | 0.0398 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 197 | 0.087 | 0.0839 | 0.0873 | 0.0861 | -1.42 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.99 | Other | 216 | 0.0865 | 0.086 | 0.0853 | 0.0859 | -1.42 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.99 | Other | 141 | 0.116 | 0.0908 | 0.0991 | 0.102 | -1.02 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.99 | Other | 162 | 0.1244 | 0.0917 | 0.1351 | 0.117 | -0.64 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, | 108 | 0.1223 | 0.1184 | 0.1205 | 0.12 | -0.55 | 0.1425 | 22 | 0.0398 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 155 | 0.128 | 0.123 | 0.128 | 0.126 | -0.41 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.137 | 0.133 | 0.128 | 0.133 | -0.25 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.136 | 0.1361 | 0.1322 | 0.135 | -0.19 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.99 | Other | 211 | 0.146 | 0.145 | 0.117 | 0.136 | -0.16 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, | 214 | 0.14 | 0.14 | 0.14 | 0.14 | -0.06 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.99 | Other | 208 | 0.1501 | 0.1424 | 0.1411 | 0.145 | 0.05 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.99 | Other | 142 | 0.1505 | 0.153 | 0.1427 | 0.149 | 0.16 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.99 | Other | 183 | 0.1507 | 0.1552 | 0.157 | 0.154 | 0.3 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.99 | Other | 109 | 0.167 | 0.14 | 0.156 | 0.154 | 0.3 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.99 | Other | 194 | 0.1435 | 0.1587 | 0.1684 | 0.157 | 0.36 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.16 | 0.16 | 0.17 | 0.163 | 0.52 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.99 | Other | 204 | 0.1747 | 0.1756 | 0.1727 | 0.174 | 0.8 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.99 | Other | 200 | 0.189 | 0.179 | 0.178 | 0.182 | 0.99 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, | 125 | 0.189 | 0.172 | 0.202 | 0.188 | 1.13 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.99 | Other | 132 | 0.2 | 0.19 | 0.219 | 0.203 | 1.52 | 0.1425 | 22 | 0.0398 | 0 |
| CBG (%AR) | 010.99 | Other | 207 | 0.231 | 0.191 | 0.192 | 0.205 | 1.56 | 0.1425 | 22 | 0.0398 | 0 |
|  |  |  |  | CBGA (%AR) |  |  |  |  |  |  |  |  |
| CBGA (%AR) | 011.99 | Other | 141 | 0.0215 | 0.0293 | 0.0261 | 0.0256 | -5.03 | 0.2388 | 19 | 0.0424 | 0 |
| CBGA (%AR) | 011.99 | Other | 212 | 0.1794 | 0.1811 | 0.1728 | 0.178 | -1.44 | 0.2388 | 19 | 0.0424 | 0 |
| CBGA (%AR) | 011.99 | Other | 132 | 0.178 | 0.19 | 0.202 | 0.19 | -1.15 | 0.2388 | 19 | 0.0424 | 0 |
| CBGA (%AR) | 011.99 | Other | 207 | 0.225 | 0.191 | 0.189 | 0.202 | -0.88 | 0.2388 | 19 | 0.0424 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 106 | 0.2 | 0.2 | 0.21 | 0.203 | -0.84 | 0.2388 | 19 | 0.0424 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, | 125 | 0.207 | 0.238 | 0.227 | 0.224 | -0.35 | 0.2388 | 19 | 0.0424 | 0 |
| CBGA (%AR) | 011.99 | Other | 216 | 0.2298 | 0.2256 | 0.2252 | 0.227 | -0.28 | 0.2388 | 19 | 0.0424 | 0 |
| CBGA (%AR) | 011.99 | Other | 197 | 0.2318 | 0.2288 | 0.2235 | 0.228 | -0.25 | 0.2388 | 19 | 0.0424 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, | 214 | 0.24 | 0.23 | 0.23 | 0.233 | -0.13 | 0.2388 | 19 | 0.0424 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, | 108 | 0.2373 | 0.2323 | 0.2309 | 0.234 | -0.12 | 0.2388 | 19 | 0.0424 | 0 |
| CBGA (%AR) | 011.99 | Other | 162 | 0.2488 | 0.2708 | 0.208 | 0.243 | 0.09 | 0.2388 | 19 | 0.0424 | 0 |
| CBGA (%AR) | 011.99 | Other | 149 | 0.259 | 0.267 | 0.25 | 0.259 | 0.47 | 0.2388 | 19 | 0.0424 | 0 |
| CBGA (%AR) | 011.99 | Other | 196 | 0.262 | 0.2676 | 0.2594 | 0.263 | 0.57 | 0.2388 | 19 | 0.0424 | 0 |
| CBGA (%AR) | 011.99 | Other | 208 | 0.2691 | 0.2621 | 0.2683 | 0.266 | 0.65 | 0.2388 | 19 | 0.0424 | 0 |
| CBGA (%AR) | 011.99 | Other | 194 | 0.2604 | 0.2834 | 0.281 | 0.275 | 0.85 | 0.2388 | 19 | 0.0424 | 0 |
| CBGA (%AR) | 011.99 | Other | 204 | 0.2763 | 0.279 | 0.2762 | 0.277 | 0.91 | 0.2388 | 19 | 0.0424 | 0 |
| CBGA (%AR) | 011.99 | Other | 142 | 0.2822 | 0.2816 | 0.2676 | 0.277 | 0.9 | 0.2388 | 19 | 0.0424 | 0 |
| CBGA (%AR) | 011.99 | Other | 183 | 0.2615 | 0.261 | 0.3205 | 0.281 | 1 | 0.2388 | 19 | 0.0424 | 0 |
| CBGA (%AR) | 011.99 | Other | 109 | 0.32 | 0.286 | 0.307 | 0.304 | 1.55 | 0.2388 | 19 | 0.0424 | 0 |

Population of Lab Values

THCV (%AR)

| THCV (%AR) | 012.99 | Other | 200 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%AR) | 012.99 | Other | 211 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%AR) | 012.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%AR) | 012.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 216 | <0.0481 | <0.0474 | <0.0461 | <0.0481 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 197 | <0.0498 | <0.0465 | <0.0472 | <0.0498 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 208 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| THCV (%AR) | 012.02 | AOAC 2018.11, | 108 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| THCV (%AR) | 012.99 | Other | 183 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| THCV (%AR) | 012.99 | Other | 149 | 0.008 | 0.007 | 0.009 | 0.008 |  |  |  |  | 0 |
| THCV (%AR) | 012.99 | Other | 132 | 0.02 | 0.027 | 0.007 | 0.018 |  |  |  |  | 0 |
| THCV (%AR) | 012.02 | AOAC 2018.11, | 214 | 0.02 | 0.02 | 0.02 | 0.02 |  |  |  |  | 0 |
| THCV (%AR) | 012.99 | Other | 106 | 0.02 | 0.02 | 0.02 | 0.02 |  |  |  |  | 0 |
|  |  |  |  | Δ8-THC (%AR) |  |  |  |  |  |  |  |  |
| Δ8-THC (%AR) | 013.99 | Other | 149 | <0.0050 | <0.0050 | <0.0050 | <0.0050 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, | 214 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 200 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 211 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 141 | <0.0120 | <0.0120 | <0.0120 | <0.0120 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 207 | <0.0130 | <0.0130 | <0.0130 | <0.0130 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 216 | <0.0481 | <0.0474 | <0.0461 | <0.0481 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0498 | <0.0465 | <0.0472 | <0.0498 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 208 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, | 108 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ8-THC (%AR) | 013.99 | Other | 183 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | 0.03 | 0.03 | 0.03 | 0.03 |  |  |  |  | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.0638 | 0.0487 | 0.0582 | 0.0569 |  |  |  |  | 0 |

Population of Lab Values

CBC (%AR)

| CBC (%AR) | 014.02 | AOAC 2018.11, | 214 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 155 | 0.261 | 0.26 | 0.248 | 0.256 | -2.7 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.99 | Other | 212 | 0.2647 | 0.2647 | 0.2475 | 0.259 | -2.59 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.99 | Other | 208 | 0.2945 | 0.3118 | 0.2918 | 0.299 | -0.85 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.99 | Other | 132 | 0.301 | 0.284 | 0.321 | 0.302 | -0.74 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, | 103 | 0.301 | 0.304 | 0.3 | 0.302 | -0.75 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.99 | Other | 211 | 0.329 | 0.318 | 0.282 | 0.31 | -0.41 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.3 | 0.31 | 0.32 | 0.31 | -0.4 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.99 | Other | 207 | 0.342 | 0.296 | 0.298 | 0.312 | -0.31 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.317 | 0.32 | 0.312 | 0.316 | -0.13 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.99 | Other | 194 | 0.3112 | 0.3194 | 0.3177 | 0.316 | -0.14 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, | 125 | 0.313 | 0.319 | 0.316 | 0.316 | -0.14 | 0.3193 | 21 | 0.0233 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 197 | 0.3274 | 0.3181 | 0.3061 | 0.317 | -0.09 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.99 | Other | 216 | 0.324 | 0.3128 | 0.318 | 0.318 | -0.04 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.99 | Other | 162 | 0.3039 | 0.3251 | 0.3315 | 0.32 | 0.04 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.99 | Other | 142 | 0.3233 | 0.3269 | 0.3097 | 0.32 | 0.03 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.99 | Other | 183 | 0.3306 | 0.3351 | 0.3361 | 0.334 | 0.63 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.99 | Other | 204 | 0.337 | 0.3386 | 0.3385 | 0.338 | 0.81 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.3383 | 0.3512 | 0.3428 | 0.344 | 1.07 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, | 108 | 0.38 | 0.3481 | 0.3314 | 0.353 | 1.45 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.99 | Other | 200 | 0.371 | 0.348 | 0.342 | 0.354 | 1.48 | 0.3193 | 21 | 0.0233 | 0 |
| CBC (%AR) | 014.99 | Other | 109 | 0.384 | 0.349 | 0.375 | 0.369 | 2.15 | 0.3193 | 21 | 0.0233 | 0 |

Population of Lab Values

Cd (ug/g AR)

| Cd (ug/g AR) | 101.04 | ICP-MS | 141 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | 0.117 | 0.124 | 0.0994 | 0.113 | -2.27 | 0.163 | 9 | 0.0218 | 0 |
| Cd (ug/g AR) | 101.03 | ICP-OES | 132 | 0.132 |  |  | 0.132 |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 183 | 0.134 | 0.1385 | 0.139 | 0.137 | -1.18 | 0.163 | 9 | 0.0218 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 122 | 0.1563 | 0.1512 | 0.1572 | 0.155 | -0.37 | 0.163 | 9 | 0.0218 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 194 | 0.1647 | 0.1697 | 0.1552 | 0.163 | 0.01 | 0.163 | 9 | 0.0218 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 214 | 0.164 | 0.169 | 0.163 | 0.165 | 0.11 | 0.163 | 9 | 0.0218 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.163 | 0.173 | 0.172 | 0.169 | 0.29 | 0.163 | 9 | 0.0218 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.19 | 0.166 | 0.188 | 0.181 | 0.84 | 0.163 | 9 | 0.0218 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | 0.182 | 0.1878 | 0.1742 | 0.181 | 0.84 | 0.163 | 9 | 0.0218 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 211 | 0.204 | 0.178 | 0.17 | 0.184 | 0.96 | 0.163 | 9 | 0.0218 | 0 |

Population of Lab Values

As (ug/g AR)

| As (ug/g AR) | 102.04 | ICP-MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0990 | <0.0994 | <0.0945 | <0.0990 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 211 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 141 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 122 | 0.0469 | 0.0453 | 0.0462 | 0.0461 | -1.33 | 0.0649 | 6 | 0.0141 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | 0.055 | 0.056 | 0.06 | 0.057 | -0.56 | 0.0649 | 6 | 0.0141 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 214 | 0.051 | 0.068 | 0.077 | 0.0653 | 0.03 | 0.0649 | 6 | 0.0141 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | 0.088 | 0.05 | 0.06 | 0.066 | 0.08 | 0.0649 | 6 | 0.0141 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | 0.0756 | 0.0781 | 0.064 | 0.0726 | 0.54 | 0.0649 | 6 | 0.0141 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 194 | 0.0811 | 0.0906 | 0.075 | 0.0822 | 1.23 | 0.0649 | 6 | 0.0141 | 0 |
| As (ug/g AR) | 102.03 | ICP-OES | 132 | 0.4 |  |  | 0.4 |  |  |  |  | 1 |

Hg (ug/g AR)

| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 194 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 214 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 183 | <0.0120 | <0.0120 | <0.0120 | <0.0120 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0990 | <0.0994 | <0.0945 | <0.0990 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 141 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 211 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | 0.0074 | <0.0072 | 0.0073 | 0.0073 |  |  |  |  | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 122 | 0.007 | 0.0065 | 0.0068 | 0.0068 |  |  |  |  | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | 0.007 | 0.007 | 0.007 | 0.007 |  |  |  |  | 0 |

Population of Lab Values

Pb (ug/g AR)

| Pb (ug/g AR) | 104.04 | ICP-MS | 141 | <0.5000 | <0.5000 | <0.5000 | <0.5000 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 194 | 0.27 | 0.2564 | 0.2767 | 0.268 | -1.13 | 0.3205 | 10 | 0.0466 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | 0.3131 | 0.2644 | 0.2751 | 0.284 | -0.78 | 0.3205 | 10 | 0.0466 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 0.2836 | 0.3049 | 0.2798 | 0.289 | -0.67 | 0.3205 | 10 | 0.0466 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 211 | 0.314 | 0.316 | 0.277 | 0.302 | -0.39 | 0.3205 | 10 | 0.0466 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 122 | 0.3075 | 0.3088 | 0.2924 | 0.303 | -0.38 | 0.3205 | 10 | 0.0466 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.288 | 0.366 | 0.261 | 0.305 | -0.33 | 0.3205 | 10 | 0.0466 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | 0.36 | 0.296 | 0.34 | 0.332 | 0.25 | 0.3205 | 10 | 0.0466 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 214 | 0.33 | 0.402 | 0.337 | 0.356 | 0.77 | 0.3205 | 10 | 0.0466 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | 0.328 | 0.446 | 0.35 | 0.375 | 1.16 | 0.3205 | 10 | 0.0466 | 0 |
| Pb (ug/g AR) | 104.02 | furnace AA | 132 | 0.4 |  |  | 0.4 |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 183 | 0.517 | 0.481 | 0.4545 | 0.484 | 3.51 | 0.3205 | 10 | 0.0466 | 0 |

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
|  |  |  |  | Cu (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Cu (ug/g AR) | 105.03 | ICP-OES | 132 | 11.6 |  |  | 11.6 | 1 |  |  |  |  |  |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | 14.6 | 12.5 | 12.4 | 13.2 | 0 |  |  |  |  |  |
| Cu (ug/g AR) | 105.04 | ICP-MS | 214 | 14.327 | 14.16 | 14.08 | 14.2 | 0 |  |  |  |  |  |
| Cu (ug/g AR) | 105.04 | ICP-MS | 142 | 19.411 | 17.859 | 40.493 | 25.9 | 0 |  |  |  |  |  |
|  |  |  |  | Ni (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Ni (ug/g AR) | 106.03 | ICP-OES | 132 | 1.2 |  |  | 1.2 | 1 |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | 1.34 | 1.29 | 1.16 | 1.26 | 0 |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 214 | 1.287 | 1.255 | 1.287 | 1.28 | 0 |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 141 | 1.51 | 1.21 | 1.5 | 1.41 | 0 |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 142 | 1.728 | 1.364 | 1.389 | 1.49 | 0 |  |  |  |  |  |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 141 | <4.0000 | <4.0000 | <4.0000 | <4.0000 | 1 |  |  |  |  |  |
| Cr (ug/g AR) | 107.03 | ICP-OES | 132 | 0.36 |  |  | 0.36 | 1 |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 214 | 0.441 | 0.467 | 0.502 | 0.47 | 0 |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | 0.876 | 0.255 | 0.293 | 0.475 | 0 |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | 0.475 | 0.4911 | 0.494 | 0.487 | 0 |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | 0.514 | 0.535 | 0.431 | 0.493 | 0 |  |  |  |  |  |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 Result2 Result3 |  |  | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | <0.0990 | <0.0994 | <0.0945 | <0.0990 | 1 |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 214 | <0.1000 | <0.1000 | <0.1000 | <0.1000 | 1 |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 141 | <1.0000 | <1.0000 | <1.0000 | <1.0000 | 1 |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | 0.054 | 0.06 | <0.0010 | 0.0383 | 0 |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | 0.208 | 0.2 | 0.168 | 0.192 | 0 |  |  |  |  |
| Se (ug/g AR) | 108.03 | ICP-OES | 132 | 0.8 |  |  | 0.8 | 1 |  |  |  |  |

Population of Lab Values

Ag (ug/g AR)

| Ag (ug/g AR) | 109.04 | ICP-MS | 214 | <0.0500 <0.0500 <0.0500 | <0.0500 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| Ag (ug/g AR) | 109.03 | ICP-OES | 132 | 0.12 | 0.12 | 1 |

|  |  |  | Ba (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ba (ug/g AR) | 110.03 | ICP-OES | 132 | 20.8 |  |  | 20.8 | 1 |
| Ba (ug/g AR) | 110.04 | ICP-MS | 214 | 34.635 | 35.371 | 32.598 | 34.2 | 0 |

Zn (ug/g AR)

| Zn (ug/g AR) | 111.03 | ICP-OES | 132 | 44.4 |  |  | 44.4 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Zn (ug/g AR) | 111.04 | ICP-MS | 141 | 53.9 | 56 | 66.3 | 58.7 | 0 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 66.2 | 64.4 | 55.1 | 61.9 | 0 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 142 | 63.133 | 58.958 | 127.166 | 83.1 | 0 |

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev |  | Flag |
|  |  |  |  | Sb (ug/g AR) |  |  |  |  |  |  |  |  |  |  |
| Sb (ug/g AR) | 112.04 | ICP-MS | 196 | <0.0241 <0.0241 <0.0241 |  |  | <0.0241 |  |  |  |  |  |  | 1 |
| Sb (ug/g AR) | 112.04 | ICP-MS | 214 | 0.014 | 0.018 | 0.016 | 0.016 |  |  |  |  |  |  | 0 |
|  |  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |  |  |  |  |  |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | 0.0229 | 0.0312 | 0.0275 | 0.0272 | -0.79 | 0.0842 |  | 7 | 0.072 |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 142 | 0.0288 | 0.0266 | 0.0291 | 0.0282 | -0.78 | 0.0842 |  | 7 | 0.072 |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0303 | 0.029 | 0.0369 | 0.0321 | -0.73 | 0.0842 |  | 7 | 0.072 |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 194 | 0.0696 | 0.0666 | 0.0656 | 0.0673 | -0.24 | 0.0842 |  | 7 | 0.072 |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 108 | 0.0953 | 0.1149 | 0.1154 | 0.109 | 0.34 | 0.0842 |  | 7 | 0.072 |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 211 | 0.137 | 0.131 | 0.135 | 0.134 | 0.7 | 0.0842 |  | 7 | 0.072 |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 183 | 0.4216 | 0.4019 | 0.4331 | 0.419 | 4.65 | 0.0842 |  | 7 | 0.072 |  | 0 |
|  |  |  |  | beta-Caryophyllene (%AR) |  |  |  |  |  |  |  |  |  |  |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | 0.067 | 0.0797 | 0.0739 | 0.0735 | -1.04 | 0.1063 |  | 7 | 0.0315 |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0759 | 0.0804 | 0.0941 | 0.0835 | -0.72 | 0.1063 |  | 7 | 0.0315 |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 194 | 0.0926 | 0.0942 | 0.0939 | 0.0936 | -0.4 | 0.1063 |  | 7 | 0.0315 |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 211 | 0.097 | 0.095 | 0.095 | 0.0957 | -0.34 | 0.1063 |  | 7 | 0.0315 |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 108 | 0.1034 | 0.1185 | 0.1336 | 0.119 | 0.39 | 0.1063 |  | 7 | 0.0315 |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 142 | 0.1222 | 0.1287 | 0.1267 | 0.126 | 0.62 | 0.1063 |  | 7 | 0.0315 |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 183 | 0.9451 | 0.9086 | 0.859 | 0.904 | 25.3 | 0.1063 |  | 7 | 0.0315 |  | 0 |

Population of Lab Values

| Analyte | Code |  | Method | Lab Num | Result1 Result2 Result3 |  |  | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | (-)-Caryophyllene oxide (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-Caryophyllene oxide |  | 203.02 | GC,MS | 142 | 0.0077 | 0.0071 | 0.007 | 0.0073 | 0 |  |  |  |  |
| (-)-Caryophyllene oxide |  | 203.02 | GC,MS | 196 | 0.0106 | 0.0147 | 0.0119 | 0.0124 | 0 |  |  |  |  |
| (-)-Caryophyllene oxide |  | 203.02 | GC,MS | 194 | 0.0146 | 0.014 | 0.014 | 0.0142 | 0 |  |  |  |  |
| (-)-Caryophyllene oxide |  | 203.02 | GC,MS | 183 | 0.0179 | 0.0166 | 0.0188 | 0.0178 | 0 |  |  |  |  |
| (-)-Caryophyllene oxide |  | 203.02 | GC,MS | 211 | 0.03 | 0.027 | 0.028 | 0.0283 | 0 |  |  |  |  |

Population of Lab Values

Geraniol (%AR)

| Geraniol (%AR) | 204.02 | GC,MS | 142 | <0.0001 | <0.0001 | <0.0001 | <0.0001 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Geraniol (%AR) | 204.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 183 | 0 | 0 | 0 | 0 | 2 |

alpha-Humulene (%AR)

| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.0239 | 0.0252 | 0.0296 | 0.0262 | -0.83 | 0.0368 | 6 | 0.0127 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | 0.024 | 0.0285 | 0.0261 | 0.0262 | -0.83 | 0.0368 | 6 | 0.0127 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 194 | 0.0334 | 0.0333 | 0.0334 | 0.0334 | -0.27 | 0.0368 | 6 | 0.0127 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 142 | 0.0353 | 0.0373 | 0.0372 | 0.0366 | -0.01 | 0.0368 | 6 | 0.0127 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 211 | 0.043 | 0.042 | 0.042 | 0.0423 | 0.44 | 0.0368 | 6 | 0.0127 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 183 | 0.2945 | 0.2788 | 0.2661 | 0.28 | 19.11 | 0.0368 | 6 | 0.0127 | 0 |

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 142 | 0.0021 | 0.0019 | 0.0022 | 0.0021 | 0 |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 194 | 0.002 | 0.002 | 0.0021 | 0.002 | 0 |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | 0.0018 | 0.002 | 0.0019 | 0.0019 | 0 |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 183 | 0.02 | 0.0194 | 0.0202 | 0.0199 | 0 |  |  |  |  |  |
|  |  |  |  | Linalool (%AR) |  |  |  |  |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 211 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 196 | 0.0017 | 0.002 | 0.0019 | 0.0019 | 0 |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 142 | 0.0023 | 0.002 | 0.0022 | 0.0022 | 0 |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 194 | 0.0019 | 0.002 | 0.002 | 0.002 | 0 |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 183 | 0.013 | 0.0121 | 0.0133 | 0.0128 | 0 |  |  |  |  |  |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 142 | 0.005 | 0.0045 | 0.0054 | 0.005 | 0 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | 0.006 | 0.0065 | 0.006 | 0.0062 | 0 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 194 | 0.0063 | 0.0066 | 0.0064 | 0.0064 | 0 |  |  |  |  |  |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 211 | 0.006 | 0.006 | 0.006 | 0.006 |  |  |  |  | 0 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 183 | 0.0633 | 0.062 | 0.0635 | 0.0629 |  |  |  |  | 0 |
|  |  |  |  | Nopinene (%AR) |  |  |  |  |  |  |  |  |
| Nopinene (%AR) | 209.02 | GC,MS | 211 | <0.0050 <0.0050 <0.0050 |  |  | <0.0050 |  |  |  |  | 1 |
| Nopinene (%AR) | 209.02 | GC,MS | 183 | 0.0056 | 0.0058 | 0.0059 | 0.0058 |  |  |  |  | 0 |
|  |  |  |  | Ocimene (%AR) |  |  |  |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 |  |  |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 183 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Ocimene (%AR) | 210.04 | Other | 142 | 0.0003 | 0.0003 | <0.0001 | 0.0002 |  |  |  |  | 0 |
| Ocimene (%AR) | 210.02 | GC,MS | 194 | 0.0005 | 0.0006 | 0.0006 | 0.0006 |  |  |  |  | 0 |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | 0.0015 | 0.0017 | 0.0015 | 0.0016 |  |  |  |  | 0 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 142 | 0.0019 | 0.0017 | 0.0022 | 0.0019 |  |  |  |  | 0 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 194 | 0.0017 | 0.0017 | 0.0017 | 0.0017 |  |  |  |  | 0 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 183 | 0.0175 | 0.0171 | 0.0174 | 0.0173 |  |  |  |  | 0 |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 194 | 0.0007 | 0.0007 | 0.0007 | 0.0007 | 0 |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 142 | 0.0007 | 0.0007 | 0.0008 | 0.0007 | 0 |  |  |  |  |  |
|  |  |  |  | alpha-Terpinene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 142 | 0.0002 | 0.0001 | 0.0001 | 0.0001 | 0 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 183 | 0.0027 | 0.0027 | 0.0028 | 0.0027 | 0 |  |  |  |  |  |
|  |  |  |  | gamma-Terpinene (%AR) |  |  |  |  |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 142 | 0.0001 | 0.0001 | 0.0001 | 0.0001 | 0 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 183 | 0.002 | 0.002 | 0.002 | 0.002 | 0 |  |  |  |  |  |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
|  |  |  |  | alpha-Terpinolene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 142 | <0.0001 | <0.0001 | <0.0001 | <0.0001 |  |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 |  |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 183 | 0.0013 | 0.0013 | 0.0014 | 0.0013 |  |  |  |  |  | 0 |
|  |  |  |  | Moisture (%AR) |  |  |  |  |  |  |  |  |  |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 3.29 | 3.56 | 4.23 | 3.69 | -1.9 | 7.2386 |  | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.99 | Other | 132 | 4.67 | 4.65 | 5.85 | 5.06 | -1.17 | 7.2386 |  | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.72 | NIR | 187 | 5.13 | 5.02 | 5.15 | 5.1 | -1.15 | 7.2386 |  | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 5.57 | 5.68 | 5.75 | 5.67 | -0.84 | 7.2386 |  | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 109 | 6.06 | 5.2 | 5.98 | 5.75 | -0.8 | 7.2386 |  | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.99 | Other | 103 | 5.98 | 5.98 | 5.94 | 5.97 | -0.68 | 7.2386 |  | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.99 | Other | 142 | 5.8 | 5.85 | 6.32 | 5.99 | -0.67 | 7.2386 |  | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 212 | 5.84 | 6.01 | 6.35 | 6.07 | -0.63 | 7.2386 |  | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 204 | 6.09 | 6.09 | 6.09 | 6.09 | -0.62 | 7.2386 |  | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 196 | 6.21 | 6.67 | 5.94 | 6.27 | -0.52 | 7.2386 |  | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 209 | 7.0438 | 6.5126 | 6.7439 | 6.77 | -0.25 | 7.2386 |  | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 7.03 | 6.85 | 7.18 | 7.02 | -0.12 | 7.2386 |  | 24 | 1.862 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.99 | Other | 120 | 7.0215 | 7.5273 | 7.2225 | 7.26 | 0.01 | 7.2386 | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 183 | 7.49 | 7.29 | 7.74 | 7.51 | 0.14 | 7.2386 | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.99 | Other | 165 | 7.8982 | 7.8542 | 7.8137 | 7.86 | 0.33 | 7.2386 | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.72 | NIR | 138 | 8.1 | 8.1 | 7.7 | 7.97 | 0.39 | 7.2386 | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 182 | 7.75 | 8.62 | 8.13 | 8.17 | 0.5 | 7.2386 | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 8.49 | 8.89 | 7.72 | 8.37 | 0.61 | 7.2386 | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 211 | 8.1 | 8.7 | 9.11 | 8.64 | 0.75 | 7.2386 | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 8.8037 | 8.8804 | 8.6816 | 8.79 | 0.83 | 7.2386 | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.99 | Other | 105 | 9.33 | 9.19 | 9.14 | 9.22 | 1.06 | 7.2386 | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 208 | 9.77 | 9.34 | 10.02 | 9.71 | 1.33 | 7.2386 | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 172 | 10.248 | 10.248 | 10.248 | 10.2 | 1.62 | 7.2386 | 24 | 1.862 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 90.3699 | 90.5135 | 90.3626 | 90.4 | 44.67 | 7.2386 | 24 | 1.862 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 154 | 0.272 | 0.227 | 0.2655 | 0.255 | -2.21 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.60 | NIR | 187 | 0.27 | 0.27 | 0.28 | 0.273 | -1.62 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 118 | 0.292 | 0.299 | 0.285 | 0.292 | -1.01 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 204 | 0.2937 | 0.2954 | 0.2964 | 0.295 | -0.91 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.3045 | 0.2793 | 0.304 | 0.296 | -0.89 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, | 218 | 0.31 | 0.299 | 0.308 | 0.306 | -0.57 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, | 103 | 0.3042 | 0.3106 | 0.3094 | 0.308 | -0.5 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 105 | 0.271 | 0.328 | 0.332 | 0.31 | -0.42 | 0.3235 | 22 | 0.031 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 208 | 0.3092 | 0.3168 | 0.3054 | 0.31 | -0.42 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 142 | 0.3232 | 0.3234 | 0.3135 | 0.32 | -0.11 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 215 | 0.3166 | 0.3271 | 0.318 | 0.321 | -0.09 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 209 | 0.3116 | 0.3331 | 0.3372 | 0.327 | 0.12 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, | 210 | 0.333 | 0.323 | 0.329 | 0.328 | 0.16 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 211 | 0.331 | 0.335 | 0.325 | 0.33 | 0.22 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, | 199 | 0.3344 | 0.3419 | 0.3247 | 0.334 | 0.33 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 109 | 0.347 | 0.32 | 0.351 | 0.339 | 0.51 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 165 | 0.3445 | 0.334 | 0.3421 | 0.34 | 0.54 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 196 | 0.3528 | 0.3644 | 0.348 | 0.355 | 1.02 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 120 | 0.3727 | 0.3354 | 0.3609 | 0.356 | 1.06 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.3575 | 0.3595 | 0.3605 | 0.359 | 1.15 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.3518 | 0.3759 | 0.3663 | 0.365 | 1.33 | 0.3235 | 22 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 172 | 0.4067 | 0.3866 | 0.3788 | 0.391 | 2.17 | 0.3235 | 22 | 0.031 | 0 |
|  |  |  |  | Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 154 | 0.1017 | 0.0849 | 0.0944 | 0.0937 | -1.43 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, | 218 | 0.096 | 0.097 | 0.095 | 0.096 | -1.29 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 211 | 0.104 | 0.097 | 0.097 | 0.0993 | -1.08 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 105 | 0.0965 | 0.0917 | 0.114 | 0.101 | -0.99 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 142 | 0.1057 | 0.1052 | 0.0986 | 0.103 | -0.84 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 118 | 0.111 | 0.115 | 0.102 | 0.109 | -0.45 | 0.1165 | 20 | 0.0159 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 196 | 0.1092 | 0.1149 | 0.1054 | 0.11 | -0.42 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 208 | 0.1099 | 0.1137 | 0.1105 | 0.111 | -0.32 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, | 199 | 0.1146 | 0.1108 | 0.1079 | 0.111 | -0.34 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 209 | 0.1194 | 0.1152 | 0.1137 | 0.116 | -0.03 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 204 | 0.1179 | 0.1186 | 0.1191 | 0.119 | 0.13 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 120 | 0.1227 | 0.1165 | 0.1182 | 0.119 | 0.16 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 215 | 0.1091 | 0.1367 | 0.1213 | 0.122 | 0.37 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 109 | 0.132 | 0.115 | 0.119 | 0.122 | 0.34 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.1244 | 0.122 | 0.1286 | 0.125 | 0.53 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, | 103 | 0.1244 | 0.1308 | 0.1201 | 0.125 | 0.54 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.1308 | 0.1328 | 0.1323 | 0.132 | 0.97 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 165 | 0.1337 | 0.1325 | 0.1382 | 0.135 | 1.15 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.60 | NIR | 187 | 0.16 | 0.15 | 0.13 | 0.147 | 1.89 | 0.1165 | 20 | 0.0159 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 172 | 0.1571 | 0.146 | 0.1382 | 0.147 | 1.92 | 0.1165 | 20 | 0.0159 | 0 |
|  |  |  |  | CBD (%DW) |  |  |  |  |  |  |  |  |
| CBD (%DW) | 503.10 | Other LC-UV | 209 | 4.3202 | 4.3236 | 4.1362 | 4.26 | -1.69 | 5.447 | 19 | 0.7004 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 154 | 4.6497 | 3.8846 | 4.7237 | 4.42 | -1.47 | 5.447 | 19 | 0.7004 | 0 |
| CBD (%DW) | 503.60 | NIR | 187 | 4.66 | 4.65 | 4.71 | 4.67 | -1.1 | 5.447 | 19 | 0.7004 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 118 | 4.79 | 4.876 | 4.624 | 4.76 | -0.98 | 5.447 | 19 | 0.7004 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, | 218 | 4.921 | 4.843 | 4.899 | 4.89 | -0.8 | 5.447 | 19 | 0.7004 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 204 | 5.1255 | 5.1635 | 5.1628 | 5.15 | -0.42 | 5.447 | 19 | 0.7004 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%DW) | 503.10 | Other LC-UV | 189 | 5.2189 | 5.2557 | 5.2312 | 5.24 | -0.3 | 5.447 | 19 | 0.7004 | 0 |
| CBD (%DW) | 503.30 | Other LC-MS | 105 | 5.67 | 5.25 | 4.97 | 5.3 | -0.21 | 5.447 | 19 | 0.7004 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 215 | 5.2674 | 5.1653 | 5.7349 | 5.39 | -0.08 | 5.447 | 19 | 0.7004 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, | 103 | 5.4584 | 5.5339 | 5.4731 | 5.49 | 0.06 | 5.447 | 19 | 0.7004 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, | 210 | 5.669 | 5.528 | 5.515 | 5.57 | 0.18 | 5.447 | 19 | 0.7004 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 208 | 5.8451 | 5.8157 | 5.6279 | 5.76 | 0.45 | 5.447 | 19 | 0.7004 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 211 | 5.931 | 5.888 | 5.511 | 5.78 | 0.47 | 5.447 | 19 | 0.7004 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 142 | 5.9264 | 5.8882 | 5.7873 | 5.87 | 0.6 | 5.447 | 19 | 0.7004 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, | 199 | 5.7864 | 6.143 | 5.805 | 5.91 | 0.66 | 5.447 | 19 | 0.7004 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 196 | 5.9688 | 6.2139 | 5.9249 | 6.04 | 0.84 | 5.447 | 19 | 0.7004 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 5.8592 | 6.3368 | 6.146 | 6.11 | 0.95 | 5.447 | 19 | 0.7004 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 109 | 6.428 | 6.048 | 6.294 | 6.26 | 1.16 | 5.447 | 19 | 0.7004 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 172 | 6.8801 | 6.6349 | 6.5269 | 6.68 | 1.76 | 5.447 | 19 | 0.7004 | 0 |
|  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| CBDA (%DW) | 504.10 | Other LC-UV | 154 | 5.9725 | 4.9445 | 5.9502 | 5.62 | -1.81 | 7.1699 | 18 | 0.8559 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 118 | 6.11 | 6.509 | 5.754 | 6.12 | -1.22 | 7.1699 | 18 | 0.8559 | 0 |
| CBDA (%DW) | 504.60 | NIR | 187 | 6.16 | 6.5 | 6.13 | 6.26 | -1.06 | 7.1699 | 18 | 0.8559 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 209 | 6.3567 | 6.5595 | 6.127 | 6.35 | -0.96 | 7.1699 | 18 | 0.8559 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 6.6235 | 6.6647 | 6.6376 | 6.64 | -0.62 | 7.1699 | 18 | 0.8559 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, | 218 | 6.774 | 6.745 | 6.795 | 6.77 | -0.47 | 7.1699 | 18 | 0.8559 | 0 |
| CBDA (%DW) | 504.30 | Other LC-MS | 105 | 6.69 | 6.74 | 7.32 | 6.92 | -0.3 | 7.1699 | 18 | 0.8559 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%DW) | 504.10 | Other LC-UV | 204 | 6.9543 | 6.9902 | 6.9787 | 6.97 | -0.23 | 7.1699 | 18 | 0.8559 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 211 | 7.336 | 7.236 | 6.708 | 7.09 | -0.09 | 7.1699 | 18 | 0.8559 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 142 | 7.303 | 7.2471 | 7.0452 | 7.2 | 0.03 | 7.1699 | 18 | 0.8559 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 7.0939 | 7.4546 | 7.148 | 7.23 | 0.07 | 7.1699 | 18 | 0.8559 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, | 210 | 7.679 | 7.616 | 7.524 | 7.61 | 0.51 | 7.1699 | 18 | 0.8559 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, | 199 | 7.5847 | 7.905 | 7.4509 | 7.65 | 0.56 | 7.1699 | 18 | 0.8559 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 196 | 7.6431 | 7.8152 | 7.549 | 7.67 | 0.58 | 7.1699 | 18 | 0.8559 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 208 | 7.946 | 8.012 | 7.7321 | 7.9 | 0.85 | 7.1699 | 18 | 0.8559 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 215 | 7.2676 | 8.0374 | 8.6719 | 7.99 | 0.96 | 7.1699 | 18 | 0.8559 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 109 | 8.711 | 7.856 | 8.461 | 8.34 | 1.37 | 7.1699 | 18 | 0.8559 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 172 | 9.1151 | 8.4488 | 8.2015 | 8.59 | 1.66 | 7.1699 | 18 | 0.8559 | 0 |

Population of Lab Values

CBN (%DW)

| CBN (%DW) | 505.10 | Other LC-UV | 211 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%DW) | 505.02 | AOAC 2018.11, | 199 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| CBN (%DW) | 505.10 | Other LC-UV | 208 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| CBN (%DW) | 505.02 | AOAC 2018.11, | 210 | 0.017 | 0.017 | 0.02 | 0.018 | -1.06 | 0.0293 | 13 | 0.0106 | 0 |
| CBN (%DW) | 505.20 | Other LC-MS | 105 | 0.0254 | 0.017 | 0.0197 | 0.0207 | -0.81 | 0.0293 | 13 | 0.0106 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 142 | 0.023 | 0.0237 | 0.0227 | 0.0231 | -0.58 | 0.0293 | 13 | 0.0106 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 209 | 0.028 | 0.0207 | 0.0207 | 0.0231 | -0.58 | 0.0293 | 13 | 0.0106 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 196 | 0.0255 | 0.026 | 0.0241 | 0.0252 | -0.39 | 0.0293 | 13 | 0.0106 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 204 | 0.0254 | 0.0254 | 0.0255 | 0.0254 | -0.36 | 0.0293 | 13 | 0.0106 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%DW) | 505.10 | Other LC-UV | 109 | 0.025 | 0.023 | 0.027 | 0.025 | -0.4 | 0.0293 | 13 | 0.0106 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 154 | 0.0263 | 0.0263 | 0.0248 | 0.0258 | -0.33 | 0.0293 | 13 | 0.0106 | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, | 218 | 0.027 | 0.027 | 0.027 | 0.027 | -0.22 | 0.0293 | 13 | 0.0106 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0337 | 0.035 | 0.0349 | 0.0345 | 0.49 | 0.0293 | 13 | 0.0106 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 116 | 0.0469 | 0.0405 | 0.0401 | 0.0425 | 1.24 | 0.0293 | 13 | 0.0106 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | 0.0439 | 0.0483 | 0.0464 | 0.0462 | 1.59 | 0.0293 | 13 | 0.0106 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.0668 | 0.0674 | 0.0674 | 0.0672 | 3.56 | 0.0293 | 13 | 0.0106 | 0 |
|  |  |  |  | Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 154 | 0.3612 | 0.3015 | 0.3482 | 0.337 | -2.44 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 118 | 0.389 | 0.4 | 0.375 | 0.388 | -1.04 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, | 218 | 0.394 | 0.385 | 0.391 | 0.39 | -0.98 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 182 | 0.3973 | 0.3939 | 0.3886 | 0.393 | -0.89 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.3985 | 0.3812 | 0.4084 | 0.396 | -0.82 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 105 | 0.356 | 0.408 | 0.432 | 0.399 | -0.74 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 204 | 0.3971 | 0.3994 | 0.4009 | 0.399 | -0.73 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.60 | NIR | 187 | 0.41 | 0.4 | 0.39 | 0.4 | -0.71 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 208 | 0.4056 | 0.4166 | 0.4023 | 0.408 | -0.48 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 142 | 0.416 | 0.4156 | 0.4 | 0.411 | -0.42 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.4186 | 0.4035 | 0.422 | 0.415 | -0.3 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, | 103 | 0.4133 | 0.4253 | 0.4147 | 0.418 | -0.22 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 211 | 0.422 | 0.42 | 0.411 | 0.418 | -0.22 | 0.4257 | 25 | 0.0363 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 138 | 0.4342 | 0.3823 | 0.4533 | 0.423 | -0.07 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 215 | 0.4123 | 0.447 | 0.4244 | 0.428 | 0.06 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 209 | 0.4163 | 0.4341 | 0.4369 | 0.429 | 0.09 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, | 199 | 0.4349 | 0.4391 | 0.4193 | 0.431 | 0.15 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 109 | 0.462 | 0.421 | 0.455 | 0.446 | 0.56 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 196 | 0.4485 | 0.4652 | 0.4405 | 0.451 | 0.71 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 165 | 0.4618 | 0.4502 | 0.4633 | 0.458 | 0.9 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 120 | 0.4803 | 0.4376 | 0.4646 | 0.461 | 0.97 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.4609 | 0.4829 | 0.4791 | 0.474 | 1.34 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.4722 | 0.476 | 0.4766 | 0.475 | 1.35 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 172 | 0.5445 | 0.5146 | 0.5 | 0.52 | 2.59 | 0.4257 | 25 | 0.0363 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.5687 | 0.5761 | 0.5431 | 0.563 | 3.77 | 0.4257 | 25 | 0.0363 | 0 |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| Total CBD (%DW) | 507.10 | Other LC-UV | 154 | 9.8875 | 8.2209 | 9.9421 | 9.35 | -1.78 | 11.784 | 19 | 1.365 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 118 | 10.149 | 10.585 | 9.67 | 10.1 | -1.21 | 11.784 | 19 | 1.365 | 0 |
| Total CBD (%DW) | 507.60 | NIR | 187 | 10.06 | 10.35 | 10.08 | 10.2 | -1.19 | 11.784 | 19 | 1.365 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 11.5954 | 10.3996 | 9.1282 | 10.4 | -1.03 | 11.784 | 19 | 1.365 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, | 218 | 10.862 | 10.758 | 10.859 | 10.8 | -0.7 | 11.784 | 19 | 1.365 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 189 | 11.0277 | 11.1006 | 11.0523 | 11.1 | -0.53 | 11.784 | 19 | 1.365 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 204 | 11.2244 | 11.2939 | 11.2831 | 11.3 | -0.38 | 11.784 | 19 | 1.365 | 0 |
| Total CBD (%DW) | 507.30 | Other LC-MS | 105 | 11.5 | 11.2 | 11.4 | 11.4 | -0.31 | 11.784 | 19 | 1.365 | 0 |

Population of Lab Values

| Analyte Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 11.4991 | 11.4927 | 11.2059 | 11.4 | -0.28 | 11.784 | 19 | 1.365 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 211 | 12.365 | 12.234 | 11.394 | 12 | 0.16 | 11.784 | 19 | 1.365 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 142 | 12.3311 | 12.2438 | 11.9659 | 12.2 | 0.29 | 11.784 | 19 | 1.365 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 215 | 11.641 | 12.2141 | 13.3401 | 12.4 | 0.45 | 11.784 | 19 | 1.365 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 12.0806 | 12.8745 | 12.4188 | 12.5 | 0.49 | 11.784 | 19 | 1.365 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, | 199 | 12.4382 | 13.0757 | 12.3394 | 12.6 | 0.61 | 11.784 | 19 | 1.365 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 208 | 12.8138 | 12.8422 | 12.409 | 12.7 | 0.66 | 11.784 | 19 | 1.365 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 196 | 12.6718 | 13.0678 | 12.5453 | 12.8 | 0.72 | 11.784 | 19 | 1.365 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 138 | 13.5904 | 12.5073 | 13.0838 | 13.1 | 0.94 | 11.784 | 19 | 1.365 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 109 | 14.067 | 12.938 | 13.714 | 13.6 | 1.31 | 11.784 | 19 | 1.365 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 172 | 14.874 | 14.0446 | 13.7196 | 14.2 | 1.78 | 11.784 | 19 | 1.365 | 0 |

Population of Lab Values

CBDV (%DW)

| CBDV (%DW) | 508.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%DW) | 508.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBDV (%DW) | 508.99 | Other | 211 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBDV (%DW) | 508.99 | Other | 189 | 0.0294 | 0.0295 | 0.0301 | 0.0297 | 0 |
| CBDV (%DW) | 508.02 | AOAC 2018.11, | 210 | 0.036 | 0.034 | 0.038 | 0.036 | 0 |
| CBDV (%DW) | 508.99 | Other | 196 | 0.0373 | 0.0364 | 0.0371 | 0.0369 | 0 |
| CBDV (%DW) | 508.99 | Other | 154 | 0.0472 | 0.0391 | 0.0443 | 0.0435 | 0 |
| CBDV (%DW) | 508.99 | Other | 208 | 0.1285 | 0.14 | 0.1349 | 0.134 | 0 |

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev |  | Flag |
|  |  |  |  | CBDVA (%DW) |  |  |  |  |  |  |  |  |  |  |
| CBDVA (%DW) | 509.99 | Other | 154 | 0.0598 | 0.053 | 0.0589 | 0.0572 |  |  |  |  |  |  | 0 |
| CBDVA (%DW) | 509.02 | AOAC 2018.11, | 210 | 0.067 | 0.068 | 0.067 | 0.0673 |  |  |  |  |  |  | 0 |
| CBDVA (%DW) | 509.99 | Other | 196 | 0.067 | 0.0683 | 0.0654 | 0.0669 |  |  |  |  |  |  | 0 |
| CBDVA (%DW) | 509.99 | Other | 208 | 0.141 | 0.2145 | 0.1222 | 0.159 |  |  |  |  |  |  | 0 |
|  |  |  |  | CBG (%DW) |  |  |  |  |  |  |  |  |  |  |
| CBG (%DW) | 510.99 | Other | 105 | 0.151 | 0.132 | 0.121 | 0.135 | -1.4 | 0.157 |  | 10 | 0.016 |  | 0 |
| CBG (%DW) | 510.99 | Other | 196 | 0.1451 | 0.1458 | 0.1406 | 0.144 | -0.82 | 0.157 |  | 10 | 0.016 |  | 0 |
| CBG (%DW) | 510.02 | AOAC 2018.11, | 210 | 0.148 | 0.148 | 0.142 | 0.146 | -0.69 | 0.157 |  | 10 | 0.016 |  | 0 |
| CBG (%DW) | 510.99 | Other | 211 | 0.16 | 0.159 | 0.128 | 0.149 | -0.5 | 0.157 |  | 10 | 0.016 |  | 0 |
| CBG (%DW) | 510.99 | Other | 142 | 0.1598 | 0.1625 | 0.1523 | 0.158 | 0.08 | 0.157 |  | 10 | 0.016 |  | 0 |
| CBG (%DW) | 510.99 | Other | 154 | 0.1747 | 0.1404 | 0.1633 | 0.159 | 0.15 | 0.157 |  | 10 | 0.016 |  | 0 |
| CBG (%DW) | 510.99 | Other | 208 | 0.1664 | 0.1571 | 0.1569 | 0.16 | 0.2 | 0.157 |  | 10 | 0.016 |  | 0 |
| CBG (%DW) | 510.99 | Other | 109 | 0.177 | 0.147 | 0.166 | 0.163 | 0.4 | 0.157 |  | 10 | 0.016 |  | 0 |
| CBG (%DW) | 510.99 | Other | 204 | 0.1747 | 0.1756 | 0.1727 | 0.174 | 1.08 | 0.157 |  | 10 | 0.016 |  | 0 |
| CBG (%DW) | 510.99 | Other | 189 | 0.1817 | 0.1824 | 0.1834 | 0.183 | 1.59 | 0.157 |  | 10 | 0.016 |  | 0 |
|  |  |  |  | CBGA (%DW) |  |  |  |  |  |  |  |  |  |  |
| CBGA (%DW) | 511.99 | Other | 154 | 0.1993 | 0.167 | 0.1939 | 0.187 | -2.22 | 0.2717 |  | 9 | 0.0383 |  | 0 |
| CBGA (%DW) | 511.02 | AOAC 2018.11, | 210 | 0.239 | 0.242 | 0.209 | 0.23 | -1.09 | 0.2717 |  | 9 | 0.0383 |  | 0 |
| CBGA (%DW) | 511.99 | Other | 211 | 0.282 | 0.275 | 0.211 | 0.256 | -0.41 | 0.2717 |  | 9 | 0.0383 |  | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%DW) | 511.99 | Other | 189 | 0.2721 | 0.2749 | 0.2747 | 0.274 | 0.06 | 0.2717 | 9 | 0.0383 | 0 |
| CBGA (%DW) | 511.99 | Other | 204 | 0.2763 | 0.279 | 0.2762 | 0.277 | 0.14 | 0.2717 | 9 | 0.0383 | 0 |
| CBGA (%DW) | 511.99 | Other | 196 | 0.2793 | 0.2868 | 0.2758 | 0.281 | 0.23 | 0.2717 | 9 | 0.0383 | 0 |
| CBGA (%DW) | 511.99 | Other | 208 | 0.2982 | 0.2891 | 0.2982 | 0.295 | 0.61 | 0.2717 | 9 | 0.0383 | 0 |
| CBGA (%DW) | 511.99 | Other | 142 | 0.2996 | 0.2991 | 0.2857 | 0.295 | 0.6 | 0.2717 | 9 | 0.0383 | 0 |
| CBGA (%DW) | 511.99 | Other | 109 | 0.341 | 0.301 | 0.327 | 0.323 | 1.34 | 0.2717 | 9 | 0.0383 | 0 |

Population of Lab Values

THCV (%DW)

| THCV (%DW) | 512.99 | Other | 189 | <0.0001 | <0.0001 | <0.0001 | <0.0001 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%DW) | 512.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%DW) | 512.99 | Other | 211 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%DW) | 512.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%DW) | 512.02 | AOAC 2018.11, | 210 | <0.0140 | <0.0140 | <0.0140 | <0.0140 | 1 |
| THCV (%DW) | 512.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 | 1 |
| THCV (%DW) | 512.99 | Other | 208 | <0.0500 | <0.0500 | <0.0500 | <0.0500 | 1 |

Δ8-THC (%DW)

| Δ8-THC (%DW) | 513.99 | Other | 211 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ8-THC (%DW) | 513.02 | AOAC 2018.11, | 118 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ8-THC (%DW) | 513.02 | AOAC 2018.11, | 210 | <0.0140 | <0.0140 | <0.0140 | <0.0140 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 208 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 189 | 0.0114 | 0.0118 | 0.0118 | 0.0117 |  |  |  |  | 0 |

Population of Lab Values

CBC (%DW)

| CBC (%DW) | 514.99 | Other | 204 | 0.2815 | 0.2766 | 0.2781 | 0.279 | -1.48 | 0.3357 | 10 | 0.0385 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.99 | Other | 154 | 0.3042 | 0.2587 | 0.3012 | 0.288 | -1.24 | 0.3357 | 10 | 0.0385 | 0 |
| CBC (%DW) | 514.02 | AOAC 2018.11, | 103 | 0.3201 | 0.3233 | 0.3189 | 0.321 | -0.39 | 0.3357 | 10 | 0.0385 | 0 |
| CBC (%DW) | 514.99 | Other | 208 | 0.3264 | 0.344 | 0.3243 | 0.332 | -0.11 | 0.3357 | 10 | 0.0385 | 0 |
| CBC (%DW) | 514.99 | Other | 211 | 0.36 | 0.348 | 0.309 | 0.339 | 0.09 | 0.3357 | 10 | 0.0385 | 0 |
| CBC (%DW) | 514.99 | Other | 142 | 0.3432 | 0.3472 | 0.3306 | 0.34 | 0.12 | 0.3357 | 10 | 0.0385 | 0 |
| CBC (%DW) | 514.99 | Other | 189 | 0.343 | 0.3459 | 0.3445 | 0.344 | 0.23 | 0.3357 | 10 | 0.0385 | 0 |
| CBC (%DW) | 514.99 | Other | 105 | 0.37 | 0.344 | 0.352 | 0.355 | 0.51 | 0.3357 | 10 | 0.0385 | 0 |
| CBC (%DW) | 514.99 | Other | 196 | 0.3607 | 0.3763 | 0.3645 | 0.367 | 0.82 | 0.3357 | 10 | 0.0385 | 0 |
| CBC (%DW) | 514.99 | Other | 109 | 0.408 | 0.368 | 0.399 | 0.392 | 1.45 | 0.3357 | 10 | 0.0385 | 0 |

- Flag definitions: 1 (Lab Value not used because there were less than 2 numeric lab results), 2 (Lab Value not used because there were less than 2 numeric lab results greater than 0).

- Robust statistics performed to determine robust mean and Z scores only if there were 6 or more numeric lab values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.