Hemp Proficiency Testing

All Labs Trueness HM22NOV-1 (hemp)

Sample: HM22NOV-1 (hemp)

All Labs Trueness

Issue Date:

January 20, 2023

| Analyte | Code | Method | Lab Num |  | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Δ9-THC (%AR) |  |  |  |  |  |  |  |  |  |  |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 |  | 148 | 0.117 | 0.114 | 0.104 | 0.112 | -3.35 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 192 | 0.1205 | 0.1221 | 0.121 | 0.121 | -2.95 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.60 | NIR |  | 187 | 0.12 | 0.14 | 0.14 | 0.133 | -2.45 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 182 | 0.1572 | 0.1533 | 0.147 | 0.153 | -1.65 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 103 | 0.159 | 0.161 | 0.161 | 0.16 | -1.32 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 161 | 0.1657 | 0.1679 | 0.1617 | 0.165 | -1.12 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 113 | 0.1652 | 0.1648 | 0.1711 | 0.167 | -1.04 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.99 | Other |  | 132 | 0.175 | 0.171 | 0.165 | 0.17 | -0.91 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 196 | 0.1687 | 0.1794 | 0.1756 | 0.175 | -0.73 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS |  | 164 | 0.1779 | 0.1764 | 0.1696 | 0.175 | -0.73 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 197 | 0.1759 | 0.1813 | 0.1782 | 0.178 | -0.57 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 125 | 0.187 | 0.17 | 0.177 | 0.178 | -0.59 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 224 | 0.1866 | 0.1817 | 0.1785 | 0.182 | -0.41 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 200 | 0.183 | 0.18 | 0.187 | 0.183 | -0.36 | 0.192 | 40 | 0.024 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.177 | 0.189 | 0.182 | 0.183 | -0.39 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 225 | 0.1843 | 0.1956 | 0.1708 | 0.184 | -0.35 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.19 | 0.19 | 0.18 | 0.187 | -0.22 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 191 | 0.1922 | 0.1836 | 0.1854 | 0.187 | -0.21 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 204 | 0.193 | 0.19 | 0.1911 | 0.191 | -0.03 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.1856 | 0.1977 | 0.2 | 0.194 | 0.1 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 120 | 0.1978 | 0.1982 | 0.1987 | 0.198 | 0.26 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 142 | 0.198 | 0.202 | 0.197 | 0.199 | 0.29 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 172 | 0.193 | 0.201 | 0.205 | 0.2 | 0.32 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 155 | 0.19 | 0.2 | 0.216 | 0.202 | 0.42 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 183 | 0.202 | 0.208 | 0.199 | 0.203 | 0.46 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 170 | 0.2124 | 0.2039 | 0.194 | 0.203 | 0.48 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.202 | 0.2025 | 0.2045 | 0.203 | 0.46 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 194 | 0.2046 | 0.2101 | 0.1975 | 0.204 | 0.5 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 217 | 0.1803 | 0.2118 | 0.2187 | 0.204 | 0.48 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.216 | 0.2022 | 0.2076 | 0.209 | 0.69 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.2105 | 0.2124 | 0.2115 | 0.211 | 0.81 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.206 | 0.221 | 0.207 | 0.211 | 0.8 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 152 | 0.2235 | 0.2154 | 0.1935 | 0.211 | 0.78 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.205 | 0.2131 | 0.2167 | 0.212 | 0.82 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.2179 | 0.2142 | 0.2095 | 0.214 | 0.91 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.1989 | 0.2265 | 0.2199 | 0.215 | 0.96 | 0.192 | 40 | 0.024 | 0 |

Population of Lab Values

| Analyte Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.2151 | 0.2138 | 0.2151 | 0.215 | 0.94 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.24 | 0.23 | 0.24 | 0.237 | 1.86 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.2489 | 0.2288 | 0.2503 | 0.243 | 2.11 | 0.192 | 40 | 0.024 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.2622 | 0.2574 | 0.2713 | 0.264 | 2.99 | 0.192 | 40 | 0.024 | 0 |

Population of Lab Values

| Δ9-THCA (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0694 | <0.0739 | <0.0711 | <0.0694 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.99 | Other | 132 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.60 | NIR | 187 | 0.01 | <0.0100 | <0.0100 | 0.01 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 225 | 0.0497 | 0.0524 | 0.0466 | 0.0496 | -2 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | 0.0507 | 0.0516 | 0.0539 | 0.0521 | -1.75 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | 0.062 | 0.045 | 0.058 | 0.055 | -1.46 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 103 | 0.055 | 0.056 | 0.055 | 0.0553 | -1.43 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 161 | 0.0524 | 0.0589 | 0.0581 | 0.0565 | -1.32 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | 0.058 | 0.0583 | 0.0594 | 0.0586 | -1.11 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 120 | 0.065 | 0.057 | 0.0611 | 0.061 | -0.86 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.0628 | 0.0591 | 0.0642 | 0.062 | -0.76 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 113 | 0.0616 | 0.0666 | 0.0645 | 0.0642 | -0.55 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | 0.064 | 0.065 | 0.0625 | 0.0638 | -0.59 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 182 | 0.067 | 0.0657 | 0.059 | 0.0639 | -0.58 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 148 | 0.064 | 0.067 | 0.064 | 0.065 | -0.47 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 204 | 0.0643 | 0.0652 | 0.0665 | 0.0653 | -0.44 | 0.0697 | 37 | 0.0101 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 200 | 0.066 | 0.064 | 0.067 | 0.0657 | -0.4 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | 0.0675 | 0.0626 | 0.0686 | 0.0662 | -0.35 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.07 | 0.07 | 0.071 | 0.0703 | 0.06 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.0811 | 0.0676 | 0.0612 | 0.07 | 0.02 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 164 | 0.0678 | 0.072 | 0.0727 | 0.0708 | 0.11 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | 0.0686 | 0.0729 | 0.0707 | 0.0707 | 0.1 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0689 | 0.0693 | 0.0783 | 0.0722 | 0.24 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0.0722 | 0.0725 | 0.0723 | 0.0723 | 0.26 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 170 | 0.0611 | 0.0782 | 0.0763 | 0.0719 | 0.21 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.07 | 0.07 | 0.08 | 0.0733 | 0.36 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 191 | 0.077 | 0.0714 | 0.0719 | 0.0734 | 0.37 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 152 | 0.069 | 0.0811 | 0.0694 | 0.0732 | 0.34 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 194 | 0.075 | 0.0737 | 0.0703 | 0.073 | 0.32 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | 0.068 | 0.081 | 0.074 | 0.0743 | 0.46 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 155 | 0.076 | 0.075 | 0.071 | 0.074 | 0.42 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.0778 | 0.0773 | 0.0751 | 0.0767 | 0.7 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | 0.0776 | 0.0736 | 0.0832 | 0.0781 | 0.83 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 217 | 0.0726 | 0.0698 | 0.0904 | 0.0776 | 0.78 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.0822 | 0.0736 | 0.0769 | 0.0776 | 0.78 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | 0.0726 | 0.0834 | 0.0816 | 0.0792 | 0.94 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 183 | 0.085 | 0.088 | 0.083 | 0.0853 | 1.55 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0945 | 0.0979 | 0.0974 | 0.0966 | 2.67 | 0.0697 | 37 | 0.0101 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 172 | 0.101 | 0.103 | 0.094 | 0.0993 | 2.94 | 0.0697 | 37 | 0.0101 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 224 | 0.2738 | 0.243 | 0.2453 | 0.254 | 18.3 | 0.0697 | 37 | 0.0101 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 161 | 1.6398 | 1.6424 | 1.5972 | 1.63 | -1.42 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.99 | Other | 132 | 1.67 | 1.641 | 1.596 | 1.64 | -1.36 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 155 | 1.52 | 1.61 | 1.8 | 1.64 | -1.31 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 1.67 | 1.63 | 1.66 | 1.65 | -1.24 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 164 | 1.6482 | 1.6534 | 1.7512 | 1.68 | -1.03 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 103 | 1.796 | 1.645 | 1.662 | 1.7 | -0.91 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 1.6726 | 1.7454 | 1.7321 | 1.72 | -0.81 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.99 | Other | 183 | 1.863 | 1.53 | 1.806 | 1.73 | -0.7 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 1.71 | 1.8 | 1.72 | 1.74 | -0.63 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 1.832 | 1.7109 | 1.775 | 1.77 | -0.43 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 1.698 | 1.768 | 1.841 | 1.77 | -0.45 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 200 | 1.75 | 1.74 | 1.806 | 1.77 | -0.47 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 1.8225 | 1.8164 | 1.7058 | 1.78 | -0.36 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 1.8179 | 1.8133 | 1.8273 | 1.82 | -0.1 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 1.794 | 1.802 | 1.864 | 1.82 | -0.1 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 191 | 1.8717 | 1.8038 | 1.8055 | 1.83 | -0.05 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 1.8445 | 1.85 | 1.846 | 1.85 | 0.08 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 102 | 1.8234 | 1.7835 | 1.9669 | 1.86 | 0.16 | 1.8349 | 31 | 0.1464 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 204 | 1.882 | 1.8692 | 1.8701 | 1.87 | 0.27 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 1.8539 | 1.8779 | 1.874 | 1.87 | 0.23 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 172 | 1.837 | 2.01 | 1.89 | 1.91 | 0.53 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 152 | 1.8106 | 2.0231 | 1.92 | 1.92 | 0.57 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 1.9204 | 1.8867 | 1.9431 | 1.92 | 0.56 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 194 | 1.9511 | 1.9714 | 1.8809 | 1.93 | 0.68 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 1.94 | 1.98 | 1.93 | 1.95 | 0.79 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 1.9432 | 1.975 | 1.9641 | 1.96 | 0.86 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 1.9553 | 1.9849 | 1.9701 | 1.97 | 0.92 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 1.955 | 2.054 | 2.038 | 2.02 | 1.23 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 170 | 2.1422 | 2.1137 | 2.0862 | 2.11 | 1.91 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 113 | 2.376 | 2.4 | 2.42 | 2.4 | 3.85 | 1.8349 | 31 | 0.1464 | 0 |
| CBD (%AR) | 003.60 | NIR | 187 | 2.23 | 2.45 | 2.69 | 2.46 | 4.25 | 1.8349 | 31 | 0.1464 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.60 | NIR | 187 | 0.55 | 0.41 | <0.0100 | 0.323 | -5.01 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 0.6943 | 0.6901 | 0.655 | 0.68 | -2.36 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.99 | Other | 132 | 0.822 | 0.789 | 0.774 | 0.795 | -1.5 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 161 | 0.8457 | 0.8328 | 0.8374 | 0.839 | -1.17 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 155 | 0.835 | 0.874 | 0.954 | 0.888 | -0.81 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 0.885 | 0.912 | 0.883 | 0.893 | -0.76 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 0.869 | 0.911 | 0.9163 | 0.899 | -0.72 | 0.996 | 28 | 0.1342 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 200 | 0.904 | 0.88 | 0.958 | 0.914 | -0.61 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 103 | 0.957 | 0.92 | 0.954 | 0.944 | -0.39 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | 0.965 | 0.922 | 0.965 | 0.951 | -0.34 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 0.9598 | 0.956 | 0.9533 | 0.956 | -0.3 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 0.996 | 0.937 | 0.985 | 0.973 | -0.17 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 0.9639 | 0.9704 | 0.9886 | 0.974 | -0.16 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 152 | 0.9508 | 1.0284 | 1.0308 | 1 | 0.05 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 1.0072 | 1.0291 | 1.0016 | 1.01 | 0.12 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 0.967 | 1.018 | 1.044 | 1.01 | 0.1 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 1.0315 | 1.0345 | 1.0245 | 1.03 | 0.25 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 1.0278 | 1.0256 | 1.0267 | 1.03 | 0.23 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 204 | 1.0447 | 1.048 | 1.0423 | 1.04 | 0.37 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 1.03 | 1.07 | 1.03 | 1.04 | 0.35 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 172 | 1.032 | 1.045 | 1.067 | 1.05 | 0.39 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 191 | 1.1397 | 1.0762 | 1.0727 | 1.1 | 0.75 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 1.1298 | 1.0942 | 1.1041 | 1.11 | 0.84 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 194 | 1.1457 | 1.1481 | 1.0948 | 1.13 | 1 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.99 | Other | 183 | 1.14 | 1.193 | 1.163 | 1.17 | 1.26 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 1.162 | 1.1689 | 1.1994 | 1.18 | 1.35 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 164 | 1.1349 | 1.1907 | 1.2122 | 1.18 | 1.37 | 0.996 | 28 | 0.1342 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 1.8904 | 1.982 | 2.0366 | 1.97 | 7.25 | 0.996 | 28 | 0.1342 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num |  | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | CBN (%AR) |  |  |  |  |  |  |  |  |  |  |
| CBN (%AR) | 005.10 | Other LC-UV |  | 197 | <0.0694 | <0.0739 | <0.0711 | <0.0694 |  |  |  |  | 1 |
| CBN (%AR) | 005.99 | Other |  | 132 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 192 | 0.0344 | 0.0358 | 0.036 | 0.0354 | -2.37 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.30 | GC-FID |  | 192 | 0.0478 | 0.0474 | 0.0458 | 0.047 | -1.2 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 196 | 0.0465 | 0.0482 | 0.0493 | 0.048 | -1.1 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 142 | 0.0507 | 0.0507 | 0.0499 | 0.0504 | -0.85 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 144 | 0.0488 | 0.0503 | 0.0497 | 0.0496 | -0.94 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M |  | 139 | 0.0531 | 0.0496 | 0.0533 | 0.052 | -0.69 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 149 | 0.055 | 0.053 | 0.053 | 0.0537 | -0.53 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 194 | 0.0544 | 0.0548 | 0.0533 | 0.0542 | -0.48 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 204 | 0.0562 | 0.0557 | 0.0565 | 0.0561 | -0.28 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS |  | 102 | 0.0524 | 0.0582 | 0.0612 | 0.0573 | -0.16 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 200 | 0.056 | 0.056 | 0.058 | 0.0567 | -0.22 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 172 | 0.055 | 0.059 | 0.056 | 0.0567 | -0.22 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U |  | 199 | 0.0575 | 0.056 | 0.059 | 0.0575 | -0.14 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U |  | 125 | 0.0615 | 0.0587 | 0.06 | 0.0601 | 0.12 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 189 | 0.0633 | 0.0631 | 0.063 | 0.0631 | 0.43 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U |  | 107 | 0.0546 | 0.0628 | 0.0705 | 0.0626 | 0.38 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV |  | 106 | 0.07 | 0.06 | 0.06 | 0.0633 | 0.45 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.99 | Other |  | 183 | 0.064 | 0.064 | 0.062 | 0.0633 | 0.45 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.30 | GC-FID |  | 138 | 0.0627 | 0.0722 | 0.0672 | 0.0674 | 0.86 | 0.0589 | 23 | 0.0099 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.20 | Other LC-MS | 122 | 0.071 | 0.0713 | 0.0711 | 0.0711 | 1.24 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | 0.0701 | 0.0798 | 0.0672 | 0.0724 | 1.37 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.073 | 0.085 | 0.07 | 0.076 | 1.73 | 0.0589 | 23 | 0.0099 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 116 | 0.0812 | 0.0803 | 0.0817 | 0.0811 | 2.25 | 0.0589 | 23 | 0.0099 | 0 |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.60 | NIR | 187 | 0.13 | 0.14 | 0.14 | 0.137 | -3.09 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 192 | 0.1373 | 0.1527 | 0.1451 | 0.145 | -2.87 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 148 | 0.173 | 0.172 | 0.16 | 0.168 | -2.27 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.1759 | 0.1813 | 0.1782 | 0.178 | -2.01 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1916 | 0.1814 | 0.1747 | 0.183 | -1.9 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 182 | 0.2159 | 0.2108 | 0.1987 | 0.208 | -1.24 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.2072 | 0.2101 | 0.2092 | 0.209 | -1.23 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 132 | 0.221 | 0.214 | 0.206 | 0.214 | -1.1 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 161 | 0.2117 | 0.2195 | 0.2127 | 0.215 | -1.08 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.2132 | 0.2247 | 0.2228 | 0.22 | -0.93 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.2145 | 0.2305 | 0.2243 | 0.223 | -0.86 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 225 | 0.2278 | 0.2415 | 0.2117 | 0.227 | -0.76 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 164 | 0.2374 | 0.2396 | 0.2334 | 0.237 | -0.51 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 200 | 0.241 | 0.236 | 0.246 | 0.241 | -0.4 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.255 | 0.235 | 0.25 | 0.247 | -0.25 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.236 | 0.26 | 0.247 | 0.248 | -0.23 | 0.2565 | 47 | 0.0388 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.2389 | 0.2511 | 0.2555 | 0.249 | -0.21 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 204 | 0.2494 | 0.2472 | 0.2494 | 0.249 | -0.2 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.249 | 0.253 | 0.249 | 0.25 | -0.16 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.2517 | 0.2519 | 0.2457 | 0.25 | -0.17 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 120 | 0.2548 | 0.2482 | 0.2522 | 0.252 | -0.12 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 191 | 0.26 | 0.25 | 0.25 | 0.253 | -0.08 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.2581 | 0.2595 | 0.2593 | 0.259 | 0.06 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.2493 | 0.2708 | 0.2716 | 0.264 | 0.19 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 155 | 0.256 | 0.266 | 0.278 | 0.267 | 0.26 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.2729 | 0.2661 | 0.2657 | 0.268 | 0.3 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 194 | 0.2704 | 0.2747 | 0.2592 | 0.268 | 0.3 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.2544 | 0.2765 | 0.2773 | 0.269 | 0.33 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.2797 | 0.2678 | 0.2666 | 0.271 | 0.38 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 217 | 0.2439 | 0.2729 | 0.298 | 0.272 | 0.39 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.2707 | 0.2763 | 0.2735 | 0.273 | 0.44 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.2664 | 0.2805 | 0.2734 | 0.273 | 0.44 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 190 | 0.273 | 0.279 |  | 0.276 | 0.5 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.2881 | 0.2667 | 0.275 | 0.277 | 0.52 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 183 | 0.277 | 0.285 | 0.271 | 0.278 | 0.54 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.2732 | 0.2809 | 0.2826 | 0.279 | 0.58 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.276 | 0.288 | 0.275 | 0.28 | 0.6 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.2767 | 0.2931 | 0.2709 | 0.28 | 0.61 | 0.2565 | 47 | 0.0388 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 152 | 0.2925 | 0.2964 | 0.2628 | 0.284 | 0.7 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 172 | 0.2816 | 0.2913 | 0.2874 | 0.287 | 0.78 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.3 | 0.29 | 0.3 | 0.297 | 1.03 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.2979 | 0.2996 | 0.3005 | 0.299 | 1.1 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.3081 | 0.2837 | 0.3104 | 0.301 | 1.14 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 121 | 0.3 | 0.316 | 0.311 | 0.309 | 1.35 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.3227 | 0.3181 | 0.34 | 0.327 | 1.81 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 128 | 0.3548 | 0.2852 | 0.3535 | 0.331 | 1.92 | 0.2565 | 47 | 0.0388 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 138 | 0.485 | 0.515 | 0.49 | 0.497 | 6.18 | 0.2565 | 47 | 0.0388 | 0 |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.60 | NIR | 138 | 1.61 | 1.47 | 1.74 | 1.61 | -4.61 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 192 | 1.6368 | 1.659 | 1.6653 | 1.65 | -4.41 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.99 | Other | 132 | 2.392 | 2.334 | 2.275 | 2.33 | -1.5 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 161 | 2.3815 | 2.3728 | 2.3316 | 2.36 | -1.37 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 2.4314 | 2.4215 | 2.2802 | 2.38 | -1.31 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 155 | 2.25 | 2.37 | 2.64 | 2.42 | -1.13 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 2.51 | 2.43 | 2.5 | 2.48 | -0.87 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 2.4348 | 2.5443 | 2.5357 | 2.5 | -0.76 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 103 | 2.6353 | 2.4518 | 2.4987 | 2.53 | -0.66 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 2.49 | 2.6 | 2.49 | 2.53 | -0.67 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 200 | 2.543 | 2.512 | 2.646 | 2.57 | -0.5 | 2.6824 | 33 | 0.2332 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 2.5371 | 2.7267 | 2.5677 | 2.61 | -0.31 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 2.6596 | 2.6518 | 2.6633 | 2.66 | -0.1 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 2.642 | 2.695 | 2.779 | 2.71 | 0.1 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 107 | 2.4653 | 2.7864 | 2.911 | 2.72 | 0.16 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 164 | 2.6434 | 2.6977 | 2.8142 | 2.72 | 0.15 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 187 | 2.71 | 2.81 | 2.69 | 2.74 | 0.23 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 2.7491 | 2.7573 | 2.7445 | 2.75 | 0.29 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 2.8231 | 2.6707 | 2.7435 | 2.75 | 0.27 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.99 | Other | 183 | 2.863 | 2.577 | 2.826 | 2.76 | 0.31 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 2.7657 | 2.7377 | 2.8101 | 2.77 | 0.38 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 204 | 2.7982 | 2.7883 | 2.7842 | 2.79 | 0.46 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 191 | 2.87 | 2.75 | 2.75 | 2.79 | 0.46 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 2.698 | 2.914 | 2.796 | 2.8 | 0.52 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 172 | 2.7421 | 2.9265 | 2.8258 | 2.83 | 0.64 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 2.8274 | 2.8875 | 2.7979 | 2.84 | 0.67 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 2.8265 | 2.8775 | 2.8425 | 2.85 | 0.71 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 2.8567 | 2.8843 | 2.8705 | 2.87 | 0.81 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 2.8731 | 2.903 | 2.9259 | 2.9 | 0.94 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 152 | 2.7594 | 3.0514 | 2.9507 | 2.92 | 1.02 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 194 | 2.9559 | 2.9783 | 2.841 | 2.93 | 1.04 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 2.9876 | 3.1874 | 3.1682 | 3.11 | 1.85 | 2.6824 | 33 | 0.2332 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 2.961 | 3.2262 | 3.3319 | 3.17 | 2.1 | 2.6824 | 33 | 0.2332 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBDV (%AR) |  |  |  |  |  |  |  |  |
| CBDV (%AR) | 008.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 197 | <0.0463 | <0.0493 | <0.0474 | <0.0463 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 132 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.029 | 0.0258 | 0.0279 | 0.0276 |  |  |  |  | 0 |
| CBDV (%AR) | 008.99 | Other | 142 | 0.0294 | 0.0299 | 0.0288 | 0.0294 |  |  |  |  | 0 |
| CBDV (%AR) | 008.99 | Other | 200 | 0.031 | 0.031 | 0.032 | 0.0313 |  |  |  |  | 0 |
| CBDV (%AR) | 008.99 | Other | 183 | 0.034 | 0.036 | 0.034 | 0.0347 |  |  |  |  | 0 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.09 | 0.08 | 0.07 | 0.08 |  |  |  |  | 0 |
|  |  |  |  | CBDVA (%AR) |  |  |  |  |  |  |  |  |
| CBDVA (%AR) | 009.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  | 1 |
| CBDVA (%AR) | 009.99 | Other | 197 | <0.0463 | <0.0493 | <0.0474 | <0.0463 |  |  |  |  | 1 |
| CBDVA (%AR) | 009.99 | Other | 142 | 0.0263 | 0.0254 | 0.0255 | 0.0257 |  |  |  |  | 0 |
| CBDVA (%AR) | 009.99 | Other | 149 | 0.028 | <0.0250 | <0.0250 | 0.026 |  |  |  |  | 1 |
| CBDVA (%AR) | 009.99 | Other | 183 | 0.037 | 0.04 | 0.038 | 0.0383 |  |  |  |  | 0 |
|  |  |  |  | CBG (%AR) |  |  |  |  |  |  |  |  |
| CBG (%AR) | 010.99 | Other | 200 | 0.719 | 0.733 | 0.739 | 0.73 | -0.96 | 0.7956 | 15 | 0.0676 | 0 |
| CBG (%AR) | 010.99 | Other | 197 | 0.738 | 0.7251 | 0.7336 | 0.732 | -0.94 | 0.7956 | 15 | 0.0676 | 0 |
| CBG (%AR) | 010.99 | Other | 155 | 0.69 | 0.722 | 0.792 | 0.735 | -0.9 | 0.7956 | 15 | 0.0676 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 132 | 0.757 | 0.736 | 0.719 | 0.737 | -0.86 | 0.7956 | 15 | 0.0676 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.7161 | 0.7505 | 0.7506 | 0.739 | -0.84 | 0.7956 | 15 | 0.0676 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.736 | 0.716 | 0.774 | 0.742 | -0.79 | 0.7956 | 15 | 0.0676 | 0 |
| CBG (%AR) | 010.99 | Other | 142 | 0.763 | 0.782 | 0.755 | 0.767 | -0.43 | 0.7956 | 15 | 0.0676 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.79 | 0.81 | 0.76 | 0.787 | -0.13 | 0.7956 | 15 | 0.0676 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.795 | 0.804 | 0.838 | 0.812 | 0.25 | 0.7956 | 15 | 0.0676 | 0 |
| CBG (%AR) | 010.99 | Other | 172 | 0.83 | 0.856 | 0.787 | 0.824 | 0.43 | 0.7956 | 15 | 0.0676 | 0 |
| CBG (%AR) | 010.99 | Other | 204 | 0.8452 | 0.846 | 0.8498 | 0.847 | 0.76 | 0.7956 | 15 | 0.0676 | 0 |
| CBG (%AR) | 010.99 | Other | 183 | 0.856 | 0.845 | 0.853 | 0.851 | 0.82 | 0.7956 | 15 | 0.0676 | 0 |
| CBG (%AR) | 010.99 | Other | 194 | 0.8549 | 0.8732 | 0.834 | 0.854 | 0.86 | 0.7956 | 15 | 0.0676 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.8817 | 0.8791 | 0.8746 | 0.878 | 1.23 | 0.7956 | 15 | 0.0676 | 0 |
| CBG (%AR) | 010.99 | Other | 122 | 1.0097 | 0.9664 | 0.9881 | 0.988 | 2.85 | 0.7956 | 15 | 0.0676 | 0 |
|  |  |  |  | CBGA (%AR) |  |  |  |  |  |  |  |  |
| CBGA (%AR) | 011.99 | Other | 132 | 1.086 | 1.023 | 1.025 | 1.04 | -2.57 | 1.2139 | 13 | 0.066 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | 1.17 | 1.06 | 1.2 | 1.14 | -1.07 | 1.2139 | 13 | 0.066 | 0 |
| CBGA (%AR) | 011.99 | Other | 196 | 1.123 | 1.1592 | 1.1776 | 1.15 | -0.92 | 1.2139 | 13 | 0.066 | 0 |
| CBGA (%AR) | 011.99 | Other | 142 | 1.14 | 1.18 | 1.18 | 1.17 | -0.72 | 1.2139 | 13 | 0.066 | 0 |
| CBGA (%AR) | 011.99 | Other | 106 | 1.2 | 1.21 | 1.16 | 1.19 | -0.36 | 1.2139 | 13 | 0.066 | 0 |
| CBGA (%AR) | 011.99 | Other | 204 | 1.1929 | 1.2008 | 1.2001 | 1.2 | -0.24 | 1.2139 | 13 | 0.066 | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 1.2146 | 1.2104 | 1.2113 | 1.21 | -0.03 | 1.2139 | 13 | 0.066 | 0 |
| CBGA (%AR) | 011.99 | Other | 149 | 1.216 | 1.256 | 1.252 | 1.24 | 0.42 | 1.2139 | 13 | 0.066 | 0 |

Population of Lab Values

| Analyte Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 197 | 1.287 | 1.1793 | 1.273 | 1.25 | 0.49 | 1.2139 | 13 | 0.066 | 0 |
| CBGA (%AR) | 011.99 | Other | 172 | 1.283 | 1.303 | 1.209 | 1.26 | 0.77 | 1.2139 | 13 | 0.066 | 0 |
| CBGA (%AR) | 011.99 | Other | 194 | 1.2878 | 1.2971 | 1.2378 | 1.27 | 0.91 | 1.2139 | 13 | 0.066 | 0 |
| CBGA (%AR) | 011.99 | Other | 122 | 1.2842 | 1.2797 | 1.2819 | 1.28 | 1.03 | 1.2139 | 13 | 0.066 | 0 |
| CBGA (%AR) | 011.99 | Other | 183 | 1.288 | 1.29 | 1.304 | 1.29 | 1.21 | 1.2139 | 13 | 0.066 | 0 |

Population of Lab Values

|  |  |  | THCV (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%AR) | 012.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 | 1 |
| THCV (%AR) | 012.99 | Other | 149 | <0.0250 | <0.0250 | <0.0250 | <0.0250 | 1 |
| THCV (%AR) | 012.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 | 1 |
| THCV (%AR) | 012.99 | Other | 197 | <0.0463 | <0.0493 | <0.0474 | <0.0463 | 1 |
| THCV (%AR) | 012.99 | Other | 132 | <0.1000 | <0.1000 | <0.1000 | <0.1000 | 1 |
| THCV (%AR) | 012.99 | Other | 200 | 0.02 | 0.02 | 0.021 | 0.0203 | 0 |
| THCV (%AR) | 012.99 | Other | 183 | 0.021 | 0.023 | 0.021 | 0.0217 | 0 |
| THCV (%AR) | 012.99 | Other | 189 | 0.0574 | 0.0567 | 0.0343 | 0.0495 | 0 |
| THCV (%AR) | 012.99 | Other | 142 | 0.0291 | 0.0262 | 0.298 | 0.118 | 0 |

|  |  |  | Δ8-THC (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 | <0.0022 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 200 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 102 | <0.0197 | <0.0095 | <0.0199 | <0.0197 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0463 | <0.0493 | <0.0474 | <0.0463 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 183 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0085 | 0.0079 | 0.0072 | 0.0079 |  |  |  |  | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.0492 | 0.054 | 0.0535 | 0.0522 |  |  |  |  | 0 |

Population of Lab Values

| CBC (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 132 | 0.163 | 0.16 | 0.154 | 0.159 | -1.55 | 0.1853 | 15 | 0.0169 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.1595 | 0.1645 | 0.1629 | 0.162 | -1.36 | 0.1853 | 15 | 0.0169 | 0 |
| CBC (%AR) | 014.99 | Other | 142 | 0.176 | 0.178 | 0.172 | 0.175 | -0.59 | 0.1853 | 15 | 0.0169 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.175 | 0.1754 | 0.182 | 0.177 | -0.46 | 0.1853 | 15 | 0.0169 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.178 | 0.175 | 0.179 | 0.177 | -0.47 | 0.1853 | 15 | 0.0169 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.173 | 0.181 | 0.179 | 0.178 | -0.45 | 0.1853 | 15 | 0.0169 | 0 |
| CBC (%AR) | 014.99 | Other | 155 | 0.176 | 0.177 | 0.185 | 0.179 | -0.35 | 0.1853 | 15 | 0.0169 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 103 | 0.17 | 0.173 | 0.196 | 0.18 | -0.33 | 0.1853 | 15 | 0.0169 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.19 | 0.19 | 0.18 | 0.187 | 0.08 | 0.1853 | 15 | 0.0169 | 0 |
| CBC (%AR) | 014.99 | Other | 194 | 0.1931 | 0.1959 | 0.1856 | 0.192 | 0.37 | 0.1853 | 15 | 0.0169 | 0 |
| CBC (%AR) | 014.99 | Other | 204 | 0.1991 | 0.1958 | 0.2003 | 0.198 | 0.77 | 0.1853 | 15 | 0.0169 | 0 |
| CBC (%AR) | 014.99 | Other | 172 | 0.193 | 0.209 | 0.194 | 0.199 | 0.79 | 0.1853 | 15 | 0.0169 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 183 | 0.206 | 0.206 | 0.197 | 0.203 | 1.04 | 0.1853 | 15 | 0.0169 | 0 |
| CBC (%AR) | 014.99 | Other | 200 | 0.2 | 0.204 | 0.208 | 0.204 | 1.1 | 0.1853 | 15 | 0.0169 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.2086 | 0.2087 | 0.2087 | 0.209 | 1.38 | 0.1853 | 15 | 0.0169 | 0 |

Population of Lab Values

Cd (ug/g AR)

| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 224 | <0.2225 | <0.2061 | <0.2166 | <0.2225 |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 183 | 0.097 | 0.095 | 0.092 | 0.0947 | -1.5 | 0.1262 | 7 | 0.0211 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | 0.118 | 0.107 | 0.111 | 0.112 | -0.68 | 0.1262 | 7 | 0.0211 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.1251 | 0.1274 | 0.1274 | 0.127 | 0.02 | 0.1262 | 7 | 0.0211 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.135 | 0.136 | 0.117 | 0.129 | 0.15 | 0.1262 | 7 | 0.0211 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 194 | 0.1322 | 0.1286 | 0.1273 | 0.129 | 0.15 | 0.1262 | 7 | 0.0211 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | 0.136 | 0.1459 | 0.1357 | 0.139 | 0.62 | 0.1262 | 7 | 0.0211 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.165 | 0.15 | 0.142 | 0.152 | 1.24 | 0.1262 | 7 | 0.0211 | 0 |

|  |  |  | As (ug/g AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0977 | <0.0956 | <0.0986 | <0.0977 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 183 | 0.07 | 0.073 | 0.077 | 0.0733 | -1.3 | 0.0981 | 7 | 0.019 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.0797 | 0.0877 | 0.0975 | 0.0883 | -0.52 | 0.0981 | 7 | 0.019 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | 0.086 | 0.096 | 0.093 | 0.0917 | -0.34 | 0.0981 | 7 | 0.019 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | 0.115 | 0.091 | 0.083 | 0.0963 | -0.09 | 0.0981 | 7 | 0.019 | 0 |

| Analyte Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | 0.101 | 0.0944 | 0.1 | 0.0985 | 0.02 | 0.0981 | 7 | 0.019 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 194 | 0.1197 | 0.1254 | 0.1012 | 0.115 | 0.91 | 0.0981 | 7 | 0.019 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 224 | 0.1377 | 0.1176 | 0.1143 | 0.123 | 1.32 | 0.0981 | 7 | 0.019 | 0 |

Population of Lab Values

Hg (ug/g AR)

| Hg (ug/g AR) | 103.04 | ICP-MS | 194 | <0.0200 | <0.0200 | <0.0200 | <0.0200 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 224 | <0.0222 | <0.0206 | <0.0217 | <0.0222 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | <0.0500 | <0.0500 | <0.0500 | <0.0500 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0977 | <0.0956 | <0.0986 | <0.0977 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | 0.0083 | 0.0079 | 0.0085 | 0.0082 | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 102 | 0.0095 | 0.0091 | 0.0088 | 0.0091 | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | 0.011 | 0.009 | 0.009 | 0.0097 | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 183 | 0.049 | 0.045 | 0.041 | 0.045 | 0 |

|  |  |  | Pb (ug/g AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | 0.464 | 0.524 | 0.481 | 0.49 | -1.2 | 0.6152 | 9 | 0.105 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 194 | 0.5172 | 0.4644 | 0.5176 | 0.5 | -1.1 | 0.6152 | 9 | 0.105 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | 0.502 | 0.544 | 0.548 | 0.531 | -0.8 | 0.6152 | 9 | 0.105 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 183 | 0.569 | 0.558 | 0.667 | 0.598 | -0.16 | 0.6152 | 9 | 0.105 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | 0.5526 | 0.6543 | 0.6269 | 0.611 | -0.04 | 0.6152 | 9 | 0.105 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.7783 | 0.6324 | 0.6436 | 0.685 | 0.66 | 0.6152 | 9 | 0.105 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 0.7167 | 0.6857 | 0.6594 | 0.687 | 0.69 | 0.6152 | 9 | 0.105 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 224 | 0.8215 | 0.7051 | 0.5558 | 0.694 | 0.75 | 0.6152 | 9 | 0.105 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.875 | 0.641 | 0.707 | 0.741 | 1.2 | 0.6152 | 9 | 0.105 | 0 |
|  |  |  |  | Cu (ug/g AR) |  |  |  |  |  |  |  |  |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | 8.4 | 7.81 | 7.92 | 8.04 |  |  |  |  | 0 |
| Cu (ug/g AR) | 105.04 | ICP-MS | 142 | 13.62 | 14.2 | 12.7 | 13.5 |  |  |  |  | 0 |
|  |  |  |  | Ni (ug/g AR) |  |  |  |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | 1.34 | 1.26 | 1.3 | 1.3 |  |  |  |  | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 142 | 1.965 | 1.3 | 0.965 | 1.41 |  |  |  |  | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 102 | 2.9943 | 2.8617 | 2.961 | 2.94 |  |  |  |  | 0 |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | 0.7 | 0.643 | 0.621 | 0.655 |  |  |  |  | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | 0.7828 | 0.8679 | 0.7859 | 0.812 |  |  |  |  | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | 0.875 | 0.877 | 0.812 | 0.855 |  |  |  |  | 0 |
|  |  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | 0.108 | 0.085 | 0.078 | 0.0903 |  |  |  |  | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 102 | 0.1157 | 0.1133 | 0.1107 | 0.113 |  |  |  |  | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | 0.1269 | 0.1376 | 0.1184 | 0.128 |  |  |  |  | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | 0.138 | 0.129 | 0.135 | 0.134 |  |  |  |  | 0 |
|  |  |  |  | Ag (ug/g AR) |  |  |  |  |  |  |  |  |
| Ag (ug/g AR) | 109.04 | ICP-MS | 142 | <0.0500 <0.0500 <0.0500 |  |  | <0.0500 |  |  |  |  | 1 |
| Ag (ug/g AR) | 109.04 | ICP-MS | 102 | 0.0049 | 0.0052 | 0.0045 | 0.0049 |  |  |  |  | 0 |
|  |  |  |  | Ba (ug/g AR) |  |  |  |  |  |  |  |  |
| Ba (ug/g AR) | 110.04 | ICP-MS | 142 | 52.56 | 53.3 | 49.5 | 51.8 |  |  |  |  | 0 |
|  |  |  |  | Zn (ug/g AR) |  |  |  |  |  |  |  |  |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 59.6 | 55.9 | 56.8 | 57.4 |  |  |  |  | 0 |
|  |  |  |  | Sb (ug/g AR) |  |  |  |  |  |  |  |  |
| Sb (ug/g AR) | 112.04 | ICP-MS | 196 | <0.0241 <0.0241 <0.0241 |  |  | <0.0241 |  |  |  |  | 1 |
| Sb (ug/g AR) | 112.04 | ICP-MS | 102 | 0.0098 | 0.0131 | 0.0127 | 0.0119 |  |  |  |  | 0 |
|  |  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |  |  |  |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | 0.0155 | 0.0174 | 0.0153 | 0.0161 |  |  |  |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0226 | 0.0239 | 0.0238 | 0.0234 |  |  |  |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 194 | 0.0325 | 0.0325 | 0.0328 | 0.0326 |  |  |  |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 183 | 0.056 | 0.055 | 0.061 | 0.0573 |  |  |  |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.01 | GC,FID | 142 | 0.0617 | 0.0547 | 0.0594 | 0.0586 |  |  |  |  | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | beta-Caryophyllene (%AR) |  |  |  |  |  |  |  |  |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | 0.0136 | 0.0135 | 0.0117 | 0.0129 |  |  |  |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 194 | 0.0141 | 0.013 | 0.0138 | 0.0136 |  |  |  |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0171 | 0.0191 | 0.0177 | 0.018 |  |  |  |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 183 | 0.016 | 0.02 | 0.019 | 0.0183 |  |  |  |  | 0 |
| beta-Caryophyllene (% | 202.01 | GC,FID | 142 | 0.0229 | 0.0202 | 0.0224 | 0.0218 |  |  |  |  | 0 |
|  |  |  | (-)-Caryophyllene oxide (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | 0.0049 | 0.0057 | 0.0059 | 0.0055 |  |  |  |  | 0 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 183 | 0.007 | 0.011 | 0.009 | 0.009 |  |  |  |  | 0 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 194 | 0.0108 | 0.0099 | 0.0104 | 0.0104 |  |  |  |  | 0 |
| (-)-Caryophyllene oxide | 203.01 | GC,FID | 142 | 0.0134 | 0.0112 | 0.0133 | 0.0126 |  |  |  |  | 0 |
|  |  |  |  | Geraniol (%AR) |  |  |  |  |  |  |  |  |
| Geraniol (%AR) | 204.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | alpha-Humulene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | 0.0062 | 0.0062 | 0.0054 | 0.0059 |  |  |  |  | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 183 | 0.006 | 0.006 | 0.007 | 0.0063 |  |  |  |  | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 194 | 0.0072 | 0.0067 | 0.007 | 0.007 |  |  |  |  | 0 |
| alpha-Humulene (%AR) | 205.01 | GC,FID | 142 | 0.0134 | 0.0119 | 0.0132 | 0.0128 |  |  |  |  | 0 |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | Linalool (%AR) |  |  |  |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  | 1 |
| Linalool (%AR) | 207.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) |  | 208.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |  |  |  |  |
| beta-Myrcene (%AR) |  | 208.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |
| beta-Myrcene (%AR) |  | 208.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |
| beta-Myrcene (%AR) |  | 208.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |
| beta-Myrcene (%AR) |  | 208.02 | GC,MS | 194 | 0.0026 | 0.0026 | 0.0025 | 0.0026 | 0 |  |  |  |  |

Population of Lab Values

Nopinene (%AR)

Nopinene (%AR)

209.01	GC,FID

142

<0.0010  <0.0010	<0.0010	<0.0010	1

Ocimene (%AR)

| Ocimene (%AR) | 210.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ocimene (%AR) | 210.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

|  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |
| alpha-Pinene (%AR) | 211.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 |  |  | <0.0100 | 1 |  |  |  |  |  |
|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
|  |  |  |  | alpha-Terpinene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
|  |  |  |  | gamma-Terpinene (%AR) |  |  |  |  |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |

Population of Lab Values

| Analyte | Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | alpha-Terpinolene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Terpinolene (%A |  | 215.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |
| alpha-Terpinolene (%A |  | 215.01 | GC,FID | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |  |  |  |  |
| alpha-Terpinolene (%A |  | 215.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |
| alpha-Terpinolene (%A |  | 215.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |
| alpha-Terpinolene (%A |  | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |

Population of Lab Values

| Moisture (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 2.887 | 2.8849 | 2.902 | 2.89 | -2.17 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 3.83 | 3.45 | 3.41 | 3.56 | -1.78 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 189 | 4.894 | 4.894 | 4.894 | 4.89 | -1.02 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.99 | Other | 103 | 4.94 | 4.59 | 5.22 | 4.92 | -1 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.99 | Other | 142 | 5 | 5 | 5 | 5 | -0.95 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 5.21 | 5.25 | 5.2 | 5.22 | -0.83 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 204 | 6.12 | 6.12 | 6.12 | 6.12 | -0.31 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 6.39 | 6.16 | 5.87 | 6.14 | -0.3 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.99 | Other | 102 | 6.6 | 6 | 6.5 | 6.37 | -0.17 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 172 | 6.566 | 6.412 | 6.518 | 6.5 | -0.09 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.99 | Other | 120 | 7.3324 | 6.2316 | 6.3837 | 6.65 | 0 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 196 | 7.13 | 6.43 | 6.47 | 6.68 | 0.01 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 182 | 6.125 | 6.745 | 7.16 | 6.68 | 0.01 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 183 | 7.2 | 7.1 | 7.15 | 7.15 | 0.28 | 6.6561 | 22 | 1.7359 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.72 | NIR | 138 | 7.45 | 7.25 | 7.15 | 7.28 | 0.36 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 194 | 7.77 | 7.4 | 7.73 | 7.63 | 0.56 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.72 | NIR | 187 | 7.1 | 7.4 | 8.5 | 7.67 | 0.58 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.99 | Other | 224 | 9.0184 | 6.7916 | 8.5429 | 8.12 | 0.84 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.99 | Other | 105 | 8.42 | 8.31 | 8.32 | 8.35 | 0.98 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 8.8079 | 8.6485 | 8.7914 | 8.75 | 1.21 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 162 | 8.57 | 9.8 | 8.91 | 9.09 | 1.4 | 6.6561 | 22 | 1.7359 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 8.949 | 8.9837 | 9.4486 | 9.13 | 1.42 | 6.6561 | 22 | 1.7359 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 210 | 0.021 | 0.018 | 0.025 | 0.0213 | -4.72 | 0.1961 | 13 | 0.037 | 0 |
| Δ9-THC (%DW) | 501.60 | NIR | 187 | 0.13 | 0.15 | 0.15 | 0.143 | -1.42 | 0.1961 | 13 | 0.037 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 103 | 0.1673 | 0.1687 | 0.1611 | 0.166 | -0.82 | 0.1961 | 13 | 0.037 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 162 | 0.18 | 0.1682 | 0.1842 | 0.177 | -0.5 | 0.1961 | 13 | 0.037 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 218 | 0.176 | 0.198 | 0.172 | 0.182 | -0.38 | 0.1961 | 13 | 0.037 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 204 | 0.2044 | 0.2024 | 0.2012 | 0.203 | 0.18 | 0.1961 | 13 | 0.037 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 105 | 0.198 | 0.216 | 0.197 | 0.204 | 0.21 | 0.1961 | 13 | 0.037 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.1988 | 0.2103 | 0.2138 | 0.208 | 0.31 | 0.1961 | 13 | 0.037 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 120 | 0.2135 | 0.2114 | 0.2122 | 0.212 | 0.44 | 0.1961 | 13 | 0.037 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 172 | 0.2065 | 0.215 | 0.2193 | 0.214 | 0.47 | 0.1961 | 13 | 0.037 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 199 | 0.2215 | 0.2217 | 0.2242 | 0.222 | 0.71 | 0.1961 | 13 | 0.037 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.2261 | 0.2248 | 0.2262 | 0.226 | 0.8 | 0.1961 | 13 | 0.037 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.2767 | 0.2715 | 0.2863 | 0.278 | 2.22 | 0.1961 | 13 | 0.037 | 0 |
|  |  |  |  | Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%DW) | 502.60 | NIR | 187 | 0.01 | <0.0100 | <0.0100 | 0.01 |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 103 | 0.0579 | 0.0587 | 0.055 | 0.0572 | -1.05 | 0.077 | 12 | 0.0189 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 105 | 0.0598 | 0.0594 | 0.0518 | 0.057 | -1.06 | 0.077 | 12 | 0.0189 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 162 | 0.0669 | 0.0666 | 0.0628 | 0.0654 | -0.61 | 0.077 | 12 | 0.0189 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 120 | 0.0701 | 0.0608 | 0.0652 | 0.0654 | -0.61 | 0.077 | 12 | 0.0189 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 204 | 0.0681 | 0.069 | 0.0704 | 0.0692 | -0.41 | 0.077 | 12 | 0.0189 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 199 | 0.0702 | 0.0712 | 0.0685 | 0.07 | -0.37 | 0.077 | 12 | 0.0189 | 0 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 210 | 0.073 | 0.075 | 0.076 | 0.0747 | -0.12 | 0.077 | 12 | 0.0189 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0727 | 0.0731 | 0.0826 | 0.0761 | -0.04 | 0.077 | 12 | 0.0189 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | 0.0778 | 0.0887 | 0.0873 | 0.0846 | 0.4 | 0.077 | 12 | 0.0189 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 218 | 0.096 | 0.101 | 0.095 | 0.0973 | 1.08 | 0.077 | 12 | 0.0189 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.0993 | 0.1029 | 0.1024 | 0.102 | 1.3 | 0.077 | 12 | 0.0189 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 172 | 0.108 | 0.1102 | 0.1006 | 0.106 | 1.55 | 0.077 | 12 | 0.0189 | 0 |
|  |  |  |  | CBD (%DW) |  |  |  |  |  |  |  |  |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 103 | 1.8893 | 1.7241 | 1.7535 | 1.79 | -1.74 | 1.9958 | 12 | 0.1188 | 0 |
| CBD (%DW) | 503.30 | Other LC-MS | 105 | 1.87 | 1.97 | 1.76 | 1.87 | -1.09 | 1.9958 | 12 | 0.1188 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 189 | 1.9114 | 1.9067 | 1.9213 | 1.91 | -0.7 | 1.9958 | 12 | 0.1188 | 0 |
| CBD (%DW) | 503.01 | AOAC 2018.10 | 210 | 1.951 | 1.956 | 1.957 | 1.95 | -0.35 | 1.9958 | 12 | 0.1188 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 218 | 1.97 | 1.99 | 1.953 | 1.97 | -0.21 | 1.9958 | 12 | 0.1188 | 0 |
| CBD (%DW) | 503.30 | Other LC-MS | 102 | 1.953 | 1.8969 | 2.103 | 1.98 | -0.1 | 1.9958 | 12 | 0.1188 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 204 | 1.993 | 1.9795 | 1.9804 | 1.98 | -0.1 | 1.9958 | 12 | 0.1188 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 199 | 2.0227 | 2.0251 | 2.0239 | 2.02 | 0.24 | 1.9958 | 12 | 0.1188 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 172 | 1.9651 | 2.1502 | 2.0218 | 2.05 | 0.42 | 1.9958 | 12 | 0.1188 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 2.0502 | 2.0838 | 2.0723 | 2.07 | 0.61 | 1.9958 | 12 | 0.1188 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 162 | 2.1321 | 2.1457 | 2.1599 | 2.15 | 1.26 | 1.9958 | 12 | 0.1188 | 0 |
| CBD (%DW) | 503.60 | NIR | 187 | 2.4 | 2.65 | 2.94 | 2.66 | 5.62 | 1.9958 | 12 | 0.1188 | 0 |
|  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| CBDA (%DW) | 504.60 | NIR | 187 | 0.59 | 0.44 | <0.0100 | 0.347 | -4.84 | 1.0374 | 11 | 0.1427 | 0 |
| CBDA (%DW) | 504.30 | Other LC-MS | 105 | 0.897 | 0.883 | 0.825 | 0.868 | -1.19 | 1.0374 | 11 | 0.1427 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 218 | 0.898 | 0.93 | 0.94 | 0.923 | -0.8 | 1.0374 | 11 | 0.1427 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 103 | 1.0068 | 0.9643 | 1.007 | 0.993 | -0.31 | 1.0374 | 11 | 0.1427 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 1.0092 | 1.0052 | 1.0024 | 1.01 | -0.22 | 1.0374 | 11 | 0.1427 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 1.0627 | 1.0857 | 1.0568 | 1.07 | 0.22 | 1.0374 | 11 | 0.1427 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 204 | 1.1063 | 1.1098 | 1.1038 | 1.11 | 0.49 | 1.0374 | 11 | 0.1427 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 172 | 1.104 | 1.1179 | 1.1414 | 1.12 | 0.59 | 1.0374 | 11 | 0.1427 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 199 | 1.1311 | 1.1324 | 1.1232 | 1.13 | 0.64 | 1.0374 | 11 | 0.1427 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 162 | 1.1633 | 1.1494 | 1.1572 | 1.16 | 0.84 | 1.0374 | 11 | 0.1427 | 0 |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 210 | 1.223 | 1.209 | 1.22 | 1.22 | 1.26 | 1.0374 | 11 | 0.1427 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBN (%DW) |  |  |  |  |  |  |  |  |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.0378 | 0.0393 | 0.0397 | 0.0389 | -2.1 | 0.061 | 12 | 0.0105 | 0 |
| CBN (%DW) | 505.01 | AOAC 2018.10 | 210 | 0.053 | 0.051 | 0.054 | 0.0527 | -0.79 | 0.061 | 12 | 0.0105 | 0 |
| CBN (%DW) | 505.20 | Other LC-MS | 105 | 0.0537 | 0.0546 | 0.0506 | 0.053 | -0.76 | 0.061 | 12 | 0.0105 | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 218 | 0.054 | 0.055 | 0.055 | 0.0547 | -0.6 | 0.061 | 12 | 0.0105 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 204 | 0.0595 | 0.059 | 0.0598 | 0.0594 | -0.15 | 0.061 | 12 | 0.0105 | 0 |
| CBN (%DW) | 505.20 | Other LC-MS | 102 | 0.0562 | 0.0619 | 0.0654 | 0.0612 | 0.02 | 0.061 | 12 | 0.0105 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 172 | 0.0588 | 0.0631 | 0.0599 | 0.0606 | -0.04 | 0.061 | 12 | 0.0105 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 162 | 0.0605 | 0.0619 | 0.0648 | 0.0624 | 0.14 | 0.061 | 12 | 0.0105 | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 199 | 0.0631 | 0.0613 | 0.0647 | 0.063 | 0.2 | 0.061 | 12 | 0.0105 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0665 | 0.0664 | 0.0663 | 0.0664 | 0.52 | 0.061 | 12 | 0.0105 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | 0.074 | 0.0842 | 0.0709 | 0.0764 | 1.46 | 0.061 | 12 | 0.0105 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 116 | 0.0857 | 0.0847 | 0.0862 | 0.0855 | 2.34 | 0.061 | 12 | 0.0105 | 0 |
|  |  |  |  | Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 210 | 0.085 | 0.084 | 0.092 | 0.087 | -3.47 | 0.2582 | 18 | 0.0494 | 0 |
| Total Δ9-THC (%DW) | 506.60 | NIR | 187 | 0.139 | 0.151 | 0.153 | 0.148 | -2.24 | 0.2582 | 18 | 0.0494 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.2105 | 0.1993 | 0.1929 | 0.201 | -1.16 | 0.2582 | 18 | 0.0494 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 103 | 0.218 | 0.2202 | 0.2094 | 0.216 | -0.86 | 0.2582 | 18 | 0.0494 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 182 | 0.23 | 0.2108 | 0.214 | 0.218 | -0.81 | 0.2582 | 18 | 0.0494 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 162 | 0.2387 | 0.2266 | 0.2392 | 0.235 | -0.47 | 0.2582 | 18 | 0.0494 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 105 | 0.25 | 0.268 | 0.242 | 0.253 | -0.1 | 0.2582 | 18 | 0.0494 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 204 | 0.2641 | 0.2618 | 0.2641 | 0.263 | 0.1 | 0.2582 | 18 | 0.0494 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 138 | 0.2577 | 0.2708 | 0.2726 | 0.267 | 0.18 | 0.2582 | 18 | 0.0494 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 218 | 0.26 | 0.286 | 0.256 | 0.267 | 0.18 | 0.2582 | 18 | 0.0494 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 120 | 0.275 | 0.2647 | 0.2694 | 0.27 | 0.23 | 0.2582 | 18 | 0.0494 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.2908 | 0.2774 | 0.276 | 0.281 | 0.47 | 0.2582 | 18 | 0.0494 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.267 | 0.2881 | 0.2904 | 0.282 | 0.48 | 0.2582 | 18 | 0.0494 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 199 | 0.2831 | 0.2841 | 0.2843 | 0.284 | 0.52 | 0.2582 | 18 | 0.0494 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.281 | 0.2959 | 0.2885 | 0.288 | 0.61 | 0.2582 | 18 | 0.0494 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 172 | 0.3012 | 0.3116 | 0.3075 | 0.307 | 0.98 | 0.2582 | 18 | 0.0494 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.3132 | 0.315 | 0.316 | 0.315 | 1.14 | 0.2582 | 18 | 0.0494 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.3405 | 0.3357 | 0.3587 | 0.345 | 1.76 | 0.2582 | 18 | 0.0494 | 0 |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 2.6703 | 2.6606 | 2.5181 | 2.62 | -1.28 | 2.9462 | 14 | 0.2587 | 0 |
| Total CBD (%DW) | 507.30 | Other LC-MS | 105 | 2.66 | 2.74 | 2.48 | 2.63 | -1.24 | 2.9462 | 14 | 0.2587 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 103 | 2.7722 | 2.5698 | 2.6363 | 2.66 | -1.11 | 2.9462 | 14 | 0.2587 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 218 | 2.758 | 2.806 | 2.777 | 2.78 | -0.64 | 2.9462 | 14 | 0.2587 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 189 | 2.7965 | 2.7882 | 2.8004 | 2.8 | -0.58 | 2.9462 | 14 | 0.2587 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 204 | 2.9633 | 2.9528 | 2.9484 | 2.95 | 0.03 | 2.9462 | 14 | 0.2587 | 0 |
| Total CBD (%DW) | 507.60 | NIR | 187 | 2.92 | 3.03 | 2.94 | 2.96 | 0.07 | 2.9462 | 14 | 0.2587 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 199 | 3.0147 | 3.0183 | 3.009 | 3.01 | 0.26 | 2.9462 | 14 | 0.2587 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 2.9822 | 3.036 | 2.9991 | 3.01 | 0.23 | 2.9462 | 14 | 0.2587 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%DW) | 507.01 | AOAC 2018.10 | 210 | 3.024 | 3.016 | 3.027 | 3.02 | 0.29 | 2.9462 | 14 | 0.2587 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 172 | 2.9333 | 3.1306 | 3.0228 | 3.03 | 0.32 | 2.9462 | 14 | 0.2587 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 162 | 3.1523 | 3.1537 | 3.1747 | 3.16 | 0.83 | 2.9462 | 14 | 0.2587 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 3.1522 | 3.363 | 3.3427 | 3.29 | 1.31 | 2.9462 | 14 | 0.2587 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 138 | 3.1936 | 3.4796 | 3.5936 | 3.42 | 1.84 | 2.9462 | 14 | 0.2587 | 0 |

Population of Lab Values

| CBDV (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%DW) | 508.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBDV (%DW) | 508.99 | Other | 189 | 0.0305 | 0.0272 | 0.0293 | 0.029 | 0 |
| CBDV (%DW) | 508.02 | AOAC 2018.11, U | 210 | 0.031 | 0.029 | 0.03 | 0.03 | 0 |

CBDVA (%DW)

CBDVA (%DW)

509.01	AOAC 2018.10

210

0.024	0.027	0.024	0.025	0

| CBG (%DW) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%DW) | 510.99 | Other | 105 | 0.808 | 0.796 | 0.784 | 0.796 | -2.63 | 0.8835 | 6 | 0.0333 | 0 |
| CBG (%DW) | 510.01 | AOAC 2018.10 | 210 | 0.88 | 0.873 | 0.886 | 0.88 | -0.11 | 0.8835 | 6 | 0.0333 | 0 |
| CBG (%DW) | 510.99 | Other | 172 | 0.8879 | 0.9157 | 0.8419 | 0.882 | -0.05 | 0.8835 | 6 | 0.0333 | 0 |
| CBG (%DW) | 510.99 | Other | 162 | 0.8818 | 0.9174 | 0.8558 | 0.885 | 0.05 | 0.8835 | 6 | 0.0333 | 0 |
| CBG (%DW) | 510.99 | Other | 204 | 0.8951 | 0.8959 | 0.8999 | 0.897 | 0.41 | 0.8835 | 6 | 0.0333 | 0 |
| CBG (%DW) | 510.99 | Other | 189 | 0.9271 | 0.9243 | 0.9196 | 0.924 | 1.21 | 0.8835 | 6 | 0.0333 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBGA (%DW) |  |  |  |  |  |  |  |  |
| CBGA (%DW) | 511.99 | Other | 189 | 1.2771 | 1.2727 | 1.2736 | 1.27 |  |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 204 | 1.2633 | 1.2716 | 1.2709 | 1.27 |  |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 172 | 1.3725 | 1.3939 | 1.2933 | 1.35 |  |  |  |  | 0 |
| CBGA (%DW) | 511.01 | AOAC 2018.10 | 210 | 1.404 | 1.393 | 1.39 | 1.4 |  |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 162 | 1.4879 | 1.5101 | 1.4391 | 1.48 |  |  |  |  | 0 |
|  |  |  |  | THCV (%DW) |  |  |  |  |  |  |  |  |
| THCV (%DW) | 512.02 | AOAC 2018.11, U | 210 | 0.019 | 0.016 <0.0130 |  | 0.016 |  |  |  |  | 0 |
| THCV (%DW) | 512.99 | Other | 189 | 0.0603 | 0.0596 | 0.0361 | 0.052 |  |  |  |  | 0 |
|  |  |  |  | Δ8-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ8-THC (%DW) | 513.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 102 | <0.0211 | <0.0252 | <0.0213 | <0.0211 |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 189 | 0.0089 | 0.0083 | 0.0076 | 0.0083 |  |  |  |  | 0 |
| Δ8-THC (%DW) | 513.01 | AOAC 2018.10 | 210 | 0.021 | 0.018 | 0.025 | 0.0213 |  |  |  |  | 0 |
|  |  |  |  | CBC (%DW) |  |  |  |  |  |  |  |  |
| CBC (%DW) | 514.01 | AOAC 2018.10 | 210 | 0.181 | 0.18 | 0.18 | 0.18 | -1 | 0.1986 | 7 | 0.0183 | 0 |
| CBC (%DW) | 514.99 | Other | 162 | 0.1904 | 0.1526 | 0.1976 | 0.18 | -1 | 0.1986 | 7 | 0.0183 | 0 |
| CBC (%DW) | 514.02 | AOAC 2018.11, U | 103 | 0.1788 | 0.182 | 0.2005 | 0.187 | -0.63 | 0.1986 | 7 | 0.0183 | 0 |
| CBC (%DW) | 514.99 | Other | 105 | 0.194 | 0.214 | 0.193 | 0.2 | 0.1 | 0.1986 | 7 | 0.0183 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.99 | Other | 204 | 0.2108 | 0.2073 | 0.2121 | 0.21 | 0.63 | 0.1986 | 7 | 0.0183 | 0 |
| CBC (%DW) | 514.99 | Other | 172 | 0.2065 | 0.2236 | 0.2075 | 0.213 | 0.76 | 0.1986 | 7 | 0.0183 | 0 |
| CBC (%DW) | 514.99 | Other | 189 | 0.2194 | 0.2195 | 0.2194 | 0.219 | 1.14 | 0.1986 | 7 | 0.0183 | 0 |

Population of Lab Values

- Flag definitions: 1 (Lab Value not used because there were less than 2 numeric lab results), 2 (Lab Value not used because there were less than 2 numeric lab results greater than 0).

- Robust statistics performed to determine robust mean and Z scores only if there were 6 or more numeric lab values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.