# Hemp PT Certificate of Analysis

## Hemp PT Sample HM22NOV-2 Material: hemp

± Standard

| Analyte | Value | Uncertainty | # Labs |
| --- | --- | --- | --- |
|  | % as received |  |  |
| Δ9-THC | 0.1998 | 0.0052 | 40 |
| Δ9-THCA | 0.02660 | 0.00196 | 29 |
| CBD | 4.727 | 0.080 | 31 |
| CBDA | 3.007 | 0.085 | 29 |
| CBN | 0.04358 | 0.00213 | 21 |
| Total Δ9-THC | 0.2219 | 0.0058 | 47 |
| Total CBD | 7.264 | 0.149 | 33 |
| CBDV | 0.04530 | 0.00567 | 6 |
| CBG | 0.3231 | 0.0145 | 15 |
| CBGA | 0.3855 | 0.0102 | 13 |
| CBC | 0.2333 | 0.0059 | 15 |
| Moisture | 6.837 | 0.442 | 22 |
|  | % dry weight |  |  |
| Δ9-THC | 0.2120 | 0.0095 | 13 |
| Δ9-THCA | 0.02885 | 0.00651 | 10 |
| CBD | 5.022 | 0.105 | 12 |
| CBDA | 3.194 | 0.139 | 11 |
| CBN | 0.04413 | 0.00247 | 10 |
| Total Δ9-THC | 0.2344 | 0.0085 | 18 |
| Total CBD | 7.912 | 0.263 | 14 |
| CBG | 0.3387 | 0.0177 | 6 |
| CBC | 0.2503 | 0.0091 | 7 |

## Hemp PT Sample HM22NOV-2 Material: hemp

Analyte	Value

± Standard

Uncertainty	# Labs

ug/g as-received

| Cd | 0.1485 | 0.0077 | 7 |
| --- | --- | --- | --- |
| Pb | 0.3066 | 0.0247 | 9 |

- Data obtained from participant results in the University of Kentucky Hemp PT Program.

- Sample was shipped on 11/8/22. Stored at room temperature until 12/21/22. Stored at -20 C after 12/21/22.

- Values are robust means. Standard uncertainty determined as 1.25 x robust standard deviation / sqrt(#Labs). Results only shown for analytes tested by 6 or more labs.