# Homogeneity and Stability

Sample ID . . . . . . . . . . . . . . . . . . . . . . . . .

Samples shipped . . . . . . . . . . . . . . . . . . .

Results due date . . . . . . . . . . . . . . . . . . . .

HM22NOV-2

8-Nov-22

20-Dec-22

## Homogeneity

10 sample packets randomly chosen for analysis.

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 0.2183 | 0.2138 |
| 2 | 0.2126 | 0.2166 |
| 3 | 0.2126 | 0.2185 |
| 4 | 0.2231 | 0.2284 |
| 5 | 0.2294 | 0.2307 |
| 6 | 0.2303 | 0.2282 |
| 7 | 0.2261 | 0.2269 |
| 8 | 0.2335 | 0.2259 |
| 9 | 0.2253 | 0.2306 |
| 10 | 0.2270 | 0.2301 |

Duplicate test portions analyzed for analyte and method shown in table caption.

| Total THC (%AR) via GC-FID (method 006.40) Analysis Date: 11/16/22 |  | Overall average: | 0.2244 | %RSD | HorRat-r |
| --- | --- | --- | --- | --- | --- |
|  |  | SD of sample avgs: | 0.006357 | 2.83 |  |
|  |  | repeatability SD: | 0.003173 | 1.41 | 0.3 |
|  |  | between-sample SD: | 0.00595 | 2.65 |  |
|  |  | reproducibilty SD: | 0.006741 | 3.00 |  |
|  |  | SD used for Analyte z scores: | 0.0321 |  |  |
|  |  | Check value: | 0.00963 |  |  |
| Total THC (%AR) via GC-FID (method 006.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |  |  |
| Total CBD (%AR) via GC-FID (method 007.40) Analysis Date: 11/16/22 |  | Overall average: | 8.6532 | %RSD | HorRat-r |
|  |  | SD of sample avgs: | 0.1341 | 1.55 |  |
|  |  | repeatability SD: | 0.08002 | 0.92 | 0.3 |
|  |  | between-sample SD: | 0.1216 | 1.41 |  |
|  |  | reproducibilty SD: | 0.1456 | 1.68 |  |
|  |  | SD used for Analyte z scores: | 0.6847 |  |  |
|  |  | Check value: | 0.20541 |  |  |
| Total CBD (%AR) via GC-FID (method 007.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |  |  |

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 8.5541 | 8.4556 |
| 2 | 8.5606 | 8.5264 |
| 3 | 8.3743 | 8.4414 |
| 4 | 8.5948 | 8.7102 |
| 5 | 8.8309 | 8.8556 |
| 6 | 8.6931 | 8.7407 |
| 7 | 8.7043 | 8.7425 |
| 8 | 8.8537 | 8.6790 |
| 9 | 8.5138 | 8.7365 |
| 10 | 8.6867 | 8.8089 |

Stability

Sample tested on different days from date sample shipped to results due date. Sample stored at room temperature during period of testing.

| Date of Analysis | Days | Conc. |
| --- | --- | --- |
| 11/7/22 | 0 | 0.1927 |
| 11/16/22 | 9 | 0.2238 |
| 11/17/22 | 10 | 0.2127 |
| 12/2/22 | 25 | 0.2320 |
| 12/12/22 | 35 | 0.2270 |
| 12/16/22 | 39 | 0.2034 |
| 1/12/23 | 66 | 0.1743 |

Total THC (%AR) via GC-FID (method 006.40)		Days = x variable, Conc = y variable

SUMMARY OUTPUT

Regression Statistics

Multiple R   0.4292353 R Square	0.1842429 Adjusted R Squ 0.0210915 Standard Error  0.0205391

Observations	7

ANOVA

df	SS	MS	F	Significance F

Regression	1  0.00047639 0.000476391	1.129275604  0.336537542

y = -0.0004x + 0.2198 R² = 0.1842

0.24

0.22

0.20

0.18

0.16

0.14

0.12

0.10

0

20

40

60

80

Residual	5  0.00210928 0.000421855

Total	6 0.00258567

|  | Coefficients | tandard Erro | t Stat | P-value | Lower 95% | Upper 95% |
| --- | --- | --- | --- | --- | --- | --- |
| Intercept | 0.2197665 | 0.0124565 | 17.6427163 | 1.07311E-05 | 0.187746009 | 0.251786903 |

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period.

Stability test passed.

X Variable 1	-0.0003938 0.00037061  -1.0626738	0.336537542  -0.001346504  0.000558839

%RSD = 9.9	HorRat-R = 2

| Total CBD (%AR) via GC-FID (method 006.40) |  |  |
| --- | --- | --- |
| Date of Analysis | Days | Conc. |
| 11/7/22 | 0 | 7.7020 |
| 11/16/22 | 9 | 8.5002 |
| 11/17/22 | 10 | 8.7512 |
| 12/2/22 | 25 | 8.5024 |
| 12/12/22 | 35 | 9.2052 |
| 12/16/22 | 39 | 9.2416 |
| 1/12/23 | 66 | 7.9341 |

Days = x variable, Conc = y variable SUMMARY OUTPUT

Regression Statistics

Multiple R   0.1257138 R Square	0.015804 Adjusted R Squ -0.1810353 Standard Error  0.6354241

Observations	7

ANOVA

df	SS	MS	F	Significance F

Regression	1  0.03241764  0.03241764	0.080288635	0.7882641

y = 0.0032x + 8.4627 R² = 0.0158

10.0

9.5

9.0

8.5

8.0

7.5

7.0

0

20

40

60

80

Residual	5  2.01881874 0.403763748

Total	6 2.05123638

Coefficients tandard Erro	t Stat	P-value	Lower 95%	Upper 95%

Intercept	8.4627035  0.38536987 21.95995072	3.63535E-06	7.47207866  9.453328261

X Variable 1	0.0032488  0.01146551 0.283352493	0.7882641  -0.026224255  0.032721818

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period.

Stability test passed.

%RSD = 6.8	HorRat-R = 2.4