Hemp Proficiency Testing

All Labs Precision HM22SEP-1 (hemp)

Sample: HM22SEP-1 (hemp)

All Labs Precision

Issue Date:

ovember 18, 2022

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Δ9-THC (%AR)

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 152 | 0.1981 | 0.1981 | 0.1964 | 0.5 | 0.1 | 3.63 | 0.5 | 22.1 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.1558 | 0.157 | 0.1542 | 0.9 | 0.17 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 148 | 0.113 | 0.113 | 0.115 | 1.02 | 0.18 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 183 | 0.1398 | 0.1413 | 0.1426 | 0.99 | 0.19 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 172 | 0.167 | 0.164 | 0.164 | 1.05 | 0.2 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.2001 | 0.1956 | 0.1968 | 1.18 | 0.23 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 212 | 0.1477 | 0.1498 | 0.146 | 1.29 | 0.24 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 113 | 0.1282 | 0.1293 | 0.1249 | 1.8 | 0.33 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 191 | 0.1324 | 0.1354 | 0.1376 | 1.93 | 0.36 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 216 | 0.1363 | 0.1416 | 0.1402 | 1.97 | 0.37 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.1508 | 0.1459 | 0.1452 | 2.07 | 0.39 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 161 | 0.129 | 0.128 | 0.123 | 2.54 | 0.47 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 217 | 0.1534 | 0.1587 | 0.151 | 2.55 | 0.48 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.1179 | 0.1242 | 0.1215 | 2.61 | 0.48 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 200 | 0.137 | 0.13 | 0.132 | 2.71 | 0.5 | 3.63 | 0.5 | 22.1 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.99 | Other | 132 | 0.128 | 0.124 | 0.131 | 2.75 | 0.51 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.153 | 0.1495 | 0.145 | 2.69 | 0.51 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 196 | 0.1311 | 0.1387 | 0.1355 | 2.82 | 0.52 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 204 | 0.1329 | 0.1267 | 0.1257 | 3.04 | 0.56 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | 0.1293 | 0.1358 | 0.1369 | 3.07 | 0.57 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 142 | 0.133 | 0.125 | 0.129 | 3.1 | 0.57 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.1504 | 0.1414 | 0.1462 | 3.08 | 0.58 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 155 | 0.151 | 0.145 | 0.142 | 3.14 | 0.59 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 164 | 0.1443 | 0.1386 | 0.1488 | 3.55 | 0.67 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 194 | 0.1483 | 0.1489 | 0.1394 | 3.66 | 0.69 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.1594 | 0.1494 | 0.1499 | 3.69 | 0.7 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 170 | 0.1492 | 0.1535 | 0.1608 | 3.8 | 0.72 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.125 | 0.135 | 0.128 | 3.97 | 0.73 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.15 | 0.14 | 0.14 | 4.03 | 0.75 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.15 | 0.14 | 0.14 | 4.03 | 0.75 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 120 | 0.1496 | 0.1519 | 0.14 | 4.29 | 0.81 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 182 | 0.1251 | 0.1169 | 0.1143 | 4.75 | 0.86 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.1287 | 0.1377 | 0.143 | 5.3 | 0.98 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 125 | 0.144 | 0.143 | 0.129 | 6.05 | 1.13 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.1344 | 0.15 | 0.1332 | 6.73 | 1.26 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.1425 | 0.1335 | 0.1535 | 7 | 1.31 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 192 | 0.108 | 0.0975 | 0.1152 | 8.33 | 1.49 | 3.63 | 0.5 | 22.1 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 149 | 0.157 | 0.134 | 0.138 | 8.59 | 1.61 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.1553 | 0.1649 | 0.1847 | 8.91 | 1.71 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.60 | NIR | 187 | 0.22 | 0.16 | 0.17 | 17.5 | 3.41 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 124 | 0.0885 | 0.1391 | 0.1164 | 22.1 | 4 | 3.63 | 0.5 | 22.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 225 | 0.0885 | 0.1391 | 0.1164 | 22.1 | 4 | 3.63 | 0.5 | 22.1 | 0 |

Lab

Population of Lab RSDr

Δ9-THCA (%AR)

| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 194 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 204 | 0 | 0 | 0 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.60 | NIR | 187 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | <0.0436 | <0.0187 | <0.0174 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 217 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 170 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 161 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 216 | <0.0498 | <0.0495 | <0.0490 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0465 | <0.0472 | <0.0493 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | <0.0125 | <0.0125 | <0.0125 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | <0.0250 | <0.0240 | <0.0250 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 148 | 0.023 | 0.023 | 0.023 | 0 | 0 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.02 | 0.02 | 0.02 | 0 | 0 | 9.94 | 0 | 73.2 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | 0.0199 | 0.0199 | 0.0197 | 0.58 | 0.08 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 191 | 0.017 | 0.0166 | 0.0174 | 2.35 | 0.32 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | 0.0094 | 0.0089 | 0.009 | 2.91 | 0.36 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.0149 | 0.0145 | 0.0154 | 3.02 | 0.4 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0295 | 0.0311 | 0.0315 | 3.45 | 0.51 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0171 | 0.0181 | 0.0169 | 3.7 | 0.51 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 120 | 0.0131 | 0.0121 | 0.0124 | 4.09 | 0.53 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | 0.013 | 0.014 | 0.013 | 4.33 | 0.57 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 164 | 0.0191 | 0.0179 | 0.0173 | 5.06 | 0.7 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0.0172 | 0.019 | 0.0173 | 5.67 | 0.78 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.0112 | 0.0102 | 0.0097 | 7.37 | 0.93 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | 0.0169 | 0.0165 | 0.0192 | 8.31 | 1.14 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 113 | 0.0097 | 0.0108 | 0.009 | 9.23 | 1.16 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 172 | 0.019 | 0.022 | 0.019 | 8.66 | 1.21 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 132 | 0.012 | 0.01 | 0.01 | 10.8 | 1.37 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.012 | 0.014 | 0.015 | 11.2 | 1.47 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 182 | 0.0131 | 0.0108 | 0.0107 | 11.8 | 1.51 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 200 | 0.019 | 0.018 | 0.015 | 12 | 1.64 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.0657 | 0.0696 | 0.0802 | 10.4 | 1.76 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.0168 | 0.0173 | 0.0132 | 14.2 | 1.91 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 183 | 0.0197 | 0.0228 | 0.0262 | 14.2 | 2.02 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | 0.0121 | 0.0151 | 0.0182 | 20.2 | 2.69 | 9.94 | 0 | 73.2 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 124 | 0.0087 | 0.0126 | 0.008 | 25.4 | 3.18 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 225 | 0.0087 | 0.0126 | 0.008 | 25.4 | 3.18 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 212 | 0.03 | 0.0404 | 0.026 | 23.1 | 3.46 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 155 | 0.022 | 0.037 | 0.023 | 30.7 | 4.48 | 9.94 | 0 | 73.2 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 152 | 0.0407 | 0.3709 | 0.3756 | 73.2 | 15 | 9.94 | 0 | 73.2 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 4.404 | 4.4041 | 4.4038 | 0 | 0 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 194 | 3.5332 | 3.5473 | 3.5376 | 0.2 | 0.06 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 3.4113 | 3.4262 | 3.3899 | 0.54 | 0.16 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 2.9655 | 2.9328 | 2.9581 | 0.58 | 0.17 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.99 | Other | 183 | 3.7837 | 3.7575 | 3.7995 | 0.56 | 0.17 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 3.706 | 3.7415 | 3.7005 | 0.6 | 0.18 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 3.4532 | 3.5087 | 3.4929 | 0.82 | 0.25 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 3.5335 | 3.5005 | 3.587 | 1.23 | 0.37 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 161 | 3.275 | 3.342 | 3.261 | 1.31 | 0.39 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 3.47 | 3.44 | 3.528 | 1.29 | 0.39 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 3.7654 | 3.6693 | 3.7084 | 1.3 | 0.4 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.99 | Other | 132 | 3.22 | 3.187 | 3.126 | 1.5 | 0.45 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 172 | 4.181 | 4.052 | 4.063 | 1.74 | 0.54 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 204 | 3.5261 | 3.4005 | 3.4398 | 1.86 | 0.56 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 212 | 3.3225 | 3.2368 | 3.3607 | 1.92 | 0.58 | 2.7 | 0 | 26.3 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 3.8585 | 3.7202 | 3.8231 | 1.89 | 0.58 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 3.64 | 3.48 | 3.54 | 2.27 | 0.69 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 4.077 | 4.13 | 3.945 | 2.35 | 0.73 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 3.314 | 3.483 | 3.431 | 2.54 | 0.76 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 113 | 3.9412 | 3.9219 | 3.7501 | 2.72 | 0.83 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 3.83 | 3.59 | 3.66 | 3.34 | 1.02 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 200 | 3.166 | 2.994 | 2.952 | 3.73 | 1.11 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 164 | 3.7804 | 3.9645 | 3.6884 | 3.69 | 1.13 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 4.3919 | 4.1014 | 4.1494 | 3.7 | 1.15 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 216 | 3.7025 | 3.7653 | 3.478 | 4.14 | 1.26 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 155 | 2.93 | 2.85 | 3.13 | 4.86 | 1.43 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 170 | 3.42 | 3.7411 | 3.7408 | 5.1 | 1.55 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 3.47 | 3.66 | 3.3 | 5.18 | 1.56 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 191 | 3.4705 | 3.5145 | 3.8118 | 5.16 | 1.57 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 152 | 3.6526 | 3.3292 | 3.3487 | 5.27 | 1.59 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 102 | 3.2639 | 4.0391 | 3.8752 | 11 | 3.35 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 2.9191 | 3.1472 | 3.6882 | 12.1 | 3.63 | 2.7 | 0 | 26.3 | 0 |
| CBD (%AR) | 003.60 | NIR | 187 | 4.31 | 2.81 | 2.8 | 26.3 | 7.88 | 2.7 | 0 | 26.3 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 1.9547 | 1.9552 | 1.9556 | 0.02 | 0.01 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 2.0659 | 2.0736 | 2.0503 | 0.57 | 0.16 | 2.82 | 0.02 | 20.9 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 216 | 2.199 | 2.199 | 2.1775 | 0.57 | 0.16 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 2.055 | 2.073 | 2.046 | 0.67 | 0.19 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 2.1805 | 2.1896 | 2.1527 | 0.88 | 0.25 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 2.0252 | 2.0575 | 2.0642 | 1.02 | 0.28 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 194 | 2.2478 | 2.2152 | 2.196 | 1.18 | 0.33 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 1.8651 | 1.86 | 1.9078 | 1.4 | 0.39 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.99 | Other | 183 | 2.3798 | 2.3762 | 2.4403 | 1.5 | 0.43 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 172 | 2.61 | 2.534 | 2.589 | 1.52 | 0.44 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 191 | 2.3482 | 2.3858 | 2.4476 | 2.1 | 0.6 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 2.2205 | 2.2255 | 2.3066 | 2.15 | 0.61 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 204 | 2.2247 | 2.1525 | 2.1331 | 2.22 | 0.63 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 2.2885 | 2.2735 | 2.1915 | 2.32 | 0.66 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 164 | 2.5982 | 2.6336 | 2.5166 | 2.32 | 0.67 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 155 | 0.533 | 0.516 | 0.55 | 3.19 | 0.73 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 2 | 1.9 | 1.92 | 2.73 | 0.75 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 212 | 1.6624 | 1.6166 | 1.7084 | 2.76 | 0.75 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.99 | Other | 132 | 1.808 | 1.731 | 1.705 | 3.06 | 0.83 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 2.177 | 2.0521 | 2.0919 | 3.03 | 0.85 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 2.31 | 2.18 | 2.29 | 3.1 | 0.88 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 152 | 2.4363 | 2.2979 | 2.2752 | 3.73 | 1.06 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 200 | 1.874 | 1.789 | 1.733 | 3.95 | 1.08 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 2.639 | 2.84 | 2.795 | 3.82 | 1.12 | 2.82 | 0.02 | 20.9 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 161 | 1.89 | 2.005 | 1.838 | 4.47 | 1.23 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.01 | AOAC 2018.10 | 170 | 2.986 | 3.2258 | 3.2141 | 4.3 | 1.28 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | 2.357 | 2.286 | 2.11 | 5.65 | 1.6 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 2.4585 | 2.19 | 2.325 | 5.78 | 1.64 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | 2.03 | 2.12 | 1.86 | 6.59 | 1.83 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 1.5311 | 1.6405 | 1.8869 | 10.8 | 2.93 | 2.82 | 0.02 | 20.9 | 0 |
| CBDA (%AR) | 004.60 | NIR | 187 | 2.77 | 2.09 | 1.87 | 20.9 | 5.92 | 2.82 | 0.02 | 20.9 | 0 |

Lab

Population of Lab RSDr

CBN (%AR)

| CBN (%AR) | 005.20 | Other LC-MS | 102 | <0.0436 | <0.0467 | <0.0436 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | <0.0465 | <0.0472 | <0.0493 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 216 | <0.0498 | <0.0495 | <0.0490 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 194 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | 0.03 | <0.0240 | <0.0250 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0343 | 0.0345 | 0.0343 | 0.34 | 0.05 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | 0.0302 | 0.0296 | 0.0297 | 1.08 | 0.16 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.028 | 0.0274 | 0.0282 | 1.49 | 0.22 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 200 | 0.032 | 0.031 | 0.031 | 1.84 | 0.27 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 204 | 0.0324 | 0.0317 | 0.0308 | 2.54 | 0.38 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | 0.0254 | 0.024 | 0.0249 | 2.86 | 0.41 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.99 | Other | 183 | 0.0315 | 0.0321 | 0.0333 | 2.84 | 0.42 | 7.88 | 0.34 | 25.5 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.99 | Other | 132 | 0.025 | 0.024 | 0.026 | 4 | 0.58 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 192 | 0.0362 | 0.0335 | 0.0327 | 5.37 | 0.81 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0248 | 0.0278 | 0.0271 | 5.91 | 0.86 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 149 | 0.036 | 0.032 | 0.033 | 6.18 | 0.93 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 125 | 0.0429 | 0.0427 | 0.0383 | 6.3 | 0.98 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | 0.0418 | 0.0436 | 0.0474 | 6.46 | 1.01 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0382 | 0.0343 | 0.0416 | 9.6 | 1.47 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 212 | 0.043 | 0.037 | 0.0479 | 12.8 | 2 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 116 | 0.0497 | 0.0374 | 0.0437 | 14.1 | 2.21 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0364 | 0.0296 | 0.0417 | 16.9 | 2.57 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.03 | 0.03 | 0.02 | 21.7 | 3.15 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 107 | 0.025 | 0.024 | 0.037 | 25.2 | 3.71 | 7.88 | 0.34 | 25.5 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.0544 | 0.0884 | 0.0886 | 25.5 | 4.36 | 7.88 | 0.34 | 25.5 | 0 |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 190 | 0.209 |  |  |  |  |  |  |  | 1 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.2129 | 0.2127 | 0.2128 | 0.05 | 0.01 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.1521 | 0.1539 | 0.1535 | 0.62 | 0.12 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.1817 | 0.1843 | 0.1818 | 0.81 | 0.16 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 172 | 0.1837 | 0.1833 | 0.1807 | 0.89 | 0.17 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 148 | 0.134 | 0.133 | 0.136 | 1.14 | 0.21 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 155 | 0.165 | 0.166 | 0.162 | 1.27 | 0.24 | 4.19 | 0.05 | 27 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 191 | 0.1473 | 0.1499 | 0.1528 | 1.83 | 0.35 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 216 | 0.1363 | 0.1416 | 0.1402 | 1.97 | 0.37 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.1348 | 0.1382 | 0.1328 | 2.02 | 0.37 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 128 | 0.2004 | 0.1933 | 0.1951 | 1.88 | 0.37 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.1493 | 0.1527 | 0.1564 | 2.32 | 0.44 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.1256 | 0.1307 | 0.1316 | 2.5 | 0.46 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 161 | 0.129 | 0.128 | 0.123 | 2.54 | 0.47 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 217 | 0.1534 | 0.1587 | 0.151 | 2.55 | 0.48 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 183 | 0.157 | 0.1613 | 0.1656 | 2.67 | 0.51 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.1311 | 0.1387 | 0.1355 | 2.82 | 0.52 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 152 | 0.2339 | 0.2237 | 0.235 | 2.7 | 0.54 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.1444 | 0.1511 | 0.1524 | 2.88 | 0.54 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.1628 | 0.1585 | 0.1535 | 2.94 | 0.56 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 204 | 0.1329 | 0.1267 | 0.1257 | 3.04 | 0.56 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.1412 | 0.1328 | 0.1369 | 3.07 | 0.57 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.1635 | 0.1541 | 0.1597 | 2.97 | 0.57 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.1293 | 0.1358 | 0.1369 | 3.07 | 0.57 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 164 | 0.161 | 0.1543 | 0.164 | 3.11 | 0.59 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 132 | 0.139 | 0.132 | 0.14 | 3.18 | 0.59 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 200 | 0.154 | 0.146 | 0.145 | 3.33 | 0.63 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 194 | 0.1483 | 0.1489 | 0.1394 | 3.66 | 0.69 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.2003 | 0.2083 | 0.1943 | 3.49 | 0.69 | 4.19 | 0.05 | 27 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.16 | 0.15 | 0.16 | 3.69 | 0.7 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 192 | 0.0916 | 0.0974 | 0.0903 | 4.06 | 0.71 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.125 | 0.135 | 0.128 | 3.97 | 0.73 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 120 | 0.1611 | 0.1625 | 0.1509 | 4 | 0.76 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.159 | 0.157 | 0.146 | 4.55 | 0.86 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 212 | 0.174 | 0.1852 | 0.1688 | 4.76 | 0.92 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 182 | 0.1366 | 0.1264 | 0.1237 | 5.28 | 0.97 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.1861 | 0.1657 | 0.1807 | 5.95 | 1.15 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.152 | 0.157 | 0.171 | 6.16 | 1.17 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.1543 | 0.1467 | 0.1662 | 6.31 | 1.2 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.1492 | 0.1652 | 0.1447 | 7.04 | 1.33 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.1451 | 0.1477 | 0.1678 | 8.09 | 1.53 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.1703 | 0.1808 | 0.1995 | 8.06 | 1.57 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1656 | 0.1586 | 0.1856 | 8.25 | 1.58 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.169 | 0.145 | 0.149 | 8.33 | 1.58 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.1751 | 0.148 | 0.1605 | 8.41 | 1.6 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 121 | 0.194 | 0.206 | 0.236 | 10.2 | 2.03 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 187 | 0.22 | 0.16 | 0.17 | 17.5 | 3.41 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 225 | 0.0961 | 0.1501 | 0.1234 | 21.9 | 4.01 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 124 | 0.0961 | 0.1501 | 0.1234 | 21.9 | 4.01 | 4.19 | 0.05 | 27 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 138 | 0.16 | 0.26 | 0.275 | 27 | 5.43 | 4.19 | 0.05 | 27 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 6.1201 | 6.1202 | 6.1201 | 0 | 0 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 194 | 5.5045 | 5.49 | 5.4635 | 0.38 | 0.12 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 5.5405 | 5.4944 | 5.5089 | 0.43 | 0.14 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 5.2231 | 5.2448 | 5.188 | 0.55 | 0.18 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 5.272 | 5.258 | 5.323 | 0.65 | 0.21 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 5.6183 | 5.6618 | 5.5884 | 0.66 | 0.21 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 4.6012 | 4.564 | 4.6312 | 0.73 | 0.23 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.99 | Other | 183 | 5.8707 | 5.8414 | 5.9397 | 0.86 | 0.28 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 5.2292 | 5.3131 | 5.3032 | 0.87 | 0.28 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 6.294 | 6.3715 | 6.4012 | 0.87 | 0.29 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 192 | 3.2072 | 3.212 | 3.1157 | 1.71 | 0.51 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 172 | 6.47 | 6.2743 | 6.3336 | 1.58 | 0.52 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 5.6746 | 5.469 | 5.543 | 1.87 | 0.61 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.99 | Other | 132 | 4.807 | 4.706 | 4.623 | 1.96 | 0.62 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 204 | 5.4772 | 5.3275 | 5.2712 | 1.99 | 0.64 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 212 | 4.7804 | 4.6546 | 4.859 | 2.16 | 0.69 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 161 | 4.933 | 5.1 | 4.873 | 2.37 | 0.75 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 5.394 | 5.1463 | 5.2238 | 2.41 | 0.78 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 5.4252 | 5.1654 | 5.1719 | 2.82 | 0.91 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 216 | 5.631 | 5.6938 | 5.3877 | 2.9 | 0.94 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 164 | 6.059 | 6.2742 | 5.8955 | 3.13 | 1.03 | 3.09 | 0 | 24.2 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 6.144 | 6.135 | 5.795 | 3.3 | 1.08 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 200 | 4.809 | 4.563 | 4.472 | 3.78 | 1.19 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 191 | 5.5298 | 5.6068 | 5.9583 | 4.01 | 1.3 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 6.5485 | 6.0225 | 6.1889 | 4.3 | 1.42 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 152 | 5.7895 | 5.3773 | 5.3111 | 4.72 | 1.53 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 155 | 4.48 | 4.34 | 4.8 | 5.19 | 1.63 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 5.4932 | 5.3922 | 4.973 | 5.22 | 1.68 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 5.25 | 5.52 | 4.93 | 5.64 | 1.81 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 107 | 5.644 | 5.824 | 5.132 | 6.49 | 2.1 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 138 | 5.305 | 4.66 | 4.885 | 6.61 | 2.11 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 6.6003 | 5.3032 | 5.7401 | 11.2 | 3.67 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 4.2618 | 4.5859 | 5.3429 | 11.7 | 3.71 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 6.8276 | 7.0679 | 5.6367 | 11.8 | 3.91 | 3.09 | 0 | 24.2 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 187 | 6.74 | 4.64 | 4.44 | 24.2 | 7.77 | 3.09 | 0 | 24.2 | 0 |

Lab

Population of Lab RSDr

CBDV (%AR)

| CBDV (%AR) | 008.99 | Other | 216 | <0.0498 | <0.0495 | <0.0490 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 197 | <0.0465 | <0.0472 | <0.0493 |  |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.02 | 0.02 | 0.02 | 0 | 0 | 3.44 | 0 | 9.13 | 0 |
| CBDV (%AR) | 008.99 | Other | 196 | 0.0234 | 0.0232 | 0.0231 | 0.66 | 0.09 | 3.44 | 0 | 9.13 | 0 |
| CBDV (%AR) | 008.99 | Other | 183 | 0.0304 | 0.0296 | 0.0307 | 1.88 | 0.28 | 3.44 | 0 | 9.13 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 200 | 0.03 | 0.029 | 0.029 | 1.97 | 0.29 | 3.44 | 0 | 9.13 | 0 |
| CBDV (%AR) | 008.99 | Other | 132 | 0.023 | 0.022 | 0.022 | 2.59 | 0.37 | 3.44 | 0 | 9.13 | 0 |
| CBDV (%AR) | 008.99 | Other | 142 | 0.0306 | 0.0278 | 0.0288 | 4.88 | 0.72 | 3.44 | 0 | 9.13 | 0 |
| CBDV (%AR) | 008.99 | Other | 149 | 0.033 | 0.03 | 0.03 | 5.59 | 0.83 | 3.44 | 0 | 9.13 | 0 |
| CBDV (%AR) | 008.99 | Other | 212 | 0.0351 | 0.0387 | 0.0354 | 5.49 | 0.84 | 3.44 | 0 | 9.13 | 0 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0315 | 0.0322 | 0.0271 | 9.13 | 1.35 | 3.44 | 0 | 9.13 | 0 |

Lab

Population of Lab RSDr

CBDVA (%AR)

| CBDVA (%AR) | 009.99 | Other | 216 | <0.0498 | <0.0495 | <0.0490 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 197 | <0.0465 | <0.0472 | <0.0493 |  |  | 1 |
| CBDVA (%AR) | 009.99 | Other | 149 | <0.0250 | <0.0240 | <0.0250 |  |  | 1 |
| CBDVA (%AR) | 009.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  | 1 |
| CBDVA (%AR) | 009.99 | Other | 212 | 0.0279 | 0.0288 | 0.0274 | 2.53 | 0.37 | 0 |
| CBDVA (%AR) | 009.99 | Other | 183 | 0.0257 | 0.0249 | 0.0264 | 2.92 | 0.42 | 0 |
| CBDVA (%AR) | 009.99 | Other | 142 | 0.0183 | 0.0166 | 0.017 | 5.14 | 0.7 | 0 |

CBG (%AR)

| CBG (%AR) | 010.99 | Other | 122 | 0.5764 | 0.5761 | 0.5771 | 0.09 | 0.02 | 1.86 | 0.09 | 17.3 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 189 | 0.4567 | 0.4573 | 0.4526 | 0.56 | 0.13 | 1.86 | 0.09 | 17.3 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.391 | 0.398 | 0.395 | 0.89 | 0.19 | 1.86 | 0.09 | 17.3 | 0 |
| CBG (%AR) | 010.99 | Other | 194 | 0.4423 | 0.45 | 0.4449 | 0.88 | 0.2 | 1.86 | 0.09 | 17.3 | 0 |
| CBG (%AR) | 010.99 | Other | 197 | 0.3559 | 0.35 | 0.3498 | 0.98 | 0.21 | 1.86 | 0.09 | 17.3 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 200 | 0.417 | 0.408 | 0.413 | 1.09 | 0.24 | 1.86 | 0.09 | 17.3 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.3491 | 0.3507 | 0.3569 | 1.17 | 0.25 | 1.86 | 0.09 | 17.3 | 0 |
| CBG (%AR) | 010.99 | Other | 132 | 0.423 | 0.413 | 0.418 | 1.2 | 0.26 | 1.86 | 0.09 | 17.3 | 0 |
| CBG (%AR) | 010.99 | Other | 183 | 0.4364 | 0.4379 | 0.427 | 1.36 | 0.3 | 1.86 | 0.09 | 17.3 | 0 |
| CBG (%AR) | 010.99 | Other | 204 | 0.4482 | 0.4476 | 0.4324 | 2.02 | 0.45 | 1.86 | 0.09 | 17.3 | 0 |
| CBG (%AR) | 010.99 | Other | 216 | 0.3751 | 0.382 | 0.3912 | 2.11 | 0.46 | 1.86 | 0.09 | 17.3 | 0 |
| CBG (%AR) | 010.99 | Other | 155 | 0.408 | 0.387 | 0.395 | 2.67 | 0.58 | 1.86 | 0.09 | 17.3 | 0 |
| CBG (%AR) | 010.99 | Other | 212 | 0.4115 | 0.3893 | 0.4107 | 3.12 | 0.68 | 1.86 | 0.09 | 17.3 | 0 |
| CBG (%AR) | 010.99 | Other | 142 | 0.368 | 0.343 | 0.36 | 3.58 | 0.77 | 1.86 | 0.09 | 17.3 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.438 | 0.473 | 0.427 | 5.39 | 1.2 | 1.86 | 0.09 | 17.3 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.61 | 0.43 | 0.55 | 17.3 | 3.94 | 1.86 | 0.09 | 17.3 | 0 |
|  |  |  |  | CBGA (%AR) |  |  |  |  |  |  |  |  |
| CBGA (%AR) | 011.99 | Other | 194 | 0.6009 | 0.6007 | 0.5993 | 0.14 | 0.03 | 1.31 | 0.13 | 7 | 0 |
| CBGA (%AR) | 011.99 | Other | 122 | 0.6922 | 0.692 | 0.6937 | 0.13 | 0.03 | 1.31 | 0.13 | 7 | 0 |
| CBGA (%AR) | 011.99 | Other | 197 | 0.6028 | 0.6054 | 0.6049 | 0.23 | 0.05 | 1.31 | 0.13 | 7 | 0 |
| CBGA (%AR) | 011.99 | Other | 183 | 0.6075 | 0.6079 | 0.6044 | 0.32 | 0.07 | 1.31 | 0.13 | 7 | 0 |
| CBGA (%AR) | 011.99 | Other | 132 | 0.515 | 0.512 | 0.509 | 0.59 | 0.13 | 1.31 | 0.13 | 7 | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.5809 | 0.5806 | 0.5735 | 0.72 | 0.17 | 1.31 | 0.13 | 7 | 0 |
| CBGA (%AR) | 011.99 | Other | 142 | 0.519 | 0.516 | 0.525 | 0.88 | 0.2 | 1.31 | 0.13 | 7 | 0 |
| CBGA (%AR) | 011.99 | Other | 196 | 0.578 | 0.5631 | 0.5712 | 1.31 | 0.3 | 1.31 | 0.13 | 7 | 0 |
| CBGA (%AR) | 011.99 | Other | 204 | 0.593 | 0.5831 | 0.5759 | 1.47 | 0.34 | 1.31 | 0.13 | 7 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 149 | 0.558 | 0.576 | 0.577 | 1.87 | 0.43 | 1.31 | 0.13 | 7 | 0 |
| CBGA (%AR) | 011.99 | Other | 106 | 0.58 | 0.56 | 0.56 | 2.04 | 0.47 | 1.31 | 0.13 | 7 | 0 |
| CBGA (%AR) | 011.99 | Other | 216 | 0.6398 | 0.6446 | 0.6157 | 2.45 | 0.57 | 1.31 | 0.13 | 7 | 0 |
| CBGA (%AR) | 011.99 | Other | 212 | 0.4447 | 0.4293 | 0.4629 | 3.77 | 0.84 | 1.31 | 0.13 | 7 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | 0.578 | 0.619 | 0.538 | 7 | 1.62 | 1.31 | 0.13 | 7 | 0 |

Lab

Population of Lab RSDr

THCV (%AR)

| THCV (%AR) | 012.99 | Other | 149 | <0.0250 | <0.0240 | <0.0250 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 197 | <0.0465 | <0.0472 | <0.0493 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 200 | <0.0050 | <0.0050 | <0.0050 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 216 | <0.0498 | <0.0495 | <0.0490 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 183 | 0 | 0 | 0 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 132 | 0 | 0 | 0 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 189 | 0.0315 | 0.0295 | 0.0278 | 6.26 | 0.92 | 0 |

Δ8-THC (%AR)

| Δ8-THC (%AR) | 013.99 | Other | 216 | <0.0498 <0.0495 | <0.0490 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 142 | <0.0022 <0.0022 | <0.0022 | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 149 | <0.0250 | <0.0240 | <0.0250 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 200 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0465 | <0.0472 | <0.0493 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 102 | <0.0174 | <0.0187 | <0.0174 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 183 | 0 | 0 | 0 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0087 | 0.0091 | 0.008 | 6.47 | 0.79 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.0388 | 0.0368 | 0.0441 | 9.45 | 1.46 | 0 |

Lab

Population of Lab RSDr

CBC (%AR)

| CBC (%AR) | 014.99 | Other | 189 | 0.2313 | 0.2338 | 0.2306 | 0.72 | 0.15 | 2.16 | 0.73 | 5.98 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 197 | 0.1898 | 0.1925 | 0.1892 | 0.92 | 0.18 | 2.16 | 0.73 | 5.98 | 0 |
| CBC (%AR) | 014.99 | Other | 194 | 0.196 | 0.1974 | 0.2009 | 1.27 | 0.25 | 2.16 | 0.73 | 5.98 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.1797 | 0.1816 | 0.1844 | 1.3 | 0.25 | 2.16 | 0.73 | 5.98 | 0 |
| CBC (%AR) | 014.99 | Other | 132 | 0.177 | 0.172 | 0.175 | 1.44 | 0.28 | 2.16 | 0.73 | 5.98 | 0 |
| CBC (%AR) | 014.99 | Other | 204 | 0.1919 | 0.1881 | 0.186 | 1.59 | 0.31 | 2.16 | 0.73 | 5.98 | 0 |
| CBC (%AR) | 014.99 | Other | 216 | 0.19 | 0.1901 | 0.1961 | 1.82 | 0.36 | 2.16 | 0.73 | 5.98 | 0 |
| CBC (%AR) | 014.99 | Other | 200 | 0.227 | 0.218 | 0.223 | 2.03 | 0.41 | 2.16 | 0.73 | 5.98 | 0 |
| CBC (%AR) | 014.99 | Other | 183 | 0.1957 | 0.2023 | 0.2035 | 2.09 | 0.41 | 2.16 | 0.73 | 5.98 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.186 | 0.195 | 0.191 | 2.36 | 0.46 | 2.16 | 0.73 | 5.98 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 212 | 0.1965 | 0.1869 | 0.1918 | 2.5 | 0.49 | 2.16 | 0.73 | 5.98 | 0 |
| CBC (%AR) | 014.99 | Other | 142 | 0.174 | 0.164 | 0.17 | 2.97 | 0.57 | 2.16 | 0.73 | 5.98 | 0 |
| CBC (%AR) | 014.99 | Other | 155 | 0.177 | 0.19 | 0.183 | 3.55 | 0.69 | 2.16 | 0.73 | 5.98 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.21 | 0.21 | 0.19 | 5.68 | 1.12 | 2.16 | 0.73 | 5.98 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.189 | 0.206 | 0.184 | 5.98 | 1.17 | 2.16 | 0.73 | 5.98 | 0 |

Lab

Population of Lab RSDr

Cd (ug/g AR)

| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | 0.18 | 0.1771 | 0.1791 | 0.83 | 0.16 | 5.5 | 0.83 | 19.6 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.198 | 0.199 | 0.194 | 1.34 | 0.26 | 5.5 | 0.83 | 19.6 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.163 | 0.169 | 0.169 | 2.07 | 0.4 | 5.5 | 0.83 | 19.6 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | 0.141 | 0.144 | 0.152 | 3.9 | 0.73 | 5.5 | 0.83 | 19.6 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.1403 | 0.1492 | 0.1233 | 9.56 | 1.78 | 5.5 | 0.83 | 19.6 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 194 | 0.1883 | 0.149 | 0.1284 | 19.6 | 3.72 | 5.5 | 0.83 | 19.6 | 0 |

As (ug/g AR)

| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0750 | <0.0750 | <0.0750 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | <0.0482 | <0.0482 | <0.0482 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0996 | <0.1031 | <0.0975 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.031 | 0.0331 | 0.0261 | 11.9 | 1.77 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 194 | 0.0397 | 0.0487 | 0.0397 | 12.2 | 1.9 | 0 |

Lab

Population of Lab RSDr

Hg (ug/g AR)

| Hg (ug/g AR) | 103.04 | ICP-MS | 194 | <0.0200 | <0.0200 | <0.0200 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | <0.0080 | <0.0080 | <0.0080 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0996 | <0.1031 | <0.0975 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | <0.0072 | <0.0072 | <0.0072 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 102 | 0.0091 | 0.0078 | 0.0072 | 12.1 | 1.47 | 0 |

Pb (ug/g AR)

| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | 0.334 | 0.345 | 0.314 | 4.75 | 1.01 | 8.7 | 4.75 | 15.9 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.3903 | 0.3621 | 0.351 | 5.51 | 1.19 | 8.7 | 4.75 | 15.9 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | 0.4393 | 0.386 | 0.4274 | 6.7 | 1.47 | 8.7 | 4.75 | 15.9 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.459 | 0.404 | 0.394 | 8.35 | 1.84 | 8.7 | 4.75 | 15.9 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 0.3347 | 0.3896 | 0.394 | 8.86 | 1.92 | 8.7 | 4.75 | 15.9 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 194 | 0.3258 | 0.2571 | 0.2862 | 11.9 | 2.48 | 8.7 | 4.75 | 15.9 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | 0.362 | 0.264 | 0.337 | 15.9 | 3.35 | 8.7 | 4.75 | 15.9 | 0 |

Cu (ug/g AR)

| Cu (ug/g AR) | 105.04 | ICP-MS | 142 | 16 | 16.7 | 16.8 | 2.64 | 1.01 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | 9.64 | 10.2 | 10.3 | 3.54 | 1.25 | 0 |

Lab

Population of Lab RSDr

Ni (ug/g AR)

| Ni (ug/g AR) | 106.04 | ICP-MS | 142 | 1.4 | 1.41 | 1.39 | 0.71 | 0.19 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | 0.979 | 1.04 | 1.06 | 4.11 | 1.03 | 0 |

Cr (ug/g AR)

| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | 0.5395 | 0.566 | 0.5523 | 2.4 | 0.55 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | 0.651 | 0.685 | 0.671 | 2.55 | 0.6 | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | 0.625 | 0.622 | 0.929 | 24.3 | 5.81 | 0 |

Se (ug/g AR)

| Se (ug/g AR) | 108.04 | ICP-MS | 196 | <0.0963 | <0.0963 | <0.0963 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | <0.0996 | <0.1031 | <0.0975 |  |  | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | 0.051 | 0.067 | 0.056 | 14.1 | 2.31 | 0 |

Ag (ug/g AR)

Ag (ug/g AR)

109.04

ICP-MS

142

<0.0500	<0.0500	<0.0500	1

Ba (ug/g AR)

| Ba (ug/g AR) | 110.04 | ICP-MS | 142 | 61.6 | 60.9 | 64.4 | 2.97 | 1.38 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Zn (ug/g AR)

| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 49.8 | 52.4 | 53.1 | 3.36 | 1.52 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Sb (ug/g AR)

Sb (ug/g AR)

112.04

ICP-MS

196

<0.0241	<0.0241	<0.0241	1

(-)-alpha-Bisabolol (%AR)

| (-)-alpha-Bisabolol (%A | 201.01 | GC,FID | 142 | 0.0878 | 0.0951 | 0.0943 | 4.33 | 0.76 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0373 | 0.0321 | 0.0357 | 7.6 | 1.15 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 194 | 0.0574 | 0.0628 | 0.0532 | 8.33 | 1.36 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | 0.0242 | 0.0215 | 0.0278 | 12.9 | 1.85 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 212 | 0.1068 | 0.1261 | 0.1048 | 10.4 | 1.89 | 0 |

beta-Caryophyllene (%AR)

| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | 0.0255 | 0.023 | 0.0248 | 5.28 | 0.76 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Caryophyllene (% | 202.01 | GC,FID | 142 | 0.0335 | 0.0387 | 0.0361 | 7.2 | 1.1 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 194 | 0.0322 | 0.0342 | 0.0282 | 9.69 | 1.45 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0409 | 0.0331 | 0.0375 | 10.5 | 1.61 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 212 | 0.0623 | 0.0534 | 0.0492 | 12.2 | 1.97 | 0 |

(-)-Caryophyllene oxide (%AR)

| (-)-Caryophyllene oxide | 203.01 | GC,FID | 142 | 0.0125 | 0.0132 | 0.0135 | 3.93 | 0.51 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | 0.0072 | 0.0069 | 0.0082 | 9.16 | 1.1 | 0 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 194 | 0.0124 | 0.0115 | 0.0103 | 9.24 | 1.18 | 0 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 212 | 0.0167 | 0.0145 | 0.0134 | 11.3 | 1.51 | 0 |

Lab

Population of Lab RSDr

Geraniol (%AR)

| Geraniol (%AR) | 204.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |

alpha-Humulene (%AR)

| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | 0.0099 | 0.0089 | 0.0097 | 5.57 | 0.69 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Humulene (%AR) | 205.01 | GC,FID | 142 | 0.0203 | 0.023 | 0.0221 | 6.31 | 0.89 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 194 | 0.0131 | 0.0144 | 0.012 | 9.12 | 1.19 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.017 | 0.0134 | 0.0145 | 12.3 | 1.64 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 212 | 0.0255 | 0.0213 | 0.0186 | 15.9 | 2.25 | 0 |

d-Limonene (%AR)

| d-Limonene (%AR) | 206.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 194 | 0.0021 | 0.0021 | 0.002 | 2.79 | 0.28 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Linalool (%AR)

| Linalool (%AR) | 207.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 194 | 0.0055 | 0.0056 | 0.0054 | 1.82 | 0.21 | 0 |
| Linalool (%AR) | 207.02 | GC,MS | 212 | 0.0005 | 0.0013 | 0.0015 | 48.1 | 4.34 | 0 |

beta-Myrcene (%AR)

| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Myrcene (%AR) | 208.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 |  |  | 1 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  | 1 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 194 | 0.003 | 0.0031 | 0.0028 | 5.15 | 0.54 | 0 |

Nopinene (%AR)

Nopinene (%AR)

209.01

GC,FID

142

<0.0005	<0.0005	<0.0005	1

|  |  |  | Ocimene (%AR) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Ocimene (%AR) | 210.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 212 | 0.0002 | 0.0024 | 0 | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | 1 |

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0013 <0.0013 |  | <0.0013 |  |  | 1 |  |  |  |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  | 1 |  |  |  |
| alpha-Pinene (%AR) | 211.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 |  |  | 1 |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 194 | 0.0013 | 0.0014 | 0.0012 | 7.69 | 0.71 | 0 |  |  |  |
|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |  |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  | 1 |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 194 | 0.0014 | 0.0013 | 0.0013 | 4.33 | 0.4 | 0 |  |  |  |
|  |  |  |  | alpha-Terpinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  | 1 |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 |  |  | 1 |  |  |  |
| alpha-Terpinene (%AR) | 213.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 |  |  | 1 |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |  |  |  |
|  |  |  |  | gamma-Terpinene (%AR) |  |  |  |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  |  | 1 |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0013 <0.0013 |  | <0.0013 |  |  | 1 |  |  |  |

Population of Lab RSDr

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| gamma-Terpinene (%A | 214.02 | GC,MS | 194 | <0.0004 <0.0004 |  | <0.0004 |  |  |  |  |  | 1 |
|  |  |  |  | alpha-Terpinolene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Terpinolene (%A | 215.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
|  |  |  |  | Moisture (%AR) |  |  |  |  |  |  |  |  |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 189 | 5.835 | 5.835 | 5.835 | 0 | 0 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 183 | 8.4 | 8.4 | 8.4 | 0 | 0 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 204 | 6.91 | 6.91 | 6.91 | 0 | 0 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.99 | Other | 105 | 9.15 | 9.04 | 9.07 | 0.63 | 0.22 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.99 | Other | 212 | 6.29 | 6.41 | 6.29 | 1.09 | 0.36 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 7.45 | 7.3 | 7.33 | 1.08 | 0.36 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.72 | NIR | 187 | 7.7 | 7.6 | 7.5 | 1.32 | 0.45 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 6.05 | 6.21 | 6.23 | 1.6 | 0.53 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.99 | Other | 142 | 5.5 | 5.3 | 5.2 | 2.86 | 0.92 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.72 | NIR | 138 | 7.7 | 8 | 7.55 | 2.96 | 1.01 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 3.33 | 3.23 | 3.11 | 3.42 | 1.02 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 162 | 9 | 8.91 | 9.52 | 3.6 | 1.26 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 9.4803 | 10.1951 | 10.0425 | 3.8 | 1.34 | 3.35 | 0 | 11.9 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.99 | Other | 132 | 1.69 | 1.52 | 1.6 | 5.3 | 1.43 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 194 | 8.36 | 7.81 | 7.76 | 4.17 | 1.43 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 172 | 8.022 | 7.5 | 8.256 | 4.88 | 1.67 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.99 | Other | 120 | 6.8016 | 7.2831 | 7.4989 | 4.96 | 1.67 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 196 | 6.92 | 7.52 | 7.58 | 4.97 | 1.68 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 9.3792 | 9.579 | 10.2633 | 4.76 | 1.68 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.99 | Other | 102 | 7.1 | 7.9 | 7.7 | 5.5 | 1.87 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 182 | 7.655 | 8.61 | 8 | 5.98 | 2.05 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 10.14 | 9.12 | 10.44 | 6.99 | 2.47 | 3.35 | 0 | 11.9 | 0 |
| Moisture (%AR) | 500.99 | Other | 224 | 6.9479 | 7.0307 | 8.5392 | 11.9 | 4.05 | 3.35 | 0 | 11.9 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.1654 | 0.1667 | 0.1637 | 0.91 | 0.17 | 4.87 | 0.91 | 19.3 | 0 |
| Δ9-THC (%DW) | 501.99 | Other | 183 | 0.1515 | 0.1532 | 0.1546 | 1.01 | 0.19 | 4.87 | 0.91 | 19.3 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 172 | 0.1814 | 0.1781 | 0.1781 | 1.06 | 0.21 | 4.87 | 0.91 | 19.3 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.1546 | 0.1496 | 0.1549 | 1.95 | 0.37 | 4.87 | 0.91 | 19.3 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 204 | 0.1407 | 0.1342 | 0.1331 | 3.02 | 0.56 | 4.87 | 0.91 | 19.3 | 0 |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 210 | 0.148 | 0.147 | 0.14 | 3.01 | 0.56 | 4.87 | 0.91 | 19.3 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 120 | 0.1605 | 0.1638 | 0.1514 | 4.05 | 0.77 | 4.87 | 0.91 | 19.3 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 105 | 0.147 | 0.166 | 0.158 | 6.08 | 1.15 | 4.87 | 0.91 | 19.3 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 162 | 0.1279 | 0.114 | 0.1297 | 6.94 | 1.27 | 4.87 | 0.91 | 19.3 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 199 | 0.1574 | 0.1487 | 0.1706 | 6.94 | 1.32 | 4.87 | 0.91 | 19.3 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 218 | 0.146 | 0.136 | 0.162 | 8.86 | 1.67 | 4.87 | 0.91 | 19.3 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.1655 | 0.1758 | 0.1968 | 8.89 | 1.72 | 4.87 | 0.91 | 19.3 | 0 |
| Δ9-THC (%DW) | 501.60 | NIR | 187 | 0.24 | 0.17 | 0.18 | 19.3 | 3.78 | 4.87 | 0.91 | 19.3 | 0 |

Lab

Population of Lab RSDr

Δ9-THCA (%DW)

| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | <0.0524 | <0.0203 | <0.0189 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 210 | 0.018 | <0.0140 | <0.0140 |  |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 204 | 0 | 0 | 0 |  |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 105 | <0.0144 | <0.0144 | <0.0144 |  |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.60 | NIR | 187 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 120 | 0.014 | 0.0131 | 0.0134 | 3.39 | 0.45 | 7.25 | 3.25 | 14.3 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.0314 | 0.033 | 0.0334 | 3.25 | 0.49 | 7.25 | 3.25 | 14.3 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0182 | 0.0193 | 0.018 | 3.78 | 0.52 | 7.25 | 3.25 | 14.3 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 218 | 0.032 | 0.035 | 0.036 | 6.06 | 0.92 | 7.25 | 3.25 | 14.3 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 172 | 0.0206 | 0.0239 | 0.0206 | 8.78 | 1.24 | 7.25 | 3.25 | 14.3 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 162 | 0.017 | 0.0167 | 0.0138 | 11.2 | 1.5 | 7.25 | 3.25 | 14.3 | 0 |
| Δ9-THCA (%DW) | 502.99 | Other | 183 | 0.0213 | 0.0247 | 0.0284 | 14.3 | 2.06 | 7.25 | 3.25 | 14.3 | 0 |

CBD (%DW)

| CBD (%DW) | 503.10 | Other LC-UV | 189 | 3.6227 | 3.6385 | 3.6 | 0.54 | 0.16 | 2.95 | 0.53 | 26.5 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%DW) | 503.99 | Other | 183 | 4.1015 | 4.0731 | 4.1187 | 0.56 | 0.17 | 2.95 | 0.53 | 26.5 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%DW) | 503.01 | AOAC 2018.10 | 210 | 3.86 | 3.844 | 3.781 | 1.09 | 0.33 | 2.95 | 0.53 | 26.5 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 199 | 3.9036 | 3.8979 | 3.9874 | 1.28 | 0.39 | 2.95 | 0.53 | 26.5 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 4.0126 | 3.9102 | 3.9518 | 1.3 | 0.4 | 2.95 | 0.53 | 26.5 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 172 | 4.5409 | 4.4008 | 4.4128 | 1.74 | 0.55 | 2.95 | 0.53 | 26.5 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 204 | 3.7341 | 3.6427 | 3.6011 | 1.86 | 0.57 | 2.95 | 0.53 | 26.5 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 162 | 4.0637 | 4.2126 | 4.3248 | 3.12 | 0.97 | 2.95 | 0.53 | 26.5 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 218 | 3.536 | 3.633 | 3.887 | 4.92 | 1.5 | 2.95 | 0.53 | 26.5 | 0 |
| CBD (%DW) | 503.30 | Other LC-MS | 102 | 3.9201 | 4.387 | 4.198 | 5.63 | 1.75 | 2.95 | 0.53 | 26.5 | 0 |
| CBD (%DW) | 503.30 | Other LC-MS | 105 | 3.16 | 3.47 | 3.58 | 6.4 | 1.93 | 2.95 | 0.53 | 26.5 | 0 |
| CBD (%DW) | 503.60 | NIR | 187 | 4.67 | 3.04 | 3.02 | 26.5 | 8.03 | 2.95 | 0.53 | 26.5 | 0 |
|  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 2.1939 | 2.2021 | 2.1773 | 0.58 | 0.16 | 2.24 | 0.58 | 20.2 | 0 |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 210 | 2.661 | 2.639 | 2.595 | 1.28 | 0.37 | 2.24 | 0.58 | 20.2 | 0 |
| CBDA (%DW) | 504.99 | Other | 183 | 2.5797 | 2.5758 | 2.6453 | 1.5 | 0.43 | 2.24 | 0.58 | 20.2 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 172 | 2.8347 | 2.7521 | 2.8119 | 1.52 | 0.45 | 2.24 | 0.58 | 20.2 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 218 | 2.038 | 2.093 | 2.117 | 1.94 | 0.54 | 2.24 | 0.58 | 20.2 | 0 |
| CBDA (%DW) | 504.30 | Other LC-MS | 105 | 1.82 | 1.88 | 1.89 | 2.03 | 0.56 | 2.24 | 0.58 | 20.2 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 199 | 2.5282 | 2.5316 | 2.4361 | 2.17 | 0.62 | 2.24 | 0.58 | 20.2 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 204 | 2.3559 | 2.2795 | 2.2589 | 2.22 | 0.63 | 2.24 | 0.58 | 20.2 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 2.3199 | 2.1868 | 2.2292 | 3.03 | 0.86 | 2.24 | 0.58 | 20.2 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 162 | 2.2605 | 2.4316 | 2.5229 | 5.54 | 1.58 | 2.24 | 0.58 | 20.2 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%DW) | 504.60 | NIR | 187 | 3 | 2.26 | 3.41 | 20.2 | 5.93 | 2.24 | 0.58 | 20.2 | 0 |

Lab

Population of Lab RSDr

CBN (%DW)

| CBN (%DW) | 505.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%DW) | 505.20 | Other LC-MS | 102 | <0.0524 | <0.0507 | <0.0472 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0365 | 0.0366 | 0.0364 | 0.27 | 0.04 | 5.66 | 0.27 | 17.4 | 0 |
| CBN (%DW) | 505.20 | Other LC-MS | 105 | 0.0271 | 0.0265 | 0.0272 | 1.41 | 0.2 | 5.66 | 0.27 | 17.4 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 204 | 0.0343 | 0.0336 | 0.0326 | 2.55 | 0.38 | 5.66 | 0.27 | 17.4 | 0 |
| CBN (%DW) | 505.99 | Other | 183 | 0.0342 | 0.0348 | 0.0361 | 2.77 | 0.42 | 5.66 | 0.27 | 17.4 | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 218 | 0.029 | 0.03 | 0.031 | 3.33 | 0.49 | 5.66 | 0.27 | 17.4 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 162 | 0.0353 | 0.0336 | 0.0375 | 5.51 | 0.84 | 5.66 | 0.27 | 17.4 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | 0.0445 | 0.0464 | 0.0505 | 6.51 | 1.03 | 5.66 | 0.27 | 17.4 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 116 | 0.0529 | 0.0399 | 0.0466 | 14 | 2.21 | 5.66 | 0.27 | 17.4 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.0402 | 0.0327 | 0.0465 | 17.4 | 2.68 | 5.66 | 0.27 | 17.4 | 0 |

Total Δ9-THC (%DW)

| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.193 | 0.1957 | 0.193 | 0.8 | 0.16 | 5.13 | 0.8 | 18.5 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 172 | 0.1995 | 0.1991 | 0.1962 | 0.91 | 0.18 | 5.13 | 0.8 | 18.5 | 0 |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 210 | 0.164 | 0.16 | 0.16 | 1.43 | 0.27 | 5.13 | 0.8 | 18.5 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 138 | 0.1618 | 0.1655 | 0.1695 | 2.33 | 0.44 | 5.13 | 0.8 | 18.5 | 0 |
| Total Δ9-THC (%DW) | 506.99 | Other | 183 | 0.1702 | 0.1748 | 0.1795 | 2.66 | 0.51 | 5.13 | 0.8 | 18.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 204 | 0.1407 | 0.1342 | 0.1331 | 3.02 | 0.56 | 5.13 | 0.8 | 18.5 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.1735 | 0.1642 | 0.1651 | 3.06 | 0.59 | 5.13 | 0.8 | 18.5 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 120 | 0.1728 | 0.1753 | 0.1632 | 3.75 | 0.72 | 5.13 | 0.8 | 18.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 182 | 0.1479 | 0.1383 | 0.1344 | 4.96 | 0.92 | 5.13 | 0.8 | 18.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 162 | 0.1428 | 0.1286 | 0.1418 | 5.75 | 1.07 | 5.13 | 0.8 | 18.5 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 105 | 0.147 | 0.166 | 0.158 | 6.08 | 1.15 | 5.13 | 0.8 | 18.5 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 199 | 0.1705 | 0.1633 | 0.1848 | 6.33 | 1.22 | 5.13 | 0.8 | 18.5 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 218 | 0.174 | 0.167 | 0.194 | 7.86 | 1.52 | 5.13 | 0.8 | 18.5 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.15 | 0.1526 | 0.1732 | 8.01 | 1.52 | 5.13 | 0.8 | 18.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.1815 | 0.1927 | 0.2126 | 8.05 | 1.58 | 5.13 | 0.8 | 18.5 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.1865 | 0.1577 | 0.171 | 8.39 | 1.61 | 5.13 | 0.8 | 18.5 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.1827 | 0.1754 | 0.2068 | 8.73 | 1.7 | 5.13 | 0.8 | 18.5 | 0 |
| Total Δ9-THC (%DW) | 506.60 | NIR | 187 | 0.2419 | 0.1732 | 0.1839 | 18.5 | 3.64 | 5.13 | 0.8 | 18.5 | 0 |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 199 | 6.1208 | 6.1181 | 6.1239 | 0.05 | 0.02 | 3.58 | 0.05 | 24.3 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 189 | 5.5468 | 5.5698 | 5.5095 | 0.55 | 0.18 | 3.58 | 0.05 | 24.3 | 0 |
| Total CBD (%DW) | 507.99 | Other | 183 | 6.3639 | 6.3321 | 6.4386 | 0.86 | 0.28 | 3.58 | 0.05 | 24.3 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 138 | 6.8228 | 6.9068 | 6.939 | 0.87 | 0.29 | 3.58 | 0.05 | 24.3 | 0 |
| Total CBD (%DW) | 507.01 | AOAC 2018.10 | 210 | 6.194 | 6.158 | 6.057 | 1.16 | 0.38 | 3.58 | 0.05 | 24.3 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 172 | 7.0269 | 6.8144 | 6.8788 | 1.58 | 0.53 | 3.58 | 0.05 | 24.3 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 6.0471 | 5.8281 | 5.9068 | 1.87 | 0.61 | 3.58 | 0.05 | 24.3 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 204 | 5.8002 | 5.5822 | 5.6418 | 1.99 | 0.65 | 3.58 | 0.05 | 24.3 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 218 | 5.324 | 5.469 | 5.743 | 3.86 | 1.25 | 3.58 | 0.05 | 24.3 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 162 | 6.0461 | 6.3452 | 6.5374 | 3.92 | 1.3 | 3.58 | 0.05 | 24.3 | 0 |
| Total CBD (%DW) | 507.30 | Other LC-MS | 105 | 4.76 | 5.12 | 5.24 | 4.96 | 1.58 | 3.58 | 0.05 | 24.3 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 7.0336 | 5.6514 | 6.1169 | 11.2 | 3.7 | 3.58 | 0.05 | 24.3 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 4.7029 | 5.0718 | 5.954 | 12.3 | 3.94 | 3.58 | 0.05 | 24.3 | 0 |
| Total CBD (%DW) | 507.60 | NIR | 187 | 7.3 | 5.02 | 4.8 | 24.3 | 7.89 | 3.58 | 0.05 | 24.3 | 0 |

Lab

Population of Lab RSDr

CBDV (%DW)

| CBDV (%DW) | 508.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%DW) | 508.99 | Other | 183 | 0.0329 | 0.032 | 0.0332 | 1.91 | 0.29 | 0 |
| CBDV (%DW) | 508.02 | AOAC 2018.11, U | 210 | 0.029 | 0.028 | 0.029 | 2.01 | 0.3 | 0 |
| CBDV (%DW) | 508.99 | Other | 189 | 0.0335 | 0.0342 | 0.0288 | 9.13 | 1.37 | 0 |

CBDVA (%DW)

| CBDVA (%DW) | 509.01 | AOAC 2018.10 | 210 | 0.021 | 0.021 | 0.02 | 2.79 | 0.39 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%DW) | 509.99 | Other | 183 | 0.0278 | 0.0269 | 0.0286 | 3.06 | 0.45 | 0 |

CBG (%DW)

| CBG (%DW) | 510.99 | Other | 189 | 0.485 | 0.4856 | 0.4806 | 0.56 | 0.13 | 1.73 | 0.56 | 2.64 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%DW) | 510.99 | Other | 183 | 0.4731 | 0.4747 | 0.4629 | 1.36 | 0.3 | 1.73 | 0.56 | 2.64 | 0 |
| CBG (%DW) | 510.01 | AOAC 2018.10 | 210 | 0.466 | 0.474 | 0.48 | 1.48 | 0.33 | 1.73 | 0.56 | 2.64 | 0 |
| CBG (%DW) | 510.99 | Other | 204 | 0.4746 | 0.4579 | 0.474 | 2.02 | 0.45 | 1.73 | 0.56 | 2.64 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%DW) | 510.99 | Other | 105 | 0.318 | 0.333 | 0.324 | 2.32 | 0.49 | 1.73 | 0.56 | 2.64 | 0 |
| CBG (%DW) | 510.99 | Other | 162 | 0.4663 | 0.4672 | 0.4884 | 2.64 | 0.59 | 1.73 | 0.56 | 2.64 | 0 |

Lab

Population of Lab RSDr

CBGA (%DW)

| CBGA (%DW) | 511.99 | Other | 183 | 0.6586 | 0.659 | 0.6552 | 0.32 | 0.07 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%DW) | 511.99 | Other | 189 | 0.6168 | 0.6166 | 0.6091 | 0.72 | 0.17 | 0 |
| CBGA (%DW) | 511.01 | AOAC 2018.10 | 210 | 0.691 | 0.692 | 0.682 | 0.8 | 0.19 | 0 |
| CBGA (%DW) | 511.99 | Other | 204 | 0.628 | 0.6088 | 0.6175 | 1.56 | 0.36 | 0 |
| CBGA (%DW) | 511.99 | Other | 162 | 0.7023 | 0.7725 | 0.7766 | 5.57 | 1.34 | 0 |

THCV (%DW)

| THCV (%DW) | 512.99 | Other | 183 | 0 | 0 | 0 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%DW) | 512.02 | AOAC 2018.11, U | 210 | <0.0130 | <0.0130 | <0.0130 |  |  | 1 |
| THCV (%DW) | 512.99 | Other | 189 | 0.0334 | 0.0314 | 0.0295 | 6.2 | 0.93 | 0 |

Δ8-THC (%DW)

| Δ8-THC (%DW) | 513.99 | Other | 102 | <0.0210 | <0.0203 | <0.0189 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 183 | 0 | 0 | 0 |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 189 | 0.0092 | 0.0096 | 0.0085 | 6.12 | 0.76 | 0 |
| Δ8-THC (%DW) | 513.01 | AOAC 2018.10 | 210 | 0.029 | 0.028 | 0.031 | 5.21 | 0.77 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

CBC (%DW)

| CBC (%DW) | 514.99 | Other | 189 | 0.2457 | 0.2482 | 0.2449 | 0.7 | 0.14 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.99 | Other | 204 | 0.2032 | 0.197 | 0.1992 | 1.57 | 0.31 | 0 |
| CBC (%DW) | 514.99 | Other | 162 | 0.2109 | 0.2033 | 0.209 | 1.9 | 0.38 | 0 |
| CBC (%DW) | 514.99 | Other | 183 | 0.2121 | 0.2193 | 0.2206 | 2.11 | 0.42 | 0 |
| CBC (%DW) | 514.99 | Other | 105 | 0.189 | 0.203 | 0.18 | 6.08 | 1.19 | 0 |

- Flag definitions: 1 (Lab RSDr not calculated because there were less than 3 numeric lab results)

- Statistical parameters of robust mean, minimum, and maximum for RSDr only shown only if there were 6 or more lab RSDr values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.c