Hemp Proficiency Testing

All Labs Trueness HM22SEP-1 (hemp)

Sample: HM22SEP-1 (hemp)

All Labs Trueness

Issue Date:

ovember 18, 2022

| Analyte | Code | Method | Lab Num |  | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Δ9-THC (%AR) |  |  |  |  |  |  |  |  |  |  |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 192 | 0.108 | 0.0975 | 0.1152 | 0.107 | -2.06 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 |  | 148 | 0.113 | 0.113 | 0.115 | 0.114 | -1.64 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 225 | 0.0885 | 0.1391 | 0.1164 | 0.115 | -1.58 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 124 | 0.0885 | 0.1391 | 0.1164 | 0.115 | -1.58 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 182 | 0.1251 | 0.1169 | 0.1143 | 0.119 | -1.33 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M |  | 139 | 0.1179 | 0.1242 | 0.1215 | 0.121 | -1.18 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 161 | 0.129 | 0.128 | 0.123 | 0.127 | -0.84 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 113 | 0.1282 | 0.1293 | 0.1249 | 0.127 | -0.79 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 204 | 0.1329 | 0.1267 | 0.1257 | 0.128 | -0.73 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.99 | Other |  | 132 | 0.128 | 0.124 | 0.131 | 0.128 | -0.78 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 142 | 0.133 | 0.125 | 0.129 | 0.129 | -0.69 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 149 | 0.125 | 0.135 | 0.128 | 0.129 | -0.67 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 200 | 0.137 | 0.13 | 0.132 | 0.133 | -0.45 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 197 | 0.1293 | 0.1358 | 0.1369 | 0.134 | -0.39 | 0.1402 | 42 | 0.0162 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 191 | 0.1324 | 0.1354 | 0.1376 | 0.135 | -0.32 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 196 | 0.1311 | 0.1387 | 0.1355 | 0.135 | -0.32 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.1287 | 0.1377 | 0.143 | 0.136 | -0.23 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.1344 | 0.15 | 0.1332 | 0.139 | -0.06 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 216 | 0.1363 | 0.1416 | 0.1402 | 0.139 | -0.05 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 125 | 0.144 | 0.143 | 0.129 | 0.139 | -0.1 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 183 | 0.1398 | 0.1413 | 0.1426 | 0.141 | 0.06 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 149 | 0.157 | 0.134 | 0.138 | 0.143 | 0.17 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.1425 | 0.1335 | 0.1535 | 0.143 | 0.18 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.15 | 0.14 | 0.14 | 0.143 | 0.19 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.15 | 0.14 | 0.14 | 0.143 | 0.19 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 164 | 0.1443 | 0.1386 | 0.1488 | 0.144 | 0.23 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.1504 | 0.1414 | 0.1462 | 0.146 | 0.35 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 155 | 0.151 | 0.145 | 0.142 | 0.146 | 0.35 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 194 | 0.1483 | 0.1489 | 0.1394 | 0.146 | 0.33 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.1508 | 0.1459 | 0.1452 | 0.147 | 0.44 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 120 | 0.1496 | 0.1519 | 0.14 | 0.147 | 0.43 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 212 | 0.1477 | 0.1498 | 0.146 | 0.148 | 0.47 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.153 | 0.1495 | 0.145 | 0.149 | 0.55 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.1594 | 0.1494 | 0.1499 | 0.153 | 0.78 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 217 | 0.1534 | 0.1587 | 0.151 | 0.154 | 0.87 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 170 | 0.1492 | 0.1535 | 0.1608 | 0.154 | 0.88 | 0.1402 | 42 | 0.0162 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.1558 | 0.157 | 0.1542 | 0.156 | 0.95 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 172 | 0.167 | 0.164 | 0.164 | 0.165 | 1.53 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.1553 | 0.1649 | 0.1847 | 0.168 | 1.73 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.60 | NIR | 187 | 0.22 | 0.16 | 0.17 | 0.183 | 2.66 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.2001 | 0.1956 | 0.1968 | 0.198 | 3.53 | 0.1402 | 42 | 0.0162 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 152 | 0.1981 | 0.1981 | 0.1964 | 0.198 | 3.53 | 0.1402 | 42 | 0.0162 | 0 |

Population of Lab Values

| Δ9-THCA (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.60 | NIR | 187 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | <0.0125 | <0.0125 | <0.0125 | <0.0125 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 170 | <0.0200 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 217 | <0.0200 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | <0.0250 | <0.0240 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | <0.0436 | <0.0187 | <0.0174 | <0.0436 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0465 | <0.0472 | <0.0493 | <0.0465 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 216 | <0.0498 | <0.0495 | <0.0490 | <0.0498 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 161 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 204 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | 0.0094 | 0.0089 | 0.009 | 0.0091 | -1.19 | 0.0175 | 29 | 0.007 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 124 | 0.0087 | 0.0126 | 0.008 | 0.0098 | -1.1 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.0112 | 0.0102 | 0.0097 | 0.0104 | -1.01 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 113 | 0.0097 | 0.0108 | 0.009 | 0.0098 | -1.09 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 225 | 0.0087 | 0.0126 | 0.008 | 0.0098 | -1.1 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 182 | 0.0131 | 0.0108 | 0.0107 | 0.0115 | -0.85 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 132 | 0.012 | 0.01 | 0.01 | 0.0107 | -0.97 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 120 | 0.0131 | 0.0121 | 0.0124 | 0.0125 | -0.7 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | 0.013 | 0.014 | 0.013 | 0.0133 | -0.59 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.012 | 0.014 | 0.015 | 0.0137 | -0.54 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | 0.0121 | 0.0151 | 0.0182 | 0.0151 | -0.33 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.0149 | 0.0145 | 0.0154 | 0.0149 | -0.36 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.0168 | 0.0173 | 0.0132 | 0.0158 | -0.24 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 200 | 0.019 | 0.018 | 0.015 | 0.0173 | -0.02 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0171 | 0.0181 | 0.0169 | 0.0174 | -0.01 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 191 | 0.017 | 0.0166 | 0.0174 | 0.017 | -0.07 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 164 | 0.0191 | 0.0179 | 0.0173 | 0.0181 | 0.09 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | 0.0169 | 0.0165 | 0.0192 | 0.0175 | 0.01 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0.0172 | 0.019 | 0.0173 | 0.0178 | 0.05 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 172 | 0.019 | 0.022 | 0.019 | 0.02 | 0.36 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.02 | 0.02 | 0.02 | 0.02 | 0.36 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | 0.0199 | 0.0199 | 0.0197 | 0.0198 | 0.34 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 183 | 0.0197 | 0.0228 | 0.0262 | 0.0229 | 0.78 | 0.0175 | 29 | 0.007 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 148 | 0.023 | 0.023 | 0.023 | 0.023 | 0.79 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 155 | 0.022 | 0.037 | 0.023 | 0.0273 | 1.41 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0295 | 0.0311 | 0.0315 | 0.0307 | 1.89 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 212 | 0.03 | 0.0404 | 0.026 | 0.0321 | 2.1 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.0657 | 0.0696 | 0.0802 | 0.0718 | 7.77 | 0.0175 | 29 | 0.007 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 152 | 0.0407 | 0.3709 | 0.3756 | 0.262 | 34.99 | 0.0175 | 29 | 0.007 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 2.9655 | 2.9328 | 2.9581 | 2.95 | -1.93 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 155 | 2.93 | 2.85 | 3.13 | 2.97 | -1.88 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 200 | 3.166 | 2.994 | 2.952 | 3.04 | -1.66 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.99 | Other | 132 | 3.22 | 3.187 | 3.126 | 3.18 | -1.22 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 2.9191 | 3.1472 | 3.6882 | 3.25 | -0.98 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 161 | 3.275 | 3.342 | 3.261 | 3.29 | -0.85 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 212 | 3.3225 | 3.2368 | 3.3607 | 3.31 | -0.81 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.60 | NIR | 187 | 4.31 | 2.81 | 2.8 | 3.31 | -0.81 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 3.314 | 3.483 | 3.431 | 3.41 | -0.48 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 3.4113 | 3.4262 | 3.3899 | 3.41 | -0.48 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 152 | 3.6526 | 3.3292 | 3.3487 | 3.44 | -0.37 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 204 | 3.5261 | 3.4005 | 3.4398 | 3.46 | -0.34 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 3.47 | 3.66 | 3.3 | 3.48 | -0.27 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 3.4532 | 3.5087 | 3.4929 | 3.48 | -0.24 | 3.5613 | 33 | 0.315 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 3.47 | 3.44 | 3.528 | 3.48 | -0.26 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 3.5335 | 3.5005 | 3.587 | 3.54 | -0.07 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 194 | 3.5332 | 3.5473 | 3.5376 | 3.54 | -0.07 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 3.64 | 3.48 | 3.54 | 3.55 | -0.03 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 191 | 3.4705 | 3.5145 | 3.8118 | 3.6 | 0.12 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 170 | 3.42 | 3.7411 | 3.7408 | 3.63 | 0.23 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 216 | 3.7025 | 3.7653 | 3.478 | 3.65 | 0.28 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 3.83 | 3.59 | 3.66 | 3.69 | 0.42 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 3.7654 | 3.6693 | 3.7084 | 3.71 | 0.49 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 3.706 | 3.7415 | 3.7005 | 3.72 | 0.49 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 102 | 3.2639 | 4.0391 | 3.8752 | 3.73 | 0.52 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.99 | Other | 183 | 3.7837 | 3.7575 | 3.7995 | 3.78 | 0.7 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 3.8585 | 3.7202 | 3.8231 | 3.8 | 0.76 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 164 | 3.7804 | 3.9645 | 3.6884 | 3.81 | 0.79 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 113 | 3.9412 | 3.9219 | 3.7501 | 3.87 | 0.98 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 4.077 | 4.13 | 3.945 | 4.05 | 1.55 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 172 | 4.181 | 4.052 | 4.063 | 4.1 | 1.71 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 4.3919 | 4.1014 | 4.1494 | 4.21 | 2.07 | 3.5613 | 33 | 0.315 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 4.404 | 4.4041 | 4.4038 | 4.4 | 2.67 | 3.5613 | 33 | 0.315 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.10 | Other LC-UV | 155 | 0.533 | 0.516 | 0.55 | 0.533 | -5.19 | 2.1416 | 31 | 0.31 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 212 | 1.6624 | 1.6166 | 1.7084 | 1.66 | -1.55 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 1.5311 | 1.6405 | 1.8869 | 1.69 | -1.47 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.99 | Other | 132 | 1.808 | 1.731 | 1.705 | 1.75 | -1.27 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 200 | 1.874 | 1.789 | 1.733 | 1.8 | -1.11 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 1.8651 | 1.86 | 1.9078 | 1.88 | -0.85 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 161 | 1.89 | 2.005 | 1.838 | 1.91 | -0.74 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 2 | 1.9 | 1.92 | 1.94 | -0.65 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 1.9547 | 1.9552 | 1.9556 | 1.96 | -0.6 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | 2.03 | 2.12 | 1.86 | 2 | -0.45 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 2.0252 | 2.0575 | 2.0642 | 2.05 | -0.3 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 2.055 | 2.073 | 2.046 | 2.06 | -0.27 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 2.0659 | 2.0736 | 2.0503 | 2.06 | -0.25 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 2.177 | 2.0521 | 2.0919 | 2.11 | -0.11 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 204 | 2.2247 | 2.1525 | 2.1331 | 2.17 | 0.09 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 2.1805 | 2.1896 | 2.1527 | 2.17 | 0.11 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 216 | 2.199 | 2.199 | 2.1775 | 2.19 | 0.16 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 194 | 2.2478 | 2.2152 | 2.196 | 2.22 | 0.25 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.60 | NIR | 187 | 2.77 | 2.09 | 1.87 | 2.24 | 0.33 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 2.2885 | 2.2735 | 2.1915 | 2.25 | 0.35 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 2.2205 | 2.2255 | 2.3066 | 2.25 | 0.35 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | 2.357 | 2.286 | 2.11 | 2.25 | 0.35 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 2.31 | 2.18 | 2.29 | 2.26 | 0.38 | 2.1416 | 31 | 0.31 | 0 |

Population of Lab Values

| Analyte Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 2.4585 | 2.19 | 2.325 | 2.32 | 0.59 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 152 | 2.4363 | 2.2979 | 2.2752 | 2.34 | 0.63 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 191 | 2.3482 | 2.3858 | 2.4476 | 2.39 | 0.81 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.99 | Other | 183 | 2.3798 | 2.3762 | 2.4403 | 2.4 | 0.83 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 172 | 2.61 | 2.534 | 2.589 | 2.58 | 1.41 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 164 | 2.5982 | 2.6336 | 2.5166 | 2.58 | 1.42 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 2.639 | 2.84 | 2.795 | 2.76 | 1.99 | 2.1416 | 31 | 0.31 | 0 |
| CBDA (%AR) | 004.01 | AOAC 2018.10 | 170 | 2.986 | 3.2258 | 3.2141 | 3.14 | 3.23 | 2.1416 | 31 | 0.31 | 0 |

Population of Lab Values

| CBN (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  | 1 |
| CBN (%AR) | 005.20 | Other LC-MS | 102 | <0.0436 | <0.0467 | <0.0436 | <0.0436 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | <0.0465 | <0.0472 | <0.0493 | <0.0465 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 216 | <0.0498 | <0.0495 | <0.0490 | <0.0498 |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| CBN (%AR) | 005.99 | Other | 132 | 0.025 | 0.024 | 0.026 | 0.025 | -1.17 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | 0.0254 | 0.024 | 0.0249 | 0.0248 | -1.21 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | 0.03 | <0.0240 | <0.0250 | 0.0263 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.03 | 0.03 | 0.02 | 0.0267 | -0.95 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0248 | 0.0278 | 0.0271 | 0.0266 | -0.97 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.028 | 0.0274 | 0.0282 | 0.0279 | -0.8 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 107 | 0.025 | 0.024 | 0.037 | 0.0287 | -0.69 | 0.0339 | 20 | 0.0076 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | 0.0302 | 0.0296 | 0.0297 | 0.0298 | -0.54 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 200 | 0.032 | 0.031 | 0.031 | 0.0313 | -0.34 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 204 | 0.0324 | 0.0317 | 0.0308 | 0.0316 | -0.3 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.99 | Other | 183 | 0.0315 | 0.0321 | 0.0333 | 0.0323 | -0.21 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 149 | 0.036 | 0.032 | 0.033 | 0.0337 | -0.03 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 192 | 0.0362 | 0.0335 | 0.0327 | 0.0341 | 0.03 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0343 | 0.0345 | 0.0343 | 0.0344 | 0.06 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0364 | 0.0296 | 0.0417 | 0.0359 | 0.27 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0382 | 0.0343 | 0.0416 | 0.038 | 0.55 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 125 | 0.0429 | 0.0427 | 0.0383 | 0.0413 | 0.98 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 212 | 0.043 | 0.037 | 0.0479 | 0.0426 | 1.16 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 116 | 0.0497 | 0.0374 | 0.0437 | 0.0436 | 1.28 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | 0.0418 | 0.0436 | 0.0474 | 0.0443 | 1.37 | 0.0339 | 20 | 0.0076 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.0544 | 0.0884 | 0.0886 | 0.0771 | 5.72 | 0.0339 | 20 | 0.0076 | 0 |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 192 | 0.0916 | 0.0974 | 0.0903 | 0.0931 | -2.54 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 124 | 0.0961 | 0.1501 | 0.1234 | 0.123 | -1.32 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 225 | 0.0961 | 0.1501 | 0.1234 | 0.123 | -1.32 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 161 | 0.129 | 0.128 | 0.123 | 0.127 | -1.18 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 204 | 0.1329 | 0.1267 | 0.1257 | 0.128 | -1.11 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 182 | 0.1366 | 0.1264 | 0.1237 | 0.129 | -1.09 | 0.1558 | 49 | 0.0247 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.125 | 0.135 | 0.128 | 0.129 | -1.07 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.1256 | 0.1307 | 0.1316 | 0.129 | -1.08 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.1293 | 0.1358 | 0.1369 | 0.134 | -0.88 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 148 | 0.134 | 0.133 | 0.136 | 0.134 | -0.87 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.1311 | 0.1387 | 0.1355 | 0.135 | -0.84 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.1348 | 0.1382 | 0.1328 | 0.135 | -0.83 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.1412 | 0.1328 | 0.1369 | 0.137 | -0.76 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 132 | 0.139 | 0.132 | 0.14 | 0.137 | -0.76 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 216 | 0.1363 | 0.1416 | 0.1402 | 0.139 | -0.67 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 194 | 0.1483 | 0.1489 | 0.1394 | 0.146 | -0.42 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 200 | 0.154 | 0.146 | 0.145 | 0.148 | -0.3 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.1444 | 0.1511 | 0.1524 | 0.149 | -0.26 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 191 | 0.1473 | 0.1499 | 0.1528 | 0.15 | -0.24 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.1492 | 0.1652 | 0.1447 | 0.153 | -0.11 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.1521 | 0.1539 | 0.1535 | 0.153 | -0.11 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.1493 | 0.1527 | 0.1564 | 0.153 | -0.12 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.1451 | 0.1477 | 0.1678 | 0.154 | -0.09 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.159 | 0.157 | 0.146 | 0.154 | -0.07 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 217 | 0.1534 | 0.1587 | 0.151 | 0.154 | -0.06 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.169 | 0.145 | 0.149 | 0.154 | -0.06 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.1543 | 0.1467 | 0.1662 | 0.156 | 0 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.16 | 0.15 | 0.16 | 0.157 | 0.03 | 0.1558 | 49 | 0.0247 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.1628 | 0.1585 | 0.1535 | 0.158 | 0.1 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 120 | 0.1611 | 0.1625 | 0.1509 | 0.158 | 0.1 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.1635 | 0.1541 | 0.1597 | 0.159 | 0.13 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.152 | 0.157 | 0.171 | 0.16 | 0.17 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 164 | 0.161 | 0.1543 | 0.164 | 0.16 | 0.16 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.1751 | 0.148 | 0.1605 | 0.161 | 0.22 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 183 | 0.157 | 0.1613 | 0.1656 | 0.161 | 0.22 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 155 | 0.165 | 0.166 | 0.162 | 0.164 | 0.35 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1656 | 0.1586 | 0.1856 | 0.17 | 0.57 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 212 | 0.174 | 0.1852 | 0.1688 | 0.176 | 0.82 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.1861 | 0.1657 | 0.1807 | 0.177 | 0.88 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 187 | 0.22 | 0.16 | 0.17 | 0.183 | 1.12 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 172 | 0.1837 | 0.1833 | 0.1807 | 0.183 | 1.08 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.1817 | 0.1843 | 0.1818 | 0.183 | 1.09 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.1703 | 0.1808 | 0.1995 | 0.184 | 1.12 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 128 | 0.2004 | 0.1933 | 0.1951 | 0.196 | 1.64 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.2003 | 0.2083 | 0.1943 | 0.201 | 1.83 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 190 | 0.209 |  |  | 0.209 |  |  |  |  | 1 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 121 | 0.194 | 0.206 | 0.236 | 0.212 | 2.28 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.2129 | 0.2127 | 0.2128 | 0.213 | 2.31 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 152 | 0.2339 | 0.2237 | 0.235 | 0.231 | 3.04 | 0.1558 | 49 | 0.0247 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 138 | 0.16 | 0.26 | 0.275 | 0.232 | 3.08 | 0.1558 | 49 | 0.0247 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.40 | GC-FID | 192 | 3.2072 | 3.212 | 3.1157 | 3.18 | -3.6 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 155 | 4.48 | 4.34 | 4.8 | 4.54 | -1.41 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 4.6012 | 4.564 | 4.6312 | 4.6 | -1.32 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 200 | 4.809 | 4.563 | 4.472 | 4.61 | -1.29 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.99 | Other | 132 | 4.807 | 4.706 | 4.623 | 4.71 | -1.13 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 4.2618 | 4.5859 | 5.3429 | 4.73 | -1.1 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 212 | 4.7804 | 4.6546 | 4.859 | 4.76 | -1.05 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 138 | 5.305 | 4.66 | 4.885 | 4.95 | -0.75 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 161 | 4.933 | 5.1 | 4.873 | 4.97 | -0.72 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 5.2231 | 5.2448 | 5.188 | 5.22 | -0.32 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 5.25 | 5.52 | 4.93 | 5.23 | -0.29 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 5.4252 | 5.1654 | 5.1719 | 5.25 | -0.26 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 5.394 | 5.1463 | 5.2238 | 5.25 | -0.26 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 187 | 6.74 | 4.64 | 4.44 | 5.27 | -0.23 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 5.272 | 5.258 | 5.323 | 5.28 | -0.21 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 5.2292 | 5.3131 | 5.3032 | 5.28 | -0.22 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 5.4932 | 5.3922 | 4.973 | 5.29 | -0.21 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 204 | 5.4772 | 5.3275 | 5.2712 | 5.36 | -0.09 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 194 | 5.5045 | 5.49 | 5.4635 | 5.49 | 0.11 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 152 | 5.7895 | 5.3773 | 5.3111 | 5.49 | 0.12 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 5.5405 | 5.4944 | 5.5089 | 5.51 | 0.16 | 5.4164 | 35 | 0.6211 | 0 |

Population of Lab Values

Lab

Lab

Population of Lab Values

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 107 | 5.644 | 5.824 | 5.132 | 5.53 | 0.19 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 5.6746 | 5.469 | 5.543 | 5.56 | 0.23 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 216 | 5.631 | 5.6938 | 5.3877 | 5.57 | 0.25 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 5.6183 | 5.6618 | 5.5884 | 5.62 | 0.33 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 191 | 5.5298 | 5.6068 | 5.9583 | 5.7 | 0.45 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.99 | Other | 183 | 5.8707 | 5.8414 | 5.9397 | 5.88 | 0.75 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 6.6003 | 5.3032 | 5.7401 | 5.88 | 0.75 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 6.144 | 6.135 | 5.795 | 6.02 | 0.98 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 164 | 6.059 | 6.2742 | 5.8955 | 6.08 | 1.06 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 6.1201 | 6.1202 | 6.1201 | 6.12 | 1.13 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 6.5485 | 6.0225 | 6.1889 | 6.25 | 1.35 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 172 | 6.47 | 6.2743 | 6.3336 | 6.36 | 1.52 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 6.294 | 6.3715 | 6.4012 | 6.36 | 1.51 | 5.4164 | 35 | 0.6211 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 6.8276 | 7.0679 | 5.6367 | 6.51 | 1.76 | 5.4164 | 35 | 0.6211 | 0 |

|  |  |  | CBDV (%AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 197 | <0.0465 | <0.0472 | <0.0493 | <0.0465 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 216 | <0.0498 | <0.0495 | <0.0490 | <0.0498 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.02 | 0.02 | 0.02 | 0.02 | -1.37 | 0.028 | 9 | 0.0058 | 0 |
| CBDV (%AR) | 008.99 | Other | 132 | 0.023 | 0.022 | 0.022 | 0.0223 | -0.97 | 0.028 | 9 | 0.0058 | 0 |
| CBDV (%AR) | 008.99 | Other | 196 | 0.0234 | 0.0232 | 0.0231 | 0.0232 | -0.82 | 0.028 | 9 | 0.0058 | 0 |

| Analyte Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 200 | 0.03 | 0.029 | 0.029 | 0.0293 | 0.23 | 0.028 | 9 | 0.0058 | 0 |
| CBDV (%AR) | 008.99 | Other | 142 | 0.0306 | 0.0278 | 0.0288 | 0.0291 | 0.19 | 0.028 | 9 | 0.0058 | 0 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0315 | 0.0322 | 0.0271 | 0.0303 | 0.39 | 0.028 | 9 | 0.0058 | 0 |
| CBDV (%AR) | 008.99 | Other | 183 | 0.0304 | 0.0296 | 0.0307 | 0.0302 | 0.39 | 0.028 | 9 | 0.0058 | 0 |
| CBDV (%AR) | 008.99 | Other | 149 | 0.033 | 0.03 | 0.03 | 0.031 | 0.52 | 0.028 | 9 | 0.0058 | 0 |
| CBDV (%AR) | 008.99 | Other | 212 | 0.0351 | 0.0387 | 0.0354 | 0.0364 | 1.44 | 0.028 | 9 | 0.0058 | 0 |

Population of Lab Values

|  |  |  | CBDVA (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 | 1 |
| CBDVA (%AR) | 009.99 | Other | 149 | <0.0250 | <0.0240 | <0.0250 | <0.0250 | 1 |
| CBDVA (%AR) | 009.99 | Other | 197 | <0.0465 | <0.0472 | <0.0493 | <0.0465 | 1 |
| CBDVA (%AR) | 009.99 | Other | 216 | <0.0498 | <0.0495 | <0.0490 | <0.0498 | 1 |
| CBDVA (%AR) | 009.99 | Other | 142 | 0.0183 | 0.0166 | 0.017 | 0.0173 | 0 |
| CBDVA (%AR) | 009.99 | Other | 183 | 0.0257 | 0.0249 | 0.0264 | 0.0257 | 0 |
| CBDVA (%AR) | 009.99 | Other | 212 | 0.0279 | 0.0288 | 0.0274 | 0.028 | 0 |

|  |  |  | CBG (%AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 197 | 0.3559 | 0.35 | 0.3498 | 0.352 | -1.29 | 0.4176 | 16 | 0.0509 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.3491 | 0.3507 | 0.3569 | 0.352 | -1.28 | 0.4176 | 16 | 0.0509 | 0 |
| CBG (%AR) | 010.99 | Other | 142 | 0.368 | 0.343 | 0.36 | 0.357 | -1.19 | 0.4176 | 16 | 0.0509 | 0 |
| CBG (%AR) | 010.99 | Other | 216 | 0.3751 | 0.382 | 0.3912 | 0.383 | -0.68 | 0.4176 | 16 | 0.0509 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.391 | 0.398 | 0.395 | 0.395 | -0.45 | 0.4176 | 16 | 0.0509 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 155 | 0.408 | 0.387 | 0.395 | 0.397 | -0.41 | 0.4176 | 16 | 0.0509 | 0 |
| CBG (%AR) | 010.99 | Other | 212 | 0.4115 | 0.3893 | 0.4107 | 0.404 | -0.27 | 0.4176 | 16 | 0.0509 | 0 |
| CBG (%AR) | 010.99 | Other | 200 | 0.417 | 0.408 | 0.413 | 0.413 | -0.1 | 0.4176 | 16 | 0.0509 | 0 |
| CBG (%AR) | 010.99 | Other | 132 | 0.423 | 0.413 | 0.418 | 0.418 | 0.01 | 0.4176 | 16 | 0.0509 | 0 |
| CBG (%AR) | 010.99 | Other | 183 | 0.4364 | 0.4379 | 0.427 | 0.434 | 0.32 | 0.4176 | 16 | 0.0509 | 0 |
| CBG (%AR) | 010.99 | Other | 204 | 0.4482 | 0.4476 | 0.4324 | 0.443 | 0.49 | 0.4176 | 16 | 0.0509 | 0 |
| CBG (%AR) | 010.99 | Other | 194 | 0.4423 | 0.45 | 0.4449 | 0.446 | 0.55 | 0.4176 | 16 | 0.0509 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.438 | 0.473 | 0.427 | 0.446 | 0.56 | 0.4176 | 16 | 0.0509 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.4567 | 0.4573 | 0.4526 | 0.456 | 0.75 | 0.4176 | 16 | 0.0509 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.61 | 0.43 | 0.55 | 0.53 | 2.21 | 0.4176 | 16 | 0.0509 | 0 |
| CBG (%AR) | 010.99 | Other | 122 | 0.5764 | 0.5761 | 0.5771 | 0.577 | 3.12 | 0.4176 | 16 | 0.0509 | 0 |
|  |  |  |  | CBGA (%AR) |  |  |  |  |  |  |  |  |
| CBGA (%AR) | 011.99 | Other | 212 | 0.4447 | 0.4293 | 0.4629 | 0.446 | -2.72 | 0.5771 | 14 | 0.0483 | 0 |
| CBGA (%AR) | 011.99 | Other | 132 | 0.515 | 0.512 | 0.509 | 0.512 | -1.35 | 0.5771 | 14 | 0.0483 | 0 |
| CBGA (%AR) | 011.99 | Other | 142 | 0.519 | 0.516 | 0.525 | 0.52 | -1.18 | 0.5771 | 14 | 0.0483 | 0 |
| CBGA (%AR) | 011.99 | Other | 106 | 0.58 | 0.56 | 0.56 | 0.567 | -0.22 | 0.5771 | 14 | 0.0483 | 0 |
| CBGA (%AR) | 011.99 | Other | 149 | 0.558 | 0.576 | 0.577 | 0.57 | -0.14 | 0.5771 | 14 | 0.0483 | 0 |
| CBGA (%AR) | 011.99 | Other | 196 | 0.578 | 0.5631 | 0.5712 | 0.571 | -0.13 | 0.5771 | 14 | 0.0483 | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.5809 | 0.5806 | 0.5735 | 0.578 | 0.03 | 0.5771 | 14 | 0.0483 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | 0.578 | 0.619 | 0.538 | 0.578 | 0.03 | 0.5771 | 14 | 0.0483 | 0 |
| CBGA (%AR) | 011.99 | Other | 204 | 0.593 | 0.5831 | 0.5759 | 0.584 | 0.14 | 0.5771 | 14 | 0.0483 | 0 |

Population of Lab Values

Lab

Lab

Population of Lab Values

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 194 | 0.6009 | 0.6007 | 0.5993 | 0.6 | 0.48 | 0.5771 | 14 | 0.0483 | 0 |
| CBGA (%AR) | 011.99 | Other | 197 | 0.6028 | 0.6054 | 0.6049 | 0.604 | 0.57 | 0.5771 | 14 | 0.0483 | 0 |
| CBGA (%AR) | 011.99 | Other | 183 | 0.6075 | 0.6079 | 0.6044 | 0.607 | 0.61 | 0.5771 | 14 | 0.0483 | 0 |
| CBGA (%AR) | 011.99 | Other | 216 | 0.6398 | 0.6446 | 0.6157 | 0.633 | 1.17 | 0.5771 | 14 | 0.0483 | 0 |
| CBGA (%AR) | 011.99 | Other | 122 | 0.6922 | 0.692 | 0.6937 | 0.693 | 2.39 | 0.5771 | 14 | 0.0483 | 0 |

|  |  |  | THCV (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 | <0.0022 | 1 |
| THCV (%AR) | 012.99 | Other | 200 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%AR) | 012.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 | 1 |
| THCV (%AR) | 012.99 | Other | 149 | <0.0250 | <0.0240 | <0.0250 | <0.0250 | 1 |
| THCV (%AR) | 012.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 | 1 |
| THCV (%AR) | 012.99 | Other | 197 | <0.0465 | <0.0472 | <0.0493 | <0.0465 | 1 |
| THCV (%AR) | 012.99 | Other | 216 | <0.0498 | <0.0495 | <0.0490 | <0.0498 | 1 |
| THCV (%AR) | 012.99 | Other | 132 | 0 | 0 | 0 | 0 | 2 |
| THCV (%AR) | 012.99 | Other | 183 | 0 | 0 | 0 | 0 | 2 |
| THCV (%AR) | 012.99 | Other | 189 | 0.0315 | 0.0295 | 0.0278 | 0.0296 | 0 |

|  |  |  | Δ8-THC (%AR) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 142 | <0.0022 <0.0022 <0.0022 | <0.0022 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 200 | <0.0100 <0.0100 <0.0100 | <0.0100 | 1 |

Lab

Lab

Population of Lab Values

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 102 | <0.0174 | <0.0187 | <0.0174 | <0.0174 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | <0.0250 | <0.0240 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0465 | <0.0472 | <0.0493 | <0.0465 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 216 | <0.0498 | <0.0495 | <0.0490 | <0.0498 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 183 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0087 | 0.0091 | 0.008 | 0.0086 |  |  |  |  | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.0388 | 0.0368 | 0.0441 | 0.0399 |  |  |  |  | 0 |

| CBC (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 142 | 0.174 | 0.164 | 0.17 | 0.169 | -1.72 | 0.1924 | 15 | 0.0134 | 0 |
| CBC (%AR) | 014.99 | Other | 132 | 0.177 | 0.172 | 0.175 | 0.175 | -1.32 | 0.1924 | 15 | 0.0134 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.1797 | 0.1816 | 0.1844 | 0.182 | -0.78 | 0.1924 | 15 | 0.0134 | 0 |
| CBC (%AR) | 014.99 | Other | 155 | 0.177 | 0.19 | 0.183 | 0.183 | -0.67 | 0.1924 | 15 | 0.0134 | 0 |
| CBC (%AR) | 014.99 | Other | 204 | 0.1919 | 0.1881 | 0.186 | 0.189 | -0.28 | 0.1924 | 15 | 0.0134 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.1898 | 0.1925 | 0.1892 | 0.191 | -0.14 | 0.1924 | 15 | 0.0134 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.186 | 0.195 | 0.191 | 0.191 | -0.13 | 0.1924 | 15 | 0.0134 | 0 |
| CBC (%AR) | 014.99 | Other | 212 | 0.1965 | 0.1869 | 0.1918 | 0.192 | -0.05 | 0.1924 | 15 | 0.0134 | 0 |
| CBC (%AR) | 014.99 | Other | 216 | 0.19 | 0.1901 | 0.1961 | 0.192 | -0.02 | 0.1924 | 15 | 0.0134 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.189 | 0.206 | 0.184 | 0.193 | 0.05 | 0.1924 | 15 | 0.0134 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 194 | 0.196 | 0.1974 | 0.2009 | 0.198 | 0.43 | 0.1924 | 15 | 0.0134 | 0 |
| CBC (%AR) | 014.99 | Other | 183 | 0.1957 | 0.2023 | 0.2035 | 0.2 | 0.6 | 0.1924 | 15 | 0.0134 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.21 | 0.21 | 0.19 | 0.203 | 0.82 | 0.1924 | 15 | 0.0134 | 0 |
| CBC (%AR) | 014.99 | Other | 200 | 0.227 | 0.218 | 0.223 | 0.223 | 2.26 | 0.1924 | 15 | 0.0134 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.2313 | 0.2338 | 0.2306 | 0.232 | 2.94 | 0.1924 | 15 | 0.0134 | 0 |

Population of Lab Values

|  |  |  | Cd (ug/g AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.1403 | 0.1492 | 0.1233 | 0.138 | -1.04 | 0.1635 | 6 | 0.025 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | 0.141 | 0.144 | 0.152 | 0.146 | -0.72 | 0.1635 | 6 | 0.025 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 194 | 0.1883 | 0.149 | 0.1284 | 0.155 | -0.33 | 0.1635 | 6 | 0.025 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.163 | 0.169 | 0.169 | 0.167 | 0.14 | 0.1635 | 6 | 0.025 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | 0.18 | 0.1771 | 0.1791 | 0.179 | 0.61 | 0.1635 | 6 | 0.025 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.198 | 0.199 | 0.194 | 0.197 | 1.34 | 0.1635 | 6 | 0.025 | 0 |

|  |  |  | As (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | <0.0482 | <0.0482 | <0.0482 | <0.0482 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | <0.0500 | <0.0500 | <0.0500 | <0.0500 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0750 | <0.0750 | <0.0750 | <0.0750 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0996 | <0.1031 | <0.0975 | <0.0996 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.031 | 0.0331 | 0.0261 | 0.0301 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 194 | 0.0397 | 0.0487 | 0.0397 | 0.0427 |  |  |  |  | 0 |

Population of Lab Values

|  |  |  | Hg (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | <0.0072 | <0.0072 | <0.0072 | <0.0072 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | <0.0080 | <0.0080 | <0.0080 | <0.0080 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 194 | <0.0200 | <0.0200 | <0.0200 | <0.0200 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | <0.0500 | <0.0500 | <0.0500 | <0.0500 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0996 | <0.1031 | <0.0975 | <0.0996 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 102 | 0.0091 | 0.0078 | 0.0072 | 0.008 | 0 |

|  |  |  | Pb (ug/g AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 194 | 0.3258 | 0.2571 | 0.2862 | 0.29 | -1.27 | 0.3598 | 7 | 0.0554 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | 0.362 | 0.264 | 0.337 | 0.321 | -0.7 | 0.3598 | 7 | 0.0554 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | 0.334 | 0.345 | 0.314 | 0.331 | -0.52 | 0.3598 | 7 | 0.0554 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.3903 | 0.3621 | 0.351 | 0.368 | 0.14 | 0.3598 | 7 | 0.0554 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 0.3347 | 0.3896 | 0.394 | 0.373 | 0.23 | 0.3598 | 7 | 0.0554 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | 0.4393 | 0.386 | 0.4274 | 0.418 | 1.04 | 0.3598 | 7 | 0.0554 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.459 | 0.404 | 0.394 | 0.419 | 1.07 | 0.3598 | 7 | 0.0554 | 0 |

|  |  |  | Cu (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | 9.64 | 10.2 | 10.3 | 10 | 0 |

Lab

Lab

Population of Lab Values

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cu (ug/g AR) | 105.04 | ICP-MS | 142 | 16 | 16.7 | 16.8 | 16.5 |  |  |  |  | 0 |

|  |  |  | Ni (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | 0.979 | 1.04 | 1.06 | 1.03 | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 142 | 1.4 | 1.41 | 1.39 | 1.4 | 0 |

|  |  |  | Cr (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | 0.5395 | 0.566 | 0.5523 | 0.553 | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | 0.651 | 0.685 | 0.671 | 0.669 | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | 0.625 | 0.622 | 0.929 | 0.725 | 0 |

|  |  |  | Se (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | <0.0963 | <0.0963 | <0.0963 | <0.0963 | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | <0.0996 | <0.1031 | <0.0975 | <0.0996 | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | 0.051 | 0.067 | 0.056 | 0.058 | 0 |

Ag (ug/g AR)

Ag (ug/g AR)

109.04	ICP-MS

142

<0.0500  <0.0500	<0.0500	<0.0500	1

|  |  |  | Ba (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ba (ug/g AR) | 110.04 | ICP-MS | 142 | 61.6 | 60.9 | 64.4 | 62.3 | 0 |

Zn (ug/g AR)

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Value	Z score

Population of Lab Values	 Rob Mean	n	Rob StDev

Flag

Zn (ug/g AR)

111.04	ICP-MS

196

49.8	52.4	53.1	51.8	0

Sb (ug/g AR)

Sb (ug/g AR)

112.04	ICP-MS

196

<0.0241  <0.0241	<0.0241	<0.0241	1

|  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | 0.0242 | 0.0215 | 0.0278 | 0.0245 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0373 | 0.0321 | 0.0357 | 0.035 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 194 | 0.0574 | 0.0628 | 0.0532 | 0.0578 | 0 |
| (-)-alpha-Bisabolol (%A | 201.01 | GC,FID | 142 | 0.0878 | 0.0951 | 0.0943 | 0.0924 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 212 | 0.1068 | 0.1261 | 0.1048 | 0.113 | 0 |

|  |  |  | beta-Caryophyllene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | 0.0255 | 0.023 | 0.0248 | 0.0244 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 194 | 0.0322 | 0.0342 | 0.0282 | 0.0315 | 0 |
| beta-Caryophyllene (% | 202.01 | GC,FID | 142 | 0.0335 | 0.0387 | 0.0361 | 0.0361 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0409 | 0.0331 | 0.0375 | 0.0372 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 212 | 0.0623 | 0.0534 | 0.0492 | 0.055 | 0 |

|  |  |  | (-)-Caryophyllene oxide (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | 0.0072 | 0.0069 | 0.0082 | 0.0074 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 194 | 0.0124 | 0.0115 | 0.0103 | 0.0114 |  |  |  |  | 0 |
| (-)-Caryophyllene oxide | 203.01 | GC,FID | 142 | 0.0125 | 0.0132 | 0.0135 | 0.0131 |  |  |  |  | 0 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 212 | 0.0167 | 0.0145 | 0.0134 | 0.0149 |  |  |  |  | 0 |
|  |  |  |  | Geraniol (%AR) |  |  |  |  |  |  |  |  |
| Geraniol (%AR) | 204.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | alpha-Humulene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | 0.0099 | 0.0089 | 0.0097 | 0.0095 |  |  |  |  | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 194 | 0.0131 | 0.0144 | 0.012 | 0.0132 |  |  |  |  | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.017 | 0.0134 | 0.0145 | 0.015 |  |  |  |  | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 212 | 0.0255 | 0.0213 | 0.0186 | 0.0218 |  |  |  |  | 0 |
| alpha-Humulene (%AR) | 205.01 | GC,FID | 142 | 0.0203 | 0.023 | 0.0221 | 0.0218 |  |  |  |  | 0 |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 194 | 0.0021 | 0.0021 | 0.002 | 0.0021 |  |  |  |  | 0 |

Population of Lab Values

| Analyte Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Population of Lab Values

|  |  |  | Linalool (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Linalool (%AR) | 207.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 212 | 0.0005 | 0.0013 | 0.0015 | 0.0011 | 0 |
| Linalool (%AR) | 207.02 | GC,MS | 194 | 0.0055 | 0.0056 | 0.0054 | 0.0055 | 0 |

|  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Myrcene (%AR) | 208.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 194 | 0.003 | 0.0031 | 0.0028 | 0.003 | 0 |

Nopinene (%AR)

Nopinene (%AR)

209.01	GC,FID

142

<0.0005  <0.0005	<0.0005	<0.0005	1

|  |  |  | Ocimene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ocimene (%AR) | 210.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |
| Ocimene (%AR) | 210.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ocimene (%AR) | 210.02 | GC,MS | 212 | 0.0002 | 0.0024 | 0 | 0.0013 |  |  |  |  | 0 |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 194 | 0.0013 | 0.0014 | 0.0012 | 0.0013 |  |  |  |  | 0 |
|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |  |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 194 | 0.0014 | 0.0013 | 0.0013 | 0.0013 |  |  |  |  | 0 |
|  |  |  |  | alpha-Terpinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | gamma-Terpinene (%AR) |  |  |  |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 194 | <0.0004 <0.0004 <0.0004 |  |  | <0.0004 |  |  |  |  | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0013 <0.0013 <0.0013 |  |  | <0.0013 |  |  |  |  | 1 |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 |  |  | <0.0100 |  |  |  |  |  | 1 |
|  |  |  |  | alpha-Terpinolene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
|  |  |  |  | Moisture (%AR) |  |  |  |  |  |  |  |  |  |
| Moisture (%AR) | 500.99 | Other | 132 | 1.69 | 1.52 | 1.6 | 1.6 | -3.6 | 7.5292 |  | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 3.33 | 3.23 | 3.11 | 3.22 | -2.61 | 7.5292 |  | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.99 | Other | 142 | 5.5 | 5.3 | 5.2 | 5.33 | -1.33 | 7.5292 |  | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 189 | 5.835 | 5.835 | 5.835 | 5.84 | -1.03 | 7.5292 |  | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 6.05 | 6.21 | 6.23 | 6.16 | -0.83 | 7.5292 |  | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.99 | Other | 212 | 6.29 | 6.41 | 6.29 | 6.33 | -0.73 | 7.5292 |  | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 204 | 6.91 | 6.91 | 6.91 | 6.91 | -0.38 | 7.5292 |  | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.99 | Other | 120 | 6.8016 | 7.2831 | 7.4989 | 7.19 | -0.2 | 7.5292 |  | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 196 | 6.92 | 7.52 | 7.58 | 7.34 | -0.11 | 7.5292 |  | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 7.45 | 7.3 | 7.33 | 7.36 | -0.1 | 7.5292 |  | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.99 | Other | 224 | 6.9479 | 7.0307 | 8.5392 | 7.51 | -0.01 | 7.5292 |  | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.99 | Other | 102 | 7.1 | 7.9 | 7.7 | 7.57 | 0.02 | 7.5292 |  | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.72 | NIR | 187 | 7.7 | 7.6 | 7.5 | 7.6 | 0.04 | 7.5292 |  | 23 | 1.6477 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.72 | NIR | 138 | 7.7 | 8 | 7.55 | 7.75 | 0.13 | 7.5292 | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 172 | 8.022 | 7.5 | 8.256 | 7.93 | 0.24 | 7.5292 | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 194 | 8.36 | 7.81 | 7.76 | 7.98 | 0.27 | 7.5292 | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 182 | 7.655 | 8.61 | 8 | 8.09 | 0.34 | 7.5292 | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 183 | 8.4 | 8.4 | 8.4 | 8.4 | 0.53 | 7.5292 | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.99 | Other | 105 | 9.15 | 9.04 | 9.07 | 9.09 | 0.95 | 7.5292 | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 162 | 9 | 8.91 | 9.52 | 9.14 | 0.98 | 7.5292 | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 9.3792 | 9.579 | 10.2633 | 9.74 | 1.34 | 7.5292 | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 10.14 | 9.12 | 10.44 | 9.9 | 1.44 | 7.5292 | 23 | 1.6477 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 9.4803 | 10.1951 | 10.0425 | 9.91 | 1.44 | 7.5292 | 23 | 1.6477 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 162 | 0.1279 | 0.114 | 0.1297 | 0.124 | -1.77 | 0.1576 | 13 | 0.0191 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 204 | 0.1407 | 0.1342 | 0.1331 | 0.136 | -1.13 | 0.1576 | 13 | 0.0191 | 0 |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 210 | 0.148 | 0.147 | 0.14 | 0.145 | -0.66 | 0.1576 | 13 | 0.0191 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 218 | 0.146 | 0.136 | 0.162 | 0.148 | -0.5 | 0.1576 | 13 | 0.0191 | 0 |
| Δ9-THC (%DW) | 501.99 | Other | 183 | 0.1515 | 0.1532 | 0.1546 | 0.153 | -0.23 | 0.1576 | 13 | 0.0191 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.1546 | 0.1496 | 0.1549 | 0.153 | -0.24 | 0.1576 | 13 | 0.0191 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 105 | 0.147 | 0.166 | 0.158 | 0.157 | -0.03 | 0.1576 | 13 | 0.0191 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 199 | 0.1574 | 0.1487 | 0.1706 | 0.159 | 0.07 | 0.1576 | 13 | 0.0191 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 120 | 0.1605 | 0.1638 | 0.1514 | 0.159 | 0.05 | 0.1576 | 13 | 0.0191 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.1654 | 0.1667 | 0.1637 | 0.165 | 0.4 | 0.1576 | 13 | 0.0191 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.1655 | 0.1758 | 0.1968 | 0.179 | 1.14 | 0.1576 | 13 | 0.0191 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 172 | 0.1814 | 0.1781 | 0.1781 | 0.179 | 1.13 | 0.1576 | 13 | 0.0191 | 0 |
| Δ9-THC (%DW) | 501.60 | NIR | 187 | 0.24 | 0.17 | 0.18 | 0.197 | 2.05 | 0.1576 | 13 | 0.0191 | 0 |

Population of Lab Values

| Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%DW) | 502.60 | NIR | 187 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 105 | <0.0144 | <0.0144 | <0.0144 | <0.0144 |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | <0.0524 | <0.0203 | <0.0189 | <0.0524 |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 204 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 120 | 0.014 | 0.0131 | 0.0134 | 0.0135 | -1.05 | 0.023 | 7 | 0.0091 | 0 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 210 | 0.018 | <0.0140 | <0.0140 | 0.0153 |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 162 | 0.017 | 0.0167 | 0.0138 | 0.0158 | -0.79 | 0.023 | 7 | 0.0091 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0182 | 0.0193 | 0.018 | 0.0185 | -0.5 | 0.023 | 7 | 0.0091 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 172 | 0.0206 | 0.0239 | 0.0206 | 0.0217 | -0.15 | 0.023 | 7 | 0.0091 | 0 |
| Δ9-THCA (%DW) | 502.99 | Other | 183 | 0.0213 | 0.0247 | 0.0284 | 0.0248 | 0.19 | 0.023 | 7 | 0.0091 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.0314 | 0.033 | 0.0334 | 0.0326 | 1.05 | 0.023 | 7 | 0.0091 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 218 | 0.032 | 0.035 | 0.036 | 0.0343 | 1.24 | 0.023 | 7 | 0.0091 | 0 |

| CBD (%DW) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%DW) | 503.30 | Other LC-MS | 105 | 3.16 | 3.47 | 3.58 | 3.4 | -1.4 | 3.8757 | 12 | 0.3363 | 0 |
| CBD (%DW) | 503.60 | NIR | 187 | 4.67 | 3.04 | 3.02 | 3.58 | -0.89 | 3.8757 | 12 | 0.3363 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%DW) | 503.10 | Other LC-UV | 189 | 3.6227 | 3.6385 | 3.6 | 3.62 | -0.76 | 3.8757 | 12 | 0.3363 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 204 | 3.7341 | 3.6427 | 3.6011 | 3.66 | -0.64 | 3.8757 | 12 | 0.3363 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 218 | 3.536 | 3.633 | 3.887 | 3.69 | -0.57 | 3.8757 | 12 | 0.3363 | 0 |
| CBD (%DW) | 503.01 | AOAC 2018.10 | 210 | 3.86 | 3.844 | 3.781 | 3.83 | -0.14 | 3.8757 | 12 | 0.3363 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 199 | 3.9036 | 3.8979 | 3.9874 | 3.93 | 0.16 | 3.8757 | 12 | 0.3363 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 4.0126 | 3.9102 | 3.9518 | 3.96 | 0.25 | 3.8757 | 12 | 0.3363 | 0 |
| CBD (%DW) | 503.99 | Other | 183 | 4.1015 | 4.0731 | 4.1187 | 4.1 | 0.66 | 3.8757 | 12 | 0.3363 | 0 |
| CBD (%DW) | 503.30 | Other LC-MS | 102 | 3.9201 | 4.387 | 4.198 | 4.17 | 0.87 | 3.8757 | 12 | 0.3363 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 162 | 4.0637 | 4.2126 | 4.3248 | 4.2 | 0.97 | 3.8757 | 12 | 0.3363 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 172 | 4.5409 | 4.4008 | 4.4128 | 4.45 | 1.71 | 3.8757 | 12 | 0.3363 | 0 |
|  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| CBDA (%DW) | 504.30 | Other LC-MS | 105 | 1.82 | 1.88 | 1.89 | 1.86 | -1.58 | 2.4121 | 11 | 0.3476 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 218 | 2.038 | 2.093 | 2.117 | 2.08 | -0.95 | 2.4121 | 11 | 0.3476 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 2.1939 | 2.2021 | 2.1773 | 2.19 | -0.64 | 2.4121 | 11 | 0.3476 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 2.3199 | 2.1868 | 2.2292 | 2.25 | -0.48 | 2.4121 | 11 | 0.3476 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 204 | 2.3559 | 2.2795 | 2.2589 | 2.3 | -0.33 | 2.4121 | 11 | 0.3476 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 162 | 2.2605 | 2.4316 | 2.5229 | 2.4 | -0.02 | 2.4121 | 11 | 0.3476 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 199 | 2.5282 | 2.5316 | 2.4361 | 2.5 | 0.25 | 2.4121 | 11 | 0.3476 | 0 |
| CBDA (%DW) | 504.99 | Other | 183 | 2.5797 | 2.5758 | 2.6453 | 2.6 | 0.54 | 2.4121 | 11 | 0.3476 | 0 |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 210 | 2.661 | 2.639 | 2.595 | 2.63 | 0.63 | 2.4121 | 11 | 0.3476 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 172 | 2.8347 | 2.7521 | 2.8119 | 2.8 | 1.11 | 2.4121 | 11 | 0.3476 | 0 |

Population of Lab Values

Lab

Lab

Population of Lab Values

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%DW) | 504.60 | NIR | 187 | 3 | 2.26 | 3.41 | 2.89 | 1.37 | 2.4121 | 11 | 0.3476 | 0 |

| CBN (%DW) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| CBN (%DW) | 505.20 | Other LC-MS | 102 | <0.0524 | <0.0507 | <0.0472 | <0.0524 |  |  |  |  | 1 |
| CBN (%DW) | 505.20 | Other LC-MS | 105 | 0.0271 | 0.0265 | 0.0272 | 0.0269 | -1.28 | 0.0368 | 9 | 0.0077 | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 218 | 0.029 | 0.03 | 0.031 | 0.03 | -0.88 | 0.0368 | 9 | 0.0077 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 204 | 0.0343 | 0.0336 | 0.0326 | 0.0335 | -0.42 | 0.0368 | 9 | 0.0077 | 0 |
| CBN (%DW) | 505.99 | Other | 183 | 0.0342 | 0.0348 | 0.0361 | 0.035 | -0.22 | 0.0368 | 9 | 0.0077 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0365 | 0.0366 | 0.0364 | 0.0365 | -0.03 | 0.0368 | 9 | 0.0077 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 162 | 0.0353 | 0.0336 | 0.0375 | 0.0355 | -0.17 | 0.0368 | 9 | 0.0077 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.0402 | 0.0327 | 0.0465 | 0.0398 | 0.39 | 0.0368 | 9 | 0.0077 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 116 | 0.0529 | 0.0399 | 0.0466 | 0.0465 | 1.26 | 0.0368 | 9 | 0.0077 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | 0.0445 | 0.0464 | 0.0505 | 0.0471 | 1.35 | 0.0368 | 9 | 0.0077 | 0 |

| Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 204 | 0.1407 | 0.1342 | 0.1331 | 0.136 | -1.52 | 0.1705 | 18 | 0.0227 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 162 | 0.1428 | 0.1286 | 0.1418 | 0.138 | -1.44 | 0.1705 | 18 | 0.0227 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 182 | 0.1479 | 0.1383 | 0.1344 | 0.14 | -1.34 | 0.1705 | 18 | 0.0227 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 105 | 0.147 | 0.166 | 0.158 | 0.157 | -0.59 | 0.1705 | 18 | 0.0227 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.15 | 0.1526 | 0.1732 | 0.159 | -0.52 | 0.1705 | 18 | 0.0227 | 0 |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 210 | 0.164 | 0.16 | 0.16 | 0.161 | -0.4 | 0.1705 | 18 | 0.0227 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 138 | 0.1618 | 0.1655 | 0.1695 | 0.166 | -0.21 | 0.1705 | 18 | 0.0227 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.1735 | 0.1642 | 0.1651 | 0.168 | -0.13 | 0.1705 | 18 | 0.0227 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 120 | 0.1728 | 0.1753 | 0.1632 | 0.17 | 0 | 0.1705 | 18 | 0.0227 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.1865 | 0.1577 | 0.171 | 0.172 | 0.06 | 0.1705 | 18 | 0.0227 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 199 | 0.1705 | 0.1633 | 0.1848 | 0.173 | 0.11 | 0.1705 | 18 | 0.0227 | 0 |
| Total Δ9-THC (%DW) | 506.99 | Other | 183 | 0.1702 | 0.1748 | 0.1795 | 0.175 | 0.19 | 0.1705 | 18 | 0.0227 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 218 | 0.174 | 0.167 | 0.194 | 0.178 | 0.35 | 0.1705 | 18 | 0.0227 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.1827 | 0.1754 | 0.2068 | 0.188 | 0.79 | 0.1705 | 18 | 0.0227 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.193 | 0.1957 | 0.193 | 0.194 | 1.03 | 0.1705 | 18 | 0.0227 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.1815 | 0.1927 | 0.2126 | 0.196 | 1.11 | 0.1705 | 18 | 0.0227 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 172 | 0.1995 | 0.1991 | 0.1962 | 0.198 | 1.23 | 0.1705 | 18 | 0.0227 | 0 |
| Total Δ9-THC (%DW) | 506.60 | NIR | 187 | 0.2419 | 0.1732 | 0.1839 | 0.2 | 1.29 | 0.1705 | 18 | 0.0227 | 0 |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| Total CBD (%DW) | 507.30 | Other LC-MS | 105 | 4.76 | 5.12 | 5.24 | 5.04 | -1.47 | 5.9753 | 14 | 0.6359 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 4.7029 | 5.0718 | 5.954 | 5.24 | -1.15 | 5.9753 | 14 | 0.6359 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 218 | 5.324 | 5.469 | 5.743 | 5.51 | -0.73 | 5.9753 | 14 | 0.6359 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 189 | 5.5468 | 5.5698 | 5.5095 | 5.54 | -0.68 | 5.9753 | 14 | 0.6359 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 204 | 5.8002 | 5.5822 | 5.6418 | 5.67 | -0.47 | 5.9753 | 14 | 0.6359 | 0 |
| Total CBD (%DW) | 507.60 | NIR | 187 | 7.3 | 5.02 | 4.8 | 5.71 | -0.42 | 5.9753 | 14 | 0.6359 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 6.0471 | 5.8281 | 5.9068 | 5.93 | -0.08 | 5.9753 | 14 | 0.6359 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 199 | 6.1208 | 6.1181 | 6.1239 | 6.12 | 0.23 | 5.9753 | 14 | 0.6359 | 0 |

Population of Lab Values

Lab

Lab

Population of Lab Values

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%DW) | 507.01 | AOAC 2018.10 | 210 | 6.194 | 6.158 | 6.057 | 6.14 | 0.25 | 5.9753 | 14 | 0.6359 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 7.0336 | 5.6514 | 6.1169 | 6.27 | 0.46 | 5.9753 | 14 | 0.6359 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 162 | 6.0461 | 6.3452 | 6.5374 | 6.31 | 0.53 | 5.9753 | 14 | 0.6359 | 0 |
| Total CBD (%DW) | 507.99 | Other | 183 | 6.3639 | 6.3321 | 6.4386 | 6.38 | 0.63 | 5.9753 | 14 | 0.6359 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 138 | 6.8228 | 6.9068 | 6.939 | 6.89 | 1.44 | 5.9753 | 14 | 0.6359 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 172 | 7.0269 | 6.8144 | 6.8788 | 6.91 | 1.46 | 5.9753 | 14 | 0.6359 | 0 |

| CBDV (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%DW) | 508.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBDV (%DW) | 508.02 | AOAC 2018.11, U | 210 | 0.029 | 0.028 | 0.029 | 0.0287 | 0 |
| CBDV (%DW) | 508.99 | Other | 189 | 0.0335 | 0.0342 | 0.0288 | 0.0322 | 0 |
| CBDV (%DW) | 508.99 | Other | 183 | 0.0329 | 0.032 | 0.0332 | 0.0327 | 0 |

| CBDVA (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%DW) | 509.01 | AOAC 2018.10 | 210 | 0.021 | 0.021 | 0.02 | 0.0207 | 0 |
| CBDVA (%DW) | 509.99 | Other | 183 | 0.0278 | 0.0269 | 0.0286 | 0.0278 | 0 |

| CBG (%DW) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%DW) | 510.99 | Other | 105 | 0.318 | 0.333 | 0.324 | 0.325 | -13.66 | 0.4708 | 6 | 0.0107 | 0 |
| CBG (%DW) | 510.99 | Other | 204 | 0.4746 | 0.4579 | 0.474 | 0.469 | -0.19 | 0.4708 | 6 | 0.0107 | 0 |
| CBG (%DW) | 510.99 | Other | 183 | 0.4731 | 0.4747 | 0.4629 | 0.47 | -0.06 | 0.4708 | 6 | 0.0107 | 0 |
| CBG (%DW) | 510.01 | AOAC 2018.10 | 210 | 0.466 | 0.474 | 0.48 | 0.473 | 0.24 | 0.4708 | 6 | 0.0107 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%DW) | 510.99 | Other | 162 | 0.4663 | 0.4672 | 0.4884 | 0.474 | 0.29 | 0.4708 | 6 | 0.0107 | 0 |
| CBG (%DW) | 510.99 | Other | 189 | 0.485 | 0.4856 | 0.4806 | 0.484 | 1.21 | 0.4708 | 6 | 0.0107 | 0 |
|  |  |  |  | CBGA (%DW) |  |  |  |  |  |  |  |  |
| CBGA (%DW) | 511.99 | Other | 189 | 0.6168 | 0.6166 | 0.6091 | 0.614 |  |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 204 | 0.628 | 0.6088 | 0.6175 | 0.618 |  |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 183 | 0.6586 | 0.659 | 0.6552 | 0.658 |  |  |  |  | 0 |
| CBGA (%DW) | 511.01 | AOAC 2018.10 | 210 | 0.691 | 0.692 | 0.682 | 0.688 |  |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 162 | 0.7023 | 0.7725 | 0.7766 | 0.75 |  |  |  |  | 0 |
|  |  |  |  | THCV (%DW) |  |  |  |  |  |  |  |  |
| THCV (%DW) | 512.02 | AOAC 2018.11, U | 210 | <0.0130 | <0.0130 | <0.0130 | <0.0130 |  |  |  |  | 1 |
| THCV (%DW) | 512.99 | Other | 183 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| THCV (%DW) | 512.99 | Other | 189 | 0.0334 | 0.0314 | 0.0295 | 0.0314 |  |  |  |  | 0 |
|  |  |  |  | Δ8-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ8-THC (%DW) | 513.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 102 | <0.0210 | <0.0203 | <0.0189 | <0.0210 |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 183 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ8-THC (%DW) | 513.99 | Other | 189 | 0.0092 | 0.0096 | 0.0085 | 0.0091 |  |  |  |  | 0 |
| Δ8-THC (%DW) | 513.01 | AOAC 2018.10 | 210 | 0.029 | 0.028 | 0.031 | 0.0293 |  |  |  |  | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | CBC (%DW) |  |  |  |  |  |  |  |  |  |
| CBC (%DW) | 514.99 | Other | 105 | 0.189 | 0.203 | 0.18 | 0.191 | 0 |  |  |  |  |
| CBC (%DW) | 514.99 | Other | 204 | 0.2032 | 0.197 | 0.1992 | 0.2 | 0 |  |  |  |  |
| CBC (%DW) | 514.99 | Other | 162 | 0.2109 | 0.2033 | 0.209 | 0.208 | 0 |  |  |  |  |
| CBC (%DW) | 514.99 | Other | 183 | 0.2121 | 0.2193 | 0.2206 | 0.217 | 0 |  |  |  |  |
| CBC (%DW) | 514.99 | Other | 189 | 0.2457 | 0.2482 | 0.2449 | 0.246 | 0 |  |  |  |  |

Population of Lab Values

- Flag definitions: 1 (Lab Value not used because there were less than 2 numeric lab results), 2 (Lab Value not used because there were less than 2 numeric lab results greater than 0).

- Robust statistics performed to determine robust mean and Z scores only if there were 6 or more numeric lab values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.