# Hemp PT Certificate of Analysis

## Hemp PT Sample HM22SEP-2 Material: hemp

± Standard

| Analyte | Value | Uncertainty | # Labs |
| --- | --- | --- | --- |
|  | % as received |  |  |
| Δ9-THC | 0.1851 | 0.0041 | 42 |
| Δ9-THCA | 0.02361 | 0.00194 | 31 |
| CBD | 5.161 | 0.097 | 33 |
| CBDA | 3.053 | 0.072 | 31 |
| CBN | 0.05113 | 0.00226 | 22 |
| Total Δ9-THC | 0.2081 | 0.0065 | 49 |
| Total CBD | 7.842 | 0.168 | 35 |
| CBDV | 0.04199 | 0.00216 | 10 |
| CBG | 0.1697 | 0.0126 | 16 |
| CBGA | 0.1559 | 0.0063 | 14 |
| CBC | 0.2695 | 0.0048 | 15 |
| Moisture | 7.566 | 0.451 | 23 |
|  | % dry weight |  |  |
| Δ9-THC | 0.2097 | 0.0082 | 13 |
| Δ9-THCA | 0.03076 | 0.00545 | 9 |
| CBD | 5.630 | 0.196 | 12 |
| CBDA | 3.379 | 0.144 | 11 |
| CBN | 0.05508 | 0.00290 | 10 |
| Total Δ9-THC | 0.230 | 0.0091 | 18 |
| Total CBD | 8.627 | 0.272 | 14 |
| CBG | 0.1873 | 0.0049 | 6 |

## Hemp PT Sample HM22SEP-2 Material: hemp

| Analyte | Value | ± Standard Uncertainty | # Labs |  |
| --- | --- | --- | --- | --- |
| ug/g as-received |  |  |  |  |
| Cd | 0.1794 | 0.0122 | 6 |  |
| As | 0.2232 | 0.0122 | 7 |  |
| Pb | 0.6687 | 0.0301 | 7 |  |

- Data obtained from participant results in the University of Kentucky Hemp PT Program.

- Sample was shipped on 09/20/22. Stored at room temperature until 11/08/22. Stored at -20 C after

11/08/22..

- Values are robust means. Standard uncertainty determined as 1.25 x robust standard deviation / sqrt(#Labs). Results only shown for analytes tested by 6 or more labs.