Hemp Proficiency Testing

All Labs Trueness HM22SEP-2 (hemp)

Sample: HM22SEP-2 (hemp)

All Labs Trueness

Issue Date:

ovember 18, 2022

| Analyte | Code | Method | Lab Num |  | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Δ9-THC (%AR) |  |  |  |  |  |  |  |  |  |  |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 124 | 0.1073 | 0.1759 | 0.1368 | 0.14 | -2.1 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 225 | 0.1073 | 0.1759 | 0.1368 | 0.14 | -2.1 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 |  | 148 | 0.15 | 0.144 | 0.141 | 0.145 | -1.87 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 182 | 0.1664 | 0.1557 | 0.1521 | 0.158 | -1.26 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 192 | 0.1714 | 0.1676 | 0.1356 | 0.158 | -1.25 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 113 | 0.1629 | 0.1572 | 0.1597 | 0.16 | -1.17 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 161 | 0.165 | 0.162 | 0.156 | 0.161 | -1.12 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 125 | 0.166 | 0.166 | 0.166 | 0.166 | -0.89 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 149 | 0.161 | 0.18 | 0.17 | 0.17 | -0.69 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 142 | 0.173 | 0.171 | 0.173 | 0.172 | -0.6 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M |  | 139 | 0.1742 | 0.1731 | 0.1709 | 0.173 | -0.58 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 204 | 0.1753 | 0.1716 | 0.172 | 0.173 | -0.57 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 200 | 0.175 | 0.178 | 0.176 | 0.176 | -0.41 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 155 | 0.176 | 0.174 | 0.178 | 0.176 | -0.42 | 0.1851 | 42 | 0.0214 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.99 | Other | 132 | 0.176 | 0.176 | 0.176 | 0.176 | -0.42 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.1788 | 0.1906 | 0.1635 | 0.178 | -0.35 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | 0.1792 | 0.1768 | 0.1797 | 0.179 | -0.3 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 149 | 0.188 | 0.17 | 0.182 | 0.18 | -0.24 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 183 | 0.1805 | 0.1784 | 0.1843 | 0.181 | -0.19 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 216 | 0.182 | 0.1818 | 0.1826 | 0.182 | -0.14 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 191 | 0.1825 | 0.1856 | 0.1814 | 0.183 | -0.09 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.19 | 0.18 | 0.18 | 0.183 | -0.08 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 164 | 0.1852 | 0.1901 | 0.1826 | 0.186 | 0.04 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 194 | 0.1804 | 0.188 | 0.1943 | 0.188 | 0.12 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 196 | 0.1942 | 0.1862 | 0.1853 | 0.189 | 0.16 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.193 | 0.195 | 0.1812 | 0.19 | 0.22 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.193 | 0.1846 | 0.1991 | 0.192 | 0.33 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.1983 | 0.191 | 0.1889 | 0.193 | 0.36 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.2 | 0.2 | 0.19 | 0.197 | 0.54 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 217 | 0.1972 | 0.2054 | 0.1901 | 0.198 | 0.58 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 170 | 0.1969 | 0.192 | 0.2101 | 0.2 | 0.68 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.2006 | 0.1986 | 0.1997 | 0.2 | 0.68 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.1925 | 0.2092 | 0.2022 | 0.201 | 0.76 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.1975 | 0.196 | 0.213 | 0.202 | 0.8 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.2056 | 0.205 | 0.1998 | 0.203 | 0.86 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 120 | 0.1998 | 0.2157 | 0.2014 | 0.206 | 0.96 | 0.1851 | 42 | 0.0214 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.2274 | 0.1964 | 0.1982 | 0.207 | 1.04 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 212 | 0.2155 | 0.2258 | 0.1894 | 0.21 | 1.17 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 172 | 0.221 | 0.219 | 0.215 | 0.218 | 1.55 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.60 | NIR | 187 | 0.28 | 0.21 | 0.21 | 0.233 | 2.25 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.2461 | 0.246 | 0.2456 | 0.246 | 2.84 | 0.1851 | 42 | 0.0214 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 152 | 0.2693 | 0.2679 | 0.2692 | 0.269 | 3.9 | 0.1851 | 42 | 0.0214 | 0 |

Population of Lab Values

| Δ9-THCA (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 170 | <0.0300 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 216 | <0.0450 | <0.0478 | <0.0459 | <0.0450 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0472 | <0.0483 | <0.0483 | <0.0472 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | <0.0481 | <0.0476 | <0.0481 | <0.0481 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 161 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 204 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.02 | 0.01 | 0.01 | 0.0133 | -1.19 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 124 | 0.0114 | 0.0183 | 0.013 | 0.0142 | -1.08 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 225 | 0.0114 | 0.0183 | 0.013 | 0.0142 | -1.08 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | 0.0149 | 0.0149 | 0.0144 | 0.0147 | -1.03 | 0.0236 | 31 | 0.0086 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 113 | 0.0161 | 0.0152 | 0.0169 | 0.0161 | -0.87 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | 0.0158 | 0.0152 | 0.0163 | 0.0158 | -0.91 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 132 | 0.016 | 0.017 | 0.017 | 0.0167 | -0.8 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 182 | 0.0195 | 0.017 | 0.0148 | 0.0171 | -0.75 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.60 | NIR | 187 | <0.0100 | 0.02 | 0.02 | 0.0167 | -0.8 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | 0.018 | 0.019 | 0.018 | 0.0183 | -0.61 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.0193 | 0.0182 | 0.0175 | 0.0183 | -0.61 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 120 | 0.0189 | 0.0184 | 0.0183 | 0.0185 | -0.59 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 217 | 0.0212 | <0.0200 | <0.0200 | 0.0204 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | 0.0173 | 0.0215 | 0.021 | 0.0199 | -0.42 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.018 | 0.022 | 0.021 | 0.0203 | -0.38 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.0215 | 0.0231 | 0.0229 | 0.0225 | -0.13 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 191 | 0.0221 | 0.0235 | 0.0244 | 0.0233 | -0.03 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 200 | 0.025 | 0.022 | 0.021 | 0.0227 | -0.11 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.0252 | 0.0247 | 0.0188 | 0.0229 | -0.08 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 164 | 0.0253 | 0.0255 | 0.0235 | 0.0248 | 0.13 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0233 | 0.0261 | 0.0254 | 0.0249 | 0.15 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | 0.0234 | 0.0236 | 0.0326 | 0.0265 | 0.34 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 155 | 0.029 | 0.026 | 0.026 | 0.027 | 0.39 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | 0.0279 | 0.0281 | 0.0279 | 0.028 | 0.5 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0.037 | 0.0281 | 0.0232 | 0.0294 | 0.67 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 172 | 0.033 | 0.034 | 0.031 | 0.0327 | 1.05 | 0.0236 | 31 | 0.0086 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.99 | Other | 183 | 0.0307 | 0.0339 | 0.0331 | 0.0326 | 1.04 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 148 | 0.035 | 0.035 | 0.032 | 0.034 | 1.2 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 152 | 0.0462 | 0.0458 | 0.0412 | 0.0444 | 2.4 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0434 | 0.0448 | 0.0458 | 0.0447 | 2.43 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.1199 | 0.1301 | 0.117 | 0.122 | 11.42 | 0.0236 | 31 | 0.0086 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 212 | 0.0423 | 0.268 | 0.2706 | 0.194 | 19.66 | 0.0236 | 31 | 0.0086 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.10 | Other LC-UV | 200 | 4.247 | 4.779 | 4.544 | 4.52 | -1.44 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 155 | 4.29 | 4.49 | 4.79 | 4.52 | -1.44 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 4.6498 | 4.5665 | 4.4465 | 4.55 | -1.37 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 161 | 4.805 | 4.714 | 4.513 | 4.68 | -1.09 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.60 | NIR | 187 | 5.83 | 4.19 | 4.16 | 4.73 | -0.98 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 212 | 4.6612 | 4.8891 | 4.9371 | 4.83 | -0.75 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 4.8559 | 4.8731 | 4.8075 | 4.85 | -0.71 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.99 | Other | 132 | 4.731 | 4.979 | 4.85 | 4.85 | -0.69 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 152 | 4.6816 | 4.977 | 4.9076 | 4.86 | -0.69 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 4.8181 | 5.2216 | 4.5666 | 4.87 | -0.66 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 4.73 | 4.992 | 4.909 | 4.88 | -0.64 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 113 | 4.8179 | 4.8793 | 4.9608 | 4.89 | -0.62 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 4.824 | 5.029 | 5.057 | 4.97 | -0.43 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 4.97 | 5.01 | 5.03 | 5 | -0.36 | 5.1612 | 33 | 0.444 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 204 | 5.065 | 4.9897 | 5.0496 | 5.03 | -0.28 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 194 | 5.0441 | 5.0726 | 5.2719 | 5.13 | -0.07 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 5.1985 | 5.1465 | 5.203 | 5.18 | 0.05 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 5.24 | 5.21 | 5.2 | 5.22 | 0.13 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 191 | 4.9914 | 5.1467 | 5.5235 | 5.22 | 0.13 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 164 | 5.4839 | 5.1186 | 5.2269 | 5.28 | 0.26 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 5.29 | 5.28 | 5.29 | 5.29 | 0.28 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 170 | 5.21 | 5.2804 | 5.4943 | 5.33 | 0.38 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.99 | Other | 183 | 5.3446 | 5.3079 | 5.3812 | 5.34 | 0.41 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 5.4579 | 5.2924 | 5.3045 | 5.35 | 0.43 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 5.3538 | 5.5251 | 5.3468 | 5.41 | 0.56 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 216 | 5.5054 | 5.4488 | 5.4982 | 5.48 | 0.73 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 5.6594 | 5.5053 | 5.5063 | 5.56 | 0.89 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 5.8166 | 5.5695 | 5.4516 | 5.61 | 1.02 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 5.7896 | 5.5811 | 5.6559 | 5.68 | 1.16 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 102 | 5.3849 | 6.3048 | 5.5109 | 5.73 | 1.29 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 6.145 | 5.804 | 5.555 | 5.83 | 1.52 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 172 | 5.9 | 5.927 | 5.801 | 5.88 | 1.61 | 5.1612 | 33 | 0.444 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 6.5885 | 6.588 | 6.5879 | 6.59 | 3.21 | 5.1612 | 33 | 0.444 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.10 | Other LC-UV | 212 | 2.3181 | 2.4476 | 2.5069 | 2.42 | -1.96 | 3.0527 | 31 | 0.3205 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 161 | 2.533 | 2.84 | 2.559 | 2.64 | -1.28 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 200 | 2.469 | 2.791 | 2.646 | 2.64 | -1.3 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.99 | Other | 132 | 2.608 | 2.715 | 2.645 | 2.66 | -1.24 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 155 | 2.53 | 2.68 | 2.81 | 2.67 | -1.18 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 2.6215 | 2.8839 | 2.5446 | 2.68 | -1.15 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 2.701 | 2.839 | 2.87 | 2.8 | -0.78 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 2.92 | 2.85 | 2.78 | 2.85 | -0.63 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 2.8773 | 2.8859 | 2.8471 | 2.87 | -0.57 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 2.8775 | 2.8771 | 2.878 | 2.88 | -0.55 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 2.9816 | 2.9352 | 2.7322 | 2.88 | -0.53 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | 2.9 | 2.9 | 2.84 | 2.88 | -0.54 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | 2.981 | 3.085 | 3.094 | 3.05 | 0 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 3.0715 | 3.0757 | 3.0076 | 3.05 | 0 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 3.157 | 3.0734 | 3.0589 | 3.1 | 0.14 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.60 | NIR | 187 | 3.05 | 3.05 | 3.19 | 3.1 | 0.14 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 3.16 | 3.1 | 3.13 | 3.13 | 0.24 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 152 | 2.9858 | 3.3262 | 3.1036 | 3.14 | 0.27 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 204 | 3.1767 | 3.1035 | 3.1508 | 3.14 | 0.28 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 194 | 3.0834 | 3.0924 | 3.2297 | 3.14 | 0.26 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 216 | 3.2459 | 3.0823 | 3.145 | 3.16 | 0.33 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 2.994 | 3.306 | 3.224 | 3.17 | 0.38 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 3.2435 | 3.267 | 3.104 | 3.2 | 0.47 | 3.0527 | 31 | 0.3205 | 0 |

Population of Lab Values

Lab

Lab

Population of Lab Values

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 3.2726 | 3.1546 | 3.2019 | 3.21 | 0.49 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 3.4571 | 3.1862 | 3.3059 | 3.32 | 0.82 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.99 | Other | 183 | 3.3144 | 3.3302 | 3.3933 | 3.35 | 0.91 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 3.3147 | 3.2728 | 3.519 | 3.37 | 0.99 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 191 | 3.235 | 3.4394 | 3.5049 | 3.39 | 1.06 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.01 | AOAC 2018.10 | 170 | 3.512 | 3.5464 | 3.5099 | 3.52 | 1.47 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 164 | 3.8155 | 3.6192 | 3.3667 | 3.6 | 1.71 | 3.0527 | 31 | 0.3205 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 172 | 3.683 | 3.699 | 3.64 | 3.67 | 1.94 | 3.0527 | 31 | 0.3205 | 0 |

| CBN (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 216 | <0.0676 | <0.0718 | <0.0688 | <0.0676 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | <0.0708 | <0.0725 | <0.0725 | <0.0708 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | 0.042 | <0.0250 | <0.0250 | 0.0307 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | 0.0394 | 0.0384 | 0.0389 | 0.0389 | -1.44 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 194 | 0.0385 | 0.0393 | 0.0413 | 0.0397 | -1.35 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0409 | 0.0418 | 0.0424 | 0.0417 | -1.11 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.99 | Other | 132 | 0.042 | 0.043 | 0.043 | 0.0427 | -1 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.0433 | 0.0425 | 0.0444 | 0.0434 | -0.91 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | 0.0492 | 0.0458 | 0.046 | 0.047 | -0.49 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0482 | 0.0484 | 0.0478 | 0.0481 | -0.35 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 204 | 0.0487 | 0.0499 | 0.0484 | 0.049 | -0.25 | 0.0511 | 22 | 0.0085 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 200 | 0.049 | 0.049 | 0.048 | 0.0487 | -0.29 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 107 | 0.042 | 0.046 | 0.058 | 0.0487 | -0.29 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.99 | Other | 183 | 0.0489 | 0.0495 | 0.0512 | 0.0499 | -0.15 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.05 | 0.05 | 0.05 | 0.05 | -0.13 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 149 | 0.052 | 0.047 | 0.052 | 0.0503 | -0.09 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0561 | 0.0591 | 0.0412 | 0.0521 | 0.12 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 102 | 0.0512 | 0.0546 | 0.0512 | 0.0523 | 0.14 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 192 | 0.0559 | 0.0585 | 0.0591 | 0.0578 | 0.79 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0574 | 0.0553 | 0.0618 | 0.0582 | 0.83 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 212 | 0.0609 | 0.0564 | 0.0589 | 0.0587 | 0.9 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 116 | 0.0658 | 0.0555 | 0.058 | 0.0598 | 1.02 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | 0.0585 | 0.0634 | 0.0644 | 0.0621 | 1.29 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 125 | 0.062 | 0.0634 | 0.0642 | 0.0632 | 1.42 | 0.0511 | 22 | 0.0085 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.0602 | 0.0634 | 0.064 | 0.0625 | 1.35 | 0.0511 | 22 | 0.0085 | 0 |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 192 | 0.1112 | 0.1205 | 0.1176 | 0.116 | -2.51 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 225 | 0.1173 | 0.192 | 0.1481 | 0.152 | -1.52 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 124 | 0.1173 | 0.192 | 0.1481 | 0.152 | -1.52 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 161 | 0.165 | 0.162 | 0.156 | 0.161 | -1.29 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.161 | 0.18 | 0.17 | 0.17 | -1.04 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 182 | 0.1835 | 0.1706 | 0.165 | 0.173 | -0.96 | 0.2081 | 49 | 0.0365 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 204 | 0.1753 | 0.1716 | 0.172 | 0.173 | -0.96 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 148 | 0.181 | 0.171 | 0.169 | 0.174 | -0.94 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.1792 | 0.1768 | 0.1797 | 0.179 | -0.81 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 216 | 0.182 | 0.1818 | 0.1826 | 0.182 | -0.71 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.179 | 0.1929 | 0.1792 | 0.184 | -0.67 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.1861 | 0.1841 | 0.1856 | 0.185 | -0.63 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.188 | 0.1865 | 0.1852 | 0.187 | -0.59 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 194 | 0.1804 | 0.188 | 0.1943 | 0.188 | -0.56 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.187 | 0.187 | 0.194 | 0.189 | -0.51 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.1942 | 0.1862 | 0.1853 | 0.189 | -0.54 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 132 | 0.19 | 0.191 | 0.192 | 0.191 | -0.47 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 155 | 0.196 | 0.187 | 0.198 | 0.194 | -0.4 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.203 | 0.187 | 0.198 | 0.196 | -0.33 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 200 | 0.197 | 0.197 | 0.194 | 0.196 | -0.33 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.2009 | 0.2123 | 0.18 | 0.198 | -0.28 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.1969 | 0.201 | 0.2035 | 0.2 | -0.21 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.2103 | 0.2017 | 0.2008 | 0.204 | -0.11 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 217 | 0.2157 | 0.2054 | 0.1901 | 0.204 | -0.12 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 191 | 0.2018 | 0.2062 | 0.2027 | 0.204 | -0.12 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 164 | 0.2074 | 0.2124 | 0.2032 | 0.208 | -0.01 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.2152 | 0.207 | 0.2042 | 0.209 | 0.02 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.2172 | 0.2155 | 0.1985 | 0.21 | 0.06 | 0.2081 | 49 | 0.0365 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.2059 | 0.2055 | 0.2194 | 0.21 | 0.06 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 183 | 0.2074 | 0.2081 | 0.2132 | 0.21 | 0.04 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.2216 | 0.2067 | 0.2059 | 0.211 | 0.09 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.2 | 0.212 | 0.223 | 0.212 | 0.1 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.2119 | 0.2049 | 0.2192 | 0.212 | 0.11 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.22 | 0.22 | 0.21 | 0.217 | 0.23 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.2137 | 0.2135 | 0.2354 | 0.221 | 0.35 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 120 | 0.2164 | 0.2318 | 0.2174 | 0.222 | 0.38 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.2129 | 0.2321 | 0.2244 | 0.223 | 0.41 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.24 | 0.2196 | 0.221 | 0.227 | 0.51 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.2387 | 0.2379 | 0.2398 | 0.239 | 0.84 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 172 | 0.2499 | 0.2488 | 0.2422 | 0.247 | 1.06 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 187 | 0.28 | 0.23 | 0.24 | 0.25 | 1.15 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 212 | 0.2526 | 0.2557 | 0.2467 | 0.252 | 1.19 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 121 | 0.201 | 0.293 | 0.299 | 0.264 | 1.54 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.2765 | 0.2817 | 0.2381 | 0.265 | 1.57 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.2674 | 0.2723 | 0.2607 | 0.267 | 1.61 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.2706 | 0.2707 | 0.2706 | 0.271 | 1.71 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 128 | 0.278 | 0.2734 | 0.2675 | 0.273 | 1.78 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 190 | 0.293 |  |  | 0.293 |  |  |  |  | 1 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 138 | 0.225 | 0.32 | 0.35 | 0.298 | 2.47 | 0.2081 | 49 | 0.0365 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 152 | 0.3098 | 0.3115 | 0.3021 | 0.308 | 2.73 | 0.2081 | 49 | 0.0365 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.40 | GC-FID | 192 | 4.4453 | 4.6196 | 4.6451 | 4.57 | -4.12 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 107 | 5.68 | 6.142 | 6.095 | 5.97 | -2.36 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 200 | 6.412 | 7.227 | 6.865 | 6.83 | -1.27 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 155 | 6.51 | 6.84 | 7.26 | 6.87 | -1.22 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 212 | 6.6942 | 7.0356 | 7.1357 | 6.96 | -1.12 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 161 | 7.026 | 7.205 | 6.757 | 7 | -1.07 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 7.2646 | 7.1407 | 6.8426 | 7.08 | -0.96 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.99 | Other | 132 | 7.02 | 7.363 | 7.171 | 7.18 | -0.83 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 7.1172 | 7.7508 | 6.7982 | 7.22 | -0.78 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 7.3793 | 7.404 | 7.3044 | 7.36 | -0.6 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 7.193 | 7.518 | 7.574 | 7.43 | -0.52 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 187 | 8.51 | 6.87 | 6.96 | 7.45 | -0.5 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 7.51 | 7.56 | 7.52 | 7.53 | -0.39 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 152 | 7.3006 | 7.9673 | 7.5562 | 7.61 | -0.29 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 7.8008 | 7.7095 | 7.6381 | 7.72 | -0.16 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 204 | 7.851 | 7.7115 | 7.8129 | 7.79 | -0.06 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 8.0148 | 7.7617 | 7.591 | 7.79 | -0.07 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 8.1805 | 7.816 | 7.6339 | 7.88 | 0.04 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 194 | 7.7482 | 7.7846 | 8.1043 | 7.88 | 0.05 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 8.043 | 8.0117 | 7.9252 | 7.99 | 0.19 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 8.2266 | 7.9878 | 7.9871 | 8.07 | 0.28 | 7.8421 | 35 | 0.7939 | 0 |

Population of Lab Values

Lab

Lab

Population of Lab Values

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 8.0475 | 8.2225 | 7.9845 | 8.08 | 0.31 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 191 | 7.8284 | 8.163 | 8.5972 | 8.2 | 0.45 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 216 | 8.3521 | 8.152 | 8.2564 | 8.25 | 0.52 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.99 | Other | 183 | 8.2513 | 8.2285 | 8.3571 | 8.28 | 0.55 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 138 | 8.545 | 8.305 | 8.14 | 8.33 | 0.61 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 8.5295 | 8.2719 | 8.3144 | 8.37 | 0.67 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 164 | 8.8302 | 8.2926 | 8.1794 | 8.43 | 0.75 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 8.759 | 8.51 | 8.268 | 8.51 | 0.84 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 8.8492 | 8.3644 | 8.3515 | 8.52 | 0.86 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 9.3431 | 8.0927 | 8.4434 | 8.63 | 0.99 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 8.9087 | 9.0274 | 8.5468 | 8.83 | 1.24 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 172 | 9.13 | 9.171 | 8.9933 | 9.1 | 1.58 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 9.1119 | 9.1117 | 9.112 | 9.11 | 1.6 | 7.8421 | 35 | 0.7939 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 10.1221 | 10.2369 | 8.3252 | 9.56 | 2.17 | 7.8421 | 35 | 0.7939 | 0 |

|  |  |  | CBDV (%AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 216 | <0.0450 | <0.0478 | <0.0459 | <0.0450 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 197 | <0.0472 | <0.0483 | <0.0483 | <0.0472 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.03 | 0.03 | 0.03 | 0.03 | -2.19 | 0.042 | 10 | 0.0055 | 0 |
| CBDV (%AR) | 008.99 | Other | 196 | 0.0359 | 0.0366 | 0.0361 | 0.0362 | -1.06 | 0.042 | 10 | 0.0055 | 0 |
| CBDV (%AR) | 008.99 | Other | 132 | 0.038 | 0.038 | 0.038 | 0.038 | -0.73 | 0.042 | 10 | 0.0055 | 0 |
| CBDV (%AR) | 008.99 | Other | 194 | 0.038 | 0.0473 | 0.0421 | 0.0425 | 0.09 | 0.042 | 10 | 0.0055 | 0 |

| Analyte Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 142 | 0.043 | 0.0413 | 0.0421 | 0.0421 | 0.03 | 0.042 | 10 | 0.0055 | 0 |
| CBDV (%AR) | 008.99 | Other | 200 | 0.043 | 0.044 | 0.043 | 0.0433 | 0.25 | 0.042 | 10 | 0.0055 | 0 |
| CBDV (%AR) | 008.99 | Other | 183 | 0.0441 | 0.042 | 0.0434 | 0.0432 | 0.22 | 0.042 | 10 | 0.0055 | 0 |
| CBDV (%AR) | 008.99 | Other | 149 | 0.045 | 0.045 | 0.045 | 0.045 | 0.55 | 0.042 | 10 | 0.0055 | 0 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0478 | 0.046 | 0.043 | 0.0456 | 0.66 | 0.042 | 10 | 0.0055 | 0 |
| CBDV (%AR) | 008.99 | Other | 212 | 0.0538 | 0.0501 | 0.0533 | 0.0524 | 1.9 | 0.042 | 10 | 0.0055 | 0 |

Population of Lab Values

|  |  |  | CBDVA (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 216 | <0.0450 | <0.0478 | <0.0459 | <0.0450 | 1 |
| CBDVA (%AR) | 009.99 | Other | 197 | <0.0472 | <0.0483 | <0.0483 | <0.0472 | 1 |
| CBDVA (%AR) | 009.99 | Other | 142 | 0.0304 | 0.029 | 0.0283 | 0.0292 | 0 |
| CBDVA (%AR) | 009.99 | Other | 196 | 0.0302 | 0.0297 | 0.0283 | 0.0294 | 0 |
| CBDVA (%AR) | 009.99 | Other | 149 | 0.03 | 0.032 | 0.031 | 0.031 | 0 |
| CBDVA (%AR) | 009.99 | Other | 212 | 0.0355 | 0.0374 | 0.0364 | 0.0364 | 0 |
| CBDVA (%AR) | 009.99 | Other | 183 | 0.0436 | 0.0427 | 0.0439 | 0.0434 | 0 |

|  |  |  | CBG (%AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 197 | 0.1188 | 0.1082 | 0.1034 | 0.11 | -1.48 | 0.1697 | 16 | 0.0402 | 0 |
| CBG (%AR) | 010.99 | Other | 216 | 0.1135 | 0.1158 | 0.1174 | 0.116 | -1.35 | 0.1697 | 16 | 0.0402 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.13 | 0.1292 | 0.1267 | 0.129 | -1.02 | 0.1697 | 16 | 0.0402 | 0 |
| CBG (%AR) | 010.99 | Other | 142 | 0.143 | 0.138 | 0.139 | 0.14 | -0.74 | 0.1697 | 16 | 0.0402 | 0 |
| CBG (%AR) | 010.99 | Other | 200 | 0.147 | 0.15 | 0.146 | 0.148 | -0.55 | 0.1697 | 16 | 0.0402 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 149 | 0.143 | 0.154 | 0.15 | 0.149 | -0.52 | 0.1697 | 16 | 0.0402 | 0 |
| CBG (%AR) | 010.99 | Other | 194 | 0.1717 | 0.1654 | 0.1678 | 0.168 | -0.04 | 0.1697 | 16 | 0.0402 | 0 |
| CBG (%AR) | 010.99 | Other | 212 | 0.1689 | 0.173 | 0.1726 | 0.171 | 0.04 | 0.1697 | 16 | 0.0402 | 0 |
| CBG (%AR) | 010.99 | Other | 204 | 0.1723 | 0.1738 | 0.1761 | 0.174 | 0.11 | 0.1697 | 16 | 0.0402 | 0 |
| CBG (%AR) | 010.99 | Other | 183 | 0.1756 | 0.1714 | 0.1781 | 0.175 | 0.13 | 0.1697 | 16 | 0.0402 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.1878 | 0.1876 | 0.1862 | 0.187 | 0.43 | 0.1697 | 16 | 0.0402 | 0 |
| CBG (%AR) | 010.99 | Other | 132 | 0.199 | 0.202 | 0.2 | 0.2 | 0.76 | 0.1697 | 16 | 0.0402 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.21 | 0.21 | 0.19 | 0.203 | 0.84 | 0.1697 | 16 | 0.0402 | 0 |
| CBG (%AR) | 010.99 | Other | 155 | 0.204 | 0.204 | 0.214 | 0.207 | 0.94 | 0.1697 | 16 | 0.0402 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.201 | 0.204 | 0.217 | 0.207 | 0.94 | 0.1697 | 16 | 0.0402 | 0 |
| CBG (%AR) | 010.99 | Other | 122 | 0.2606 | 0.2601 | 0.2605 | 0.26 | 2.25 | 0.1697 | 16 | 0.0402 | 0 |
|  |  |  |  | CBGA (%AR) |  |  |  |  |  |  |  |  |
| CBGA (%AR) | 011.99 | Other | 212 | 0.1113 | 0.1232 | 0.1295 | 0.121 | -1.82 | 0.1559 | 14 | 0.0189 | 0 |
| CBGA (%AR) | 011.99 | Other | 132 | 0.121 | 0.124 | 0.127 | 0.124 | -1.68 | 0.1559 | 14 | 0.0189 | 0 |
| CBGA (%AR) | 011.99 | Other | 106 | 0.14 | 0.14 | 0.15 | 0.143 | -0.66 | 0.1559 | 14 | 0.0189 | 0 |
| CBGA (%AR) | 011.99 | Other | 142 | 0.148 | 0.149 | 0.145 | 0.147 | -0.45 | 0.1559 | 14 | 0.0189 | 0 |
| CBGA (%AR) | 011.99 | Other | 196 | 0.1488 | 0.1451 | 0.1499 | 0.148 | -0.42 | 0.1559 | 14 | 0.0189 | 0 |
| CBGA (%AR) | 011.99 | Other | 149 | 0.144 | 0.154 | 0.155 | 0.151 | -0.26 | 0.1559 | 14 | 0.0189 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | 0.147 | 0.158 | 0.153 | 0.153 | -0.17 | 0.1559 | 14 | 0.0189 | 0 |
| CBGA (%AR) | 011.99 | Other | 197 | 0.1649 | 0.1637 | 0.1515 | 0.16 | 0.22 | 0.1559 | 14 | 0.0189 | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.1631 | 0.1638 | 0.1616 | 0.163 | 0.37 | 0.1559 | 14 | 0.0189 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 204 | 0.1674 | 0.1636 | 0.1667 | 0.166 | 0.53 | 0.1559 | 14 | 0.0189 | 0 |
| CBGA (%AR) | 011.99 | Other | 183 | 0.1629 | 0.1643 | 0.1706 | 0.166 | 0.53 | 0.1559 | 14 | 0.0189 | 0 |
| CBGA (%AR) | 011.99 | Other | 216 | 0.1703 | 0.1665 | 0.1734 | 0.17 | 0.75 | 0.1559 | 14 | 0.0189 | 0 |
| CBGA (%AR) | 011.99 | Other | 194 | 0.1725 | 0.1739 | 0.1819 | 0.176 | 1.07 | 0.1559 | 14 | 0.0189 | 0 |
| CBGA (%AR) | 011.99 | Other | 122 | 0.1995 | 0.1999 | 0.1996 | 0.2 | 2.31 | 0.1559 | 14 | 0.0189 | 0 |

Population of Lab Values

|  |  |  | THCV (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 | <0.0022 | 1 |
| THCV (%AR) | 012.99 | Other | 200 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| THCV (%AR) | 012.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 | 1 |
| THCV (%AR) | 012.99 | Other | 149 | <0.0250 | <0.0250 | <0.0250 | <0.0250 | 1 |
| THCV (%AR) | 012.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 | 1 |
| THCV (%AR) | 012.99 | Other | 216 | <0.0450 | <0.0478 | <0.0459 | <0.0450 | 1 |
| THCV (%AR) | 012.99 | Other | 197 | <0.0472 | <0.0483 | <0.0483 | <0.0472 | 1 |
| THCV (%AR) | 012.99 | Other | 183 | 0 | 0 | 0 | 0 | 2 |
| THCV (%AR) | 012.99 | Other | 132 | 0 | 0 | 0 | 0 | 2 |
| THCV (%AR) | 012.99 | Other | 212 | 0.0218 | 0.0223 | 0.03 | 0.0247 | 0 |
| THCV (%AR) | 012.99 | Other | 189 | 0.049 | 0.0426 | 0.0427 | 0.0448 | 0 |

Δ8-THC (%AR)

Δ8-THC (%AR)

013.99	Other

142

<0.0022  <0.0022	<0.0022	<0.0022	1

Lab

Lab

Population of Lab Values

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 200 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 102 | <0.0192 | <0.0190 | <0.0192 | <0.0192 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 216 | <0.0450 | <0.0478 | <0.0459 | <0.0450 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0472 | <0.0483 | <0.0483 | <0.0472 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 183 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0118 | 0.0106 | 0.0106 | 0.011 |  |  |  |  | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.0705 | 0.0699 | 0.0757 | 0.072 |  |  |  |  | 0 |

| CBC (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 142 | 0.241 | 0.236 | 0.237 | 0.238 | -2.1 | 0.2695 | 15 | 0.015 | 0 |
| CBC (%AR) | 014.99 | Other | 155 | 0.248 | 0.245 | 0.261 | 0.251 | -1.21 | 0.2695 | 15 | 0.015 | 0 |
| CBC (%AR) | 014.99 | Other | 132 | 0.252 | 0.257 | 0.252 | 0.254 | -1.06 | 0.2695 | 15 | 0.015 | 0 |
| CBC (%AR) | 014.99 | Other | 204 | 0.267 | 0.2631 | 0.2658 | 0.265 | -0.28 | 0.2695 | 15 | 0.015 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.255 | 0.274 | 0.269 | 0.266 | -0.23 | 0.2695 | 15 | 0.015 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.2707 | 0.2636 | 0.2623 | 0.266 | -0.26 | 0.2695 | 15 | 0.015 | 0 |
| CBC (%AR) | 014.99 | Other | 212 | 0.26 | 0.268 | 0.2706 | 0.266 | -0.22 | 0.2695 | 15 | 0.015 | 0 |
| CBC (%AR) | 014.99 | Other | 216 | 0.2712 | 0.2603 | 0.2706 | 0.267 | -0.14 | 0.2695 | 15 | 0.015 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.262 | 0.272 | 0.272 | 0.269 | -0.05 | 0.2695 | 15 | 0.015 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 197 | 0.2745 | 0.2686 | 0.2715 | 0.272 | 0.14 | 0.2695 | 15 | 0.015 | 0 |
| CBC (%AR) | 014.99 | Other | 194 | 0.274 | 0.2727 | 0.2802 | 0.276 | 0.41 | 0.2695 | 15 | 0.015 | 0 |
| CBC (%AR) | 014.99 | Other | 183 | 0.2763 | 0.2751 | 0.279 | 0.277 | 0.49 | 0.2695 | 15 | 0.015 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.29 | 0.29 | 0.27 | 0.283 | 0.92 | 0.2695 | 15 | 0.015 | 0 |
| CBC (%AR) | 014.99 | Other | 200 | 0.298 | 0.306 | 0.299 | 0.301 | 2.1 | 0.2695 | 15 | 0.015 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.3193 | 0.3179 | 0.3179 | 0.318 | 3.26 | 0.2695 | 15 | 0.015 | 0 |
|  |  |  |  | Cd (ug/g AR) |  |  |  |  |  |  |  |  |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.1661 | 0.1603 | 0.1308 | 0.152 | -1.13 | 0.1794 | 6 | 0.0239 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | 0.169 | 0.167 | 0.155 | 0.164 | -0.66 | 0.1794 | 6 | 0.0239 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 194 | 0.1921 | 0.1725 | 0.1635 | 0.176 | -0.14 | 0.1794 | 6 | 0.0239 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.188 | 0.174 | 0.181 | 0.181 | 0.07 | 0.1794 | 6 | 0.0239 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | 0.1955 | 0.1859 | 0.1919 | 0.191 | 0.49 | 0.1794 | 6 | 0.0239 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.201 | 0.227 | 0.209 | 0.212 | 1.38 | 0.1794 | 6 | 0.0239 | 0 |
|  |  |  |  | As (ug/g AR) |  |  |  |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.202 | 0.1876 | 0.1565 | 0.182 | -1.6 | 0.2232 | 7 | 0.0258 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | 0.2092 | 0.2003 | 0.2138 | 0.208 | -0.6 | 0.2232 | 7 | 0.0258 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | 0.21 | 0.232 | 0.219 | 0.22 | -0.11 | 0.2232 | 7 | 0.0258 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 194 | 0.2275 | 0.2077 | 0.2422 | 0.226 | 0.1 | 0.2232 | 7 | 0.0258 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | 0.231 | 0.216 | 0.236 | 0.228 | 0.17 | 0.2232 | 7 | 0.0258 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | 0.2744 | 0.2487 | <0.2000 | 0.241 | 0.69 | 0.2232 | 7 | 0.0258 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | 0.272 | 0.242 | 0.251 | 0.255 | 1.24 | 0.2232 | 7 | 0.0258 | 0 |

Population of Lab Values

|  |  |  | Hg (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | <0.0072 | <0.0072 | <0.0072 | <0.0072 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 194 | <0.0200 | <0.2000 | <0.0200 | <0.0200 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | <0.0500 | <0.0500 | <0.0500 | <0.0500 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0969 | <0.0980 | <0.0998 | <0.0969 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | 0.009 | 0.009 | 0.009 | 0.009 | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 102 | 0.0095 | 0.0095 | 0.0082 | 0.0091 | 0 |

|  |  |  | Pb (ug/g AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 194 | 0.5042 | 0.4468 | 0.6189 | 0.523 | -2.29 | 0.6687 | 7 | 0.0636 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.6341 | 0.6698 | 0.6023 | 0.635 | -0.52 | 0.6687 | 7 | 0.0636 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | 0.681 | 0.653 | 0.622 | 0.652 | -0.26 | 0.6687 | 7 | 0.0636 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | 0.664 | 0.694 | 0.657 | 0.672 | 0.05 | 0.6687 | 7 | 0.0636 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | 0.6953 | 0.6873 | 0.7047 | 0.696 | 0.43 | 0.6687 | 7 | 0.0636 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.71 | 0.69 | 0.712 | 0.704 | 0.56 | 0.6687 | 7 | 0.0636 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 0.7528 | 0.8199 | 0.6734 | 0.749 | 1.26 | 0.6687 | 7 | 0.0636 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Cu (ug/g AR) |  |  |  |  |  |  |  |  |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | 10.8 | 11.3 | 11.1 | 11.1 |  |  |  |  | 0 |
| Cu (ug/g AR) | 105.04 | ICP-MS | 142 | 17.2 | 17.6 | 17.3 | 17.4 |  |  |  |  | 0 |
|  |  |  |  | Ni (ug/g AR) |  |  |  |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | 2.38 | 2.47 | 2.41 | 2.42 |  |  |  |  | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 142 | 2.97 | 2.94 | 2.87 | 2.93 |  |  |  |  | 0 |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | 2.68 | 2.65 | 2.78 | 2.7 |  |  |  |  | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | 3.7136 | 3.909 | 4.0047 | 3.88 |  |  |  |  | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | 4.04 | 4.06 | 4.13 | 4.08 |  |  |  |  | 0 |
|  |  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | 0.129 | 0.137 | 0.138 | 0.135 |  |  |  |  | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | 0.1505 | 0.1482 | 0.1696 | 0.156 |  |  |  |  | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | 0.157 | 0.161 | 0.171 | 0.163 |  |  |  |  | 0 |
|  |  |  |  | Ag (ug/g AR) |  |  |  |  |  |  |  |  |
| Ag (ug/g AR) | 109.04 | ICP-MS | 142 | <0.0500 <0.0500 <0.0500 |  |  | <0.0500 |  |  |  |  | 1 |

Population of Lab Values

Ba (ug/g AR)

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Value	Z score

Population of Lab Values	 Rob Mean	n	Rob StDev

Flag

Ba (ug/g AR)

110.04	ICP-MS

142

65.5	67.1	65.5	66	0

|  |  |  | Zn (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 58.3 | 59.9 | 58.2 | 58.8 | 0 |

Sb (ug/g AR)

Sb (ug/g AR)

112.04	ICP-MS

196

<0.0241  <0.0241	<0.0241	<0.0241	1

|  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | 0.0214 | 0.0227 | 0.0244 | 0.0228 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0319 | 0.0327 | 0.0319 | 0.0322 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 194 | 0.0615 | 0.0605 | 0.0571 | 0.0597 | 0 |
| (-)-alpha-Bisabolol (%A | 201.01 | GC,FID | 142 | 0.0974 | 0.0956 | 0.101 | 0.098 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 212 | 0.1079 | 0.1205 | 0.1085 | 0.112 | 0 |

|  |  |  | beta-Caryophyllene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | 0.0334 | 0.034 | 0.0334 | 0.0336 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 194 | 0.0455 | 0.0459 | 0.0425 | 0.0446 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0507 | 0.0472 | 0.0483 | 0.0487 | 0 |
| beta-Caryophyllene (% | 202.01 | GC,FID | 142 | 0.0501 | 0.0504 | 0.0521 | 0.0509 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 212 | 0.047 | 0.051 | 0.0685 | 0.0555 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | (-)-Caryophyllene oxide (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | 0.0081 | 0.0096 | 0.0094 | 0.009 |  |  |  |  | 0 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 194 | 0.0151 | 0.0144 | 0.0134 | 0.0143 |  |  |  |  | 0 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 212 | 0.0137 | 0.0139 | 0.0193 | 0.0156 |  |  |  |  | 0 |
| (-)-Caryophyllene oxide | 203.01 | GC,FID | 142 | 0.0213 | 0.0199 | 0.0211 | 0.0208 |  |  |  |  | 0 |
|  |  |  |  | Geraniol (%AR) |  |  |  |  |  |  |  |  |
| Geraniol (%AR) | 204.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | alpha-Humulene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | 0.013 | 0.0132 | 0.0129 | 0.013 |  |  |  |  | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 194 | 0.0184 | 0.0186 | 0.0175 | 0.0182 |  |  |  |  | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.0202 | 0.0187 | 0.0185 | 0.0191 |  |  |  |  | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 212 | 0.0188 | 0.0203 | 0.0256 | 0.0216 |  |  |  |  | 0 |
| alpha-Humulene (%AR) | 205.01 | GC,FID | 142 | 0.0302 | 0.0302 | 0.0315 | 0.0306 |  |  |  |  | 0 |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.01 | GC,FID | 142 | <0.0005 <0.0005 <0.0005 |  |  | <0.0005 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 194 | 0.0022 | 0.0022 | 0.0022 | 0.0022 |  |  |  |  | 0 |
|  |  |  |  | Linalool (%AR) |  |  |  |  |  |  |  |  |
| Linalool (%AR) | 207.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 212 | 0.0005 | 0.0012 | 0.0018 | 0.0012 |  |  |  |  | 0 |
| Linalool (%AR) | 207.02 | GC,MS | 196 | 0.0015 | 0.0016 | 0.0016 | 0.0016 |  |  |  |  | 0 |
| Linalool (%AR) | 207.02 | GC,MS | 194 | 0.0057 | 0.0055 | 0.0055 | 0.0056 |  |  |  |  | 0 |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | 0.0013 | 0.0014 | 0.0014 | 0.0014 |  |  |  |  | 0 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 194 | 0.0034 | 0.0036 | 0.0032 | 0.0034 |  |  |  |  | 0 |
|  |  |  |  | Nopinene (%AR) |  |  |  |  |  |  |  |  |
| Nopinene (%AR) | 209.01 | GC,FID | 142 | <0.0005 <0.0005 <0.0005 |  |  | <0.0005 |  |  |  |  | 1 |
|  |  |  |  | Ocimene (%AR) |  |  |  |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 194 | <0.0004 <0.0004 <0.0004 |  |  | <0.0004 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ocimene (%AR) | 210.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 194 | 0.0015 | 0.0015 | 0.0014 | 0.0015 |  |  |  |  | 0 |
|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |  |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 194 | 0.0013 | 0.0014 | 0.0014 | 0.0014 |  |  |  |  | 0 |
|  |  |  |  | alpha-Terpinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | gamma-Terpinene (%AR) |  |  |  |  |  |  |  |  |  |
| gamma-Terpinene (%A |  | 214.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |
| gamma-Terpinene (%A |  | 214.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |
| gamma-Terpinene (%A |  | 214.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |

Population of Lab Values

|  |  |  | alpha-Terpinolene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |
| alpha-Terpinolene (%A | 215.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

| Moisture (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.99 | Other | 132 | 1.94 | 2.34 | 1.95 | 2.08 | -3.17 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 4.12 | 3.67 | 3.7 | 3.83 | -2.16 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.99 | Other | 142 | 5.3 | 5.2 | 5.2 | 5.23 | -1.35 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 189 | 6.03 | 6.03 | 6.03 | 6.03 | -0.89 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 6.1 | 6.42 | 6.44 | 6.32 | -0.72 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 204 | 6.52 | 6.52 | 6.52 | 6.52 | -0.6 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.72 | NIR | 187 | 6.8 | 6.5 | 6.4 | 6.57 | -0.58 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.99 | Other | 212 | 6.84 | 6.94 | 6.69 | 6.82 | -0.43 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.99 | Other | 120 | 7.0694 | 7.5137 | 7.5376 | 7.37 | -0.11 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.72 | NIR | 138 | 7.5 | 7.35 | 7.35 | 7.4 | -0.1 | 7.5663 | 23 | 1.7318 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.99 | Other | 102 | 6.9 | 7.9 | 7.6 | 7.47 | -0.06 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.99 | Other | 224 | 7.1892 | 7.0935 | 8.4613 | 7.58 | 0.01 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 7.74 | 7.68 | 7.77 | 7.73 | 0.09 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 172 | 7.886 | 8.034 | 7.907 | 7.94 | 0.22 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 194 | 7.98 | 7.77 | 8.21 | 7.99 | 0.24 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 183 | 8.06 | 8.06 | 8.06 | 8.06 | 0.29 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 196 | 8.65 | 7.78 | 8.11 | 8.18 | 0.35 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 182 | 8.145 | 8.99 | 7.68 | 8.27 | 0.41 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 9.32 | 8.92 | 8.88 | 9.04 | 0.85 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.99 | Other | 105 | 9.22 | 9.37 | 9.32 | 9.3 | 1 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 9.4719 | 9.6885 | 10.6323 | 9.93 | 1.37 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 10.0155 | 10.5553 | 10.3673 | 10.3 | 1.59 | 7.5663 | 23 | 1.7318 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 162 | 9.8 | 10.78 | 10.78 | 10.5 | 1.67 | 7.5663 | 23 | 1.7318 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 162 | 0.161 | 0.1585 | 0.1515 | 0.157 | -2.22 | 0.2097 | 13 | 0.0238 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 204 | 0.1867 | 0.1827 | 0.1832 | 0.184 | -1.07 | 0.2097 | 13 | 0.0238 | 0 |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 210 | 0.194 | 0.195 | 0.187 | 0.192 | -0.74 | 0.2097 | 13 | 0.0238 | 0 |
| Δ9-THC (%DW) | 501.99 | Other | 183 | 0.1951 | 0.1928 | 0.1991 | 0.196 | -0.59 | 0.2097 | 13 | 0.0238 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 218 | 0.198 | 0.191 | 0.203 | 0.197 | -0.52 | 0.2097 | 13 | 0.0238 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.1997 | 0.2117 | 0.1962 | 0.203 | -0.3 | 0.2097 | 13 | 0.0238 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.2135 | 0.2114 | 0.2125 | 0.212 | 0.12 | 0.2097 | 13 | 0.0238 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.2054 | 0.2234 | 0.2158 | 0.215 | 0.22 | 0.2097 | 13 | 0.0238 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 120 | 0.2149 | 0.2332 | 0.2178 | 0.222 | 0.51 | 0.2097 | 13 | 0.0238 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 105 | 0.223 | 0.216 | 0.231 | 0.223 | 0.57 | 0.2097 | 13 | 0.0238 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 199 | 0.2195 | 0.2191 | 0.2376 | 0.225 | 0.66 | 0.2097 | 13 | 0.0238 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 172 | 0.2401 | 0.2379 | 0.2335 | 0.237 | 1.15 | 0.2097 | 13 | 0.0238 | 0 |
| Δ9-THC (%DW) | 501.60 | NIR | 187 | 0.3 | 0.23 | 0.22 | 0.25 | 1.69 | 0.2097 | 13 | 0.0238 | 0 |

Population of Lab Values

| Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | <0.0524 | <0.0203 | <0.0189 | <0.0524 |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 204 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 105 | <0.0144 | 0.0147 | <0.0144 | 0.0145 |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.60 | NIR | 187 | <0.0100 | 0.02 | 0.02 | 0.0167 | -1.08 | 0.0308 | 9 | 0.0131 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 120 | 0.0203 | 0.0199 | 0.0198 | 0.02 | -0.82 | 0.0308 | 9 | 0.0131 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 162 | 0.0222 | 0.0194 | 0.0217 | 0.0211 | -0.74 | 0.0308 | 9 | 0.0131 | 0 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 210 | 0.026 | 0.026 | 0.027 | 0.0263 | -0.34 | 0.0308 | 9 | 0.0131 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0249 | 0.0278 | 0.0271 | 0.0266 | -0.32 | 0.0308 | 9 | 0.0131 | 0 |
| Δ9-THCA (%DW) | 502.99 | Other | 183 | 0.0331 | 0.0366 | 0.0357 | 0.0351 | 0.33 | 0.0308 | 9 | 0.0131 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 172 | 0.0358 | 0.0369 | 0.0337 | 0.0355 | 0.36 | 0.0308 | 9 | 0.0131 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.0462 | 0.0477 | 0.0487 | 0.0475 | 1.28 | 0.0308 | 9 | 0.0131 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 218 | 0.046 | 0.045 | 0.053 | 0.048 | 1.32 | 0.0308 | 9 | 0.0131 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBD (%DW) |  |  |  |  |  |  |  |  |
| CBD (%DW) | 503.60 | NIR | 187 | 6.25 | 4.48 | 4.44 | 5.06 | -1.05 | 5.6295 | 12 | 0.5432 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 218 | 5.184 | 5.01 | 4.985 | 5.06 | -1.05 | 5.6295 | 12 | 0.5432 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 189 | 5.1675 | 5.1858 | 5.116 | 5.16 | -0.87 | 5.6295 | 12 | 0.5432 | 0 |
| CBD (%DW) | 503.30 | Other LC-MS | 105 | 5.03 | 5.45 | 5.23 | 5.24 | -0.72 | 5.6295 | 12 | 0.5432 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 204 | 5.3935 | 5.3771 | 5.3133 | 5.36 | -0.49 | 5.6295 | 12 | 0.5432 | 0 |
| CBD (%DW) | 503.01 | AOAC 2018.10 | 210 | 5.531 | 5.493 | 5.455 | 5.49 | -0.25 | 5.6295 | 12 | 0.5432 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 5.7149 | 5.8978 | 5.7075 | 5.77 | 0.26 | 5.6295 | 12 | 0.5432 | 0 |
| CBD (%DW) | 503.99 | Other | 183 | 5.7753 | 5.7357 | 5.8149 | 5.78 | 0.27 | 5.6295 | 12 | 0.5432 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 199 | 5.7771 | 5.7538 | 5.8048 | 5.78 | 0.27 | 5.6295 | 12 | 0.5432 | 0 |
| CBD (%DW) | 503.30 | Other LC-MS | 102 | 5.5723 | 6.847 | 5.9665 | 6.13 | 0.92 | 5.6295 | 12 | 0.5432 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 162 | 6.4204 | 6.1808 | 6.4533 | 6.35 | 1.33 | 5.6295 | 12 | 0.5432 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 172 | 6.409 | 6.4383 | 6.3015 | 6.38 | 1.39 | 5.6295 | 12 | 0.5432 | 0 |
|  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| CBDA (%DW) | 504.30 | Other LC-MS | 105 | 2.76 | 2.92 | 2.8 | 2.83 | -1.45 | 3.3788 | 11 | 0.381 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 218 | 3.014 | 2.91 | 3.088 | 3 | -0.98 | 3.3788 | 11 | 0.381 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 3.0619 | 3.0711 | 3.0298 | 3.05 | -0.85 | 3.3788 | 11 | 0.381 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 3.2787 | 3.2832 | 3.2106 | 3.26 | -0.32 | 3.3788 | 11 | 0.381 | 0 |
| CBDA (%DW) | 504.60 | NIR | 187 | 3.28 | 3.26 | 3.41 | 3.32 | -0.16 | 3.3788 | 11 | 0.381 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 204 | 3.3827 | 3.3551 | 3.3048 | 3.35 | -0.08 | 3.3788 | 11 | 0.381 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 162 | 3.4926 | 3.3884 | 3.5771 | 3.49 | 0.28 | 3.3788 | 11 | 0.381 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 199 | 3.6045 | 3.6525 | 3.463 | 3.57 | 0.51 | 3.3788 | 11 | 0.381 | 0 |
| CBDA (%DW) | 504.99 | Other | 183 | 3.5815 | 3.5987 | 3.6668 | 3.62 | 0.62 | 3.3788 | 11 | 0.381 | 0 |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 210 | 3.751 | 3.727 | 3.726 | 3.73 | 0.93 | 3.3788 | 11 | 0.381 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 172 | 4.0007 | 4.0181 | 3.954 | 3.99 | 1.61 | 3.3788 | 11 | 0.381 | 0 |
|  |  |  |  | CBN (%DW) |  |  |  |  |  |  |  |  |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 218 | 0.047 | 0.045 | 0.048 | 0.0467 | -1.15 | 0.0551 | 10 | 0.0073 | 0 |
| CBN (%DW) | 505.20 | Other LC-MS | 105 | 0.0453 | 0.0463 | 0.0481 | 0.0466 | -1.16 | 0.0551 | 10 | 0.0073 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0513 | 0.0515 | 0.0509 | 0.0512 | -0.52 | 0.0551 | 10 | 0.0073 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 204 | 0.0519 | 0.0531 | 0.0515 | 0.0522 | -0.4 | 0.0551 | 10 | 0.0073 | 0 |
| CBN (%DW) | 505.99 | Other | 183 | 0.0528 | 0.0535 | 0.0553 | 0.0539 | -0.17 | 0.0551 | 10 | 0.0073 | 0 |
| CBN (%DW) | 505.20 | Other LC-MS | 102 | 0.053 | 0.0593 | 0.0554 | 0.0559 | 0.11 | 0.0551 | 10 | 0.0073 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 162 | 0.0555 | 0.0551 | 0.0594 | 0.0567 | 0.22 | 0.0551 | 10 | 0.0073 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.062 | 0.0655 | 0.0461 | 0.0579 | 0.38 | 0.0551 | 10 | 0.0073 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 116 | 0.0702 | 0.0592 | 0.062 | 0.0638 | 1.19 | 0.0551 | 10 | 0.0073 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | 0.0625 | 0.0677 | 0.0688 | 0.0663 | 1.54 | 0.0551 | 10 | 0.0073 | 0 |
|  |  |  |  | Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 162 | 0.1805 | 0.1754 | 0.1705 | 0.175 | -1.77 | 0.23 | 18 | 0.0308 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 204 | 0.1867 | 0.1827 | 0.1832 | 0.184 | -1.49 | 0.23 | 18 | 0.0308 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 182 | 0.1997 | 0.1874 | 0.1787 | 0.189 | -1.34 | 0.23 | 18 | 0.0308 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 210 | 0.217 | 0.218 | 0.211 | 0.215 | -0.48 | 0.23 | 18 | 0.0308 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 138 | 0.2126 | 0.217 | 0.2197 | 0.216 | -0.44 | 0.23 | 18 | 0.0308 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.2149 | 0.2133 | 0.2278 | 0.219 | -0.37 | 0.23 | 18 | 0.0308 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.2247 | 0.234 | 0.2149 | 0.225 | -0.18 | 0.23 | 18 | 0.0308 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.2366 | 0.2206 | 0.2198 | 0.226 | -0.14 | 0.23 | 18 | 0.0308 | 0 |
| Total Δ9-THC (%DW) | 506.99 | Other | 183 | 0.2242 | 0.2249 | 0.2305 | 0.227 | -0.11 | 0.23 | 18 | 0.0308 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 105 | 0.223 | 0.229 | 0.231 | 0.228 | -0.08 | 0.23 | 18 | 0.0308 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.2273 | 0.2478 | 0.2396 | 0.238 | 0.27 | 0.23 | 18 | 0.0308 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 218 | 0.238 | 0.231 | 0.25 | 0.24 | 0.31 | 0.23 | 18 | 0.0308 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 120 | 0.2327 | 0.2507 | 0.2352 | 0.24 | 0.31 | 0.23 | 18 | 0.0308 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 199 | 0.2375 | 0.2387 | 0.2626 | 0.246 | 0.53 | 0.23 | 18 | 0.0308 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.254 | 0.2532 | 0.2552 | 0.254 | 0.78 | 0.23 | 18 | 0.0308 | 0 |
| Total Δ9-THC (%DW) | 506.60 | NIR | 187 | 0.304 | 0.2438 | 0.2498 | 0.266 | 1.17 | 0.23 | 18 | 0.0308 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 172 | 0.2715 | 0.2703 | 0.2631 | 0.268 | 1.25 | 0.23 | 18 | 0.0308 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.3054 | 0.3119 | 0.2665 | 0.295 | 2.1 | 0.23 | 18 | 0.0308 | 0 |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 218 | 7.827 | 7.562 | 7.693 | 7.69 | -1.15 | 8.6274 | 14 | 0.8148 | 0 |
| Total CBD (%DW) | 507.30 | Other LC-MS | 105 | 7.45 | 8.01 | 7.69 | 7.72 | -1.12 | 8.6274 | 14 | 0.8148 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 189 | 7.8528 | 7.8791 | 7.7731 | 7.84 | -0.97 | 8.6274 | 14 | 0.8148 | 0 |
| Total CBD (%DW) | 507.60 | NIR | 187 | 9.13 | 7.34 | 7.43 | 7.97 | -0.81 | 8.6274 | 14 | 0.8148 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 7.8619 | 8.5823 | 7.607 | 8.02 | -0.75 | 8.6274 | 14 | 0.8148 | 0 |

Population of Lab Values

Lab

Lab

Population of Lab Values

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%DW) | 507.10 | Other LC-UV | 204 | 8.3601 | 8.2116 | 8.3195 | 8.3 | -0.41 | 8.6274 | 14 | 0.8148 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 8.5904 | 8.7772 | 8.5232 | 8.63 | 0 | 8.6274 | 14 | 0.8148 | 0 |
| Total CBD (%DW) | 507.01 | AOAC 2018.10 | 210 | 8.821 | 8.762 | 8.723 | 8.77 | 0.17 | 8.6274 | 14 | 0.8148 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 199 | 8.9383 | 8.9571 | 8.8419 | 8.91 | 0.35 | 8.6274 | 14 | 0.8148 | 0 |
| Total CBD (%DW) | 507.99 | Other | 183 | 8.9163 | 8.8917 | 9.0306 | 8.95 | 0.39 | 8.6274 | 14 | 0.8148 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 9.9735 | 8.6386 | 9.013 | 9.21 | 0.71 | 8.6274 | 14 | 0.8148 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 162 | 9.4834 | 9.1524 | 9.59 | 9.41 | 0.96 | 8.6274 | 14 | 0.8148 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 138 | 9.6206 | 9.7488 | 9.2298 | 9.53 | 1.11 | 8.6274 | 14 | 0.8148 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 172 | 9.9177 | 9.9622 | 9.7691 | 9.88 | 1.54 | 8.6274 | 14 | 0.8148 | 0 |

| CBDV (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%DW) | 508.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBDV (%DW) | 508.02 | AOAC 2018.11, U | 210 | 0.044 | 0.045 | 0.044 | 0.0443 | 0 |
| CBDV (%DW) | 508.99 | Other | 183 | 0.0476 | 0.0454 | 0.0469 | 0.0466 | 0 |
| CBDV (%DW) | 508.99 | Other | 189 | 0.0509 | 0.049 | 0.0458 | 0.0486 | 0 |

| CBDVA (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%DW) | 509.01 | AOAC 2018.10 | 210 | 0.032 | 0.031 | 0.031 | 0.0313 | 0 |
| CBDVA (%DW) | 509.99 | Other | 183 | 0.0471 | 0.0462 | 0.0474 | 0.0469 | 0 |

CBG (%DW)

CBG (%DW)

510.99	Other

105

0.14	0.144	0.15	0.145	-4.41

0.1873	6	0.0097	0

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%DW) | 510.99 | Other | 204 | 0.1835 | 0.1875 | 0.1851 | 0.185 | -0.2 | 0.1873 | 6 | 0.0097 | 0 |
| CBG (%DW) | 510.01 | AOAC 2018.10 | 210 | 0.182 | 0.195 | 0.187 | 0.188 | 0.08 | 0.1873 | 6 | 0.0097 | 0 |
| CBG (%DW) | 510.99 | Other | 183 | 0.1898 | 0.1852 | 0.1925 | 0.189 | 0.2 | 0.1873 | 6 | 0.0097 | 0 |
| CBG (%DW) | 510.99 | Other | 162 | 0.1944 | 0.1794 | 0.1933 | 0.189 | 0.18 | 0.1873 | 6 | 0.0097 | 0 |
| CBG (%DW) | 510.99 | Other | 189 | 0.1998 | 0.1997 | 0.1982 | 0.199 | 1.24 | 0.1873 | 6 | 0.0097 | 0 |

Population of Lab Values

| CBGA (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%DW) | 511.99 | Other | 162 | 0.1303 | 0.159 | 0.1384 | 0.143 | 0 |
| CBGA (%DW) | 511.01 | AOAC 2018.10 | 210 | 0.158 | 0.161 | 0.156 | 0.158 | 0 |
| CBGA (%DW) | 511.99 | Other | 189 | 0.1736 | 0.1743 | 0.172 | 0.173 | 0 |
| CBGA (%DW) | 511.99 | Other | 204 | 0.1783 | 0.1775 | 0.1742 | 0.177 | 0 |
| CBGA (%DW) | 511.99 | Other | 183 | 0.176 | 0.1776 | 0.1844 | 0.179 | 0 |

| THCV (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%DW) | 512.02 | AOAC 2018.11, U | 210 | <0.0130 | <0.0130 | <0.0130 | <0.0130 | 1 |
| THCV (%DW) | 512.99 | Other | 183 | 0 | 0 | 0 | 0 | 2 |
| THCV (%DW) | 512.99 | Other | 189 | 0.0521 | 0.0453 | 0.0454 | 0.0476 | 0 |

|  |  |  | Δ8-THC (%DW) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 102 | <0.0199 | <0.0207 | <0.0208 | <0.0199 | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 183 | 0 | 0 | 0 | 0 | 2 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.99 | Other | 189 | 0.0126 | 0.0113 | 0.0113 | 0.0117 |  |  |  |  | 0 |
| Δ8-THC (%DW) | 513.01 | AOAC 2018.10 | 210 | 0.038 | 0.037 | 0.029 | 0.0347 |  |  |  |  | 0 |

Population of Lab Values

|  |  |  | CBC (%DW) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.99 | Other | 105 | <0.0144 | 0.292 | 0.286 | 0.197 | 0 |
| CBC (%DW) | 514.99 | Other | 204 | 0.2843 | 0.283 | 0.2802 | 0.282 | 0 |
| CBC (%DW) | 514.99 | Other | 162 | 0.2875 | 0.2911 | 0.3056 | 0.295 | 0 |
| CBC (%DW) | 514.99 | Other | 183 | 0.2986 | 0.2973 | 0.3015 | 0.299 | 0 |
| CBC (%DW) | 514.99 | Other | 189 | 0.3398 | 0.3383 | 0.3383 | 0.339 | 0 |

- Flag definitions: 1 (Lab Value not used because there were less than 2 numeric lab results), 2 (Lab Value not used because there were less than 2 numeric lab results greater than 0).

- Robust statistics performed to determine robust mean and Z scores only if there were 6 or more numeric lab values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.