# Homogeneity and Stability

Sample ID . . . . . . . . . . . . . . . . . . . . . . . . .

Samples shipped . . . . . . . . . . . . . . . . . . .

Results due date . . . . . . . . . . . . . . . . . . . .

HM22SEP-2

20-Sep-22

1-Nov-22

## Homogeneity

10 sample packets randomly chosen for analysis.

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 0.1850 | 0.1831 |
| 2 | 0.1645 | 0.1803 |
| 3 | 0.1751 | 0.1825 |
| 4 | 0.1781 | 0.1871 |
| 5 | 0.1772 | 0.1857 |
| 6 | 0.1862 | 0.1881 |
| 7 | 0.1785 | 0.1841 |
| 8 | 0.1796 | 0.1818 |
| 9 | 0.1760 | 0.1873 |
| 10 | 0.1834 | 0.1827 |

Duplicate test portions analyzed for analyte and method shown in table caption.

| Total THC (%AR) via GC-FID (method 006.40) Analysis Date: 9/22/22 |  | Overall average: | 0.1813 | %RSD | HorRat-r |
| --- | --- | --- | --- | --- | --- |
|  |  | SD of sample avgs: | 0.003827 | 2.11 |  |
|  |  | repeatability SD: | 0.0056167 | 3.10 | 0.6 |
|  |  | between-sample SD: | 0 | 0.00 |  |
|  |  | reproducibilty SD: | 0.0056167 | 3.10 |  |
|  |  | SD used for Analyte z scores: | 0.0353 |  |  |
|  |  | Check value: | 0.01059 |  |  |
| Total THC (%AR) via GC-FID (method 006.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |  |  |
| Total CBD (%AR) via GC-FID (method 007.40) Analysis Date: 9/22/22 |  | Overall average: | 8.9532 | %RSD | HorRat-r |
|  |  | SD of sample avgs: | 0.1541 | 1.72 |  |
|  |  | repeatability SD: | 0.2351 | 2.63 | 0.9 |
|  |  | between-sample SD: | 0 | 0.00 |  |
|  |  | reproducibilty SD: | 0.2351 | 2.63 |  |
|  |  | SD used for Analyte z scores: | 0.7939 |  |  |
|  |  | Check value: | 0.23817 |  |  |
| Total CBD (%AR) via GC-FID (method 007.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |  |  |

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 8.8840 | 9.0537 |
| 2 | 8.2143 | 8.9063 |
| 3 | 8.7926 | 9.0745 |
| 4 | 8.9041 | 9.3286 |
| 5 | 8.8114 | 9.0558 |
| 6 | 9.0477 | 9.1120 |
| 7 | 8.8414 | 9.0449 |
| 8 | 8.9754 | 9.1747 |
| 9 | 8.7685 | 9.1864 |
| 10 | 9.0115 | 8.8758 |

Stability

Sample tested on different days from date sample shipped to results due date. Sample stored at room temperature during period of testing.

| Date of Analysis | Days | Conc. |
| --- | --- | --- |
| 9/7/22 | 0 | 0.1787 |
| 9/13/22 | 6 | 0.1976 |
| 9/19/22 | 12 | 0.2058 |
| 9/23/22 | 16 | 0.2026 |
| 9/30/22 | 23 | 0.1867 |
| 10/7/22 | 30 | 0.2234 |
| 10/14/22 | 37 | 0.2116 |
| 10/19/22 | 42 | 0.1988 |
| 10/24/22 | 47 | 0.1937 |
| 10/31/22 | 54 | 0.2081 |

Total THC (%AR) via GC-FID (method 006.40)		Days = x variable, Conc = y variable

SUMMARY OUTPUT

Regression Statistics

Multiple R   0.3950199 R Square	0.1560407 Adjusted R Squ 0.0505458 Standard Error  0.0124136

| ANOVA |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | df |  | SS | MS | F | Significance F |  |
| Regression |  |  | 0.00022793 | 0.000227929 | 1.479130192 | 0.258574811 |  |
| Residual |  |  | 0.00123277 | 0.000154096 |  |  |  |
| Total |  |  | 0.0014607 |  |  |  |  |
| Coefficients |  | tandard Erro |  | t Stat | P-value | Lower 95% | Upper 95% |
| Intercept 0.1933332 0.00721801 26.78482113 4.06227E-09 |  |  |  |  |  | 0.176688451 | 0.209977993 |
| X Variable 1 0.0002759 0.00022686 1.216194965 0.258574811 |  |  |  |  |  | -0.000247237 | 0.000799056 |

Observations	10

1

8

y = 0.0003x + 0.1933 R² = 0.156

0.24

0.22

0.20

0.18

0.16

0.14

0.12

0.10

0	10	20	30	40	50	60

9

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period.

Stability test passed.

%RSD = 6.3   HorRat-R = 1.3

| Total CBD (%AR) via GC-FID (method 006.40) |  |  |
| --- | --- | --- |
| Date of Analysis | Days | Conc. |
| 9/7/22 | 0 | 8.9087 |
| 9/13/22 | 6 | 9.0274 |
| 9/19/22 | 12 | 8.5468 |
| 9/23/22 | 16 | 8.9400 |
| 9/30/22 | 23 | 8.9261 |
| 10/7/22 | 30 | 8.9286 |
| 10/14/22 | 37 | 9.3123 |
| 10/19/22 | 42 | 8.9888 |
| 10/24/22 | 47 | 8.8509 |
| 10/31/22 | 54 | 9.0225 |

Days = x variable, Conc = y variable SUMMARY OUTPUT

Regression Statistics

Multiple R	0.3185594

| R Square | 0.1014801 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Adjusted R Squ -0.0108349 |  |  |  |  |  |  |  |
| Standard Error | 0.1892872 |  |  |  |  |  |  |
| Observations | 10 |  |  |  |  |  |  |
| ANOVA |  |  |  |  |  |  |  |
|  | df |  | SS | MS | F | Significance F |  |
| Regression |  | 1 | 0.03237319 | 0.032373185 | 0.903531156 | 0.36966584 |  |
| Residual |  | 8 | 0.28663702 | 0.035829628 |  |  |  |
| Total |  | 9 | 0.31901021 |  |  |  |  |
| Coefficients tandard Erro t Stat P-value Lower 95% |  |  |  |  |  |  | Upper 95% |

y = 0.0033x + 8.8574 R² = 0.1015

10.0

9.5

9.0

8.5

8.0

7.5

7.0

0	10	20	30	40	50	60

Intercept	8.8574148  0.11006332 80.47562639	6.3383E-13  8.603608313  9.111221265

X Variable 1	0.0032882  0.0034593 0.950542559	0.36966584  -0.004688946  0.011265366

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period.

Stability test passed.

%RSD = 2.1	HorRat-R = 0.7