# Hemp PT Certificate of Analysis

## Hemp PT Sample HM23NOV-1 Material: hemp

± Standard

| Analyte | Value | Uncertainty | # Labs |
| --- | --- | --- | --- |
|  | % as received |  |  |
| Δ9-THC | 0.2420 | 0.0067 | 29 |
| Δ9-THCA | 0.05748 | 0.00203 | 27 |
| CBD | 4.504 | 0.121 | 19 |
| CBDA | 4.996 | 0.212 | 19 |
| CBN | 0.03021 | 0.00171 | 13 |
| Total Δ9-THC | 0.290 | 0.0067 | 36 |
| Total CBD | 8.650 | 0.353 | 22 |
| CBG | 0.2153 | 0.0278 | 8 |
| CBGA | 0.2511 | 0.0137 | 7 |
| CBC | 0.2767 | 0.0099 | 7 |
| Moisture | 7.412 | 0.695 | 16 |
|  | % dry weight |  |  |
| Δ9-THC | 0.2693 | 0.0129 | 9 |
| Δ9-THCA | 0.06209 | 0.00274 | 8 |
| CBD | 4.894 | 0.169 | 7 |
| CBDA | 5.401 | 0.298 | 7 |
| Total Δ9-THC | 0.3107 | 0.0121 | 14 |
| Total CBD | 9.650 | 0.499 | 10 |
|  | ug/g as-received |  |  |
| Pb | 0.3507 | 0.0117 | 6 |

## Hemp PT Sample HM23NOV-1 Material: hemp

Analyte	Value

± Standard

Uncertainty	# Labs

- Data obtained from participant results in the University of Kentucky Hemp PT Program.

- Sample was shipped on 11/6/23. Stored at room temperature until 1/10/24. Stored at -20 C after 1/10/24.

- Values are robust means. Standard uncertainty determined as 1.25 x robust standard deviation / sqrt(#Labs). Results only shown for analytes tested by 6 or more labs.