Hemp Proficiency Testing

All Labs Trueness HM23NOV-1 (hemp)

Sample: HM23NOV-1 (hemp)

All Labs Trueness

Issue Date:

January 7, 2024

| Analyte | Code | Method | Lab Num |  | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Δ9-THC (%AR) |  |  |  |  |  |  |  |  |  |  |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 192 | 0.1411 | 0.1542 | 0.1648 | 0.153 | -3.09 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 182 | 0.1973 | 0.1974 | 0.1982 | 0.198 | -1.55 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.99 | Other |  | 215 | 0.2152 | 0.206 | 0.205 | 0.209 | -1.16 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 103 | 0.217 | 0.21 | 0.213 | 0.213 | -1 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 161 | 0.2222 | 0.2121 | 0.2111 | 0.215 | -0.94 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 225 | 0.2385 | 0.1974 | 0.2106 | 0.215 | -0.92 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 170 | 0.2272 | 0.2136 | 0.2161 | 0.219 | -0.8 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 |  | 148 | 0.22 | 0.224 | 0.217 | 0.22 | -0.76 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 155 | 0.224 | 0.225 | 0.221 | 0.223 | -0.65 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 142 | 0.247 | 0.212 | 0.216 | 0.225 | -0.59 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 106 | 0.22 | 0.23 | 0.23 | 0.227 | -0.54 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS |  | 122 | 0.2338 | 0.2331 | 0.2337 | 0.234 | -0.3 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 197 | 0.2392 | 0.2488 | 0.2269 | 0.238 | -0.13 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 125 | 0.244 | 0.234 | 0.249 | 0.242 | 0.01 | 0.242 | 29 | 0.0287 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.2411 | 0.245 | 0.244 | 0.243 | 0.05 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 165 | 0.2521 | 0.2403 | 0.2445 | 0.246 | 0.12 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 196 | 0.242 | 0.249 | 0.251 | 0.247 | 0.18 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.26 | 0.25 | 0.25 | 0.253 | 0.39 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 217 | 0.2681 | 0.2674 | 0.2261 | 0.254 | 0.41 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.2515 | 0.253 | 0.257 | 0.254 | 0.41 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.2632 | 0.2466 | 0.2534 | 0.254 | 0.43 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.262 | 0.2642 | 0.2676 | 0.265 | 0.79 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 164 | 0.2797 | 0.2556 | 0.2613 | 0.266 | 0.82 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.2793 | 0.2597 | 0.2663 | 0.268 | 0.92 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.2538 | 0.2774 | 0.2779 | 0.27 | 0.96 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.2775 | 0.2754 | 0.2801 | 0.278 | 1.24 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.2802 | 0.278 | 0.2768 | 0.278 | 1.26 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.288 | 0.277 | 0.272 | 0.279 | 1.29 | 0.242 | 29 | 0.0287 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.3 | 0.29 | 0.29 | 0.293 | 1.78 | 0.242 | 29 | 0.0287 | 0 |
|  |  |  |  | Δ9-THCA (%AR) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0754 | <0.0732 | <0.0743 | <0.0754 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.0311 | 0.0321 | 0.0322 | 0.0318 | -3.04 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | 0.0517 | 0.0432 | 0.0426 | 0.0458 | -1.38 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 182 | 0.0439 | 0.049 | 0.0455 | 0.0461 | -1.34 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.04 | 0.05 | 0.05 | 0.0467 | -1.28 | 0.0575 | 27 | 0.0084 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | 0.046 | 0.048 | 0.05 | 0.048 | -1.12 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 215 | 0.05 | 0.0512 | 0.0461 | 0.0491 | -0.99 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 225 | 0.0577 | 0.046 | 0.0494 | 0.051 | -0.76 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 161 | 0.0528 | 0.0501 | <0.0500 | 0.051 | -0.77 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | 0.0627 | <0.048 | <0.048 | 0.0529 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | 0.0537 | 0.0507 | 0.055 | 0.0531 | -0.51 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 103 | 0.057 | 0.055 | 0.055 | 0.0557 | -0.21 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.06 | 0.058 | 0.053 | 0.057 | -0.06 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0.0541 | 0.0612 | 0.0596 | 0.0583 | 0.1 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | 0.056 | 0.056 | 0.062 | 0.058 | 0.06 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 170 | 0.0664 | 0.0556 | 0.0538 | 0.0586 | 0.13 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | 0.0634 | 0.049 | 0.0669 | 0.0598 | 0.27 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 165 | 0.0649 | 0.0664 | 0.0506 | 0.0606 | 0.37 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | 0.0601 | 0.0607 | 0.0622 | 0.061 | 0.42 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.065 | 0.06 | 0.06 | 0.0617 | 0.5 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 217 | 0.0637 | 0.0614 | 0.0622 | 0.0624 | 0.59 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.0616 | 0.0621 | 0.062 | 0.0619 | 0.52 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 148 | 0.065 | 0.065 | 0.062 | 0.064 | 0.77 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0639 | 0.0639 | 0.0637 | 0.0638 | 0.75 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 155 | 0.07 | 0.061 | 0.062 | 0.0643 | 0.81 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0684 | 0.0621 | 0.0617 | 0.0641 | 0.78 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.07 | 0.065 | 0.061 | 0.0653 | 0.93 | 0.0575 | 27 | 0.0084 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | 0.0795 | 0.0625 | 0.0665 | 0.0695 | 1.43 | 0.0575 | 27 | 0.0084 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 164 | 0.0847 | 0.0771 | 0.08 | 0.0806 | 2.74 | 0.0575 | 27 | 0.0084 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 3.0433 | 3.2033 | 3.2977 | 3.18 | -3.14 | 4.5039 | 19 | 0.4213 | 0 |
| CBD (%AR) | 003.99 | Other | 215 | 3.7233 | 3.8333 | 3.5963 | 3.72 | -1.87 | 4.5039 | 19 | 0.4213 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 161 | 4.1451 | 3.8987 | 3.9918 | 4.01 | -1.17 | 4.5039 | 19 | 0.4213 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 155 | 4.05 | 3.91 | 4.35 | 4.1 | -0.95 | 4.5039 | 19 | 0.4213 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 103 | 4.424 | 4.19 | 4.32 | 4.31 | -0.46 | 4.5039 | 19 | 0.4213 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 4.4773 | 4.2311 | 4.3728 | 4.36 | -0.34 | 4.5039 | 19 | 0.4213 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 4.332 | 4.425 | 4.377 | 4.38 | -0.3 | 4.5039 | 19 | 0.4213 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 4.406 | 4.378 | 4.483 | 4.42 | -0.19 | 4.5039 | 19 | 0.4213 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 4.65 | 4.29 | 4.41 | 4.45 | -0.13 | 4.5039 | 19 | 0.4213 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 4.5155 | 4.498 | 4.5055 | 4.51 | 0.01 | 4.5039 | 19 | 0.4213 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 4.5237 | 4.5454 | 4.5156 | 4.53 | 0.06 | 4.5039 | 19 | 0.4213 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 170 | 4.5938 | 4.4321 | 4.5913 | 4.54 | 0.08 | 4.5039 | 19 | 0.4213 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 4.54 | 4.66 | 4.69 | 4.63 | 0.3 | 4.5039 | 19 | 0.4213 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 4.91 | 4.65 | 4.82 | 4.79 | 0.69 | 4.5039 | 19 | 0.4213 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 4.9653 | 4.7757 | 4.8013 | 4.85 | 0.82 | 4.5039 | 19 | 0.4213 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 5.1646 | 4.6191 | 4.8082 | 4.86 | 0.85 | 4.5039 | 19 | 0.4213 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 4.742 | 4.9311 | 5.0475 | 4.91 | 0.96 | 4.5039 | 19 | 0.4213 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 4.8663 | 5.111 | 5.1462 | 5.04 | 1.28 | 4.5039 | 19 | 0.4213 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.30 | Other LC-MS | 164 | 5.7602 | 5.2504 | 5.6608 | 5.56 | 2.5 | 4.5039 | 19 | 0.4213 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 3.8332 | 3.7693 | 3.9982 | 3.87 | -1.53 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 155 | 3.96 | 3.79 | 4.2 | 3.98 | -1.37 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.99 | Other | 215 | 4.1537 | 4.3184 | 4.0438 | 4.17 | -1.12 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 161 | 4.4701 | 4.287 | 4.1985 | 4.32 | -0.92 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 4.96 | 4.49 | 4.54 | 4.66 | -0.45 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 4.7316 | 4.7428 | 4.7121 | 4.73 | -0.36 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 4.85 | 4.631 | 4.728 | 4.74 | -0.35 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 4.9074 | 4.7388 | 4.7908 | 4.81 | -0.25 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 103 | 4.981 | 4.883 | 4.913 | 4.93 | -0.09 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 4.8915 | 5.1063 | 5.0376 | 5.01 | 0.02 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 4.953 | 5.221 | 4.926 | 5.03 | 0.05 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 4.9807 | 5.2126 | 5.3257 | 5.17 | 0.24 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 5.15 | 5.39 | 5.18 | 5.24 | 0.33 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 5.269 | 5.1652 | 5.368 | 5.27 | 0.37 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 5.3065 | 5.274 | 5.337 | 5.31 | 0.42 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | 5.45 | 5.61 | 5.26 | 5.44 | 0.6 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 170 | 6.0104 | 6.081 | 5.9487 | 6.01 | 1.38 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 7.548 | 6.2973 | 7.5183 | 7.12 | 2.88 | 4.9957 | 19 | 0.7378 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 164 | 7.7327 | 6.7773 | 7.3918 | 7.3 | 3.12 | 4.9957 | 19 | 0.7378 | 0 |

Population of Lab Values

| Analyte Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Population of Lab Values

| CBN (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | <0.0503 | <0.0488 | <0.0495 | <0.0503 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | <0.0600 | <0.0600 | <0.0600 | <0.0600 |  |  |  |  | 1 |
| CBN (%AR) | 005.30 | GC-FID | 116 | <0.0600 | <0.0600 | <0.0600 | <0.0600 |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 125 | 0.0249 | 0.0205 | 0.0249 | 0.0234 | -1.37 | 0.0302 | 13 | 0.0049 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.0252 | 0.0249 | 0.0257 | 0.0253 | -1 | 0.0302 | 13 | 0.0049 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | 0.026 | 0.0277 | 0.0238 | 0.0258 | -0.89 | 0.0302 | 13 | 0.0049 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | 0.0275 | 0.0265 | 0.029 | 0.0277 | -0.52 | 0.0302 | 13 | 0.0049 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 192 | 0.0316 | 0.0269 | 0.0277 | 0.0287 | -0.3 | 0.0302 | 13 | 0.0049 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | 0.029 | 0.029 | 0.03 | 0.0293 | -0.18 | 0.0302 | 13 | 0.0049 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0298 | 0.025 | 0.0337 | 0.0295 | -0.14 | 0.0302 | 13 | 0.0049 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0315 | 0.0292 | 0.0294 | 0.03 | -0.04 | 0.0302 | 13 | 0.0049 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 107 | 0.0355 | 0.0368 | 0.0225 | 0.0316 | 0.28 | 0.0302 | 13 | 0.0049 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0369 | 0.0361 | 0.0254 | 0.0328 | 0.52 | 0.0302 | 13 | 0.0049 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.03 | 0.04 | 0.03 | 0.0333 | 0.63 | 0.0302 | 13 | 0.0049 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0376 | 0.0397 | 0.0383 | 0.0385 | 1.68 | 0.0302 | 13 | 0.0049 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.059 | 0.0563 | 0.0357 | 0.0503 | 4.07 | 0.0302 | 13 | 0.0049 | 0 |

| Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 192 | 0.1701 | 0.1609 | 0.1613 | 0.164 | -3.92 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1684 | 0.1823 | 0.1931 | 0.181 | -3.38 | 0.29 | 36 | 0.0321 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 182 | 0.2358 | 0.2403 | 0.2381 | 0.238 | -1.62 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.2392 | 0.2488 | 0.2269 | 0.238 | -1.61 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 215 | 0.2591 | 0.2508 | 0.2454 | 0.252 | -1.19 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 225 | 0.2891 | 0.2377 | 0.2539 | 0.26 | -0.93 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.267 | 0.2582 | 0.2612 | 0.262 | -0.87 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 161 | 0.2685 | 0.2561 |  | 0.262 | -0.86 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.292 | 0.25 | 0.253 | 0.265 | -0.78 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 190 | 0.267 | 0.2701 |  | 0.269 | -0.67 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 155 | 0.285 | 0.27 | 0.275 | 0.277 | -0.42 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 148 | 0.277 | 0.281 | 0.272 | 0.277 | -0.42 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.2597 | 0.29 | 0.2851 | 0.278 | -0.37 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.317 | 0.2642 | 0.2676 | 0.283 | -0.22 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.2902 | 0.2756 | 0.2902 | 0.285 | -0.15 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.2865 | 0.2863 | 0.2882 | 0.287 | -0.09 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.282 | 0.292 | 0.295 | 0.29 | -0.01 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 128 | 0.2911 | 0.282 | 0.3065 | 0.293 | 0.1 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.2987 | 0.2853 | 0.3 | 0.295 | 0.14 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.2951 | 0.2995 | 0.2984 | 0.298 | 0.24 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 165 | 0.309 | 0.2985 | 0.2889 | 0.299 | 0.27 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.3059 | 0.294 | 0.3025 | 0.301 | 0.34 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.3304 | 0.2857 | 0.29 | 0.302 | 0.37 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.314 | 0.289 | 0.307 | 0.303 | 0.41 | 0.29 | 36 | 0.0321 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.3006 | 0.3021 | 0.3114 | 0.305 | 0.46 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.31 | 0.31 | 0.3 | 0.307 | 0.52 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.3081 | 0.3088 |  | 0.308 | 0.57 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 217 | 0.3239 | 0.3212 | 0.2806 | 0.309 | 0.58 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.3162 | 0.3081 | 0.3023 | 0.309 | 0.59 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.3232 | 0.301 | 0.3076 | 0.311 | 0.64 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.3164 | 0.333 | 0.2903 | 0.313 | 0.72 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.3331 | 0.3184 | 0.3388 | 0.33 | 1.25 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.3362 | 0.3341 | 0.3326 | 0.334 | 1.38 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 164 | 0.354 | 0.3232 | 0.3314 | 0.336 | 1.44 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.349 | 0.335 | 0.325 | 0.336 | 1.44 | 0.29 | 36 | 0.0321 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.3526 | 0.3409 | 0.3365 | 0.343 | 1.66 | 0.29 | 36 | 0.0321 | 0 |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.40 | GC-FID | 192 | 5.8941 | 5.685 | 5.6063 | 5.73 | -2.21 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 107 | 5.8848 | 5.6976 | 6.1633 | 5.92 | -2.07 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 6.4051 | 6.5089 | 6.8042 | 6.57 | -1.57 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 215 | 7.3661 | 7.6206 | 7.1427 | 7.38 | -0.96 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 155 | 7.53 | 7.23 | 8.03 | 7.6 | -0.8 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 161 | 8.0653 | 7.6584 | 7.6739 | 7.8 | -0.64 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 8.0361 | 8.1569 | 7.4408 | 7.88 | -0.58 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 9 | 8.23 | 8.39 | 8.54 | -0.08 | 8.6497 | 22 | 1.3228 | 0 |

Population of Lab Values

Lab

Lab

Population of Lab Values

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 8.7811 | 8.387 | 8.5743 | 8.58 | -0.05 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 8.66 | 8.439 | 8.63 | 8.58 | -0.06 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 103 | 8.7923 | 8.4724 | 8.6287 | 8.63 | -0.01 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 8.6734 | 8.7049 | 8.6481 | 8.68 | 0.02 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 9.03 | 8.6817 | 9.0717 | 8.93 | 0.21 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 9.1693 | 9.1233 | 9.186 | 9.16 | 0.39 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 9.1111 | 9.5036 | 9.7192 | 9.44 | 0.6 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 9.1561 | 9.5892 | 9.5642 | 9.44 | 0.59 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 9.7855 | 9.1489 | 9.516 | 9.48 | 0.63 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 9.69 | 9.57 | 9.43 | 9.56 | 0.69 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 9.566 | 9.6212 | 9.746 | 9.64 | 0.75 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 10.3799 | 10.2145 | 9.9617 | 10.2 | 1.16 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 10.1541 | 10.3153 | 10.0216 | 10.2 | 1.14 | 8.6497 | 22 | 1.3228 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 164 | 12.5417 | 11.1941 | 12.1434 | 12 | 2.5 | 8.6497 | 22 | 1.3228 | 0 |

|  |  |  | CBDV (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 197 | <0.0503 | <0.0488 | <0.0495 | <0.0503 | 1 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0242 | 0.0292 | 0.0296 | 0.0277 | 0 |
| CBDV (%AR) | 008.99 | Other | 196 | 0.031 | 0.031 | 0.032 | 0.0313 | 0 |
| CBDV (%AR) | 008.99 | Other | 142 | 0.0411 | 0.034 | 0.0374 | 0.0375 | 0 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.13 | 0.11 | 0.12 | 0.12 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | CBDVA (%AR) |  |  |  |  |  |  |  |  |  |
| CBDVA (%AR) | 009.99 | Other | 197 | <0.0503 | <0.0488 | <0.0495 | <0.0503 | 1 |  |  |  |  |
| CBDVA (%AR) | 009.99 | Other | 196 | 0.044 | 0.042 | 0.043 | 0.043 | 0 |  |  |  |  |
| CBDVA (%AR) | 009.99 | Other | 142 | 0.0526 | 0.043 | 0.0439 | 0.0465 | 0 |  |  |  |  |

Population of Lab Values

| CBG (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 197 | 0.1477 | 0.1522 | 0.1505 | 0.15 | -1.04 | 0.2153 | 8 | 0.0628 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.17 | 0.17 | 0.18 | 0.173 | -0.67 | 0.2153 | 8 | 0.0628 | 0 |
| CBG (%AR) | 010.99 | Other | 142 | 0.193 | 0.174 | 0.179 | 0.182 | -0.53 | 0.2153 | 8 | 0.0628 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.184 | 0.189 | 0.195 | 0.189 | -0.41 | 0.2153 | 8 | 0.0628 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 103 | 0.207 | 0.192 | 0.201 | 0.2 | -0.24 | 0.2153 | 8 | 0.0628 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.259 | 0.228 | 0.228 | 0.238 | 0.37 | 0.2153 | 8 | 0.0628 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.2802 | 0.281 | 0.2806 | 0.281 | 1.04 | 0.2153 | 8 | 0.0628 | 0 |
| CBG (%AR) | 010.99 | Other | 155 | 0.303 | 0.306 | 0.316 | 0.308 | 1.48 | 0.2153 | 8 | 0.0628 | 0 |

| CBGA (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 197 | 0.2131 | 0.2194 | 0.2119 | 0.215 | -1.26 | 0.2511 | 7 | 0.0289 | 0 |
| CBGA (%AR) | 011.99 | Other | 106 | 0.21 | 0.23 | 0.23 | 0.223 | -0.96 | 0.2511 | 7 | 0.0289 | 0 |
| CBGA (%AR) | 011.99 | Other | 142 | 0.27 | 0.231 | 0.235 | 0.245 | -0.2 | 0.2511 | 7 | 0.0289 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 103 | 0.258 | 0.249 | 0.258 | 0.255 | 0.13 | 0.2511 | 7 | 0.0289 | 0 |
| CBGA (%AR) | 011.99 | Other | 196 | 0.265 | 0.257 | 0.264 | 0.262 | 0.38 | 0.2511 | 7 | 0.0289 | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.2748 | 0.2695 | 0.269 | 0.271 | 0.69 | 0.2511 | 7 | 0.0289 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | 0.294 | 0.292 | 0.273 | 0.286 | 1.22 | 0.2511 | 7 | 0.0289 | 0 |

Population of Lab Values

|  |  |  | THCV (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 | <0.0022 | 1 |
| THCV (%AR) | 012.99 | Other | 189 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |
| THCV (%AR) | 012.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 | 1 |
| THCV (%AR) | 012.99 | Other | 197 | <0.0503 | <0.0488 | <0.0495 | <0.0503 | 1 |

|  |  |  | Δ8-THC (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 | <0.0022 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0503 | <0.0488 | <0.0495 | <0.0503 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0126 | 0.0114 | 0.011 | 0.0117 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.0576 | 0.0592 | 0.0588 | 0.0585 | 0 |

|  |  |  | CBC (%AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 142 | 0.275 | 0.237 | 0.242 | 0.251 | -1.21 | 0.2767 | 7 | 0.0209 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.2683 | 0.2654 | 0.2564 | 0.263 | -0.64 | 0.2767 | 7 | 0.0209 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.26 | 0.28 | 0.27 | 0.27 | -0.32 | 0.2767 | 7 | 0.0209 | 0 |
| CBC (%AR) | 014.99 | Other | 155 | 0.306 | 0.25 | 0.271 | 0.276 | -0.05 | 0.2767 | 7 | 0.0209 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 196 | 0.279 | 0.273 | 0.282 | 0.278 | 0.06 | 0.2767 | 7 | 0.0209 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.2925 | 0.2938 | 0.2851 | 0.29 | 0.66 | 0.2767 | 7 | 0.0209 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.308 | 0.305 | 0.313 | 0.309 | 1.53 | 0.2767 | 7 | 0.0209 | 0 |
|  |  |  |  | Cd (ug/g AR) |  |  |  |  |  |  |  |  |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | 0.108 | 0.107 | 0.105 | 0.107 |  |  |  |  | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | 0.16 | 0.1466 | 0.1662 | 0.158 |  |  |  |  | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.1509 | 0.1597 | 0.1665 | 0.159 |  |  |  |  | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.158 | 0.171 | 0.174 | 0.168 |  |  |  |  | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.169 | 0.175 | 0.163 | 0.169 |  |  |  |  | 0 |
|  |  |  |  | As (ug/g AR) |  |  |  |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0992 | <0.0988 | <0.0975 | <0.0992 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.0513 | 0.0547 | 0.0572 | 0.0544 |  |  |  |  | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | 0.0714 | 0.0672 | 0.064 | 0.0675 |  |  |  |  | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | 0.081 | 0.08 | 0.064 | 0.075 |  |  |  |  | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0800 | 0.08 | <0.0800 | 0.08 |  |  |  |  | 1 |
|  |  |  |  | Hg (ug/g AR) |  |  |  |  |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | <0.0072 <0.0072 <0.0072 |  |  | <0.0072 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0992 | <0.0988 | <0.0975 | <0.0992 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | 0.0073 | 0.0034 | 0.002 | 0.0042 |  |  |  |  | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 102 | 0.006 | 0.0062 | 0.0068 | 0.0063 |  |  |  |  | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | 0.008 | 0.009 | 0.008 | 0.0083 |  |  |  |  | 0 |

Population of Lab Values

|  |  |  | Pb (ug/g AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.3433 | 0.2942 | 0.3325 | 0.323 | -1.2 | 0.3507 | 6 | 0.0228 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | 0.321 | 0.34 | 0.336 | 0.332 | -0.8 | 0.3507 | 6 | 0.0228 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 0.3501 | 0.346 | 0.3603 | 0.352 | 0.06 | 0.3507 | 6 | 0.0228 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | 0.3711 | 0.3686 | 0.3153 | 0.352 | 0.04 | 0.3507 | 6 | 0.0228 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.382 | 0.335 | 0.397 | 0.371 | 0.9 | 0.3507 | 6 | 0.0228 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | 0.32 | 0.444 | 0.356 | 0.373 | 0.99 | 0.3507 | 6 | 0.0228 | 0 |

|  |  |  | Cu (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | 9.55 | 8.9 | 9.57 | 9.34 | 0 |
| Cu (ug/g AR) | 105.04 | ICP-MS | 142 | 15.3 | 17.3 | 16.7 | 16.4 | 0 |

|  |  |  | Ni (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | 1.15 | 1.12 | 1.07 | 1.11 | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 142 | 1.4 | 1.45 | 1.29 | 1.38 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | 10.0000 | 10.0000 | <10.0000 | <10.0000 |  |  |  |  | 1 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | 0.684 | 0.817 | 0.66 | 0.72 |  |  |  |  | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | 1.04 | 0.969 | 0.976 | 0.995 |  |  |  |  | 0 |
|  |  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | 0.085 | 0.062 | 0.075 | 0.074 |  |  |  |  | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | 0.1149 | 0.1148 | 0.1202 | 0.117 |  |  |  |  | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | 0.133 | 0.128 | 0.137 | 0.133 |  |  |  |  | 0 |
|  |  |  |  | Ag (ug/g AR) |  |  |  |  |  |  |  |  |
| Ag (ug/g AR) | 109.04 | ICP-MS | 142 | 0.022 | 0.0215 | 0.0184 | 0.0206 |  |  |  |  | 0 |
|  |  |  |  | Ba (ug/g AR) |  |  |  |  |  |  |  |  |
| Ba (ug/g AR) | 110.04 | ICP-MS | 142 | 0.224 | 0.193 | 0.187 | 0.201 |  |  |  |  | 0 |
|  |  |  |  | Zn (ug/g AR) |  |  |  |  |  |  |  |  |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 50.2 | 47 | 47.9 | 48.4 |  |  |  |  | 0 |
|  |  |  |  | Sb (ug/g AR) |  |  |  |  |  |  |  |  |
| Sb (ug/g AR) | 112.04 | ICP-MS | 196 | <0.0240 <0.0240 <0.0240 |  |  | <0.0240 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |  |  |  |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | <0.1235 | <0.1235 | <0.1235 | <0.1235 |  |  |  |  | 1 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0404 | 0.0297 | 0.0294 | 0.0332 |  |  |  |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.01 | GC,FID | 142 | 0.121 | 0.117 | 0.13 | 0.123 |  |  |  |  | 0 |
|  |  |  |  | beta-Caryophyllene (%AR) |  |  |  |  |  |  |  |  |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | <0.1235 | <0.1235 | <0.1235 | <0.1235 |  |  |  |  | 1 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0763 | 0.0641 | 0.0587 | 0.0664 |  |  |  |  | 0 |
| beta-Caryophyllene (% | 202.01 | GC,FID | 142 | 0.091 | 0.0794 | 0.0963 | 0.0889 |  |  |  |  | 0 |
|  |  |  | (-)-Caryophyllene oxide (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | <0.1235 <0.1235 <0.1235 |  |  | <0.1235 |  |  |  |  | 1 |
| (-)-Caryophyllene oxide | 203.01 | GC,FID | 142 | 0.0277 | 0.0267 | 0.0298 | 0.0281 |  |  |  |  | 0 |
|  |  |  |  | Geraniol (%AR) |  |  |  |  |  |  |  |  |
| Geraniol (%AR) | 204.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | alpha-Humulene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | <0.1235 <0.1235 <0.1235 |  |  | <0.1235 |  |  |  |  | 1 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.0303 | 0.0241 | 0.0222 | 0.0255 |  |  |  |  | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Humulene (%AR) | 205.01 | GC,FID | 142 | 0.0506 | 0.0458 | 0.0545 | 0.0503 |  |  |  |  | 0 |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | Linalool (%AR) |  |  |  |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Linalool (%AR) | 207.01 | GC,FID | 142 | 0.0018 | 0.0018 | 0.0022 | 0.0019 |  |  |  |  | 0 |
| Linalool (%AR) | 207.02 | GC,MS | 196 | 0.0018 | 0.0016 | 0.0019 | 0.0018 |  |  |  |  | 0 |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| beta-Myrcene (%AR) | 208.01 | GC,FID | 142 | 0.0026 | 0.0016 | 0.0021 | 0.0021 |  |  |  |  | 0 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | 0.0023 | 0.002 | 0.002 | 0.0021 |  |  |  |  | 0 |
|  |  |  |  | Nopinene (%AR) |  |  |  |  |  |  |  |  |
| Nopinene (%AR) | 209.01 | GC,FID | 142 | <0.0005 <0.0005 <0.0005 |  |  | <0.0005 |  |  |  |  | 1 |
|  |  |  |  | Ocimene (%AR) |  |  |  |  |  |  |  |  |
| Ocimene (%AR) | 210.01 | GC,FID | 142 | <0.0005 <0.0005 <0.0005 |  |  | <0.0005 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |

Population of Lab Values

|  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Pinene (%AR) | 211.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0013 <0.0013 <0.0013 | <0.0013 | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 | <0.0100 | 1 |

|  |  |  | alpha-Terpinene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinene (%AR) | 213.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

|  |  |  | gamma-Terpinene (%AR) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0013 <0.0013 <0.0013 | <0.0013 | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 | <0.0100 | 1 |

| Analyte | Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | alpha-Terpinolene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Terpinolene (%A |  | 215.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1 |  |  |  |  |
| alpha-Terpinolene (%A |  | 215.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |
| alpha-Terpinolene (%A |  | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |

Population of Lab Values

| Moisture (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 3.03 | 3.27 | 3.12 | 3.14 | -1.92 | 7.4121 | 16 | 2.2234 | 0 |
| Moisture (%AR) | 500.99 | Other | 142 | 4.8 | 4.4 | 4.4 | 4.53 | -1.29 | 7.4121 | 16 | 2.2234 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 189 | 5.369 | 5.369 | 5.369 | 5.37 | -0.92 | 7.4121 | 16 | 2.2234 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 5.52 | 5.56 | 5.56 | 5.55 | -0.84 | 7.4121 | 16 | 2.2234 | 0 |
| Moisture (%AR) | 500.72 | NIR | 138 | 6.7 | 6.65 | 6.85 | 6.73 | -0.31 | 7.4121 | 16 | 2.2234 | 0 |
| Moisture (%AR) | 500.99 | Other | 103 | 6.82 | 6.75 | 6.7 | 6.76 | -0.29 | 7.4121 | 16 | 2.2234 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 196 | 6.45 | 7.12 | 6.76 | 6.78 | -0.29 | 7.4121 | 16 | 2.2234 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 6.82 | 6.87 | 7.01 | 6.9 | -0.23 | 7.4121 | 16 | 2.2234 | 0 |
| Moisture (%AR) | 500.99 | Other | 215 | 7.14 | 6.55 | 7.66 | 7.12 | -0.13 | 7.4121 | 16 | 2.2234 | 0 |
| Moisture (%AR) | 500.99 | Other | 165 | 7.979 | 8.295 | 8.035 | 8.1 | 0.31 | 7.4121 | 16 | 2.2234 | 0 |
| Moisture (%AR) | 500.99 | Other | 102 | 9.3 | 8 | 8.1 | 8.47 | 0.47 | 7.4121 | 16 | 2.2234 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 182 | 8.33 | 8.265 | 8.92 | 8.51 | 0.49 | 7.4121 | 16 | 2.2234 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 8.82 | 10.1 | 8.98 | 9.3 | 0.85 | 7.4121 | 16 | 2.2234 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 9.8762 | 9.7577 | 9.9145 | 9.85 | 1.1 | 7.4121 | 16 | 2.2234 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 162 | 11.43 | 8.91 | 9.52 | 9.95 | 1.14 | 7.4121 | 16 | 2.2234 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 10.6971 | 10.257 | 10.8666 | 10.6 | 1.44 | 7.4121 | 16 | 2.2234 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.99 | Other | 215 | 0.2318 | 0.2204 | 0.222 | 0.225 | -1.44 | 0.2693 | 9 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 103 | 0.2329 | 0.2252 | 0.2283 | 0.229 | -1.31 | 0.2693 | 9 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 210 | 0.267 | 0.264 | 0.262 | 0.264 | -0.16 | 0.2693 | 9 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 165 | 0.274 | 0.262 | 0.2658 | 0.267 | -0.07 | 0.2693 | 9 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.2787 | 0.261 | 0.2683 | 0.269 | 0 | 0.2693 | 9 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 199 | 0.2816 | 0.2819 | 0.2883 | 0.284 | 0.47 | 0.2693 | 9 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.29 | 0.287 | 0.291 | 0.289 | 0.65 | 0.2693 | 9 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.2961 | 0.2938 | 0.2925 | 0.294 | 0.8 | 0.2693 | 9 | 0.031 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 162 | 0.2971 | 0.3081 | 0.301 | 0.302 | 1.06 | 0.2693 | 9 | 0.031 | 0 |
|  |  |  |  | Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%DW) | 502.99 | Other | 215 | 0.0538 | 0.0547 | 0.0499 | 0.0528 | -1.5 | 0.0621 | 8 | 0.0062 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | 0.07 | <0.048 | <0.048 | 0.0553 |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 162 | 0.0569 | 0.0542 | 0.0581 | 0.0564 | -0.92 | 0.0621 | 8 | 0.0062 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 103 | 0.0612 | 0.059 | 0.0589 | 0.0597 | -0.39 | 0.0621 | 8 | 0.0062 | 0 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 210 | 0.063 | 0.063 | 0.059 | 0.0617 | -0.07 | 0.0621 | 8 | 0.0062 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 199 | 0.0627 | 0.0624 | 0.0696 | 0.0649 | 0.45 | 0.0621 | 8 | 0.0062 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 165 | 0.0705 | 0.0724 | 0.055 | 0.066 | 0.63 | 0.0621 | 8 | 0.0062 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.0675 | 0.0675 | 0.0673 | 0.0674 | 0.86 | 0.0621 | 8 | 0.0062 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0724 | 0.0657 | 0.0654 | 0.0678 | 0.93 | 0.0621 | 8 | 0.0062 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBD (%DW) |  |  |  |  |  |  |  |  |
| CBD (%DW) | 503.99 | Other | 215 | 4.0096 | 4.102 | 3.8946 | 4 | -2.49 | 4.8945 | 7 | 0.358 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 103 | 4.7478 | 4.4933 | 4.6302 | 4.62 | -0.76 | 4.8945 | 7 | 0.358 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 189 | 4.7804 | 4.8033 | 4.7718 | 4.79 | -0.31 | 4.8945 | 7 | 0.358 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 199 | 5.0564 | 5.0121 | 5.0548 | 5.04 | 0.41 | 4.8945 | 7 | 0.358 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 162 | 4.8647 | 5.0689 | 5.3714 | 5.1 | 0.58 | 4.8945 | 7 | 0.358 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 5.4681 | 4.8905 | 5.0907 | 5.15 | 0.71 | 4.8945 | 7 | 0.358 | 0 |
| CBD (%DW) | 503.01 | AOAC 2018.10 | 210 | 5.24 | 5.127 | 5.24 | 5.2 | 0.86 | 4.8945 | 7 | 0.358 | 0 |
|  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| CBDA (%DW) | 504.99 | Other | 215 | 4.4731 | 4.6211 | 4.3792 | 4.49 | -1.44 | 5.401 | 7 | 0.6308 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 5.0001 | 5.0119 | 4.9794 | 5 | -0.64 | 5.401 | 7 | 0.6308 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 103 | 5.3456 | 5.2365 | 5.2658 | 5.28 | -0.19 | 5.401 | 7 | 0.6308 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 162 | 5.2394 | 5.2314 | 5.7032 | 5.39 | -0.02 | 5.401 | 7 | 0.6308 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 5.5786 | 5.4687 | 5.6835 | 5.58 | 0.28 | 5.401 | 7 | 0.6308 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 199 | 5.9421 | 5.8768 | 5.9877 | 5.94 | 0.85 | 5.401 | 7 | 0.6308 | 0 |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 210 | 6.175 | 6.229 | 5.993 | 6.13 | 1.16 | 5.401 | 7 | 0.6308 | 0 |
|  |  |  |  | CBN (%DW) |  |  |  |  |  |  |  |  |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | <0.0600 <0.0600 <0.0600 |  |  | <0.0600 |  |  |  |  | 1 |
| CBN (%DW) | 505.30 | GC-FID | 116 | <0.0600 <0.0600 <0.0600 |  |  | <0.0600 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 199 | 0.0308 | 0.0295 | 0.0325 | 0.0309 |  |  |  |  | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0333 | 0.0309 | 0.0311 | 0.0318 |  |  |  |  | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.041 | 0.04 | 0.0281 | 0.0364 |  |  |  |  | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 162 | 0.0393 | 0.036 | 0.0368 | 0.0374 |  |  |  |  | 0 |

Population of Lab Values

| Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.1868 | 0.2021 | 0.2143 | 0.201 | -3.02 | 0.3107 | 14 | 0.0362 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 182 | 0.2572 | 0.262 | 0.2614 | 0.26 | -1.39 | 0.3107 | 14 | 0.0362 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 215 | 0.279 | 0.2684 | 0.2657 | 0.271 | -1.09 | 0.3107 | 14 | 0.0362 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 103 | 0.2865 | 0.2769 | 0.28 | 0.281 | -0.82 | 0.3107 | 14 | 0.0362 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 138 | 0.3112 | 0.3002 | 0.3111 | 0.308 | -0.09 | 0.3107 | 14 | 0.0362 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.3514 | 0.287 | 0.291 | 0.31 | -0.02 | 0.3107 | 14 | 0.0362 | 0 |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 210 | 0.322 | 0.319 | 0.314 | 0.318 | 0.21 | 0.3107 | 14 | 0.0362 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.3185 | 0.3188 |  | 0.319 | 0.22 | 0.3107 | 14 | 0.0362 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 165 | 0.3358 | 0.3255 | 0.3141 | 0.325 | 0.4 | 0.3107 | 14 | 0.0362 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.3347 | 0.3262 | 0.3201 | 0.327 | 0.45 | 0.3107 | 14 | 0.0362 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.3422 | 0.3187 | 0.3256 | 0.329 | 0.5 | 0.3107 | 14 | 0.0362 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 199 | 0.3366 | 0.3366 | 0.3493 | 0.341 | 0.83 | 0.3107 | 14 | 0.0362 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 162 | 0.347 | 0.3556 | 0.352 | 0.352 | 1.13 | 0.3107 | 14 | 0.0362 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.3553 | 0.3531 | 0.3515 | 0.353 | 1.18 | 0.3107 | 14 | 0.0362 | 0 |

| Analyte | Code |  | Method | Lab Num |  | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |  |  |
| Total CBD (%DW) |  | 507.10 | Other LC-UV |  | 192 | 7.107 | 7.2127 | 7.553 | 7.29 | -1.87 | 9.6502 | 10 | 1.2614 | 0 |
| Total CBD (%DW) |  | 507.10 | Other LC-UV |  | 215 | 7.9325 | 8.1547 | 7.7352 | 7.94 | -1.36 | 9.6502 | 10 | 1.2614 | 0 |
| Total CBD (%DW) |  | 507.10 | Other LC-UV |  | 189 | 9.1655 | 9.1988 | 9.1388 | 9.17 | -0.38 | 9.6502 | 10 | 1.2614 | 0 |
| Total CBD (%DW) |  | 507.02 | AOAC 2018.11, U |  | 103 | 9.4359 | 9.0857 | 9.2483 | 9.26 | -0.31 | 9.6502 | 10 | 1.2614 | 0 |
| Total CBD (%DW) |  | 507.10 | Other LC-UV |  | 162 | 9.4596 | 9.6569 | 10.3731 | 9.83 | 0.14 | 9.6502 | 10 | 1.2614 | 0 |
| Total CBD (%DW) |  | 507.10 | Other LC-UV |  | 116 | 10.3605 | 9.6865 | 10.0751 | 10 | 0.31 | 9.6502 | 10 | 1.2614 | 0 |
| Total CBD (%DW) |  | 507.02 | AOAC 2018.11, U |  | 199 | 10.2676 | 10.166 | 10.306 | 10.2 | 0.47 | 9.6502 | 10 | 1.2614 | 0 |
| Total CBD (%DW) |  | 507.01 | AOAC 2018.10 |  | 210 | 10.655 | 10.59 | 10.496 | 10.6 | 0.74 | 9.6502 | 10 | 1.2614 | 0 |
| Total CBD (%DW) |  | 507.40 | GC-FID |  | 116 | 10.9898 | 10.8147 | 10.5471 | 10.8 | 0.9 | 9.6502 | 10 | 1.2614 | 0 |
| Total CBD (%DW) |  | 507.40 | GC-FID |  | 138 | 10.8872 | 11.06 | 10.7451 | 10.9 | 0.99 | 9.6502 | 10 | 1.2614 | 0 |

Population of Lab Values

| CBDV (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%DW) | 508.99 | Other | 189 | 0.0256 | 0.0309 | 0.0313 | 0.0293 | 0 |
| CBDV (%DW) | 508.99 | Other | 162 | 0.0362 | 0.0384 | 0.039 | 0.0379 | 0 |
| CBDV (%DW) | 508.02 | AOAC 2018.11, U | 210 | 0.048 | 0.05 | 0.046 | 0.048 | 0 |

| CBDVA (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%DW) | 509.01 | AOAC 2018.10 | 210 | 0.057 | 0.055 | 0.054 | 0.0553 | 0 |

| CBG (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%DW) | 510.01 | AOAC 2018.10 | 210 | 0.194 | 0.173 | 0.181 | 0.183 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%DW) | 510.02 | AOAC 2018.11, U | 103 | 0.2222 | 0.2059 | 0.2154 | 0.214 |  |  |  |  | 0 |
| CBG (%DW) | 510.99 | Other | 162 | 0.2279 | 0.2193 | 0.2276 | 0.225 |  |  |  |  | 0 |
| CBG (%DW) | 510.99 | Other | 189 | 0.2961 | 0.2969 | 0.2965 | 0.296 |  |  |  |  | 0 |

Population of Lab Values

| CBGA (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%DW) | 511.01 | AOAC 2018.10 | 210 | 0.213 | 0.221 | 0.206 | 0.213 | 0 |
| CBGA (%DW) | 511.02 | AOAC 2018.11, U | 103 | 0.2769 | 0.267 | 0.2765 | 0.273 | 0 |
| CBGA (%DW) | 511.99 | Other | 189 | 0.2904 | 0.2848 | 0.2843 | 0.287 | 0 |
| CBGA (%DW) | 511.99 | Other | 162 | 0.3259 | 0.3316 | 0.3298 | 0.329 | 0 |

| THCV (%DW) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| THCV (%DW) | 512.99 | Other | 189 | <0.0050 <0.0050 <0.0050 | <0.0050 | 1 |
| THCV (%DW) | 512.02 | AOAC 2018.11, U | 210 | <0.0130 <0.0130 <0.0130 | <0.0130 | 1 |

| Δ8-THC (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 189 | 0.0133 | 0.012 | 0.0116 | 0.0123 | 0 |
| Δ8-THC (%DW) | 513.01 | AOAC 2018.10 | 210 | 0.015 | 0.015 | 0.017 | 0.0157 | 0 |

|  |  |  | CBC (%DW) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.99 | Other | 162 | 0.2937 | 0.3008 | 0.3171 | 0.304 | 0 |
| CBC (%DW) | 514.99 | Other | 189 | 0.3091 | 0.3105 | 0.3013 | 0.307 | 0 |

| Analyte Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Population of Lab Values

- Flag definitions: 1 (Lab Value not used because there were less than 2 numeric lab results), 2 (Lab Value not used because there were less than 2 numeric lab results greater than 0).

- Robust statistics performed to determine robust mean and Z scores only if there were 6 or more numeric lab values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.