# Homogeneity and Stability

Sample ID . . . . . . . . . . . . . . . . . . . . . . . .

Samples shipped . . . . . . . . . . . . . . . . . . .

Results due date . . . . . . . . . . . . . . . . . . . .

HM23NOV-1

6-Nov-23

15-Dec-23

## Homogeneity

7 sample jars randomly chosen for analysis.

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 0.2719 | 0.2778 |
| 2 | 0.2809 | 0.2748 |
| 3 | 0.2823 | 0.2887 |
| 4 | 0.2933 | 0.2837 |
| 5 | 0.2809 | 0.2888 |
| 6 | 0.2891 | 0.2873 |
| 7 | 0.2810 | 0.2759 |
| 8 | 0.2814 | 0.2818 |
| 9 | 0.2832 | 0.2830 |
| 10 | 0.2758 | 0.2857 |

Duplicate test portions analyzed for analyte and method shown in table caption.

| Total THC (%AR) via GC-FID (method 006.40) |  |  | %RSD | HorRat-r |
| --- | --- | --- | --- | --- |
| Analysis Date: 11/10/23 | Overall average: | 0.2824 |  |  |
|  | SD of sample avgs: | 0.004524 | 1.60 |  |
|  | repeatability SD: | 0.0044474 | 1.58 | 0.3 |
|  | between-sample SD: | 0.00325 | 1.15 |  |
|  | reproducibilty SD: | 0.005509 | 1.95 |  |
|  | SD used for Analyte z scores: | 0.0321 |  |  |
|  | Check value: | 0.00963 |  |  |
|  | Total THC (%AR) via GC-FID (method 006.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |
| Total CBD (%AR) via GC-FID (method 007.40) |  |  | %RSD | HorRat-r |
| Analysis Date: 11/10/23 | Overall average: | 9.6162 |  |  |
|  | SD of sample avgs: | 0.2884 | 3.00 |  |
|  | repeatability SD: | 0.1463 | 1.52 | 0.5 |
|  | between-sample SD: | 0.2692 | 2.80 |  |
|  | reproducibilty SD: | 0.3064 | 3.19 |  |
|  | SD used for Analyte z scores: | 1.3228 |  |  |
|  | Check value: | 0.39684 |  |  |
|  | Total CBD (%AR) via GC-FID (method 007.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 8.8817 | 9.0955 |
| 2 | 9.2866 | 9.1670 |
| 3 | 9.4476 | 9.6893 |
| 4 | 9.8525 | 9.5736 |
| 5 | 9.5345 | 9.7954 |
| 6 | 9.8452 | 9.9545 |
| 7 | 9.7657 | 9.6664 |
| 8 | 9.7300 | 9.7695 |
| 9 | 9.8307 | 9.8048 |
| 10 | 9.6301 | 10.0039 |

Stability

Sample tested on different days from date sample shipped to results due date. Sample stored at room temperature during period of testing.

| Total THC (%AR) via GC-FID (method 006.40) |  |  |
| --- | --- | --- |
| Date of Analysis | Days | Conc. |
| 11/10/23 | 0 | 0.2938 |
| 11/14/23 | 4 | 0.2986 |
| 11/29/23 | 19 | 0.2721 |
| 12/4/23 | 24 | 0.2825 |
| 12/7/23 | 27 | 0.2730 |
| 12/12/23 | 32 | 0.2985 |

Days = x variable, Conc = y variable SUMMARY OUTPUT

Regression Statistics

y = -0.0004x + 0.2926 R² = 0.1374

0.32

0.30

0.28

0.26

0.24

0.22

0.20

0

10

20

30

40

Multiple R	 0.3706311 R Square	0.1373674 Adjusted R Squ -0.0782907

| Standard Error | 0.0127116 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Observations | 6 |  |  |  |  |  |
| ANOVA |  |  |  |  |  |  |
|  | df | SS | MS | F | Significance F |  |
| Regression | 1 | 0.00010293 | 0.0001029 | 0.637 | 0.469509646 |  |
| Residual | 4 | 0.00064634 | 0.0001616 |  |  |  |
| Total | 5 | 0.00074927 |  |  |  |  |
|  | Coefficients | tandard Erro | t Stat | P-value | Lower 95% | Upper 95% |
| Intercept | 0.2926254 | 0.00935148 | 31.291873 | 6E-06 | 0.266661559 | 0.318589321 |
| X Variable 1 | -0.0003514 | 0.00044034 | -0.798103 | 0.4695 | -0.001574031 | 0.000871151 |

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period.

Stability test passed.

%RSD = 4.3	HorRat-R = 0.9

| Total CBD (%AR) via GC-FID (method 006.40) |  |  |
| --- | --- | --- |
| Date of Analysis | Days | Conc. |
| 11/10/23 | 0 | 10.2101 |
| 11/14/23 | 4 | 10.1225 |
| 11/29/23 | 19 | 9.7273 |
| 12/4/23 | 24 | 9.5580 |
| 12/7/23 | 27 | 9.6483 |
| 12/12/23 | 32 | 9.5323 |

Days = x variable, Conc = y variable SUMMARY OUTPUT

Regression Statistics

Multiple R	 0.9783436 R Square	0.9571561 Adjusted R Squ 0.9464451 Standard Error  0.0679217

Observations	6

ANOVA

df	SS	MS	F	Significance F

| Regression | 1 | 0.41225992 | 0.4122599 89.362 0.000698424 |  |
| --- | --- | --- | --- | --- |
| Residual | 4 | 0.01845344 | 0.0046134 |  |
| Total | 5 | 0.43071336 |  |  |

y = -0.0222x + 10.193 R² = 0.9572

10.5

10.0

9.5

9.0

8.5

8.0

7.5

0

10

20

30

40

Coefficients tandard Erro	t Stat	P-value	Lower 95%	Upper 95%

Intercept	10.192694  0.04996749  203.98652	3E-09  10.05396213  10.33142611

X Variable 1	-0.0222421  0.00235288 -9.4531582  0.0007  -0.028774754  -0.015709486

Coefficient for x variable is statistically significantly different from 0. Signficant change in result occurred during testing period.

Stability test did not pass.

%RSD = 3	HorRat-R = 1.1