Hemp Proficiency Testing

All Labs Precision HM23NOV-2 (hemp)

Sample: HM23NOV-2 (hemp)

All Labs Precision

Issue Date:

January 7, 2024

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Δ9-THC (%AR)

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.2 | 0.2 | 0.2 | 0 | 0 | 3.12 | 0 | 14.8 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.17 | 0.17 | 0.17 | 0 | 0 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 182 | 0.129 | 0.1278 | 0.1275 | 0.62 | 0.11 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.186 | 0.185 | 0.184 | 0.54 | 0.11 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.1889 | 0.191 | 0.1902 | 0.56 | 0.11 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 165 | 0.1652 | 0.1635 | 0.165 | 0.56 | 0.11 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.1485 | 0.1502 | 0.1491 | 0.58 | 0.11 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.1672 | 0.1658 | 0.1679 | 0.64 | 0.12 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.1668 | 0.1672 | 0.1648 | 0.77 | 0.15 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 215 | 0.141 | 0.1376 | 0.1437 | 2.17 | 0.41 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.18 | 0.189 | 0.182 | 2.57 | 0.5 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.18 | 0.174 | 0.1831 | 2.58 | 0.5 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 103 | 0.149 | 0.141 | 0.144 | 2.79 | 0.52 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.1639 | 0.1706 | 0.1727 | 2.72 | 0.52 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 170 | 0.1752 | 0.1767 | 0.1843 | 2.73 | 0.53 | 3.12 | 0 | 14.8 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.1825 | 0.1727 | 0.1744 | 2.97 | 0.57 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | 0.1428 | 0.1364 | 0.1336 | 3.43 | 0.64 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 196 | 0.16 | 0.164 | 0.171 | 3.37 | 0.65 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.1883 | 0.1753 | 0.182 | 3.57 | 0.69 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 125 | 0.164 | 0.163 | 0.174 | 3.64 | 0.7 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 161 | 0.1412 | 0.1497 | 0.1398 | 3.73 | 0.7 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 164 | 0.1769 | 0.1739 | 0.1644 | 3.8 | 0.73 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 148 | 0.152 | 0.153 | 0.139 | 5.28 | 0.99 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.16 | 0.15 | 0.17 | 6.25 | 1.19 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 217 | 0.1888 | 0.1732 | 0.1678 | 6.17 | 1.19 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 142 | 0.172 | 0.147 | 0.156 | 8 | 1.52 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 155 | 0.174 | 0.153 | 0.149 | 8.46 | 1.61 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 192 | 0.097 | 0.0997 | 0.0767 | 13.8 | 2.41 | 3.12 | 0 | 14.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 225 | 0.1587 | 0.1366 | 0.1181 | 14.8 | 2.75 | 3.12 | 0 | 14.8 | 0 |

Lab

Population of Lab RSDr

Δ9-THCA (%AR)

| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | 0.0564 | <0.048 | <0.048 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 161 | <0.0500 | 0.0519 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0746 | <0.0701 | <0.0721 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.05 | 0.05 | 0.05 | 0 | 0 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0619 | 0.0613 | 0.062 | 0.61 | 0.1 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | 0.058 | 0.0569 | 0.0585 | 1.42 | 0.23 | 5.15 | 0 | 72 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0.0552 | 0.0547 | 0.0531 | 2.02 | 0.33 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 170 | 0.0565 | 0.0572 | 0.0593 | 2.53 | 0.41 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.068 | 0.071 | 0.071 | 2.47 | 0.42 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 155 | 0.058 | 0.059 | 0.061 | 2.57 | 0.42 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | 0.0482 | 0.0501 | 0.0473 | 2.95 | 0.47 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.0608 | 0.0595 | 0.0636 | 3.42 | 0.56 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 165 | 0.0669 | 0.0686 | 0.0641 | 3.42 | 0.57 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.057 | 0.056 | 0.06 | 3.61 | 0.59 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 215 | 0.0486 | 0.0525 | 0.0521 | 4.2 | 0.67 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | 0.053 | 0.053 | 0.057 | 4.25 | 0.69 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 148 | 0.065 | 0.064 | 0.06 | 4.2 | 0.7 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0642 | 0.0604 | 0.0592 | 4.26 | 0.7 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 164 | 0.0781 | 0.0728 | 0.0725 | 4.23 | 0.72 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 103 | 0.059 | 0.054 | 0.054 | 5.19 | 0.84 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | 0.046 | 0.052 | 0.049 | 6.12 | 0.98 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.062 | 0.059 | 0.054 | 6.93 | 1.13 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | 0.058 | 0.0516 | 0.051 | 7.25 | 1.17 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 217 | 0.0651 | 0.0573 | 0.0658 | 7.52 | 1.24 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 182 | 0.0519 | 0.0415 | 0.0455 | 11.3 | 1.79 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | 0.048 | 0.0363 | 0.0517 | 17.7 | 2.79 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 225 | 0.0514 | 0.0462 | 0.0338 | 20.6 | 3.24 | 5.15 | 0 | 72 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.046 | 0.0329 | 0.0287 | 25.2 | 3.83 | 5.15 | 0 | 72 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | 0.008 | 0.0666 | 0.068 | 72 | 11.43 | 5.15 | 0 | 72 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 0.1993 | 0.2001 | 0.2004 | 0.28 | 0.06 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 3.0598 | 3.0293 | 3.0607 | 0.59 | 0.17 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 3.3013 | 3.2617 | 3.2847 | 0.61 | 0.18 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 3.0555 | 3.089 | 3.0475 | 0.72 | 0.21 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 103 | 3.01 | 2.966 | 2.989 | 0.74 | 0.22 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 170 | 3.1106 | 3.0735 | 3.128 | 0.9 | 0.27 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 3.4706 | 3.4204 | 3.488 | 1.01 | 0.31 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 2.0305 | 1.95 | 1.9754 | 2.07 | 0.58 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 3.28 | 3.14 | 3.25 | 2.29 | 0.68 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 2.606 | 2.683 | 2.742 | 2.55 | 0.74 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 3.26 | 3.26 | 3.42 | 2.79 | 0.84 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.99 | Other | 215 | 2.5205 | 2.605 | 2.684 | 3.14 | 0.91 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 3.047 | 2.905 | 3.085 | 3.15 | 0.93 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 2.886 | 2.7261 | 2.8838 | 3.24 | 0.95 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 3.18 | 3 | 3.21 | 3.63 | 1.08 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 161 | 2.6933 | 2.8902 | 2.7281 | 3.79 | 1.11 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 155 | 2.72 | 2.63 | 2.84 | 3.86 | 1.12 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 3.4042 | 3.2505 | 3.1395 | 4.07 | 1.22 | 2.47 | 0.28 | 8.67 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 3.2524 | 3.3989 | 3.5844 | 4.88 | 1.47 | 2.47 | 0.28 | 8.67 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.30 | Other LC-MS | 164 | 3.6887 | 3.8457 | 4.3458 | 8.67 | 2.67 | 2.47 | 0.28 | 8.67 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 3.5568 | 3.5238 | 3.5515 | 0.5 | 0.15 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 3.8855 | 3.935 | 3.917 | 0.64 | 0.2 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 3.509 | 3.581 | 3.584 | 1.19 | 0.36 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 170 | 4.5234 | 4.5037 | 4.6356 | 1.56 | 0.49 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 103 | 3.774 | 3.695 | 3.595 | 2.43 | 0.74 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 3.56 | 3.45 | 3.63 | 2.56 | 0.78 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 3.8784 | 3.9619 | 3.7556 | 2.68 | 0.82 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.99 | Other | 215 | 3.0753 | 3.1787 | 3.2638 | 2.98 | 0.89 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 155 | 2.84 | 2.75 | 2.95 | 3.52 | 1.03 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 3.9214 | 3.6308 | 3.7433 | 3.89 | 1.19 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 4.21 | 3.89 | 3.96 | 4.18 | 1.29 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 3.758 | 3.461 | 3.525 | 4.36 | 1.32 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 3.697 | 3.8279 | 4.0275 | 4.32 | 1.33 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 161 | 3.0973 | 3.3989 | 3.1706 | 4.88 | 1.46 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | 3.83 | 4.28 | 3.96 | 5.76 | 1.78 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 3.3341 | 2.9413 | 3.0774 | 6.4 | 1.9 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 164 | 5.299 | 5.5411 | 6.2069 | 8.27 | 2.69 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 2.7204 | 2.6913 | 2.254 | 10.2 | 2.95 | 4.02 | 0.5 | 10.2 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 5.4303 | 4.6267 | 5.6197 | 10.1 | 3.24 | 4.02 | 0.5 | 10.2 | 0 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

CBN (%AR)

| CBN (%AR) | 005.10 | Other LC-UV | 197 | <0.0498 | <0.0467 | <0.0481 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.30 | GC-FID | 116 | <0.0600 | <0.0600 | <0.0600 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | <0.0600 | <0.0600 | <0.0600 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | 0.026 | 0.026 | 0.027 | 2.19 | 0.32 | 9.69 | 2.19 | 35.9 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0356 | 0.0372 | 0.0363 | 2.21 | 0.34 | 9.69 | 2.19 | 35.9 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.0227 | 0.0224 | 0.0242 | 4.17 | 0.59 | 9.69 | 2.19 | 35.9 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | 0.025 | 0.024 | 0.0265 | 5 | 0.72 | 9.69 | 2.19 | 35.9 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 125 | 0.0235 | 0.021 | 0.0241 | 7.19 | 1.02 | 9.69 | 2.19 | 35.9 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 192 | 0.0284 | 0.0296 | 0.0258 | 6.95 | 1.02 | 9.69 | 2.19 | 35.9 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.026 | 0.0293 | 0.0256 | 7.53 | 1.1 | 9.69 | 2.19 | 35.9 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | 0.0253 | 0.0215 | 0.0231 | 8.19 | 1.17 | 9.69 | 2.19 | 35.9 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0269 | 0.0252 | 0.021 | 12.5 | 1.79 | 9.69 | 2.19 | 35.9 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.0547 | 0.0467 | 0.0439 | 11.6 | 1.84 | 9.69 | 2.19 | 35.9 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.03 | 0.04 | 0.03 | 17.3 | 2.61 | 9.69 | 2.19 | 35.9 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0278 | 0.0268 | 0.0186 | 20.7 | 2.97 | 9.69 | 2.19 | 35.9 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 107 | 0.0286 | 0.0398 | 0.0189 | 35.9 | 5.3 | 9.69 | 2.19 | 35.9 | 0 |

Total Δ9-THC (%AR)

| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 161 |  | 0.1953 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.1922 | 0.2152 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 190 | 0.1749 | 0.1762 |  |  |  |  |  |  | 1 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.22 | 0.22 | 0.22 | 0 | 0 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.2432 | 0.2447 | 0.2446 | 0.34 | 0.07 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.2325 | 0.2315 | 0.234 | 0.54 | 0.11 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 165 | 0.2239 | 0.2237 | 0.2212 | 0.68 | 0.14 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.2447 | 0.2397 | 0.2404 | 1.12 | 0.23 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.2048 | 0.2016 | 0.2062 | 1.15 | 0.23 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.2544 | 0.2517 | 0.2474 | 1.41 | 0.29 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.2231 | 0.2202 | 0.2168 | 1.43 | 0.29 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 215 | 0.1836 | 0.1837 | 0.1894 | 1.79 | 0.35 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.2261 | 0.2208 | 0.2164 | 2.2 | 0.44 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.239 | 0.251 | 0.244 | 2.46 | 0.5 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.2172 | 0.2228 | 0.2285 | 2.54 | 0.51 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 182 | 0.1745 | 0.1642 | 0.1674 | 3.12 | 0.6 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.1428 | 0.1364 | 0.1336 | 3.43 | 0.64 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.2007 | 0.1884 | 0.1914 | 3.31 | 0.65 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 192 | 0.12 | 0.112 | 0.1138 | 3.64 | 0.66 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.2 | 0.21 | 0.215 | 3.67 | 0.73 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 164 | 0.2454 | 0.2377 | 0.228 | 3.68 | 0.74 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.2334 | 0.218 | 0.2191 | 3.84 | 0.77 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.2231 | 0.2139 | 0.2319 | 4.04 | 0.81 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.2543 | 0.2347 | 0.2433 | 4.02 | 0.82 | 3.71 | 0 | 16 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 148 | 0.209 | 0.209 | 0.192 | 4.83 | 0.95 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.1992 | 0.1929 | 0.1804 | 5.01 | 0.98 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 128 | 0.2428 | 0.225 | 0.2472 | 4.93 | 1 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 217 | 0.2459 | 0.2235 | 0.2254 | 5.36 | 1.08 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 155 | 0.225 | 0.204 | 0.203 | 5.9 | 1.17 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.214 | 0.191 | 0.197 | 5.95 | 1.17 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.1941 | 0.1895 | 0.217 | 7.36 | 1.45 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1373 | 0.1285 | 0.1018 | 15.1 | 2.76 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.2298 | 0.174 | 0.1831 | 15.3 | 3 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 225 | 0.2038 | 0.1771 | 0.1478 | 15.9 | 3.07 | 3.71 | 0 | 16 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.171 | 0.222 | 0.234 | 16 | 3.17 | 3.71 | 0 | 16 | 0 |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 6.1791 | 6.1196 | 6.1753 | 0.54 | 0.18 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 6.4631 | 6.54 | 6.4827 | 0.62 | 0.2 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 6.388 | 6.3163 | 6.46 | 1.12 | 0.37 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 103 | 6.3198 | 6.2065 | 6.1418 | 1.45 | 0.48 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 192 | 4.2283 | 4.0824 | 4.0798 | 2.06 | 0.64 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 6.9097 | 6.6046 | 6.7709 | 2.26 | 0.75 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 5.7133 | 5.5931 | 5.4524 | 2.34 | 0.76 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 6.62 | 7.01 | 6.9 | 2.94 | 0.98 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 6.8056 | 6.7251 | 6.4332 | 2.94 | 0.98 | 3.47 | 0.54 | 8.45 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 6.3 | 6.03 | 6.39 | 3 | 0.99 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 215 | 5.2175 | 5.3927 | 5.5463 | 3.05 | 0.99 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 6.343 | 5.941 | 6.176 | 3.28 | 1.08 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 7.2616 | 7.0174 | 6.7752 | 3.47 | 1.16 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 155 | 5.21 | 5.04 | 5.44 | 3.84 | 1.23 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 161 | 5.4096 | 5.8711 | 5.5087 | 4.34 | 1.41 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 6.7494 | 7.2064 | 7.3442 | 4.39 | 1.47 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 5.81 | 5.3056 | 5.5827 | 4.54 | 1.47 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 6.4954 | 6.7567 | 7.1173 | 4.6 | 1.54 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 4.4162 | 4.3103 | 3.9522 | 5.75 | 1.79 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 6.9249 | 6.3557 | 6.0264 | 7.06 | 2.34 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 107 | 5.3205 | 4.9032 | 5.7106 | 7.6 | 2.45 | 3.47 | 0.54 | 8.45 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 164 | 8.3359 | 8.7052 | 9.7893 | 8.45 | 2.94 | 3.47 | 0.54 | 8.45 | 0 |

Lab

Population of Lab RSDr

CBDV (%AR)

| CBDV (%AR) | 008.99 | Other | 197 | <0.0498 | <0.0467 | <0.0481 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 106 | 0.1 | 0.1 | 0.1 | 0 | 0 | 0 |
| CBDV (%AR) | 008.99 | Other | 196 | 0.022 | 0.022 | 0.022 | 0 | 0 | 0 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0196 | 0.019 | 0.0188 | 2.18 | 0.3 | 0 |
| CBDV (%AR) | 008.99 | Other | 142 | 0.0299 | 0.0242 | 0.0272 | 10.5 | 1.53 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

CBDVA (%AR)

| CBDVA (%AR) | 009.99 | Other | 197 | <0.0498 | <0.0467 | <0.0481 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 196 | 0.033 | 0.031 | 0.032 | 3.12 | 0.47 | 0 |
| CBDVA (%AR) | 009.99 | Other | 142 | 0.0377 | 0.034 | 0.0345 | 5.67 | 0.86 | 0 |

CBG (%AR)

| CBG (%AR) | 010.99 | Other | 189 | 0.1412 | 0.1405 | 0.1409 | 0.25 | 0.05 | 4.59 | 0.25 | 16.2 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 155 | 0.251 | 0.249 | 0.255 | 1.21 | 0.25 | 4.59 | 0.25 | 16.2 | 0 |
| CBG (%AR) | 010.99 | Other | 197 | 0.1134 | 0.1167 | 0.1181 | 2.08 | 0.38 | 4.59 | 0.25 | 16.2 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.14 | 0.138 | 0.144 | 2.17 | 0.41 | 4.59 | 0.25 | 16.2 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.14 | 0.13 | 0.14 | 4.22 | 0.79 | 4.59 | 0.25 | 16.2 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 103 | 0.158 | 0.144 | 0.152 | 4.64 | 0.88 | 4.59 | 0.25 | 16.2 | 0 |
| CBG (%AR) | 010.99 | Other | 142 | 0.158 | 0.13 | 0.137 | 10.3 | 1.92 | 4.59 | 0.25 | 16.2 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.197 | 0.25 | 0.186 | 16.2 | 3.22 | 4.59 | 0.25 | 16.2 | 0 |

CBGA (%AR)

| CBGA (%AR) | 011.99 | Other | 189 | 0.4275 | 0.4286 | 0.4243 | 0.52 | 0.12 | 3.47 | 0.52 | 6.48 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 103 | 0.428 | 0.419 | 0.419 | 1.23 | 0.27 | 3.47 | 0.52 | 6.48 | 0 |
| CBGA (%AR) | 011.99 | Other | 106 | 0.4 | 0.39 | 0.41 | 2.5 | 0.55 | 3.47 | 0.52 | 6.48 | 0 |
| CBGA (%AR) | 011.99 | Other | 197 | 0.4318 | 0.4393 | 0.4163 | 2.73 | 0.6 | 3.47 | 0.52 | 6.48 | 0 |
| CBGA (%AR) | 011.99 | Other | 196 | 0.451 | 0.408 | 0.434 | 5.02 | 1.11 | 3.47 | 0.52 | 6.48 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | 0.47 | 0.475 | 0.427 | 5.77 | 1.29 | 3.47 | 0.52 | 6.48 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 142 | 0.415 | 0.366 | 0.381 | 6.48 | 1.41 | 3.47 | 0.52 | 6.48 | 0 |

Lab

Population of Lab RSDr

THCV (%AR)

| THCV (%AR) | 012.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 197 | <0.0498 | <0.0467 | <0.0481 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 189 | 0.0092 | 0.0101 | 0.0096 | 4.68 | 0.58 | 0 |

Δ8-THC (%AR)

| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0498 | <0.0467 | <0.0481 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.0684 | 0.069 | 0.0703 | 1.4 | 0.24 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0071 | 0.0076 | 0.0068 | 5.64 | 0.67 | 0 |

CBC (%AR)

| CBC (%AR) | 014.99 | Other | 196 | 0.177 | 0.178 | 0.18 | 0.86 | 0.17 | 3.99 | 0.86 | 9.16 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 189 | 0.1841 | 0.182 | 0.1802 | 1.07 | 0.21 | 3.99 | 0.86 | 9.16 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.191 | 0.198 | 0.193 | 1.86 | 0.36 | 3.99 | 0.86 | 9.16 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.18 | 0.17 | 0.18 | 3.27 | 0.63 | 3.99 | 0.86 | 9.16 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 155 | 0.165 | 0.167 | 0.18 | 4.77 | 0.92 | 3.99 | 0.86 | 9.16 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.1731 | 0.1523 | 0.1558 | 6.94 | 1.32 | 3.99 | 0.86 | 9.16 | 0 |
| CBC (%AR) | 014.99 | Other | 142 | 0.182 | 0.152 | 0.163 | 9.16 | 1.75 | 3.99 | 0.86 | 9.16 | 0 |

Lab

Population of Lab RSDr

Cd (ug/g AR)

| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.1235 | 0.1227 | 0.1256 | 1.21 | 0.22 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | 0.0819 | 0.0804 | 0.078 | 2.46 | 0.42 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.124 | 0.135 | 0.13 | 4.25 | 0.78 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.118 | 0.13 | 0.12 | 5.24 | 0.96 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | 0.1191 | 0.1211 | 0.1377 | 8.11 | 1.49 | 0 |

As (ug/g AR)

| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0994 | <0.0978 | <0.0990 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.0625 | 0.0649 | 0.0657 | 2.59 | 0.43 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | 0.0754 | 0.0774 | 0.0793 | 2.52 | 0.43 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | 0.081 | 0.085 | 0.08 | 3.23 | 0.56 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | 0.082 | 0.089 | 0.086 | 4.1 | 0.71 | 0 |

Hg (ug/g AR)

| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | <0.0072 | 0.0076 | <0.0072 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0994 | <0.0978 | <0.0990 |  |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | 0.009 | 0.009 | 0.008 | 6.66 | 0.82 |  |  |  | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 102 | 0.007 | 0.006 | 0.007 | 8.66 | 1.02 |  |  |  | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | 0.0071 | 0.0043 | 0.0025 | 50 | 5.6 |  |  |  | 0 |
|  |  |  |  | Pb (ug/g AR) |  |  |  |  |  |  |  |  |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | 0.43 |  |  |  |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.3718 | 0.3883 | 0.3723 | 2.49 | 0.54 |  |  |  | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.393 | 0.416 | 0.428 | 4.31 | 0.95 |  |  |  | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | 0.3539 | 0.321 | 0.3679 | 6.93 | 1.48 |  |  |  | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 0.4651 | 0.5951 | 0.497 | 13.1 | 2.96 |  |  |  | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | 0.355 | 0.681 | 0.333 | 42.7 | 9.51 |  |  |  | 0 |
|  |  |  |  | Cu (ug/g AR) |  |  |  |  |  |  |  |  |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | 9.54 | 9.4 | 9.61 | 1.12 | 0.39 |  |  |  | 0 |
| Cu (ug/g AR) | 105.04 | ICP-MS | 142 | 15.6 | 17.1 | 16.5 | 4.6 | 1.76 |  |  |  | 0 |
|  |  |  |  | Ni (ug/g AR) |  |  |  |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | 1.01 | 0.892 | 0.952 | 6.2 | 1.54 |  |  |  | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 142 | 1.24 | 1.17 | 1.04 | 8.83 | 2.26 |  |  |  | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | 10.0000 | 10.0000 | <10.0000 |  |  |  |  |  | 1 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | 0.508 | 0.538 | 0.547 | 3.85 | 0.88 |  |  |  | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | 0.302 | 0.421 | 0.406 | 17.2 | 3.73 |  |  |  | 0 |
|  |  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | 0.1289 | 0.1191 | 0.1305 | 4.89 | 0.9 |  |  |  | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | 0.113 | 0.126 | 0.121 | 5.46 | 1 |  |  |  | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | 0.07 | 0.067 | 0.095 | 19.9 | 3.39 |  |  |  | 0 |
|  |  |  |  | Ag (ug/g AR) |  |  |  |  |  |  |  |  |
| Ag (ug/g AR) | 109.04 | ICP-MS | 142 | 0.0175 | 0.0171 | 0.0124 | 18.1 | 2.43 |  |  |  | 0 |
|  |  |  |  | Ba (ug/g AR) |  |  |  |  |  |  |  |  |
| Ba (ug/g AR) | 110.04 | ICP-MS | 142 | 0.198 | 0.222 | 0.201 | 6.32 | 1.25 |  |  |  | 0 |
|  |  |  |  | Zn (ug/g AR) |  |  |  |  |  |  |  |  |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 53.3 | 47.6 | 51.9 | 5.83 | 2.64 |  |  |  | 0 |
|  |  |  |  | Sb (ug/g AR) |  |  |  |  |  |  |  |  |
| Sb (ug/g AR) | 112.04 | ICP-MS | 196 | <0.0240 <0.0240 |  | <0.0240 |  |  |  |  |  | 1 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

(-)-alpha-Bisabolol (%AR)

| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | <0.1235 | <0.1235 | <0.1235 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-alpha-Bisabolol (%A | 201.01 | GC,FID | 142 | 0.0769 | 0.0759 | 0.0783 | 1.56 | 0.27 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0244 | 0.025 | 0.0241 | 1.87 | 0.27 | 0 |

beta-Caryophyllene (%AR)

| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | <0.1235 | <0.1235 | <0.1235 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.048 | 0.0467 | 0.0448 | 3.46 | 0.55 | 0 |
| beta-Caryophyllene (% | 202.01 | GC,FID | 142 | 0.0634 | 0.0589 | 0.065 | 5.07 | 0.84 | 0 |

(-)-Caryophyllene oxide (%AR)

| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | <0.1235 <0.1235 |  | <0.1235 | 1 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-Caryophyllene oxide | 203.01 | GC,FID | 142 | 0.0241 | 0.0236 | 0.0243 | 1.5 | 0.22 | 0 |

Geraniol (%AR)

| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Geraniol (%AR) | 204.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | 1 |

alpha-Humulene (%AR)

| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | <0.1235 <0.1235 |  | <0.1235 | 1 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.0197 | 0.0193 | 0.0184 | 3.48 | 0.48 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Humulene (%AR) | 205.01 | GC,FID | 142 | 0.0389 | 0.0368 | 0.04 | 4.22 | 0.65 | 0 |

Lab

Population of Lab RSDr

d-Limonene (%AR)

| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | 1 |
| d-Limonene (%AR) | 206.01 | GC,FID | 142 | 0.0011 | <0.0005 | 0.0011 | 1 |

Linalool (%AR)

| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Linalool (%AR) | 207.01 | GC,FID | 142 | 0.0021 | 0.0021 | 0.0024 | 7.87 | 0.79 | 0 |
| Linalool (%AR) | 207.02 | GC,MS | 196 | 0.0023 | 0.002 | 0.0024 | 9.32 | 0.93 | 0 |

beta-Myrcene (%AR)

| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | 0.0024 | 0.002 | 0.0023 | 9.32 | 0.93 | 0 |
| beta-Myrcene (%AR) | 208.01 | GC,FID | 142 | 0.0024 | 0.0017 | 0.0018 | 19.3 | 1.89 | 0 |

Nopinene (%AR)

Nopinene (%AR)

209.01

GC,FID

142

<0.0005	<0.0005	<0.0005	1

Ocimene (%AR)

Ocimene (%AR)

210.01

GC,FID

142

<0.0005	<0.0005	<0.0005	1

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | 0.0028 | 0.0025 | 0.0026 | 5.8 | 0.6 |  |  |  | 0 |
|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |  |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0013 <0.0013 |  | <0.0013 |  |  |  |  |  | 1 |
|  |  |  |  | alpha-Terpinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  |  | 1 |
|  |  |  |  | gamma-Terpinene (%AR) |  |  |  |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  |  |  |  |  | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0013 <0.0013 |  | <0.0013 |  |  |  |  |  | 1 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

alpha-Terpinolene (%AR)

| alpha-Terpinolene (%A | 215.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |

Moisture (%AR)

| Moisture (%AR) | 500.70 | Commerc. Anal. | 189 | 5.274 | 5.274 | 5.274 | 0 | 0 | 4.01 | 0 | 13 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.99 | Other | 165 | 7.621 | 7.557 | 7.7088 | 1 | 0.34 | 4.01 | 0 | 13 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 6.96 | 7.11 | 7.15 | 1.42 | 0.48 | 4.01 | 0 | 13 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 5.36 | 5.52 | 5.5 | 1.6 | 0.52 | 4.01 | 0 | 13 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 10.115 | 9.8411 | 9.8878 | 1.47 | 0.52 | 4.01 | 0 | 13 | 0 |
| Moisture (%AR) | 500.72 | NIR | 138 | 6.85 | 7.1 | 6.8 | 2.32 | 0.78 | 4.01 | 0 | 13 | 0 |
| Moisture (%AR) | 500.99 | Other | 103 | 6.51 | 6.4 | 6.21 | 2.38 | 0.79 | 4.01 | 0 | 13 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 9.5447 | 9.285 | 9.8891 | 3.17 | 1.11 | 4.01 | 0 | 13 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 7.71 | 7.86 | 7.27 | 4.03 | 1.37 | 4.01 | 0 | 13 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 3.16 | 2.85 | 3.14 | 5.69 | 1.68 | 4.01 | 0 | 13 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 196 | 6.91 | 6.29 | 6.86 | 5.15 | 1.72 | 4.01 | 0 | 13 | 0 |
| Moisture (%AR) | 500.99 | Other | 142 | 4.4 | 4 | 4 | 5.59 | 1.73 | 4.01 | 0 | 13 | 0 |
| Moisture (%AR) | 500.99 | Other | 215 | 6.49 | 6.22 | 6.96 | 5.71 | 1.9 | 4.01 | 0 | 13 | 0 |
| Moisture (%AR) | 500.99 | Other | 102 | 8.7 | 7.7 | 7.7 | 7.19 | 2.46 | 4.01 | 0 | 13 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 182 | 7.15 | 8.54 | 7.585 | 9.16 | 3.12 | 4.01 | 0 | 13 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 162 | 9.8 | 12.5 | 10.38 | 13 | 4.68 | 4.01 | 0 | 13 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.1994 | 0.2016 | 0.2008 | 0.56 | 0.11 | 1.72 | 0.56 | 11.9 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 165 | 0.1788 | 0.1769 | 0.1788 | 0.62 | 0.12 | 1.72 | 0.56 | 11.9 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 199 | 0.2069 | 0.2052 | 0.2042 | 0.66 | 0.13 | 1.72 | 0.56 | 11.9 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.1764 | 0.1769 | 0.1744 | 0.75 | 0.15 | 1.72 | 0.56 | 11.9 | 0 |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 210 | 0.174 | 0.173 | 0.171 | 0.88 | 0.17 | 1.72 | 0.56 | 11.9 | 0 |
| Δ9-THC (%DW) | 501.99 | Other | 215 | 0.1508 | 0.1468 | 0.1545 | 2.56 | 0.48 | 1.72 | 0.56 | 11.9 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.198 | 0.189 | 0.198 | 2.66 | 0.52 | 1.72 | 0.56 | 11.9 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 103 | 0.1594 | 0.1506 | 0.1535 | 2.9 | 0.55 | 1.72 | 0.56 | 11.9 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 162 | 0.1994 | 0.2514 | 0.2397 | 11.9 | 2.38 | 1.72 | 0.56 | 11.9 | 0 |
|  |  |  |  | Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | 0.061 | <0.048 | <0.048 |  |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.0653 | 0.0647 | 0.0655 | 0.64 | 0.11 | 3.88 | 0.64 | 10.7 | 0 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 210 | 0.06 | 0.061 | 0.059 | 1.67 | 0.27 | 3.88 | 0.64 | 10.7 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 165 | 0.0724 | 0.0742 | 0.0695 | 3.29 | 0.56 | 3.88 | 0.64 | 10.7 | 0 |
| Δ9-THCA (%DW) | 502.99 | Other | 215 | 0.052 | 0.056 | 0.056 | 4.22 | 0.68 | 3.88 | 0.64 | 10.7 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 199 | 0.059 | 0.0588 | 0.0633 | 4.21 | 0.69 | 3.88 | 0.64 | 10.7 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0679 | 0.0638 | 0.0626 | 4.29 | 0.71 | 3.88 | 0.64 | 10.7 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 103 | 0.0631 | 0.0577 | 0.0576 | 5.29 | 0.87 | 3.88 | 0.64 | 10.7 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 162 | 0.063 | 0.0511 | 0.0552 | 10.7 | 1.74 | 3.88 | 0.64 | 10.7 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBD (%DW) |  |  |  |  |  |  |  |  |
| CBD (%DW) | 503.10 | Other LC-UV | 189 | 3.2302 | 3.198 | 3.2311 | 0.59 | 0.17 | 1.92 | 0.59 | 4.07 | 0 |
| CBD (%DW) | 503.01 | AOAC 2018.10 | 210 | 0.227 | 0.226 | 0.223 | 0.92 | 0.19 | 1.92 | 0.59 | 4.07 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 199 | 3.3993 | 3.4262 | 3.3819 | 0.66 | 0.2 | 1.92 | 0.59 | 4.07 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 103 | 3.2196 | 3.1688 | 3.1869 | 0.81 | 0.24 | 1.92 | 0.59 | 4.07 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 162 | 3.3516 | 3.4019 | 3.551 | 3.02 | 0.91 | 1.92 | 0.59 | 4.07 | 0 |
| CBD (%DW) | 503.99 | Other | 215 | 2.6954 | 2.7777 | 2.8848 | 3.41 | 1 | 1.92 | 0.59 | 4.07 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 3.6008 | 3.4382 | 3.3208 | 4.07 | 1.23 | 1.92 | 0.59 | 4.07 | 0 |
|  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| CBDA (%DW) | 504.10 | Other LC-UV | 162 | 3.8956 | 3.8951 | 3.8793 | 0.24 | 0.07 | 1.66 | 0.24 | 3.23 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 3.7548 | 3.72 | 3.7492 | 0.5 | 0.15 | 1.66 | 0.24 | 3.23 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 199 | 4.3227 | 4.3645 | 4.3468 | 0.48 | 0.15 | 1.66 | 0.24 | 3.23 | 0 |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 210 | 3.571 | 3.574 | 3.455 | 1.92 | 0.58 | 1.66 | 0.24 | 3.23 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 103 | 4.0368 | 3.9476 | 3.833 | 2.59 | 0.8 | 1.66 | 0.24 | 3.23 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 4.1024 | 4.1908 | 3.9725 | 2.69 | 0.83 | 1.66 | 0.24 | 3.23 | 0 |
| CBDA (%DW) | 504.99 | Other | 215 | 3.2887 | 3.3896 | 3.5079 | 3.23 | 0.97 | 1.66 | 0.24 | 3.23 | 0 |
|  |  |  |  | CBN (%DW) |  |  |  |  |  |  |  |  |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | <0.0600 <0.0600 |  | <0.0600 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.30 | GC-FID | 116 | <0.0600 <0.0600 |  | <0.0600 |  |  |  |  |  | 1 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%DW) | 505.10 | Other LC-UV | 162 | 0.0314 | 0.0314 | 0.0322 | 1.46 | 0.22 | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 199 | 0.0278 | 0.0266 | 0.0294 | 5.03 | 0.74 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0274 | 0.0309 | 0.027 | 7.55 | 1.11 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.0307 | 0.0296 | 0.0207 | 20.3 | 2.96 | 0 |

Lab

Population of Lab RSDr

Total Δ9-THC (%DW)

| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.1978 | 0.2222 |  |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.2567 | 0.2583 | 0.2582 | 0.35 | 0.07 | 3.12 | 0.35 | 15.9 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 165 | 0.2423 | 0.242 | 0.2397 | 0.59 | 0.12 | 3.12 | 0.35 | 15.9 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 199 | 0.2586 | 0.2567 | 0.2597 | 0.59 | 0.12 | 3.12 | 0.35 | 15.9 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 138 | 0.22 | 0.2165 | 0.2215 | 1.17 | 0.23 | 3.12 | 0.35 | 15.9 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.236 | 0.2329 | 0.2293 | 1.44 | 0.29 | 3.12 | 0.35 | 15.9 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 215 | 0.1964 | 0.1959 | 0.2035 | 2.14 | 0.42 | 3.12 | 0.35 | 15.9 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.2391 | 0.2335 | 0.2289 | 2.18 | 0.44 | 3.12 | 0.35 | 15.9 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 182 | 0.1879 | 0.1795 | 0.1811 | 2.44 | 0.47 | 3.12 | 0.35 | 15.9 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 103 | 0.2147 | 0.2012 | 0.204 | 3.45 | 0.68 | 3.12 | 0.35 | 15.9 | 0 |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 210 | 4.472 | 4.475 | 4.299 | 2.28 | 0.71 | 3.12 | 0.35 | 15.9 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 162 | 0.2547 | 0.2962 | 0.2881 | 7.87 | 1.63 | 3.12 | 0.35 | 15.9 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.1518 | 0.1417 | 0.113 | 14.9 | 2.76 | 3.12 | 0.35 | 15.9 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.2515 | 0.189 | 0.198 | 15.9 | 3.15 | 3.12 | 0.35 | 15.9 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Total CBD (%DW)

| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 199 | 7.1904 | 7.2539 | 7.194 | 0.5 | 0.17 | 2.55 | 0.49 | 5.5 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%DW) | 507.10 | Other LC-UV | 189 | 6.5231 | 6.4603 | 6.5191 | 0.54 | 0.18 | 2.55 | 0.49 | 5.5 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 162 | 6.768 | 6.8179 | 6.9531 | 1.4 | 0.47 | 2.55 | 0.49 | 5.5 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 103 | 6.7599 | 6.6309 | 6.5485 | 1.6 | 0.53 | 2.55 | 0.49 | 5.5 | 0 |
| Total CBD (%DW) | 507.01 | AOAC 2018.10 | 210 | 7.493 | 7.499 | 7.225 | 2.11 | 0.72 | 2.55 | 0.49 | 5.5 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 7.1986 | 7.1135 | 6.8047 | 2.94 | 0.99 | 2.55 | 0.49 | 5.5 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 215 | 5.5796 | 5.7504 | 5.9612 | 3.32 | 1.08 | 2.55 | 0.49 | 5.5 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 7.6809 | 7.4227 | 7.1665 | 3.46 | 1.17 | 2.55 | 0.49 | 5.5 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 138 | 7.2509 | 7.7419 | 7.8899 | 4.39 | 1.49 | 2.55 | 0.49 | 5.5 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 4.8822 | 4.7515 | 4.3859 | 5.5 | 1.74 | 2.55 | 0.49 | 5.5 | 0 |

CBDV (%DW)

| CBDV (%DW) | 508.99 | Other | 189 | 0.0207 | 0.0201 | 0.0198 | 2.27 | 0.32 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%DW) | 508.99 | Other | 162 | 0.0295 | 0.0255 | 0.0275 | 7.27 | 1.06 | 0 |
| CBDV (%DW) | 508.02 | AOAC 2018.11, U | 210 | 0.038 | 0.039 | 0.033 | 8.77 | 1.34 | 0 |

CBDVA (%DW)

| CBDVA (%DW) | 509.01 | AOAC 2018.10 | 210 | 0.037 | 0.042 | 0.037 | 7.47 | 1.15 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CBG (%DW)

| CBG (%DW) | 510.99 | Other | 189 | 0.1491 | 0.1483 | 0.1487 | 0.27 | 0.05 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%DW) | 510.99 | Other | 162 | 0.1657 | 0.1674 | 0.1676 | 0.63 | 0.12 |  |  |  | 0 |
| CBG (%DW) | 510.01 | AOAC 2018.10 | 210 | 0.132 | 0.126 | 0.138 | 4.55 | 0.84 |  |  |  | 0 |
| CBG (%DW) | 510.02 | AOAC 2018.11, U | 103 | 0.169 | 0.1538 | 0.1621 | 4.71 | 0.9 |  |  |  | 0 |
|  |  |  |  | CBGA (%DW) |  |  |  |  |  |  |  |  |
| CBGA (%DW) | 511.99 | Other | 189 | 0.4513 | 0.4525 | 0.4479 | 0.53 | 0.12 |  |  |  | 0 |
| CBGA (%DW) | 511.02 | AOAC 2018.11, U | 103 | 0.4578 | 0.4476 | 0.4467 | 1.37 | 0.3 |  |  |  | 0 |
| CBGA (%DW) | 511.01 | AOAC 2018.10 | 210 | 0.371 | 0.355 | 0.36 | 2.26 | 0.49 |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 162 | 0.5782 | 0.5338 | 0.5644 | 4.07 | 0.93 |  |  |  | 0 |
|  |  |  |  | THCV (%DW) |  |  |  |  |  |  |  |  |
| THCV (%DW) | 512.02 | AOAC 2018.11, U | 210 | <0.0130 <0.0130 |  | <0.0130 |  |  |  |  |  | 1 |
| THCV (%DW) | 512.99 | Other | 189 | 0.0097 | 0.0107 | 0.0101 | 4.95 | 0.62 |  |  |  | 0 |
|  |  |  |  | Δ8-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ8-THC (%DW) | 513.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%DW) | 513.01 | AOAC 2018.10 | 210 | 0.018 | 0.017 | 0.018 | 3.27 | 0.45 |  |  |  | 0 |
| Δ8-THC (%DW) | 513.99 | Other | 189 | 0.0075 | 0.008 | 0.0072 | 5.34 | 0.64 |  |  |  | 0 |
|  |  |  |  | CBC (%DW) |  |  |  |  |  |  |  |  |
| CBC (%DW) | 514.99 | Other | 189 | 0.1944 | 0.1921 | 0.1902 | 1.09 | 0.21 |  |  |  | 0 |
| CBC (%DW) | 514.99 | Other | 162 | 0.1788 | 0.1613 | 0.135 | 13.9 | 2.65 |  |  |  | 0 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

- Flag definitions: 1 (Lab RSDr not calculated because there were less than 3 numeric lab results)

- Statistical parameters of robust mean, minimum, and maximum for RSDr only shown only if there were 6 or more lab RSDr values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.c