# Hemp PT Certificate of Analysis

## Hemp PT Sample HM23SEP-1 Material: hemp

± Standard

| Analyte | Value | Uncertainty | # Labs |
| --- | --- | --- | --- |
|  | % as received |  |  |
| Δ9-THC | 0.1931 | 0.0053 | 34 |
| Δ9-THCA | 0.05469 | 0.00254 | 31 |
| CBD | 4.008 | 0.066 | 24 |
| CBDA | 4.140 | 0.120 | 23 |
| CBN | 0.03060 | 0.00231 | 16 |
| Total Δ9-THC | 0.2397 | 0.0068 | 39 |
| Total CBD | 7.488 | 0.202 | 25 |
| CBG | 0.1963 | 0.0128 | 10 |
| CBGA | 0.2750 | 0.0109 | 9 |
| CBC | 0.2257 | 0.0065 | 8 |
| Moisture | 9.051 | 0.524 | 16 |
|  | % dry weight |  |  |
| Δ9-THC | 0.2284 | 0.0095 | 10 |
| Δ9-THCA | 0.06212 | 0.00292 | 9 |
| CBD | 4.326 | 0.151 | 7 |
| CBDA | 4.484 | 0.233 | 7 |
| CBN | 0.03223 | 0.00218 | 6 |
| Total Δ9-THC | 0.2661 | 0.0119 | 14 |
| Total CBD | 8.490 | 0.285 | 9 |
|  | ug/g as-received |  |  |
| Pb | 0.5357 | 0.0241 | 7 |

## Hemp PT Sample HM23SEP-1 Material: hemp

Analyte	Value

± Standard

Uncertainty	# Labs

- Data obtained from participant results in the University of Kentucky Hemp PT Program.

- Sample was shipped on 9/11/23. Stored at room temperature until 10/23/23. Stored at -20 C after 10/23/23.

- Values are robust means. Standard uncertainty determined as 1.25 x robust standard deviation / sqrt(#Labs). Results only shown for analytes tested by 6 or more labs.