Hemp Proficiency Testing

All Labs Precision HM23SEP-1 (hemp)

Sample: HM23SEP-1 (hemp)

All Labs Precision

Issue Date:

November 1, 2023

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Δ9-THC (%AR)

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

| Δ9-THC (%AR) | 001.60 | NIR | 187 | 0.185 |  |  |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.23 | 0.23 | 0.23 | 0 | 0 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 182 | 0.1608 | 0.1615 | 0.1605 | 0.32 | 0.06 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 170 | 0.1847 | 0.1832 | 0.183 | 0.51 | 0.1 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.217 | 0.2145 | 0.2145 | 0.67 | 0.13 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.2019 | 0.1993 | 0.2009 | 0.65 | 0.13 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 215 | 0.2096 | 0.2069 | 0.2099 | 0.79 | 0.16 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 113 | 0.184 | 0.187 | 0.184 | 0.94 | 0.18 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.2038 | 0.2072 | 0.2036 | 0.99 | 0.2 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.2396 | 0.237 | 0.234 | 1.18 | 0.24 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 217 | 0.2013 | 0.2103 | 0.2052 | 2.2 | 0.43 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 142 | 0.199 | 0.188 | 0.19 | 3.05 | 0.6 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.18 | 0.18 | 0.19 | 3.15 | 0.61 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 191 | 0.2069 | 0.1945 | 0.2007 | 3.09 | 0.61 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.2144 | 0.2032 | 0.2036 | 3.07 | 0.61 | 3.95 | 0 | 12.1 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 148 | 0.17 | 0.159 | 0.167 | 3.44 | 0.66 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.2227 | 0.2095 | 0.2085 | 3.71 | 0.74 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.17 | 0.183 | 0.18 | 3.83 | 0.74 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.069 | 0.076 | 0.073 | 4.83 | 0.82 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 192 | 0.1613 | 0.1499 | 0.1623 | 4.36 | 0.83 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 161 | 0.1529 | 0.1573 | 0.1676 | 4.74 | 0.9 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 165 | 0.1931 | 0.2057 | 0.212 | 4.73 | 0.93 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.2007 | 0.2201 | 0.2156 | 4.79 | 0.95 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 196 | 0.174 | 0.19 | 0.19 | 5 | 0.97 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 103 | 0.195 | 0.182 | 0.177 | 5.03 | 0.98 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 125 | 0.208 | 0.196 | 0.187 | 5.35 | 1.05 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 164 | 0.2209 | 0.2426 | 0.2231 | 5.22 | 1.05 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.21 | 0.19 | 0.19 | 5.87 | 1.15 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.1878 | 0.211 | 0.1953 | 5.98 | 1.18 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 120 | 0.2106 | 0.1838 | 0.1967 | 6.8 | 1.34 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 141 | 0.1782 | 0.195 | 0.205 | 7.03 | 1.38 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | 0.1919 | 0.1762 | 0.2089 | 8.5 | 1.66 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 155 | 0.171 | 0.145 | 0.175 | 9.95 | 1.9 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.2357 | 0.193 | 0.234 | 10.9 | 2.19 | 3.95 | 0 | 12.1 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 225 | 0.143 | 0.1553 | 0.1218 | 12.1 | 2.26 | 3.95 | 0 | 12.1 | 0 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Δ9-THCA (%AR)

| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.0522 | 0.0131 | 0 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.99 | Other | 215 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.60 | NIR | 187 | 0.033 |  |  |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 161 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0761 | <0.0735 | <0.0739 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.05 | 0.05 | 0.05 | 0 | 0 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | 0.0633 | 0.063 | 0.0632 | 0.24 | 0.04 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0534 | 0.0536 | 0.053 | 0.57 | 0.09 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 191 | 0.0509 | 0.0501 | 0.0505 | 0.79 | 0.13 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.057 | 0.057 | 0.058 | 1.01 | 0.16 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 165 | 0.0618 | 0.0628 | 0.0633 | 1.22 | 0.2 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 217 | 0.0592 | 0.0599 | 0.0579 | 1.72 | 0.28 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 103 | 0.052 | 0.0502 | 0.053 | 2.74 | 0.44 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 164 | 0.072 | 0.0767 | 0.0747 | 3.17 | 0.54 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0612 | 0.0612 | 0.0647 | 3.24 | 0.54 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 182 | 0.0399 | 0.0428 | 0.042 | 3.6 | 0.56 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | 0.0391 | 0.0366 | 0.0366 | 3.86 | 0.59 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.06 | 0.06 | 0.056 | 3.94 | 0.64 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 170 | 0.0518 | 0.0559 | 0.0552 | 4.04 | 0.65 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 148 | 0.062 | 0.057 | 0.06 | 4.22 | 0.69 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.0721 | 0.067 | 0.067 | 4.29 | 0.72 | 4.48 | 0 | 30.7 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | 0.05 | 0.055 | 0.052 | 4.81 | 0.77 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 113 | 0.052 | 0.055 | 0.05 | 4.81 | 0.77 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | 0.05 | 0.048 | 0.053 | 5 | 0.8 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0.0574 | 0.0547 | 0.0518 | 5.13 | 0.83 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | 0.039 | 0.043 | 0.043 | 5.54 | 0.86 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 120 | 0.0513 | 0.0547 | 0.0571 | 5.36 | 0.87 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 141 | 0.0808 | 0.0722 | 0.076 | 5.65 | 0.96 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | 0.0779 | 0.086 | 0.0757 | 6.79 | 1.16 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.054 | 0.0607 | 0.0531 | 7.42 | 1.21 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | 0.0594 | 0.0697 | 0.0624 | 8.3 | 1.38 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | 0.0573 | 0.048 | 0.057 | 9.77 | 1.58 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 225 | 0.0381 | 0.0411 | 0.0309 | 14.3 | 2.18 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 155 | 0.06 | 0.063 | 0.048 | 13.9 | 2.27 | 4.48 | 0 | 30.7 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | 0.015 | 0.008 | 0.014 | 30.7 | 3.98 | 4.48 | 0 | 30.7 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.60 | NIR | 187 | 2.938 |  |  |  |  |  |  |  | 1 |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 4.3079 | 4.2916 | 4.2997 | 0.19 | 0.06 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 3.8136 | 3.835 | 3.8103 | 0.35 | 0.11 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 170 | 4.0355 | 4.0782 | 4.0732 | 0.57 | 0.18 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 4.0775 | 3.991 | 4.048 | 1.09 | 0.34 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 3.87 | 3.95 | 3.99 | 1.55 | 0.48 | 3.12 | 0.19 | 8.69 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 4.18 | 4.11 | 4.05 | 1.58 | 0.49 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 4.2873 | 4.4167 | 4.4158 | 1.7 | 0.53 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 4.0793 | 4.1068 | 3.969 | 1.8 | 0.56 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 4.6478 | 4.5219 | 4.7161 | 2.13 | 0.67 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 4.01 | 3.84 | 4 | 2.42 | 0.74 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.99 | Other | 215 | 3.7877 | 3.9167 | 3.7237 | 2.58 | 0.79 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 191 | 3.9807 | 3.782 | 3.8813 | 2.56 | 0.79 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 4.1022 | 3.9098 | 4.1174 | 2.86 | 0.88 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 3.835 | 3.961 | 3.741 | 2.87 | 0.88 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 113 | 4.21 | 4.01 | 4.28 | 3.36 | 1.04 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 155 | 3.27 | 3.05 | 3.19 | 3.51 | 1.05 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 3.723 | 3.893 | 4 | 3.61 | 1.11 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 4.2567 | 4.4948 | 4.0768 | 4.9 | 1.53 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 103 | 3.922 | 3.634 | 3.552 | 5.25 | 1.6 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 3.518 | 3.835 | 3.891 | 5.37 | 1.64 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 164 | 4.1105 | 4.4819 | 4.0814 | 5.29 | 1.64 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 4.3707 | 3.8473 | 4.188 | 6.42 | 1.99 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 161 | 3.2904 | 3.5421 | 3.8506 | 7.88 | 2.39 | 3.12 | 0.19 | 8.69 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 141 | 3.8982 | 4.1217 | 4.6135 | 8.69 | 2.7 | 3.12 | 0.19 | 8.69 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.60 | NIR | 187 | 3.72 |  |  |  |  |  |  |  | 1 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 4.3419 | 4.3314 | 4.3376 | 0.12 | 0.04 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 3.7139 | 3.7278 | 3.7101 | 0.25 | 0.08 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 3.94 | 3.92 | 3.99 | 0.91 | 0.28 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 4.3475 | 4.2705 | 4.3415 | 0.99 | 0.31 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 4.1766 | 4.3284 | 4.3005 | 1.89 | 0.59 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 155 | 3.16 | 3.05 | 3.19 | 2.35 | 0.7 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 4.5128 | 4.5543 | 4.3614 | 2.27 | 0.71 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 3.63 | 3.43 | 3.53 | 2.83 | 0.86 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.99 | Other | 215 | 3.6058 | 3.6978 | 3.4893 | 2.9 | 0.88 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 4.474 | 4.487 | 4.245 | 3.09 | 0.97 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 191 | 4.5924 | 4.3048 | 4.4486 | 3.23 | 1.01 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 3.842 | 4.012 | 4.171 | 4.1 | 1.27 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 103 | 4.234 | 4.083 | 3.873 | 4.46 | 1.38 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 164 | 5.5904 | 6.0228 | 5.5937 | 4.34 | 1.41 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 3.543 | 3.805 | 3.873 | 4.66 | 1.42 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 170 | 4.6995 | 4.4242 | 4.877 | 4.89 | 1.54 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 4.382 | 4.8312 | 4.4522 | 5.3 | 1.67 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | 4.05 | 4.47 | 4.43 | 5.37 | 1.68 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 4.3951 | 4.6211 | 4.0208 | 6.98 | 2.18 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 141 | 3.7813 | 4.0818 | 4.3628 | 7.14 | 2.21 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 4.2178 | 3.787 | 3.6468 | 7.66 | 2.35 | 4.01 | 0.12 | 10.1 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 161 | 3.2496 | 3.5415 | 3.8714 | 8.75 | 2.65 | 4.01 | 0.12 | 10.1 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 4.599 | 4.2647 | 5.198 | 10.1 | 3.19 | 4.01 | 0.12 | 10.1 | 0 |

Lab

Population of Lab RSDr

CBN (%AR)

| CBN (%AR) | 005.30 | GC-FID | 116 | <0.0400 | <0.0400 | <0.0400 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.30 | GC-FID | 138 | <0.0200 | 0.0343 | <0.0200 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | <0.0761 | <0.0735 | <0.0739 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.03 | 0.03 | 0.03 | 0 | 0 | 7.61 | 0 | 35.1 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 122 | 0.0332 | 0.0327 | 0.0329 | 0.76 | 0.11 | 7.61 | 0 | 35.1 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | 0.0243 | 0.023 | 0.024 | 2.86 | 0.41 | 7.61 | 0 | 35.1 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | 0.024 | 0.023 | 0.0245 | 3.2 | 0.46 | 7.61 | 0 | 35.1 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.029 | 0.0293 | 0.0308 | 3.25 | 0.48 | 7.61 | 0 | 35.1 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 125 | 0.0508 | 0.0513 | 0.0484 | 3.09 | 0.49 | 7.61 | 0 | 35.1 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.0231 | 0.0244 | 0.025 | 4.02 | 0.58 | 7.61 | 0 | 35.1 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | 0.025 | 0.027 | 0.025 | 4.5 | 0.65 | 7.61 | 0 | 35.1 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 192 | 0.0216 | 0.0214 | 0.0233 | 4.72 | 0.67 | 7.61 | 0 | 35.1 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | 0.027 | 0.03 | 0.029 | 5.33 | 0.78 | 7.61 | 0 | 35.1 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.029 | 0.0261 | 0.0295 | 6.51 | 0.96 | 7.61 | 0 | 35.1 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | 0.0477 | 0.0548 | 0.0488 | 7.58 | 1.21 | 7.61 | 0 | 35.1 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0307 | 0.0234 | 0.0333 | 17.6 | 2.6 | 7.61 | 0 | 35.1 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.065 | 0.0577 | 0.044 | 19.2 | 3.12 | 7.61 | 0 | 35.1 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 141 | 0.0236 | 0.0377 | 0.0328 | 22.8 | 3.4 | 7.61 | 0 | 35.1 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 107 | 0.021 | 0.044 | 0.04 | 35.1 | 5.32 | 7.61 | 0 | 35.1 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Total Δ9-THC (%AR)

| Total Δ9-THC (%AR) | 006.40 | GC-FID | 190 | 0.262 | 0.26 |  |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.60 | NIR | 187 | 0.218 |  |  |  |  |  |  |  | 1 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.2933 | 0.2907 | 0.2908 | 0.5 | 0.11 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.2574 | 0.2546 | 0.2562 | 0.55 | 0.11 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.2265 | 0.229 | 0.226 | 0.71 | 0.14 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 182 | 0.1958 | 0.199 | 0.1973 | 0.81 | 0.16 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.283 | 0.283 | 0.279 | 0.82 | 0.17 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 128 | 0.277 | 0.2781 | 0.2817 | 0.88 | 0.18 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.2507 | 0.2542 | 0.2501 | 0.88 | 0.18 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.2609 | 0.2566 | 0.261 | 0.97 | 0.2 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.0822 | 0.083 | 0.0853 | 1.93 | 0.33 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 217 | 0.2532 | 0.2628 | 0.2559 | 1.92 | 0.39 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.2388 | 0.2403 | 0.2298 | 2.4 | 0.49 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 192 | 0.123 | 0.1247 | 0.1298 | 2.81 | 0.52 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.249 | 0.2406 | 0.2366 | 2.61 | 0.53 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 191 | 0.2515 | 0.2384 | 0.2449 | 2.67 | 0.54 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.233 | 0.22 | 0.222 | 3.11 | 0.62 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 148 | 0.224 | 0.209 | 0.219 | 3.51 | 0.7 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.2406 | 0.2276 | 0.2235 | 3.87 | 0.78 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.2859 | 0.2683 | 0.2672 | 3.83 | 0.79 | 4 | 0.51 | 19.8 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 165 | 0.2473 | 0.2608 | 0.2675 | 3.98 | 0.81 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.213 | 0.231 | 0.226 | 4.16 | 0.83 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 141 | 0.2491 | 0.2583 | 0.2717 | 4.38 | 0.9 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 161 | 0.1529 | 0.1573 | 0.1676 | 4.74 | 0.9 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.26 | 0.24 | 0.24 | 4.68 | 0.95 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.277 | 0.271 | 0.253 | 4.68 | 0.96 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 164 | 0.284 | 0.3099 | 0.2886 | 4.7 | 0.98 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 120 | 0.2556 | 0.2317 | 0.2468 | 4.94 | 1 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.2631 | 0.2511 | 0.2767 | 4.86 | 1 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.208 | 0.228 | 0.227 | 5.1 | 1.02 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.2543 | 0.231 | 0.2354 | 5.15 | 1.04 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.2528 | 0.2812 | 0.2703 | 5.34 | 1.1 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 155 | 0.223 | 0.2 | 0.217 | 5.59 | 1.11 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.2352 | 0.2642 | 0.2419 | 6.14 | 1.25 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.1919 | 0.1762 | 0.2089 | 8.5 | 1.66 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.2296 | 0.2449 | 0.2065 | 8.52 | 1.71 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 225 | 0.1765 | 0.1914 | 0.1489 | 12.5 | 2.41 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.241 | 0.221 | 0.282 | 12.5 | 2.55 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.2071 | 0.1614 | 0.1415 | 19.8 | 3.8 | 4 | 0.51 | 19.8 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.2867 | 0.2053 | 0.293 | 18.7 | 3.83 | 4 | 0.51 | 19.8 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.60 | NIR | 187 | 6.203 |  |  |  |  |  |  |  | 1 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 8.1157 | 8.0745 | 8.1038 | 0.26 | 0.09 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 7.0707 | 7.1043 | 7.0641 | 0.3 | 0.1 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 7.8903 | 7.7362 | 7.855 | 1.03 | 0.35 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 192 | 4.7365 | 4.8413 | 4.8642 | 1.41 | 0.45 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 8.4908 | 8.7589 | 8.6207 | 1.55 | 0.54 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 107 | 5.512 | 5.316 | 5.371 | 1.87 | 0.6 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 7.9502 | 8.2127 | 8.1873 | 1.78 | 0.61 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 7.74 | 8.03 | 7.93 | 1.86 | 0.64 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 8.5946 | 8.2748 | 8.4537 | 1.9 | 0.66 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 7.4102 | 7.4148 | 7.6802 | 2.06 | 0.7 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 8.1009 | 8.1 | 7.7939 | 2.21 | 0.76 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 7.19 | 6.85 | 7.1 | 2.5 | 0.84 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 8.0095 | 7.7115 | 7.6085 | 2.68 | 0.91 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 191 | 8.008 | 7.557 | 7.782 | 2.9 | 0.99 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 155 | 6.04 | 5.79 | 6.2 | 3.44 | 1.13 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 6.5304 | 6.3469 | 6.7961 | 3.44 | 1.14 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 7.092 | 7.411 | 7.658 | 3.84 | 1.3 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 103 | 7.6352 | 7.2148 | 6.9486 | 4.76 | 1.61 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 164 | 9.0133 | 9.7639 | 8.9871 | 4.77 | 1.67 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 6.625 | 7.172 | 7.287 | 5.03 | 1.69 | 3.34 | 0.26 | 8.89 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 8.1121 | 8.5484 | 7.6038 | 5.85 | 2 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 7.8012 | 7.231 | 6.7433 | 7.29 | 2.46 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 141 | 7.2144 | 7.7014 | 8.4397 | 7.92 | 2.7 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 161 | 6.1403 | 6.648 | 7.2458 | 8.29 | 2.76 | 3.34 | 0.26 | 8.89 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 7.9657 | 6.6963 | 7.6497 | 8.89 | 3.01 | 3.34 | 0.26 | 8.89 | 0 |

Lab

Population of Lab RSDr

CBDV (%AR)

| CBDV (%AR) | 008.99 | Other | 197 | <0.0761 | <0.0735 | <0.0739 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0162 | 0.017 | 0.0164 | 2.52 | 0.34 | 0 |
| CBDV (%AR) | 008.99 | Other | 196 | 0.0205 | 0.022 | 0.022 | 4.03 | 0.57 | 0 |
| CBDV (%AR) | 008.99 | Other | 142 | 0.0303 | 0.0282 | 0.0306 | 4.4 | 0.65 | 0 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.06 | 0.05 | 0.06 | 10.2 | 1.66 | 0 |

CBDVA (%AR)

| CBDVA (%AR) | 009.99 | Other | 197 | <0.0761 | <0.0735 | <0.0739 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 142 | 0.0316 | 0.0298 | 0.0304 | 3 | 0.44 | 0 |
| CBDVA (%AR) | 009.99 | Other | 196 | 0.029 | 0.032 | 0.032 | 5.59 | 0.83 | 0 |
| CBDVA (%AR) | 009.99 | Other | 149 | 0.079 | 0.098 | 0.083 | 11.6 | 2.01 | 0 |

CBG (%AR)

| CBG (%AR) | 010.99 | Other | 189 | 0.1888 | 0.1884 | 0.1883 | 0.14 | 0.03 | 3.65 | 0.14 | 6.61 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 103 | 0.194 | 0.197 | 0.197 | 0.88 | 0.17 | 3.65 | 0.14 | 6.61 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 142 | 0.196 | 0.187 | 0.196 | 2.69 | 0.53 | 3.65 | 0.14 | 6.61 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.165 | 0.159 | 0.156 | 2.86 | 0.55 | 3.65 | 0.14 | 6.61 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.2 | 0.21 | 0.21 | 2.79 | 0.55 | 3.65 | 0.14 | 6.61 | 0 |
| CBG (%AR) | 010.99 | Other | 141 | 0.193 | 0.1949 | 0.1815 | 3.82 | 0.75 | 3.65 | 0.14 | 6.61 | 0 |
| CBG (%AR) | 010.99 | Other | 155 | 0.294 | 0.291 | 0.312 | 3.8 | 0.79 | 3.65 | 0.14 | 6.61 | 0 |
| CBG (%AR) | 010.99 | Other | 197 | 0.1391 | 0.1422 | 0.1567 | 6.44 | 1.21 | 3.65 | 0.14 | 6.61 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.196 | 0.223 | 0.212 | 6.45 | 1.28 | 3.65 | 0.14 | 6.61 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.237 | 0.232 | 0.209 | 6.61 | 1.32 | 3.65 | 0.14 | 6.61 | 0 |
|  |  |  |  | CBGA (%AR) |  |  |  |  |  |  |  |  |
| CBGA (%AR) | 011.99 | Other | 106 | 0.26 | 0.26 | 0.26 | 0 | 0 | 3.18 | 0 | 6.28 | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.2845 | 0.2839 | 0.2881 | 0.8 | 0.17 | 3.18 | 0 | 6.28 | 0 |
| CBGA (%AR) | 011.99 | Other | 141 | 0.2181 | 0.2128 | 0.2197 | 1.67 | 0.33 | 3.18 | 0 | 6.28 | 0 |
| CBGA (%AR) | 011.99 | Other | 142 | 0.261 | 0.253 | 0.252 | 1.93 | 0.39 | 3.18 | 0 | 6.28 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 103 | 0.291 | 0.281 | 0.276 | 2.7 | 0.56 | 3.18 | 0 | 6.28 | 0 |
| CBGA (%AR) | 011.99 | Other | 196 | 0.257 | 0.274 | 0.28 | 4.41 | 0.91 | 3.18 | 0 | 6.28 | 0 |
| CBGA (%AR) | 011.99 | Other | 197 | 0.2934 | 0.2676 | 0.269 | 5.24 | 1.08 | 3.18 | 0 | 6.28 | 0 |
| CBGA (%AR) | 011.99 | Other | 149 | 0.294 | 0.325 | 0.324 | 5.6 | 1.18 | 3.18 | 0 | 6.28 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | 0.316 | 0.285 | 0.283 | 6.28 | 1.31 | 3.18 | 0 | 6.28 | 0 |
|  |  |  |  | THCV (%AR) |  |  |  |  |  |  |  |  |
| THCV (%AR) | 012.99 | Other | 149 | <0.0250 <0.0250 |  | <0.0250 |  |  |  |  |  | 1 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  | 1 |
| THCV (%AR) | 012.99 | Other | 189 | <0.0050 | 0.005 | 0.0043 |  | 1 |
| THCV (%AR) | 012.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 |  | 1 |
| THCV (%AR) | 012.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  | 1 |
| THCV (%AR) | 012.99 | Other | 197 | <0.0761 | <0.0735 | <0.0739 |  | 1 |

Lab

Population of Lab RSDr

Δ8-THC (%AR)

| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | <0.0250 | <0.0250 | <0.0250 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 141 | <0.0120 | <0.0120 | <0.0120 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0761 | <0.0735 | <0.0739 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0066 | 0.0068 | 0.008 | 10.6 | 1.27 | 0 |

CBC (%AR)

| CBC (%AR) | 014.99 | Other | 189 | 0.2277 | 0.2291 | 0.2278 | 0.34 | 0.07 | 3.29 | 0.34 | 16.8 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 197 | 0.2132 | 0.2176 | 0.2118 | 1.41 | 0.28 | 3.29 | 0.34 | 16.8 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.23 | 0.23 | 0.24 | 2.47 | 0.5 | 3.29 | 0.34 | 16.8 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.248 | 0.238 | 0.232 | 3.38 | 0.68 | 3.29 | 0.34 | 16.8 | 0 |
| CBC (%AR) | 014.99 | Other | 155 | 0.205 | 0.19 | 0.196 | 3.83 | 0.75 | 3.29 | 0.34 | 16.8 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.209 | 0.219 | 0.226 | 3.92 | 0.78 | 3.29 | 0.34 | 16.8 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 149 | 0.216 | 0.234 | 0.233 | 4.44 | 0.89 | 3.29 | 0.34 | 16.8 | 0 |
| CBC (%AR) | 014.99 | Other | 142 | 0.288 | 0.214 | 0.222 | 16.8 | 3.41 | 3.29 | 0.34 | 16.8 | 0 |

Lab

Population of Lab RSDr

Cd (ug/g AR)

| Cd (ug/g AR) | 101.04 | ICP-MS | 141 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.158 | 0.156 | 0.157 | 0.64 | 0.12 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.127 | 0.123 | 0.126 | 1.66 | 0.3 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.1509 | 0.1583 | 0.1515 | 2.68 | 0.51 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | 0.1662 | 0.1541 | 0.1654 | 4.18 | 0.8 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | 0.113 | 0.127 | 0.128 | 6.84 | 1.25 | 0 |

As (ug/g AR)

| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0977 | <0.0982 | <0.0958 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 141 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | 0.0534 | 0.0531 | 0.0482 | 5.66 | 0.91 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.0507 | 0.0449 | 0.0448 | 7.22 | 1.14 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | 0.06 | 0.072 | 0.053 | 15.6 | 2.57 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Hg (ug/g AR)

| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 141 | <0.1000 | <0.1000 | <0.1000 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0977 | <0.0982 | <0.0958 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | <0.0070 | <0.0070 | <0.0070 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 102 | 0.0049 | 0.0048 | 0.0051 | 3.1 | 0.35 | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | 0.0141 | 0.0146 | 0.0096 | 21.6 | 2.81 | 0 |

Pb (ug/g AR)

| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.545 | 0.574 | 0.548 | 2.87 | 0.66 | 6.14 | 2.87 | 17.5 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.4991 | 0.5221 | 0.5349 | 3.5 | 0.79 | 6.14 | 2.87 | 17.5 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | 0.519 | 0.571 | 0.567 | 5.24 | 1.2 | 6.14 | 2.87 | 17.5 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | 0.5478 | 0.4964 | 0.4951 | 5.86 | 1.33 | 6.14 | 2.87 | 17.5 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 141 | 0.674 | 0.591 | 0.661 | 6.95 | 1.63 | 6.14 | 2.87 | 17.5 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 0.5089 | 0.5797 | 0.5054 | 7.89 | 1.8 | 6.14 | 2.87 | 17.5 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | 0.44 | 0.558 | 0.401 | 17.5 | 3.92 | 6.14 | 2.87 | 17.5 | 0 |

Cu (ug/g AR)

| Cu (ug/g AR) | 105.04 | ICP-MS | 142 | 15.1 | 15.1 | 15.2 | 0.38 | 0.14 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | 9.13 | 9.59 | 9.07 | 3.07 | 1.07 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Ni (ug/g AR)

| Ni (ug/g AR) | 106.04 | ICP-MS | 141 | 1.11 | 1.15 | 1.12 | 1.85 | 0.47 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | 0.823 | 0.889 | 0.864 | 3.88 | 0.95 | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 142 | 0.861 | 0.909 | 0.938 | 4.31 | 1.06 | 0 |

Cr (ug/g AR)

| Cr (ug/g AR) | 107.04 | ICP-MS | 141 | <4.0000 | <4.0000 | <4.0000 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | <2.0000 | <2.0000 | <2.0000 |  |  | 1 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | 0.479 | 0.481 | 0.511 | 3.66 | 0.82 | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | 0.645 | 0.601 | 0.575 | 5.83 | 1.36 | 0 |

Se (ug/g AR)

| Se (ug/g AR) | 108.04 | ICP-MS | 197 | <0.0977 | <0.0982 | <0.0958 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | <0.0960 | <0.0960 | <0.0960 |  |  | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 141 | <1.0000 | <1.0000 | <1.0000 |  |  | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | 0.052 | 0.0481 | 0.043 | 9.46 | 1.5 | 0 |

Ag (ug/g AR)

| Ag (ug/g AR) | 109.04 | ICP-MS | 142 | 0.0154 | 0.013 | 0.0117 | 14 | 1.84 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Ba (ug/g AR)

| Ba (ug/g AR) | 110.04 | ICP-MS | 142 | 0.1505 | 0.124 | 0.1164 | 13.7 | 2.54 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Zn (ug/g AR)

| Zn (ug/g AR) | 111.04 | ICP-MS | 141 | 67 | 71.4 | 67 | 3.71 | 1.75 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 53.7 | 58.5 | 57.9 | 4.61 | 2.12 | 0 |

Sb (ug/g AR)

Sb (ug/g AR)

112.04

ICP-MS

196

<0.0240	<0.0240	<0.0240	1

(-)-alpha-Bisabolol (%AR)

| (-)-alpha-Bisabolol (%A | 201.01 | GC,FID | 142 | 0.096 | 0.0929 | 0.0941 | 1.66 | 0.29 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | 0.1063 | 0.0978 | 0.0954 | 5.74 | 1.02 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0279 | 0.0324 | 0.0257 | 11.9 | 1.75 | 0 |

beta-Caryophyllene (%AR)

| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | <0.0650 | <0.0650 | <0.0650 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0396 | 0.0432 | 0.0403 | 4.65 | 0.72 | 0 |
| beta-Caryophyllene (% | 202.01 | GC,FID | 142 | 0.0559 | 0.0531 | 0.0505 | 5.08 | 0.82 | 0 |

(-)-Caryophyllene oxide (%AR)

| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | <0.0650 <0.0650 |  | <0.0650 | 1 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-Caryophyllene oxide | 203.01 | GC,FID | 142 | 0.0222 | 0.021 | 0.0212 | 2.99 | 0.42 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Geraniol (%AR)

| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.0650 | <0.0650 | <0.0650 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Geraniol (%AR) | 204.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |

alpha-Humulene (%AR)

| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | <0.0650 | <0.0650 | <0.0650 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Humulene (%AR) | 205.01 | GC,FID | 142 | 0.0301 | 0.0283 | 0.0284 | 3.5 | 0.51 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.0172 | 0.0183 | 0.0151 | 9.64 | 1.31 | 0 |

d-Limonene (%AR)

| d-Limonene (%AR) | 206.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| d-Limonene (%AR) | 206.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |

Linalool (%AR)

| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Linalool (%AR) | 207.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 196 | 0.0016 | 0.0018 | 0.0016 | 6.93 | 0.67 | 0 |

beta-Myrcene (%AR)

beta-Myrcene (%AR)

208.01

GC,FID

142

<0.0005	<0.0005	<0.0005	1

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | 0.0015 | 0.0018 | 0.0015 | 10.8 | 1.03 |  |  |  | 0 |
|  |  |  |  | Nopinene (%AR) |  |  |  |  |  |  |  |  |
| Nopinene (%AR) | 209.01 | GC,FID | 142 | <0.0005 <0.0005 |  | <0.0005 |  |  |  |  |  | 1 |
|  |  |  |  | Ocimene (%AR) |  |  |  |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  |  | 1 |
| Ocimene (%AR) | 210.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  |  | 1 |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  |  | 1 |
|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |  |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0013 <0.0013 |  | <0.0013 |  |  |  |  |  | 1 |
|  |  |  |  | alpha-Terpinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  |  |  |  |  | 1 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  | 1 |
| alpha-Terpinene (%AR) | 213.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 |  | 1 |

Lab

Population of Lab RSDr

gamma-Terpinene (%AR)

| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0013 <0.0013 | <0.0013 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |

alpha-Terpinolene (%AR)

| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |
| alpha-Terpinolene (%A | 215.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | 1 |

Moisture (%AR)

| Moisture (%AR) | 500.72 | NIR | 187 | 8.75 |  |  |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 189 | 7.227 | 7.227 | 7.227 | 0 | 0 | 2.29 | 0 | 5.78 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 7.61 | 7.61 | 7.52 | 0.69 | 0.23 | 2.29 | 0 | 5.78 | 0 |
| Moisture (%AR) | 500.99 | Other | 103 | 7.65 | 7.76 | 7.7 | 0.72 | 0.24 | 2.29 | 0 | 5.78 | 0 |
| Moisture (%AR) | 500.72 | NIR | 138 | 8.7 | 8.6 | 8.5 | 1.16 | 0.4 | 2.29 | 0 | 5.78 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 8.89 | 8.9 | 8.7 | 1.28 | 0.44 | 2.29 | 0 | 5.78 | 0 |
| Moisture (%AR) | 500.99 | Other | 102 | 9.8 | 9.7 | 9.5 | 1.58 | 0.56 | 2.29 | 0 | 5.78 | 0 |
| Moisture (%AR) | 500.99 | Other | 165 | 9.702 | 9.4699 | 9.7603 | 1.59 | 0.56 | 2.29 | 0 | 5.78 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 12.2594 | 12.4358 | 12.0523 | 1.57 | 0.57 | 2.29 | 0 | 5.78 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 182 | 9.23 | 9.38 | 9.7 | 2.54 | 0.89 | 2.29 | 0 | 5.78 | 0 |
| Moisture (%AR) | 500.99 | Other | 215 | 9.2709 | 9.7721 | 9.6912 | 2.81 | 0.99 | 2.29 | 0 | 5.78 | 0 |
| Moisture (%AR) | 500.99 | Other | 120 | 9.6294 | 9.1444 | 9.1953 | 2.86 | 1 | 2.29 | 0 | 5.78 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 10.9406 | 11.5734 | 11.2471 | 2.81 | 1.01 | 2.29 | 0 | 5.78 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 5.93 | 5.94 | 5.61 | 3.22 | 1.05 | 2.29 | 0 | 5.78 | 0 |
| Moisture (%AR) | 500.99 | Other | 142 | 7.3 | 7.5 | 6.9 | 4.22 | 1.42 | 2.29 | 0 | 5.78 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 10.85 | 10.27 | 9.71 | 5.55 | 1.97 | 2.29 | 0 | 5.78 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 162 | 10.48 | 9.71 | 10.89 | 5.78 | 2.06 | 2.29 | 0 | 5.78 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.60 | NIR | 187 | 0.205 |  |  |  |  |  |  |  | 1 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 199 | 0.2473 | 0.245 | 0.2439 | 0.71 | 0.14 | 3.03 | 0.71 | 7.19 | 0 |
| Δ9-THC (%DW) | 501.99 | Other | 215 | 0.2316 | 0.2285 | 0.2319 | 0.82 | 0.16 | 3.03 | 0.71 | 7.19 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.2197 | 0.2234 | 0.2195 | 0.99 | 0.2 | 3.03 | 0.71 | 7.19 | 0 |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 210 | 0.207 | 0.203 | 0.203 | 1.13 | 0.22 | 3.03 | 0.71 | 7.19 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.2593 | 0.2565 | 0.2532 | 1.19 | 0.24 | 3.03 | 0.71 | 7.19 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 162 | 0.2143 | 0.2127 | 0.2303 | 4.44 | 0.89 | 3.03 | 0.71 | 7.19 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.306 | 0.334 | 0.322 | 4.38 | 0.93 | 3.03 | 0.71 | 7.19 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 165 | 0.2138 | 0.2272 | 0.2349 | 4.74 | 0.95 | 3.03 | 0.71 | 7.19 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 103 | 0.2112 | 0.1973 | 0.1918 | 5 | 0.98 | 3.03 | 0.71 | 7.19 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 120 | 0.2331 | 0.2019 | 0.2166 | 7.19 | 1.43 | 3.03 | 0.71 | 7.19 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%DW) | 502.60 | NIR | 187 | 0.033 |  |  |  |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.0576 | 0.0578 | 0.0572 | 0.53 | 0.09 | 3.21 | 0.53 | 120 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 103 | 0.0563 | 0.0564 | 0.0574 | 1.07 | 0.17 | 3.21 | 0.53 | 120 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 165 | 0.0684 | 0.0693 | 0.0701 | 1.23 | 0.21 | 3.21 | 0.53 | 120 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 162 | 0.0603 | 0.064 | 0.0621 | 2.98 | 0.49 | 3.21 | 0.53 | 120 | 0 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 210 | 0.055 | 0.058 | 0.055 | 3.09 | 0.5 | 3.21 | 0.53 | 120 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0662 | 0.0662 | 0.0701 | 3.34 | 0.56 | 3.21 | 0.53 | 120 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 199 | 0.057 | 0.0548 | 0.0603 | 4.83 | 0.79 | 3.21 | 0.53 | 120 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 120 | 0.0568 | 0.0601 | 0.0629 | 5.09 | 0.84 | 3.21 | 0.53 | 120 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | 0.316 | 0.021 | 0.062 | 120 | 22.25 | 3.21 | 0.53 | 120 | 0 |
|  |  |  |  | CBD (%DW) |  |  |  |  |  |  |  |  |
| CBD (%DW) | 503.60 | NIR | 187 | 3.22 |  |  |  |  |  |  |  | 1 |
| CBD (%DW) | 503.01 | AOAC 2018.10 | 210 | 4.331 | 4.323 | 4.329 | 0.1 | 0.03 | 2.09 | 0.1 | 5.21 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 189 | 4.1107 | 4.1338 | 4.1071 | 0.35 | 0.11 | 2.09 | 0.1 | 5.21 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 199 | 4.6472 | 4.5578 | 4.6027 | 0.97 | 0.31 | 2.09 | 0.1 | 5.21 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 5.0295 | 4.8928 | 5.1029 | 2.13 | 0.68 | 2.09 | 0.1 | 5.21 | 0 |
| CBD (%DW) | 503.99 | Other | 215 | 4.1848 | 4.3273 | 4.095 | 2.79 | 0.87 | 2.09 | 0.1 | 5.21 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 162 | 4.303 | 4.2779 | 4.0606 | 3.16 | 0.98 | 2.09 | 0.1 | 5.21 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 103 | 4.2469 | 3.9397 | 3.8483 | 5.21 | 1.61 | 2.09 | 0.1 | 5.21 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| CBDA (%DW) | 504.60 | NIR | 187 | 4.078 |  |  |  |  |  |  |  | 1 |
| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 4.0032 | 4.0182 | 3.9991 | 0.25 | 0.08 | 2.74 | 0.25 | 5.3 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 199 | 4.9549 | 4.877 | 4.9365 | 0.83 | 0.26 | 2.74 | 0.25 | 5.3 | 0 |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 210 | 4.982 | 4.851 | 4.908 | 1.34 | 0.43 | 2.74 | 0.25 | 5.3 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 162 | 4.3718 | 4.3016 | 4.0969 | 3.36 | 1.04 | 2.74 | 0.25 | 5.3 | 0 |
| CBDA (%DW) | 504.99 | Other | 215 | 3.9839 | 4.0855 | 3.7994 | 3.67 | 1.13 | 2.74 | 0.25 | 5.3 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 103 | 4.5847 | 4.4265 | 4.1961 | 4.44 | 1.39 | 2.74 | 0.25 | 5.3 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 4.7419 | 5.2274 | 4.8174 | 5.3 | 1.69 | 2.74 | 0.25 | 5.3 | 0 |
|  |  |  |  | CBN (%DW) |  |  |  |  |  |  |  |  |
| CBN (%DW) | 505.01 | AOAC 2018.10 | 210 | <0.0230 | <0.0240 | <0.0230 |  |  |  |  |  | 1 |
| CBN (%DW) | 505.10 | Other LC-UV | 162 | 0.0316 | 0.0306 | 0.0324 | 2.86 | 0.43 | 7.9 | 2.86 | 17.4 | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 199 | 0.0274 | 0.0263 | 0.0279 | 3.01 | 0.44 | 7.9 | 2.86 | 17.4 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0312 | 0.0281 | 0.0318 | 6.54 | 0.97 | 7.9 | 2.86 | 17.4 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | 0.0516 | 0.0593 | 0.0528 | 7.59 | 1.23 | 7.9 | 2.86 | 17.4 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 116 | 0.0289 | 0.0355 | 0.034 | 10.5 | 1.58 | 7.9 | 2.86 | 17.4 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.0344 | 0.0265 | 0.0376 | 17.4 | 2.61 | 7.9 | 2.86 | 17.4 | 0 |
|  |  |  |  | Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%DW) | 506.60 | NIR | 187 | 0.234 |  |  |  |  |  |  |  | 1 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.3174 | 0.3145 | 0.3146 | 0.52 | 0.11 | 2.51 | 0.52 | 14.3 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 138 | 0.2478 | 0.2505 | 0.2472 | 0.71 | 0.14 | 2.51 | 0.52 | 14.3 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 199 | 0.2973 | 0.293 | 0.2967 | 0.79 | 0.16 | 2.51 | 0.52 | 14.3 | 0 |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 210 | 0.255 | 0.254 | 0.251 | 0.82 | 0.17 | 2.51 | 0.52 | 14.3 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.2702 | 0.274 | 0.2696 | 0.88 | 0.18 | 2.51 | 0.52 | 14.3 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 182 | 0.2157 | 0.2196 | 0.2168 | 0.92 | 0.18 | 2.51 | 0.52 | 14.3 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.2539 | 0.2555 | 0.2435 | 2.6 | 0.53 | 2.51 | 0.52 | 14.3 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.2694 | 0.2603 | 0.256 | 2.61 | 0.54 | 2.51 | 0.52 | 14.3 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.363 | 0.353 | 0.376 | 3.17 | 0.68 | 2.51 | 0.52 | 14.3 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 162 | 0.2671 | 0.2689 | 0.2847 | 3.54 | 0.73 | 2.51 | 0.52 | 14.3 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 103 | 0.2605 | 0.2468 | 0.2421 | 3.83 | 0.78 | 2.51 | 0.52 | 14.3 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 165 | 0.2739 | 0.2881 | 0.2964 | 3.98 | 0.83 | 2.51 | 0.52 | 14.3 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 120 | 0.2829 | 0.2546 | 0.2717 | 5.28 | 1.09 | 2.51 | 0.52 | 14.3 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.2325 | 0.1826 | 0.1836 | 14.3 | 2.81 | 2.51 | 0.52 | 14.3 | 0 |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| Total CBD (%DW) | 507.60 | NIR | 187 | 6.793 |  |  |  |  |  |  |  | 1 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 189 | 7.6215 | 7.6578 | 7.6143 | 0.31 | 0.1 | 2.2 | 0.31 | 4.73 | 0 |
| Total CBD (%DW) | 507.01 | AOAC 2018.10 | 210 | 8.7 | 8.577 | 8.633 | 0.71 | 0.25 | 2.2 | 0.31 | 4.73 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 199 | 8.9927 | 8.8349 | 8.932 | 0.89 | 0.31 | 2.2 | 0.31 | 4.73 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 9.1882 | 9.4772 | 9.3278 | 1.55 | 0.54 | 2.2 | 0.31 | 4.73 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 138 | 9.4033 | 9.0534 | 9.2962 | 1.94 | 0.68 | 2.2 | 0.31 | 4.73 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 8.6665 | 8.344 | 8.2325 | 2.68 | 0.92 | 2.2 | 0.31 | 4.73 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%DW) | 507.10 | Other LC-UV | 162 | 8.137 | 8.0504 | 7.6536 | 3.24 | 1.11 | 2.2 | 0.31 | 4.73 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 8.7595 | 8.1774 | 8.2731 | 3.71 | 1.28 | 2.2 | 0.31 | 4.73 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 103 | 8.2677 | 7.8218 | 7.5283 | 4.73 | 1.61 | 2.2 | 0.31 | 4.73 | 0 |
|  |  |  |  | CBDV (%DW) |  |  |  |  |  |  |  |  |
| CBDV (%DW) | 508.02 | AOAC 2018.11, U | 210 | <0.0260 | <0.0260 | <0.0260 |  |  |  |  |  | 1 |
| CBDV (%DW) | 508.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| CBDV (%DW) | 508.99 | Other | 189 | 0.0175 | 0.0183 | 0.0177 | 2.33 | 0.32 |  |  |  | 0 |
|  |  |  |  | CBDVA (%DW) |  |  |  |  |  |  |  |  |
| CBDVA (%DW) | 509.01 | AOAC 2018.10 | 210 | 0.08 | 0.079 | 0.078 | 1.27 | 0.22 |  |  |  | 0 |
|  |  |  |  | CBG (%DW) |  |  |  |  |  |  |  |  |
| CBG (%DW) | 510.99 | Other | 189 | 0.2035 | 0.203 | 0.203 | 0.14 | 0.03 |  |  |  | 0 |
| CBG (%DW) | 510.02 | AOAC 2018.11, U | 103 | 0.2101 | 0.2136 | 0.2134 | 0.93 | 0.18 |  |  |  | 0 |
| CBG (%DW) | 510.01 | AOAC 2018.10 | 210 | 0.201 | 0.193 | 0.199 | 2.11 | 0.41 |  |  |  | 0 |
| CBG (%DW) | 510.99 | Other | 162 | 0.1965 | 0.2139 | 0.201 | 4.43 | 0.87 |  |  |  | 0 |
|  |  |  |  | CBGA (%DW) |  |  |  |  |  |  |  |  |
| CBGA (%DW) | 511.99 | Other | 189 | 0.3066 | 0.3061 | 0.3105 | 0.78 | 0.16 |  |  |  | 0 |
| CBGA (%DW) | 511.02 | AOAC 2018.11, U | 103 | 0.3151 | 0.3046 | 0.299 | 2.67 | 0.56 |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 162 | 0.3498 | 0.3626 | 0.3337 | 4.15 | 0.89 |  |  |  | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%DW) | 511.01 | AOAC 2018.10 | 210 | 0.104 | 0.136 | 0.129 | 13.7 | 2.5 | 0 |

Lab

Population of Lab RSDr

THCV (%DW)

| THCV (%DW) | 512.02 | AOAC 2018.11, U | 210 | <0.0260 <0.0260 |  | <0.0260 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%DW) | 512.99 | Other | 189 | 0 | 0.0054 | 0.0046 | 1 |

Δ8-THC (%DW)

| Δ8-THC (%DW) | 513.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.99 | Other | 189 | 0.0072 | 0.0074 | 0.0086 | 9.79 | 1.18 | 0 |
| Δ8-THC (%DW) | 513.01 | AOAC 2018.10 | 210 | 0.022 | 0.02 | 0.018 | 10 | 1.39 | 0 |

CBC (%DW)

| CBC (%DW) | 514.99 | Other | 189 | 0.2455 | 0.247 | 0.2456 | 0.34 | 0.07 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.02 | AOAC 2018.11, U | 210 | 0.238 | 0.232 | 0.237 | 1.36 | 0.28 | 0 |
| CBC (%DW) | 514.99 | Other | 162 | 0.2407 | 0.2536 | 0.2337 | 4.16 | 0.84 | 0 |

- Flag definitions: 1 (Lab RSDr not calculated because there were less than 3 numeric lab results)

- Statistical parameters of robust mean, minimum, and maximum for RSDr only shown only if there were 6 or more lab RSDr values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.c