Hemp Proficiency Testing

All Labs Trueness HM23SEP-1 (hemp)

Sample: HM23SEP-1 (hemp)

All Labs Trueness

Issue Date:

November 1, 2023

| Analyte | Code | Method | Lab Num |  | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Δ9-THC (%AR) |  |  |  |  |  |  |  |  |  |  |
| Δ9-THC (%AR) | 001.30 | Other LC-MS |  | 102 | 0.069 | 0.076 | 0.073 | 0.0727 | -4.91 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 225 | 0.143 | 0.1553 | 0.1218 | 0.14 | -2.16 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 192 | 0.1613 | 0.1499 | 0.1623 | 0.158 | -1.44 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 161 | 0.1529 | 0.1573 | 0.1676 | 0.159 | -1.38 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 182 | 0.1608 | 0.1615 | 0.1605 | 0.161 | -1.31 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 155 | 0.171 | 0.145 | 0.175 | 0.164 | -1.2 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 |  | 148 | 0.17 | 0.159 | 0.167 | 0.165 | -1.13 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 149 | 0.17 | 0.183 | 0.18 | 0.178 | -0.63 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 106 | 0.18 | 0.18 | 0.19 | 0.183 | -0.4 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 170 | 0.1847 | 0.1832 | 0.183 | 0.184 | -0.39 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.60 | NIR |  | 187 | 0.185 |  |  | 0.185 |  |  |  |  | 1 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 196 | 0.174 | 0.19 | 0.19 | 0.185 | -0.35 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 113 | 0.184 | 0.187 | 0.184 | 0.185 | -0.33 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 103 | 0.195 | 0.182 | 0.177 | 0.185 | -0.35 | 0.1931 | 34 | 0.0246 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 142 | 0.199 | 0.188 | 0.19 | 0.192 | -0.03 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | 0.1919 | 0.1762 | 0.2089 | 0.192 | -0.03 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 141 | 0.1782 | 0.195 | 0.205 | 0.193 | -0.02 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.21 | 0.19 | 0.19 | 0.197 | 0.14 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 125 | 0.208 | 0.196 | 0.187 | 0.197 | 0.16 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 120 | 0.2106 | 0.1838 | 0.1967 | 0.197 | 0.16 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.1878 | 0.211 | 0.1953 | 0.198 | 0.2 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.2019 | 0.1993 | 0.2009 | 0.201 | 0.31 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 191 | 0.2069 | 0.1945 | 0.2007 | 0.201 | 0.31 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 165 | 0.1931 | 0.2057 | 0.212 | 0.204 | 0.43 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.2038 | 0.2072 | 0.2036 | 0.205 | 0.48 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 217 | 0.2013 | 0.2103 | 0.2052 | 0.206 | 0.51 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.2144 | 0.2032 | 0.2036 | 0.207 | 0.57 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 215 | 0.2096 | 0.2069 | 0.2099 | 0.209 | 0.64 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.2007 | 0.2201 | 0.2156 | 0.212 | 0.77 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.2227 | 0.2095 | 0.2085 | 0.214 | 0.83 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.217 | 0.2145 | 0.2145 | 0.215 | 0.9 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.2357 | 0.193 | 0.234 | 0.221 | 1.13 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 164 | 0.2209 | 0.2426 | 0.2231 | 0.229 | 1.45 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.23 | 0.23 | 0.23 | 0.23 | 1.5 | 0.1931 | 34 | 0.0246 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.2396 | 0.237 | 0.234 | 0.237 | 1.78 | 0.1931 | 34 | 0.0246 | 0 |

Population of Lab Values

| Analyte | Code |  | Method | Lab Num |  | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Δ9-THCA (%AR) |  |  |  |  |  |  |  |  |  |  |
| Δ9-THCA (%AR) |  | 002.99 | Other |  | 215 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%AR) |  | 002.02 | AOAC 2018.11, U |  | 161 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 197 | <0.0761 | <0.0735 | <0.0739 | <0.0761 |  |  |  |  | 1 |
| Δ9-THCA (%AR) |  | 002.30 | Other LC-MS |  | 102 | 0.015 | 0.008 | 0.014 | 0.0123 | -3.75 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) |  | 002.60 | NIR |  | 187 | 0.033 |  |  | 0.033 |  |  |  |  | 1 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 192 | 0.0522 | 0.0131 | 0 | 0.0327 | -1.95 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 142 | 0.0391 | 0.0366 | 0.0366 | 0.0374 | -1.53 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 225 | 0.0381 | 0.0411 | 0.0309 | 0.0367 | -1.59 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 196 | 0.039 | 0.043 | 0.043 | 0.0417 | -1.15 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 182 | 0.0399 | 0.0428 | 0.042 | 0.0416 | -1.16 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) |  | 002.02 | AOAC 2018.11, U |  | 199 | 0.05 | 0.048 | 0.053 | 0.0503 | -0.39 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 191 | 0.0509 | 0.0501 | 0.0505 | 0.0505 | -0.37 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 106 | 0.05 | 0.05 | 0.05 | 0.05 | -0.41 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) |  | 002.02 | AOAC 2018.11, U |  | 103 | 0.052 | 0.0502 | 0.053 | 0.0517 | -0.26 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 113 | 0.052 | 0.055 | 0.05 | 0.0523 | -0.21 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 149 | 0.05 | 0.055 | 0.052 | 0.0523 | -0.21 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 189 | 0.0534 | 0.0536 | 0.053 | 0.0533 | -0.12 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 163 | 0.0573 | 0.048 | 0.057 | 0.0541 | -0.05 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) |  | 002.02 | AOAC 2018.11, U |  | 120 | 0.0513 | 0.0547 | 0.0571 | 0.0544 | -0.03 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 170 | 0.0518 | 0.0559 | 0.0552 | 0.0543 | -0.03 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 184 | 0.0574 | 0.0547 | 0.0518 | 0.0546 | 0 | 0.0547 | 31 | 0.0113 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.054 | 0.0607 | 0.0531 | 0.0559 | 0.11 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 155 | 0.06 | 0.063 | 0.048 | 0.057 | 0.2 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.057 | 0.057 | 0.058 | 0.0573 | 0.23 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 217 | 0.0592 | 0.0599 | 0.0579 | 0.059 | 0.38 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.06 | 0.06 | 0.056 | 0.0587 | 0.35 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 148 | 0.062 | 0.057 | 0.06 | 0.0597 | 0.44 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0612 | 0.0612 | 0.0647 | 0.0624 | 0.68 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 165 | 0.0618 | 0.0628 | 0.0633 | 0.0626 | 0.7 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | 0.0633 | 0.063 | 0.0632 | 0.0632 | 0.75 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | 0.0594 | 0.0697 | 0.0624 | 0.0638 | 0.81 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.0721 | 0.067 | 0.067 | 0.0687 | 1.24 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 164 | 0.072 | 0.0767 | 0.0747 | 0.0745 | 1.75 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 141 | 0.0808 | 0.0722 | 0.076 | 0.0763 | 1.91 | 0.0547 | 31 | 0.0113 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | 0.0779 | 0.086 | 0.0757 | 0.0799 | 2.23 | 0.0547 | 31 | 0.0113 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.60 | NIR | 187 | 2.938 |  |  | 2.94 |  |  |  |  | 1 |
| CBD (%AR) | 003.10 | Other LC-UV | 155 | 3.27 | 3.05 | 3.19 | 3.17 | -3.25 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 161 | 3.2904 | 3.5421 | 3.8506 | 3.56 | -1.73 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 103 | 3.922 | 3.634 | 3.552 | 3.7 | -1.18 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 3.518 | 3.835 | 3.891 | 3.75 | -1.01 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.99 | Other | 215 | 3.7877 | 3.9167 | 3.7237 | 3.81 | -0.77 | 4.0083 | 24 | 0.2583 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 3.8136 | 3.835 | 3.8103 | 3.82 | -0.73 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 3.835 | 3.961 | 3.741 | 3.85 | -0.63 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 3.723 | 3.893 | 4 | 3.87 | -0.53 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 191 | 3.9807 | 3.782 | 3.8813 | 3.88 | -0.49 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 3.87 | 3.95 | 3.99 | 3.94 | -0.28 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 4.01 | 3.84 | 4 | 3.95 | -0.23 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 4.1022 | 3.9098 | 4.1174 | 4.04 | 0.13 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 4.0775 | 3.991 | 4.048 | 4.04 | 0.12 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 4.0793 | 4.1068 | 3.969 | 4.05 | 0.17 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 170 | 4.0355 | 4.0782 | 4.0732 | 4.06 | 0.21 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 4.18 | 4.11 | 4.05 | 4.11 | 0.41 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 4.3707 | 3.8473 | 4.188 | 4.14 | 0.49 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 113 | 4.21 | 4.01 | 4.28 | 4.17 | 0.61 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 141 | 3.8982 | 4.1217 | 4.6135 | 4.21 | 0.79 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 164 | 4.1105 | 4.4819 | 4.0814 | 4.22 | 0.84 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 4.2567 | 4.4948 | 4.0768 | 4.28 | 1.04 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 4.3079 | 4.2916 | 4.2997 | 4.3 | 1.13 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 4.2873 | 4.4167 | 4.4158 | 4.37 | 1.41 | 4.0083 | 24 | 0.2583 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 4.6478 | 4.5219 | 4.7161 | 4.63 | 2.4 | 4.0083 | 24 | 0.2583 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.10 | Other LC-UV | 155 | 3.16 | 3.05 | 3.19 | 3.13 | -2.19 | 4.1402 | 23 | 0.4597 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 3.63 | 3.43 | 3.53 | 3.53 | -1.33 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 161 | 3.2496 | 3.5415 | 3.8714 | 3.55 | -1.27 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.99 | Other | 215 | 3.6058 | 3.6978 | 3.4893 | 3.6 | -1.18 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.60 | NIR | 187 | 3.72 |  |  | 3.72 |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 3.7139 | 3.7278 | 3.7101 | 3.72 | -0.92 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 3.543 | 3.805 | 3.873 | 3.74 | -0.87 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 4.2178 | 3.787 | 3.6468 | 3.88 | -0.56 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 3.94 | 3.92 | 3.99 | 3.95 | -0.41 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 3.842 | 4.012 | 4.171 | 4.01 | -0.29 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 103 | 4.234 | 4.083 | 3.873 | 4.06 | -0.17 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 141 | 3.7813 | 4.0818 | 4.3628 | 4.08 | -0.14 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 4.1766 | 4.3284 | 4.3005 | 4.27 | 0.28 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | 4.05 | 4.47 | 4.43 | 4.32 | 0.38 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 4.3475 | 4.2705 | 4.3415 | 4.32 | 0.39 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 4.3419 | 4.3314 | 4.3376 | 4.34 | 0.43 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 4.3951 | 4.6211 | 4.0208 | 4.35 | 0.45 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 4.474 | 4.487 | 4.245 | 4.4 | 0.57 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 191 | 4.5924 | 4.3048 | 4.4486 | 4.45 | 0.67 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 4.5128 | 4.5543 | 4.3614 | 4.48 | 0.73 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 4.382 | 4.8312 | 4.4522 | 4.56 | 0.9 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 170 | 4.6995 | 4.4242 | 4.877 | 4.67 | 1.15 | 4.1402 | 23 | 0.4597 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 4.599 | 4.2647 | 5.198 | 4.69 | 1.19 | 4.1402 | 23 | 0.4597 | 0 |

Population of Lab Values

Lab

Lab

Population of Lab Values

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.30 | Other LC-MS | 164 | 5.5904 | 6.0228 | 5.5937 | 5.74 | 3.47 | 4.1402 | 23 | 0.4597 | 0 |

| CBN (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.30 | GC-FID | 116 | <0.0400 | <0.0400 | <0.0400 | <0.0400 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | <0.0761 | <0.0735 | <0.0739 | <0.0761 |  |  |  |  | 1 |
| CBN (%AR) | 005.30 | GC-FID | 192 | 0.0216 | 0.0214 | 0.0233 | 0.0221 | -1.15 | 0.0306 | 16 | 0.0074 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | 0.0243 | 0.023 | 0.024 | 0.0238 | -0.92 | 0.0306 | 16 | 0.0074 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | 0.024 | 0.023 | 0.0245 | 0.0238 | -0.92 | 0.0306 | 16 | 0.0074 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.0231 | 0.0244 | 0.025 | 0.0242 | -0.87 | 0.0306 | 16 | 0.0074 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | <0.0200 | 0.0343 | <0.0200 | 0.0248 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | 0.025 | 0.027 | 0.025 | 0.0257 | -0.67 | 0.0306 | 16 | 0.0074 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.029 | 0.0261 | 0.0295 | 0.0282 | -0.32 | 0.0306 | 16 | 0.0074 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | 0.027 | 0.03 | 0.029 | 0.0287 | -0.26 | 0.0306 | 16 | 0.0074 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0307 | 0.0234 | 0.0333 | 0.0291 | -0.2 | 0.0306 | 16 | 0.0074 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.03 | 0.03 | 0.03 | 0.03 | -0.08 | 0.0306 | 16 | 0.0074 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.029 | 0.0293 | 0.0308 | 0.0297 | -0.12 | 0.0306 | 16 | 0.0074 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 141 | 0.0236 | 0.0377 | 0.0328 | 0.0314 | 0.1 | 0.0306 | 16 | 0.0074 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 122 | 0.0332 | 0.0327 | 0.0329 | 0.0329 | 0.32 | 0.0306 | 16 | 0.0074 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 107 | 0.021 | 0.044 | 0.04 | 0.035 | 0.6 | 0.0306 | 16 | 0.0074 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | 0.0477 | 0.0548 | 0.0488 | 0.0504 | 2.68 | 0.0306 | 16 | 0.0074 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 125 | 0.0508 | 0.0513 | 0.0484 | 0.0502 | 2.65 | 0.0306 | 16 | 0.0074 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.065 | 0.0577 | 0.044 | 0.0556 | 3.38 | 0.0306 | 16 | 0.0074 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.0822 | 0.083 | 0.0853 | 0.0835 | -4.57 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 192 | 0.123 | 0.1247 | 0.1298 | 0.126 | -3.33 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 161 | 0.1529 | 0.1573 | 0.1676 | 0.159 | -2.35 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.2071 | 0.1614 | 0.1415 | 0.17 | -2.04 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 225 | 0.1765 | 0.1914 | 0.1489 | 0.172 | -1.97 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.1919 | 0.1762 | 0.2089 | 0.192 | -1.39 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 182 | 0.1958 | 0.199 | 0.1973 | 0.197 | -1.24 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 155 | 0.223 | 0.2 | 0.217 | 0.213 | -0.77 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 148 | 0.224 | 0.209 | 0.219 | 0.217 | -0.65 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 187 | 0.218 |  |  | 0.218 |  |  |  |  | 1 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.208 | 0.228 | 0.227 | 0.221 | -0.55 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.213 | 0.231 | 0.226 | 0.223 | -0.48 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.233 | 0.22 | 0.222 | 0.225 | -0.43 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.2296 | 0.2449 | 0.2065 | 0.227 | -0.37 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.2265 | 0.229 | 0.226 | 0.227 | -0.37 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.2406 | 0.2276 | 0.2235 | 0.231 | -0.27 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.2388 | 0.2403 | 0.2298 | 0.236 | -0.1 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.2543 | 0.231 | 0.2354 | 0.24 | 0.02 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.249 | 0.2406 | 0.2366 | 0.242 | 0.07 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 191 | 0.2515 | 0.2384 | 0.2449 | 0.245 | 0.15 | 0.2397 | 39 | 0.0342 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 120 | 0.2556 | 0.2317 | 0.2468 | 0.245 | 0.15 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.2352 | 0.2642 | 0.2419 | 0.247 | 0.22 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.26 | 0.24 | 0.24 | 0.247 | 0.2 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.241 | 0.221 | 0.282 | 0.248 | 0.24 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.2507 | 0.2542 | 0.2501 | 0.252 | 0.35 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.2574 | 0.2546 | 0.2562 | 0.256 | 0.48 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 217 | 0.2532 | 0.2628 | 0.2559 | 0.257 | 0.52 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 165 | 0.2473 | 0.2608 | 0.2675 | 0.259 | 0.55 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.2609 | 0.2566 | 0.261 | 0.259 | 0.58 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 141 | 0.2491 | 0.2583 | 0.2717 | 0.26 | 0.59 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 190 | 0.262 | 0.26 |  | 0.261 | 0.62 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.2867 | 0.2053 | 0.293 | 0.262 | 0.64 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.2631 | 0.2511 | 0.2767 | 0.264 | 0.7 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.277 | 0.271 | 0.253 | 0.267 | 0.8 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.2528 | 0.2812 | 0.2703 | 0.268 | 0.83 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.2859 | 0.2683 | 0.2672 | 0.274 | 1 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 128 | 0.277 | 0.2781 | 0.2817 | 0.279 | 1.15 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.283 | 0.283 | 0.279 | 0.282 | 1.23 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.2933 | 0.2907 | 0.2908 | 0.292 | 1.52 | 0.2397 | 39 | 0.0342 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 164 | 0.284 | 0.3099 | 0.2886 | 0.294 | 1.6 | 0.2397 | 39 | 0.0342 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.40 | GC-FID | 192 | 4.7365 | 4.8413 | 4.8642 | 4.81 | -3.3 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 107 | 5.512 | 5.316 | 5.371 | 5.4 | -2.58 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 155 | 6.04 | 5.79 | 6.2 | 6.01 | -1.83 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 187 | 6.203 |  |  | 6.2 |  |  |  |  | 1 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 6.5304 | 6.3469 | 6.7961 | 6.56 | -1.15 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 161 | 6.1403 | 6.648 | 7.2458 | 6.68 | -1 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 6.625 | 7.172 | 7.287 | 7.03 | -0.57 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 7.19 | 6.85 | 7.1 | 7.05 | -0.55 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 7.0707 | 7.1043 | 7.0641 | 7.08 | -0.5 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 7.8012 | 7.231 | 6.7433 | 7.26 | -0.28 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 103 | 7.6352 | 7.2148 | 6.9486 | 7.27 | -0.27 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 7.092 | 7.411 | 7.658 | 7.39 | -0.12 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 7.9657 | 6.6963 | 7.6497 | 7.44 | -0.06 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 7.4102 | 7.4148 | 7.6802 | 7.5 | 0.02 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 191 | 8.008 | 7.557 | 7.782 | 7.78 | 0.36 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 8.0095 | 7.7115 | 7.6085 | 7.78 | 0.36 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 141 | 7.2144 | 7.7014 | 8.4397 | 7.79 | 0.37 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 7.8903 | 7.7362 | 7.855 | 7.83 | 0.42 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 7.74 | 8.03 | 7.93 | 7.9 | 0.51 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 8.1009 | 8.1 | 7.7939 | 8 | 0.63 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 8.1121 | 8.5484 | 7.6038 | 8.09 | 0.74 | 7.488 | 25 | 0.8098 | 0 |

Population of Lab Values

| Analyte Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 8.1157 | 8.0745 | 8.1038 | 8.1 | 0.75 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 7.9502 | 8.2127 | 8.1873 | 8.12 | 0.78 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 8.5946 | 8.2748 | 8.4537 | 8.44 | 1.18 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 8.4908 | 8.7589 | 8.6207 | 8.62 | 1.4 | 7.488 | 25 | 0.8098 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 164 | 9.0133 | 9.7639 | 8.9871 | 9.25 | 2.18 | 7.488 | 25 | 0.8098 | 0 |

Population of Lab Values

|  |  |  | CBDV (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 197 | <0.0761 | <0.0735 | <0.0739 | <0.0761 | 1 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0162 | 0.017 | 0.0164 | 0.0165 | 0 |
| CBDV (%AR) | 008.99 | Other | 196 | 0.0205 | 0.022 | 0.022 | 0.0215 | 0 |
| CBDV (%AR) | 008.99 | Other | 142 | 0.0303 | 0.0282 | 0.0306 | 0.0297 | 0 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.06 | 0.05 | 0.06 | 0.0567 | 0 |

|  |  |  | CBDVA (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 197 | <0.0761 | <0.0735 | <0.0739 | <0.0761 | 1 |
| CBDVA (%AR) | 009.99 | Other | 142 | 0.0316 | 0.0298 | 0.0304 | 0.0306 | 0 |
| CBDVA (%AR) | 009.99 | Other | 196 | 0.029 | 0.032 | 0.032 | 0.031 | 0 |
| CBDVA (%AR) | 009.99 | Other | 149 | 0.079 | 0.098 | 0.083 | 0.0867 | 0 |

|  |  |  | CBG (%AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 197 | 0.1391 | 0.1422 | 0.1567 | 0.146 | -1.55 | 0.1963 | 10 | 0.0324 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.165 | 0.159 | 0.156 | 0.16 | -1.12 | 0.1963 | 10 | 0.0324 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 189 | 0.1888 | 0.1884 | 0.1883 | 0.189 | -0.24 | 0.1963 | 10 | 0.0324 | 0 |
| CBG (%AR) | 010.99 | Other | 141 | 0.193 | 0.1949 | 0.1815 | 0.19 | -0.2 | 0.1963 | 10 | 0.0324 | 0 |
| CBG (%AR) | 010.99 | Other | 142 | 0.196 | 0.187 | 0.196 | 0.193 | -0.1 | 0.1963 | 10 | 0.0324 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 103 | 0.194 | 0.197 | 0.197 | 0.196 | -0.01 | 0.1963 | 10 | 0.0324 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.2 | 0.21 | 0.21 | 0.207 | 0.32 | 0.1963 | 10 | 0.0324 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.196 | 0.223 | 0.212 | 0.21 | 0.43 | 0.1963 | 10 | 0.0324 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.237 | 0.232 | 0.209 | 0.226 | 0.92 | 0.1963 | 10 | 0.0324 | 0 |
| CBG (%AR) | 010.99 | Other | 155 | 0.294 | 0.291 | 0.312 | 0.299 | 3.17 | 0.1963 | 10 | 0.0324 | 0 |
|  |  |  |  | CBGA (%AR) |  |  |  |  |  |  |  |  |
| CBGA (%AR) | 011.99 | Other | 141 | 0.2181 | 0.2128 | 0.2197 | 0.217 | -2.21 | 0.275 | 9 | 0.0263 | 0 |
| CBGA (%AR) | 011.99 | Other | 142 | 0.261 | 0.253 | 0.252 | 0.255 | -0.75 | 0.275 | 9 | 0.0263 | 0 |
| CBGA (%AR) | 011.99 | Other | 106 | 0.26 | 0.26 | 0.26 | 0.26 | -0.57 | 0.275 | 9 | 0.0263 | 0 |
| CBGA (%AR) | 011.99 | Other | 196 | 0.257 | 0.274 | 0.28 | 0.27 | -0.18 | 0.275 | 9 | 0.0263 | 0 |
| CBGA (%AR) | 011.99 | Other | 197 | 0.2934 | 0.2676 | 0.269 | 0.277 | 0.06 | 0.275 | 9 | 0.0263 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 103 | 0.291 | 0.281 | 0.276 | 0.283 | 0.29 | 0.275 | 9 | 0.0263 | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.2845 | 0.2839 | 0.2881 | 0.285 | 0.4 | 0.275 | 9 | 0.0263 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | 0.316 | 0.285 | 0.283 | 0.295 | 0.75 | 0.275 | 9 | 0.0263 | 0 |
| CBGA (%AR) | 011.99 | Other | 149 | 0.294 | 0.325 | 0.324 | 0.314 | 1.5 | 0.275 | 9 | 0.0263 | 0 |
|  |  |  |  | THCV (%AR) |  |  |  |  |  |  |  |  |
| THCV (%AR) | 012.99 | Other | 142 | <0.0022 <0.0022 <0.0022 |  |  | <0.0022 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 149 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 197 | <0.0761 | <0.0735 | <0.0739 | <0.0761 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 189 | <0.0050 | 0.005 | 0.0043 | 0.0048 |  |  |  |  | 0 |

Population of Lab Values

|  |  |  | Δ8-THC (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 | <0.0022 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 141 | <0.0120 | <0.0120 | <0.0120 | <0.0120 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | <0.0250 | <0.0250 | <0.0250 | <0.0250 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0761 | <0.0735 | <0.0739 | <0.0761 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0066 | 0.0068 | 0.008 | 0.0071 | 0 |

|  |  |  | CBC (%AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 155 | 0.205 | 0.19 | 0.196 | 0.197 | -1.95 | 0.2257 | 8 | 0.0147 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.2132 | 0.2176 | 0.2118 | 0.214 | -0.78 | 0.2257 | 8 | 0.0147 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.209 | 0.219 | 0.226 | 0.218 | -0.53 | 0.2257 | 8 | 0.0147 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.216 | 0.234 | 0.233 | 0.228 | 0.13 | 0.2257 | 8 | 0.0147 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.2277 | 0.2291 | 0.2278 | 0.228 | 0.17 | 0.2257 | 8 | 0.0147 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.23 | 0.23 | 0.24 | 0.233 | 0.52 | 0.2257 | 8 | 0.0147 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.248 | 0.238 | 0.232 | 0.239 | 0.93 | 0.2257 | 8 | 0.0147 | 0 |
| CBC (%AR) | 014.99 | Other | 142 | 0.288 | 0.214 | 0.222 | 0.241 | 1.06 | 0.2257 | 8 | 0.0147 | 0 |
|  |  |  |  | Cd (ug/g AR) |  |  |  |  |  |  |  |  |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 141 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | 0.113 | 0.127 | 0.128 | 0.123 |  |  |  |  | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.127 | 0.123 | 0.126 | 0.125 |  |  |  |  | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.1509 | 0.1583 | 0.1515 | 0.154 |  |  |  |  | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.158 | 0.156 | 0.157 | 0.157 |  |  |  |  | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | 0.1662 | 0.1541 | 0.1654 | 0.162 |  |  |  |  | 0 |
|  |  |  |  | As (ug/g AR) |  |  |  |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 | <0.0800 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0977 | <0.0982 | <0.0958 | <0.0977 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 141 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.0507 | 0.0449 | 0.0448 | 0.0468 |  |  |  |  | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | 0.0534 | 0.0531 | 0.0482 | 0.0516 |  |  |  |  | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | 0.06 | 0.072 | 0.053 | 0.0617 |  |  |  |  | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Hg (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | <0.0070 | <0.0070 | <0.0070 | <0.0070 | 1 |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 | <0.0800 | 1 |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0977 | <0.0982 | <0.0958 | <0.0977 | 1 |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 141 | <0.1000 | <0.1000 | <0.1000 | <0.1000 | 1 |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 | 1 |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 102 | 0.0049 | 0.0048 | 0.0051 | 0.0049 | 0 |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | 0.0141 | 0.0146 | 0.0096 | 0.0128 | 0 |  |  |  |  |

Population of Lab Values

|  |  |  | Pb (ug/g AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | 0.44 | 0.558 | 0.401 | 0.466 | -1.36 | 0.5357 | 7 | 0.0511 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | 0.5478 | 0.4964 | 0.4951 | 0.513 | -0.44 | 0.5357 | 7 | 0.0511 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.4991 | 0.5221 | 0.5349 | 0.519 | -0.33 | 0.5357 | 7 | 0.0511 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 0.5089 | 0.5797 | 0.5054 | 0.531 | -0.09 | 0.5357 | 7 | 0.0511 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | 0.519 | 0.571 | 0.567 | 0.552 | 0.33 | 0.5357 | 7 | 0.0511 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.545 | 0.574 | 0.548 | 0.556 | 0.39 | 0.5357 | 7 | 0.0511 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 141 | 0.674 | 0.591 | 0.661 | 0.642 | 2.08 | 0.5357 | 7 | 0.0511 | 0 |

|  |  |  | Cu (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | 9.13 | 9.59 | 9.07 | 9.26 | 0 |
| Cu (ug/g AR) | 105.04 | ICP-MS | 142 | 15.1 | 15.1 | 15.2 | 15.1 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Ni (ug/g AR) |  |  |  |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | 0.823 | 0.889 | 0.864 | 0.859 |  |  |  |  | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 142 | 0.861 | 0.909 | 0.938 | 0.903 |  |  |  |  | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 141 | 1.11 | 1.15 | 1.12 | 1.13 |  |  |  |  | 0 |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | <2.0000 | <2.0000 | <2.0000 | <2.0000 |  |  |  |  | 1 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 141 | <4.0000 | <4.0000 | <4.0000 | <4.0000 |  |  |  |  | 1 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | 0.479 | 0.481 | 0.511 | 0.49 |  |  |  |  | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | 0.645 | 0.601 | 0.575 | 0.607 |  |  |  |  | 0 |
|  |  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | <0.0960 | <0.0960 | <0.0960 | <0.0960 |  |  |  |  | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | <0.0977 | <0.0982 | <0.0958 | <0.0977 |  |  |  |  | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 141 | <1.0000 | <1.0000 | <1.0000 | <1.0000 |  |  |  |  | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | 0.052 | 0.0481 | 0.043 | 0.0477 |  |  |  |  | 0 |
|  |  |  |  | Ag (ug/g AR) |  |  |  |  |  |  |  |  |
| Ag (ug/g AR) | 109.04 | ICP-MS | 142 | 0.0154 | 0.013 | 0.0117 | 0.0134 |  |  |  |  | 0 |
|  |  |  |  | Ba (ug/g AR) |  |  |  |  |  |  |  |  |
| Ba (ug/g AR) | 110.04 | ICP-MS | 142 | 0.1505 | 0.124 | 0.1164 | 0.13 |  |  |  |  | 0 |

Population of Lab Values

| Analyte Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Population of Lab Values

|  |  |  | Zn (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 53.7 | 58.5 | 57.9 | 56.7 | 0 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 141 | 67 | 71.4 | 67 | 68.5 | 0 |

Sb (ug/g AR)

Sb (ug/g AR)

112.04	ICP-MS

196

<0.0240  <0.0240	<0.0240	<0.0240	1

|  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0279 | 0.0324 | 0.0257 | 0.0287 | 0 |
| (-)-alpha-Bisabolol (%A | 201.01 | GC,FID | 142 | 0.096 | 0.0929 | 0.0941 | 0.0943 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | 0.1063 | 0.0978 | 0.0954 | 0.0998 | 0 |

|  |  |  | beta-Caryophyllene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | <0.0650 | <0.0650 | <0.0650 | <0.0650 | 1 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0396 | 0.0432 | 0.0403 | 0.041 | 0 |
| beta-Caryophyllene (% | 202.01 | GC,FID | 142 | 0.0559 | 0.0531 | 0.0505 | 0.0532 | 0 |

|  |  |  | (-)-Caryophyllene oxide (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | <0.0650 <0.0650 <0.0650 |  |  | <0.0650 | 1 |
| (-)-Caryophyllene oxide | 203.01 | GC,FID | 142 | 0.0222 | 0.021 | 0.0212 | 0.0215 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Geraniol (%AR) |  |  |  |  |  |  |  |  |
| Geraniol (%AR) | 204.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.0650 | <0.0650 | <0.0650 | <0.0650 |  |  |  |  | 1 |
|  |  |  |  | alpha-Humulene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | <0.0650 | <0.0650 | <0.0650 | <0.0650 |  |  |  |  | 1 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.0172 | 0.0183 | 0.0151 | 0.0169 |  |  |  |  | 0 |
| alpha-Humulene (%AR) | 205.01 | GC,FID | 142 | 0.0301 | 0.0283 | 0.0284 | 0.0289 |  |  |  |  | 0 |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | Linalool (%AR) |  |  |  |  |  |  |  |  |
| Linalool (%AR) | 207.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 196 | 0.0016 | 0.0018 | 0.0016 | 0.0017 |  |  |  |  | 0 |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.01 | GC,FID | 142 | <0.0005 <0.0005 <0.0005 |  |  | <0.0005 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | 0.0015 | 0.0018 | 0.0015 | 0.0016 |  |  |  |  | 0 |

Population of Lab Values

Nopinene (%AR)

Nopinene (%AR)

209.01	GC,FID

142

<0.0005  <0.0005	<0.0005	<0.0005	1

|  |  |  | Ocimene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ocimene (%AR) | 210.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

|  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Pinene (%AR) | 211.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0013 <0.0013 <0.0013 | <0.0013 | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 | <0.0100 | 1 |

alpha-Terpinene (%AR)

alpha-Terpinene (%AR)

213.01	GC,FID

142

<0.0005  <0.0005	<0.0005	<0.0005	1

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |

Population of Lab Values

|  |  |  | gamma-Terpinene (%AR) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0013 <0.0013 <0.0013 | <0.0013 | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 | <0.0100 | 1 |

|  |  |  | alpha-Terpinolene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinolene (%A | 215.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

| Moisture (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 5.93 | 5.94 | 5.61 | 5.83 | -1.92 | 9.0509 | 16 | 1.6775 | 0 |
| Moisture (%AR) | 500.99 | Other | 142 | 7.3 | 7.5 | 6.9 | 7.23 | -1.08 | 9.0509 | 16 | 1.6775 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 189 | 7.227 | 7.227 | 7.227 | 7.23 | -1.09 | 9.0509 | 16 | 1.6775 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 7.61 | 7.61 | 7.52 | 7.58 | -0.88 | 9.0509 | 16 | 1.6775 | 0 |
| Moisture (%AR) | 500.99 | Other | 103 | 7.65 | 7.76 | 7.7 | 7.7 | -0.8 | 9.0509 | 16 | 1.6775 | 0 |
| Moisture (%AR) | 500.72 | NIR | 138 | 8.7 | 8.6 | 8.5 | 8.6 | -0.27 | 9.0509 | 16 | 1.6775 | 0 |
| Moisture (%AR) | 500.72 | NIR | 187 | 8.75 |  |  | 8.75 |  |  |  |  | 1 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 8.89 | 8.9 | 8.7 | 8.83 | -0.13 | 9.0509 | 16 | 1.6775 | 0 |
| Moisture (%AR) | 500.99 | Other | 120 | 9.6294 | 9.1444 | 9.1953 | 9.32 | 0.16 | 9.0509 | 16 | 1.6775 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 182 | 9.23 | 9.38 | 9.7 | 9.44 | 0.23 | 9.0509 | 16 | 1.6775 | 0 |
| Moisture (%AR) | 500.99 | Other | 215 | 9.2709 | 9.7721 | 9.6912 | 9.58 | 0.31 | 9.0509 | 16 | 1.6775 | 0 |
| Moisture (%AR) | 500.99 | Other | 165 | 9.702 | 9.4699 | 9.7603 | 9.64 | 0.35 | 9.0509 | 16 | 1.6775 | 0 |
| Moisture (%AR) | 500.99 | Other | 102 | 9.8 | 9.7 | 9.5 | 9.67 | 0.37 | 9.0509 | 16 | 1.6775 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 10.85 | 10.27 | 9.71 | 10.3 | 0.73 | 9.0509 | 16 | 1.6775 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 162 | 10.48 | 9.71 | 10.89 | 10.4 | 0.78 | 9.0509 | 16 | 1.6775 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 10.9406 | 11.5734 | 11.2471 | 11.3 | 1.31 | 9.0509 | 16 | 1.6775 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 12.2594 | 12.4358 | 12.0523 | 12.2 | 1.91 | 9.0509 | 16 | 1.6775 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 103 | 0.2112 | 0.1973 | 0.1918 | 0.2 | -1.18 | 0.2284 | 10 | 0.024 | 0 |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 210 | 0.207 | 0.203 | 0.203 | 0.204 | -1 | 0.2284 | 10 | 0.024 | 0 |
| Δ9-THC (%DW) | 501.60 | NIR | 187 | 0.205 |  |  | 0.205 |  |  |  |  | 1 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 120 | 0.2331 | 0.2019 | 0.2166 | 0.217 | -0.47 | 0.2284 | 10 | 0.024 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 162 | 0.2143 | 0.2127 | 0.2303 | 0.219 | -0.39 | 0.2284 | 10 | 0.024 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.2197 | 0.2234 | 0.2195 | 0.221 | -0.31 | 0.2284 | 10 | 0.024 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 165 | 0.2138 | 0.2272 | 0.2349 | 0.225 | -0.13 | 0.2284 | 10 | 0.024 | 0 |
| Δ9-THC (%DW) | 501.99 | Other | 215 | 0.2316 | 0.2285 | 0.2319 | 0.231 | 0.1 | 0.2284 | 10 | 0.024 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 199 | 0.2473 | 0.245 | 0.2439 | 0.245 | 0.71 | 0.2284 | 10 | 0.024 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.2593 | 0.2565 | 0.2532 | 0.256 | 1.17 | 0.2284 | 10 | 0.024 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.306 | 0.334 | 0.322 | 0.321 | 3.85 | 0.2284 | 10 | 0.024 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%DW) | 502.60 | NIR | 187 | 0.033 |  |  | 0.033 |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 210 | 0.055 | 0.058 | 0.055 | 0.056 | -0.87 | 0.0621 | 9 | 0.007 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 103 | 0.0563 | 0.0564 | 0.0574 | 0.0567 | -0.77 | 0.0621 | 9 | 0.007 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.0576 | 0.0578 | 0.0572 | 0.0575 | -0.65 | 0.0621 | 9 | 0.007 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 199 | 0.057 | 0.0548 | 0.0603 | 0.0574 | -0.68 | 0.0621 | 9 | 0.007 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 120 | 0.0568 | 0.0601 | 0.0629 | 0.0599 | -0.31 | 0.0621 | 9 | 0.007 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 162 | 0.0603 | 0.064 | 0.0621 | 0.0621 | 0 | 0.0621 | 9 | 0.007 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0662 | 0.0662 | 0.0701 | 0.0675 | 0.77 | 0.0621 | 9 | 0.007 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 165 | 0.0684 | 0.0693 | 0.0701 | 0.0693 | 1.02 | 0.0621 | 9 | 0.007 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | 0.316 | 0.021 | 0.062 | 0.133 | 10.11 | 0.0621 | 9 | 0.007 | 0 |
|  |  |  |  | CBD (%DW) |  |  |  |  |  |  |  |  |
| CBD (%DW) | 503.60 | NIR | 187 | 3.22 |  |  | 3.22 |  |  |  |  | 1 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 103 | 4.2469 | 3.9397 | 3.8483 | 4.01 | -0.98 | 4.3257 | 7 | 0.3194 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 189 | 4.1107 | 4.1338 | 4.1071 | 4.12 | -0.65 | 4.3257 | 7 | 0.3194 | 0 |
| CBD (%DW) | 503.99 | Other | 215 | 4.1848 | 4.3273 | 4.095 | 4.2 | -0.39 | 4.3257 | 7 | 0.3194 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 162 | 4.303 | 4.2779 | 4.0606 | 4.21 | -0.35 | 4.3257 | 7 | 0.3194 | 0 |
| CBD (%DW) | 503.01 | AOAC 2018.10 | 210 | 4.331 | 4.323 | 4.329 | 4.33 | 0.01 | 4.3257 | 7 | 0.3194 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 199 | 4.6472 | 4.5578 | 4.6027 | 4.6 | 0.87 | 4.3257 | 7 | 0.3194 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 5.0295 | 4.8928 | 5.1029 | 5.01 | 2.14 | 4.3257 | 7 | 0.3194 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| CBDA (%DW) | 504.99 | Other | 215 | 3.9839 | 4.0855 | 3.7994 | 3.96 | -1.07 | 4.484 | 7 | 0.4942 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 4.0032 | 4.0182 | 3.9991 | 4.01 | -0.97 | 4.484 | 7 | 0.4942 | 0 |
| CBDA (%DW) | 504.60 | NIR | 187 | 4.078 |  |  | 4.08 |  |  |  |  | 1 |
| CBDA (%DW) | 504.10 | Other LC-UV | 162 | 4.3718 | 4.3016 | 4.0969 | 4.26 | -0.46 | 4.484 | 7 | 0.4942 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 103 | 4.5847 | 4.4265 | 4.1961 | 4.4 | -0.16 | 4.484 | 7 | 0.4942 | 0 |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 210 | 4.982 | 4.851 | 4.908 | 4.91 | 0.87 | 4.484 | 7 | 0.4942 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 199 | 4.9549 | 4.877 | 4.9365 | 4.92 | 0.89 | 4.484 | 7 | 0.4942 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 4.7419 | 5.2274 | 4.8174 | 4.93 | 0.9 | 4.484 | 7 | 0.4942 | 0 |
|  |  |  |  | CBN (%DW) |  |  |  |  |  |  |  |  |
| CBN (%DW) | 505.01 | AOAC 2018.10 | 210 | <0.0230 | <0.0240 | <0.0230 | <0.0230 |  |  |  |  | 1 |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 199 | 0.0274 | 0.0263 | 0.0279 | 0.0272 | -1.18 | 0.0322 | 6 | 0.0043 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0312 | 0.0281 | 0.0318 | 0.0304 | -0.44 | 0.0322 | 6 | 0.0043 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 162 | 0.0316 | 0.0306 | 0.0324 | 0.0315 | -0.16 | 0.0322 | 6 | 0.0043 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.0344 | 0.0265 | 0.0376 | 0.0328 | 0.14 | 0.0322 | 6 | 0.0043 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 116 | 0.0289 | 0.0355 | 0.034 | 0.0328 | 0.13 | 0.0322 | 6 | 0.0043 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | 0.0516 | 0.0593 | 0.0528 | 0.0546 | 5.23 | 0.0322 | 6 | 0.0043 | 0 |
|  |  |  |  | Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.2325 | 0.1826 | 0.1836 | 0.2 | -1.86 | 0.2661 | 14 | 0.0358 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 182 | 0.2157 | 0.2196 | 0.2168 | 0.217 | -1.36 | 0.2661 | 14 | 0.0358 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.60 | NIR | 187 | 0.234 |  |  | 0.234 |  |  |  |  | 1 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 138 | 0.2478 | 0.2505 | 0.2472 | 0.249 | -0.49 | 0.2661 | 14 | 0.0358 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 103 | 0.2605 | 0.2468 | 0.2421 | 0.25 | -0.46 | 0.2661 | 14 | 0.0358 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.2539 | 0.2555 | 0.2435 | 0.251 | -0.42 | 0.2661 | 14 | 0.0358 | 0 |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 210 | 0.255 | 0.254 | 0.251 | 0.253 | -0.36 | 0.2661 | 14 | 0.0358 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.2694 | 0.2603 | 0.256 | 0.262 | -0.12 | 0.2661 | 14 | 0.0358 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 120 | 0.2829 | 0.2546 | 0.2717 | 0.27 | 0.1 | 0.2661 | 14 | 0.0358 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.2702 | 0.274 | 0.2696 | 0.271 | 0.14 | 0.2661 | 14 | 0.0358 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 162 | 0.2671 | 0.2689 | 0.2847 | 0.274 | 0.21 | 0.2661 | 14 | 0.0358 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 165 | 0.2739 | 0.2881 | 0.2964 | 0.286 | 0.56 | 0.2661 | 14 | 0.0358 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 199 | 0.2973 | 0.293 | 0.2967 | 0.296 | 0.83 | 0.2661 | 14 | 0.0358 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.3174 | 0.3145 | 0.3146 | 0.315 | 1.38 | 0.2661 | 14 | 0.0358 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.363 | 0.353 | 0.376 | 0.364 | 2.74 | 0.2661 | 14 | 0.0358 | 0 |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| Total CBD (%DW) | 507.60 | NIR | 187 | 6.793 |  |  | 6.79 |  |  |  |  | 1 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 189 | 7.6215 | 7.6578 | 7.6143 | 7.63 | -1.25 | 8.4897 | 9 | 0.6851 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 103 | 8.2677 | 7.8218 | 7.5283 | 7.87 | -0.9 | 8.4897 | 9 | 0.6851 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 162 | 8.137 | 8.0504 | 7.6536 | 7.95 | -0.79 | 8.4897 | 9 | 0.6851 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 8.7595 | 8.1774 | 8.2731 | 8.4 | -0.13 | 8.4897 | 9 | 0.6851 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 8.6665 | 8.344 | 8.2325 | 8.41 | -0.11 | 8.4897 | 9 | 0.6851 | 0 |
| Total CBD (%DW) | 507.01 | AOAC 2018.10 | 210 | 8.7 | 8.577 | 8.633 | 8.64 | 0.21 | 8.4897 | 9 | 0.6851 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 199 | 8.9927 | 8.8349 | 8.932 | 8.92 | 0.63 | 8.4897 | 9 | 0.6851 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 138 | 9.4033 | 9.0534 | 9.2962 | 9.25 | 1.11 | 8.4897 | 9 | 0.6851 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 9.1882 | 9.4772 | 9.3278 | 9.33 | 1.23 | 8.4897 | 9 | 0.6851 | 0 |
|  |  |  |  | CBDV (%DW) |  |  |  |  |  |  |  |  |
| CBDV (%DW) | 508.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| CBDV (%DW) | 508.02 | AOAC 2018.11, U | 210 | <0.0260 | <0.0260 | <0.0260 | <0.0260 |  |  |  |  | 1 |
| CBDV (%DW) | 508.99 | Other | 189 | 0.0175 | 0.0183 | 0.0177 | 0.0178 |  |  |  |  | 0 |
|  |  |  |  | CBDVA (%DW) |  |  |  |  |  |  |  |  |
| CBDVA (%DW) | 509.01 | AOAC 2018.10 | 210 | 0.08 | 0.079 | 0.078 | 0.079 |  |  |  |  | 0 |
|  |  |  |  | CBG (%DW) |  |  |  |  |  |  |  |  |
| CBG (%DW) | 510.01 | AOAC 2018.10 | 210 | 0.201 | 0.193 | 0.199 | 0.198 |  |  |  |  | 0 |
| CBG (%DW) | 510.99 | Other | 189 | 0.2035 | 0.203 | 0.203 | 0.203 |  |  |  |  | 0 |
| CBG (%DW) | 510.99 | Other | 162 | 0.1965 | 0.2139 | 0.201 | 0.204 |  |  |  |  | 0 |
| CBG (%DW) | 510.02 | AOAC 2018.11, U | 103 | 0.2101 | 0.2136 | 0.2134 | 0.212 |  |  |  |  | 0 |
|  |  |  |  | CBGA (%DW) |  |  |  |  |  |  |  |  |
| CBGA (%DW) | 511.01 | AOAC 2018.10 | 210 | 0.104 | 0.136 | 0.129 | 0.123 |  |  |  |  | 0 |
| CBGA (%DW) | 511.02 | AOAC 2018.11, U | 103 | 0.3151 | 0.3046 | 0.299 | 0.306 |  |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 189 | 0.3066 | 0.3061 | 0.3105 | 0.308 |  |  |  |  | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%DW) | 511.99 | Other | 162 | 0.3498 | 0.3626 | 0.3337 | 0.349 |  |  |  |  | 0 |

Population of Lab Values

| THCV (%DW) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%DW) | 512.02 | AOAC 2018.11, U | 210 | <0.0260 <0.0260 <0.0260 |  |  | <0.0260 |  | 1 |
| THCV (%DW) | 512.99 | Other | 189 | 0 | 0.0054 | 0.0046 | 0.005 | 0 |  |

| Δ8-THC (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 189 | 0.0072 | 0.0074 | 0.0086 | 0.0077 | 0 |
| Δ8-THC (%DW) | 513.01 | AOAC 2018.10 | 210 | 0.022 | 0.02 | 0.018 | 0.02 | 0 |

| CBC (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.02 | AOAC 2018.11, U | 210 | 0.238 | 0.232 | 0.237 | 0.236 | 0 |
| CBC (%DW) | 514.99 | Other | 162 | 0.2407 | 0.2536 | 0.2337 | 0.243 | 0 |
| CBC (%DW) | 514.99 | Other | 189 | 0.2455 | 0.247 | 0.2456 | 0.246 | 0 |

- Flag definitions: 1 (Lab Value not used because there were less than 2 numeric lab results), 2 (Lab Value not used because there were less than 2 numeric lab results greater than 0).

- Robust statistics performed to determine robust mean and Z scores only if there were 6 or more numeric lab values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.