# Hemp PT Certificate of Analysis

## Hemp PT Sample HM23SEP-2 Material: hemp

± Standard

| Analyte | Value | Uncertainty | # Labs |
| --- | --- | --- | --- |
|  | % as received |  |  |
| Δ9-THC | 0.1769 | 0.0046 | 34 |
| Δ9-THCA | 0.04316 | 0.00235 | 31 |
| CBD | 3.696 | 0.075 | 24 |
| CBDA | 3.245 | 0.092 | 23 |
| CBN | 0.04458 | 0.00273 | 18 |
| Total Δ9-THC | 0.2139 | 0.0066 | 39 |
| Total CBD | 6.421 | 0.173 | 25 |
| CBG | 0.3060 | 0.0177 | 10 |
| CBGA | 0.3436 | 0.0125 | 9 |
| CBC | 0.2129 | 0.0076 | 8 |
| Moisture | 8.813 | 0.499 | 16 |
|  | % dry weight |  |  |
| Δ9-THC | 0.2084 | 0.0112 | 10 |
| Δ9-THCA | 0.04726 | 0.00335 | 9 |
| CBD | 40 | 0.196 | 7 |
| CBDA | 3.589 | 0.249 | 7 |
| CBN | 0.04663 | 0.00267 | 7 |
| Total Δ9-THC | 0.2333 | 0.0128 | 14 |
| Total CBD | 7.285 | 0.274 | 9 |
|  | ug/g as-received |  |  |
| Pb | 0.7570 | 0.0559 | 7 |

## Hemp PT Sample HM23SEP-2 Material: hemp

Analyte	Value

± Standard

Uncertainty	# Labs

- Data obtained from participant results in the University of Kentucky Hemp PT Program.

- Sample was shipped on 9/11/23. Stored at room temperature until 10/23/23. Stored at -20 C after 10/23/23..

- Values are robust means. Standard uncertainty determined as 1.25 x robust standard deviation / sqrt(#Labs). Results only shown for analytes tested by 6 or more labs.