Hemp Proficiency Testing

All Labs Trueness HM23SEP-2 (hemp)

Sample: HM23SEP-2 (hemp)

All Labs Trueness

Issue Date:

November 2, 2023

| Analyte | Code | Method | Lab Num |  | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Δ9-THC (%AR) |  |  |  |  |  |  |  |  |  |  |
| Δ9-THC (%AR) | 001.30 | Other LC-MS |  | 102 | 0.072 | 0.065 | 0.071 | 0.0693 | -4.98 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 225 | 0.128 | 0.1188 | 0.1116 | 0.119 | -2.66 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 182 | 0.143 | 0.1402 | 0.1436 | 0.142 | -1.6 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 |  | 148 | 0.147 | 0.141 | 0.146 | 0.145 | -1.49 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 161 | 0.1468 | 0.1553 | 0.145 | 0.149 | -1.29 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 192 | 0.1676 | 0.1415 | 0.1477 | 0.152 | -1.14 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 155 | 0.166 | 0.156 | 0.152 | 0.158 | -0.88 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 103 | 0.16 | 0.163 | 0.164 | 0.162 | -0.67 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 197 | 0.1608 | 0.1666 | 0.1699 | 0.166 | -0.52 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 113 | 0.168 | 0.17 | 0.169 | 0.169 | -0.37 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 149 | 0.163 | 0.175 | 0.174 | 0.171 | -0.29 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 196 | 0.171 | 0.166 | 0.176 | 0.171 | -0.27 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 170 | 0.158 | 0.1895 | 0.1689 | 0.172 | -0.22 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 189 | 0.1727 | 0.1715 | 0.1732 | 0.172 | -0.2 | 0.1769 | 34 | 0.0216 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 141 | 0.1888 | 0.1771 | 0.1598 | 0.175 | -0.08 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 125 | 0.184 | 0.165 | 0.176 | 0.175 | -0.09 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 120 | 0.1841 | 0.1774 | 0.1714 | 0.178 | 0.03 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.1737 | 0.1795 | 0.1803 | 0.178 | 0.04 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 142 | 0.181 | 0.179 | 0.174 | 0.178 | 0.05 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.18 | 0.19 | 0.18 | 0.183 | 0.3 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.2 | 0.18 | 0.17 | 0.183 | 0.3 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 191 | 0.1851 | 0.1835 | 0.1843 | 0.184 | 0.34 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.60 | NIR | 187 | 0.185 |  |  | 0.185 |  |  |  |  | 1 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.1933 | 0.1772 | 0.1905 | 0.187 | 0.47 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 165 | 0.1867 | 0.1871 | 0.1896 | 0.188 | 0.51 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.1824 | 0.1852 | 0.2033 | 0.19 | 0.62 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.1909 | 0.1875 | 0.1914 | 0.19 | 0.6 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 217 | 0.1842 | 0.1972 | 0.1957 | 0.192 | 0.72 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 215 | 0.1901 | 0.1954 | 0.1935 | 0.193 | 0.75 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.1931 | 0.1927 | 0.1995 | 0.195 | 0.84 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 164 | 0.1951 | 0.203 | 0.1917 | 0.197 | 0.91 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.2015 | 0.2 | 0.203 | 0.201 | 1.14 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.2343 | 0.188 | 0.1973 | 0.207 | 1.37 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.21 | 0.2 | 0.22 | 0.21 | 1.53 | 0.1769 | 34 | 0.0216 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.2336 | 0.2189 | 0.2159 | 0.223 | 2.13 | 0.1769 | 34 | 0.0216 | 0 |

Population of Lab Values

| Analyte | Code |  | Method | Lab Num |  | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Δ9-THCA (%AR) |  |  |  |  |  |  |  |  |  |  |
| Δ9-THCA (%AR) |  | 002.02 | AOAC 2018.11, U |  | 161 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%AR) |  | 002.99 | Other |  | 215 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 197 | <0.0754 | <0.0728 | <0.0728 | <0.0754 |  |  |  |  | 1 |
| Δ9-THCA (%AR) |  | 002.30 | Other LC-MS |  | 102 | 0.014 | 0.01 | 0.013 | 0.0123 | -2.94 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 192 | 0.0249 | 0 | 0.0207 | 0.0228 | -1.94 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 225 | 0.0291 | 0.026 | 0.0181 | 0.0244 | -1.79 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 182 | 0.0284 | 0.0295 | 0.0267 | 0.0282 | -1.43 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 142 | 0.0297 | 0.0289 | 0.0264 | 0.0283 | -1.41 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 196 | 0.03 | 0.033 | 0.033 | 0.032 | -1.06 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) |  | 002.60 | NIR |  | 187 | 0.033 |  |  | 0.033 |  |  |  |  | 1 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 170 | 0.0336 | 0.032 | 0.0351 | 0.0336 | -0.91 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) |  | 002.02 | AOAC 2018.11, U |  | 103 | 0.039 | 0.039 | 0.04 | 0.0393 | -0.36 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) |  | 002.02 | AOAC 2018.11, U |  | 199 | 0.0405 | 0.04 | 0.039 | 0.0398 | -0.32 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 106 | 0.04 | 0.04 | 0.04 | 0.04 | -0.3 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 189 | 0.0411 | 0.0408 | 0.0412 | 0.041 | -0.2 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 184 | 0.0408 | 0.0409 | 0.0442 | 0.042 | -0.11 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 163 | 0.043 | 0.0373 | 0.0473 | 0.0425 | -0.06 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 149 | 0.042 | 0.044 | 0.042 | 0.0427 | -0.05 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) |  | 002.10 | Other LC-UV |  | 113 | 0.044 | 0.045 | 0.043 | 0.044 | 0.08 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) |  | 002.02 | AOAC 2018.11, U |  | 120 | 0.044 | 0.046 | 0.0438 | 0.0446 | 0.14 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) |  | 002.03 | AOAC 2018.11, M |  | 139 | 0.0437 | 0.0457 | 0.0449 | 0.0448 | 0.15 | 0.0432 | 31 | 0.0105 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 155 | 0.039 | 0.045 | 0.052 | 0.0453 | 0.21 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.05 | 0.048 | 0.04 | 0.046 | 0.27 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.0454 | 0.0488 | 0.0443 | 0.0462 | 0.29 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.049 | 0.047 | 0.046 | 0.0473 | 0.4 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 217 | 0.0481 | 0.0495 | 0.047 | 0.0482 | 0.48 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 191 | 0.0495 | 0.0463 | 0.0479 | 0.0479 | 0.45 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0512 | 0.0478 | 0.0501 | 0.0497 | 0.62 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 148 | 0.051 | 0.049 | 0.051 | 0.0503 | 0.68 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | 0.0522 | 0.0478 | 0.0528 | 0.0509 | 0.74 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.0523 | 0.0533 | 0.0565 | 0.054 | 1.04 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 165 | 0.0569 | 0.0525 | 0.051 | 0.0535 | 0.98 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 164 | 0.0553 | 0.0554 | 0.0559 | 0.0555 | 1.18 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | 0.0674 | 0.0623 | 0.0741 | 0.0679 | 2.36 | 0.0432 | 31 | 0.0105 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 141 | 0.0925 | 0.1034 | 0.0864 | 0.0941 | 4.86 | 0.0432 | 31 | 0.0105 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.60 | NIR | 187 | 2.938 |  |  | 2.94 |  |  |  |  | 1 |
| CBD (%AR) | 003.10 | Other LC-UV | 155 | 3.022 | 2.977 | 2.961 | 2.99 | -2.4 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 3.273 | 3.191 | 3.198 | 3.22 | -1.61 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 3.3278 | 3.2805 | 3.3383 | 3.32 | -1.29 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 103 | 3.319 | 3.423 | 3.255 | 3.33 | -1.23 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 161 | 3.2391 | 3.5871 | 3.475 | 3.43 | -0.89 | 3.6958 | 24 | 0.295 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 3.432 | 3.396 | 3.568 | 3.47 | -0.78 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 3.502 | 3.612 | 3.538 | 3.55 | -0.49 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 191 | 3.5899 | 3.566 | 3.5779 | 3.58 | -0.4 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 170 | 3.6337 | 3.59 | 3.5746 | 3.6 | -0.33 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.99 | Other | 215 | 3.587 | 3.669 | 3.6209 | 3.63 | -0.24 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 3.618 | 3.568 | 3.8039 | 3.66 | -0.11 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 3.72 | 3.65 | 3.61 | 3.66 | -0.12 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 3.7775 | 3.714 | 3.753 | 3.75 | 0.18 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 3.82 | 3.82 | 3.7 | 3.78 | 0.29 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 141 | 3.7548 | 3.6679 | 4.032 | 3.82 | 0.42 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 164 | 3.8217 | 3.8515 | 3.7824 | 3.82 | 0.42 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 3.87 | 3.77 | 3.91 | 3.85 | 0.52 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 4.0883 | 3.777 | 3.8483 | 3.9 | 0.71 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 4.1285 | 4.13 | 3.6174 | 3.96 | 0.89 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 4.074 | 3.8582 | 3.9913 | 3.97 | 0.94 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 4.1252 | 4.0103 | 3.774 | 3.97 | 0.93 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 4.0482 | 3.9437 | 3.9913 | 3.99 | 1.01 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 113 | 3.91 | 4.04 | 4.09 | 4.01 | 1.08 | 3.6958 | 24 | 0.295 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 4.3239 | 4.0989 | 4.3516 | 4.26 | 1.91 | 3.6958 | 24 | 0.295 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.10 | Other LC-UV | 155 | 2.502 | 2.463 | 2.378 | 2.45 | -2.27 | 3.2454 | 23 | 0.352 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 2.78 | 2.72 | 2.65 | 2.72 | -1.5 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 2.7976 | 2.7758 | 2.8145 | 2.8 | -1.28 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 161 | 2.712 | 3.0703 | 2.905 | 2.9 | -0.99 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.99 | Other | 215 | 2.9076 | 2.9237 | 2.8933 | 2.91 | -0.96 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 2.995 | 2.906 | 3.078 | 2.99 | -0.72 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 3.3717 | 2.9797 | 2.6683 | 3.01 | -0.68 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 103 | 3.171 | 3.166 | 2.984 | 3.11 | -0.39 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 3.071 | 3.164 | 3.223 | 3.15 | -0.26 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 141 | 3.115 | 3.1183 | 3.3943 | 3.21 | -0.1 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 3.4293 | 3.3764 | 3.0931 | 3.3 | 0.15 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 3.302 | 3.38 | 3.255 | 3.31 | 0.19 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 3.3327 | 3.2825 | 3.3738 | 3.33 | 0.24 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 3.38 | 3.26 | 3.39 | 3.34 | 0.28 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | 3.11 | 3.49 | 3.48 | 3.36 | 0.33 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 3.4724 | 3.2322 | 3.5301 | 3.41 | 0.47 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 3.4035 | 3.371 | 3.4485 | 3.41 | 0.46 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 170 | 3.3399 | 3.3762 | 3.661 | 3.46 | 0.61 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 3.5718 | 3.5979 | 3.4076 | 3.53 | 0.8 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 191 | 3.5412 | 3.538 | 3.5396 | 3.54 | 0.84 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 3.5753 | 3.6235 | 3.8527 | 3.68 | 1.25 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 3.6273 | 3.525 | 3.9317 | 3.69 | 1.28 | 3.2454 | 23 | 0.352 | 0 |
| CBDA (%AR) | 004.60 | NIR | 187 | 3.72 |  |  | 3.72 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.30 | Other LC-MS | 164 | 4.5206 | 4.46 | 4.3249 | 4.44 | 3.38 | 3.2454 | 23 | 0.352 | 0 |
|  |  |  |  | CBN (%AR) |  |  |  |  |  |  |  |  |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | <0.0754 | <0.0728 | <0.0728 | <0.0754 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 141 | 0.0228 | 0.0279 | 0.0242 | 0.025 | -2.11 | 0.0446 | 18 | 0.0093 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | 0.0381 | 0.0372 | 0.0362 | 0.0372 | -0.8 | 0.0446 | 18 | 0.0093 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | 0.039 | 0.0385 | 0.0395 | 0.039 | -0.6 | 0.0446 | 18 | 0.0093 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.0382 | 0.0391 | 0.0382 | 0.0385 | -0.66 | 0.0446 | 18 | 0.0093 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | 0.039 | 0.038 | 0.042 | 0.0397 | -0.53 | 0.0446 | 18 | 0.0093 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 192 | 0.0377 | 0.042 | 0.0394 | 0.0397 | -0.53 | 0.0446 | 18 | 0.0093 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0468 | 0.052 | <0.0200 | 0.0396 | -0.54 | 0.0446 | 18 | 0.0093 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0493 | 0.0378 | 0.0362 | 0.0411 | -0.37 | 0.0446 | 18 | 0.0093 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0417 | 0.0413 | 0.042 | 0.0417 | -0.31 | 0.0446 | 18 | 0.0093 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | 0.041 | 0.0434 | 0.045 | 0.0431 | -0.16 | 0.0446 | 18 | 0.0093 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 107 | 0.036 | 0.036 | 0.056 | 0.0427 | -0.21 | 0.0446 | 18 | 0.0093 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0422 | 0.0424 | 0.0477 | 0.0441 | -0.05 | 0.0446 | 18 | 0.0093 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 116 | 0.0424 | 0.048 | 0.0469 | 0.0458 | 0.13 | 0.0446 | 18 | 0.0093 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 122 | 0.0489 | 0.0482 | 0.0477 | 0.0483 | 0.4 | 0.0446 | 18 | 0.0093 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.06 | 0.05 | 0.06 | 0.0567 | 1.3 | 0.0446 | 18 | 0.0093 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.0597 | 0.0603 | 0.0533 | 0.0578 | 1.42 | 0.0446 | 18 | 0.0093 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 125 | 0.0653 | 0.0599 | 0.0585 | 0.0612 | 1.79 | 0.0446 | 18 | 0.0093 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | 0.0662 | 0.0705 | 0.0655 | 0.0674 | 2.46 | 0.0446 | 18 | 0.0093 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.0843 | 0.0738 | 0.0824 | 0.0802 | -4.07 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 192 | 0.1098 | 0.1125 | 0.114 | 0.112 | -3.1 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 225 | 0.1535 | 0.1416 | 0.1275 | 0.141 | -2.22 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 161 | 0.1468 | 0.1553 | 0.145 | 0.149 | -1.97 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.1608 | 0.1666 | 0.1699 | 0.166 | -1.46 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1894 | 0.1415 | 0.1658 | 0.166 | -1.47 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 182 | 0.1679 | 0.1661 | 0.167 | 0.167 | -1.43 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 148 | 0.192 | 0.184 | 0.191 | 0.189 | -0.76 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 155 | 0.2 | 0.196 | 0.192 | 0.196 | -0.54 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.1942 | 0.1972 | 0.1991 | 0.197 | -0.52 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.198 | 0.195 | 0.205 | 0.199 | -0.44 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.1994 | 0.2034 | 0.1965 | 0.2 | -0.43 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.207 | 0.204 | 0.197 | 0.203 | -0.34 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.2081 | 0.2063 | 0.2001 | 0.205 | -0.27 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.2 | 0.213 | 0.211 | 0.208 | -0.18 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.2087 | 0.2073 | 0.2093 | 0.208 | -0.17 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.2119 | 0.2084 | 0.2168 | 0.212 | -0.05 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 120 | 0.2227 | 0.2178 | 0.2098 | 0.217 | 0.09 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 187 | 0.218 |  |  | 0.218 |  |  |  |  | 1 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.2135 | 0.2223 | 0.2192 | 0.218 | 0.14 | 0.2139 | 39 | 0.0329 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.24 | 0.2129 | 0.2058 | 0.22 | 0.17 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.2093 | 0.2373 | 0.2136 | 0.22 | 0.19 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 190 | 0.221 | 0.223 |  | 0.222 | 0.25 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 191 | 0.2285 | 0.2241 | 0.2263 | 0.226 | 0.38 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.191 | 0.202 | 0.289 | 0.227 | 0.41 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.25 | 0.22 | 0.21 | 0.227 | 0.39 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 128 | 0.2233 | 0.2366 | 0.2252 | 0.228 | 0.44 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.2207 | 0.2253 | 0.2427 | 0.23 | 0.48 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.239 | 0.2191 | 0.2368 | 0.232 | 0.54 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.243 | 0.219 | 0.241 | 0.234 | 0.62 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 165 | 0.2366 | 0.2331 | 0.2343 | 0.235 | 0.63 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 217 | 0.2263 | 0.2406 | 0.2369 | 0.235 | 0.63 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.237 | 0.2351 | 0.2372 | 0.236 | 0.69 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.239 | 0.2395 | 0.249 | 0.243 | 0.87 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 164 | 0.2436 | 0.2516 | 0.2408 | 0.245 | 0.96 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.246 | 0.245 | 0.2516 | 0.248 | 1.02 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.254 | 0.242 | 0.255 | 0.25 | 1.11 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.28 | 0.1843 | 0.2967 | 0.254 | 1.21 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 141 | 0.2699 | 0.2678 | 0.2356 | 0.258 | 1.34 | 0.2139 | 39 | 0.0329 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.2785 | 0.2608 | 0.2599 | 0.266 | 1.6 | 0.2139 | 39 | 0.0329 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.40 | GC-FID | 192 | 4.0811 | 4.2905 | 4.1676 | 4.18 | -3.25 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 107 | 4.562 | 4.689 | 4.862 | 4.7 | -2.49 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 155 | 5.22 | 5.14 | 5.05 | 5.14 | -1.86 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 5.63 | 5.7017 | 5.6274 | 5.65 | -1.11 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 5.7813 | 5.7149 | 5.8066 | 5.77 | -0.95 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 161 | 5.6175 | 6.2798 | 6.0227 | 5.97 | -0.65 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 6.16 | 6.04 | 5.93 | 6.04 | -0.55 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 103 | 6.1 | 6.1996 | 5.872 | 6.06 | -0.53 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 6.058 | 5.944 | 6.267 | 6.09 | -0.48 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 6.1619 | 6.0215 | 6.2981 | 6.16 | -0.38 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 187 | 6.203 |  |  | 6.2 |  |  |  |  | 1 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 6.196 | 6.386 | 6.365 | 6.32 | -0.15 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 7.077 | 5.974 | 6.6027 | 6.55 | 0.19 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 7.0855 | 6.7433 | 5.9575 | 6.6 | 0.25 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 141 | 6.4867 | 6.4026 | 7.0087 | 6.63 | 0.31 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 191 | 6.695 | 6.668 | 6.682 | 6.68 | 0.38 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 6.7217 | 6.6012 | 6.7405 | 6.69 | 0.39 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 6.55 | 6.88 | 6.75 | 6.73 | 0.44 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 6.7624 | 6.6704 | 6.7773 | 6.74 | 0.46 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 7.1334 | 6.9721 | 6.4873 | 6.86 | 0.64 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 6.7535 | 6.7458 | 7.1827 | 6.89 | 0.69 | 6.4206 | 25 | 0.6903 | 0 |

Population of Lab Values

Lab

Lab

Population of Lab Values

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 6.971 | 6.8225 | 6.9501 | 6.91 | 0.72 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 7.1193 | 6.6929 | 7.0871 | 6.97 | 0.79 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 7.2692 | 7.1864 | 7.2688 | 7.24 | 1.19 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 7.4564 | 7.2543 | 7.3401 | 7.35 | 1.35 | 6.4206 | 25 | 0.6903 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 164 | 7.7862 | 7.7629 | 7.5753 | 7.71 | 1.87 | 6.4206 | 25 | 0.6903 | 0 |

|  |  |  | CBDV (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 197 | <0.0754 | <0.0728 | <0.0728 | <0.0754 | 1 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0251 | 0.0182 | 0.0224 | 0.0219 | 0 |
| CBDV (%AR) | 008.99 | Other | 196 | 0.023 | 0.022 | 0.024 | 0.023 | 0 |
| CBDV (%AR) | 008.99 | Other | 142 | 0.0308 | 0.0321 | 0.0303 | 0.0311 | 0 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.06 | 0.05 | 0.05 | 0.0533 | 0 |

|  |  |  | CBDVA (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 197 | <0.0754 | <0.0728 | <0.0728 | <0.0754 | 1 |
| CBDVA (%AR) | 009.99 | Other | 196 | 0.024 | 0.024 | 0.026 | 0.0247 | 0 |
| CBDVA (%AR) | 009.99 | Other | 142 | 0.0277 | 0.0282 | 0.0263 | 0.0274 | 0 |
| CBDVA (%AR) | 009.99 | Other | 149 | 0.074 | 0.089 | 0.071 | 0.078 | 0 |

|  |  |  | CBG (%AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 196 | 0.249 | 0.249 | 0.25 | 0.249 | -1.27 | 0.306 | 10 | 0.0447 | 0 |
| CBG (%AR) | 010.99 | Other | 197 | 0.2412 | 0.2447 | 0.265 | 0.25 | -1.24 | 0.306 | 10 | 0.0447 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 142 | 0.3 | 0.282 | 0.278 | 0.287 | -0.43 | 0.306 | 10 | 0.0447 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 103 | 0.301 | 0.297 | 0.286 | 0.295 | -0.25 | 0.306 | 10 | 0.0447 | 0 |
| CBG (%AR) | 010.99 | Other | 141 | 0.3083 | 0.2886 | 0.2937 | 0.297 | -0.2 | 0.306 | 10 | 0.0447 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.292 | 0.312 | 0.32 | 0.308 | 0.05 | 0.306 | 10 | 0.0447 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.31 | 0.32 | 0.33 | 0.32 | 0.31 | 0.306 | 10 | 0.0447 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.338 | 0.3215 | 0.3476 | 0.336 | 0.67 | 0.306 | 10 | 0.0447 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.337 | 0.359 | 0.339 | 0.345 | 0.87 | 0.306 | 10 | 0.0447 | 0 |
| CBG (%AR) | 010.99 | Other | 155 | 0.362 | 0.378 | 0.382 | 0.374 | 1.52 | 0.306 | 10 | 0.0447 | 0 |
|  |  |  |  | CBGA (%AR) |  |  |  |  |  |  |  |  |
| CBGA (%AR) | 011.99 | Other | 141 | 0.3075 | 0.2972 | 0.3017 | 0.302 | -1.38 | 0.3436 | 9 | 0.0299 | 0 |
| CBGA (%AR) | 011.99 | Other | 142 | 0.313 | 0.305 | 0.305 | 0.308 | -1.2 | 0.3436 | 9 | 0.0299 | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.3336 | 0.331 | 0.3348 | 0.333 | -0.35 | 0.3436 | 9 | 0.0299 | 0 |
| CBGA (%AR) | 011.99 | Other | 196 | 0.328 | 0.331 | 0.342 | 0.334 | -0.33 | 0.3436 | 9 | 0.0299 | 0 |
| CBGA (%AR) | 011.99 | Other | 106 | 0.35 | 0.35 | 0.35 | 0.35 | 0.21 | 0.3436 | 9 | 0.0299 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 103 | 0.356 | 0.368 | 0.344 | 0.356 | 0.41 | 0.3436 | 9 | 0.0299 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | 0.389 | 0.348 | 0.351 | 0.363 | 0.64 | 0.3436 | 9 | 0.0299 | 0 |
| CBGA (%AR) | 011.99 | Other | 197 | 0.3789 | 0.3689 | 0.3641 | 0.371 | 0.9 | 0.3436 | 9 | 0.0299 | 0 |
| CBGA (%AR) | 011.99 | Other | 149 | 0.348 | 0.376 | 0.405 | 0.376 | 1.09 | 0.3436 | 9 | 0.0299 | 0 |
|  |  |  |  | THCV (%AR) |  |  |  |  |  |  |  |  |
| THCV (%AR) | 012.99 | Other | 142 | <0.0022 <0.0022 <0.0022 |  |  | <0.0022 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 149 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 197 | <0.0754 | <0.0728 | <0.0728 | <0.0754 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 189 | 0.0426 | 0.0106 | 0.0461 | 0.0331 |  |  |  |  | 0 |

Population of Lab Values

|  |  |  | Δ8-THC (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 | <0.0022 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 141 | <0.0120 | <0.0120 | <0.0120 | <0.0120 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | <0.0250 | <0.0250 | <0.0250 | <0.0250 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0754 | <0.0728 | <0.0728 | <0.0754 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0067 | 0.0065 | 0.007 | 0.0067 | 0 |

|  |  |  | CBC (%AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 155 | 0.187 | 0.185 | 0.184 | 0.185 | -1.61 | 0.2129 | 8 | 0.0171 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.2111 | 0.2039 | 0.1942 | 0.203 | -0.57 | 0.2129 | 8 | 0.0171 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.206 | 0.2042 | 0.2062 | 0.205 | -0.43 | 0.2129 | 8 | 0.0171 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.209 | 0.207 | 0.214 | 0.21 | -0.17 | 0.2129 | 8 | 0.0171 | 0 |
| CBC (%AR) | 014.99 | Other | 142 | 0.218 | 0.212 | 0.207 | 0.212 | -0.03 | 0.2129 | 8 | 0.0171 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.213 | 0.228 | 0.227 | 0.223 | 0.57 | 0.2129 | 8 | 0.0171 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.233 | 0.231 | 0.223 | 0.229 | 0.94 | 0.2129 | 8 | 0.0171 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.23 | 0.23 | 0.24 | 0.233 | 1.2 | 0.2129 | 8 | 0.0171 | 0 |
|  |  |  |  | Cd (ug/g AR) |  |  |  |  |  |  |  |  |
| Cd (ug/g AR) | 101.04 | ICP-MS | 141 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | 0.115 | 0.126 | 0.126 | 0.122 |  |  |  |  | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.121 | 0.128 | 0.12 | 0.123 |  |  |  |  | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | 0.1626 | 0.1223 | 0.1432 | 0.143 |  |  |  |  | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.154 | 0.155 | 0.149 | 0.153 |  |  |  |  | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.143 | 0.1701 | 0.1479 | 0.154 |  |  |  |  | 0 |
|  |  |  |  | As (ug/g AR) |  |  |  |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0975 | <0.0975 | <0.0996 | <0.0975 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 141 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | 0.088 | 0.079 | 0.083 | 0.0833 |  |  |  |  | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.09 | 0.0901 | 0.11 | 0.0967 |  |  |  |  | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | 0.109 | 0.101 | 0.115 | 0.108 |  |  |  |  | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | 0.112 | 0.128 | 0.101 | 0.114 |  |  |  |  | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Hg (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | <0.0070 | <0.0070 | <0.0070 | <0.0070 | 1 |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | <0.0080 | <0.0080 | <0.0080 | <0.0080 | 1 |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0975 | <0.0975 | <0.0996 | <0.0975 | 1 |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 141 | <0.1000 | <0.1000 | <0.1000 | <0.1000 | 1 |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 | 1 |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 102 | 0.0051 | 0.0046 | 0.0056 | 0.0051 | 0 |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | 0.01 | 0.0098 | 0.0094 | 0.0097 | 0 |  |  |  |  |

Population of Lab Values

|  |  |  | Pb (ug/g AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.598 | 0.648 | 0.644 | 0.63 | -1.07 | 0.757 | 7 | 0.1183 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | 0.6672 | 0.632 | 0.6352 | 0.645 | -0.95 | 0.757 | 7 | 0.1183 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | 0.674 | 0.758 | 0.691 | 0.708 | -0.42 | 0.757 | 7 | 0.1183 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 141 | 0.74 | 0.865 | 0.646 | 0.75 | -0.06 | 0.757 | 7 | 0.1183 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 0.7382 | 0.8431 | 0.814 | 0.798 | 0.35 | 0.757 | 7 | 0.1183 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.8925 | 0.9077 | 0.8222 | 0.874 | 0.99 | 0.757 | 7 | 0.1183 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | 0.843 | 0.863 | 0.975 | 0.894 | 1.16 | 0.757 | 7 | 0.1183 | 0 |

|  |  |  | Cu (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | 9.35 | 9.47 | 9.42 | 9.41 | 0 |
| Cu (ug/g AR) | 105.04 | ICP-MS | 142 | 15.6 | 14.8 | 15.5 | 15.3 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Ni (ug/g AR) |  |  |  |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | 1.15 | 1.23 | 1.21 | 1.2 |  |  |  |  | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 142 | 1.27 | 1.27 | 1.36 | 1.3 |  |  |  |  | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 141 | 1.57 | 1.42 | 1.47 | 1.49 |  |  |  |  | 0 |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | <2.0000 | <2.0000 | <2.0000 | <2.0000 |  |  |  |  | 1 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 141 | <4.0000 | <4.0000 | <4.0000 | <4.0000 |  |  |  |  | 1 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | 1 | 0.955 | 0.904 | 0.953 |  |  |  |  | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | 1.22 | 1.42 | 1.41 | 1.35 |  |  |  |  | 0 |
|  |  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | <0.0975 | <0.0975 | <0.0996 | <0.0975 |  |  |  |  | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 141 | <1.0000 | <1.0000 | <1.0000 | <1.0000 |  |  |  |  | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | 0.076 | 0.107 | 0.066 | 0.083 |  |  |  |  | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | 0.1 | 0.1 | 0.111 | 0.104 |  |  |  |  | 0 |
|  |  |  |  | Ag (ug/g AR) |  |  |  |  |  |  |  |  |
| Ag (ug/g AR) | 109.04 | ICP-MS | 142 | 0.0115 | 0.0178 | 0.0123 | 0.0139 |  |  |  |  | 0 |
|  |  |  |  | Ba (ug/g AR) |  |  |  |  |  |  |  |  |
| Ba (ug/g AR) | 110.04 | ICP-MS | 142 | 0.208 | 0.157 | 0.186 | 0.184 |  |  |  |  | 0 |

Population of Lab Values

| Analyte Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Population of Lab Values

|  |  |  | Zn (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 57.8 | 60.8 | 61.3 | 60 | 0 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 141 | 65.8 | 69.4 | 68.8 | 68 | 0 |

Sb (ug/g AR)

Sb (ug/g AR)

112.04	ICP-MS

196

<0.0240  <0.0240	<0.0240	<0.0240	1

|  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0274 | 0.0291 | 0.0246 | 0.027 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | 0.0672 | 0.0796 | 0.0885 | 0.0784 | 0 |
| (-)-alpha-Bisabolol (%A | 201.01 | GC,FID | 142 | 0.0777 | 0.0838 | 0.0774 | 0.0796 | 0 |

|  |  |  | beta-Caryophyllene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | <0.0650 | <0.0650 | <0.0650 | <0.0650 | 1 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0319 | 0.0342 | 0.0314 | 0.0325 | 0 |
| beta-Caryophyllene (% | 202.01 | GC,FID | 142 | 0.0416 | 0.0429 | 0.037 | 0.0405 | 0 |

|  |  |  | (-)-Caryophyllene oxide (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | <0.0650 <0.0650 <0.0650 |  |  | <0.0650 | 1 |
| (-)-Caryophyllene oxide | 203.01 | GC,FID | 142 | 0.0185 | 0.0195 | 0.0185 | 0.0188 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Geraniol (%AR) |  |  |  |  |  |  |  |  |
| Geraniol (%AR) | 204.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.0650 | <0.0650 | <0.0650 | <0.0650 |  |  |  |  | 1 |
|  |  |  |  | alpha-Humulene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | <0.0650 | <0.0650 | <0.0650 | <0.0650 |  |  |  |  | 1 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.0149 | 0.0151 | 0.0119 | 0.014 |  |  |  |  | 0 |
| alpha-Humulene (%AR) | 205.01 | GC,FID | 142 | 0.0223 | 0.0223 | 0.0208 | 0.0218 |  |  |  |  | 0 |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | Linalool (%AR) |  |  |  |  |  |  |  |  |
| Linalool (%AR) | 207.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 |  |  |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 196 | 0.0016 | 0.0018 | 0.0016 | 0.0017 |  |  |  |  | 0 |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.01 | GC,FID | 142 | <0.0005 <0.0005 <0.0005 |  |  | <0.0005 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | <0.0013 | 0.0014 | <0.0013 | 0.0013 |  |  |  |  | 1 |

Population of Lab Values

Nopinene (%AR)

Nopinene (%AR)

209.01	GC,FID

142

<0.0005  <0.0005	<0.0005	<0.0005	1

|  |  |  | Ocimene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ocimene (%AR) | 210.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

|  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Pinene (%AR) | 211.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0013 <0.0013 <0.0013 | <0.0013 | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 | <0.0100 | 1 |

alpha-Terpinene (%AR)

alpha-Terpinene (%AR)

213.01	GC,FID

142

<0.0005  <0.0005	<0.0005	<0.0005	1

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |

Population of Lab Values

|  |  |  | gamma-Terpinene (%AR) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0013 <0.0013 <0.0013 | <0.0013 | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 | <0.0100 | 1 |

|  |  |  | alpha-Terpinolene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinolene (%A | 215.01 | GC,FID | 142 | <0.0005 | <0.0005 | <0.0005 | <0.0005 | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

| Moisture (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 5.62 | 6.19 | 6.01 | 5.94 | -1.8 | 8.8131 | 16 | 1.5964 | 0 |
| Moisture (%AR) | 500.99 | Other | 142 | 7.2 | 7.4 | 6.3 | 6.97 | -1.16 | 8.8131 | 16 | 1.5964 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 189 | 7.138 | 7.138 | 7.138 | 7.14 | -1.05 | 8.8131 | 16 | 1.5964 | 0 |
| Moisture (%AR) | 500.99 | Other | 103 | 7.35 | 6.99 | 7.19 | 7.18 | -1.03 | 8.8131 | 16 | 1.5964 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 7.7 | 7.79 | 7.9 | 7.8 | -0.64 | 8.8131 | 16 | 1.5964 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 8.49 | 8.65 | 8.66 | 8.6 | -0.13 | 8.8131 | 16 | 1.5964 | 0 |
| Moisture (%AR) | 500.72 | NIR | 138 | 8.65 | 8.6 | 8.65 | 8.63 | -0.11 | 8.8131 | 16 | 1.5964 | 0 |
| Moisture (%AR) | 500.72 | NIR | 187 | 8.725 |  |  | 8.73 |  |  |  |  | 1 |
| Moisture (%AR) | 500.99 | Other | 120 | 8.9787 | 8.6267 | 8.6262 | 8.74 | -0.04 | 8.8131 | 16 | 1.5964 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 9.64 | 9.28 | 8.94 | 9.29 | 0.3 | 8.8131 | 16 | 1.5964 | 0 |
| Moisture (%AR) | 500.99 | Other | 165 | 9.2182 | 9.3591 | 9.506 | 9.36 | 0.34 | 8.8131 | 16 | 1.5964 | 0 |
| Moisture (%AR) | 500.99 | Other | 102 | 9.5 | 9.4 | 9.2 | 9.37 | 0.35 | 8.8131 | 16 | 1.5964 | 0 |
| Moisture (%AR) | 500.99 | Other | 215 | 8.9993 | 9.7239 | 9.7523 | 9.49 | 0.43 | 8.8131 | 16 | 1.5964 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 182 | 9.57 | 9.65 | 9.785 | 9.67 | 0.54 | 8.8131 | 16 | 1.5964 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 162 | 10.58 | 11 | 10 | 10.5 | 1.07 | 8.8131 | 16 | 1.5964 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 9.995 | 10.64 | 11.2471 | 10.6 | 1.14 | 8.8131 | 16 | 1.5964 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 11.8614 | 12.0788 | 11.6117 | 11.9 | 1.9 | 8.8131 | 16 | 1.5964 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 103 | 0.1727 | 0.1756 | 0.1763 | 0.175 | -1.19 | 0.2084 | 10 | 0.0283 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.1859 | 0.1847 | 0.1865 | 0.186 | -0.8 | 0.2084 | 10 | 0.0283 | 0 |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 210 | 0.189 | 0.194 | 0.19 | 0.191 | -0.62 | 0.2084 | 10 | 0.0283 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 120 | 0.2022 | 0.1942 | 0.1875 | 0.195 | -0.49 | 0.2084 | 10 | 0.0283 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 162 | 0.1947 | 0.2003 | 0.195 | 0.197 | -0.42 | 0.2084 | 10 | 0.0283 | 0 |
| Δ9-THC (%DW) | 501.60 | NIR | 187 | 0.205 |  |  | 0.205 |  |  |  |  | 1 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 165 | 0.2057 | 0.2064 | 0.2095 | 0.207 | -0.04 | 0.2084 | 10 | 0.0283 | 0 |
| Δ9-THC (%DW) | 501.99 | Other | 215 | 0.21 | 0.2159 | 0.2137 | 0.213 | 0.17 | 0.2084 | 10 | 0.0283 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 199 | 0.2286 | 0.2275 | 0.2297 | 0.229 | 0.71 | 0.2084 | 10 | 0.0283 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.2526 | 0.2374 | 0.2342 | 0.241 | 1.17 | 0.2084 | 10 | 0.0283 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.316 | 0.288 | 0.309 | 0.304 | 3.39 | 0.2084 | 10 | 0.0283 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%DW) | 502.60 | NIR | 187 | 0.0225 |  |  | 0.0225 |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | 0.024 | 0.023 | 0.058 | 0.035 | -1.53 | 0.0473 | 9 | 0.008 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 103 | 0.0421 | 0.042 | 0.043 | 0.0424 | -0.61 | 0.0473 | 9 | 0.008 | 0 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 210 | 0.043 | 0.045 | 0.045 | 0.0443 | -0.36 | 0.0473 | 9 | 0.008 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.0442 | 0.0439 | 0.0444 | 0.0442 | -0.39 | 0.0473 | 9 | 0.008 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 199 | 0.046 | 0.0455 | 0.0441 | 0.0452 | -0.26 | 0.0473 | 9 | 0.008 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 120 | 0.0483 | 0.0503 | 0.048 | 0.0489 | 0.2 | 0.0473 | 9 | 0.008 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 162 | 0.0529 | 0.0527 | 0.0513 | 0.0523 | 0.63 | 0.0473 | 9 | 0.008 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0554 | 0.0519 | 0.0544 | 0.0539 | 0.83 | 0.0473 | 9 | 0.008 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 165 | 0.0627 | 0.0579 | 0.0564 | 0.059 | 1.46 | 0.0473 | 9 | 0.008 | 0 |
|  |  |  |  | CBD (%DW) |  |  |  |  |  |  |  |  |
| CBD (%DW) | 503.60 | NIR | 187 | 3.265 |  |  | 3.27 |  |  |  |  | 1 |
| CBD (%DW) | 503.10 | Other LC-UV | 189 | 3.5836 | 3.5326 | 3.5949 | 3.57 | -1.04 | 4 | 7 | 0.4141 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 103 | 3.5823 | 3.6882 | 3.4996 | 3.59 | -0.99 | 4 | 7 | 0.4141 | 0 |
| CBD (%DW) | 503.01 | AOAC 2018.10 | 210 | 3.912 | 3.9 | 4.006 | 3.94 | -0.15 | 4 | 7 | 0.4141 | 0 |
| CBD (%DW) | 503.99 | Other | 215 | 3.8843 | 4.0528 | 3.9996 | 3.98 | -0.05 | 4 | 7 | 0.4141 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 162 | 3.8577 | 4.3637 | 3.9455 | 4.06 | 0.13 | 4 | 7 | 0.4141 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 199 | 4.2859 | 4.2242 | 4.246 | 4.25 | 0.61 | 4 | 7 | 0.4141 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 4.676 | 4.4457 | 4.7197 | 4.61 | 1.48 | 4 | 7 | 0.4141 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 3.0126 | 2.9892 | 3.0308 | 3.01 | -1.1 | 3.5892 | 7 | 0.5281 | 0 |
| CBDA (%DW) | 504.99 | Other | 215 | 3.2117 | 3.2379 | 3.1959 | 3.22 | -0.71 | 3.5892 | 7 | 0.5281 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 103 | 3.4226 | 3.4113 | 3.2083 | 3.35 | -0.46 | 3.5892 | 7 | 0.5281 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 162 | 3.3096 | 3.7895 | 3.3522 | 3.48 | -0.2 | 3.5892 | 7 | 0.5281 | 0 |
| CBDA (%DW) | 504.60 | NIR | 187 | 3.53 |  |  | 3.53 |  |  |  |  | 1 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 3.8627 | 3.9023 | 3.6959 | 3.82 | 0.44 | 3.5892 | 7 | 0.5281 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 199 | 3.8615 | 3.8341 | 3.9015 | 3.87 | 0.52 | 3.5892 | 7 | 0.5281 | 0 |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 210 | 9.92 | 9.947 | 3.789 | 7.89 | 8.14 | 3.5892 | 7 | 0.5281 | 0 |
|  |  |  |  | CBN (%DW) |  |  |  |  |  |  |  |  |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 210 | 0.038 | 0.039 | 0.04 | 0.039 | -1.35 | 0.0466 | 7 | 0.0056 | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 199 | 0.0442 | 0.0438 | 0.0447 | 0.0442 | -0.42 | 0.0466 | 7 | 0.0056 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0449 | 0.0445 | 0.0452 | 0.0449 | -0.31 | 0.0466 | 7 | 0.0056 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.0551 | 0.0425 | 0.0408 | 0.0461 | -0.09 | 0.0466 | 7 | 0.0056 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 162 | 0.0474 | 0.0478 | 0.047 | 0.0474 | 0.14 | 0.0466 | 7 | 0.0056 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 116 | 0.046 | 0.0521 | 0.0509 | 0.0497 | 0.54 | 0.0466 | 7 | 0.0056 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | 0.0716 | 0.0765 | 0.0711 | 0.0731 | 4.68 | 0.0466 | 7 | 0.0056 | 0 |
|  |  |  |  | Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 182 | 0.1856 | 0.1838 | 0.1851 | 0.185 | -1.27 | 0.2333 | 14 | 0.0383 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.212 | 0.1594 | 0.1868 | 0.186 | -1.23 | 0.2333 | 14 | 0.0383 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 162 | 0.1947 | 0.2003 | 0.195 | 0.197 | -0.96 | 0.2333 | 14 | 0.0383 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 103 | 0.2096 | 0.2125 | 0.214 | 0.212 | -0.56 | 0.2333 | 14 | 0.0383 | 0 |
| Total Δ9-THC (%DW) | 506.60 | NIR | 187 | 0.219 |  |  | 0.219 |  |  |  |  | 1 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.2247 | 0.2232 | 0.2254 | 0.224 | -0.23 | 0.2333 | 14 | 0.0383 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 138 | 0.2278 | 0.2257 | 0.219 | 0.224 | -0.24 | 0.2333 | 14 | 0.0383 | 0 |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 210 | 0.227 | 0.233 | 0.229 | 0.23 | -0.1 | 0.2333 | 14 | 0.0383 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.2298 | 0.226 | 0.2352 | 0.23 | -0.08 | 0.2333 | 14 | 0.0383 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.2218 | 0.253 | 0.2273 | 0.234 | 0.02 | 0.2333 | 14 | 0.0383 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 120 | 0.2446 | 0.2383 | 0.2296 | 0.237 | 0.11 | 0.2333 | 14 | 0.0383 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 165 | 0.2606 | 0.2572 | 0.259 | 0.259 | 0.67 | 0.2333 | 14 | 0.0383 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 199 | 0.2689 | 0.2674 | 0.2684 | 0.268 | 0.91 | 0.2333 | 14 | 0.0383 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.3012 | 0.2829 | 0.2819 | 0.289 | 1.45 | 0.2333 | 14 | 0.0383 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.369 | 0.307 | 0.36 | 0.345 | 2.93 | 0.2333 | 14 | 0.0383 | 0 |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| Total CBD (%DW) | 507.10 | Other LC-UV | 189 | 6.2257 | 6.1541 | 6.2529 | 6.21 | -1.63 | 7.2851 | 9 | 0.6585 | 0 |
| Total CBD (%DW) | 507.60 | NIR | 187 | 6.3625 |  |  | 6.36 |  |  |  |  | 1 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 103 | 6.5839 | 6.6799 | 6.3133 | 6.53 | -1.15 | 7.2851 | 9 | 0.6585 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 162 | 6.7602 | 7.6871 | 6.8853 | 7.11 | -0.26 | 7.2851 | 9 | 0.6585 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 7.2903 | 7.1597 | 7.3108 | 7.25 | -0.05 | 7.2851 | 9 | 0.6585 | 0 |
| Total CBD (%DW) | 507.01 | AOAC 2018.10 | 210 | 7.404 | 7.362 | 7.329 | 7.36 | 0.12 | 7.2851 | 9 | 0.6585 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 7.9292 | 7.5978 | 6.7125 | 7.41 | 0.19 | 7.2851 | 9 | 0.6585 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 199 | 7.6724 | 7.5868 | 7.6677 | 7.64 | 0.54 | 7.2851 | 9 | 0.6585 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 8.0636 | 7.868 | 7.9611 | 7.96 | 1.03 | 7.2851 | 9 | 0.6585 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 138 | 7.9561 | 7.8655 | 8.1599 | 7.99 | 1.08 | 7.2851 | 9 | 0.6585 | 0 |
|  |  |  |  | CBDV (%DW) |  |  |  |  |  |  |  |  |
| CBDV (%DW) | 508.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| CBDV (%DW) | 508.02 | AOAC 2018.11, U | 210 | <0.0250 | <0.0260 | <0.0260 | <0.0250 |  |  |  |  | 1 |
| CBDV (%DW) | 508.99 | Other | 189 | 0.027 | 0.0196 | 0.0241 | 0.0236 |  |  |  |  | 0 |
|  |  |  |  | CBDVA (%DW) |  |  |  |  |  |  |  |  |
| CBDVA (%DW) | 509.01 | AOAC 2018.10 | 210 | 0.074 | 0.074 | 0.068 | 0.072 |  |  |  |  | 0 |
|  |  |  |  | CBG (%DW) |  |  |  |  |  |  |  |  |
| CBG (%DW) | 510.01 | AOAC 2018.10 | 210 | 0.303 | 0.308 | 0.305 | 0.305 |  |  |  |  | 0 |
| CBG (%DW) | 510.02 | AOAC 2018.11, U | 103 | 0.3249 | 0.32 | 0.3075 | 0.317 |  |  |  |  | 0 |
| CBG (%DW) | 510.99 | Other | 162 | 0.3191 | 0.3521 | 0.3091 | 0.327 |  |  |  |  | 0 |
| CBG (%DW) | 510.99 | Other | 189 | 0.364 | 0.3462 | 0.3743 | 0.361 |  |  |  |  | 0 |
|  |  |  |  | CBGA (%DW) |  |  |  |  |  |  |  |  |
| CBGA (%DW) | 511.01 | AOAC 2018.10 | 210 | 0.158 | 0.171 | 0.166 | 0.165 |  |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 189 | 0.3592 | 0.3564 | 0.3606 | 0.359 |  |  |  |  | 0 |
| CBGA (%DW) | 511.02 | AOAC 2018.11, U | 103 | 0.3842 | 0.3965 | 0.3699 | 0.384 |  |  |  |  | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%DW) | 511.99 | Other | 162 | 0.4032 | 0.455 | 0.4131 | 0.424 |  |  |  |  | 0 |

Population of Lab Values

| THCV (%DW) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%DW) | 512.02 | AOAC 2018.11, U | 210 | <0.0250 <0.0260 <0.0260 |  |  | <0.0250 |  | 1 |
| THCV (%DW) | 512.99 | Other | 189 | 0.0459 | 0.0114 | 0.0497 | 0.0357 | 0 |  |

| Δ8-THC (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 189 | 0.0073 | 0.007 | 0.0075 | 0.0073 | 0 |
| Δ8-THC (%DW) | 513.01 | AOAC 2018.10 | 210 | 0.023 | 0.022 | 0.022 | 0.0223 | 0 |

| CBC (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.99 | Other | 189 | 0.2218 | 0.2199 | 0.2221 | 0.221 | 0 |
| CBC (%DW) | 514.02 | AOAC 2018.11, U | 210 | 0.234 | 0.239 | 0.234 | 0.236 | 0 |
| CBC (%DW) | 514.99 | Other | 162 | 0.2393 | 0.2773 | 0.2557 | 0.257 | 0 |

- Flag definitions: 1 (Lab Value not used because there were less than 2 numeric lab results), 2 (Lab Value not used because there were less than 2 numeric lab results greater than 0).

- Robust statistics performed to determine robust mean and Z scores only if there were 6 or more numeric lab values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.