Hemp Proficiency Testing

All Labs Trueness HM24NOV-1 (hemp)

Sample: HM24NOV-1 (hemp)

All Labs Trueness

Issue Date: December 21, 2024

| Analyte | Code | Method | Lab Num |  | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Δ9-THC (%AR) |  |  |  |  |  |  |  |  |  |  |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 213 | 0.11 | 0.104 | 0.104 | 0.106 | -3.86 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 |  | 228 | 0.16 | 0.152 | 0.158 | 0.157 | -2.23 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 192 | 0.1658 | 0.1724 | 0.1681 | 0.169 | -1.84 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 |  | 148 | 0.172 | 0.204 | 0.192 | 0.189 | -1.18 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 141 | 0.1976 | 0.1813 | 0.1882 | 0.189 | -1.19 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 182 | 0.2001 | 0.1793 | 0.187 | 0.189 | -1.19 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 161 | 0.1881 | 0.1872 | 0.2078 | 0.194 | -1.01 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 149 | 0.217 | 0.197 | 0.209 | 0.208 | -0.58 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 170 | 0.2178 | 0.2051 | 0.213 | 0.212 | -0.45 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS |  | 149 | 0.237 | 0.208 | 0.208 | 0.218 | -0.26 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 144 | 0.2255 | 0.2103 | 0.2206 | 0.219 | -0.23 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 184 | 0.2215 | 0.225 | 0.2254 | 0.224 | -0.06 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV |  | 196 | 0.2287 | 0.2276 | 0.2152 | 0.224 | -0.06 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U |  | 125 | 0.2455 | 0.2127 | 0.2129 | 0.224 | -0.07 | 0.2258 | 31 | 0.031 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 103 | 0.2396 | 0.2216 | 0.2136 | 0.225 | -0.03 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 165 | 0.2232 | 0.2203 | 0.2338 | 0.226 | 0 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.2309 | 0.2145 | 0.2408 | 0.229 | 0.1 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.2287 | 0.2355 | 0.2299 | 0.231 | 0.18 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.24 | 0.23 | 0.23 | 0.233 | 0.24 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.227 | 0.241 | 0.245 | 0.238 | 0.38 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.235 | 0.241 | 0.238 | 0.238 | 0.39 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.2423 | 0.2419 | 0.2393 | 0.241 | 0.5 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 183 | 0.2305 | 0.2397 | 0.2601 | 0.243 | 0.57 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 173 | 0.248 | 0.239 | 0.243 | 0.243 | 0.57 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.25 | 0.24 | 0.25 | 0.247 | 0.67 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.2565 | 0.2487 | 0.2524 | 0.253 | 0.86 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | 0.2719 | 0.254 | 0.2524 | 0.259 | 1.09 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.2689 | 0.256 | 0.2546 | 0.26 | 1.1 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.283 | 0.236 | 0.27 | 0.263 | 1.2 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.259 | 0.2665 | 0.2869 | 0.271 | 1.45 | 0.2258 | 31 | 0.031 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 164 | 0.2936 | 0.2666 | 0.2726 | 0.278 | 1.67 | 0.2258 | 31 | 0.031 | 0 |
|  |  |  |  | Δ9-THCA (%AR) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 213 | 0.018 | 0.017 | 0.017 | 0.0173 | -4.57 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.0284 | 0 | 0 | 0.0284 |  |  |  |  | 2 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 141 | 0.0392 | 0.035 | 0.0399 | 0.038 | -2.66 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 161 | <0.0500 | 0.0564 | 0.059 | 0.0551 | -1.08 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 173 | 0.057 | 0.054 | 0.053 | 0.0547 | -1.12 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | 0.0481 | 0.0543 | 0.0666 | 0.0563 | -0.97 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 182 | 0.0547 | 0.0568 | 0.0582 | 0.0566 | -0.95 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | 0.059 | 0.0586 | 0.0558 | 0.0578 | -0.83 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | 0.063 | 0.055 | 0.059 | 0.059 | -0.72 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 103 | 0.0558 | 0.0549 | 0.069 | 0.0599 | -0.64 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.059 | 0.063 | 0.059 | 0.0603 | -0.6 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 170 | 0.061 | 0.0616 | 0.0638 | 0.0621 | -0.43 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | 0.062 | 0.067 | 0.068 | 0.0657 | -0.11 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.0648 | 0.0669 | 0.0665 | 0.0661 | -0.07 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0.0649 | 0.0647 | 0.0684 | 0.066 | -0.07 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.0688 | 0.0702 | 0.067 | 0.0687 | 0.17 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.07 | 0.07 | 0.07 | 0.07 | 0.29 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0687 | 0.0723 | 0.0683 | 0.0698 | 0.27 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0682 | 0.0678 | 0.0793 | 0.0718 | 0.46 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | 0.0729 | 0.0726 | 0.0727 | 0.0727 | 0.55 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | 0.072 | 0.075 | 0.0757 | 0.0742 | 0.69 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 183 | 0.0714 | 0.0723 | 0.0782 | 0.074 | 0.66 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 148 | 0.08 | 0.071 | 0.073 | 0.0747 | 0.73 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 164 | 0.0773 | 0.0734 | 0.0771 | 0.0759 | 0.84 | 0.0668 | 28 | 0.0108 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 165 | 0.0749 | 0.0772 | 0.0798 | 0.0773 | 0.97 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.093 | 0.074 | 0.068 | 0.0783 | 1.06 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | 0.0783 | 0.0737 | 0.0846 | 0.0789 | 1.11 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | 0.077 | 0.104 | 0.061 | 0.0807 | 1.28 | 0.0668 | 28 | 0.0108 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | 0.0971 | 0.0949 | 0.0872 | 0.0931 | 2.43 | 0.0668 | 28 | 0.0108 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 4.439 | 3.471 | 3.79 | 3.9 | -2.07 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 161 | 4.2632 | 4.1849 | 4.249 | 4.23 | -1.37 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 4.233 | 4.206 | 4.492 | 4.31 | -1.2 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 228 | 4.29 | 4.53 | 4.38 | 4.4 | -1.01 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 213 | 4.639 | 4.329 | 4.356 | 4.44 | -0.93 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 4.4375 | 4.1699 | 4.7589 | 4.46 | -0.9 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 4.633 | 4.46 | 4.566 | 4.55 | -0.69 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 173 | 4.807 | 4.651 | 4.591 | 4.68 | -0.42 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 4.7521 | 4.7 | 4.8265 | 4.76 | -0.25 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 103 | 4.89 | 4.7026 | 4.7589 | 4.78 | -0.2 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 170 | 4.9922 | 4.5136 | 4.8974 | 4.8 | -0.17 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 4.9436 | 4.7842 | 4.7013 | 4.81 | -0.15 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 141 | 5.3218 | 4.5841 | 4.7953 | 4.9 | 0.04 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 5.1353 | 4.8019 | 5.1462 | 5.03 | 0.31 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 4.929 | 5.056 | 5.2015 | 5.06 | 0.38 | 4.88 | 24 | 0.4733 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 5.0763 | 5.1481 | 5.1139 | 5.11 | 0.49 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 183 | 4.9104 | 4.9212 | 5.5411 | 5.12 | 0.52 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 5.0249 | 5.2211 | 5.1557 | 5.13 | 0.54 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 5.2183 | 5.0983 | 5.1176 | 5.14 | 0.56 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 5.3566 | 5.2129 | 5.2847 | 5.28 | 0.86 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 5.4435 | 5.2426 | 5.2208 | 5.3 | 0.89 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 5.4361 | 5.4975 | 5.4062 | 5.45 | 1.2 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 5.76 | 5.64 | 5.56 | 5.65 | 1.63 | 4.88 | 24 | 0.4733 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 164 | 5.6701 | 5.4082 | 5.9102 | 5.66 | 1.65 | 4.88 | 24 | 0.4733 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | 4.183 | 3.233 | 3.736 | 3.72 | -2.32 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 161 | 4.1174 | 3.9306 | 4.0736 | 4.04 | -1.36 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 4.035 | 4.068 | 4.33 | 4.14 | -1.05 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 173 | 4.337 | 4.154 | 4.122 | 4.2 | -0.87 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 213 | 4.4 | 4.189 | 4.115 | 4.23 | -0.78 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 4.2273 | 4.3138 | 4.2806 | 4.27 | -0.67 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 4.3229 | 3.9241 | 4.5853 | 4.28 | -0.65 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 4.3961 | 4.066 | 4.3663 | 4.28 | -0.66 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 4.2778 | 4.3244 | 4.5602 | 4.39 | -0.33 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 4.614 | 4.192 | 4.365 | 4.39 | -0.32 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 4.6389 | 4.5554 | 4.2676 | 4.49 | -0.03 | 4.4971 | 23 | 0.3355 | 0 |

Population of Lab Values

Lab

Lab

Population of Lab Values

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 4.362 | 4.7404 | 4.3885 | 4.5 | 0 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 141 | 4.831 | 4.2758 | 4.3975 | 4.5 | 0.01 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 183 | 4.3131 | 4.4019 | 4.9659 | 4.56 | 0.19 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 103 | 4.7748 | 4.6404 | 4.3739 | 4.6 | 0.3 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | 4.8786 | 4.4929 | 4.531 | 4.63 | 0.41 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 4.5135 | 4.7528 | 4.6261 | 4.63 | 0.4 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 4.5605 | 4.783 | 4.8645 | 4.74 | 0.71 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 4.7531 | 4.7618 | 4.7574 | 4.76 | 0.78 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 5.11 | 4.89 | 4.71 | 4.9 | 1.21 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 170 | 5.0114 | 4.8527 | 4.8556 | 4.91 | 1.22 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 5.0527 | 5.1268 | 5.0542 | 5.08 | 1.73 | 4.4971 | 23 | 0.3355 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 164 | 6.8501 | 7.046 | 7.3094 | 7.07 | 7.66 | 4.4971 | 23 | 0.3355 | 0 |

| CBN (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | <0.0725 | <0.0478 | <0.0721 | <0.0725 |  |  |  |  | 1 |
| CBN (%AR) | 005.30 | GC-FID | 192 | 0.0281 | 0.0239 | 0.029 | 0.027 | -1.44 | 0.0419 | 19 | 0.0103 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 141 | 0.032 | 0.0272 | 0.0236 | 0.0276 | -1.38 | 0.0419 | 19 | 0.0103 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0302 | 0.035 | 0.0332 | 0.0328 | -0.88 | 0.0419 | 19 | 0.0103 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0348 | 0.0329 | 0.0353 | 0.0343 | -0.73 | 0.0419 | 19 | 0.0103 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.0326 | 0.0349 | 0.0365 | 0.0347 | -0.7 | 0.0419 | 19 | 0.0103 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | 0.035 | 0.034 | 0.036 | 0.035 | -0.67 | 0.0419 | 19 | 0.0103 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | 0.0361 | 0.0362 | 0.0362 | 0.0362 | -0.56 | 0.0419 | 19 | 0.0103 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 213 | 0.039 | 0.036 | 0.036 | 0.037 | -0.48 | 0.0419 | 19 | 0.0103 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 149 | 0.051 | 0.032 | 0.034 | 0.039 | -0.28 | 0.0419 | 19 | 0.0103 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0439 | 0.0445 | 0.0449 | 0.0444 | 0.24 | 0.0419 | 19 | 0.0103 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 183 | 0.0404 | 0.0441 | 0.0475 | 0.044 | 0.2 | 0.0419 | 19 | 0.0103 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 122 | 0.0452 | 0.044 | 0.0446 | 0.0446 | 0.26 | 0.0419 | 19 | 0.0103 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 173 | 0.052 | 0.044 | 0.042 | 0.046 | 0.4 | 0.0419 | 19 | 0.0103 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0484 | 0.0494 | 0.0481 | 0.0486 | 0.65 | 0.0419 | 19 | 0.0103 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 116 | 0.0473 | 0.0509 | 0.0533 | 0.0505 | 0.83 | 0.0419 | 19 | 0.0103 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.05 | 0.05 | 0.05 | 0.05 | 0.78 | 0.0419 | 19 | 0.0103 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | 0.0434 | 0.0535 | 0.0525 | 0.0498 | 0.76 | 0.0419 | 19 | 0.0103 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 125 | 0.0981 | 0.0515 | 0.052 | 0.0672 | 2.45 | 0.0419 | 19 | 0.0103 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.0658 | 0.0572 | 0.1401 | 0.0877 | 4.43 | 0.0419 | 19 | 0.0103 | 0 |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 213 | 0.125 | 0.119 | 0.118 | 0.121 | -3.76 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 192 | 0.1253 | 0.1236 | 0.1451 | 0.131 | -3.52 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1907 | 0.1724 | 0.1681 | 0.177 | -2.49 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 141 | 0.2319 | 0.212 | 0.2233 | 0.222 | -1.47 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.247 | 0.206 | 0.243 | 0.232 | -1.26 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 182 | 0.2481 | 0.2291 | 0.2323 | 0.236 | -1.16 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 148 | 0.242 | 0.266 | 0.255 | 0.254 | -0.75 | 0.2879 | 36 | 0.0445 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.2707 | 0.259 | 0.2431 | 0.258 | -0.68 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.272 | 0.245 | 0.261 | 0.259 | -0.64 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.2492 | 0.2629 | 0.2669 | 0.26 | -0.63 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.2667 | 0.2648 | 0.2642 | 0.265 | -0.51 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.2804 | 0.279 | 0.2642 | 0.275 | -0.3 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.2885 | 0.2697 | 0.2741 | 0.277 | -0.23 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.2823 | 0.269 | 0.2789 | 0.277 | -0.25 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.2731 | 0.2621 | 0.2992 | 0.278 | -0.22 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.2815 | 0.2882 | 0.2861 | 0.285 | -0.06 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.305 | 0.299 | 0.261 | 0.288 | 0.01 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 173 | 0.298 | 0.2864 | 0.2895 | 0.291 | 0.08 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.2891 | 0.297 | 0.2886 | 0.292 | 0.08 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.289 | 0.3 | 0.298 | 0.296 | 0.18 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 165 | 0.2889 | 0.298 | 0.3038 | 0.297 | 0.2 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.3017 | 0.2953 | 0.3017 | 0.3 | 0.26 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.3026 | 0.3052 | 0.2991 | 0.302 | 0.32 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.3082 | 0.2948 | 0.3062 | 0.303 | 0.34 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.50 | GC-MS | 230 | 0.3154 | 0.3071 | 0.2907 | 0.304 | 0.37 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.3306 | 0.2959 | 0.2893 | 0.305 | 0.39 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 183 | 0.293 | 0.303 | 0.3287 | 0.308 | 0.46 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.3154 | 0.316 | 0.303 | 0.311 | 0.53 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.3201 | 0.3123 | 0.3162 | 0.316 | 0.64 | 0.2879 | 36 | 0.0445 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.3406 | 0.3186 | 0.3266 | 0.329 | 0.92 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.364 | 0.301 | 0.33 | 0.332 | 0.99 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.3188 | 0.326 | 0.3564 | 0.334 | 1.03 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.3485 | 0.3603 | 0.3387 | 0.349 | 1.38 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 164 | 0.3709 | 0.34 | 0.3497 | 0.354 | 1.48 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 190 | 0.3701 | 0.352 | 0.3601 | 0.361 | 1.64 | 0.2879 | 36 | 0.0445 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.3901 | 0.4097 | 0.3825 | 0.394 | 2.39 | 0.2879 | 36 | 0.0445 | 0 |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.40 | GC-FID | 192 | 4.4936 | 4.5003 | 4.4642 | 4.49 | -6.78 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 8.107 | 6.3606 | 7.067 | 7.18 | -2.69 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 8.2287 | 7.6113 | 8.7802 | 8.21 | -1.12 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 173 | 8.611 | 8.294 | 8.206 | 8.37 | -0.87 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 8.68 | 8.136 | 8.394 | 8.4 | -0.82 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 8.461 | 8.7914 | 8.5541 | 8.6 | -0.52 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 8.5037 | 8.4926 | 8.8258 | 8.61 | -0.51 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 8.641 | 8.651 | 8.854 | 8.72 | -0.35 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 9.0119 | 8.7793 | 8.444 | 8.75 | -0.3 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 8.9906 | 8.3678 | 8.9754 | 8.78 | -0.25 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 103 | 9.0775 | 8.7722 | 8.5948 | 8.81 | -0.19 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 141 | 9.5586 | 8.334 | 8.6519 | 8.85 | -0.14 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 8.7836 | 8.9313 | 8.868 | 8.86 | -0.12 | 8.942 | 23 | 0.6569 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.10 | Other LC-UV | 183 | 8.69 | 8.78 | 9.9 | 9.12 | 0.28 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 8.9841 | 9.3903 | 9.2137 | 9.2 | 0.39 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 9.4969 | 9.0386 | 9.0913 | 9.21 | 0.41 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 8.9286 | 9.2507 | 9.4677 | 9.22 | 0.42 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 9.2689 | 9.3999 | 9.0695 | 9.25 | 0.46 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 9.525 | 9.389 | 9.457 | 9.46 | 0.78 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 9.4925 | 9.6731 | 9.5669 | 9.58 | 0.97 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 10.3055 | 9.8146 | 9.6463 | 9.92 | 1.49 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 10.0498 | 10.3204 | 10.3038 | 10.2 | 1.95 | 8.942 | 23 | 0.6569 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 164 | 11.6776 | 11.5876 | 12.3205 | 11.9 | 4.44 | 8.942 | 23 | 0.6569 | 0 |
|  |  |  |  | CBDV (%AR) |  |  |  |  |  |  |  |  |
| CBDV (%AR) | 008.99 | Other | 197 | <0.0483 | <0.0478 | <0.0481 | <0.0483 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 196 | 0.0274 | 0.0269 | 0.0254 | 0.0266 | -0.87 | 0.043 | 6 | 0.019 | 0 |
| CBDV (%AR) | 008.99 | Other | 149 | 0.034 | 0.03 | 0.031 | 0.0317 | -0.6 | 0.043 | 6 | 0.019 | 0 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0352 | 0.0344 | 0.0326 | 0.0341 | -0.47 | 0.043 | 6 | 0.019 | 0 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 183 | 0.0379 | 0.041 | 0.0445 | 0.0411 | -0.1 | 0.043 | 6 | 0.019 | 0 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.05 | 0.05 | 0.06 | 0.0533 | 0.54 | 0.043 | 6 | 0.019 | 0 |
| CBDV (%AR) | 008.99 | Other | 173 | 0.118 | 0.115 | 0.111 | 0.115 | 3.77 | 0.043 | 6 | 0.019 | 0 |
|  |  |  |  | CBDVA (%AR) |  |  |  |  |  |  |  |  |
| CBDVA (%AR) | 009.99 | Other | 197 | <0.0483 <0.0478 <0.0721 |  |  | <0.0483 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 196 | 0.045 | 0.0458 | 0.0432 | 0.0447 |  |  |  |  | 0 |
| CBDVA (%AR) | 009.99 | Other | 149 | 0.05 | 0.044 | 0.046 | 0.0467 |  |  |  |  | 0 |
| CBDVA (%AR) | 009.99 | Other | 173 | 0.056 | 0.051 | 0.049 | 0.052 |  |  |  |  | 0 |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, U | 183 | 0.051 | 0.07 | 0.059 | 0.06 |  |  |  |  | 0 |

Population of Lab Values

| CBG (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 197 | <0.0725 | <0.0718 | 0.0788 | 0.0744 |  |  |  |  | 1 |
| CBG (%AR) | 010.99 | Other | 141 | 0.1288 | 0.1094 | 0.1264 | 0.122 | -1.45 | 0.1709 | 9 | 0.034 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.146 | 0.135 | 0.141 | 0.141 | -0.89 | 0.1709 | 9 | 0.034 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.1581 | 0.1508 | 0.1443 | 0.151 | -0.58 | 0.1709 | 9 | 0.034 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.17 | 0.16 | 0.15 | 0.16 | -0.32 | 0.1709 | 9 | 0.034 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 183 | 0.1727 | 0.1694 | 0.187 | 0.176 | 0.16 | 0.1709 | 9 | 0.034 | 0 |
| CBG (%AR) | 010.99 | Other | 122 | 0.1866 | 0.1815 | 0.184 | 0.184 | 0.39 | 0.1709 | 9 | 0.034 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.1268 | 0.2215 | 0.2207 | 0.19 | 0.55 | 0.1709 | 9 | 0.034 | 0 |
| CBG (%AR) | 010.99 | Other | 173 | 0.209 | 0.195 | 0.195 | 0.2 | 0.85 | 0.1709 | 9 | 0.034 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.2294 | 0.1942 | 0.2215 | 0.215 | 1.3 | 0.1709 | 9 | 0.034 | 0 |

|  |  |  | CBGA (%AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 141 | 0.1378 | 0.1196 | 0.1442 | 0.134 | -2.5 | 0.1927 | 10 | 0.0236 | 0 |
| CBGA (%AR) | 011.99 | Other | 173 | 0.172 | 0.171 | 0.174 | 0.172 | -0.86 | 0.1927 | 10 | 0.0236 | 0 |
| CBGA (%AR) | 011.99 | Other | 149 | 0.165 | 0.184 | 0.185 | 0.178 | -0.62 | 0.1927 | 10 | 0.0236 | 0 |
| CBGA (%AR) | 011.99 | Other | 106 | 0.19 | 0.19 | 0.17 | 0.183 | -0.4 | 0.1927 | 10 | 0.0236 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 197 | 0.1932 | 0.1818 | 0.2106 | 0.195 | 0.11 | 0.1927 | 10 | 0.0236 | 0 |
| CBGA (%AR) | 011.99 | Other | 196 | 0.205 | 0.1992 | 0.1847 | 0.196 | 0.15 | 0.1927 | 10 | 0.0236 | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.2007 | 0.1973 | 0.195 | 0.198 | 0.21 | 0.1927 | 10 | 0.0236 | 0 |
| CBGA (%AR) | 011.99 | Other | 122 | 0.2033 | 0.2025 | 0.2029 | 0.203 | 0.44 | 0.1927 | 10 | 0.0236 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 183 | 0.2071 | 0.2081 | 0.2313 | 0.215 | 0.97 | 0.1927 | 10 | 0.0236 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | 0.2556 | 0.2364 | 0.2382 | 0.243 | 2.15 | 0.1927 | 10 | 0.0236 | 0 |

Population of Lab Values

| THCV (%AR) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 189 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |
| THCV (%AR) | 012.02 | AOAC 2018.11, U | 183 | <0.0070 | <0.0070 | <0.0070 | <0.0070 | 1 |
| THCV (%AR) | 012.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 | 1 |
| THCV (%AR) | 012.99 | Other | 197 | <0.0483 | <0.0478 | <0.0481 | <0.0483 | 1 |
| THCV (%AR) | 012.99 | Other | 173 | 0 | 0 | 0 | 0 | 2 |

| Δ8-THC (%AR) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, U | 183 | <0.0104 | <0.0104 | <0.0104 | <0.0104 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 141 | <0.0120 | <0.0120 | <0.0120 | <0.0120 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 | <0.0205 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0483 | <0.0478 | <0.0481 | <0.0483 | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 173 | 0 | 0 | 0 | 0 | 2 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0099 | 0.0081 | 0.1303 | 0.0494 |  |  |  |  | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.0546 | 0.057 | 0.0554 | 0.0557 |  |  |  |  | 0 |
| Δ8-THC (%AR) | 013.01 | AOAC 2018.10 | 228 | 0.0599 | 0.0638 | 0.0622 | 0.062 |  |  |  |  | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 213 | 0.174 | 0.167 | 0.166 | 0.169 |  |  |  |  | 0 |

Population of Lab Values

| CBC (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 149 | 0.218 | 0.197 | 0.208 | 0.208 | -1.23 | 0.2344 | 8 | 0.0216 | 0 |
| CBC (%AR) | 014.99 | Other | 173 | 0.223 | 0.214 | 0.212 | 0.216 | -0.83 | 0.2344 | 8 | 0.0216 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.2213 | 0.2086 | 0.2442 | 0.225 | -0.45 | 0.2344 | 8 | 0.0216 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.2377 | 0.2279 | 0.2255 | 0.23 | -0.18 | 0.2344 | 8 | 0.0216 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.2372 | 0.2348 | 0.2329 | 0.235 | 0.03 | 0.2344 | 8 | 0.0216 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.25 | 0.24 | 0.24 | 0.243 | 0.41 | 0.2344 | 8 | 0.0216 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 183 | 0.2438 | 0.2461 | 0.2623 | 0.251 | 0.76 | 0.2344 | 8 | 0.0216 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.2708 | 0.2725 | 0.3185 | 0.287 | 2.44 | 0.2344 | 8 | 0.0216 | 0 |

|  |  |  | Cd (ug/g AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | 0.169 | 0.158 | 0.165 | 0.164 | -3.21 | 0.212 | 8 | 0.015 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.1978 | 0.1922 | 0.1974 | 0.196 | -1.08 | 0.212 | 8 | 0.015 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 164 | 0.2145 | 0.2168 | 0.1951 | 0.209 | -0.21 | 0.212 | 8 | 0.015 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 183 | 0.222 | 0.213 | 0.212 | 0.216 | 0.25 | 0.212 | 8 | 0.015 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.232 | 0.208 | 0.212 | 0.217 | 0.36 | 0.212 | 8 | 0.015 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 141 | 0.235 | 0.221 | 0.203 | 0.22 | 0.51 | 0.212 | 8 | 0.015 | 0 |

| Analyte Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | 0.2174 | 0.2253 | 0.2194 | 0.221 | 0.58 | 0.212 | 8 | 0.015 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | 0.2252 | 0.2237 | 0.2358 | 0.228 | 1.09 | 0.212 | 8 | 0.015 | 0 |

Population of Lab Values

|  |  |  | As (ug/g AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 141 | 0.08 | 0.093 | 0.082 | 0.085 | -0.85 | 0.0983 | 7 | 0.0156 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | 0.089 | 0.09 | 0.086 | 0.0883 | -0.64 | 0.0983 | 7 | 0.0156 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.0773 | 0.0903 | 0.1007 | 0.0894 | -0.57 | 0.0983 | 7 | 0.0156 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 164 | 0.0927 | 0.0846 | 0.0906 | 0.0893 | -0.57 | 0.0983 | 7 | 0.0156 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | 0.102 | 0.107 | 0.11 | 0.106 | 0.52 | 0.0983 | 7 | 0.0156 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | 0.1177 | 0.1056 | 0.1 | 0.108 | 0.61 | 0.0983 | 7 | 0.0156 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 183 | 0.142 | 0.15 | 0.154 | 0.149 | 3.23 | 0.0983 | 7 | 0.0156 | 0 |

|  |  |  | Hg (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | <0.0072 | <0.0072 | <0.0072 | <0.0072 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | <0.0080 | <0.0080 | <0.0080 | <0.0080 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 141 | <0.0300 | <0.0300 | <0.0300 | <0.0300 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 164 | <0.0500 | <0.0500 | <0.0500 | <0.0500 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0956 | <0.0963 | <0.0984 | <0.0956 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 183 | 0.006 | 0.004 | 0.005 | 0.005 | 0 |
| Hg (ug/g AR) | 103.99 | Other | 102 | 0.0087 | 0.0083 | 0.0074 | 0.0081 | 0 |

| Analyte Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Population of Lab Values

|  |  |  | Pb (ug/g AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.249 | 0.214 | 0.261 | 0.241 | -1.19 | 0.2716 | 8 | 0.0254 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.2138 | 0.232 | 0.3013 | 0.249 | -0.89 | 0.2716 | 8 | 0.0254 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 164 | 0.2688 | 0.2494 | 0.2562 | 0.258 | -0.53 | 0.2716 | 8 | 0.0254 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 141 | 0.27 | 0.278 | 0.265 | 0.271 | -0.02 | 0.2716 | 8 | 0.0254 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | 0.268 | 0.281 | 0.264 | 0.271 | -0.02 | 0.2716 | 8 | 0.0254 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 183 | 0.273 | 0.292 | 0.287 | 0.284 | 0.49 | 0.2716 | 8 | 0.0254 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | 0.26 | 0.2949 | 0.3112 | 0.289 | 0.67 | 0.2716 | 8 | 0.0254 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 0.3235 | 0.393 | 0.284 | 0.333 | 2.44 | 0.2716 | 8 | 0.0254 | 0 |

|  |  |  | Cu (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | 13.7 | 13.3 | 13.5 | 13.5 | 0 |

|  |  |  | Ni (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | 1.52 | 1.43 | 1.78 | 1.58 | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 141 | 1.71 | 1.8 | 1.9 | 1.8 | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 183 | 1.79 | 1.82 | 1.89 | 1.83 | 0 |

|  |  |  | Cr (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | 0.698 | 0.916 | 0.871 | 0.828 | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 141 | 1.29 | 1.23 | 1.02 | 1.18 | 0 |

| Analyte Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Population of Lab Values

|  |  |  | Se (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Se (ug/g AR) | 108.04 | ICP-MS | 141 | <0.4030 | <0.4000 | <0.3980 | <0.4030 | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | 0.1741 | 0.1514 | 0.1225 | 0.149 | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | 0.16 | 0.164 | 0.177 | 0.167 | 0 |

|  |  |  | Zn (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Zn (ug/g AR) | 111.04 | ICP-MS | 141 | 63.8 | 62.9 | 62.7 | 63.1 | 0 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 90 | 81.2 | 78.3 | 83.2 | 0 |

Sb (ug/g AR)

Sb (ug/g AR)

112.04	ICP-MS

196

<0.0241  <0.0241	<0.0241	<0.0241	1

|  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0363 | 0.0353 | 0.0328 | 0.0348 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | 0.1047 | 0.1013 | 0.089 | 0.0983 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 183 | 0.11 | 0.114 | 0.129 | 0.118 | 0 |

|  |  |  | beta-Caryophyllene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Caryophyllene (% | 202.02 | GC,MS | 183 | 0.0469 | 0.0472 | 0.045 | 0.0464 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | 0.0523 | 0.051 | 0.044 | 0.0491 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0545 | 0.0567 | 0.057 | 0.0561 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | (-)-Caryophyllene oxide (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | <0.0158 <0.0158 <0.0158 |  |  | <0.0158 |  |  |  |  | 1 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 183 | 0.0164 | 0.0146 | 0.0162 | 0.0157 |  |  |  |  | 0 |
|  |  |  |  | Geraniol (%AR) |  |  |  |  |  |  |  |  |
| Geraniol (%AR) | 204.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.2520 | <0.2520 | <0.2520 | <0.2520 |  |  |  |  | 1 |
|  |  |  |  | alpha-Humulene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | 0.0225 | 0.0217 | 0.0198 | 0.0213 |  |  |  |  | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.0226 | 0.0233 | 0.0241 | 0.0233 |  |  |  |  | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 183 | 0.0265 | 0.0243 | 0.0243 | 0.025 |  |  |  |  | 0 |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 | <0.0039 |  |  |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | Linalool (%AR) |  |  |  |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 183 | <0.0020 <0.0020 <0.0020 |  |  | <0.0020 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Linalool (%AR) | 207.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 | <0.0039 |  |  |  |  | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 | <0.0039 |  |  |  |  | 1 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | Ocimene (%AR) |  |  |  |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 | <0.0039 |  |  |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 | <0.0039 |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |  |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 | <0.0039 |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |

Population of Lab Values

| Analyte Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Population of Lab Values

|  |  |  | alpha-Terpinene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 | <0.0039 | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

|  |  |  | gamma-Terpinene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| gamma-Terpinene (%A | 214.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 | <0.0039 | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

|  |  |  | alpha-Terpinolene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 | <0.0039 | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

| Moisture (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 3.62 | 3.14 | 3.34 | 3.37 | -1.98 | 7.4957 | 15 | 2.0879 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 189 | 4.94 | 4.94 | 4.94 | 4.94 | -1.22 | 7.4957 | 15 | 2.0879 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 5.59 | 5.61 | 5.49 | 5.56 | -0.93 | 7.4957 | 15 | 2.0879 | 0 |
| Moisture (%AR) | 500.99 | Other | 102 | 5.7 | 6.5 | 6 | 6.07 | -0.68 | 7.4957 | 15 | 2.0879 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 6.42 | 6.7 | 6.56 | 6.56 | -0.45 | 7.4957 | 15 | 2.0879 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.99 | Other | 103 | 6.6 | 6.8 | 6.62 | 6.67 | -0.39 | 7.4957 | 15 | 2.0879 | 0 |
| Moisture (%AR) | 500.72 | NIR | 138 | 6.7 | 6.7 | 6.8 | 6.73 | -0.37 | 7.4957 | 15 | 2.0879 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 196 | 7.45 | 7.4 | 7.46 | 7.44 | -0.03 | 7.4957 | 15 | 2.0879 | 0 |
| Moisture (%AR) | 500.99 | Other | 165 | 7.68 | 7.78 | 7.68 | 7.71 | 0.1 | 7.4957 | 15 | 2.0879 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 182 | 8.21 | 9.045 | 9.335 | 8.86 | 0.66 | 7.4957 | 15 | 2.0879 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 183 | 8.95 | 10.64 | 7.37 | 8.99 | 0.71 | 7.4957 | 15 | 2.0879 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 8.01 | 9.05 | 10.26 | 9.11 | 0.77 | 7.4957 | 15 | 2.0879 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 162 | 9.61 | 8.91 | 9.8 | 9.44 | 0.93 | 7.4957 | 15 | 2.0879 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 9.6236 | 9.8366 | 9.5733 | 9.68 | 1.05 | 7.4957 | 15 | 2.0879 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 10.482 | 10.2563 | 10.1953 | 10.3 | 1.35 | 7.4957 | 15 | 2.0879 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 103 | 0.2565 | 0.2378 | 0.2287 | 0.241 | -1.31 | 0.2552 | 8 | 0.0108 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 165 | 0.2418 | 0.2495 | 0.2532 | 0.248 | -0.65 | 0.2552 | 8 | 0.0108 | 0 |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 210 | 0.257 | 0.249 | 0.246 | 0.251 | -0.42 | 0.2552 | 8 | 0.0108 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.249 | 0.258 | 0.253 | 0.253 | -0.17 | 0.2552 | 8 | 0.0108 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.2566 | 0.2561 | 0.2533 | 0.255 | 0.02 | 0.2552 | 8 | 0.0108 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 162 | 0.2336 | 0.2576 | 0.2781 | 0.256 | 0.12 | 0.2552 | 8 | 0.0108 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 199 | 0.2536 | 0.2685 | 0.2728 | 0.265 | 0.91 | 0.2552 | 8 | 0.0108 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.2725 | 0.2803 | 0.3018 | 0.285 | 2.76 | 0.2552 | 8 | 0.0108 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 228 | 0.0511 | 0.0503 | 0.0499 | 0.0504 | -2.44 | 0.0713 | 8 | 0.0085 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 103 | 0.0597 | 0.0589 | 0.0739 | 0.0642 | -0.84 | 0.0713 | 8 | 0.0085 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | 0.066 | 0.072 | 0.072 | 0.07 | -0.15 | 0.0713 | 8 | 0.0085 | 0 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 210 | 0.075 | 0.072 | 0.07 | 0.0723 | 0.12 | 0.0713 | 8 | 0.0085 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 162 | 0.0696 | 0.0756 | 0.0718 | 0.0723 | 0.12 | 0.0713 | 8 | 0.0085 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0727 | 0.0765 | 0.0723 | 0.0738 | 0.3 | 0.0713 | 8 | 0.0085 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.0718 | 0.0714 | 0.0835 | 0.0756 | 0.5 | 0.0713 | 8 | 0.0085 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 165 | 0.0811 | 0.0836 | 0.0864 | 0.0837 | 1.45 | 0.0713 | 8 | 0.0085 | 0 |
|  |  |  |  | CBD (%DW) |  |  |  |  |  |  |  |  |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 103 | 5.2355 | 5.0457 | 5.0963 | 5.13 | -1.4 | 5.4244 | 6 | 0.2138 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 189 | 5.3401 | 5.4156 | 5.3796 | 5.38 | -0.22 | 5.4244 | 6 | 0.2138 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 162 | 5.6654 | 5.1356 | 5.3746 | 5.39 | -0.15 | 5.4244 | 6 | 0.2138 | 0 |
| CBD (%DW) | 503.01 | AOAC 2018.10 | 210 | 5.484 | 5.241 | 5.451 | 5.39 | -0.15 | 5.4244 | 6 | 0.2138 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 5.764 | 5.5512 | 5.5281 | 5.61 | 0.89 | 5.4244 | 6 | 0.2138 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 199 | 5.5062 | 5.6338 | 5.792 | 5.64 | 1.03 | 5.4244 | 6 | 0.2138 | 0 |
|  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 228 | 3.902 | 3.845 | 3.801 | 3.85 | -1.42 | 4.8461 | 7 | 0.7013 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 4.4469 | 4.538 | 4.5031 | 4.5 | -0.5 | 4.8461 | 7 | 0.7013 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 4.6188 | 5.0195 | 4.6469 | 4.76 | -0.12 | 4.8461 | 7 | 0.7013 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 162 | 5.0738 | 4.565 | 4.6956 | 4.78 | -0.1 | 4.8461 | 7 | 0.7013 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 103 | 5.1122 | 4.979 | 4.684 | 4.93 | 0.11 | 4.8461 | 7 | 0.7013 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 199 | 5.0945 | 5.3296 | 5.4168 | 5.28 | 0.62 | 4.8461 | 7 | 0.7013 | 0 |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 210 | 5.978 | 5.804 | 5.714 | 5.83 | 1.41 | 4.8461 | 7 | 0.7013 | 0 |
|  |  |  |  | CBN (%DW) |  |  |  |  |  |  |  |  |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| CBN (%DW) | 505.30 | GC-FID | 192 | 0.0311 | 0.0265 | 0.032 | 0.0299 | -1.35 | 0.0441 | 6 | 0.0106 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.0334 | 0.0388 | 0.0367 | 0.0363 | -0.74 | 0.0441 | 6 | 0.0106 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 162 | 0.0493 | 0.0456 | 0.0426 | 0.0458 | 0.16 | 0.0441 | 6 | 0.0106 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0461 | 0.0468 | 0.0472 | 0.0467 | 0.24 | 0.0441 | 6 | 0.0106 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | 0.0459 | 0.0566 | 0.0556 | 0.0527 | 0.81 | 0.0441 | 6 | 0.0106 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 116 | 0.0501 | 0.0539 | 0.0564 | 0.0535 | 0.88 | 0.0441 | 6 | 0.0106 | 0 |
|  |  |  |  | Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 192 | 0.1386 | 0.1371 | 0.1604 | 0.145 | -4.58 | 0.3026 | 14 | 0.0343 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.211 | 0.1912 | 0.1859 | 0.196 | -3.11 | 0.3026 | 14 | 0.0343 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 182 | 0.2702 | 0.2518 | 0.2562 | 0.259 | -1.26 | 0.3026 | 14 | 0.0343 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 199 | 0.2755 | 0.2904 | 0.2947 | 0.287 | -0.46 | 0.3026 | 14 | 0.0343 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 103 | 0.3089 | 0.2894 | 0.2935 | 0.297 | -0.16 | 0.3026 | 14 | 0.0343 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 138 | 0.3018 | 0.309 | 0.3067 | 0.306 | 0.09 | 0.3026 | 14 | 0.0343 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.32 | 0.305 | 0.317 | 0.314 | 0.33 | 0.3026 | 14 | 0.0343 | 0 |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 210 | 0.323 | 0.312 | 0.307 | 0.314 | 0.33 | 0.3026 | 14 | 0.0343 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.307 | 0.321 | 0.316 | 0.315 | 0.35 | 0.3026 | 14 | 0.0343 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.3204 | 0.3232 | 0.3167 | 0.32 | 0.51 | 0.3026 | 14 | 0.0343 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 162 | 0.2946 | 0.3239 | 0.3411 | 0.32 | 0.5 | 0.3026 | 14 | 0.0343 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 165 | 0.3129 | 0.3228 | 0.329 | 0.322 | 0.55 | 0.3026 | 14 | 0.0343 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.334 | 0.3346 | 0.3208 | 0.33 | 0.79 | 0.3026 | 14 | 0.0343 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.3354 | 0.3429 | 0.375 | 0.351 | 1.41 | 0.3026 | 14 | 0.0343 | 0 |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| Total CBD (%DW) | 507.40 | GC-FID | 192 | 4.9721 | 4.9913 | 4.9368 | 4.97 | -5.33 | 9.6589 | 10 | 0.8796 | 0 |
| Total CBD (%DW) | 507.01 | AOAC 2018.10 | 210 | 10.727 | 10.331 | 5.451 | 8.84 | -0.94 | 9.6589 | 10 | 0.8796 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 189 | 9.24 | 9.3954 | 9.3288 | 9.32 | -0.38 | 9.6589 | 10 | 0.8796 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 103 | 9.719 | 9.4123 | 9.2041 | 9.45 | -0.24 | 9.6589 | 10 | 0.8796 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 9.4092 | 9.4191 | 9.7601 | 9.53 | -0.15 | 9.6589 | 10 | 0.8796 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 162 | 10.1152 | 9.1391 | 9.4926 | 9.58 | -0.09 | 9.6589 | 10 | 0.8796 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 9.8146 | 9.9533 | 9.6034 | 9.79 | 0.15 | 9.6589 | 10 | 0.8796 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 199 | 9.9741 | 10.3079 | 10.5425 | 10.3 | 0.7 | 9.6589 | 10 | 0.8796 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 10.9123 | 10.3924 | 10.2142 | 10.5 | 0.96 | 9.6589 | 10 | 0.8796 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 138 | 10.7753 | 11.0655 | 11.0477 | 11 | 1.48 | 9.6589 | 10 | 0.8796 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBDV (%DW) |  |  |  |  |  |  |  |  |
| CBDV (%DW) | 508.99 | Other | 189 | 0.037 | 0.0362 | 0.0343 | 0.0358 |  |  |  |  | 0 |
| CBDV (%DW) | 508.99 | Other | 162 | 0.0391 | 0.0418 | 0.0392 | 0.04 |  |  |  |  | 0 |
| CBDV (%DW) | 508.02 | AOAC 2018.11, U | 210 | 0.039 | 0.043 | 0.04 | 0.0407 |  |  |  |  | 0 |
|  |  |  |  | CBDVA (%DW) |  |  |  |  |  |  |  |  |
| CBDVA (%DW) | 509.01 | AOAC 2018.10 | 210 | 0.044 | 0.039 | 0.042 | 0.0417 |  |  |  |  | 0 |
|  |  |  |  | CBG (%DW) |  |  |  |  |  |  |  |  |
| CBG (%DW) | 510.99 | Other | 162 | 0.1727 | 0.1635 | 0.1702 | 0.169 |  |  |  |  | 0 |
| CBG (%DW) | 510.01 | AOAC 2018.10 | 210 | 0.183 | 0.174 | 0.17 | 0.176 |  |  |  |  | 0 |
| CBG (%DW) | 510.99 | Other | 189 | 0.1334 | 0.233 | 0.2322 | 0.2 |  |  |  |  | 0 |
|  |  |  |  | CBGA (%DW) |  |  |  |  |  |  |  |  |
| CBGA (%DW) | 511.01 | AOAC 2018.10 | 210 | 0.13 | 0.112 | 0.117 | 0.12 |  |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 189 | 0.2111 | 0.2076 | 0.2051 | 0.208 |  |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 162 | 0.2371 | 0.2359 | 0.236 | 0.236 |  |  |  |  | 0 |
|  |  |  |  | THCV (%DW) |  |  |  |  |  |  |  |  |
| THCV (%DW) | 512.99 | Other | 189 | <0.0050 <0.0050 <0.0050 |  |  | <0.0050 |  |  |  |  | 1 |
| THCV (%DW) | 512.02 | AOAC 2018.11, U | 210 | <0.0130 <0.0130 <0.0130 |  |  | <0.0130 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num |  | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Δ8-THC (%DW) |  |  |  |  |  |  |  |  |  |  |
| Δ8-THC (%DW) | 513.99 | Other |  | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |
| Δ8-THC (%DW) | 513.01 | AOAC 2018.10 |  | 210 | 0.015 | 0.014 | 0.014 | 0.0143 | 0 |  |  |  |  |
| Δ8-THC (%DW) | 513.99 | Other |  | 189 | 0.0104 | 0.0085 | 0.1371 | 0.052 | 0 |  |  |  |  |

Population of Lab Values

|  |  |  | CBC (%DW) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.99 | Other | 162 | 0.2514 | 0.2544 | 0.2662 | 0.257 | 0 |
| CBC (%DW) | 514.99 | Other | 189 | 0.2849 | 0.2867 | 0.3351 | 0.302 | 0 |

- Flag definitions: 1 (Lab Value not used because there were less than 2 numeric lab results), 2 (Lab Value not used because there were less than 2 numeric lab results greater than 0).

- Robust statistics performed to determine robust mean and Z scores only if there were 6 or more numeric lab values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.