# Homogeneity and Stability

Sample ID . . . . . . . . . . . . . . . . . . . . . . . .

Samples shipped . . . . . . . . . . . . . . . . . . .

Results due date . . . . . . . . . . . . . . . . . . . .

HM24NOV-1

11-Nov-24

20-Dec-24

## Homogeneity

7 sample jars randomly chosen for analysis.

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 0.2925 | 0.2941 |
| 2 | 0.2926 | 0.2980 |
| 3 | 0.2882 | 0.2934 |
| 4 | 0.2988 | 0.3003 |
| 5 | 0.3030 | 0.2942 |
| 6 | 0.3158 | 0.3095 |
| 7 | 0.3078 | 0.3226 |
| 8 | 0.3152 | 0.3045 |
| 9 |  |  |
| 10 |  |  |

Duplicate test portions analyzed for analyte and method shown in table caption.

| Total THC (%AR) via GC-FID (method 006.40) |  |  | %RSD | HorRat-r |
| --- | --- | --- | --- | --- |
| Analysis Date: 11/10/23 | Overall average: | 0.3019 |  |  |
|  | SD of sample avgs: | 0.009367 | 3.10 |  |
|  | repeatability SD: | 0.005661 | 1.88 | 0.4 |
|  | between-sample SD: | 0.00847 | 2.81 |  |
|  | reproducibilty SD: | 0.01019 | 3.38 |  |
|  | SD used for Analyte z scores: | 0.0445 |  |  |
|  | Check value: | 0.01335 |  |  |
|  | Total THC (%AR) via GC-FID (method 006.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |
| Total CBD (%AR) via GC-FID (method 007.40) |  |  | %RSD | HorRat-r |
| Analysis Date: 11/10/23 | Overall average: | 10.3337 |  |  |
|  | SD of sample avgs: | 0.1247 | 1.21 |  |
|  | repeatability SD: | 0.2035 | 1.97 | 0.7 |
|  | between-sample SD: | 0 | 0.00 |  |
|  | reproducibilty SD: | 0.2035 | 1.97 |  |
|  | SD used for Analyte z scores: | 0.6569 |  |  |
|  | Check value: | 0.19707 |  |  |
|  | Total CBD (%AR) via GC-FID (method 007.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 10.5912 | 10.1314 |
| 2 | 10.3659 | 10.2349 |
| 3 | 10.2514 | 10.4385 |
| 4 | 10.6742 | 10.2659 |
| 5 | 10.3613 | 10.2841 |
| 6 | 10.5946 | 10.4315 |
| 7 | 10.0199 | 10.4627 |
| 8 | 10.1471 | 10.0851 |
| 9 |  |  |
| 10 |  |  |

Stability

Sample tested on different days from date sample shipped to results due date. Sample stored at room temperature during period of testing.

| Total THC (%AR) via GC-FID (method 006.40) |  |  |
| --- | --- | --- |
| Date of Analysis | Days | Conc. |
| 11/13/24 | 0 | 0.2782 |
| 12/2/24 | 19 | 0.2808 |
| 12/10/24 | 27 | 0.3182 |
| 12/16/24 | 33 | 0.2984 |
| 12/24/24 | 41 | 0.2979 |

Days = x variable, Conc = y variable SUMMARY OUTPUT

Regression Statistics

Multiple R	 0.6173108 R Square	0.3810726 Adjusted R Squ 0.1747635 Standard Error  0.0146595

Observations	5

ANOVA

df	SS	MS	F	Significance F

Regression	1  0.00039694  0.0003969  1.8471	0.26726959

y = 0.0006x + 0.2794 R² = 0.3811

0.34

0.32

0.30

0.28

0.26

0.24

0.22

0.20

0

10

20

30

40

50

Residual	3	0.0006447  0.0002149

Total	4 0.00104164

Coefficients tandard Erro	t Stat	P-value	Lower 95%	Upper 95%

Intercept	0.2794257 0.01301109  21.475967  0.0002  0.238018622  0.320832807

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period.

Stability test passed.

X Variable 1	0.0006364 0.00046828  1.3590789  0.2673  -0.000853845  0.002126702

%RSD = 5.5	HorRat-R = 1.1

| Total CBD (%AR) via GC-FID (method 006.40) |  |  |
| --- | --- | --- |
| Date of Analysis | Days | Conc. |
| 11/13/24 | 0 | 10.0498 |
| 12/2/24 | 19 | 10.3204 |
| 12/10/24 | 27 | 10.3038 |
| 12/16/24 | 33 | 10.3240 |
| 12/24/24 | 41 | 11.0633 |

Days = x variable, Conc = y variable SUMMARY OUTPUT

Regression Statistics

Multiple R	0.7991837 R Square	0.6386946 Adjusted R Squ 0.5182594 Standard Error  0.2650291

Observations	5

ANOVA

df	SS	MS	F	Significance F

Regression	1  0.37250071  0.3725007  5.3032  0.104712223

11.5

11.0

10.5

10.0

9.5

9.0

8.5

8.0

7.5

0

10

20

30

40

50

Residual	3  0.21072128  0.0702404

y = 0.0195x + 9.9444 R² = 0.6387

Total	4 0.58322199

| Coefficients tandard Erro t Stat P-value Lower 95% | Upper 95% |
| --- | --- |
| Intercept 9.9443506 0.23522809 42.275353 3E-05 9.195749849 | 10.69295138 |
| X Variable 1 0.0194962 0.00846604 2.302873 0.1047 -0.007446507 | 0.046438956 |

Coefficient for x variable is statistically significantly different from 0. Signficant change in result occurred during testing period.

Stability test did not pass.

%RSD = 3.7	HorRat-R = 1.3