Hemp Proficiency Testing

All Labs Precision HM24NOV-2 (hemp)

Sample: HM24NOV-2 (hemp)

All Labs Precision

Issue Date:

December 21, 2024

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Δ9-THC (%AR)

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.2100 | 0.2100 | 0.2100 | 0 | 0 | 4.06 | 0 | 8.32 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.2092 | 0.2086 | 0.2095 | 0.22 | 0.04 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.2353 | 0.2313 | 0.2308 | 1.06 | 0.21 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 183 | 0.2075 | 0.2122 | 0.2072 | 1.34 | 0.27 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 170 | 0.1879 | 0.1828 | 0.1842 | 1.42 | 0.28 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 196 | 0.1970 | 0.1910 | 0.1926 | 1.61 | 0.31 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 213 | 0.0911 | 0.0884 | 0.0917 | 1.94 | 0.34 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.2040 | 0.2110 | 0.2110 | 1.94 | 0.38 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 141 | 0.1560 | 0.1520 | 0.1486 | 2.43 | 0.46 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.2059 | 0.2124 | 0.2030 | 2.32 | 0.46 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.2057 | 0.2024 | 0.2130 | 2.62 | 0.52 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.1900 | 0.2000 | 0.2000 | 2.94 | 0.58 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.1830 | 0.1720 | 0.1740 | 3.32 | 0.64 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.1990 | 0.1990 | 0.2115 | 3.55 | 0.7 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 165 | 0.1948 | 0.1957 | 0.2090 | 3.98 | 0.78 | 4.06 | 0 | 8.32 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | 0.2411 | 0.2298 | 0.2230 | 3.95 | 0.8 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.2348 | 0.2169 | 0.2270 | 3.97 | 0.8 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.1926 | 0.1755 | 0.1828 | 4.67 | 0.91 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.2278 | 0.2055 | 0.2185 | 5.16 | 1.03 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 164 | 0.2557 | 0.2414 | 0.2294 | 5.44 | 1.1 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.2144 | 0.2226 | 0.2400 | 5.79 | 1.16 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 103 | 0.2037 | 0.1863 | 0.1808 | 6.28 | 1.23 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 182 | 0.1756 | 0.1586 | 0.1558 | 6.56 | 1.25 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 148 | 0.1510 | 0.1720 | 0.1680 | 6.81 | 1.3 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 125 | 0.2069 | 0.1921 | 0.1812 | 6.67 | 1.31 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 173 | 0.2270 | 0.2010 | 0.2320 | 7.57 | 1.51 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.2360 | 0.2040 | 0.2310 | 7.7 | 1.54 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 192 | 0.1395 | 0.1603 | 0.1629 | 8.32 | 1.57 | 4.06 | 0 | 8.32 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 161 | 0.1532 | 0.1674 | 0.1808 | 8.26 | 1.58 | 4.06 | 0 | 8.32 | 0 |

Lab

Population of Lab RSDr

Δ9-THCA (%AR)

| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 161 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0701 | <0.0739 | <0.0732 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.0500 | 0.0500 | 0.0500 | 0 | 0 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0563 | 0.0555 | 0.0553 | 0.95 | 0.15 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.0492 | 0.0518 | 0.0495 | 2.84 | 0.45 | 5.21 | 0 | 173 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 141 | 0.0281 | 0.0298 | 0.0297 | 3.27 | 0.48 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 213 | 0.0129 | 0.0126 | 0.0136 | 3.94 | 0.51 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0536 | 0.0549 | 0.0571 | 3.21 | 0.52 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | 0.0433 | 0.0418 | 0.0448 | 3.46 | 0.54 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 173 | 0.0450 | 0.0420 | 0.0440 | 3.5 | 0.55 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 170 | 0.0505 | 0.0536 | 0.0541 | 3.7 | 0.6 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0.0539 | 0.0539 | 0.0575 | 3.77 | 0.61 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 148 | 0.0610 | 0.0580 | 0.0630 | 4.15 | 0.68 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.0590 | 0.0578 | 0.0542 | 4.38 | 0.71 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 183 | 0.0604 | 0.0622 | 0.0570 | 4.41 | 0.72 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 182 | 0.0373 | 0.0411 | 0.0392 | 4.85 | 0.75 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | 0.0540 | 0.0580 | 0.0590 | 4.64 | 0.76 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | 0.0516 | 0.0470 | 0.0501 | 4.73 | 0.76 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | 0.0546 | 0.0550 | 0.0594 | 4.73 | 0.77 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | 0.0646 | 0.0588 | 0.0628 | 4.78 | 0.79 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 164 | 0.0614 | 0.0599 | 0.0548 | 5.89 | 0.97 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 165 | 0.0569 | 0.0588 | 0.0639 | 6.05 | 0.99 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.0460 | 0.0470 | 0.0530 | 7.78 | 1.24 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | 0.0510 | 0.0440 | 0.0440 | 8.72 | 1.38 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | 0.0920 | 0.0867 | 0.0785 | 7.93 | 1.38 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | 0.0630 | 0.0500 | 0.0520 | 12.7 | 2.06 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.0750 | 0.0610 | 0.0570 | 14.7 | 2.44 | 5.21 | 0 | 173 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 103 | 0.0435 | 0.0402 | 0.0559 | 17.8 | 2.81 | 5.21 | 0 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.0345 | 0.0000 | 0.0000 | 173 | 22.21 | 5.21 | 0 | 173 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 5.1862 | 5.1695 | 5.1635 | 0.23 | 0.07 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 228 | 4.5030 | 4.4880 | 4.5220 | 0.38 | 0.12 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 213 | 4.4320 | 4.4030 | 4.4480 | 0.52 | 0.16 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 4.9471 | 4.8872 | 4.9243 | 0.62 | 0.2 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 5.4809 | 5.3907 | 5.4385 | 0.83 | 0.27 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 173 | 4.8290 | 4.7590 | 4.7340 | 1.03 | 0.33 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 170 | 4.9199 | 4.8153 | 4.9940 | 1.83 | 0.58 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 4.9410 | 4.9480 | 5.1015 | 1.82 | 0.58 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 4.9547 | 4.8187 | 4.7481 | 2.17 | 0.69 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 103 | 4.8081 | 4.6547 | 4.6023 | 2.28 | 0.72 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 4.5560 | 4.7750 | 4.6660 | 2.35 | 0.74 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 5.5300 | 5.8000 | 5.6100 | 2.46 | 0.8 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 161 | 4.0937 | 4.2454 | 4.3165 | 2.7 | 0.84 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 5.0178 | 4.7586 | 4.8468 | 2.7 | 0.86 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 4.7843 | 4.6252 | 4.8814 | 2.72 | 0.86 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 183 | 5.0856 | 5.0096 | 5.3020 | 2.96 | 0.95 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 5.2471 | 4.9708 | 4.9697 | 3.16 | 1.01 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 5.1932 | 5.0398 | 5.4180 | 3.65 | 1.17 | 2.71 | 0.23 | 13.8 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 141 | 5.1014 | 4.7641 | 4.6698 | 4.68 | 1.49 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 4.2300 | 4.2950 | 3.8220 | 6.23 | 1.93 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 3.8649 | 4.5062 | 4.4303 | 8.21 | 2.56 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 164 | 6.6286 | 5.4613 | 5.9590 | 9.74 | 3.19 | 2.71 | 0.23 | 13.8 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 4.7130 | 3.5860 | 4.0300 | 13.8 | 4.28 | 2.71 | 0.23 | 13.8 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 3.8372 | 3.8230 | 3.8137 | 0.31 | 0.09 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 3.8060 | 3.7810 | 3.7510 | 0.73 | 0.22 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 173 | 3.6290 | 3.5720 | 3.5710 | 0.92 | 0.28 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 4.4901 | 4.4589 | 4.3976 | 1.06 | 0.33 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 3.6611 | 3.7378 | 3.7468 | 1.27 | 0.39 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 3.8359 | 3.7303 | 3.8121 | 1.46 | 0.45 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 213 | 3.5040 | 3.5120 | 3.6050 | 1.59 | 0.48 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 3.8905 | 3.9475 | 4.0415 | 1.93 | 0.59 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 183 | 3.8499 | 3.9422 | 3.7778 | 2.14 | 0.66 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 3.9600 | 4.1400 | 3.9800 | 2.45 | 0.76 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 3.7187 | 3.5232 | 3.6020 | 2.72 | 0.83 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 161 | 3.2819 | 3.4102 | 3.4809 | 2.97 | 0.9 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 141 | 3.8943 | 3.7300 | 3.6579 | 3.22 | 0.98 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 3.9632 | 4.0343 | 4.2306 | 3.4 | 1.05 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 3.6687 | 3.4993 | 3.4058 | 3.78 | 1.14 | 2.92 | 0.31 | 11.4 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 170 | 4.3066 | 4.2195 | 4.5350 | 3.74 | 1.17 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 3.5669 | 3.8160 | 3.8311 | 3.97 | 1.21 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 103 | 3.9975 | 3.7852 | 3.6856 | 4.17 | 1.28 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | 4.1762 | 3.8093 | 3.8305 | 5.23 | 1.61 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 3.4860 | 3.5540 | 3.1960 | 5.57 | 1.68 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 164 | 6.7370 | 5.8234 | 6.2997 | 7.27 | 2.4 | 2.92 | 0.31 | 11.4 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | 3.4680 | 2.8630 | 3.5470 | 11.4 | 3.41 | 2.92 | 0.31 | 11.4 | 0 |
|  |  |  |  | CBN (%AR) |  |  |  |  |  |  |  |  |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | <0.0701 | <0.0739 | <0.0732 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | 0.0446 | 0.0441 | 0.0448 | 0.81 | 0.13 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | 0.0420 | 0.0410 | 0.0410 | 1.4 | 0.22 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.0394 | 0.0405 | 0.0407 | 1.74 | 0.27 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0530 | 0.0537 | 0.0549 | 1.78 | 0.29 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 192 | 0.0445 | 0.0447 | 0.0461 | 1.93 | 0.3 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 213 | 0.0439 | 0.0423 | 0.0436 | 1.97 | 0.31 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.0678 | 0.0677 | 0.0651 | 2.29 | 0.38 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | 0.0505 | 0.0500 | 0.0525 | 2.59 | 0.42 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 122 | 0.0569 | 0.0541 | 0.0568 | 2.84 | 0.46 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 183 | 0.0504 | 0.0529 | 0.0531 | 2.89 | 0.46 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0310 | 0.0337 | 0.0327 | 4.2 | 0.63 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 116 | 0.0609 | 0.0568 | 0.0564 | 4.29 | 0.7 | 5.06 | 0.81 | 36.2 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0438 | 0.0394 | 0.0430 | 5.57 | 0.87 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 173 | 0.0570 | 0.0510 | 0.0530 | 5.69 | 0.92 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 141 | 0.0394 | 0.0345 | 0.0356 | 7.04 | 1.07 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.0700 | 0.0600 | 0.0600 | 9.12 | 1.51 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0560 | 0.0572 | 0.0675 | 10.5 | 1.73 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | 0.0490 | 0.0596 | 0.0622 | 12.3 | 2 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 149 | 0.0520 | 0.0420 | 0.0360 | 18.7 | 2.92 | 5.06 | 0.81 | 36.2 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 125 | 0.1035 | 0.0571 | 0.0583 | 36.2 | 6.13 | 5.06 | 0.81 | 36.2 | 0 |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 190 | 0.3111 | 0.3078 | 0.3086 | 0.56 | 0.12 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.2847 | 0.2800 | 0.2793 | 1.04 | 0.22 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.3134 | 0.3124 | 0.3070 | 1.11 | 0.23 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.2503 | 0.2512 | 0.2565 | 1.33 | 0.27 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.2350 | 0.2276 | 0.2319 | 1.61 | 0.32 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.2470 | 0.2506 | 0.2548 | 1.56 | 0.32 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 141 | 0.1807 | 0.1781 | 0.1746 | 1.72 | 0.33 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.3088 | 0.3062 | 0.3164 | 1.71 | 0.36 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 213 | 0.1020 | 0.0990 | 0.1030 | 2.05 | 0.37 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 183 | 0.2610 | 0.2668 | 0.2572 | 1.85 | 0.38 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 192 | 0.2019 | 0.1951 | 0.2015 | 1.91 | 0.38 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.2353 | 0.2453 | 0.2391 | 2.1 | 0.43 | 3.51 | 0.56 | 8.04 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.2577 | 0.2631 | 0.2505 | 2.46 | 0.5 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.2510 | 0.2620 | 0.2630 | 2.57 | 0.53 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.2527 | 0.2506 | 0.2631 | 2.62 | 0.54 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1698 | 0.1603 | 0.1629 | 2.99 | 0.57 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.2209 | 0.2209 | 0.2334 | 3.21 | 0.64 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.2358 | 0.2209 | 0.2262 | 3.32 | 0.67 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.2550 | 0.2641 | 0.2453 | 3.69 | 0.75 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.2411 | 0.2298 | 0.2230 | 3.95 | 0.8 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.2915 | 0.2685 | 0.2820 | 4.12 | 0.85 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.2633 | 0.2463 | 0.2439 | 4.21 | 0.86 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.2418 | 0.2216 | 0.2298 | 4.4 | 0.88 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 165 | 0.2447 | 0.2473 | 0.2650 | 4.38 | 0.89 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.2280 | 0.2100 | 0.2120 | 4.55 | 0.91 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 182 | 0.2083 | 0.1946 | 0.1901 | 4.8 | 0.94 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 148 | 0.2040 | 0.2220 | 0.2240 | 5.08 | 1.01 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.2731 | 0.2467 | 0.2624 | 5.09 | 1.04 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.2530 | 0.2350 | 0.2290 | 5.23 | 1.06 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.2404 | 0.2280 | 0.2164 | 5.26 | 1.06 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.2050 | 0.1880 | 0.2080 | 5.38 | 1.06 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.50 | GC-MS | 230 | 0.2870 | 0.2631 | 0.2596 | 5.53 | 1.14 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 164 | 0.3171 | 0.3013 | 0.2842 | 5.47 | 1.14 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 173 | 0.2635 | 0.2380 | 0.2710 | 6.72 | 1.37 | 3.51 | 0.56 | 8.04 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.2877 | 0.2682 | 0.2500 | 7.02 | 1.44 | 3.51 | 0.56 | 8.04 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.3020 | 0.2570 | 0.2810 | 8.04 | 1.66 | 3.51 | 0.56 | 8.04 | 0 |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 8.5515 | 8.5223 | 8.5081 | 0.26 | 0.09 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 8.5279 | 8.5250 | 8.5719 | 0.31 | 0.11 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 8.1586 | 8.1660 | 8.2110 | 0.35 | 0.12 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 173 | 8.0120 | 7.8920 | 7.8660 | 0.98 | 0.34 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 183 | 8.4600 | 8.4700 | 8.6200 | 1.05 | 0.36 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 7.8940 | 8.0910 | 7.9550 | 1.26 | 0.43 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 8.3188 | 8.0902 | 8.0913 | 1.61 | 0.55 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 8.3530 | 8.4100 | 8.6459 | 1.83 | 0.63 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 8.8020 | 8.9290 | 9.2410 | 2.51 | 0.88 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 8.2600 | 8.1633 | 8.5916 | 2.69 | 0.93 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 8.2533 | 8.4256 | 7.9849 | 2.7 | 0.93 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 8.2790 | 7.8484 | 8.0058 | 2.71 | 0.93 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 8.3214 | 8.3864 | 8.7778 | 2.91 | 1 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 103 | 8.3139 | 7.9743 | 7.8346 | 3.07 | 1.05 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 7.0824 | 7.5751 | 7.4172 | 3.42 | 1.16 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 9.5589 | 9.5774 | 10.1292 | 3.32 | 1.17 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 192 | 7.0018 | 6.4649 | 6.8771 | 4.14 | 1.38 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 9.0817 | 8.4112 | 8.6032 | 3.97 | 1.38 | 2.61 | 0.26 | 12 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 8.9096 | 8.3115 | 8.3291 | 4 | 1.38 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 141 | 8.5167 | 8.0354 | 7.8778 | 4.09 | 1.4 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 164 | 12.5370 | 10.5685 | 11.4839 | 8.54 | 3.09 | 2.61 | 0.26 | 12 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 7.7550 | 6.0970 | 7.1410 | 12 | 4.02 | 2.61 | 0.26 | 12 | 0 |

Lab

Population of Lab RSDr

CBDV (%AR)

| CBDV (%AR) | 008.99 | Other | 197 | <0.0467 | <0.0493 | <0.0488 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 196 | 0.0250 | 0.0240 | 0.0238 | 2.65 | 0.38 | 6.09 | 2.65 | 12.4 | 0 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0306 | 0.0320 | 0.0321 | 2.66 | 0.4 | 6.09 | 2.65 | 12.4 | 0 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 183 | 0.0371 | 0.0393 | 0.0390 | 3.1 | 0.48 | 6.09 | 2.65 | 12.4 | 0 |
| CBDV (%AR) | 008.99 | Other | 173 | 0.1020 | 0.1010 | 0.1110 | 5.26 | 0.94 | 6.09 | 2.65 | 12.4 | 0 |
| CBDV (%AR) | 008.99 | Other | 149 | 0.0330 | 0.0270 | 0.0320 | 10.5 | 1.56 | 6.09 | 2.65 | 12.4 | 0 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.0500 | 0.0400 | 0.0500 | 12.4 | 1.96 | 6.09 | 2.65 | 12.4 | 0 |

CBDVA (%AR)

| CBDVA (%AR) | 009.99 | Other | 197 | <0.0467 | <0.0493 | <0.0488 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 196 | 0.0385 | 0.0374 | 0.0363 | 2.94 | 0.45 | 0 |
| CBDVA (%AR) | 009.99 | Other | 173 | 0.0430 | 0.0410 | 0.0440 | 3.58 | 0.56 | 0 |
| CBDVA (%AR) | 009.99 | Other | 149 | 0.0400 | 0.0370 | 0.0370 | 4.56 | 0.7 | 0 |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, U | 183 | 0.0430 | 0.0630 | 0.0440 | 22.5 | 3.6 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBG (%AR) |  |  |  |  |  |  |  |  |
| CBG (%AR) | 010.99 | Other | 173 | 0.2500 | 0.2440 | 0.2430 | 1.54 | 0.31 | 4.17 | 1.54 | 13.8 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.2049 | 0.2040 | 0.1985 | 1.71 | 0.34 | 4.17 | 1.54 | 13.8 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.2769 | 0.2772 | 0.2861 | 1.87 | 0.39 | 4.17 | 1.54 | 13.8 | 0 |
| CBG (%AR) | 010.99 | Other | 122 | 0.2651 | 0.2571 | 0.2666 | 1.94 | 0.4 | 4.17 | 1.54 | 13.8 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 183 | 0.2414 | 0.2436 | 0.2331 | 2.31 | 0.47 | 4.17 | 1.54 | 13.8 | 0 |
| CBG (%AR) | 010.99 | Other | 141 | 0.1848 | 0.1810 | 0.1741 | 3.01 | 0.58 | 4.17 | 1.54 | 13.8 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.1970 | 0.1830 | 0.1890 | 3.7 | 0.72 | 4.17 | 1.54 | 13.8 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.2400 | 0.2200 | 0.2100 | 6.84 | 1.37 | 4.17 | 1.54 | 13.8 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.2798 | 0.2523 | 0.3037 | 9.23 | 1.91 | 4.17 | 1.54 | 13.8 | 0 |
| CBG (%AR) | 010.99 | Other | 197 | 0.0897 | 0.1143 | 0.1161 | 13.8 | 2.48 | 4.17 | 1.54 | 13.8 | 0 |
|  |  |  |  | CBGA (%AR) |  |  |  |  |  |  |  |  |
| CBGA (%AR) | 011.99 | Other | 106 | 0.1800 | 0.1800 | 0.1800 | 0 | 0 | 2.57 | 0 | 5.61 | 0 |
| CBGA (%AR) | 011.99 | Other | 196 | 0.1883 | 0.1873 | 0.1925 | 1.46 | 0.28 | 2.57 | 0 | 5.61 | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.2130 | 0.2078 | 0.2081 | 1.39 | 0.28 | 2.57 | 0 | 5.61 | 0 |
| CBGA (%AR) | 011.99 | Other | 173 | 0.1710 | 0.1660 | 0.1690 | 1.49 | 0.29 | 2.57 | 0 | 5.61 | 0 |
| CBGA (%AR) | 011.99 | Other | 122 | 0.2264 | 0.2204 | 0.2261 | 1.51 | 0.3 | 2.57 | 0 | 5.61 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 183 | 0.2119 | 0.2150 | 0.2062 | 2.12 | 0.42 | 2.57 | 0 | 5.61 | 0 |
| CBGA (%AR) | 011.99 | Other | 197 | 0.2000 | 0.1911 | 0.2039 | 3.31 | 0.65 | 2.57 | 0 | 5.61 | 0 |
| CBGA (%AR) | 011.99 | Other | 141 | 0.1321 | 0.1280 | 0.1376 | 3.63 | 0.67 | 2.57 | 0 | 5.61 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | 0.2593 | 0.2350 | 0.2405 | 5.2 | 1.06 | 2.57 | 0 | 5.61 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 149 | 0.2030 | 0.1840 | 0.1850 | 5.61 | 1.1 | 2.57 | 0 | 5.61 | 0 |
|  |  |  |  | THCV (%AR) |  |  |  |  |  |  |  |  |
| THCV (%AR) | 012.99 | Other | 189 | <0.0050 | <0.0050 | <0.0050 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 173 | 0.0000 | 0.0000 | 0.0000 | 0 |  |  |  |  | 0 |
| THCV (%AR) | 012.99 | Other | 197 | <0.0467 | <0.0493 | <0.0488 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.02 | AOAC 2018.11, U | 183 | <0.0070 | <0.0070 | <0.0070 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  |  | 1 |
|  |  |  |  | Δ8-THC (%AR) |  |  |  |  |  |  |  |  |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, U | 183 | <0.0104 | <0.0104 | <0.0104 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0467 | <0.0493 | <0.0488 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 141 | <0.0120 | <0.0120 | <0.0120 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 173 | 0.0000 | 0.0000 | 0.0000 | 0 |  |  |  |  | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 213 | 0.1770 | 0.1780 | 0.1780 | 0.32 | 0.06 |  |  |  | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.0520 | 0.0541 | 0.0587 | 6.24 | 1.01 |  |  |  | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0126 | 0.0090 | 0.0140 | 21.7 | 2.8 |  |  |  | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBC (%AR) |  |  |  |  |  |  |  |  |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 183 | 0.2568 | 0.2567 | 0.2520 | 1.07 | 0.22 | 3.02 | 1.07 | 8.72 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.2331 | 0.2285 | 0.2286 | 1.14 | 0.23 | 3.02 | 1.07 | 8.72 | 0 |
| CBC (%AR) | 014.99 | Other | 173 | 0.2310 | 0.2250 | 0.2240 | 1.67 | 0.34 | 3.02 | 1.07 | 8.72 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.2400 | 0.2500 | 0.2500 | 2.34 | 0.48 | 3.02 | 1.07 | 8.72 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.2444 | 0.2309 | 0.2375 | 2.84 | 0.57 | 3.02 | 1.07 | 8.72 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.2971 | 0.2810 | 0.2807 | 3.28 | 0.68 | 3.02 | 1.07 | 8.72 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.2224 | 0.2138 | 0.2380 | 5.46 | 1.09 | 3.02 | 1.07 | 8.72 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.0510 | 0.0440 | 0.0440 | 8.72 | 1.38 | 3.02 | 1.07 | 8.72 | 0 |
|  |  |  |  | Cd (ug/g AR) |  |  |  |  |  |  |  |  |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 183 | 0.1530 | 0.1550 | 0.1560 | 0.99 | 0.19 | 4.3 | 0.99 | 7.09 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.1416 | 0.1413 | 0.1363 | 2.13 | 0.4 | 4.3 | 0.99 | 7.09 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 141 | 0.1430 | 0.1370 | 0.1310 | 4.38 | 0.81 | 4.3 | 0.99 | 7.09 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | 0.1290 | 0.1280 | 0.1180 | 4.87 | 0.89 | 4.3 | 0.99 | 7.09 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.1560 | 0.1430 | 0.1440 | 4.9 | 0.92 | 4.3 | 0.99 | 7.09 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | 0.1476 | 0.1464 | 0.1621 | 5.75 | 1.09 | 4.3 | 0.99 | 7.09 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 164 | 0.1388 | 0.1520 | 0.1324 | 7.09 | 1.32 | 4.3 | 0.99 | 7.09 | 0 |
|  |  |  |  | As (ug/g AR) |  |  |  |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0969 <0.0975 |  | <0.0982 |  |  |  |  |  | 1 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 164 | <0.0500 | 0.0669 | <0.0500 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | <0.0482 | 0.0526 | 0.0563 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 141 | <0.0400 | <0.0400 | 0.0400 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 183 | 0.0680 | 0.0750 | 0.0780 | 6.97 | 1.18 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.0703 | 0.0600 | 0.0509 | 16.1 | 2.64 | 0 |

Lab

Population of Lab RSDr

Hg (ug/g AR)

| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | <0.0080 | <0.0080 | <0.0080 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0969 | <0.0975 | <0.0982 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 141 | <0.0300 | <0.0300 | <0.0300 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 164 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 183 | 0.0100 | 0.0100 | 0.0100 | 0 | 0 | 0 |
| Hg (ug/g AR) | 103.99 | Other | 102 | 0.0080 | 0.0079 | 0.0081 | 1.25 | 0.15 | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | 0.0077 | 0.0076 | 0.0079 | 1.98 | 0.24 | 0 |

Pb (ug/g AR)

| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | <0.2000 | <0.2000 | 0.2100 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | 0.1670 | 0.1590 | 0.1730 | 4.22 | 0.81 | 10.37 | 4.22 | 28.8 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.1560 | 0.1639 | 0.1501 | 4.42 | 0.84 | 10.37 | 4.22 | 28.8 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.1490 | 0.1570 | 0.1380 | 6.45 | 1.21 | 10.37 | 4.22 | 28.8 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | 0.1509 | 0.1364 | 0.1560 | 6.88 | 1.29 | 10.37 | 4.22 | 28.8 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 141 | 0.1560 | 0.1840 | 0.1680 | 8.3 | 1.59 | 10.37 | 4.22 | 28.8 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 183 | 0.1500 | 0.1670 | 0.2150 | 19 | 3.67 | 10.37 | 4.22 | 28.8 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 164 | 0.1623 | 0.2532 | 0.1549 | 28.8 | 5.62 | 10.37 | 4.22 | 28.8 | 0 |

Lab

Population of Lab RSDr

Cu (ug/g AR)

Cu (ug/g AR)

105.04

ICP-MS

196

12.8000	12.0000	11.5000	5.42	1.97	0

Ni (ug/g AR)

| Ni (ug/g AR) | 106.04 | ICP-MS | 141 | 1.2800 | 1.2200 | 1.2500 | 2.4 | 0.62 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Ni (ug/g AR) | 106.04 | ICP-MS | 183 | 1.5100 | 1.3500 | 1.3600 | 6.37 | 1.68 | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | 1.2100 | 1.1800 | 1.0400 | 7.94 | 2.03 | 0 |

Cr (ug/g AR)

| Cr (ug/g AR) | 107.04 | ICP-MS | 141 | <0.8100 <0.7980 |  | <0.7920 | 1 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | 0.4030 | 0.3940 | 0.3950 | 1.24 | 0.27 | 0 |

Se (ug/g AR)

| Se (ug/g AR) | 108.04 | ICP-MS | 141 | <0.4050 | <0.3990 | <0.3960 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | 0.0976 | <0.0975 | 0.1201 |  |  | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | 0.1160 | 0.1080 | 0.1200 | 5.33 | 0.96 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Zn (ug/g AR) |  |  |  |  |  |  |  |  |
| Zn (ug/g AR) | 111.04 | ICP-MS | 141 | 59.4000 58.0000 |  | 59.1000 | 1.25 | 0.58 |  |  |  | 0 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 69.5000 72.0000 |  | 76.3000 | 4.74 | 2.26 |  |  |  | 0 |
|  |  |  |  | Sb (ug/g AR) |  |  |  |  |  |  |  |  |
| Sb (ug/g AR) | 112.04 | ICP-MS | 196 | <0.0241 <0.0241 |  | <0.0241 |  |  |  |  |  | 1 |
|  |  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |  |  |  |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | 0.0881 | 0.0846 | 0.0829 | 3.11 | 0.54 |  |  |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0324 | 0.0321 | 0.0358 | 6.15 | 0.93 |  |  |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 183 | 0.1040 | 0.1000 | 0.1110 | 5.3 | 0.95 |  |  |  | 0 |
|  |  |  |  | beta-Caryophyllene (%AR) |  |  |  |  |  |  |  |  |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0472 | 0.0481 | 0.0513 | 4.41 | 0.7 |  |  |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | 0.0440 | 0.0424 | 0.0397 | 5.17 | 0.81 |  |  |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 183 | 0.0431 | 0.0404 | 0.0358 | 9.28 | 1.43 |  |  |  | 0 |
|  |  |  | (-)-Caryophyllene oxide (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | <0.0039 <0.0039 |  | <0.0039 |  |  |  |  |  | 1 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 183 | 0.0175 | 0.0153 | 0.0203 | 14.2 | 1.94 |  |  |  | 0 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Geraniol (%AR)

| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.2520 | <0.2520 | <0.2520 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | 1 |

alpha-Humulene (%AR)

| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | 0.0187 | 0.0180 | 0.0182 | 1.97 | 0.27 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.0199 | 0.0204 | 0.0223 | 6.07 | 0.85 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 183 | 0.0248 | 0.0212 | 0.0198 | 11.8 | 1.66 | 0 |

d-Limonene (%AR)

| d-Limonene (%AR) | 206.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| d-Limonene (%AR) | 206.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |

Linalool (%AR)

| Linalool (%AR) | 207.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 | 1 |

beta-Myrcene (%AR)

beta-Myrcene (%AR)

208.02

GC,MS

183

<0.0020	<0.0020	<0.0020	1

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 |  |  |  |  |  | 1 |
|  |  |  |  | Ocimene (%AR) |  |  |  |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 |  |  |  |  |  | 1 |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 |  |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  |  | 1 |
|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |  |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 |  |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  |  | 1 |
|  |  |  |  | alpha-Terpinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 |  |  |  |  |  | 1 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

gamma-Terpinene (%AR)

| gamma-Terpinene (%A | 214.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |

alpha-Terpinolene (%AR)

| alpha-Terpinolene (%A | 215.02 | GC,MS | 183 | <0.0020 | <0.0020 | <0.0020 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0039 | <0.0039 | <0.0039 | 1 |

Moisture (%AR)

| Moisture (%AR) | 500.70 | Commerc. Anal. | 189 | 4.6060 | 4.6060 | 4.6060 | 0 | 0 | 3.36 | 0 | 11 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.99 | Other | 165 | 6.9600 | 6.9700 | 6.9800 | 0.14 | 0.05 | 3.36 | 0 | 11 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 5.9300 | 6.0100 | 6.0500 | 1.02 | 0.33 | 3.36 | 0 | 11 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 8.7865 | 9.0468 | 8.8719 | 1.49 | 0.52 | 3.36 | 0 | 11 | 0 |
| Moisture (%AR) | 500.99 | Other | 103 | 5.8700 | 6.0900 | 5.8600 | 2.19 | 0.72 | 3.36 | 0 | 11 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 10.0275 | 9.6195 | 9.9447 | 2.19 | 0.77 | 3.36 | 0 | 11 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 196 | 6.5800 | 6.5300 | 6.9200 | 3.18 | 1.06 | 3.36 | 0 | 11 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 5.1600 | 4.8600 | 4.8800 | 3.38 | 1.08 | 3.36 | 0 | 11 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 182 | 8.5200 | 9.0600 | 8.8900 | 3.13 | 1.09 | 3.36 | 0 | 11 | 0 |
| Moisture (%AR) | 500.72 | NIR | 138 | 6.0000 | 5.8000 | 6.2000 | 3.33 | 1.09 | 3.36 | 0 | 11 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 7.6300 | 7.6800 | 8.2000 | 4.03 | 1.37 | 3.36 | 0 | 11 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 162 | 8.0000 | 8.6500 | 7.8400 | 5.26 | 1.8 | 3.36 | 0 | 11 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 3.0300 | 3.1600 | 2.7600 | 6.84 | 2.02 | 3.36 | 0 | 11 | 0 |
| Moisture (%AR) | 500.99 | Other | 102 | 5.0000 | 5.7000 | 5.2000 | 6.8 | 2.19 | 3.36 | 0 | 11 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 183 | 10.4200 | 10.6500 | 8.6600 | 11 | 3.88 | 3.36 | 0 | 11 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.2467 | 0.2425 | 0.2419 | 1.07 | 0.22 | 3.01 | 1.07 | 6.23 | 0 |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 210 | 0.2570 | 0.2490 | 0.2460 | 2.27 | 0.46 | 3.01 | 1.07 | 6.23 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.2140 | 0.2240 | 0.2220 | 2.41 | 0.48 | 3.01 | 1.07 | 6.23 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.2165 | 0.2130 | 0.2242 | 2.63 | 0.52 | 3.01 | 1.07 | 6.23 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 162 | 0.2142 | 0.2271 | 0.2239 | 3.03 | 0.61 | 3.01 | 1.07 | 6.23 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 199 | 0.2212 | 0.2202 | 0.2349 | 3.64 | 0.73 | 3.01 | 1.07 | 6.23 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 165 | 0.2094 | 0.2103 | 0.2246 | 3.97 | 0.79 | 3.01 | 1.07 | 6.23 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 103 | 0.2164 | 0.1984 | 0.1921 | 6.23 | 1.23 | 3.01 | 1.07 | 6.23 | 0 |
|  |  |  |  | Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.0590 | 0.0582 | 0.0579 | 0.97 | 0.16 | 5.84 | 0.97 | 17.7 | 0 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 210 | 0.0550 | 0.0570 | 0.0550 | 2.07 | 0.34 | 5.84 | 0.97 | 17.7 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0564 | 0.0578 | 0.0601 | 3.22 | 0.53 | 5.84 | 0.97 | 17.7 | 0 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | 0.0570 | 0.0610 | 0.0620 | 4.41 | 0.72 | 5.84 | 0.97 | 17.7 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 165 | 0.0612 | 0.0632 | 0.0687 | 6.03 | 1 | 5.84 | 0.97 | 17.7 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 162 | 0.0582 | 0.0482 | 0.0579 | 10.4 | 1.68 | 5.84 | 0.97 | 17.7 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 103 | 0.0462 | 0.0428 | 0.0594 | 17.7 | 2.83 | 5.84 | 0.97 | 17.7 | 0 |
|  |  |  |  | CBD (%DW) |  |  |  |  |  |  |  |  |
| CBD (%DW) | 503.10 | Other LC-UV | 189 | 5.4367 | 5.4191 | 5.4128 | 0.23 | 0.07 | 2.43 | 0.23 | 4.45 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 199 | 5.4917 | 5.4746 | 5.6649 | 1.9 | 0.62 | 2.43 | 0.23 | 4.45 | 0 |
| CBD (%DW) | 503.01 | AOAC 2018.10 | 210 | 5.4510 | 5.5530 | 5.3270 | 2.08 | 0.67 | 2.43 | 0.23 | 4.45 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 103 | 5.1079 | 4.9566 | 4.8888 | 2.25 | 0.72 | 2.43 | 0.23 | 4.45 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 5.4648 | 5.3033 | 5.7013 | 3.65 | 1.18 | 2.43 | 0.23 | 4.45 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 162 | 5.5508 | 5.5126 | 5.1173 | 4.45 | 1.44 | 2.43 | 0.23 | 4.45 | 0 |
|  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 4.0225 | 4.0076 | 3.9978 | 0.31 | 0.1 | 2.69 | 0.31 | 4.63 | 0 |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 210 | 4.9300 | 4.8720 | 4.8190 | 1.14 | 0.36 | 2.69 | 0.31 | 4.63 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 199 | 4.3241 | 4.3676 | 4.4878 | 1.93 | 0.6 | 2.69 | 0.31 | 4.63 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 3.7535 | 4.0156 | 4.0314 | 3.97 | 1.22 | 2.69 | 0.31 | 4.63 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 103 | 4.2468 | 4.0307 | 3.9150 | 4.14 | 1.28 | 2.69 | 0.31 | 4.63 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 162 | 4.0004 | 4.2261 | 3.8562 | 4.63 | 1.43 | 2.69 | 0.31 | 4.63 | 0 |
|  |  |  |  | CBN (%DW) |  |  |  |  |  |  |  |  |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0556 | 0.0563 | 0.0575 | 1.7 | 0.28 | 3.56 | 1.7 | 12.3 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%DW) | 505.30 | GC-FID | 192 | 0.0488 | 0.0492 | 0.0506 | 1.91 | 0.3 | 3.56 | 1.7 | 12.3 | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 199 | 0.0561 | 0.0553 | 0.0583 | 2.75 | 0.45 | 3.56 | 1.7 | 12.3 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 162 | 0.0506 | 0.0541 | 0.0540 | 3.77 | 0.61 | 3.56 | 1.7 | 12.3 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.0340 | 0.0370 | 0.0359 | 4.26 | 0.65 | 3.56 | 1.7 | 12.3 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 116 | 0.0641 | 0.0598 | 0.0594 | 4.26 | 0.7 | 3.56 | 1.7 | 12.3 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | 0.0515 | 0.0627 | 0.0654 | 12.3 | 2.02 | 3.56 | 1.7 | 12.3 | 0 |
|  |  |  |  | Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.2984 | 0.2935 | 0.2928 | 1.03 | 0.22 | 2.96 | 1.03 | 4.54 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 192 | 0.2214 | 0.2145 | 0.2211 | 1.78 | 0.36 | 2.96 | 1.03 | 4.54 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 162 | 0.2652 | 0.2694 | 0.2747 | 1.76 | 0.36 | 2.96 | 1.03 | 4.54 | 0 |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 210 | 0.3050 | 0.2990 | 0.2940 | 1.84 | 0.38 | 2.96 | 1.03 | 4.54 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 138 | 0.2503 | 0.2610 | 0.2543 | 2.12 | 0.43 | 2.96 | 1.03 | 4.54 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.2659 | 0.2637 | 0.2768 | 2.61 | 0.54 | 2.96 | 1.03 | 4.54 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.2640 | 0.2770 | 0.2760 | 2.66 | 0.55 | 2.96 | 1.03 | 4.54 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.1862 | 0.1763 | 0.1788 | 2.85 | 0.55 | 2.96 | 1.03 | 4.54 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 199 | 0.2431 | 0.2421 | 0.2568 | 3.32 | 0.67 | 2.96 | 1.03 | 4.54 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.2630 | 0.2730 | 0.2520 | 4 | 0.82 | 2.96 | 1.03 | 4.54 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.2771 | 0.2592 | 0.2567 | 4.21 | 0.86 | 2.96 | 1.03 | 4.54 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 103 | 0.2569 | 0.2359 | 0.2441 | 4.31 | 0.87 | 2.96 | 1.03 | 4.54 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 182 | 0.2277 | 0.2140 | 0.2086 | 4.54 | 0.9 | 2.96 | 1.03 | 4.54 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 165 | 0.2630 | 0.2658 | 0.2849 | 4.39 | 0.91 | 2.96 | 1.03 | 4.54 | 0 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Total CBD (%DW)

| Total CBD (%DW) | 507.10 | Other LC-UV | 189 | 8.9644 | 8.9338 | 8.9189 | 0.26 | 0.09 | 2.97 | 0.26 | 4.28 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%DW) | 507.01 | AOAC 2018.10 | 210 | 9.7740 | 9.8250 | 9.5530 | 1.49 | 0.52 | 2.97 | 0.26 | 4.28 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 199 | 9.2839 | 9.3050 | 9.6007 | 1.89 | 0.66 | 2.97 | 0.26 | 4.28 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 8.7567 | 8.8250 | 9.2369 | 2.91 | 1.01 | 2.97 | 0.26 | 4.28 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 103 | 8.8324 | 8.4914 | 8.3223 | 3.04 | 1.05 | 2.97 | 0.26 | 4.28 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 138 | 10.1690 | 10.1887 | 10.7757 | 3.32 | 1.18 | 2.97 | 0.26 | 4.28 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 7.7646 | 8.3285 | 8.1393 | 3.55 | 1.22 | 2.97 | 0.26 | 4.28 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 192 | 7.6762 | 7.1079 | 7.5467 | 4 | 1.36 | 2.97 | 0.26 | 4.28 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 162 | 9.0592 | 9.2189 | 8.4992 | 4.23 | 1.47 | 2.97 | 0.26 | 4.28 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 9.6090 | 8.8512 | 9.0532 | 4.28 | 1.5 | 2.97 | 0.26 | 4.28 | 0 |

CBDV (%DW)

| CBDV (%DW) | 508.02 | AOAC 2018.11, U | 210 | 0.0380 | 0.0380 | 0.0370 | 1.53 | 0.23 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%DW) | 508.99 | Other | 189 | 0.0321 | 0.0336 | 0.0336 | 2.62 | 0.39 | 0 |
| CBDV (%DW) | 508.99 | Other | 162 | 0.0396 | 0.0335 | 0.0378 | 8.48 | 1.3 | 0 |

CBDVA (%DW)

| CBDVA (%DW) | 509.01 | AOAC 2018.10 | 210 | 0.0340 | 0.0300 | 0.0350 | 8.02 | 1.2 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

CBG (%DW)

| CBG (%DW) | 510.99 | Other | 162 | 0.2323 | 0.2301 | 0.2351 | 1.08 | 0.22 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%DW) | 510.99 | Other | 189 | 0.2903 | 0.2906 | 0.2999 | 1.86 | 0.39 | 0 |
| CBG (%DW) | 510.01 | AOAC 2018.10 | 210 | 0.2260 | 0.2380 | 0.2300 | 2.64 | 0.53 | 0 |

CBGA (%DW)

| CBGA (%DW) | 511.99 | Other | 189 | 0.2233 | 0.2178 | 0.2181 | 1.41 | 0.28 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%DW) | 511.99 | Other | 162 | 0.2194 | 0.2161 | 0.2076 | 2.84 | 0.56 | 0 |
| CBGA (%DW) | 511.01 | AOAC 2018.10 | 210 | 0.1050 | 0.1150 | 0.1200 | 6.74 | 1.22 | 0 |

THCV (%DW)

| THCV (%DW) | 512.02 | AOAC 2018.11, U | 210 | <0.0130 <0.0130 | <0.0130 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| THCV (%DW) | 512.99 | Other | 189 | <0.0050 <0.0050 | <0.0050 | 1 |

Δ8-THC (%DW)

| Δ8-THC (%DW) | 513.01 | AOAC 2018.10 | 210 | 0.0140 | 0.0140 | <0.0140 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 189 | 0.0132 | 0.0094 | 0.0147 | 22 | 2.85 | 0 |

CBC (%DW)

| CBC (%DW) | 514.99 | Other | 189 | 0.3114 | 0.2946 | 0.2943 | 3.26 | 0.68 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.99 | Other | 162 | 0.2512 | 0.2707 | 0.2636 | 3.77 | 0.77 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

- Flag definitions: 1 (Lab RSDr not calculated because there were less than 3 numeric lab results)

- Statistical parameters of robust mean, minimum, and maximum for RSDr only shown only if there were 6 or more lab RSDr values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.c