# Hemp PT Certificate of Analysis

## Hemp PT Sample HM24SEP-1 Material: hemp

± Standard

| Analyte | Value | Uncertainty | # Labs |
| --- | --- | --- | --- |
|  | % as received |  |  |
| Δ9-THC | 0.1664 | 0.0053 | 33 |
| Δ9-THCA | 0.04723 | 0.00224 | 27 |
| CBD | 4.357 | 0.097 | 25 |
| CBDA | 3.288 | 0.108 | 23 |
| CBN | 0.04550 | 0.00286 | 19 |
| Total Δ9-THC | 0.2074 | 0.0063 | 38 |
| Total CBD | 7.430 | 0.233 | 24 |
| CBDV | 0.03038 | 0.00377 | 6 |
| CBG | 0.1308 | 0.0119 | 10 |
| CBGA | 0.1498 | 0.0119 | 8 |
| Δ8-THC | 0.06287 | 0.04241 | 7 |
| CBC | 0.2039 | 0.0094 | 10 |
| Moisture | 8.173 | 0.560 | 15 |
|  | % dry weight |  |  |
| Δ9-THC | 0.1796 | 0.0088 | 8 |
| Δ9-THCA | 0.04745 | 0.00328 | 7 |
| CBD | 4.716 | 0.155 | 6 |
| CBDA | 3.699 | 0.219 | 7 |
| CBN | 0.05212 | 0.00534 | 7 |
| Total Δ9-THC | 0.2133 | 0.0077 | 14 |
| Total CBD | 8.190 | 0.329 | 10 |

## Hemp PT Sample HM24SEP-1 Material: hemp

| Analyte | Value | ± Standard Uncertainty | # Labs |  |
| --- | --- | --- | --- | --- |
| ug/g as-received |  |  |  |  |
| Cd | 0.1417 | 0.0079 | 7 |  |
| As | 0.1599 | 0.0059 | 7 |  |
| Pb | 0.8469 | 0.0528 | 8 |  |

- Data obtained from participant results in the University of Kentucky Hemp PT Program.

- Sample was shipped on 9/9/24. Stored at room temperature until 10/18/24. Stored at -20 C after 10/18/24.

- Values are robust means. Standard uncertainty determined as 1.25 x robust standard deviation / sqrt(#Labs). Results only shown for analytes tested by 6 or more labs.