# Hemp PT Certificate of Analysis

## Hemp PT Sample HM24SEP-2 Material: hemp

± Standard

| Analyte | Value | Uncertainty | # Labs |
| --- | --- | --- | --- |
|  | % as received |  |  |
| Δ9-THC | 0.1367 | 0.0049 | 32 |
| Δ9-THCA | 0.03246 | 0.00241 | 23 |
| CBD | 4.603 | 0.112 | 25 |
| CBDA | 2.747 | 0.098 | 22 |
| CBN | 0.06205 | 0.00329 | 19 |
| Total Δ9-THC | 0.1666 | 0.0050 | 38 |
| Total CBD | 7.279 | 0.246 | 24 |
| CBDV | 0.03539 | 0.00435 | 6 |
| CBG | 0.1856 | 0.0165 | 11 |
| CBGA | 0.1339 | 0.0108 | 8 |
| Δ8-THC | 0.08469 | 0.05598 | 6 |
| CBC | 0.2077 | 0.0109 | 10 |
| Moisture | 7.931 | 0.548 | 15 |
|  | % dry weight |  |  |
| Δ9-THC | 0.1514 | 0.0084 | 8 |
| Δ9-THCA | 0.03116 | 0.00279 | 7 |
| CBD | 5.040 | 0.142 | 6 |
| CBDA | 3.091 | 0.168 | 7 |
| CBN | 0.07020 | 0.00478 | 7 |
| Total Δ9-THC | 0.1728 | 0.0063 | 14 |
| Total CBD | 8.065 | 0.343 | 10 |

## Hemp PT Sample HM24SEP-2 Material: hemp

| Analyte | Value | ± Standard Uncertainty | # Labs |  |
| --- | --- | --- | --- | --- |
| ug/g as-received |  |  |  |  |
| Cd | 0.1686 | 0.0083 | 7 |  |
| As | 0.2592 | 0.0069 | 8 |  |
| Pb | 0.8486 | 0.0391 | 8 |  |

- Data obtained from participant results in the University of Kentucky Hemp PT Program.

- Sample was shipped on 9/9/24. Stored at room temperature until 10/18/24. Stored at -20 C after 10/18/24.

- Values are robust means. Standard uncertainty determined as 1.25 x robust standard deviation / sqrt(#Labs). Results only shown for analytes tested by 6 or more labs.