Hemp Proficiency Testing

All Labs Precision HM24SEP-2 (hemp)

Sample: HM24SEP-2 (hemp)

All Labs Precision

Issue Date:

ovember 11, 2024

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Δ9-THC (%AR)

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

| Δ9-THC (%AR) | 001.10 | Other LC-UV | 173 | 0.1650 | <0.1540 | <0.1540 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | <0.5000 | <0.5000 | <0.5000 |  |  |  |  |  | 1 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.1320 | 0.1320 | 0.1320 | 0 | 0 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 213 | 0.0602 | 0.0601 | 0.0600 | 0.17 | 0.03 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.1454 | 0.1445 | 0.1446 | 0.34 | 0.06 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.1640 | 0.1655 | 0.1650 | 0.46 | 0.09 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 217 | 0.1387 | 0.1370 | 0.1367 | 0.78 | 0.15 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.1378 | 0.1379 | 0.1409 | 1.27 | 0.24 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 183 | 0.1479 | 0.1441 | 0.1471 | 1.37 | 0.26 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 183 | 0.1611 | 0.1611 | 0.1573 | 1.37 | 0.26 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.1382 | 0.1358 | 0.1397 | 1.43 | 0.27 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 148 | 0.1260 | 0.1290 | 0.1250 | 1.64 | 0.3 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 170 | 0.1410 | 0.1433 | 0.1388 | 1.6 | 0.3 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.1497 | 0.1474 | 0.1523 | 1.64 | 0.31 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 165 | 0.1383 | 0.1338 | 0.1336 | 1.97 | 0.36 | 2.9 | 0 | 86.6 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.1536 | 0.1522 | 0.1578 | 1.89 | 0.36 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 103 | 0.1145 | 0.1102 | 0.1108 | 2.08 | 0.38 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.1540 | 0.1550 | 0.1490 | 2.11 | 0.4 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 228 | 0.2004 | 0.1998 | 0.1929 | 2.11 | 0.41 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.1330 | 0.1280 | 0.1270 | 2.49 | 0.46 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.1407 | 0.1364 | 0.1340 | 2.48 | 0.46 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 164 | 0.1983 | 0.1904 | 0.1905 | 2.35 | 0.46 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | 0.1150 | 0.1192 | 0.1237 | 3.65 | 0.66 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 196 | 0.1289 | 0.1389 | 0.1340 | 3.73 | 0.69 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.1420 | 0.1318 | 0.1389 | 3.8 | 0.71 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 182 | 0.1070 | 0.0988 | 0.1009 | 4.17 | 0.74 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 125 | 0.1234 | 0.1257 | 0.1153 | 4.5 | 0.82 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.1100 | 0.1200 | 0.1200 | 4.95 | 0.9 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 149 | 0.1400 | 0.1250 | 0.1270 | 6.23 | 1.15 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 155 | 0.1410 | 0.1380 | 0.1250 | 6.32 | 1.17 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 161 | 0.1153 | 0.1035 | 0.1003 | 7.43 | 1.33 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.1776 | 0.1640 | 0.1944 | 8.52 | 1.65 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 141 | 0.1365 | 0.1650 | 0.1570 | 9.62 | 1.82 | 2.9 | 0 | 86.6 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 192 | 0.0000 | 0.1585 | 0.1578 | 86.6 | 15.49 | 2.9 | 0 | 86.6 | 0 |
|  |  |  |  | Δ9-THCA (%AR) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | <0.5000 <0.5000 |  | <0.5000 |  |  |  |  |  | 1 |

Population of Lab RSDr

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 161 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0483 | <0.0469 | <0.0483 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | <0.0300 | <0.0300 | 0.0300 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 170 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 173 | <0.1550 | <0.1540 | 0.0000 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | <0.0480 | <0.0490 | <0.0480 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 164 | 0.0379 | 0.0384 | 0.0382 | 0.66 | 0.1 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 183 | 0.0350 | 0.0341 | 0.0353 | 1.79 | 0.27 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.99 | Other | 183 | 0.0345 | 0.0338 | 0.0353 | 2.17 | 0.33 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.0319 | 0.0331 | 0.0333 | 2.31 | 0.35 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 213 | 0.0061 | 0.0059 | 0.0063 | 3.28 | 0.38 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 103 | 0.0207 | 0.0207 | 0.0217 | 2.74 | 0.39 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0311 | 0.0320 | 0.0302 | 2.89 | 0.43 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.0296 | 0.0278 | 0.0289 | 3.15 | 0.46 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0.0274 | 0.0287 | 0.0270 | 3.21 | 0.47 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.0363 | 0.0376 | 0.0335 | 5.85 | 0.89 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 165 | 0.0253 | 0.0291 | 0.0271 | 7 | 1.02 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | 0.0250 | 0.0252 | 0.0221 | 7.2 | 1.03 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 217 | 0.0310 | 0.0257 | 0.0290 | 9.37 | 1.38 | 10.31 | 0.66 | 173 | 0 |

Lab

Lab

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 148 | 0.0470 | 0.0440 | 0.0390 | 9.33 | 1.46 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 141 | 0.1389 | 0.1250 | 0.1184 | 8.21 | 1.51 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 155 | 0.0435 | 0.0345 | 0.0394 | 11.5 | 1.77 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | 0.0260 | 0.0224 | 0.0300 | 14.5 | 2.11 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 182 | 0.0204 | 0.0167 | 0.0142 | 18.2 | 2.48 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | 0.0440 | 0.0330 | 0.0290 | 22 | 3.34 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0341 | 0.0193 | 0.0357 | 30.4 | 4.5 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.0425 | 0.0404 | 0.0211 | 34 | 5.15 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | 0.0379 | 0.0298 | 0.0641 | 40.8 | 6.4 | 10.31 | 0.66 | 173 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.2273 | 0.0000 | 0.0000 | 173 | 29.47 | 10.31 | 0.66 | 173 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 4.9000 | 4.9000 | 4.9000 | 0 | 0 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 4.5735 | 4.5673 | 4.5750 | 0.09 | 0.03 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 228 | 4.0078 | 4.0128 | 4.0009 | 0.15 | 0.05 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 4.7932 | 4.8244 | 4.7826 | 0.45 | 0.14 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 183 | 4.7799 | 4.7198 | 4.6984 | 0.89 | 0.28 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 164 | 5.0805 | 5.1536 | 5.0671 | 0.91 | 0.29 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.99 | Other | 183 | 4.8819 | 4.7907 | 4.8007 | 1.04 | 0.33 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 4.4215 | 4.3321 | 4.4416 | 1.33 | 0.41 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 3.8560 | 3.9580 | 3.9440 | 1.41 | 0.43 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 4.7869 | 4.7544 | 4.9038 | 1.63 | 0.52 | 2.29 | 0 | 8.4 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 213 | 5.3400 | 5.2220 | 5.1720 | 1.64 | 0.53 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 4.7080 | 4.8350 | 4.8995 | 2.02 | 0.64 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 4.6800 | 4.8700 | 4.8000 | 2.01 | 0.64 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 103 | 4.3318 | 4.5149 | 4.3911 | 2.12 | 0.66 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 155 | 4.0700 | 4.1200 | 3.9400 | 2.3 | 0.71 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 4.2370 | 4.3870 | 4.1560 | 2.75 | 0.86 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 161 | 4.2798 | 4.0807 | 4.0285 | 3.21 | 1 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 4.2711 | 4.5391 | 4.2866 | 3.45 | 1.08 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 173 | 4.0600 | 3.7900 | 3.8730 | 3.54 | 1.09 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 170 | 4.6373 | 4.8409 | 4.5174 | 3.51 | 1.11 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 4.6101 | 4.8279 | 4.4691 | 3.9 | 1.23 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 4.5433 | 4.4266 | 4.7895 | 4.04 | 1.27 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 5.0030 | 4.8186 | 5.3966 | 5.82 | 1.86 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 141 | 4.5943 | 4.6190 | 5.1212 | 6.22 | 1.97 | 2.29 | 0 | 8.4 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 6.6752 | 7.3058 | 6.1795 | 8.4 | 2.8 | 2.29 | 0 | 8.4 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 2.7201 | 2.7159 | 2.7209 | 0.1 | 0.03 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 2.7975 | 2.8255 | 2.8050 | 0.52 | 0.15 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 161 | 2.5207 | 2.5010 | 2.5312 | 0.61 | 0.18 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 2.3300 | 2.3600 | 2.3500 | 0.65 | 0.19 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 183 | 3.1511 | 3.1181 | 3.1065 | 0.74 | 0.22 | 2.76 | 0.1 | 11.7 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 213 | 2.7340 | 2.6900 | 2.7060 | 0.82 | 0.24 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 2.4250 | 2.4650 | 2.4680 | 0.98 | 0.28 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 2.8307 | 2.7744 | 2.7682 | 1.23 | 0.36 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 103 | 2.5252 | 2.5770 | 2.6022 | 1.53 | 0.44 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 2.9388 | 2.9554 | 2.8584 | 1.78 | 0.52 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 2.7100 | 2.7800 | 2.8100 | 1.85 | 0.54 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 2.6783 | 2.7587 | 2.6512 | 2.07 | 0.6 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | 2.7516 | 2.8227 | 2.6684 | 2.81 | 0.82 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 2.5555 | 2.6863 | 2.5460 | 3.02 | 0.87 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 3.0096 | 2.9633 | 3.1908 | 3.94 | 1.17 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 173 | 2.1440 | 1.9690 | 2.0500 | 4.26 | 1.19 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 155 | 2.3300 | 2.3100 | 2.1400 | 4.62 | 1.31 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 141 | 2.7997 | 2.7410 | 2.9971 | 4.71 | 1.38 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | 2.2960 | 2.3760 | 2.5800 | 6.06 | 1.73 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 3.5560 | 3.2987 | 3.6937 | 5.7 | 1.73 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 164 | 4.8172 | 4.2628 | 4.2028 | 7.65 | 2.4 | 2.76 | 0.1 | 11.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 3.4919 | 4.0959 | 3.2800 | 11.7 | 3.55 | 2.76 | 0.1 | 11.7 | 0 |

Lab

Population of Lab RSDr

CBN (%AR)

| CBN (%AR) | 005.10 | Other LC-UV | 197 | <0.0725 | <0.0704 | <0.0725 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 173 | <0.1550 | <0.1540 | <0.1540 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.0700 | 0.0700 | 0.0700 | 0 | 0 | 3.73 | 0 | 86.8 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 183 | 0.0596 | 0.0589 | 0.0596 | 0.68 | 0.11 | 3.73 | 0 | 86.8 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.0533 | 0.0535 | 0.0543 | 0.98 | 0.16 | 3.73 | 0 | 86.8 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 213 | 0.0500 | 0.0510 | 0.0510 | 1.14 | 0.18 | 3.73 | 0 | 86.8 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0586 | 0.0597 | 0.0584 | 1.19 | 0.19 | 3.73 | 0 | 86.8 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.0830 | 0.0830 | 0.0810 | 1.4 | 0.24 | 3.73 | 0 | 86.8 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | 0.0490 | 0.0480 | 0.0500 | 2.04 | 0.33 | 3.73 | 0 | 86.8 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | 0.0716 | 0.0737 | 0.0743 | 1.94 | 0.33 | 3.73 | 0 | 86.8 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | 0.0600 | 0.0625 | 0.0610 | 2.06 | 0.34 | 3.73 | 0 | 86.8 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 116 | 0.0659 | 0.0688 | 0.0658 | 2.55 | 0.43 | 3.73 | 0 | 86.8 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | 0.0498 | 0.0520 | 0.0494 | 2.78 | 0.44 | 3.73 | 0 | 86.8 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 141 | 0.0543 | 0.0580 | 0.0591 | 4.4 | 0.72 | 3.73 | 0 | 86.8 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 125 | 0.0710 | 0.0724 | 0.0655 | 5.24 | 0.88 | 3.73 | 0 | 86.8 | 0 |
| CBN (%AR) | 005.99 | Other | 183 | 0.0614 | 0.0552 | 0.0573 | 5.44 | 0.89 | 3.73 | 0 | 86.8 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0575 | 0.0517 | 0.0521 | 6.02 | 0.97 | 3.73 | 0 | 86.8 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 192 | 0.0839 | 0.0961 | 0.0894 | 6.8 | 1.19 | 3.73 | 0 | 86.8 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 149 | 0.0590 | 0.0530 | 0.0450 | 13.4 | 2.16 | 3.73 | 0 | 86.8 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0665 | 0.0887 | 0.0780 | 14.3 | 2.44 | 3.73 | 0 | 86.8 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0000 | 0.0846 | 0.0910 | 86.8 | 14.21 | 3.73 | 0 | 86.8 | 0 |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 190 | 0.1628 | 0.1551 |  |  |  |  |  |  | 1 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.1705 | 0.1428 |  |  |  |  |  |  | 1 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.1490 | 0.1490 | 0.1490 | 0 | 0 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 213 | 0.0628 | 0.0627 | 0.0625 | 0.24 | 0.04 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.1816 | 0.1804 | 0.1817 | 0.4 | 0.08 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.1859 | 0.1874 | 0.1869 | 0.41 | 0.08 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.1651 | 0.1660 | 0.1674 | 0.7 | 0.13 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 165 | 0.1636 | 0.1629 | 0.1607 | 0.93 | 0.18 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 183 | 0.1918 | 0.1910 | 0.1883 | 0.96 | 0.19 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.1662 | 0.1648 | 0.1689 | 1.25 | 0.24 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 183 | 0.1781 | 0.1738 | 0.1780 | 1.39 | 0.27 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.1327 | 0.1284 | 0.1298 | 1.68 | 0.31 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.1900 | 0.1900 | 0.1960 | 1.8 | 0.35 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 164 | 0.2315 | 0.2241 | 0.2241 | 1.89 | 0.38 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 217 | 0.1659 | 0.1595 | 0.1622 | 1.98 | 0.38 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.1530 | 0.1480 | 0.1470 | 2.15 | 0.41 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.1591 | 0.1574 | 0.1520 | 2.37 | 0.45 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 148 | 0.1670 | 0.1680 | 0.1590 | 3 | 0.57 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 141 | 0.2583 | 0.2740 | 0.2608 | 3.19 | 0.65 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.1508 | 0.1610 | 0.1533 | 3.43 | 0.65 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.1150 | 0.1192 | 0.1237 | 3.65 | 0.66 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.1304 | 0.1211 | 0.1270 | 3.73 | 0.69 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.1679 | 0.1561 | 0.1642 | 3.71 | 0.71 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.1752 | 0.1614 | 0.1759 | 4.79 | 0.92 | 4.25 | 0 | 14.8 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 182 | 0.1249 | 0.1135 | 0.1134 | 5.64 | 1.02 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 155 | 0.1790 | 0.1680 | 0.1590 | 5.94 | 1.14 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.4020 | 0.3720 | 0.4120 | 5.27 | 1.15 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.1566 | 0.1518 | 0.1715 | 6.42 | 1.22 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.2322 | 0.2201 | 0.2502 | 6.47 | 1.3 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 192 | 0.1381 | 0.1596 | 0.1455 | 7.39 | 1.39 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.1780 | 0.1719 | 0.1522 | 8.06 | 1.54 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.1760 | 0.1500 | 0.1564 | 8.42 | 1.6 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.50 | GC-MS | 170 | 0.1690 | 0.1754 | 0.1980 | 8.43 | 1.63 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.1790 | 0.1540 | 0.1520 | 9.31 | 1.77 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.1440 | 0.1735 | 0.1582 | 9.3 | 1.77 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.2004 | 0.1836 | 0.2207 | 9.22 | 1.82 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1993 | 0.1585 | 0.1578 | 13.8 | 2.66 | 4.25 | 0 | 14.8 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 173 | 0.2036 | 0.1843 | 0.1510 | 14.8 | 2.87 | 4.25 | 0 | 14.8 | 0 |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 6.9590 | 6.9492 | 6.9612 | 0.09 | 0.03 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 183 | 7.5434 | 7.4544 | 7.4227 | 0.84 | 0.28 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 7.1421 | 7.2438 | 7.1077 | 0.99 | 0.33 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 6.3290 | 6.4620 | 6.3920 | 1.04 | 0.34 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 7.2695 | 7.1875 | 7.3314 | 0.99 | 0.34 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 7.6000 | 7.5600 | 7.7100 | 1.02 | 0.35 | 2.94 | 0.09 | 9.41 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 5.9830 | 6.1200 | 6.1080 | 1.25 | 0.41 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 7.1614 | 7.3130 | 7.3595 | 1.42 | 0.48 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 103 | 6.5464 | 6.7749 | 6.6732 | 1.72 | 0.57 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 6.2510 | 6.4710 | 6.4190 | 1.8 | 0.6 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 155 | 6.1100 | 6.2400 | 5.9600 | 2.3 | 0.75 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.50 | GC-MS | 170 | 8.6887 | 8.5791 | 9.0421 | 2.76 | 0.96 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 8.4776 | 8.8145 | 8.9560 | 2.81 | 0.97 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 6.5123 | 6.8950 | 6.5195 | 3.3 | 1.1 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 164 | 9.3052 | 8.8921 | 8.7530 | 3.2 | 1.11 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 7.0233 | 7.3033 | 6.8093 | 3.52 | 1.18 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 173 | 5.9403 | 5.5168 | 5.6709 | 3.75 | 1.22 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 7.4572 | 7.3210 | 7.8472 | 3.62 | 1.23 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 7.6619 | 7.3196 | 8.0289 | 4.62 | 1.57 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 7.6430 | 7.4180 | 8.1956 | 5.16 | 1.76 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 141 | 7.0496 | 7.0230 | 7.7497 | 5.67 | 1.91 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 7.3106 | 7.3881 | 8.1695 | 6.23 | 2.12 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 192 | 6.9566 | 7.5679 | 6.6380 | 6.7 | 2.25 | 2.94 | 0.09 | 9.41 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 9.7376 | 10.8979 | 9.0560 | 9.41 | 3.33 | 2.94 | 0.09 | 9.41 | 0 |
|  |  |  |  | CBDV (%AR) |  |  |  |  |  |  |  |  |
| CBDV (%AR) | 008.99 | Other | 197 | <0.0483 <0.0469 |  | <0.0483 |  |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 173 | <0.1550 <0.1540 |  | <0.1540 |  |  |  |  |  | 1 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 183 | 0.0377 | 0.0377 | 0.0361 | 2.49 | 0.38 | 6.55 | 2.49 | 11.4 | 0 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 183 | 0.0367 | 0.0356 | 0.0348 | 2.67 | 0.41 | 6.55 | 2.49 | 11.4 | 0 |
| CBDV (%AR) | 008.99 | Other | 196 | 0.0254 | 0.0272 | 0.0248 | 4.84 | 0.7 | 6.55 | 2.49 | 11.4 | 0 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0321 | 0.0316 | 0.0278 | 7.71 | 1.14 | 6.55 | 2.49 | 11.4 | 0 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.0600 | 0.0600 | 0.0500 | 10.2 | 1.66 | 6.55 | 2.49 | 11.4 | 0 |
| CBDV (%AR) | 008.99 | Other | 149 | 0.0390 | 0.0310 | 0.0350 | 11.4 | 1.73 | 6.55 | 2.49 | 11.4 | 0 |

Lab

Population of Lab RSDr

CBDVA (%AR)

| CBDVA (%AR) | 009.99 | Other | 173 | <0.1550 | <0.1540 | <0.1540 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 197 | <0.0483 | <0.0469 | <0.0483 |  |  | 1 |
| CBDVA (%AR) | 009.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  | 1 |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, U | 183 | 0.0330 | 0.0320 | 0.0330 | 1.77 | 0.27 | 0 |
| CBDVA (%AR) | 009.99 | Other | 149 | 0.0370 | 0.0350 | 0.0340 | 4.32 | 0.66 | 0 |

CBG (%AR)

| CBG (%AR) | 010.99 | Other | 189 | 0.1944 | 0.1948 | 0.1958 | 0.37 | 0.07 | 3.95 | 0.37 | 13.9 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 183 | 0.1977 | 0.1955 | 0.1958 | 0.61 | 0.12 | 3.95 | 0.37 | 13.9 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.1480 | 0.1430 | 0.1470 | 1.81 | 0.34 | 3.95 | 0.37 | 13.9 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.2390 | 0.2319 | 0.2428 | 2.33 | 0.47 | 3.95 | 0.37 | 13.9 | 0 |
| CBG (%AR) | 010.99 | Other | 197 | 0.1314 | 0.1249 | 0.1256 | 2.8 | 0.52 | 3.95 | 0.37 | 13.9 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.1403 | 0.1495 | 0.1425 | 3.33 | 0.62 | 3.95 | 0.37 | 13.9 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.1600 | 0.1700 | 0.1600 | 3.53 | 0.67 | 3.95 | 0.37 | 13.9 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 155 | 0.3000 | 0.2751 | 0.2752 | 5.06 | 1.05 | 3.95 | 0.37 | 13.9 | 0 |
| CBG (%AR) | 010.99 | Other | 183 | 0.2068 | 0.1863 | 0.1899 | 5.63 | 1.1 | 3.95 | 0.37 | 13.9 | 0 |
| CBG (%AR) | 010.99 | Other | 173 | 0.2090 | 0.1620 | 0.1780 | 13.1 | 2.54 | 3.95 | 0.37 | 13.9 | 0 |
| CBG (%AR) | 010.99 | Other | 141 | 0.2169 | 0.1710 | 0.2226 | 13.9 | 2.74 | 3.95 | 0.37 | 13.9 | 0 |

Lab

Population of Lab RSDr

CBGA (%AR)

| CBGA (%AR) | 011.99 | Other | 173 | <0.1550 | <0.1540 | <0.1540 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 106 | 0.1100 | 0.1100 | 0.1100 | 0 | 0 | 3.31 | 0 | 11.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 197 | 0.1420 | 0.1408 | 0.1411 | 0.44 | 0.08 | 3.31 | 0 | 11.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.1381 | 0.1399 | 0.1390 | 0.65 | 0.12 | 3.31 | 0 | 11.6 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 183 | 0.1528 | 0.1503 | 0.1499 | 1.04 | 0.2 | 3.31 | 0 | 11.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 196 | 0.1238 | 0.1151 | 0.1210 | 3.7 | 0.67 | 3.31 | 0 | 11.6 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | 0.1348 | 0.1371 | 0.1271 | 3.94 | 0.73 | 3.31 | 0 | 11.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 141 | 0.2002 | 0.1810 | 0.2100 | 7.49 | 1.47 | 3.31 | 0 | 11.6 | 0 |
| CBGA (%AR) | 011.99 | Other | 149 | 0.1010 | 0.0970 | 0.1200 | 11.6 | 2.07 | 3.31 | 0 | 11.6 | 0 |

THCV (%AR)

| THCV (%AR) | 012.99 | Other | 173 | 0.0000 | 0.0000 | 0.0000 | 0 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  | 1 |
| THCV (%AR) | 012.99 | Other | 197 | <0.0483 | <0.0469 | <0.0483 |  | 1 |
| THCV (%AR) | 012.99 | Other | 183 | <0.0200 | <0.0200 | <0.0200 |  | 1 |
| THCV (%AR) | 012.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 189 | <0.0050 | <0.0050 | <0.0050 |  | 1 |
| THCV (%AR) | 012.02 | AOAC 2018.11, U | 183 | <0.0020 | <0.0020 | <0.0020 |  | 1 |

Lab

Population of Lab RSDr

Δ8-THC (%AR)

| Δ8-THC (%AR) | 013.99 | Other | 173 | 0.0000 | 0.0000 | 0.0000 | 0 |  | 1.72 | 0 | 4.76 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, U | 183 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.03 | AOAC 2018.11, M | 139 | <0.0125 | <0.0125 | <0.0125 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 141 | 0.0000 | 0.0000 | 0.0000 | 0 |  | 1.72 | 0 | 4.76 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | <0.0483 | <0.0469 | <0.0483 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0205 | <0.0205 | <0.0205 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 183 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0127 | 0.0126 | 0.0126 | 0.46 | 0.06 | 1.72 | 0 | 4.76 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 213 | 0.1220 | 0.1250 | 0.1270 | 2.02 | 0.37 | 1.72 | 0 | 4.76 | 0 |
| Δ8-THC (%AR) | 013.01 | AOAC 2018.10 | 228 | 0.2397 | 0.2429 | 0.2289 | 3.09 | 0.62 | 1.72 | 0 | 4.76 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.1269 | 0.1395 | 0.1347 | 4.76 | 0.88 | 1.72 | 0 | 4.76 | 0 |

CBC (%AR)

| CBC (%AR) | 014.99 | Other | 197 | 0.2000 | 0.2009 | 0.2000 | 0.26 | 0.05 | 2.56 | 0.26 | 6.47 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 183 | 0.2423 | 0.2379 | 0.2389 | 0.96 | 0.19 | 2.56 | 0.26 | 6.47 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.1850 | 0.1800 | 0.1810 | 1.45 | 0.28 | 2.56 | 0.26 | 6.47 | 0 |
| CBC (%AR) | 014.99 | Other | 183 | 0.2325 | 0.2253 | 0.2262 | 1.72 | 0.35 | 2.56 | 0.26 | 6.47 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 173 | 0.1880 | 0.1790 | 0.1800 | 2.71 | 0.53 | 2.56 | 0.26 | 6.47 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.2000 | 0.2100 | 0.2000 | 2.84 | 0.56 | 2.56 | 0.26 | 6.47 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.1953 | 0.1986 | 0.1871 | 3.06 | 0.6 | 2.56 | 0.26 | 6.47 | 0 |
| CBC (%AR) | 014.99 | Other | 155 | 0.1923 | 0.1816 | 0.1794 | 3.74 | 0.73 | 2.56 | 0.26 | 6.47 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.2167 | 0.2209 | 0.2051 | 3.82 | 0.76 | 2.56 | 0.26 | 6.47 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.2467 | 0.2754 | 0.2467 | 6.47 | 1.32 | 2.56 | 0.26 | 6.47 | 0 |
|  |  |  |  | Cd (ug/g AR) |  |  |  |  |  |  |  |  |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 141 | 0.1850 | 0.1850 | 0.1800 | 1.57 | 0.31 | 2.65 | 1.57 | 11.2 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | 0.1780 | 0.1789 | 0.1730 | 1.8 | 0.35 | 2.65 | 1.57 | 11.2 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | 0.1440 | 0.1390 | 0.1450 | 2.25 | 0.42 | 2.65 | 1.57 | 11.2 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.1710 | 0.1790 | 0.1780 | 2.48 | 0.48 | 2.65 | 1.57 | 11.2 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.1697 | 0.1642 | 0.1595 | 3.1 | 0.59 | 2.65 | 1.57 | 11.2 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 183 | 0.1800 | 0.1900 | 0.1800 | 3.15 | 0.61 | 2.65 | 1.57 | 11.2 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 164 | 0.1406 | 0.1481 | 0.1735 | 11.2 | 2.12 | 2.65 | 1.57 | 11.2 | 0 |
|  |  |  |  | As (ug/g AR) |  |  |  |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | 0.2710 | 0.2600 | 0.2700 | 2.28 | 0.47 | 7.62 | 2.28 | 15.1 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 164 | 0.2571 | 0.2695 | 0.2728 | 3.11 | 0.64 | 7.62 | 2.28 | 15.1 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.2350 | 0.2680 | 0.2510 | 6.57 | 1.34 | 7.62 | 2.28 | 15.1 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | 0.2300 | 0.2630 | 0.2480 | 6.69 | 1.36 | 7.62 | 2.28 | 15.1 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | 0.2178 | 0.2479 | 0.2528 | 7.91 | 1.6 | 7.62 | 2.28 | 15.1 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 141 | 0.2760 | 0.2520 | 0.2350 | 8.1 | 1.65 | 7.62 | 2.28 | 15.1 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 183 | 0.3200 | 0.3900 | 0.3200 | 11.8 | 2.51 | 7.62 | 2.28 | 15.1 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | 0.2619 | 0.3074 | 0.2276 | 15.1 | 3.1 | 7.62 | 2.28 | 15.1 | 0 |

Lab

Population of Lab RSDr

Hg (ug/g AR)

| Hg (ug/g AR) | 103.04 | ICP-MS | 141 | <0.0300 | <0.0300 | <0.0300 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 164 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0975 | <0.0952 | <0.0984 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | 0.0084 | 0.0081 | 0.0080 | 2.55 | 0.31 | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | 0.0080 | 0.0090 | 0.0090 | 6.66 | 0.82 | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 183 | 0.0050 | 0.0050 | 0.0040 | 12.4 | 1.39 | 0 |
| Hg (ug/g AR) | 103.99 | Other | 102 | 0.0300 | 0.0520 | 0.0495 | 27.5 | 4.31 | 0 |

Pb (ug/g AR)

| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.7420 | 0.7460 | 0.7420 | 0.31 | 0.07 | 4.97 | 0.31 | 8.62 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.8380 | 0.8740 | 0.8670 | 2.22 | 0.54 | 4.97 | 0.31 | 8.62 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | 0.9370 | 0.9880 | 0.9270 | 3.44 | 0.86 | 4.97 | 0.31 | 8.62 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | 0.7048 | 0.7490 | 0.7672 | 4.33 | 1.04 | 4.97 | 0.31 | 8.62 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 183 | 0.8100 | 0.8400 | 0.8900 | 4.77 | 1.17 | 4.97 | 0.31 | 8.62 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 0.8316 | 0.9551 | 0.9561 | 7.83 | 1.94 | 4.97 | 0.31 | 8.62 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 164 | 0.8561 | 0.8866 | 0.9983 | 8.19 | 2.03 | 4.97 | 0.31 | 8.62 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 141 | 0.9010 | 0.7710 | 0.7880 | 8.62 | 2.1 | 4.97 | 0.31 | 8.62 | 0 |
|  |  |  |  | Cu (ug/g AR) |  |  |  |  |  |  |  |  |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | 11.7000 10.1000 |  | 10.7000 | 7.46 | 2.67 |  |  |  | 0 |
|  |  |  |  | Ni (ug/g AR) |  |  |  |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 183 | 3.6700 | 3.7400 | 3.8300 | 2.14 | 0.65 |  |  |  | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | 2.9600 | 2.8500 | 3.0100 | 2.78 | 0.82 |  |  |  | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 141 | 4.0400 | 4.1500 | 3.9300 | 2.72 | 0.84 |  |  |  | 0 |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | 5.1000 | 4.9500 | 5.3000 | 3.43 | 1.1 |  |  |  | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 141 | 6.6900 | 7.4700 | 6.6700 | 6.57 | 2.2 |  |  |  | 0 |
|  |  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 141 | <0.4030 | <0.3990 | <0.3990 |  |  |  |  |  | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | 0.1529 | 0.1522 | 0.1478 | 1.83 | 0.35 |  |  |  | 0 |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | 0.2480 | 0.2430 | 0.2010 | 11.2 | 2.25 |  |  |  | 0 |
|  |  |  |  | Zn (ug/g AR) |  |  |  |  |  |  |  |  |
| Zn (ug/g AR) | 111.04 | ICP-MS | 141 | 61.0000 61.4000 |  | 57.9000 | 3.19 | 1.48 |  |  |  | 0 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Zn (ug/g AR)

111.04

ICP-MS

196

64.9000	55.3000	57.6000	8.46	3.91	0

Sb (ug/g AR)

Sb (ug/g AR)

112.04

ICP-MS

196

<0.0241	<0.0241	<0.0241	1

(-)-alpha-Bisabolol (%AR)

| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0285 | 0.0298 | 0.0296 | 2.39 | 0.35 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | 0.0662 | 0.0721 | 0.0703 | 4.35 | 0.73 | 0 |

beta-Caryophyllene (%AR)

| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0349 | 0.0354 | 0.0334 | 3.01 | 0.46 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | 0.0322 | 0.0338 | 0.0312 | 4.05 | 0.61 | 0 |

(-)-Caryophyllene oxide (%AR)

(-)-Caryophyllene oxide

203.02

GC,MS

196

<0.0158	<0.0158	<0.0158	1

Geraniol (%AR)

| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.2520 <0.2520 | <0.2520 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |

alpha-Humulene (%AR)

alpha-Humulene (%AR)

205.02

GC,MS

196

0.0131	0.0139	0.0135	2.96	0.39	0

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) |  | Rob Mean | min | max | Flag |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.0143 | 0.0145 | 0.0137 | 2.94 | 0.39 |  | 0 |  |  |  |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | <0.0039 <0.0039 |  | <0.0039 |  | 1 |  |  |  |  |  |
|  |  |  |  | Linalool (%AR) |  |  |  |  |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 196 | <0.0039 <0.0039 |  | <0.0039 |  | 1 |  |  |  |  |  |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | <0.0039 <0.0039 |  | <0.0039 |  | 1 |  |  |  |  |  |
|  |  |  |  | Ocimene (%AR) |  |  |  |  |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0039 <0.0039 |  | <0.0039 |  | 1 |  |  |  |  |  |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0039 <0.0039 |  | <0.0039 |  | 1 |  |  |  |  |  |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

(-)-beta-Pinene (%AR)

| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0039 <0.0039 | <0.0039 | 1 |

alpha-Terpinene (%AR)

| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0039 <0.0039 | <0.0039 | 1 |

gamma-Terpinene (%AR)

| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0039 <0.0039 | <0.0039 | 1 |

alpha-Terpinolene (%AR)

| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0039 <0.0039 | <0.0039 | 1 |

Moisture (%AR)

| Moisture (%AR) | 500.70 | Commerc. Anal. | 189 | 6.2650 | 6.2650 | 6.2650 | 0 | 0 | 3.2 | 0 | 9.78 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 196 | 8.0500 | 7.9600 | 8.0500 | 0.65 | 0.22 | 3.2 | 0 | 9.78 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 7.3500 | 7.4100 | 7.5200 | 1.16 | 0.39 | 3.2 | 0 | 9.78 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 9.9085 | 9.9908 | 10.1716 | 1.34 | 0.48 | 3.2 | 0 | 9.78 | 0 |
| Moisture (%AR) | 500.99 | Other | 103 | 6.5100 | 6.6900 | 6.6700 | 1.49 | 0.5 | 3.2 | 0 | 9.78 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 9.7013 | 9.6971 | 10.0280 | 1.94 | 0.68 | 3.2 | 0 | 9.78 | 0 |
| Moisture (%AR) | 500.99 | Other | 102 | 6.9000 | 6.6000 | 6.8000 | 2.26 | 0.75 | 3.2 | 0 | 9.78 | 0 |
| Moisture (%AR) | 500.72 | NIR | 138 | 7.5500 | 7.2000 | 7.3500 | 2.38 | 0.81 | 3.2 | 0 | 9.78 | 0 |
| Moisture (%AR) | 500.99 | Other | 165 | 8.4000 | 8.1000 | 8.5000 | 2.5 | 0.86 | 3.2 | 0 | 9.78 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 6.2100 | 6.5900 | 6.6500 | 3.68 | 1.22 | 3.2 | 0 | 9.78 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 8.2800 | 7.8900 | 7.5800 | 4.43 | 1.51 | 3.2 | 0 | 9.78 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 4.8100 | 5.3100 | 5.3400 | 5.78 | 1.85 | 3.2 | 0 | 9.78 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 162 | 9.7100 | 10.7800 | 9.8000 | 5.88 | 2.08 | 3.2 | 0 | 9.78 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 183 | 9.1600 | 8.1000 | 9.4100 | 7.82 | 2.72 | 3.2 | 0 | 9.78 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 182 | 8.4950 | 9.9600 | 10.2350 | 9.78 | 3.44 | 3.2 | 0 | 9.78 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.1551 | 0.1542 | 0.1543 | 0.32 | 0.06 | 1.15 | 0.32 | 2.06 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.1420 | 0.1410 | 0.1420 | 0.41 | 0.08 | 1.15 | 0.32 | 2.06 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 199 | 0.1820 | 0.1839 | 0.1837 | 0.57 | 0.11 | 1.15 | 0.32 | 2.06 | 0 |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 210 | 0.1500 | 0.1510 | 0.1490 | 0.67 | 0.13 | 1.15 | 0.32 | 2.06 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.1474 | 0.1475 | 0.1507 | 1.26 | 0.24 | 1.15 | 0.32 | 2.06 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 162 | 0.1670 | 0.1686 | 0.1625 | 1.9 | 0.36 | 1.15 | 0.32 | 2.06 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 103 | 0.1225 | 0.1181 | 0.1187 | 1.99 | 0.36 | 1.15 | 0.32 | 2.06 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 165 | 0.1510 | 0.1455 | 0.1460 | 2.06 | 0.39 | 1.15 | 0.32 | 2.06 | 0 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Δ9-THCA (%DW)

| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | <0.0510 | <0.0530 | <0.0520 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 228 | 0.0549 | 0.0556 | 0.0537 | 1.76 | 0.28 | 5.13 | 1.76 | 30.4 | 0 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 103 | 0.0221 | 0.0222 | 0.0233 | 2.95 | 0.42 | 5.13 | 1.76 | 30.4 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0333 | 0.0342 | 0.0323 | 2.86 | 0.43 | 5.13 | 1.76 | 30.4 | 0 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 210 | 0.0300 | 0.0280 | 0.0300 | 3.94 | 0.58 | 5.13 | 1.76 | 30.4 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 165 | 0.0277 | 0.0317 | 0.0296 | 6.74 | 1 | 5.13 | 1.76 | 30.4 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 162 | 0.0340 | 0.0294 | 0.0316 | 7.27 | 1.08 | 5.13 | 1.76 | 30.4 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.0363 | 0.0206 | 0.0381 | 30.4 | 4.54 | 5.13 | 1.76 | 30.4 | 0 |

CBD (%DW)

| CBD (%DW) | 503.10 | Other LC-UV | 189 | 4.8792 | 4.8726 | 4.8807 | 0.09 | 0.03 | 1.45 | 0.09 | 2.2 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%DW) | 503.01 | AOAC 2018.10 | 210 | 5.2780 | 5.2500 | 5.2290 | 0.47 | 0.15 | 1.45 | 0.09 | 2.2 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 5.1186 | 5.0839 | 5.2435 | 1.63 | 0.52 | 1.45 | 0.09 | 2.2 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 162 | 5.0016 | 4.8083 | 4.8412 | 2.12 | 0.67 | 1.45 | 0.09 | 2.2 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 103 | 4.6334 | 4.8386 | 4.7049 | 2.2 | 0.7 | 1.45 | 0.09 | 2.2 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 199 | 5.2258 | 5.3717 | 5.4543 | 2.16 | 0.7 | 1.45 | 0.09 | 2.2 | 0 |

CBDA (%DW)

| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 2.9019 | 2.8974 | 2.9028 | 0.1 | 0.03 | 0.95 | 0.1 | 2.35 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 228 | 4.1399 | 4.1482 | 4.1376 | 0.14 | 0.04 | 0.95 | 0.1 | 2.35 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 199 | 3.1052 | 3.1391 | 3.1226 | 0.54 | 0.16 | 0.95 | 0.1 | 2.35 | 0 |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 210 | 3.4030 | 3.4010 | 3.3650 | 0.63 | 0.19 | 0.95 | 0.1 | 2.35 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 3.0269 | 2.9666 | 2.9600 | 1.24 | 0.36 | 0.95 | 0.1 | 2.35 | 0 |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 103 | 2.7010 | 2.7618 | 2.7882 | 1.63 | 0.47 | 0.95 | 0.1 | 2.35 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 162 | 2.9218 | 2.7896 | 2.8764 | 2.35 | 0.69 | 0.95 | 0.1 | 2.35 | 0 |
|  |  |  |  | CBN (%DW) |  |  |  |  |  |  |  |  |
| CBN (%DW) | 505.10 | Other LC-UV | 162 | 0.0610 | 0.0605 | 0.0601 | 0.74 | 0.12 | 3.39 | 0.74 | 86.8 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0625 | 0.0637 | 0.0623 | 1.21 | 0.2 | 3.39 | 0.74 | 86.8 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | 0.0766 | 0.0788 | 0.0795 | 1.93 | 0.33 | 3.39 | 0.74 | 86.8 | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 199 | 0.0666 | 0.0694 | 0.0679 | 2.06 | 0.35 | 3.39 | 0.74 | 86.8 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 116 | 0.0705 | 0.0735 | 0.0703 | 2.51 | 0.42 | 3.39 | 0.74 | 86.8 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 192 | 0.0929 | 0.1064 | 0.0993 | 6.78 | 1.2 | 3.39 | 0.74 | 86.8 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.0000 | 0.0937 | 0.1012 | 86.8 | 14.43 | 3.39 | 0.74 | 86.8 | 0 |
|  |  |  |  | Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.1600 | 0.1600 | 0.1600 | 0 | 0 | 4.19 | 0 | 13.7 | 0 |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 210 | 0.1760 | 0.1760 | 0.1750 | 0.33 | 0.06 | 4.19 | 0 | 13.7 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 199 | 0.2039 | 0.2058 | 0.2056 | 0.51 | 0.1 | 4.19 | 0 | 13.7 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.1766 | 0.1775 | 0.1790 | 0.68 | 0.13 | 4.19 | 0 | 13.7 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 165 | 0.1786 | 0.1772 | 0.1756 | 0.85 | 0.16 | 4.19 | 0 | 13.7 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 103 | 0.1419 | 0.1376 | 0.1391 | 1.56 | 0.29 | 4.19 | 0 | 13.7 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 162 | 0.1971 | 0.1939 | 0.1907 | 1.65 | 0.32 | 4.19 | 0 | 13.7 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.1701 | 0.1683 | 0.1626 | 2.34 | 0.45 | 4.19 | 0 | 13.7 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.1869 | 0.1722 | 0.1876 | 4.77 | 0.93 | 4.19 | 0 | 13.7 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 192 | 0.1530 | 0.1768 | 0.1617 | 7.35 | 1.4 | 4.19 | 0 | 13.7 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 138 | 0.1899 | 0.1619 | 0.1688 | 8.41 | 1.62 | 4.19 | 0 | 13.7 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 182 | 0.1365 | 0.1135 | 0.1263 | 9.19 | 1.69 | 4.19 | 0 | 13.7 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.1510 | 0.1840 | 0.1670 | 9.86 | 1.89 | 4.19 | 0 | 13.7 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.2207 | 0.1756 | 0.1754 | 13.7 | 2.68 | 4.19 | 0 | 13.7 | 0 |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| Total CBD (%DW) | 507.10 | Other LC-UV | 189 | 7.4242 | 7.4136 | 7.4265 | 0.09 | 0.03 | 2.64 | 0.09 | 9.25 | 0 |
| Total CBD (%DW) | 507.01 | AOAC 2018.10 | 210 | 8.2620 | 8.2330 | 8.1800 | 0.51 | 0.17 | 2.64 | 0.09 | 9.25 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 7.7732 | 7.6856 | 7.8394 | 0.99 | 0.34 | 2.64 | 0.09 | 9.25 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 199 | 7.9491 | 8.1247 | 8.1928 | 1.55 | 0.53 | 2.64 | 0.09 | 9.25 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 103 | 7.0022 | 7.2607 | 7.1501 | 1.82 | 0.61 | 2.64 | 0.09 | 9.25 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 162 | 7.5645 | 7.2551 | 7.3636 | 2.12 | 0.72 | 2.64 | 0.09 | 9.25 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 138 | 9.1518 | 9.5155 | 9.6342 | 2.66 | 0.93 | 2.64 | 0.09 | 9.25 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 7.9739 | 7.8283 | 8.3909 | 3.62 | 1.24 | 2.64 | 0.09 | 9.25 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 192 | 7.7040 | 8.3806 | 7.3779 | 6.54 | 2.23 | 2.64 | 0.09 | 9.25 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 10.7838 | 12.0681 | 10.0654 | 9.25 | 3.32 | 2.64 | 0.09 | 9.25 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBDV (%DW) |  |  |  |  |  |  |  |  |
| CBDV (%DW) | 508.02 | AOAC 2018.11, U | 210 | 0.0420 | 0.0420 | 0.0410 | 1.39 | 0.22 |  |  |  | 0 |
| CBDV (%DW) | 508.99 | Other | 189 | 0.0343 | 0.0337 | 0.0297 | 7.68 | 1.15 |  |  |  | 0 |
| CBDV (%DW) | 508.99 | Other | 162 | 0.0377 | 0.0327 | 0.0335 | 7.75 | 1.17 |  |  |  | 0 |
|  |  |  |  | CBDVA (%DW) |  |  |  |  |  |  |  |  |
| CBDVA (%DW) | 509.01 | AOAC 2018.10 | 210 | 0.0280 | 0.0190 | 0.0240 | 19.1 | 2.72 |  |  |  | 0 |
|  |  |  |  | CBG (%DW) |  |  |  |  |  |  |  |  |
| CBG (%DW) | 510.99 | Other | 189 | 0.2074 | 0.2078 | 0.2088 | 0.35 | 0.07 |  |  |  | 0 |
| CBG (%DW) | 510.01 | AOAC 2018.10 | 210 | 0.1880 | 0.1890 | 0.1920 | 1.1 | 0.21 |  |  |  | 0 |
| CBG (%DW) | 510.99 | Other | 162 | 0.1786 | 0.1762 | 0.1712 | 2.15 | 0.42 |  |  |  | 0 |
|  |  |  |  | CBGA (%DW) |  |  |  |  |  |  |  |  |
| CBGA (%DW) | 511.99 | Other | 189 | 0.1473 | 0.1493 | 0.1483 | 0.67 | 0.13 |  |  |  | 0 |
| CBGA (%DW) | 511.01 | AOAC 2018.10 | 210 | 0.0640 | 0.0540 | 0.0620 | 8.82 | 1.45 |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 162 | 0.1477 | 0.1735 | 0.1565 | 8.24 | 1.57 |  |  |  | 0 |
|  |  |  |  | THCV (%DW) |  |  |  |  |  |  |  |  |
| THCV (%DW) | 512.02 | AOAC 2018.11, U | 210 | <0.0130 <0.0130 |  | <0.0130 |  |  |  |  |  | 1 |
| THCV (%DW) | 512.99 | Other | 189 | <0.0050 <0.0050 |  | <0.0050 |  |  |  |  |  | 1 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Δ8-THC (%DW)

| Δ8-THC (%DW) | 513.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.99 | Other | 189 | 0.0135 | 0.0135 | 0.0135 | 0 | 0 | 0 |
| Δ8-THC (%DW) | 513.01 | AOAC 2018.10 | 210 | 0.0150 | 0.0150 | 0.0130 | 8.06 | 1.07 | 0 |

CBC (%DW)

| CBC (%DW) | 514.99 | Other | 162 | 0.2333 | 0.2378 | 0.2383 | 1.16 | 0.24 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.99 | Other | 189 | 0.2631 | 0.2938 | 0.2631 | 6.48 | 1.34 | 0 |

- Flag definitions: 1 (Lab RSDr not calculated because there were less than 3 numeric lab results)

- Statistical parameters of robust mean, minimum, and maximum for RSDr only shown only if there were 6 or more lab RSDr values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.c