# Homogeneity and Stability

Sample ID . . . . . . . . . . . . . . . . . . . . . . . . .

Samples shipped . . . . . . . . . . . . . . . . . . .

Results due date . . . . . . . . . . . . . . . . . . . .

HM24SEP-2

9-Sep-24

18-Oct-24

## Homogeneity

8 sample jars randomly chosen for analysis.

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 0.1604 | 0.1554 |
| 2 | 0.1613 | 0.1566 |
| 3 | 0.1551 | 0.1598 |
| 4 | 0.1568 | 0.1627 |
| 5 | 0.1590 | 0.1583 |
| 6 | 0.1586 | 0.1592 |
| 7 | 0.1658 | 0.1647 |
| 8 | 0.1651 | 0.1541 |

Duplicate test portions analyzed for analyte and method shown in table caption.

| Total THC (%AR) via GC-FID (method 006.40) Analysis Date: 9/25/23 |  | Overall average: | 0.1596 | %RSD | HorRat-r |
| --- | --- | --- | --- | --- | --- |
|  |  | SD of sample avgs: | 0.002424 | 1.52 |  |
|  |  | repeatability SD: | 0.003761 | 2.36 | 0.4 |
|  |  | between-sample SD: | 0 | 0.00 |  |
|  |  | reproducibilty SD: | 0.003761 | 2.36 |  |
|  |  | SD used for Analyte z scores: | 0.0245 |  |  |
|  |  | Check value: | 0.00735 |  |  |
| Total THC (%AR) via GC-FID (method 006.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |  |  |
| Total CBD (%AR) via GC-FID (method 007.40) Analysis Date: 9/25/23 |  | Overall average: | 8.1344 | %RSD | HorRat-r |
|  |  | SD of sample avgs: | 0.1511 | 1.86 |  |
|  |  | repeatability SD: | 0.1676 | 2.06 | 0.7 |
|  |  | between-sample SD: | 0.0937 | 1.15 |  |
|  |  | reproducibilty SD: | 0.192 | 2.36 |  |
|  |  | SD used for Analyte z scores: | 0.9634 |  |  |
|  |  | Check value: | 0.28902 |  |  |
| Total CBD (%AR) via GC-FID (method 007.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |  |  |

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 7.9806 | 8.0543 |
| 2 | 8.1219 | 8.0328 |
| 3 | 7.8632 | 8.0763 |
| 4 | 8.0924 | 8.3647 |
| 5 | 8.1744 | 8.0214 |
| 6 | 8.0521 | 8.1913 |
| 7 | 8.3994 | 8.5158 |
| 8 | 8.3597 | 7.8497 |

Stability

Sample tested on different days from date sample shipped to results due date. Sample stored at room temperature during period of testing.

| Date of Analysis | Days | Conc. |
| --- | --- | --- |
| 9/10/24 | 0 | 0.1487 |
| 9/16/24 | 6 | 0.1628 |
| 9/17/24 | 7 | 0.1576 |
| 9/25/24 | 15 | 0.1551 |
| 9/30/24 | 20 | 0.1602 |
| 10/7/24 | 27 | 0.1394 |
| 10/10/24 | 30 | 0.1751 |

Total THC (%AR) via GC-FID (method 006.40)		Days = x variable, Conc = y variable

SUMMARY OUTPUT

Regression Statistics

Multiple R	0.1894503 R Square	0.0358914 Adjusted R Squ -0.1569303 Standard Error  0.0120585

| ANOVA |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | df |  | SS | MS | F | Significance F |  |
| Regression |  |  | 2.7066E-05 | 2.7066E-05 | 0.186137805 | 0.684119708 |  |
| Residual |  |  | 0.00072704 | 0.000145409 |  |  |  |
| Total |  |  | 0.00075411 |  |  |  |  |
| Coefficients |  | tandard Erro |  | t Stat | P-value | Lower 95% | Upper 95% |

Observations	7

1

5

6

y = 0.0002x + 0.1542 R² = 0.0359

0.18

0.17

0.16

0.15

0.14

0.13

0.12

0.11

0.10

0

10

20

30

40

Intercept	0.1541624  0.0079747 19.33143901	6.833E-06  0.133662798  0.174662033

X Variable 1   0.0001882 0.00043626 0.431436908   0.684119708 -0.000933229  0.001309669

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period.

Stability test passed.

%RSD = 7.1	HorRat-R = 1.4

| Total CBD (%AR) via GC-FID (method 006.40) |  |  |
| --- | --- | --- |
| Date of Analysis | Days | Conc. |
| 9/10/24 | 0 | 8.4776 |
| 9/16/24 | 6 | 8.8145 |
| 9/17/24 | 7 | 8.9245 |
| 9/25/24 | 15 | 8.9560 |
| 9/30/24 | 20 | 8.5536 |
| 10/1/24 | 21 | 8.3491 |
| 10/7/24 | 27 | 8.4401 |
| 10/10/24 | 46 | 8.3497 |

Days = x variable, Conc = y variable SUMMARY OUTPUT

Regression Statistics

Multiple R	0.5569695 R Square	0.3102151 Adjusted R Squ 0.1952509 Standard Error  0.2263921

Observations	8

| ANOVA |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | df |  | SS | MS | F | Significance F |  |
| Regression |  | 1 | 0.1383002 | 0.138300196 | 2.698363304 | 0.151557899 |  |
| Residual |  | 6 | 0.30752018 | 0.051253364 |  |  |  |
| Total |  | 7 | 0.44582038 |  |  |  |  |
|  | Coefficients tandard Erro |  |  | t Stat | P-value | Lower 95% Upper 95% |  |
| Intercept | 8.7799838 0.13172231 |  |  | 66.65525399 | 7.66936E-10 | 8.457670913 9.102296658 |  |

y = -0.0097x + 8.78 R² = 0.3102

10.0

9.5

9.0

8.5

8.0

7.5

7.0

0

10

20

30

40

50

X Variable 1   -0.0096815 0.00589375 -1.64266957   0.151557899  -0.024102963  0.004740002

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period.

Stability test passed.

%RSD = 2.9	HorRat-R = 1