Hemp Proficiency Testing

All Labs Precision HM25SEP-1 (Hemp)

| Sample: HM25SEP-1 (Hemp) |  |  |  | All Labs Precision |  |  |  |  | Issue Date: December 3, 2025 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | Population of Lab RSDr |  |  |  |
| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
|  |  |  |  | Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.2102 | 0.2101 | 0.2104 | 0.07 | 0.01 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.2132 | 0.2126 | 0.2108 | 0.59 | 0.12 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 103 | 0.1988 | 0.1971 | 0.1963 | 0.65 | 0.13 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.2286 | 0.2287 | 0.2312 | 0.64 | 0.13 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 142 | 0.2099 | 0.2136 | 0.2117 | 0.87 | 0.17 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.2209 | 0.2171 | 0.2182 | 0.89 | 0.18 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 204 | 0.2342 | 0.2343 | 0.2378 | 0.87 | 0.18 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.2376 | 0.2355 | 0.2321 | 1.18 | 0.24 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.2362 | 0.2366 | 0.2412 | 1.17 | 0.24 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 183 | 0.24 | 0.245 | 0.245 | 1.19 | 0.24 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.2002 | 0.1948 | 0.1991 | 1.44 | 0.28 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.2084 | 0.2131 | 0.2077 | 1.4 | 0.28 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.239 | 0.232 | 0.2375 | 1.56 | 0.31 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.212 | 0.213 | 0.219 | 1.76 | 0.35 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 164 | 0.2149 | 0.2063 | 0.2108 | 2.04 | 0.41 | 2.85 | 0.07 | 11.8 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 190 | 0.2151 | 0.214 | 0.2244 | 2.62 | 0.52 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 173 | 0.208 | 0.208 | 0.219 | 3 | 0.6 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 161 | 0.1753 | 0.1883 | 0.1824 | 3.58 | 0.69 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.2457 | 0.2607 | 0.2449 | 3.55 | 0.72 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.21 | 0.204 | 0.195 | 3.72 | 0.73 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.2539 | 0.2356 | 0.2443 | 3.74 | 0.76 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 154 | 0.1793 | 0.1922 | 0.18 | 3.95 | 0.77 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 165 | 0.2134 | 0.2258 | 0.2318 | 4.2 | 0.84 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 148 | 0.202 | 0.195 | 0.184 | 4.69 | 0.92 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.1831 | 0.1697 | 0.1862 | 4.88 | 0.95 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 213 | 0.1 | 0.11 | 0.112 | 5.99 | 1.07 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 152 | 0.2677 | 0.2949 | 0.2597 | 6.73 | 1.39 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 170 | 0.2083 | 0.2353 | 0.2372 | 7.12 | 1.43 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 149 | 0.207 | 0.228 | 0.192 | 8.65 | 1.71 | 2.85 | 0.07 | 11.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 192 | 0.1304 | 0.1153 | 0.1031 | 11.8 | 2.13 | 2.85 | 0.07 | 11.8 | 0 |

Lab

Population of Lab RSDr

Δ9-THCA (%AR)

| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | <0.0250 | <0.0250 | <0.0250 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | <0.0490 | <0.0490 | <0.0490 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 154 | <0.0210 | <0.0210 | <0.0210 | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | <0.0500 | <0.0500 | <0.0500 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 170 | <0.0300 | <0.0300 | <0.0300 | 1 |

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 161 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 213 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | 0.0215 | 0.0215 | 0.0215 | 0 | 0 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 183 | 0.034 | 0.034 | 0.034 | 0 | 0 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 164 | 0.0286 | 0.0281 | 0.028 | 1.14 | 0.17 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0.032 | 0.0322 | 0.0328 | 1.29 | 0.19 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.0343 | 0.0343 | 0.0335 | 1.36 | 0.2 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 152 | 0.1061 | 0.1019 | 0.1033 | 2.06 | 0.37 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.0339 | 0.0323 | 0.0318 | 3.36 | 0.5 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 190 | 0.0315 | 0.0304 | 0.0327 | 3.65 | 0.54 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.055 | 0.0536 | 0.0514 | 3.4 | 0.55 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0344 | 0.0339 | 0.0319 | 3.96 | 0.6 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.0289 | 0.0266 | 0.0271 | 4.39 | 0.64 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0478 | 0.0512 | 0.0515 | 4.1 | 0.66 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 173 | 0.022 | 0.022 | 0.02 | 5.41 | 0.76 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 103 | 0.0282 | 0.0297 | 0.0266 | 5.5 | 0.81 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 148 | 0.034 | 0.037 | 0.039 | 6.86 | 1.05 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | 0.0312 | 0.0315 | 0.0274 | 7.61 | 1.13 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 204 | 0.0284 | 0.0289 | 0.0248 | 8.17 | 1.19 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | 0.0237 | 0.0261 | 0.0287 | 9.56 | 1.39 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | 0.037 | 0.032 | 0.031 | 9.64 | 1.45 | 5.33 | 0 | 28.8 | 0 |

Lab

Lab

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.0689 | 0.0545 | 0.0554 | 13.5 | 2.22 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 165 | 0.027 | 0.0413 | 0.0422 | 23.2 | 3.54 | 5.33 | 0 | 28.8 | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | 0.0248 | 0.0244 | 0.0393 | 28.8 | 4.25 | 5.33 | 0 | 28.8 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 5.9032 | 5.9024 | 5.9036 | 0.01 | 0 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 5.9885 | 5.963 | 5.9755 | 0.21 | 0.07 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 5.5063 | 5.497 | 5.5195 | 0.2 | 0.07 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 5.84 | 5.865 | 5.842 | 0.24 | 0.08 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 6.5858 | 6.5183 | 6.5167 | 0.6 | 0.2 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 6.1205 | 6.1692 | 6.0948 | 0.62 | 0.2 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 5.8606 | 5.8708 | 5.7767 | 0.88 | 0.29 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 6.3172 | 6.251 | 6.3807 | 1.03 | 0.34 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 183 | 6.102 | 6.258 | 6.204 | 1.28 | 0.42 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 164 | 5.9642 | 5.8096 | 5.8991 | 1.32 | 0.43 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 204 | 6.2683 | 6.1698 | 6.352 | 1.46 | 0.48 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 6.5607 | 6.4754 | 6.369 | 1.48 | 0.49 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 173 | 5.215 | 5.324 | 5.375 | 1.54 | 0.5 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 213 | 5.003 | 4.766 | 4.8415 | 2.49 | 0.79 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 152 | 5.014 | 5.2604 | 5.3348 | 3.23 | 1.04 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 5.655 | 5.548 | 5.264 | 3.68 | 1.19 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 154 | 4.5813 | 4.9473 | 4.8561 | 3.97 | 1.26 | 2.29 | 0.01 | 11.9 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 170 | 5.2602 | 5.6633 | 5.7169 | 4.5 | 1.46 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 4.867 | 4.4323 | 4.7324 | 4.76 | 1.5 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 161 | 4.625 | 5.3222 | 5.0248 | 7.01 | 2.24 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 5.798 | 5.085 | 5.838 | 7.6 | 2.46 | 2.29 | 0.01 | 11.9 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 4.936 | 4.0804 | 4.0065 | 11.9 | 3.72 | 2.29 | 0.01 | 11.9 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 2.9239 | 2.9235 | 2.9237 | 0.01 | 0 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 2.5932 | 2.5885 | 2.5984 | 0.19 | 0.06 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 183 | 2.983 | 3.003 | 2.991 | 0.34 | 0.1 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 164 | 2.6193 | 2.5903 | 2.6017 | 0.56 | 0.16 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 3.0288 | 3.0397 | 2.9846 | 0.97 | 0.29 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 2.526 | 2.4682 | 2.4777 | 1.24 | 0.36 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 2.8355 | 2.849 | 2.9045 | 1.28 | 0.37 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 2.9705 | 2.9663 | 2.9025 | 1.29 | 0.38 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 152 | 2.584 | 2.6311 | 2.6817 | 1.86 | 0.54 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 2.855 | 2.778 | 2.744 | 2.04 | 0.6 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 204 | 3.0955 | 3.048 | 3.173 | 2.03 | 0.6 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 3.0811 | 2.9902 | 2.9421 | 2.35 | 0.69 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 173 | 2.059 | 1.979 | 1.949 | 2.85 | 0.79 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 2.7338 | 2.7089 | 2.591 | 2.85 | 0.83 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 154 | 1.6786 | 1.7656 | 1.7849 | 3.25 | 0.88 | 2.61 | 0.01 | 9.23 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 2.662 | 2.676 | 2.522 | 3.25 | 0.94 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 170 | 3.6346 | 3.4834 | 3.7266 | 3.4 | 1.03 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 161 | 2.209 | 2.398 | 2.3246 | 4.12 | 1.17 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 213 | 2.197 | 2.045 | 1.912 | 6.95 | 1.94 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 2.0586 | 1.9473 | 1.7563 | 7.96 | 2.2 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | 3.051 | 2.678 | 2.619 | 8.42 | 2.46 | 2.61 | 0.01 | 9.23 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 2.9316 | 2.49 | 2.9398 | 9.23 | 2.7 | 2.61 | 0.01 | 9.23 | 0 |
|  |  |  |  | CBN (%AR) |  |  |  |  |  |  |  |  |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | 0.055 | 0.055 | 0.055 | 0 | 0 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0607 | 0.0607 | 0.0609 | 0.19 | 0.03 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0569 | 0.0569 | 0.0572 | 0.3 | 0.05 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.0567 | 0.0569 | 0.0562 | 0.64 | 0.1 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 204 | 0.0634 | 0.0632 | 0.0648 | 1.37 | 0.23 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | 0.0533 | 0.0542 | 0.055 | 1.57 | 0.25 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 183 | 0.063 | 0.065 | 0.064 | 1.56 | 0.26 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.0808 | 0.0772 | 0.0786 | 2.3 | 0.39 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 190 | 0.0597 | 0.0596 | 0.0624 | 2.62 | 0.43 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 154 | 0.0615 | 0.0667 | 0.0615 | 4.75 | 0.79 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 116 | 0.0675 | 0.0606 | 0.0617 | 5.86 | 0.97 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | 0.0695 | 0.0625 | 0.063 | 6.01 | 1 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0802 | 0.0857 | 0.0762 | 5.91 | 1.02 | 5.62 | 0 | 24.3 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 213 | 0.049 | 0.047 | 0.042 | 7.84 | 1.24 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 192 | 0.0637 | 0.0674 | 0.074 | 7.63 | 1.28 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.0585 | 0.066 | 0.0693 | 8.57 | 1.42 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 173 | 0.07 | 0.054 | 0.062 | 12.9 | 2.13 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | 0.0781 | 0.0769 | 0.0582 | 15.7 | 2.65 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 149 | 0.071 | 0.054 | 0.054 | 16.4 | 2.7 | 5.62 | 0 | 24.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0654 | 0.0398 | 0.0585 | 24.3 | 3.93 | 5.62 | 0 | 24.3 | 0 |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 204 | 0.2591 | 0.2596 | 0.2595 | 0.1 | 0.02 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.2663 | 0.2663 | 0.2692 | 0.63 | 0.13 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.2288 | 0.2324 | 0.2305 | 0.78 | 0.16 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 183 | 0.27 | 0.274 | 0.275 | 0.97 | 0.2 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.2235 | 0.2232 | 0.2196 | 0.98 | 0.2 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.2706 | 0.2735 | 0.2764 | 1.06 | 0.22 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.2385 | 0.2432 | 0.2371 | 1.33 | 0.27 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.2629 | 0.2588 | 0.2559 | 1.36 | 0.28 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.2609 | 0.2539 | 0.2594 | 1.43 | 0.29 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.221 | 0.2177 | 0.2243 | 1.49 | 0.3 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.229 | 0.23 | 0.236 | 1.63 | 0.33 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 192 | 0.245 | 0.2457 | 0.2532 | 1.83 | 0.37 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 164 | 0.24 | 0.2309 | 0.2354 | 1.93 | 0.39 | 3.21 | 0.1 | 14.3 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.2371 | 0.2357 | 0.2449 | 2.07 | 0.42 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 173 | 0.227 | 0.227 | 0.236 | 2.26 | 0.45 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.50 | GC-MS | 170 | 0.2268 | 0.238 | 0.2326 | 2.41 | 0.49 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.2617 | 0.2492 | 0.2538 | 2.48 | 0.51 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.316 | 0.311 | 0.2995 | 2.74 | 0.58 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 148 | 0.232 | 0.228 | 0.218 | 3.19 | 0.64 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.21 | 0.204 | 0.195 | 3.72 | 0.73 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.2837 | 0.2639 | 0.2721 | 3.64 | 0.75 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 154 | 0.1793 | 0.1922 | 0.18 | 3.95 | 0.77 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.2218 | 0.2387 | 0.2385 | 4.16 | 0.84 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 152 | 0.3607 | 0.3781 | 0.3491 | 4.03 | 0.87 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.3306 | 0.3077 | 0.3077 | 4.19 | 0.88 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.2319 | 0.216 | 0.2463 | 6.55 | 1.32 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 165 | 0.2371 | 0.262 | 0.2688 | 6.52 | 1.33 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.2049 | 0.1911 | 0.2207 | 7.21 | 1.42 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.239 | 0.256 | 0.219 | 7.78 | 1.57 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.50 | GC-MS | 231 | 0.346 | 0.3606 | 0.398 | 7.28 | 1.57 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1908 | 0.1631 | 0.1517 | 11.9 | 2.29 | 3.21 | 0.1 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.2168 | 0.2869 | 0.2715 | 14.3 | 2.92 | 3.21 | 0.1 | 14.3 | 0 |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 8.4675 | 8.4663 | 8.4677 | 0.01 | 0 | 2.56 | 0.01 | 10.5 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 7.7806 | 7.7671 | 7.7983 | 0.2 | 0.07 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 9.2222 | 9.1857 | 9.183 | 0.24 | 0.08 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 8.4752 | 8.4616 | 8.5227 | 0.38 | 0.13 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 173 | 7.02 | 7.059 | 7.084 | 0.46 | 0.15 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 8.0759 | 8.0355 | 7.9496 | 0.8 | 0.28 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 183 | 8.718 | 8.891 | 8.827 | 0.99 | 0.34 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 164 | 8.2513 | 8.0813 | 8.1808 | 1.05 | 0.36 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 8.5181 | 8.5447 | 8.3671 | 1.13 | 0.39 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 204 | 8.9831 | 8.8429 | 9.1347 | 1.62 | 0.57 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 9.2634 | 9.0984 | 8.9498 | 1.72 | 0.6 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 9.3073 | 9.706 | 9.45 | 2.13 | 0.75 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.50 | GC-MS | 170 | 9.0325 | 9.2097 | 9.4941 | 2.52 | 0.88 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 192 | 9.0208 | 8.6023 | 8.9589 | 2.55 | 0.89 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 8.7756 | 8.3947 | 8.3784 | 2.64 | 0.91 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 152 | 7.2801 | 7.5679 | 7.6867 | 2.78 | 0.94 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 7.99 | 7.895 | 7.477 | 3.5 | 1.19 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 154 | 6.0534 | 6.4957 | 6.4214 | 3.75 | 1.24 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 8.378 | 9.064 | 8.95 | 4.18 | 1.45 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 8.7425 | 8.002 | 8.6036 | 4.66 | 1.61 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 161 | 6.5623 | 7.4252 | 7.0635 | 6.18 | 2.07 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 7.438 | 6.616 | 7.3106 | 6.21 | 2.09 | 2.56 | 0.01 | 10.5 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 8.474 | 7.433 | 8.135 | 6.63 | 2.27 | 2.56 | 0.01 | 10.5 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 6.7414 | 5.7882 | 5.5468 | 10.5 | 3.44 | 2.56 | 0.01 | 10.5 | 0 |

Lab

Population of Lab RSDr

CBDV (%AR)

| CBDV (%AR) | 008.99 | Other | 189 | 0.0365 | 0.0365 | 0.0366 | 0.16 | 0.02 | 4.36 | 0.16 | 11.4 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 183 | 0.051 | 0.052 | 0.052 | 1.12 | 0.18 | 4.36 | 0.16 | 11.4 | 0 |
| CBDV (%AR) | 008.99 | Other | 142 | 0.0558 | 0.0548 | 0.053 | 2.6 | 0.42 | 4.36 | 0.16 | 11.4 | 0 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.0477 | 0.0498 | 0.0461 | 3.88 | 0.62 | 4.36 | 0.16 | 11.4 | 0 |
| CBDV (%AR) | 008.99 | Other | 154 | 0.0491 | 0.0543 | 0.0498 | 5.53 | 0.89 | 4.36 | 0.16 | 11.4 | 0 |
| CBDV (%AR) | 008.99 | Other | 173 | 0.107 | 0.097 | 0.111 | 6.87 | 1.23 | 4.36 | 0.16 | 11.4 | 0 |
| CBDV (%AR) | 008.99 | Other | 149 | 0.054 | 0.05 | 0.043 | 11.4 | 1.81 | 4.36 | 0.16 | 11.4 | 0 |

CBDVA (%AR)

| CBDVA (%AR) | 009.99 | Other | 154 | <0.0150 | <0.0150 | <0.0150 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, U | 183 | 0.06 | 0.061 | 0.06 | 0.96 | 0.16 | 0 |
| CBDVA (%AR) | 009.99 | Other | 142 | 0.0294 | 0.0308 | 0.0298 | 2.4 | 0.36 | 0 |
| CBDVA (%AR) | 009.01 | AOAC 2018.10 | 149 | 0.032 | 0.034 | 0.032 | 3.53 | 0.53 | 0 |
| CBDVA (%AR) | 009.99 | Other | 173 | 0.039 | 0.028 | 0.038 | 17.4 | 2.63 | 0 |
| CBDVA (%AR) | 009.99 | Other | 149 | 0.041 | 0.026 | 0.031 | 23.4 | 3.51 | 0 |

CBG (%AR)

| CBG (%AR) | 010.99 | Other | 189 | 0.2047 | 0.2069 | 0.2072 | 0.66 | 0.13 | 2.3 | 0.66 | 8.22 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 204 | 0.1946 | 0.1937 | 0.1969 | 0.85 | 0.17 | 2.3 | 0.66 | 8.22 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.01 | AOAC 2018.10 | 149 | 0.146 | 0.144 | 0.142 | 1.39 | 0.26 | 2.3 | 0.66 | 8.22 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 183 | 0.187 | 0.193 | 0.192 | 1.69 | 0.33 | 2.3 | 0.66 | 8.22 | 0 |
| CBG (%AR) | 010.99 | Other | 142 | 0.1521 | 0.1574 | 0.1535 | 1.78 | 0.34 | 2.3 | 0.66 | 8.22 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.1751 | 0.1657 | 0.1652 | 3.31 | 0.63 | 2.3 | 0.66 | 8.22 | 0 |
| CBG (%AR) | 010.99 | Other | 173 | 0.171 | 0.159 | 0.162 | 3.81 | 0.73 | 2.3 | 0.66 | 8.22 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.171 | 0.159 | 0.145 | 8.22 | 1.56 | 2.3 | 0.66 | 8.22 | 0 |
|  |  |  |  | CBGA (%AR) |  |  |  |  |  |  |  |  |
| CBGA (%AR) | 011.99 | Other | 142 | 0.1204 | 0.1197 | 0.1202 | 0.3 | 0.05 | 2.28 | 0.3 | 13.8 | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.1471 | 0.1485 | 0.1481 | 0.49 | 0.09 | 2.28 | 0.3 | 13.8 | 0 |
| CBGA (%AR) | 011.01 | AOAC 2018.10 | 149 | 0.137 | 0.139 | 0.136 | 1.11 | 0.21 | 2.28 | 0.3 | 13.8 | 0 |
| CBGA (%AR) | 011.99 | Other | 204 | 0.1675 | 0.1635 | 0.1672 | 1.34 | 0.26 | 2.28 | 0.3 | 13.8 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 183 | 0.167 | 0.171 | 0.171 | 1.36 | 0.26 | 2.28 | 0.3 | 13.8 | 0 |
| CBGA (%AR) | 011.99 | Other | 154 | 0.0821 | 0.0858 | 0.0841 | 2.2 | 0.38 | 2.28 | 0.3 | 13.8 | 0 |
| CBGA (%AR) | 011.99 | Other | 106 | 0.1316 | 0.1296 | 0.126 | 2.2 | 0.41 | 2.28 | 0.3 | 13.8 | 0 |
| CBGA (%AR) | 011.99 | Other | 173 | 0.121 | 0.109 | 0.11 | 5.87 | 1.06 | 2.28 | 0.3 | 13.8 | 0 |
| CBGA (%AR) | 011.99 | Other | 149 | 0.16 | 0.124 | 0.131 | 13.8 | 2.57 | 2.28 | 0.3 | 13.8 | 0 |
|  |  |  |  | THCV (%AR) |  |  |  |  |  |  |  |  |
| THCV (%AR) | 012.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 149 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  |  | 1 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 189 | 0.043 | 0.0441 | 0.0456 | 2.95 | 0.46 | 0 |
| THCV (%AR) | 012.02 | AOAC 2018.11, U | 183 | 0.009 | 0.009 | 0.01 | 6.19 | 0.77 | 0 |
| THCV (%AR) | 012.99 | Other | 173 | 0.095 | 0.064 | 0.064 | 24.1 | 4.09 | 0 |

Lab

Population of Lab RSDr

Δ8-THC (%AR)

| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.01 | AOAC 2018.10 | 149 | <0.0250 | <0.0250 | <0.0250 |  |  | 1 |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, U | 183 | <0.0010 | <0.0010 | <0.0010 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 173 | 0 | 0 | 0 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | <0.0250 | <0.0250 | <0.0250 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.0647 | 0.0706 | 0.071 | 5.13 | 0.86 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 213 | 0.158 | 0.149 | 0.144 | 4.72 | 0.89 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 192 | 0.0615 | 0.056 | 0.0638 | 6.63 | 1.09 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0131 | 0.012 | 0.0149 | 11 | 1.44 | 0 |

CBC (%AR)

| CBC (%AR) | 014.99 | Other | 189 | 0.2698 | 0.2725 | 0.2735 | 0.7 | 0.15 | 1.97 | 0.7 | 4.38 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 173 | 0.202 | 0.199 | 0.2 | 0.76 | 0.15 | 1.97 | 0.7 | 4.38 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 183 | 0.281 | 0.285 | 0.285 | 0.81 | 0.17 | 1.97 | 0.7 | 4.38 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.2476 | 0.2455 | 0.2421 | 1.13 | 0.23 | 1.97 | 0.7 | 4.38 | 0 |
| CBC (%AR) | 014.99 | Other | 142 | 0.2232 | 0.2294 | 0.2259 | 1.37 | 0.28 | 1.97 | 0.7 | 4.38 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 204 | 0.2545 | 0.2492 | 0.2585 | 1.84 | 0.37 | 1.97 | 0.7 | 4.38 | 0 |
| CBC (%AR) | 014.01 | AOAC 2018.10 | 149 | 0.227 | 0.23 | 0.219 | 2.52 | 0.51 | 1.97 | 0.7 | 4.38 | 0 |
| CBC (%AR) | 014.99 | Other | 154 | 0.1796 | 0.1951 | 0.1864 | 4.15 | 0.81 | 1.97 | 0.7 | 4.38 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.243 | 0.243 | 0.225 | 4.38 | 0.89 | 1.97 | 0.7 | 4.38 | 0 |

Lab

Population of Lab RSDr

Cd (ug/g AR)

| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | 0.2084 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.1943 | 0.1904 | 0.1967 | 1.64 | 0.32 | 5.03 | 1.64 | 16.9 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 183 | 0.164 | 0.173 | 0.167 | 2.73 | 0.52 | 5.03 | 1.64 | 16.9 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.1774 | 0.1934 | 0.1844 | 4.33 | 0.84 | 5.03 | 1.64 | 16.9 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 141 | 0.191 | 0.206 | 0.187 | 5.15 | 1.01 | 5.03 | 1.64 | 16.9 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.1972 | 0.1847 | 0.1741 | 6.24 | 1.21 | 5.03 | 1.64 | 16.9 | 0 |
| Cd (ug/g AR) | 101.03 | ICP-OES | 192 | 0.13 | 0.14 | 0.1 | 16.9 | 3.09 | 5.03 | 1.64 | 16.9 | 0 |

As (ug/g AR)

| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 141 | <0.0600 | 0.069 | <0.0600 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0830 | <0.0830 | <0.0830 |  |  | 1 |
| As (ug/g AR) | 102.03 | ICP-OES | 192 | <0.8000 | <0.8000 | <0.8000 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 183 | 0.085 | 0.084 | 0.087 | 1.79 | 0.31 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.0639 | 0.0607 | 0.0642 | 3.08 | 0.51 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | 0.0525 | 0.048 | 0.0564 | 8.04 | 1.29 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

|  |  |  | Hg (ug/g AR) |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 141 | <0.0600 | <0.0600 | <0.0600 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 183 | <0.0120 | <0.0120 | <0.0120 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | <0.0080 | <0.0080 | <0.0080 |  |  | 1 |
| Hg (ug/g AR) | 103.03 | ICP-OES | 192 | 0 | 0 | 0 |  |  | 1 |
| Hg (ug/g AR) | 103.99 | Other | 102 | 0.0082 | 0.0083 | 0.0083 | 0.7 | 0.09 | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | 0.0099 | 0.0085 | 0.0077 | 12.8 | 1.57 | 0 |

Pb (ug/g AR)

| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.2341 | 0.2436 | 0.2473 | 2.82 | 0.57 | 10.4 | 2.82 | 25 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.2049 | 0.2064 | 0.22 | 3.95 | 0.78 | 10.4 | 2.82 | 25 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 183 | 0.216 | 0.232 | 0.236 | 4.64 | 0.93 | 10.4 | 2.82 | 25 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | 0.2302 | 0.209 | 0.2072 | 5.94 | 1.18 | 10.4 | 2.82 | 25 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 0.2642 | 0.2477 | 0.3083 | 11.5 | 2.36 | 10.4 | 2.82 | 25 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 141 | 0.267 | 0.333 | 0.229 | 19 | 3.93 | 10.4 | 2.82 | 25 | 0 |
| Pb (ug/g AR) | 104.03 | ICP-OES | 192 | 0.54 | 0.52 | 0.33 | 25 | 5.59 | 10.4 | 2.82 | 25 | 0 |

Cu (ug/g AR)

Cu (ug/g AR)

105.04

ICP-MS

142

16.7181	17.4433	16.9236	2.2	0.84	0

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Ni (ug/g AR) |  |  |  |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 142 | 1.3586 | 1.2992 | 1.3809 | 3.14 | 0.82 |  |  |  | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 141 | 1.71 | 1.81 | 1.69 | 3.7 | 1.01 |  |  |  | 0 |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | 0.3875 | 0.3731 | 0.5055 | 17.2 | 3.79 |  |  |  | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 141 | 0.608 | 0.809 | 0.525 | 22.6 | 5.3 |  |  |  | 0 |
|  |  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 141 | <1.2000 <1.2000 |  | <1.2000 |  |  |  |  |  | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | 0.1283 | 0.1261 | 0.1534 | 11.2 | 2.07 |  |  |  | 0 |
|  |  |  |  | Ag (ug/g AR) |  |  |  |  |  |  |  |  |
| Ag (ug/g AR) | 109.04 | ICP-MS | 142 | 0.0365 | 0.0372 | 0.0307 | 10.3 | 1.55 |  |  |  | 0 |
|  |  |  |  | Zn (ug/g AR) |  |  |  |  |  |  |  |  |
| Zn (ug/g AR) | 111.04 | ICP-MS | 142 | 61.1309 61.7841 |  | 60.8922 | 0.75 | 0.35 |  |  |  | 0 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 141 | 58.6 | 65.3 | 60.2 | 5.7 | 2.65 |  |  |  | 0 |
|  |  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |  |  |  |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 183 | 0.118 | 0.122 | 0.117 | 2.22 | 0.4 |  |  |  | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0307 | 0.03 | 0.0317 | 2.77 | 0.41 | 0 |
| (-)-alpha-Bisabolol (%A | 201.01 | GC,FID | 142 | 1180 | 1250 | 1260 | 3.54 | 2.58 | 0 |

Lab

Population of Lab RSDr

beta-Caryophyllene (%AR)

| beta-Caryophyllene (% | 202.02 | GC,MS | 183 | 0.054 | 0.056 | 0.055 | 1.82 | 0.29 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0421 | 0.0424 | 0.0436 | 1.86 | 0.29 | 0 |
| beta-Caryophyllene (% | 202.01 | GC,FID | 142 | 612 | 639 | 641 | 2.57 | 1.69 | 0 |

(-)-Caryophyllene oxide (%AR)

| (-)-Caryophyllene oxide | 203.02 | GC,MS | 183 | 0.017 | 0.018 | 0.018 | 3.27 | 0.45 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-Caryophyllene oxide | 203.01 | GC,FID | 142 | 182 | 192 | 191 | 2.92 | 1.61 | 0 |

Geraniol (%AR)

| Geraniol (%AR) | 204.02 | GC,MS | 183 | <0.0020 <0.0020 | <0.0020 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |

alpha-Humulene (%AR)

| alpha-Humulene (%AR) | 205.02 | GC,MS | 183 | 0.023 | 0.024 | 0.024 | 2.44 | 0.35 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.02 | 0.0202 | 0.0212 | 3.14 | 0.44 | 0 |
| alpha-Humulene (%AR) | 205.01 | GC,FID | 142 | 293 | 308 | 310 | 3.06 | 1.81 | 0 |

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) |  | Rob Mean | min | max | Flag |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  | 1 |  |  |  |  |  |
|  |  |  |  | Linalool (%AR) |  |  |  |  |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 183 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  | 1 |  |  |  |  |  |
|  |  |  |  | Ocimene (%AR) |  |  |  |  |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  | 1 |  |  |  |  |  |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  | 1 |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

(-)-beta-Pinene (%AR)

| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 183 | <0.0020 <0.0020 | <0.0020 | 1 |

alpha-Terpinene (%AR)

| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 183 | <0.0020 <0.0020 | <0.0020 | 1 |

gamma-Terpinene (%AR)

| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| gamma-Terpinene (%A | 214.02 | GC,MS | 183 | <0.0020 <0.0020 | <0.0020 | 1 |

alpha-Terpinolene (%AR)

| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 183 | <0.0020 <0.0020 | <0.0020 | 1 |

Moisture (%AR)

| Moisture (%AR) | 500.70 | Commerc. Anal. | 189 | 5.511 | 5.511 | 5.511 | 0 | 0 | 3.35 | 0 | 11.7 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.99 | Other | 142 | 6.06 | 6.03 | 6 | 0.5 | 0.16 | 3.35 | 0 | 11.7 | 0 |
| Moisture (%AR) | 500.99 | Other | 103 | 6.51 | 6.44 | 6.51 | 0.62 | 0.21 | 3.35 | 0 | 11.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 6.11 | 6.04 | 6.16 | 0.99 | 0.32 | 3.35 | 0 | 11.7 | 0 |
| Moisture (%AR) | 500.99 | Other | 165 | 7.6685 | 7.4816 | 7.4507 | 1.56 | 0.53 | 3.35 | 0 | 11.7 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 9.4365 | 9.8548 | 9.6422 | 2.17 | 0.76 | 3.35 | 0 | 11.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 7.03 | 6.7 | 6.99 | 2.61 | 0.87 | 3.35 | 0 | 11.7 | 0 |
| Moisture (%AR) | 500.99 | Other | 102 | 6.6 | 6.3 | 6.6 | 2.66 | 0.88 | 3.35 | 0 | 11.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 183 | 7.65 | 8.09 | 7.76 | 2.92 | 1 | 3.35 | 0 | 11.7 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 9.8261 | 9.7466 | 9.2818 | 3.06 | 1.08 | 3.35 | 0 | 11.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 5.15 | 4.58 | 4.36 | 8.68 | 2.74 | 3.35 | 0 | 11.7 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 8.82 | 7.73 | 7.15 | 10.7 | 3.67 | 3.35 | 0 | 11.7 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 162 | 9.52 | 8 | 7.69 | 11.7 | 4.02 | 3.35 | 0 | 11.7 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.242 | 0.242 | 0.2447 | 0.64 | 0.13 | 2.23 | 0.64 | 4.81 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 142 | 0.2234 | 0.2273 | 0.2252 | 0.87 | 0.17 | 2.23 | 0.64 | 4.81 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.2515 | 0.2519 | 0.2569 | 1.19 | 0.24 | 2.23 | 0.64 | 4.81 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 199 | 0.2639 | 0.2574 | 0.2628 | 1.33 | 0.27 | 2.23 | 0.64 | 4.81 | 0 |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 210 | 0.234 | 0.228 | 0.228 | 1.51 | 0.3 | 2.23 | 0.64 | 4.81 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.227 | 0.228 | 0.234 | 1.65 | 0.33 | 2.23 | 0.64 | 4.81 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 154 | 0.1908 | 0.2045 | 0.1915 | 3.94 | 0.77 | 2.23 | 0.64 | 4.81 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 165 | 0.2311 | 0.2441 | 0.2505 | 4.09 | 0.83 | 2.23 | 0.64 | 4.81 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 162 | 0.1898 | 0.2085 | 0.2033 | 4.81 | 0.95 | 2.23 | 0.64 | 4.81 | 0 |
|  |  |  |  | Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | <0.0520 <0.0530 |  | <0.0520 |  |  |  |  |  | 1 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 154 | <0.0210 | <0.0210 | <0.0210 |  |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 142 | 0.0229 | 0.0229 | 0.0228 | 0.25 | 0.04 | 6.77 | 0.25 | 23.1 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 162 | 0.022 | 0.0227 | 0.0229 | 2.1 | 0.3 | 6.77 | 0.25 | 23.1 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0366 | 0.0361 | 0.034 | 3.88 | 0.59 | 6.77 | 0.25 | 23.1 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.0506 | 0.0542 | 0.0545 | 4.09 | 0.66 | 6.77 | 0.25 | 23.1 | 0 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 210 | 0.035 | 0.028 | 0.03 | 11.6 | 1.73 | 6.77 | 0.25 | 23.1 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 165 | 0.0292 | 0.0446 | 0.0456 | 23.1 | 3.57 | 6.77 | 0.25 | 23.1 | 0 |
|  |  |  |  | CBD (%DW) |  |  |  |  |  |  |  |  |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 199 | 6.6125 | 6.6149 | 6.6132 | 0.02 | 0.01 | 2.09 | 0.02 | 10.2 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 189 | 5.8275 | 5.8176 | 5.8414 | 0.2 | 0.07 | 2.09 | 0.02 | 10.2 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 6.5182 | 6.5698 | 6.4907 | 0.62 | 0.2 | 2.09 | 0.02 | 10.2 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 142 | 6.2386 | 6.2476 | 6.1454 | 0.91 | 0.3 | 2.09 | 0.02 | 10.2 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 162 | 6.4678 | 6.6003 | 6.2208 | 3 | 0.99 | 2.09 | 0.02 | 10.2 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 154 | 4.8763 | 5.2658 | 5.1688 | 3.97 | 1.27 | 2.09 | 0.02 | 10.2 | 0 |
| CBD (%DW) | 503.01 | AOAC 2018.10 | 210 | 7.755 | 6.517 | 6.543 | 10.2 | 3.42 | 2.09 | 0.02 | 10.2 | 0 |
|  |  |  |  | CBDA (%DW) |  |  |  |  |  |  |  |  |
| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 2.7445 | 2.7395 | 2.7499 | 0.19 | 0.06 | 1.91 | 0.19 | 3.36 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 162 | 2.8188 | 2.8217 | 2.7662 | 1.11 | 0.33 | 1.91 | 0.19 | 3.36 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 142 | 2.689 | 2.6266 | 2.6359 | 1.27 | 0.37 | 1.91 | 0.19 | 3.36 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 199 | 3.131 | 3.1605 | 3.2144 | 1.33 | 0.4 | 1.91 | 0.19 | 3.36 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 2.9114 | 2.8849 | 2.7593 | 2.85 | 0.84 | 1.91 | 0.19 | 3.36 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 154 | 1.7867 | 1.8793 | 1.8999 | 3.25 | 0.89 | 1.91 | 0.19 | 3.36 | 0 |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 210 | 3.435 | 3.235 | 3.251 | 3.36 | 1.01 | 1.91 | 0.19 | 3.36 | 0 |
|  |  |  |  | CBN (%DW) |  |  |  |  |  |  |  |  |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0642 | 0.0642 | 0.0644 | 0.18 | 0.03 | 6.66 | 0.18 | 24.1 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 162 | 0.068 | 0.0698 | 0.0684 | 1.38 | 0.23 | 6.66 | 0.18 | 24.1 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 142 | 0.0568 | 0.0577 | 0.0586 | 1.56 | 0.25 | 6.66 | 0.18 | 24.1 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 154 | 0.0655 | 0.071 | 0.0655 | 4.72 | 0.79 | 6.66 | 0.18 | 24.1 | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 199 | 0.0767 | 0.0693 | 0.0697 | 5.79 | 0.98 | 6.66 | 0.18 | 24.1 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 116 | 0.0719 | 0.0645 | 0.0657 | 5.9 | 0.99 | 6.66 | 0.18 | 24.1 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 192 | 0.0706 | 0.0746 | 0.0816 | 7.36 | 1.25 | 6.66 | 0.18 | 24.1 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | 0.0832 | 0.0819 | 0.0616 | 16 | 2.73 | 6.66 | 0.18 | 24.1 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.0721 | 0.0441 | 0.0649 | 24.1 | 3.96 | 6.66 | 0.18 | 24.1 | 0 |
|  |  |  |  | Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.2836 | 0.2836 | 0.2867 | 0.63 | 0.13 | 3.15 | 0.63 | 11.6 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 142 | 0.2435 | 0.2473 | 0.2452 | 0.78 | 0.16 | 3.15 | 0.63 | 11.6 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.2863 | 0.2895 | 0.2925 | 1.07 | 0.22 | 3.15 | 0.63 | 11.6 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 199 | 0.2858 | 0.2793 | 0.2847 | 1.23 | 0.25 | 3.15 | 0.63 | 11.6 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.245 | 0.246 | 0.252 | 1.53 | 0.31 | 3.15 | 0.63 | 11.6 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 192 | 0.2717 | 0.2723 | 0.2791 | 1.5 | 0.31 | 3.15 | 0.63 | 11.6 | 0 |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 210 | 0.265 | 0.252 | 0.254 | 2.72 | 0.56 | 3.15 | 0.63 | 11.6 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.2762 | 0.2612 | 0.2654 | 2.89 | 0.59 | 3.15 | 0.63 | 11.6 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 154 | 0.1908 | 0.2045 | 0.1915 | 3.94 | 0.77 | 3.15 | 0.63 | 11.6 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 162 | 0.2091 | 0.2284 | 0.2234 | 4.55 | 0.91 | 3.15 | 0.63 | 11.6 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 165 | 0.2568 | 0.2832 | 0.2904 | 6.39 | 1.32 | 3.15 | 0.63 | 11.6 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.247 | 0.2301 | 0.2623 | 6.54 | 1.33 | 3.15 | 0.63 | 11.6 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.2104 | 0.1807 | 0.1682 | 11.6 | 2.26 | 3.15 | 0.63 | 11.6 | 0 |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| Total CBD (%DW) | 507.10 | Other LC-UV | 189 | 8.2344 | 8.2202 | 8.2531 | 0.2 | 0.07 | 3.25 | 0.2 | 10.1 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 199 | 9.3584 | 9.3862 | 9.4322 | 0.4 | 0.14 | 3.25 | 0.2 | 10.1 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 142 | 8.5968 | 8.5511 | 8.4571 | 0.84 | 0.29 | 3.25 | 0.2 | 10.1 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 9.0714 | 9.0998 | 8.9106 | 1.13 | 0.39 | 3.25 | 0.2 | 10.1 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 162 | 8.9399 | 9.075 | 8.6468 | 2.46 | 0.86 | 3.25 | 0.2 | 10.1 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 192 | 10.0038 | 9.5313 | 9.8756 | 2.49 | 0.88 | 3.25 | 0.2 | 10.1 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 154 | 6.4432 | 6.9139 | 6.835 | 3.75 | 1.25 | 3.25 | 0.2 | 10.1 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 9.3105 | 8.5218 | 9.1625 | 4.66 | 1.62 | 3.25 | 0.2 | 10.1 | 0 |
| Total CBD (%DW) | 507.01 | AOAC 2018.10 | 210 | 10.767 | 9.354 | 9.394 | 8.18 | 2.89 | 3.25 | 0.2 | 10.1 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 7.4311 | 6.4133 | 6.1512 | 10.1 | 3.38 | 3.25 | 0.2 | 10.1 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBDV (%DW) |  |  |  |  |  |  |  |  |
| CBDV (%DW) | 508.99 | Other | 189 | 0.0387 | 0.0387 | 0.0387 | 0 | 0 |  |  |  | 0 |
| CBDV (%DW) | 508.02 | AOAC 2018.11, U | 210 | 0.056 | 0.055 | 0.058 | 2.71 | 0.44 |  |  |  | 0 |
| CBDV (%DW) | 508.99 | Other | 142 | 0.0594 | 0.0584 | 0.0563 | 2.73 | 0.45 |  |  |  | 0 |
| CBDV (%DW) | 508.99 | Other | 162 | 0.0504 | 0.0457 | 0.0495 | 5.14 | 0.82 |  |  |  | 0 |
| CBDV (%DW) | 508.99 | Other | 154 | 0.0522 | 0.0578 | 0.053 | 5.57 | 0.9 |  |  |  | 0 |
|  |  |  |  | CBDVA (%DW) |  |  |  |  |  |  |  |  |
| CBDVA (%DW) | 509.99 | Other | 154 | <0.0150 | <0.0150 | <0.0150 |  |  |  |  |  | 1 |
| CBDVA (%DW) | 509.99 | Other | 142 | 0.0313 | 0.0328 | 0.0317 | 2.43 | 0.36 |  |  |  | 0 |
| CBDVA (%DW) | 509.01 | AOAC 2018.10 | 210 | 0.029 | 0.025 | 0.014 | 34.3 | 4.87 |  |  |  | 0 |
|  |  |  |  | CBG (%DW) |  |  |  |  |  |  |  |  |
| CBG (%DW) | 510.99 | Other | 189 | 0.2167 | 0.219 | 0.2193 | 0.65 | 0.13 |  |  |  | 0 |
| CBG (%DW) | 510.99 | Other | 162 | 0.1768 | 0.1766 | 0.1807 | 1.3 | 0.25 |  |  |  | 0 |
| CBG (%DW) | 510.99 | Other | 142 | 0.1619 | 0.1675 | 0.1633 | 1.77 | 0.34 |  |  |  | 0 |
| CBG (%DW) | 510.01 | AOAC 2018.10 | 210 | 0.153 | 0.141 | 0.145 | 4.18 | 0.78 |  |  |  | 0 |
|  |  |  |  | CBGA (%DW) |  |  |  |  |  |  |  |  |
| CBGA (%DW) | 511.99 | Other | 142 | 0.1282 | 0.1273 | 0.1279 | 0.36 | 0.07 |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 189 | 0.1556 | 0.1571 | 0.1568 | 0.51 | 0.1 |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 154 | 0.0874 | 0.0913 | 0.0895 | 2.18 | 0.38 |  |  |  | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%DW) | 511.01 | AOAC 2018.10 | 210 | 0.08 | 0.077 | 0.083 | 3.75 | 0.64 | 0 |
| CBGA (%DW) | 511.99 | Other | 162 | 0.1471 | 0.1558 | 0.1591 | 4.03 | 0.76 | 0 |

Lab

Population of Lab RSDr

THCV (%DW)

| THCV (%DW) | 512.02 | AOAC 2018.11, U | 210 | <0.0130 | <0.0130 | <0.0130 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%DW) | 512.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 |  |  | 1 |
| THCV (%DW) | 512.99 | Other | 189 | 0.0455 | 0.0466 | 0.0483 | 3.01 | 0.48 | 0 |

Δ8-THC (%DW)

| Δ8-THC (%DW) | 513.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.01 | AOAC 2018.10 | 210 | <0.0130 | <0.0130 | <0.0130 |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 192 | 0.0682 | 0.062 | 0.0703 | 6.46 | 1.08 | 0 |
| Δ8-THC (%DW) | 513.99 | Other | 189 | 0.0138 | 0.0127 | 0.0157 | 10.8 | 1.43 | 0 |

CBC (%DW)

| CBC (%DW) | 514.99 | Other | 189 | 0.2855 | 0.2884 | 0.2895 | 0.72 | 0.15 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.99 | Other | 142 | 0.2376 | 0.2441 | 0.2403 | 1.36 | 0.27 | 0 |
| CBC (%DW) | 514.99 | Other | 154 | 0.1912 | 0.2077 | 0.1984 | 4.15 | 0.82 | 0 |
| CBC (%DW) | 514.99 | Other | 162 | 0.268 | 0.2664 | 0.2488 | 4.08 | 0.84 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

- Flag definitions: 1 (Lab RSDr not calculated because there were less than 3 numeric lab results)

- Statistical parameters of robust mean, minimum, and maximum for RSDr only shown only if there were 6 or more lab RSDr values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.c