| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 0.2634 | 0.2700 |
| 2 | 0.2690 | 0.2670 |
| 3 | 0.2658 | 0.2660 |
| 4 | 0.2686 | 0.2680 |
| 5 | 0.2735 | 0.2720 |
| 6 | 0.2711 | 0.2710 |
| 7 | 0.2693 | 0.2670 |
| 8 | 0.2651 | 0.2660 |

| Homogeneity and Stability |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Sample ID . . . . . . . . . . . . . . . . . . . . . . . . . |  | HM25SEP-1 |  |  |  |
| Samples shipped . . . . . . . . . . . . . . . . . . . |  | 16-Sep-25 |  |  |  |
| Results due date . . . . . . . . . . . . . . . . . . . . |  | 22-Oct-25 |  |  |  |
| Homogeneity 8 sample jars randomly chosen for analysis. Duplicate test portions analyzed for analyte and method shown |  | in table caption. |  |  |  |
| Total THC (%AR) via GC-FID (method 006.40) Analysis Date: 09/15/25 |  | Overall average: | 0.2683 | %RSD | HorRat-r |
|  |  | SD of sample avgs: | 0.0025 | 0.92 |  |
|  |  | repeatability SD: | 0.0019 | 0.70 | 0.1 |
|  |  | between-sample SD: | 0.0021 | 0.78 |  |
|  |  | reproducibilty SD: | 0.0028 | 1.05 |  |
|  |  | n: | 8 |  |  |
|  |  | SD used for Analyte z scores: | 0.0309 |  |  |
|  |  | Check value: | 0.0093 |  |  |
| Total THC (%AR) via GC-FID (method 006.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |  |  |
| Total CBD (%AR) via GC-FID (method 007.40) Analysis Date: 09/15/25 |  | Overall average: | 9.5167 | %RSD | HorRat-r |
|  |  | SD of sample avgs: | 0.0553 | 0.58 |  |
|  |  | repeatability SD: | 0.0797 | 0.84 | 0.3 |
|  |  | between-sample SD: | 0.0000 | 0.00 |  |
|  |  | reproducibilty SD: | 0.0797 | 0.84 |  |
|  |  |  | 8 |  |  |
|  |  | SD used for Analyte z scores: | 0.9250 |  |  |
|  |  | Check value: | 0.2775 |  |  |
|  |  | Total CBD (%AR) via GC-FID (method 007.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 9.2704 | 9.5660 |
| 2 | 9.5440 | 9.5180 |
| 3 | 9.5018 | 9.5230 |
| 4 | 9.5055 | 9.5600 |
| 5 | 9.6256 | 9.5980 |
| 6 | 9.5378 | 9.5530 |
| 7 | 9.4600 | 9.5180 |
| 8 | 9.4549 | 9.5310 |

Stability

Sample tested on different days from date sample shipped to results due date. Sample stored at room temperature during period of testing.

| Total THC (%AR) via GC-FID (method 006.40) |  |  |
| --- | --- | --- |
| Date of Analysis | Days | Conc. |
| 9/24/25 | 0 | 0.2660 |
| 10/2/25 | 17 | 0.2325 |
| 10/23/25 | 38 | 0.2698 |
| 10/30/25 | 45 | 0.2678 |
| 11/5/25 | 51 | 0.2663 |
| 11/10/25 | 56 | 0.2678 |
| 11/14/25 | 60 | 0.2663 |

Days = x variable, Conc = y variable SUMMARY OUTPUT

Regression Statistics

Multiple R		0.436311 R Square	0.1903673 Adjusted R Square 0.0284408 Standard Error   0.0130394

0.30

0.25

0.20

0.15

0.10

-10

10

30

50

70

y = 0.0003x + 0.2523

R² = 0.1904

Observations	7

| ANOVA |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | df |  | SS | MS | F | Significance F |  |  |  |  |
| Regression |  | 1 | 0.0002 | 0.0002 | 1.1756 | 0.3277 |  |  |  |  |
| Residual |  | 5 | 0.0009 | 0.0002 |  |  |  |  |  |  |
| Total |  | 6 | 0.0011 |  |  |  |  |  |  |  |
| Coefficients Standard Erro t Stat P-value Lower 95% Upper 95% Lower 95.0% Upper 95.0% |  |  |  |  |  |  |  |  |  |  |
| Intercept | 0.2523 |  | 0.0105 | 24.1406 | 0.0000 | 0.2255 | 0.2792 | 0.2255 | 0.2792 |  |
| X Variable 1 | 0.0003 |  | 0.0002 | 1.0843 | 0.3277 | -0.0004 | 0.0009 | -0.0004 | 0.0009 |  |

Coefficient for x variable is not statistically significantly different from 0. No signficant change in THC levels during testing period.

Stability test passed.

%RSD = 5	HorRat-R = 1

| Total CBD (%AR) via GC-FID (method 006.40) |  |  |  | Days = x variable, Conc = y variable |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date of Analysis |  | Days | Conc. |  |  |  |  |  |  |  |  |  |  |
| 9/24/25 |  | 0 | 9.5345 | SUMMARY OUTPUT |  |  |  |  |  |  |  |  |  |
| 10/2/25 |  | 17 | 8.5369 |  |  |  |  |  |  |  |  |  |  |
| 10/23/25 |  | 38 | 9.0169 | Regression Statistics |  |  |  |  |  |  |  |  |  |
| 10/30/25 |  | 45 | 9.3267 |  | Multiple R | 0.2054131 |  |  |  |  |  |  |  |
| 11/5/25 |  | 51 | 9.3304 |  | R Square | 0.0421945 |  |  |  |  |  |  |  |
| 11/10/25 |  | 56 | 9.3267 |  | Adjusted R Square | -0.1493666 |  |  |  |  |  |  |  |
| 11/14/25 |  | 60 | 9.3304 |  | Standard Error | 0.3532051 |  |  |  |  |  |  |  |
|  |  |  |  |  | Observations | 7 |  |  |  |  |  |  |  |
| 10.00 |  |  |  |  | ANOVA |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  | df | SS | MS | F | Significance F |  |  |  |
| 9.50 |  |  |  |  | Regression | 1 | 0.0275 | 0.0275 | 0.2203 | 0.6586 |  |  |  |
|  |  |  |  |  | Residual | 5 | 0.6238 | 0.1248 |  |  |  |  |  |
| 9.00 |  |  |  |  | Total | 6 | 0.6512 |  |  |  |  |  |  |
|  |  | y = 0.0031x | + 9.0832 |  |  |  |  |  |  |  |  |  |  |
| 8.50 |  | R² = 0. | 0422 |  |  | Coefficients | Standard Erro | t Stat | P-value | Lower 95% | Upper 95% | Lower 95.0% | Upper 95.0% |
|  |  |  |  |  | Intercept | 9.0832 | 0.2832 | 32.0787 | 0.0000 | 8.3553 | 9.8110 | 8.3553 | 9.8110 |
| 8.00 |  |  |  |  | X Variable | 0.0031 | 0.0065 | 0.4693 | 0.6586 | -0.0138 | 0.0199 | -0.0138 | 0.0199 |
| 7.50 |  |  |  |  | Coefficient for x variable is not statistically significantly different from 0. |  |  |  |  |  |  |  |  |
|  |  |  |  |  | No signficant change in result during testing period. |  |  |  |  |  |  |  |  |
| 7.00 0 20 |  |  |  | Stability test passed. |  |  |  |  |  |  |  |  |  |
|  |  | 40 | 60 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | %RSD = 3.6 | HorRat-R = 1.3 |  |  |  |  |  |  |  |