Hemp Proficiency Testing

All Labs Precision HM25SEP-2 (Hemp)

| Sample: HM25SEP-2 (Hemp) |  |  |  | All Labs Precision |  |  |  |  | Issue Date: December 3, 2025 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | Population of Lab RSDr |  |  |  |
| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
|  |  |  |  | Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.1043 | 0.1045 | 0.1043 | 0.11 | 0.02 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.1211 | 0.1203 | 0.1212 | 0.41 | 0.07 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.1053 | 0.1065 | 0.1055 | 0.61 | 0.11 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.107 | 0.105 | 0.105 | 1.09 | 0.2 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.1055 | 0.1043 | 0.1071 | 1.33 | 0.24 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.0934 | 0.0919 | 0.0903 | 1.69 | 0.3 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.1068 | 0.1028 | 0.1052 | 1.92 | 0.34 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 204 | 0.1162 | 0.117 | 0.1207 | 2.04 | 0.37 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 183 | 0.119 | 0.118 | 0.123 | 2.2 | 0.4 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 142 | 0.104 | 0.1026 | 0.0994 | 2.31 | 0.41 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 165 | 0.1023 | 0.1049 | 0.1082 | 2.81 | 0.5 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.0948 | 0.0984 | 0.1002 | 2.81 | 0.5 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 154 | 0.1001 | 0.0975 | 0.1032 | 2.85 | 0.51 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 103 | 0.0878 | 0.0935 | 0.0893 | 3.28 | 0.57 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.136 | 0.1275 | 0.129 | 3.47 | 0.64 | 5.15 | 0.11 | 19.8 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 148 | 0.097 | 0.095 | 0.09 | 3.84 | 0.67 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 164 | 0.1002 | 0.0943 | 0.0934 | 3.85 | 0.68 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.1204 | 0.1122 | 0.121 | 4.17 | 0.76 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 152 | 0.1651 | 0.1699 | 0.1557 | 4.42 | 0.84 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 173 | 0.093 | 0.099 | 0.104 | 5.58 | 0.99 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.1076 | 0.1027 | 0.1189 | 7.57 | 1.36 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.0968 | 0.0885 | 0.0812 | 8.79 | 1.53 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 161 | 0.097 | 0.0812 | 0.0886 | 8.89 | 1.55 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.1395 | 0.1587 | 0.1339 | 9.03 | 1.69 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.089 | 0.108 | 0.096 | 9.84 | 1.74 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 149 | 0.106 | 0.105 | 0.086 | 11.4 | 2.02 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 190 | 0.1301 | 0.1034 | 0.1061 | 13 | 2.35 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 170 | 0.1066 | 0.1387 | 0.1381 | 14.4 | 2.64 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 192 | 0.0584 | 0.042 | 0.0553 | 16.8 | 2.7 | 5.15 | 0.11 | 19.8 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 213 | 0.0427 | 0.047 | 0.0315 | 19.8 | 3.07 | 5.15 | 0.11 | 19.8 | 0 |

Lab

Population of Lab RSDr

Δ9-THCA (%AR)

| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | <0.0200 | <0.0200 | <0.0200 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 213 | <0.1000 | <0.1000 | <0.1000 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 170 | <0.0300 | <0.0300 | <0.0300 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 154 | <0.0210 | <0.0210 | <0.0210 | 1 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | <0.0100 | <0.0100 | <0.0100 | 1 |

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 173 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 161 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 190 | 0.01 | 0.0102 | 0.0101 | 0.99 | 0.12 | 6.22 | 0.99 | 50.5 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.077 | 0.0789 | 0.0785 | 1.28 | 0.22 | 6.22 | 0.99 | 50.5 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | 0.005 | 0.005 | 0.0048 | 2.34 | 0.26 | 6.22 | 0.99 | 50.5 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.0057 | 0.0054 | 0.0058 | 3.7 | 0.43 | 6.22 | 0.99 | 50.5 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 204 | 0.0072 | 0.0068 | 0.0073 | 3.73 | 0.44 | 6.22 | 0.99 | 50.5 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 164 | 0.013 | 0.0121 | 0.0123 | 3.79 | 0.49 | 6.22 | 0.99 | 50.5 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 103 | 0.0068 | 0.0074 | 0.0071 | 4.23 | 0.5 | 6.22 | 0.99 | 50.5 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.0289 | 0.0297 | 0.0311 | 3.72 | 0.55 | 6.22 | 0.99 | 50.5 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0261 | 0.0283 | 0.0267 | 4.21 | 0.61 | 6.22 | 0.99 | 50.5 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.0107 | 0.0096 | 0.0102 | 5.42 | 0.68 | 6.22 | 0.99 | 50.5 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 183 | 0.01 | 0.01 | 0.011 | 5.59 | 0.71 | 6.22 | 0.99 | 50.5 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 152 | 0.1001 | 0.0924 | 0.095 | 4.09 | 0.72 | 6.22 | 0.99 | 50.5 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.015 | 0.0128 | 0.0127 | 9.63 | 1.27 | 6.22 | 0.99 | 50.5 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 148 | 0.024 | 0.022 | 0.019 | 11.6 | 1.64 | 6.22 | 0.99 | 50.5 | 0 |

Lab

Lab

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | 0.0087 | 0.0084 | 0.0045 | 32.5 | 3.89 | 6.22 | 0.99 | 50.5 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0124 | 0.0105 | 0.0237 | 45.9 | 6.16 | 6.22 | 0.99 | 50.5 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 165 | 0.0044 | 0.0123 | 0.0142 | 50.5 | 6.37 | 6.22 | 0.99 | 50.5 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 5.366 | 5.3663 | 5.3658 | 0 | 0 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 4.8875 | 4.9008 | 4.8907 | 0.14 | 0.05 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 5.465 | 5.485 | 5.4765 | 0.18 | 0.06 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 154 | 4.2745 | 4.308 | 4.3233 | 0.58 | 0.18 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 5.351 | 5.425 | 5.348 | 0.81 | 0.26 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 5.2421 | 5.3374 | 5.3398 | 1.05 | 0.34 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 5.3568 | 5.3182 | 5.2376 | 1.15 | 0.37 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 6.0095 | 6.1679 | 6.0733 | 1.31 | 0.43 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 6.2891 | 6.1237 | 6.2217 | 1.34 | 0.44 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 183 | 5.737 | 5.619 | 5.762 | 1.34 | 0.44 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 170 | 5.2878 | 5.3381 | 5.4497 | 1.55 | 0.5 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 213 | 4.515 | 4.449 | 4.334 | 2.07 | 0.65 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 204 | 5.7201 | 5.7571 | 5.981 | 2.43 | 0.79 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 5.5642 | 5.761 | 5.8405 | 2.49 | 0.81 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 4.2092 | 4.0082 | 4.1833 | 2.65 | 0.82 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 164 | 5.5682 | 5.2909 | 5.3093 | 2.88 | 0.93 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 173 | 4.659 | 4.572 | 4.867 | 3.23 | 1.02 | 2.18 | 0 | 14.6 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 4.5338 | 4.3375 | 4.2443 | 3.38 | 1.06 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 152 | 4.8184 | 4.3947 | 4.5816 | 4.62 | 1.45 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 161 | 4.4901 | 4.4768 | 4.9381 | 5.67 | 1.79 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 5.936 | 4.977 | 5.006 | 10.3 | 3.31 | 2.18 | 0 | 14.6 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 6.274 | 4.679 | 5.781 | 14.6 | 4.75 | 2.18 | 0 | 14.6 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 1.8401 | 1.8407 | 1.8403 | 0.02 | 0 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 1.8456 | 1.8491 | 1.8482 | 0.1 | 0.03 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 1.6107 | 1.6096 | 1.6062 | 0.15 | 0.04 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 154 | 1.0455 | 1.0395 | 1.0429 | 0.29 | 0.07 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 1.829 | 1.85 | 1.849 | 0.64 | 0.18 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 1.3071 | 1.2853 | 1.2985 | 0.85 | 0.22 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 183 | 1.933 | 1.901 | 1.93 | 0.92 | 0.25 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 152 | 1.3586 | 1.3219 | 1.3552 | 1.51 | 0.39 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 1.5388 | 1.5216 | 1.4909 | 1.6 | 0.43 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 1.8988 | 1.9182 | 1.8606 | 1.55 | 0.43 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 1.5904 | 1.6071 | 1.5544 | 1.7 | 0.46 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 1.608 | 1.66 | 1.673 | 2.09 | 0.56 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 204 | 1.9375 | 1.9549 | 2.0363 | 2.67 | 0.74 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 1.9327 | 1.8261 | 1.873 | 2.85 | 0.78 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 213 | 1.331 | 1.297 | 1.23 | 4 | 1.04 | 2.61 | 0.02 | 18.7 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 173 | 1.231 | 1.222 | 1.316 | 4.13 | 1.07 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 164 | 1.7988 | 1.6467 | 1.6429 | 5.24 | 1.42 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 1.985 | 1.8794 | 1.786 | 5.29 | 1.46 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 2.062 | 1.95 | 1.803 | 6.7 | 1.85 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 161 | 1.4437 | 1.388 | 1.5997 | 7.43 | 1.97 | 2.61 | 0.02 | 18.7 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | 2.166 | 1.572 | 1.61 | 18.7 | 5.1 | 2.61 | 0.02 | 18.7 | 0 |
|  |  |  |  | CBN (%AR) |  |  |  |  |  |  |  |  |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0891 | 0.0883 | 0.0877 | 0.8 | 0.14 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 116 | 0.0923 | 0.0908 | 0.0921 | 0.89 | 0.16 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.1183 | 0.1209 | 0.1191 | 1.11 | 0.2 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | 0.0905 | 0.092 | 0.0925 | 1.14 | 0.2 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 183 | 0.098 | 0.098 | 0.1 | 1.17 | 0.21 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 154 | 0.0852 | 0.0828 | 0.0856 | 1.79 | 0.31 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | 0.0805 | 0.0807 | 0.0771 | 2.55 | 0.44 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0728 | 0.0757 | 0.0717 | 2.82 | 0.48 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | 0.079 | 0.083 | 0.083 | 2.83 | 0.49 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 204 | 0.0925 | 0.0963 | 0.0983 | 3.08 | 0.54 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 190 | 0.0876 | 0.0864 | 0.0918 | 3.2 | 0.56 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 192 | 0.1087 | 0.1052 | 0.1121 | 3.17 | 0.57 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.0907 | 0.0863 | 0.0848 | 3.51 | 0.61 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.1017 | 0.1071 | 0.1098 | 3.88 | 0.7 | 3.37 | 0.79 | 11.3 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.111 | 0.12 | 0.118 | 4.06 | 0.74 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 213 | 0.068 | 0.068 | 0.062 | 5.25 | 0.87 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0927 | 0.0822 | 0.0897 | 6.13 | 1.07 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 173 | 0.092 | 0.081 | 0.088 | 6.4 | 1.11 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | 0.1022 | 0.0998 | 0.1205 | 10.5 | 1.89 | 3.37 | 0.79 | 11.3 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 149 | 0.098 | 0.081 | 0.081 | 11.3 | 1.97 | 3.37 | 0.79 | 11.3 | 0 |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.1261 | 0.1251 | 0.1262 | 0.48 | 0.09 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.1179 | 0.1195 | 0.1204 | 1.06 | 0.19 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.107 | 0.105 | 0.105 | 1.09 | 0.2 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.1281 | 0.1313 | 0.1289 | 1.29 | 0.24 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.1069 | 0.1082 | 0.1099 | 1.39 | 0.25 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.50 | GC-MS | 170 | 0.1258 | 0.1289 | 0.1287 | 1.36 | 0.25 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.1458 | 0.1498 | 0.1492 | 1.45 | 0.27 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.0934 | 0.0919 | 0.0903 | 1.69 | 0.3 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.1694 | 0.1666 | 0.1633 | 1.83 | 0.35 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 204 | 0.1225 | 0.123 | 0.1271 | 2.03 | 0.37 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 183 | 0.128 | 0.126 | 0.132 | 2.37 | 0.44 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.1085 | 0.103 | 0.1054 | 2.61 | 0.47 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.12 | 0.114 | 0.1163 | 2.59 | 0.47 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 154 | 0.1001 | 0.0975 | 0.1032 | 2.85 | 0.51 | 3.88 | 0.48 | 14.3 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.1579 | 0.1494 | 0.1509 | 2.97 | 0.56 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.0937 | 0.1 | 0.0955 | 3.37 | 0.59 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 152 | 0.2529 | 0.2509 | 0.239 | 3.03 | 0.62 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.1299 | 0.1213 | 0.1252 | 3.43 | 0.63 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 192 | 0.1152 | 0.1153 | 0.1226 | 3.61 | 0.66 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 164 | 0.1116 | 0.1049 | 0.1042 | 3.82 | 0.68 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.1298 | 0.1206 | 0.1299 | 4.21 | 0.77 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.1083 | 0.1071 | 0.0996 | 4.49 | 0.8 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 173 | 0.093 | 0.099 | 0.104 | 5.58 | 0.99 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 148 | 0.119 | 0.114 | 0.106 | 5.8 | 1.05 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 165 | 0.1062 | 0.1157 | 0.1207 | 6.45 | 1.17 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1259 | 0.1113 | 0.1242 | 6.63 | 1.21 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.1853 | 0.1807 | 0.1642 | 6.28 | 1.21 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.089 | 0.108 | 0.096 | 9.84 | 1.74 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.1044 | 0.0958 | 0.0852 | 10.1 | 1.78 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.106 | 0.105 | 0.086 | 11.4 | 2.02 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.1185 | 0.1119 | 0.1397 | 11.8 | 2.16 | 3.88 | 0.48 | 14.3 | 0 |
| Total Δ9-THC (%AR) | 006.50 | GC-MS | 231 | 0.227 | 0.249 | 0.299 | 14.3 | 2.92 | 3.88 | 0.48 | 14.3 | 0 |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 6.9798 | 6.9806 | 6.9797 | 0.01 | 0 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 6.3001 | 6.3124 | 6.2994 | 0.12 | 0.04 | 2.08 | 0.01 | 14.8 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 7.069 | 7.1075 | 7.0981 | 0.28 | 0.1 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 154 | 5.1914 | 5.2196 | 5.238 | 0.45 | 0.14 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 6.6369 | 6.7468 | 6.703 | 0.83 | 0.28 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 7.8593 | 7.9952 | 7.9147 | 0.86 | 0.29 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 6.347 | 6.433 | 6.473 | 1 | 0.33 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 7.051 | 6.93 | 6.932 | 0.99 | 0.33 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 7.2437 | 7.0765 | 7.1257 | 1.2 | 0.4 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 6.7063 | 6.6526 | 6.5451 | 1.24 | 0.41 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 183 | 7.433 | 7.286 | 7.454 | 1.24 | 0.42 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 8.0128 | 8.2688 | 8.2012 | 1.63 | 0.56 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 7.9845 | 7.7256 | 7.8647 | 1.65 | 0.56 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 5.3556 | 5.1353 | 5.3221 | 2.25 | 0.72 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 7.4253 | 7.1835 | 7.1222 | 2.21 | 0.75 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 204 | 7.4193 | 7.4715 | 7.7668 | 2.48 | 0.84 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.50 | GC-MS | 170 | 8.0189 | 7.8863 | 8.3285 | 2.81 | 0.96 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 173 | 5.738 | 5.643 | 6.021 | 3.39 | 1.11 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 164 | 7.1457 | 6.7351 | 6.7501 | 3.39 | 1.13 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 6.2747 | 5.9857 | 5.8106 | 3.89 | 1.28 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 152 | 6.0099 | 5.5539 | 5.7701 | 3.95 | 1.29 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 192 | 7.688 | 7.1155 | 7.9544 | 5.65 | 1.92 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 161 | 5.7562 | 5.6941 | 6.341 | 6.02 | 1.97 | 2.08 | 0.01 | 14.8 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 8.174 | 6.058 | 7.194 | 14.8 | 4.99 | 2.08 | 0.01 | 14.8 | 0 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

CBDV (%AR)

| CBDV (%AR) | 008.99 | Other | 154 | 0.0538 | 0.0533 | 0.0544 | 1.02 | 0.17 | 2.49 | 1.02 | 9.33 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 106 | 0.0457 | 0.0462 | 0.0469 | 1.3 | 0.21 | 2.49 | 1.02 | 9.33 | 0 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0265 | 0.0253 | 0.0258 | 2.33 | 0.34 | 2.49 | 1.02 | 9.33 | 0 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 183 | 0.051 | 0.049 | 0.051 | 2.29 | 0.37 | 2.49 | 1.02 | 9.33 | 0 |
| CBDV (%AR) | 008.99 | Other | 142 | 0.0489 | 0.0504 | 0.0516 | 2.69 | 0.43 | 2.49 | 1.02 | 9.33 | 0 |
| CBDV (%AR) | 008.99 | Other | 173 | 0.095 | 0.096 | 0.101 | 3.3 | 0.58 | 2.49 | 1.02 | 9.33 | 0 |
| CBDV (%AR) | 008.99 | Other | 149 | 0.056 | 0.047 | 0.049 | 9.33 | 1.49 | 2.49 | 1.02 | 9.33 | 0 |

CBDVA (%AR)

| CBDVA (%AR) | 009.99 | Other | 149 | 0.032 | <0.0250 | 0.027 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 154 | <0.0150 | <0.0150 | <0.0150 |  |  | 1 |
| CBDVA (%AR) | 009.99 | Other | 142 | 0.0279 | 0.0287 | 0.0281 | 1.47 | 0.22 | 0 |
| CBDVA (%AR) | 009.99 | Other | 173 | 0.039 | 0.04 | 0.039 | 1.47 | 0.23 | 0 |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, U | 183 | 0.059 | 0.058 | 0.06 | 1.69 | 0.28 | 0 |
| CBDVA (%AR) | 009.01 | AOAC 2018.10 | 149 | 0.028 | 0.028 | 0.029 | 2.04 | 0.3 | 0 |

| CBG (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 142 | 0.2516 | 0.2533 | 0.2558 | 0.83 | 0.17 | 3.6 | 0.83 | 10.2 | 0 |
| CBG (%AR) | 010.01 | AOAC 2018.10 | 149 | 0.248 | 0.248 | 0.254 | 1.39 | 0.28 | 3.6 | 0.83 | 10.2 | 0 |
| CBG (%AR) | 010.99 | Other | 154 | 0.2066 | 0.2097 | 0.2032 | 1.57 | 0.31 | 3.6 | 0.83 | 10.2 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 183 | 0.325 | 0.323 | 0.333 | 1.62 | 0.34 | 3.6 | 0.83 | 10.2 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 106 | 0.3047 | 0.3127 | 0.3199 | 2.43 | 0.51 | 3.6 | 0.83 | 10.2 | 0 |
| CBG (%AR) | 010.99 | Other | 204 | 0.3227 | 0.3261 | 0.3382 | 2.48 | 0.53 | 3.6 | 0.83 | 10.2 | 0 |
| CBG (%AR) | 010.99 | Other | 173 | 0.271 | 0.242 | 0.258 | 5.65 | 1.16 | 3.6 | 0.83 | 10.2 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.2944 | 0.3388 | 0.3371 | 7.78 | 1.65 | 3.6 | 0.83 | 10.2 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.31 | 0.29 | 0.253 | 10.2 | 2.11 | 3.6 | 0.83 | 10.2 | 0 |
|  |  |  |  | CBGA (%AR) |  |  |  |  |  |  |  |  |
| CBGA (%AR) | 011.99 | Other | 189 | 0.1698 | 0.1682 | 0.1683 | 0.53 | 0.1 | 2.21 | 0.53 | 9.14 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 183 | 0.18 | 0.182 | 0.179 | 0.85 | 0.16 | 2.21 | 0.53 | 9.14 | 0 |
| CBGA (%AR) | 011.99 | Other | 154 | 0.0924 | 0.0909 | 0.0934 | 1.36 | 0.24 | 2.21 | 0.53 | 9.14 | 0 |
| CBGA (%AR) | 011.01 | AOAC 2018.10 | 149 | 0.146 | 0.146 | 0.15 | 1.57 | 0.29 | 2.21 | 0.53 | 9.14 | 0 |
| CBGA (%AR) | 011.99 | Other | 142 | 0.1208 | 0.1239 | 0.1182 | 2.36 | 0.43 | 2.21 | 0.53 | 9.14 | 0 |
| CBGA (%AR) | 011.99 | Other | 204 | 0.1728 | 0.1739 | 0.1801 | 2.24 | 0.43 | 2.21 | 0.53 | 9.14 | 0 |
| CBGA (%AR) | 011.99 | Other | 106 | 0.153 | 0.1439 | 0.1473 | 3.11 | 0.58 | 2.21 | 0.53 | 9.14 | 0 |
| CBGA (%AR) | 011.99 | Other | 173 | 0.131 | 0.125 | 0.134 | 3.53 | 0.65 | 2.21 | 0.53 | 9.14 | 0 |
| CBGA (%AR) | 011.99 | Other | 149 | 0.167 | 0.148 | 0.14 | 9.14 | 1.73 | 2.21 | 0.53 | 9.14 | 0 |
|  |  |  |  | THCV (%AR) |  |  |  |  |  |  |  |  |
| THCV (%AR) | 012.99 | Other | 189 | <0.0050 | <0.0050 | <0.0050 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 173 | 0 | 0 | 0 |  |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 |  |  |  |  |  | 1 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 149 | <0.0250 | <0.0250 | <0.0250 |  | 1 |
| THCV (%AR) | 012.02 | AOAC 2018.11, U | 183 | <0.0010 | <0.0010 | <0.0010 |  | 1 |

Lab

Population of Lab RSDr

Δ8-THC (%AR)

| Δ8-THC (%AR) | 013.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, U | 183 | <0.0010 | <0.0010 | <0.0010 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | <0.0250 | <0.0250 | <0.0250 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 173 | 0 | 0 | 0 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 |  |  | 1 |
| Δ8-THC (%AR) | 013.01 | AOAC 2018.10 | 149 | <0.0250 | <0.0250 | <0.0250 |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0116 | 0.0119 | 0.012 | 1.76 | 0.23 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.086 | 0.0761 | 0.0833 | 6.26 | 1.08 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 192 | 0.0759 | 0.0713 | 0.0816 | 6.77 | 1.15 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 213 | 0.064 | 0.063 | 0.0517 | 11.5 | 1.88 | 0 |

CBC (%AR)

| CBC (%AR) | 014.99 | Other | 189 | 0.2562 | 0.2576 | 0.2536 | 0.79 | 0.16 | 1.99 | 0.79 | 8.24 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 142 | 0.215 | 0.2156 | 0.2118 | 0.95 | 0.19 | 1.99 | 0.79 | 8.24 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.2326 | 0.2362 | 0.2378 | 1.13 | 0.23 | 1.99 | 0.79 | 8.24 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 183 | 0.27 | 0.266 | 0.274 | 1.48 | 0.31 | 1.99 | 0.79 | 8.24 | 0 |
| CBC (%AR) | 014.01 | AOAC 2018.10 | 149 | 0.211 | 0.218 | 0.215 | 1.64 | 0.33 | 1.99 | 0.79 | 8.24 | 0 |
| CBC (%AR) | 014.99 | Other | 154 | 0.1795 | 0.1851 | 0.1789 | 1.89 | 0.37 | 1.99 | 0.79 | 8.24 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 204 | 0.2418 | 0.2433 | 0.2535 | 2.59 | 0.53 | 1.99 | 0.79 | 8.24 | 0 |
| CBC (%AR) | 014.99 | Other | 173 | 0.185 | 0.178 | 0.191 | 3.52 | 0.69 | 1.99 | 0.79 | 8.24 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.261 | 0.231 | 0.224 | 8.24 | 1.66 | 1.99 | 0.79 | 8.24 | 0 |

Lab

Population of Lab RSDr

Cd (ug/g AR)

| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | 0.2059 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 183 | 0.164 | 0.168 | 0.164 | 1.4 | 0.27 | 4.39 | 1.4 | 9.09 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.1904 | 0.189 | 0.1969 | 2.19 | 0.43 | 4.39 | 1.4 | 9.09 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.1935 | 0.1846 | 0.1926 | 2.58 | 0.5 | 4.39 | 1.4 | 9.09 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.1807 | 0.1907 | 0.1995 | 4.94 | 0.97 | 4.39 | 1.4 | 9.09 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 141 | 0.193 | 0.19 | 0.172 | 6.14 | 1.19 | 4.39 | 1.4 | 9.09 | 0 |
| Cd (ug/g AR) | 101.03 | ICP-OES | 192 | 0.12 | 0.1 | 0.11 | 9.09 | 1.64 | 4.39 | 1.4 | 9.09 | 0 |

As (ug/g AR)

| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0830 | <0.0830 | <0.0830 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 141 | <0.0600 | <0.0600 | 0.061 |  |  | 1 |
| As (ug/g AR) | 102.03 | ICP-OES | 192 | <0.8000 | <0.8000 | <0.8000 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 183 | 0.076 | 0.082 | 0.08 | 3.85 | 0.66 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.0632 | 0.0565 | 0.0634 | 6.43 | 1.06 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | 0.055 | 0.041 | 0.0449 | 15.4 | 2.44 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

Hg (ug/g AR)

| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | <0.0080 | <0.0080 | <0.0080 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 183 | <0.0120 | <0.0120 | <0.0120 |  |  | 1 |
| Hg (ug/g AR) | 103.03 | ICP-OES | 192 | 0 | 0 | 0 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 141 | <0.0600 | <0.0600 | <0.0600 |  |  | 1 |
| Hg (ug/g AR) | 103.99 | Other | 102 | 0.0096 | 0.0097 | 0.0099 | 1.57 | 0.2 | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | 0.0081 | 0.0087 | 0.0084 | 3.57 | 0.44 | 0 |

Pb (ug/g AR)

| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | 0.2802 | 0.2943 | 0.2983 | 3.27 | 0.68 | 16.84 | 3.27 | 54 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.207 | 0.2031 | 0.2172 | 3.48 | 0.69 | 16.84 | 3.27 | 54 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.2959 | 0.3337 | 0.3014 | 6.58 | 1.38 | 16.84 | 3.27 | 54 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 183 | 0.292 | 0.306 | 0.35 | 9.58 | 2.02 | 16.84 | 3.27 | 54 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 141 | 0.332 | 0.509 | 0.329 | 26.4 | 5.75 | 16.84 | 3.27 | 54 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 0.3376 | 0.5665 | 0.4225 | 26.2 | 5.8 | 16.84 | 3.27 | 54 | 0 |
| Pb (ug/g AR) | 104.03 | ICP-OES | 192 | 0.52 | 0.54 | 1.25 | 54 | 13.01 | 16.84 | 3.27 | 54 | 0 |

Cu (ug/g AR)

Cu (ug/g AR)

105.04

ICP-MS

142

14.4796	15.0174	15.0775	2.22	0.83	0

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Ni (ug/g AR) |  |  |  |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 141 | 1.47 | 1.51 | 1.46 | 1.79 | 0.48 |  |  |  | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 142 | 1.1626 | 1.2118 | 1.1732 | 2.19 | 0.56 |  |  |  | 0 |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 141 | 0.821 | 0.784 | 0.862 | 4.74 | 1.15 |  |  |  | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | 0.703 | 0.4538 | 0.3939 | 31.7 | 7.2 |  |  |  | 0 |
|  |  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 141 | <1.2000 <1.2000 |  | <1.2000 |  |  |  |  |  | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | 0.0996 | 0.1 | 0.1023 | 1.45 | 0.26 |  |  |  | 0 |
|  |  |  |  | Ag (ug/g AR) |  |  |  |  |  |  |  |  |
| Ag (ug/g AR) | 109.04 | ICP-MS | 142 | 0.0162 | 0.0123 | 0.0109 | 20.9 | 2.74 |  |  |  | 0 |
|  |  |  |  | Zn (ug/g AR) |  |  |  |  |  |  |  |  |
| Zn (ug/g AR) | 111.04 | ICP-MS | 141 | 57.9 | 60.7 | 57.8 | 2.8 | 1.29 |  |  |  | 0 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 142 | 59.3583 59.9258 |  | 62.7602 | 3 | 1.39 |  |  |  | 0 |
|  |  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |  |  |  |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 183 | 0.104 | 0.102 | 0.1 | 1.96 | 0.35 |  |  |  | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0305 | 0.0342 | 0.0316 | 5.92 | 0.89 | 0 |
| (-)-alpha-Bisabolol (%A | 201.01 | GC,FID | 142 | 1030 | 1060 | 997 | 3.06 | 2.17 | 0 |

Lab

Population of Lab RSDr

beta-Caryophyllene (%AR)

| beta-Caryophyllene (% | 202.02 | GC,MS | 183 | 0.047 | 0.047 | 0.045 | 2.49 | 0.39 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0352 | 0.0397 | 0.0395 | 6.67 | 1.02 | 0 |
| beta-Caryophyllene (% | 202.01 | GC,FID | 142 | 533 | 554 | 520 | 3.2 | 2.06 | 0 |

(-)-Caryophyllene oxide (%AR)

| (-)-Caryophyllene oxide | 203.02 | GC,MS | 183 | 0.02 | 0.021 | 0.021 | 2.79 | 0.39 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-Caryophyllene oxide | 203.01 | GC,FID | 142 | 225 | 232 | 219 | 2.89 | 1.63 | 0 |

Geraniol (%AR)

| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| Geraniol (%AR) | 204.02 | GC,MS | 183 | <0.0020 <0.0020 | <0.0020 | 1 |

alpha-Humulene (%AR)

| alpha-Humulene (%AR) | 205.02 | GC,MS | 183 | 0.019 | 0.019 | 0.019 | 0 | 0 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.0151 | 0.018 | 0.0178 | 9.55 | 1.3 | 0 |
| alpha-Humulene (%AR) | 205.01 | GC,FID | 142 | 214 | 240 | 227 | 5.73 | 3.24 | 0 |

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) |  | Rob Mean | min | max | Flag |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  | 1 |  |  |  |  |  |
|  |  |  |  | Linalool (%AR) |  |  |  |  |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 183 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  | 1 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
|  |  |  |  | Ocimene (%AR) |  |  |  |  |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  | 1 |  |  |  |  |  |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 <0.0100 |  | <0.0100 |  | 1 |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 183 | <0.0020 <0.0020 |  | <0.0020 |  | 1 |  |  |  |  |  |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

(-)-beta-Pinene (%AR)

| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 183 | <0.0020 <0.0020 | <0.0020 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |

alpha-Terpinene (%AR)

| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 183 | <0.0020 <0.0020 | <0.0020 | 1 |

gamma-Terpinene (%AR)

| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| gamma-Terpinene (%A | 214.02 | GC,MS | 183 | <0.0020 <0.0020 | <0.0020 | 1 |

alpha-Terpinolene (%AR)

| alpha-Terpinolene (%A | 215.02 | GC,MS | 183 | <0.0020 <0.0020 | <0.0020 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 <0.0100 | <0.0100 | 1 |

Moisture (%AR)

| Moisture (%AR) | 500.70 | Commerc. Anal. | 189 | 5.604 | 5.604 | 5.604 | 0 | 0 | 2.05 | 0 | 5.86 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.99 | Other | 142 | 5.84 | 5.81 | 5.87 | 0.51 | 0.17 | 2.05 | 0 | 5.86 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 4.89 | 4.86 | 4.93 | 0.72 | 0.23 | 2.05 | 0 | 5.86 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 6.11 | 6.04 | 6.16 | 0.99 | 0.32 | 2.05 | 0 | 5.86 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 6.77 | 6.89 | 6.74 | 1.17 | 0.39 | 2.05 | 0 | 5.86 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.99 | Other | 103 | 6.29 | 6.14 | 6.31 | 1.49 | 0.49 | 2.05 | 0 | 5.86 | 0 |
| Moisture (%AR) | 500.99 | Other | 165 | 7.5061 | 7.4582 | 7.2612 | 1.75 | 0.59 | 2.05 | 0 | 5.86 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 10.7845 | 10.5468 | 10.3085 | 2.26 | 0.81 | 2.05 | 0 | 5.86 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 9.17 | 9.6404 | 9.4329 | 2.5 | 0.88 | 2.05 | 0 | 5.86 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 183 | 7.21 | 7.69 | 7.46 | 3.22 | 1.09 | 2.05 | 0 | 5.86 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 7.364 | 7.825 | 7.764 | 3.27 | 1.11 | 2.05 | 0 | 5.86 | 0 |
| Moisture (%AR) | 500.99 | Other | 102 | 6.1 | 6 | 6.5 | 4.27 | 1.41 | 2.05 | 0 | 5.86 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 162 | 7.84 | 8 | 8.74 | 5.86 | 2.01 | 2.05 | 0 | 5.86 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.1115 | 0.1128 | 0.1117 | 0.62 | 0.11 | 2.88 | 0.62 | 7.55 | 0 |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 210 | 0.112 | 0.11 | 0.112 | 1.04 | 0.19 | 2.88 | 0.62 | 7.55 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.114 | 0.112 | 0.112 | 1.02 | 0.19 | 2.88 | 0.62 | 7.55 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 165 | 0.1106 | 0.1134 | 0.1167 | 2.69 | 0.49 | 2.88 | 0.62 | 7.55 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 154 | 0.1067 | 0.104 | 0.1101 | 2.86 | 0.51 | 2.88 | 0.62 | 7.55 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 199 | 0.1497 | 0.1411 | 0.1424 | 3.21 | 0.6 | 2.88 | 0.62 | 7.55 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 162 | 0.1314 | 0.1291 | 0.1392 | 3.97 | 0.74 | 2.88 | 0.62 | 7.55 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 142 | 0.1104 | 0.109 | 0.1013 | 4.58 | 0.82 | 2.88 | 0.62 | 7.55 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.1146 | 0.1094 | 0.1266 | 7.55 | 1.37 | 2.88 | 0.62 | 7.55 | 0 |
|  |  |  |  | Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 162 | <0.0100 <0.0100 |  | <0.0100 |  |  |  |  |  | 1 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | <0.0210 | <0.0210 | <0.0210 |  |  | 1 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 210 | <0.0130 | <0.0130 | <0.0130 |  |  | 1 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 154 | <0.0210 | <0.0210 | <0.0210 |  |  | 1 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 142 | 0.0053 | 0.0053 | 0.0051 | 2.21 | 0.25 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.0276 | 0.03 | 0.0283 | 4.31 | 0.63 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0133 | 0.0112 | 0.0253 | 45.8 | 6.21 | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 165 | 0.0048 | 0.0133 | 0.0153 | 50.1 | 6.39 | 0 |

Lab

Population of Lab RSDr

CBD (%DW)

| CBD (%DW) | 503.10 | Other LC-UV | 189 | 5.1776 | 5.1917 | 5.1811 | 0.14 | 0.05 | 0.86 | 0.14 | 2.8 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 199 | 6.0167 | 6.0702 | 6.0469 | 0.44 | 0.15 | 0.86 | 0.14 | 2.8 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 154 | 4.5578 | 4.5935 | 4.6098 | 0.58 | 0.18 | 0.86 | 0.14 | 2.8 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 162 | 5.8588 | 5.9674 | 5.9231 | 0.92 | 0.3 | 0.86 | 0.14 | 2.8 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 5.5844 | 5.6859 | 5.6885 | 1.05 | 0.34 | 0.86 | 0.14 | 2.8 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 142 | 5.689 | 5.6463 | 5.5643 | 1.13 | 0.37 | 0.86 | 0.14 | 2.8 | 0 |
| CBD (%DW) | 503.01 | AOAC 2018.10 | 210 | 6.475 | 6.182 | 6.161 | 2.8 | 0.92 | 0.86 | 0.14 | 2.8 | 0 |

| CBDA (%DW) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 1.7063 | 1.7051 | 1.7016 | 0.14 | 0.04 | 1.15 | 0.14 | 3.36 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 154 | 1.1148 | 1.1083 | 1.1121 | 0.29 | 0.07 | 1.15 | 0.14 | 3.36 | 0 |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 210 | 2.146 | 2.129 | 2.112 | 0.8 | 0.22 | 1.15 | 0.14 | 3.36 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 199 | 2.0137 | 2.0474 | 2.0416 | 0.89 | 0.25 | 1.15 | 0.14 | 3.36 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 142 | 1.6342 | 1.6154 | 1.5838 | 1.58 | 0.43 | 1.15 | 0.14 | 3.36 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 1.6943 | 1.7121 | 1.6559 | 1.7 | 0.46 | 1.15 | 0.14 | 3.36 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 162 | 1.7736 | 1.8675 | 1.8904 | 3.36 | 0.92 | 1.15 | 0.14 | 3.36 | 0 |
|  |  |  |  | CBN (%DW) |  |  |  |  |  |  |  |  |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0943 | 0.0935 | 0.0929 | 0.75 | 0.13 | 2.2 | 0.75 | 6.76 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 116 | 0.0984 | 0.0967 | 0.0981 | 0.93 | 0.16 | 2.2 | 0.75 | 6.76 | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 199 | 0.0996 | 0.1018 | 0.1021 | 1.35 | 0.24 | 2.2 | 0.75 | 6.76 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 154 | 0.0909 | 0.0883 | 0.0913 | 1.81 | 0.32 | 2.2 | 0.75 | 6.76 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 162 | 0.0981 | 0.1022 | 0.1018 | 2.24 | 0.4 | 2.2 | 0.75 | 6.76 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 142 | 0.0855 | 0.0857 | 0.0819 | 2.53 | 0.44 | 2.2 | 0.75 | 6.76 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.0811 | 0.0849 | 0.0802 | 3.04 | 0.52 | 2.2 | 0.75 | 6.76 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 192 | 0.1218 | 0.1176 | 0.125 | 3.06 | 0.56 | 2.2 | 0.75 | 6.76 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | 0.1089 | 0.1063 | 0.1205 | 6.76 | 1.22 | 2.2 | 0.75 | 6.76 | 0 |
|  |  |  |  | Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 210 | 0.123 | 0.121 | 0.123 | 0.94 | 0.17 | 3.3 | 0.94 | 11.8 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.1241 | 0.1256 | 0.1266 | 1 | 0.18 | 3.3 | 0.94 | 11.8 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.114 | 0.112 | 0.112 | 1.02 | 0.19 | 3.3 | 0.94 | 11.8 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.1139 | 0.1153 | 0.117 | 1.35 | 0.24 | 3.3 | 0.94 | 11.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.1358 | 0.1391 | 0.1365 | 1.27 | 0.24 | 3.3 | 0.94 | 11.8 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 154 | 0.1067 | 0.104 | 0.1101 | 2.86 | 0.51 | 3.3 | 0.94 | 11.8 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 199 | 0.1716 | 0.163 | 0.1643 | 2.79 | 0.53 | 3.3 | 0.94 | 11.8 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 192 | 0.1292 | 0.1288 | 0.1367 | 3.38 | 0.63 | 3.3 | 0.94 | 11.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 162 | 0.1314 | 0.1291 | 0.1392 | 3.97 | 0.74 | 3.3 | 0.94 | 11.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 142 | 0.1151 | 0.1137 | 0.1058 | 4.5 | 0.81 | 3.3 | 0.94 | 11.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 165 | 0.1148 | 0.125 | 0.1301 | 6.32 | 1.16 | 3.3 | 0.94 | 11.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.1403 | 0.1247 | 0.1389 | 6.41 | 1.19 | 3.3 | 0.94 | 11.8 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.1263 | 0.1192 | 0.1488 | 11.8 | 2.17 | 3.3 | 0.94 | 11.8 | 0 |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| Total CBD (%DW) | 507.10 | Other LC-UV | 189 | 6.6741 | 6.6871 | 6.6734 | 0.12 | 0.04 | 1.28 | 0.12 | 5.57 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 154 | 5.5355 | 5.5655 | 5.5851 | 0.45 | 0.15 | 1.28 | 0.12 | 5.57 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 199 | 7.7827 | 7.865 | 7.8374 | 0.54 | 0.18 | 1.28 | 0.12 | 5.57 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 7.0703 | 7.1874 | 7.1407 | 0.83 | 0.28 | 1.28 | 0.12 | 5.57 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 7.7167 | 7.5386 | 7.5911 | 1.2 | 0.41 | 1.28 | 0.12 | 5.57 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 142 | 7.1222 | 7.063 | 6.9533 | 1.22 | 0.41 | 1.28 | 0.12 | 5.57 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 162 | 7.4142 | 7.6052 | 7.5809 | 1.38 | 0.47 | 1.28 | 0.12 | 5.57 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 5.9711 | 5.7561 | 5.9496 | 2.01 | 0.66 | 1.28 | 0.12 | 5.57 | 0 |
| Total CBD (%DW) | 507.01 | AOAC 2018.10 | 210 | 8.357 | 8.049 | 8.013 | 2.32 | 0.8 | 1.28 | 0.12 | 5.57 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 192 | 8.6173 | 7.9544 | 8.8687 | 5.57 | 1.92 | 1.28 | 0.12 | 5.57 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBDV (%DW) |  |  |  |  |  |  |  |  |
| CBDV (%DW) | 508.99 | Other | 154 | 0.0574 | 0.0568 | 0.058 | 1.05 | 0.17 |  |  |  | 0 |
| CBDV (%DW) | 508.99 | Other | 189 | 0.0281 | 0.0268 | 0.0274 | 2.37 | 0.35 |  |  |  | 0 |
| CBDV (%DW) | 508.99 | Other | 142 | 0.052 | 0.0535 | 0.0549 | 2.71 | 0.44 |  |  |  | 0 |
| CBDV (%DW) | 508.02 | AOAC 2018.11, U | 210 | 0.055 | 0.054 | 0.052 | 2.85 | 0.46 |  |  |  | 0 |
| CBDV (%DW) | 508.99 | Other | 162 | 0.0482 | 0.0489 | 0.046 | 3.17 | 0.5 |  |  |  | 0 |
|  |  |  |  | CBDVA (%DW) |  |  |  |  |  |  |  |  |
| CBDVA (%DW) | 509.99 | Other | 154 | <0.0150 | <0.0150 | <0.0150 |  |  |  |  |  | 1 |
| CBDVA (%DW) | 509.99 | Other | 142 | 0.0297 | 0.0304 | 0.0299 | 1.2 | 0.18 |  |  |  | 0 |
| CBDVA (%DW) | 509.01 | AOAC 2018.10 | 210 | 0.019 | 0.013 | 0.016 | 18.8 | 2.53 |  |  |  | 0 |
|  |  |  |  | CBG (%DW) |  |  |  |  |  |  |  |  |
| CBG (%DW) | 510.99 | Other | 142 | 0.2672 | 0.2689 | 0.2717 | 0.84 | 0.17 |  |  |  | 0 |
| CBG (%DW) | 510.99 | Other | 154 | 0.2203 | 0.2235 | 0.2167 | 1.55 | 0.31 |  |  |  | 0 |
| CBG (%DW) | 510.99 | Other | 162 | 0.3106 | 0.3261 | 0.2985 | 4.44 | 0.93 |  |  |  | 0 |
| CBG (%DW) | 510.01 | AOAC 2018.10 | 210 | 0.274 | 0.287 | 0.305 | 5.39 | 1.12 |  |  |  | 0 |
| CBG (%DW) | 510.99 | Other | 189 | 0.3119 | 0.3589 | 0.3572 | 7.78 | 1.66 |  |  |  | 0 |
|  |  |  |  | CBGA (%DW) |  |  |  |  |  |  |  |  |
| CBGA (%DW) | 511.99 | Other | 189 | 0.1799 | 0.1782 | 0.1783 | 0.53 | 0.1 |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 162 | 0.1665 | 0.1679 | 0.169 | 0.75 | 0.14 |  |  |  | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%DW) | 511.99 | Other | 154 | 0.0985 | 0.0969 | 0.0996 | 1.38 | 0.24 | 0 |
| CBGA (%DW) | 511.99 | Other | 142 | 0.1283 | 0.1315 | 0.1255 | 2.34 | 0.43 | 0 |
| CBGA (%DW) | 511.01 | AOAC 2018.10 | 210 | 0.088 | 0.089 | 0.073 | 10.8 | 1.86 | 0 |

Lab

Population of Lab RSDr

THCV (%DW)

| THCV (%DW) | 512.99 | Other | 189 | <0.0050 | <0.0050 | <0.0050 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%DW) | 512.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 | 1 |
| THCV (%DW) | 512.02 | AOAC 2018.11, U | 210 | <0.0130 | <0.0130 | <0.0130 | 1 |

| Δ8-THC (%DW) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.01 | AOAC 2018.10 | 210 | <0.0130 | <0.0130 | <0.0130 |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 |  |  | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 189 | 0.0123 | 0.0127 | 0.0128 | 2.1 | 0.27 | 0 |
| Δ8-THC (%DW) | 513.99 | Other | 192 | 0.0851 | 0.0797 | 0.0909 | 6.57 | 1.14 | 0 |

CBC (%DW)

| CBC (%DW) | 514.99 | Other | 189 | 0.2715 | 0.2729 | 0.2687 | 0.79 | 0.16 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.99 | Other | 142 | 0.2283 | 0.2289 | 0.225 | 0.92 | 0.19 | 0 |
| CBC (%DW) | 514.99 | Other | 154 | 0.1914 | 0.1974 | 0.1907 | 1.91 | 0.37 | 0 |
| CBC (%DW) | 514.99 | Other | 162 | 0.2441 | 0.2519 | 0.2527 | 1.9 | 0.39 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

- Flag definitions: 1 (Lab RSDr not calculated because there were less than 3 numeric lab results)

- Statistical parameters of robust mean, minimum, and maximum for RSDr only shown only if there were 6 or more lab RSDr values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.c