Hemp Proficiency Testing

All Labs Trueness HM25SEP-2 (Hemp)

| Sample: HM25SEP-2 (Hemp) |  |  |  | All Labs Trueness |  |  |  |  | Issue Date: December 3, 2025 |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  | Population of Lab Values |  |  |  |
| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
|  |  |  |  | Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 213 | 0.0427 | 0.047 | 0.0315 | 0.0404 | -4.15 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 192 | 0.0584 | 0.042 | 0.0553 | 0.0519 | -3.41 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 161 | 0.097 | 0.0812 | 0.0886 | 0.0889 | -1.04 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.0968 | 0.0885 | 0.0812 | 0.0888 | -1.04 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 103 | 0.0878 | 0.0935 | 0.0893 | 0.0902 | -0.95 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 115 | 0.0934 | 0.0919 | 0.0903 | 0.0919 | -0.85 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 148 | 0.097 | 0.095 | 0.09 | 0.094 | -0.71 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 164 | 0.1002 | 0.0943 | 0.0934 | 0.096 | -0.59 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.089 | 0.108 | 0.096 | 0.0977 | -0.48 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.0948 | 0.0984 | 0.1002 | 0.0978 | -0.47 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 149 | 0.106 | 0.105 | 0.086 | 0.099 | -0.39 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 173 | 0.093 | 0.099 | 0.104 | 0.0987 | -0.41 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 154 | 0.1001 | 0.0975 | 0.1032 | 0.1 | -0.31 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 142 | 0.104 | 0.1026 | 0.0994 | 0.102 | -0.2 | 0.1051 | 30 | 0.0156 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.1043 | 0.1045 | 0.1043 | 0.104 | -0.05 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 144 | 0.1068 | 0.1028 | 0.1052 | 0.105 | -0.01 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 165 | 0.1023 | 0.1049 | 0.1082 | 0.105 | 0 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.1053 | 0.1065 | 0.1055 | 0.106 | 0.04 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.107 | 0.105 | 0.105 | 0.106 | 0.04 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.1055 | 0.1043 | 0.1071 | 0.106 | 0.03 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 116 | 0.1076 | 0.1027 | 0.1189 | 0.11 | 0.3 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 190 | 0.1301 | 0.1034 | 0.1061 | 0.113 | 0.52 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 204 | 0.1162 | 0.117 | 0.1207 | 0.118 | 0.82 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 175 | 0.1204 | 0.1122 | 0.121 | 0.118 | 0.82 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 183 | 0.119 | 0.118 | 0.123 | 0.12 | 0.95 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 101 | 0.1211 | 0.1203 | 0.1212 | 0.121 | 1.01 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 170 | 0.1066 | 0.1387 | 0.1381 | 0.128 | 1.45 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.136 | 0.1275 | 0.129 | 0.131 | 1.65 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 163 | 0.1395 | 0.1587 | 0.1339 | 0.144 | 2.49 | 0.1051 | 30 | 0.0156 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 152 | 0.1651 | 0.1699 | 0.1557 | 0.164 | 3.75 | 0.1051 | 30 | 0.0156 | 0 |
|  |  |  |  | Δ9-THCA (%AR) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 115 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 173 | <0.0200 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 163 | <0.0200 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | <0.0200 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | <0.0200 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 154 | <0.0210 | <0.0210 | <0.0210 | <0.0210 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 170 | <0.0300 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 161 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 213 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | 0.005 | 0.005 | 0.0048 | 0.0049 | -0.95 | 0.015 | 17 | 0.0106 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 101 | 0.0057 | 0.0054 | 0.0058 | 0.0056 | -0.89 | 0.015 | 17 | 0.0106 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 204 | 0.0072 | 0.0068 | 0.0073 | 0.0071 | -0.75 | 0.015 | 17 | 0.0106 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 103 | 0.0068 | 0.0074 | 0.0071 | 0.0071 | -0.75 | 0.015 | 17 | 0.0106 | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | 0.0087 | 0.0084 | 0.0045 | 0.0072 | -0.74 | 0.015 | 17 | 0.0106 | 0 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 190 | 0.01 | 0.0102 | 0.0101 | 0.0101 | -0.46 | 0.015 | 17 | 0.0106 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 175 | 0.0107 | 0.0096 | 0.0102 | 0.0102 | -0.46 | 0.015 | 17 | 0.0106 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 183 | 0.01 | 0.01 | 0.011 | 0.0103 | -0.44 | 0.015 | 17 | 0.0106 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 165 | 0.0044 | 0.0123 | 0.0142 | 0.0103 | -0.44 | 0.015 | 17 | 0.0106 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 144 | 0.015 | 0.0128 | 0.0127 | 0.0135 | -0.14 | 0.015 | 17 | 0.0106 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 164 | 0.013 | 0.0121 | 0.0123 | 0.0125 | -0.24 | 0.015 | 17 | 0.0106 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 116 | 0.0124 | 0.0105 | 0.0237 | 0.0155 | 0.05 | 0.015 | 17 | 0.0106 | 0 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 148 | 0.024 | 0.022 | 0.019 | 0.0217 | 0.63 | 0.015 | 17 | 0.0106 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0261 | 0.0283 | 0.0267 | 0.027 | 1.14 | 0.015 | 17 | 0.0106 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.0289 | 0.0297 | 0.0311 | 0.0299 | 1.41 | 0.015 | 17 | 0.0106 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.077 | 0.0789 | 0.0785 | 0.0781 | 5.98 | 0.015 | 17 | 0.0106 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 152 | 0.1001 | 0.0924 | 0.095 | 0.0958 | 7.66 | 0.015 | 17 | 0.0106 | 0 |
|  |  |  |  | CBD (%AR) |  |  |  |  |  |  |  |  |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 4.2092 | 4.0082 | 4.1833 | 4.13 | -1.59 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 154 | 4.2745 | 4.308 | 4.3233 | 4.3 | -1.34 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 4.5338 | 4.3375 | 4.2443 | 4.37 | -1.23 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 213 | 4.515 | 4.449 | 4.334 | 4.43 | -1.14 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 152 | 4.8184 | 4.3947 | 4.5816 | 4.6 | -0.89 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 161 | 4.4901 | 4.4768 | 4.9381 | 4.64 | -0.83 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 173 | 4.659 | 4.572 | 4.867 | 4.7 | -0.74 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 4.8875 | 4.9008 | 4.8907 | 4.89 | -0.44 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 5.3568 | 5.3182 | 5.2376 | 5.3 | 0.18 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 5.936 | 4.977 | 5.006 | 5.31 | 0.18 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 116 | 5.2421 | 5.3374 | 5.3398 | 5.31 | 0.18 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 170 | 5.2878 | 5.3381 | 5.4497 | 5.36 | 0.26 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 5.351 | 5.425 | 5.348 | 5.37 | 0.29 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 5.366 | 5.3663 | 5.3658 | 5.37 | 0.27 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 164 | 5.5682 | 5.2909 | 5.3093 | 5.39 | 0.31 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 5.465 | 5.485 | 5.4765 | 5.48 | 0.44 | 5.1861 | 22 | 0.6609 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 6.274 | 4.679 | 5.781 | 5.58 | 0.59 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 183 | 5.737 | 5.619 | 5.762 | 5.71 | 0.79 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 5.5642 | 5.761 | 5.8405 | 5.72 | 0.81 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 204 | 5.7201 | 5.7571 | 5.981 | 5.82 | 0.96 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 163 | 6.0095 | 6.1679 | 6.0733 | 6.08 | 1.36 | 5.1861 | 22 | 0.6609 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 144 | 6.2891 | 6.1237 | 6.2217 | 6.21 | 1.55 | 5.1861 | 22 | 0.6609 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.10 | Other LC-UV | 154 | 1.0455 | 1.0395 | 1.0429 | 1.04 | -2.11 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 173 | 1.231 | 1.222 | 1.316 | 1.26 | -1.37 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 213 | 1.331 | 1.297 | 1.23 | 1.29 | -1.27 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 1.3071 | 1.2853 | 1.2985 | 1.3 | -1.23 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 152 | 1.3586 | 1.3219 | 1.3552 | 1.35 | -1.07 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 161 | 1.4437 | 1.388 | 1.5997 | 1.48 | -0.61 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 1.5388 | 1.5216 | 1.4909 | 1.52 | -0.47 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 116 | 1.5904 | 1.6071 | 1.5544 | 1.58 | -0.24 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 1.6107 | 1.6096 | 1.6062 | 1.61 | -0.16 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 1.608 | 1.66 | 1.673 | 1.65 | -0.02 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 164 | 1.7988 | 1.6467 | 1.6429 | 1.7 | 0.15 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | 2.166 | 1.572 | 1.61 | 1.78 | 0.44 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 1.829 | 1.85 | 1.849 | 1.84 | 0.65 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 1.8401 | 1.8407 | 1.8403 | 1.84 | 0.64 | 1.6541 | 21 | 0.2895 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 1.8456 | 1.8491 | 1.8482 | 1.85 | 0.67 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 1.985 | 1.8794 | 1.786 | 1.88 | 0.79 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 144 | 1.9327 | 1.8261 | 1.873 | 1.88 | 0.77 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 163 | 1.8988 | 1.9182 | 1.8606 | 1.89 | 0.82 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 183 | 1.933 | 1.901 | 1.93 | 1.92 | 0.92 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 2.062 | 1.95 | 1.803 | 1.94 | 0.98 | 1.6541 | 21 | 0.2895 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 204 | 1.9375 | 1.9549 | 2.0363 | 1.98 | 1.11 | 1.6541 | 21 | 0.2895 | 0 |
|  |  |  |  | CBN (%AR) |  |  |  |  |  |  |  |  |
| CBN (%AR) | 005.10 | Other LC-UV | 213 | 0.068 | 0.068 | 0.062 | 0.066 | -1.87 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0728 | 0.0757 | 0.0717 | 0.0734 | -1.34 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | 0.0805 | 0.0807 | 0.0771 | 0.0794 | -0.91 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | 0.079 | 0.083 | 0.083 | 0.0817 | -0.75 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 154 | 0.0852 | 0.0828 | 0.0856 | 0.0845 | -0.54 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 173 | 0.092 | 0.081 | 0.088 | 0.087 | -0.37 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 144 | 0.0907 | 0.0863 | 0.0848 | 0.0873 | -0.35 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 149 | 0.098 | 0.081 | 0.081 | 0.0867 | -0.39 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0891 | 0.0883 | 0.0877 | 0.0884 | -0.27 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0927 | 0.0822 | 0.0897 | 0.0882 | -0.28 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 190 | 0.0876 | 0.0864 | 0.0918 | 0.0886 | -0.25 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 116 | 0.0923 | 0.0908 | 0.0921 | 0.0917 | -0.03 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | 0.0905 | 0.092 | 0.0925 | 0.0917 | -0.03 | 0.0921 | 20 | 0.014 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 204 | 0.0925 | 0.0963 | 0.0983 | 0.0957 | 0.26 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 183 | 0.098 | 0.098 | 0.1 | 0.0987 | 0.47 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.1017 | 0.1071 | 0.1098 | 0.106 | 1.01 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 116 | 0.1022 | 0.0998 | 0.1205 | 0.108 | 1.1 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 192 | 0.1087 | 0.1052 | 0.1121 | 0.109 | 1.18 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.111 | 0.12 | 0.118 | 0.116 | 1.73 | 0.0921 | 20 | 0.014 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 163 | 0.1183 | 0.1209 | 0.1191 | 0.119 | 1.96 | 0.0921 | 20 | 0.014 | 0 |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 115 | 0.0934 | 0.0919 | 0.0903 | 0.0919 | -1.3 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.1044 | 0.0958 | 0.0852 | 0.0951 | -1.15 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.0937 | 0.1 | 0.0955 | 0.0964 | -1.09 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.089 | 0.108 | 0.096 | 0.0977 | -1.03 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.106 | 0.105 | 0.086 | 0.099 | -0.97 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 173 | 0.093 | 0.099 | 0.104 | 0.0987 | -0.99 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 154 | 0.1001 | 0.0975 | 0.1032 | 0.1 | -0.91 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.1083 | 0.1071 | 0.0996 | 0.105 | -0.69 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.107 | 0.105 | 0.105 | 0.106 | -0.66 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.1085 | 0.103 | 0.1054 | 0.106 | -0.66 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 164 | 0.1116 | 0.1049 | 0.1042 | 0.107 | -0.6 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 116 | 0.1069 | 0.1082 | 0.1099 | 0.108 | -0.53 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 148 | 0.119 | 0.114 | 0.106 | 0.113 | -0.31 | 0.1197 | 32 | 0.0213 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 165 | 0.1062 | 0.1157 | 0.1207 | 0.114 | -0.26 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 144 | 0.12 | 0.114 | 0.1163 | 0.117 | -0.14 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 192 | 0.1152 | 0.1153 | 0.1226 | 0.118 | -0.09 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 153 | 0.1179 | 0.1195 | 0.1204 | 0.119 | -0.02 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1259 | 0.1113 | 0.1242 | 0.12 | 0.04 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 116 | 0.1185 | 0.1119 | 0.1397 | 0.123 | 0.17 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 204 | 0.1225 | 0.123 | 0.1271 | 0.124 | 0.21 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 114 | 0.1299 | 0.1213 | 0.1252 | 0.125 | 0.27 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 101 | 0.1261 | 0.1251 | 0.1262 | 0.126 | 0.29 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 175 | 0.1298 | 0.1206 | 0.1299 | 0.127 | 0.33 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.50 | GC-MS | 170 | 0.1258 | 0.1289 | 0.1287 | 0.128 | 0.38 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 183 | 0.128 | 0.126 | 0.132 | 0.129 | 0.42 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.1281 | 0.1313 | 0.1289 | 0.129 | 0.46 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.1458 | 0.1498 | 0.1492 | 0.148 | 1.34 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.1579 | 0.1494 | 0.1509 | 0.153 | 1.55 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 163 | 0.1694 | 0.1666 | 0.1633 | 0.166 | 2.19 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 170 | 0.1853 | 0.1807 | 0.1642 | 0.177 | 2.67 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 152 | 0.2529 | 0.2509 | 0.239 | 0.248 | 5.99 | 0.1197 | 32 | 0.0213 | 0 |
| Total Δ9-THC (%AR) | 006.50 | GC-MS | 231 | 0.227 | 0.249 | 0.299 | 0.258 | 6.5 | 0.1197 | 32 | 0.0213 | 0 |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.10 | Other LC-UV | 154 | 5.1914 | 5.2196 | 5.238 | 5.22 | -1.77 | 6.8552 | 24 | 0.9247 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 5.3556 | 5.1353 | 5.3221 | 5.27 | -1.71 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 152 | 6.0099 | 5.5539 | 5.7701 | 5.78 | -1.16 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 173 | 5.738 | 5.643 | 6.021 | 5.8 | -1.14 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 161 | 5.7562 | 5.6941 | 6.341 | 5.93 | -1 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 6.2747 | 5.9857 | 5.8106 | 6.02 | -0.9 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 6.3001 | 6.3124 | 6.2994 | 6.3 | -0.6 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 6.347 | 6.433 | 6.473 | 6.42 | -0.47 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 6.7063 | 6.6526 | 6.5451 | 6.63 | -0.24 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 116 | 6.6369 | 6.7468 | 6.703 | 6.7 | -0.17 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 164 | 7.1457 | 6.7351 | 6.7501 | 6.88 | 0.02 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 7.051 | 6.93 | 6.932 | 6.97 | 0.13 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 6.9798 | 6.9806 | 6.9797 | 6.98 | 0.14 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 7.069 | 7.1075 | 7.0981 | 7.09 | 0.26 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 8.174 | 6.058 | 7.194 | 7.14 | 0.31 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 116 | 7.2437 | 7.0765 | 7.1257 | 7.15 | 0.32 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 170 | 7.4253 | 7.1835 | 7.1222 | 7.24 | 0.42 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 183 | 7.433 | 7.286 | 7.454 | 7.39 | 0.58 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 204 | 7.4193 | 7.4715 | 7.7668 | 7.55 | 0.75 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 192 | 7.688 | 7.1155 | 7.9544 | 7.59 | 0.79 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 144 | 7.9845 | 7.7256 | 7.8647 | 7.86 | 1.08 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 163 | 7.8593 | 7.9952 | 7.9147 | 7.92 | 1.15 | 6.8552 | 24 | 0.9247 | 0 |
| Total CBD (%AR) | 007.50 | GC-MS | 170 | 8.0189 | 7.8863 | 8.3285 | 8.08 | 1.32 | 6.8552 | 24 | 0.9247 | 0 |

Population of Lab Values

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 8.0128 | 8.2688 | 8.2012 | 8.16 | 1.41 | 6.8552 | 24 | 0.9247 | 0 |

| CBDV (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0265 | 0.0253 | 0.0258 | 0.0259 | -2.41 | 0.0503 | 7 | 0.0101 | 0 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.0457 | 0.0462 | 0.0469 | 0.0463 | -0.4 | 0.0503 | 7 | 0.0101 | 0 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 183 | 0.051 | 0.049 | 0.051 | 0.0503 | 0.01 | 0.0503 | 7 | 0.0101 | 0 |
| CBDV (%AR) | 008.99 | Other | 142 | 0.0489 | 0.0504 | 0.0516 | 0.0503 | 0 | 0.0503 | 7 | 0.0101 | 0 |
| CBDV (%AR) | 008.99 | Other | 149 | 0.056 | 0.047 | 0.049 | 0.0507 | 0.04 | 0.0503 | 7 | 0.0101 | 0 |
| CBDV (%AR) | 008.99 | Other | 154 | 0.0538 | 0.0533 | 0.0544 | 0.0538 | 0.35 | 0.0503 | 7 | 0.0101 | 0 |
| CBDV (%AR) | 008.99 | Other | 173 | 0.095 | 0.096 | 0.101 | 0.0973 | 4.64 | 0.0503 | 7 | 0.0101 | 0 |

CBDVA (%AR)

| CBDVA (%AR) | 009.99 | Other | 154 | <0.0150 | <0.0150 | <0.0150 | <0.0150 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 149 | 0.032 | <0.0250 | 0.027 | 0.028 | 0 |
| CBDVA (%AR) | 009.99 | Other | 142 | 0.0279 | 0.0287 | 0.0281 | 0.0282 | 0 |
| CBDVA (%AR) | 009.01 | AOAC 2018.10 | 149 | 0.028 | 0.028 | 0.029 | 0.0283 | 0 |
| CBDVA (%AR) | 009.99 | Other | 173 | 0.039 | 0.04 | 0.039 | 0.0393 | 0 |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, U | 183 | 0.059 | 0.058 | 0.06 | 0.059 | 0 |

| CBG (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 154 | 0.2066 | 0.2097 | 0.2032 | 0.206 | -1.59 | 0.2831 | 9 | 0.0481 | 0 |
| CBG (%AR) | 010.01 | AOAC 2018.10 | 149 | 0.248 | 0.248 | 0.254 | 0.25 | -0.69 | 0.2831 | 9 | 0.0481 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 142 | 0.2516 | 0.2533 | 0.2558 | 0.254 | -0.61 | 0.2831 | 9 | 0.0481 | 0 |
| CBG (%AR) | 010.99 | Other | 173 | 0.271 | 0.242 | 0.258 | 0.257 | -0.54 | 0.2831 | 9 | 0.0481 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.31 | 0.29 | 0.253 | 0.284 | 0.03 | 0.2831 | 9 | 0.0481 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.3047 | 0.3127 | 0.3199 | 0.312 | 0.61 | 0.2831 | 9 | 0.0481 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.2944 | 0.3388 | 0.3371 | 0.323 | 0.84 | 0.2831 | 9 | 0.0481 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 183 | 0.325 | 0.323 | 0.333 | 0.327 | 0.91 | 0.2831 | 9 | 0.0481 | 0 |
| CBG (%AR) | 010.99 | Other | 204 | 0.3227 | 0.3261 | 0.3382 | 0.329 | 0.96 | 0.2831 | 9 | 0.0481 | 0 |
|  |  |  |  | CBGA (%AR) |  |  |  |  |  |  |  |  |
| CBGA (%AR) | 011.99 | Other | 154 | 0.0924 | 0.0909 | 0.0934 | 0.0922 | -1.9 | 0.1474 | 9 | 0.0291 | 0 |
| CBGA (%AR) | 011.99 | Other | 142 | 0.1208 | 0.1239 | 0.1182 | 0.121 | -0.91 | 0.1474 | 9 | 0.0291 | 0 |
| CBGA (%AR) | 011.99 | Other | 173 | 0.131 | 0.125 | 0.134 | 0.13 | -0.6 | 0.1474 | 9 | 0.0291 | 0 |
| CBGA (%AR) | 011.01 | AOAC 2018.10 | 149 | 0.146 | 0.146 | 0.15 | 0.147 | 0 | 0.1474 | 9 | 0.0291 | 0 |
| CBGA (%AR) | 011.99 | Other | 106 | 0.153 | 0.1439 | 0.1473 | 0.148 | 0.02 | 0.1474 | 9 | 0.0291 | 0 |
| CBGA (%AR) | 011.99 | Other | 149 | 0.167 | 0.148 | 0.14 | 0.152 | 0.15 | 0.1474 | 9 | 0.0291 | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.1698 | 0.1682 | 0.1683 | 0.169 | 0.74 | 0.1474 | 9 | 0.0291 | 0 |
| CBGA (%AR) | 011.99 | Other | 204 | 0.1728 | 0.1739 | 0.1801 | 0.176 | 0.97 | 0.1474 | 9 | 0.0291 | 0 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 183 | 0.18 | 0.182 | 0.179 | 0.18 | 1.13 | 0.1474 | 9 | 0.0291 | 0 |
|  |  |  |  | THCV (%AR) |  |  |  |  |  |  |  |  |
| THCV (%AR) | 012.02 | AOAC 2018.11, U | 183 | <0.0010 <0.0010 <0.0010 |  |  | <0.0010 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 142 | <0.0022 <0.0022 <0.0022 |  |  | <0.0022 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 189 | <0.0050 | <0.0050 | <0.0050 | <0.0050 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 149 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 173 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
|  |  |  |  | Δ8-THC (%AR) |  |  |  |  |  |  |  |  |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, U | 183 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 | <0.0022 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.01 | AOAC 2018.10 | 149 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | <0.0300 | <0.0300 | <0.0300 | <0.0300 |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 173 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0116 | 0.0119 | 0.012 | 0.0118 |  |  |  |  | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 213 | 0.064 | 0.063 | 0.0517 | 0.0596 |  |  |  |  | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 192 | 0.0759 | 0.0713 | 0.0816 | 0.0763 |  |  |  |  | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.086 | 0.0761 | 0.0833 | 0.0818 |  |  |  |  | 0 |
|  |  |  |  |  | CBC (%AR) |  |  |  |  |  |  |  |
| CBC (%AR) | 014.99 | Other | 154 | 0.1795 | 0.1851 | 0.1789 | 0.181 | -1.32 | 0.2268 | 9 | 0.0346 | 0 |
| CBC (%AR) | 014.99 | Other | 173 | 0.185 | 0.178 | 0.191 | 0.185 | -1.22 | 0.2268 | 9 | 0.0346 | 0 |
| CBC (%AR) | 014.99 | Other | 142 | 0.215 | 0.2156 | 0.2118 | 0.214 | -0.36 | 0.2268 | 9 | 0.0346 | 0 |
| CBC (%AR) | 014.01 | AOAC 2018.10 | 149 | 0.211 | 0.218 | 0.215 | 0.215 | -0.35 | 0.2268 | 9 | 0.0346 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 106 | 0.2326 | 0.2362 | 0.2378 | 0.236 | 0.25 | 0.2268 | 9 | 0.0346 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.261 | 0.231 | 0.224 | 0.239 | 0.34 | 0.2268 | 9 | 0.0346 | 0 |
| CBC (%AR) | 014.99 | Other | 204 | 0.2418 | 0.2433 | 0.2535 | 0.246 | 0.56 | 0.2268 | 9 | 0.0346 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.2562 | 0.2576 | 0.2536 | 0.256 | 0.84 | 0.2268 | 9 | 0.0346 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 183 | 0.27 | 0.266 | 0.274 | 0.27 | 1.25 | 0.2268 | 9 | 0.0346 | 0 |

Population of Lab Values

|  |  |  | Cd (ug/g AR) |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.03 | ICP-OES | 192 | 0.12 | 0.1 | 0.11 | 0.11 | -3.38 | 0.1785 | 6 | 0.0203 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 183 | 0.164 | 0.168 | 0.164 | 0.165 | -0.65 | 0.1785 | 6 | 0.0203 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 141 | 0.193 | 0.19 | 0.172 | 0.185 | 0.32 | 0.1785 | 6 | 0.0203 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | 0.1807 | 0.1907 | 0.1995 | 0.19 | 0.58 | 0.1785 | 6 | 0.0203 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.1935 | 0.1846 | 0.1926 | 0.19 | 0.58 | 0.1785 | 6 | 0.0203 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | 0.1904 | 0.189 | 0.1969 | 0.192 | 0.67 | 0.1785 | 6 | 0.0203 | 0 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | 0.2059 | 0.202 |  |  |  |  | 1 |

As (ug/g AR)

| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0830 | <0.0830 | <0.0830 | <0.0830 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 | 1 |
| As (ug/g AR) | 102.03 | ICP-OES | 192 | <0.8000 | <0.8000 | <0.8000 | <0.8000 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | 0.055 | 0.041 | 0.0449 | 0.047 | 0 |
| As (ug/g AR) | 102.04 | ICP-MS | 141 | <0.0600 | <0.0600 | 0.061 | 0.0603 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.0632 | 0.0565 | 0.0634 | 0.061 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 183 | 0.076 | 0.082 | 0.08 | 0.0793 |  |  |  |  | 0 |

Population of Lab Values

|  |  |  | Hg (ug/g AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | <0.0080 | <0.0080 | <0.0080 | <0.0080 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 183 | <0.0120 | <0.0120 | <0.0120 | <0.0120 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 141 | <0.0600 | <0.0600 | <0.0600 | <0.0600 | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 | 1 |
| Hg (ug/g AR) | 103.03 | ICP-OES | 192 | 0 | 0 | 0 | 0 | 2 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | 0.0081 | 0.0087 | 0.0084 | 0.0084 | 0 |
| Hg (ug/g AR) | 103.99 | Other | 102 | 0.0096 | 0.0097 | 0.0099 | 0.0097 | 0 |

Pb (ug/g AR)

| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.207 | 0.2031 | 0.2172 | 0.209 | -1.18 | 0.3581 | 7 | 0.1268 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | 0.2802 | 0.2943 | 0.2983 | 0.291 | -0.53 | 0.3581 | 7 | 0.1268 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | 0.2959 | 0.3337 | 0.3014 | 0.31 | -0.38 | 0.3581 | 7 | 0.1268 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 183 | 0.292 | 0.306 | 0.35 | 0.316 | -0.33 | 0.3581 | 7 | 0.1268 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 141 | 0.332 | 0.509 | 0.329 | 0.39 | 0.25 | 0.3581 | 7 | 0.1268 | 0 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | 0.3376 | 0.5665 | 0.4225 | 0.442 | 0.66 | 0.3581 | 7 | 0.1268 | 0 |
| Pb (ug/g AR) | 104.03 | ICP-OES | 192 | 0.52 | 0.54 | 1.25 | 0.77 | 3.25 | 0.3581 | 7 | 0.1268 | 0 |

Cu (ug/g AR)

Cu (ug/g AR)

105.04	ICP-MS

142

14.4796  15.0174	15.0775	14.9	0

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Ni (ug/g AR) |  |  |  |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 142 | 1.1626 | 1.2118 | 1.1732 | 1.18 |  |  |  |  | 0 |
| Ni (ug/g AR) | 106.04 | ICP-MS | 141 | 1.47 | 1.51 | 1.46 | 1.48 |  |  |  |  | 0 |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | 0.703 | 0.4538 | 0.3939 | 0.517 |  |  |  |  | 0 |
| Cr (ug/g AR) | 107.04 | ICP-MS | 141 | 0.821 | 0.784 | 0.862 | 0.822 |  |  |  |  | 0 |
|  |  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 141 | <1.2000 <1.2000 <1.2000 |  |  | <1.2000 |  |  |  |  | 1 |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | 0.0996 | 0.1 | 0.1023 | 0.101 |  |  |  |  | 0 |
|  |  |  |  | Ag (ug/g AR) |  |  |  |  |  |  |  |  |
| Ag (ug/g AR) | 109.04 | ICP-MS | 142 | 0.0162 | 0.0123 | 0.0109 | 0.0131 |  |  |  |  | 0 |
|  |  |  |  | Zn (ug/g AR) |  |  |  |  |  |  |  |  |
| Zn (ug/g AR) | 111.04 | ICP-MS | 141 | 57.9 | 60.7 | 57.8 | 58.8 |  |  |  |  | 0 |
| Zn (ug/g AR) | 111.04 | ICP-MS | 142 | 59.3583 59.9258 62.7602 |  |  | 60.7 |  |  |  |  | 0 |
|  |  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |  |  |  |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.0305 | 0.0342 | 0.0316 | 0.0321 |  |  |  |  | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 183 | 0.104 | 0.102 | 0.1 | 0.102 |  |  |  |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.01 | GC,FID | 142 | 1030 | 1060 | 997 | 1029 |  |  |  |  | 0 |

Population of Lab Values

|  |  |  | beta-Caryophyllene (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0352 | 0.0397 | 0.0395 | 0.0381 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 183 | 0.047 | 0.047 | 0.045 | 0.0463 | 0 |
| beta-Caryophyllene (% | 202.01 | GC,FID | 142 | 533 | 554 | 520 | 536 | 0 |

|  |  |  | (-)-Caryophyllene oxide (%AR) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 183 | 0.02 | 0.021 | 0.021 | 0.0207 | 0 |
| (-)-Caryophyllene oxide | 203.01 | GC,FID | 142 | 225 | 232 | 219 | 225 | 0 |

|  |  |  | Geraniol (%AR) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Geraniol (%AR) | 204.02 | GC,MS | 183 | <0.0020 <0.0020 <0.0020 | <0.0020 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 | <0.0100 | 1 |

|  |  |  | alpha-Humulene (%AR) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.0151 | 0.018 0.0178 | 0.017 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 183 | 0.019 | 0.019 0.019 | 0.019 | 0 |
| alpha-Humulene (%AR) | 205.01 | GC,FID | 142 | 214 | 240 227 | 227 | 0 |

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 183 | <0.0020 <0.0020 <0.0020 |  |  | <0.0020 | 1 |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 |  |  | <0.0100 | 1 |  |  |  |  |  |
|  |  |  |  | Linalool (%AR) |  |  |  |  |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 183 | <0.0100 <0.0100 <0.0100 |  |  | <0.0100 | 1 |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 |  |  | <0.0100 | 1 |  |  |  |  |  |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 183 | <0.0020 <0.0020 <0.0020 |  |  | <0.0020 | 1 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 |  |  | <0.0100 | 1 |  |  |  |  |  |
|  |  |  |  | Ocimene (%AR) |  |  |  |  |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 183 | <0.0020 <0.0020 <0.0020 |  |  | <0.0020 | 1 |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 |  |  | <0.0100 | 1 |  |  |  |  |  |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 183 | <0.0020 <0.0020 <0.0020 |  |  | <0.0020 | 1 |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 |  |  | <0.0100 | 1 |  |  |  |  |  |
|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 183 | <0.0020 <0.0020 <0.0020 |  |  | <0.0020 | 1 |  |  |  |  |  |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 Result2 Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 | <0.0100 |  |  |  |  | 1 |

Population of Lab Values

|  |  |  | alpha-Terpinene (%AR) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 183 | <0.0020 <0.0020 <0.0020 | <0.0020 | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 | <0.0100 | 1 |

|  |  |  | gamma-Terpinene (%AR) |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| gamma-Terpinene (%A | 214.02 | GC,MS | 183 | <0.0020 <0.0020 <0.0020 | <0.0020 | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 | <0.0100 | 1 |

alpha-Terpinolene (%AR)

| alpha-Terpinolene (%A | 215.02 | GC,MS | 183 | <0.0020 <0.0020 <0.0020 | <0.0020 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 <0.0100 <0.0100 | <0.0100 | 1 |

| Moisture (%AR) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 153 | 4.89 | 4.86 | 4.93 | 4.89 | -1.34 | 7.0132 | 13 | 1.5842 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 189 | 5.604 | 5.604 | 5.604 | 5.6 | -0.89 | 7.0132 | 13 | 1.5842 | 0 |
| Moisture (%AR) | 500.99 | Other | 142 | 5.84 | 5.81 | 5.87 | 5.84 | -0.74 | 7.0132 | 13 | 1.5842 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 116 | 6.11 | 6.04 | 6.16 | 6.1 | -0.57 | 7.0132 | 13 | 1.5842 | 0 |
| Moisture (%AR) | 500.99 | Other | 102 | 6.1 | 6 | 6.5 | 6.2 | -0.51 | 7.0132 | 13 | 1.5842 | 0 |
| Moisture (%AR) | 500.99 | Other | 103 | 6.29 | 6.14 | 6.31 | 6.25 | -0.48 | 7.0132 | 13 | 1.5842 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 106 | 6.77 | 6.89 | 6.74 | 6.8 | -0.13 | 7.0132 | 13 | 1.5842 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Moisture (%AR) | 500.99 | Other | 165 | 7.5061 | 7.4582 | 7.2612 | 7.41 | 0.25 | 7.0132 | 13 | 1.5842 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 183 | 7.21 | 7.69 | 7.46 | 7.45 | 0.28 | 7.0132 | 13 | 1.5842 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 210 | 7.364 | 7.825 | 7.764 | 7.65 | 0.4 | 7.0132 | 13 | 1.5842 | 0 |
| Moisture (%AR) | 500.70 | Commerc. Anal. | 162 | 7.84 | 8 | 8.74 | 8.19 | 0.74 | 7.0132 | 13 | 1.5842 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 199 | 9.17 | 9.6404 | 9.4329 | 9.41 | 1.52 | 7.0132 | 13 | 1.5842 | 0 |
| Moisture (%AR) | 500.50 | AOAC 930.15 | 192 | 10.7845 | 10.5468 | 10.3085 | 10.5 | 2.23 | 7.0132 | 13 | 1.5842 | 0 |
|  |  |  |  | Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 142 | 0.1104 | 0.109 | 0.1013 | 0.107 | -0.82 | 0.1163 | 9 | 0.0114 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 154 | 0.1067 | 0.104 | 0.1101 | 0.107 | -0.82 | 0.1163 | 9 | 0.0114 | 0 |
| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 210 | 0.112 | 0.11 | 0.112 | 0.111 | -0.43 | 0.1163 | 9 | 0.0114 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 189 | 0.1115 | 0.1128 | 0.1117 | 0.112 | -0.38 | 0.1163 | 9 | 0.0114 | 0 |
| Δ9-THC (%DW) | 501.30 | Other LC-MS | 102 | 0.114 | 0.112 | 0.112 | 0.113 | -0.32 | 0.1163 | 9 | 0.0114 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 165 | 0.1106 | 0.1134 | 0.1167 | 0.114 | -0.24 | 0.1163 | 9 | 0.0114 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 116 | 0.1146 | 0.1094 | 0.1266 | 0.117 | 0.05 | 0.1163 | 9 | 0.0114 | 0 |
| Δ9-THC (%DW) | 501.10 | Other LC-UV | 162 | 0.1314 | 0.1291 | 0.1392 | 0.133 | 1.49 | 0.1163 | 9 | 0.0114 | 0 |
| Δ9-THC (%DW) | 501.02 | AOAC 2018.11, U | 199 | 0.1497 | 0.1411 | 0.1424 | 0.144 | 2.48 | 0.1163 | 9 | 0.0114 | 0 |
|  |  |  |  | Δ9-THCA (%DW) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.01 | AOAC 2018.10 | 210 | <0.0130 | <0.0130 | <0.0130 | <0.0130 |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.30 | Other LC-MS | 102 | <0.0210 | <0.0210 | <0.0210 | <0.0210 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score Rob Mean |  | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 154 | <0.0210 | <0.0210 | <0.0210 | <0.0210 |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 142 | 0.0053 | 0.0053 | 0.0051 | 0.0052 |  |  |  |  | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 165 | 0.0048 | 0.0133 | 0.0153 | 0.0111 |  |  |  |  | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 116 | 0.0133 | 0.0112 | 0.0253 | 0.0166 |  |  |  |  | 0 |
| Δ9-THCA (%DW) | 502.10 | Other LC-UV | 189 | 0.0276 | 0.03 | 0.0283 | 0.0286 |  |  |  |  | 0 |

Population of Lab Values

| CBD (%DW) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%DW) | 503.10 | Other LC-UV | 154 | 4.5578 | 4.5935 | 4.6098 | 4.59 | -1.76 | 5.6349 | 7 | 0.5959 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 189 | 5.1776 | 5.1917 | 5.1811 | 5.18 | -0.76 | 5.6349 | 7 | 0.5959 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 142 | 5.689 | 5.6463 | 5.5643 | 5.63 | 0 | 5.6349 | 7 | 0.5959 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 116 | 5.5844 | 5.6859 | 5.6885 | 5.65 | 0.03 | 5.6349 | 7 | 0.5959 | 0 |
| CBD (%DW) | 503.10 | Other LC-UV | 162 | 5.8588 | 5.9674 | 5.9231 | 5.92 | 0.47 | 5.6349 | 7 | 0.5959 | 0 |
| CBD (%DW) | 503.02 | AOAC 2018.11, U | 199 | 6.0167 | 6.0702 | 6.0469 | 6.04 | 0.69 | 5.6349 | 7 | 0.5959 | 0 |
| CBD (%DW) | 503.01 | AOAC 2018.10 | 210 | 6.475 | 6.182 | 6.161 | 6.27 | 1.07 | 5.6349 | 7 | 0.5959 | 0 |

| CBDA (%DW) |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%DW) | 504.10 | Other LC-UV | 154 | 1.1148 | 1.1083 | 1.1121 | 1.11 | -1.98 | 1.7538 | 7 | 0.3247 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 142 | 1.6342 | 1.6154 | 1.5838 | 1.61 | -0.44 | 1.7538 | 7 | 0.3247 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 116 | 1.6943 | 1.7121 | 1.6559 | 1.69 | -0.2 | 1.7538 | 7 | 0.3247 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 189 | 1.7063 | 1.7051 | 1.7016 | 1.7 | -0.15 | 1.7538 | 7 | 0.3247 | 0 |
| CBDA (%DW) | 504.10 | Other LC-UV | 162 | 1.7736 | 1.8675 | 1.8904 | 1.84 | 0.28 | 1.7538 | 7 | 0.3247 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%DW) | 504.02 | AOAC 2018.11, U | 199 | 2.0137 | 2.0474 | 2.0416 | 2.03 | 0.86 | 1.7538 | 7 | 0.3247 | 0 |
| CBDA (%DW) | 504.01 | AOAC 2018.10 | 210 | 2.146 | 2.129 | 2.112 | 2.13 | 1.16 | 1.7538 | 7 | 0.3247 | 0 |
|  |  |  |  | CBN (%DW) |  |  |  |  |  |  |  |  |
| CBN (%DW) | 505.10 | Other LC-UV | 192 | 0.0811 | 0.0849 | 0.0802 | 0.0821 | -1.16 | 0.0977 | 9 | 0.0135 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 142 | 0.0855 | 0.0857 | 0.0819 | 0.0844 | -0.99 | 0.0977 | 9 | 0.0135 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 154 | 0.0909 | 0.0883 | 0.0913 | 0.0902 | -0.56 | 0.0977 | 9 | 0.0135 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 189 | 0.0943 | 0.0935 | 0.0929 | 0.0936 | -0.31 | 0.0977 | 9 | 0.0135 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 116 | 0.0984 | 0.0967 | 0.0981 | 0.0977 | 0 | 0.0977 | 9 | 0.0135 | 0 |
| CBN (%DW) | 505.02 | AOAC 2018.11, U | 199 | 0.0996 | 0.1018 | 0.1021 | 0.101 | 0.26 | 0.0977 | 9 | 0.0135 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 162 | 0.0981 | 0.1022 | 0.1018 | 0.101 | 0.22 | 0.0977 | 9 | 0.0135 | 0 |
| CBN (%DW) | 505.10 | Other LC-UV | 116 | 0.1089 | 0.1063 | 0.1205 | 0.112 | 1.05 | 0.0977 | 9 | 0.0135 | 0 |
| CBN (%DW) | 505.30 | GC-FID | 192 | 0.1218 | 0.1176 | 0.125 | 0.121 | 1.76 | 0.0977 | 9 | 0.0135 | 0 |
|  |  |  |  | Total Δ9-THC (%DW) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 154 | 0.1067 | 0.104 | 0.1101 | 0.107 | -1.44 | 0.1254 | 13 | 0.0128 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 142 | 0.1151 | 0.1137 | 0.1058 | 0.112 | -1.08 | 0.1254 | 13 | 0.0128 | 0 |
| Total Δ9-THC (%DW) | 506.30 | Other LC-MS | 102 | 0.114 | 0.112 | 0.112 | 0.113 | -0.99 | 0.1254 | 13 | 0.0128 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 116 | 0.1139 | 0.1153 | 0.117 | 0.115 | -0.78 | 0.1254 | 13 | 0.0128 | 0 |
| Total Δ9-THC (%DW) | 506.01 | AOAC 2018.10 | 210 | 0.123 | 0.121 | 0.123 | 0.122 | -0.24 | 0.1254 | 13 | 0.0128 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 165 | 0.1148 | 0.125 | 0.1301 | 0.123 | -0.16 | 0.1254 | 13 | 0.0128 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 153 | 0.1241 | 0.1256 | 0.1266 | 0.125 | 0 | 0.1254 | 13 | 0.0128 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 116 | 0.1263 | 0.1192 | 0.1488 | 0.131 | 0.47 | 0.1254 | 13 | 0.0128 | 0 |
| Total Δ9-THC (%DW) | 506.40 | GC-FID | 192 | 0.1292 | 0.1288 | 0.1367 | 0.132 | 0.48 | 0.1254 | 13 | 0.0128 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 162 | 0.1314 | 0.1291 | 0.1392 | 0.133 | 0.61 | 0.1254 | 13 | 0.0128 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 192 | 0.1403 | 0.1247 | 0.1389 | 0.135 | 0.72 | 0.1254 | 13 | 0.0128 | 0 |
| Total Δ9-THC (%DW) | 506.10 | Other LC-UV | 189 | 0.1358 | 0.1391 | 0.1365 | 0.137 | 0.91 | 0.1254 | 13 | 0.0128 | 0 |
| Total Δ9-THC (%DW) | 506.02 | AOAC 2018.11, U | 199 | 0.1716 | 0.163 | 0.1643 | 0.166 | 3.18 | 0.1254 | 13 | 0.0128 | 0 |
|  |  |  |  | Total CBD (%DW) |  |  |  |  |  |  |  |  |
| Total CBD (%DW) | 507.10 | Other LC-UV | 154 | 5.5355 | 5.5655 | 5.5851 | 5.56 | -1.56 | 7.1971 | 10 | 1.0484 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 192 | 5.9711 | 5.7561 | 5.9496 | 5.89 | -1.24 | 7.1971 | 10 | 1.0484 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 189 | 6.6741 | 6.6871 | 6.6734 | 6.68 | -0.49 | 7.1971 | 10 | 1.0484 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 142 | 7.1222 | 7.063 | 6.9533 | 7.05 | -0.14 | 7.1971 | 10 | 1.0484 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 116 | 7.0703 | 7.1874 | 7.1407 | 7.13 | -0.06 | 7.1971 | 10 | 1.0484 | 0 |
| Total CBD (%DW) | 507.10 | Other LC-UV | 162 | 7.4142 | 7.6052 | 7.5809 | 7.53 | 0.32 | 7.1971 | 10 | 1.0484 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 116 | 7.7167 | 7.5386 | 7.5911 | 7.62 | 0.4 | 7.1971 | 10 | 1.0484 | 0 |
| Total CBD (%DW) | 507.02 | AOAC 2018.11, U | 199 | 7.7827 | 7.865 | 7.8374 | 7.83 | 0.6 | 7.1971 | 10 | 1.0484 | 0 |
| Total CBD (%DW) | 507.01 | AOAC 2018.10 | 210 | 8.357 | 8.049 | 8.013 | 8.14 | 0.9 | 7.1971 | 10 | 1.0484 | 0 |
| Total CBD (%DW) | 507.40 | GC-FID | 192 | 8.6173 | 7.9544 | 8.8687 | 8.48 | 1.22 | 7.1971 | 10 | 1.0484 | 0 |
|  |  |  |  | CBDV (%DW) |  |  |  |  |  |  |  |  |
| CBDV (%DW) | 508.99 | Other | 189 | 0.0281 | 0.0268 | 0.0274 | 0.0274 |  |  |  |  | 0 |
| CBDV (%DW) | 508.99 | Other | 162 | 0.0482 | 0.0489 | 0.046 | 0.0477 |  |  |  |  | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%DW) | 508.99 | Other | 142 | 0.052 | 0.0535 | 0.0549 | 0.0535 |  |  |  |  | 0 |
| CBDV (%DW) | 508.02 | AOAC 2018.11, U | 210 | 0.055 | 0.054 | 0.052 | 0.0537 |  |  |  |  | 0 |
| CBDV (%DW) | 508.99 | Other | 154 | 0.0574 | 0.0568 | 0.058 | 0.0574 |  |  |  |  | 0 |
|  |  |  |  | CBDVA (%DW) |  |  |  |  |  |  |  |  |
| CBDVA (%DW) | 509.99 | Other | 154 | <0.0150 | <0.0150 | <0.0150 | <0.0150 |  |  |  |  | 1 |
| CBDVA (%DW) | 509.01 | AOAC 2018.10 | 210 | 0.019 | 0.013 | 0.016 | 0.016 |  |  |  |  | 0 |
| CBDVA (%DW) | 509.99 | Other | 142 | 0.0297 | 0.0304 | 0.0299 | 0.03 |  |  |  |  | 0 |
|  |  |  |  | CBG (%DW) |  |  |  |  |  |  |  |  |
| CBG (%DW) | 510.99 | Other | 154 | 0.2203 | 0.2235 | 0.2167 | 0.22 |  |  |  |  | 0 |
| CBG (%DW) | 510.99 | Other | 142 | 0.2672 | 0.2689 | 0.2717 | 0.269 |  |  |  |  | 0 |
| CBG (%DW) | 510.01 | AOAC 2018.10 | 210 | 0.274 | 0.287 | 0.305 | 0.289 |  |  |  |  | 0 |
| CBG (%DW) | 510.99 | Other | 162 | 0.3106 | 0.3261 | 0.2985 | 0.312 |  |  |  |  | 0 |
| CBG (%DW) | 510.99 | Other | 189 | 0.3119 | 0.3589 | 0.3572 | 0.343 |  |  |  |  | 0 |
|  |  |  |  | CBGA (%DW) |  |  |  |  |  |  |  |  |
| CBGA (%DW) | 511.01 | AOAC 2018.10 | 210 | 0.088 | 0.089 | 0.073 | 0.0833 |  |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 154 | 0.0985 | 0.0969 | 0.0996 | 0.0983 |  |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 142 | 0.1283 | 0.1315 | 0.1255 | 0.128 |  |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 162 | 0.1665 | 0.1679 | 0.169 | 0.168 |  |  |  |  | 0 |
| CBGA (%DW) | 511.99 | Other | 189 | 0.1799 | 0.1782 | 0.1783 | 0.179 |  |  |  |  | 0 |

Population of Lab Values

| Analyte Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Population of Lab Values

| THCV (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%DW) | 512.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 | <0.0022 | 1 |
| THCV (%DW) | 512.99 | Other | 189 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |
| THCV (%DW) | 512.02 | AOAC 2018.11, U | 210 | <0.0130 | <0.0130 | <0.0130 | <0.0130 | 1 |

| Δ8-THC (%DW) |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%DW) | 513.99 | Other | 142 | <0.0022 | <0.0022 | <0.0022 | <0.0022 | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ8-THC (%DW) | 513.01 | AOAC 2018.10 | 210 | <0.0130 | <0.0130 | <0.0130 | <0.0130 | 1 |
| Δ8-THC (%DW) | 513.99 | Other | 189 | 0.0123 | 0.0127 | 0.0128 | 0.0126 | 0 |
| Δ8-THC (%DW) | 513.99 | Other | 192 | 0.0851 | 0.0797 | 0.0909 | 0.0852 | 0 |

CBC (%DW)

| CBC (%DW) | 514.99 | Other | 154 | 0.1914 | 0.1974 | 0.1907 | 0.193 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%DW) | 514.99 | Other | 142 | 0.2283 | 0.2289 | 0.225 | 0.227 | 0 |
| CBC (%DW) | 514.99 | Other | 162 | 0.2441 | 0.2519 | 0.2527 | 0.25 | 0 |
| CBC (%DW) | 514.99 | Other | 189 | 0.2715 | 0.2729 | 0.2687 | 0.271 | 0 |

- Flag definitions: 1 (Lab Value not used because there were less than 2 numeric lab results), 2 (Lab Value not used because there were less than 2 numeric lab results greater than 0).

- Robust statistics performed to determine robust mean and Z scores only if there were 6 or more numeric lab values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.