| Homogeneity and Stability |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sample ID . . . . . . . . . . . . . . . . . . . . . . . . . |  |  |  | HM25SEP-2 |  |  |  |  |  |  |
| Samples shipped . . . . . . . . . . . . . . . . . . . |  |  |  | 16-Sep-25 |  |  |  |  |  |  |
| Results due date . . . . . . . . . . . . . . . . . . . . |  |  |  | 22-Oct-25 |  |  |  |  |  |  |
| Homogeneity |  |  |  |  |  |  |  |  |  |  |
| 8 sample jars randomly chosen for analysis. |  |  |  |  |  |  |  |  |  |  |
| Duplicate test portions analyzed for analyte and method shown in table caption. |  |  |  |  |  |  |  |  |  |  |
| Total THC (%AR) via GC-FID (method 006.40) |  |  |  |  |  |  | %RSD | HorRat-r |  |  |
| Analysis Date: 09/15/25 |  |  | Overall average: |  |  | 0.147 |  |  |  |  |
|  |  |  | SD of sample avgs: |  |  | 0.002 | 1.07 |  |  |  |
| Sample # | Replicate 1 | Replicate 2 | repeatability SD: |  |  | 0.004 | 3.05 | 0.6 |  |  |
| 1 | 0.1450 | 0.1450 | between-sample SD: |  |  | 0.000 | 0.00 |  |  |  |
| 2 | 0.1495 | 0.1434 | reproducibilty SD: |  |  | 0.004 | 3.05 |  |  |  |
| 3 | 0.1430 | 0.1500 |  | n |  | 8 |  |  |  |  |
| 4 | 0.1406 | 0.1498 | SD used for Analyte z scores: |  |  | 0.021 |  |  |  |  |
| 5 | 0.1490 | 0.1510 | Check value: |  |  | 0.006 |  |  |  |  |
| 6 | 0.1492 | 0.1452 |  |  |  |  |  |  |  |  |
| 7 | 0.1410 | 0.1506 |  | Total THC (%AR) via GC-FID (method 006.40) |  |  |  |  |  |  |
| 8 | 0.1490 | 0.1430 |  | Is between-sample SD less than check value? YES |  |  |  |  |  |  |
|  | Homogeneity test passed |  |  |  |  |  |  |  |  |  |
| Total CBD (%AR) via GC-FID (method 007.40) |  |  |  |  |  |  | %RSD | HorRat-r |  |  |
| Analysis Date: 09/15/25 |  |  | Overall average: |  |  | 8.106 |  |  |  |  |
|  |  |  | SD of sample avgs: |  |  | 0.040 | 0.498 |  |  |  |
| Sample # | Replicate 1 | Replicate 2 | repeatability SD: |  |  | 0.053 | 0.657 | 0.2 |  |  |
| 1 | 8.1500 | 8.1010 | between-sample SD: |  |  | 0.000 | 0.000 |  |  |  |
| 2 | 8.1000 | 8.0173 | reproducibilty SD: |  |  | 0.053 | 0.657 |  |  |  |
| 3 | 8.1040 | 8.1500 |  | n |  | 8 |  |  |  |  |
| 4 | 8.0723 | 8.1294 | SD used for Analyte z scores: |  |  | 0.925 |  |  |  |  |
| 5 | 8.0720 | 8.0170 | Check value: |  |  | 0.277 |  |  |  |  |
| 6 | 8.2012 | 8.1009 |  |  |  |  |  |  |  |  |
| 7 | 8.2010 | 8.1043 |  | Total CBD (%AR) via GC-FID (method 007.40) |  |  |  |  |  |  |
| 8 | 8.1336 | 8.0420 |  | Is between-sample SD less than check value? YES |  |  |  |  |  |  |
|  | Homogeneity test passed |  |  |  |  |  |  |  |  |  |
| Stability |  |  |  |  |  |  |  |  |  |  |
| Sample tested on different days from date sample shipped to results due date. |  |  |  |  |  |  |  |  |  |  |
| Sample stored at room temperature during period of testing. |  |  |  |  |  |  |  |  |  |  |
| Total THC (%AR) via GC-FID (method 006.40) |  |  | Days = x variable, Conc = y variable |  |  |  |  |  |  |  |
| Date of Analysis | Days | Conc. |  | SUMMARY OUTPUT |  |  |  |  |  |  |
| 9/24/25 | 0 | 0.1347 |  |  |  |  |  |  |  |  |
| 10/2/25 | 8 | 0.1132 | Regression Statistics |  |  |  |  |  |  |  |
| 10/23/25 | 29 | 0.1432 |  | Multiple R | 0.6640559 |  |  |  |  |  |
| 10/30/25 | 36 | 0.1439 |  | R Square | 0.4409702 |  |  |  |  |  |
| 11/5/25 | 42 | 0.1405 |  | Adjusted R Square | 0.3291642 |  |  |  |  |  |
| 11/10/25 | 47 | 0.1439 |  | Standard Error | 0.0090265 |  |  |  |  |  |
| 11/14/25 | 51 | 0.1405 |  | Observations | 7 |  |  |  |  |  |
|  |  |  |  | ANOVA |  |  |  |  |  |  |
| 0.170 |  |  |  |  | df | SS | MS | F | Significance F |  |
|  |  |  |  | Regression | 1 | 0.0003 | 0.0003 | 3.9441 | 0.1038 |  |
| 0.150 |  |  |  | Residual | 5 | 0.0004 | 0.0001 |  |  |  |
|  |  |  |  | Total | 6 | 0.0007 |  |  |  |  |
|  | y = 0.00 R | 04x + 0.1257 = 0.441 | Coefficients |  |  | tandard Error | t Stat | P-value | Lower 95% | Upper 95% |
| 0.110 |  |  |  | Intercept | 0.1257 | 0.0067 | 18.8402 | 0.0000 | 0.1086 | 0.1429 |
|  |  |  |  | X Variable | 0.0004 | 0.0002 | 1.9860 | 0.1038 | -0.0001 | 0.0009 |
| 0.090 |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  | Coefficient for x variable is not statistically significantly different from 0. |  |  |  |  |  |  |
| 0.070 |  |  |  | No signficant change in THC levels during testing period. |  |  |  |  |  |  |

²

0.130

0	10	20	30	40	50	60

| 0 10 20 30 40 | 50 60 Stability test passed. |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | %RSD = 8 | HorRat-R = 1.5 |  |  |  |  |  |
| Total CBD (%AR) via GC-FID (method 006 | .40) |  |  |  |  |  |  |  |  |  |  |  |  |
| Date of Analysis |  | Days |  | Conc. |  |  |  |  |  |  |  |  |  |
| 9/24/25 |  | 0 |  | 7.9570 | Days = x variable, Conc = y variable |  |  |  |  |  |  |  |  |
| 10/2/25 |  | 8 |  | 7.4611 | SUMMARY OUTPUT |  |  |  |  |  |  |  |  |
| 10/23/25 |  | 29 |  | 8.1962 |  |  |  |  |  |  |  |  |  |
| 10/30/25 |  | 36 |  | 8.0991 | Regression Statistics |  |  |  |  |  |  |  |  |
| 11/5/25 |  | 42 |  | 7.8582 |  |  | Multiple R | 0.3746903 |  |  |  |  |  |
| 11/10/25 |  | 47 |  | 8.0991 |  |  | R Square | 0.1403928 |  |  |  |  |  |
| 11/14/25 |  | 51 |  | 7.8582 |  |  | Adjusted R Square | -0.0315287 |  |  |  |  |  |
|  |  |  |  |  |  |  | Standard Error | 0.2484036 |  |  |  |  |  |
|  |  |  |  |  |  |  | Observations | 7 |  |  |  |  |  |
| 6.00 8.40 |  |  |  |  |  |  | ANOVA |  |  |  |  |  |  |
| 8.00 |  |  |  |  |  |  |  | df | SS | MS | F | Significance F |  |
| 7.60 |  |  |  |  |  |  | Regression | 1 | 0.0504 | 0.0504 | 0.8166 | 0.4076 |  |
|  |  | y = 0.0047x + | 7.7901 |  |  |  | Residual | 5 | 0.3085 | 0.0617 |  |  |  |
| 7.20 |  | R² = 0.140 | 4 |  |  |  | Total | 6 | 0.3589 |  |  |  |  |
| 6.80 |  |  |  |  |  |  |  | Coefficients | Standard Erro | t Stat | P-value | Lower 95% | Upper 95% |
| 6.40 |  |  |  |  |  |  | Intercept | 7.7901 | 0.1836 | 42.4208 | 0.0000 | 7.3180 | 8.2621 |
|  |  |  |  |  |  |  | X Variable | 0.0047 | 0.0052 | 0.9037 | 0.4076 | -0.0086 | 0.0180 |
| 0 10 | 20 | 30 40 | 50 | 60 |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Coefficient for x variable is not statistically significantly different from 0. |  |  |  |  |  |  |
|  |  |  |  |  |  |  | No signficant change in CBD levels during testing period. |  |  |  |  |  |  |
|  |  |  |  |  |  |  | Stability test passed. |  |  |  |  |  |  |
|  |  |  |  |  |  |  | %RSD = 3.1 | HorRat-R = 1.1 |  |  |  |  |  |