Hemp Proficiency Testing All Labs Trueness OL21SEP-1 (oil)

Sample: OL21SEP-1 (oil)

All Labs Trueness

Issue Date:

October 24, 2021

| Analyte | Code | Method | Lab Num | Result1 Result2 Result3 Δ9-THC (%AR) |  |  | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 118 | <0.1980 | <0.1980 | <0.1980 | <0.1980 |  |  |  |  | 1 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 213 | 0.0223 | 0.0227 | 0.023 | 0.0227 | -7.29 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 210 | 0.06 | 0.067 | 0.067 | 0.0647 | -3.48 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 183 | 0.0642 | 0.0749 | 0.0681 | 0.0691 | -3.08 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 155 | 0.081 | 0.084 | 0.083 | 0.0827 | -1.85 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 162 | 0.0923 | 0.0867 | 0.0893 | 0.0894 | -1.24 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 108 | 0.0915 | 0.0901 | 0.0891 | 0.0902 | -1.16 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 142 | 0.0946 | 0.0951 | 0.0906 | 0.0934 | -0.87 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 154 | 0.0984 | 0.0976 | 0.0943 | 0.0968 | -0.57 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.0958 | 0.0981 | 0.0983 | 0.0974 | -0.51 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 204 | 0.102 | 0.0971 | 0.094 | 0.0977 | -0.49 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 132 | 0.095 | 0.098 | 0.101 | 0.098 | -0.46 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 161 | 0.1053 | 0.0993 | 0.0935 | 0.0994 | -0.34 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 215 | 0.102 | 0.1011 | 0.0968 | 0.1 | -0.28 | 0.1031 | 38 | 0.011 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 196 | 0.1011 | 0.1005 | 0.0987 | 0.1 | -0.27 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 208 | 0.1061 | 0.1079 | 0.0902 | 0.101 | -0.15 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 212 | 0.0988 | 0.1089 | 0.0945 | 0.101 | -0.21 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 200 | 0.102 | 0.101 | 0.1 | 0.101 | -0.19 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 194 | 0.1008 | 0.1026 | 0.1022 | 0.102 | -0.11 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 199 | 0.103 | 0.1035 | 0.1005 | 0.102 | -0.07 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 109 | 0.103 | 0.108 | 0.098 | 0.103 | -0.01 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.103 | 0.1027 | 0.1032 | 0.103 | -0.01 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.1028 | 0.1055 | 0.1048 | 0.104 | 0.12 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 172 | 0.107 | 0.099 | 0.11 | 0.105 | 0.21 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 211 | 0.109 | 0.107 | 0.1 | 0.105 | 0.21 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 191 | 0.1047 | 0.1055 | 0.1055 | 0.105 | 0.2 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 125 | 0.0962 | 0.108 | 0.113 | 0.106 | 0.24 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.11 | 0.106 | 0.106 | 0.107 | 0.39 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 214 | 0.11 | 0.1 | 0.11 | 0.107 | 0.33 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 120 | 0.116 | 0.0987 | 0.1055 | 0.107 | 0.33 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, | 139 | 0.0953 | 0.1148 | 0.1171 | 0.109 | 0.54 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 149 | 0.118 | 0.105 | 0.111 | 0.111 | 0.75 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.12 | 0.11 | 0.12 | 0.117 | 1.23 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, | 103 | 0.115 | 0.117 | 0.119 | 0.117 | 1.26 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 216 | 0.1182 | 0.117 | 0.1167 | 0.117 | 1.29 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 207 | 0.119 | 0.116 | 0.118 | 0.118 | 1.32 | 0.1031 | 38 | 0.011 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | 0.1217 | 0.1191 | 0.12 | 0.12 | 1.56 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 209 | 0.1235 | 0.1213 | 0.1264 | 0.124 | 1.87 | 0.1031 | 38 | 0.011 | 0 |
| Δ9-THC (%AR) | 001.60 | NIR | 187 | 0.83 | 0.86 | 0.83 | 0.84 | 66.83 | 0.1031 | 38 | 0.011 | 0 |
|  |  |  |  | Δ9-THCA (%AR) |  |  |  |  |  |  |  |  |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 211 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 191 | <0.0031 | <0.0031 | <0.0031 | <0.0031 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0093 | <0.0094 | <0.0105 | <0.0093 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 216 | <0.0098 | <0.0095 | <0.0103 | <0.0098 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 200 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 208 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 109 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 214 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 142 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, | 139 | <0.0125 | <0.0125 | <0.0125 | <0.0125 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 194 | <0.0130 | <0.0130 | <0.0130 | <0.0130 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 207 | <0.0190 | <0.0190 | <0.0190 | <0.0190 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 172 | <0.0200 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | <0.0210 | <0.0210 | <0.0210 | <0.0210 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 120 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 199 | <0.0250 | <0.0250 | <0.0250 | <0.0250 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | <0.0400 | <0.0400 | <0.0400 | <0.0400 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | <0.0400 | <0.0400 | <0.0400 | <0.0400 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 161 | <0.0500 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 118 | <0.1980 | <0.1980 | <0.1980 | <0.1980 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.99 | Other | 132 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 204 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ9-THCA (%AR) | 002.99 | Other | 183 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 108 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0042 | 0.005 | 0.0054 | 0.0049 |  |  |  |  | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | 0.01 | 0.01 | 0.01 | 0.01 |  |  |  |  | 0 |
| Δ9-THCA (%AR) | 002.60 | NIR | 187 | 0.01 | 0.01 | 0.01 | 0.01 |  |  |  |  | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 212 | 0.0183 | 0.0099 | 0.0042 | 0.0108 |  |  |  |  | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, | 125 | 0.0023 | 0.0022 | <0.0362 | 0.0136 |  |  |  |  | 0 |

Population of Lab Values

CBD (%AR)

| CBD (%AR) | 003.10 | Other LC-UV | 189 | 1.2029 | 1.2328 | 1.2337 | 1.22 | -3.32 | 1.5848 | 36 | 0.1088 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.10 | Other LC-UV | 154 | 1.4014 | 1.3235 | 1.2774 | 1.33 | -2.3 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 210 | 1.424 | 1.434 | 1.436 | 1.43 | -1.41 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 155 | 1.44 | 1.43 | 1.46 | 1.44 | -1.3 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 200 | 1.533 | 1.515 | 1.389 | 1.48 | -0.97 | 1.5848 | 36 | 0.1088 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.03 | AOAC 2018.11, | 139 | 1.3023 | 1.5661 | 1.5916 | 1.49 | -0.9 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 1.4982 | 1.4944 | 1.4983 | 1.5 | -0.81 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 1.4984 | 1.5069 | 1.5274 | 1.51 | -0.68 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 191 | 1.5114 | 1.5166 | 1.5234 | 1.52 | -0.62 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.99 | Other | 132 | 1.534 | 1.5 | 1.514 | 1.52 | -0.63 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 211 | 1.564 | 1.527 | 1.488 | 1.53 | -0.54 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 215 | 1.5348 | 1.4783 | 1.5646 | 1.53 | -0.54 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 161 | 1.5397 | 1.5461 | 1.5445 | 1.54 | -0.38 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 1.61 | 1.48 | 1.58 | 1.56 | -0.26 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 214 | 1.59 | 1.57 | 1.53 | 1.56 | -0.2 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 172 | 1.598 | 1.448 | 1.621 | 1.56 | -0.27 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 1.579 | 1.582 | 1.546 | 1.57 | -0.14 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 108 | 1.571 | 1.564 | 1.566 | 1.57 | -0.16 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 194 | 1.5494 | 1.5846 | 1.5994 | 1.58 | -0.06 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 125 | 1.49 | 1.59 | 1.65 | 1.58 | -0.07 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 204 | 1.6233 | 1.6142 | 1.5196 | 1.59 | 0.01 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 212 | 1.6309 | 1.571 | 1.5548 | 1.59 | 0.01 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 207 | 1.616 | 1.604 | 1.606 | 1.61 | 0.22 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 208 | 1.5755 | 1.7172 | 1.5605 | 1.62 | 0.3 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 118 | 1.672 | 1.644 | 1.644 | 1.65 | 0.63 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 162 | 1.6271 | 1.637 | 1.675 | 1.65 | 0.57 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 1.43 | 1.808 | 1.744 | 1.66 | 0.7 | 1.5848 | 36 | 0.1088 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.99 | Other | 183 | 1.6467 | 1.6534 | 1.6713 | 1.66 | 0.67 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 142 | 1.6821 | 1.6731 | 1.6412 | 1.67 | 0.74 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 199 | 1.664 | 1.6955 | 1.715 | 1.69 | 0.98 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, | 103 | 1.719 | 1.76 | 1.636 | 1.71 | 1.11 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 216 | 1.7171 | 1.7507 | 1.6946 | 1.72 | 1.25 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 1.7256 | 1.7059 | 1.7716 | 1.73 | 1.38 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.60 | NIR | 187 | 1.77 | 1.72 | 1.72 | 1.74 | 1.4 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 1.7656 | 1.7566 | 1.7346 | 1.75 | 1.54 | 1.5848 | 36 | 0.1088 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 109 | 1.897 | 1.909 | 1.815 | 1.87 | 2.66 | 1.5848 | 36 | 0.1088 | 0 |

Population of Lab Values

CBDA (%AR)

| CBDA (%AR) | 004.10 | Other LC-UV | 172 | <0.0200 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | <0.0400 | <0.0400 | <0.0400 | <0.0400 |  |  |  |  | 1 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 210 | <0.0510 | <0.0500 | <0.0520 | <0.0510 |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 118 | <0.1980 | <0.1980 | <0.1980 | <0.1980 |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 155 | 0.01 | 0.01 | 0.01 | 0.01 | -4.22 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 108 | 0.0128 | 0.0121 | 0.0126 | 0.0125 | -3.65 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, | 139 | 0.0104 | 0.0156 | 0.0143 | 0.0134 | -3.43 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 194 | 0.0194 | 0.0187 | 0.0198 | 0.0193 | -2.08 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 212 | 0.0234 | 0.0263 | 0.0225 | 0.0241 | -0.98 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | 0.027 | 0.022 | 0.026 | 0.025 | -0.76 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 199 | 0.026 | 0.026 | 0.0265 | 0.0262 | -0.49 | 0.0283 | 30 | 0.0043 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.99 | Other | 183 | 0.0303 | 0.032 | 0.0163 | 0.0262 | -0.48 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 162 | 0.0262 | 0.026 | 0.0266 | 0.0263 | -0.47 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 211 | 0.028 | 0.027 | 0.026 | 0.027 | -0.3 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 161 | 0.0264 | 0.0283 | 0.026 | 0.0269 | -0.32 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 0.0276 | 0.0282 | 0.0278 | 0.0279 | -0.1 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 207 | 0.027 | 0.028 | 0.028 | 0.0277 | -0.14 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 0.0275 | 0.0292 | 0.027 | 0.0279 | -0.09 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 200 | 0.029 | 0.027 | 0.028 | 0.028 | -0.07 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 0.0275 | 0.027 | 0.0287 | 0.0277 | -0.13 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 191 | 0.0291 | 0.0288 | 0.0288 | 0.0289 | 0.14 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 216 | 0.0306 | 0.029 | 0.0276 | 0.0291 | 0.18 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 142 | 0.029 | 0.029 | 0.0285 | 0.0288 | 0.13 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 208 | 0.0273 | 0.0323 | 0.0294 | 0.0297 | 0.32 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 0.03 | 0.03 | 0.03 | 0.03 | 0.39 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 0.0293 | 0.0309 | 0.0302 | 0.0301 | 0.43 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 215 | 0.0374 | 0.0243 | 0.0323 | 0.0313 | 0.7 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 0.0306 | 0.0305 | 0.0308 | 0.0306 | 0.54 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 204 | 0.0303 | 0.0304 | 0.0359 | 0.0322 | 0.9 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.99 | Other | 132 | 0.045 | 0.025 | 0.027 | 0.0323 | 0.93 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 125 | 0.0325 | 0.0313 | <0.0362 | 0.0333 | 1.16 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 109 | 0.037 | 0.037 | 0.038 | 0.0373 | 2.09 | 0.0283 | 30 | 0.0043 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, | 214 | 0.04 | 0.04 | 0.04 | 0.04 | 2.7 | 0.0283 | 30 | 0.0043 | 0 |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
| CBDA (%AR) | 004.10 | Other LC-UV | 154 | 0.069 | 0.0804 | 0.0563 | 0.0686 | 9.3 |  | 0.0283 | 30 | 0.0043 | 0 |
|  |  |  |  | CBN (%AR) |  |  |  |  |  |  |  |  |  |
| CBN (%AR) | 005.02 | AOAC 2018.11, | 210 | <0.0510 | <0.0500 | <0.0520 | <0.0510 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 212 | 0.0318 | 0.0303 | 0.0277 | 0.0299 | -2.72 | 0.042 |  | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.99 | Other | 132 | 0.027 | 0.033 | 0.035 | 0.0317 | -2.33 | 0.042 |  | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0348 | 0.0358 | 0.0359 | 0.0355 | -1.47 | 0.042 |  | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 194 | 0.0361 | 0.0371 | 0.0385 | 0.0372 | -1.08 | 0.042 |  | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, | 108 | 0.0374 | 0.0375 | 0.0376 | 0.0375 | -1.02 | 0.042 |  | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0434 | 0.0558 | 0.0149 | 0.038 | -0.9 | 0.042 |  | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, | 139 | 0.0324 | 0.0392 | 0.0441 | 0.0386 | -0.78 | 0.042 |  | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, | 214 | 0.04 | 0.04 | 0.04 | 0.04 | -0.46 | 0.042 |  | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 149 | 0.038 | 0.042 | 0.041 | 0.0403 | -0.38 | 0.042 |  | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, | 199 | 0.0405 | 0.0405 | 0.041 | 0.0407 | -0.31 | 0.042 |  | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 211 | 0.042 | 0.041 | 0.042 | 0.0417 | -0.08 | 0.042 |  | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 162 | 0.0418 | 0.0418 | 0.0428 | 0.0421 | 0.02 | 0.042 |  | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 207 | 0.042 | 0.042 | 0.042 | 0.042 | -0.01 | 0.042 |  | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 149 | 0.043 | 0.042 | 0.042 | 0.0423 | 0.07 | 0.042 |  | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 142 | 0.0428 | 0.0425 | 0.0422 | 0.0425 | 0.1 | 0.042 |  | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 122 | 0.0427 | 0.0429 | 0.0423 | 0.0426 | 0.13 | 0.042 |  | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 208 | 0.0407 | 0.0451 | 0.0423 | 0.0427 | 0.15 | 0.042 |  | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 200 | 0.043 | 0.043 | 0.042 | 0.0427 | 0.14 | 0.042 |  | 28 | 0.0045 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 154 | 0.0514 | 0.0421 | 0.0362 | 0.0432 | 0.27 | 0.042 | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 204 | 0.0442 | 0.0435 | 0.0403 | 0.0427 | 0.14 | 0.042 | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | 0.0432 | 0.0448 | 0.0441 | 0.044 | 0.45 | 0.042 | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 216 | 0.0449 | 0.0444 | 0.0447 | 0.0447 | 0.59 | 0.042 | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | 0.0461 | 0.0453 | 0.0463 | 0.0459 | 0.87 | 0.042 | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, | 125 | 0.046 | 0.046 | 0.0493 | 0.0471 | 1.13 | 0.042 | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.99 | Other | 183 | 0.046 | 0.0485 | 0.0464 | 0.047 | 1.11 | 0.042 | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 109 | 0.045 | 0.046 | 0.053 | 0.048 | 1.34 | 0.042 | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.05 | 0.05 | 0.05 | 0.05 | 1.79 | 0.042 | 28 | 0.0045 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, | 107 | 0.057 | 0.052 | 0.06 | 0.0563 | 3.21 | 0.042 | 28 | 0.0045 | 0 |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 118 | <0.1980 | <0.1980 | <0.1980 | <0.1980 |  |  |  |  | 1 |
| Total Δ9-THC (%AR) | 006.99 | Other | 183 | 0.0642 | 0.0749 | 0.0681 | 0.0691 | -4.04 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 172 | 0.107 | 0.009 | 0.11 | 0.0753 | -3.25 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.0893 | 0.0859 | 0.0897 | 0.0883 | -1.63 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 162 | 0.0923 | 0.0867 | 0.0893 | 0.0894 | -1.49 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 154 | 0.0984 | 0.0902 | 0.0833 | 0.0906 | -1.34 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 142 | 0.0946 | 0.0951 | 0.0906 | 0.0934 | -0.99 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 108 | 0.0915 | 0.1 | 0.0963 | 0.0959 | -0.68 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 132 | 0.095 | 0.098 | 0.101 | 0.098 | -0.42 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 204 | 0.102 | 0.0971 | 0.094 | 0.0977 | -0.46 | 0.1014 | 31 | 0.008 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.0906 | 0.085 | 0.1206 | 0.0987 | -0.33 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 161 | 0.1053 | 0.0993 | 0.0935 | 0.0994 | -0.25 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 200 | 0.1 | 0.1 | 0.1 | 0.1 | -0.17 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.1011 | 0.1005 | 0.0987 | 0.1 | -0.16 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 208 | 0.1061 | 0.1079 | 0.0902 | 0.101 | 0 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 199 | 0.103 | 0.1035 | 0.1005 | 0.102 | 0.12 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.0994 | 0.1025 | 0.103 | 0.102 | 0.03 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 194 | 0.1008 | 0.1026 | 0.1022 | 0.102 | 0.06 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.103 | 0.1027 | 0.1032 | 0.103 | 0.2 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 109 | 0.103 | 0.108 | 0.098 | 0.103 | 0.2 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 107 | 0.105 | 0.1 | 0.106 | 0.104 | 0.28 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 211 | 0.109 | 0.107 | 0.1 | 0.105 | 0.49 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 191 | 0.1047 | 0.1055 | 0.1055 | 0.105 | 0.48 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.11 | 0.106 | 0.106 | 0.107 | 0.74 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 125 | 0.0982 | 0.11 | 0.113 | 0.107 | 0.71 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, | 214 | 0.11 | 0.1 | 0.11 | 0.107 | 0.66 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 120 | 0.116 | 0.0987 | 0.1055 | 0.107 | 0.67 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, | 139 | 0.0953 | 0.1148 | 0.1171 | 0.109 | 0.96 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 212 | 0.1129 | 0.1165 | 0.0978 | 0.109 | 0.96 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.118 | 0.105 | 0.111 | 0.111 | 1.24 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 216 | 0.1182 | 0.117 | 0.1167 | 0.117 | 1.99 | 0.1014 | 31 | 0.008 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.1217 | 0.1191 | 0.12 | 0.12 | 2.36 | 0.1014 | 31 | 0.008 | 0 |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 0.1217 | 0.1191 | 0.12 | 0.12 | -12.76 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 1.2271 | 1.2575 | 1.2581 | 1.25 | -3.11 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 154 | 1.4619 | 1.394 | 1.3267 | 1.39 | -1.85 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, | 139 | 1.3115 | 1.5798 | 1.6041 | 1.5 | -0.96 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 200 | 1.56 | 1.54 | 1.41 | 1.5 | -0.92 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 191 | 1.5114 | 1.5166 | 1.5234 | 1.52 | -0.8 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 1.525 | 1.5211 | 1.5253 | 1.52 | -0.74 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.99 | Other | 132 | 1.573 | 1.522 | 1.538 | 1.54 | -0.57 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 215 | 1.5677 | 1.4997 | 1.5929 | 1.55 | -0.49 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 211 | 1.589 | 1.551 | 1.511 | 1.55 | -0.52 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 214 | 1.59 | 1.57 | 1.53 | 1.56 | -0.41 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 172 | 1.598 | 1.448 | 1.621 | 1.56 | -0.47 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 161 | 1.5629 | 1.5709 | 1.5673 | 1.57 | -0.37 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 1.579 | 1.582 | 1.546 | 1.57 | -0.36 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 108 | 1.582 | 1.574 | 1.577 | 1.58 | -0.28 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 125 | 1.51 | 1.62 | 1.65 | 1.59 | -0.15 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 194 | 1.5664 | 1.601 | 1.6167 | 1.59 | -0.14 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 212 | 1.6489 | 1.5912 | 1.5721 | 1.6 | -0.06 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 204 | 1.6499 | 1.6409 | 1.5511 | 1.61 | 0.03 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 208 | 1.5994 | 1.7454 | 1.5862 | 1.64 | 0.28 | 1.6106 |  | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 118 | 1.672 | 1.644 | 1.644 | 1.65 | 0.37 | 1.6106 |  | 32 | 0.1168 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.10 | Other LC-UV | 162 | 1.65 | 1.6598 | 1.6983 | 1.67 | 0.5 | 1.6106 | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 1.453 | 1.827 | 1.766 | 1.68 | 0.61 | 1.6106 | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.99 | Other | 183 | 1.6733 | 1.6814 | 1.6856 | 1.68 | 0.59 | 1.6106 | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 142 | 1.7075 | 1.6985 | 1.6662 | 1.69 | 0.69 | 1.6106 | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 199 | 1.6868 | 1.7183 | 1.7382 | 1.71 | 0.89 | 1.6106 | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 1.657 | 1.7407 | 1.7474 | 1.72 | 0.89 | 1.6106 | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 216 | 1.7439 | 1.7761 | 1.7188 | 1.75 | 1.16 | 1.6106 | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 1.7789 | 1.7159 | 1.7891 | 1.76 | 1.29 | 1.6106 | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 1.7897 | 1.7823 | 1.7582 | 1.78 | 1.42 | 1.6106 | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, | 107 | 1.78 | 2.065 | 1.734 | 1.86 | 2.13 | 1.6106 | 32 | 0.1168 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 109 | 1.929 | 1.941 | 1.848 | 1.91 | 2.53 | 1.6106 | 32 | 0.1168 | 0 |

Population of Lab Values

CBDV (%AR)

| CBDV (%AR) | 008.99 | Other | 197 | <0.0093 | <0.0094 | <0.0105 | <0.0093 |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 216 | <0.0146 | <0.0142 | <0.0155 | <0.0146 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 207 | <0.0190 | <0.0190 | <0.0190 | <0.0190 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 | <0.0210 |  |  |  |  | 1 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, | 210 | <0.0510 | <0.0500 | <0.0520 | <0.0510 |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 132 | 0 | 0.004 | 0.006 | 0.005 | -1.64 | 0.0148 | 13 | 0.006 | 0 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, | 214 | 0.01 | 0.01 | 0.01 | 0.01 | -0.8 | 0.0148 | 13 | 0.006 | 0 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, | 108 | 0.0096 | 0.0096 | 0.0098 | 0.0097 | -0.86 | 0.0148 | 13 | 0.006 | 0 |

| Analyte Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0106 | 0.0107 | 0.0106 | 0.0106 | -0.69 | 0.0148 | 13 | 0.006 | 0 |
| CBDV (%AR) | 008.99 | Other | 149 | 0.013 | 0.012 | 0.011 | 0.012 | -0.47 | 0.0148 | 13 | 0.006 | 0 |
| CBDV (%AR) | 008.99 | Other | 200 | 0.014 | 0.014 | 0.014 | 0.014 | -0.13 | 0.0148 | 13 | 0.006 | 0 |
| CBDV (%AR) | 008.99 | Other | 142 | 0.0163 | 0.0159 | 0.0157 | 0.016 | 0.2 | 0.0148 | 13 | 0.006 | 0 |
| CBDV (%AR) | 008.99 | Other | 162 | <0.0100 | 0.0175 | 0.0191 | 0.0155 | 0.13 | 0.0148 | 13 | 0.006 | 0 |
| CBDV (%AR) | 008.99 | Other | 183 | 0.016 | 0.0171 | 0.0163 | 0.0165 | 0.28 | 0.0148 | 13 | 0.006 | 0 |
| CBDV (%AR) | 008.99 | Other | 211 | 0.017 | 0.017 | 0.017 | 0.017 | 0.37 | 0.0148 | 13 | 0.006 | 0 |
| CBDV (%AR) | 008.99 | Other | 194 | 0.0175 | 0.019 | 0.0162 | 0.0176 | 0.47 | 0.0148 | 13 | 0.006 | 0 |
| CBDV (%AR) | 008.99 | Other | 208 | 0.0244 | 0.0267 | 0.0256 | 0.0256 | 1.81 | 0.0148 | 13 | 0.006 | 0 |
| CBDV (%AR) | 008.99 | Other | 109 | 0.034 | 0.033 | 0.033 | 0.0333 | 3.11 | 0.0148 | 13 | 0.006 | 0 |

Population of Lab Values

CBDVA (%AR)

| CBDVA (%AR) | 009.99 | Other | 216 | <0.0098 | <0.0095 | <0.0103 | <0.0098 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 208 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, | 214 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBDVA (%AR) | 009.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 | <0.0210 | 1 |
| CBDVA (%AR) | 009.99 | Other | 149 | <0.0400 | <0.0400 | <0.0400 | <0.0400 | 1 |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, | 210 | <0.0510 | <0.0500 | <0.0520 | <0.0510 | 1 |
| CBDVA (%AR) | 009.99 | Other | 197 | <0.0996 | <0.1002 | <0.1000 | <0.0996 | 1 |
| CBDVA (%AR) | 009.99 | Other | 183 | 0 | 0 | 0 | 0 | 2 |
| CBDVA (%AR) | 009.02 | AOAC 2018.11, | 108 | 0 | 0 | 0 | 0 | 2 |

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
|  |  |  |  |  | CBG (%AR) |  |  |  |  |  |  |  |  |
| CBG (%AR) | 010.99 | Other | 204 | 0 | 0 | 0 | 0 |  |  |  |  |  | 2 |
| CBG (%AR) | 010.99 | Other | 194 | 0.0807 | 0.0765 | 0.0791 | 0.0788 | -1.42 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 132 | 0.073 | 0 | 0.085 | 0.079 | -1.39 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 212 | 0.0843 | 0.0813 | 0.0762 | 0.0806 | -1.18 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, | 210 | 0.081 | 0.083 | 0.083 | 0.0823 | -0.95 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 211 | 0.089 | 0.086 | 0.074 | 0.083 | -0.86 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, | 125 | 0.0765 | 0.0871 | 0.0873 | 0.0836 | -0.77 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 142 | 0.0851 | 0.0856 | 0.0851 | 0.0853 | -0.56 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 154 | 0.0922 | 0.0869 | 0.0776 | 0.0856 | -0.52 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 197 | 0.0843 | 0.0878 | 0.0861 | 0.0861 | -0.45 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 162 | 0.0878 | 0.0851 | 0.0872 | 0.0867 | -0.36 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 109 | 0.088 | 0.089 | 0.084 | 0.087 | -0.32 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 216 | 0.0876 | 0.0896 | 0.0865 | 0.0879 | -0.2 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, | 108 | 0.0876 | 0.0876 | 0.0872 | 0.0875 | -0.26 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.093 | 0.089 | 0.088 | 0.09 | 0.08 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 155 | 0.09 | 0.09 | 0.09 | 0.09 | 0.08 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, | 214 | 0.09 | 0.09 | 0.09 | 0.09 | 0.08 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, | 199 | 0.0925 | 0.0915 | 0.095 | 0.093 | 0.48 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.0962 | 0.0945 | 0.0922 | 0.0943 | 0.65 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 183 | 0.093 | 0.0985 | 0.0959 | 0.0958 | 0.85 | 0.0894 |  | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 208 | 0.0935 | 0.1005 | 0.0944 | 0.0961 | 0.89 | 0.0894 |  | 25 | 0.0075 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 200 | 0.099 | 0.096 | 0.097 | 0.0973 | 1.05 | 0.0894 | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.0995 | 0.0984 | 0.0947 | 0.0975 | 1.08 | 0.0894 | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 207 | 0.091 | 0.099 | 0.101 | 0.097 | 1.01 | 0.0894 | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.11 | 0.1 | 0.11 | 0.107 | 2.3 | 0.0894 | 25 | 0.0075 | 0 |
| CBG (%AR) | 010.99 | Other | 122 | 0.1105 | 0.1107 | 0.1106 | 0.111 | 2.82 | 0.0894 | 25 | 0.0075 | 0 |

Population of Lab Values

CBGA (%AR)

| CBGA (%AR) | 011.99 | Other | 122 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.02 | AOAC 2018.11, | 125 | <0.0018 | <0.0020 | <0.0362 | <0.0018 | 1 |
| CBGA (%AR) | 011.99 | Other | 197 | <0.0093 | <0.0094 | <0.0105 | <0.0093 | 1 |
| CBGA (%AR) | 011.99 | Other | 216 | <0.0098 | <0.0095 | <0.0103 | <0.0098 | 1 |
| CBGA (%AR) | 011.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, | 214 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBGA (%AR) | 011.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBGA (%AR) | 011.99 | Other | 208 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBGA (%AR) | 011.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBGA (%AR) | 011.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |
| CBGA (%AR) | 011.99 | Other | 194 | <0.0130 | <0.0130 | <0.0130 | <0.0130 | 1 |
| CBGA (%AR) | 011.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 | <0.0210 | 1 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, | 199 | <0.0250 | <0.0250 | <0.0250 | <0.0250 | 1 |
| CBGA (%AR) | 011.99 | Other | 149 | <0.0400 | <0.0400 | <0.0400 | <0.0400 | 1 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, | 210 | <0.0510 | <0.0500 | <0.0520 | <0.0510 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 183 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| CBGA (%AR) | 011.99 | Other | 132 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, | 108 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| CBGA (%AR) | 011.99 | Other | 212 | 0.0023 | 0.0018 | 0.0009 | 0.0017 |  |  |  |  | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.0021 | 0.0022 | 0.0021 | 0.0021 |  |  |  |  | 0 |
| CBGA (%AR) | 011.99 | Other | 207 | 0.022 | 0.02 | <0.0190 | 0.0203 |  |  |  |  | 0 |
| CBGA (%AR) | 011.99 | Other | 204 | 0.102 | 0.1025 | 0.0902 | 0.0982 |  |  |  |  | 0 |
|  |  |  |  | THCV (%AR) |  |  |  |  |  |  |  |  |
| THCV (%AR) | 012.99 | Other | 211 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 200 | <0.0050 | <0.0050 | <0.0050 | <0.0050 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 197 | <0.0093 | <0.0094 | <0.0105 | <0.0093 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 216 | <0.0098 | <0.0095 | <0.0103 | <0.0098 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 142 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 208 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| THCV (%AR) | 012.02 | AOAC 2018.11, | 214 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 109 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 194 | <0.0130 | <0.0130 | <0.0130 | <0.0130 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 | <0.0210 |  |  |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 149 | <0.0400 | <0.0400 | <0.0400 | <0.0400 |  |  |  |  | 1 |
| THCV (%AR) | 012.02 | AOAC 2018.11, | 210 | <0.0510 | <0.0500 | <0.0520 | <0.0510 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 183 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| THCV (%AR) | 012.02 | AOAC 2018.11, | 108 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| THCV (%AR) | 012.99 | Other | 132 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |
| THCV (%AR) | 012.99 | Other | 189 | 0.0081 | 0.0087 | 0.0086 | 0.0085 |  |  |  |  | 0 |

Population of Lab Values

Δ8-THC (%AR)

| Δ8-THC (%AR) | 013.99 | Other | 183 | 0.2525 | 0.2582 | 0.2656 | 0.259 | -4.72 | 0.3555 | 26 | 0.0205 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, | 210 | 0.26 | 0.289 | 0.281 | 0.277 | -3.85 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 154 | 0.3115 | 0.2875 | 0.2713 | 0.29 | -3.19 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.3258 | 0.3346 | 0.3321 | 0.331 | -1.2 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 211 | 0.35 | 0.341 | 0.333 | 0.341 | -0.69 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 162 | 0.3381 | 0.3417 | 0.3506 | 0.343 | -0.59 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.03 | AOAC 2018.11, | 122 | 0.3438 | 0.3431 | 0.3433 | 0.343 | -0.59 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 194 | 0.3366 | 0.3467 | 0.3509 | 0.345 | -0.52 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 200 | 0.349 | 0.344 | 0.342 | 0.345 | -0.51 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | 0.36 | 0.35 | 0.34 | 0.35 | -0.27 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, | 214 | 0.36 | 0.35 | 0.34 | 0.35 | -0.27 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | 0.36 | 0.34 | 0.36 | 0.353 | -0.11 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 212 | 0.3542 | 0.3586 | 0.3594 | 0.357 | 0.09 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 207 | 0.358 | 0.359 | 0.358 | 0.358 | 0.14 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 208 | 0.3608 | 0.3713 | 0.3501 | 0.361 | 0.26 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.03 | AOAC 2018.11, | 139 | 0.3198 | 0.3794 | 0.3887 | 0.363 | 0.35 | 0.3555 | 26 | 0.0205 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 142 | 0.368 | 0.3641 | 0.3571 | 0.363 | 0.37 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, | 108 | 0.3655 | 0.3628 | 0.3602 | 0.363 | 0.36 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 109 | 0.366 | 0.366 | 0.36 | 0.364 | 0.42 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | 0.3653 | 0.3678 | 0.3642 | 0.366 | 0.5 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.3499 | 0.3357 | 0.4131 | 0.366 | 0.52 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 216 | 0.3715 | 0.3719 | 0.3676 | 0.37 | 0.72 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | 0.3734 | 0.3742 | 0.3923 | 0.38 | 1.19 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, | 199 | 0.376 | 0.384 | 0.388 | 0.383 | 1.33 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 209 | 0.4104 | 0.4136 | 0.4185 | 0.414 | 2.86 | 0.3555 | 26 | 0.0205 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 118 | 0.465 | 0.445 | 0.575 | 0.495 | 6.81 | 0.3555 | 26 | 0.0205 | 0 |
|  |  |  |  |  | CBC (%AR) |  |  |  |  |  |  |  |
| CBC (%AR) | 014.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| CBC (%AR) | 014.99 | Other | 154 | 0.1073 | 0.0976 | 0.0943 | 0.0997 | -1.68 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.1023 | 0.1045 | 0.1048 | 0.104 | -1.35 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 155 | 0.117 | 0.0977 | 0.0996 | 0.105 | -1.28 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 212 | 0.1059 | 0.1105 | 0.0974 | 0.105 | -1.3 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 132 | 0.109 | 0.109 | 0.111 | 0.11 | -0.89 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 211 | 0.119 | 0.115 | 0.109 | 0.114 | -0.52 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 162 | 0.1173 | 0.1139 | 0.1174 | 0.116 | -0.37 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 208 | 0.1155 | 0.1209 | 0.1117 | 0.116 | -0.38 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 194 | 0.1145 | 0.1157 | 0.1187 | 0.116 | -0.36 | 0.1208 | 24 | 0.0125 | 0 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.02 | AOAC 2018.11, | 125 | 0.115 | 0.121 | 0.119 | 0.118 | -0.2 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, | 214 | 0.12 | 0.12 | 0.12 | 0.12 | -0.06 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, | 108 | 0.12 | 0.121 | 0.1195 | 0.12 | -0.05 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 142 | 0.1206 | 0.1206 | 0.1184 | 0.12 | -0.08 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, | 199 | 0.1225 | 0.124 | 0.1205 | 0.122 | 0.12 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.124 | 0.121 | 0.121 | 0.122 | 0.09 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 204 | 0.1293 | 0.129 | 0.1229 | 0.127 | 0.5 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 207 | 0.128 | 0.129 | 0.128 | 0.128 | 0.6 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 216 | 0.1282 | 0.1285 | 0.126 | 0.128 | 0.54 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 109 | 0.128 | 0.129 | 0.129 | 0.129 | 0.63 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.1287 | 0.1291 | 0.1285 | 0.129 | 0.64 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.1284 | 0.1281 | 0.1338 | 0.13 | 0.74 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 200 | 0.142 | 0.139 | 0.137 | 0.139 | 1.48 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, | 103 | 0.141 | 0.148 | 0.132 | 0.14 | 1.56 | 0.1208 | 24 | 0.0125 | 0 |
| CBC (%AR) | 014.99 | Other | 183 | 0.1279 | 0.1793 | 0.2167 | 0.175 | 4.3 | 0.1208 | 24 | 0.0125 | 0 |

Population of Lab Values

Cd (ug/g AR)

| Cd (ug/g AR) | 101.04 | ICP-MS | 183 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 122 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 214 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 194 | <0.0200 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | <0.0241 | <0.0241 | <0.0241 | <0.0241 |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | <0.0996 | <0.1002 | <0.1000 | <0.0996 |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 211 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.03 | ICP-OES | 132 | 0.0138 |  |  | 0.0138 |  |  |  |  | 1 |
|  |  |  |  | As (ug/g AR) |  |  |  |  |  |  |  |  |
| As (ug/g AR) | 102.04 | ICP-MS | 122 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0050 | <0.0050 | <0.0050 | <0.0050 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 214 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 194 | <0.0200 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | <0.0482 | <0.0482 | <0.0482 | <0.0482 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0996 | <0.1002 | <0.1000 | <0.0996 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 211 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| As (ug/g AR) | 102.03 | ICP-OES | 132 | 0.2 |  |  | 0.2 |  |  |  |  | 1 |
|  |  |  |  | Hg (ug/g AR) |  |  |  |  |  |  |  |  |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | <0.0005 <0.0005 <0.0005 |  |  | <0.0005 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 122 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | <0.0072 | <0.0072 | <0.0072 | <0.0072 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 214 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 183 | <0.0120 | <0.0120 | <0.0120 | <0.0120 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 194 | <0.0200 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0996 | <0.1002 | <0.1000 | <0.0996 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 211 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
|  |  |  |  | Pb (ug/g AR) |  |  |  |  |  |  |  |  |
| Pb (ug/g AR) | 104.04 | ICP-MS | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 183 | <0.0020 | <0.0020 | <0.0020 | <0.0020 |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | <0.0050 | <0.0050 | <0.0050 | <0.0050 |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 214 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 194 | <0.0200 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | <0.0722 | <0.0722 | <0.0722 | <0.0722 |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | <0.0996 | <0.1002 | <0.1000 | <0.0996 |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 211 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | <0.2000 |  |  |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 122 | 0.0139 | 0.041 | 0.0137 | 0.0229 |  |  |  |  | 0 |
| Pb (ug/g AR) | 104.02 | furnace AA | 132 | 0.28 |  |  | 0.28 |  |  |  |  | 1 |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
|  |  |  |  | Cu (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Cu (ug/g AR) | 105.04 | ICP-MS | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |  |  |  |  |  |
| Cu (ug/g AR) | 105.04 | ICP-MS | 214 | <0.0500 | <0.0500 | <0.0500 | <0.0500 | 1 |  |  |  |  |  |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | <0.4890 | <0.4890 | <0.4890 | <0.4890 | 1 |  |  |  |  |  |
| Cu (ug/g AR) | 105.03 | ICP-OES | 132 | 0.08 |  |  | 0.08 | 1 |  |  |  |  |  |
|  |  |  |  | Ni (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 214 | <0.1000 | <0.1000 | <0.1000 | <0.1000 | 1 |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | <0.7220 | <0.7220 | <0.7220 | <0.7220 | 1 |  |  |  |  |  |
| Ni (ug/g AR) | 106.03 | ICP-OES | 132 | 0.08 |  |  | 0.08 | 1 |  |  |  |  |  |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 | 1 |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | <0.0722 | <0.0722 | <0.0722 | <0.0722 | 1 |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | <0.0996 | <0.1002 | <0.1000 | <0.0996 | 1 |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 214 | <0.0200 | <0.0200 | 0.044 | 0.028 | 1 |  |  |  |  |  |
|  |  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 142 | <0.0010 <0.0010 <0.0010 |  |  | <0.0010 | 1 |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | <0.0963 <0.0963 <0.0963 |  |  | <0.0963 | 1 |  |  |  |  |  |

Population of Lab Values

| Analyte | Code |  | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Se (ug/g AR) | 108.04 |  | ICP-MS | 197 | <0.0996 | <0.1002 | <0.1000 | <0.0996 |  |  |  |  | 1 |
| Se (ug/g AR) | 108.04 |  | ICP-MS | 214 | <0.1000 | <0.1000 | <0.1000 | <0.1000 |  |  |  |  | 1 |
|  |  |  |  |  | Ag (ug/g AR) |  |  |  |  |  |  |  |  |
| Ag (ug/g AR) | 109.04 |  | ICP-MS | 214 | <0.0500 <0.0500 <0.0500 |  |  | <0.0500 |  |  |  |  | 1 |
| Ag (ug/g AR) | 109.03 |  | ICP-OES | 132 | 0.088 |  |  | 0.088 |  |  |  |  | 1 |
|  |  |  |  |  | Ba (ug/g AR) |  |  |  |  |  |  |  |  |
| Ba (ug/g AR) | 110.04 |  | ICP-MS | 214 | 0.022 | 0.02 | 0.052 | 0.0313 |  |  |  |  | 0 |
| Ba (ug/g AR) | 110.03 |  | ICP-OES | 132 | 0.16 |  |  | 0.16 |  |  |  |  | 1 |
|  |  |  |  |  | Zn (ug/g AR) |  |  |  |  |  |  |  |  |
| Zn (ug/g AR) | 111.04 |  | ICP-MS | 142 | <0.0010 | <0.0010 | <0.0010 | <0.0010 |  |  |  |  | 1 |
| Zn (ug/g AR) | 111.04 |  | ICP-MS | 196 | <0.4890 | <0.4890 | <0.4890 | <0.4890 |  |  |  |  | 1 |
| Zn (ug/g AR) | 111.03 |  | ICP-OES | 132 | 0.16 |  |  | 0.16 |  |  |  |  | 1 |
|  |  |  |  |  | Sb (ug/g AR) |  |  |  |  |  |  |  |  |
| Sb (ug/g AR) | 112.04 |  | ICP-MS | 214 | <0.0100 <0.0100 <0.0100 |  |  | <0.0100 |  |  |  |  | 1 |
| Sb (ug/g AR) | 112.04 |  | ICP-MS | 196 | <0.0241 <0.0241 <0.0241 |  |  | <0.0241 |  |  |  |  | 1 |
|  |  |  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |  |  |  |
| (-)-alpha-Bisabolol (%A |  | 201.02 | GC,MS | 196 | <0.0013 <0.0013 <0.0013 |  |  | <0.0013 |  |  |  |  | 1 |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 211 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 142 | 0.0004 | 0.0004 | 0.0004 | 0.0004 |  |  |  |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 194 | 0.0018 | 0.002 | 0.0025 | 0.0021 |  |  |  |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 183 | 0.0016 | 0.0016 | 0.0016 | 0.0016 |  |  |  |  | 0 |
|  |  |  |  | beta-Caryophyllene (%AR) |  |  |  |  |  |  |  |  |
| beta-Caryophyllene (% | 202.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 |  |  |  |  | 1 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  | 1 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | <0.0013 | 0.0014 | 0.0015 | 0.0014 |  |  |  |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 142 | 0.0018 | 0.0018 | 0.0018 | 0.0018 |  |  |  |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 183 | 0.0032 | 0.0031 | 0.0034 | 0.0032 |  |  |  |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 194 | 0.0025 | 0.0029 | 0.0028 | 0.0027 |  |  |  |  | 0 |
|  |  |  | (-)-Caryophyllene oxide (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 142 | <0.0001 | <0.0001 | <0.0001 | <0.0001 |  |  |  |  | 1 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  | 1 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  | 1 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 |  |  |  |  | 1 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 183 | 0 | 0 | 0 | 0 |  |  |  |  | 2 |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
|  |  |  |  | Geraniol (%AR) |  |  |  |  |  |  |  |  |  |
| Geraniol (%AR) | 204.02 | GC,MS | 142 | <0.0001 | <0.0001 | <0.0001 | <0.0001 | 1 |  |  |  |  |  |
| Geraniol (%AR) | 204.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| Geraniol (%AR) | 204.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |  |  |  |  |  |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| Geraniol (%AR) | 204.02 | GC,MS | 183 | 0 | 0 | 0 | 0 | 2 |  |  |  |  |  |
|  |  |  |  | alpha-Humulene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 142 | 0.0005 | 0.0005 | 0.0005 | 0.0005 | 0 |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 183 | 0.0012 | 0.0013 | 0.0013 | 0.0013 | 0 |  |  |  |  |  |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 194 | 0.001 | 0.001 | 0.001 | 0.001 | 0 |  |  |  |  |  |
|  |  |  |  | d-Limonene (%AR) |  |  |  |  |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| d-Limonene (%AR) | 206.02 | GC,MS | 142 | 0.0002 | 0.0002 | 0.0002 | 0.0002 | 0 |  |  |  |  |  |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
| d-Limonene (%AR) | 206.02 | GC,MS | 183 | 0.0008 | 0.0008 | 0.0007 | 0.0008 | 0 |  |  |  |  |  |
|  |  |  |  | Linalool (%AR) |  |  |  |  |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 211 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 142 | 0.0002 | 0.0001 | 0.0001 | 0.0001 | 0 |  |  |  |  |  |
| Linalool (%AR) | 207.02 | GC,MS | 183 | 0 | 0 | 0 | 0 | 2 |  |  |  |  |  |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 142 | 0.0002 | 0.0002 | 0.0002 | 0.0002 | 0 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 183 | 0.0013 | 0.0013 | 0.0013 | 0.0013 | 0 |  |  |  |  |  |
|  |  |  |  | Nopinene (%AR) |  |  |  |  |  |  |  |  |  |
| Nopinene (%AR) | 209.02 | GC,MS | 211 | <0.0050 <0.0050 <0.0050 |  |  | <0.0050 | 1 |  |  |  |  |  |
| Nopinene (%AR) | 209.02 | GC,MS | 183 | 0.0003 | 0.0004 | 0.0004 | 0.0004 | 0 |  |  |  |  |  |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
|  |  |  |  | Ocimene (%AR) |  |  |  |  |  |  |  |  |  |
| Ocimene (%AR) | 210.04 | Other | 142 | <0.0001 | <0.0001 | <0.0001 | <0.0001 | 1 |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 183 | 0 | 0 | 0 | 0 | 2 |  |  |  |  |  |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 142 | 0.0001 | <0.0001 | 0.0001 | 0.0001 | 0 |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 183 | 0.0006 | 0.0006 | 0.0005 | 0.0006 | 0 |  |  |  |  |  |
|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 142 | <0.0001 | <0.0001 | <0.0001 | <0.0001 | 1 |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |

Population of Lab Values

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | Value | Z score |  | Rob Mean | n | Rob StDev | Flag |
|  |  |  |  | alpha-Terpinene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 142 | <0.0001 | <0.0001 | <0.0001 | <0.0001 | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 183 | 0 | 0 | 0 | 0 | 2 |  |  |  |  |  |
|  |  |  |  | gamma-Terpinene (%AR) |  |  |  |  |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 142 | <0.0001 | <0.0001 | <0.0001 | <0.0001 | 1 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 183 | 0 | 0 | 0 | 0 | 2 |  |  |  |  |  |
|  |  |  |  | alpha-Terpinolene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 142 | <0.0001 | <0.0001 | <0.0001 | <0.0001 | 1 |  |  |  |  |  |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | <0.0004 | 1 |  |  |  |  |  |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | <0.0013 | 1 |  |  |  |  |  |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 211 | <0.0050 | <0.0050 | <0.0050 | <0.0050 | 1 |  |  |  |  |  |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | <0.0100 | 1 |  |  |  |  |  |

Population of Lab Values

| Analyte | Code | Method | Lab Num | Result1 Result2 Result3 |  |  | Lab Value | Z score | Rob Mean | n | Rob StDev | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 183 | 0 | 0 | 0 | 0 | 2 |  |  |  |  |

Population of Lab Values

Moisture (%AR)

Moisture (%AR)

500.99	Other

142

3.81	4.24	4.65	4.23	0

- Flag definitions: 1 (Lab Value not used because there were less than 2 numeric lab results), 2 (Lab Value not used because there were less than 2 numeric lab results greater than 0).

- Robust statistics performed to determine robust mean and Z scores only if there were 6 or more numeric lab values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.