Hemp Proficiency Testing

All Labs Precision OL22NOV-1 (oil)

Sample: OL22NOV-1 (oil)

All Labs Precision

Issue Date:

January 20, 2023

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Δ9-THC (%AR)

RSDr	HorRat(r)

Population of Lab RSDr Rob Mean	min	max

Flag

| Δ9-THC (%AR) | 001.30 | Other LC-MS | 190 | 0.124 | 0.115 |  |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.1 | 0.1 | 0.1 | 0 | 0 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.1018 | 0.1018 | 0.1016 | 0.11 | 0.02 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.096 | 0.096 | 0.0955 | 0.3 | 0.05 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 204 | 0.1756 | 0.1768 | 0.1768 | 0.39 | 0.08 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 200 | 0.099 | 0.1 | 0.099 | 0.58 | 0.1 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 103 | 0.19 | 0.191 | 0.193 | 0.8 | 0.16 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 125 | 0.105 | 0.103 | 0.104 | 0.96 | 0.17 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 194 | 0.1014 | 0.1003 | 0.0994 | 1 | 0.18 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.0928 | 0.0934 | 0.0915 | 1.05 | 0.18 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.0978 | 0.0958 | 0.0959 | 1.17 | 0.21 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 120 | 0.0672 | 0.0665 | 0.0691 | 1.99 | 0.33 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.1079 | 0.1037 | 0.105 | 2.04 | 0.36 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.094 | 0.098 | 0.093 | 2.79 | 0.49 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 196 | 0.093 | 0.0905 | 0.0962 | 3.06 | 0.54 | 3.41 | 0 | 30.2 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 170 | 0.3255 | 0.3079 | 0.3142 | 2.82 | 0.6 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 162 | 0.082 | 0.0877 | 0.0828 | 3.67 | 0.63 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | 0.0995 | 0.1019 | 0.1093 | 4.93 | 0.88 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 210 | 0.086 | 0.085 | 0.078 | 5.25 | 0.91 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 192 | 0.0781 | 0.0692 | 0.0705 | 6.62 | 1.12 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.1003 | 0.0997 | 0.113 | 7.2 | 1.29 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 149 | 0.109 | 0.093 | 0.093 | 9.39 | 1.66 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 183 | 0.109 | 0.093 | 0.084 | 13.3 | 2.34 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 155 | 0.126 | 0.164 | 0.13 | 14.9 | 2.78 | 3.41 | 0 | 30.2 | 0 |
| Δ9-THC (%AR) | 001.60 | NIR | 187 | 1.1 | 0.8 | 0.6 | 30.2 | 7.36 | 3.41 | 0 | 30.2 | 0 |

Lab

Population of Lab RSDr

Δ9-THCA (%AR)

| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.99 | Other | 183 | 0 | 0 | 0 | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 190 | 0.0002 | 0.0002 |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 194 | <0.0067 | <0.0067 | <0.0067 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 170 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | <0.0205 | <0.0205 | <0.0205 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ9-THCA (%AR) | 002.60 | NIR | 187 | <0.0500 | <0.0500 | <0.0500 | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 200 | <0.0100 | <0.0100 | <0.0100 | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | <0.0400 | <0.0400 | <0.0400 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 155 | 0.029 | 0.033 | 0 |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | <0.0196 | <0.0187 | <0.0184 |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | <0.0040 | <0.0040 | <0.0040 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | <0.0400 | <0.0400 | <0.0400 |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 103 | <0.0005 | <0.0005 | <0.0005 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 120 | <0.0025 | <0.0025 | <0.0025 |  |  | 1 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 210 | <0.0490 | <0.0500 | <0.0480 |  |  | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | <0.0020 | <0.0171 | <0.0016 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0092 | <0.0088 | <0.0101 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0089 | 0.0098 | 0.0094 | 4.81 | 0.6 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.0337 | 0.0307 | 0.0312 | 5.04 | 0.75 | 0 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | 0.0046 | 0.0046 | 0.0036 | 13.5 | 1.5 | 0 |

Lab

Population of Lab RSDr

CBD (%AR)

| CBD (%AR) | 003.30 | Other LC-MS | 190 | 1.891 | 1.892 |  |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 1.6012 | 1.6012 | 1.6016 | 0.01 | 0 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 204 | 1.7111 | 1.7148 | 1.7137 | 0.11 | 0.03 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 1.7711 | 1.77 | 1.777 | 0.21 | 0.06 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 1.351 | 1.3544 | 1.3438 | 0.4 | 0.11 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 1.74 | 1.71 | 1.73 | 0.88 | 0.24 | 2.83 | 0.01 | 47.6 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 210 | 1.617 | 1.595 | 1.584 | 1.05 | 0.28 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 103 | 3.178 | 3.233 | 3.229 | 0.95 | 0.28 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 1.66 | 1.678 | 1.636 | 1.27 | 0.34 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 1.7115 | 1.757 | 1.73 | 1.32 | 0.36 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 194 | 1.731 | 1.7488 | 1.6932 | 1.65 | 0.45 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 200 | 1.664 | 1.706 | 1.645 | 1.87 | 0.51 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 1.62 | 1.59 | 1.56 | 1.89 | 0.51 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 1.5875 | 1.5309 | 1.5262 | 2.2 | 0.59 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 1.8188 | 1.8331 | 1.8981 | 2.28 | 0.63 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 162 | 1.8666 | 1.7815 | 1.7837 | 2.68 | 0.73 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 170 | 1.6675 | 1.5559 | 1.5577 | 4.01 | 1.08 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 1.8043 | 1.6878 | 1.6285 | 5.24 | 1.42 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 155 | 1.63 | 1.81 | 1.76 | 5.36 | 1.46 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 1.744 | 1.579 | 1.729 | 5.42 | 1.47 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 102 | 1.7002 | 1.6149 | 1.8076 | 5.65 | 1.54 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 1.3319 | 1.171 | 1.1941 | 7.06 | 1.83 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.99 | Other | 183 | 1.821 | 1.492 | 1.441 | 13 | 3.49 | 2.83 | 0.01 | 47.6 | 0 |
| CBD (%AR) | 003.60 | NIR | 187 | 0.7 | 1.9 | 1.2 | 47.6 | 12.36 | 2.83 | 0.01 | 47.6 | 0 |
|  |  |  |  | CBDA (%AR) |  |  |  |  |  |  |  |  |
| CBDA (%AR) | 004.60 | NIR | 187 | 0.65 <0.0500 |  | <0.0500 |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.30 | Other LC-MS | 190 | 0.065 | 0.052 |  |  |  |  |  |  | 1 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 200 | 0.058 | 0.058 | 0.058 | 0 | 0 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | 0.06 | 0.06 | 0.06 | 0 | 0 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 122 | 0.0691 | 0.0698 | 0.0694 | 0.51 | 0.08 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 204 | 0.0574 | 0.0574 | 0.0583 | 0.9 | 0.15 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | 0.058 | 0.057 | 0.058 | 1 | 0.16 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 194 | 0.0633 | 0.0625 | 0.062 | 1.05 | 0.17 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | 0.0614 | 0.0599 | 0.0606 | 1.24 | 0.2 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | 0.0585 | 0.06 | 0.0595 | 1.29 | 0.21 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 0.0339 | 0.0327 | 0.0338 | 1.99 | 0.3 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 0.0553 | 0.0558 | 0.0538 | 1.89 | 0.31 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 162 | 0.0583 | 0.0557 | 0.0556 | 2.71 | 0.44 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | 0.0555 | 0.0589 | 0.0569 | 2.99 | 0.49 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.01 | AOAC 2018.10 | 210 | 0.057 | 0.054 | 0.057 | 3.09 | 0.5 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 0.042 | 0.0399 | 0.0393 | 3.51 | 0.54 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 0.0544 | 0.0566 | 0.0583 | 3.46 | 0.56 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 103 | 0.115 | 0.119 | 0.111 | 3.48 | 0.63 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | 0.055 | 0.049 | 0.056 | 7.1 | 1.15 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | 0.0693 | 0.0605 | 0.0596 | 8.49 | 1.41 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 155 | 0.112 | 0.133 | 0.119 | 8.81 | 1.61 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.99 | Other | 183 | 0.073 | 0.057 | 0.058 | 14.3 | 2.37 | 3.31 | 0 | 15.1 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 170 | 0.0606 | 0.0787 | 0.0807 | 15.1 | 2.56 | 3.31 | 0 | 15.1 | 0 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

CBN (%AR)

| CBN (%AR) | 005.10 | Other LC-UV | 149 | <0.0400 | <0.0400 | <0.0400 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.20 | Other LC-MS | 190 | 0.041 | 0.04 |  |  |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 210 | <0.0460 | <0.0460 | <0.0450 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.20 | Other LC-MS | 102 | <0.0489 | <0.0468 | <0.0377 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 200 | 0.033 | 0.033 | 0.033 | 0 | 0 | 4.45 | 0 | 23.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.03 | 0.03 | 0.03 | 0 | 0 | 4.45 | 0 | 23.6 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 122 | 0.0491 | 0.0485 | 0.0488 | 0.62 | 0.1 | 4.45 | 0 | 23.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 194 | 0.0318 | 0.0321 | 0.0316 | 0.79 | 0.12 | 4.45 | 0 | 23.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.027 | 0.0272 | 0.0266 | 1.13 | 0.17 | 4.45 | 0 | 23.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 162 | 0.0352 | 0.0344 | 0.0342 | 1.53 | 0.23 | 4.45 | 0 | 23.6 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 125 | 0.0363 | 0.0352 | 0.0357 | 1.54 | 0.23 | 4.45 | 0 | 23.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 204 | 0.0329 | 0.032 | 0.0318 | 1.82 | 0.27 | 4.45 | 0 | 23.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | 0.0345 | 0.0358 | 0.0358 | 2.12 | 0.32 | 4.45 | 0 | 23.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | 0.0314 | 0.0302 | 0.0318 | 2.67 | 0.4 | 4.45 | 0 | 23.6 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 149 | 0.031 | 0.03 | 0.033 | 4.88 | 0.73 | 4.45 | 0 | 23.6 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0209 | 0.0183 | 0.0183 | 7.83 | 1.08 | 4.45 | 0 | 23.6 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0347 | 0.0287 | 0.0305 | 9.84 | 1.47 | 4.45 | 0 | 23.6 | 0 |
| CBN (%AR) | 005.99 | Other | 183 | 0.037 | 0.031 | 0.03 | 11.6 | 1.74 | 4.45 | 0 | 23.6 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0314 | 0.0418 | 0.0337 | 15.3 | 2.33 | 4.45 | 0 | 23.6 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 107 | 0.0192 | 0.0276 | 0.0311 | 23.6 | 3.41 | 4.45 | 0 | 23.6 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.096 | 0.096 | 0.0955 | 0.3 | 0.05 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 200 | 0.099 | 0.1 | 0.099 | 0.58 | 0.1 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 204 | 0.1756 | 0.1768 | 0.1784 | 0.79 | 0.15 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 103 | 0.19 | 0.191 | 0.193 | 0.8 | 0.16 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.105 | 0.103 | 0.104 | 0.96 | 0.17 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 194 | 0.1014 | 0.1003 | 0.0994 | 1 | 0.18 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.1035 | 0.1056 | 0.1045 | 1 | 0.18 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.1006 | 0.102 | 0.0998 | 1.1 | 0.2 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.1019 | 0.0999 | 0.099 | 1.48 | 0.26 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 120 | 0.0672 | 0.0655 | 0.0691 | 2.68 | 0.45 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.0888 | 0.0938 | 0.0915 | 2.74 | 0.48 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.094 | 0.098 | 0.093 | 2.79 | 0.49 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.093 | 0.0905 | 0.0962 | 3.06 | 0.54 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 162 | 0.082 | 0.0877 | 0.0828 | 3.67 | 0.63 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 210 | 0.129 | 0.129 | 0.12 | 4.12 | 0.76 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.0995 | 0.1019 | 0.1093 | 4.93 | 0.88 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1077 | 0.0962 | 0.0979 | 6.17 | 1.1 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.1003 | 0.103 | 0.113 | 6.35 | 1.13 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.109 | 0.093 | 0.093 | 9.39 | 1.66 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 183 | 0.109 | 0.093 | 0.084 | 13.3 | 2.34 | 4.16 | 0.3 | 30.2 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.0806 | 0.1096 | 0.1052 | 15.9 | 2.81 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 155 | 0.152 | 0.164 | 0.215 | 18.9 | 3.65 | 4.16 | 0.3 | 30.2 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 187 | 1.1 | 0.8 | 0.6 | 30.2 | 7.36 | 4.16 | 0.3 | 30.2 | 0 |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.10 | Other LC-UV | 204 | 1.7614 | 1.7651 | 1.7648 | 0.12 | 0.03 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 1.8188 | 1.8196 | 1.8281 | 0.28 | 0.08 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 1.3995 | 1.4034 | 1.391 | 0.45 | 0.12 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 103 | 3.2789 | 3.3374 | 3.3263 | 0.94 | 0.28 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 1.66 | 1.678 | 1.636 | 1.27 | 0.34 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 1.7628 | 1.8096 | 1.7822 | 1.32 | 0.36 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 194 | 1.7865 | 1.8036 | 1.7476 | 1.61 | 0.44 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 2.1951 | 2.1289 | 2.1751 | 1.57 | 0.44 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.01 | AOAC 2018.10 | 210 | 0.17 | 0.167 | 0.162 | 2.43 | 0.47 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 200 | 1.715 | 1.757 | 1.696 | 1.81 | 0.49 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 1.68 | 1.64 | 1.62 | 1.86 | 0.5 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 1.8675 | 1.8848 | 1.948 | 2.23 | 0.62 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 162 | 1.9177 | 1.83 | 1.832 | 2.69 | 0.74 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 1.7909 | 1.8986 | 1.9756 | 4.91 | 1.35 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 1.8651 | 1.7408 | 1.6808 | 5.33 | 1.46 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 1.792 | 1.622 | 1.778 | 5.45 | 1.48 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 155 | 1.73 | 1.93 | 1.86 | 5.52 | 1.51 | 3.37 | 0.12 | 25.8 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 1.3687 | 1.206 | 1.2285 | 6.95 | 1.81 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 107 | 1.5453 | 1.9466 | 1.9469 | 12.8 | 3.5 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.99 | Other | 183 | 1.885 | 1.542 | 1.492 | 13 | 3.52 | 3.37 | 0.12 | 25.8 | 0 |
| Total CBD (%AR) | 007.60 | NIR | 187 | 1.3 | 1.9 | 1.2 | 25.8 | 6.85 | 3.37 | 0.12 | 25.8 | 0 |

Lab

Population of Lab RSDr

CBDV (%AR)

| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 210 | <0.0450 | <0.0460 | <0.0450 |  |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 |  |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 197 | <0.0138 | <0.0132 | <0.0151 |  |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 200 | 0.013 | 0.013 | 0.013 | 0 | 0 | 5.82 | 0 | 13.1 | 0 |
| CBDV (%AR) | 008.99 | Other | 194 | 0.0126 | 0.0124 | 0.0125 | 0.8 | 0.1 | 5.82 | 0 | 13.1 | 0 |
| CBDV (%AR) | 008.99 | Other | 149 | 0.012 | 0.011 | 0.011 | 5.09 | 0.65 | 5.82 | 0 | 13.1 | 0 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.0094 | 0.0097 | 0.0107 | 6.85 | 0.86 | 5.82 | 0 | 13.1 | 0 |
| CBDV (%AR) | 008.99 | Other | 183 | 0.014 | 0.012 | 0.012 | 9.12 | 1.19 | 5.82 | 0 | 13.1 | 0 |
| CBDV (%AR) | 008.99 | Other | 162 | 0.0158 | 0.0156 | 0.0124 | 13.1 | 1.74 | 5.82 | 0 | 13.1 | 0 |

CBDVA (%AR)

| CBDVA (%AR) | 009.99 | Other | 183 | 0 | 0 | 0 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 197 | <0.0092 | <0.0088 | <0.0101 | 1 |
| CBDVA (%AR) | 009.01 | AOAC 2018.10 | 210 | <0.0490 | <0.0490 | <0.0480 | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 |  | 1 |
| CBDVA (%AR) | 009.99 | Other | 149 | <0.0400 | <0.0400 | <0.0400 |  | 1 |

Lab

Population of Lab RSDr

CBG (%AR)

| CBG (%AR) | 010.99 | Other | 200 | 0.08 | 0.08 | 0.08 | 0 | 0 | 3.03 | 0 | 13.9 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 199 | 0.075 | 0.0755 | 0.0755 | 0.38 | 0.07 | 3.03 | 0 | 13.9 | 0 |
| CBG (%AR) | 010.99 | Other | 194 | 0.0764 | 0.0758 | 0.0754 | 0.66 | 0.11 | 3.03 | 0 | 13.9 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.0951 | 0.0956 | 0.0939 | 0.92 | 0.16 | 3.03 | 0 | 13.9 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.0732 | 0.0717 | 0.0712 | 1.44 | 0.24 | 3.03 | 0 | 13.9 | 0 |
| CBG (%AR) | 010.01 | AOAC 2018.10 | 210 | 0.076 | 0.076 | 0.074 | 1.53 | 0.26 | 3.03 | 0 | 13.9 | 0 |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.0786 | 0.0762 | 0.0776 | 1.56 | 0.27 | 3.03 | 0 | 13.9 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.068 | 0.065 | 0.066 | 2.3 | 0.38 | 3.03 | 0 | 13.9 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.14 | 0.13 | 0.13 | 4.33 | 0.8 | 3.03 | 0 | 13.9 | 0 |
| CBG (%AR) | 010.99 | Other | 162 | 0.0819 | 0.0711 | 0.078 | 7.1 | 1.21 | 3.03 | 0 | 13.9 | 0 |
| CBG (%AR) | 010.99 | Other | 197 | 0.0603 | 0.0706 | 0.0671 | 7.94 | 1.32 | 3.03 | 0 | 13.9 | 0 |
| CBG (%AR) | 010.99 | Other | 183 | 0.085 | 0.071 | 0.065 | 13.9 | 2.36 | 3.03 | 0 | 13.9 | 0 |

| CBGA (%AR) |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 197 | <0.0092 | <0.0088 | <0.0101 | 1 |
| CBGA (%AR) | 011.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 | 1 |
| CBGA (%AR) | 011.99 | Other | 149 | <0.0400 | <0.0400 | <0.0400 | 1 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| CBGA (%AR) | 011.01 | AOAC 2018.10 | 210 | <0.0490 | <0.0490 | <0.0480 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 194 | <0.0067 | <0.0067 | <0.0067 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 183 | 0 | 0 | 0 |  |  | 1 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | <0.0020 | 0.0021 | 0.0018 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 204 | 0.0766 | 0.0741 | 0.0767 | 1.94 | 0.33 | 0 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.0031 | 0.0033 | 0.0028 | 8.21 | 0.86 | 0 |

Lab

Population of Lab RSDr

THCV (%AR)

| THCV (%AR) | 012.99 | Other | 194 | <0.0067 | <0.0067 | <0.0067 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 149 | <0.0400 | <0.0400 | <0.0400 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 197 | <0.0092 | <0.0088 | <0.0101 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 183 | 0 | 0 | 0 |  |  | 1 |
| THCV (%AR) | 012.02 | AOAC 2018.11, U | 210 | <0.0460 | <0.0460 | <0.0450 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 200 | <0.0050 | <0.0050 | <0.0050 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 189 | 0.0033 | 0.0032 | 0.0029 | 6.64 | 0.7 | 0 |

Δ8-THC (%AR)

| Δ8-THC (%AR) | 013.99 | Other | 200 | 0.275 | 0.275 | 0.273 | 0.42 | 0.09 | 3.18 | 0.42 | 11 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 194 | 0.2676 | 0.2673 | 0.2653 | 0.47 | 0.1 | 3.18 | 0.42 | 11 | 0 |
| Δ8-THC (%AR) | 013.02 | AOAC 2018.11, U | 199 | 0.2815 | 0.2855 | 0.283 | 0.71 | 0.15 | 3.18 | 0.42 | 11 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 196 | 0.2543 | 0.251 | 0.255 | 0.84 | 0.17 | 3.18 | 0.42 | 11 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.2305 | 0.2324 | 0.2279 | 0.98 | 0.2 | 3.18 | 0.42 | 11 | 0 |
| Δ8-THC (%AR) | 013.01 | AOAC 2018.10 | 210 | 0.276 | 0.271 | 0.264 | 2.23 | 0.46 | 3.18 | 0.42 | 11 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.2738 | 0.2845 | 0.2857 | 2.33 | 0.48 | 3.18 | 0.42 | 11 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | 0.258 | 0.264 | 0.251 | 2.53 | 0.52 | 3.18 | 0.42 | 11 | 0 |
| Δ8-THC (%AR) | 013.03 | AOAC 2018.11, M | 139 | 0.3401 | 0.3316 | 0.3186 | 3.28 | 0.7 | 3.18 | 0.42 | 11 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | 0.2579 | 0.28 | 0.2818 | 4.87 | 1 | 3.18 | 0.42 | 11 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 102 | 0.2647 | 0.2647 | 0.29 | 5.35 | 1.1 | 3.18 | 0.42 | 11 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | 0.27 | 0.26 | 0.24 | 5.95 | 1.22 | 3.18 | 0.42 | 11 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 162 | 0.2726 | 0.2508 | 0.2894 | 7.14 | 1.47 | 3.18 | 0.42 | 11 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 183 | 0.297 | 0.253 | 0.242 | 11 | 2.26 | 3.18 | 0.42 | 11 | 0 |
|  |  |  |  | CBC (%AR) |  |  |  |  |  |  |  |  |
| CBC (%AR) | 014.99 | Other | 106 | 0.09 | 0.09 | 0.09 | 0 | 0 | 1.89 | 0 | 13.1 | 0 |
| CBC (%AR) | 014.99 | Other | 200 | 0.107 | 0.107 | 0.107 | 0 | 0 | 1.89 | 0 | 13.1 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 103 | 0.188 | 0.188 | 0.188 | 0 | 0 | 1.89 | 0 | 13.1 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.0855 | 0.0859 | 0.0849 | 0.59 | 0.1 | 1.89 | 0 | 13.1 | 0 |
| CBC (%AR) | 014.99 | Other | 194 | 0.0947 | 0.0934 | 0.0929 | 0.99 | 0.17 | 1.89 | 0 | 13.1 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.0962 | 0.0935 | 0.0949 | 1.42 | 0.25 | 1.89 | 0 | 13.1 | 0 |
| CBC (%AR) | 014.01 | AOAC 2018.10 | 210 | 0.092 | 0.089 | 0.09 | 1.69 | 0.3 | 1.89 | 0 | 13.1 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBC (%AR) | 014.99 | Other | 149 | 0.093 | 0.09 | 0.093 | 1.88 | 0.33 | 1.89 | 0 | 13.1 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 199 | 0.0955 | 0.0985 | 0.095 | 1.97 | 0.35 | 1.89 | 0 | 13.1 | 0 |
| CBC (%AR) | 014.99 | Other | 162 | 0.092 | 0.0876 | 0.088 | 2.73 | 0.48 | 1.89 | 0 | 13.1 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.0909 | 0.0922 | 0.0858 | 3.77 | 0.66 | 1.89 | 0 | 13.1 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.0907 | 0.102 | 0.0959 | 5.88 | 1.04 | 1.89 | 0 | 13.1 | 0 |
| CBC (%AR) | 014.99 | Other | 183 | 0.103 | 0.085 | 0.081 | 13.1 | 2.28 | 1.89 | 0 | 13.1 | 0 |

Lab

Population of Lab RSDr

Cd (ug/g AR)

| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 194 | <0.0200 | <0.0200 | <0.0200 |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 183 | 0 | 0 | 0 |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | <0.0241 | <0.0241 | <0.0241 |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | <0.0971 | <0.0969 | <0.0986 |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | 0.002 | 0.0033 | 0.0032 | 25.5 | 2.65 | 0 |

As (ug/g AR)

| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0971 | <0.0969 | <0.0986 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 194 | <0.0200 | <0.0200 | <0.0200 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 183 | 0 | 0 | 0 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | <0.0482 | <0.0482 | <0.0482 |  |  | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 102 | 0.0073 | 0.0064 | 0.0062 | 8.83 | 1.04 | 0 |

Lab

Population of Lab RSDr

Hg (ug/g AR)

| Hg (ug/g AR) | 103.04 | ICP-MS | 194 | <0.0200 | <0.0200 | <0.0200 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0971 | <0.0969 | <0.0986 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | <0.0072 | <0.0072 | <0.0072 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | <0.0080 | <0.0080 | <0.0080 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 102 | 0.0038 | 0.0036 | 0.0036 | 3.15 | 0.34 | 0 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 183 | 0.006 | 0.005 | 0.005 | 10.8 | 1.24 | 0 |

Pb (ug/g AR)

| Pb (ug/g AR) | 104.04 | ICP-MS | 183 | 0 | 0 | 0 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | <0.0241 | <0.0241 | <0.0241 |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | <0.0971 | <0.0969 | <0.0986 |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | <0.0800 | <0.0800 | <0.0800 |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 194 | <0.0200 | <0.0200 | <0.0200 |  |  | 1 |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | 0.0376 | 0.0543 | 0.0563 | 20.8 | 3.32 | 0 |

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) |  | Rob Mean | min | max | Flag |
|  |  |  |  | Cu (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | <0.4893 <0.4893 |  | <0.4893 |  | 1 |  |  |  |  |  |
|  |  |  |  | Ni (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | <0.0722 <0.0722 |  | <0.0722 |  | 1 |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 102 | 0.031 | 0.0203 | 0.0205 | 25.6 | 3.66 |  | 0 |  |  |  |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | <0.0971 <0.0969 |  | <0.0986 |  | 1 |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | <0.0722 <0.0722 |  | <0.0722 |  | 1 |  |  |  |  |  |
|  |  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | <0.0971 | <0.0969 | <0.0986 | 1 |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | <0.0963 | <0.0963 | <0.0963 | 1 |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 102 | 0.0319 | 0.0308 | 0.0222 | 18.8 | 2.76 |  | 0 |  |  |  |
|  |  |  |  | Ag (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Ag (ug/g AR) | 109.04 | ICP-MS | 102 | <0.0030 <0.0030 |  | <0.0030 |  | 1 |  |  |  |  |  |
|  |  |  |  | Zn (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | <0.4893 <0.4893 |  | <0.4893 |  | 1 |  |  |  |  |  |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Sb (ug/g AR)

| Sb (ug/g AR) | 112.04 | ICP-MS | 196 | <0.0241 <0.0241 | <0.0241 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| Sb (ug/g AR) | 112.04 | ICP-MS | 102 | <0.0040 <0.0040 | <0.0040 | 1 |

(-)-alpha-Bisabolol (%AR)

| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | <0.0625 | <0.0625 | <0.0625 |  |  | 1 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 183 | 0.031 | 0.034 | 0.032 | 4.72 | 0.71 | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 194 | 0.0102 | 0.0116 | 0.0107 | 6.55 | 0.83 | 0 |

beta-Caryophyllene (%AR)

| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | <0.0625 | <0.0625 | <0.0625 |  |  | 1 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 194 | 0.0094 | 0.0096 | 0.0096 | 1.21 | 0.15 | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 183 | 0.013 | 0.011 | 0.012 | 8.33 | 1.08 | 0 |

(-)-Caryophyllene oxide (%AR)

| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | <0.0625 | <0.0625 | <0.0625 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 |  |  | 1 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 183 | 0.003 | 0.001 | 0.001 | 69.3 | 6.65 | 0 |

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Geraniol (%AR)

| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | 1 |

alpha-Humulene (%AR)

| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | <0.0625 | <0.0625 | <0.0625 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 183 | 0.004 | 0.004 | 0.004 | 0 | 0 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 194 | 0.0047 | 0.0049 | 0.0048 | 2.08 | 0.23 | 0 |

d-Limonene (%AR)

| d-Limonene (%AR) | 206.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| d-Limonene (%AR) | 206.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |

Linalool (%AR)

| Linalool (%AR) | 207.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Linalool (%AR) | 207.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 Result2 Result3 |  |  | RSDr | HorRat(r) |  | Rob Mean | min | max | Flag |
| Linalool (%AR) | 207.02 | GC,MS | 196 | <0.0013 <0.0013 |  | <0.0013 |  | 1 |  |  |  |  |  |
|  |  |  |  | beta-Myrcene (%AR) |  |  |  |  |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  | 1 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  | 1 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 |  | 1 |  |  |  |  |  |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 |  | 1 |  |  |  |  |  |
|  |  |  |  | Ocimene (%AR) |  |  |  |  |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 |  | 1 |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  | 1 |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 |  | 1 |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  | 1 |  |  |  |  |  |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 |  | 1 |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 |  | 1 |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  | 1 |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  | 1 |  |  |  |  |  |
|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 194 | <0.0004 <0.0004 |  | <0.0004 |  | 1 |  |  |  |  |  |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
|  |  |  |  | alpha-Terpinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
|  |  |  |  | gamma-Terpinene (%AR) |  |  |  |  |  |  |  |  |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  |  | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  |  | 1 |
|  |  |  |  | alpha-Terpinolene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  |  | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 183 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

- Flag definitions: 1 (Lab RSDr not calculated because there were less than 3 numeric lab results)

- Statistical parameters of robust mean, minimum, and maximum for RSDr only shown only if there were 6 or more lab RSDr values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.c