# Homogeneity and Stability

Sample ID . . . . . . . . . . . . . . . . . . . . . . . .

Samples shipped . . . . . . . . . . . . . . . . . . .

Results due date . . . . . . . . . . . . . . . . . . . .

OL22NOV-1

8-Nov-22

20-Dec-22

## Homogeneity

10 sample packets randomly chosen for analysis.

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 0.0990 | 0.1012 |
| 2 | 0.1002 | 0.1009 |
| 3 | 0.1024 | 0.1079 |
| 4 | 0.1015 | 0.1025 |
| 5 | 0.1031 | 0.1061 |
| 6 | 0.1010 | 0.1027 |
| 7 | 0.1000 | 0.1015 |
| 8 | 0.1076 | 0.1011 |
| 9 | 0.1014 | 0.1018 |
| 10 | 0.1008 | 0.1024 |

Duplicate test portions analyzed for analyte and method shown in table caption.

| Total delta-9 THC (%AR) via GC-FID (method 006.40) |  |  | %RSD | HorRat-r |
| --- | --- | --- | --- | --- |
| Analysis Date: 11/16/22 | Overall average: | 0.1023 |  |  |
|  | SD of sample avgs: | 0.0018 | 1.76 |  |
|  | repeatability SD: | 0.002187 | 2.14 | 0.4 |
|  | between-sample SD: | 0.00092 | 0.90 |  |
|  | reproducibilty SD: | 0.002374 | 2.32 |  |
|  | SD used for Analyte z scores: | 0.0157 |  |  |
|  | Check value: | 0.00471 |  |  |
| Total delta-9 THC (%AR) via GC-FID (method 006.40) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |  |
| delta-8 THC (%AR) via GC-FID (method 0013.99) |  |  | %RSD | HorRat-r |
| Analysis Date: 11/16/22 | Overall average: | 0.2781 |  |  |
|  | SD of sample avgs: | 0.00395 | 1.42 |  |
|  | repeatability SD: | 0.005483 | 1.97 | 0.4 |
|  | between-sample SD: | 0.00076 | 0.27 |  |
|  | reproducibilty SD: | 0.005535 | 1.99 |  |
|  | SD used for Analyte z scores: | 0.0132 |  |  |
|  | Check value: | 0.00396 |  |  |
| delta-8 THC (%AR) via GC-FID (method 0013.99) Is between-sample SD less than check value? YES Homogeneity test passed |  |  |  |  |

| Sample # | Replicate 1 | Replicate 2 |
| --- | --- | --- |
| 1 | 0.2733 | 0.2781 |
| 2 | 0.2725 | 0.2752 |
| 3 | 0.2782 | 0.2900 |
| 4 | 0.2760 | 0.2742 |
| 5 | 0.2772 | 0.2909 |
| 6 | 0.2722 | 0.2776 |
| 7 | 0.2742 | 0.2770 |
| 8 | 0.2895 | 0.2753 |
| 9 | 0.2772 | 0.2768 |
| 10 | 0.2786 | 0.2772 |

Stability

Sample tested on different days from date sample shipped to results due date. Sample stored at room temperature during period of testing.

| Date of Analysis | Days | Conc. |
| --- | --- | --- |
| 11/7/22 | 0 | 0.0818 |
| 11/16/22 | 9 | 0.0927 |
| 11/17/22 | 10 | 0.0901 |
| 12/2/22 | 25 | 0.1125 |
| 12/12/22 | 35 | 0.1012 |
| 12/16/22 | 39 | 0.0622 |
| 1/12/23 | 66 | 0.0723 |

Total THC (%AR) via GC-FID (method 006.40)		Days = x variable, Conc = y variable

SUMMARY OUTPUT

Regression Statistics

Multiple R  0.3538912 R Square	0.125239 Adjusted R Squ -0.0497132 Standard Error  0.0174981

Observations	7

ANOVA

df	SS	MS	F	Significance F

y = -0.0003x + 0.0946 R² = 0.1252

0.12

0.10

0.08

0.06

0.04

0.02

0.00

0

20

40

60

80

Regression	1 0.00021918  0.00021918 0.715847  0.436118799

Residual	5 0.00153092 0.000306183

Total	6	0.0017501

Coefficients tandard Error	t Stat	P-value	Lower 95%	Upper 95%

Intercept	0.0945647 0.01061219 8.910952013 0.000296  0.067285193  0.121844183

X Variable 1	-0.0002671 0.00031573 -0.84607726 0.436119 -0.001078754  0.000544484

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period

Stability test passed.

%RSD = 19.5	HorRat-R = 3.4

| delta-8 THC (%AR) via GC-FID (method 006.40) |  |  |
| --- | --- | --- |
| Date of Analysis | Days | Conc. |
| 11/7/22 | 0 | 0.2551 |
| 11/16/22 | 9 | 0.2763 |
| 11/17/22 | 10 | 0.2845 |
| 12/2/22 | 25 | 0.3209 |
| 12/12/22 | 35 | 0.2713 |
| 12/16/22 | 39 | 0.2505 |
| 1/12/23 | 66 | 0.2702 |

Days = x variable, Conc = y variable SUMMARY OUTPUT

Regression Statistics

Multiple R  0.0785779 R Square	0.0061745 Adjusted R Squ -0.1925906 Standard Error  0.0253367

Observations	7

ANOVA

df	SS	MS	F	Significance F

y = -8E-05x + 0.2777 R² = 0.0062

0.35

0.30

0.25

0.20

0.15

0.10

0.05

0.00

0

20

40

60

80

Regression	1  1.9942E-05 1.99416E-05 0.031064  0.867013479

Residual	5 0.00320974 0.000641947

Total	6 0.00322968

Coefficients tandard Error	t Stat	P-value	Lower 95%	Upper 95%

| Intercept 0.2776609 0.0153661 18.06970085 9.54E-06 | 0.238161051 | 0.317160698 |
| --- | --- | --- |
| X Variable 1 -8.058E-05 0.00045717 -0.17625048 0.867013 | -0.001255774 | 0.001094621 |

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period

Stability test passed.

%RSD = 8.4	HorRat-R = 1.7

| Total CBD (%AR) via GC-FID (method 006.40) |  |  |
| --- | --- | --- |
| Date of Analysis | Days | Conc. |
| 11/7/22 | 0 | 1.7909 |
| 11/16/22 | 9 | 1.8986 |
| 11/17/22 | 10 | 1.9756 |
| 12/2/22 | 25 | 2.0707 |
| 12/12/22 | 35 | 2.0459 |
| 12/16/22 | 39 | 1.7832 |
| 1/12/23 | 66 | 1.8229 |

Days = x variable, Conc = y variable SUMMARY OUTPUT

Regression Statistics

Multiple R  0.1125152 R Square	0.0126597 Adjusted R Squ -0.1848084 Standard Error  0.1307175

Observations	7

ANOVA

df	SS	MS	F	Significance F

2.10

2.00

1.90

1.80

1.70

y = -0.0006x + 1.9282

R² = 0.0127

1.60

1.50

0

20

40

60

80

Regression	1 0.00109545 0.001095452  0.06411  0.810194962

Residual	5 0.08543536 0.017087073

Total	6 0.08653082

Coefficients tandard Error	t Stat	P-value	Lower 95%	Upper 95%

Intercept	1.9282409 0.07927713 24.32278833  2.19E-06  1.724452572  2.132029289

X Variable 1	-0.0005972 0.00235865 -0.25319955 0.810195 -0.006660314  0.005465895

Coefficient for x variable is not statistically significantly different from 0. No signficant change in result during testing period

Stability test passed.

%RSD = 6.3	HorRat-R = 1.7