Hemp Proficiency Testing

All Labs Precision OL22SEP-1 (oil)

Sample: OL22SEP-1 (oil)

All Labs Precision

Issue Date:

ovember 18, 2022

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

Δ9-THC (%AR)

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

| Δ9-THC (%AR) | 001.30 | Other LC-MS | 190 | 0.101 |  |  |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 200 | 0.089 | 0.089 | 0.089 | 0 | 0 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 122 | 0.1274 | 0.1275 | 0.1269 | 0.25 | 0.05 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 149 | 0.096 | 0.096 | 0.095 | 0.6 | 0.11 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 183 | 0.0886 | 0.09 | 0.0895 | 0.79 | 0.14 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 216 | 0.0855 | 0.0871 | 0.0868 | 0.98 | 0.17 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 196 | 0.1004 | 0.1024 | 0.1009 | 1.03 | 0.18 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 184 | 0.0554 | 0.0548 | 0.056 | 1.08 | 0.18 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 125 | 0.0913 | 0.0883 | 0.0911 | 1.86 | 0.32 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 204 | 0.0673 | 0.07 | 0.0698 | 2.18 | 0.37 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 189 | 0.1041 | 0.1081 | 0.109 | 2.44 | 0.44 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 162 | 0.1131 | 0.1143 | 0.1187 | 2.56 | 0.46 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 197 | 0.0849 | 0.081 | 0.0853 | 2.84 | 0.49 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 120 | 0.1118 | 0.1152 | 0.1193 | 3.25 | 0.59 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 212 | 0.1057 | 0.1145 | 0.1029 | 5.62 | 1.01 | 5.49 | 0 | 21.7 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 106 | 0.09 | 0.1 | 0.09 | 6.19 | 1.09 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.02 | AOAC 2018.11, U | 199 | 0.1265 | 0.1175 | 0.133 | 6.19 | 1.14 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 149 | 0.097 | 0.085 | 0.092 | 6.6 | 1.16 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 155 | 0.111 | 0.121 | 0.105 | 7.2 | 1.3 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 194 | 0.0947 | 0.0952 | 0.0828 | 7.72 | 1.35 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 191 | 0.0807 | 0.0689 | 0.0805 | 8.81 | 1.5 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.99 | Other | 183 | 0.0578 | 0.0636 | 0.0717 | 10.8 | 1.8 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.10 | Other LC-UV | 192 | 0.0944 | 0.088 | 0.0748 | 11.7 | 2.02 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.01 | AOAC 2018.10 | 170 | 0.1243 | 0.1135 | 0.1437 | 12 | 2.21 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.03 | AOAC 2018.11, M | 139 | 0.0818 | 0.0621 | 0.07 | 13.9 | 2.34 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.60 | NIR | 187 | 0.02 | 0.03 | 0.03 | 21.7 | 3.15 | 5.49 | 0 | 21.7 | 0 |
| Δ9-THC (%AR) | 001.30 | Other LC-MS | 102 | 0.1032 | 0.0694 | 0.0957 | 19.8 | 3.46 | 5.49 | 0 | 21.7 | 0 |

Lab

Population of Lab RSDr

Δ9-THCA (%AR)

| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 196 | <0.0210 | <0.0210 | <0.0210 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 102 | <0.0194 | <0.0188 | <0.0187 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 184 | <0.1000 | <0.1000 | <0.1000 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 194 | <0.0270 | <0.0270 | <0.0270 | 1 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 120 | <0.0025 | <0.0025 | <0.0025 | 1 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 183 | 0 | 0 | 0 | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 106 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 216 | <0.0099 | <0.0091 | <0.0103 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 191 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| Δ9-THCA (%AR) | 002.03 | AOAC 2018.11, M | 139 | <0.0125 | <0.0125 | <0.0125 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 197 | <0.0094 | <0.0098 | <0.0092 |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 122 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 155 | 0.05 | 0.03 | 0 |  |  | 1 |
| Δ9-THCA (%AR) | 002.01 | AOAC 2018.10 | 170 | <0.1300 | <0.1300 | <0.1300 |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 190 | <0.0010 |  |  |  |  | 1 |
| Δ9-THCA (%AR) | 002.30 | Other LC-MS | 149 | <0.0040 | <0.0040 | <0.0040 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 149 | <0.0370 | <0.0370 | <0.0400 |  |  | 1 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 200 | 0.022 | 0.022 | 0.022 | 0 | 0 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 189 | 0.0341 | 0.0377 | 0.0387 | 6.57 | 1 | 0 |
| Δ9-THCA (%AR) | 002.02 | AOAC 2018.11, U | 125 | 0.002 | 0.0021 | 0.0025 | 12 | 1.2 | 0 |
| Δ9-THCA (%AR) | 002.10 | Other LC-UV | 192 | 0.0729 | 0.0647 | 0.0748 | 7.58 | 1.28 | 0 |
| Δ9-THCA (%AR) | 002.60 | NIR | 187 | 0.01 | 0.02 | 0.01 | 43.3 | 5.68 | 0 |

Lab

Population of Lab RSDr

CBD (%AR)

| CBD (%AR) | 003.30 | Other LC-MS | 190 | 5.916 |  |  |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.30 | Other LC-MS | 122 | 6.8498 | 6.8495 | 6.8501 | 0 | 0 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 189 | 5.0957 | 5.1238 | 5.0945 | 0.32 | 0.1 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 204 | 5.9638 | 5.9321 | 5.9633 | 0.3 | 0.1 | 1.67 | 0 | 22 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 183 | 5.5916 | 5.5525 | 5.5681 | 0.35 | 0.11 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.99 | Other | 212 | 5.4674 | 5.4764 | 5.4158 | 0.6 | 0.19 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 155 | 5.67 | 5.74 | 5.71 | 0.62 | 0.2 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 106 | 6.04 | 5.96 | 6.01 | 0.67 | 0.22 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.01 | AOAC 2018.10 | 170 | 5.6788 | 5.7715 | 5.6892 | 0.89 | 0.29 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 194 | 5.5474 | 5.5454 | 5.6459 | 1.03 | 0.33 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 197 | 6.23 | 6.2888 | 6.3578 | 1.02 | 0.34 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 149 | 6.427 | 6.31 | 6.262 | 1.34 | 0.44 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 199 | 5.954 | 5.959 | 6.135 | 1.71 | 0.56 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.02 | AOAC 2018.11, U | 125 | 5.83 | 5.63 | 5.69 | 1.8 | 0.58 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.60 | NIR | 187 | 6.62 | 6.73 | 6.5 | 1.74 | 0.58 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 200 | 5.128 | 4.946 | 4.977 | 1.94 | 0.62 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 216 | 5.8788 | 6.1045 | 6.0279 | 1.91 | 0.63 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 162 | 6.1554 | 6.3674 | 6.1204 | 2.15 | 0.71 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 184 | 5.736 | 5.481 | 5.631 | 2.28 | 0.74 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 196 | 6.0616 | 6.0048 | 5.7996 | 2.31 | 0.76 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 149 | 5.655 | 5.521 | 5.816 | 2.61 | 0.85 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.30 | Other LC-MS | 102 | 5.9804 | 6.2777 | 5.7592 | 4.33 | 1.42 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 192 | 5.4912 | 5.2414 | 4.7246 | 7.59 | 2.43 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.03 | AOAC 2018.11, M | 139 | 5.1067 | 4.0449 | 4.3818 | 12 | 3.78 | 1.67 | 0 | 22 | 0 |
| CBD (%AR) | 003.10 | Other LC-UV | 191 | 4.6798 | 3.1997 | 3.3241 | 22 | 6.71 | 1.67 | 0 | 22 | 0 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

CBDA (%AR)

| CBDA (%AR) | 004.30 | Other LC-MS | 122 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.10 | Other LC-UV | 197 | <0.0094 | <0.0098 | <0.0092 |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 106 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 194 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 216 | <0.0099 | <0.0091 | <0.0103 |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.03 | AOAC 2018.11, M | 139 | <0.0125 | <0.0125 | <0.0125 |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 149 | <0.0370 | <0.0370 | <0.0400 |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.01 | AOAC 2018.10 | 183 | 0 | 0 | 0 |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.30 | Other LC-MS | 149 | <0.0040 | <0.0040 | <0.0040 |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.01 | AOAC 2018.10 | 170 | <0.1300 | <0.1300 | <0.1300 |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 212 | 0.0266 | 0.0294 | 0 |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| CBDA (%AR) | 004.10 | Other LC-UV | 200 | 0.004 | 0.004 | 0.004 | 0 | 0 | 8.37 | 0 | 40.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 196 | 0.0325 | 0.032 | 0.0322 | 0.78 | 0.12 | 8.37 | 0 | 40.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 184 | 0.0438 | 0.0426 | 0.0431 | 1.4 | 0.22 | 8.37 | 0 | 40.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 155 | 0.079 | 0.075 | 0.077 | 2.6 | 0.44 | 8.37 | 0 | 40.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 191 | 0.0251 | 0.0232 | 0.0267 | 7.01 | 1.01 | 8.37 | 0 | 40.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 192 | 0.0236 | 0.0252 | 0.0218 | 7.23 | 1.03 | 8.37 | 0 | 40.8 | 0 |
| CBDA (%AR) | 004.02 | AOAC 2018.11, U | 125 | 0.005 | 0.0055 | 0.0062 | 10.8 | 1.25 | 8.37 | 0 | 40.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 204 | 0.0351 | 0.0328 | 0.0405 | 10.9 | 1.67 | 8.37 | 0 | 40.8 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDA (%AR) | 004.60 | NIR | 187 | 0.15 | 0.19 | 0.23 | 21.1 | 4.11 | 8.37 | 0 | 40.8 | 0 |
| CBDA (%AR) | 004.10 | Other LC-UV | 189 | 0.0044 | 0.0098 | 0.0106 | 40.8 | 4.98 | 8.37 | 0 | 40.8 | 0 |

Lab

Population of Lab RSDr

CBN (%AR)

| CBN (%AR) | 005.10 | Other LC-UV | 149 | 0.039 | <0.0370 | <0.0400 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.20 | Other LC-MS | 102 | <0.0484 | <0.0470 | <0.0467 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.20 | Other LC-MS | 190 | 0.048 |  |  |  |  |  |  |  | 1 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 199 | <0.0500 | <0.0500 | <0.0500 |  |  |  |  |  | 1 |
| CBN (%AR) | 005.10 | Other LC-UV | 200 | 0.04 | 0.04 | 0.04 | 0 | 0 | 5.4 | 0 | 24.1 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 196 | 0.0427 | 0.043 | 0.0423 | 0.82 | 0.13 | 5.4 | 0 | 24.1 | 0 |
| CBN (%AR) | 005.01 | AOAC 2018.10 | 183 | 0.0397 | 0.039 | 0.0396 | 0.96 | 0.15 | 5.4 | 0 | 24.1 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 189 | 0.0404 | 0.0411 | 0.0412 | 1.07 | 0.17 | 5.4 | 0 | 24.1 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 197 | 0.0362 | 0.0363 | 0.0371 | 1.35 | 0.21 | 5.4 | 0 | 24.1 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 216 | 0.0372 | 0.0382 | 0.0384 | 1.69 | 0.26 | 5.4 | 0 | 24.1 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 162 | 0.0442 | 0.0462 | 0.0448 | 2.28 | 0.36 | 5.4 | 0 | 24.1 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 212 | 0.0501 | 0.0472 | 0.0484 | 3 | 0.48 | 5.4 | 0 | 24.1 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 204 | 0.0402 | 0.0435 | 0.0427 | 4.09 | 0.64 | 5.4 | 0 | 24.1 | 0 |
| CBN (%AR) | 005.20 | Other LC-MS | 149 | 0.044 | 0.04 | 0.043 | 4.92 | 0.77 | 5.4 | 0 | 24.1 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 125 | 0.0444 | 0.0418 | 0.047 | 5.86 | 0.92 | 5.4 | 0 | 24.1 | 0 |
| CBN (%AR) | 005.30 | GC-FID | 138 | 0.0554 | 0.0526 | 0.0618 | 8.33 | 1.36 | 5.4 | 0 | 24.1 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 194 | 0.0368 | 0.0368 | 0.0309 | 9.78 | 1.48 | 5.4 | 0 | 24.1 | 0 |
| CBN (%AR) | 005.03 | AOAC 2018.11, M | 139 | 0.0338 | 0.0304 | 0.0275 | 10.3 | 1.53 | 5.4 | 0 | 24.1 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBN (%AR) | 005.10 | Other LC-UV | 106 | 0.05 | 0.06 | 0.05 | 10.8 | 1.75 | 5.4 | 0 | 24.1 | 0 |
| CBN (%AR) | 005.10 | Other LC-UV | 192 | 0.0589 | 0.0538 | 0.0435 | 15.1 | 2.42 | 5.4 | 0 | 24.1 | 0 |
| CBN (%AR) | 005.02 | AOAC 2018.11, U | 107 | 0.032 | 0.029 | 0.045 | 24.1 | 3.65 | 5.4 | 0 | 24.1 | 0 |
|  |  |  |  | Total Δ9-THC (%AR) |  |  |  |  |  |  |  |  |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 190 | 0.101 |  |  |  |  |  |  |  | 1 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 122 | 0.1274 | 0.1275 | 0.1269 | 0.25 | 0.05 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 149 | 0.096 | 0.096 | 0.095 | 0.6 | 0.11 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.01 | AOAC 2018.10 | 183 | 0.0886 | 0.09 | 0.0895 | 0.79 | 0.14 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 216 | 0.0855 | 0.0871 | 0.0868 | 0.98 | 0.17 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 196 | 0.1004 | 0.1024 | 0.1009 | 1.03 | 0.18 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 200 | 0.108 | 0.111 | 0.108 | 1.59 | 0.29 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 125 | 0.0931 | 0.0902 | 0.0933 | 1.88 | 0.33 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 204 | 0.0673 | 0.07 | 0.0698 | 2.18 | 0.37 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 162 | 0.1131 | 0.1143 | 0.1187 | 2.56 | 0.46 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 138 | 0.1018 | 0.0992 | 0.1045 | 2.6 | 0.46 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 197 | 0.0849 | 0.081 | 0.0853 | 2.84 | 0.49 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 120 | 0.1118 | 0.1152 | 0.1193 | 3.25 | 0.59 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 189 | 0.134 | 0.1411 | 0.1429 | 3.38 | 0.63 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.40 | GC-FID | 169 | 0.1193 | 0.111 | 0.1175 | 3.77 | 0.68 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 212 | 0.1057 | 0.1145 | 0.1029 | 5.62 | 1.01 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 149 | 0.097 | 0.085 | 0.092 | 6.6 | 1.16 | 5.83 | 0.25 | 24.6 | 0 |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 199 | 0.1309 | 0.1175 | 0.133 | 6.61 | 1.22 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 192 | 0.1583 | 0.1447 | 0.1396 | 6.55 | 1.23 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 194 | 0.0947 | 0.0952 | 0.0826 | 7.85 | 1.37 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 191 | 0.0807 | 0.0689 | 0.0805 | 8.81 | 1.5 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.99 | Other | 183 | 0.0578 | 0.0636 | 0.0717 | 10.8 | 1.8 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.03 | AOAC 2018.11, M | 139 | 0.0818 | 0.0621 | 0.07 | 13.9 | 2.34 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.02 | AOAC 2018.11, U | 107 | 0.078 | 0.083 | 0.102 | 14.4 | 2.51 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.30 | Other LC-MS | 102 | 0.1032 | 0.0694 | 0.0957 | 19.8 | 3.46 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.10 | Other LC-UV | 155 | 0.156 | 0.148 | 0.105 | 20.1 | 3.74 | 5.83 | 0.25 | 24.6 | 0 |
| Total Δ9-THC (%AR) | 006.60 | NIR | 187 | 0.029 | 0.048 | 0.039 | 24.6 | 3.78 | 5.83 | 0.25 | 24.6 | 0 |
|  |  |  |  | Total CBD (%AR) |  |  |  |  |  |  |  |  |
| Total CBD (%AR) | 007.30 | Other LC-MS | 122 | 6.8498 | 6.8495 | 6.8501 | 0 | 0 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 194 | 5.5474 | 5.5454 | 5.5459 | 0.02 | 0.01 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 204 | 5.9946 | 5.9921 | 5.9676 | 0.25 | 0.08 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.01 | AOAC 2018.10 | 183 | 5.5916 | 5.5525 | 5.5681 | 0.35 | 0.11 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 189 | 5.0995 | 5.1323 | 5.1038 | 0.35 | 0.11 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 155 | 5.74 | 5.8 | 5.78 | 0.53 | 0.17 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 212 | 5.4907 | 5.5022 | 5.4158 | 0.86 | 0.28 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 197 | 6.23 | 6.2888 | 6.3578 | 1.02 | 0.34 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.30 | Other LC-MS | 149 | 6.427 | 6.31 | 6.262 | 1.34 | 0.44 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 199 | 5.9851 | 5.9888 | 6.1666 | 1.72 | 0.56 | 2.41 | 0 | 21.9 | 0 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total CBD (%AR) | 007.60 | NIR | 187 | 6.7 | 6.9 | 6.7 | 1.71 | 0.57 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 200 | 5.132 | 4.95 | 4.981 | 1.94 | 0.62 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 125 | 5.84 | 5.63 | 5.69 | 1.89 | 0.62 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 216 | 5.8788 | 6.1045 | 6.0279 | 1.91 | 0.63 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 162 | 6.1554 | 6.3674 | 6.1204 | 2.15 | 0.71 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 196 | 6.09 | 6.0329 | 5.8278 | 2.3 | 0.76 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 149 | 5.655 | 5.521 | 5.816 | 2.61 | 0.85 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 169 | 3.6661 | 3.337 | 3.3931 | 5.08 | 1.53 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.40 | GC-FID | 138 | 6.8387 | 7.382 | 7.5153 | 4.95 | 1.67 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 192 | 5.5119 | 5.2635 | 4.7437 | 7.58 | 2.43 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.02 | AOAC 2018.11, U | 107 | 4.491 | 4.237 | 5.03 | 8.83 | 2.78 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.03 | AOAC 2018.11, M | 139 | 5.1067 | 4.0449 | 4.3818 | 12 | 3.78 | 2.41 | 0 | 21.9 | 0 |
| Total CBD (%AR) | 007.10 | Other LC-UV | 191 | 4.7018 | 3.22 | 3.3475 | 21.9 | 6.68 | 2.41 | 0 | 21.9 | 0 |

Lab

Population of Lab RSDr

CBDV (%AR)

| CBDV (%AR) | 008.99 | Other | 216 | <0.0148 | <0.0136 | <0.0154 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 |  |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 197 | <0.0142 | <0.0146 | <0.0138 |  |  |  |  |  | 1 |
| CBDV (%AR) | 008.99 | Other | 212 | 0.0363 | 0.0358 | 0.0355 | 1.13 | 0.17 | 5.94 | 1.13 | 34.6 | 0 |
| CBDV (%AR) | 008.02 | AOAC 2018.11, U | 183 | 0.0208 | 0.0213 | 0.0206 | 1.73 | 0.24 | 5.94 | 1.13 | 34.6 | 0 |
| CBDV (%AR) | 008.99 | Other | 200 | 0.023 | 0.022 | 0.022 | 2.59 | 0.37 | 5.94 | 1.13 | 34.6 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBDV (%AR) | 008.99 | Other | 149 | 0.021 | 0.02 | 0.021 | 2.79 | 0.39 | 5.94 | 1.13 | 34.6 | 0 |
| CBDV (%AR) | 008.99 | Other | 189 | 0.018 | 0.017 | 0.0182 | 3.63 | 0.5 | 5.94 | 1.13 | 34.6 | 0 |
| CBDV (%AR) | 008.99 | Other | 194 | 0.0238 | 0.0246 | 0.0191 | 13.2 | 1.87 | 5.94 | 1.13 | 34.6 | 0 |
| CBDV (%AR) | 008.99 | Other | 106 | 0.02 | 0.04 | 0.04 | 34.6 | 5.21 | 5.94 | 1.13 | 34.6 | 0 |

Lab

Population of Lab RSDr

CBDVA (%AR)

| CBDVA (%AR) | 009.99 | Other | 197 | <0.0094 | <0.0098 | <0.0092 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| CBDVA (%AR) | 009.99 | Other | 216 | <0.0099 | <0.0091 | <0.0103 | 1 |
| CBDVA (%AR) | 009.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 | 1 |
| CBDVA (%AR) | 009.01 | AOAC 2018.10 | 183 | 0 | 0 | 0 | 1 |
| CBDVA (%AR) | 009.99 | Other | 149 | <0.0370 | <0.0370 | <0.0400 | 1 |

CBG (%AR)

| CBG (%AR) | 010.99 | Other | 122 | 0.1523 | 0.152 | 0.1521 | 0.1 | 0.02 | 2.98 | 0.1 | 8.66 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.99 | Other | 197 | 0.0715 | 0.0714 | 0.071 | 0.37 | 0.06 | 2.98 | 0.1 | 8.66 | 0 |
| CBG (%AR) | 010.01 | AOAC 2018.10 | 183 | 0.0933 | 0.094 | 0.0939 | 0.4 | 0.07 | 2.98 | 0.1 | 8.66 | 0 |
| CBG (%AR) | 010.99 | Other | 196 | 0.09 | 0.0914 | 0.0906 | 0.78 | 0.14 | 2.98 | 0.1 | 8.66 | 0 |
| CBG (%AR) | 010.99 | Other | 200 | 0.095 | 0.097 | 0.096 | 1.04 | 0.18 | 2.98 | 0.1 | 8.66 | 0 |
| CBG (%AR) | 010.99 | Other | 216 | 0.0721 | 0.0741 | 0.0725 | 1.45 | 0.25 | 2.98 | 0.1 | 8.66 | 0 |
| CBG (%AR) | 010.99 | Other | 149 | 0.067 | 0.07 | 0.067 | 2.55 | 0.43 | 2.98 | 0.1 | 8.66 | 0 |
| CBG (%AR) | 010.99 | Other | 106 | 0.25 | 0.25 | 0.26 | 2.28 | 0.46 | 2.98 | 0.1 | 8.66 | 0 |
| CBG (%AR) | 010.99 | Other | 189 | 0.1146 | 0.1204 | 0.1198 | 2.7 | 0.49 | 2.98 | 0.1 | 8.66 | 0 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBG (%AR) | 010.02 | AOAC 2018.11, U | 125 | 0.107 | 0.108 | 0.102 | 3.04 | 0.54 | 2.98 | 0.1 | 8.66 | 0 |
| CBG (%AR) | 010.99 | Other | 212 | 0.0971 | 0.1052 | 0.1094 | 6.02 | 1.07 | 2.98 | 0.1 | 8.66 | 0 |
| CBG (%AR) | 010.99 | Other | 155 | 0.214 | 0.19 | 0.201 | 5.96 | 1.17 | 2.98 | 0.1 | 8.66 | 0 |
| CBG (%AR) | 010.99 | Other | 194 | 0.0917 | 0.0891 | 0.0792 | 7.61 | 1.32 | 2.98 | 0.1 | 8.66 | 0 |
| CBG (%AR) | 010.99 | Other | 162 | 0.0855 | 0.0883 | 0.1004 | 8.66 | 1.52 | 2.98 | 0.1 | 8.66 | 0 |

Lab

Population of Lab RSDr

CBGA (%AR)

| CBGA (%AR) | 011.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CBGA (%AR) | 011.99 | Other | 149 | <0.0370 | <0.0370 | <0.0400 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 197 | <0.0094 | <0.0098 | <0.0092 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| CBGA (%AR) | 011.01 | AOAC 2018.10 | 183 | 0 | 0 | 0 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 122 | <0.0500 | <0.0500 | <0.0500 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 216 | <0.0099 | <0.0091 | <0.0103 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| CBGA (%AR) | 011.02 | AOAC 2018.11, U | 125 | <0.0018 | <0.0016 | <0.0020 |  |  | 1 |
| CBGA (%AR) | 011.99 | Other | 189 | 0.0245 | 0.0235 | 0.0236 | 2.31 | 0.33 | 0 |

THCV (%AR)

| THCV (%AR) | 012.99 | Other | 149 | <0.0370 <0.0370 | <0.0400 | 1 |
| --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 216 | <0.0099 <0.0091 | <0.0103 | 1 |

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THCV (%AR) | 012.99 | Other | 106 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 197 | <0.0094 | <0.0098 | <0.0092 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 |  |  | 1 |
| THCV (%AR) | 012.02 | AOAC 2018.11, U | 183 | 0 | 0 | 0 |  |  | 1 |
| THCV (%AR) | 012.99 | Other | 200 | 0.009 | 0.009 | 0.009 | 0 | 0 | 0 |
| THCV (%AR) | 012.99 | Other | 189 | 0.0142 | 0.0153 | 0.0157 | 5.16 | 0.69 | 0 |

Lab

Population of Lab RSDr

Δ8-THC (%AR)

| Δ8-THC (%AR) | 013.99 | Other | 196 | <0.0210 | <0.0210 | <0.0210 |  |  |  |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Δ8-THC (%AR) | 013.99 | Other | 183 | 0 | 0 | 0 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 149 | <0.0370 | <0.0370 | <0.0400 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 102 | <0.0484 | <0.0188 | <0.0187 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 200 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 194 | <0.0270 | <0.0270 | <0.0270 |  |  |  |  |  | 1 |
| Δ8-THC (%AR) | 013.99 | Other | 106 | 0.02 | 0.02 | 0.02 | 0 | 0 | 4.72 | 0 | 15.1 | 0 |
| Δ8-THC (%AR) | 013.01 | AOAC 2018.10 | 183 | 0.003 | 0.003 | 0.0031 | 1.9 | 0.2 | 4.72 | 0 | 15.1 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 197 | 0.0194 | 0.0193 | 0.0206 | 3.66 | 0.51 | 4.72 | 0 | 15.1 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 216 | 0.0187 | 0.0171 | 0.0189 | 5.41 | 0.74 | 4.72 | 0 | 15.1 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 138 | 0.0757 | 0.0687 | 0.0766 | 5.87 | 0.99 | 4.72 | 0 | 15.1 | 0 |
| Δ8-THC (%AR) | 013.99 | Other | 189 | 0.0187 | 0.0251 | 0.0239 | 15.1 | 2.14 | 4.72 | 0 | 15.1 | 0 |

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | CBC (%AR) |  |  |  |  |  |  |  |  |
| CBC (%AR) | 014.99 | Other | 200 | 0.269 | 0.268 | 0.267 | 0.37 | 0.08 | 1.63 | 0.37 | 7.22 | 0 |
| CBC (%AR) | 014.99 | Other | 196 | 0.2509 | 0.2532 | 0.2511 | 0.51 | 0.1 | 1.63 | 0.37 | 7.22 | 0 |
| CBC (%AR) | 014.99 | Other | 204 | 0.2667 | 0.2712 | 0.267 | 0.94 | 0.19 | 1.63 | 0.37 | 7.22 | 0 |
| CBC (%AR) | 014.02 | AOAC 2018.11, U | 125 | 0.251 | 0.256 | 0.252 | 1.05 | 0.21 | 1.63 | 0.37 | 7.22 | 0 |
| CBC (%AR) | 014.99 | Other | 162 | 0.2395 | 0.2443 | 0.2405 | 1.05 | 0.21 | 1.63 | 0.37 | 7.22 | 0 |
| CBC (%AR) | 014.99 | Other | 149 | 0.243 | 0.245 | 0.248 | 1.03 | 0.21 | 1.63 | 0.37 | 7.22 | 0 |
| CBC (%AR) | 014.99 | Other | 189 | 0.2619 | 0.2673 | 0.2681 | 1.27 | 0.26 | 1.63 | 0.37 | 7.22 | 0 |
| CBC (%AR) | 014.99 | Other | 216 | 0.2404 | 0.246 | 0.2466 | 1.4 | 0.28 | 1.63 | 0.37 | 7.22 | 0 |
| CBC (%AR) | 014.99 | Other | 212 | 0.2289 | 0.2364 | 0.2337 | 1.63 | 0.33 | 1.63 | 0.37 | 7.22 | 0 |
| CBC (%AR) | 014.01 | AOAC 2018.10 | 183 | 0.2402 | 0.2354 | 0.2436 | 1.72 | 0.35 | 1.63 | 0.37 | 7.22 | 0 |
| CBC (%AR) | 014.99 | Other | 197 | 0.2479 | 0.2476 | 0.2566 | 2.04 | 0.42 | 1.63 | 0.37 | 7.22 | 0 |
| CBC (%AR) | 014.99 | Other | 155 | 0.265 | 0.274 | 0.257 | 3.21 | 0.66 | 1.63 | 0.37 | 7.22 | 0 |
| CBC (%AR) | 014.99 | Other | 194 | 0.2436 | 0.2418 | 0.2174 | 6.25 | 1.26 | 1.63 | 0.37 | 7.22 | 0 |
| CBC (%AR) | 014.99 | Other | 106 | 0.25 | 0.25 | 0.22 | 7.22 | 1.46 | 1.63 | 0.37 | 7.22 | 0 |
|  |  |  |  | Cd (ug/g AR) |  |  |  |  |  |  |  |  |
| Cd (ug/g AR) | 101.04 | ICP-MS | 106 | <0.0750 | <0.0750 | <0.0750 |  |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 197 | <0.0963 | <0.1002 | <0.0994 |  |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 194 | <0.0200 | <0.0200 | <0.0200 |  |  |  |  |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 196 | <0.0241 | <0.0241 | <0.0241 |  |  |  |  |  | 1 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cd (ug/g AR) | 101.04 | ICP-MS | 102 | <0.008 | <0.008 | <0.008 |  | 1 |
| Cd (ug/g AR) | 101.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  | 1 |

Lab

Population of Lab RSDr

As (ug/g AR)

| As (ug/g AR) | 102.04 | ICP-MS | 102 | <0.008 | <0.008 | <0.008 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| As (ug/g AR) | 102.04 | ICP-MS | 194 | <0.0200 | <0.0200 | <0.0200 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 196 | <0.0482 | <0.0482 | <0.0482 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 106 | <0.0750 | <0.0750 | <0.0750 | 1 |
| As (ug/g AR) | 102.04 | ICP-MS | 197 | <0.0963 | <0.1002 | <0.0994 | 1 |

Hg (ug/g AR)

| Hg (ug/g AR) | 103.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Hg (ug/g AR) | 103.04 | ICP-MS | 196 | <0.0072 | <0.0072 | <0.0072 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 106 | <0.0080 | <0.0080 | <0.0080 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 194 | <0.0200 | <0.0200 | <0.0200 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 197 | <0.0963 | <0.1002 | <0.0994 |  |  | 1 |
| Hg (ug/g AR) | 103.04 | ICP-MS | 102 | 0.0013 | 0.0014 | 0.0012 | 7.69 | 0.71 | 0 |

Pb (ug/g AR)

| Pb (ug/g AR) | 104.04 | ICP-MS | 194 | <0.0200 <0.0200 |  | <0.0200 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Pb (ug/g AR) | 104.04 | ICP-MS | 102 | <0.008 | <0.008 | <0.008 | 1 |

|  |  |  | Lab |  |  |  | Lab |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr | HorRat(r) |  | Rob Mean | min | max | Flag |
| Pb (ug/g AR) | 104.04 | ICP-MS | 197 | <0.0963 | <0.1002 | <0.0994 | 1 |  |  |  |  |  |  |
| Pb (ug/g AR) | 104.04 | ICP-MS | 196 | <0.0241 | <0.0241 | <0.0241 | 1 |  |  |  |  |  |  |
| Pb (ug/g AR) | 104.04 | ICP-MS | 162 | <0.2000 | <0.2000 | <0.2000 | 1 |  |  |  |  |  |  |
| Pb (ug/g AR) | 104.04 | ICP-MS | 106 | <0.0750 | <0.0750 | <0.0750 | 1 |  |  |  |  |  |  |
|  |  |  |  | Cu (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Cu (ug/g AR) | 105.04 | ICP-MS | 196 | <0.4893 <0.4893 |  | <0.4893 |  | 1 |  |  |  |  |  |
|  |  |  |  | Ni (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Ni (ug/g AR) | 106.04 | ICP-MS | 196 | <0.0722 <0.0722 |  | <0.0722 |  | 1 |  |  |  |  |  |
|  |  |  |  | Cr (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 197 | <0.0963 <0.1002 |  | <0.0994 |  | 1 |  |  |  |  |  |
| Cr (ug/g AR) | 107.04 | ICP-MS | 196 | <0.0722 <0.0722 |  | <0.0722 |  | 1 |  |  |  |  |  |
|  |  |  |  | Se (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 196 | <0.0963 <0.0963 |  | <0.0963 |  | 1 |  |  |  |  |  |
| Se (ug/g AR) | 108.04 | ICP-MS | 197 | <0.0963 <0.1002 |  | <0.0994 |  | 1 |  |  |  |  |  |
|  |  |  |  | Zn (ug/g AR) |  |  |  |  |  |  |  |  |  |
| Zn (ug/g AR) | 111.04 | ICP-MS | 196 | 1.84 | 1.66 | 1.89 | 6.73 | 1.84 |  | 0 |  |  |  |

Population of Lab RSDr

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Sb (ug/g AR) |  |  |  |  |  |  |  |  |
| Sb (ug/g AR) | 112.04 | ICP-MS | 196 | <0.0241 <0.0241 |  | <0.0241 |  |  |  |  |  | 1 |
|  |  |  |  | (-)-alpha-Bisabolol (%AR) |  |  |  |  |  |  |  |  |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 196 | 0.1736 | 0.1655 | 0.16 | 4.11 | 0.79 |  |  |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 194 | 0.1686 | 0.1852 | 0.1844 | 5.22 | 1.01 |  |  |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 162 | 0.021 | 0.0165 | 0.0191 | 12 | 1.65 |  |  |  | 0 |
| (-)-alpha-Bisabolol (%A | 201.02 | GC,MS | 212 | 0.1906 | 0.2261 | 0.1899 | 10.2 | 2.02 |  |  |  | 0 |
|  |  |  | beta-Caryophyllene (%AR) |  |  |  |  |  |  |  |  |  |
| beta-Caryophyllene (% | 202.02 | GC,MS | 196 | 0.1817 | 0.1854 | 0.1718 | 3.91 | 0.76 |  |  |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 162 | 0.0819 | 0.0709 | 0.0768 | 7.19 | 1.23 |  |  |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 194 | 0.1333 | 0.1533 | 0.1302 | 9.02 | 1.68 |  |  |  | 0 |
| beta-Caryophyllene (% | 202.02 | GC,MS | 212 | 0.1739 | 0.1965 | 0.1465 | 14.5 | 2.8 |  |  |  | 0 |
|  |  |  | (-)-Caryophyllene oxide (%AR) |  |  |  |  |  |  |  |  |  |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 194 | 0.0436 | 0.0419 | 0.0432 | 2.07 | 0.32 |  |  |  | 0 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 196 | 0.0689 | 0.0639 | 0.0635 | 4.6 | 0.77 |  |  |  | 0 |
| (-)-Caryophyllene oxide | 203.02 | GC,MS | 212 | 0.0487 | 0.0503 | 0.0449 | 5.78 | 0.92 |  |  |  | 0 |
|  |  |  |  | Geraniol (%AR) |  |  |  |  |  |  |  |  |
| Geraniol (%AR) | 204.02 | GC,MS | 196 | <0.0013 <0.0013 |  | <0.0013 |  |  |  |  |  | 1 |

Population of Lab RSDr

Lab

| Analyte | Code | Method | Num | Result1 | Result2 | Result3 | RSDr HorRat(r) Rob Mean min max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Geraniol (%AR) | 204.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 |  | 1 |
| Geraniol (%AR) | 204.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  | 1 |

Lab

Population of Lab RSDr

alpha-Humulene (%AR)

| alpha-Humulene (%AR) | 205.02 | GC,MS | 196 | 0.055 | 0.0549 | 0.0517 | 3.48 | 0.56 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 194 | 0.0495 | 0.0553 | 0.0489 | 6.9 | 1.11 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 162 | 0.0225 | 0.0189 | 0.0202 | 8.88 | 1.24 | 0 |
| alpha-Humulene (%AR) | 205.02 | GC,MS | 212 | 0.0536 | 0.0653 | 0.0468 | 16.9 | 2.75 | 0 |

d-Limonene (%AR)

| d-Limonene (%AR) | 206.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| d-Limonene (%AR) | 206.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| d-Limonene (%AR) | 206.02 | GC,MS | 194 | 0.0025 | 0.0027 | 0.0025 | 4.5 | 0.46 | 0 |

Linalool (%AR)

| Linalool (%AR) | 207.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Linalool (%AR) | 207.02 | GC,MS | 194 | 0.0058 | 0.0058 | 0.0059 | 0.99 | 0.11 | 0 |
| Linalool (%AR) | 207.02 | GC,MS | 196 | 0.0017 | 0.0016 | 0.0017 | 3.46 | 0.33 | 0 |
| Linalool (%AR) | 207.02 | GC,MS | 212 | 0.0006 | 0.0013 | 0.0017 | 46.4 | 4.24 | 0 |

beta-Myrcene (%AR)

beta-Myrcene (%AR)

208.02

GC,MS

162

<0.0100	<0.0100	<0.0100	1

| Analyte | Code | Method | Lab Num | Result1 | Result2 | Result3 | Lab RSDr | HorRat(r) | Rob Mean | min | max | Flag |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  |  | 1 |
| beta-Myrcene (%AR) | 208.02 | GC,MS | 194 | 0.0023 | 0.0023 | 0.0024 | 2.47 | 0.25 |  |  |  | 0 |
|  |  |  |  | Ocimene (%AR) |  |  |  |  |  |  |  |  |
| Ocimene (%AR) | 210.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  |  | 1 |
| Ocimene (%AR) | 210.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
|  |  |  |  | alpha-Pinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
| alpha-Pinene (%AR) | 211.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  |  | 1 |
|  |  |  |  | (-)-beta-Pinene (%AR) |  |  |  |  |  |  |  |  |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  |  | 1 |
| (-)-beta-Pinene (%AR) | 212.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |
|  |  |  |  | alpha-Terpinene (%AR) |  |  |  |  |  |  |  |  |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 |  |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 |  |  |  |  |  | 1 |
| alpha-Terpinene (%AR) | 213.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 |  |  |  |  |  | 1 |

Population of Lab RSDr

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

gamma-Terpinene (%AR)

| gamma-Terpinene (%A | 214.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| gamma-Terpinene (%A | 214.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | 1 |
| gamma-Terpinene (%A | 214.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |

alpha-Terpinolene (%AR)

| alpha-Terpinolene (%A | 215.02 | GC,MS | 194 | <0.0004 | <0.0004 | <0.0004 | 1 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 196 | <0.0013 | <0.0013 | <0.0013 | 1 |
| alpha-Terpinolene (%A | 215.02 | GC,MS | 162 | <0.0100 | <0.0100 | <0.0100 | 1 |

Δ9-THC (%DW)

| Δ9-THC (%DW) | 501.01 | AOAC 2018.10 | 210 | 0.091 | 0.091 | 0.089 | 1.28 | 0.22 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Δ9-THCA (%DW)

Δ9-THCA (%DW)

502.01

AOAC 2018.10

210

<0.0460	<0.0430	<0.0470	1

CBD (%DW)

| CBD (%DW) | 503.01 | AOAC 2018.10 | 210 | 5.644 | 5.733 | 5.694 | 0.78 | 0.26 | 0 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

CBDA (%DW)

CBDA (%DW)

504.01

AOAC 2018.10

210

<0.0460	<0.0430	<0.0470	1

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Total Δ9-THC (%DW)

Total Δ9-THC (%DW)

506.01

AOAC 2018.10

210

0.131	0.129	0.13	0.77	0.14	0

Total CBD (%DW)

Total CBD (%DW)

507.01

AOAC 2018.10

210

5.684	5.771	5.735	0.76	0.25	0

CBDV (%DW)

CBDV (%DW)

508.02

AOAC 2018.11, U

210

<0.0430	<0.0400	<0.0430	1

CBDVA (%DW)

CBDVA (%DW)

509.01

AOAC 2018.10

210

<0.0460	<0.0430	<0.0460	1

CBG (%DW)

CBG (%DW)

510.01

AOAC 2018.10

210

0.109	0.102	0.107	3.4	0.61	0

CBGA (%DW)

CBGA (%DW)

511.01

AOAC 2018.10

210

<0.0460	<0.0430	<0.0460	1

THCV (%DW)

THCV (%DW)

512.02

AOAC 2018.11, U

210

<0.0430	<0.0400	<0.0430	1

Analyte

Code

Method

Lab Num

Result1	Result2	Result3

Lab

RSDr	HorRat(r)

Population of Lab RSDr	 Rob Mean	min	max

Flag

Δ8-THC (%DW)

Δ8-THC (%DW)

513.01

AOAC 2018.10

210

0.043	0.041	0.043	2.73	0.43	0

- Flag definitions: 1 (Lab RSDr not calculated because there were less than 3 numeric lab results)

- Statistical parameters of robust mean, minimum, and maximum for RSDr only shown only if there were 6 or more lab RSDr values.

- AR refers to concentration on as-received basis. DW refers to concentration on dry weight basis.c