# Hemp PT Certificate of Analysis

## Hemp PT Sample OL23NOV-1 Material: oil

Analyte	Value

± Standard

Uncertainty	# Labs

% as received

| Δ9-THC | 0.06928 | 0.00346 | 16 |
| --- | --- | --- | --- |
| CBD | 3.847 | 0.155 | 17 |
| CBDA | 0.01873 | 0.00428 | 12 |
| CBN | 0.03511 | 0.00207 | 14 |
| Total Δ9-THC | 0.07067 | 0.00347 | 16 |
| Total CBD | 3.978 | 0.156 | 17 |
| CBG | 0.07683 | 0.00619 | 10 |
| Δ8-THC | 0.03376 | 0.00263 | 10 |
| CBC | 0.1832 | 0.0094 | 8 |

- Data obtained from participant results in the University of Kentucky Hemp PT Program.

- Sample was shipped on 11/6/23. Stored at room temperature until 1/10/24. Stored at -20 C after 1/10/24.

- Values are robust means. Standard uncertainty determined as 1.25 x robust standard deviation / sqrt(#Labs). Results only shown for analytes tested by 6 or more labs.